## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_361-17_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_361-17_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_361-17_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_361-17_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_361-17_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_361-17_0_4_node_22 | 0.4 | n |  | TRUE
6 | bus_LV_361-17_0_4_node_23 | 0.4 | n |  | TRUE
7 | bus_LV_361-17_0_4_node_20 | 0.4 | n |  | TRUE
8 | bus_LV_361-17_0_4_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_361-17_0_4_node_90 | 0.4 | n |  | TRUE
10 | bus_LV_361-17_0_4_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_361-17_0_4_node_18 | 0.4 | n |  | TRUE
12 | bus_LV_361-17_0_4_node_89 | 0.4 | n |  | TRUE
13 | bus_LV_361-17_0_4_node_91 | 0.4 | n |  | TRUE
14 | bus_LV_361-17_0_4_node_19 | 0.4 | n |  | TRUE
15 | bus_LV_361-17_0_4_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_361-17_0_4_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_361-17_0_4_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_361-17_0_4_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_361-17_0_4_node_68 | 0.4 | n |  | TRUE
20 | bus_LV_361-17_0_4_node_76 | 0.4 | n |  | TRUE
21 | bus_LV_361-17_0_4_node_63 | 0.4 | n |  | TRUE
22 | bus_LV_361-17_0_4_node_66 | 0.4 | n |  | TRUE
23 | bus_LV_361-17_0_4_node_75 | 0.4 | n |  | TRUE
24 | bus_LV_361-17_0_4_node_69 | 0.4 | n |  | TRUE
25 | bus_LV_361-17_0_4_node_51 | 0.4 | n |  | TRUE
26 | bus_LV_361-17_0_4_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_361-17_0_4_node_95 | 0.4 | n |  | TRUE
28 | bus_LV_361-17_0_4_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_361-17_0_4_node_12 | 0.4 | n |  | TRUE
30 | bus_LV_361-17_0_4_node_14 | 0.4 | n |  | TRUE
31 | bus_LV_361-17_0_4_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_361-17_0_4_node_93 | 0.4 | n |  | TRUE
33 | bus_LV_361-17_0_4_node_72 | 0.4 | n |  | TRUE
34 | bus_LV_361-17_0_4_node_73 | 0.4 | n |  | TRUE
35 | bus_LV_361-17_0_4_node_70 | 0.4 | n |  | TRUE
36 | bus_LV_361-17_0_4_node_92 | 0.4 | n |  | TRUE
37 | bus_LV_361-17_0_4_node_74 | 0.4 | n |  | TRUE
38 | bus_LV_361-17_0_4_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_361-17_0_4_node_52 | 0.4 | n |  | TRUE
40 | bus_LV_361-17_0_4_node_53 | 0.4 | n |  | TRUE
41 | bus_LV_361-17_0_4_node_25 | 0.4 | n |  | TRUE
42 | bus_LV_361-17_0_4_node_26 | 0.4 | n |  | TRUE
43 | bus_LV_361-17_0_4_node_27 | 0.4 | n |  | TRUE
44 | bus_LV_361-17_0_4_node_28 | 0.4 | n |  | TRUE
45 | bus_LV_361-17_0_4_node_29 | 0.4 | n |  | TRUE
46 | bus_LV_361-17_0_4_node_36 | 0.4 | n |  | TRUE
47 | bus_LV_361-17_0_4_node_88 | 0.4 | n |  | TRUE
48 | bus_LV_361-17_0_4_node_37 | 0.4 | n |  | TRUE
49 | bus_LV_361-17_0_4_node_30 | 0.4 | n |  | TRUE
50 | bus_LV_361-17_0_4_node_32 | 0.4 | n |  | TRUE
51 | bus_LV_361-17_0_4_node_34 | 0.4 | n |  | TRUE
52 | bus_LV_361-17_0_4_node_35 | 0.4 | n |  | TRUE
53 | bus_LV_361-17_0_4_node_40 | 0.4 | n |  | TRUE
54 | bus_LV_361-17_0_4_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_361-17_0_4_node_39 | 0.4 | n |  | TRUE
56 | bus_LV_361-17_0_4_node_47 | 0.4 | n |  | TRUE
57 | bus_LV_361-17_0_4_node_44 | 0.4 | n |  | TRUE
58 | bus_LV_361-17_0_4_node_38 | 0.4 | n |  | TRUE
59 | bus_LV_361-17_0_4_node_45 | 0.4 | n |  | TRUE
60 | bus_LV_361-17_0_4_node_41 | 0.4 | n |  | TRUE
61 | bus_LV_361-17_0_4_node_42 | 0.4 | n |  | TRUE
62 | bus_LV_361-17_0_4_node_43 | 0.4 | n |  | TRUE
63 | bus_LV_361-17_0_4_node_58 | 0.4 | n |  | TRUE
64 | bus_LV_361-17_0_4_node_50 | 0.4 | n |  | TRUE
65 | bus_LV_361-17_0_4_node_57 | 0.4 | n |  | TRUE
66 | bus_LV_361-17_0_4_node_48 | 0.4 | n |  | TRUE
67 | bus_LV_361-17_0_4_node_85 | 0.4 | n |  | TRUE
68 | bus_LV_361-17_0_4_node_83 | 0.4 | n |  | TRUE
69 | bus_LV_361-17_0_4_node_84 | 0.4 | n |  | TRUE
70 | bus_LV_361-17_0_4_node_49 | 0.4 | n |  | TRUE
71 | bus_LV_361-17_0_4_node_54 | 0.4 | n |  | TRUE
72 | bus_LV_361-17_0_4_node_55 | 0.4 | n |  | TRUE
73 | bus_LV_361-17_0_4_node_56 | 0.4 | n |  | TRUE
74 | bus_LV_361-17_0_4_node_59 | 0.4 | n |  | TRUE
75 | bus_LV_361-17_0_4_node_64 | 0.4 | n |  | TRUE
76 | bus_LV_361-17_0_4_node_77 | 0.4 | n |  | TRUE
77 | bus_LV_361-17_0_4_node_62 | 0.4 | n |  | TRUE
78 | bus_LV_361-17_0_4_node_60 | 0.4 | n |  | TRUE
79 | bus_LV_361-17_0_4_node_61 | 0.4 | n |  | TRUE
80 | bus_LV_361-17_0_4_node_65 | 0.4 | n |  | TRUE
81 | bus_LV_361-17_0_4_node_71 | 0.4 | n |  | TRUE
82 | bus_LV_361-17_0_4_node_94 | 0.4 | n |  | TRUE
83 | bus_LV_361-17_0_4_node_78 | 0.4 | n |  | TRUE
84 | bus_LV_361-17_0_4_node_67 | 0.4 | n |  | TRUE
85 | bus_LV_361-17_0_4_node_96 | 0.4 | n |  | TRUE
86 | bus_LV_361-17_0_4_node_79 | 0.4 | n |  | TRUE
87 | bus_LV_361-17_0_4_node_80 | 0.4 | n |  | TRUE
88 | bus_LV_361-17_0_4_node_81 | 0.4 | n |  | TRUE
89 | bus_LV_361-17_0_4_node_82 | 0.4 | n |  | TRUE
90 | bus_LV_361-17_0_4_node_86 | 0.4 | n |  | TRUE
91 | bus_LV_361-17_0_4_node_87 | 0.4 | n |  | TRUE
92 | bus_MV_415_0_node_65 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_361-17_0_4_load_0 | 0 | 0.0060833 | 0.0015246 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_361-17_0_4_load_1 | 1 | 0.0083746 | 0.0020989 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_361-17_0_4_load_2 | 2 | 0.0081469 | 0.0020418 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_361-17_0_4_load_22 | 5 | 0.015256 | 0.0038235 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_361-17_0_4_load_20 | 7 | 0.0035033 | 0.00087802 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_361-17_0_4_load_6 | 8 | 0.0058521 | 0.0014667 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_361-17_0_4_load_90 | 9 | 0.0084275 | 0.0021121 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_361-17_0_4_load_18 | 11 | 0.011856 | 0.0029714 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_361-17_0_4_load_19 | 14 | 0.0089486 | 0.0022427 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_361-17_0_4_load_7 | 15 | 0.021934 | 0.0054971 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_361-17_0_4_load_8 | 16 | 0.015964 | 0.0040009 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_361-17_0_4_load_76 | 20 | 0.0014618 | 0.00036636 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_361-17_0_4_load_66 | 22 | 0.0015912 | 0.00039879 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_361-17_0_4_load_75 | 23 | 0.0014384 | 0.0003605 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_361-17_0_4_load_69 | 24 | 0.008284 | 0.0020762 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_361-17_0_4_load_95 | 27 | 0.016152 | 0.0040481 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_361-17_0_4_load_12 | 29 | 0.011729 | 0.0029396 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_361-17_0_4_load_17 | 31 | 0.01079 | 0.0027043 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_361-17_0_4_load_72 | 33 | 0.0010064 | 0.00025223 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_361-17_0_4_load_73 | 34 | 0.0046052 | 0.0011542 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_361-17_0_4_load_74 | 37 | 0.0094369 | 0.0023651 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_361-17_0_4_load_52 | 39 | 0.010603 | 0.0026575 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_361-17_0_4_load_53 | 40 | 0.0091867 | 0.0023024 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_361-17_0_4_load_25 | 41 | 0.0087625 | 0.0021961 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_361-17_0_4_load_26 | 42 | 0.0023342 | 0.000585 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_361-17_0_4_load_27 | 43 | 0.0022336 | 0.0005598 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_361-17_0_4_load_28 | 44 | 0.0010344 | 0.00025926 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_361-17_0_4_load_36 | 46 | 0.0019769 | 0.00049545 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_361-17_0_4_load_88 | 47 | 0.032605 | 0.0081716 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_361-17_0_4_load_37 | 48 | 0.0032005 | 0.00080211 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_361-17_0_4_load_30 | 49 | 0.0022637 | 0.00056734 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_361-17_0_4_load_34 | 51 | 0.00393 | 0.00098496 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_361-17_0_4_load_35 | 52 | 0.0011487 | 0.00028788 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_361-17_0_4_load_40 | 53 | 0.0011712 | 0.00029353 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_361-17_0_4_load_39 | 55 | 0.0044076 | 0.0011047 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_361-17_0_4_load_44 | 57 | 0.0054201 | 0.0013584 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_361-17_0_4_load_45 | 59 | 0.0033441 | 0.00083811 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_361-17_0_4_load_42 | 61 | 0.0030795 | 0.0007718 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_361-17_0_4_load_43 | 62 | 0.0018759 | 0.00047014 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_361-17_0_4_load_58 | 63 | 0.0029207 | 0.000732 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_361-17_0_4_load_50 | 64 | 0.0015704 | 0.00039358 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_361-17_0_4_load_48 | 66 | 0.0018646 | 0.00046731 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_361-17_0_4_load_85 | 67 | 0.010316 | 0.0025854 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_361-17_0_4_load_83 | 68 | 0.00071066 | 0.00017811 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_361-17_0_4_load_49 | 70 | 0.0019004 | 0.00047628 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_361-17_0_4_load_54 | 71 | 0.0037577 | 0.00094176 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_361-17_0_4_load_55 | 72 | 0.00213 | 0.00053383 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_361-17_0_4_load_56 | 73 | 0.004193 | 0.0010509 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_361-17_0_4_load_59 | 74 | 0.0021917 | 0.00054929 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_361-17_0_4_load_77 | 76 | 0.0031278 | 0.00078389 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_361-17_0_4_load_60 | 78 | 0.0017332 | 0.00043437 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_361-17_0_4_load_61 | 79 | 0.0017652 | 0.00044241 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_361-17_0_4_load_65 | 80 | 0.0013652 | 0.00034214 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_361-17_0_4_load_71 | 81 | 0.0031971 | 0.00080128 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_361-17_0_4_load_94 | 82 | 0.0011404 | 0.00028582 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_361-17_0_4_load_78 | 83 | 0.0035642 | 0.00089327 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_361-17_0_4_load_67 | 84 | 0.0019215 | 0.00048156 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_361-17_0_4_load_96 | 85 | 0.0095873 | 0.0024028 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_361-17_0_4_load_79 | 86 | 0.00038217 | 9.578e-05 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_361-17_0_4_load_80 | 87 | 0.0040404 | 0.0010126 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_361-17_0_4_load_81 | 88 | 0.0011267 | 0.00028237 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_361-17_0_4_load_82 | 89 | 0.0023712 | 0.00059428 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_361-17_0_4_load_86 | 90 | 0.0022266 | 0.00055803 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_361-17_0_4_load_87 | 91 | 0.0049892 | 0.0012504 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 33 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_361-17_0_4_line_0 |  | 0 | 1 | 0.011749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_361-17_0_4_line_1 |  | 0 | 2 | 0.015165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_361-17_0_4_line_2 |  | 1 | 3 | 0.022029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_361-17_0_4_line_3 |  | 2 | 4 | 0.0078546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_361-17_0_4_line_4 |  | 3 | 8 | 0.0073608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_361-17_0_4_line_5 |  | 4 | 9 | 0.0027136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_361-17_0_4_line_6 |  | 4 | 10 | 0.021205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_361-17_0_4_line_7 |  | 5 | 6 | 0.022374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_361-17_0_4_line_8 |  | 5 | 7 | 0.04542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_361-17_0_4_line_9 |  | 6 | 38 | 0.051977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_361-17_0_4_line_10 |  | 7 | 14 | 0.035884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_361-17_0_4_line_11 |  | 8 | 12 | 0.042709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_361-17_0_4_line_12 |  | 9 | 13 | 0.023053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_361-17_0_4_line_13 |  | 10 | 11 | 0.027955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_361-17_0_4_line_14 |  | 12 | 14 | 0.054381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_361-17_0_4_line_15 |  | 13 | 36 | 0.024978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_361-17_0_4_line_16 |  | 15 | 16 | 0.044003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_361-17_0_4_line_17 |  | 16 | 17 | 0.026351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_361-17_0_4_line_18 |  | 17 | 18 | 0.035589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_361-17_0_4_line_19 |  | 18 | 19 | 0.023493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_361-17_0_4_line_20 |  | 18 | 20 | 0.01059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_361-17_0_4_line_21 |  | 19 | 21 | 0.023427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_361-17_0_4_line_22 |  | 19 | 22 | 0.009505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_361-17_0_4_line_23 |  | 20 | 23 | 0.0068558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_361-17_0_4_line_24 |  | 21 | 81 | 0.01058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_361-17_0_4_line_25 |  | 21 | 79 | 0.0062141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_361-17_0_4_line_26 |  | 22 | 84 | 0.0086239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_361-17_0_4_line_27 |  | 24 | 25 | 0.03334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_361-17_0_4_line_28 |  | 25 | 35 | 0.03104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_361-17_0_4_line_29 |  | 25 | 58 | 0.031011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_361-17_0_4_line_30 |  | 26 | 27 | 0.004036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_361-17_0_4_line_31 |  | 26 | 28 | 0.037834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_361-17_0_4_line_32 |  | 28 | 30 | 0.025137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_361-17_0_4_line_33 |  | 29 | 30 | 0.0071626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_361-17_0_4_line_34 |  | 30 | 31 | 0.0056051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_361-17_0_4_line_35 |  | 31 | 32 | 0.024627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_361-17_0_4_line_36 |  | 32 | 36 | 0.01027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_361-17_0_4_line_37 |  | 33 | 34 | 0.01365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_361-17_0_4_line_38 |  | 33 | 35 | 0.021389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_361-17_0_4_line_39 |  | 34 | 37 | 0.019937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_361-17_0_4_line_40 |  | 36 | 85 | 0.014316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_361-17_0_4_line_41 |  | 37 | 71 | 0.0026529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_361-17_0_4_line_42 |  | 38 | 39 | 0.022638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_361-17_0_4_line_43 |  | 39 | 40 | 0.0083666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_361-17_0_4_line_44 |  | 40 | 71 | 0.0065493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_361-17_0_4_line_45 |  | 41 | 42 | 0.011257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_361-17_0_4_line_46 |  | 41 | 43 | 0.0044882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_361-17_0_4_line_47 |  | 42 | 44 | 0.015848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_361-17_0_4_line_48 |  | 43 | 45 | 0.0085045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_361-17_0_4_line_49 |  | 44 | 46 | 0.0052262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_361-17_0_4_line_50 |  | 45 | 47 | 0.023238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_361-17_0_4_line_51 |  | 46 | 48 | 0.010295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_361-17_0_4_line_52 |  | 48 | 58 | 0.020768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_361-17_0_4_line_53 |  | 49 | 50 | 0.015444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_361-17_0_4_line_54 |  | 50 | 51 | 0.018877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_361-17_0_4_line_55 |  | 50 | 52 | 0.014177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_361-17_0_4_line_56 |  | 51 | 53 | 0.0013743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_361-17_0_4_line_57 |  | 52 | 54 | 0.025512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_361-17_0_4_line_58 |  | 53 | 55 | 0.010517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_361-17_0_4_line_59 |  | 54 | 56 | 0.014082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_361-17_0_4_line_60 |  | 54 | 57 | 0.01039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
61 | LV_361-17_0_4_line_61 |  | 55 | 60 | 0.038595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_361-17_0_4_line_62 |  | 56 | 67 | 0.023352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_361-17_0_4_line_63 |  | 56 | 68 | 0.029629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_361-17_0_4_line_64 |  | 57 | 59 | 0.031808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
65 | LV_361-17_0_4_line_65 |  | 58 | 59 | 0.019682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
66 | LV_361-17_0_4_line_66 |  | 60 | 61 | 0.0095575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_361-17_0_4_line_67 |  | 60 | 62 | 0.0077595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_361-17_0_4_line_68 |  | 61 | 63 | 0.0063941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_361-17_0_4_line_69 |  | 62 | 64 | 0.0049998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_361-17_0_4_line_70 |  | 63 | 65 | 0.0089911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_361-17_0_4_line_71 |  | 64 | 66 | 0.0049853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_361-17_0_4_line_72 |  | 65 | 74 | 0.016616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_361-17_0_4_line_73 |  | 65 | 72 | 0.012757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_361-17_0_4_line_74 |  | 66 | 70 | 0.005463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_361-17_0_4_line_75 |  | 68 | 69 | 0.025737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_361-17_0_4_line_76 |  | 69 | 91 | 0.023864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_361-17_0_4_line_77 |  | 69 | 90 | 0.03687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_361-17_0_4_line_78 |  | 72 | 73 | 0.0096642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_361-17_0_4_line_79 |  | 74 | 75 | 0.0025971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_361-17_0_4_line_80 |  | 75 | 76 | 0.009869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_361-17_0_4_line_81 |  | 75 | 77 | 0.00529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_361-17_0_4_line_82 |  | 77 | 80 | 0.017875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_361-17_0_4_line_83 |  | 77 | 78 | 0.008092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_361-17_0_4_line_84 |  | 78 | 79 | 0.017178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_361-17_0_4_line_85 |  | 80 | 82 | 0.0043554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_361-17_0_4_line_86 |  | 81 | 83 | 0.0080095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_361-17_0_4_line_87 |  | 86 | 87 | 0.061583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_361-17_0_4_line_88 |  | 86 | 88 | 0.018609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_361-17_0_4_line_89 |  | 88 | 89 | 0.012556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_361-17_0_4_line_90 |  | 89 | 90 | 0.034896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_361-17_0_4_trafo_72 | 0.63 MVA 20/0.4 kV | 92 | 33 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2600918.9895 | 1204474.3676 | 2600919.5972 | 1204473.1354 | 2600929.9192 | 1204472.0905
1 | 2600918.9895 | 1204474.3676 | 2600912.2819 | 1204487.968
2 | 2600951.8357 | 1204469.8717 | 2600929.9192 | 1204472.0905
3 | 2600908.8076 | 1204495.0125 | 2600912.2819 | 1204487.968
4 | 2600951.8357 | 1204469.8717 | 2600955.3677 | 1204463.4136
5 | 2600908.8076 | 1204495.0125 | 2600906.2515 | 1204495.9237
6 | 2600908.8076 | 1204495.0125 | 2600928.2723 | 1204503.5532
7 | 2600886.6924 | 1204398.7126 | 2600888.7842 | 1204399.2465 | 2600894.3218 | 1204401.4485 | 2600907.558 | 1204406.7427
8 | 2600939.0457 | 1204384.6123 | 2600932.9904 | 1204385.234 | 2600923.5321 | 1204405.1324 | 2600921.7594 | 1204406.8441 | 2600919.3326 | 1204407.9555 | 2600915.8257 | 1204408.6554 | 2600913.6501 | 1204408.6329 | 2600911.4213 | 1204408.2879 | 2600907.558 | 1204406.7427
9 | 2600841.7545 | 1204425.0098 | 2600844.3259 | 1204423.3204 | 2600872.4739 | 1204406.3037 | 2600886.6924 | 1204398.7126
10 | 2600939.0457 | 1204384.6123 | 2600947.1321 | 1204383.8909 | 2600953.3011 | 1204385.7595 | 2600974.2599 | 1204381.8525
11 | 2600986.3155 | 1204434.88 | 2600976.0067 | 1204444.6282 | 2600965.3104 | 1204451.0078 | 2600960.9891 | 1204454.8204 | 2600957.9761 | 1204458.6442 | 2600955.3677 | 1204463.4136
12 | 2600884.8528 | 1204500.968 | 2600891.2808 | 1204499.2902 | 2600892.8557 | 1204496.7779 | 2600900.8278 | 1204496.6456 | 2600906.2515 | 1204495.9237
13 | 2600928.2723 | 1204503.5532 | 2600924.2325 | 1204507.9884 | 2600920.5881 | 1204512.5125 | 2600917.849 | 1204516.9257 | 2600913.3273 | 1204526.9012
14 | 2600974.2599 | 1204381.8525 | 2600986.3155 | 1204434.88
15 | 2600884.8528 | 1204500.968 | 2600874.6337 | 1204523.7679
16 | 2600751.3412 | 1204675.7193 | 2600738.6402 | 1204647.5296 | 2600736.762 | 1204642.0264 | 2600735.5389 | 1204634.8604
17 | 2600736.1115 | 1204608.6859 | 2600734.375 | 1204628.0407 | 2600735.5389 | 1204634.8604
18 | 2600736.1115 | 1204608.6859 | 2600733.2969 | 1204609.6417 | 2600730.9996 | 1204609.9416 | 2600728.0407 | 1204609.7301 | 2600725.2567 | 1204608.8737 | 2600722.8912 | 1204607.4949 | 2600720.5409 | 1204605.4491 | 2600718.5558 | 1204602.6474 | 2600717.1566 | 1204599.2676 | 2600716.4724 | 1204595.1653 | 2600716.0624 | 1204587.8168
19 | 2600716.0624 | 1204587.8168 | 2600715.1438 | 1204571.4523 | 2600714.3078 | 1204564.4039
20 | 2600716.0624 | 1204587.8168 | 2600726.6151 | 1204586.9243
21 | 2600714.3078 | 1204564.4039 | 2600713.5174 | 1204557.7002 | 2600711.5106 | 1204544.7818 | 2600710.8264 | 1204541.2465
22 | 2600714.3078 | 1204564.4039 | 2600723.7955 | 1204563.8294
23 | 2600733.4466 | 1204586.3466 | 2600726.6151 | 1204586.9243
24 | 2600710.8264 | 1204541.2465 | 2600700.4532 | 1204543.327
25 | 2600710.8264 | 1204541.2465 | 2600709.6409 | 1204535.1465
26 | 2600723.7955 | 1204563.8294 | 2600732.4036 | 1204563.3082
27 | 2600771.1652 | 1204527.0233 | 2600771.4311 | 1204530.5252 | 2600773.6557 | 1204560.27
28 | 2600771.1652 | 1204527.0233 | 2600777.3504 | 1204520.3426 | 2600783.7951 | 1204506.0245 | 2600787.3329 | 1204500.8665
29 | 2600767.3806 | 1204496.3061 | 2600768.658 | 1204501.209 | 2600769.7447 | 1204510.1028 | 2600771.1652 | 1204527.0233
30 | 2600863.3368 | 1204586.4671 | 2600867.0715 | 1204588.024
31 | 2600867.0715 | 1204588.024 | 2600873.1056 | 1204573.6504 | 2600873.7612 | 1204562.9557 | 2600883.8638 | 1204557.3985
32 | 2600883.8638 | 1204557.3985 | 2600861.0829 | 1204546.6341
33 | 2600861.0829 | 1204546.6341 | 2600858.2644 | 1204553.2188
34 | 2600861.0829 | 1204546.6341 | 2600862.4373 | 1204543.4881 | 2600861.449 | 1204541.545
35 | 2600865.3235 | 1204519.3753 | 2600858.0265 | 1204534.8161 | 2600861.449 | 1204541.545
36 | 2600865.3235 | 1204519.3753 | 2600874.6337 | 1204523.7679
37 | 2600803.3047 | 1204486.8385 | 2600806.8389 | 1204483.8708 | 2600811.2814 | 1204476.003
38 | 2600787.3329 | 1204500.8665 | 2600790.2239 | 1204497.2649 | 2600792.1106 | 1204495.3975 | 2600796.5534 | 1204492.5076 | 2600803.3047 | 1204486.8385
39 | 2600820.7019 | 1204458.4663 | 2600819.8191 | 1204460.8821 | 2600811.2814 | 1204476.003
40 | 2600884.6963 | 1204532.5851 | 2600882.7953 | 1204527.6266 | 2600874.6337 | 1204523.7679
41 | 2600820.7019 | 1204458.4663 | 2600821.6125 | 1204455.9746
42 | 2600841.7545 | 1204425.0098 | 2600836.8626 | 1204430.0898 | 2600828.4709 | 1204439.5494 | 2600826.9707 | 1204442.0779
43 | 2600826.9707 | 1204442.0779 | 2600826.2416 | 1204443.3067 | 2600823.8604 | 1204449.8231
44 | 2600823.8604 | 1204449.8231 | 2600821.6125 | 1204455.9746
45 | 2600788.126 | 1204436.4028 | 2600784.4423 | 1204447.0396
46 | 2600788.126 | 1204436.4028 | 2600789.5948 | 1204432.1617
47 | 2600784.4423 | 1204447.0396 | 2600779.2562 | 1204462.0149
48 | 2600792.3779 | 1204424.1254 | 2600789.5948 | 1204432.1617
49 | 2600777.5459 | 1204466.9533 | 2600779.2562 | 1204462.0149
50 | 2600792.3779 | 1204424.1254 | 2600798.8822 | 1204421.2913 | 2600803.9946 | 1204416.745 | 2600807.4337 | 1204410.4976 | 2600807.542 | 1204408.3298
51 | 2600777.5459 | 1204466.9533 | 2600774.1768 | 1204476.6818
52 | 2600767.3806 | 1204496.3061 | 2600774.1768 | 1204476.6818
53 | 2600711.1215 | 1204413.5771 | 2600704.8312 | 1204406.9284 | 2600700.8131 | 1204402.0869
54 | 2600711.1215 | 1204413.5771 | 2600694.6105 | 1204422.7272
55 | 2600711.1215 | 1204413.5771 | 2600713.5326 | 1204416.1232 | 2600721.7745 | 1204422.8996
56 | 2600694.6105 | 1204422.7272 | 2600693.4084 | 1204423.3933
57 | 2600739.5 | 1204441.1063 | 2600735.0506 | 1204435.2248 | 2600727.3532 | 1204427.4864 | 2600721.7745 | 1204422.8996
58 | 2600684.2091 | 1204428.4914 | 2600693.4084 | 1204423.3933
59 | 2600739.5 | 1204441.1063 | 2600742.5357 | 1204436.7598 | 2600744.3009 | 1204432.6578 | 2600744.0884 | 1204428.3443
60 | 2600739.5 | 1204441.1063 | 2600744.6437 | 1204450.1334
61 | 2600688.9724 | 1204463.791 | 2600684.6526 | 1204454.5966 | 2600681.9463 | 1204437.6872 | 2600680.7756 | 1204430.3942 | 2600684.2091 | 1204428.4914
62 | 2600744.0884 | 1204428.3443 | 2600751.5077 | 1204406.1998
63 | 2600744.0884 | 1204428.3443 | 2600743.1609 | 1204423.5638 | 2600740.1113 | 1204416.8598 | 2600730.5383 | 1204402.3371
64 | 2600744.6437 | 1204450.1334 | 2600745.0748 | 1204450.89 | 2600759.0527 | 1204478.4895
65 | 2600767.3806 | 1204496.3061 | 2600764.3767 | 1204489.0018 | 2600759.0527 | 1204478.4895
66 | 2600688.9724 | 1204463.791 | 2600693.0375 | 1204472.4408
67 | 2600688.9724 | 1204463.791 | 2600682.014 | 1204467.2247
68 | 2600693.0375 | 1204472.4408 | 2600695.7572 | 1204478.2277
69 | 2600682.014 | 1204467.2247 | 2600677.5304 | 1204469.4372
70 | 2600699.2926 | 1204486.4933 | 2600696.4179 | 1204479.6337 | 2600695.7572 | 1204478.2277
71 | 2600673.0598 | 1204471.6433 | 2600677.5304 | 1204469.4372
72 | 2600699.2926 | 1204486.4933 | 2600700.1063 | 1204488.7724 | 2600701.1252 | 1204492.5857 | 2600703.2665 | 1204502.6086
73 | 2600699.2926 | 1204486.4933 | 2600687.7115 | 1204491.8429
74 | 2600673.0598 | 1204471.6433 | 2600668.1608 | 1204474.0608
75 | 2600716.3738 | 1204380.8488 | 2600730.5383 | 1204402.3371
76 | 2600717.6696 | 1204357.0248 | 2600716.3738 | 1204380.8488
77 | 2600716.3738 | 1204380.8488 | 2600696.0789 | 1204350.0676
78 | 2600687.7115 | 1204491.8429 | 2600678.938 | 1204495.8955
79 | 2600703.8091 | 1204505.1483 | 2600703.2665 | 1204502.6086
80 | 2600712.8009 | 1204501.0248 | 2600703.8091 | 1204505.1483
81 | 2600703.8091 | 1204505.1483 | 2600704.8203 | 1204510.3402
82 | 2600704.8203 | 1204510.3402 | 2600688.5986 | 1204517.8472
83 | 2600704.8203 | 1204510.3402 | 2600706.3639 | 1204518.2836
84 | 2600706.3639 | 1204518.2836 | 2600709.6409 | 1204535.1465
85 | 2600684.646 | 1204519.6765 | 2600688.5986 | 1204517.8472
86 | 2600692.6001 | 1204544.9021 | 2600700.4532 | 1204543.327
87 | 2600659.7155 | 1204294.9155 | 2600657.2838 | 1204291.2273 | 2600655.1693 | 1204288.3922 | 2600644.2772 | 1204274.0945 | 2600642.2388 | 1204270.6035 | 2600640.5429 | 1204266.39 | 2600639.9878 | 1204263.744 | 2600639.9575 | 1204262.1876 | 2600640.3608 | 1204260.6313 | 2600641.5478 | 1204258.2634 | 2600648.2276 | 1204250.9045 | 2600653.0173 | 1204243.7436
88 | 2600659.7155 | 1204294.9155 | 2600669.959 | 1204310.4518
89 | 2600676.8705 | 1204320.9343 | 2600669.959 | 1204310.4518
90 | 2600676.8705 | 1204320.9343 | 2600696.0789 | 1204350.0676

## bus_geodata
| x | y | coords
0 | 2600918.9895 | 1204474.3676
1 | 2600929.9192 | 1204472.0905
2 | 2600912.2819 | 1204487.968
3 | 2600951.8357 | 1204469.8717
4 | 2600908.8076 | 1204495.0125
5 | 2600907.558 | 1204406.7427
6 | 2600886.6924 | 1204398.7126
7 | 2600939.0457 | 1204384.6123
8 | 2600955.3677 | 1204463.4136
9 | 2600906.2515 | 1204495.9237
10 | 2600928.2723 | 1204503.5532
11 | 2600913.3273 | 1204526.9012
12 | 2600986.3155 | 1204434.88
13 | 2600884.8528 | 1204500.968
14 | 2600974.2599 | 1204381.8525
15 | 2600751.3412 | 1204675.7193
16 | 2600735.5389 | 1204634.8604
17 | 2600736.1115 | 1204608.6859
18 | 2600716.0624 | 1204587.8168
19 | 2600714.3078 | 1204564.4039
20 | 2600726.6151 | 1204586.9243
21 | 2600710.8264 | 1204541.2465
22 | 2600723.7955 | 1204563.8294
23 | 2600733.4466 | 1204586.3466
24 | 2600773.6557 | 1204560.27
25 | 2600771.1652 | 1204527.0233
26 | 2600867.0715 | 1204588.024
27 | 2600863.3368 | 1204586.4671
28 | 2600883.8638 | 1204557.3985
29 | 2600858.2644 | 1204553.2188
30 | 2600861.0829 | 1204546.6341
31 | 2600861.449 | 1204541.545
32 | 2600865.3235 | 1204519.3753
33 | 2600803.3047 | 1204486.8385
34 | 2600811.2814 | 1204476.003
35 | 2600787.3329 | 1204500.8665
36 | 2600874.6337 | 1204523.7679
37 | 2600820.7019 | 1204458.4663
38 | 2600841.7545 | 1204425.0098
39 | 2600826.9707 | 1204442.0779
40 | 2600823.8604 | 1204449.8231
41 | 2600788.126 | 1204436.4028
42 | 2600784.4423 | 1204447.0396
43 | 2600789.5948 | 1204432.1617
44 | 2600779.2562 | 1204462.0149
45 | 2600792.3779 | 1204424.1254
46 | 2600777.5459 | 1204466.9533
47 | 2600807.542 | 1204408.3298
48 | 2600774.1768 | 1204476.6818
49 | 2600700.8131 | 1204402.0869
50 | 2600711.1215 | 1204413.5771
51 | 2600694.6105 | 1204422.7272
52 | 2600721.7745 | 1204422.8996
53 | 2600693.4084 | 1204423.3933
54 | 2600739.5 | 1204441.1063
55 | 2600684.2091 | 1204428.4914
56 | 2600744.0884 | 1204428.3443
57 | 2600744.6437 | 1204450.1334
58 | 2600767.3806 | 1204496.3061
59 | 2600759.0527 | 1204478.4895
60 | 2600688.9724 | 1204463.791
61 | 2600693.0375 | 1204472.4408
62 | 2600682.014 | 1204467.2247
63 | 2600695.7572 | 1204478.2277
64 | 2600677.5304 | 1204469.4372
65 | 2600699.2926 | 1204486.4933
66 | 2600673.0598 | 1204471.6433
67 | 2600751.5077 | 1204406.1998
68 | 2600730.5383 | 1204402.3371
69 | 2600716.3738 | 1204380.8488
70 | 2600668.1608 | 1204474.0608
71 | 2600821.6125 | 1204455.9746
72 | 2600687.7115 | 1204491.8429
73 | 2600678.938 | 1204495.8955
74 | 2600703.2665 | 1204502.6086
75 | 2600703.8091 | 1204505.1483
76 | 2600712.8009 | 1204501.0248
77 | 2600704.8203 | 1204510.3402
78 | 2600706.3639 | 1204518.2836
79 | 2600709.641 | 1204535.1465
80 | 2600688.5986 | 1204517.8472
81 | 2600700.4532 | 1204543.327
82 | 2600684.646 | 1204519.6765
83 | 2600692.6001 | 1204544.9021
84 | 2600732.4036 | 1204563.3082
85 | 2600884.6963 | 1204532.5851
86 | 2600659.7155 | 1204294.9155
87 | 2600653.0173 | 1204243.7436
88 | 2600669.959 | 1204310.4518
89 | 2600676.8705 | 1204320.9343
90 | 2600696.0789 | 1204350.0676
91 | 2600717.6696 | 1204357.0248
92 | 2600787.3329 | 1204500.8665

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1