## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_361-18_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_361-18_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_361-18_0_5_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_361-18_0_5_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_361-18_0_5_node_12 | 0.4 | n |  | TRUE
5 | bus_LV_361-18_0_5_node_15 | 0.4 | n |  | TRUE
6 | bus_LV_361-18_0_5_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_361-18_0_5_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_361-18_0_5_node_13 | 0.4 | n |  | TRUE
9 | bus_LV_361-18_0_5_node_99 | 0.4 | n |  | TRUE
10 | bus_LV_361-18_0_5_node_31 | 0.4 | n |  | TRUE
11 | bus_LV_361-18_0_5_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_361-18_0_5_node_16 | 0.4 | n |  | TRUE
13 | bus_LV_361-18_0_5_node_28 | 0.4 | n |  | TRUE
14 | bus_LV_361-18_0_5_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_361-18_0_5_node_22 | 0.4 | n |  | TRUE
16 | bus_LV_361-18_0_5_node_30 | 0.4 | n |  | TRUE
17 | bus_LV_361-18_0_5_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_361-18_0_5_node_72 | 0.4 | n |  | TRUE
19 | bus_LV_361-18_0_5_node_69 | 0.4 | n |  | TRUE
20 | bus_LV_361-18_0_5_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_361-18_0_5_node_34 | 0.4 | n |  | TRUE
22 | bus_LV_361-18_0_5_node_91 | 0.4 | n |  | TRUE
23 | bus_LV_361-18_0_5_node_70 | 0.4 | n |  | TRUE
24 | bus_LV_361-18_0_5_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_361-18_0_5_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_361-18_0_5_node_42 | 0.4 | n |  | TRUE
27 | bus_LV_361-18_0_5_node_68 | 0.4 | n |  | TRUE
28 | bus_LV_361-18_0_5_node_43 | 0.4 | n |  | TRUE
29 | bus_LV_361-18_0_5_node_90 | 0.4 | n |  | TRUE
30 | bus_LV_361-18_0_5_node_93 | 0.4 | n |  | TRUE
31 | bus_LV_361-18_0_5_node_67 | 0.4 | n |  | TRUE
32 | bus_LV_361-18_0_5_node_19 | 0.4 | n |  | TRUE
33 | bus_LV_361-18_0_5_node_20 | 0.4 | n |  | TRUE
34 | bus_LV_361-18_0_5_node_21 | 0.4 | n |  | TRUE
35 | bus_LV_361-18_0_5_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_361-18_0_5_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_361-18_0_5_node_51 | 0.4 | n |  | TRUE
38 | bus_LV_361-18_0_5_node_49 | 0.4 | n |  | TRUE
39 | bus_LV_361-18_0_5_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_361-18_0_5_node_88 | 0.4 | n |  | TRUE
41 | bus_LV_361-18_0_5_node_50 | 0.4 | n |  | TRUE
42 | bus_LV_361-18_0_5_node_26 | 0.4 | n |  | TRUE
43 | bus_LV_361-18_0_5_node_27 | 0.4 | n |  | TRUE
44 | bus_LV_361-18_0_5_node_58 | 0.4 | n |  | TRUE
45 | bus_LV_361-18_0_5_node_55 | 0.4 | n |  | TRUE
46 | bus_LV_361-18_0_5_node_29 | 0.4 | n |  | TRUE
47 | bus_LV_361-18_0_5_node_32 | 0.4 | n |  | TRUE
48 | bus_LV_361-18_0_5_node_102 | 0.4 | n |  | TRUE
49 | bus_LV_361-18_0_5_node_45 | 0.4 | n |  | TRUE
50 | bus_LV_361-18_0_5_node_46 | 0.4 | n |  | TRUE
51 | bus_LV_361-18_0_5_node_35 | 0.4 | n |  | TRUE
52 | bus_LV_361-18_0_5_node_36 | 0.4 | n |  | TRUE
53 | bus_LV_361-18_0_5_node_38 | 0.4 | n |  | TRUE
54 | bus_LV_361-18_0_5_node_37 | 0.4 | n |  | TRUE
55 | bus_LV_361-18_0_5_node_40 | 0.4 | n |  | TRUE
56 | bus_LV_361-18_0_5_node_41 | 0.4 | n |  | TRUE
57 | bus_LV_361-18_0_5_node_82 | 0.4 | n |  | TRUE
58 | bus_LV_361-18_0_5_node_97 | 0.4 | n |  | TRUE
59 | bus_LV_361-18_0_5_node_39 | 0.4 | n |  | TRUE
60 | bus_LV_361-18_0_5_node_76 | 0.4 | n |  | TRUE
61 | bus_LV_361-18_0_5_node_81 | 0.4 | n |  | TRUE
62 | bus_LV_361-18_0_5_node_60 | 0.4 | n |  | TRUE
63 | bus_LV_361-18_0_5_node_83 | 0.4 | n |  | TRUE
64 | bus_LV_361-18_0_5_node_80 | 0.4 | n |  | TRUE
65 | bus_LV_361-18_0_5_node_78 | 0.4 | n |  | TRUE
66 | bus_LV_361-18_0_5_node_74 | 0.4 | n |  | TRUE
67 | bus_LV_361-18_0_5_node_59 | 0.4 | n |  | TRUE
68 | bus_LV_361-18_0_5_node_64 | 0.4 | n |  | TRUE
69 | bus_LV_361-18_0_5_node_63 | 0.4 | n |  | TRUE
70 | bus_LV_361-18_0_5_node_84 | 0.4 | n |  | TRUE
71 | bus_LV_361-18_0_5_node_44 | 0.4 | n |  | TRUE
72 | bus_LV_361-18_0_5_node_92 | 0.4 | n |  | TRUE
73 | bus_LV_361-18_0_5_node_47 | 0.4 | n |  | TRUE
74 | bus_LV_361-18_0_5_node_48 | 0.4 | n |  | TRUE
75 | bus_LV_361-18_0_5_node_87 | 0.4 | n |  | TRUE
76 | bus_LV_361-18_0_5_node_52 | 0.4 | n |  | TRUE
77 | bus_LV_361-18_0_5_node_53 | 0.4 | n |  | TRUE
78 | bus_LV_361-18_0_5_node_54 | 0.4 | n |  | TRUE
79 | bus_LV_361-18_0_5_node_56 | 0.4 | n |  | TRUE
80 | bus_LV_361-18_0_5_node_57 | 0.4 | n |  | TRUE
81 | bus_LV_361-18_0_5_node_89 | 0.4 | n |  | TRUE
82 | bus_LV_361-18_0_5_node_85 | 0.4 | n |  | TRUE
83 | bus_LV_361-18_0_5_node_66 | 0.4 | n |  | TRUE
84 | bus_LV_361-18_0_5_node_65 | 0.4 | n |  | TRUE
85 | bus_LV_361-18_0_5_node_71 | 0.4 | n |  | TRUE
86 | bus_LV_361-18_0_5_node_73 | 0.4 | n |  | TRUE
87 | bus_LV_361-18_0_5_node_79 | 0.4 | n |  | TRUE
88 | bus_LV_361-18_0_5_node_101 | 0.4 | n |  | TRUE
89 | bus_LV_361-18_0_5_node_75 | 0.4 | n |  | TRUE
90 | bus_LV_361-18_0_5_node_77 | 0.4 | n |  | TRUE
91 | bus_LV_361-18_0_5_node_94 | 0.4 | n |  | TRUE
92 | bus_LV_361-18_0_5_node_95 | 0.4 | n |  | TRUE
93 | bus_LV_361-18_0_5_node_98 | 0.4 | n |  | TRUE
94 | bus_LV_361-18_0_5_node_100 | 0.4 | n |  | TRUE
95 | bus_LV_361-18_0_5_node_86 | 0.4 | n |  | TRUE
96 | bus_MV_415_0_node_161 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_361-18_0_5_load_0 | 0 | 0.011823 | 0.002963 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_361-18_0_5_load_3 | 2 | 0.012648 | 0.00317 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_361-18_0_5_load_12 | 4 | 0.013459 | 0.0033732 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_361-18_0_5_load_15 | 5 | 0.012455 | 0.0031215 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_361-18_0_5_load_99 | 9 | 0.0045455 | 0.0011392 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_361-18_0_5_load_31 | 10 | 0.0041207 | 0.0010327 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_361-18_0_5_load_28 | 13 | 0.0048816 | 0.0012234 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_361-18_0_5_load_9 | 14 | 0.0049662 | 0.0012447 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_361-18_0_5_load_72 | 18 | 0.0036634 | 0.00091814 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_361-18_0_5_load_69 | 19 | 0.0031252 | 0.00078325 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_361-18_0_5_load_11 | 20 | 0.0049469 | 0.0012398 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_361-18_0_5_load_34 | 21 | 0.0045409 | 0.0011381 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_361-18_0_5_load_91 | 22 | 0.003213 | 0.00080525 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_361-18_0_5_load_70 | 23 | 0.0037393 | 0.00093716 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_361-18_0_5_load_17 | 24 | 0.014575 | 0.0036529 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_361-18_0_5_load_42 | 26 | 0.0125 | 0.0031329 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_361-18_0_5_load_68 | 27 | 0.012471 | 0.0031256 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_361-18_0_5_load_43 | 28 | 0.0031028 | 0.00077763 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_361-18_0_5_load_90 | 29 | 0.012132 | 0.0030407 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_361-18_0_5_load_93 | 30 | 0.012478 | 0.0031274 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_361-18_0_5_load_67 | 31 | 0.012479 | 0.0031275 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_361-18_0_5_load_19 | 32 | 0.0020565 | 0.00051542 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_361-18_0_5_load_20 | 33 | 0.0045464 | 0.0011394 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_361-18_0_5_load_24 | 36 | 0.0022925 | 0.00057456 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_361-18_0_5_load_51 | 37 | 0.0023482 | 0.00058852 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_361-18_0_5_load_49 | 38 | 0.0024564 | 0.00061564 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_361-18_0_5_load_25 | 39 | 0.0020654 | 0.00051763 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_361-18_0_5_load_88 | 40 | 0.0045132 | 0.0011311 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_361-18_0_5_load_50 | 41 | 0.0020349 | 0.00050999 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_361-18_0_5_load_26 | 42 | 0.0020196 | 0.00050617 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_361-18_0_5_load_27 | 43 | 0.0024009 | 0.00060171 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_361-18_0_5_load_58 | 44 | 0.0020698 | 0.00051874 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_361-18_0_5_load_29 | 46 | 0.0014908 | 0.00037362 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_361-18_0_5_load_102 | 48 | 0.014332 | 0.0035921 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_361-18_0_5_load_45 | 49 | 0.0023865 | 0.00059811 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_361-18_0_5_load_35 | 51 | 0.014206 | 0.0035603 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_361-18_0_5_load_36 | 52 | 0.0068048 | 0.0017054 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_361-18_0_5_load_40 | 55 | 0.014205 | 0.0035602 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_361-18_0_5_load_41 | 56 | 0.013511 | 0.0033861 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_361-18_0_5_load_97 | 58 | 0.013447 | 0.0033702 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_361-18_0_5_load_81 | 61 | 0.015267 | 0.0038264 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_361-18_0_5_load_60 | 62 | 0.0068613 | 0.0017196 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_361-18_0_5_load_83 | 63 | 0.014256 | 0.0035728 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_361-18_0_5_load_80 | 64 | 0.014477 | 0.0036282 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_361-18_0_5_load_74 | 66 | 0.013129 | 0.0032903 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_361-18_0_5_load_59 | 67 | 0.013332 | 0.0033412 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_361-18_0_5_load_64 | 68 | 0.0053495 | 0.0013407 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_361-18_0_5_load_63 | 69 | 0.0052477 | 0.0013152 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_361-18_0_5_load_44 | 71 | 0.0031441 | 0.00078798 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_361-18_0_5_load_92 | 72 | 0.0031358 | 0.00078591 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_361-18_0_5_load_47 | 73 | 0.0028169 | 0.00070599 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_361-18_0_5_load_48 | 74 | 0.0020021 | 0.00050177 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_361-18_0_5_load_87 | 75 | 0.0022946 | 0.00057509 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_361-18_0_5_load_52 | 76 | 0.0020413 | 0.00051161 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_361-18_0_5_load_53 | 77 | 0.0020645 | 0.00051742 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_361-18_0_5_load_56 | 79 | 0.0024027 | 0.00060217 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_361-18_0_5_load_89 | 81 | 0.005361 | 0.0013436 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_361-18_0_5_load_85 | 82 | 0.012453 | 0.0031211 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_361-18_0_5_load_66 | 83 | 0.0052401 | 0.0013133 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_361-18_0_5_load_65 | 84 | 0.0052583 | 0.0013179 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_361-18_0_5_load_71 | 85 | 0.0040566 | 0.0010167 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_361-18_0_5_load_73 | 86 | 0.0037879 | 0.00094934 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_361-18_0_5_load_101 | 88 | 0.0031136 | 0.00078033 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_361-18_0_5_load_75 | 89 | 0.0059879 | 0.0015007 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_361-18_0_5_load_77 | 90 | 0.014181 | 0.003554 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_361-18_0_5_load_95 | 92 | 0.017982 | 0.0045068 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_361-18_0_5_load_98 | 93 | 0.0036612 | 0.00091757 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_361-18_0_5_load_100 | 94 | 0.0030583 | 0.00076647 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 70 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_361-18_0_5_line_0 |  | 0 | 1 | 0.027173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_361-18_0_5_line_1 |  | 1 | 2 | 0.010499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_361-18_0_5_line_2 |  | 1 | 3 | 0.0047915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_361-18_0_5_line_3 |  | 3 | 4 | 0.016554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_361-18_0_5_line_4 |  | 3 | 5 | 0.018149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_361-18_0_5_line_5 |  | 4 | 11 | 0.027906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_361-18_0_5_line_6 |  | 5 | 12 | 0.019483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_361-18_0_5_line_7 |  | 6 | 7 | 0.021031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_361-18_0_5_line_8 |  | 6 | 8 | 0.014367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_361-18_0_5_line_9 |  | 6 | 9 | 0.020929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_361-18_0_5_line_10 |  | 7 | 10 | 0.02692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_361-18_0_5_line_11 |  | 8 | 13 | 0.014544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_361-18_0_5_line_12 |  | 9 | 15 | 0.015369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_361-18_0_5_line_13 |  | 10 | 16 | 0.019296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_361-18_0_5_line_14 |  | 11 | 20 | 0.0091696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_361-18_0_5_line_15 |  | 11 | 14 | 0.024742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_361-18_0_5_line_16 |  | 12 | 24 | 0.014384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_361-18_0_5_line_17 |  | 12 | 25 | 0.007672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_361-18_0_5_line_18 |  | 15 | 21 | 0.01133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_361-18_0_5_line_19 |  | 15 | 33 | 0.004856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_361-18_0_5_line_20 |  | 16 | 47 | 0.058445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_361-18_0_5_line_21 |  | 16 | 46 | 0.014418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_361-18_0_5_line_22 |  | 17 | 18 | 0.014294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_361-18_0_5_line_23 |  | 17 | 19 | 0.017602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_361-18_0_5_line_24 |  | 18 | 22 | 0.0063437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_361-18_0_5_line_25 |  | 19 | 23 | 0.006187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_361-18_0_5_line_26 |  | 22 | 72 | 0.004007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_361-18_0_5_line_27 |  | 23 | 85 | 0.0059042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_361-18_0_5_line_28 |  | 24 | 26 | 0.0061587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_361-18_0_5_line_29 |  | 25 | 27 | 0.013806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_361-18_0_5_line_30 |  | 26 | 28 | 0.025224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_361-18_0_5_line_31 |  | 27 | 31 | 0.008939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_361-18_0_5_line_32 |  | 28 | 71 | 0.0070692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_361-18_0_5_line_33 |  | 29 | 30 | 0.01675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_361-18_0_5_line_34 |  | 30 | 95 | 0.017318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_361-18_0_5_line_35 |  | 31 | 45 | 0.015675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_361-18_0_5_line_36 |  | 32 | 33 | 0.014116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_361-18_0_5_line_37 |  | 32 | 34 | 0.010133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_361-18_0_5_line_38 |  | 34 | 35 | 0.014911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_361-18_0_5_line_39 |  | 34 | 36 | 0.015954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_361-18_0_5_line_40 |  | 35 | 37 | 0.010615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_361-18_0_5_line_41 |  | 35 | 38 | 0.0069913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_361-18_0_5_line_42 |  | 36 | 39 | 0.011621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_361-18_0_5_line_43 |  | 37 | 40 | 0.0082618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_361-18_0_5_line_44 |  | 38 | 41 | 0.0026333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_361-18_0_5_line_45 |  | 39 | 42 | 0.0023483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_361-18_0_5_line_46 |  | 41 | 73 | 0.010783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_361-18_0_5_line_47 |  | 42 | 43 | 0.0031466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_361-18_0_5_line_48 |  | 43 | 44 | 0.0024666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_361-18_0_5_line_49 |  | 44 | 45 | 0.013897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_361-18_0_5_line_50 |  | 45 | 77 | 0.011841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_361-18_0_5_line_51 |  | 47 | 48 | 0.001711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_361-18_0_5_line_52 |  | 49 | 50 | 0.015537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_361-18_0_5_line_53 |  | 50 | 73 | 0.01073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_361-18_0_5_line_54 |  | 50 | 74 | 0.016712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_361-18_0_5_line_55 |  | 51 | 52 | 0.015891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_361-18_0_5_line_56 |  | 52 | 53 | 0.0088141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_361-18_0_5_line_57 |  | 53 | 57 | 0.035367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_361-18_0_5_line_58 |  | 53 | 58 | 0.0067139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_361-18_0_5_line_59 |  | 54 | 55 | 0.028306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_361-18_0_5_line_60 |  | 54 | 56 | 0.027587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_361-18_0_5_line_61 |  | 55 | 62 | 0.01523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_361-18_0_5_line_62 |  | 56 | 63 | 0.02092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_361-18_0_5_line_63 |  | 57 | 64 | 0.019178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_361-18_0_5_line_64 |  | 59 | 60 | 0.00447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_361-18_0_5_line_65 |  | 59 | 61 | 0.022522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_361-18_0_5_line_66 |  | 60 | 65 | 0.054381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_361-18_0_5_line_67 |  | 60 | 66 | 0.0091389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_361-18_0_5_line_68 |  | 61 | 64 | 0.021388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_361-18_0_5_line_69 |  | 62 | 67 | 0.01535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_361-18_0_5_line_70 |  | 63 | 70 | 0.023955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_361-18_0_5_line_71 |  | 65 | 92 | 0.034957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_361-18_0_5_line_72 |  | 66 | 89 | 0.015063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_361-18_0_5_line_73 |  | 68 | 69 | 0.0077025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_361-18_0_5_line_74 |  | 69 | 84 | 0.0076312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_361-18_0_5_line_75 |  | 70 | 95 | 0.000569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_361-18_0_5_line_76 |  | 70 | 82 | 0.021997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
77 | LV_361-18_0_5_line_77 |  | 71 | 72 | 0.0092703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
78 | LV_361-18_0_5_line_78 |  | 74 | 75 | 0.0058108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_361-18_0_5_line_79 |  | 76 | 77 | 0.0096813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
80 | LV_361-18_0_5_line_80 |  | 76 | 78 | 0.022336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
81 | LV_361-18_0_5_line_81 |  | 78 | 79 | 0.01834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_361-18_0_5_line_82 |  | 78 | 80 | 0.001051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
83 | LV_361-18_0_5_line_83 |  | 80 | 81 | 0.017784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_361-18_0_5_line_84 |  | 80 | 82 | 0.014901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
85 | LV_361-18_0_5_line_85 |  | 81 | 83 | 0.0077053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_361-18_0_5_line_86 |  | 83 | 84 | 0.0076257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_361-18_0_5_line_87 |  | 85 | 86 | 0.024646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
88 | LV_361-18_0_5_line_88 |  | 86 | 87 | 0.0058512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
89 | LV_361-18_0_5_line_89 |  | 87 | 88 | 0.01046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
90 | LV_361-18_0_5_line_90 |  | 88 | 94 | 0.013957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
91 | LV_361-18_0_5_line_91 |  | 89 | 90 | 0.015914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
92 | LV_361-18_0_5_line_92 |  | 90 | 91 | 0.018143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
93 | LV_361-18_0_5_line_93 |  | 91 | 93 | 0.0068237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
94 | LV_361-18_0_5_line_94 |  | 93 | 94 | 0.0060307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_361-18_0_5_trafo_84 | 0.63 MVA 20/0.4 kV | 96 | 70 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2601239.1151 | 1204794.731 | 2601239.2065 | 1204767.5581
1 | 2601239.1151 | 1204794.731 | 2601248.1264 | 1204789.344
2 | 2601239.1151 | 1204794.731 | 2601239.1218 | 1204799.3113 | 2601239.1218 | 1204799.5225
3 | 2601239.1218 | 1204799.5225 | 2601225.316 | 1204799.4642 | 2601222.5734 | 1204799.635
4 | 2601239.1218 | 1204799.5225 | 2601239.1402 | 1204817.671
5 | 2601195.2087 | 1204803.9053 | 2601198.8294 | 1204803.906 | 2601204.6184 | 1204801.6503 | 2601209.8974 | 1204800.9287 | 2601215.5719 | 1204800.3072 | 2601220.3337 | 1204799.7745 | 2601222.5734 | 1204799.635
6 | 2601239.16 | 1204837.1541 | 2601239.1402 | 1204817.671
7 | 2601133.6541 | 1204778.7026 | 2601136.4842 | 1204776.0127 | 2601149.0556 | 1204787.6435
8 | 2601149.0556 | 1204787.6435 | 2601156.6027 | 1204779.7295 | 2601159.1733 | 1204782.0312
9 | 2601149.0556 | 1204787.6435 | 2601152.0368 | 1204790.4567 | 2601152.0038 | 1204807.2867
10 | 2601133.6541 | 1204778.7026 | 2601124.7604 | 1204788.284 | 2601117.799 | 1204796.2538 | 2601115.8406 | 1204798.8661
11 | 2601159.1733 | 1204782.0312 | 2601157.2332 | 1204784.321 | 2601156.2363 | 1204786.6665 | 2601155.8783 | 1204789.279 | 2601155.8561 | 1204795.6365
12 | 2601156.4279 | 1204820.8852 | 2601156.5123 | 1204816.7052 | 2601151.9949 | 1204811.8239 | 2601152.0038 | 1204807.2867
13 | 2601104.88 | 1204814.7394 | 2601112.4656 | 1204803.3678 | 2601115.8406 | 1204798.8661
14 | 2601195.2087 | 1204803.9053 | 2601186.0392 | 1204803.9356
15 | 2601195.2087 | 1204803.9053 | 2601195.1582 | 1204789.6309 | 2601196.467 | 1204787.2187 | 2601196.5127 | 1204779.4953
16 | 2601239.16 | 1204837.1541 | 2601253.0417 | 1204837.3903 | 2601253.5317 | 1204837.4904
17 | 2601239.1585 | 1204844.8249 | 2601239.16 | 1204837.1541
18 | 2601156.4279 | 1204820.8852 | 2601167.7575 | 1204820.8659
19 | 2601156.4279 | 1204820.8852 | 2601156.4422 | 1204825.7412
20 | 2601053.087 | 1204818.4771 | 2601098.8311 | 1204825.3219 | 2601099.3789 | 1204824.2214 | 2601104.88 | 1204814.7394
21 | 2601104.88 | 1204814.7394 | 2601091.6098 | 1204809.1022
22 | 2601325.3176 | 1204839.395 | 2601316.4105 | 1204839.3153 | 2601311.7629 | 1204839.6479 | 2601311.0357 | 1204839.6428
23 | 2601325.3176 | 1204839.395 | 2601325.2334 | 1204841.7852 | 2601321.8276 | 1204856.6089
24 | 2601311.0357 | 1204839.6428 | 2601304.6921 | 1204839.5981
25 | 2601321.8276 | 1204856.6089 | 2601320.4422 | 1204862.6388
26 | 2601300.697 | 1204839.7542 | 2601301.9886 | 1204839.5791 | 2601304.6921 | 1204839.5981
27 | 2601320.4422 | 1204862.6388 | 2601319.1202 | 1204868.3931
28 | 2601259.5656 | 1204838.7239 | 2601253.5317 | 1204837.4904
29 | 2601239.1585 | 1204844.8249 | 2601225.911 | 1204848.7119
30 | 2601259.5656 | 1204838.7239 | 2601274.1639 | 1204841.708 | 2601284.488 | 1204841.6913
31 | 2601217.3336 | 1204851.2286 | 2601225.911 | 1204848.7119
32 | 2601284.488 | 1204841.6913 | 2601286.4255 | 1204841.6882 | 2601291.5107 | 1204840.9991
33 | 2601239.3457 | 1204888.2067 | 2601239.2735 | 1204871.4564
34 | 2601239.4205 | 1204905.5247 | 2601239.3457 | 1204888.2067
35 | 2601201.7487 | 1204852.2996 | 2601215.4176 | 1204851.7908 | 2601217.3336 | 1204851.2286
36 | 2601156.4839 | 1204839.8568 | 2601156.4422 | 1204825.7412
37 | 2601156.5139 | 1204849.9899 | 2601156.4839 | 1204839.8568
38 | 2601156.5139 | 1204849.9899 | 2601141.5597 | 1204849.9205
39 | 2601156.5139 | 1204849.9899 | 2601172.4674 | 1204850.1025
40 | 2601141.5597 | 1204849.9205 | 2601138.9811 | 1204849.8756 | 2601138.975 | 1204841.8397
41 | 2601141.5597 | 1204849.9205 | 2601136.6298 | 1204854.8779
42 | 2601172.4674 | 1204850.1025 | 2601177.5532 | 1204850.1383 | 2601183.8488 | 1204848.3843
43 | 2601138.9688 | 1204833.5778 | 2601138.975 | 1204841.8397
44 | 2601136.6298 | 1204854.8779 | 2601136.6298 | 1204854.8779 | 2601136.6418 | 1204857.5112
45 | 2601186.1924 | 1204848.3445 | 2601183.9733 | 1204848.3497 | 2601183.8488 | 1204848.3843
46 | 2601136.6908 | 1204868.2942 | 2601136.6418 | 1204857.5112
47 | 2601189.339 | 1204848.3372 | 2601186.1924 | 1204848.3445
48 | 2601189.339 | 1204848.3372 | 2601191.8055 | 1204848.3315
49 | 2601201.7487 | 1204852.2996 | 2601201.7115 | 1204848.3085 | 2601191.8055 | 1204848.3315
50 | 2601201.7487 | 1204852.2996 | 2601201.843 | 1204864.1407
51 | 2601051.3908 | 1204818.2211 | 2601053.087 | 1204818.4771
52 | 2601136.7396 | 1204879.0244 | 2601121.7105 | 1204875.084
53 | 2601136.7396 | 1204879.0244 | 2601136.6908 | 1204868.2942
54 | 2601136.7396 | 1204879.0244 | 2601152.9051 | 1204883.2619
55 | 2601248.889 | 1205004.2133 | 2601249.0895 | 1205020.1026
56 | 2601249.2007 | 1205028.916 | 2601249.0895 | 1205020.1026
57 | 2601284.6684 | 1205028.4896 | 2601249.2007 | 1205028.916
58 | 2601249.2007 | 1205028.916 | 2601249.1597 | 1205035.6298
59 | 2601211.0567 | 1204983.9731 | 2601238.7978 | 1204977.964
60 | 2601238.7978 | 1204977.964 | 2601238.8177 | 1204950.3769
61 | 2601211.0567 | 1204983.9731 | 2601211.1691 | 1204999.2024
62 | 2601238.8328 | 1204929.4572 | 2601238.8177 | 1204950.3769
63 | 2601284.6684 | 1205028.4896 | 2601285.0143 | 1205009.3148
64 | 2601278.4444 | 1204964.031 | 2601278.5043 | 1204968.5001
65 | 2601278.5043 | 1204968.5001 | 2601285.63 | 1204975.1718 | 2601285.3999 | 1204987.9302
66 | 2601278.4444 | 1204964.031 | 2601300.9209 | 1204964.3135 | 2601300.7296 | 1204969.6831 | 2601301.1077 | 1204980.4223 | 2601302.6485 | 1204996.1312
67 | 2601278.4444 | 1204964.031 | 2601278.3269 | 1204954.8929
68 | 2601285.0143 | 1205009.3148 | 2601285.3999 | 1204987.9302
69 | 2601211.2825 | 1205014.5523 | 2601211.1691 | 1204999.2024
70 | 2601238.85 | 1204905.5024 | 2601238.8328 | 1204929.4572
71 | 2601302.6485 | 1204996.1312 | 2601330.6757 | 1204975.2394
72 | 2601278.3269 | 1204954.8929 | 2601278.1333 | 1204939.8309
73 | 2601203.1693 | 1204937.1704 | 2601203.1792 | 1204944.8729
74 | 2601203.1693 | 1204937.1704 | 2601203.1596 | 1204929.5392
75 | 2601238.85 | 1204905.5024 | 2601239.4205 | 1204905.5247
76 | 2601238.85 | 1204905.5024 | 2601237.6406 | 1204905.4688 | 2601217.5321 | 1204900.2005
77 | 2601300.697 | 1204839.7542 | 2601291.5107 | 1204840.9991
78 | 2601158.526 | 1204884.7353 | 2601152.9051 | 1204883.2619
79 | 2601201.9201 | 1204873.8216 | 2601201.843 | 1204864.1407
80 | 2601202.0979 | 1204896.1569 | 2601201.9201 | 1204873.8216
81 | 2601202.0979 | 1204896.1569 | 2601184.3573 | 1204891.5065
82 | 2601203.1171 | 1204896.4239 | 2601202.0979 | 1204896.1569
83 | 2601203.1171 | 1204896.4239 | 2601203.1399 | 1204914.2082
84 | 2601203.1171 | 1204896.4239 | 2601217.5321 | 1204900.2005
85 | 2601203.1399 | 1204914.2082 | 2601203.1498 | 1204921.9135
86 | 2601203.1596 | 1204929.5392 | 2601203.1498 | 1204921.9135
87 | 2601319.1202 | 1204868.3931 | 2601313.6016 | 1204892.413
88 | 2601312.9145 | 1204898.2133 | 2601313.2957 | 1204893.7443 | 2601313.6016 | 1204892.413
89 | 2601312.9145 | 1204898.2133 | 2601303.6932 | 1204903.1504
90 | 2601290.5445 | 1204906.1508 | 2601297.7001 | 1204906.3591 | 2601303.6932 | 1204903.1504
91 | 2601277.9287 | 1204923.9184 | 2601278.1333 | 1204939.8309
92 | 2601277.6955 | 1204905.7769 | 2601277.9287 | 1204923.9184
93 | 2601277.6955 | 1204905.7769 | 2601284.5163 | 1204905.9754
94 | 2601284.5163 | 1204905.9754 | 2601290.5445 | 1204906.1508

## bus_geodata
| x | y | coords
0 | 2601239.2065 | 1204767.5581
1 | 2601239.1151 | 1204794.731
2 | 2601248.1264 | 1204789.344
3 | 2601239.1218 | 1204799.5225
4 | 2601222.5734 | 1204799.635
5 | 2601239.1402 | 1204817.671
6 | 2601149.0556 | 1204787.6435
7 | 2601133.6541 | 1204778.7026
8 | 2601159.1733 | 1204782.0312
9 | 2601152.0038 | 1204807.2867
10 | 2601115.8406 | 1204798.8661
11 | 2601195.2087 | 1204803.9053
12 | 2601239.16 | 1204837.1541
13 | 2601155.8561 | 1204795.6365
14 | 2601196.5127 | 1204779.4953
15 | 2601156.4279 | 1204820.8852
16 | 2601104.88 | 1204814.7394
17 | 2601325.3176 | 1204839.395
18 | 2601311.0357 | 1204839.6428
19 | 2601321.8276 | 1204856.6089
20 | 2601186.0392 | 1204803.9356
21 | 2601167.7575 | 1204820.8659
22 | 2601304.6921 | 1204839.5981
23 | 2601320.4422 | 1204862.6388
24 | 2601253.5317 | 1204837.4904
25 | 2601239.1585 | 1204844.8249
26 | 2601259.5656 | 1204838.7239
27 | 2601225.911 | 1204848.7119
28 | 2601284.488 | 1204841.6913
29 | 2601239.2735 | 1204871.4564
30 | 2601239.3457 | 1204888.2066
31 | 2601217.3336 | 1204851.2286
32 | 2601156.4839 | 1204839.8568
33 | 2601156.4422 | 1204825.7412
34 | 2601156.5139 | 1204849.9899
35 | 2601141.5597 | 1204849.9205
36 | 2601172.4674 | 1204850.1025
37 | 2601138.975 | 1204841.8397
38 | 2601136.6298 | 1204854.8779
39 | 2601183.8488 | 1204848.3844
40 | 2601138.9688 | 1204833.5778
41 | 2601136.6418 | 1204857.5112
42 | 2601186.1923 | 1204848.3445
43 | 2601189.339 | 1204848.3372
44 | 2601191.8055 | 1204848.3315
45 | 2601201.7487 | 1204852.2996
46 | 2601091.6098 | 1204809.1022
47 | 2601053.087 | 1204818.4771
48 | 2601051.3908 | 1204818.2211
49 | 2601121.7105 | 1204875.084
50 | 2601136.7396 | 1204879.0244
51 | 2601248.889 | 1205004.2133
52 | 2601249.0895 | 1205020.1026
53 | 2601249.2007 | 1205028.916
54 | 2601238.7978 | 1204977.964
55 | 2601211.0567 | 1204983.9731
56 | 2601238.8177 | 1204950.3769
57 | 2601284.6684 | 1205028.4896
58 | 2601249.1597 | 1205035.6298
59 | 2601278.5043 | 1204968.5001
60 | 2601278.4444 | 1204964.031
61 | 2601285.3999 | 1204987.9302
62 | 2601211.1691 | 1204999.2024
63 | 2601238.8328 | 1204929.4572
64 | 2601285.0143 | 1205009.3148
65 | 2601302.6485 | 1204996.1312
66 | 2601278.3269 | 1204954.8929
67 | 2601211.2825 | 1205014.5523
68 | 2601203.1792 | 1204944.8729
69 | 2601203.1693 | 1204937.1704
70 | 2601238.85 | 1204905.5024
71 | 2601291.5107 | 1204840.9991
72 | 2601300.697 | 1204839.7542
73 | 2601136.6908 | 1204868.2942
74 | 2601152.9051 | 1204883.2619
75 | 2601158.526 | 1204884.7353
76 | 2601201.9201 | 1204873.8216
77 | 2601201.843 | 1204864.1407
78 | 2601202.0979 | 1204896.1569
79 | 2601184.3573 | 1204891.5065
80 | 2601203.1171 | 1204896.4239
81 | 2601203.1399 | 1204914.2082
82 | 2601217.5321 | 1204900.2005
83 | 2601203.1498 | 1204921.9135
84 | 2601203.1596 | 1204929.5392
85 | 2601319.1202 | 1204868.3931
86 | 2601313.6016 | 1204892.413
87 | 2601312.9145 | 1204898.2133
88 | 2601303.6932 | 1204903.1504
89 | 2601278.1333 | 1204939.8309
90 | 2601277.9287 | 1204923.9184
91 | 2601277.6955 | 1204905.7769
92 | 2601330.6757 | 1204975.2394
93 | 2601284.5163 | 1204905.9754
94 | 2601290.5445 | 1204906.1508
95 | 2601239.4205 | 1204905.5247
96 | 2601239.4205 | 1204905.5247

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1