## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_361-20_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_361-20_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_361-20_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_361-20_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_361-20_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_361-20_0_5_node_21 | 0.4 | n |  | TRUE
6 | bus_LV_361-20_0_5_node_19 | 0.4 | n |  | TRUE
7 | bus_LV_361-20_0_5_node_22 | 0.4 | n |  | TRUE
8 | bus_LV_361-20_0_5_node_20 | 0.4 | n |  | TRUE
9 | bus_LV_361-20_0_5_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_361-20_0_5_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_361-20_0_5_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_361-20_0_5_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_361-20_0_5_node_26 | 0.4 | n |  | TRUE
14 | bus_LV_361-20_0_5_node_24 | 0.4 | n |  | TRUE
15 | bus_LV_361-20_0_5_node_15 | 0.4 | n |  | TRUE
16 | bus_LV_361-20_0_5_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_361-20_0_5_node_48 | 0.4 | n |  | TRUE
18 | bus_LV_361-20_0_5_node_51 | 0.4 | n |  | TRUE
19 | bus_LV_361-20_0_5_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_361-20_0_5_node_34 | 0.4 | n |  | TRUE
21 | bus_LV_361-20_0_5_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_361-20_0_5_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_361-20_0_5_node_32 | 0.4 | n |  | TRUE
24 | bus_LV_361-20_0_5_node_33 | 0.4 | n |  | TRUE
25 | bus_LV_361-20_0_5_node_25 | 0.4 | n |  | TRUE
26 | bus_LV_361-20_0_5_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_361-20_0_5_node_28 | 0.4 | n |  | TRUE
28 | bus_LV_361-20_0_5_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_361-20_0_5_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_361-20_0_5_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_361-20_0_5_node_29 | 0.4 | n |  | TRUE
32 | bus_LV_361-20_0_5_node_30 | 0.4 | n |  | TRUE
33 | bus_LV_361-20_0_5_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_361-20_0_5_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_361-20_0_5_node_43 | 0.4 | n |  | TRUE
36 | bus_LV_361-20_0_5_node_36 | 0.4 | n |  | TRUE
37 | bus_LV_361-20_0_5_node_46 | 0.4 | n |  | TRUE
38 | bus_LV_361-20_0_5_node_93 | 0.4 | n |  | TRUE
39 | bus_LV_361-20_0_5_node_44 | 0.4 | n |  | TRUE
40 | bus_LV_361-20_0_5_node_45 | 0.4 | n |  | TRUE
41 | bus_LV_361-20_0_5_node_35 | 0.4 | n |  | TRUE
42 | bus_LV_361-20_0_5_node_37 | 0.4 | n |  | TRUE
43 | bus_LV_361-20_0_5_node_38 | 0.4 | n |  | TRUE
44 | bus_LV_361-20_0_5_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_361-20_0_5_node_40 | 0.4 | n |  | TRUE
46 | bus_LV_361-20_0_5_node_41 | 0.4 | n |  | TRUE
47 | bus_LV_361-20_0_5_node_42 | 0.4 | n |  | TRUE
48 | bus_LV_361-20_0_5_node_47 | 0.4 | n |  | TRUE
49 | bus_LV_361-20_0_5_node_50 | 0.4 | n |  | TRUE
50 | bus_LV_361-20_0_5_node_49 | 0.4 | n |  | TRUE
51 | bus_LV_361-20_0_5_node_52 | 0.4 | n |  | TRUE
52 | bus_LV_361-20_0_5_node_53 | 0.4 | n |  | TRUE
53 | bus_LV_361-20_0_5_node_54 | 0.4 | n |  | TRUE
54 | bus_LV_361-20_0_5_node_55 | 0.4 | n |  | TRUE
55 | bus_LV_361-20_0_5_node_91 | 0.4 | n |  | TRUE
56 | bus_LV_361-20_0_5_node_82 | 0.4 | n |  | TRUE
57 | bus_LV_361-20_0_5_node_84 | 0.4 | n |  | TRUE
58 | bus_LV_361-20_0_5_node_92 | 0.4 | n |  | TRUE
59 | bus_LV_361-20_0_5_node_86 | 0.4 | n |  | TRUE
60 | bus_LV_361-20_0_5_node_57 | 0.4 | n |  | TRUE
61 | bus_LV_361-20_0_5_node_58 | 0.4 | n |  | TRUE
62 | bus_LV_361-20_0_5_node_59 | 0.4 | n |  | TRUE
63 | bus_LV_361-20_0_5_node_60 | 0.4 | n |  | TRUE
64 | bus_LV_361-20_0_5_node_61 | 0.4 | n |  | TRUE
65 | bus_LV_361-20_0_5_node_62 | 0.4 | n |  | TRUE
66 | bus_LV_361-20_0_5_node_63 | 0.4 | n |  | TRUE
67 | bus_LV_361-20_0_5_node_89 | 0.4 | n |  | TRUE
68 | bus_LV_361-20_0_5_node_90 | 0.4 | n |  | TRUE
69 | bus_LV_361-20_0_5_node_88 | 0.4 | n |  | TRUE
70 | bus_LV_361-20_0_5_node_78 | 0.4 | n |  | TRUE
71 | bus_LV_361-20_0_5_node_87 | 0.4 | n |  | TRUE
72 | bus_LV_361-20_0_5_node_66 | 0.4 | n |  | TRUE
73 | bus_LV_361-20_0_5_node_72 | 0.4 | n |  | TRUE
74 | bus_LV_361-20_0_5_node_64 | 0.4 | n |  | TRUE
75 | bus_LV_361-20_0_5_node_65 | 0.4 | n |  | TRUE
76 | bus_LV_361-20_0_5_node_67 | 0.4 | n |  | TRUE
77 | bus_LV_361-20_0_5_node_69 | 0.4 | n |  | TRUE
78 | bus_LV_361-20_0_5_node_68 | 0.4 | n |  | TRUE
79 | bus_LV_361-20_0_5_node_70 | 0.4 | n |  | TRUE
80 | bus_LV_361-20_0_5_node_71 | 0.4 | n |  | TRUE
81 | bus_LV_361-20_0_5_node_94 | 0.4 | n |  | TRUE
82 | bus_LV_361-20_0_5_node_85 | 0.4 | n |  | TRUE
83 | bus_LV_361-20_0_5_node_73 | 0.4 | n |  | TRUE
84 | bus_LV_361-20_0_5_node_75 | 0.4 | n |  | TRUE
85 | bus_LV_361-20_0_5_node_77 | 0.4 | n |  | TRUE
86 | bus_LV_361-20_0_5_node_76 | 0.4 | n |  | TRUE
87 | bus_LV_361-20_0_5_node_95 | 0.4 | n |  | TRUE
88 | bus_LV_361-20_0_5_node_83 | 0.4 | n |  | TRUE
89 | bus_LV_361-20_0_5_node_80 | 0.4 | n |  | TRUE
90 | bus_LV_361-20_0_5_node_79 | 0.4 | n |  | TRUE
91 | bus_LV_361-20_0_5_node_81 | 0.4 | n |  | TRUE
92 | bus_MV_415_0_node_70 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_361-20_0_5_load_0 | 0 | 0.0090996 | 0.0022806 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_361-20_0_5_load_1 | 1 | 0.0046631 | 0.0011687 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_361-20_0_5_load_4 | 4 | 0.011165 | 0.0027982 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_361-20_0_5_load_21 | 5 | 0.016439 | 0.00412 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_361-20_0_5_load_19 | 6 | 0.0039942 | 0.001001 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_361-20_0_5_load_20 | 8 | 0.015605 | 0.0039109 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_361-20_0_5_load_5 | 9 | 0.020004 | 0.0050134 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_361-20_0_5_load_9 | 12 | 0.011474 | 0.0028756 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_361-20_0_5_load_26 | 13 | 0.0097619 | 0.0024466 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_361-20_0_5_load_24 | 14 | 0.018241 | 0.0045717 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_361-20_0_5_load_15 | 15 | 0.020269 | 0.0050799 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_361-20_0_5_load_48 | 17 | 0.034576 | 0.0086655 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_361-20_0_5_load_51 | 18 | 0.012806 | 0.0032094 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_361-20_0_5_load_32 | 23 | 0.0174 | 0.0043608 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_361-20_0_5_load_33 | 24 | 0.01268 | 0.0031778 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_361-20_0_5_load_14 | 26 | 0.0046996 | 0.0011778 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_361-20_0_5_load_17 | 29 | 0.019988 | 0.0050094 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_361-20_0_5_load_18 | 30 | 0.0070579 | 0.0017689 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_361-20_0_5_load_23 | 33 | 0.0035733 | 0.00089554 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_361-20_0_5_load_43 | 35 | 0.004389 | 0.0011 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_361-20_0_5_load_36 | 36 | 0.0039542 | 0.00099103 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_361-20_0_5_load_93 | 38 | 0.015218 | 0.003814 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_361-20_0_5_load_35 | 41 | 0.003244 | 0.00081301 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_361-20_0_5_load_37 | 42 | 0.0032433 | 0.00081285 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_361-20_0_5_load_38 | 43 | 0.00096329 | 0.00024142 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_361-20_0_5_load_39 | 44 | 0.0025307 | 0.00063426 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_361-20_0_5_load_40 | 45 | 0.0012763 | 0.00031988 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_361-20_0_5_load_41 | 46 | 0.0021114 | 0.00052917 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_361-20_0_5_load_42 | 47 | 0.0011597 | 0.00029064 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_361-20_0_5_load_47 | 48 | 0.0053659 | 0.0013448 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_361-20_0_5_load_50 | 49 | 0.0012428 | 0.00031148 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_361-20_0_5_load_49 | 50 | 0.0010115 | 0.00025351 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_361-20_0_5_load_53 | 52 | 0.0038907 | 0.0009751 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_361-20_0_5_load_54 | 53 | 0.0038907 | 0.0009751 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_361-20_0_5_load_91 | 55 | 0.0038892 | 0.00097474 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_361-20_0_5_load_92 | 58 | 0.0032044 | 0.0008031 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_361-20_0_5_load_57 | 60 | 0.00025759 | 6.4558e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_361-20_0_5_load_58 | 61 | 0.004484 | 0.0011238 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_361-20_0_5_load_61 | 64 | 0.0011013 | 0.00027602 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_361-20_0_5_load_63 | 66 | 0.0050148 | 0.0012568 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_361-20_0_5_load_89 | 67 | 0.0062621 | 0.0015694 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_361-20_0_5_load_90 | 68 | 0.0012457 | 0.00031221 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_361-20_0_5_load_88 | 69 | 0.0029065 | 0.00072843 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_361-20_0_5_load_87 | 71 | 0.00047322 | 0.0001186 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_361-20_0_5_load_64 | 74 | 0.019956 | 0.0050015 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_361-20_0_5_load_67 | 76 | 0.029368 | 0.0073603 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_361-20_0_5_load_69 | 77 | 0.0090556 | 0.0022695 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_361-20_0_5_load_68 | 78 | 0.039945 | 0.010011 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_361-20_0_5_load_94 | 81 | 0.068715 | 0.017222 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_361-20_0_5_load_85 | 82 | 0.0029223 | 0.0007324 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_361-20_0_5_load_73 | 83 | 0.00065107 | 0.00016317 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_361-20_0_5_load_77 | 85 | 0.0018994 | 0.00047604 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_361-20_0_5_load_95 | 87 | 0.011611 | 0.0029099 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_361-20_0_5_load_79 | 90 | 0.00033532 | 8.4038e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 42 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_361-20_0_5_line_0 |  | 0 | 1 | 0.0068239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_361-20_0_5_line_1 |  | 0 | 2 | 0.018793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_361-20_0_5_line_2 |  | 1 | 3 | 0.01216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_361-20_0_5_line_3 |  | 2 | 4 | 0.022515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_361-20_0_5_line_4 |  | 3 | 5 | 0.0039828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_361-20_0_5_line_5 |  | 4 | 6 | 0.025437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_361-20_0_5_line_6 |  | 5 | 7 | 0.016517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_361-20_0_5_line_7 |  | 6 | 8 | 0.023154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_361-20_0_5_line_8 |  | 7 | 33 | 0.001497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_361-20_0_5_line_9 |  | 9 | 10 | 0.043702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_361-20_0_5_line_10 |  | 10 | 11 | 0.045944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_361-20_0_5_line_11 |  | 10 | 12 | 0.010948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_361-20_0_5_line_12 |  | 11 | 13 | 0.013585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_361-20_0_5_line_13 |  | 11 | 14 | 0.053093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
14 | LV_361-20_0_5_line_14 |  | 12 | 15 | 0.0077917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_361-20_0_5_line_15 |  | 14 | 25 | 0.030319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
16 | LV_361-20_0_5_line_16 |  | 15 | 26 | 0.000473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_361-20_0_5_line_17 |  | 16 | 17 | 0.13331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_361-20_0_5_line_18 |  | 16 | 18 | 0.025457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_361-20_0_5_line_19 |  | 17 | 27 | 0.040449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_361-20_0_5_line_20 |  | 18 | 19 | 0.017806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_361-20_0_5_line_21 |  | 19 | 20 | 0.028541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_361-20_0_5_line_22 |  | 20 | 24 | 0.011099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_361-20_0_5_line_23 |  | 21 | 22 | 0.026837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_361-20_0_5_line_24 |  | 21 | 23 | 0.05849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_361-20_0_5_line_25 |  | 22 | 24 | 0.0052438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_361-20_0_5_line_26 |  | 25 | 34 | 0.006846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
27 | LV_361-20_0_5_line_27 |  | 25 | 27 | 0.013209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
28 | LV_361-20_0_5_line_28 |  | 26 | 28 | 0.016252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_361-20_0_5_line_29 |  | 27 | 36 | 0.022308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
30 | LV_361-20_0_5_line_30 |  | 28 | 29 | 0.020792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_361-20_0_5_line_31 |  | 28 | 30 | 0.0099011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_361-20_0_5_line_32 |  | 30 | 31 | 0.0202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_361-20_0_5_line_33 |  | 31 | 32 | 0.012886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_361-20_0_5_line_34 |  | 32 | 33 | 0.026996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_361-20_0_5_line_35 |  | 34 | 35 | 0.012363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
36 | LV_361-20_0_5_line_36 |  | 35 | 39 | 0.024544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
37 | LV_361-20_0_5_line_37 |  | 36 | 41 | 0.02759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
38 | LV_361-20_0_5_line_38 |  | 37 | 38 | 0.11476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_361-20_0_5_line_39 |  | 37 | 39 | 0.13935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_361-20_0_5_line_40 |  | 39 | 40 | 0.10904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
41 | LV_361-20_0_5_line_41 |  | 40 | 51 | 0.032359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
42 | LV_361-20_0_5_line_42 |  | 40 | 49 | 0.048397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_361-20_0_5_line_43 |  | 41 | 42 | 0.011652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
44 | LV_361-20_0_5_line_44 |  | 43 | 44 | 0.0084488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_361-20_0_5_line_45 |  | 43 | 45 | 0.0043585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_361-20_0_5_line_46 |  | 44 | 46 | 0.008742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_361-20_0_5_line_47 |  | 45 | 47 | 0.0024118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_361-20_0_5_line_48 |  | 46 | 48 | 0.0082548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_361-20_0_5_line_49 |  | 47 | 49 | 0.0013546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_361-20_0_5_line_50 |  | 48 | 50 | 0.01748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_361-20_0_5_line_51 |  | 51 | 52 | 0.016398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
52 | LV_361-20_0_5_line_52 |  | 52 | 53 | 0.0059665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
53 | LV_361-20_0_5_line_53 |  | 53 | 54 | 0.0054987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
54 | LV_361-20_0_5_line_54 |  | 54 | 55 | 0.002121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
55 | LV_361-20_0_5_line_55 |  | 55 | 56 | 0.05219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
56 | LV_361-20_0_5_line_56 |  | 56 | 57 | 0.047584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
57 | LV_361-20_0_5_line_57 |  | 57 | 82 | 0.035592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
58 | LV_361-20_0_5_line_58 |  | 57 | 80 | 0.11682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
59 | LV_361-20_0_5_line_59 |  | 58 | 59 | 0.076373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_361-20_0_5_line_60 |  | 59 | 88 | 0.022288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_361-20_0_5_line_61 |  | 60 | 61 | 0.0007046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
62 | LV_361-20_0_5_line_62 |  | 60 | 62 | 0.023662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
63 | LV_361-20_0_5_line_63 |  | 61 | 63 | 0.019304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
64 | LV_361-20_0_5_line_64 |  | 62 | 64 | 0.039137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_361-20_0_5_line_65 |  | 62 | 65 | 0.037479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
66 | LV_361-20_0_5_line_66 |  | 63 | 66 | 0.014211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
67 | LV_361-20_0_5_line_67 |  | 64 | 67 | 0.013988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_361-20_0_5_line_68 |  | 65 | 68 | 0.022592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_361-20_0_5_line_69 |  | 65 | 69 | 0.016953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_361-20_0_5_line_70 |  | 66 | 70 | 0.045294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
71 | LV_361-20_0_5_line_71 |  | 69 | 71 | 0.079261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_361-20_0_5_line_72 |  | 70 | 72 | 0.008461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
73 | LV_361-20_0_5_line_73 |  | 70 | 73 | 0.051938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
74 | LV_361-20_0_5_line_74 |  | 72 | 77 | 0.015471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
75 | LV_361-20_0_5_line_75 |  | 72 | 75 | 0.006962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
76 | LV_361-20_0_5_line_76 |  | 73 | 81 | 0.04882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
77 | LV_361-20_0_5_line_77 |  | 73 | 79 | 0.009525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
78 | LV_361-20_0_5_line_78 |  | 74 | 75 | 0.043034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
79 | LV_361-20_0_5_line_79 |  | 75 | 76 | 0.018588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
80 | LV_361-20_0_5_line_80 |  | 77 | 78 | 0.052929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
81 | LV_361-20_0_5_line_81 |  | 79 | 80 | 0.010915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
82 | LV_361-20_0_5_line_82 |  | 82 | 91 | 0.024364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
83 | LV_361-20_0_5_line_83 |  | 83 | 84 | 0.0038679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_361-20_0_5_line_84 |  | 84 | 85 | 0.026625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_361-20_0_5_line_85 |  | 84 | 86 | 0.03997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_361-20_0_5_line_86 |  | 85 | 88 | 0.053639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_361-20_0_5_line_87 |  | 86 | 87 | 0.03475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_361-20_0_5_line_88 |  | 88 | 89 | 0.040931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_361-20_0_5_line_89 |  | 89 | 90 | 0.011991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_361-20_0_5_line_90 |  | 90 | 91 | 0.011624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_361-20_0_5_trafo_37 | 0.63 MVA 20/0.4 kV | 92 | 42 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2601431.5561 | 1204771.9165 | 2601433.2226 | 1204778.5338
1 | 2601426.9665 | 1204753.6928 | 2601431.5561 | 1204771.9165
2 | 2601436.1924 | 1204790.3259 | 2601433.2226 | 1204778.5338
3 | 2601426.9665 | 1204753.6928 | 2601448.907 | 1204748.6395
4 | 2601436.1924 | 1204790.3259 | 2601437.1655 | 1204794.1881
5 | 2601448.907 | 1204748.6395 | 2601473.6947 | 1204742.9304
6 | 2601441.2006 | 1204810.2046 | 2601437.1655 | 1204794.1881
7 | 2601496.2582 | 1204737.7336 | 2601473.6947 | 1204742.9304
8 | 2601441.2006 | 1204810.2046 | 2601441.6123 | 1204811.6439
9 | 2601514.6367 | 1204827.9982 | 2601511.3147 | 1204819.5484 | 2601508.8981 | 1204810.2761 | 2601507.8349 | 1204803.172 | 2601507.7454 | 1204795.4566 | 2601508.6072 | 1204786.3408 | 2601508.812 | 1204785.3772
10 | 2601514.6367 | 1204827.9982 | 2601517.8907 | 1204834.1357 | 2601522.8181 | 1204840.5515 | 2601527.9055 | 1204845.8223 | 2601532.8564 | 1204849.6033 | 2601547.5725 | 1204858.9231
11 | 2601514.6367 | 1204827.9982 | 2601504.4001 | 1204831.8807
12 | 2601547.5725 | 1204858.9231 | 2601542.5568 | 1204871.551
13 | 2601547.5725 | 1204858.9231 | 2601569.8715 | 1204870.824 | 2601583.0667 | 1204878.2203 | 2601592.568 | 1204886.6326
14 | 2601504.4001 | 1204831.8807 | 2601497.1149 | 1204834.6439
15 | 2601615.6451 | 1204906.2772 | 2601608.086 | 1204900.3721 | 2601592.568 | 1204886.6326
16 | 2601497.1149 | 1204834.6439 | 2601496.6726 | 1204834.8116
17 | 2601597.2544 | 1204722.5169 | 2601600.8059 | 1204725.4639 | 2601603.6344 | 1204729.7113 | 2601605.0939 | 1204733.5138 | 2601605.9676 | 1204737.6496 | 2601609.275 | 1204772.9586 | 2601611.9104 | 1204817.8392 | 2601613.0884 | 1204852.688
18 | 2601597.2544 | 1204722.5169 | 2601574.1711 | 1204711.783
19 | 2601615.1237 | 1204893.081 | 2601613.6995 | 1204870.7685 | 2601613.0884 | 1204852.688
20 | 2601582.4967 | 1204696.0432 | 2601574.1711 | 1204711.783
21 | 2601611.1204 | 1204695.817 | 2601582.4967 | 1204696.0432
22 | 2601611.1204 | 1204695.817 | 2601616.232 | 1204685.9657
23 | 2601631.3107 | 1204657.6348 | 2601618.6471 | 1204681.3111
24 | 2601631.3107 | 1204657.6348 | 2601682.9201 | 1204685.158
25 | 2601618.6471 | 1204681.3111 | 2601616.232 | 1204685.9657
26 | 2601615.6451 | 1204906.2772 | 2601614.898 | 1204913.0807
27 | 2601615.1237 | 1204893.081 | 2601615.6451 | 1204906.2772
28 | 2601481.4772 | 1204840.5749 | 2601496.6726 | 1204834.8116
29 | 2601615.1237 | 1204893.081 | 2601636.9205 | 1204888.3344
30 | 2601481.4772 | 1204840.5749 | 2601475.756 | 1204820.5852
31 | 2601481.4772 | 1204840.5749 | 2601472.064 | 1204843.6444
32 | 2601452.8597 | 1204849.9066 | 2601472.064 | 1204843.6444
33 | 2601452.8597 | 1204849.9066 | 2601451.3167 | 1204844.9369 | 2601449.0365 | 1204837.5991
34 | 2601449.0365 | 1204837.5991 | 2601441.6123 | 1204811.6439
35 | 2601614.898 | 1204913.0807 | 2601617.2177 | 1204913.904 | 2601620.9444 | 1204915.2279 | 2601626.1769 | 1204918.053
36 | 2601644.4353 | 1204934.4556 | 2601626.1769 | 1204918.053
37 | 2601662.5537 | 1204878.9868 | 2601659.4952 | 1204879.5853 | 2601655.0069 | 1204881.4073 | 2601647.2472 | 1204886.0856 | 2601636.9205 | 1204888.3344
38 | 2601589.7452 | 1205057.2306 | 2601570.0766 | 1205053.4902 | 2601531.6563 | 1204966.8002
39 | 2601589.7452 | 1205057.2306 | 2601595.595 | 1205024.87 | 2601601.8794 | 1204988.3295 | 2601605.3634 | 1204987.1742 | 2601609.274 | 1204983.4398 | 2601616.7992 | 1204973.1917 | 2601619.6983 | 1204968.6567 | 2601644.4353 | 1204934.4556
40 | 2601644.4353 | 1204934.4556 | 2601674.2295 | 1204961.8118 | 2601679.317 | 1204965.8487 | 2601684.7546 | 1204969.0741 | 2601700.1321 | 1204977.4718 | 2601718.6666 | 1204984.5696 | 2601727.4584 | 1204988.1962 | 2601730.7893 | 1204990.7208 | 2601733.5188 | 1204994.8238
41 | 2601733.5188 | 1204994.8238 | 2601736.1239 | 1205008.5097 | 2601741.2117 | 1205011.1681 | 2601752.452 | 1205017.0523
42 | 2601733.5188 | 1204994.8238 | 2601743.8952 | 1204989.3125 | 2601762.8917 | 1204976.0551 | 2601774.2536 | 1204968.7968
43 | 2601662.5537 | 1204878.9868 | 2601673.9889 | 1204876.7493
44 | 2601781.1006 | 1204964.4227 | 2601788.2205 | 1204959.8743
45 | 2601781.1006 | 1204964.4227 | 2601777.4276 | 1204966.7691
46 | 2601788.2205 | 1204959.8743 | 2601795.5876 | 1204955.1679
47 | 2601777.4276 | 1204966.7691 | 2601775.3952 | 1204968.0675
48 | 2601802.5441 | 1204950.7239 | 2601795.5876 | 1204955.1679
49 | 2601775.3952 | 1204968.0675 | 2601774.2536 | 1204968.7968
50 | 2601814.7165 | 1204938.4495 | 2601807.1607 | 1204947.7746 | 2601802.5441 | 1204950.7239
51 | 2601752.452 | 1205017.0523 | 2601766.9757 | 1205024.6655
52 | 2601766.9757 | 1205024.6655 | 2601772.2602 | 1205027.4356
53 | 2601777.1304 | 1205029.9886 | 2601772.2602 | 1205027.4356
54 | 2601777.1304 | 1205029.9886 | 2601779.117 | 1205030.7315
55 | 2601825.6431 | 1205054.2936 | 2601807.4138 | 1205045.1055 | 2601783.8536 | 1205032.503 | 2601779.117 | 1205030.7315
56 | 2601825.6431 | 1205054.2936 | 2601827.0816 | 1205051.0145 | 2601834.709 | 1205030.8168 | 2601836.7959 | 1205021.3234 | 2601844.4167 | 1205023.3935 | 2601845.8404 | 1205018.8136
57 | 2601845.8404 | 1205018.8136 | 2601879.7008 | 1205029.7802
58 | 2601873.2541 | 1204914.9208 | 2601862.8345 | 1204936.7406 | 2601856.4185 | 1204949.7458 | 2601866.9738 | 1204956.9974 | 2601845.8404 | 1205018.8136
59 | 2601893.7001 | 1205113.3795 | 2601881.503 | 1205153.6978 | 2601850.2754 | 1205144.3833 | 2601848.6547 | 1205144.0084
60 | 2601900.2707 | 1205092.0811 | 2601893.7001 | 1205113.3795
61 | 2601970.6026 | 1204863.5197 | 2601970.8245 | 1204862.851
62 | 2601974.4954 | 1204839.9002 | 2601975.3231 | 1204844.2362 | 2601975.0174 | 1204848.8275 | 2601973.5475 | 1204854.6413 | 2601970.8245 | 1204862.851
63 | 2601964.5253 | 1204881.8421 | 2601970.6026 | 1204863.5197
64 | 2601974.4954 | 1204839.9002 | 2601978.3064 | 1204839.2789 | 2601981.2655 | 1204838.6684 | 2601986.0582 | 1204836.7355 | 2601989.5272 | 1204835.2136 | 2601992.9965 | 1204832.9802 | 2601995.9563 | 1204830.2352 | 2601997.9958 | 1204826.9785 | 2602000.8577 | 1204821.1874 | 2602003.312 | 1204817.0236
65 | 2601974.4954 | 1204839.9002 | 2601972.7012 | 1204837.1982 | 2601969.667 | 1204834.5402 | 2601950.6308 | 1204826.263 | 2601941.9074 | 1204822.436
66 | 2601964.5253 | 1204881.8421 | 2601960.0525 | 1204895.3305
67 | 2602011.6445 | 1204805.8674 | 2602010.165 | 1204807.2273 | 2602007.3114 | 1204810.6949 | 2602003.9172 | 1204815.9967 | 2602003.312 | 1204817.0236
68 | 2601941.9074 | 1204822.436 | 2601938.0411 | 1204829.5942 | 2601936.3821 | 1204832.1395 | 2601932.851 | 1204837.5747 | 2601929.921 | 1204841.5476
69 | 2601941.9074 | 1204822.436 | 2601948.5126 | 1204806.8228
70 | 2601941.9556 | 1204935.6199 | 2601945.9572 | 1204933.2309 | 2601948.788 | 1204929.3074 | 2601959.2947 | 1204897.6157 | 2601960.0525 | 1204895.3305
71 | 2601983.5348 | 1204736.0539 | 2601980.8407 | 1204740.1368 | 2601969.0217 | 1204758.9433 | 2601964.1964 | 1204767.7799 | 2601960.1773 | 1204776.7613 | 2601954.8714 | 1204789.8001 | 2601951.6207 | 1204798.5483 | 2601948.7354 | 1204806.296 | 2601948.5126 | 1204806.8228
72 | 2601946.2432 | 1204942.8918 | 2601945.5288 | 1204941.1573 | 2601941.9556 | 1204935.6199
73 | 2601941.9556 | 1204935.6199 | 2601937.1024 | 1204936.8301 | 2601932.1206 | 1204935.7835 | 2601892.3132 | 1204922.4418
74 | 2601946.2432 | 1204942.8918 | 2601945.6262 | 1204945.8377 | 2601941.693 | 1204957.6616
75 | 2601952.9666 | 1204944.7727 | 2601949.9167 | 1204943.9046 | 2601946.2432 | 1204942.8918
76 | 2601912.5662 | 1204881.8815 | 2601910.4441 | 1204881.4583 | 2601907.9644 | 1204881.6799 | 2601905.9635 | 1204882.98 | 2601904.8067 | 1204884.9363 | 2601892.3132 | 1204922.4418
77 | 2601883.3921 | 1204919.0372 | 2601892.3132 | 1204922.4418
78 | 2601952.9666 | 1204944.7727 | 2601954.0918 | 1204946.4518 | 2601953.9162 | 1204948.3861 | 2601947.1477 | 1204969.2287 | 2601946.7442 | 1204970.5515 | 2601947.048 | 1204971.8745 | 2601947.8616 | 1204972.6863 | 2601960.3307 | 1204977.2172
79 | 2601952.9666 | 1204944.7727 | 2601970.5961 | 1204950.6639
80 | 2601897.0707 | 1204955.9045 | 2601934.8108 | 1204967.7018 | 2601936.3397 | 1204967.7022 | 2601937.8688 | 1204966.9912 | 2601938.6829 | 1204966.0687 | 2601939.2994 | 1204964.8572 | 2601941.693 | 1204957.6616
81 | 2601883.3921 | 1204919.0372 | 2601873.2541 | 1204914.9208
82 | 2601888.4729 | 1205044.5849 | 2601892.0511 | 1205033.7801 | 2601879.7008 | 1205029.7802
83 | 2601946.6105 | 1205153.918 | 2601947.4787 | 1205157.6872
84 | 2601946.6105 | 1205153.918 | 2601945.7294 | 1205150.0934 | 2601943.0777 | 1205141.0766 | 2601940.433 | 1205134.0497 | 2601937.7532 | 1205128.9138
85 | 2601943.7916 | 1205192.8272 | 2601940.7702 | 1205174.5608 | 2601946.6105 | 1205153.918
86 | 2601900.2707 | 1205092.0811 | 2601904.2937 | 1205094.2279 | 2601910.1646 | 1205097.3536 | 2601916.385 | 1205101.8358 | 2601921.2364 | 1205105.9173 | 2601925.3804 | 1205110.3654 | 2601929.0222 | 1205114.9913 | 2601932.8616 | 1205120.451 | 2601936.2674 | 1205126.0663 | 2601937.7532 | 1205128.9138
87 | 2601910.5567 | 1205182.3667 | 2601943.7916 | 1205192.8272
88 | 2601900.2707 | 1205092.0811 | 2601876.4062 | 1205080.7565 | 2601881.0577 | 1205067.006
89 | 2601881.0577 | 1205067.006 | 2601884.8229 | 1205055.6214
90 | 2601888.4729 | 1205044.5849 | 2601884.8229 | 1205055.6214

## bus_geodata
| x | y | coords
0 | 2601431.5561 | 1204771.9165
1 | 2601433.2226 | 1204778.5338
2 | 2601426.9665 | 1204753.6928
3 | 2601436.1924 | 1204790.3259
4 | 2601448.907 | 1204748.6395
5 | 2601437.1655 | 1204794.1881
6 | 2601473.6947 | 1204742.9304
7 | 2601441.2006 | 1204810.2046
8 | 2601496.2582 | 1204737.7336
9 | 2601508.812 | 1204785.3772
10 | 2601514.6367 | 1204827.9982
11 | 2601547.5725 | 1204858.9231
12 | 2601504.4001 | 1204831.8807
13 | 2601542.5568 | 1204871.551
14 | 2601592.568 | 1204886.6326
15 | 2601497.1148 | 1204834.6439
16 | 2601597.2544 | 1204722.5169
17 | 2601613.0884 | 1204852.688
18 | 2601574.1711 | 1204711.783
19 | 2601582.4967 | 1204696.0432
20 | 2601611.1204 | 1204695.817
21 | 2601631.3107 | 1204657.6348
22 | 2601618.6471 | 1204681.3111
23 | 2601682.9201 | 1204685.158
24 | 2601616.232 | 1204685.9657
25 | 2601615.6451 | 1204906.2772
26 | 2601496.6726 | 1204834.8116
27 | 2601615.1237 | 1204893.081
28 | 2601481.4772 | 1204840.5749
29 | 2601475.756 | 1204820.5852
30 | 2601472.064 | 1204843.6444
31 | 2601452.8597 | 1204849.9066
32 | 2601449.0365 | 1204837.5991
33 | 2601441.6123 | 1204811.6439
34 | 2601614.898 | 1204913.0807
35 | 2601626.1769 | 1204918.053
36 | 2601636.9205 | 1204888.3344
37 | 2601589.7452 | 1205057.2306
38 | 2601531.6563 | 1204966.8002
39 | 2601644.4353 | 1204934.4556
40 | 2601733.5188 | 1204994.8238
41 | 2601662.5537 | 1204878.9868
42 | 2601673.9889 | 1204876.7493
43 | 2601781.1006 | 1204964.4227
44 | 2601788.2205 | 1204959.8743
45 | 2601777.4276 | 1204966.7691
46 | 2601795.5876 | 1204955.1679
47 | 2601775.3952 | 1204968.0675
48 | 2601802.5441 | 1204950.7239
49 | 2601774.2536 | 1204968.7968
50 | 2601814.7165 | 1204938.4495
51 | 2601752.452 | 1205017.0523
52 | 2601766.9757 | 1205024.6655
53 | 2601772.2602 | 1205027.4356
54 | 2601777.1304 | 1205029.9886
55 | 2601779.117 | 1205030.7315
56 | 2601825.6431 | 1205054.2936
57 | 2601845.8404 | 1205018.8136
58 | 2601848.6547 | 1205144.0084
59 | 2601893.7001 | 1205113.3795
60 | 2601970.8245 | 1204862.851
61 | 2601970.6026 | 1204863.5197
62 | 2601974.4954 | 1204839.9002
63 | 2601964.5253 | 1204881.8421
64 | 2602003.312 | 1204817.0236
65 | 2601941.9074 | 1204822.436
66 | 2601960.0525 | 1204895.3305
67 | 2602011.6445 | 1204805.8674
68 | 2601929.921 | 1204841.5476
69 | 2601948.5126 | 1204806.8228
70 | 2601941.9556 | 1204935.6199
71 | 2601983.5348 | 1204736.0539
72 | 2601946.2432 | 1204942.8918
73 | 2601892.3132 | 1204922.4418
74 | 2601960.3307 | 1204977.2172
75 | 2601952.9666 | 1204944.7727
76 | 2601970.5961 | 1204950.6639
77 | 2601941.693 | 1204957.6616
78 | 2601897.0707 | 1204955.9045
79 | 2601883.3921 | 1204919.0372
80 | 2601873.2541 | 1204914.9208
81 | 2601912.5662 | 1204881.8815
82 | 2601879.7008 | 1205029.7802
83 | 2601947.4787 | 1205157.6872
84 | 2601946.6105 | 1205153.918
85 | 2601937.7532 | 1205128.9138
86 | 2601943.7916 | 1205192.8272
87 | 2601910.5567 | 1205182.3667
88 | 2601900.2707 | 1205092.0811
89 | 2601881.0577 | 1205067.006
90 | 2601884.8229 | 1205055.6214
91 | 2601888.4729 | 1205044.5849
92 | 2601673.9889 | 1204876.7493

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1