## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_361-24_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_361-24_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_361-24_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_361-24_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_361-24_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_361-24_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_361-24_0_6_node_28 | 0.4 | n |  | TRUE
7 | bus_LV_361-24_0_6_node_93 | 0.4 | n |  | TRUE
8 | bus_LV_361-24_0_6_node_18 | 0.4 | n |  | TRUE
9 | bus_LV_361-24_0_6_node_107 | 0.4 | n |  | TRUE
10 | bus_LV_361-24_0_6_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_361-24_0_6_node_24 | 0.4 | n |  | TRUE
12 | bus_LV_361-24_0_6_node_19 | 0.4 | n |  | TRUE
13 | bus_LV_361-24_0_6_node_36 | 0.4 | n |  | TRUE
14 | bus_LV_361-24_0_6_node_86 | 0.4 | n |  | TRUE
15 | bus_LV_361-24_0_6_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_361-24_0_6_node_108 | 0.4 | n |  | TRUE
17 | bus_LV_361-24_0_6_node_94 | 0.4 | n |  | TRUE
18 | bus_LV_361-24_0_6_node_62 | 0.4 | n |  | TRUE
19 | bus_LV_361-24_0_6_node_23 | 0.4 | n |  | TRUE
20 | bus_LV_361-24_0_6_node_9 | 0.4 | n |  | TRUE
21 | bus_LV_361-24_0_6_node_7 | 0.4 | n |  | TRUE
22 | bus_LV_361-24_0_6_node_8 | 0.4 | n |  | TRUE
23 | bus_LV_361-24_0_6_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_361-24_0_6_node_21 | 0.4 | n |  | TRUE
25 | bus_LV_361-24_0_6_node_52 | 0.4 | n |  | TRUE
26 | bus_LV_361-24_0_6_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_361-24_0_6_node_61 | 0.4 | n |  | TRUE
28 | bus_LV_361-24_0_6_node_95 | 0.4 | n |  | TRUE
29 | bus_LV_361-24_0_6_node_10 | 0.4 | n |  | TRUE
30 | bus_LV_361-24_0_6_node_11 | 0.4 | n |  | TRUE
31 | bus_LV_361-24_0_6_node_12 | 0.4 | n |  | TRUE
32 | bus_LV_361-24_0_6_node_14 | 0.4 | n |  | TRUE
33 | bus_LV_361-24_0_6_node_15 | 0.4 | n |  | TRUE
34 | bus_LV_361-24_0_6_node_16 | 0.4 | n |  | TRUE
35 | bus_LV_361-24_0_6_node_17 | 0.4 | n |  | TRUE
36 | bus_LV_361-24_0_6_node_54 | 0.4 | n |  | TRUE
37 | bus_LV_361-24_0_6_node_100 | 0.4 | n |  | TRUE
38 | bus_LV_361-24_0_6_node_53 | 0.4 | n |  | TRUE
39 | bus_LV_361-24_0_6_node_55 | 0.4 | n |  | TRUE
40 | bus_LV_361-24_0_6_node_101 | 0.4 | n |  | TRUE
41 | bus_LV_361-24_0_6_node_99 | 0.4 | n |  | TRUE
42 | bus_LV_361-24_0_6_node_72 | 0.4 | n |  | TRUE
43 | bus_LV_361-24_0_6_node_73 | 0.4 | n |  | TRUE
44 | bus_LV_361-24_0_6_node_60 | 0.4 | n |  | TRUE
45 | bus_LV_361-24_0_6_node_109 | 0.4 | n |  | TRUE
46 | bus_LV_361-24_0_6_node_32 | 0.4 | n |  | TRUE
47 | bus_LV_361-24_0_6_node_110 | 0.4 | n |  | TRUE
48 | bus_LV_361-24_0_6_node_29 | 0.4 | n |  | TRUE
49 | bus_LV_361-24_0_6_node_77 | 0.4 | n |  | TRUE
50 | bus_LV_361-24_0_6_node_106 | 0.4 | n |  | TRUE
51 | bus_LV_361-24_0_6_node_30 | 0.4 | n |  | TRUE
52 | bus_LV_361-24_0_6_node_91 | 0.4 | n |  | TRUE
53 | bus_LV_361-24_0_6_node_90 | 0.4 | n |  | TRUE
54 | bus_LV_361-24_0_6_node_31 | 0.4 | n |  | TRUE
55 | bus_LV_361-24_0_6_node_105 | 0.4 | n |  | TRUE
56 | bus_LV_361-24_0_6_node_34 | 0.4 | n |  | TRUE
57 | bus_LV_361-24_0_6_node_97 | 0.4 | n |  | TRUE
58 | bus_LV_361-24_0_6_node_96 | 0.4 | n |  | TRUE
59 | bus_LV_361-24_0_6_node_35 | 0.4 | n |  | TRUE
60 | bus_LV_361-24_0_6_node_81 | 0.4 | n |  | TRUE
61 | bus_LV_361-24_0_6_node_80 | 0.4 | n |  | TRUE
62 | bus_LV_361-24_0_6_node_102 | 0.4 | n |  | TRUE
63 | bus_LV_361-24_0_6_node_87 | 0.4 | n |  | TRUE
64 | bus_LV_361-24_0_6_node_75 | 0.4 | n |  | TRUE
65 | bus_LV_361-24_0_6_node_78 | 0.4 | n |  | TRUE
66 | bus_LV_361-24_0_6_node_82 | 0.4 | n |  | TRUE
67 | bus_LV_361-24_0_6_node_83 | 0.4 | n |  | TRUE
68 | bus_LV_361-24_0_6_node_68 | 0.4 | n |  | TRUE
69 | bus_LV_361-24_0_6_node_37 | 0.4 | n |  | TRUE
70 | bus_LV_361-24_0_6_node_38 | 0.4 | n |  | TRUE
71 | bus_LV_361-24_0_6_node_39 | 0.4 | n |  | TRUE
72 | bus_LV_361-24_0_6_node_40 | 0.4 | n |  | TRUE
73 | bus_LV_361-24_0_6_node_41 | 0.4 | n |  | TRUE
74 | bus_LV_361-24_0_6_node_42 | 0.4 | n |  | TRUE
75 | bus_LV_361-24_0_6_node_65 | 0.4 | n |  | TRUE
76 | bus_LV_361-24_0_6_node_43 | 0.4 | n |  | TRUE
77 | bus_LV_361-24_0_6_node_64 | 0.4 | n |  | TRUE
78 | bus_LV_361-24_0_6_node_44 | 0.4 | n |  | TRUE
79 | bus_LV_361-24_0_6_node_45 | 0.4 | n |  | TRUE
80 | bus_LV_361-24_0_6_node_46 | 0.4 | n |  | TRUE
81 | bus_LV_361-24_0_6_node_104 | 0.4 | n |  | TRUE
82 | bus_LV_361-24_0_6_node_103 | 0.4 | n |  | TRUE
83 | bus_LV_361-24_0_6_node_47 | 0.4 | n |  | TRUE
84 | bus_LV_361-24_0_6_node_48 | 0.4 | n |  | TRUE
85 | bus_LV_361-24_0_6_node_49 | 0.4 | n |  | TRUE
86 | bus_LV_361-24_0_6_node_50 | 0.4 | n |  | TRUE
87 | bus_LV_361-24_0_6_node_51 | 0.4 | n |  | TRUE
88 | bus_LV_361-24_0_6_node_56 | 0.4 | n |  | TRUE
89 | bus_LV_361-24_0_6_node_57 | 0.4 | n |  | TRUE
90 | bus_LV_361-24_0_6_node_63 | 0.4 | n |  | TRUE
91 | bus_LV_361-24_0_6_node_59 | 0.4 | n |  | TRUE
92 | bus_LV_361-24_0_6_node_69 | 0.4 | n |  | TRUE
93 | bus_LV_361-24_0_6_node_58 | 0.4 | n |  | TRUE
94 | bus_LV_361-24_0_6_node_70 | 0.4 | n |  | TRUE
95 | bus_LV_361-24_0_6_node_66 | 0.4 | n |  | TRUE
96 | bus_LV_361-24_0_6_node_67 | 0.4 | n |  | TRUE
97 | bus_LV_361-24_0_6_node_79 | 0.4 | n |  | TRUE
98 | bus_LV_361-24_0_6_node_76 | 0.4 | n |  | TRUE
99 | bus_LV_361-24_0_6_node_85 | 0.4 | n |  | TRUE
100 | bus_LV_361-24_0_6_node_71 | 0.4 | n |  | TRUE
101 | bus_LV_361-24_0_6_node_74 | 0.4 | n |  | TRUE
102 | bus_LV_361-24_0_6_node_84 | 0.4 | n |  | TRUE
103 | bus_LV_361-24_0_6_node_88 | 0.4 | n |  | TRUE
104 | bus_LV_361-24_0_6_node_89 | 0.4 | n |  | TRUE
105 | bus_LV_361-24_0_6_node_98 | 0.4 | n |  | TRUE
106 | bus_MV_415_0_node_83 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_361-24_0_6_load_0 | 0 | 0.021812 | 0.0054666 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_361-24_0_6_load_1 | 1 | 0.015173 | 0.0038027 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_361-24_0_6_load_93 | 7 | 0.0095237 | 0.0023869 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_361-24_0_6_load_18 | 8 | 0.0038478 | 0.00096434 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_361-24_0_6_load_107 | 9 | 0.0023734 | 0.00059483 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_361-24_0_6_load_24 | 11 | 0.0046207 | 0.001158 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_361-24_0_6_load_19 | 12 | 0.015516 | 0.0038888 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_361-24_0_6_load_86 | 14 | 0.0045589 | 0.0011426 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_361-24_0_6_load_13 | 15 | 0.0023409 | 0.00058667 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_361-24_0_6_load_108 | 16 | 0.0029156 | 0.00073071 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_361-24_0_6_load_94 | 17 | 0.012014 | 0.0030109 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_361-24_0_6_load_7 | 21 | 0.0026602 | 0.00066671 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_361-24_0_6_load_52 | 25 | 0.0034395 | 0.00086202 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_361-24_0_6_load_61 | 27 | 0.010203 | 0.0025571 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_361-24_0_6_load_95 | 28 | 0.01383 | 0.0034661 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_361-24_0_6_load_10 | 29 | 0.0026303 | 0.00065921 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_361-24_0_6_load_11 | 30 | 0.0049459 | 0.0012396 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_361-24_0_6_load_14 | 32 | 0.0048196 | 0.0012079 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_361-24_0_6_load_15 | 33 | 0.0079714 | 0.0019978 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_361-24_0_6_load_16 | 34 | 0.0046563 | 0.001167 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_361-24_0_6_load_17 | 35 | 0.004205 | 0.0010539 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_361-24_0_6_load_100 | 37 | 0.0026746 | 0.00067032 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_361-24_0_6_load_101 | 40 | 0.0031811 | 0.00079725 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_361-24_0_6_load_99 | 41 | 0.0030031 | 0.00075264 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_361-24_0_6_load_72 | 42 | 0.0034198 | 0.00085708 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_361-24_0_6_load_73 | 43 | 0.0031605 | 0.0007921 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_361-24_0_6_load_60 | 44 | 0.0097283 | 0.0024381 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_361-24_0_6_load_109 | 45 | 0.013552 | 0.0033963 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_361-24_0_6_load_110 | 47 | 0.014495 | 0.0036327 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_361-24_0_6_load_106 | 50 | 0.0057779 | 0.0014481 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_361-24_0_6_load_91 | 52 | 0.0042676 | 0.0010696 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_361-24_0_6_load_90 | 53 | 0.0034742 | 0.00087072 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_361-24_0_6_load_105 | 55 | 0.013971 | 0.0035015 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_361-24_0_6_load_96 | 58 | 0.0060311 | 0.0015115 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_361-24_0_6_load_81 | 60 | 0.014885 | 0.0037306 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_361-24_0_6_load_80 | 61 | 0.01479 | 0.0037068 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_361-24_0_6_load_102 | 62 | 0.0020971 | 0.00052559 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_361-24_0_6_load_87 | 63 | 0.004645 | 0.0011641 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_361-24_0_6_load_75 | 64 | 0.011243 | 0.0028177 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_361-24_0_6_load_82 | 66 | 0.0026689 | 0.00066888 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_361-24_0_6_load_83 | 67 | 0.0024207 | 0.00060669 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_361-24_0_6_load_68 | 68 | 0.015506 | 0.0038861 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_361-24_0_6_load_37 | 69 | 0.0019855 | 0.00049761 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_361-24_0_6_load_38 | 70 | 0.0020142 | 0.00050481 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_361-24_0_6_load_39 | 71 | 0.0017537 | 0.00043951 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_361-24_0_6_load_40 | 72 | 0.002104 | 0.00052732 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_361-24_0_6_load_41 | 73 | 0.0017251 | 0.00043235 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_361-24_0_6_load_42 | 74 | 0.0036209 | 0.00090748 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_361-24_0_6_load_65 | 75 | 0.0028496 | 0.00071417 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_361-24_0_6_load_43 | 76 | 0.0024564 | 0.00061564 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_361-24_0_6_load_64 | 77 | 0.0024419 | 0.000612 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_361-24_0_6_load_45 | 79 | 0.0042885 | 0.0010748 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_361-24_0_6_load_46 | 80 | 0.0012542 | 0.00031434 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_361-24_0_6_load_104 | 81 | 0.0015405 | 0.00038608 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_361-24_0_6_load_103 | 82 | 0.0012814 | 0.00032114 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_361-24_0_6_load_47 | 83 | 0.0023147 | 0.00058011 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_361-24_0_6_load_48 | 84 | 0.0031739 | 0.00079546 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_361-24_0_6_load_49 | 85 | 0.0032104 | 0.00080459 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_361-24_0_6_load_50 | 86 | 0.0032537 | 0.00081544 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_361-24_0_6_load_51 | 87 | 0.0016927 | 0.00042424 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_361-24_0_6_load_56 | 88 | 0.0016888 | 0.00042326 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_361-24_0_6_load_63 | 90 | 0.0046851 | 0.0011742 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_361-24_0_6_load_59 | 91 | 0.0096384 | 0.0024156 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_361-24_0_6_load_58 | 93 | 0.010533 | 0.0026397 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_361-24_0_6_load_67 | 96 | 0.0027035 | 0.00067755 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_361-24_0_6_load_79 | 97 | 0.0050772 | 0.0012725 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_361-24_0_6_load_76 | 98 | 0.0038469 | 0.00096414 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_361-24_0_6_load_85 | 99 | 0.004023 | 0.0010083 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_361-24_0_6_load_71 | 100 | 0.0035188 | 0.0008819 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_361-24_0_6_load_74 | 101 | 0.012 | 0.0030074 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_361-24_0_6_load_84 | 102 | 0.0021439 | 0.00053732 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_361-24_0_6_load_88 | 103 | 0.002274 | 0.00056992 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_361-24_0_6_load_89 | 104 | 0.0035919 | 0.00090022 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_361-24_0_6_load_98 | 105 | 0.0010131 | 0.0002539 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 90 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_361-24_0_6_line_0 |  | 0 | 1 | 0.025138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
1 | LV_361-24_0_6_line_1 |  | 0 | 2 | 0.022112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
2 | LV_361-24_0_6_line_2 |  | 1 | 3 | 0.018988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
3 | LV_361-24_0_6_line_3 |  | 2 | 4 | 0.020212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_361-24_0_6_line_4 |  | 2 | 5 | 0.019781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
5 | LV_361-24_0_6_line_5 |  | 3 | 6 | 0.019987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
6 | LV_361-24_0_6_line_6 |  | 3 | 7 | 0.0055954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_361-24_0_6_line_7 |  | 4 | 8 | 0.024187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_361-24_0_6_line_8 |  | 4 | 9 | 0.02317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_361-24_0_6_line_9 |  | 5 | 10 | 0.018656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
10 | LV_361-24_0_6_line_10 |  | 6 | 13 | 0.037371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_361-24_0_6_line_11 |  | 6 | 14 | 0.019492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
12 | LV_361-24_0_6_line_12 |  | 8 | 15 | 0.0013947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_361-24_0_6_line_13 |  | 9 | 16 | 0.0085229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_361-24_0_6_line_14 |  | 10 | 11 | 0.010091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
15 | LV_361-24_0_6_line_15 |  | 10 | 12 | 0.019271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_361-24_0_6_line_16 |  | 11 | 19 | 0.007732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
17 | LV_361-24_0_6_line_17 |  | 12 | 20 | 0.029268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_361-24_0_6_line_18 |  | 13 | 45 | 0.010424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_361-24_0_6_line_19 |  | 13 | 46 | 0.030858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_361-24_0_6_line_20 |  | 14 | 63 | 0.0046235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
21 | LV_361-24_0_6_line_21 |  | 15 | 30 | 0.00066668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_361-24_0_6_line_22 |  | 17 | 18 | 0.0038133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_361-24_0_6_line_23 |  | 18 | 19 | 0.007063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
24 | LV_361-24_0_6_line_24 |  | 18 | 28 | 0.008079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
25 | LV_361-24_0_6_line_25 |  | 20 | 22 | 0.023108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_361-24_0_6_line_26 |  | 21 | 22 | 0.062958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_361-24_0_6_line_27 |  | 23 | 24 | 0.1895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
28 | LV_361-24_0_6_line_28 |  | 23 | 25 | 0.03148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
29 | LV_361-24_0_6_line_29 |  | 24 | 26 | 0.033116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
30 | LV_361-24_0_6_line_30 |  | 25 | 38 | 0.0060009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
31 | LV_361-24_0_6_line_31 |  | 26 | 27 | 0.0086334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_361-24_0_6_line_32 |  | 26 | 28 | 0.02958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
33 | LV_361-24_0_6_line_33 |  | 27 | 44 | 0.019937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_361-24_0_6_line_34 |  | 29 | 30 | 0.016716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_361-24_0_6_line_35 |  | 29 | 31 | 0.014436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_361-24_0_6_line_36 |  | 31 | 32 | 0.022743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_361-24_0_6_line_37 |  | 31 | 33 | 0.03285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_361-24_0_6_line_38 |  | 32 | 34 | 0.0080451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_361-24_0_6_line_39 |  | 34 | 35 | 0.0026557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_361-24_0_6_line_40 |  | 36 | 37 | 0.028597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_361-24_0_6_line_41 |  | 36 | 38 | 0.034146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_361-24_0_6_line_42 |  | 37 | 41 | 0.028815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_361-24_0_6_line_43 |  | 38 | 79 | 0.0048096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
44 | LV_361-24_0_6_line_44 |  | 39 | 40 | 0.018188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_361-24_0_6_line_45 |  | 39 | 41 | 0.006547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_361-24_0_6_line_46 |  | 40 | 62 | 0.0079628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_361-24_0_6_line_47 |  | 42 | 43 | 0.0069474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_361-24_0_6_line_48 |  | 43 | 86 | 0.012539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_361-24_0_6_line_49 |  | 46 | 47 | 0.002342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_361-24_0_6_line_50 |  | 48 | 49 | 0.022332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
51 | LV_361-24_0_6_line_51 |  | 48 | 50 | 0.015767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
52 | LV_361-24_0_6_line_52 |  | 49 | 61 | 0.01534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
53 | LV_361-24_0_6_line_53 |  | 49 | 64 | 0.017147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_361-24_0_6_line_54 |  | 50 | 54 | 0.0082325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
55 | LV_361-24_0_6_line_55 |  | 51 | 52 | 0.040265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_361-24_0_6_line_56 |  | 51 | 53 | 0.013375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_361-24_0_6_line_57 |  | 53 | 65 | 0.0030025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_361-24_0_6_line_58 |  | 54 | 55 | 0.011963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_361-24_0_6_line_59 |  | 55 | 57 | 0.0096107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_361-24_0_6_line_60 |  | 56 | 57 | 0.02277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_361-24_0_6_line_61 |  | 56 | 58 | 0.0018089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_361-24_0_6_line_62 |  | 59 | 60 | 0.016217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
63 | LV_361-24_0_6_line_63 |  | 59 | 61 | 0.016384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
64 | LV_361-24_0_6_line_64 |  | 60 | 68 | 0.024794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
65 | LV_361-24_0_6_line_65 |  | 63 | 94 | 0.019124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
66 | LV_361-24_0_6_line_66 |  | 64 | 101 | 0.022657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_361-24_0_6_line_67 |  | 65 | 98 | 0.01922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_361-24_0_6_line_68 |  | 66 | 67 | 0.0046159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_361-24_0_6_line_69 |  | 67 | 102 | 0.016917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_361-24_0_6_line_70 |  | 68 | 95 | 0.016986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
71 | LV_361-24_0_6_line_71 |  | 69 | 70 | 0.0043136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
72 | LV_361-24_0_6_line_72 |  | 69 | 71 | 0.017682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
73 | LV_361-24_0_6_line_73 |  | 70 | 72 | 0.0068416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
74 | LV_361-24_0_6_line_74 |  | 71 | 73 | 0.0048697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
75 | LV_361-24_0_6_line_75 |  | 72 | 74 | 0.002636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
76 | LV_361-24_0_6_line_76 |  | 73 | 75 | 0.010695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
77 | LV_361-24_0_6_line_77 |  | 74 | 76 | 0.016005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
78 | LV_361-24_0_6_line_78 |  | 75 | 77 | 0.013886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
79 | LV_361-24_0_6_line_79 |  | 76 | 78 | 0.026795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
80 | LV_361-24_0_6_line_80 |  | 77 | 95 | 0.0060573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
81 | LV_361-24_0_6_line_81 |  | 78 | 79 | 0.029816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
82 | LV_361-24_0_6_line_82 |  | 78 | 80 | 0.0229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_361-24_0_6_line_83 |  | 80 | 81 | 0.00046671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_361-24_0_6_line_84 |  | 81 | 82 | 0.0063429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_361-24_0_6_line_85 |  | 82 | 105 | 0.014346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_361-24_0_6_line_86 |  | 83 | 84 | 0.00663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_361-24_0_6_line_87 |  | 83 | 85 | 0.0027495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_361-24_0_6_line_88 |  | 84 | 86 | 0.0062767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_361-24_0_6_line_89 |  | 85 | 87 | 0.00058624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_361-24_0_6_line_90 |  | 87 | 88 | 0.0052847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_361-24_0_6_line_91 |  | 88 | 89 | 0.034525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_361-24_0_6_line_92 |  | 89 | 90 | 0.034259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_361-24_0_6_line_93 |  | 89 | 91 | 0.017319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_361-24_0_6_line_94 |  | 90 | 92 | 0.015421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
95 | LV_361-24_0_6_line_95 |  | 91 | 93 | 0.037533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_361-24_0_6_line_96 |  | 92 | 94 | 0.002794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
97 | LV_361-24_0_6_line_97 |  | 94 | 99 | 0.012554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_361-24_0_6_line_98 |  | 95 | 96 | 0.00041954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_361-24_0_6_line_99 |  | 96 | 97 | 0.015045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_361-24_0_6_line_100 |  | 97 | 98 | 0.018124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_361-24_0_6_line_101 |  | 99 | 100 | 0.0044985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_361-24_0_6_line_102 |  | 102 | 103 | 0.0077757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_361-24_0_6_line_103 |  | 103 | 104 | 0.011728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_361-24_0_6_line_104 |  | 104 | 105 | 0.0050161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_361-24_0_6_trafo_63 | 0.63 MVA 20/0.4 kV | 106 | 90 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2600637.6912 | 1205557.0577 | 2600623.1737 | 1205577.5799
1 | 2600650.4609 | 1205539.0061 | 2600637.6912 | 1205557.0577
2 | 2600623.5473 | 1205596.1681 | 2600621.9282 | 1205586.6516 | 2600621.7459 | 1205583.7611 | 2600622.5602 | 1205578.4472 | 2600623.1737 | 1205577.5799
3 | 2600635.2663 | 1205525.6307 | 2600650.4609 | 1205539.0061
4 | 2600650.4609 | 1205539.0061 | 2600656.4536 | 1205544.2873 | 2600658.1569 | 1205547.3447 | 2600653.2583 | 1205554.0368
5 | 2600623.5473 | 1205596.1681 | 2600622.5205 | 1205596.7794 | 2600620.1779 | 1205598.0243 | 2600617.881 | 1205598.8912 | 2600615.6221 | 1205599.5247 | 2600612.9753 | 1205599.9692 | 2600609.8875 | 1205600.3135 | 2600606.5259 | 1205600.2465 | 2600604.2899 | 1205600.1351
6 | 2600623.5473 | 1205596.1681 | 2600624.5817 | 1205595.4122 | 2600627.046 | 1205593.4113 | 2600627.8073 | 1205592.5629
7 | 2600635.2663 | 1205525.6307 | 2600617.1118 | 1205509.6481
8 | 2600635.2663 | 1205525.6307 | 2600649.0465 | 1205507.0036
9 | 2600668.1884 | 1205549.5691 | 2600664.8725 | 1205548.1792 | 2600658.1569 | 1205547.3447 | 2600653.2583 | 1205554.0368
10 | 2600572.4013 | 1205586.9585 | 2600571.4961 | 1205589.5488 | 2600576.6371 | 1205592.1173 | 2600578.2723 | 1205592.7511 | 2600585.8547 | 1205595.7089 | 2600588.7751 | 1205596.6096 | 2600595.4221 | 1205598.4445 | 2600597.5896 | 1205598.9561 | 2600599.8104 | 1205599.401 | 2600602.3809 | 1205599.9237 | 2600604.2899 | 1205600.1351
11 | 2600604.2899 | 1205600.1351 | 2600605.5237 | 1205619.5882
12 | 2600617.1118 | 1205509.6481 | 2600616.0649 | 1205508.7265
13 | 2600654.1154 | 1205500.1519 | 2600649.0465 | 1205507.0036
14 | 2600668.1884 | 1205549.5691 | 2600675.9257 | 1205556.0467
15 | 2600668.1884 | 1205549.5691 | 2600668.1967 | 1205542.2652 | 2600668.5848 | 1205540.0974 | 2600669.3837 | 1205537.4071 | 2600673.4397 | 1205531.7529
16 | 2600681.8543 | 1205561.0101 | 2600675.9257 | 1205556.0467
17 | 2600690.4997 | 1205507.9709 | 2600673.4397 | 1205531.7529
18 | 2600571.269 | 1205576.6417 | 2600572.4017 | 1205582.6784 | 2600572.4013 | 1205586.9585
19 | 2600553.6477 | 1205569.2584 | 2600558.8877 | 1205571.2822 | 2600561.0551 | 1205572.9055 | 2600563.6332 | 1205575.6516 | 2600569.8232 | 1205585.3797 | 2600571.4961 | 1205589.5488 | 2600572.4013 | 1205586.9585
20 | 2600605.5237 | 1205619.5882 | 2600605.8163 | 1205624.2024
21 | 2600616.0649 | 1205508.7265 | 2600615.5645 | 1205508.286
22 | 2600681.6711 | 1205568.0695 | 2600678.7689 | 1205565.5958
23 | 2600681.8543 | 1205561.0101 | 2600681.6711 | 1205568.0695
24 | 2600681.6711 | 1205568.0695 | 2600687.82 | 1205573.3099
25 | 2600703.8951 | 1205489.1176 | 2600690.4997 | 1205507.9709
26 | 2600703.8951 | 1205489.1176 | 2600670.4695 | 1205479.3199 | 2600643.9968 | 1205469.8182
27 | 2600732.904 | 1205615.5342 | 2600738.5404 | 1205608.6755 | 2600803.065 | 1205671.3061 | 2600790.1566 | 1205688.3361 | 2600765.3977 | 1205718.6608 | 2600764.3479 | 1205720.7063 | 2600763.7088 | 1205723.063 | 2600763.7542 | 1205725.1197 | 2600767.0764 | 1205736.6264 | 2600770.1628 | 1205747.6105
28 | 2600770.1628 | 1205747.6105 | 2600758.9143 | 1205750.5664 | 2600739.7184 | 1205755.6178
29 | 2600732.904 | 1205615.5342 | 2600730.2044 | 1205613.2437 | 2600729.3911 | 1205608.7301 | 2600710.3336 | 1205592.4969
30 | 2600733.9151 | 1205757.1449 | 2600739.7184 | 1205755.6178
31 | 2600710.3336 | 1205592.4969 | 2600710.8412 | 1205601.1154
32 | 2600710.3336 | 1205592.4969 | 2600687.82 | 1205573.3099
33 | 2600712.0134 | 1205621.0178 | 2600710.8412 | 1205601.1154
34 | 2600601.8107 | 1205498.8688 | 2600612.0789 | 1205505.2174 | 2600615.5645 | 1205508.286
35 | 2600588.7917 | 1205492.6529 | 2600600.5875 | 1205498.1125 | 2600601.8107 | 1205498.8688
36 | 2600588.7917 | 1205492.6529 | 2600581.2573 | 1205514.1117
37 | 2600588.7917 | 1205492.6529 | 2600581.3157 | 1205489.206 | 2600557.3285 | 1205483.6709
38 | 2600581.2573 | 1205514.1117 | 2600578.5921 | 1205521.7025
39 | 2600577.7123 | 1205524.2082 | 2600578.5921 | 1205521.7025
40 | 2600715.7279 | 1205784.8914 | 2600697.5616 | 1205806.9764
41 | 2600733.9151 | 1205757.1449 | 2600733.8308 | 1205762.6146 | 2600715.7279 | 1205784.8914
42 | 2600677.9748 | 1205827.9939 | 2600680.3594 | 1205826.377 | 2600693.6091 | 1205811.7815 | 2600697.5616 | 1205806.9764
43 | 2600733.9151 | 1205757.1449 | 2600729.2879 | 1205758.457
44 | 2600672.556 | 1205831.668 | 2600657.1918 | 1205841.4023
45 | 2600672.556 | 1205831.668 | 2600677.9748 | 1205827.9939
46 | 2600657.1918 | 1205841.4023 | 2600650.4654 | 1205845.6639
47 | 2600702.8351 | 1205651.9418 | 2600698.411 | 1205657.2985
48 | 2600698.411 | 1205657.2985 | 2600690.4265 | 1205666.9663
49 | 2600552.8797 | 1205567.0461 | 2600553.6477 | 1205569.2584
50 | 2600563.5658 | 1205746.9229 | 2600542.3325 | 1205739.8173
51 | 2600542.3325 | 1205739.8173 | 2600529.4647 | 1205735.5139 | 2600527.3794 | 1205734.8179
52 | 2600563.5658 | 1205746.9229 | 2600578.1133 | 1205751.789
53 | 2600563.5658 | 1205746.9229 | 2600569.0016 | 1205730.6605
54 | 2600519.5704 | 1205732.2114 | 2600527.3794 | 1205734.8179
55 | 2600552.7575 | 1205667.6676 | 2600544.8942 | 1205658.9734 | 2600541.7004 | 1205653.9037 | 2600539.2443 | 1205648.2226 | 2600537.6705 | 1205641.2298 | 2600537.1687 | 1205639.7734 | 2600536.0281 | 1205636.8161 | 2600534.3855 | 1205634.1701 | 2600533.5792 | 1205633.0635
56 | 2600552.7575 | 1205667.6676 | 2600561.1232 | 1205670.5254 | 2600565.2822 | 1205672.3316
57 | 2600568.0362 | 1205673.5276 | 2600565.2822 | 1205672.3316
58 | 2600519.5704 | 1205732.2114 | 2600527.0315 | 1205722.8602
59 | 2600533.0255 | 1205715.3477 | 2600527.0315 | 1205722.8602
60 | 2600533.0255 | 1205715.3477 | 2600525.2697 | 1205693.9354
61 | 2600525.2697 | 1205693.9354 | 2600527.0573 | 1205694.2126
62 | 2600593.6514 | 1205756.9865 | 2600598.8581 | 1205741.6282
63 | 2600593.6514 | 1205756.9865 | 2600578.1133 | 1205751.789
64 | 2600598.8581 | 1205741.6282 | 2600606.8186 | 1205718.1472
65 | 2600603.8754 | 1205643.0808 | 2600606.2493 | 1205631.03 | 2600605.8163 | 1205624.2024
66 | 2600576.1841 | 1205709.1722 | 2600569.0016 | 1205730.6605
67 | 2600585.1475 | 1205682.3561 | 2600574.683 | 1205676.641 | 2600568.0362 | 1205673.5276
68 | 2600613.5374 | 1205789.809 | 2600617.9975 | 1205788.6197
69 | 2600634.343 | 1205784.2607 | 2600617.9975 | 1205788.6197
70 | 2600612.2968 | 1205702.0693 | 2600610.1135 | 1205708.4281 | 2600606.8186 | 1205718.1472
71 | 2600656.3552 | 1205731.3118 | 2600659.728 | 1205734.001
72 | 2600656.3552 | 1205731.3118 | 2600652.7013 | 1205728.3986 | 2600641.4614 | 1205721.8495
73 | 2600659.728 | 1205734.001 | 2600665.0774 | 1205738.2661
74 | 2600636.9805 | 1205719.9425 | 2600641.4614 | 1205721.8495 | 2600641.4614 | 1205721.8495
75 | 2600665.0774 | 1205738.2661 | 2600667.1384 | 1205739.9093
76 | 2600636.9805 | 1205719.9425 | 2600634.1453 | 1205718.7359 | 2600629.1794 | 1205715.8117 | 2600627.6599 | 1205714.7552
77 | 2600679.6524 | 1205749.8868 | 2600667.1384 | 1205739.9093
78 | 2600616.8761 | 1205706.0343 | 2600624.0461 | 1205712.2426 | 2600627.6599 | 1205714.7552
79 | 2600700.6031 | 1205766.5909 | 2600679.6524 | 1205749.8868
80 | 2600612.2968 | 1205702.0693 | 2600616.8761 | 1205706.0343
81 | 2600700.6031 | 1205766.5909 | 2600729.2879 | 1205758.457
82 | 2600700.6031 | 1205766.5909 | 2600678.476 | 1205772.4916
83 | 2600678.476 | 1205772.4916 | 2600678.0251 | 1205772.6119
84 | 2600671.8964 | 1205774.2462 | 2600678.0251 | 1205772.6119
85 | 2600671.8964 | 1205774.2462 | 2600658.0349 | 1205777.9427
86 | 2600682.2075 | 1205676.9178 | 2600686.4295 | 1205671.8059
87 | 2600682.2075 | 1205676.9178 | 2600682.2075 | 1205676.9178 | 2600680.2222 | 1205678.82
88 | 2600686.4295 | 1205671.8059 | 2600690.4265 | 1205666.9663
89 | 2600679.7208 | 1205679.1181 | 2600680.1539 | 1205678.8854 | 2600680.2222 | 1205678.82
90 | 2600679.7208 | 1205679.1181 | 2600675.0656 | 1205681.6197
91 | 2600643.8083 | 1205674.4127 | 2600651.3598 | 1205680.8725 | 2600655.4057 | 1205682.7406 | 2600660.1057 | 1205683.9083 | 2600665.726 | 1205684.0423 | 2600670.4719 | 1205683.1089 | 2600675.0656 | 1205681.6197
92 | 2600643.8083 | 1205674.4127 | 2600617.7663 | 1205652.1534
93 | 2600643.8083 | 1205674.4127 | 2600651.8938 | 1205664.0634 | 2600656.0734 | 1205663.8436
94 | 2600603.7382 | 1205645.8712 | 2600616.8951 | 1205651.4087 | 2600617.7663 | 1205652.1534
95 | 2600690.0487 | 1205654.861 | 2600683.7605 | 1205662.3878 | 2600656.0734 | 1205663.8436
96 | 2600603.7382 | 1205645.8712 | 2600603.8754 | 1205643.0808
97 | 2600603.8754 | 1205643.0808 | 2600603.0998 | 1205641.1018 | 2600601.6777 | 1205639.5231 | 2600599.7765 | 1205638.5446 | 2600597.6546 | 1205638.3109 | 2600595.5859 | 1205638.8333 | 2600594.038 | 1205639.9297
98 | 2600612.2968 | 1205702.0693 | 2600611.9752 | 1205701.7999
99 | 2600600.2144 | 1205692.419 | 2600609.2701 | 1205699.5343 | 2600611.9752 | 1205701.7999
100 | 2600585.1475 | 1205682.3561 | 2600592.1669 | 1205686.8036 | 2600599.7185 | 1205692.0293 | 2600600.2144 | 1205692.419
101 | 2600592.1554 | 1205643.9024 | 2600592.6499 | 1205641.8235 | 2600593.8441 | 1205640.0671 | 2600594.038 | 1205639.9297
102 | 2600634.343 | 1205784.2607 | 2600641.8561 | 1205782.2572
103 | 2600641.8561 | 1205782.2572 | 2600653.1882 | 1205779.2352
104 | 2600653.1882 | 1205779.2352 | 2600658.0349 | 1205777.9427

## bus_geodata
| x | y | coords
0 | 2600637.6912 | 1205557.0577
1 | 2600623.1737 | 1205577.5799
2 | 2600650.4609 | 1205539.0061
3 | 2600623.5473 | 1205596.1681
4 | 2600635.2663 | 1205525.6307
5 | 2600653.2583 | 1205554.0368
6 | 2600604.2899 | 1205600.1351
7 | 2600627.8073 | 1205592.5629
8 | 2600617.1118 | 1205509.6481
9 | 2600649.0465 | 1205507.0036
10 | 2600668.1884 | 1205549.5691
11 | 2600675.9257 | 1205556.0467
12 | 2600673.4397 | 1205531.7529
13 | 2600572.4013 | 1205586.9585
14 | 2600605.5237 | 1205619.5882
15 | 2600616.0649 | 1205508.7265
16 | 2600654.1154 | 1205500.1519
17 | 2600678.7689 | 1205565.5958
18 | 2600681.6711 | 1205568.0695
19 | 2600681.8543 | 1205561.0101
20 | 2600690.4997 | 1205507.9709
21 | 2600643.9968 | 1205469.8182
22 | 2600703.8951 | 1205489.1176
23 | 2600770.1628 | 1205747.6105
24 | 2600732.904 | 1205615.5342
25 | 2600739.7184 | 1205755.6178
26 | 2600710.3336 | 1205592.4969
27 | 2600710.8412 | 1205601.1154
28 | 2600687.82 | 1205573.3099
29 | 2600601.8107 | 1205498.8688
30 | 2600615.5645 | 1205508.286
31 | 2600588.7917 | 1205492.6529
32 | 2600581.2573 | 1205514.1117
33 | 2600557.3285 | 1205483.6709
34 | 2600578.5921 | 1205521.7025
35 | 2600577.7123 | 1205524.2082
36 | 2600715.7279 | 1205784.8914
37 | 2600697.5616 | 1205806.9764
38 | 2600733.9151 | 1205757.1449
39 | 2600672.556 | 1205831.668
40 | 2600657.1918 | 1205841.4023
41 | 2600677.9748 | 1205827.9939
42 | 2600702.8351 | 1205651.9418
43 | 2600698.411 | 1205657.2985
44 | 2600712.0134 | 1205621.0178
45 | 2600571.269 | 1205576.6417
46 | 2600553.6477 | 1205569.2584
47 | 2600552.8797 | 1205567.0461
48 | 2600542.3325 | 1205739.8173
49 | 2600563.5658 | 1205746.9229
50 | 2600527.3794 | 1205734.8179
51 | 2600552.7575 | 1205667.6676
52 | 2600533.5792 | 1205633.0635
53 | 2600565.2822 | 1205672.3316
54 | 2600519.5704 | 1205732.2114
55 | 2600527.0315 | 1205722.8602
56 | 2600525.2697 | 1205693.9354
57 | 2600533.0255 | 1205715.3477
58 | 2600527.0573 | 1205694.2126
59 | 2600593.6514 | 1205756.9865
60 | 2600598.8581 | 1205741.6282
61 | 2600578.1133 | 1205751.789
62 | 2600650.4654 | 1205845.6639
63 | 2600605.8163 | 1205624.2024
64 | 2600569.0016 | 1205730.6605
65 | 2600568.0362 | 1205673.5276
66 | 2600613.5374 | 1205789.809
67 | 2600617.9975 | 1205788.6197
68 | 2600606.8186 | 1205718.1472
69 | 2600656.3552 | 1205731.3118
70 | 2600659.728 | 1205734.001
71 | 2600641.4614 | 1205721.8495
72 | 2600665.0774 | 1205738.2661
73 | 2600636.9805 | 1205719.9425
74 | 2600667.1384 | 1205739.9093
75 | 2600627.6599 | 1205714.7552
76 | 2600679.6524 | 1205749.8869
77 | 2600616.8761 | 1205706.0343
78 | 2600700.6031 | 1205766.5909
79 | 2600729.2879 | 1205758.457
80 | 2600678.476 | 1205772.4916
81 | 2600678.0251 | 1205772.6119
82 | 2600671.8964 | 1205774.2462
83 | 2600682.2075 | 1205676.9178
84 | 2600686.4295 | 1205671.8059
85 | 2600680.2222 | 1205678.82
86 | 2600690.4265 | 1205666.9663
87 | 2600679.7208 | 1205679.1181
88 | 2600675.0656 | 1205681.6197
89 | 2600643.8083 | 1205674.4127
90 | 2600617.7663 | 1205652.1534
91 | 2600656.0734 | 1205663.8436
92 | 2600603.7382 | 1205645.8712
93 | 2600690.0487 | 1205654.861
94 | 2600603.8754 | 1205643.0808
95 | 2600612.2968 | 1205702.0693
96 | 2600611.9752 | 1205701.7999
97 | 2600600.2144 | 1205692.419
98 | 2600585.1475 | 1205682.3561
99 | 2600594.038 | 1205639.9297
100 | 2600592.1554 | 1205643.9024
101 | 2600576.1841 | 1205709.1722
102 | 2600634.343 | 1205784.2607
103 | 2600641.8561 | 1205782.2572
104 | 2600653.1882 | 1205779.2352
105 | 2600658.0349 | 1205777.9427
106 | 2600603.7382 | 1205645.8712

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1