## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_361-30_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_361-30_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_361-30_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_361-30_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_361-30_0_4_node_7 | 0.4 | n |  | TRUE
5 | bus_LV_361-30_0_4_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_361-30_0_4_node_21 | 0.4 | n |  | TRUE
7 | bus_LV_361-30_0_4_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_361-30_0_4_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_361-30_0_4_node_22 | 0.4 | n |  | TRUE
10 | bus_LV_361-30_0_4_node_56 | 0.4 | n |  | TRUE
11 | bus_LV_361-30_0_4_node_13 | 0.4 | n |  | TRUE
12 | bus_LV_361-30_0_4_node_25 | 0.4 | n |  | TRUE
13 | bus_LV_361-30_0_4_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_361-30_0_4_node_40 | 0.4 | n |  | TRUE
15 | bus_LV_361-30_0_4_node_47 | 0.4 | n |  | TRUE
16 | bus_LV_361-30_0_4_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_361-30_0_4_node_44 | 0.4 | n |  | TRUE
18 | bus_LV_361-30_0_4_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_361-30_0_4_node_42 | 0.4 | n |  | TRUE
20 | bus_LV_361-30_0_4_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_361-30_0_4_node_31 | 0.4 | n |  | TRUE
22 | bus_LV_361-30_0_4_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_361-30_0_4_node_41 | 0.4 | n |  | TRUE
24 | bus_LV_361-30_0_4_node_49 | 0.4 | n |  | TRUE
25 | bus_LV_361-30_0_4_node_51 | 0.4 | n |  | TRUE
26 | bus_LV_361-30_0_4_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_361-30_0_4_node_39 | 0.4 | n |  | TRUE
28 | bus_LV_361-30_0_4_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_361-30_0_4_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_361-30_0_4_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_361-30_0_4_node_55 | 0.4 | n |  | TRUE
32 | bus_LV_361-30_0_4_node_53 | 0.4 | n |  | TRUE
33 | bus_LV_361-30_0_4_node_20 | 0.4 | n |  | TRUE
34 | bus_LV_361-30_0_4_node_61 | 0.4 | n |  | TRUE
35 | bus_LV_361-30_0_4_node_58 | 0.4 | n |  | TRUE
36 | bus_LV_361-30_0_4_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_361-30_0_4_node_37 | 0.4 | n |  | TRUE
38 | bus_LV_361-30_0_4_node_43 | 0.4 | n |  | TRUE
39 | bus_LV_361-30_0_4_node_59 | 0.4 | n |  | TRUE
40 | bus_LV_361-30_0_4_node_57 | 0.4 | n |  | TRUE
41 | bus_LV_361-30_0_4_node_48 | 0.4 | n |  | TRUE
42 | bus_LV_361-30_0_4_node_50 | 0.4 | n |  | TRUE
43 | bus_LV_361-30_0_4_node_38 | 0.4 | n |  | TRUE
44 | bus_LV_361-30_0_4_node_54 | 0.4 | n |  | TRUE
45 | bus_LV_361-30_0_4_node_30 | 0.4 | n |  | TRUE
46 | bus_LV_361-30_0_4_node_27 | 0.4 | n |  | TRUE
47 | bus_LV_361-30_0_4_node_28 | 0.4 | n |  | TRUE
48 | bus_LV_361-30_0_4_node_29 | 0.4 | n |  | TRUE
49 | bus_LV_361-30_0_4_node_32 | 0.4 | n |  | TRUE
50 | bus_LV_361-30_0_4_node_33 | 0.4 | n |  | TRUE
51 | bus_LV_361-30_0_4_node_34 | 0.4 | n |  | TRUE
52 | bus_LV_361-30_0_4_node_35 | 0.4 | n |  | TRUE
53 | bus_LV_361-30_0_4_node_36 | 0.4 | n |  | TRUE
54 | bus_LV_361-30_0_4_node_45 | 0.4 | n |  | TRUE
55 | bus_LV_361-30_0_4_node_46 | 0.4 | n |  | TRUE
56 | bus_LV_361-30_0_4_node_52 | 0.4 | n |  | TRUE
57 | bus_LV_361-30_0_4_node_60 | 0.4 | n |  | TRUE
58 | bus_MV_415_0_node_90 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_361-30_0_4_load_0 | 0 | 0.0079275 | 0.0019868 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_361-30_0_4_load_3 | 3 | 0.007798 | 0.0019544 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_361-30_0_4_load_21 | 6 | 0.0080639 | 0.002021 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_361-30_0_4_load_22 | 9 | 0.00675 | 0.0016917 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_361-30_0_4_load_56 | 10 | 0.017007 | 0.0042623 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_361-30_0_4_load_25 | 12 | 0.018768 | 0.0047038 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_361-30_0_4_load_40 | 14 | 0.012109 | 0.0030348 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_361-30_0_4_load_47 | 15 | 0.012927 | 0.0032398 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_361-30_0_4_load_44 | 17 | 0.0090704 | 0.0022733 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_361-30_0_4_load_42 | 19 | 0.016944 | 0.0042465 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_361-30_0_4_load_31 | 21 | 0.016898 | 0.004235 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_361-30_0_4_load_41 | 23 | 0.0059867 | 0.0015004 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_361-30_0_4_load_49 | 24 | 0.010111 | 0.002534 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_361-30_0_4_load_51 | 25 | 0.011784 | 0.0029535 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_361-30_0_4_load_39 | 27 | 0.016016 | 0.0040141 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_361-30_0_4_load_24 | 30 | 0.0049953 | 0.0012519 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_361-30_0_4_load_55 | 31 | 0.0040871 | 0.0010243 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_361-30_0_4_load_53 | 32 | 0.012154 | 0.0030462 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_361-30_0_4_load_61 | 34 | 0.011132 | 0.00279 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_361-30_0_4_load_37 | 37 | 0.015046 | 0.0037708 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_361-30_0_4_load_43 | 38 | 0.01317 | 0.0033006 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_361-30_0_4_load_59 | 39 | 0.016002 | 0.0040104 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_361-30_0_4_load_48 | 41 | 0.0032888 | 0.00082425 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_361-30_0_4_load_50 | 42 | 0.0091717 | 0.0022986 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_361-30_0_4_load_38 | 43 | 0.015684 | 0.0039309 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_361-30_0_4_load_54 | 44 | 0.011178 | 0.0028016 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_361-30_0_4_load_30 | 45 | 0.014371 | 0.0036016 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_361-30_0_4_load_29 | 48 | 0.016649 | 0.0041725 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_361-30_0_4_load_32 | 49 | 0.0034812 | 0.00087248 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_361-30_0_4_load_33 | 50 | 0.014938 | 0.0037437 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_361-30_0_4_load_34 | 51 | 0.0038126 | 0.00095554 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_361-30_0_4_load_35 | 52 | 0.014873 | 0.0037276 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_361-30_0_4_load_36 | 53 | 0.0076576 | 0.0019192 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_361-30_0_4_load_45 | 54 | 0.0051251 | 0.0012845 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_361-30_0_4_load_46 | 55 | 0.0031193 | 0.00078176 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_361-30_0_4_load_52 | 56 | 0.011472 | 0.0028751 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_361-30_0_4_load_60 | 57 | 0.018539 | 0.0046463 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 43 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_361-30_0_4_line_0 |  | 0 | 1 | 0.013225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_361-30_0_4_line_1 |  | 0 | 2 | 0.0028078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_361-30_0_4_line_2 |  | 1 | 3 | 0.025682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_361-30_0_4_line_3 |  | 1 | 4 | 0.04506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_361-30_0_4_line_4 |  | 2 | 5 | 0.012676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_361-30_0_4_line_5 |  | 3 | 6 | 0.010574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_361-30_0_4_line_6 |  | 4 | 11 | 0.056164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_361-30_0_4_line_7 |  | 4 | 12 | 0.0098644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_361-30_0_4_line_8 |  | 5 | 9 | 0.021602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_361-30_0_4_line_9 |  | 7 | 8 | 0.11037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_361-30_0_4_line_10 |  | 7 | 9 | 0.020813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_361-30_0_4_line_11 |  | 8 | 10 | 0.055296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_361-30_0_4_line_12 |  | 11 | 21 | 0.0042018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_361-30_0_4_line_13 |  | 12 | 36 | 0.035162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_361-30_0_4_line_14 |  | 13 | 14 | 0.033657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_361-30_0_4_line_15 |  | 13 | 15 | 0.023114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_361-30_0_4_line_16 |  | 14 | 37 | 0.0029084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_361-30_0_4_line_17 |  | 15 | 16 | 0.001479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_361-30_0_4_line_18 |  | 16 | 17 | 0.018313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_361-30_0_4_line_19 |  | 17 | 38 | 0.019789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_361-30_0_4_line_20 |  | 18 | 19 | 0.01907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_361-30_0_4_line_21 |  | 18 | 20 | 0.029328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_361-30_0_4_line_22 |  | 20 | 22 | 0.14218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_361-30_0_4_line_23 |  | 20 | 23 | 0.02832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_361-30_0_4_line_24 |  | 21 | 26 | 0.019875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_361-30_0_4_line_25 |  | 22 | 24 | 0.016789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_361-30_0_4_line_26 |  | 22 | 25 | 0.0025832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_361-30_0_4_line_27 |  | 24 | 41 | 0.016257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_361-30_0_4_line_28 |  | 25 | 42 | 0.013988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_361-30_0_4_line_29 |  | 26 | 27 | 0.033903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_361-30_0_4_line_30 |  | 27 | 43 | 0.011879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_361-30_0_4_line_31 |  | 28 | 29 | 0.027985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_361-30_0_4_line_32 |  | 28 | 30 | 0.039046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_361-30_0_4_line_33 |  | 29 | 31 | 0.061233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_361-30_0_4_line_34 |  | 29 | 32 | 0.035433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_361-30_0_4_line_35 |  | 31 | 40 | 0.019861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_361-30_0_4_line_36 |  | 32 | 44 | 0.012332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_361-30_0_4_line_37 |  | 32 | 45 | 0.025655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_361-30_0_4_line_38 |  | 33 | 34 | 0.007799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_361-30_0_4_line_39 |  | 33 | 35 | 0.025951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_361-30_0_4_line_40 |  | 35 | 39 | 0.006036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_361-30_0_4_line_41 |  | 35 | 40 | 0.020507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_361-30_0_4_line_42 |  | 36 | 46 | 0.011343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_361-30_0_4_line_43 |  | 37 | 52 | 0.011772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_361-30_0_4_line_44 |  | 38 | 54 | 0.051948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_361-30_0_4_line_45 |  | 40 | 57 | 0.003663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_361-30_0_4_line_46 |  | 41 | 55 | 0.0034528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_361-30_0_4_line_47 |  | 42 | 56 | 0.015483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_361-30_0_4_line_48 |  | 43 | 53 | 0.017099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_361-30_0_4_line_49 |  | 45 | 47 | 0.033272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_361-30_0_4_line_50 |  | 46 | 47 | 0.013013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_361-30_0_4_line_51 |  | 46 | 48 | 0.0042373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_361-30_0_4_line_52 |  | 49 | 50 | 0.0041014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
53 | LV_361-30_0_4_line_53 |  | 49 | 51 | 0.0040291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_361-30_0_4_line_54 |  | 50 | 52 | 0.011738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
55 | LV_361-30_0_4_line_55 |  | 51 | 53 | 0.003658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
56 | LV_361-30_0_4_line_56 |  | 54 | 55 | 0.010388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_361-30_0_4_trafo_38 | 0.63 MVA 20/0.4 kV | 58 | 43 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25
0 | 2600327.9511 | 1205473.3589 | 2600324.6655 | 1205473.5699 | 2600321.3799 | 1205473.3363 | 2600316.923 | 1205472.8137 | 2600314.8015 | 1205472.4567
1 | 2600312.0326 | 1205471.9908 | 2600314.8015 | 1205472.4567
2 | 2600327.9511 | 1205473.3589 | 2600332.6438 | 1205472.3252 | 2600339.3217 | 1205469.4016 | 2600344.2807 | 1205466.5781 | 2600348.4563 | 1205463.4655 | 2600350.1448 | 1205461.3943
3 | 2600327.9511 | 1205473.3589 | 2600329.3421 | 1205493.0363 | 2600331.2812 | 1205500.9741 | 2600338.2928 | 1205516.6385
4 | 2600312.0326 | 1205471.9908 | 2600303.4232 | 1205468.9555 | 2600300.0463 | 1205467.7658
5 | 2600354.8594 | 1205452.1354 | 2600354.1001 | 1205455.5614 | 2600351.8638 | 1205459.2856 | 2600350.1448 | 1205461.3943
6 | 2600344.3216 | 1205571.0796 | 2600344.4814 | 1205567.4998 | 2600346.9845 | 1205548.1561 | 2600346.9847 | 1205544.6875 | 2600346.7795 | 1205540.4185 | 2600345.6618 | 1205534.7265 | 2600338.2928 | 1205516.6385
7 | 2600338.2928 | 1205516.6385 | 2600347.6297 | 1205519.821
8 | 2600300.0463 | 1205467.7658 | 2600295.6278 | 1205459.9725 | 2600289.9257 | 1205448.6883
9 | 2600279.4592 | 1205430.8894 | 2600278.8965 | 1205428.1434 | 2600283.1712 | 1205417.371 | 2600280.578 | 1205409.411 | 2600311.6249 | 1205397.7392 | 2600323.7334 | 1205393.2594 | 2600350.5973 | 1205382.9995 | 2600360.097 | 1205379.4091 | 2600362.5385 | 1205378.4865
10 | 2600279.4592 | 1205430.8894 | 2600282.4709 | 1205433.9356 | 2600289.9257 | 1205448.6883
11 | 2600362.5385 | 1205378.4865 | 2600372.9798 | 1205405.4128 | 2600351.7443 | 1205413.4717 | 2600350.4135 | 1205409.9475
12 | 2600344.3216 | 1205571.0796 | 2600345.7854 | 1205575.0181
13 | 2600381.256 | 1205529.3919 | 2600374.6316 | 1205529.0247 | 2600347.6297 | 1205519.821
14 | 2600380.1385 | 1205666.7668 | 2600384.0555 | 1205662.5314 | 2600392.9803 | 1205636.1101
15 | 2600380.1385 | 1205666.7668 | 2600388.5117 | 1205672.2369 | 2600391.4929 | 1205674.5717 | 2600400.0919 | 1205678.18
16 | 2600393.9111 | 1205633.3547 | 2600392.9803 | 1205636.1101
17 | 2600401.4557 | 1205678.7523 | 2600400.0919 | 1205678.18
18 | 2600401.4557 | 1205678.7523 | 2600406.1709 | 1205680.2756 | 2600418.8784 | 1205684.3912
19 | 2600437.7848 | 1205686.1695 | 2600435.1166 | 1205685.2578 | 2600427.8001 | 1205687.2807 | 2600418.8784 | 1205684.3912
20 | 2600467.6807 | 1205714.9427 | 2600485.7746 | 1205720.9643
21 | 2600476.5428 | 1205686.9836 | 2600467.6807 | 1205714.9427
22 | 2600474.0152 | 1205613.6212 | 2600480.3964 | 1205610.1308 | 2600489.2127 | 1205587.2968 | 2600492.8481 | 1205587.5527 | 2600491.6689 | 1205592.5109 | 2600490.9766 | 1205594.8788 | 2600489.8279 | 1205598.414 | 2600489.0824 | 1205601.6824 | 2600488.1388 | 1205608.197 | 2600487.2865 | 1205615.4453 | 2600487.2634 | 1205620.3925 | 2600487.8563 | 1205625.0506 | 2600488.8674 | 1205630.1201 | 2600490.411 | 1205634.2447 | 2600492.2969 | 1205638.3026 | 2600494.2513 | 1205641.2154 | 2600495.6809 | 1205643.2722 | 2600492.6842 | 1205645.829 | 2600491.5662 | 1205646.9628 | 2600490.045 | 1205648.5302 | 2600488.8584 | 1205650.2089 | 2600488.0521 | 1205651.9542 | 2600487.4816 | 1205653.7107 | 2600482.9479 | 1205667.1621 | 2600477.9805 | 1205682.0922 | 2600476.5428 | 1205686.9836
23 | 2600476.5428 | 1205686.9836 | 2600504.5787 | 1205690.9834
24 | 2600352.7094 | 1205593.6478 | 2600345.7854 | 1205575.0181
25 | 2600474.0152 | 1205613.6212 | 2600468.5864 | 1205629.5078
26 | 2600474.0152 | 1205613.6212 | 2600474.392 | 1205611.0657
27 | 2600468.5864 | 1205629.5078 | 2600464.5293 | 1205641.3802 | 2600460.9625 | 1205640.3572 | 2600460.9625 | 1205640.3572
28 | 2600476.7443 | 1205597.3041 | 2600476.5716 | 1205597.9573 | 2600475.1414 | 1205604.1606 | 2600474.5249 | 1205610.1638 | 2600474.392 | 1205611.0657
29 | 2600352.7094 | 1205593.6478 | 2600355.5615 | 1205592.4362 | 2600384.2727 | 1205581.276
30 | 2600384.2727 | 1205581.276 | 2600384.2727 | 1205581.276 | 2600395.5742 | 1205584.9341
31 | 2600441.0329 | 1205449.5518 | 2600444.767 | 1205454.1434 | 2600447.2005 | 1205458.8239 | 2600448.7137 | 1205464.2158 | 2600449.2761 | 1205469.8078 | 2600449.1693 | 1205475.3775
32 | 2600441.0329 | 1205449.5518 | 2600436.3861 | 1205445.4381 | 2600430.2714 | 1205440.8908 | 2600421.974 | 1205435.7542 | 2600412.3151 | 1205430.284 | 2600408.3407 | 1205428.489
33 | 2600459.6463 | 1205529.6522 | 2600451.889 | 1205525.0937 | 2600448.3906 | 1205521.8139 | 2600445.8887 | 1205517.1223 | 2600444.8622 | 1205512.2084 | 2600444.8702 | 1205507.1946 | 2600448.492 | 1205482.2812 | 2600449.1693 | 1205475.3775
34 | 2600432.4285 | 1205489.1395 | 2600437.9125 | 1205484.0704 | 2600438.1173 | 1205492.0526 | 2600449.1693 | 1205475.3775
35 | 2600473.7935 | 1205516.7683 | 2600473.4359 | 1205518.4359 | 2600471.7169 | 1205520.5036 | 2600467.9216 | 1205523.2937 | 2600461.6848 | 1205526.4506 | 2600459.6463 | 1205529.6522
36 | 2600435.4259 | 1205477.1776 | 2600432.4285 | 1205489.1395
37 | 2600432.4285 | 1205489.1395 | 2600429.7127 | 1205499.9564 | 2600425.2172 | 1205510.5285 | 2600423.4688 | 1205512.9842
38 | 2600513.6989 | 1205530.1896 | 2600515.4175 | 1205533.5693 | 2600514.3676 | 1205537.438
39 | 2600514.3676 | 1205537.438 | 2600507.0589 | 1205535.1918 | 2600500.8224 | 1205534.2909 | 2600498.7842 | 1205533.7238 | 2600490.4489 | 1205528.2869
40 | 2600492.883 | 1205522.7618 | 2600490.4489 | 1205528.2869
41 | 2600473.7935 | 1205516.7683 | 2600478.8206 | 1205518.7698 | 2600480.2276 | 1205519.637 | 2600481.6422 | 1205520.7044 | 2600484.4028 | 1205523.3727 | 2600487.46 | 1205526.5746 | 2600490.4489 | 1205528.2869
42 | 2600381.256 | 1205529.3919 | 2600385.4394 | 1205522.1215 | 2600386.3294 | 1205519.2978
43 | 2600393.9111 | 1205633.3547 | 2600397.6785 | 1205622.2015
44 | 2600437.7848 | 1205686.1695 | 2600445.4977 | 1205688.8048 | 2600447.6043 | 1205688.6827 | 2600449.5437 | 1205688.1381 | 2600453.3085 | 1205685.8704 | 2600460.4514 | 1205663.6476 | 2600455.5542 | 1205652.7636
45 | 2600473.6112 | 1205513.1108 | 2600473.7935 | 1205516.7683
46 | 2600460.0068 | 1205643.6751 | 2600460.9625 | 1205640.3572
47 | 2600480.9534 | 1205582.4046 | 2600477.7356 | 1205593.5549 | 2600476.7443 | 1205597.3041
48 | 2600404.0459 | 1205599.7871 | 2600395.5742 | 1205584.9341 | 2600395.5742 | 1205584.9341
49 | 2600395.4556 | 1205528.3254 | 2600400.7339 | 1205527.4364 | 2600406.248 | 1205525.8914 | 2600412.0055 | 1205524.0351 | 2600417.2611 | 1205520.7003 | 2600420.7295 | 1205516.8317 | 2600423.4688 | 1205512.9842
50 | 2600386.3294 | 1205519.2978 | 2600388.7098 | 1205523.1334 | 2600391.3564 | 1205525.3236 | 2600395.4556 | 1205528.3254
51 | 2600386.3294 | 1205519.2978 | 2600387.6058 | 1205515.2573
52 | 2600401.4351 | 1205611.0806 | 2600402.7476 | 1205607.1949
53 | 2600404.0075 | 1205603.3696 | 2600403.9468 | 1205603.6448 | 2600402.7476 | 1205607.1949
54 | 2600401.4351 | 1205611.0806 | 2600397.6785 | 1205622.2015
55 | 2600404.0075 | 1205603.3696 | 2600404.3956 | 1205601.6104 | 2600404.0459 | 1205599.7871 | 2600404.0459 | 1205599.7871
56 | 2600460.0068 | 1205643.6751 | 2600458.2087 | 1205649.9177 | 2600455.5542 | 1205652.7636 | 2600455.5542 | 1205652.7636

## bus_geodata
| x | y | coords
0 | 2600314.8015 | 1205472.4567
1 | 2600327.9511 | 1205473.3589
2 | 2600312.0326 | 1205471.9908
3 | 2600350.1448 | 1205461.3943
4 | 2600338.2928 | 1205516.6385
5 | 2600300.0463 | 1205467.7658
6 | 2600354.8594 | 1205452.1354
7 | 2600279.4592 | 1205430.8894
8 | 2600362.5385 | 1205378.4865
9 | 2600289.9257 | 1205448.6883
10 | 2600350.4135 | 1205409.9475
11 | 2600344.3216 | 1205571.0796
12 | 2600347.6297 | 1205519.821
13 | 2600380.1385 | 1205666.7668
14 | 2600392.9803 | 1205636.1101
15 | 2600400.0919 | 1205678.18
16 | 2600401.4557 | 1205678.7523
17 | 2600418.8784 | 1205684.3912
18 | 2600467.6807 | 1205714.9427
19 | 2600485.7746 | 1205720.9643
20 | 2600476.5428 | 1205686.9836
21 | 2600345.7854 | 1205575.0181
22 | 2600474.0152 | 1205613.6212
23 | 2600504.5787 | 1205690.9834
24 | 2600468.5864 | 1205629.5078
25 | 2600474.392 | 1205611.0657
26 | 2600352.7094 | 1205593.6478
27 | 2600384.2727 | 1205581.276
28 | 2600441.0329 | 1205449.5518
29 | 2600449.1693 | 1205475.3775
30 | 2600408.3407 | 1205428.489
31 | 2600459.6463 | 1205529.6522
32 | 2600432.4285 | 1205489.1395
33 | 2600514.3676 | 1205537.438
34 | 2600513.6989 | 1205530.1896
35 | 2600490.4489 | 1205528.2869
36 | 2600381.256 | 1205529.3919
37 | 2600393.9111 | 1205633.3547
38 | 2600437.7848 | 1205686.1695
39 | 2600492.883 | 1205522.7618
40 | 2600473.7935 | 1205516.7683
41 | 2600460.9625 | 1205640.3572
42 | 2600476.7443 | 1205597.3041
43 | 2600395.5742 | 1205584.9341
44 | 2600435.4259 | 1205477.1776
45 | 2600423.4688 | 1205512.9842
46 | 2600386.3294 | 1205519.2978
47 | 2600395.4556 | 1205528.3254
48 | 2600387.6058 | 1205515.2573
49 | 2600402.7476 | 1205607.1949
50 | 2600401.4351 | 1205611.0806
51 | 2600404.0075 | 1205603.3696
52 | 2600397.6785 | 1205622.2015
53 | 2600404.0459 | 1205599.7871
54 | 2600455.5542 | 1205652.7636
55 | 2600460.0068 | 1205643.6751
56 | 2600480.9534 | 1205582.4046
57 | 2600473.6112 | 1205513.1108
58 | 2600352.7094 | 1205593.6478

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1