## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_362-21_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_362-21_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_362-21_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_362-21_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_362-21_0_6_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_362-21_0_6_node_8 | 0.4 | n |  | TRUE
6 | bus_LV_362-21_0_6_node_10 | 0.4 | n |  | TRUE
7 | bus_LV_362-21_0_6_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_362-21_0_6_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_362-21_0_6_node_11 | 0.4 | n |  | TRUE
10 | bus_LV_362-21_0_6_node_12 | 0.4 | n |  | TRUE
11 | bus_LV_362-21_0_6_node_13 | 0.4 | n |  | TRUE
12 | bus_LV_362-21_0_6_node_15 | 0.4 | n |  | TRUE
13 | bus_LV_362-21_0_6_node_14 | 0.4 | n |  | TRUE
14 | bus_LV_362-21_0_6_node_78 | 0.4 | n |  | TRUE
15 | bus_LV_362-21_0_6_node_87 | 0.4 | n |  | TRUE
16 | bus_LV_362-21_0_6_node_84 | 0.4 | n |  | TRUE
17 | bus_LV_362-21_0_6_node_80 | 0.4 | n |  | TRUE
18 | bus_LV_362-21_0_6_node_76 | 0.4 | n |  | TRUE
19 | bus_LV_362-21_0_6_node_88 | 0.4 | n |  | TRUE
20 | bus_LV_362-21_0_6_node_85 | 0.4 | n |  | TRUE
21 | bus_LV_362-21_0_6_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_362-21_0_6_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_362-21_0_6_node_67 | 0.4 | n |  | TRUE
24 | bus_LV_362-21_0_6_node_62 | 0.4 | n |  | TRUE
25 | bus_LV_362-21_0_6_node_66 | 0.4 | n |  | TRUE
26 | bus_LV_362-21_0_6_node_75 | 0.4 | n |  | TRUE
27 | bus_LV_362-21_0_6_node_64 | 0.4 | n |  | TRUE
28 | bus_LV_362-21_0_6_node_60 | 0.4 | n |  | TRUE
29 | bus_LV_362-21_0_6_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_362-21_0_6_node_100 | 0.4 | n |  | TRUE
31 | bus_LV_362-21_0_6_node_97 | 0.4 | n |  | TRUE
32 | bus_LV_362-21_0_6_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_362-21_0_6_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_362-21_0_6_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_362-21_0_6_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_362-21_0_6_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_362-21_0_6_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_362-21_0_6_node_29 | 0.4 | n |  | TRUE
39 | bus_LV_362-21_0_6_node_43 | 0.4 | n |  | TRUE
40 | bus_LV_362-21_0_6_node_44 | 0.4 | n |  | TRUE
41 | bus_LV_362-21_0_6_node_42 | 0.4 | n |  | TRUE
42 | bus_LV_362-21_0_6_node_41 | 0.4 | n |  | TRUE
43 | bus_LV_362-21_0_6_node_50 | 0.4 | n |  | TRUE
44 | bus_LV_362-21_0_6_node_116 | 0.4 | n |  | TRUE
45 | bus_LV_362-21_0_6_node_28 | 0.4 | n |  | TRUE
46 | bus_LV_362-21_0_6_node_56 | 0.4 | n |  | TRUE
47 | bus_LV_362-21_0_6_node_55 | 0.4 | n |  | TRUE
48 | bus_LV_362-21_0_6_node_35 | 0.4 | n |  | TRUE
49 | bus_LV_362-21_0_6_node_30 | 0.4 | n |  | TRUE
50 | bus_LV_362-21_0_6_node_31 | 0.4 | n |  | TRUE
51 | bus_LV_362-21_0_6_node_32 | 0.4 | n |  | TRUE
52 | bus_LV_362-21_0_6_node_33 | 0.4 | n |  | TRUE
53 | bus_LV_362-21_0_6_node_34 | 0.4 | n |  | TRUE
54 | bus_LV_362-21_0_6_node_40 | 0.4 | n |  | TRUE
55 | bus_LV_362-21_0_6_node_45 | 0.4 | n |  | TRUE
56 | bus_LV_362-21_0_6_node_36 | 0.4 | n |  | TRUE
57 | bus_LV_362-21_0_6_node_37 | 0.4 | n |  | TRUE
58 | bus_LV_362-21_0_6_node_38 | 0.4 | n |  | TRUE
59 | bus_LV_362-21_0_6_node_39 | 0.4 | n |  | TRUE
60 | bus_LV_362-21_0_6_node_74 | 0.4 | n |  | TRUE
61 | bus_LV_362-21_0_6_node_49 | 0.4 | n |  | TRUE
62 | bus_LV_362-21_0_6_node_46 | 0.4 | n |  | TRUE
63 | bus_LV_362-21_0_6_node_47 | 0.4 | n |  | TRUE
64 | bus_LV_362-21_0_6_node_51 | 0.4 | n |  | TRUE
65 | bus_LV_362-21_0_6_node_117 | 0.4 | n |  | TRUE
66 | bus_LV_362-21_0_6_node_48 | 0.4 | n |  | TRUE
67 | bus_LV_362-21_0_6_node_65 | 0.4 | n |  | TRUE
68 | bus_LV_362-21_0_6_node_118 | 0.4 | n |  | TRUE
69 | bus_LV_362-21_0_6_node_123 | 0.4 | n |  | TRUE
70 | bus_LV_362-21_0_6_node_63 | 0.4 | n |  | TRUE
71 | bus_LV_362-21_0_6_node_52 | 0.4 | n |  | TRUE
72 | bus_LV_362-21_0_6_node_53 | 0.4 | n |  | TRUE
73 | bus_LV_362-21_0_6_node_54 | 0.4 | n |  | TRUE
74 | bus_LV_362-21_0_6_node_70 | 0.4 | n |  | TRUE
75 | bus_LV_362-21_0_6_node_69 | 0.4 | n |  | TRUE
76 | bus_LV_362-21_0_6_node_57 | 0.4 | n |  | TRUE
77 | bus_LV_362-21_0_6_node_58 | 0.4 | n |  | TRUE
78 | bus_LV_362-21_0_6_node_59 | 0.4 | n |  | TRUE
79 | bus_LV_362-21_0_6_node_137 | 0.4 | n |  | TRUE
80 | bus_LV_362-21_0_6_node_158 | 0.4 | n |  | TRUE
81 | bus_LV_362-21_0_6_node_135 | 0.4 | n |  | TRUE
82 | bus_LV_362-21_0_6_node_61 | 0.4 | n |  | TRUE
83 | bus_LV_362-21_0_6_node_68 | 0.4 | n |  | TRUE
84 | bus_LV_362-21_0_6_node_86 | 0.4 | n |  | TRUE
85 | bus_LV_362-21_0_6_node_71 | 0.4 | n |  | TRUE
86 | bus_LV_362-21_0_6_node_72 | 0.4 | n |  | TRUE
87 | bus_LV_362-21_0_6_node_73 | 0.4 | n |  | TRUE
88 | bus_LV_362-21_0_6_node_90 | 0.4 | n |  | TRUE
89 | bus_LV_362-21_0_6_node_89 | 0.4 | n |  | TRUE
90 | bus_LV_362-21_0_6_node_77 | 0.4 | n |  | TRUE
91 | bus_LV_362-21_0_6_node_79 | 0.4 | n |  | TRUE
92 | bus_LV_362-21_0_6_node_81 | 0.4 | n |  | TRUE
93 | bus_LV_362-21_0_6_node_82 | 0.4 | n |  | TRUE
94 | bus_LV_362-21_0_6_node_83 | 0.4 | n |  | TRUE
95 | bus_LV_362-21_0_6_node_132 | 0.4 | n |  | TRUE
96 | bus_LV_362-21_0_6_node_145 | 0.4 | n |  | TRUE
97 | bus_LV_362-21_0_6_node_144 | 0.4 | n |  | TRUE
98 | bus_LV_362-21_0_6_node_146 | 0.4 | n |  | TRUE
99 | bus_LV_362-21_0_6_node_124 | 0.4 | n |  | TRUE
100 | bus_LV_362-21_0_6_node_131 | 0.4 | n |  | TRUE
101 | bus_LV_362-21_0_6_node_147 | 0.4 | n |  | TRUE
102 | bus_LV_362-21_0_6_node_121 | 0.4 | n |  | TRUE
103 | bus_LV_362-21_0_6_node_119 | 0.4 | n |  | TRUE
104 | bus_LV_362-21_0_6_node_91 | 0.4 | n |  | TRUE
105 | bus_LV_362-21_0_6_node_92 | 0.4 | n |  | TRUE
106 | bus_LV_362-21_0_6_node_93 | 0.4 | n |  | TRUE
107 | bus_LV_362-21_0_6_node_126 | 0.4 | n |  | TRUE
108 | bus_LV_362-21_0_6_node_101 | 0.4 | n |  | TRUE
109 | bus_LV_362-21_0_6_node_98 | 0.4 | n |  | TRUE
110 | bus_LV_362-21_0_6_node_94 | 0.4 | n |  | TRUE
111 | bus_LV_362-21_0_6_node_95 | 0.4 | n |  | TRUE
112 | bus_LV_362-21_0_6_node_96 | 0.4 | n |  | TRUE
113 | bus_LV_362-21_0_6_node_99 | 0.4 | n |  | TRUE
114 | bus_LV_362-21_0_6_node_102 | 0.4 | n |  | TRUE
115 | bus_LV_362-21_0_6_node_140 | 0.4 | n |  | TRUE
116 | bus_LV_362-21_0_6_node_113 | 0.4 | n |  | TRUE
117 | bus_LV_362-21_0_6_node_115 | 0.4 | n |  | TRUE
118 | bus_LV_362-21_0_6_node_108 | 0.4 | n |  | TRUE
119 | bus_LV_362-21_0_6_node_138 | 0.4 | n |  | TRUE
120 | bus_LV_362-21_0_6_node_103 | 0.4 | n |  | TRUE
121 | bus_LV_362-21_0_6_node_104 | 0.4 | n |  | TRUE
122 | bus_LV_362-21_0_6_node_105 | 0.4 | n |  | TRUE
123 | bus_LV_362-21_0_6_node_106 | 0.4 | n |  | TRUE
124 | bus_LV_362-21_0_6_node_107 | 0.4 | n |  | TRUE
125 | bus_LV_362-21_0_6_node_109 | 0.4 | n |  | TRUE
126 | bus_LV_362-21_0_6_node_110 | 0.4 | n |  | TRUE
127 | bus_LV_362-21_0_6_node_111 | 0.4 | n |  | TRUE
128 | bus_LV_362-21_0_6_node_112 | 0.4 | n |  | TRUE
129 | bus_LV_362-21_0_6_node_114 | 0.4 | n |  | TRUE
130 | bus_LV_362-21_0_6_node_125 | 0.4 | n |  | TRUE
131 | bus_LV_362-21_0_6_node_128 | 0.4 | n |  | TRUE
132 | bus_LV_362-21_0_6_node_127 | 0.4 | n |  | TRUE
133 | bus_LV_362-21_0_6_node_143 | 0.4 | n |  | TRUE
134 | bus_LV_362-21_0_6_node_152 | 0.4 | n |  | TRUE
135 | bus_LV_362-21_0_6_node_150 | 0.4 | n |  | TRUE
136 | bus_LV_362-21_0_6_node_141 | 0.4 | n |  | TRUE
137 | bus_LV_362-21_0_6_node_122 | 0.4 | n |  | TRUE
138 | bus_LV_362-21_0_6_node_120 | 0.4 | n |  | TRUE
139 | bus_LV_362-21_0_6_node_142 | 0.4 | n |  | TRUE
140 | bus_LV_362-21_0_6_node_129 | 0.4 | n |  | TRUE
141 | bus_LV_362-21_0_6_node_130 | 0.4 | n |  | TRUE
142 | bus_LV_362-21_0_6_node_133 | 0.4 | n |  | TRUE
143 | bus_LV_362-21_0_6_node_134 | 0.4 | n |  | TRUE
144 | bus_LV_362-21_0_6_node_136 | 0.4 | n |  | TRUE
145 | bus_LV_362-21_0_6_node_157 | 0.4 | n |  | TRUE
146 | bus_LV_362-21_0_6_node_155 | 0.4 | n |  | TRUE
147 | bus_LV_362-21_0_6_node_156 | 0.4 | n |  | TRUE
148 | bus_LV_362-21_0_6_node_139 | 0.4 | n |  | TRUE
149 | bus_LV_362-21_0_6_node_148 | 0.4 | n |  | TRUE
150 | bus_LV_362-21_0_6_node_149 | 0.4 | n |  | TRUE
151 | bus_LV_362-21_0_6_node_154 | 0.4 | n |  | TRUE
152 | bus_LV_362-21_0_6_node_153 | 0.4 | n |  | TRUE
153 | bus_LV_362-21_0_6_node_151 | 0.4 | n |  | TRUE
154 | bus_MV_602_0_node_67 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_362-21_0_6_load_0 | 0 | 0.0029373 | 0.00073615 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_362-21_0_6_load_1 | 1 | 0.0029791 | 0.00074663 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_362-21_0_6_load_2 | 2 | 0.0036271 | 0.00090903 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_362-21_0_6_load_3 | 3 | 0.002264 | 0.00056741 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_362-21_0_6_load_5 | 4 | 0.0025491 | 0.00063887 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_362-21_0_6_load_10 | 6 | 0.0052303 | 0.0013108 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_362-21_0_6_load_6 | 7 | 0.0058631 | 0.0014694 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_362-21_0_6_load_7 | 8 | 0.0060434 | 0.0015146 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_362-21_0_6_load_11 | 9 | 0.0035563 | 0.0008913 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_362-21_0_6_load_12 | 10 | 0.0037965 | 0.0009515 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_362-21_0_6_load_14 | 13 | 0.0020832 | 0.0005221 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_362-21_0_6_load_87 | 15 | 0.0050651 | 0.0012694 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_362-21_0_6_load_84 | 16 | 0.0091387 | 0.0022904 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_362-21_0_6_load_80 | 17 | 0.0015898 | 0.00039845 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_362-21_0_6_load_76 | 18 | 0.0080195 | 0.0020099 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_362-21_0_6_load_85 | 20 | 0.012552 | 0.0031457 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_362-21_0_6_load_16 | 21 | 0.012429 | 0.003115 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_362-21_0_6_load_67 | 23 | 0.002002 | 0.00050175 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_362-21_0_6_load_66 | 25 | 0.0015661 | 0.00039249 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_362-21_0_6_load_75 | 26 | 0.0026094 | 0.00065397 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_362-21_0_6_load_60 | 28 | 0.0015277 | 0.00038287 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_362-21_0_6_load_19 | 29 | 0.0033408 | 0.00083729 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_362-21_0_6_load_97 | 31 | 0.0084284 | 0.0021124 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_362-21_0_6_load_20 | 32 | 0.0067114 | 0.001682 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_362-21_0_6_load_26 | 37 | 0.0058435 | 0.0014645 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_362-21_0_6_load_29 | 38 | 0.0039351 | 0.00098623 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_362-21_0_6_load_43 | 39 | 0.001737 | 0.00043533 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_362-21_0_6_load_44 | 40 | 0.0035459 | 0.0008887 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_362-21_0_6_load_42 | 41 | 0.0055189 | 0.0013832 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_362-21_0_6_load_50 | 43 | 0.025552 | 0.0064039 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_362-21_0_6_load_116 | 44 | 0.0016246 | 0.00040716 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_362-21_0_6_load_28 | 45 | 0.0016477 | 0.00041296 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_362-21_0_6_load_56 | 46 | 0.0071654 | 0.0017958 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_362-21_0_6_load_55 | 47 | 0.0021059 | 0.00052778 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_362-21_0_6_load_35 | 48 | 0.0028257 | 0.0007082 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_362-21_0_6_load_30 | 49 | 0.0028856 | 0.00072321 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_362-21_0_6_load_31 | 50 | 0.0044584 | 0.0011174 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_362-21_0_6_load_32 | 51 | 0.0022769 | 0.00057064 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_362-21_0_6_load_34 | 53 | 0.0016747 | 0.00041972 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_362-21_0_6_load_40 | 54 | 0.0029252 | 0.00073311 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_362-21_0_6_load_36 | 56 | 0.0038132 | 0.00095568 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_362-21_0_6_load_37 | 57 | 0.0015832 | 0.00039678 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_362-21_0_6_load_38 | 58 | 0.0017262 | 0.00043263 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_362-21_0_6_load_39 | 59 | 0.0046327 | 0.0011611 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_362-21_0_6_load_74 | 60 | 0.0016445 | 0.00041216 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_362-21_0_6_load_46 | 62 | 0.0030228 | 0.0007576 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_362-21_0_6_load_47 | 63 | 0.0031466 | 0.00078861 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_362-21_0_6_load_117 | 65 | 0.0017483 | 0.00043816 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_362-21_0_6_load_48 | 66 | 0.0024026 | 0.00060216 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_362-21_0_6_load_65 | 67 | 0.0024187 | 0.00060618 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_362-21_0_6_load_63 | 70 | 0.0018948 | 0.00047487 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_362-21_0_6_load_52 | 71 | 0.011636 | 0.0029163 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_362-21_0_6_load_53 | 72 | 0.0038952 | 0.00097624 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_362-21_0_6_load_54 | 73 | 0.0019793 | 0.00049607 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_362-21_0_6_load_70 | 74 | 0.0021652 | 0.00054266 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_362-21_0_6_load_69 | 75 | 0.0059604 | 0.0014938 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_362-21_0_6_load_57 | 76 | 0.0021458 | 0.00053778 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_362-21_0_6_load_58 | 77 | 0.0012868 | 0.0003225 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_362-21_0_6_load_59 | 78 | 0.0052316 | 0.0013112 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_362-21_0_6_load_158 | 80 | 0.016195 | 0.0040589 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_362-21_0_6_load_61 | 82 | 0.0015786 | 0.00039562 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_362-21_0_6_load_68 | 83 | 0.0072129 | 0.0018077 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_362-21_0_6_load_86 | 84 | 0.0023466 | 0.00058813 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_362-21_0_6_load_71 | 85 | 0.0031375 | 0.00078634 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_362-21_0_6_load_72 | 86 | 0.0024657 | 0.00061796 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_362-21_0_6_load_73 | 87 | 0.002585 | 0.00064786 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_362-21_0_6_load_90 | 88 | 0.0057269 | 0.0014353 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_362-21_0_6_load_89 | 89 | 0.0062707 | 0.0015716 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_362-21_0_6_load_77 | 90 | 0.0027145 | 0.00068032 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_362-21_0_6_load_81 | 92 | 0.0025595 | 0.00064147 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_362-21_0_6_load_145 | 96 | 0.0025279 | 0.00063354 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_362-21_0_6_load_144 | 97 | 0.0078535 | 0.0019683 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_362-21_0_6_load_146 | 98 | 0.0030719 | 0.0007699 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_362-21_0_6_load_124 | 99 | 0.0026242 | 0.00065768 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_362-21_0_6_load_131 | 100 | 0.0031584 | 0.00079158 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_362-21_0_6_load_147 | 101 | 0.0026362 | 0.00066069 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_362-21_0_6_load_121 | 102 | 0.0031 | 0.00077693 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_362-21_0_6_load_119 | 103 | 0.014766 | 0.0037008 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_362-21_0_6_load_91 | 104 | 0.0088998 | 0.0022305 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_362-21_0_6_load_126 | 107 | 0.0070253 | 0.0017607 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_362-21_0_6_load_101 | 108 | 0.0053911 | 0.0013511 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_362-21_0_6_load_98 | 109 | 0.0060016 | 0.0015041 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_362-21_0_6_load_94 | 110 | 0.0062021 | 0.0015544 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_362-21_0_6_load_95 | 111 | 0.0051353 | 0.001287 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_362-21_0_6_load_99 | 113 | 0.0086118 | 0.0021583 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_362-21_0_6_load_102 | 114 | 0.0088181 | 0.00221 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_362-21_0_6_load_140 | 115 | 0.0065561 | 0.0016431 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_362-21_0_6_load_115 | 117 | 0.0023872 | 0.00059828 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_362-21_0_6_load_138 | 119 | 0.005783 | 0.0014493 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_362-21_0_6_load_103 | 120 | 0.0020369 | 0.0005105 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_362-21_0_6_load_104 | 121 | 0.0019552 | 0.00049003 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_362-21_0_6_load_106 | 123 | 0.0019974 | 0.0005006 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_362-21_0_6_load_107 | 124 | 0.0019745 | 0.00049485 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_362-21_0_6_load_109 | 125 | 0.0017249 | 0.0004323 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_362-21_0_6_load_110 | 126 | 0.0020962 | 0.00052536 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_362-21_0_6_load_111 | 127 | 0.0020618 | 0.00051672 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_362-21_0_6_load_112 | 128 | 0.0042845 | 0.0010738 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_362-21_0_6_load_114 | 129 | 0.0020277 | 0.00050819 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_362-21_0_6_load_125 | 130 | 0.0030632 | 0.00076772 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_362-21_0_6_load_128 | 131 | 0.0018765 | 0.0004703 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_362-21_0_6_load_127 | 132 | 0.0044615 | 0.0011182 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_362-21_0_6_load_143 | 133 | 0.0020568 | 0.00051548 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_362-21_0_6_load_152 | 134 | 0.0024797 | 0.00062148 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_362-21_0_6_load_150 | 135 | 0.0023129 | 0.00057966 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_362-21_0_6_load_141 | 136 | 0.0020638 | 0.00051725 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_362-21_0_6_load_122 | 137 | 0.0029288 | 0.00073402 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_362-21_0_6_load_120 | 138 | 0.0014285 | 0.00035803 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_362-21_0_6_load_142 | 139 | 0.0094121 | 0.0023589 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_362-21_0_6_load_129 | 140 | 0.011421 | 0.0028623 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_362-21_0_6_load_130 | 141 | 0.0026291 | 0.00065891 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_362-21_0_6_load_133 | 142 | 0.016849 | 0.0042228 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_362-21_0_6_load_136 | 144 | 0.0035541 | 0.00089073 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_362-21_0_6_load_156 | 147 | 0.016869 | 0.0042278 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_362-21_0_6_load_139 | 148 | 0.0077238 | 0.0019358 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_362-21_0_6_load_148 | 149 | 0.0024722 | 0.00061959 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_362-21_0_6_load_149 | 150 | 0.0023722 | 0.00059453 | 0 | 0 |  | 1 | TRUE | wye
116 | LV_362-21_0_6_load_154 | 151 | 0.002548 | 0.00063859 | 0 | 0 |  | 1 | TRUE | wye
117 | LV_362-21_0_6_load_153 | 152 | 0.0025019 | 0.00062704 | 0 | 0 |  | 1 | TRUE | wye
118 | LV_362-21_0_6_load_151 | 153 | 0.0024893 | 0.00062388 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 102 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_362-21_0_6_line_0 |  | 0 | 1 | 0.032189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_362-21_0_6_line_1 |  | 0 | 2 | 0.027352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_362-21_0_6_line_2 |  | 1 | 3 | 0.0081295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_362-21_0_6_line_3 |  | 3 | 4 | 0.026336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_362-21_0_6_line_4 |  | 4 | 5 | 0.059107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_362-21_0_6_line_5 |  | 5 | 6 | 0.021912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_362-21_0_6_line_6 |  | 5 | 7 | 0.052925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_362-21_0_6_line_7 |  | 6 | 9 | 0.0066943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_362-21_0_6_line_8 |  | 7 | 8 | 0.032565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_362-21_0_6_line_9 |  | 9 | 10 | 0.032177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_362-21_0_6_line_10 |  | 10 | 11 | 0.0038907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_362-21_0_6_line_11 |  | 11 | 12 | 0.01165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_362-21_0_6_line_12 |  | 12 | 15 | 0.039626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_362-21_0_6_line_13 |  | 12 | 16 | 0.022362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_362-21_0_6_line_14 |  | 13 | 14 | 0.012338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_362-21_0_6_line_15 |  | 14 | 17 | 0.012057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_362-21_0_6_line_16 |  | 14 | 18 | 0.0090456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_362-21_0_6_line_17 |  | 15 | 19 | 0.025361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_362-21_0_6_line_18 |  | 16 | 20 | 0.031695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_362-21_0_6_line_19 |  | 17 | 94 | 0.016054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_362-21_0_6_line_20 |  | 19 | 99 | 0.017363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_362-21_0_6_line_21 |  | 19 | 102 | 0.024389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_362-21_0_6_line_22 |  | 20 | 84 | 0.0001841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_362-21_0_6_line_23 |  | 21 | 22 | 0.019492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_362-21_0_6_line_24 |  | 22 | 23 | 0.015098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_362-21_0_6_line_25 |  | 22 | 24 | 0.00741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_362-21_0_6_line_26 |  | 24 | 27 | 0.00821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_362-21_0_6_line_27 |  | 24 | 28 | 0.0171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_362-21_0_6_line_28 |  | 25 | 26 | 0.0056327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_362-21_0_6_line_29 |  | 26 | 84 | 0.00060868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_362-21_0_6_line_30 |  | 27 | 83 | 0.004326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_362-21_0_6_line_31 |  | 28 | 82 | 0.00033936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_362-21_0_6_line_32 |  | 29 | 30 | 0.059585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_362-21_0_6_line_33 |  | 30 | 31 | 0.02735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_362-21_0_6_line_34 |  | 31 | 111 | 0.013699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_362-21_0_6_line_35 |  | 32 | 33 | 0.023439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_362-21_0_6_line_36 |  | 33 | 34 | 0.003915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_362-21_0_6_line_37 |  | 34 | 38 | 0.021216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_362-21_0_6_line_38 |  | 35 | 36 | 0.023844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_362-21_0_6_line_39 |  | 35 | 37 | 0.018781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_362-21_0_6_line_40 |  | 36 | 39 | 0.017975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_362-21_0_6_line_41 |  | 36 | 40 | 0.018517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_362-21_0_6_line_42 |  | 37 | 41 | 0.032121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_362-21_0_6_line_43 |  | 38 | 42 | 0.011089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_362-21_0_6_line_44 |  | 39 | 43 | 0.0082363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_362-21_0_6_line_45 |  | 40 | 44 | 0.0024995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_362-21_0_6_line_46 |  | 41 | 42 | 0.013879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_362-21_0_6_line_47 |  | 42 | 48 | 0.01689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_362-21_0_6_line_48 |  | 43 | 64 | 0.037812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
49 | LV_362-21_0_6_line_49 |  | 44 | 65 | 0.017797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
50 | LV_362-21_0_6_line_50 |  | 45 | 46 | 0.046976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_362-21_0_6_line_51 |  | 46 | 47 | 0.027553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_362-21_0_6_line_52 |  | 47 | 76 | 0.0087557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_362-21_0_6_line_53 |  | 48 | 52 | 0.020225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_362-21_0_6_line_54 |  | 49 | 50 | 0.0054351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_362-21_0_6_line_55 |  | 49 | 51 | 0.010799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_362-21_0_6_line_56 |  | 51 | 52 | 0.028703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_362-21_0_6_line_57 |  | 52 | 53 | 0.009382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_362-21_0_6_line_58 |  | 53 | 54 | 0.0054166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_362-21_0_6_line_59 |  | 54 | 55 | 0.014958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_362-21_0_6_line_60 |  | 55 | 62 | 0.013931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_362-21_0_6_line_61 |  | 55 | 63 | 0.033785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_362-21_0_6_line_62 |  | 56 | 57 | 0.010389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_362-21_0_6_line_63 |  | 57 | 58 | 0.01594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_362-21_0_6_line_64 |  | 58 | 59 | 8.6564e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_362-21_0_6_line_65 |  | 59 | 60 | 0.006801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_362-21_0_6_line_66 |  | 60 | 61 | 0.013247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_362-21_0_6_line_67 |  | 61 | 67 | 0.014433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_362-21_0_6_line_68 |  | 61 | 63 | 0.0078755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_362-21_0_6_line_69 |  | 62 | 66 | 0.018303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_362-21_0_6_line_70 |  | 64 | 71 | 0.011556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_362-21_0_6_line_71 |  | 64 | 72 | 0.018709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
72 | LV_362-21_0_6_line_72 |  | 65 | 68 | 0.011595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
73 | LV_362-21_0_6_line_73 |  | 67 | 70 | 0.0074102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_362-21_0_6_line_74 |  | 68 | 69 | 0.004571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
75 | LV_362-21_0_6_line_75 |  | 69 | 136 | 0.031854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_362-21_0_6_line_76 |  | 69 | 137 | 0.0085644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
77 | LV_362-21_0_6_line_77 |  | 70 | 82 | 0.014699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_362-21_0_6_line_78 |  | 72 | 73 | 0.0069361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
79 | LV_362-21_0_6_line_79 |  | 73 | 74 | 0.00589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
80 | LV_362-21_0_6_line_80 |  | 74 | 75 | 0.015996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
81 | LV_362-21_0_6_line_81 |  | 75 | 85 | 0.0027206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
82 | LV_362-21_0_6_line_82 |  | 76 | 77 | 0.00069402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_362-21_0_6_line_83 |  | 77 | 78 | 0.01018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_362-21_0_6_line_84 |  | 78 | 79 | 0.001118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_362-21_0_6_line_85 |  | 79 | 80 | 0.02204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_362-21_0_6_line_86 |  | 79 | 81 | 0.013772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_362-21_0_6_line_87 |  | 81 | 144 | 0.031743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_362-21_0_6_line_88 |  | 81 | 145 | 0.016216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_362-21_0_6_line_89 |  | 81 | 143 | 0.023891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_362-21_0_6_line_90 |  | 85 | 86 | 0.0067889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
91 | LV_362-21_0_6_line_91 |  | 86 | 87 | 0.0061911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
92 | LV_362-21_0_6_line_92 |  | 87 | 88 | 0.019176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
93 | LV_362-21_0_6_line_93 |  | 88 | 89 | 0.029551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
94 | LV_362-21_0_6_line_94 |  | 89 | 104 | 0.014153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
95 | LV_362-21_0_6_line_95 |  | 90 | 91 | 0.009019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_362-21_0_6_line_96 |  | 91 | 92 | 0.012651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_362-21_0_6_line_97 |  | 91 | 93 | 0.017671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_362-21_0_6_line_98 |  | 92 | 95 | 0.017663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_362-21_0_6_line_99 |  | 93 | 96 | 0.012438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_362-21_0_6_line_100 |  | 93 | 97 | 0.017482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_362-21_0_6_line_101 |  | 94 | 98 | 0.0015141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_362-21_0_6_line_102 |  | 94 | 97 | 0.013408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_362-21_0_6_line_103 |  | 95 | 99 | 0.0090351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_362-21_0_6_line_104 |  | 95 | 100 | 0.0060868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_362-21_0_6_line_105 |  | 98 | 101 | 0.0071313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_362-21_0_6_line_106 |  | 100 | 141 | 0.0024513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_362-21_0_6_line_107 |  | 101 | 149 | 0.017054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_362-21_0_6_line_108 |  | 102 | 103 | 0.018885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
109 | LV_362-21_0_6_line_109 |  | 103 | 138 | 0.02085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
110 | LV_362-21_0_6_line_110 |  | 104 | 105 | 0.02698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
111 | LV_362-21_0_6_line_111 |  | 105 | 106 | 0.010581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
112 | LV_362-21_0_6_line_112 |  | 106 | 107 | 0.01197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_362-21_0_6_line_113 |  | 106 | 108 | 0.012684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
114 | LV_362-21_0_6_line_114 |  | 108 | 109 | 0.030879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
115 | LV_362-21_0_6_line_115 |  | 109 | 112 | 0.016593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
116 | LV_362-21_0_6_line_116 |  | 110 | 111 | 0.025569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_362-21_0_6_line_117 |  | 110 | 112 | 0.0028366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_362-21_0_6_line_118 |  | 112 | 113 | 0.026935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
119 | LV_362-21_0_6_line_119 |  | 113 | 114 | 0.018316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
120 | LV_362-21_0_6_line_120 |  | 114 | 115 | 0.019942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
121 | LV_362-21_0_6_line_121 |  | 115 | 119 | 0.023805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
122 | LV_362-21_0_6_line_122 |  | 116 | 117 | 0.011718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_362-21_0_6_line_123 |  | 116 | 118 | 0.019493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_362-21_0_6_line_124 |  | 117 | 134 | 0.0063424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_362-21_0_6_line_125 |  | 118 | 127 | 0.011568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_362-21_0_6_line_126 |  | 118 | 128 | 0.010368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_362-21_0_6_line_127 |  | 118 | 122 | 0.011072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_362-21_0_6_line_128 |  | 119 | 148 | 0.0087772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
129 | LV_362-21_0_6_line_129 |  | 120 | 121 | 0.019637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_362-21_0_6_line_130 |  | 120 | 122 | 0.011443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_362-21_0_6_line_131 |  | 121 | 123 | 0.01507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_362-21_0_6_line_132 |  | 121 | 124 | 0.007138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_362-21_0_6_line_133 |  | 122 | 125 | 0.012706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_362-21_0_6_line_134 |  | 123 | 126 | 0.0087615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_362-21_0_6_line_135 |  | 125 | 129 | 0.0042125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_362-21_0_6_line_136 |  | 126 | 130 | 0.0005634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_362-21_0_6_line_137 |  | 127 | 131 | 0.0083579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_362-21_0_6_line_138 |  | 128 | 132 | 0.019605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_362-21_0_6_line_139 |  | 131 | 133 | 0.0044741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_362-21_0_6_line_140 |  | 134 | 135 | 0.014434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_362-21_0_6_line_141 |  | 135 | 153 | 0.006606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_362-21_0_6_line_142 |  | 136 | 139 | 0.0092051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_362-21_0_6_line_143 |  | 137 | 138 | 0.010278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
144 | LV_362-21_0_6_line_144 |  | 140 | 141 | 0.010871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_362-21_0_6_line_145 |  | 142 | 143 | 0.011724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_362-21_0_6_line_146 |  | 144 | 148 | 0.036971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
147 | LV_362-21_0_6_line_147 |  | 145 | 146 | 0.058357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
148 | LV_362-21_0_6_line_148 |  | 146 | 147 | 0.026332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
149 | LV_362-21_0_6_line_149 |  | 149 | 150 | 0.0026284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
150 | LV_362-21_0_6_line_150 |  | 150 | 151 | 0.0040559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
151 | LV_362-21_0_6_line_151 |  | 151 | 152 | 0.0067296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
152 | LV_362-21_0_6_line_152 |  | 152 | 153 | 0.0035943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_362-21_0_6_trafo_121 | 0.63 MVA 20/0.4 kV | 154 | 102 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2603841.7246 | 1202635.2624 | 2603837.1939 | 1202636.122 | 2603810.4411 | 1202642.8175
1 | 2603841.7246 | 1202635.2624 | 2603868.5975 | 1202630.1641
2 | 2603810.4411 | 1202642.8175 | 2603802.5549 | 1202644.7912
3 | 2603777.0069 | 1202651.1852 | 2603802.5549 | 1202644.7912
4 | 2603721.284 | 1202670.7132 | 2603765.6788 | 1202654.0203 | 2603777.0069 | 1202651.1852
5 | 2603721.284 | 1202670.7132 | 2603728.2617 | 1202691.4846
6 | 2603721.284 | 1202670.7132 | 2603675.3349 | 1202696.9757
7 | 2603728.2617 | 1202691.4846 | 2603730.3934 | 1202697.8305
8 | 2603675.3349 | 1202696.9757 | 2603647.0617 | 1202713.1355
9 | 2603740.6733 | 1202728.3206 | 2603740.3938 | 1202727.6001 | 2603730.3934 | 1202697.8305
10 | 2603742.0803 | 1202731.9479 | 2603740.6733 | 1202728.3206
11 | 2603742.0803 | 1202731.9479 | 2603746.624 | 1202742.6788
12 | 2603746.624 | 1202742.6788 | 2603765.6993 | 1202777.411
13 | 2603746.624 | 1202742.6788 | 2603736.2425 | 1202746.9302 | 2603734.4844 | 1202747.6518 | 2603726.4782 | 1202752.2721
14 | 2603781.0098 | 1202730.0154 | 2603779.7699 | 1202729.2809 | 2603774.2568 | 1202723.5855 | 2603772.888 | 1202720.9497
15 | 2603781.0098 | 1202730.0154 | 2603782.6228 | 1202730.1387 | 2603792.938 | 1202728.5331
16 | 2603781.0098 | 1202730.0154 | 2603779.5536 | 1202734.5836 | 2603779.0589 | 1202738.8057
17 | 2603777.9076 | 1202799.64 | 2603765.6993 | 1202777.411
18 | 2603726.4782 | 1202752.2721 | 2603699.0263 | 1202768.1143
19 | 2603808.8007 | 1202726.0639 | 2603792.938 | 1202728.5331
20 | 2603777.9076 | 1202799.64 | 2603785.8764 | 1202796.3098 | 2603790.779 | 1202792.4441 | 2603792.8973 | 1202791.1494
21 | 2603777.9076 | 1202799.64 | 2603788.0693 | 1202818.3454 | 2603788.9573 | 1202821.317
22 | 2603699.0263 | 1202768.1143 | 2603698.8668 | 1202768.2063
23 | 2603657.3166 | 1202792.1846 | 2603648.2561 | 1202774.9268
24 | 2603657.3166 | 1202792.1846 | 2603643.0882 | 1202797.2351
25 | 2603657.3166 | 1202792.1846 | 2603661.4598 | 1202798.3348
26 | 2603669.1163 | 1202795.3156 | 2603661.4598 | 1202798.3348
27 | 2603661.4598 | 1202798.3348 | 2603667.4215 | 1202814.3622
28 | 2603698.3396 | 1202768.5106 | 2603693.461 | 1202771.326
29 | 2603698.8668 | 1202768.2063 | 2603698.3396 | 1202768.5106
30 | 2603673.4536 | 1202795.2182 | 2603669.1163 | 1202795.3156
31 | 2603667.5398 | 1202814.6802 | 2603667.4215 | 1202814.3622
32 | 2603930.4768 | 1202704.6853 | 2603930.2808 | 1202690.0884 | 2603931.6474 | 1202659.5283 | 2603931.7573 | 1202645.1327
33 | 2603930.4768 | 1202704.6853 | 2603929.181 | 1202732.0048
34 | 2603928.4984 | 1202745.6861 | 2603928.5791 | 1202744.6946 | 2603929.181 | 1202732.0048
35 | 2603711.4144 | 1202983.3541 | 2603734.853 | 1202983.1987
36 | 2603707.4957 | 1202983.5963 | 2603711.4144 | 1202983.3541
37 | 2603707.4957 | 1202983.5963 | 2603706.13 | 1202977.3032 | 2603703.8431 | 1202971.721 | 2603700.5238 | 1202963.6321
38 | 2603764.3152 | 1202926.9783 | 2603760.9405 | 1202933.3797 | 2603759.7084 | 1202944.874 | 2603759.6063 | 1202949.9212
39 | 2603759.6063 | 1202949.9212 | 2603746.7243 | 1202950.3134 | 2603740.835 | 1202950.1107
40 | 2603764.3152 | 1202926.9783 | 2603782.1729 | 1202929.0276
41 | 2603764.3152 | 1202926.9783 | 2603762.1743 | 1202919.2395 | 2603762.7896 | 1202908.7705
42 | 2603740.835 | 1202950.1107 | 2603734.8852 | 1202949.9059 | 2603721.213 | 1202948.4634 | 2603708.8315 | 1202947.4952
43 | 2603696.3139 | 1202953.3732 | 2603700.5238 | 1202963.6321
44 | 2603790.3555 | 1202929.9666 | 2603782.1729 | 1202929.0276
45 | 2603762.7896 | 1202908.7705 | 2603762.9362 | 1202906.2754
46 | 2603696.3139 | 1202953.3732 | 2603708.4612 | 1202947.4662 | 2603708.8315 | 1202947.4952
47 | 2603696.3139 | 1202953.3732 | 2603689.9038 | 1202937.7469
48 | 2603827.9207 | 1202934.2775 | 2603790.3555 | 1202929.9666
49 | 2603763.9804 | 1202888.5093 | 2603762.9362 | 1202906.2754
50 | 2603876.2719 | 1202978.2799 | 2603864.4695 | 1202988.7857 | 2603842.1099 | 1203008.749 | 2603841.2049 | 1203009.5373
51 | 2603896.2559 | 1202959.3139 | 2603878.6223 | 1202976.1879 | 2603876.2719 | 1202978.2799
52 | 2603902.5819 | 1202953.2605 | 2603896.2559 | 1202959.3139
53 | 2603682.2279 | 1202919.0349 | 2603689.9038 | 1202937.7469
54 | 2603644.0718 | 1202929.2587 | 2603638.8219 | 1202930.6654
55 | 2603644.0718 | 1202929.2587 | 2603654.5027 | 1202926.4638
56 | 2603682.2279 | 1202919.0349 | 2603654.5027 | 1202926.4638
57 | 2603682.2279 | 1202919.0349 | 2603684.2531 | 1202916.9684 | 2603685.2444 | 1202913.4893 | 2603685.1221 | 1202910.6209
58 | 2603684.8913 | 1202905.2093 | 2603685.1221 | 1202910.6209
59 | 2603684.2541 | 1202890.265 | 2603684.8913 | 1202905.2093
60 | 2603684.2541 | 1202890.265 | 2603698.1793 | 1202890.6786
61 | 2603684.2541 | 1202890.265 | 2603684.2669 | 1202869.0535 | 2603682.8335 | 1202861.3374 | 2603681.6322 | 1202856.7678
62 | 2603635.0328 | 1202862.1883 | 2603645.0046 | 1202859.2732
63 | 2603645.0046 | 1202859.2732 | 2603660.3045 | 1202854.8006
64 | 2603660.3045 | 1202854.8006 | 2603660.3876 | 1202854.7763
65 | 2603660.3876 | 1202854.7763 | 2603666.9153 | 1202852.868
66 | 2603679.6299 | 1202849.1511 | 2603666.9153 | 1202852.868
67 | 2603679.6299 | 1202849.1511 | 2603675.9239 | 1202837.2202 | 2603675.2478 | 1202835.4023
68 | 2603679.6299 | 1202849.1511 | 2603681.6322 | 1202856.7678
69 | 2603716.4746 | 1202891.2219 | 2603698.1793 | 1202890.6786
70 | 2603827.9207 | 1202934.2775 | 2603836.3159 | 1202942.2427
71 | 2603827.9207 | 1202934.2775 | 2603835.6917 | 1202930.6693 | 2603841.2211 | 1202922.1682
72 | 2603765.6548 | 1202877.0632 | 2603764.2429 | 1202884.0439 | 2603763.9804 | 1202888.5093
73 | 2603675.2478 | 1202835.4023 | 2603672.6643 | 1202828.457
74 | 2603768.8374 | 1202873.7745 | 2603765.6548 | 1202877.0632
75 | 2603768.8374 | 1202873.7745 | 2603764.9629 | 1202863.9112 | 2603758.1349 | 1202856.1695 | 2603752.9319 | 1202853.6205 | 2603747.8267 | 1202853.017
76 | 2603768.8374 | 1202873.7745 | 2603775.5746 | 1202868.487 | 2603775.5746 | 1202868.487
77 | 2603667.5398 | 1202814.6802 | 2603672.6643 | 1202828.457
78 | 2603841.2211 | 1202922.1682 | 2603841.2211 | 1202922.1682 | 2603841.8723 | 1202915.2628
79 | 2603841.8723 | 1202915.2628 | 2603842.3701 | 1202909.9846 | 2603842.4524 | 1202909.402
80 | 2603844.6908 | 1202893.5632 | 2603842.4524 | 1202909.402
81 | 2603845.0715 | 1202890.8694 | 2603844.6908 | 1202893.5632
82 | 2603903.0833 | 1202952.7807 | 2603902.5819 | 1202953.2605
83 | 2603903.0833 | 1202952.7807 | 2603910.4384 | 1202945.7426
84 | 2603911.2461 | 1202944.9696 | 2603910.4384 | 1202945.7426
85 | 2603911.2461 | 1202944.9696 | 2603929.3089 | 1202957.5992
86 | 2603921.2882 | 1202935.5154 | 2603911.2461 | 1202944.9696
87 | 2603921.2882 | 1202935.5154 | 2603914.2097 | 1202927.3398 | 2603909.1941 | 1202917.6091 | 2603909.7171 | 1202907.6416
88 | 2603921.2882 | 1202935.5154 | 2603937.4333 | 1202937.0267
89 | 2603921.2882 | 1202935.5154 | 2603938.2953 | 1202921.7634 | 2603939.9701 | 1202920.5639
90 | 2603845.0715 | 1202890.8694 | 2603846.0215 | 1202884.1473
91 | 2603846.8878 | 1202878.0171 | 2603846.0215 | 1202884.1473
92 | 2603849.5712 | 1202859.0297 | 2603846.8878 | 1202878.0171
93 | 2603853.7063 | 1202829.7693 | 2603849.5712 | 1202859.0297
94 | 2603853.7063 | 1202829.7693 | 2603855.6868 | 1202815.7554
95 | 2603796.3087 | 1202759.1184 | 2603791.9413 | 1202758.7822 | 2603787.4527 | 1202757.6121
96 | 2603796.3087 | 1202759.1184 | 2603798.4253 | 1202771.5907
97 | 2603813.8417 | 1202756.5391 | 2603796.3087 | 1202759.1184
98 | 2603801.3805 | 1202789.0044 | 2603798.4253 | 1202771.5907
99 | 2603813.8417 | 1202756.5391 | 2603826.2453 | 1202755.2129
100 | 2603813.8417 | 1202756.5391 | 2603810.9888 | 1202739.2919
101 | 2603808.8007 | 1202726.0639 | 2603810.2979 | 1202725.8379
102 | 2603808.8007 | 1202726.0639 | 2603810.9888 | 1202739.2919
103 | 2603801.3805 | 1202789.0044 | 2603796.0845 | 1202789.2012 | 2603792.8973 | 1202791.1494
104 | 2603801.3805 | 1202789.0044 | 2603804.2475 | 1202791.641 | 2603806.3968 | 1202792.0705
105 | 2603817.3493 | 1202724.7735 | 2603810.2979 | 1202725.8379
106 | 2603806.3968 | 1202792.0705 | 2603808.8007 | 1202792.5508
107 | 2603834.2128 | 1202722.2279 | 2603817.3493 | 1202724.7735
108 | 2603786.1532 | 1202839.5396 | 2603789.76 | 1202828.085 | 2603789.6942 | 1202823.7826 | 2603788.9573 | 1202821.317
109 | 2603786.1532 | 1202839.5396 | 2603781.2973 | 1202854.961 | 2603780.171 | 1202859.5052
110 | 2603857.893 | 1202788.9289 | 2603857.8629 | 1202800.3573 | 2603855.6868 | 1202815.7554
111 | 2603857.893 | 1202788.9289 | 2603860.5731 | 1202786.1179 | 2603867.0951 | 1202784.499
112 | 2603865.3525 | 1202772.6581 | 2603867.0951 | 1202784.499
113 | 2603867.0951 | 1202784.499 | 2603879.4069 | 1202781.4491
114 | 2603879.4069 | 1202781.4491 | 2603884.9107 | 1202780.0857 | 2603908.3344 | 1202775.3982 | 2603909.6514 | 1202775.2949
115 | 2603926.1938 | 1202773.9978 | 2603909.6514 | 1202775.2949
116 | 2603926.4239 | 1202771.1706 | 2603928.4984 | 1202745.6861
117 | 2603926.1938 | 1202773.9978 | 2603926.4239 | 1202771.1706
118 | 2603926.1938 | 1202773.9978 | 2603925.4897 | 1202780.2452 | 2603923.1806 | 1202800.7637
119 | 2603923.1806 | 1202800.7637 | 2603921.1323 | 1202818.9644
120 | 2603921.1323 | 1202818.9644 | 2603920.7296 | 1202822.5428 | 2603918.2209 | 1202838.6905
121 | 2603914.5608 | 1202862.2122 | 2603914.9685 | 1202859.6258 | 2603918.2209 | 1202838.6905
122 | 2603889.6935 | 1202713.8529 | 2603878.1063 | 1202715.6021
123 | 2603886.5024 | 1202694.6294 | 2603887.0181 | 1202697.22 | 2603888.1482 | 1202703.0572 | 2603889.6935 | 1202713.8529
124 | 2603878.1063 | 1202715.6021 | 2603871.835 | 1202716.5487
125 | 2603886.5024 | 1202694.6294 | 2603897.9323 | 1202692.8447
126 | 2603886.5024 | 1202694.6294 | 2603881.708 | 1202695.5602 | 2603882.6955 | 1202700.9543
127 | 2603886.5024 | 1202694.6294 | 2603884.3635 | 1202683.7666
128 | 2603914.5608 | 1202862.2122 | 2603913.1941 | 1202870.8823
129 | 2603882.3726 | 1202655.7724 | 2603886.1358 | 1202675.0454
130 | 2603884.3635 | 1202683.7666 | 2603887.6741 | 1202682.9238 | 2603886.1358 | 1202675.0454
131 | 2603882.3726 | 1202655.7724 | 2603867.5685 | 1202658.5925
132 | 2603889.4044 | 1202654.4317 | 2603882.3726 | 1202655.7724
133 | 2603884.3635 | 1202683.7666 | 2603871.887 | 1202686.1715
134 | 2603867.5685 | 1202658.5925 | 2603858.9617 | 1202660.232
135 | 2603867.7507 | 1202686.9688 | 2603871.887 | 1202686.1715
136 | 2603858.4083 | 1202660.3374 | 2603858.9617 | 1202660.232
137 | 2603906.1901 | 1202691.5553 | 2603897.9323 | 1202692.8447
138 | 2603872.0189 | 1202711.596 | 2603881.0062 | 1202710.1676 | 2603883.8615 | 1202707.3235 | 2603882.6955 | 1202700.9543
139 | 2603910.6106 | 1202690.865 | 2603906.1901 | 1202691.5553
140 | 2603871.835 | 1202716.5487 | 2603857.5624 | 1202718.7032
141 | 2603851.0304 | 1202719.6892 | 2603857.5624 | 1202718.7032
142 | 2603739.865 | 1202857.4812 | 2603743.5418 | 1202854.7375 | 2603747.8267 | 1202853.017
143 | 2603780.171 | 1202859.5052 | 2603779.1538 | 1202863.6088 | 2603775.5746 | 1202868.487
144 | 2603819.5143 | 1202791.7486 | 2603811.3915 | 1202793.0685 | 2603808.8007 | 1202792.5508
145 | 2603939.9701 | 1202920.5639 | 2603941.3091 | 1202908.9164
146 | 2603913.1941 | 1202870.8823 | 2603910.8734 | 1202885.6039 | 2603909.7171 | 1202907.6416
147 | 2603937.4333 | 1202937.0267 | 2603940.6065 | 1202936.4173 | 2603949.7357 | 1202938.68 | 2603954.8172 | 1202940.4954 | 2603959.6395 | 1202943.1222 | 2603963.6972 | 1202951.4627 | 2603965.2352 | 1202961.5469 | 2603966.2674 | 1202965.6165 | 2603975.6832 | 1202971.6036
148 | 2603975.6832 | 1202971.6036 | 2603967.246 | 1202981.6925 | 2603963.885 | 1202990.1949 | 2603964.0954 | 1202994.2416
149 | 2603834.2128 | 1202722.2279 | 2603836.8117 | 1202721.8356
150 | 2603836.8117 | 1202721.8356 | 2603840.8222 | 1202721.2302
151 | 2603847.4764 | 1202720.2257 | 2603840.8222 | 1202721.2302
152 | 2603851.0304 | 1202719.6892 | 2603847.4764 | 1202720.2257

## bus_geodata
| x | y | coords
0 | 2603841.7246 | 1202635.2624
1 | 2603810.4412 | 1202642.8175
2 | 2603868.5975 | 1202630.1641
3 | 2603802.5549 | 1202644.7912
4 | 2603777.0069 | 1202651.1852
5 | 2603721.284 | 1202670.7132
6 | 2603728.2617 | 1202691.4846
7 | 2603675.3349 | 1202696.9757
8 | 2603647.0617 | 1202713.1355
9 | 2603730.3934 | 1202697.8305
10 | 2603740.6733 | 1202728.3206
11 | 2603742.0803 | 1202731.9479
12 | 2603746.624 | 1202742.6788
13 | 2603772.888 | 1202720.9497
14 | 2603781.0098 | 1202730.0154
15 | 2603765.6993 | 1202777.411
16 | 2603726.4782 | 1202752.2721
17 | 2603792.938 | 1202728.5331
18 | 2603779.0589 | 1202738.8057
19 | 2603777.9076 | 1202799.64
20 | 2603699.0263 | 1202768.1143
21 | 2603648.2561 | 1202774.9268
22 | 2603657.3166 | 1202792.1846
23 | 2603643.0882 | 1202797.2351
24 | 2603661.4598 | 1202798.3348
25 | 2603693.461 | 1202771.326
26 | 2603698.3396 | 1202768.5106
27 | 2603669.1163 | 1202795.3156
28 | 2603667.4215 | 1202814.3622
29 | 2603931.7573 | 1202645.1327
30 | 2603930.4768 | 1202704.6853
31 | 2603929.181 | 1202732.0048
32 | 2603734.853 | 1202983.1987
33 | 2603711.4144 | 1202983.3541
34 | 2603707.4957 | 1202983.5963
35 | 2603759.6063 | 1202949.9212
36 | 2603764.3152 | 1202926.9783
37 | 2603740.835 | 1202950.1107
38 | 2603700.5238 | 1202963.6321
39 | 2603782.1729 | 1202929.0276
40 | 2603762.7896 | 1202908.7705
41 | 2603708.8315 | 1202947.4952
42 | 2603696.3139 | 1202953.3732
43 | 2603790.3555 | 1202929.9666
44 | 2603762.9362 | 1202906.2754
45 | 2603841.2049 | 1203009.5373
46 | 2603876.2719 | 1202978.2799
47 | 2603896.2559 | 1202959.3139
48 | 2603689.9038 | 1202937.7469
49 | 2603644.0718 | 1202929.2587
50 | 2603638.8219 | 1202930.6654
51 | 2603654.5027 | 1202926.4638
52 | 2603682.2279 | 1202919.0349
53 | 2603685.1221 | 1202910.6209
54 | 2603684.8913 | 1202905.2093
55 | 2603684.2541 | 1202890.265
56 | 2603635.0328 | 1202862.1883
57 | 2603645.0046 | 1202859.2732
58 | 2603660.3045 | 1202854.8006
59 | 2603660.3876 | 1202854.7763
60 | 2603666.9153 | 1202852.868
61 | 2603679.6299 | 1202849.1511
62 | 2603698.1793 | 1202890.6786
63 | 2603681.6322 | 1202856.7678
64 | 2603827.9207 | 1202934.2775
65 | 2603763.9804 | 1202888.5093
66 | 2603716.4746 | 1202891.2219
67 | 2603675.2478 | 1202835.4023
68 | 2603765.6548 | 1202877.0632
69 | 2603768.8374 | 1202873.7745
70 | 2603672.6643 | 1202828.457
71 | 2603836.3159 | 1202942.2427
72 | 2603841.2211 | 1202922.1682
73 | 2603841.8723 | 1202915.2628
74 | 2603842.4524 | 1202909.402
75 | 2603844.6908 | 1202893.5632
76 | 2603902.5819 | 1202953.2605
77 | 2603903.0833 | 1202952.7807
78 | 2603910.4384 | 1202945.7426
79 | 2603911.2461 | 1202944.9696
80 | 2603929.3089 | 1202957.5992
81 | 2603921.2882 | 1202935.5154
82 | 2603667.5398 | 1202814.6802
83 | 2603673.4536 | 1202795.2182
84 | 2603698.8668 | 1202768.2063
85 | 2603845.0715 | 1202890.8694
86 | 2603846.0215 | 1202884.1473
87 | 2603846.8878 | 1202878.0171
88 | 2603849.5712 | 1202859.0297
89 | 2603853.7063 | 1202829.7693
90 | 2603787.4527 | 1202757.6121
91 | 2603796.3087 | 1202759.1184
92 | 2603798.4253 | 1202771.5907
93 | 2603813.8417 | 1202756.5391
94 | 2603808.8007 | 1202726.0639
95 | 2603801.3805 | 1202789.0044
96 | 2603826.2453 | 1202755.2129
97 | 2603810.9888 | 1202739.2919
98 | 2603810.2979 | 1202725.8379
99 | 2603792.8973 | 1202791.1494
100 | 2603806.3968 | 1202792.0705
101 | 2603817.3493 | 1202724.7735
102 | 2603788.9573 | 1202821.317
103 | 2603786.1532 | 1202839.5396
104 | 2603855.6868 | 1202815.7554
105 | 2603857.893 | 1202788.9289
106 | 2603867.0951 | 1202784.499
107 | 2603865.3526 | 1202772.6581
108 | 2603879.4069 | 1202781.4491
109 | 2603909.6514 | 1202775.2949
110 | 2603926.4239 | 1202771.1706
111 | 2603928.4984 | 1202745.6861
112 | 2603926.1938 | 1202773.9978
113 | 2603923.1806 | 1202800.7637
114 | 2603921.1323 | 1202818.9644
115 | 2603918.2209 | 1202838.6905
116 | 2603889.6935 | 1202713.8529
117 | 2603878.1063 | 1202715.6021
118 | 2603886.5024 | 1202694.6294
119 | 2603914.5608 | 1202862.2122
120 | 2603886.1358 | 1202675.0454
121 | 2603882.3726 | 1202655.7724
122 | 2603884.3635 | 1202683.7666
123 | 2603867.5685 | 1202658.5925
124 | 2603889.4044 | 1202654.4317
125 | 2603871.887 | 1202686.1715
126 | 2603858.9617 | 1202660.232
127 | 2603897.9323 | 1202692.8447
128 | 2603882.6955 | 1202700.9543
129 | 2603867.7507 | 1202686.9688
130 | 2603858.4083 | 1202660.3374
131 | 2603906.1901 | 1202691.5553
132 | 2603872.0189 | 1202711.596
133 | 2603910.6106 | 1202690.865
134 | 2603871.835 | 1202716.5487
135 | 2603857.5624 | 1202718.7032
136 | 2603747.8267 | 1202853.017
137 | 2603775.5746 | 1202868.487
138 | 2603780.171 | 1202859.5052
139 | 2603739.865 | 1202857.4812
140 | 2603819.5143 | 1202791.7486
141 | 2603808.8007 | 1202792.5508
142 | 2603941.3091 | 1202908.9164
143 | 2603939.9701 | 1202920.5639
144 | 2603909.7171 | 1202907.6416
145 | 2603937.4333 | 1202937.0267
146 | 2603975.6832 | 1202971.6036
147 | 2603964.0954 | 1202994.2416
148 | 2603913.1941 | 1202870.8823
149 | 2603834.2128 | 1202722.2279
150 | 2603836.8117 | 1202721.8356
151 | 2603840.8222 | 1202721.2302
152 | 2603847.4764 | 1202720.2257
153 | 2603851.0304 | 1202719.6892
154 | 2603777.9076 | 1202799.64

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1