## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_362-23_1_3_node_23 | 0.4 | n |  | TRUE
1 | bus_LV_362-23_1_3_node_24 | 0.4 | n |  | TRUE
2 | bus_LV_362-23_1_3_node_25 | 0.4 | n |  | TRUE
3 | bus_LV_362-23_1_3_node_26 | 0.4 | n |  | TRUE
4 | bus_LV_362-23_1_3_node_27 | 0.4 | n |  | TRUE
5 | bus_LV_362-23_1_3_node_47 | 0.4 | n |  | TRUE
6 | bus_LV_362-23_1_3_node_106 | 0.4 | n |  | TRUE
7 | bus_LV_362-23_1_3_node_40 | 0.4 | n |  | TRUE
8 | bus_LV_362-23_1_3_node_48 | 0.4 | n |  | TRUE
9 | bus_LV_362-23_1_3_node_98 | 0.4 | n |  | TRUE
10 | bus_LV_362-23_1_3_node_31 | 0.4 | n |  | TRUE
11 | bus_LV_362-23_1_3_node_28 | 0.4 | n |  | TRUE
12 | bus_LV_362-23_1_3_node_29 | 0.4 | n |  | TRUE
13 | bus_LV_362-23_1_3_node_30 | 0.4 | n |  | TRUE
14 | bus_LV_362-23_1_3_node_32 | 0.4 | n |  | TRUE
15 | bus_LV_362-23_1_3_node_38 | 0.4 | n |  | TRUE
16 | bus_LV_362-23_1_3_node_35 | 0.4 | n |  | TRUE
17 | bus_LV_362-23_1_3_node_33 | 0.4 | n |  | TRUE
18 | bus_LV_362-23_1_3_node_34 | 0.4 | n |  | TRUE
19 | bus_LV_362-23_1_3_node_36 | 0.4 | n |  | TRUE
20 | bus_LV_362-23_1_3_node_37 | 0.4 | n |  | TRUE
21 | bus_LV_362-23_1_3_node_41 | 0.4 | n |  | TRUE
22 | bus_LV_362-23_1_3_node_39 | 0.4 | n |  | TRUE
23 | bus_LV_362-23_1_3_node_43 | 0.4 | n |  | TRUE
24 | bus_LV_362-23_1_3_node_44 | 0.4 | n |  | TRUE
25 | bus_LV_362-23_1_3_node_45 | 0.4 | n |  | TRUE
26 | bus_LV_362-23_1_3_node_52 | 0.4 | n |  | TRUE
27 | bus_LV_362-23_1_3_node_49 | 0.4 | n |  | TRUE
28 | bus_LV_362-23_1_3_node_110 | 0.4 | n |  | TRUE
29 | bus_LV_362-23_1_3_node_111 | 0.4 | n |  | TRUE
30 | bus_LV_362-23_1_3_node_113 | 0.4 | n |  | TRUE
31 | bus_LV_362-23_1_3_node_50 | 0.4 | n |  | TRUE
32 | bus_LV_362-23_1_3_node_53 | 0.4 | n |  | TRUE
33 | bus_LV_362-23_1_3_node_54 | 0.4 | n |  | TRUE
34 | bus_LV_362-23_1_3_node_112 | 0.4 | n |  | TRUE
35 | bus_LV_362-23_1_3_node_107 | 0.4 | n |  | TRUE
36 | bus_LV_362-23_1_3_node_109 | 0.4 | n |  | TRUE
37 | bus_LV_362-23_1_3_node_108 | 0.4 | n |  | TRUE
38 | bus_LV_362-23_1_3_node_71 | 0.4 | n |  | TRUE
39 | bus_LV_362-23_1_3_node_72 | 0.4 | n |  | TRUE
40 | bus_LV_362-23_1_3_node_73 | 0.4 | n |  | TRUE
41 | bus_LV_362-23_1_3_node_74 | 0.4 | n |  | TRUE
42 | bus_LV_362-23_1_3_node_75 | 0.4 | n |  | TRUE
43 | bus_LV_362-23_1_3_node_77 | 0.4 | n |  | TRUE
44 | bus_LV_362-23_1_3_node_99 | 0.4 | n |  | TRUE
45 | bus_LV_362-23_1_3_node_84 | 0.4 | n |  | TRUE
46 | bus_LV_362-23_1_3_node_81 | 0.4 | n |  | TRUE
47 | bus_LV_362-23_1_3_node_76 | 0.4 | n |  | TRUE
48 | bus_LV_362-23_1_3_node_89 | 0.4 | n |  | TRUE
49 | bus_LV_362-23_1_3_node_80 | 0.4 | n |  | TRUE
50 | bus_LV_362-23_1_3_node_82 | 0.4 | n |  | TRUE
51 | bus_LV_362-23_1_3_node_83 | 0.4 | n |  | TRUE
52 | bus_MV_602_0_node_77 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_362-23_1_3_load_23 | 0 | 0.010765 | 0.0026979 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_362-23_1_3_load_27 | 4 | 0.01096 | 0.0027469 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_362-23_1_3_load_106 | 6 | 0.025885 | 0.0064874 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_362-23_1_3_load_40 | 7 | 0.0097285 | 0.0024382 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_362-23_1_3_load_31 | 10 | 0.0091617 | 0.0022961 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_362-23_1_3_load_28 | 11 | 0.0056325 | 0.0014116 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_362-23_1_3_load_29 | 12 | 0.0078461 | 0.0019664 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_362-23_1_3_load_30 | 13 | 0.0050387 | 0.0012628 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_362-23_1_3_load_32 | 14 | 0.0036237 | 0.0009082 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_362-23_1_3_load_38 | 15 | 0.0048467 | 0.0012147 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_362-23_1_3_load_35 | 16 | 0.0020373 | 0.00051061 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_362-23_1_3_load_33 | 17 | 0.0047762 | 0.001197 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_362-23_1_3_load_34 | 18 | 0.0038697 | 0.00096984 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_362-23_1_3_load_36 | 19 | 0.0046572 | 0.0011672 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_362-23_1_3_load_37 | 20 | 0.0068021 | 0.0017048 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_362-23_1_3_load_41 | 21 | 0.0025462 | 0.00063815 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_362-23_1_3_load_39 | 22 | 0.0076561 | 0.0019188 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_362-23_1_3_load_43 | 23 | 0.0042486 | 0.0010648 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_362-23_1_3_load_44 | 24 | 0.0059812 | 0.001499 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_362-23_1_3_load_52 | 26 | 0.0010055 | 0.000252 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_362-23_1_3_load_49 | 27 | 0.011017 | 0.0027612 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_362-23_1_3_load_110 | 28 | 0.017571 | 0.0044038 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_362-23_1_3_load_111 | 29 | 0.017519 | 0.0043906 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_362-23_1_3_load_113 | 30 | 0.011055 | 0.0027705 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_362-23_1_3_load_50 | 31 | 0.00085169 | 0.00021345 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_362-23_1_3_load_112 | 34 | 0.0077436 | 0.0019407 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_362-23_1_3_load_107 | 35 | 0.0018646 | 0.0004673 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_362-23_1_3_load_108 | 37 | 0.0019433 | 0.00048704 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_362-23_1_3_load_71 | 38 | 0.005718 | 0.0014331 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_362-23_1_3_load_72 | 39 | 0.0055828 | 0.0013992 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_362-23_1_3_load_73 | 40 | 0.0032932 | 0.00082535 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_362-23_1_3_load_77 | 43 | 0.0071988 | 0.0018042 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_362-23_1_3_load_99 | 44 | 0.0055266 | 0.0013851 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_362-23_1_3_load_84 | 45 | 0.0055589 | 0.0013932 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_362-23_1_3_load_81 | 46 | 0.0038796 | 0.00097231 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_362-23_1_3_load_76 | 47 | 0.0074981 | 0.0018792 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_362-23_1_3_load_89 | 48 | 0.0030503 | 0.00076448 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_362-23_1_3_load_80 | 49 | 0.0039586 | 0.00099212 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_362-23_1_3_load_82 | 50 | 0.0035762 | 0.00089627 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_362-23_1_3_load_83 | 51 | 0.0037305 | 0.00093494 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 4 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_362-23_1_3_line_0 |  | 0 | 1 | 0.012516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
1 | LV_362-23_1_3_line_1 |  | 0 | 2 | 0.025945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_362-23_1_3_line_2 |  | 1 | 3 | 0.020201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_362-23_1_3_line_3 |  | 2 | 4 | 0.014069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_362-23_1_3_line_4 |  | 3 | 5 | 0.028649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_362-23_1_3_line_5 |  | 3 | 6 | 0.040574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_362-23_1_3_line_6 |  | 4 | 7 | 0.017798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_362-23_1_3_line_7 |  | 5 | 8 | 0.079123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_362-23_1_3_line_8 |  | 6 | 9 | 0.055435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_362-23_1_3_line_9 |  | 7 | 10 | 0.0040644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_362-23_1_3_line_10 |  | 8 | 26 | 0.084372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_362-23_1_3_line_11 |  | 8 | 27 | 0.044845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_362-23_1_3_line_12 |  | 8 | 25 | 0.042313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_362-23_1_3_line_13 |  | 9 | 51 | 0.015429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_362-23_1_3_line_14 |  | 10 | 12 | 0.016145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_362-23_1_3_line_15 |  | 11 | 12 | 0.0045836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_362-23_1_3_line_16 |  | 11 | 13 | 0.013908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_362-23_1_3_line_17 |  | 13 | 14 | 0.0010606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_362-23_1_3_line_18 |  | 14 | 15 | 0.0038585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_362-23_1_3_line_19 |  | 15 | 16 | 0.021656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_362-23_1_3_line_20 |  | 16 | 20 | 0.016211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_362-23_1_3_line_21 |  | 16 | 17 | 0.0073502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_362-23_1_3_line_22 |  | 17 | 18 | 0.020856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_362-23_1_3_line_23 |  | 18 | 19 | 0.005946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_362-23_1_3_line_24 |  | 19 | 21 | 0.038611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_362-23_1_3_line_25 |  | 20 | 22 | 0.010715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_362-23_1_3_line_26 |  | 23 | 24 | 0.02222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_362-23_1_3_line_27 |  | 23 | 25 | 0.041978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_362-23_1_3_line_28 |  | 26 | 30 | 0.0083223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_362-23_1_3_line_29 |  | 27 | 31 | 0.043586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_362-23_1_3_line_30 |  | 28 | 29 | 0.014227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_362-23_1_3_line_31 |  | 29 | 36 | 0.048126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_362-23_1_3_line_32 |  | 30 | 34 | 0.0373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_362-23_1_3_line_33 |  | 32 | 33 | 0.072639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_362-23_1_3_line_34 |  | 32 | 34 | 0.062327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_362-23_1_3_line_35 |  | 33 | 35 | 0.03832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_362-23_1_3_line_36 |  | 35 | 37 | 0.008835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_362-23_1_3_line_37 |  | 36 | 37 | 0.0075842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_362-23_1_3_line_38 |  | 38 | 39 | 0.018061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_362-23_1_3_line_39 |  | 38 | 40 | 0.022049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_362-23_1_3_line_40 |  | 39 | 41 | 0.010983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_362-23_1_3_line_41 |  | 40 | 42 | 0.0061224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_362-23_1_3_line_42 |  | 41 | 43 | 0.022128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_362-23_1_3_line_43 |  | 41 | 44 | 0.013507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_362-23_1_3_line_44 |  | 42 | 45 | 0.020726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_362-23_1_3_line_45 |  | 42 | 46 | 0.011956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_362-23_1_3_line_46 |  | 43 | 47 | 0.025657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_362-23_1_3_line_47 |  | 44 | 48 | 0.034865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_362-23_1_3_line_48 |  | 46 | 49 | 0.00041857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_362-23_1_3_line_49 |  | 49 | 50 | 0.024477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_362-23_1_3_line_50 |  | 50 | 51 | 0.0056042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_362-23_1_3_trafo_27 | 0.63 MVA 20/0.4 kV | 52 | 4 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2602892.7611 | 1202549.3764 | 2602897.2308 | 1202542.9083 | 2602899.2328 | 1202538.7069
1 | 2602910.4462 | 1202515.3108 | 2602908.1992 | 1202519.8899 | 2602899.2328 | 1202538.7069
2 | 2602877.6806 | 1202562.821 | 2602886.8541 | 1202553.9538 | 2602892.7611 | 1202549.3764
3 | 2602910.4462 | 1202515.3108 | 2602916.6511 | 1202502.6842
4 | 2602877.6806 | 1202562.821 | 2602884.3889 | 1202569.6056 | 2602887.8567 | 1202573.7984 | 2602890.3892 | 1202576.8456 | 2602894.397 | 1202581.6835 | 2602896.5796 | 1202584.3193
5 | 2602877.6806 | 1202562.821 | 2602864.1117 | 1202549.8076 | 2602847.0272 | 1202536.3094
6 | 2602916.6511 | 1202502.6842 | 2602924.5006 | 1202486.711
7 | 2602896.5796 | 1202584.3193 | 2602914.5957 | 1202606.0507 | 2602922.1854 | 1202615.2148 | 2602929.1363 | 1202623.6005 | 2602931.6404 | 1202622.1231 | 2602934.4638 | 1202621.4018 | 2602937.3705 | 1202621.5255 | 2602940.1322 | 1202622.4607 | 2602942.5055 | 1202624.1294 | 2602944.3078 | 1202626.4093 | 2602953.0841 | 1202620.3769
8 | 2602795.0241 | 1202521.4381 | 2602802.9988 | 1202521.4529 | 2602813.2255 | 1202522.0356 | 2602819.8908 | 1202523.1393 | 2602825.2245 | 1202524.2868 | 2602833.2508 | 1202527.6701 | 2602838.7358 | 1202530.6521 | 2602844.0912 | 1202533.9897 | 2602847.0272 | 1202536.3094
9 | 2602926.8226 | 1202483.3957 | 2602924.9638 | 1202485.7684 | 2602924.5006 | 1202486.711
10 | 2602953.0841 | 1202620.3769 | 2602949.0923 | 1202614.0716 | 2602973.3963 | 1202598.3526 | 2602992.2421 | 1202587.8228 | 2603008.9938 | 1202580.3714 | 2603016.4858 | 1202577.4466
11 | 2602953.0841 | 1202620.3769 | 2602977.5407 | 1202603.8354 | 2602990.9821 | 1202596.4846
12 | 2602948.7682 | 1202655.0158 | 2602947.2034 | 1202649.4342 | 2602941.7219 | 1202639.4929 | 2602943.747 | 1202637.4149 | 2602945.0951 | 1202634.8364 | 2602945.6595 | 1202631.9907 | 2602945.387 | 1202629.1112 | 2602944.3078 | 1202626.4093 | 2602953.0841 | 1202620.3769
13 | 2602795.0241 | 1202521.4381 | 2602789.7552 | 1202506.9366
14 | 2602926.8226 | 1202483.3957 | 2602936.7798 | 1202470.6863
15 | 2602939.6571 | 1202467.1275 | 2602939.4077 | 1202467.332 | 2602936.7798 | 1202470.6863
16 | 2602939.6571 | 1202467.1275 | 2602950.4106 | 1202458.3077
17 | 2602951.2306 | 1202457.6351 | 2602950.4106 | 1202458.3077
18 | 2602954.214 | 1202455.1881 | 2602954.214 | 1202455.1881 | 2602951.2306 | 1202457.6351
19 | 2602973.7368 | 1202445.8147 | 2602954.214 | 1202455.1881
20 | 2602973.7368 | 1202445.8147 | 2602982.4741 | 1202459.4691
21 | 2602973.7368 | 1202445.8147 | 2602980.4696 | 1202442.866
22 | 2602980.4696 | 1202442.866 | 2602994.7816 | 1202436.5978 | 2602999.9519 | 1202435.7997
23 | 2603005.8283 | 1202434.8926 | 2602999.9519 | 1202435.7997
24 | 2603005.8283 | 1202434.8926 | 2603040.0083 | 1202429.6163 | 2603043.9594 | 1202428.8447
25 | 2602982.4741 | 1202459.4691 | 2602988.2496 | 1202468.4949
26 | 2602990.6148 | 1202653.9023 | 2603010.7685 | 1202654.0899 | 2603012.818 | 1202654.3485
27 | 2602948.7682 | 1202655.0158 | 2602956.5683 | 1202653.5854 | 2602990.6148 | 1202653.9023
28 | 2603016.4858 | 1202577.4466 | 2603024.2382 | 1202574.4201
29 | 2602990.9821 | 1202596.4846 | 2602992.8547 | 1202595.4605 | 2603005.3597 | 1202589.4968 | 2603011.2049 | 1202586.8538 | 2603016.6162 | 1202584.7553 | 2603025.513 | 1202581.6469 | 2603031.194 | 1202579.8638
30 | 2602973.4893 | 1202516.575 | 2602984.5566 | 1202507.6354
31 | 2603023.334 | 1202479.4128 | 2603020.0003 | 1202480.9786 | 2603016.5143 | 1202482.7445 | 2603013.089 | 1202484.9107 | 2603009.458 | 1202487.5214 | 2602984.5566 | 1202507.6354
32 | 2603059.7634 | 1202563.1482 | 2603057.3669 | 1202563.7531 | 2603037.869 | 1202569.3575 | 2603024.2382 | 1202574.4201 | 2603024.2382 | 1202574.4201
33 | 2603073.7935 | 1202492.0225 | 2603077.0633 | 1202496.371 | 2603082.6684 | 1202502.466 | 2603088.3346 | 1202508.0385 | 2603094.4174 | 1202517.3466 | 2603097.0641 | 1202520.1161 | 2603106.2289 | 1202528.8588 | 2603118.3294 | 1202540.7047 | 2603119.7111 | 1202546.9755
34 | 2603119.7111 | 1202546.9755 | 2603112.0097 | 1202548.4057 | 2603094.6583 | 1202552.5324 | 2603087.4123 | 1202556.3308 | 2603072.6636 | 1202559.892 | 2603059.7634 | 1202563.1482
35 | 2603073.7935 | 1202492.0225 | 2603070.575 | 1202491.4317 | 2603066.3828 | 1202490.2178 | 2603061.9474 | 1202488.4369 | 2603058.8284 | 1202486.6454 | 2603056.1356 | 1202484.8876 | 2603053.2902 | 1202483.7744 | 2603050.1478 | 1202483.1726 | 2603046.7236 | 1202483.1486 | 2603043.7862 | 1202483.4918 | 2603037.4393 | 1202484.667
36 | 2603037.4393 | 1202484.667 | 2603037.4393 | 1202484.667 | 2603031.7478 | 1202484.0194 | 2603030.0812 | 1202484.2521 | 2603028.6582 | 1202484.3069
37 | 2603023.334 | 1202479.4128 | 2603024.733 | 1202481.7925 | 2603025.5314 | 1202482.8935 | 2603026.8322 | 1202483.7391 | 2603028.6582 | 1202484.3069
38 | 2602801.4735 | 1202456.7211 | 2602818.2808 | 1202450.1102
39 | 2602801.4735 | 1202456.7211 | 2602780.9543 | 1202464.792
40 | 2602826.4568 | 1202442.7767 | 2602818.2808 | 1202450.1102
41 | 2602775.2568 | 1202467.033 | 2602780.9543 | 1202464.792
42 | 2602826.4568 | 1202442.7767 | 2602846.1761 | 1202435.9154 | 2602847.3364 | 1202435.4521
43 | 2602826.4568 | 1202442.7767 | 2602812.9767 | 1202441.923
44 | 2602775.2568 | 1202467.033 | 2602755.9463 | 1202474.5619
45 | 2602775.2568 | 1202467.033 | 2602779.3397 | 1202478.2702
46 | 2602869.954 | 1202423.5176 | 2602867.7541 | 1202425.1975 | 2602860.6448 | 1202429.4075 | 2602852.4323 | 1202433.417 | 2602847.3364 | 1202435.4521
47 | 2602812.9767 | 1202441.923 | 2602810.8958 | 1202441.7912 | 2602800.905 | 1202440.8861 | 2602789.1265 | 1202438.7129 | 2602778.7713 | 1202435.751 | 2602778.7713 | 1202435.751
48 | 2602779.3397 | 1202478.2702 | 2602779.4826 | 1202478.6636
49 | 2602779.4826 | 1202478.6636 | 2602787.8414 | 1202501.6693
50 | 2602789.7552 | 1202506.9366 | 2602787.8414 | 1202501.6693

## bus_geodata
| x | y | coords
0 | 2602899.2328 | 1202538.7069
1 | 2602892.7611 | 1202549.3764
2 | 2602910.4462 | 1202515.3108
3 | 2602877.6806 | 1202562.821
4 | 2602916.6511 | 1202502.6842
5 | 2602896.5796 | 1202584.3193
6 | 2602847.0272 | 1202536.3094
7 | 2602924.5006 | 1202486.711
8 | 2602953.0841 | 1202620.3769
9 | 2602795.0241 | 1202521.4381
10 | 2602926.8226 | 1202483.3957
11 | 2602939.6571 | 1202467.1275
12 | 2602936.7798 | 1202470.6863
13 | 2602950.4106 | 1202458.3077
14 | 2602951.2306 | 1202457.6351
15 | 2602954.214 | 1202455.1881
16 | 2602973.7368 | 1202445.8147
17 | 2602980.4696 | 1202442.866
18 | 2602999.9519 | 1202435.7997
19 | 2603005.8283 | 1202434.8926
20 | 2602982.4741 | 1202459.4691
21 | 2603043.9594 | 1202428.8447
22 | 2602988.2496 | 1202468.4949
23 | 2602990.6148 | 1202653.9023
24 | 2603012.818 | 1202654.3485
25 | 2602948.7682 | 1202655.0158
26 | 2603016.4858 | 1202577.4466
27 | 2602990.9821 | 1202596.4846
28 | 2602973.4893 | 1202516.575
29 | 2602984.5566 | 1202507.6354
30 | 2603024.2382 | 1202574.4201
31 | 2603031.194 | 1202579.8638
32 | 2603119.7111 | 1202546.9755
33 | 2603073.7935 | 1202492.0225
34 | 2603059.7634 | 1202563.1482
35 | 2603037.4393 | 1202484.667
36 | 2603023.334 | 1202479.4128
37 | 2603028.6582 | 1202484.3069
38 | 2602801.4735 | 1202456.7211
39 | 2602818.2808 | 1202450.1102
40 | 2602780.9543 | 1202464.792
41 | 2602826.4568 | 1202442.7767
42 | 2602775.2568 | 1202467.033
43 | 2602847.3364 | 1202435.4521
44 | 2602812.9767 | 1202441.923
45 | 2602755.9463 | 1202474.5619
46 | 2602779.3397 | 1202478.2702
47 | 2602869.954 | 1202423.5176
48 | 2602778.7713 | 1202435.751
49 | 2602779.4826 | 1202478.6636
50 | 2602787.8414 | 1202501.6693
51 | 2602789.7552 | 1202506.9366
52 | 2602910.4462 | 1202515.3108

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1