## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_362-29_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_362-29_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_362-29_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_362-29_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_362-29_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_362-29_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_362-29_0_6_node_31 | 0.4 | n |  | TRUE
7 | bus_LV_362-29_0_6_node_49 | 0.4 | n |  | TRUE
8 | bus_LV_362-29_0_6_node_91 | 0.4 | n |  | TRUE
9 | bus_LV_362-29_0_6_node_32 | 0.4 | n |  | TRUE
10 | bus_LV_362-29_0_6_node_52 | 0.4 | n |  | TRUE
11 | bus_LV_362-29_0_6_node_77 | 0.4 | n |  | TRUE
12 | bus_LV_362-29_0_6_node_75 | 0.4 | n |  | TRUE
13 | bus_LV_362-29_0_6_node_47 | 0.4 | n |  | TRUE
14 | bus_LV_362-29_0_6_node_93 | 0.4 | n |  | TRUE
15 | bus_LV_362-29_0_6_node_26 | 0.4 | n |  | TRUE
16 | bus_LV_362-29_0_6_node_92 | 0.4 | n |  | TRUE
17 | bus_LV_362-29_0_6_node_6 | 0.4 | n |  | TRUE
18 | bus_LV_362-29_0_6_node_7 | 0.4 | n |  | TRUE
19 | bus_LV_362-29_0_6_node_8 | 0.4 | n |  | TRUE
20 | bus_LV_362-29_0_6_node_9 | 0.4 | n |  | TRUE
21 | bus_LV_362-29_0_6_node_10 | 0.4 | n |  | TRUE
22 | bus_LV_362-29_0_6_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_362-29_0_6_node_29 | 0.4 | n |  | TRUE
24 | bus_LV_362-29_0_6_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_362-29_0_6_node_25 | 0.4 | n |  | TRUE
26 | bus_LV_362-29_0_6_node_11 | 0.4 | n |  | TRUE
27 | bus_LV_362-29_0_6_node_12 | 0.4 | n |  | TRUE
28 | bus_LV_362-29_0_6_node_13 | 0.4 | n |  | TRUE
29 | bus_LV_362-29_0_6_node_14 | 0.4 | n |  | TRUE
30 | bus_LV_362-29_0_6_node_15 | 0.4 | n |  | TRUE
31 | bus_LV_362-29_0_6_node_16 | 0.4 | n |  | TRUE
32 | bus_LV_362-29_0_6_node_17 | 0.4 | n |  | TRUE
33 | bus_LV_362-29_0_6_node_34 | 0.4 | n |  | TRUE
34 | bus_LV_362-29_0_6_node_37 | 0.4 | n |  | TRUE
35 | bus_LV_362-29_0_6_node_96 | 0.4 | n |  | TRUE
36 | bus_LV_362-29_0_6_node_20 | 0.4 | n |  | TRUE
37 | bus_LV_362-29_0_6_node_21 | 0.4 | n |  | TRUE
38 | bus_LV_362-29_0_6_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_362-29_0_6_node_22 | 0.4 | n |  | TRUE
40 | bus_LV_362-29_0_6_node_23 | 0.4 | n |  | TRUE
41 | bus_LV_362-29_0_6_node_24 | 0.4 | n |  | TRUE
42 | bus_LV_362-29_0_6_node_28 | 0.4 | n |  | TRUE
43 | bus_LV_362-29_0_6_node_90 | 0.4 | n |  | TRUE
44 | bus_LV_362-29_0_6_node_89 | 0.4 | n |  | TRUE
45 | bus_LV_362-29_0_6_node_95 | 0.4 | n |  | TRUE
46 | bus_LV_362-29_0_6_node_33 | 0.4 | n |  | TRUE
47 | bus_LV_362-29_0_6_node_38 | 0.4 | n |  | TRUE
48 | bus_LV_362-29_0_6_node_39 | 0.4 | n |  | TRUE
49 | bus_LV_362-29_0_6_node_40 | 0.4 | n |  | TRUE
50 | bus_LV_362-29_0_6_node_41 | 0.4 | n |  | TRUE
51 | bus_LV_362-29_0_6_node_42 | 0.4 | n |  | TRUE
52 | bus_LV_362-29_0_6_node_43 | 0.4 | n |  | TRUE
53 | bus_LV_362-29_0_6_node_81 | 0.4 | n |  | TRUE
54 | bus_LV_362-29_0_6_node_69 | 0.4 | n |  | TRUE
55 | bus_LV_362-29_0_6_node_45 | 0.4 | n |  | TRUE
56 | bus_LV_362-29_0_6_node_67 | 0.4 | n |  | TRUE
57 | bus_LV_362-29_0_6_node_51 | 0.4 | n |  | TRUE
58 | bus_LV_362-29_0_6_node_48 | 0.4 | n |  | TRUE
59 | bus_LV_362-29_0_6_node_46 | 0.4 | n |  | TRUE
60 | bus_LV_362-29_0_6_node_50 | 0.4 | n |  | TRUE
61 | bus_LV_362-29_0_6_node_84 | 0.4 | n |  | TRUE
62 | bus_LV_362-29_0_6_node_85 | 0.4 | n |  | TRUE
63 | bus_LV_362-29_0_6_node_83 | 0.4 | n |  | TRUE
64 | bus_LV_362-29_0_6_node_58 | 0.4 | n |  | TRUE
65 | bus_LV_362-29_0_6_node_76 | 0.4 | n |  | TRUE
66 | bus_LV_362-29_0_6_node_53 | 0.4 | n |  | TRUE
67 | bus_LV_362-29_0_6_node_54 | 0.4 | n |  | TRUE
68 | bus_LV_362-29_0_6_node_55 | 0.4 | n |  | TRUE
69 | bus_LV_362-29_0_6_node_56 | 0.4 | n |  | TRUE
70 | bus_LV_362-29_0_6_node_57 | 0.4 | n |  | TRUE
71 | bus_LV_362-29_0_6_node_79 | 0.4 | n |  | TRUE
72 | bus_LV_362-29_0_6_node_80 | 0.4 | n |  | TRUE
73 | bus_LV_362-29_0_6_node_66 | 0.4 | n |  | TRUE
74 | bus_LV_362-29_0_6_node_59 | 0.4 | n |  | TRUE
75 | bus_LV_362-29_0_6_node_60 | 0.4 | n |  | TRUE
76 | bus_LV_362-29_0_6_node_61 | 0.4 | n |  | TRUE
77 | bus_LV_362-29_0_6_node_62 | 0.4 | n |  | TRUE
78 | bus_LV_362-29_0_6_node_63 | 0.4 | n |  | TRUE
79 | bus_LV_362-29_0_6_node_64 | 0.4 | n |  | TRUE
80 | bus_LV_362-29_0_6_node_78 | 0.4 | n |  | TRUE
81 | bus_LV_362-29_0_6_node_65 | 0.4 | n |  | TRUE
82 | bus_LV_362-29_0_6_node_68 | 0.4 | n |  | TRUE
83 | bus_LV_362-29_0_6_node_94 | 0.4 | n |  | TRUE
84 | bus_LV_362-29_0_6_node_70 | 0.4 | n |  | TRUE
85 | bus_LV_362-29_0_6_node_71 | 0.4 | n |  | TRUE
86 | bus_LV_362-29_0_6_node_72 | 0.4 | n |  | TRUE
87 | bus_LV_362-29_0_6_node_73 | 0.4 | n |  | TRUE
88 | bus_LV_362-29_0_6_node_74 | 0.4 | n |  | TRUE
89 | bus_LV_362-29_0_6_node_86 | 0.4 | n |  | TRUE
90 | bus_LV_362-29_0_6_node_87 | 0.4 | n |  | TRUE
91 | bus_LV_362-29_0_6_node_88 | 0.4 | n |  | TRUE
92 | bus_MV_602_0_node_96 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_362-29_0_6_load_0 | 0 | 0.012184 | 0.0030536 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_362-29_0_6_load_1 | 1 | 0.0090391 | 0.0022654 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_362-29_0_6_load_3 | 3 | 0.0092935 | 0.0023292 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_362-29_0_6_load_31 | 6 | 0.017763 | 0.0044518 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_362-29_0_6_load_49 | 7 | 0.015522 | 0.0038902 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_362-29_0_6_load_91 | 8 | 0.016993 | 0.0042589 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_362-29_0_6_load_75 | 12 | 0.0061975 | 0.0015532 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_362-29_0_6_load_47 | 13 | 0.0049068 | 0.0012298 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_362-29_0_6_load_93 | 14 | 0.0038055 | 0.00095376 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_362-29_0_6_load_26 | 15 | 0.0048616 | 0.0012184 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_362-29_0_6_load_92 | 16 | 0.0040327 | 0.0010107 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_362-29_0_6_load_6 | 17 | 0.017989 | 0.0045084 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_362-29_0_6_load_7 | 18 | 0.0019303 | 0.00048379 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_362-29_0_6_load_8 | 19 | 0.0049083 | 0.0012301 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_362-29_0_6_load_9 | 20 | 0.0010753 | 0.00026951 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_362-29_0_6_load_10 | 21 | 0.0044403 | 0.0011128 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_362-29_0_6_load_18 | 22 | 0.014601 | 0.0036593 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_362-29_0_6_load_29 | 23 | 0.01196 | 0.0029975 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_362-29_0_6_load_25 | 25 | 0.0063369 | 0.0015882 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_362-29_0_6_load_11 | 26 | 0.014691 | 0.0036819 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_362-29_0_6_load_12 | 27 | 0.0021009 | 0.00052655 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_362-29_0_6_load_14 | 29 | 0.015407 | 0.0038613 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_362-29_0_6_load_15 | 30 | 0.0035525 | 0.00089035 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_362-29_0_6_load_16 | 31 | 0.0025647 | 0.00064277 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_362-29_0_6_load_34 | 33 | 0.0028753 | 0.00072062 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_362-29_0_6_load_37 | 34 | 0.015927 | 0.0039918 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_362-29_0_6_load_96 | 35 | 0.034 | 0.0085211 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_362-29_0_6_load_30 | 38 | 0.0039942 | 0.001001 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_362-29_0_6_load_22 | 39 | 0.0077963 | 0.0019539 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_362-29_0_6_load_23 | 40 | 0.011812 | 0.0029605 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_362-29_0_6_load_89 | 44 | 0.0083595 | 0.0020951 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_362-29_0_6_load_95 | 45 | 0.0079826 | 0.0020006 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_362-29_0_6_load_33 | 46 | 0.078314 | 0.019627 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_362-29_0_6_load_38 | 47 | 0.0025722 | 0.00064465 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_362-29_0_6_load_39 | 48 | 0.0022347 | 0.00056006 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_362-29_0_6_load_41 | 50 | 0.0026594 | 0.00066652 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_362-29_0_6_load_42 | 51 | 0.0026294 | 0.00065898 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_362-29_0_6_load_81 | 53 | 0.0015414 | 0.00038632 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_362-29_0_6_load_69 | 54 | 0.0027572 | 0.00069102 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_362-29_0_6_load_67 | 56 | 0.0036367 | 0.00091144 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_362-29_0_6_load_51 | 57 | 0.001421 | 0.00035614 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_362-29_0_6_load_46 | 59 | 0.026388 | 0.0066135 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_362-29_0_6_load_50 | 60 | 0.0015303 | 0.00038354 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_362-29_0_6_load_85 | 62 | 0.0014218 | 0.00035635 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_362-29_0_6_load_83 | 63 | 0.011943 | 0.0029932 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_362-29_0_6_load_58 | 64 | 0.0025329 | 0.00063481 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_362-29_0_6_load_76 | 65 | 0.0054935 | 0.0013768 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_362-29_0_6_load_53 | 66 | 0.0034913 | 0.000875 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_362-29_0_6_load_54 | 67 | 0.0035212 | 0.00088251 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_362-29_0_6_load_56 | 69 | 0.0035002 | 0.00087724 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_362-29_0_6_load_57 | 70 | 0.0069508 | 0.001742 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_362-29_0_6_load_79 | 71 | 0.0025574 | 0.00064095 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_362-29_0_6_load_80 | 72 | 0.0021415 | 0.0005367 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_362-29_0_6_load_66 | 73 | 0.0050833 | 0.001274 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_362-29_0_6_load_59 | 74 | 0.0036249 | 0.00090848 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_362-29_0_6_load_60 | 75 | 0.0023085 | 0.00057856 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_362-29_0_6_load_61 | 76 | 0.0050071 | 0.0012549 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_362-29_0_6_load_62 | 77 | 0.0034689 | 0.00086939 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_362-29_0_6_load_63 | 78 | 0.002611 | 0.00065438 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_362-29_0_6_load_64 | 79 | 0.0024622 | 0.00061709 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_362-29_0_6_load_78 | 80 | 0.0020018 | 0.00050171 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_362-29_0_6_load_65 | 81 | 0.0014078 | 0.00035282 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_362-29_0_6_load_94 | 83 | 0.0014834 | 0.00037177 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_362-29_0_6_load_70 | 84 | 0.0080533 | 0.0020183 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_362-29_0_6_load_71 | 85 | 0.0047752 | 0.0011968 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_362-29_0_6_load_72 | 86 | 0.0051895 | 0.0013006 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_362-29_0_6_load_73 | 87 | 0.004718 | 0.0011824 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_362-29_0_6_load_74 | 88 | 0.0068201 | 0.0017093 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_362-29_0_6_load_86 | 89 | 0.0052905 | 0.0013259 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_362-29_0_6_load_87 | 90 | 0.0051291 | 0.0012855 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_362-29_0_6_load_88 | 91 | 0.0015749 | 0.00039471 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 3 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_362-29_0_6_line_0 |  | 0 | 1 | 0.005219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
1 | LV_362-29_0_6_line_1 |  | 0 | 2 | 0.021856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_362-29_0_6_line_2 |  | 1 | 3 | 0.021724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_362-29_0_6_line_3 |  | 2 | 4 | 0.019943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_362-29_0_6_line_4 |  | 2 | 5 | 0.013092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_362-29_0_6_line_5 |  | 3 | 6 | 0.0098253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_362-29_0_6_line_6 |  | 4 | 7 | 0.062626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_362-29_0_6_line_7 |  | 5 | 8 | 0.025568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_362-29_0_6_line_8 |  | 6 | 9 | 0.025339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_362-29_0_6_line_9 |  | 7 | 13 | 0.021265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_362-29_0_6_line_10 |  | 8 | 16 | 0.012575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_362-29_0_6_line_11 |  | 9 | 46 | 0.019049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_362-29_0_6_line_12 |  | 9 | 33 | 0.012021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_362-29_0_6_line_13 |  | 10 | 11 | 0.009286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_362-29_0_6_line_14 |  | 10 | 12 | 0.018321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_362-29_0_6_line_15 |  | 11 | 64 | 0.047594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_362-29_0_6_line_16 |  | 12 | 65 | 0.010355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_362-29_0_6_line_17 |  | 13 | 59 | 0.022305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_362-29_0_6_line_18 |  | 14 | 15 | 0.0096244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_362-29_0_6_line_19 |  | 15 | 41 | 0.011973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_362-29_0_6_line_20 |  | 16 | 43 | 0.011051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_362-29_0_6_line_21 |  | 17 | 18 | 0.0087634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_362-29_0_6_line_22 |  | 17 | 19 | 0.0099858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_362-29_0_6_line_23 |  | 18 | 20 | 0.016412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_362-29_0_6_line_24 |  | 19 | 21 | 0.012402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_362-29_0_6_line_25 |  | 20 | 22 | 0.022153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_362-29_0_6_line_26 |  | 21 | 23 | 0.0062909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_362-29_0_6_line_27 |  | 22 | 24 | 0.0048029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_362-29_0_6_line_28 |  | 23 | 25 | 0.0053162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_362-29_0_6_line_29 |  | 24 | 36 | 0.046902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_362-29_0_6_line_30 |  | 24 | 37 | 0.06942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_362-29_0_6_line_31 |  | 25 | 40 | 0.027417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_362-29_0_6_line_32 |  | 26 | 27 | 0.0012095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_362-29_0_6_line_33 |  | 26 | 28 | 0.043099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_362-29_0_6_line_34 |  | 27 | 29 | 0.036517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_362-29_0_6_line_35 |  | 28 | 30 | 0.034179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_362-29_0_6_line_36 |  | 28 | 31 | 0.03738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_362-29_0_6_line_37 |  | 28 | 32 | 0.089523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_362-29_0_6_line_38 |  | 29 | 33 | 0.00055585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_362-29_0_6_line_39 |  | 31 | 34 | 0.025462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_362-29_0_6_line_40 |  | 32 | 35 | 0.013156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_362-29_0_6_line_41 |  | 34 | 36 | 0.011011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_362-29_0_6_line_42 |  | 37 | 38 | 0.072689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_362-29_0_6_line_43 |  | 39 | 40 | 0.01434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_362-29_0_6_line_44 |  | 39 | 41 | 0.030332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_362-29_0_6_line_45 |  | 42 | 43 | 0.029432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_362-29_0_6_line_46 |  | 42 | 44 | 0.032795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_362-29_0_6_line_47 |  | 43 | 45 | 0.012427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_362-29_0_6_line_48 |  | 47 | 48 | 0.013095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_362-29_0_6_line_49 |  | 47 | 49 | 0.016873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_362-29_0_6_line_50 |  | 48 | 50 | 0.020286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_362-29_0_6_line_51 |  | 49 | 51 | 0.025306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_362-29_0_6_line_52 |  | 49 | 52 | 0.032601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_362-29_0_6_line_53 |  | 50 | 53 | 0.011837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_362-29_0_6_line_54 |  | 52 | 54 | 0.033853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_362-29_0_6_line_55 |  | 53 | 55 | 0.044376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_362-29_0_6_line_56 |  | 54 | 56 | 0.0088788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_362-29_0_6_line_57 |  | 55 | 57 | 0.044004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_362-29_0_6_line_58 |  | 56 | 82 | 0.12646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_362-29_0_6_line_59 |  | 56 | 73 | 0.019778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_362-29_0_6_line_60 |  | 57 | 58 | 0.0085529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_362-29_0_6_line_61 |  | 58 | 60 | 0.025554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_362-29_0_6_line_62 |  | 58 | 59 | 0.047452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_362-29_0_6_line_63 |  | 60 | 61 | 0.011069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_362-29_0_6_line_64 |  | 61 | 62 | 0.015316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_362-29_0_6_line_65 |  | 61 | 63 | 0.0038787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
66 | LV_362-29_0_6_line_66 |  | 62 | 91 | 0.0036235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_362-29_0_6_line_67 |  | 63 | 81 | 0.0095114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
68 | LV_362-29_0_6_line_68 |  | 64 | 68 | 0.013047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_362-29_0_6_line_69 |  | 65 | 87 | 0.0045434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_362-29_0_6_line_70 |  | 66 | 67 | 0.019583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_362-29_0_6_line_71 |  | 66 | 68 | 0.017692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_362-29_0_6_line_72 |  | 67 | 69 | 0.0095641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_362-29_0_6_line_73 |  | 68 | 70 | 0.037072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_362-29_0_6_line_74 |  | 69 | 71 | 0.00049444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_362-29_0_6_line_75 |  | 71 | 72 | 0.0067277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_362-29_0_6_line_76 |  | 72 | 80 | 0.0059324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_362-29_0_6_line_77 |  | 74 | 75 | 0.0088396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
78 | LV_362-29_0_6_line_78 |  | 74 | 76 | 0.019081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_362-29_0_6_line_79 |  | 75 | 77 | 0.00094796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
80 | LV_362-29_0_6_line_80 |  | 76 | 78 | 0.011094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_362-29_0_6_line_81 |  | 77 | 79 | 0.0017374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
82 | LV_362-29_0_6_line_82 |  | 78 | 80 | 0.0064696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_362-29_0_6_line_83 |  | 79 | 81 | 0.0091395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
84 | LV_362-29_0_6_line_84 |  | 82 | 83 | 0.037744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_362-29_0_6_line_85 |  | 84 | 85 | 0.012253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_362-29_0_6_line_86 |  | 84 | 86 | 0.013291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_362-29_0_6_line_87 |  | 85 | 87 | 0.0085832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_362-29_0_6_line_88 |  | 86 | 88 | 0.00048386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_362-29_0_6_line_89 |  | 88 | 89 | 0.0086178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_362-29_0_6_line_90 |  | 89 | 90 | 0.015957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_362-29_0_6_trafo_3 | 0.63 MVA 20/0.4 kV | 92 | 3 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2603654.1856 | 1203090.2555 | 2603658.8594 | 1203087.9331
1 | 2603633.6604 | 1203097.5691 | 2603644.3145 | 1203094.3293 | 2603648.2869 | 1203093.1866 | 2603654.1856 | 1203090.2555
2 | 2603658.8594 | 1203087.9331 | 2603664.7113 | 1203085.0253 | 2603679.2654 | 1203080.6779
3 | 2603625.1737 | 1203115.5293 | 2603629.5986 | 1203108.3058 | 2603633.6604 | 1203097.5691
4 | 2603621.3978 | 1203093.3817 | 2603626.8071 | 1203094.1409 | 2603633.6604 | 1203097.5691
5 | 2603679.2654 | 1203080.6779 | 2603688.6797 | 1203077.8658
6 | 2603625.1737 | 1203115.5293 | 2603630.0183 | 1203119.0897 | 2603631.2133 | 1203118.2233 | 2603633.0094 | 1203117.5351 | 2603635.0259 | 1203117.1249 | 2603637.7194 | 1203117.0154 | 2603640.4963 | 1203117.5062 | 2603643.166 | 1203119.0086 | 2603673.4019 | 1203148.9857
7 | 2603621.3978 | 1203093.3817 | 2603615.9798 | 1203094.3568 | 2603610.0063 | 1203095.565 | 2603596.4941 | 1203099.1084
8 | 2603712.959 | 1203070.6134 | 2603688.6797 | 1203077.8658
9 | 2603673.4019 | 1203148.9857 | 2603675.7038 | 1203151.2679 | 2603689.4406 | 1203162.9361
10 | 2603596.4941 | 1203099.1084 | 2603584.3308 | 1203102.298
11 | 2603712.959 | 1203070.6134 | 2603718.9284 | 1203088.7047
12 | 2603712.959 | 1203070.6134 | 2603724.4559 | 1203067.1026
13 | 2603577.324 | 1203165.6059 | 2603570.2445 | 1203171.6384
14 | 2603577.324 | 1203165.6059 | 2603593.4871 | 1203174.2312 | 2603593.4871 | 1203174.2312
15 | 2603570.2445 | 1203171.6384 | 2603584.5375 | 1203217.0352
16 | 2603593.4871 | 1203174.2312 | 2603603.7026 | 1203172.5355
17 | 2603706.8882 | 1203176.7962 | 2603700.5102 | 1203172.3387 | 2603689.4406 | 1203162.9361
18 | 2603576.1625 | 1203057.1885 | 2603584.4408 | 1203062.0976
19 | 2603565.8641 | 1203051.0816 | 2603576.1625 | 1203057.1885
20 | 2603574.0187 | 1203106.2718 | 2603584.3308 | 1203102.298 | 2603584.3308 | 1203102.298
21 | 2603658.8899 | 1203000.0924 | 2603666.5746 | 1202995.8803
22 | 2603658.8899 | 1203000.0924 | 2603650.1332 | 1203004.8921
23 | 2603666.5746 | 1202995.8803 | 2603680.966 | 1202987.992
24 | 2603639.2573 | 1203010.8534 | 2603650.1332 | 1203004.8921
25 | 2603702.7467 | 1202984.3143 | 2603681.9354 | 1202987.4607 | 2603680.966 | 1202987.992
26 | 2603639.2573 | 1203010.8534 | 2603633.7408 | 1203013.8771
27 | 2603707.4957 | 1202983.5963 | 2603702.7467 | 1202984.3143
28 | 2603629.079 | 1203016.4323 | 2603633.7408 | 1203013.8771
29 | 2603707.4957 | 1202983.5963 | 2603711.4144 | 1202983.3541 | 2603754.3891 | 1202983.0692
30 | 2603682.2279 | 1202919.0349 | 2603696.3139 | 1202953.3732 | 2603703.8431 | 1202971.721 | 2603706.13 | 1202977.3032 | 2603707.4957 | 1202983.5963
31 | 2603605.0371 | 1203029.6101 | 2603629.079 | 1203016.4323
32 | 2603759.9125 | 1203056.2753 | 2603761.0693 | 1203055.922
33 | 2603800.9499 | 1203039.7955 | 2603798.3621 | 1203041.1502 | 2603791.9077 | 1203044.548 | 2603785.2027 | 1203047.3453 | 2603766.2222 | 1203054.3485 | 2603761.0693 | 1203055.922
34 | 2603759.9125 | 1203056.2753 | 2603724.9875 | 1203066.9403
35 | 2603800.9499 | 1203039.7955 | 2603803.6899 | 1203038.3409 | 2603807.3661 | 1203036.3977 | 2603811.9639 | 1203033.0988 | 2603828.7379 | 1203020.0361
36 | 2603800.9499 | 1203039.7955 | 2603779.0102 | 1203009.5319
37 | 2603800.9499 | 1203039.7955 | 2603842.6518 | 1203102.3 | 2603841.5996 | 1203105.8679 | 2603841.5593 | 1203109.392 | 2603842.5387 | 1203112.7167 | 2603844.6063 | 1203115.753
38 | 2603724.4559 | 1203067.1026 | 2603724.9875 | 1203066.9403
39 | 2603779.0102 | 1203009.5319 | 2603767.2948 | 1202993.3717 | 2603762.9945 | 1202989.9388
40 | 2603844.6063 | 1203115.753 | 2603842.63 | 1203124.7899 | 2603842.7873 | 1203128.6922
41 | 2603754.3891 | 1202983.0692 | 2603762.9945 | 1202989.9388
42 | 2603682.2279 | 1202919.0349 | 2603612.0155 | 1202937.848
43 | 2603592.4622 | 1203036.5027 | 2603605.0371 | 1203029.6101
44 | 2603565.8641 | 1203051.0816 | 2603592.4622 | 1203036.5027
45 | 2603546.3174 | 1203116.4167 | 2603557.2607 | 1203112.7433 | 2603574.0187 | 1203106.2718
46 | 2603546.3174 | 1203116.4167 | 2603560.0264 | 1203146.2093
47 | 2603574.0187 | 1203106.2718 | 2603579.0794 | 1203117.6254
48 | 2603731.2655 | 1203263.5707 | 2603730.5188 | 1203258.4593 | 2603730.3182 | 1203250.5326 | 2603730.3182 | 1203250.5326
49 | 2603727.9572 | 1203279.3135 | 2603731.5288 | 1203274.0239 | 2603731.7386 | 1203266.809 | 2603731.2655 | 1203263.5707
50 | 2603747.1312 | 1203240.4561 | 2603731.5449 | 1203247.6763 | 2603730.3182 | 1203250.5326
51 | 2603727.9572 | 1203279.3135 | 2603742.5143 | 1203275.7204 | 2603752.5274 | 1203273.2543
52 | 2603727.9572 | 1203279.3135 | 2603719.5486 | 1203281.3539 | 2603706.1761 | 1203288.872 | 2603701.3632 | 1203296.0841
53 | 2603757.8718 | 1203235.4807 | 2603747.1312 | 1203240.4561
54 | 2603701.3632 | 1203296.0841 | 2603669.0556 | 1203285.9715
55 | 2603796.95 | 1203218.8122 | 2603795.1362 | 1203223.6248 | 2603791.9928 | 1203225.446 | 2603760.473 | 1203234.2757 | 2603757.8718 | 1203235.4807
56 | 2603660.5822 | 1203283.3192 | 2603669.0556 | 1203285.9715
57 | 2603796.95 | 1203218.8122 | 2603789.0766 | 1203216.7062 | 2603756.8352 | 1203201.0232
58 | 2603635.1578 | 1203367.6385 | 2603633.2872 | 1203353.1296 | 2603629.2111 | 1203337.0518 | 2603621.6732 | 1203320.9719 | 2603614.4243 | 1203304.9922 | 2603613.1664 | 1203296.4424 | 2603616.8216 | 1203291.1084 | 2603624.3784 | 1203288.3669 | 2603641.1641 | 1203285.7533 | 2603658.1389 | 1203284.963 | 2603660.5822 | 1203283.3192
59 | 2603660.5822 | 1203283.3192 | 2603644.5452 | 1203280.7637 | 2603641.0077 | 1203280.6869
60 | 2603749.1439 | 1203197.282 | 2603756.8352 | 1203201.0232
61 | 2603749.1439 | 1203197.282 | 2603731.2304 | 1203202.3293 | 2603727.8702 | 1203208.4053
62 | 2603749.1439 | 1203197.282 | 2603729.0718 | 1203186.1414 | 2603715.6828 | 1203182.9426 | 2603706.8882 | 1203176.7962
63 | 2603717.8871 | 1203211.3594 | 2603726.9344 | 1203210.0975 | 2603727.8702 | 1203208.4053
64 | 2603717.8871 | 1203211.3594 | 2603721.9562 | 1203226.1254
65 | 2603717.8871 | 1203211.3594 | 2603714.0458 | 1203211.8972
66 | 2603724.4654 | 1203228.7395 | 2603721.9562 | 1203226.1254
67 | 2603714.0458 | 1203211.8972 | 2603704.6263 | 1203213.2159
68 | 2603588.4558 | 1203229.4804 | 2603584.5375 | 1203217.0352
69 | 2603603.7026 | 1203172.5355 | 2603608.1846 | 1203171.7914
70 | 2603605.9769 | 1203227.0274 | 2603625.3707 | 1203224.3121
71 | 2603588.4558 | 1203229.4804 | 2603605.9769 | 1203227.0274
72 | 2603634.8425 | 1203222.986 | 2603625.3707 | 1203224.3121
73 | 2603588.4558 | 1203229.4804 | 2603600.39 | 1203264.5785
74 | 2603635.3321 | 1203222.9175 | 2603634.8425 | 1203222.986
75 | 2603641.9948 | 1203221.9847 | 2603635.3321 | 1203222.9175
76 | 2603647.87 | 1203221.1621 | 2603641.9948 | 1203221.9847
77 | 2603684.1615 | 1203216.0811 | 2603692.9156 | 1203214.8555
78 | 2603684.1615 | 1203216.0811 | 2603665.2643 | 1203218.7268
79 | 2603693.8544 | 1203214.7241 | 2603692.9156 | 1203214.8555
80 | 2603665.2643 | 1203218.7268 | 2603654.277 | 1203220.2651
81 | 2603693.8544 | 1203214.7241 | 2603695.575 | 1203214.4832
82 | 2603654.277 | 1203220.2651 | 2603647.87 | 1203221.1621
83 | 2603704.6263 | 1203213.2159 | 2603695.575 | 1203214.4832
84 | 2603635.1578 | 1203367.6385 | 2603644.2322 | 1203371.4683 | 2603665.0387 | 1203390.0472
85 | 2603628.7393 | 1203168.3793 | 2603616.6519 | 1203170.3858
86 | 2603628.7393 | 1203168.3793 | 2603641.851 | 1203166.2028
87 | 2603608.1846 | 1203171.7914 | 2603616.6519 | 1203170.3858
88 | 2603642.3283 | 1203166.1235 | 2603641.851 | 1203166.2028
89 | 2603642.3283 | 1203166.1235 | 2603650.8298 | 1203164.7123
90 | 2603666.5712 | 1203162.0992 | 2603650.8298 | 1203164.7123

## bus_geodata
| x | y | coords
0 | 2603654.1856 | 1203090.2555
1 | 2603658.8594 | 1203087.9331
2 | 2603633.6604 | 1203097.5691
3 | 2603679.2654 | 1203080.6779
4 | 2603625.1737 | 1203115.5293
5 | 2603621.3978 | 1203093.3817
6 | 2603688.6797 | 1203077.8658
7 | 2603673.4019 | 1203148.9857
8 | 2603596.4941 | 1203099.1084
9 | 2603712.959 | 1203070.6134
10 | 2603577.324 | 1203165.6059
11 | 2603570.2445 | 1203171.6384
12 | 2603593.4871 | 1203174.2312
13 | 2603689.4406 | 1203162.9361
14 | 2603584.4408 | 1203062.0976
15 | 2603576.1625 | 1203057.1885
16 | 2603584.3308 | 1203102.298
17 | 2603658.8899 | 1203000.0924
18 | 2603666.5746 | 1202995.8803
19 | 2603650.1332 | 1203004.8921
20 | 2603680.9661 | 1202987.992
21 | 2603639.2573 | 1203010.8534
22 | 2603702.7467 | 1202984.3143
23 | 2603633.7408 | 1203013.8771
24 | 2603707.4957 | 1202983.5963
25 | 2603629.079 | 1203016.4323
26 | 2603761.0693 | 1203055.922
27 | 2603759.9125 | 1203056.2753
28 | 2603800.9499 | 1203039.7955
29 | 2603724.9875 | 1203066.9403
30 | 2603828.7379 | 1203020.0361
31 | 2603779.0102 | 1203009.5319
32 | 2603844.6063 | 1203115.753
33 | 2603724.4559 | 1203067.1026
34 | 2603762.9945 | 1202989.9388
35 | 2603842.7873 | 1203128.6922
36 | 2603754.3891 | 1202983.0692
37 | 2603682.2279 | 1202919.0349
38 | 2603612.0155 | 1202937.848
39 | 2603592.4622 | 1203036.5027
40 | 2603605.0371 | 1203029.6101
41 | 2603565.8641 | 1203051.0816
42 | 2603546.3174 | 1203116.4167
43 | 2603574.0187 | 1203106.2718
44 | 2603560.0264 | 1203146.2093
45 | 2603579.0794 | 1203117.6254
46 | 2603718.9284 | 1203088.7047
47 | 2603731.2655 | 1203263.5707
48 | 2603730.3182 | 1203250.5326
49 | 2603727.9572 | 1203279.3135
50 | 2603747.1312 | 1203240.4561
51 | 2603752.5274 | 1203273.2543
52 | 2603701.3632 | 1203296.0841
53 | 2603757.8718 | 1203235.4807
54 | 2603669.0557 | 1203285.9715
55 | 2603796.95 | 1203218.8122
56 | 2603660.5822 | 1203283.3192
57 | 2603756.8352 | 1203201.0232
58 | 2603749.1439 | 1203197.282
59 | 2603706.8882 | 1203176.7962
60 | 2603727.8702 | 1203208.4053
61 | 2603717.8871 | 1203211.3594
62 | 2603721.9562 | 1203226.1254
63 | 2603714.0458 | 1203211.8972
64 | 2603584.5375 | 1203217.0352
65 | 2603603.7026 | 1203172.5355
66 | 2603605.9769 | 1203227.0274
67 | 2603625.3707 | 1203224.3121
68 | 2603588.4558 | 1203229.4804
69 | 2603634.8425 | 1203222.986
70 | 2603600.39 | 1203264.5785
71 | 2603635.3321 | 1203222.9175
72 | 2603641.9948 | 1203221.9847
73 | 2603641.0077 | 1203280.6869
74 | 2603684.1615 | 1203216.0811
75 | 2603692.9156 | 1203214.8555
76 | 2603665.2643 | 1203218.7268
77 | 2603693.8544 | 1203214.7241
78 | 2603654.277 | 1203220.2651
79 | 2603695.575 | 1203214.4832
80 | 2603647.87 | 1203221.1621
81 | 2603704.6263 | 1203213.2159
82 | 2603635.1578 | 1203367.6385
83 | 2603665.0387 | 1203390.0472
84 | 2603628.7393 | 1203168.3793
85 | 2603616.6519 | 1203170.3858
86 | 2603641.851 | 1203166.2028
87 | 2603608.1846 | 1203171.7914
88 | 2603642.3283 | 1203166.1235
89 | 2603650.8298 | 1203164.7123
90 | 2603666.5712 | 1203162.0992
91 | 2603724.4654 | 1203228.7395
92 | 2603712.959 | 1203070.6134

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1