## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_362-7_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_362-7_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_362-7_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_362-7_0_4_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_362-7_0_4_node_36 | 0.4 | n |  | TRUE
5 | bus_LV_362-7_0_4_node_33 | 0.4 | n |  | TRUE
6 | bus_LV_362-7_0_4_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_362-7_0_4_node_22 | 0.4 | n |  | TRUE
8 | bus_LV_362-7_0_4_node_73 | 0.4 | n |  | TRUE
9 | bus_LV_362-7_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_362-7_0_4_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_362-7_0_4_node_60 | 0.4 | n |  | TRUE
12 | bus_LV_362-7_0_4_node_57 | 0.4 | n |  | TRUE
13 | bus_LV_362-7_0_4_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_362-7_0_4_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_362-7_0_4_node_67 | 0.4 | n |  | TRUE
16 | bus_LV_362-7_0_4_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_362-7_0_4_node_66 | 0.4 | n |  | TRUE
18 | bus_LV_362-7_0_4_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_362-7_0_4_node_62 | 0.4 | n |  | TRUE
20 | bus_LV_362-7_0_4_node_63 | 0.4 | n |  | TRUE
21 | bus_LV_362-7_0_4_node_64 | 0.4 | n |  | TRUE
22 | bus_LV_362-7_0_4_node_34 | 0.4 | n |  | TRUE
23 | bus_LV_362-7_0_4_node_23 | 0.4 | n |  | TRUE
24 | bus_LV_362-7_0_4_node_68 | 0.4 | n |  | TRUE
25 | bus_LV_362-7_0_4_node_52 | 0.4 | n |  | TRUE
26 | bus_LV_362-7_0_4_node_75 | 0.4 | n |  | TRUE
27 | bus_LV_362-7_0_4_node_49 | 0.4 | n |  | TRUE
28 | bus_LV_362-7_0_4_node_56 | 0.4 | n |  | TRUE
29 | bus_LV_362-7_0_4_node_61 | 0.4 | n |  | TRUE
30 | bus_LV_362-7_0_4_node_46 | 0.4 | n |  | TRUE
31 | bus_LV_362-7_0_4_node_45 | 0.4 | n |  | TRUE
32 | bus_LV_362-7_0_4_node_15 | 0.4 | n |  | TRUE
33 | bus_LV_362-7_0_4_node_16 | 0.4 | n |  | TRUE
34 | bus_LV_362-7_0_4_node_17 | 0.4 | n |  | TRUE
35 | bus_LV_362-7_0_4_node_18 | 0.4 | n |  | TRUE
36 | bus_LV_362-7_0_4_node_19 | 0.4 | n |  | TRUE
37 | bus_LV_362-7_0_4_node_20 | 0.4 | n |  | TRUE
38 | bus_LV_362-7_0_4_node_21 | 0.4 | n |  | TRUE
39 | bus_LV_362-7_0_4_node_24 | 0.4 | n |  | TRUE
40 | bus_LV_362-7_0_4_node_25 | 0.4 | n |  | TRUE
41 | bus_LV_362-7_0_4_node_27 | 0.4 | n |  | TRUE
42 | bus_LV_362-7_0_4_node_28 | 0.4 | n |  | TRUE
43 | bus_LV_362-7_0_4_node_30 | 0.4 | n |  | TRUE
44 | bus_LV_362-7_0_4_node_72 | 0.4 | n |  | TRUE
45 | bus_LV_362-7_0_4_node_31 | 0.4 | n |  | TRUE
46 | bus_LV_362-7_0_4_node_32 | 0.4 | n |  | TRUE
47 | bus_LV_362-7_0_4_node_71 | 0.4 | n |  | TRUE
48 | bus_LV_362-7_0_4_node_69 | 0.4 | n |  | TRUE
49 | bus_LV_362-7_0_4_node_70 | 0.4 | n |  | TRUE
50 | bus_LV_362-7_0_4_node_51 | 0.4 | n |  | TRUE
51 | bus_LV_362-7_0_4_node_74 | 0.4 | n |  | TRUE
52 | bus_LV_362-7_0_4_node_55 | 0.4 | n |  | TRUE
53 | bus_LV_362-7_0_4_node_35 | 0.4 | n |  | TRUE
54 | bus_LV_362-7_0_4_node_42 | 0.4 | n |  | TRUE
55 | bus_LV_362-7_0_4_node_43 | 0.4 | n |  | TRUE
56 | bus_LV_362-7_0_4_node_44 | 0.4 | n |  | TRUE
57 | bus_LV_362-7_0_4_node_40 | 0.4 | n |  | TRUE
58 | bus_LV_362-7_0_4_node_38 | 0.4 | n |  | TRUE
59 | bus_LV_362-7_0_4_node_39 | 0.4 | n |  | TRUE
60 | bus_LV_362-7_0_4_node_41 | 0.4 | n |  | TRUE
61 | bus_LV_362-7_0_4_node_47 | 0.4 | n |  | TRUE
62 | bus_LV_362-7_0_4_node_48 | 0.4 | n |  | TRUE
63 | bus_LV_362-7_0_4_node_50 | 0.4 | n |  | TRUE
64 | bus_LV_362-7_0_4_node_53 | 0.4 | n |  | TRUE
65 | bus_LV_362-7_0_4_node_54 | 0.4 | n |  | TRUE
66 | bus_LV_362-7_0_4_node_58 | 0.4 | n |  | TRUE
67 | bus_LV_362-7_0_4_node_59 | 0.4 | n |  | TRUE
68 | bus_MV_602_0_node_103 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_362-7_0_4_load_0 | 0 | 0.058412 | 0.014639 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_362-7_0_4_load_36 | 4 | 0.0045056 | 0.0011292 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_362-7_0_4_load_33 | 5 | 0.0033196 | 0.00083197 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_362-7_0_4_load_22 | 7 | 0.0034152 | 0.00085593 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_362-7_0_4_load_73 | 8 | 0.0033719 | 0.00084507 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_362-7_0_4_load_57 | 12 | 0.0040006 | 0.0010026 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_362-7_0_4_load_67 | 15 | 0.0048633 | 0.0012189 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_362-7_0_4_load_66 | 17 | 0.0021808 | 0.00054657 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_362-7_0_4_load_62 | 19 | 0.0065224 | 0.0016347 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_362-7_0_4_load_64 | 21 | 0.0059583 | 0.0014933 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_362-7_0_4_load_34 | 22 | 0.0047092 | 0.0011802 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_362-7_0_4_load_23 | 23 | 0.0045609 | 0.0011431 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_362-7_0_4_load_68 | 24 | 0.0099267 | 0.0024879 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_362-7_0_4_load_75 | 26 | 0.011286 | 0.0028284 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_362-7_0_4_load_56 | 28 | 0.0051123 | 0.0012813 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_362-7_0_4_load_61 | 29 | 0.0085598 | 0.0021453 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_362-7_0_4_load_46 | 30 | 0.012094 | 0.0030311 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_362-7_0_4_load_15 | 32 | 0.0042304 | 0.0010602 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_362-7_0_4_load_16 | 33 | 0.0046058 | 0.0011543 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_362-7_0_4_load_17 | 34 | 0.0044276 | 0.0011096 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_362-7_0_4_load_18 | 35 | 0.0046649 | 0.0011691 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_362-7_0_4_load_19 | 36 | 0.0045541 | 0.0011414 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_362-7_0_4_load_20 | 37 | 0.005293 | 0.0013266 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_362-7_0_4_load_21 | 38 | 0.0047346 | 0.0011866 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_362-7_0_4_load_24 | 39 | 0.053242 | 0.013344 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_362-7_0_4_load_27 | 41 | 0.0071233 | 0.0017853 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_362-7_0_4_load_28 | 42 | 0.018499 | 0.0046362 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_362-7_0_4_load_72 | 44 | 0.018211 | 0.004564 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_362-7_0_4_load_31 | 45 | 0.0043829 | 0.0010985 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_362-7_0_4_load_32 | 46 | 0.0019938 | 0.00049969 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_362-7_0_4_load_69 | 48 | 0.018318 | 0.0045908 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_362-7_0_4_load_70 | 49 | 0.018311 | 0.0045892 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_362-7_0_4_load_51 | 50 | 0.0035724 | 0.00089533 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_362-7_0_4_load_74 | 51 | 0.0018573 | 0.00046548 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_362-7_0_4_load_44 | 56 | 0.0088697 | 0.002223 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_362-7_0_4_load_40 | 57 | 0.010337 | 0.0025908 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_362-7_0_4_load_38 | 58 | 0.0058376 | 0.001463 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_362-7_0_4_load_39 | 59 | 0.0049251 | 0.0012343 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_362-7_0_4_load_41 | 60 | 0.0053619 | 0.0013438 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_362-7_0_4_load_47 | 61 | 0.0039789 | 0.00099721 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_362-7_0_4_load_48 | 62 | 0.011522 | 0.0028877 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_362-7_0_4_load_50 | 63 | 0.0055582 | 0.001393 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_362-7_0_4_load_53 | 64 | 0.003098 | 0.00077643 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_362-7_0_4_load_58 | 66 | 0.0030104 | 0.00075447 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_362-7_0_4_load_59 | 67 | 0.0095858 | 0.0024024 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 66 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_362-7_0_4_line_0 |  | 0 | 1 | 0.016742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_362-7_0_4_line_1 |  | 1 | 2 | 0.00319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_362-7_0_4_line_2 |  | 1 | 3 | 0.018672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_362-7_0_4_line_3 |  | 2 | 4 | 0.04127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_362-7_0_4_line_4 |  | 2 | 5 | 0.017077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_362-7_0_4_line_5 |  | 3 | 6 | 0.010452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_362-7_0_4_line_6 |  | 3 | 7 | 0.024461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_362-7_0_4_line_7 |  | 5 | 22 | 0.00032619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_362-7_0_4_line_8 |  | 6 | 8 | 0.01224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_362-7_0_4_line_9 |  | 7 | 23 | 0.014973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_362-7_0_4_line_10 |  | 8 | 9 | 0.011902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_362-7_0_4_line_11 |  | 9 | 10 | 0.047443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_362-7_0_4_line_12 |  | 10 | 11 | 0.027554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_362-7_0_4_line_13 |  | 10 | 12 | 0.022376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_362-7_0_4_line_14 |  | 11 | 24 | 0.023663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_362-7_0_4_line_15 |  | 11 | 25 | 0.035986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_362-7_0_4_line_16 |  | 11 | 18 | 0.011596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_362-7_0_4_line_17 |  | 12 | 28 | 0.022575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_362-7_0_4_line_18 |  | 13 | 14 | 0.021361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_362-7_0_4_line_19 |  | 13 | 15 | 0.013623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_362-7_0_4_line_20 |  | 14 | 20 | 0.010656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_362-7_0_4_line_21 |  | 14 | 21 | 0.0067735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_362-7_0_4_line_22 |  | 15 | 16 | 0.019273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_362-7_0_4_line_23 |  | 16 | 17 | 0.024888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_362-7_0_4_line_24 |  | 18 | 19 | 0.02024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_362-7_0_4_line_25 |  | 19 | 29 | 0.0044597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_362-7_0_4_line_26 |  | 20 | 29 | 0.011165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_362-7_0_4_line_27 |  | 22 | 53 | 0.013995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_362-7_0_4_line_28 |  | 23 | 38 | 0.010298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_362-7_0_4_line_29 |  | 25 | 26 | 0.00059155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_362-7_0_4_line_30 |  | 25 | 27 | 0.037131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_362-7_0_4_line_31 |  | 27 | 50 | 0.026026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_362-7_0_4_line_32 |  | 27 | 61 | 0.01248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_362-7_0_4_line_33 |  | 28 | 66 | 0.018583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_362-7_0_4_line_34 |  | 30 | 31 | 0.020263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_362-7_0_4_line_35 |  | 31 | 56 | 0.0072663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_362-7_0_4_line_36 |  | 32 | 33 | 0.013076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_362-7_0_4_line_37 |  | 32 | 34 | 0.008422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_362-7_0_4_line_38 |  | 33 | 35 | 0.0097934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_362-7_0_4_line_39 |  | 34 | 36 | 0.0091502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_362-7_0_4_line_40 |  | 36 | 37 | 0.0076564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_362-7_0_4_line_41 |  | 37 | 38 | 0.016925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_362-7_0_4_line_42 |  | 39 | 40 | 0.018906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_362-7_0_4_line_43 |  | 40 | 41 | 0.012323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_362-7_0_4_line_44 |  | 40 | 42 | 0.028248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_362-7_0_4_line_45 |  | 41 | 43 | 0.027898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_362-7_0_4_line_46 |  | 42 | 44 | 0.0015816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_362-7_0_4_line_47 |  | 43 | 45 | 0.014503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_362-7_0_4_line_48 |  | 43 | 46 | 0.074836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_362-7_0_4_line_49 |  | 44 | 47 | 0.023223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_362-7_0_4_line_50 |  | 45 | 50 | 0.020826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_362-7_0_4_line_51 |  | 46 | 51 | 0.0062974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_362-7_0_4_line_52 |  | 47 | 49 | 0.030509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_362-7_0_4_line_53 |  | 48 | 49 | 0.001577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_362-7_0_4_line_54 |  | 51 | 52 | 0.049862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_362-7_0_4_line_55 |  | 52 | 65 | 0.032962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_362-7_0_4_line_56 |  | 53 | 54 | 0.012765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_362-7_0_4_line_57 |  | 54 | 57 | 0.018823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_362-7_0_4_line_58 |  | 54 | 55 | 0.014477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_362-7_0_4_line_59 |  | 55 | 56 | 0.018116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_362-7_0_4_line_60 |  | 57 | 58 | 0.014341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_362-7_0_4_line_61 |  | 58 | 59 | 0.0027897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_362-7_0_4_line_62 |  | 59 | 60 | 0.021931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_362-7_0_4_line_63 |  | 61 | 62 | 0.017652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_362-7_0_4_line_64 |  | 62 | 63 | 0.010998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_362-7_0_4_line_65 |  | 64 | 65 | 0.082438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_362-7_0_4_line_66 |  | 66 | 67 | 0.0379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_362-7_0_4_trafo_58 | 0.63 MVA 20/0.4 kV | 68 | 66 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20
0 | 2602869.1356 | 1202935.6075 | 2602885.4567 | 1202931.875
1 | 2602869.1356 | 1202935.6075 | 2602869.8798 | 1202938.7096
2 | 2602850.7058 | 1202938.1781 | 2602858.3534 | 1202936.4919 | 2602860.096 | 1202936.0924 | 2602869.1356 | 1202935.6075
3 | 2602869.8798 | 1202938.7096 | 2602877.2457 | 1202937.5457 | 2602907.9127 | 1202930.5453 | 2602910.1838 | 1202929.9134
4 | 2602869.8798 | 1202938.7096 | 2602873.8755 | 1202955.3127
5 | 2602850.7058 | 1202938.1781 | 2602850.738 | 1202934.376 | 2602850.2982 | 1202931.1408 | 2602849.3105 | 1202927.9052
6 | 2602850.7058 | 1202938.1781 | 2602827.1003 | 1202944.5891
7 | 2602873.9518 | 1202955.6299 | 2602873.8755 | 1202955.3127
8 | 2602849.3105 | 1202927.9052 | 2602848.4059 | 1202926.126 | 2602847.2424 | 1202924.7136 | 2602841.8803 | 1202918.2299
9 | 2602827.1003 | 1202944.5891 | 2602812.6511 | 1202948.5133
10 | 2602833.0356 | 1202910.5105 | 2602836.3218 | 1202912.2351 | 2602839.075 | 1202914.8378 | 2602841.8803 | 1202918.2299
11 | 2602833.0356 | 1202910.5105 | 2602830.8863 | 1202901.8715 | 2602829.9438 | 1202899.6254 | 2602822.5977 | 1202890.6727 | 2602821.32 | 1202889.527 | 2602815.1738 | 1202885.5443 | 2602814.9153 | 1202885.0105 | 2602815.5342 | 1202879.4078 | 2602816.1607 | 1202873.805 | 2602812.5772 | 1202873.3142
12 | 2602808.9978 | 1202847.0317 | 2602807.9927 | 1202848.5654 | 2602807.3755 | 1202850.5217 | 2602806.9866 | 1202852.3448 | 2602806.9099 | 1202853.7566 | 2602807.069 | 1202855.1019 | 2602807.3347 | 1202856.525 | 2602812.5772 | 1202873.3142
13 | 2602812.5772 | 1202873.3142 | 2602804.6417 | 1202871.8765 | 2602802.0852 | 1202871.5418 | 2602799.7189 | 1202871.5074 | 2602796.8122 | 1202871.7062 | 2602793.2052 | 1202872.3938 | 2602790.5239 | 1202873.1306
14 | 2602808.9978 | 1202847.0317 | 2602812.4167 | 1202841.7193 | 2602828.9817 | 1202836.5731
15 | 2602808.9978 | 1202847.0317 | 2602807.9927 | 1202848.5654 | 2602807.3755 | 1202850.5217 | 2602806.9866 | 1202852.3448 | 2602806.9099 | 1202853.7566 | 2602803.3565 | 1202853.6549 | 2602800.4119 | 1202853.5758 | 2602799.4151 | 1202853.542 | 2602796.8814 | 1202853.4741 | 2602796.1053 | 1202853.4515 | 2602795.6262 | 1202852.7843 | 2602794.3031 | 1202850.9271 | 2602793.6415 | 1202849.993 | 2602792.5846 | 1202848.5028 | 2602791.8242 | 1202847.4352 | 2602791.0714 | 1202846.3787 | 2602790.0752 | 1202844.9775 | 2602788.889 | 1202843.3205 | 2602787.9841 | 1202842.0416 | 2602786.4785 | 1202839.9176 | 2602785.6648 | 1202838.7721
16 | 2602808.9978 | 1202847.0317 | 2602816.1133 | 1202844.6114 | 2602820.1995 | 1202844.1575
17 | 2602769.693 | 1202881.6917 | 2602784.1342 | 1202874.991 | 2602788.4795 | 1202873.6923 | 2602790.5239 | 1202873.1306
18 | 2602856.398 | 1202822.2624 | 2602859.4496 | 1202821.5413 | 2602862.4711 | 1202819.9863 | 2602865.5236 | 1202817.1195 | 2602868.3853 | 1202815.6422 | 2602869.7019 | 1202815.1759 | 2602875.3791 | 1202813.1664
19 | 2602875.3791 | 1202813.1664 | 2602876.1153 | 1202817.2801 | 2602879.3353 | 1202826.1582
20 | 2602846.3068 | 1202825.7708 | 2602856.398 | 1202822.2624
21 | 2602856.398 | 1202822.2624 | 2602854.8167 | 1202819.4268 | 2602854.5128 | 1202818.415 | 2602854.0954 | 1202815.9802
22 | 2602888.3993 | 1202843.0554 | 2602881.5031 | 1202832.1351 | 2602879.3353 | 1202826.1582
23 | 2602888.3993 | 1202843.0554 | 2602896.453 | 1202851.7861 | 2602906.764 | 1202859.7197
24 | 2602820.1995 | 1202844.1575 | 2602837.17 | 1202838.8736 | 2602839.5931 | 1202838.4142
25 | 2602843.4941 | 1202836.5753 | 2602842.7861 | 1202837.3643 | 2602842.0402 | 1202837.8309 | 2602841.0889 | 1202838.1306 | 2602839.5931 | 1202838.4142
26 | 2602846.3068 | 1202825.7708 | 2602843.4941 | 1202836.5753
27 | 2602876.7438 | 1202969.3294 | 2602876.3116 | 1202966.2719 | 2602875.9778 | 1202964.0484 | 2602873.9518 | 1202955.6299
28 | 2602812.6511 | 1202948.5133 | 2602802.7134 | 1202951.2123
29 | 2602786.1185 | 1202838.3925 | 2602785.6648 | 1202838.7721
30 | 2602785.6648 | 1202838.7721 | 2602778.5097 | 1202844.761 | 2602777.703 | 1202844.983 | 2602776.8965 | 1202844.9493 | 2602774.6294 | 1202844.1812 | 2602774.0056 | 1202843.7807 | 2602773.42 | 1202843.269 | 2602773.017 | 1202842.6463 | 2602772.3937 | 1202841.1897 | 2602772.1048 | 1202840.7448 | 2602768.4083 | 1202837.4636 | 2602758.5975 | 1202826.7867
31 | 2602758.5975 | 1202826.7867 | 2602738.9357 | 1202843.8394
32 | 2602758.5975 | 1202826.7867 | 2602767.5796 | 1202818.9977 | 2602768.0106 | 1202818.5931
33 | 2602769.693 | 1202881.6917 | 2602758.5705 | 1202886.8526 | 2602753.8363 | 1202891.0415
34 | 2602893.6524 | 1202997.6638 | 2602882.0739 | 1203014.2924
35 | 2602893.6524 | 1202997.6638 | 2602887.7233 | 1202993.4633
36 | 2602767.6882 | 1202972.6383 | 2602766.254 | 1202974.4034 | 2602759.8162 | 1202983.0776
37 | 2602767.6882 | 1202972.6383 | 2602772.9991 | 1202966.102 | 2602772.9991 | 1202966.102
38 | 2602753.9796 | 1202990.9417 | 2602759.8162 | 1202983.0776
39 | 2602779.9375 | 1202960.1378 | 2602779.903 | 1202960.1574 | 2602772.9991 | 1202966.102
40 | 2602779.9375 | 1202960.1378 | 2602785.3219 | 1202957.0693 | 2602786.6743 | 1202956.5217
41 | 2602786.6743 | 1202956.5217 | 2602793.8225 | 1202953.6269 | 2602802.7134 | 1202951.2123
42 | 2602675.4461 | 1202879.8008 | 2602660.2429 | 1202891.0399
43 | 2602675.4461 | 1202879.8008 | 2602685.3548 | 1202872.4739
44 | 2602675.4461 | 1202879.8008 | 2602676.5934 | 1202900.935 | 2602670.9196 | 1202905.1749
45 | 2602707.1254 | 1202855.0791 | 2602699.2013 | 1202862.2351 | 2602685.3548 | 1202872.4739
46 | 2602669.6527 | 1202906.1216 | 2602670.9196 | 1202905.1749
47 | 2602707.1254 | 1202855.0791 | 2602712.809 | 1202855.6153 | 2602721.5379 | 1202854.549
48 | 2602707.1254 | 1202855.0791 | 2602719.3662 | 1202842.411 | 2602726.4154 | 1202835.1213 | 2602744.7488 | 1202810.5384 | 2602754.184 | 1202797.1085
49 | 2602651.0497 | 1202920.0231 | 2602669.6527 | 1202906.1216
50 | 2602721.5379 | 1202854.549 | 2602724.8699 | 1202854.142 | 2602734.1403 | 1202847.9984 | 2602738.9357 | 1202843.8394
51 | 2602754.184 | 1202797.1085 | 2602757.8041 | 1202791.9557
52 | 2602651.0497 | 1202920.0231 | 2602626.6125 | 1202938.288
53 | 2602625.3493 | 1202939.2321 | 2602626.6125 | 1202938.288
54 | 2602788.2151 | 1202752.4822 | 2602769.2656 | 1202775.6417 | 2602757.8041 | 1202791.9557
55 | 2602762.2088 | 1202732.1594 | 2602774.9955 | 1202741.5369 | 2602788.2151 | 1202752.4822
56 | 2602864.3324 | 1202972.4586 | 2602876.7438 | 1202969.3294
57 | 2602864.3324 | 1202972.4586 | 2602858.7849 | 1202973.8678 | 2602846.0834 | 1202977.0721
58 | 2602864.3324 | 1202972.4586 | 2602865.289 | 1202977.0059 | 2602866.0569 | 1202978.2847 | 2602867.2129 | 1202979.3192 | 2602872.9406 | 1202982.9905
59 | 2602872.9406 | 1202982.9905 | 2602887.7233 | 1202993.4633
60 | 2602846.0834 | 1202977.0721 | 2602836.3515 | 1202979.5271 | 2602832.6544 | 1202977.323
61 | 2602830.2582 | 1202975.8944 | 2602832.6544 | 1202977.323
62 | 2602812.9655 | 1202972.0123 | 2602816.1785 | 1202967.5002 | 2602830.2582 | 1202975.8944
63 | 2602768.0106 | 1202818.5931 | 2602776.3261 | 1202810.7861 | 2602779.8574 | 1202805.6341
64 | 2602786.0753 | 1202796.5625 | 2602779.8574 | 1202805.6341
65 | 2602762.2088 | 1202732.1594 | 2602750.9049 | 1202724.9838 | 2602742.6578 | 1202722.2453 | 2602732.8013 | 1202728.144 | 2602726.0859 | 1202737.624 | 2602703.7419 | 1202767.4346
66 | 2602725.4519 | 1202916.1565 | 2602753.8363 | 1202891.0415

## bus_geodata
| x | y | coords
0 | 2602885.4567 | 1202931.875
1 | 2602869.1356 | 1202935.6075
2 | 2602869.8798 | 1202938.7096
3 | 2602850.7058 | 1202938.1781
4 | 2602910.1838 | 1202929.9134
5 | 2602873.8755 | 1202955.3127
6 | 2602849.3105 | 1202927.9052
7 | 2602827.1003 | 1202944.5891
8 | 2602841.8803 | 1202918.2299
9 | 2602833.0356 | 1202910.5105
10 | 2602812.5772 | 1202873.3142
11 | 2602808.9978 | 1202847.0317
12 | 2602790.5239 | 1202873.1306
13 | 2602875.3791 | 1202813.1664
14 | 2602856.398 | 1202822.2624
15 | 2602879.3353 | 1202826.1582
16 | 2602888.3993 | 1202843.0554
17 | 2602906.764 | 1202859.7197
18 | 2602820.1995 | 1202844.1575
19 | 2602839.5931 | 1202838.4142
20 | 2602846.3068 | 1202825.7708
21 | 2602854.0954 | 1202815.9802
22 | 2602873.9518 | 1202955.6299
23 | 2602812.6511 | 1202948.5133
24 | 2602828.9817 | 1202836.5731
25 | 2602785.6648 | 1202838.7721
26 | 2602786.1185 | 1202838.3925
27 | 2602758.5975 | 1202826.7867
28 | 2602769.693 | 1202881.6917
29 | 2602843.4941 | 1202836.5753
30 | 2602882.0739 | 1203014.2924
31 | 2602893.6524 | 1202997.6638
32 | 2602767.6882 | 1202972.6383
33 | 2602759.8162 | 1202983.0776
34 | 2602772.9991 | 1202966.102
35 | 2602753.9796 | 1202990.9417
36 | 2602779.9375 | 1202960.1378
37 | 2602786.6743 | 1202956.5217
38 | 2602802.7134 | 1202951.2123
39 | 2602660.2429 | 1202891.0399
40 | 2602675.4461 | 1202879.8008
41 | 2602685.3548 | 1202872.4739
42 | 2602670.9196 | 1202905.1749
43 | 2602707.1254 | 1202855.0791
44 | 2602669.6527 | 1202906.1216
45 | 2602721.5379 | 1202854.549
46 | 2602754.184 | 1202797.1085
47 | 2602651.0497 | 1202920.0231
48 | 2602625.3493 | 1202939.2321
49 | 2602626.6125 | 1202938.288
50 | 2602738.9357 | 1202843.8394
51 | 2602757.8041 | 1202791.9557
52 | 2602788.2151 | 1202752.4822
53 | 2602876.7438 | 1202969.3294
54 | 2602864.3324 | 1202972.4586
55 | 2602872.9406 | 1202982.9905
56 | 2602887.7233 | 1202993.4633
57 | 2602846.0834 | 1202977.0721
58 | 2602832.6544 | 1202977.323
59 | 2602830.2582 | 1202975.8944
60 | 2602812.9655 | 1202972.0123
61 | 2602768.0106 | 1202818.5931
62 | 2602779.8574 | 1202805.6341
63 | 2602786.0753 | 1202796.5625
64 | 2602703.7419 | 1202767.4346
65 | 2602762.2088 | 1202732.1594
66 | 2602753.8363 | 1202891.0415
67 | 2602725.4519 | 1202916.1565
68 | 2602719.1636 | 1202921.7205

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1