## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_363-19_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_363-19_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_363-19_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_363-19_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_363-19_0_5_node_10 | 0.4 | n |  | TRUE
5 | bus_LV_363-19_0_5_node_14 | 0.4 | n |  | TRUE
6 | bus_LV_363-19_0_5_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_363-19_0_5_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_363-19_0_5_node_29 | 0.4 | n |  | TRUE
9 | bus_LV_363-19_0_5_node_79 | 0.4 | n |  | TRUE
10 | bus_LV_363-19_0_5_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_363-19_0_5_node_80 | 0.4 | n |  | TRUE
12 | bus_LV_363-19_0_5_node_77 | 0.4 | n |  | TRUE
13 | bus_LV_363-19_0_5_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_363-19_0_5_node_54 | 0.4 | n |  | TRUE
15 | bus_LV_363-19_0_5_node_52 | 0.4 | n |  | TRUE
16 | bus_LV_363-19_0_5_node_17 | 0.4 | n |  | TRUE
17 | bus_LV_363-19_0_5_node_53 | 0.4 | n |  | TRUE
18 | bus_LV_363-19_0_5_node_95 | 0.4 | n |  | TRUE
19 | bus_LV_363-19_0_5_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_363-19_0_5_node_32 | 0.4 | n |  | TRUE
21 | bus_LV_363-19_0_5_node_108 | 0.4 | n |  | TRUE
22 | bus_LV_363-19_0_5_node_62 | 0.4 | n |  | TRUE
23 | bus_LV_363-19_0_5_node_30 | 0.4 | n |  | TRUE
24 | bus_LV_363-19_0_5_node_36 | 0.4 | n |  | TRUE
25 | bus_LV_363-19_0_5_node_102 | 0.4 | n |  | TRUE
26 | bus_LV_363-19_0_5_node_100 | 0.4 | n |  | TRUE
27 | bus_LV_363-19_0_5_node_33 | 0.4 | n |  | TRUE
28 | bus_LV_363-19_0_5_node_34 | 0.4 | n |  | TRUE
29 | bus_LV_363-19_0_5_node_78 | 0.4 | n |  | TRUE
30 | bus_LV_363-19_0_5_node_98 | 0.4 | n |  | TRUE
31 | bus_LV_363-19_0_5_node_11 | 0.4 | n |  | TRUE
32 | bus_LV_363-19_0_5_node_12 | 0.4 | n |  | TRUE
33 | bus_LV_363-19_0_5_node_13 | 0.4 | n |  | TRUE
34 | bus_LV_363-19_0_5_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_363-19_0_5_node_18 | 0.4 | n |  | TRUE
36 | bus_LV_363-19_0_5_node_96 | 0.4 | n |  | TRUE
37 | bus_LV_363-19_0_5_node_19 | 0.4 | n |  | TRUE
38 | bus_LV_363-19_0_5_node_16 | 0.4 | n |  | TRUE
39 | bus_LV_363-19_0_5_node_21 | 0.4 | n |  | TRUE
40 | bus_LV_363-19_0_5_node_22 | 0.4 | n |  | TRUE
41 | bus_LV_363-19_0_5_node_92 | 0.4 | n |  | TRUE
42 | bus_LV_363-19_0_5_node_46 | 0.4 | n |  | TRUE
43 | bus_LV_363-19_0_5_node_23 | 0.4 | n |  | TRUE
44 | bus_LV_363-19_0_5_node_24 | 0.4 | n |  | TRUE
45 | bus_LV_363-19_0_5_node_25 | 0.4 | n |  | TRUE
46 | bus_LV_363-19_0_5_node_26 | 0.4 | n |  | TRUE
47 | bus_LV_363-19_0_5_node_27 | 0.4 | n |  | TRUE
48 | bus_LV_363-19_0_5_node_28 | 0.4 | n |  | TRUE
49 | bus_LV_363-19_0_5_node_101 | 0.4 | n |  | TRUE
50 | bus_LV_363-19_0_5_node_37 | 0.4 | n |  | TRUE
51 | bus_LV_363-19_0_5_node_42 | 0.4 | n |  | TRUE
52 | bus_LV_363-19_0_5_node_39 | 0.4 | n |  | TRUE
53 | bus_LV_363-19_0_5_node_31 | 0.4 | n |  | TRUE
54 | bus_LV_363-19_0_5_node_40 | 0.4 | n |  | TRUE
55 | bus_LV_363-19_0_5_node_38 | 0.4 | n |  | TRUE
56 | bus_LV_363-19_0_5_node_35 | 0.4 | n |  | TRUE
57 | bus_LV_363-19_0_5_node_61 | 0.4 | n |  | TRUE
58 | bus_LV_363-19_0_5_node_63 | 0.4 | n |  | TRUE
59 | bus_LV_363-19_0_5_node_103 | 0.4 | n |  | TRUE
60 | bus_LV_363-19_0_5_node_41 | 0.4 | n |  | TRUE
61 | bus_LV_363-19_0_5_node_44 | 0.4 | n |  | TRUE
62 | bus_LV_363-19_0_5_node_43 | 0.4 | n |  | TRUE
63 | bus_LV_363-19_0_5_node_45 | 0.4 | n |  | TRUE
64 | bus_LV_363-19_0_5_node_47 | 0.4 | n |  | TRUE
65 | bus_LV_363-19_0_5_node_48 | 0.4 | n |  | TRUE
66 | bus_LV_363-19_0_5_node_49 | 0.4 | n |  | TRUE
67 | bus_LV_363-19_0_5_node_50 | 0.4 | n |  | TRUE
68 | bus_LV_363-19_0_5_node_51 | 0.4 | n |  | TRUE
69 | bus_LV_363-19_0_5_node_74 | 0.4 | n |  | TRUE
70 | bus_LV_363-19_0_5_node_71 | 0.4 | n |  | TRUE
71 | bus_LV_363-19_0_5_node_97 | 0.4 | n |  | TRUE
72 | bus_LV_363-19_0_5_node_75 | 0.4 | n |  | TRUE
73 | bus_LV_363-19_0_5_node_68 | 0.4 | n |  | TRUE
74 | bus_LV_363-19_0_5_node_55 | 0.4 | n |  | TRUE
75 | bus_LV_363-19_0_5_node_56 | 0.4 | n |  | TRUE
76 | bus_LV_363-19_0_5_node_57 | 0.4 | n |  | TRUE
77 | bus_LV_363-19_0_5_node_58 | 0.4 | n |  | TRUE
78 | bus_LV_363-19_0_5_node_59 | 0.4 | n |  | TRUE
79 | bus_LV_363-19_0_5_node_64 | 0.4 | n |  | TRUE
80 | bus_LV_363-19_0_5_node_84 | 0.4 | n |  | TRUE
81 | bus_LV_363-19_0_5_node_65 | 0.4 | n |  | TRUE
82 | bus_LV_363-19_0_5_node_82 | 0.4 | n |  | TRUE
83 | bus_LV_363-19_0_5_node_104 | 0.4 | n |  | TRUE
84 | bus_LV_363-19_0_5_node_66 | 0.4 | n |  | TRUE
85 | bus_LV_363-19_0_5_node_67 | 0.4 | n |  | TRUE
86 | bus_LV_363-19_0_5_node_69 | 0.4 | n |  | TRUE
87 | bus_LV_363-19_0_5_node_70 | 0.4 | n |  | TRUE
88 | bus_LV_363-19_0_5_node_72 | 0.4 | n |  | TRUE
89 | bus_LV_363-19_0_5_node_87 | 0.4 | n |  | TRUE
90 | bus_LV_363-19_0_5_node_73 | 0.4 | n |  | TRUE
91 | bus_LV_363-19_0_5_node_88 | 0.4 | n |  | TRUE
92 | bus_LV_363-19_0_5_node_85 | 0.4 | n |  | TRUE
93 | bus_LV_363-19_0_5_node_76 | 0.4 | n |  | TRUE
94 | bus_LV_363-19_0_5_node_99 | 0.4 | n |  | TRUE
95 | bus_LV_363-19_0_5_node_81 | 0.4 | n |  | TRUE
96 | bus_LV_363-19_0_5_node_83 | 0.4 | n |  | TRUE
97 | bus_LV_363-19_0_5_node_86 | 0.4 | n |  | TRUE
98 | bus_LV_363-19_0_5_node_89 | 0.4 | n |  | TRUE
99 | bus_LV_363-19_0_5_node_105 | 0.4 | n |  | TRUE
100 | bus_LV_363-19_0_5_node_90 | 0.4 | n |  | TRUE
101 | bus_LV_363-19_0_5_node_106 | 0.4 | n |  | TRUE
102 | bus_LV_363-19_0_5_node_91 | 0.4 | n |  | TRUE
103 | bus_LV_363-19_0_5_node_107 | 0.4 | n |  | TRUE
104 | bus_MV_599_0_node_145 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_363-19_0_5_load_0 | 0 | 0.011718 | 0.0029369 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_363-19_0_5_load_10 | 4 | 0.0085264 | 0.0021369 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_363-19_0_5_load_14 | 5 | 0.01064 | 0.0026666 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_363-19_0_5_load_29 | 8 | 0.0037847 | 0.00094854 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_363-19_0_5_load_79 | 9 | 0.0028444 | 0.00071287 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_363-19_0_5_load_80 | 11 | 0.0024417 | 0.00061196 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_363-19_0_5_load_77 | 12 | 0.002414 | 0.00060501 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_363-19_0_5_load_52 | 15 | 0.0043147 | 0.0010814 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_363-19_0_5_load_53 | 17 | 0.0012518 | 0.00031372 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_363-19_0_5_load_95 | 18 | 0.0054993 | 0.0013783 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_363-19_0_5_load_15 | 19 | 0.0081266 | 0.0020367 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_363-19_0_5_load_108 | 21 | 0.01788 | 0.0044813 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_363-19_0_5_load_30 | 23 | 0.0040824 | 0.0010232 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_363-19_0_5_load_102 | 25 | 0.0088981 | 0.0022301 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_363-19_0_5_load_100 | 26 | 0.0094962 | 0.00238 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_363-19_0_5_load_33 | 27 | 0.0076925 | 0.0019279 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_363-19_0_5_load_34 | 28 | 0.0082059 | 0.0020566 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_363-19_0_5_load_78 | 29 | 0.0028981 | 0.00072633 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_363-19_0_5_load_98 | 30 | 0.0017332 | 0.00043439 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_363-19_0_5_load_13 | 33 | 0.0019039 | 0.00047716 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_363-19_0_5_load_20 | 34 | 0.0093204 | 0.0023359 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_363-19_0_5_load_18 | 35 | 0.0062739 | 0.0015724 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_363-19_0_5_load_96 | 36 | 0.022426 | 0.0056206 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_363-19_0_5_load_16 | 38 | 0.0091216 | 0.0022861 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_363-19_0_5_load_21 | 39 | 0.006414 | 0.0016075 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_363-19_0_5_load_22 | 40 | 0.010973 | 0.0027501 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_363-19_0_5_load_92 | 41 | 0.0097655 | 0.0024475 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_363-19_0_5_load_23 | 43 | 0.0062376 | 0.0015633 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_363-19_0_5_load_24 | 44 | 0.0059664 | 0.0014953 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_363-19_0_5_load_26 | 46 | 0.0064635 | 0.0016199 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_363-19_0_5_load_27 | 47 | 0.0081363 | 0.0020391 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_363-19_0_5_load_101 | 49 | 0.0084771 | 0.0021246 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_363-19_0_5_load_37 | 50 | 0.0080339 | 0.0020135 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_363-19_0_5_load_42 | 51 | 0.01313 | 0.0032906 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_363-19_0_5_load_39 | 52 | 0.0073554 | 0.0018434 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_363-19_0_5_load_40 | 54 | 0.0089795 | 0.0022505 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_363-19_0_5_load_38 | 55 | 0.0076429 | 0.0019155 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_363-19_0_5_load_35 | 56 | 0.0082126 | 0.0020583 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_363-19_0_5_load_63 | 58 | 0.0059487 | 0.0014909 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_363-19_0_5_load_103 | 59 | 0.0065601 | 0.0016441 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_363-19_0_5_load_41 | 60 | 0.0079635 | 0.0019959 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_363-19_0_5_load_44 | 61 | 0.0064914 | 0.0016269 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_363-19_0_5_load_43 | 62 | 0.0092331 | 0.002314 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_363-19_0_5_load_45 | 63 | 0.0080857 | 0.0020265 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_363-19_0_5_load_47 | 64 | 0.0030781 | 0.00077144 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_363-19_0_5_load_48 | 65 | 0.0064657 | 0.0016204 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_363-19_0_5_load_49 | 66 | 0.0023939 | 0.00059996 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_363-19_0_5_load_51 | 68 | 0.0016665 | 0.00041765 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_363-19_0_5_load_74 | 69 | 0.0029704 | 0.00074446 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_363-19_0_5_load_71 | 70 | 0.0096356 | 0.0024149 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_363-19_0_5_load_97 | 71 | 0.0023699 | 0.00059395 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_363-19_0_5_load_75 | 72 | 0.0028621 | 0.00071732 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_363-19_0_5_load_55 | 74 | 0.013681 | 0.0034289 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_363-19_0_5_load_59 | 78 | 0.011915 | 0.0029862 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_363-19_0_5_load_84 | 80 | 0.015358 | 0.0038491 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_363-19_0_5_load_65 | 81 | 0.014597 | 0.0036584 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_363-19_0_5_load_82 | 82 | 0.012169 | 0.0030498 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_363-19_0_5_load_104 | 83 | 0.0099213 | 0.0024865 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_363-19_0_5_load_66 | 84 | 0.010839 | 0.0027164 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_363-19_0_5_load_67 | 85 | 0.0087348 | 0.0021892 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_363-19_0_5_load_69 | 86 | 0.014542 | 0.0036445 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_363-19_0_5_load_70 | 87 | 0.011619 | 0.002912 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_363-19_0_5_load_72 | 88 | 0.0028301 | 0.0007093 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_363-19_0_5_load_73 | 90 | 0.010378 | 0.0026011 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_363-19_0_5_load_85 | 92 | 0.013315 | 0.0033372 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_363-19_0_5_load_76 | 93 | 0.0029136 | 0.00073023 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_363-19_0_5_load_99 | 94 | 0.0111 | 0.0027818 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_363-19_0_5_load_81 | 95 | 0.012977 | 0.0032524 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_363-19_0_5_load_89 | 98 | 0.0099957 | 0.0025052 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_363-19_0_5_load_105 | 99 | 0.016593 | 0.0041586 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_363-19_0_5_load_90 | 100 | 0.010219 | 0.002561 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_363-19_0_5_load_106 | 101 | 0.01028 | 0.0025764 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_363-19_0_5_load_91 | 102 | 0.011051 | 0.0027696 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_363-19_0_5_load_107 | 103 | 0.0086709 | 0.0021731 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 103 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_363-19_0_5_line_0 |  | 0 | 1 | 0.0059256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_363-19_0_5_line_1 |  | 0 | 2 | 0.0024569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_363-19_0_5_line_2 |  | 1 | 3 | 0.013608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_363-19_0_5_line_3 |  | 2 | 4 | 0.027264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_363-19_0_5_line_4 |  | 3 | 5 | 0.044455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_363-19_0_5_line_5 |  | 5 | 19 | 0.035759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_363-19_0_5_line_6 |  | 6 | 7 | 0.006376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
7 | LV_363-19_0_5_line_7 |  | 6 | 8 | 0.022713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
8 | LV_363-19_0_5_line_8 |  | 7 | 9 | 0.019709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
9 | LV_363-19_0_5_line_9 |  | 8 | 23 | 0.00024913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
10 | LV_363-19_0_5_line_10 |  | 9 | 29 | 0.0060065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
11 | LV_363-19_0_5_line_11 |  | 10 | 11 | 0.0099365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
12 | LV_363-19_0_5_line_12 |  | 10 | 12 | 0.012177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
13 | LV_363-19_0_5_line_13 |  | 11 | 14 | 0.019067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
14 | LV_363-19_0_5_line_14 |  | 12 | 29 | 0.0060096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
15 | LV_363-19_0_5_line_15 |  | 13 | 14 | 0.003096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_363-19_0_5_line_16 |  | 13 | 15 | 0.035585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_363-19_0_5_line_17 |  | 14 | 30 | 0.014621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
18 | LV_363-19_0_5_line_18 |  | 15 | 17 | 0.029763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_363-19_0_5_line_19 |  | 16 | 17 | 0.011939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_363-19_0_5_line_20 |  | 16 | 18 | 0.014941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_363-19_0_5_line_21 |  | 19 | 38 | 0.00012124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_363-19_0_5_line_22 |  | 20 | 21 | 0.010952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_363-19_0_5_line_23 |  | 20 | 22 | 0.066212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
24 | LV_363-19_0_5_line_24 |  | 22 | 59 | 0.012027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
25 | LV_363-19_0_5_line_25 |  | 22 | 57 | 0.023135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
26 | LV_363-19_0_5_line_26 |  | 23 | 53 | 0.012558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
27 | LV_363-19_0_5_line_27 |  | 24 | 25 | 0.02245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
28 | LV_363-19_0_5_line_28 |  | 24 | 26 | 0.039757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
29 | LV_363-19_0_5_line_29 |  | 25 | 49 | 0.013612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
30 | LV_363-19_0_5_line_30 |  | 26 | 38 | 0.04459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
31 | LV_363-19_0_5_line_31 |  | 27 | 28 | 0.014414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_363-19_0_5_line_32 |  | 28 | 56 | 0.015005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_363-19_0_5_line_33 |  | 30 | 71 | 0.0055538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
34 | LV_363-19_0_5_line_34 |  | 31 | 32 | 0.003959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_363-19_0_5_line_35 |  | 31 | 33 | 0.009568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_363-19_0_5_line_36 |  | 32 | 34 | 0.026886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_363-19_0_5_line_37 |  | 32 | 35 | 0.020911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_363-19_0_5_line_38 |  | 33 | 36 | 0.02796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_363-19_0_5_line_39 |  | 35 | 37 | 0.012795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
40 | LV_363-19_0_5_line_40 |  | 37 | 39 | 0.0031199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
41 | LV_363-19_0_5_line_41 |  | 37 | 40 | 0.021777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_363-19_0_5_line_42 |  | 39 | 41 | 0.018155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
43 | LV_363-19_0_5_line_43 |  | 41 | 42 | 0.0092902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
44 | LV_363-19_0_5_line_44 |  | 42 | 61 | 0.015957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
45 | LV_363-19_0_5_line_45 |  | 42 | 60 | 0.016808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
46 | LV_363-19_0_5_line_46 |  | 43 | 44 | 0.012948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
47 | LV_363-19_0_5_line_47 |  | 43 | 45 | 0.028573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
48 | LV_363-19_0_5_line_48 |  | 44 | 46 | 0.014206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
49 | LV_363-19_0_5_line_49 |  | 45 | 47 | 0.0019348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
50 | LV_363-19_0_5_line_50 |  | 45 | 48 | 0.011204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
51 | LV_363-19_0_5_line_51 |  | 46 | 49 | 0.00078614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
52 | LV_363-19_0_5_line_52 |  | 47 | 50 | 0.024589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
53 | LV_363-19_0_5_line_53 |  | 48 | 51 | 0.024217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
54 | LV_363-19_0_5_line_54 |  | 48 | 52 | 0.011353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
55 | LV_363-19_0_5_line_55 |  | 50 | 53 | 0.010749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
56 | LV_363-19_0_5_line_56 |  | 52 | 54 | 0.024349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
57 | LV_363-19_0_5_line_57 |  | 53 | 55 | 0.018465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_363-19_0_5_line_58 |  | 54 | 60 | 0.024053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
59 | LV_363-19_0_5_line_59 |  | 55 | 56 | 0.014163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_363-19_0_5_line_60 |  | 57 | 58 | 0.0050925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
61 | LV_363-19_0_5_line_61 |  | 59 | 83 | 0.015387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
62 | LV_363-19_0_5_line_62 |  | 61 | 62 | 0.014925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
63 | LV_363-19_0_5_line_63 |  | 62 | 63 | 0.0033265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_363-19_0_5_line_64 |  | 64 | 65 | 0.019528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
65 | LV_363-19_0_5_line_65 |  | 64 | 66 | 0.0052264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
66 | LV_363-19_0_5_line_66 |  | 65 | 67 | 0.010459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
67 | LV_363-19_0_5_line_67 |  | 66 | 68 | 0.00036932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
68 | LV_363-19_0_5_line_68 |  | 67 | 69 | 0.020121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
69 | LV_363-19_0_5_line_69 |  | 67 | 70 | 0.0088387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
70 | LV_363-19_0_5_line_70 |  | 68 | 71 | 0.00046587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
71 | LV_363-19_0_5_line_71 |  | 69 | 72 | 0.0015443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
72 | LV_363-19_0_5_line_72 |  | 70 | 73 | 0.0551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
73 | LV_363-19_0_5_line_73 |  | 72 | 93 | 0.0015314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
74 | LV_363-19_0_5_line_74 |  | 73 | 87 | 0.030301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
75 | LV_363-19_0_5_line_75 |  | 73 | 84 | 0.012808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
76 | LV_363-19_0_5_line_76 |  | 74 | 75 | 0.019189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
77 | LV_363-19_0_5_line_77 |  | 74 | 76 | 0.010711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
78 | LV_363-19_0_5_line_78 |  | 75 | 77 | 0.03795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
79 | LV_363-19_0_5_line_79 |  | 76 | 78 | 0.018123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
80 | LV_363-19_0_5_line_80 |  | 77 | 79 | 0.038501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
81 | LV_363-19_0_5_line_81 |  | 77 | 80 | 0.019053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
82 | LV_363-19_0_5_line_82 |  | 79 | 81 | 0.017006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
83 | LV_363-19_0_5_line_83 |  | 80 | 82 | 0.016253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
84 | LV_363-19_0_5_line_84 |  | 82 | 95 | 0.023751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
85 | LV_363-19_0_5_line_85 |  | 83 | 90 | 0.0070016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
86 | LV_363-19_0_5_line_86 |  | 84 | 85 | 0.015042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
87 | LV_363-19_0_5_line_87 |  | 85 | 86 | 0.014084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
88 | LV_363-19_0_5_line_88 |  | 86 | 88 | 0.0066143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
89 | LV_363-19_0_5_line_89 |  | 87 | 89 | 0.019997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
90 | LV_363-19_0_5_line_90 |  | 88 | 90 | 0.02771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
91 | LV_363-19_0_5_line_91 |  | 89 | 91 | 0.003727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
92 | LV_363-19_0_5_line_92 |  | 89 | 92 | 0.006539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
93 | LV_363-19_0_5_line_93 |  | 91 | 99 | 0.013346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
94 | LV_363-19_0_5_line_94 |  | 92 | 96 | 0.025855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
95 | LV_363-19_0_5_line_95 |  | 93 | 94 | 0.020909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
96 | LV_363-19_0_5_line_96 |  | 95 | 96 | 0.0084502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
97 | LV_363-19_0_5_line_97 |  | 96 | 97 | 0.004508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
98 | LV_363-19_0_5_line_98 |  | 97 | 98 | 0.026445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
99 | LV_363-19_0_5_line_99 |  | 98 | 100 | 0.020642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
100 | LV_363-19_0_5_line_100 |  | 99 | 101 | 0.021382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
101 | LV_363-19_0_5_line_101 |  | 100 | 102 | 0.025006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
102 | LV_363-19_0_5_line_102 |  | 101 | 103 | 0.011007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_363-19_0_5_trafo_107 | 0.63 MVA 20/0.4 kV | 104 | 103 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2604394.6224 | 1200494.7782 | 2604390.4438 | 1200498.9796
1 | 2604388.7112 | 1200500.7216 | 2604390.4438 | 1200498.9796
2 | 2604404.0912 | 1200484.9798 | 2604394.6224 | 1200494.7782
3 | 2604388.7112 | 1200500.7216 | 2604369.4867 | 1200520.0546
4 | 2604404.0912 | 1200484.9798 | 2604374.7485 | 1200451.5847
5 | 2604374.7485 | 1200451.5847 | 2604355.4447 | 1200429.615 | 2604351.1237 | 1200424.7416
6 | 2604190.5001 | 1200384.03 | 2604187.4928 | 1200384.8839 | 2604184.2876 | 1200385.5154
7 | 2604190.5001 | 1200384.03 | 2604197.1991 | 1200394.6403 | 2604203.7856 | 1200402.383
8 | 2604184.2876 | 1200385.5154 | 2604178.8677 | 1200385.5895 | 2604173.0978 | 1200385.5188 | 2604165.0827 | 1200384.8685 | 2604164.6115 | 1200384.7936
9 | 2604203.947 | 1200402.5727 | 2604203.7856 | 1200402.383
10 | 2604164.6115 | 1200384.7936 | 2604158.6796 | 1200383.8503
11 | 2604140.719 | 1200380.9942 | 2604130.938 | 1200379.2432
12 | 2604140.719 | 1200380.9942 | 2604152.7446 | 1200382.9065
13 | 2604112.1694 | 1200375.8832 | 2604130.938 | 1200379.2432
14 | 2604152.7446 | 1200382.9065 | 2604158.6796 | 1200383.8503
15 | 2604112.1694 | 1200375.8832 | 2604109.1173 | 1200375.3142
16 | 2604109.1173 | 1200375.3142 | 2604076.9904 | 1200369.545 | 2604074.1167 | 1200368.9054
17 | 2604112.1694 | 1200375.8832 | 2604109.7968 | 1200390.3105
18 | 2604074.1167 | 1200368.9054 | 2604069.4251 | 1200367.8613 | 2604060.9087 | 1200365.4654 | 2604045.4698 | 1200360.8642
19 | 2604034.028 | 1200357.4543 | 2604045.4698 | 1200360.8642
20 | 2604034.028 | 1200357.4543 | 2604036.5952 | 1200342.7353
21 | 2604351.0432 | 1200424.6509 | 2604351.1237 | 1200424.7416
22 | 2604034.1719 | 1200438.8648 | 2604027.3306 | 1200447.4315
23 | 2604027.3306 | 1200447.4315 | 2604031.5527 | 1200451.292 | 2604058.3498 | 1200492.721 | 2604061.962 | 1200497.9373 | 2604065.9905 | 1200495.3163
24 | 2604065.9905 | 1200495.3163 | 2604076.074 | 1200488.7613
25 | 2604065.9905 | 1200495.3163 | 2604061.962 | 1200497.9373 | 2604063.4523 | 1200500.3173 | 2604071.7025 | 1200513.4633
26 | 2604212.0838 | 1200412.1378 | 2604203.947 | 1200402.5727
27 | 2604291.0305 | 1200366.424 | 2604283.5178 | 1200376.4797 | 2604279.8604 | 1200381.591 | 2604277.0096 | 1200383.8095
28 | 2604291.0305 | 1200366.424 | 2604291.6469 | 1200366.6468 | 2604300.6185 | 1200371.0778 | 2604303.7295 | 1200374.4596 | 2604311.9229 | 1200381.2023 | 2604316.2359 | 1200385.53 | 2604321.2836 | 1200391.45
29 | 2604268.7346 | 1200394.5878 | 2604276.4636 | 1200384.2345 | 2604277.0096 | 1200383.8095
30 | 2604351.0432 | 1200424.6509 | 2604335.6389 | 1200407.2777 | 2604324.26 | 1200394.9407 | 2604321.2836 | 1200391.45
31 | 2604244.5206 | 1200359.289 | 2604236.7015 | 1200371.3984
32 | 2604236.7015 | 1200371.3984 | 2604228.562 | 1200384.004
33 | 2604108.8956 | 1200395.7907 | 2604109.7968 | 1200390.3105
34 | 2604335.411 | 1200555.7796 | 2604338.2066 | 1200552.9689
35 | 2604338.2066 | 1200552.9689 | 2604342.4737 | 1200557.4077 | 2604345.2406 | 1200559.4021
36 | 2604335.411 | 1200555.7796 | 2604316.7521 | 1200575.1373
37 | 2604335.411 | 1200555.7796 | 2604321.7179 | 1200539.9757
38 | 2604345.2406 | 1200559.4021 | 2604353.528 | 1200565.3755 | 2604368.7838 | 1200574.4381
39 | 2604313.3394 | 1200530.3057 | 2604321.7179 | 1200539.9757
40 | 2604313.3394 | 1200530.3057 | 2604311.2987 | 1200527.9457
41 | 2604313.3394 | 1200530.3057 | 2604297.1311 | 1200544.8491
42 | 2604299.5369 | 1200514.1161 | 2604307.1255 | 1200523.1197 | 2604311.2987 | 1200527.9457
43 | 2604293.5496 | 1200507.0125 | 2604299.5369 | 1200514.1161
44 | 2604293.5496 | 1200507.0125 | 2604305.6615 | 1200496.6236
45 | 2604293.5496 | 1200507.0125 | 2604282.5744 | 1200494.2819
46 | 2604252.1802 | 1200417.0578 | 2604252.3257 | 1200416.5682 | 2604259.7661 | 1200406.6016
47 | 2604236.2247 | 1200440.5365 | 2604251.1889 | 1200420.3917 | 2604252.1802 | 1200417.0578
48 | 2604268.2643 | 1200395.2178 | 2604259.7661 | 1200406.6016
49 | 2604236.2247 | 1200440.5365 | 2604234.9716 | 1200439.0624
50 | 2604243.5568 | 1200449.024 | 2604240.4155 | 1200445.4643 | 2604236.2247 | 1200440.5365
51 | 2604268.2643 | 1200395.2178 | 2604268.7346 | 1200394.5878
52 | 2604219.0455 | 1200420.3273 | 2604234.9716 | 1200439.0624
53 | 2604259.4864 | 1200430.7475 | 2604243.5568 | 1200449.024
54 | 2604243.5568 | 1200449.024 | 2604250.9699 | 1200457.6227
55 | 2604212.0838 | 1200412.1378 | 2604219.0455 | 1200420.3273
56 | 2604250.9699 | 1200457.6227 | 2604266.8687 | 1200476.0644
57 | 2604212.0838 | 1200412.1378 | 2604220.8794 | 1200395.9019
58 | 2604282.5744 | 1200494.2819 | 2604266.8687 | 1200476.0644
59 | 2604220.8794 | 1200395.9019 | 2604228.562 | 1200384.004
60 | 2604071.7025 | 1200513.4633 | 2604074.5872 | 1200517.6599
61 | 2604076.074 | 1200488.7613 | 2604088.9746 | 1200480.3751
62 | 2604316.9897 | 1200486.9069 | 2604305.6615 | 1200496.6236
63 | 2604319.5146 | 1200484.7412 | 2604316.9897 | 1200486.9069
64 | 2604107.9119 | 1200401.772 | 2604107.879 | 1200405.4295 | 2604108.9121 | 1200408.632 | 2604111.8407 | 1200411.6467 | 2604118.4332 | 1200416.694
65 | 2604107.9119 | 1200401.772 | 2604107.9119 | 1200401.772 | 2604108.7601 | 1200396.6149
66 | 2604126.7374 | 1200423.0518 | 2604118.4332 | 1200416.694
67 | 2604108.7601 | 1200396.6149 | 2604108.82 | 1200396.2504
68 | 2604126.7374 | 1200423.0518 | 2604138.566 | 1200435.0663 | 2604140.8464 | 1200437.3978
69 | 2604126.7374 | 1200423.0518 | 2604126.414 | 1200428.5212 | 2604127.9042 | 1200431.5323
70 | 2604108.82 | 1200396.2504 | 2604108.8956 | 1200395.7907
71 | 2604140.8464 | 1200437.3978 | 2604141.9262 | 1200438.5018
72 | 2604150.4318 | 1200481.6772 | 2604146.657 | 1200469.4236 | 2604127.9042 | 1200431.5323
73 | 2604142.997 | 1200439.5965 | 2604141.9262 | 1200438.5018
74 | 2604150.4318 | 1200481.6772 | 2604156.5348 | 1200511.3571
75 | 2604150.4318 | 1200481.6772 | 2604139.6268 | 1200488.5544
76 | 2604093.1706 | 1200611.5193 | 2604084.1105 | 1200594.6042
77 | 2604079.0532 | 1200585.1623 | 2604084.1105 | 1200594.6042
78 | 2604093.1706 | 1200611.5193 | 2604121.4135 | 1200595.93 | 2604126.4696 | 1200593.143
79 | 2604079.0532 | 1200585.1623 | 2604070.4964 | 1200569.1867
80 | 2604126.4696 | 1200593.143 | 2604122.1199 | 1200586.8144 | 2604106.0367 | 1200563.4132 | 2604104.6451 | 1200561.389
81 | 2604126.4696 | 1200593.143 | 2604142.4152 | 1200582.7151
82 | 2604104.6451 | 1200561.389 | 2604119.0003 | 1200552.2708
83 | 2604142.4152 | 1200582.7151 | 2604156.0177 | 1200573.8194
84 | 2604175.8952 | 1200560.8201 | 2604156.0177 | 1200573.8194
85 | 2604094.8449 | 1200476.559 | 2604088.9746 | 1200480.3751
86 | 2604139.6268 | 1200488.5544 | 2604129.3374 | 1200495.1034 | 2604126.9004 | 1200496.5723
87 | 2604126.9004 | 1200496.5723 | 2604114.8383 | 1200503.8427 | 2604114.8383 | 1200503.8427
88 | 2604114.8383 | 1200503.8427 | 2604109.3297 | 1200500.1814
89 | 2604165.433 | 1200528.9573 | 2604157.6771 | 1200516.9122 | 2604156.5348 | 1200511.3571
90 | 2604094.8449 | 1200476.559 | 2604094.8449 | 1200476.559 | 2604109.3297 | 1200500.1814
91 | 2604168.2739 | 1200526.5357 | 2604165.433 | 1200528.9573
92 | 2604165.433 | 1200528.9573 | 2604168.9725 | 1200534.4555
93 | 2604168.2739 | 1200526.5357 | 2604179.3615 | 1200519.1075
94 | 2604182.9673 | 1200556.1951 | 2604168.9725 | 1200534.4555
95 | 2604157.7503 | 1200454.412 | 2604146.9334 | 1200443.621 | 2604142.997 | 1200439.5965
96 | 2604182.9673 | 1200556.1951 | 2604175.8952 | 1200560.8201
97 | 2604182.9673 | 1200556.1951 | 2604186.7522 | 1200553.7297
98 | 2604186.7522 | 1200553.7297 | 2604193.9785 | 1200560.883 | 2604207.771 | 1200552.2402
99 | 2604207.771 | 1200552.2402 | 2604221.5532 | 1200543.6039 | 2604219.5083 | 1200539.7338
100 | 2604179.3615 | 1200519.1075 | 2604192.7576 | 1200510.1327 | 2604192.2893 | 1200504.8962
101 | 2604226.6751 | 1200523.052 | 2604231.9745 | 1200531.8048 | 2604219.5083 | 1200539.7338
102 | 2604201.5115 | 1200498.8882 | 2604192.2893 | 1200504.8962 | 2604192.2893 | 1200504.8962

## bus_geodata
| x | y | coords
0 | 2604390.4438 | 1200498.9796
1 | 2604394.6224 | 1200494.7782
2 | 2604388.7112 | 1200500.7216
3 | 2604404.0912 | 1200484.9798
4 | 2604369.4867 | 1200520.0546
5 | 2604374.7485 | 1200451.5847
6 | 2604190.5001 | 1200384.03
7 | 2604184.2876 | 1200385.5154
8 | 2604203.7856 | 1200402.383
9 | 2604164.6115 | 1200384.7936
10 | 2604140.719 | 1200380.9942
11 | 2604130.938 | 1200379.2432
12 | 2604152.7446 | 1200382.9065
13 | 2604109.1173 | 1200375.3142
14 | 2604112.1694 | 1200375.8832
15 | 2604074.1167 | 1200368.9054
16 | 2604034.028 | 1200357.4543
17 | 2604045.4698 | 1200360.8642
18 | 2604036.5952 | 1200342.7353
19 | 2604351.1237 | 1200424.7416
20 | 2604027.3306 | 1200447.4315
21 | 2604034.1719 | 1200438.8648
22 | 2604065.9905 | 1200495.3163
23 | 2604203.947 | 1200402.5727
24 | 2604291.0305 | 1200366.424
25 | 2604277.0096 | 1200383.8095
26 | 2604321.2836 | 1200391.45
27 | 2604244.5206 | 1200359.289
28 | 2604236.7015 | 1200371.3984
29 | 2604158.6796 | 1200383.8503
30 | 2604109.7968 | 1200390.3105
31 | 2604338.2066 | 1200552.9689
32 | 2604335.411 | 1200555.7796
33 | 2604345.2406 | 1200559.4021
34 | 2604316.7521 | 1200575.1373
35 | 2604321.7179 | 1200539.9757
36 | 2604368.7838 | 1200574.4381
37 | 2604313.3394 | 1200530.3057
38 | 2604351.0432 | 1200424.6509
39 | 2604311.2987 | 1200527.9457
40 | 2604297.1311 | 1200544.8491
41 | 2604299.5369 | 1200514.1161
42 | 2604293.5496 | 1200507.0125
43 | 2604252.1802 | 1200417.0578
44 | 2604259.7661 | 1200406.6016
45 | 2604236.2247 | 1200440.5365
46 | 2604268.2643 | 1200395.2178
47 | 2604234.9716 | 1200439.0624
48 | 2604243.5568 | 1200449.024
49 | 2604268.7346 | 1200394.5878
50 | 2604219.0455 | 1200420.3273
51 | 2604259.4864 | 1200430.7475
52 | 2604250.9699 | 1200457.6227
53 | 2604212.0838 | 1200412.1378
54 | 2604266.8687 | 1200476.0644
55 | 2604220.8794 | 1200395.9019
56 | 2604228.562 | 1200384.004
57 | 2604071.7025 | 1200513.4633
58 | 2604074.5872 | 1200517.6599
59 | 2604076.074 | 1200488.7613
60 | 2604282.5744 | 1200494.2819
61 | 2604305.6615 | 1200496.6237
62 | 2604316.9897 | 1200486.9069
63 | 2604319.5146 | 1200484.7412
64 | 2604107.9119 | 1200401.772
65 | 2604118.4332 | 1200416.694
66 | 2604108.76 | 1200396.6149
67 | 2604126.7374 | 1200423.0518
68 | 2604108.82 | 1200396.2504
69 | 2604140.8464 | 1200437.3978
70 | 2604127.9042 | 1200431.5323
71 | 2604108.8956 | 1200395.7907
72 | 2604141.9262 | 1200438.5018
73 | 2604150.4318 | 1200481.6772
74 | 2604084.1105 | 1200594.6042
75 | 2604093.1706 | 1200611.5193
76 | 2604079.0532 | 1200585.1623
77 | 2604126.4696 | 1200593.143
78 | 2604070.4964 | 1200569.1867
79 | 2604104.6451 | 1200561.389
80 | 2604142.4152 | 1200582.7151
81 | 2604119.0003 | 1200552.2708
82 | 2604156.0177 | 1200573.8194
83 | 2604088.9746 | 1200480.3751
84 | 2604139.6268 | 1200488.5544
85 | 2604126.9004 | 1200496.5723
86 | 2604114.8383 | 1200503.8427
87 | 2604156.5348 | 1200511.3571
88 | 2604109.3297 | 1200500.1814
89 | 2604165.433 | 1200528.9573
90 | 2604094.8449 | 1200476.559
91 | 2604168.2739 | 1200526.5357
92 | 2604168.9725 | 1200534.4555
93 | 2604142.997 | 1200439.5965
94 | 2604157.7503 | 1200454.412
95 | 2604175.8952 | 1200560.8201
96 | 2604182.9673 | 1200556.1951
97 | 2604186.7522 | 1200553.7297
98 | 2604207.771 | 1200552.2402
99 | 2604179.3615 | 1200519.1075
100 | 2604219.5083 | 1200539.7338
101 | 2604192.2893 | 1200504.8962
102 | 2604226.6751 | 1200523.052
103 | 2604201.5115 | 1200498.8882
104 | 2604168.2739 | 1200526.5357

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1