## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_363-21_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_363-21_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_363-21_0_6_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_363-21_0_6_node_98 | 0.4 | n |  | TRUE
4 | bus_LV_363-21_0_6_node_68 | 0.4 | n |  | TRUE
5 | bus_LV_363-21_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_363-21_0_6_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_363-21_0_6_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_363-21_0_6_node_28 | 0.4 | n |  | TRUE
9 | bus_LV_363-21_0_6_node_29 | 0.4 | n |  | TRUE
10 | bus_LV_363-21_0_6_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_363-21_0_6_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_363-21_0_6_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_363-21_0_6_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_363-21_0_6_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_363-21_0_6_node_38 | 0.4 | n |  | TRUE
16 | bus_LV_363-21_0_6_node_69 | 0.4 | n |  | TRUE
17 | bus_LV_363-21_0_6_node_37 | 0.4 | n |  | TRUE
18 | bus_LV_363-21_0_6_node_66 | 0.4 | n |  | TRUE
19 | bus_LV_363-21_0_6_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_363-21_0_6_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_363-21_0_6_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_363-21_0_6_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_363-21_0_6_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_363-21_0_6_node_32 | 0.4 | n |  | TRUE
25 | bus_LV_363-21_0_6_node_52 | 0.4 | n |  | TRUE
26 | bus_LV_363-21_0_6_node_33 | 0.4 | n |  | TRUE
27 | bus_LV_363-21_0_6_node_31 | 0.4 | n |  | TRUE
28 | bus_LV_363-21_0_6_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_363-21_0_6_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_363-21_0_6_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_363-21_0_6_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_363-21_0_6_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_363-21_0_6_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_363-21_0_6_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_363-21_0_6_node_49 | 0.4 | n |  | TRUE
36 | bus_LV_363-21_0_6_node_101 | 0.4 | n |  | TRUE
37 | bus_LV_363-21_0_6_node_24 | 0.4 | n |  | TRUE
38 | bus_LV_363-21_0_6_node_50 | 0.4 | n |  | TRUE
39 | bus_LV_363-21_0_6_node_93 | 0.4 | n |  | TRUE
40 | bus_LV_363-21_0_6_node_95 | 0.4 | n |  | TRUE
41 | bus_LV_363-21_0_6_node_92 | 0.4 | n |  | TRUE
42 | bus_LV_363-21_0_6_node_96 | 0.4 | n |  | TRUE
43 | bus_LV_363-21_0_6_node_102 | 0.4 | n |  | TRUE
44 | bus_LV_363-21_0_6_node_100 | 0.4 | n |  | TRUE
45 | bus_LV_363-21_0_6_node_30 | 0.4 | n |  | TRUE
46 | bus_LV_363-21_0_6_node_99 | 0.4 | n |  | TRUE
47 | bus_LV_363-21_0_6_node_26 | 0.4 | n |  | TRUE
48 | bus_LV_363-21_0_6_node_27 | 0.4 | n |  | TRUE
49 | bus_LV_363-21_0_6_node_34 | 0.4 | n |  | TRUE
50 | bus_LV_363-21_0_6_node_35 | 0.4 | n |  | TRUE
51 | bus_LV_363-21_0_6_node_36 | 0.4 | n |  | TRUE
52 | bus_LV_363-21_0_6_node_39 | 0.4 | n |  | TRUE
53 | bus_LV_363-21_0_6_node_40 | 0.4 | n |  | TRUE
54 | bus_LV_363-21_0_6_node_41 | 0.4 | n |  | TRUE
55 | bus_LV_363-21_0_6_node_42 | 0.4 | n |  | TRUE
56 | bus_LV_363-21_0_6_node_43 | 0.4 | n |  | TRUE
57 | bus_LV_363-21_0_6_node_47 | 0.4 | n |  | TRUE
58 | bus_LV_363-21_0_6_node_63 | 0.4 | n |  | TRUE
59 | bus_LV_363-21_0_6_node_72 | 0.4 | n |  | TRUE
60 | bus_LV_363-21_0_6_node_70 | 0.4 | n |  | TRUE
61 | bus_LV_363-21_0_6_node_45 | 0.4 | n |  | TRUE
62 | bus_LV_363-21_0_6_node_64 | 0.4 | n |  | TRUE
63 | bus_LV_363-21_0_6_node_61 | 0.4 | n |  | TRUE
64 | bus_LV_363-21_0_6_node_71 | 0.4 | n |  | TRUE
65 | bus_LV_363-21_0_6_node_44 | 0.4 | n |  | TRUE
66 | bus_LV_363-21_0_6_node_46 | 0.4 | n |  | TRUE
67 | bus_LV_363-21_0_6_node_48 | 0.4 | n |  | TRUE
68 | bus_LV_363-21_0_6_node_80 | 0.4 | n |  | TRUE
69 | bus_LV_363-21_0_6_node_84 | 0.4 | n |  | TRUE
70 | bus_LV_363-21_0_6_node_78 | 0.4 | n |  | TRUE
71 | bus_LV_363-21_0_6_node_51 | 0.4 | n |  | TRUE
72 | bus_LV_363-21_0_6_node_55 | 0.4 | n |  | TRUE
73 | bus_LV_363-21_0_6_node_53 | 0.4 | n |  | TRUE
74 | bus_LV_363-21_0_6_node_54 | 0.4 | n |  | TRUE
75 | bus_LV_363-21_0_6_node_56 | 0.4 | n |  | TRUE
76 | bus_LV_363-21_0_6_node_74 | 0.4 | n |  | TRUE
77 | bus_LV_363-21_0_6_node_75 | 0.4 | n |  | TRUE
78 | bus_LV_363-21_0_6_node_91 | 0.4 | n |  | TRUE
79 | bus_LV_363-21_0_6_node_57 | 0.4 | n |  | TRUE
80 | bus_LV_363-21_0_6_node_58 | 0.4 | n |  | TRUE
81 | bus_LV_363-21_0_6_node_59 | 0.4 | n |  | TRUE
82 | bus_LV_363-21_0_6_node_60 | 0.4 | n |  | TRUE
83 | bus_LV_363-21_0_6_node_62 | 0.4 | n |  | TRUE
84 | bus_LV_363-21_0_6_node_90 | 0.4 | n |  | TRUE
85 | bus_LV_363-21_0_6_node_76 | 0.4 | n |  | TRUE
86 | bus_LV_363-21_0_6_node_65 | 0.4 | n |  | TRUE
87 | bus_LV_363-21_0_6_node_83 | 0.4 | n |  | TRUE
88 | bus_LV_363-21_0_6_node_73 | 0.4 | n |  | TRUE
89 | bus_LV_363-21_0_6_node_86 | 0.4 | n |  | TRUE
90 | bus_LV_363-21_0_6_node_87 | 0.4 | n |  | TRUE
91 | bus_LV_363-21_0_6_node_89 | 0.4 | n |  | TRUE
92 | bus_LV_363-21_0_6_node_77 | 0.4 | n |  | TRUE
93 | bus_LV_363-21_0_6_node_82 | 0.4 | n |  | TRUE
94 | bus_LV_363-21_0_6_node_85 | 0.4 | n |  | TRUE
95 | bus_LV_363-21_0_6_node_94 | 0.4 | n |  | TRUE
96 | bus_MV_599_0_node_71 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_363-21_0_6_load_0 | 0 | 0.010302 | 0.0025819 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_363-21_0_6_load_1 | 1 | 0.0085195 | 0.0021352 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_363-21_0_6_load_3 | 2 | 0.0083007 | 0.0020803 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_363-21_0_6_load_98 | 3 | 0.0089149 | 0.0022343 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_363-21_0_6_load_5 | 5 | 0.012599 | 0.0031577 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_363-21_0_6_load_6 | 6 | 0.0098323 | 0.0024642 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_363-21_0_6_load_7 | 7 | 0.0064587 | 0.0016187 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_363-21_0_6_load_28 | 8 | 0.015989 | 0.0040072 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_363-21_0_6_load_8 | 10 | 0.010231 | 0.0025642 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_363-21_0_6_load_9 | 11 | 0.0078456 | 0.0019663 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_363-21_0_6_load_10 | 12 | 0.0086487 | 0.0021676 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_363-21_0_6_load_11 | 13 | 0.0078986 | 0.0019796 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_363-21_0_6_load_12 | 14 | 0.010894 | 0.0027303 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_363-21_0_6_load_38 | 15 | 0.007436 | 0.0018636 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_363-21_0_6_load_69 | 16 | 0.0079928 | 0.0020032 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_363-21_0_6_load_37 | 17 | 0.010802 | 0.0027072 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_363-21_0_6_load_13 | 19 | 0.033993 | 0.0085195 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_363-21_0_6_load_14 | 20 | 0.0063098 | 0.0015814 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_363-21_0_6_load_15 | 21 | 0.005772 | 0.0014466 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_363-21_0_6_load_16 | 22 | 0.0067034 | 0.00168 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_363-21_0_6_load_17 | 23 | 0.0068271 | 0.001711 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_363-21_0_6_load_32 | 24 | 0.0069374 | 0.0017387 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_363-21_0_6_load_52 | 25 | 0.0069123 | 0.0017324 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_363-21_0_6_load_33 | 26 | 0.0064314 | 0.0016119 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_363-21_0_6_load_31 | 27 | 0.016255 | 0.0040739 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_363-21_0_6_load_18 | 28 | 0.0089609 | 0.0022458 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_363-21_0_6_load_20 | 30 | 0.0072805 | 0.0018247 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_363-21_0_6_load_22 | 32 | 0.0080101 | 0.0020075 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_363-21_0_6_load_25 | 34 | 0.0065894 | 0.0016514 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_363-21_0_6_load_49 | 35 | 0.0062519 | 0.0015669 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_363-21_0_6_load_24 | 37 | 0.006939 | 0.0017391 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_363-21_0_6_load_50 | 38 | 0.011794 | 0.0029558 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_363-21_0_6_load_93 | 39 | 0.0035739 | 0.00089571 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_363-21_0_6_load_92 | 41 | 0.0012773 | 0.00032013 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_363-21_0_6_load_96 | 42 | 0.0026569 | 0.00066588 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_363-21_0_6_load_102 | 43 | 0.016093 | 0.0040332 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_363-21_0_6_load_99 | 46 | 0.020055 | 0.0050262 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_363-21_0_6_load_26 | 47 | 0.0058181 | 0.0014582 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_363-21_0_6_load_27 | 48 | 0.0065894 | 0.0016514 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_363-21_0_6_load_34 | 49 | 0.0069558 | 0.0017433 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_363-21_0_6_load_35 | 50 | 0.0074665 | 0.0018713 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_363-21_0_6_load_36 | 51 | 0.006022 | 0.0015093 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_363-21_0_6_load_39 | 52 | 0.0055497 | 0.0013909 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_363-21_0_6_load_41 | 54 | 0.0022424 | 0.00056201 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_363-21_0_6_load_42 | 55 | 0.0063839 | 0.0016 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_363-21_0_6_load_72 | 59 | 0.0029202 | 0.00073187 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_363-21_0_6_load_70 | 60 | 0.0026624 | 0.00066727 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_363-21_0_6_load_45 | 61 | 0.002139 | 0.0005361 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_363-21_0_6_load_64 | 62 | 0.0046366 | 0.001162 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_363-21_0_6_load_61 | 63 | 0.0068136 | 0.0017076 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_363-21_0_6_load_71 | 64 | 0.0059194 | 0.0014835 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_363-21_0_6_load_44 | 65 | 0.0040753 | 0.0010214 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_363-21_0_6_load_46 | 66 | 0.0029707 | 0.00074452 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_363-21_0_6_load_48 | 67 | 0.0027907 | 0.0006994 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_363-21_0_6_load_80 | 68 | 0.0018354 | 0.00046 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_363-21_0_6_load_84 | 69 | 0.0023885 | 0.00059861 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_363-21_0_6_load_78 | 70 | 0.0032827 | 0.00082273 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_363-21_0_6_load_51 | 71 | 0.0022946 | 0.00057509 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_363-21_0_6_load_55 | 72 | 0.0032992 | 0.00082686 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_363-21_0_6_load_53 | 73 | 0.0064748 | 0.0016227 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_363-21_0_6_load_54 | 74 | 0.0078977 | 0.0019794 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_363-21_0_6_load_56 | 75 | 0.0047461 | 0.0011895 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_363-21_0_6_load_74 | 76 | 0.0084173 | 0.0021096 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_363-21_0_6_load_75 | 77 | 0.0025042 | 0.00062761 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_363-21_0_6_load_91 | 78 | 0.0012994 | 0.00032567 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_363-21_0_6_load_57 | 79 | 0.0022972 | 0.00057574 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_363-21_0_6_load_58 | 80 | 0.0023593 | 0.0005913 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_363-21_0_6_load_59 | 81 | 0.0024802 | 0.0006216 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_363-21_0_6_load_60 | 82 | 0.0025927 | 0.00064978 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_363-21_0_6_load_62 | 83 | 0.0021033 | 0.00052715 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_363-21_0_6_load_90 | 84 | 0.0017809 | 0.00044633 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_363-21_0_6_load_76 | 85 | 0.0025001 | 0.00062658 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_363-21_0_6_load_65 | 86 | 0.010433 | 0.0026147 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_363-21_0_6_load_73 | 88 | 0.0059727 | 0.0014969 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_363-21_0_6_load_86 | 89 | 0.002822 | 0.00070726 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_363-21_0_6_load_87 | 90 | 0.0030546 | 0.00076554 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_363-21_0_6_load_89 | 91 | 0.0032538 | 0.00081548 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_363-21_0_6_load_77 | 92 | 0.0031191 | 0.00078171 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_363-21_0_6_load_82 | 93 | 0.0029126 | 0.00072998 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_363-21_0_6_load_85 | 94 | 0.0027801 | 0.00069677 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_363-21_0_6_load_94 | 95 | 0.0061568 | 0.0015431 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 21 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_363-21_0_6_line_0 |  | 0 | 1 | 0.0013374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_363-21_0_6_line_1 |  | 1 | 2 | 0.015421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_363-21_0_6_line_2 |  | 2 | 3 | 0.015648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_363-21_0_6_line_3 |  | 3 | 4 | 0.0056022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_363-21_0_6_line_4 |  | 4 | 18 | 0.020224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_363-21_0_6_line_5 |  | 5 | 6 | 0.001038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_363-21_0_6_line_6 |  | 6 | 7 | 0.002534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_363-21_0_6_line_7 |  | 7 | 8 | 0.01706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_363-21_0_6_line_8 |  | 8 | 9 | 0.018382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_363-21_0_6_line_9 |  | 9 | 45 | 0.028402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_363-21_0_6_line_10 |  | 10 | 11 | 0.0086437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_363-21_0_6_line_11 |  | 10 | 12 | 0.010783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_363-21_0_6_line_12 |  | 11 | 13 | 0.0039764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_363-21_0_6_line_13 |  | 12 | 14 | 0.0048131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_363-21_0_6_line_14 |  | 13 | 15 | 0.0056758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_363-21_0_6_line_15 |  | 14 | 16 | 0.019307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_363-21_0_6_line_16 |  | 15 | 17 | 0.010922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_363-21_0_6_line_17 |  | 16 | 18 | 0.025405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_363-21_0_6_line_18 |  | 17 | 51 | 0.0044503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_363-21_0_6_line_19 |  | 18 | 86 | 0.042679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_363-21_0_6_line_20 |  | 19 | 20 | 0.012213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_363-21_0_6_line_21 |  | 19 | 21 | 0.018553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_363-21_0_6_line_22 |  | 20 | 22 | 0.00088777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_363-21_0_6_line_23 |  | 21 | 23 | 0.0010318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_363-21_0_6_line_24 |  | 22 | 24 | 0.00093227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_363-21_0_6_line_25 |  | 23 | 25 | 0.001046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_363-21_0_6_line_26 |  | 24 | 26 | 0.030094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_363-21_0_6_line_27 |  | 25 | 27 | 0.029108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_363-21_0_6_line_28 |  | 26 | 49 | 0.00094632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_363-21_0_6_line_29 |  | 27 | 48 | 0.0046366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_363-21_0_6_line_30 |  | 28 | 29 | 0.03014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_363-21_0_6_line_31 |  | 28 | 30 | 0.039359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_363-21_0_6_line_32 |  | 29 | 31 | 0.018053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_363-21_0_6_line_33 |  | 29 | 32 | 0.030972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_363-21_0_6_line_34 |  | 30 | 33 | 0.007799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_363-21_0_6_line_35 |  | 31 | 34 | 0.022232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_363-21_0_6_line_36 |  | 31 | 35 | 0.015325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_363-21_0_6_line_37 |  | 33 | 36 | 0.031785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_363-21_0_6_line_38 |  | 34 | 37 | 0.019056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_363-21_0_6_line_39 |  | 35 | 38 | 0.0027031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_363-21_0_6_line_40 |  | 36 | 43 | 0.025462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_363-21_0_6_line_41 |  | 36 | 44 | 0.024848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_363-21_0_6_line_42 |  | 37 | 47 | 0.0015006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_363-21_0_6_line_43 |  | 38 | 71 | 0.015134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_363-21_0_6_line_44 |  | 39 | 40 | 0.036368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_363-21_0_6_line_45 |  | 39 | 41 | 0.0285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_363-21_0_6_line_46 |  | 40 | 42 | 0.025386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_363-21_0_6_line_47 |  | 41 | 78 | 0.00092392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_363-21_0_6_line_48 |  | 44 | 46 | 0.032767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_363-21_0_6_line_49 |  | 45 | 46 | 0.0062521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_363-21_0_6_line_50 |  | 47 | 48 | 0.0011778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_363-21_0_6_line_51 |  | 49 | 50 | 0.0010198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_363-21_0_6_line_52 |  | 50 | 51 | 0.0071832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_363-21_0_6_line_53 |  | 52 | 53 | 0.019184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_363-21_0_6_line_54 |  | 52 | 54 | 0.0094762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_363-21_0_6_line_55 |  | 53 | 55 | 0.015908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_363-21_0_6_line_56 |  | 53 | 56 | 0.015713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_363-21_0_6_line_57 |  | 55 | 57 | 0.012347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_363-21_0_6_line_58 |  | 56 | 58 | 0.010999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_363-21_0_6_line_59 |  | 56 | 59 | 0.011544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_363-21_0_6_line_60 |  | 57 | 60 | 0.012295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_363-21_0_6_line_61 |  | 57 | 61 | 0.013536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_363-21_0_6_line_62 |  | 58 | 62 | 0.016353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_363-21_0_6_line_63 |  | 58 | 63 | 0.020613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_363-21_0_6_line_64 |  | 59 | 64 | 0.0083323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_363-21_0_6_line_65 |  | 60 | 69 | 0.009603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_363-21_0_6_line_66 |  | 61 | 65 | 0.011869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_363-21_0_6_line_67 |  | 62 | 84 | 0.0179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_363-21_0_6_line_68 |  | 63 | 83 | 0.012912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_363-21_0_6_line_69 |  | 64 | 88 | 0.037255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_363-21_0_6_line_70 |  | 65 | 66 | 0.017064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_363-21_0_6_line_71 |  | 66 | 67 | 0.0081371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_363-21_0_6_line_72 |  | 67 | 68 | 0.0068928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_363-21_0_6_line_73 |  | 68 | 70 | 0.010899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_363-21_0_6_line_74 |  | 69 | 87 | 8.9932e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_363-21_0_6_line_75 |  | 70 | 92 | 0.009662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_363-21_0_6_line_76 |  | 71 | 72 | 0.0081158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
77 | LV_363-21_0_6_line_77 |  | 72 | 73 | 0.0073813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
78 | LV_363-21_0_6_line_78 |  | 73 | 74 | 0.00088434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_363-21_0_6_line_79 |  | 74 | 75 | 0.014198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_363-21_0_6_line_80 |  | 75 | 76 | 0.009598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_363-21_0_6_line_81 |  | 76 | 77 | 0.011331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_363-21_0_6_line_82 |  | 77 | 85 | 0.00017771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_363-21_0_6_line_83 |  | 78 | 91 | 0.020142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_363-21_0_6_line_84 |  | 79 | 80 | 0.0027531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_363-21_0_6_line_85 |  | 79 | 81 | 9.239e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_363-21_0_6_line_86 |  | 80 | 82 | 0.0026386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_363-21_0_6_line_87 |  | 82 | 83 | 0.0082559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_363-21_0_6_line_88 |  | 84 | 85 | 0.0025863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_363-21_0_6_line_89 |  | 87 | 94 | 0.022146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_363-21_0_6_line_90 |  | 87 | 93 | 0.021701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_363-21_0_6_line_91 |  | 88 | 89 | 0.044934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_363-21_0_6_line_92 |  | 89 | 90 | 0.017434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_363-21_0_6_line_93 |  | 90 | 91 | 0.018061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_363-21_0_6_line_94 |  | 94 | 95 | 0.022426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_363-21_0_6_trafo_15 | 0.63 MVA 20/0.4 kV | 96 | 21 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2604012.8084 | 1200917.7193 | 2604013.1543 | 1200919.0111
1 | 2604017.1437 | 1200933.9077 | 2604013.1543 | 1200919.0111
2 | 2604021.1916 | 1200949.0229 | 2604017.1437 | 1200933.9077
3 | 2604022.6409 | 1200954.4344 | 2604021.1916 | 1200949.0229
4 | 2604022.6409 | 1200954.4344 | 2604027.7427 | 1200974.0039
5 | 2604075.0174 | 1200831.4185 | 2604076.0261 | 1200831.1734
6 | 2604076.0261 | 1200831.1734 | 2604078.4884 | 1200830.5751
7 | 2604095.0657 | 1200826.5473 | 2604078.4884 | 1200830.5751
8 | 2604094.6214 | 1200808.1705 | 2604095.0657 | 1200826.5473 | 2604095.0657 | 1200826.5473
9 | 2604121.6332 | 1200799.3062 | 2604113.4181 | 1200802.6357 | 2604104.4191 | 1200805.7202 | 2604094.6214 | 1200808.1705
10 | 2604092.4073 | 1200950.0693 | 2604084.3011 | 1200953.0697
11 | 2604074.1881 | 1200956.8128 | 2604084.3011 | 1200953.0697
12 | 2604092.4073 | 1200950.0693 | 2604096.1364 | 1200948.689
13 | 2604074.1881 | 1200956.8128 | 2604069.6743 | 1200958.4836
14 | 2604096.1364 | 1200948.689 | 2604101.4594 | 1200946.7188
15 | 2604051.5681 | 1200965.1853 | 2604069.6743 | 1200958.4836
16 | 2604101.4594 | 1200946.7188 | 2604111.7022 | 1200942.9276
17 | 2604027.7427 | 1200974.0039 | 2604051.5681 | 1200965.1853
18 | 2604115.8758 | 1200941.3828 | 2604111.7022 | 1200942.9276
19 | 2604027.7427 | 1200974.0039 | 2604030.0805 | 1200983.833 | 2604037.6629 | 1201015.5139
20 | 2604165.8393 | 1200922.8895 | 2604154.3858 | 1200927.1288
21 | 2604165.8393 | 1200922.8895 | 2604183.2386 | 1200916.4494
22 | 2604153.5533 | 1200927.437 | 2604154.3858 | 1200927.1288
23 | 2604183.2386 | 1200916.4494 | 2604184.2062 | 1200916.0912
24 | 2604152.679 | 1200927.7606 | 2604153.5533 | 1200927.437
25 | 2604185.1872 | 1200915.7281 | 2604184.2062 | 1200916.0912
26 | 2604124.4562 | 1200938.2068 | 2604152.679 | 1200927.7606
27 | 2604211.89 | 1200904.1466 | 2604186.0994 | 1200915.3905 | 2604185.1872 | 1200915.7281
28 | 2604123.5688 | 1200938.5353 | 2604124.4562 | 1200938.2068
29 | 2604211.89 | 1200904.1466 | 2604216.1402 | 1200902.2936
30 | 2604249.7185 | 1200867.9647 | 2604247.667 | 1200862.8049 | 2604241.944 | 1200850.7722 | 2604236.4997 | 1200840.9121
31 | 2604212.8356 | 1200809.6409 | 2604214.798 | 1200811.7212 | 2604225.1644 | 1200823.4236 | 2604233.255 | 1200835.0355 | 2604236.4997 | 1200840.9121
32 | 2604256.443 | 1200884.7229 | 2604253.1529 | 1200876.5717 | 2604249.7185 | 1200867.9647
33 | 2604249.7185 | 1200867.9647 | 2604273.5438 | 1200848.1757
34 | 2604207.7552 | 1200803.712 | 2604212.8356 | 1200809.6409
35 | 2604256.443 | 1200884.7229 | 2604236.0635 | 1200893.6077
36 | 2604256.443 | 1200884.7229 | 2604262.6465 | 1200895.2884 | 2604264.4563 | 1200897.7721
37 | 2604207.7552 | 1200803.712 | 2604197.0029 | 1200799.6357 | 2604186.7157 | 1200794.2591 | 2604178.7794 | 1200790.5627
38 | 2604218.5955 | 1200901.2232 | 2604236.0635 | 1200893.6077
39 | 2604264.4563 | 1200897.7721 | 2604266.0482 | 1200899.9567
40 | 2604169.4163 | 1200813.9244 | 2604173.3923 | 1200798.8968 | 2604178.7794 | 1200790.5627
41 | 2604154.1935 | 1200791.2685 | 2604159.0656 | 1200790.249 | 2604170.7273 | 1200789.112 | 2604173.4141 | 1200789.2027 | 2604178.7794 | 1200790.5627
42 | 2604218.5955 | 1200901.2232 | 2604217.2199 | 1200901.8229
43 | 2604266.0482 | 1200899.9567 | 2604274.9611 | 1200912.188
44 | 2604397.4129 | 1200835.1411 | 2604387.505 | 1200852.9768 | 2604382.2546 | 1200868.0536
45 | 2604377.1712 | 1200896.0396 | 2604377.1762 | 1200895.2032 | 2604378.1568 | 1200886.4103 | 2604379.9826 | 1200877.24 | 2604382.0515 | 1200868.6369 | 2604382.2546 | 1200868.0536
46 | 2604397.4129 | 1200835.1411 | 2604381.6939 | 1200826.2249 | 2604376.6969 | 1200820.884
47 | 2604377.1712 | 1200896.0396 | 2604377.1658 | 1200896.9635
48 | 2604154.1935 | 1200791.2685 | 2604149.7703 | 1200792.5328 | 2604145.2631 | 1200794.1083 | 2604124.4914 | 1200804.8667
49 | 2604121.6332 | 1200799.3062 | 2604124.4914 | 1200804.8667
50 | 2604216.1402 | 1200902.2936 | 2604217.2199 | 1200901.8229
51 | 2604122.6124 | 1200938.8893 | 2604123.5688 | 1200938.5353
52 | 2604122.6124 | 1200938.8893 | 2604115.8758 | 1200941.3828
53 | 2604313.2507 | 1201019.2576 | 2604294.545 | 1201023.5157
54 | 2604285.3051 | 1201025.619 | 2604294.545 | 1201023.5157
55 | 2604313.2507 | 1201019.2576 | 2604316.5179 | 1201034.8264
56 | 2604310.0268 | 1201003.8803 | 2604311.3619 | 1201010.2291 | 2604313.2507 | 1201019.2576
57 | 2604319.0537 | 1201046.9099 | 2604316.5179 | 1201034.8264
58 | 2604307.6597 | 1200993.1395 | 2604310.0268 | 1201003.8803
59 | 2604310.0268 | 1201003.8803 | 2604321.2478 | 1201001.1704
60 | 2604319.0537 | 1201046.9099 | 2604321.471 | 1201058.9653
61 | 2604319.0537 | 1201046.9099 | 2604305.9437 | 1201050.2782
62 | 2604307.6597 | 1200993.1395 | 2604304.1676 | 1200977.1638
63 | 2604307.6597 | 1200993.1395 | 2604287.501 | 1200997.4452
64 | 2604329.3472 | 1200999.2143 | 2604321.2478 | 1201001.1704
65 | 2604323.3591 | 1201068.3809 | 2604321.471 | 1201058.9653
66 | 2604294.448 | 1201053.2317 | 2604305.9437 | 1201050.2782
67 | 2604300.1042 | 1200959.7395 | 2604301.0441 | 1200962.8741 | 2604304.1676 | 1200977.1638
68 | 2604287.501 | 1200997.4452 | 2604274.8736 | 1201000.1423
69 | 2604365.5611 | 1200990.4683 | 2604329.3472 | 1200999.2143
70 | 2604294.448 | 1201053.2317 | 2604293.2925 | 1201053.5285 | 2604291.5185 | 1201054.3388 | 2604290.3839 | 1201055.1162 | 2604289.386 | 1201056.2828 | 2604288.7762 | 1201057.4942 | 2604288.2652 | 1201058.9501 | 2604287.9293 | 1201060.4174 | 2604287.6152 | 1201063.352 | 2604287.5762 | 1201067.0064
71 | 2604288.5312 | 1201075.0858 | 2604287.5744 | 1201067.1763 | 2604287.5762 | 1201067.0064
72 | 2604288.5312 | 1201075.0858 | 2604289.359 | 1201081.9288
73 | 2604289.359 | 1201081.9288 | 2604290.668 | 1201092.7493
74 | 2604323.3591 | 1201068.3809 | 2604323.3767 | 1201068.469
75 | 2604291.8284 | 1201102.3413 | 2604290.668 | 1201092.7493
76 | 2604279.7808 | 1200918.7175 | 2604276.5468 | 1200914.364 | 2604274.9611 | 1200912.188
77 | 2604284.1825 | 1200924.6428 | 2604279.7808 | 1200918.7175
78 | 2604284.1825 | 1200924.6428 | 2604284.7099 | 1200925.3527
79 | 2604291.9565 | 1200937.5379 | 2604290.5907 | 1200934.7627 | 2604285.9912 | 1200927.0775 | 2604284.7099 | 1200925.3527
80 | 2604295.7338 | 1200946.3431 | 2604294.3453 | 1200942.3917 | 2604291.9565 | 1200937.5379
81 | 2604295.7338 | 1200946.3431 | 2604298.1434 | 1200953.2002 | 2604299.3103 | 1200957.0919
82 | 2604299.3103 | 1200957.0919 | 2604299.3614 | 1200957.2621
83 | 2604377.1658 | 1200896.9635 | 2604377.1242 | 1200903.9746 | 2604377.7497 | 1200912.613 | 2604378.4795 | 1200917.0229
84 | 2604261.5271 | 1201002.9929 | 2604264.2195 | 1201002.4179
85 | 2604261.5271 | 1201002.9929 | 2604261.4368 | 1201003.0122
86 | 2604266.7998 | 1201001.8668 | 2604264.2195 | 1201002.4179
87 | 2604274.8736 | 1201000.1423 | 2604266.7998 | 1201001.8668
88 | 2604300.1042 | 1200959.7395 | 2604299.3614 | 1200957.2621
89 | 2604323.3767 | 1201068.469 | 2604345.023 | 1201063.7894
90 | 2604323.3767 | 1201068.469 | 2604327.9797 | 1201089.6764
91 | 2604365.5611 | 1200990.4683 | 2604387.578 | 1200951.2981
92 | 2604387.578 | 1200951.2981 | 2604382.603 | 1200934.5892
93 | 2604382.603 | 1200934.5892 | 2604381.3599 | 1200930.4141 | 2604379.2199 | 1200921.4966 | 2604378.4795 | 1200917.0229
94 | 2604366.9426 | 1201059.0507 | 2604345.023 | 1201063.7894

## bus_geodata
| x | y | coords
0 | 2604012.8084 | 1200917.7193
1 | 2604013.1543 | 1200919.0111
2 | 2604017.1437 | 1200933.9077
3 | 2604021.1916 | 1200949.0229
4 | 2604022.6409 | 1200954.4344
5 | 2604075.0174 | 1200831.4185
6 | 2604076.0261 | 1200831.1734
7 | 2604078.4884 | 1200830.5751
8 | 2604095.0657 | 1200826.5473
9 | 2604094.6214 | 1200808.1705
10 | 2604084.3011 | 1200953.0697
11 | 2604092.4073 | 1200950.0693
12 | 2604074.1881 | 1200956.8128
13 | 2604096.1364 | 1200948.689
14 | 2604069.6743 | 1200958.4836
15 | 2604101.4594 | 1200946.7188
16 | 2604051.5681 | 1200965.1853
17 | 2604111.7022 | 1200942.9276
18 | 2604027.7427 | 1200974.0039
19 | 2604165.8393 | 1200922.8895
20 | 2604154.3858 | 1200927.1288
21 | 2604183.2386 | 1200916.4494
22 | 2604153.5533 | 1200927.437
23 | 2604184.2062 | 1200916.0912
24 | 2604152.679 | 1200927.7606
25 | 2604185.1872 | 1200915.7281
26 | 2604124.4563 | 1200938.2068
27 | 2604211.89 | 1200904.1466
28 | 2604236.4997 | 1200840.9121
29 | 2604249.7185 | 1200867.9647
30 | 2604212.8356 | 1200809.6409
31 | 2604256.443 | 1200884.7229
32 | 2604273.5438 | 1200848.1757
33 | 2604207.7552 | 1200803.712
34 | 2604236.0635 | 1200893.6077
35 | 2604264.4563 | 1200897.7721
36 | 2604178.7794 | 1200790.5627
37 | 2604218.5955 | 1200901.2232
38 | 2604266.0482 | 1200899.9567
39 | 2604382.2546 | 1200868.0536
40 | 2604397.4129 | 1200835.1411
41 | 2604377.1712 | 1200896.0396
42 | 2604376.6969 | 1200820.884
43 | 2604169.4163 | 1200813.9244
44 | 2604154.1935 | 1200791.2685
45 | 2604121.6332 | 1200799.3062
46 | 2604124.4914 | 1200804.8667
47 | 2604217.2199 | 1200901.8229
48 | 2604216.1402 | 1200902.2936
49 | 2604123.5688 | 1200938.5353
50 | 2604122.6124 | 1200938.8893
51 | 2604115.8758 | 1200941.3828
52 | 2604294.545 | 1201023.5157
53 | 2604313.2507 | 1201019.2576
54 | 2604285.3051 | 1201025.619
55 | 2604316.5179 | 1201034.8264
56 | 2604310.0268 | 1201003.8803
57 | 2604319.0537 | 1201046.9099
58 | 2604307.6597 | 1200993.1395
59 | 2604321.2478 | 1201001.1704
60 | 2604321.471 | 1201058.9653
61 | 2604305.9437 | 1201050.2782
62 | 2604304.1676 | 1200977.1638
63 | 2604287.501 | 1200997.4452
64 | 2604329.3472 | 1200999.2143
65 | 2604294.448 | 1201053.2317
66 | 2604287.5762 | 1201067.0064
67 | 2604288.5312 | 1201075.0858
68 | 2604289.359 | 1201081.9288
69 | 2604323.3591 | 1201068.3809
70 | 2604290.668 | 1201092.7493
71 | 2604274.9611 | 1200912.188
72 | 2604279.7808 | 1200918.7175
73 | 2604284.1825 | 1200924.6428
74 | 2604284.7099 | 1200925.3527
75 | 2604291.9565 | 1200937.5379
76 | 2604295.7338 | 1200946.3431
77 | 2604299.3103 | 1200957.0919
78 | 2604377.1658 | 1200896.9635
79 | 2604261.5271 | 1201002.9929
80 | 2604264.2195 | 1201002.4179
81 | 2604261.4368 | 1201003.0122
82 | 2604266.7998 | 1201001.8668
83 | 2604274.8736 | 1201000.1423
84 | 2604300.1042 | 1200959.7395
85 | 2604299.3614 | 1200957.2621
86 | 2604037.6629 | 1201015.5139
87 | 2604323.3768 | 1201068.469
88 | 2604365.5611 | 1200990.4683
89 | 2604387.578 | 1200951.2981
90 | 2604382.603 | 1200934.5892
91 | 2604378.4795 | 1200917.0229
92 | 2604291.8284 | 1201102.3413
93 | 2604327.9797 | 1201089.6764
94 | 2604345.023 | 1201063.7894
95 | 2604366.9426 | 1201059.0507
96 | 2604256.443 | 1200884.7229

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1