## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_363-32_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_363-32_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_363-32_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_363-32_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_363-32_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_363-32_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_363-32_0_6_node_57 | 0.4 | n |  | TRUE
7 | bus_LV_363-32_0_6_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_363-32_0_6_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_363-32_0_6_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_363-32_0_6_node_12 | 0.4 | n |  | TRUE
11 | bus_LV_363-32_0_6_node_21 | 0.4 | n |  | TRUE
12 | bus_LV_363-32_0_6_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_363-32_0_6_node_14 | 0.4 | n |  | TRUE
14 | bus_LV_363-32_0_6_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_363-32_0_6_node_22 | 0.4 | n |  | TRUE
16 | bus_LV_363-32_0_6_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_363-32_0_6_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_363-32_0_6_node_74 | 0.4 | n |  | TRUE
19 | bus_LV_363-32_0_6_node_18 | 0.4 | n |  | TRUE
20 | bus_LV_363-32_0_6_node_75 | 0.4 | n |  | TRUE
21 | bus_LV_363-32_0_6_node_42 | 0.4 | n |  | TRUE
22 | bus_LV_363-32_0_6_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_363-32_0_6_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_363-32_0_6_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_363-32_0_6_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_363-32_0_6_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_363-32_0_6_node_26 | 0.4 | n |  | TRUE
28 | bus_LV_363-32_0_6_node_30 | 0.4 | n |  | TRUE
29 | bus_LV_363-32_0_6_node_102 | 0.4 | n |  | TRUE
30 | bus_LV_363-32_0_6_node_25 | 0.4 | n |  | TRUE
31 | bus_LV_363-32_0_6_node_32 | 0.4 | n |  | TRUE
32 | bus_LV_363-32_0_6_node_29 | 0.4 | n |  | TRUE
33 | bus_LV_363-32_0_6_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_363-32_0_6_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_363-32_0_6_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_363-32_0_6_node_28 | 0.4 | n |  | TRUE
37 | bus_LV_363-32_0_6_node_35 | 0.4 | n |  | TRUE
38 | bus_LV_363-32_0_6_node_36 | 0.4 | n |  | TRUE
39 | bus_LV_363-32_0_6_node_37 | 0.4 | n |  | TRUE
40 | bus_LV_363-32_0_6_node_31 | 0.4 | n |  | TRUE
41 | bus_LV_363-32_0_6_node_33 | 0.4 | n |  | TRUE
42 | bus_LV_363-32_0_6_node_34 | 0.4 | n |  | TRUE
43 | bus_LV_363-32_0_6_node_46 | 0.4 | n |  | TRUE
44 | bus_LV_363-32_0_6_node_43 | 0.4 | n |  | TRUE
45 | bus_LV_363-32_0_6_node_69 | 0.4 | n |  | TRUE
46 | bus_LV_363-32_0_6_node_51 | 0.4 | n |  | TRUE
47 | bus_LV_363-32_0_6_node_41 | 0.4 | n |  | TRUE
48 | bus_LV_363-32_0_6_node_44 | 0.4 | n |  | TRUE
49 | bus_LV_363-32_0_6_node_68 | 0.4 | n |  | TRUE
50 | bus_LV_363-32_0_6_node_66 | 0.4 | n |  | TRUE
51 | bus_LV_363-32_0_6_node_95 | 0.4 | n |  | TRUE
52 | bus_LV_363-32_0_6_node_55 | 0.4 | n |  | TRUE
53 | bus_LV_363-32_0_6_node_96 | 0.4 | n |  | TRUE
54 | bus_LV_363-32_0_6_node_38 | 0.4 | n |  | TRUE
55 | bus_LV_363-32_0_6_node_39 | 0.4 | n |  | TRUE
56 | bus_LV_363-32_0_6_node_106 | 0.4 | n |  | TRUE
57 | bus_LV_363-32_0_6_node_45 | 0.4 | n |  | TRUE
58 | bus_LV_363-32_0_6_node_67 | 0.4 | n |  | TRUE
59 | bus_LV_363-32_0_6_node_49 | 0.4 | n |  | TRUE
60 | bus_LV_363-32_0_6_node_47 | 0.4 | n |  | TRUE
61 | bus_LV_363-32_0_6_node_48 | 0.4 | n |  | TRUE
62 | bus_LV_363-32_0_6_node_50 | 0.4 | n |  | TRUE
63 | bus_LV_363-32_0_6_node_52 | 0.4 | n |  | TRUE
64 | bus_LV_363-32_0_6_node_53 | 0.4 | n |  | TRUE
65 | bus_LV_363-32_0_6_node_54 | 0.4 | n |  | TRUE
66 | bus_LV_363-32_0_6_node_56 | 0.4 | n |  | TRUE
67 | bus_LV_363-32_0_6_node_63 | 0.4 | n |  | TRUE
68 | bus_LV_363-32_0_6_node_64 | 0.4 | n |  | TRUE
69 | bus_LV_363-32_0_6_node_58 | 0.4 | n |  | TRUE
70 | bus_LV_363-32_0_6_node_59 | 0.4 | n |  | TRUE
71 | bus_LV_363-32_0_6_node_60 | 0.4 | n |  | TRUE
72 | bus_LV_363-32_0_6_node_61 | 0.4 | n |  | TRUE
73 | bus_LV_363-32_0_6_node_62 | 0.4 | n |  | TRUE
74 | bus_LV_363-32_0_6_node_65 | 0.4 | n |  | TRUE
75 | bus_LV_363-32_0_6_node_73 | 0.4 | n |  | TRUE
76 | bus_LV_363-32_0_6_node_71 | 0.4 | n |  | TRUE
77 | bus_LV_363-32_0_6_node_72 | 0.4 | n |  | TRUE
78 | bus_LV_363-32_0_6_node_70 | 0.4 | n |  | TRUE
79 | bus_LV_363-32_0_6_node_76 | 0.4 | n |  | TRUE
80 | bus_LV_363-32_0_6_node_81 | 0.4 | n |  | TRUE
81 | bus_LV_363-32_0_6_node_82 | 0.4 | n |  | TRUE
82 | bus_LV_363-32_0_6_node_77 | 0.4 | n |  | TRUE
83 | bus_LV_363-32_0_6_node_78 | 0.4 | n |  | TRUE
84 | bus_LV_363-32_0_6_node_79 | 0.4 | n |  | TRUE
85 | bus_LV_363-32_0_6_node_100 | 0.4 | n |  | TRUE
86 | bus_LV_363-32_0_6_node_98 | 0.4 | n |  | TRUE
87 | bus_LV_363-32_0_6_node_84 | 0.4 | n |  | TRUE
88 | bus_LV_363-32_0_6_node_85 | 0.4 | n |  | TRUE
89 | bus_LV_363-32_0_6_node_86 | 0.4 | n |  | TRUE
90 | bus_LV_363-32_0_6_node_87 | 0.4 | n |  | TRUE
91 | bus_LV_363-32_0_6_node_88 | 0.4 | n |  | TRUE
92 | bus_LV_363-32_0_6_node_89 | 0.4 | n |  | TRUE
93 | bus_LV_363-32_0_6_node_90 | 0.4 | n |  | TRUE
94 | bus_LV_363-32_0_6_node_93 | 0.4 | n |  | TRUE
95 | bus_LV_363-32_0_6_node_94 | 0.4 | n |  | TRUE
96 | bus_LV_363-32_0_6_node_92 | 0.4 | n |  | TRUE
97 | bus_LV_363-32_0_6_node_91 | 0.4 | n |  | TRUE
98 | bus_LV_363-32_0_6_node_99 | 0.4 | n |  | TRUE
99 | bus_LV_363-32_0_6_node_101 | 0.4 | n |  | TRUE
100 | bus_LV_363-32_0_6_node_103 | 0.4 | n |  | TRUE
101 | bus_LV_363-32_0_6_node_104 | 0.4 | n |  | TRUE
102 | bus_LV_363-32_0_6_node_105 | 0.4 | n |  | TRUE
103 | bus_MV_599_0_node_91 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_363-32_0_6_load_0 | 0 | 0.0072663 | 0.0018211 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_363-32_0_6_load_1 | 1 | 0.014801 | 0.0037094 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_363-32_0_6_load_3 | 3 | 0.0039303 | 0.00098503 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_363-32_0_6_load_5 | 5 | 0.0055503 | 0.001391 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_363-32_0_6_load_57 | 6 | 0.01442 | 0.0036139 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_363-32_0_6_load_9 | 8 | 0.0094991 | 0.0023807 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_363-32_0_6_load_6 | 9 | 0.0030539 | 0.00076537 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_363-32_0_6_load_21 | 11 | 0.009166 | 0.0022972 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_363-32_0_6_load_7 | 12 | 0.0032337 | 0.00081044 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_363-32_0_6_load_14 | 13 | 0.015713 | 0.0039381 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_363-32_0_6_load_10 | 14 | 0.0024451 | 0.0006128 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_363-32_0_6_load_22 | 15 | 0.014291 | 0.0035816 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_363-32_0_6_load_11 | 16 | 0.005123 | 0.0012839 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_363-32_0_6_load_13 | 17 | 0.0027723 | 0.00069482 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_363-32_0_6_load_74 | 18 | 0.001913 | 0.00047945 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_363-32_0_6_load_75 | 20 | 0.0024631 | 0.00061732 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_363-32_0_6_load_16 | 22 | 0.0024239 | 0.0006075 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_363-32_0_6_load_15 | 23 | 0.003799 | 0.00095213 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_363-32_0_6_load_19 | 25 | 0.0044065 | 0.0011044 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_363-32_0_6_load_20 | 26 | 0.0035811 | 0.00089752 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_363-32_0_6_load_26 | 27 | 0.0021129 | 0.00052954 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_363-32_0_6_load_102 | 29 | 0.0056824 | 0.0014241 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_363-32_0_6_load_25 | 30 | 0.0066566 | 0.0016683 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_363-32_0_6_load_29 | 32 | 0.0051364 | 0.0012873 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_363-32_0_6_load_23 | 33 | 0.012144 | 0.0030437 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_363-32_0_6_load_24 | 34 | 0.0081502 | 0.0020426 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_363-32_0_6_load_27 | 35 | 0.006474 | 0.0016225 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_363-32_0_6_load_28 | 36 | 0.0066119 | 0.0016571 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_363-32_0_6_load_36 | 38 | 0.014929 | 0.0037415 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_363-32_0_6_load_37 | 39 | 0.012433 | 0.0031161 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_363-32_0_6_load_33 | 41 | 0.010683 | 0.0026774 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_363-32_0_6_load_34 | 42 | 0.0063008 | 0.0015791 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_363-32_0_6_load_43 | 44 | 0.0059392 | 0.0014885 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_363-32_0_6_load_69 | 45 | 0.0063971 | 0.0016033 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_363-32_0_6_load_51 | 46 | 0.0066713 | 0.001672 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_363-32_0_6_load_44 | 48 | 0.0047963 | 0.0012021 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_363-32_0_6_load_68 | 49 | 0.008575 | 0.0021491 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_363-32_0_6_load_66 | 50 | 0.02231 | 0.0055915 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_363-32_0_6_load_95 | 51 | 0.011329 | 0.0028394 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_363-32_0_6_load_96 | 53 | 0.023699 | 0.0059396 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_363-32_0_6_load_38 | 54 | 0.0054934 | 0.0013768 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_363-32_0_6_load_39 | 55 | 0.0049569 | 0.0012423 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_363-32_0_6_load_106 | 56 | 0.0058628 | 0.0014694 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_363-32_0_6_load_45 | 57 | 0.0077906 | 0.0019525 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_363-32_0_6_load_67 | 58 | 0.010287 | 0.0025781 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_363-32_0_6_load_49 | 59 | 0.0042216 | 0.001058 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_363-32_0_6_load_47 | 60 | 0.0038366 | 0.00096155 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_363-32_0_6_load_48 | 61 | 0.0041099 | 0.00103 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_363-32_0_6_load_50 | 62 | 0.0054678 | 0.0013704 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_363-32_0_6_load_52 | 63 | 0.0075014 | 0.00188 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_363-32_0_6_load_53 | 64 | 0.010925 | 0.0027381 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_363-32_0_6_load_54 | 65 | 0.0080476 | 0.0020169 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_363-32_0_6_load_56 | 66 | 0.0078752 | 0.0019737 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_363-32_0_6_load_63 | 67 | 0.0083039 | 0.0020812 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_363-32_0_6_load_64 | 68 | 0.0089408 | 0.0022408 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_363-32_0_6_load_58 | 69 | 0.011678 | 0.0029268 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_363-32_0_6_load_59 | 70 | 0.0094619 | 0.0023714 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_363-32_0_6_load_60 | 71 | 0.0079305 | 0.0019876 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_363-32_0_6_load_61 | 72 | 0.0089138 | 0.002234 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_363-32_0_6_load_65 | 74 | 0.011493 | 0.0028803 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_363-32_0_6_load_73 | 75 | 0.010523 | 0.0026373 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_363-32_0_6_load_71 | 76 | 0.010157 | 0.0025455 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_363-32_0_6_load_72 | 77 | 0.042297 | 0.010601 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_363-32_0_6_load_70 | 78 | 0.012647 | 0.0031698 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_363-32_0_6_load_81 | 80 | 0.0046748 | 0.0011716 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_363-32_0_6_load_82 | 81 | 0.0021786 | 0.00054602 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_363-32_0_6_load_77 | 82 | 0.0026737 | 0.00067009 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_363-32_0_6_load_100 | 85 | 0.0011738 | 0.00029418 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_363-32_0_6_load_98 | 86 | 0.0085223 | 0.0021359 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_363-32_0_6_load_84 | 87 | 0.01445 | 0.0036215 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_363-32_0_6_load_85 | 88 | 0.00095749 | 0.00023997 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_363-32_0_6_load_87 | 90 | 0.0016971 | 0.00042534 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_363-32_0_6_load_88 | 91 | 0.0017256 | 0.00043246 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_363-32_0_6_load_90 | 93 | 0.0064637 | 0.00162 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_363-32_0_6_load_93 | 94 | 0.00035553 | 8.9105e-05 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_363-32_0_6_load_94 | 95 | 0.00055116 | 0.00013813 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_363-32_0_6_load_92 | 96 | 0.00087427 | 0.00021911 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_363-32_0_6_load_91 | 97 | 0.0012377 | 0.00031019 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_363-32_0_6_load_99 | 98 | 0.0013034 | 0.00032667 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_363-32_0_6_load_101 | 99 | 0.0013054 | 0.00032717 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_363-32_0_6_load_103 | 100 | 0.0011492 | 0.00028802 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_363-32_0_6_load_105 | 102 | 0.0066317 | 0.0016621 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 35 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_363-32_0_6_line_0 |  | 0 | 1 | 0.017911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_363-32_0_6_line_1 |  | 0 | 2 | 0.0459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_363-32_0_6_line_2 |  | 1 | 3 | 0.027484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_363-32_0_6_line_3 |  | 2 | 4 | 0.007893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_363-32_0_6_line_4 |  | 2 | 5 | 0.017456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_363-32_0_6_line_5 |  | 3 | 6 | 0.020929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_363-32_0_6_line_6 |  | 4 | 7 | 0.050326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_363-32_0_6_line_7 |  | 4 | 8 | 0.017771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_363-32_0_6_line_8 |  | 4 | 9 | 0.013572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_363-32_0_6_line_9 |  | 5 | 10 | 0.016896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_363-32_0_6_line_10 |  | 7 | 11 | 0.022991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_363-32_0_6_line_11 |  | 9 | 12 | 0.0091669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_363-32_0_6_line_12 |  | 10 | 13 | 0.019717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_363-32_0_6_line_13 |  | 10 | 14 | 0.015047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_363-32_0_6_line_14 |  | 11 | 15 | 0.060957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_363-32_0_6_line_15 |  | 13 | 19 | 0.02823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_363-32_0_6_line_16 |  | 14 | 16 | 0.0015482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_363-32_0_6_line_17 |  | 15 | 33 | 0.052616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_363-32_0_6_line_18 |  | 16 | 17 | 0.008205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_363-32_0_6_line_19 |  | 17 | 18 | 0.015298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_363-32_0_6_line_20 |  | 18 | 20 | 0.0028268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_363-32_0_6_line_21 |  | 19 | 21 | 0.03301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_363-32_0_6_line_22 |  | 19 | 22 | 0.025411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_363-32_0_6_line_23 |  | 20 | 79 | 0.030575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_363-32_0_6_line_24 |  | 21 | 29 | 0.068335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_363-32_0_6_line_25 |  | 22 | 23 | 0.014861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_363-32_0_6_line_26 |  | 23 | 24 | 0.021766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_363-32_0_6_line_27 |  | 24 | 25 | 0.019859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_363-32_0_6_line_28 |  | 24 | 26 | 0.0075867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_363-32_0_6_line_29 |  | 25 | 27 | 0.014723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_363-32_0_6_line_30 |  | 26 | 28 | 0.073472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_363-32_0_6_line_31 |  | 27 | 30 | 0.028888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_363-32_0_6_line_32 |  | 28 | 31 | 0.042912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_363-32_0_6_line_33 |  | 28 | 32 | 0.020418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_363-32_0_6_line_34 |  | 29 | 56 | 0.03879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_363-32_0_6_line_35 |  | 30 | 35 | 0.032507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_363-32_0_6_line_36 |  | 31 | 43 | 0.028061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_363-32_0_6_line_37 |  | 31 | 44 | 0.018698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_363-32_0_6_line_38 |  | 32 | 40 | 0.011794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_363-32_0_6_line_39 |  | 33 | 34 | 0.01653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_363-32_0_6_line_40 |  | 35 | 36 | 0.029162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_363-32_0_6_line_41 |  | 36 | 37 | 0.075641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_363-32_0_6_line_42 |  | 37 | 38 | 0.033587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_363-32_0_6_line_43 |  | 37 | 39 | 0.028282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_363-32_0_6_line_44 |  | 38 | 50 | 0.0050709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_363-32_0_6_line_45 |  | 39 | 51 | 0.0078643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_363-32_0_6_line_46 |  | 40 | 41 | 0.028114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_363-32_0_6_line_47 |  | 40 | 42 | 0.032728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_363-32_0_6_line_48 |  | 42 | 45 | 0.016521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_363-32_0_6_line_49 |  | 43 | 46 | 0.020342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_363-32_0_6_line_50 |  | 43 | 47 | 0.040911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_363-32_0_6_line_51 |  | 44 | 48 | 0.029003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_363-32_0_6_line_52 |  | 45 | 49 | 0.033053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_363-32_0_6_line_53 |  | 46 | 59 | 0.027952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_363-32_0_6_line_54 |  | 47 | 55 | 0.019061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_363-32_0_6_line_55 |  | 48 | 57 | 0.016483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_363-32_0_6_line_56 |  | 49 | 78 | 0.028014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_363-32_0_6_line_57 |  | 50 | 52 | 0.022044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
58 | LV_363-32_0_6_line_58 |  | 51 | 53 | 0.033937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_363-32_0_6_line_59 |  | 52 | 67 | 0.012532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_363-32_0_6_line_60 |  | 52 | 64 | 0.023424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_363-32_0_6_line_61 |  | 53 | 93 | 0.19417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_363-32_0_6_line_62 |  | 54 | 55 | 0.035035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_363-32_0_6_line_63 |  | 56 | 102 | 0.015547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_363-32_0_6_line_64 |  | 57 | 58 | 0.052287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_363-32_0_6_line_65 |  | 59 | 60 | 0.010578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_363-32_0_6_line_66 |  | 60 | 61 | 0.024382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_363-32_0_6_line_67 |  | 61 | 62 | 0.00089896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_363-32_0_6_line_68 |  | 63 | 64 | 0.035026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_363-32_0_6_line_69 |  | 63 | 65 | 0.0018867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_363-32_0_6_line_70 |  | 65 | 66 | 0.0021348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_363-32_0_6_line_71 |  | 67 | 68 | 0.014335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_363-32_0_6_line_72 |  | 68 | 74 | 0.011554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_363-32_0_6_line_73 |  | 69 | 70 | 0.012977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_363-32_0_6_line_74 |  | 69 | 71 | 0.012452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_363-32_0_6_line_75 |  | 70 | 72 | 0.015275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_363-32_0_6_line_76 |  | 71 | 73 | 0.023404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_363-32_0_6_line_77 |  | 72 | 74 | 0.0032873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_363-32_0_6_line_78 |  | 73 | 75 | 0.034331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_363-32_0_6_line_79 |  | 73 | 76 | 0.01595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_363-32_0_6_line_80 |  | 76 | 77 | 0.0049308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_363-32_0_6_line_81 |  | 79 | 80 | 0.020467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_363-32_0_6_line_82 |  | 80 | 81 | 0.024106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_363-32_0_6_line_83 |  | 82 | 83 | 0.058364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_363-32_0_6_line_84 |  | 83 | 84 | 0.068496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_363-32_0_6_line_85 |  | 84 | 85 | 0.015116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_363-32_0_6_line_86 |  | 85 | 86 | 0.047215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_363-32_0_6_line_87 |  | 86 | 98 | 0.004076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_363-32_0_6_line_88 |  | 87 | 88 | 0.040264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_363-32_0_6_line_89 |  | 88 | 89 | 0.046655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_363-32_0_6_line_90 |  | 89 | 90 | 0.010293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_363-32_0_6_line_91 |  | 89 | 91 | 0.032889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_363-32_0_6_line_92 |  | 89 | 92 | 0.030815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_363-32_0_6_line_93 |  | 92 | 94 | 0.026919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_363-32_0_6_line_94 |  | 92 | 95 | 0.012411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_363-32_0_6_line_95 |  | 93 | 97 | 0.10683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_363-32_0_6_line_96 |  | 94 | 96 | 0.01213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_363-32_0_6_line_97 |  | 96 | 97 | 0.018067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_363-32_0_6_line_98 |  | 98 | 99 | 0.022118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_363-32_0_6_line_99 |  | 99 | 100 | 0.020817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_363-32_0_6_line_100 |  | 100 | 101 | 0.020915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_363-32_0_6_line_101 |  | 101 | 102 | 0.012576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_363-32_0_6_trafo_27 | 0.63 MVA 20/0.4 kV | 103 | 35 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2604307.7984 | 1201188.9936 | 2604308.8868 | 1201205.2769 | 2604308.8522 | 1201206.8681
1 | 2604304.7371 | 1201143.196 | 2604307.7984 | 1201188.9936
2 | 2604308.2546 | 1201234.3457 | 2604308.8522 | 1201206.8681
3 | 2604296.8439 | 1201143.8019 | 2604304.7371 | 1201143.196
4 | 2604304.7371 | 1201143.196 | 2604322.1306 | 1201141.7227
5 | 2604291.4639 | 1201239.2273 | 2604308.1629 | 1201238.5609 | 2604308.2546 | 1201234.3457
6 | 2604246.4864 | 1201146.9015 | 2604258.573 | 1201146.7654 | 2604296.8439 | 1201143.8019
7 | 2604296.8439 | 1201143.8019 | 2604298.1838 | 1201161.522
8 | 2604296.8439 | 1201143.8019 | 2604295.214 | 1201130.328
9 | 2604338.9665 | 1201140.2966 | 2604322.1306 | 1201141.7227
10 | 2604246.4864 | 1201146.9015 | 2604247.9438 | 1201152.6278 | 2604249.8557 | 1201161.2782 | 2604247.8031 | 1201169.2412
11 | 2604295.214 | 1201130.328 | 2604294.113 | 1201121.2274
12 | 2604338.9665 | 1201140.2966 | 2604343.0872 | 1201159.578
13 | 2604338.9665 | 1201140.2966 | 2604335.7749 | 1201125.592
14 | 2604247.8031 | 1201169.2412 | 2604247.3143 | 1201171.1373 | 2604246.3067 | 1201175.3611 | 2604246.0677 | 1201179.6855 | 2604245.6835 | 1201184.9214 | 2604246.2962 | 1201190.4025 | 2604245.6733 | 1201199.5737 | 2604244.5026 | 1201208.3665 | 2604242.9512 | 1201217.4703 | 2604242.518 | 1201227.4532 | 2604242.3142 | 1201229.7146
15 | 2604348.9872 | 1201187.1846 | 2604343.0872 | 1201159.578
16 | 2604335.7749 | 1201125.592 | 2604335.4466 | 1201124.079
17 | 2604242.3142 | 1201229.7146 | 2604241.2294 | 1201241.7489 | 2604241.6253 | 1201252.4883 | 2604241.0113 | 1201259.7362 | 2604239.5845 | 1201275.7883 | 2604239.0118 | 1201282.16
18 | 2604335.4466 | 1201124.079 | 2604333.7062 | 1201116.0607
19 | 2604330.4614 | 1201101.1106 | 2604333.7062 | 1201116.0607
20 | 2604330.4614 | 1201101.1106 | 2604329.8618 | 1201098.3481
21 | 2604380.0703 | 1201198.5464 | 2604348.9872 | 1201187.1846
22 | 2604348.9872 | 1201187.1846 | 2604354.2623 | 1201212.042
23 | 2604323.3767 | 1201068.469 | 2604329.8618 | 1201098.3481
24 | 2604380.0703 | 1201198.5464 | 2604389.9376 | 1201193.9844 | 2604398.4703 | 1201192.9233 | 2604409.3135 | 1201196.4776 | 2604423.5246 | 1201205.3482 | 2604429.4026 | 1201212.5786 | 2604440.4475 | 1201215.3371
25 | 2604354.2623 | 1201212.042 | 2604357.3473 | 1201226.5792
26 | 2604360.4666 | 1201248.0701 | 2604359.6902 | 1201237.6194 | 2604357.3473 | 1201226.5792
27 | 2604360.4666 | 1201248.0701 | 2604374.5018 | 1201247.5021 | 2604379.5266 | 1201250.4227
28 | 2604360.4666 | 1201248.0701 | 2604359.5801 | 1201255.6048
29 | 2604392.2555 | 1201257.8211 | 2604379.5266 | 1201250.4227
30 | 2604350.9941 | 1201328.5733 | 2604359.5801 | 1201255.6048
31 | 2604392.2555 | 1201257.8211 | 2604417.2311 | 1201272.3377
32 | 2604350.9941 | 1201328.5733 | 2604346.4655 | 1201371.2375
33 | 2604350.9941 | 1201328.5733 | 2604330.7097 | 1201326.2405
34 | 2604440.4475 | 1201215.3371 | 2604454.1797 | 1201218.7668 | 2604459.9832 | 1201194.8242
35 | 2604445.3355 | 1201288.6728 | 2604417.2311 | 1201272.3377
36 | 2604343.2794 | 1201399.1169 | 2604345.1252 | 1201382.9206 | 2604346.4655 | 1201371.2375
37 | 2604346.4655 | 1201371.2375 | 2604328.2749 | 1201366.9091
38 | 2604318.9929 | 1201324.8929 | 2604330.7097 | 1201326.2405
39 | 2604237.5321 | 1201298.6236 | 2604239.0118 | 1201282.16
40 | 2604445.3355 | 1201288.6728 | 2604470.5476 | 1201303.3269
41 | 2604535.9448 | 1201341.3378 | 2604470.5476 | 1201303.3269
42 | 2604535.9448 | 1201341.3378 | 2604542.3335 | 1201326.9348 | 2604544.5811 | 1201309.2466
43 | 2604535.9448 | 1201341.3378 | 2604558.8862 | 1201357.878
44 | 2604545.2204 | 1201304.2161 | 2604544.5811 | 1201309.2466
45 | 2604558.8862 | 1201357.878 | 2604565.2654 | 1201362.4772
46 | 2604318.9929 | 1201324.8929 | 2604306.0955 | 1201320.537 | 2604307.4414 | 1201306.0986
47 | 2604318.9929 | 1201324.8929 | 2604312.4219 | 1201318.0068 | 2604314.882 | 1201294.9282
48 | 2604314.882 | 1201294.9282 | 2604316.6331 | 1201278.5004
49 | 2604343.2794 | 1201399.1169 | 2604323.3521 | 1201395.0327
50 | 2604339.2851 | 1201439.8249 | 2604343.2794 | 1201399.1169
51 | 2604328.2749 | 1201366.9091 | 2604300.0596 | 1201360.1952
52 | 2604300.9608 | 1201255.958 | 2604309.916 | 1201256.4496 | 2604317.5325 | 1201270.0624 | 2604316.6331 | 1201278.5004
53 | 2604323.3521 | 1201395.0327 | 2604295.9696 | 1201389.4205
54 | 2604339.2851 | 1201439.8249 | 2604320.9825 | 1201434.5023
55 | 2604284.0245 | 1201356.3797 | 2604300.0596 | 1201360.1952
56 | 2604272.9888 | 1201254.4224 | 2604300.9608 | 1201255.958
57 | 2604547.9991 | 1201282.3484 | 2604545.2204 | 1201304.2161
58 | 2604565.2654 | 1201362.4772 | 2604592.7935 | 1201382.3242
59 | 2604547.9991 | 1201282.3484 | 2604548.7953 | 1201276.0456 | 2604550.5315 | 1201270.1152
60 | 2604547.9991 | 1201282.3484 | 2604534.7848 | 1201274.3231 | 2604527.5396 | 1201271.0185
61 | 2604592.7935 | 1201382.3242 | 2604770.6789 | 1201460.164
62 | 2604287.3414 | 1201424.719 | 2604320.9825 | 1201434.5023
63 | 2604459.9832 | 1201194.8242 | 2604463.6457 | 1201179.7145
64 | 2604246.0356 | 1201334.4355 | 2604245.6233 | 1201347.2421 | 2604284.0245 | 1201356.3797
65 | 2604285.6073 | 1201387.2967 | 2604295.9696 | 1201389.4205
66 | 2604285.6073 | 1201387.2967 | 2604261.7222 | 1201382.4013
67 | 2604260.8416 | 1201382.2208 | 2604261.7222 | 1201382.4013
68 | 2604495.6714 | 1201256.4834 | 2604527.5396 | 1201271.0185
69 | 2604495.6714 | 1201256.4834 | 2604495.5026 | 1201256.4064 | 2604493.9451 | 1201255.7221
70 | 2604493.9451 | 1201255.7221 | 2604491.9906 | 1201254.8634
71 | 2604550.5315 | 1201270.1152 | 2604554.5591 | 1201256.3577
72 | 2604554.5591 | 1201256.3577 | 2604557.8053 | 1201245.2695
73 | 2604566.6668 | 1201215.0004 | 2604563.0207 | 1201227.4548
74 | 2604566.6668 | 1201215.0004 | 2604567.6582 | 1201211.6139 | 2604570.9313 | 1201203.3127
75 | 2604558.7289 | 1201242.1146 | 2604563.0207 | 1201227.4548
76 | 2604579.5161 | 1201181.54 | 2604570.9313 | 1201203.3127
77 | 2604558.7289 | 1201242.1146 | 2604557.8053 | 1201245.2695
78 | 2604579.5161 | 1201181.54 | 2604588.7079 | 1201148.4619
79 | 2604579.5161 | 1201181.54 | 2604564.2 | 1201177.0872
80 | 2604559.4652 | 1201175.7107 | 2604564.2 | 1201177.0872
81 | 2604323.3767 | 1201068.469 | 2604343.3812 | 1201064.1444
82 | 2604366.9426 | 1201059.0507 | 2604343.3812 | 1201064.1444
83 | 2604404.177 | 1201037.9663 | 2604398.2553 | 1201096.0288
84 | 2604404.177 | 1201037.9663 | 2604419.0525 | 1201044.2026 | 2604418.7443 | 1201049.3052 | 2604421.1688 | 1201054.1318 | 2604425.3917 | 1201055.958 | 2604440.5692 | 1201055.0686 | 2604461.312 | 1201062.5434
85 | 2604461.312 | 1201062.5434 | 2604475.8123 | 1201066.8131
86 | 2604481.339 | 1201101.8284 | 2604490.3806 | 1201071.1028 | 2604475.8123 | 1201066.8131
87 | 2604481.339 | 1201101.8284 | 2604480.1883 | 1201105.7387
88 | 2604796.2137 | 1201621.607 | 2604800.9354 | 1201617.1683 | 2604803.7922 | 1201613.513 | 2604799.7204 | 1201604.1492 | 2604792.7842 | 1201598.2405 | 2604782.9823 | 1201597.6214
89 | 2604747.3124 | 1201625.7085 | 2604757.45 | 1201615.5109 | 2604767.6727 | 1201603.7126 | 2604774.0001 | 1201599.8599 | 2604782.9823 | 1201597.6214
90 | 2604747.3124 | 1201625.7085 | 2604754.5693 | 1201618.4087
91 | 2604747.3124 | 1201625.7085 | 2604756.959 | 1201630.2852 | 2604773.4905 | 1201638.0246 | 2604777.1731 | 1201636.5723
92 | 2604721.4571 | 1201609.1794 | 2604735.2009 | 1201619.9737 | 2604747.3124 | 1201625.7085
93 | 2604721.4571 | 1201609.1794 | 2604739.2828 | 1201589.0087
94 | 2604721.4571 | 1201609.1794 | 2604713.1191 | 1201618.3726
95 | 2604759.279 | 1201566.382 | 2604770.6789 | 1201460.164
96 | 2604739.2828 | 1201589.0087 | 2604747.3151 | 1201579.9197
97 | 2604759.279 | 1201566.382 | 2604747.3151 | 1201579.9197
98 | 2604473.9443 | 1201126.9573 | 2604480.1883 | 1201105.7387
99 | 2604468.0678 | 1201146.9271 | 2604473.9443 | 1201126.9573
100 | 2604466.6082 | 1201167.4927 | 2604465.811 | 1201154.5963 | 2604468.0678 | 1201146.9271
101 | 2604466.6082 | 1201167.4927 | 2604463.6457 | 1201179.7145

## bus_geodata
| x | y | coords
0 | 2604307.7984 | 1201188.9936
1 | 2604308.8522 | 1201206.8681
2 | 2604304.7371 | 1201143.196
3 | 2604308.2546 | 1201234.3457
4 | 2604296.8439 | 1201143.8019
5 | 2604322.1306 | 1201141.7227
6 | 2604291.4639 | 1201239.2273
7 | 2604246.4864 | 1201146.9015
8 | 2604298.1838 | 1201161.522
9 | 2604295.214 | 1201130.328
10 | 2604338.9665 | 1201140.2966
11 | 2604247.8031 | 1201169.2412
12 | 2604294.113 | 1201121.2274
13 | 2604343.0872 | 1201159.578
14 | 2604335.7749 | 1201125.592
15 | 2604242.3142 | 1201229.7146
16 | 2604335.4466 | 1201124.079
17 | 2604333.7062 | 1201116.0607
18 | 2604330.4614 | 1201101.1106
19 | 2604348.9872 | 1201187.1846
20 | 2604329.8618 | 1201098.3481
21 | 2604380.0703 | 1201198.5464
22 | 2604354.2623 | 1201212.042
23 | 2604357.3473 | 1201226.5792
24 | 2604360.4666 | 1201248.0701
25 | 2604379.5266 | 1201250.4227
26 | 2604359.5801 | 1201255.6048
27 | 2604392.2555 | 1201257.8211
28 | 2604350.9941 | 1201328.5733
29 | 2604440.4475 | 1201215.3371
30 | 2604417.2311 | 1201272.3377
31 | 2604346.4655 | 1201371.2375
32 | 2604330.7097 | 1201326.2405
33 | 2604239.0118 | 1201282.16
34 | 2604237.5321 | 1201298.6236
35 | 2604445.3355 | 1201288.6728
36 | 2604470.5476 | 1201303.3269
37 | 2604535.9448 | 1201341.3378
38 | 2604544.5811 | 1201309.2466
39 | 2604558.8862 | 1201357.878
40 | 2604318.9929 | 1201324.8929
41 | 2604307.4414 | 1201306.0986
42 | 2604314.882 | 1201294.9282
43 | 2604343.2794 | 1201399.1169
44 | 2604328.2749 | 1201366.9091
45 | 2604316.6331 | 1201278.5004
46 | 2604323.3521 | 1201395.0327
47 | 2604339.2851 | 1201439.8249
48 | 2604300.0596 | 1201360.1952
49 | 2604300.9608 | 1201255.958
50 | 2604545.2204 | 1201304.2161
51 | 2604565.2654 | 1201362.4772
52 | 2604547.9991 | 1201282.3484
53 | 2604592.7935 | 1201382.3242
54 | 2604287.3414 | 1201424.719
55 | 2604320.9825 | 1201434.5023
56 | 2604459.9832 | 1201194.8242
57 | 2604284.0245 | 1201356.3797
58 | 2604246.0356 | 1201334.4355
59 | 2604295.9696 | 1201389.4205
60 | 2604285.6073 | 1201387.2967
61 | 2604261.7222 | 1201382.4013
62 | 2604260.8416 | 1201382.2208
63 | 2604495.6714 | 1201256.4834
64 | 2604527.5396 | 1201271.0185
65 | 2604493.9451 | 1201255.7221
66 | 2604491.9906 | 1201254.8634
67 | 2604550.5315 | 1201270.1152
68 | 2604554.5591 | 1201256.3577
69 | 2604566.6668 | 1201215.0004
70 | 2604563.0207 | 1201227.4548
71 | 2604570.9313 | 1201203.3127
72 | 2604558.7289 | 1201242.1146
73 | 2604579.5161 | 1201181.54
74 | 2604557.8053 | 1201245.2695
75 | 2604588.7079 | 1201148.4619
76 | 2604564.2 | 1201177.0872
77 | 2604559.4652 | 1201175.7107
78 | 2604272.9888 | 1201254.4224
79 | 2604323.3768 | 1201068.469
80 | 2604343.3812 | 1201064.1444
81 | 2604366.9426 | 1201059.0507
82 | 2604398.2553 | 1201096.0288
83 | 2604404.177 | 1201037.9663
84 | 2604461.312 | 1201062.5434
85 | 2604475.8123 | 1201066.8131
86 | 2604481.339 | 1201101.8284
87 | 2604796.2137 | 1201621.607
88 | 2604782.9823 | 1201597.6214
89 | 2604747.3124 | 1201625.7085
90 | 2604754.5693 | 1201618.4087
91 | 2604777.1731 | 1201636.5723
92 | 2604721.4571 | 1201609.1794
93 | 2604770.6789 | 1201460.164
94 | 2604739.2828 | 1201589.0087
95 | 2604713.1191 | 1201618.3726
96 | 2604747.3151 | 1201579.9197
97 | 2604759.279 | 1201566.382
98 | 2604480.1883 | 1201105.7387
99 | 2604473.9443 | 1201126.9573
100 | 2604468.0678 | 1201146.9271
101 | 2604466.6082 | 1201167.4927
102 | 2604463.6457 | 1201179.7145
103 | 2604360.4666 | 1201248.0701

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1