## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_363-39_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_363-39_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_363-39_0_6_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_363-39_0_6_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_363-39_0_6_node_17 | 0.4 | n |  | TRUE
5 | bus_LV_363-39_0_6_node_19 | 0.4 | n |  | TRUE
6 | bus_LV_363-39_0_6_node_21 | 0.4 | n |  | TRUE
7 | bus_LV_363-39_0_6_node_22 | 0.4 | n |  | TRUE
8 | bus_LV_363-39_0_6_node_87 | 0.4 | n |  | TRUE
9 | bus_LV_363-39_0_6_node_90 | 0.4 | n |  | TRUE
10 | bus_LV_363-39_0_6_node_89 | 0.4 | n |  | TRUE
11 | bus_LV_363-39_0_6_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_363-39_0_6_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_363-39_0_6_node_28 | 0.4 | n |  | TRUE
14 | bus_LV_363-39_0_6_node_88 | 0.4 | n |  | TRUE
15 | bus_LV_363-39_0_6_node_27 | 0.4 | n |  | TRUE
16 | bus_LV_363-39_0_6_node_20 | 0.4 | n |  | TRUE
17 | bus_LV_363-39_0_6_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_363-39_0_6_node_38 | 0.4 | n |  | TRUE
19 | bus_LV_363-39_0_6_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_363-39_0_6_node_30 | 0.4 | n |  | TRUE
21 | bus_LV_363-39_0_6_node_32 | 0.4 | n |  | TRUE
22 | bus_LV_363-39_0_6_node_33 | 0.4 | n |  | TRUE
23 | bus_LV_363-39_0_6_node_7 | 0.4 | n |  | TRUE
24 | bus_LV_363-39_0_6_node_8 | 0.4 | n |  | TRUE
25 | bus_LV_363-39_0_6_node_9 | 0.4 | n |  | TRUE
26 | bus_LV_363-39_0_6_node_10 | 0.4 | n |  | TRUE
27 | bus_LV_363-39_0_6_node_11 | 0.4 | n |  | TRUE
28 | bus_LV_363-39_0_6_node_80 | 0.4 | n |  | TRUE
29 | bus_LV_363-39_0_6_node_55 | 0.4 | n |  | TRUE
30 | bus_LV_363-39_0_6_node_43 | 0.4 | n |  | TRUE
31 | bus_LV_363-39_0_6_node_54 | 0.4 | n |  | TRUE
32 | bus_LV_363-39_0_6_node_14 | 0.4 | n |  | TRUE
33 | bus_LV_363-39_0_6_node_16 | 0.4 | n |  | TRUE
34 | bus_LV_363-39_0_6_node_37 | 0.4 | n |  | TRUE
35 | bus_LV_363-39_0_6_node_15 | 0.4 | n |  | TRUE
36 | bus_LV_363-39_0_6_node_31 | 0.4 | n |  | TRUE
37 | bus_LV_363-39_0_6_node_84 | 0.4 | n |  | TRUE
38 | bus_LV_363-39_0_6_node_23 | 0.4 | n |  | TRUE
39 | bus_LV_363-39_0_6_node_24 | 0.4 | n |  | TRUE
40 | bus_LV_363-39_0_6_node_25 | 0.4 | n |  | TRUE
41 | bus_LV_363-39_0_6_node_26 | 0.4 | n |  | TRUE
42 | bus_LV_363-39_0_6_node_36 | 0.4 | n |  | TRUE
43 | bus_LV_363-39_0_6_node_34 | 0.4 | n |  | TRUE
44 | bus_LV_363-39_0_6_node_56 | 0.4 | n |  | TRUE
45 | bus_LV_363-39_0_6_node_85 | 0.4 | n |  | TRUE
46 | bus_LV_363-39_0_6_node_52 | 0.4 | n |  | TRUE
47 | bus_LV_363-39_0_6_node_39 | 0.4 | n |  | TRUE
48 | bus_LV_363-39_0_6_node_40 | 0.4 | n |  | TRUE
49 | bus_LV_363-39_0_6_node_41 | 0.4 | n |  | TRUE
50 | bus_LV_363-39_0_6_node_42 | 0.4 | n |  | TRUE
51 | bus_LV_363-39_0_6_node_57 | 0.4 | n |  | TRUE
52 | bus_LV_363-39_0_6_node_58 | 0.4 | n |  | TRUE
53 | bus_LV_363-39_0_6_node_79 | 0.4 | n |  | TRUE
54 | bus_LV_363-39_0_6_node_53 | 0.4 | n |  | TRUE
55 | bus_LV_363-39_0_6_node_44 | 0.4 | n |  | TRUE
56 | bus_LV_363-39_0_6_node_45 | 0.4 | n |  | TRUE
57 | bus_LV_363-39_0_6_node_46 | 0.4 | n |  | TRUE
58 | bus_LV_363-39_0_6_node_48 | 0.4 | n |  | TRUE
59 | bus_LV_363-39_0_6_node_49 | 0.4 | n |  | TRUE
60 | bus_LV_363-39_0_6_node_50 | 0.4 | n |  | TRUE
61 | bus_LV_363-39_0_6_node_51 | 0.4 | n |  | TRUE
62 | bus_LV_363-39_0_6_node_82 | 0.4 | n |  | TRUE
63 | bus_LV_363-39_0_6_node_93 | 0.4 | n |  | TRUE
64 | bus_LV_363-39_0_6_node_59 | 0.4 | n |  | TRUE
65 | bus_LV_363-39_0_6_node_60 | 0.4 | n |  | TRUE
66 | bus_LV_363-39_0_6_node_61 | 0.4 | n |  | TRUE
67 | bus_LV_363-39_0_6_node_74 | 0.4 | n |  | TRUE
68 | bus_LV_363-39_0_6_node_72 | 0.4 | n |  | TRUE
69 | bus_LV_363-39_0_6_node_62 | 0.4 | n |  | TRUE
70 | bus_LV_363-39_0_6_node_64 | 0.4 | n |  | TRUE
71 | bus_LV_363-39_0_6_node_63 | 0.4 | n |  | TRUE
72 | bus_LV_363-39_0_6_node_65 | 0.4 | n |  | TRUE
73 | bus_LV_363-39_0_6_node_66 | 0.4 | n |  | TRUE
74 | bus_LV_363-39_0_6_node_67 | 0.4 | n |  | TRUE
75 | bus_LV_363-39_0_6_node_68 | 0.4 | n |  | TRUE
76 | bus_LV_363-39_0_6_node_70 | 0.4 | n |  | TRUE
77 | bus_LV_363-39_0_6_node_75 | 0.4 | n |  | TRUE
78 | bus_LV_363-39_0_6_node_98 | 0.4 | n |  | TRUE
79 | bus_LV_363-39_0_6_node_69 | 0.4 | n |  | TRUE
80 | bus_LV_363-39_0_6_node_92 | 0.4 | n |  | TRUE
81 | bus_LV_363-39_0_6_node_91 | 0.4 | n |  | TRUE
82 | bus_LV_363-39_0_6_node_71 | 0.4 | n |  | TRUE
83 | bus_LV_363-39_0_6_node_76 | 0.4 | n |  | TRUE
84 | bus_LV_363-39_0_6_node_95 | 0.4 | n |  | TRUE
85 | bus_LV_363-39_0_6_node_97 | 0.4 | n |  | TRUE
86 | bus_LV_363-39_0_6_node_94 | 0.4 | n |  | TRUE
87 | bus_LV_363-39_0_6_node_78 | 0.4 | n |  | TRUE
88 | bus_LV_363-39_0_6_node_73 | 0.4 | n |  | TRUE
89 | bus_LV_363-39_0_6_node_86 | 0.4 | n |  | TRUE
90 | bus_LV_363-39_0_6_node_77 | 0.4 | n |  | TRUE
91 | bus_LV_363-39_0_6_node_81 | 0.4 | n |  | TRUE
92 | bus_LV_363-39_0_6_node_83 | 0.4 | n |  | TRUE
93 | bus_LV_363-39_0_6_node_96 | 0.4 | n |  | TRUE
94 | bus_MV_599_0_node_150 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_363-39_0_6_load_0 | 0 | 0.0088326 | 0.0022137 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_363-39_0_6_load_1 | 1 | 0.0096736 | 0.0024244 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_363-39_0_6_load_4 | 3 | 0.0075247 | 0.0018859 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_363-39_0_6_load_17 | 4 | 0.0074971 | 0.001879 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_363-39_0_6_load_87 | 8 | 0.0026279 | 0.00065861 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_363-39_0_6_load_90 | 9 | 0.0066046 | 0.0016553 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_363-39_0_6_load_5 | 11 | 0.010531 | 0.0026393 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_363-39_0_6_load_6 | 12 | 0.0072481 | 0.0018165 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_363-39_0_6_load_88 | 14 | 0.0050378 | 0.0012626 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_363-39_0_6_load_27 | 15 | 0.0083601 | 0.0020952 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_363-39_0_6_load_13 | 17 | 0.0061835 | 0.0015497 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_363-39_0_6_load_38 | 18 | 0.0062803 | 0.001574 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_363-39_0_6_load_12 | 19 | 0.084668 | 0.02122 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_363-39_0_6_load_32 | 21 | 0.008118 | 0.0020346 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_363-39_0_6_load_33 | 22 | 0.0072692 | 0.0018218 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_363-39_0_6_load_7 | 23 | 0.0037601 | 0.00094237 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_363-39_0_6_load_8 | 24 | 0.0035772 | 0.00089653 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_363-39_0_6_load_9 | 25 | 0.0052896 | 0.0013257 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_363-39_0_6_load_11 | 27 | 0.0033277 | 0.00083401 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_363-39_0_6_load_80 | 28 | 0.005578 | 0.001398 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_363-39_0_6_load_55 | 29 | 0.0026434 | 0.0006625 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_363-39_0_6_load_54 | 31 | 0.0031009 | 0.00077715 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_363-39_0_6_load_16 | 33 | 0.008387 | 0.002102 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_363-39_0_6_load_37 | 34 | 0.0032304 | 0.0008096 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_363-39_0_6_load_84 | 37 | 0.0019493 | 0.00048853 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_363-39_0_6_load_23 | 38 | 0.0050982 | 0.0012777 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_363-39_0_6_load_24 | 39 | 0.0049064 | 0.0012297 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_363-39_0_6_load_25 | 40 | 0.061686 | 0.01546 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_363-39_0_6_load_34 | 43 | 0.021998 | 0.0055133 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_363-39_0_6_load_56 | 44 | 0.0047714 | 0.0011958 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_363-39_0_6_load_52 | 46 | 0.0063393 | 0.0015888 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_363-39_0_6_load_39 | 47 | 0.0027778 | 0.00069619 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_363-39_0_6_load_40 | 48 | 0.0023361 | 0.00058548 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_363-39_0_6_load_41 | 49 | 0.0011994 | 0.00030059 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_363-39_0_6_load_42 | 50 | 0.0020703 | 0.00051887 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_363-39_0_6_load_57 | 51 | 0.0022925 | 0.00057455 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_363-39_0_6_load_79 | 53 | 0.0064198 | 0.001609 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_363-39_0_6_load_44 | 55 | 0.0032217 | 0.00080744 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_363-39_0_6_load_45 | 56 | 0.0027699 | 0.00069421 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_363-39_0_6_load_46 | 57 | 0.0018798 | 0.00047113 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_363-39_0_6_load_48 | 58 | 0.0029924 | 0.00074997 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_363-39_0_6_load_49 | 59 | 0.0031785 | 0.00079661 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_363-39_0_6_load_50 | 60 | 0.0062141 | 0.0015574 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_363-39_0_6_load_51 | 61 | 0.0040283 | 0.0010096 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_363-39_0_6_load_93 | 63 | 0.0040969 | 0.0010268 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_363-39_0_6_load_59 | 64 | 0.0092427 | 0.0023164 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_363-39_0_6_load_60 | 65 | 0.0026902 | 0.00067424 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_363-39_0_6_load_61 | 66 | 0.023857 | 0.005979 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_363-39_0_6_load_74 | 67 | 0.0025514 | 0.00063943 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_363-39_0_6_load_62 | 69 | 0.0086291 | 0.0021627 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_363-39_0_6_load_63 | 71 | 0.010415 | 0.0026103 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_363-39_0_6_load_66 | 73 | 0.0025242 | 0.00063261 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_363-39_0_6_load_67 | 74 | 0.002157 | 0.00054058 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_363-39_0_6_load_70 | 76 | 0.0026342 | 0.00066018 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_363-39_0_6_load_75 | 77 | 0.0022484 | 0.00056349 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_363-39_0_6_load_98 | 78 | 0.010415 | 0.0026101 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_363-39_0_6_load_92 | 80 | 0.012384 | 0.0031037 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_363-39_0_6_load_91 | 81 | 0.012939 | 0.0032429 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_363-39_0_6_load_76 | 83 | 0.0037857 | 0.00094879 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_363-39_0_6_load_97 | 85 | 0.010414 | 0.00261 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_363-39_0_6_load_78 | 87 | 0.0086295 | 0.0021628 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_363-39_0_6_load_73 | 88 | 0.0078567 | 0.0019691 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_363-39_0_6_load_86 | 89 | 0.0055186 | 0.0013831 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_363-39_0_6_load_77 | 90 | 0.0037876 | 0.00094926 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_363-39_0_6_load_81 | 91 | 0.0025148 | 0.00063027 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_363-39_0_6_load_83 | 92 | 0.0027323 | 0.00068477 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_363-39_0_6_load_96 | 93 | 0.0039232 | 0.00098325 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 86 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_363-39_0_6_line_0 |  | 0 | 1 | 0.036126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_363-39_0_6_line_1 |  | 1 | 2 | 0.019367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_363-39_0_6_line_2 |  | 2 | 3 | 0.014341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_363-39_0_6_line_3 |  | 3 | 11 | 0.0086101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_363-39_0_6_line_4 |  | 4 | 5 | 0.020174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_363-39_0_6_line_5 |  | 5 | 6 | 0.016283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_363-39_0_6_line_6 |  | 5 | 7 | 0.023882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_363-39_0_6_line_7 |  | 6 | 8 | 0.014632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_363-39_0_6_line_8 |  | 7 | 13 | 0.006169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_363-39_0_6_line_9 |  | 7 | 14 | 0.023877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_363-39_0_6_line_10 |  | 9 | 10 | 0.025197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_363-39_0_6_line_11 |  | 10 | 14 | 0.020351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_363-39_0_6_line_12 |  | 11 | 12 | 0.0056106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_363-39_0_6_line_13 |  | 12 | 17 | 0.043165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_363-39_0_6_line_14 |  | 13 | 15 | 0.020816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_363-39_0_6_line_15 |  | 15 | 16 | 0.021215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_363-39_0_6_line_16 |  | 16 | 20 | 0.02732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_363-39_0_6_line_17 |  | 17 | 18 | 0.035276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_363-39_0_6_line_18 |  | 17 | 19 | 0.010098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_363-39_0_6_line_19 |  | 18 | 34 | 0.0061928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_363-39_0_6_line_20 |  | 19 | 32 | 0.022145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_363-39_0_6_line_21 |  | 20 | 34 | 0.0076139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_363-39_0_6_line_22 |  | 20 | 22 | 0.0064481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_363-39_0_6_line_23 |  | 21 | 22 | 0.011019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_363-39_0_6_line_24 |  | 23 | 24 | 0.019422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_363-39_0_6_line_25 |  | 23 | 25 | 0.031503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_363-39_0_6_line_26 |  | 24 | 26 | 0.028789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_363-39_0_6_line_27 |  | 25 | 27 | 0.034283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_363-39_0_6_line_28 |  | 26 | 28 | 0.022011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_363-39_0_6_line_29 |  | 27 | 29 | 0.0016605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_363-39_0_6_line_30 |  | 28 | 30 | 0.017505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_363-39_0_6_line_31 |  | 29 | 31 | 0.020733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_363-39_0_6_line_32 |  | 30 | 49 | 0.020643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_363-39_0_6_line_33 |  | 31 | 58 | 0.012913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_363-39_0_6_line_34 |  | 32 | 33 | 0.0088455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_363-39_0_6_line_35 |  | 33 | 35 | 0.010603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_363-39_0_6_line_36 |  | 35 | 36 | 0.008911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_363-39_0_6_line_37 |  | 36 | 37 | 0.012978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_363-39_0_6_line_38 |  | 37 | 45 | 0.024743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_363-39_0_6_line_39 |  | 38 | 39 | 0.021101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_363-39_0_6_line_40 |  | 38 | 40 | 0.0057472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_363-39_0_6_line_41 |  | 39 | 41 | 0.042428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_363-39_0_6_line_42 |  | 41 | 42 | 0.00483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_363-39_0_6_line_43 |  | 41 | 43 | 0.054819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_363-39_0_6_line_44 |  | 42 | 44 | 0.023652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_363-39_0_6_line_45 |  | 44 | 46 | 0.027049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_363-39_0_6_line_46 |  | 45 | 89 | 0.010652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_363-39_0_6_line_47 |  | 46 | 60 | 0.030339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_363-39_0_6_line_48 |  | 47 | 48 | 0.02373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_363-39_0_6_line_49 |  | 47 | 49 | 0.0010228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_363-39_0_6_line_50 |  | 48 | 50 | 0.0029518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_363-39_0_6_line_51 |  | 50 | 51 | 0.026034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_363-39_0_6_line_52 |  | 51 | 52 | 0.011904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_363-39_0_6_line_53 |  | 52 | 64 | 0.016937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_363-39_0_6_line_54 |  | 52 | 65 | 0.015709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_363-39_0_6_line_55 |  | 53 | 54 | 0.021921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_363-39_0_6_line_56 |  | 54 | 62 | 0.027042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_363-39_0_6_line_57 |  | 54 | 61 | 0.0055423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_363-39_0_6_line_58 |  | 55 | 56 | 0.0029487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_363-39_0_6_line_59 |  | 55 | 57 | 0.021887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_363-39_0_6_line_60 |  | 57 | 58 | 0.0064235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_363-39_0_6_line_61 |  | 59 | 60 | 0.032195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_363-39_0_6_line_62 |  | 59 | 61 | 0.02451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_363-39_0_6_line_63 |  | 62 | 63 | 0.026272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_363-39_0_6_line_64 |  | 63 | 86 | 0.019562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_363-39_0_6_line_65 |  | 64 | 66 | 0.0034991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_363-39_0_6_line_66 |  | 65 | 67 | 0.0057855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_363-39_0_6_line_67 |  | 67 | 68 | 0.027754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_363-39_0_6_line_68 |  | 68 | 82 | 0.014121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_363-39_0_6_line_69 |  | 69 | 70 | 0.0077973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_363-39_0_6_line_70 |  | 70 | 73 | 0.018673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
71 | LV_363-39_0_6_line_71 |  | 70 | 74 | 0.0052207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
72 | LV_363-39_0_6_line_72 |  | 71 | 72 | 0.010756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_363-39_0_6_line_73 |  | 72 | 75 | 0.030964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_363-39_0_6_line_74 |  | 73 | 76 | 0.001309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
75 | LV_363-39_0_6_line_75 |  | 74 | 77 | 0.00077408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
76 | LV_363-39_0_6_line_76 |  | 75 | 78 | 0.0093724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_363-39_0_6_line_77 |  | 76 | 82 | 0.0069536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
78 | LV_363-39_0_6_line_78 |  | 77 | 83 | 0.023239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
79 | LV_363-39_0_6_line_79 |  | 78 | 87 | 0.026322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_363-39_0_6_line_80 |  | 79 | 80 | 0.010606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
81 | LV_363-39_0_6_line_81 |  | 79 | 81 | 0.024913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
82 | LV_363-39_0_6_line_82 |  | 80 | 88 | 0.016453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
83 | LV_363-39_0_6_line_83 |  | 81 | 89 | 0.015438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
84 | LV_363-39_0_6_line_84 |  | 82 | 88 | 0.019492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
85 | LV_363-39_0_6_line_85 |  | 83 | 90 | 0.0027457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
86 | LV_363-39_0_6_line_86 |  | 83 | 87 | 0.0054354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_363-39_0_6_line_87 |  | 84 | 85 | 0.0092812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
88 | LV_363-39_0_6_line_88 |  | 84 | 86 | 0.018536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
89 | LV_363-39_0_6_line_89 |  | 85 | 92 | 0.017668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
90 | LV_363-39_0_6_line_90 |  | 86 | 93 | 0.012873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_363-39_0_6_line_91 |  | 90 | 91 | 0.024844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
92 | LV_363-39_0_6_line_92 |  | 91 | 92 | 0.029626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_363-39_0_6_trafo_94 | 0.63 MVA 20/0.4 kV | 94 | 86 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2604777.2216 | 1200855.1177 | 2604812.7883 | 1200861.4489
1 | 2604831.8558 | 1200864.8431 | 2604812.7883 | 1200861.4489
2 | 2604831.8558 | 1200864.8431 | 2604845.991 | 1200867.2652
3 | 2604845.991 | 1200867.2652 | 2604854.4773 | 1200868.7193
4 | 2604802.9419 | 1200948.4318 | 2604804.7644 | 1200934.6147 | 2604808.4967 | 1200929.617
5 | 2604802.9419 | 1200948.4318 | 2604786.6699 | 1200947.0515
6 | 2604826.7866 | 1200950.6853 | 2604802.9419 | 1200948.4318
7 | 2604786.6699 | 1200947.0515 | 2604787.5618 | 1200932.4472
8 | 2604826.7866 | 1200950.6853 | 2604832.9591 | 1200951.1015
9 | 2604826.7866 | 1200950.6853 | 2604822.3985 | 1200965.2229 | 2604821.1366 | 1200973.8222
10 | 2604818.1818 | 1200993.9573 | 2604793.0524 | 1200992.111
11 | 2604818.1818 | 1200993.9573 | 2604821.1366 | 1200973.8222
12 | 2604854.4773 | 1200868.7193 | 2604860.0073 | 1200869.6669
13 | 2604860.0073 | 1200869.6669 | 2604877.4195 | 1200872.6505 | 2604902.4738 | 1200877.3935
14 | 2604832.9591 | 1200951.1015 | 2604835.62 | 1200935.8955 | 2604838.6717 | 1200931.4662
15 | 2604850.7081 | 1200913.9957 | 2604838.6717 | 1200931.4662
16 | 2604877.7404 | 1200918.4532 | 2604850.7081 | 1200913.9957
17 | 2604902.4738 | 1200877.3935 | 2604880.3925 | 1200904.9036
18 | 2604902.4738 | 1200877.3935 | 2604912.3957 | 1200879.2719
19 | 2604880.3925 | 1200904.9036 | 2604879.2029 | 1200910.981
20 | 2604934.1544 | 1200883.3911 | 2604912.3957 | 1200879.2719
21 | 2604877.7404 | 1200918.4532 | 2604879.2029 | 1200910.981
22 | 2604877.7404 | 1200918.4532 | 2604875.688 | 1200924.5659
23 | 2604869.9083 | 1200933.948 | 2604875.688 | 1200924.5659 | 2604875.688 | 1200924.5659
24 | 2604959.5022 | 1200709.579 | 2604962.7243 | 1200711.2662 | 2604972.4316 | 1200717.6887 | 2604975.5604 | 1200720.4085
25 | 2604930.1048 | 1200698.3591 | 2604950.3221 | 1200705.4196 | 2604956.0898 | 1200707.7923 | 2604959.5022 | 1200709.579
26 | 2604994.4551 | 1200741.9199 | 2604993.163 | 1200739.5842 | 2604986.9281 | 1200731.5192 | 2604981.8405 | 1200725.8675 | 2604975.5604 | 1200720.4085
27 | 2604930.1048 | 1200698.3591 | 2604897.7385 | 1200687.0559
28 | 2604994.4551 | 1200741.9199 | 2604994.9325 | 1200744.4772 | 2604994.9082 | 1200746.2337 | 2604994.5486 | 1200748.4791 | 2604993.6031 | 1200750.4349 | 2604992.1473 | 1200752.9128 | 2604986.2131 | 1200761.3709
29 | 2604896.1709 | 1200686.5084 | 2604897.7385 | 1200687.0559
30 | 2604976.1593 | 1200775.7008 | 2604986.2131 | 1200761.3709
31 | 2604896.1709 | 1200686.5084 | 2604876.5971 | 1200679.6727
32 | 2604976.1593 | 1200775.7008 | 2604994.5034 | 1200785.1683
33 | 2604864.4061 | 1200675.4152 | 2604876.5971 | 1200679.6727
34 | 2604934.1544 | 1200883.3911 | 2604936.0109 | 1200884.2708 | 2604937.6314 | 1200885.2282 | 2604939.4647 | 1200886.4637 | 2604941.0463 | 1200888.3883 | 2604941.194 | 1200888.5334
35 | 2604950.3698 | 1200889.0629 | 2604949.7756 | 1200889.7628 | 2604948.8008 | 1200890.4179 | 2604946.9279 | 1200890.9833 | 2604945.2077 | 1200891.0153 | 2604943.5259 | 1200890.5359 | 2604942.5294 | 1200889.8458 | 2604941.194 | 1200888.5334
36 | 2604950.3698 | 1200889.0629 | 2604952.6386 | 1200897.6805
37 | 2604952.6386 | 1200897.6805 | 2604955.041 | 1200910.4338
38 | 2604974.4472 | 1200923.4122 | 2604960.7128 | 1200918.2093 | 2604958.3848 | 1200916.8177 | 2604956.8867 | 1200915.249 | 2604955.8077 | 1200913.0358 | 2604955.041 | 1200910.4338
39 | 2604830.1235 | 1200747.8618 | 2604815.1327 | 1200733.0118
40 | 2604834.2065 | 1200751.9064 | 2604830.1235 | 1200747.8618
41 | 2604784.99 | 1200703.1523 | 2604815.1327 | 1200733.0118
42 | 2604787.5128 | 1200699.0298 | 2604784.99 | 1200703.1523
43 | 2604784.99 | 1200703.1523 | 2604758.5024 | 1200751.1475
44 | 2604787.5128 | 1200699.0298 | 2604805.1971 | 1200705.6474 | 2604809.7919 | 1200706.93
45 | 2604835.8555 | 1200714.1642 | 2604829.1611 | 1200712.3367 | 2604809.7919 | 1200706.93
46 | 2604974.4472 | 1200923.4122 | 2604980.1836 | 1200914.4372
47 | 2604864.956 | 1200722.6799 | 2604858.6499 | 1200720.3868 | 2604835.8555 | 1200714.1642
48 | 2604995.4122 | 1200785.6374 | 2605016.4996 | 1200796.5208
49 | 2604995.4122 | 1200785.6374 | 2604994.5034 | 1200785.1683
50 | 2605019.1226 | 1200797.8746 | 2605016.4996 | 1200796.5208
51 | 2605042.2576 | 1200809.8147 | 2605019.1226 | 1200797.8746
52 | 2605052.8361 | 1200815.2744 | 2605042.2576 | 1200809.8147
53 | 2605052.8361 | 1200815.2744 | 2605059.6577 | 1200822.4062 | 2605062.8598 | 1200828.707
54 | 2605052.8361 | 1200815.2744 | 2605047.9739 | 1200822.4854 | 2605045.2357 | 1200828.9406
55 | 2604921.1183 | 1200749.4084 | 2604940.8986 | 1200758.8572
56 | 2604921.1183 | 1200749.4084 | 2604922.8156 | 1200758.8259 | 2604923.9525 | 1200764.7967 | 2604932.8828 | 1200771.8745
57 | 2604921.1183 | 1200749.4084 | 2604916.1543 | 1200746.9433
58 | 2604837.6785 | 1200666.0811 | 2604834.8947 | 1200665.109
59 | 2604837.6785 | 1200666.0811 | 2604858.3418 | 1200673.2974
60 | 2604864.4061 | 1200675.4152 | 2604858.3418 | 1200673.2974
61 | 2604894.202 | 1200736.0417 | 2604873.6938 | 1200725.8574 | 2604864.956 | 1200722.6799
62 | 2604894.202 | 1200736.0417 | 2604916.1543 | 1200746.9433
63 | 2604932.8828 | 1200771.8745 | 2604930.8925 | 1200776.3197 | 2604936.2316 | 1200781.6491 | 2604926.9425 | 1200791.9325
64 | 2604922.8959 | 1200809.8534 | 2604924.6123 | 1200805.1745 | 2604923.6078 | 1200795.6241 | 2604926.9425 | 1200791.9325
65 | 2605064.4451 | 1200831.8264 | 2605062.8598 | 1200828.707
66 | 2605042.9588 | 1200834.2592 | 2605043.8632 | 1200832.1761 | 2605045.2357 | 1200828.9406
67 | 2605031.7228 | 1200859.6363 | 2605036.1913 | 1200849.8459 | 2605042.9588 | 1200834.2592
68 | 2605021.5316 | 1200849.8337 | 2605031.7228 | 1200859.6363
69 | 2605000.4006 | 1200833.1294 | 2604995.8056 | 1200839.429
70 | 2605000.4006 | 1200833.1294 | 2605015.0496 | 1200844.7097
71 | 2605000.4006 | 1200833.1294 | 2604996.3049 | 1200829.892
72 | 2604980.6971 | 1200866.6646 | 2604982.0153 | 1200864.9536 | 2604984.7361 | 1200860.7314 | 2604985.5991 | 1200857.2636
73 | 2604959.586 | 1200844.2463 | 2604969.7141 | 1200856.9281 | 2604973.288 | 1200861.1778 | 2604980.6971 | 1200866.6646
74 | 2605016.0766 | 1200845.5215 | 2605015.0496 | 1200844.7097
75 | 2604995.6977 | 1200829.4119 | 2604996.3049 | 1200829.892
76 | 2604959.586 | 1200844.2463 | 2604962.107 | 1200842.314 | 2604964.5854 | 1200836.6352
77 | 2605021.5316 | 1200849.8337 | 2605016.0766 | 1200845.5215
78 | 2604977.4667 | 1200815.0008 | 2604995.6977 | 1200829.4119
79 | 2604975.59 | 1200820.102 | 2604978.815 | 1200822.9729 | 2604978.2628 | 1200827.9417 | 2604976.2449 | 1200828.9962 | 2604973.4664 | 1200829.4053 | 2604970.6396 | 1200832.9159 | 2604968.4682 | 1200835.4822 | 2604964.5854 | 1200836.6352
80 | 2605002.0508 | 1200890.1726 | 2605007.0669 | 1200880.8273 | 2605007.0669 | 1200880.8273
81 | 2605002.0508 | 1200890.1726 | 2605003.5023 | 1200892.9975 | 2605003.1708 | 1200898.0667 | 2604990.81 | 1200897.8119 | 2604988.4976 | 1200901.4297
82 | 2605016.8625 | 1200868.0219 | 2605013.8618 | 1200874.2293 | 2605010.3798 | 1200878.4954 | 2605007.0669 | 1200880.8273
83 | 2604988.4976 | 1200901.4297 | 2604980.1836 | 1200914.4372
84 | 2605021.5316 | 1200849.8337 | 2605020.5823 | 1200856.3475 | 2605020.5768 | 1200863.04 | 2605016.9345 | 1200867.8729 | 2605016.8625 | 1200868.0219
85 | 2604977.4667 | 1200815.0008 | 2604976.4246 | 1200814.1773 | 2604975.4192 | 1200813.1779
86 | 2604977.4667 | 1200815.0008 | 2604975.59 | 1200820.102
87 | 2604937.4322 | 1200821.4048 | 2604941.1408 | 1200819.2622 | 2604943.2681 | 1200814.7393
88 | 2604922.8959 | 1200809.8534 | 2604937.4322 | 1200821.4048
89 | 2604943.2681 | 1200814.7393 | 2604946.0383 | 1200815.253 | 2604948.8637 | 1200813.3876 | 2604949.2713 | 1200808.3074 | 2604947.2559 | 1200806.2491 | 2604949.8557 | 1200803.9248
90 | 2604914.4245 | 1200800.1413 | 2604922.8959 | 1200809.8534
91 | 2604957.799 | 1200795.6632 | 2604975.4192 | 1200813.1779
92 | 2604957.799 | 1200795.6632 | 2604954.7276 | 1200800.4188 | 2604960.6217 | 1200806.3601 | 2604960.6739 | 1200807.7164 | 2604958.7562 | 1200807.2591 | 2604952.7098 | 1200801.3732 | 2604949.8557 | 1200803.9248

## bus_geodata
| x | y | coords
0 | 2604777.2216 | 1200855.1177
1 | 2604812.7883 | 1200861.4489
2 | 2604831.8558 | 1200864.8431
3 | 2604845.991 | 1200867.2652
4 | 2604808.4967 | 1200929.617
5 | 2604802.9419 | 1200948.4318
6 | 2604786.6699 | 1200947.0515
7 | 2604826.7866 | 1200950.6853
8 | 2604787.5618 | 1200932.4472
9 | 2604793.0524 | 1200992.111
10 | 2604818.1818 | 1200993.9573
11 | 2604854.4773 | 1200868.7193
12 | 2604860.0073 | 1200869.6669
13 | 2604832.9591 | 1200951.1015
14 | 2604821.1366 | 1200973.8222
15 | 2604838.6717 | 1200931.4662
16 | 2604850.7081 | 1200913.9957
17 | 2604902.4738 | 1200877.3935
18 | 2604880.3925 | 1200904.9036
19 | 2604912.3957 | 1200879.2719
20 | 2604877.7404 | 1200918.4532
21 | 2604869.9083 | 1200933.948
22 | 2604875.688 | 1200924.5659
23 | 2604959.5022 | 1200709.579
24 | 2604975.5604 | 1200720.4085
25 | 2604930.1048 | 1200698.3591
26 | 2604994.4551 | 1200741.9199
27 | 2604897.7385 | 1200687.0559
28 | 2604986.2131 | 1200761.3709
29 | 2604896.1709 | 1200686.5084
30 | 2604976.1593 | 1200775.7008
31 | 2604876.5971 | 1200679.6727
32 | 2604934.1544 | 1200883.3911
33 | 2604941.194 | 1200888.5334
34 | 2604879.2029 | 1200910.981
35 | 2604950.3698 | 1200889.0629
36 | 2604952.6386 | 1200897.6805
37 | 2604955.041 | 1200910.4338
38 | 2604830.1235 | 1200747.8618
39 | 2604815.1327 | 1200733.0118
40 | 2604834.2065 | 1200751.9064
41 | 2604784.99 | 1200703.1523
42 | 2604787.5128 | 1200699.0298
43 | 2604758.5024 | 1200751.1475
44 | 2604809.7919 | 1200706.93
45 | 2604974.4472 | 1200923.4122
46 | 2604835.8555 | 1200714.1642
47 | 2604995.4122 | 1200785.6374
48 | 2605016.4996 | 1200796.5208
49 | 2604994.5034 | 1200785.1683
50 | 2605019.1226 | 1200797.8746
51 | 2605042.2576 | 1200809.8147
52 | 2605052.8361 | 1200815.2744
53 | 2604940.8986 | 1200758.8572
54 | 2604921.1183 | 1200749.4084
55 | 2604837.6785 | 1200666.0811
56 | 2604834.8947 | 1200665.109
57 | 2604858.3418 | 1200673.2974
58 | 2604864.4061 | 1200675.4152
59 | 2604894.202 | 1200736.0417
60 | 2604864.956 | 1200722.6799
61 | 2604916.1543 | 1200746.9433
62 | 2604932.8828 | 1200771.8745
63 | 2604926.9425 | 1200791.9325
64 | 2605062.8598 | 1200828.707
65 | 2605045.2357 | 1200828.9406
66 | 2605064.4451 | 1200831.8264
67 | 2605042.9588 | 1200834.2592
68 | 2605031.7228 | 1200859.6363
69 | 2604995.8056 | 1200839.429
70 | 2605000.4006 | 1200833.1294
71 | 2604985.5991 | 1200857.2636
72 | 2604980.6971 | 1200866.6646
73 | 2605015.0496 | 1200844.7097
74 | 2604996.3049 | 1200829.892
75 | 2604959.586 | 1200844.2463
76 | 2605016.0766 | 1200845.5215
77 | 2604995.6977 | 1200829.4119
78 | 2604964.5854 | 1200836.6352
79 | 2605002.0508 | 1200890.1726
80 | 2605007.0669 | 1200880.8273
81 | 2604988.4976 | 1200901.4297
82 | 2605021.5316 | 1200849.8337
83 | 2604977.4667 | 1200815.0008
84 | 2604937.4322 | 1200821.4048
85 | 2604943.2681 | 1200814.7393
86 | 2604922.8959 | 1200809.8534
87 | 2604975.59 | 1200820.102
88 | 2605016.8625 | 1200868.0219
89 | 2604980.1836 | 1200914.4372
90 | 2604975.4192 | 1200813.1779
91 | 2604957.799 | 1200795.6632
92 | 2604949.8557 | 1200803.9248
93 | 2604914.4245 | 1200800.1413
94 | 2604914.4245 | 1200800.1413

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1