## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_363-41_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_363-41_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_363-41_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_363-41_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_363-41_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_363-41_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_363-41_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_363-41_0_4_node_99 | 0.4 | n |  | TRUE
8 | bus_LV_363-41_0_4_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_363-41_0_4_node_98 | 0.4 | n |  | TRUE
10 | bus_LV_363-41_0_4_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_363-41_0_4_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_363-41_0_4_node_90 | 0.4 | n |  | TRUE
13 | bus_LV_363-41_0_4_node_88 | 0.4 | n |  | TRUE
14 | bus_LV_363-41_0_4_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_363-41_0_4_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_363-41_0_4_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_363-41_0_4_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_363-41_0_4_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_363-41_0_4_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_363-41_0_4_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_363-41_0_4_node_81 | 0.4 | n |  | TRUE
22 | bus_LV_363-41_0_4_node_89 | 0.4 | n |  | TRUE
23 | bus_LV_363-41_0_4_node_68 | 0.4 | n |  | TRUE
24 | bus_LV_363-41_0_4_node_87 | 0.4 | n |  | TRUE
25 | bus_LV_363-41_0_4_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_363-41_0_4_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_363-41_0_4_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_363-41_0_4_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_363-41_0_4_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_363-41_0_4_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_363-41_0_4_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_363-41_0_4_node_27 | 0.4 | n |  | TRUE
33 | bus_LV_363-41_0_4_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_363-41_0_4_node_29 | 0.4 | n |  | TRUE
35 | bus_LV_363-41_0_4_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_363-41_0_4_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_363-41_0_4_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_363-41_0_4_node_79 | 0.4 | n |  | TRUE
39 | bus_LV_363-41_0_4_node_77 | 0.4 | n |  | TRUE
40 | bus_LV_363-41_0_4_node_80 | 0.4 | n |  | TRUE
41 | bus_LV_363-41_0_4_node_75 | 0.4 | n |  | TRUE
42 | bus_LV_363-41_0_4_node_30 | 0.4 | n |  | TRUE
43 | bus_LV_363-41_0_4_node_31 | 0.4 | n |  | TRUE
44 | bus_LV_363-41_0_4_node_32 | 0.4 | n |  | TRUE
45 | bus_LV_363-41_0_4_node_33 | 0.4 | n |  | TRUE
46 | bus_LV_363-41_0_4_node_34 | 0.4 | n |  | TRUE
47 | bus_LV_363-41_0_4_node_35 | 0.4 | n |  | TRUE
48 | bus_LV_363-41_0_4_node_36 | 0.4 | n |  | TRUE
49 | bus_LV_363-41_0_4_node_38 | 0.4 | n |  | TRUE
50 | bus_LV_363-41_0_4_node_39 | 0.4 | n |  | TRUE
51 | bus_LV_363-41_0_4_node_40 | 0.4 | n |  | TRUE
52 | bus_LV_363-41_0_4_node_37 | 0.4 | n |  | TRUE
53 | bus_LV_363-41_0_4_node_73 | 0.4 | n |  | TRUE
54 | bus_LV_363-41_0_4_node_72 | 0.4 | n |  | TRUE
55 | bus_LV_363-41_0_4_node_65 | 0.4 | n |  | TRUE
56 | bus_LV_363-41_0_4_node_94 | 0.4 | n |  | TRUE
57 | bus_LV_363-41_0_4_node_41 | 0.4 | n |  | TRUE
58 | bus_LV_363-41_0_4_node_74 | 0.4 | n |  | TRUE
59 | bus_LV_363-41_0_4_node_71 | 0.4 | n |  | TRUE
60 | bus_LV_363-41_0_4_node_67 | 0.4 | n |  | TRUE
61 | bus_LV_363-41_0_4_node_93 | 0.4 | n |  | TRUE
62 | bus_LV_363-41_0_4_node_42 | 0.4 | n |  | TRUE
63 | bus_LV_363-41_0_4_node_43 | 0.4 | n |  | TRUE
64 | bus_LV_363-41_0_4_node_83 | 0.4 | n |  | TRUE
65 | bus_LV_363-41_0_4_node_63 | 0.4 | n |  | TRUE
66 | bus_LV_363-41_0_4_node_44 | 0.4 | n |  | TRUE
67 | bus_LV_363-41_0_4_node_45 | 0.4 | n |  | TRUE
68 | bus_LV_363-41_0_4_node_46 | 0.4 | n |  | TRUE
69 | bus_LV_363-41_0_4_node_47 | 0.4 | n |  | TRUE
70 | bus_LV_363-41_0_4_node_48 | 0.4 | n |  | TRUE
71 | bus_LV_363-41_0_4_node_49 | 0.4 | n |  | TRUE
72 | bus_LV_363-41_0_4_node_50 | 0.4 | n |  | TRUE
73 | bus_LV_363-41_0_4_node_84 | 0.4 | n |  | TRUE
74 | bus_LV_363-41_0_4_node_95 | 0.4 | n |  | TRUE
75 | bus_LV_363-41_0_4_node_64 | 0.4 | n |  | TRUE
76 | bus_LV_363-41_0_4_node_96 | 0.4 | n |  | TRUE
77 | bus_LV_363-41_0_4_node_51 | 0.4 | n |  | TRUE
78 | bus_LV_363-41_0_4_node_52 | 0.4 | n |  | TRUE
79 | bus_LV_363-41_0_4_node_53 | 0.4 | n |  | TRUE
80 | bus_LV_363-41_0_4_node_54 | 0.4 | n |  | TRUE
81 | bus_LV_363-41_0_4_node_55 | 0.4 | n |  | TRUE
82 | bus_LV_363-41_0_4_node_57 | 0.4 | n |  | TRUE
83 | bus_LV_363-41_0_4_node_82 | 0.4 | n |  | TRUE
84 | bus_LV_363-41_0_4_node_58 | 0.4 | n |  | TRUE
85 | bus_LV_363-41_0_4_node_59 | 0.4 | n |  | TRUE
86 | bus_LV_363-41_0_4_node_60 | 0.4 | n |  | TRUE
87 | bus_LV_363-41_0_4_node_61 | 0.4 | n |  | TRUE
88 | bus_LV_363-41_0_4_node_62 | 0.4 | n |  | TRUE
89 | bus_LV_363-41_0_4_node_69 | 0.4 | n |  | TRUE
90 | bus_LV_363-41_0_4_node_70 | 0.4 | n |  | TRUE
91 | bus_LV_363-41_0_4_node_76 | 0.4 | n |  | TRUE
92 | bus_LV_363-41_0_4_node_78 | 0.4 | n |  | TRUE
93 | bus_LV_363-41_0_4_node_91 | 0.4 | n |  | TRUE
94 | bus_LV_363-41_0_4_node_92 | 0.4 | n |  | TRUE
95 | bus_LV_363-41_0_4_node_85 | 0.4 | n |  | TRUE
96 | bus_LV_363-41_0_4_node_86 | 0.4 | n |  | TRUE
97 | bus_LV_363-41_0_4_node_97 | 0.4 | n |  | TRUE
98 | bus_MV_599_0_node_102 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_363-41_0_4_load_0 | 0 | 0.0019273 | 0.00048304 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_363-41_0_4_load_1 | 1 | 0.0016441 | 0.00041204 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_363-41_0_4_load_2 | 2 | 0.0032809 | 0.00082228 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_363-41_0_4_load_3 | 3 | 0.0018015 | 0.0004515 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_363-41_0_4_load_4 | 4 | 0.0073559 | 0.0018436 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_363-41_0_4_load_5 | 5 | 0.001624 | 0.00040701 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_363-41_0_4_load_6 | 6 | 0.0019334 | 0.00048455 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_363-41_0_4_load_99 | 7 | 0.0018151 | 0.00045491 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_363-41_0_4_load_7 | 8 | 0.0016017 | 0.00040141 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_363-41_0_4_load_98 | 9 | 0.0019578 | 0.00049068 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_363-41_0_4_load_8 | 10 | 0.0018807 | 0.00047134 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_363-41_0_4_load_9 | 11 | 0.0015847 | 0.00039716 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_363-41_0_4_load_90 | 12 | 0.0017829 | 0.00044683 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_363-41_0_4_load_88 | 13 | 0.0018303 | 0.00045872 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_363-41_0_4_load_10 | 14 | 0.0019196 | 0.00048109 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_363-41_0_4_load_11 | 15 | 0.0036297 | 0.00090968 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_363-41_0_4_load_12 | 16 | 0.0015469 | 0.00038769 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_363-41_0_4_load_13 | 17 | 0.012823 | 0.0032138 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_363-41_0_4_load_14 | 18 | 0.0017863 | 0.00044768 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_363-41_0_4_load_15 | 19 | 0.006316 | 0.001583 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_363-41_0_4_load_16 | 20 | 0.0015389 | 0.00038569 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_363-41_0_4_load_89 | 22 | 0.0017549 | 0.00043983 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_363-41_0_4_load_87 | 24 | 0.0018799 | 0.00047114 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_363-41_0_4_load_17 | 25 | 0.0016975 | 0.00042543 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_363-41_0_4_load_18 | 26 | 0.0020444 | 0.00051238 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_363-41_0_4_load_20 | 28 | 0.0020201 | 0.00050628 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_363-41_0_4_load_21 | 29 | 0.0063347 | 0.0015876 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_363-41_0_4_load_23 | 31 | 0.0020104 | 0.00050385 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_363-41_0_4_load_27 | 32 | 0.0026134 | 0.00065497 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_363-41_0_4_load_24 | 33 | 0.019425 | 0.0048684 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_363-41_0_4_load_29 | 34 | 0.0027137 | 0.00068013 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_363-41_0_4_load_25 | 35 | 0.0026135 | 0.000655 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_363-41_0_4_load_26 | 36 | 0.0026108 | 0.00065433 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_363-41_0_4_load_79 | 38 | 0.0010075 | 0.0002525 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_363-41_0_4_load_77 | 39 | 0.0035174 | 0.00088154 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_363-41_0_4_load_80 | 40 | 0.0010088 | 0.00025284 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_363-41_0_4_load_30 | 42 | 0.0010021 | 0.00025114 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_363-41_0_4_load_31 | 43 | 0.00084714 | 0.00021231 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_363-41_0_4_load_33 | 45 | 0.0030887 | 0.0007741 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_363-41_0_4_load_35 | 47 | 0.00094783 | 0.00023755 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_363-41_0_4_load_36 | 48 | 0.0038816 | 0.00097281 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_363-41_0_4_load_38 | 49 | 0.0127 | 0.003183 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_363-41_0_4_load_39 | 50 | 0.00084724 | 0.00021234 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_363-41_0_4_load_40 | 51 | 0.00098648 | 0.00024724 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_363-41_0_4_load_73 | 53 | 0.01149 | 0.0028797 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_363-41_0_4_load_94 | 56 | 0.00094519 | 0.00023689 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_363-41_0_4_load_41 | 57 | 0.00082626 | 0.00020708 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_363-41_0_4_load_74 | 58 | 0.0051916 | 0.0013011 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_363-41_0_4_load_71 | 59 | 0.013222 | 0.0033138 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_363-41_0_4_load_67 | 60 | 0.012825 | 0.0032142 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_363-41_0_4_load_93 | 61 | 0.00084876 | 0.00021272 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_363-41_0_4_load_42 | 62 | 0.00091956 | 0.00023046 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_363-41_0_4_load_43 | 63 | 0.00085814 | 0.00021507 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_363-41_0_4_load_83 | 64 | 0.00090877 | 0.00022776 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_363-41_0_4_load_63 | 65 | 0.00086397 | 0.00021653 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_363-41_0_4_load_44 | 66 | 0.001911 | 0.00047894 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_363-41_0_4_load_45 | 67 | 0.0028294 | 0.00070912 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_363-41_0_4_load_46 | 68 | 0.0015781 | 0.00039552 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_363-41_0_4_load_47 | 69 | 0.0074167 | 0.0018588 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_363-41_0_4_load_48 | 70 | 0.0018759 | 0.00047015 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_363-41_0_4_load_49 | 71 | 0.0031389 | 0.00078669 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_363-41_0_4_load_50 | 72 | 0.0015952 | 0.00039979 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_363-41_0_4_load_84 | 73 | 0.00096348 | 0.00024147 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_363-41_0_4_load_95 | 74 | 0.0018286 | 0.00045828 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_363-41_0_4_load_64 | 75 | 0.0015946 | 0.00039965 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_363-41_0_4_load_96 | 76 | 0.0019371 | 0.00048549 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_363-41_0_4_load_51 | 77 | 0.0073145 | 0.0018332 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_363-41_0_4_load_52 | 78 | 0.012639 | 0.0031677 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_363-41_0_4_load_54 | 80 | 0.019589 | 0.0049096 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_363-41_0_4_load_55 | 81 | 0.012764 | 0.0031989 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_363-41_0_4_load_82 | 83 | 0.012841 | 0.0032182 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_363-41_0_4_load_58 | 84 | 0.0019601 | 0.00049124 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_363-41_0_4_load_59 | 85 | 0.012821 | 0.0032132 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_363-41_0_4_load_60 | 86 | 0.0016584 | 0.00041563 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_363-41_0_4_load_61 | 87 | 0.0017008 | 0.00042627 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_363-41_0_4_load_62 | 88 | 0.001849 | 0.0004634 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_363-41_0_4_load_69 | 89 | 0.013197 | 0.0033074 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_363-41_0_4_load_70 | 90 | 0.01135 | 0.0028446 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_363-41_0_4_load_78 | 92 | 0.0026108 | 0.00065434 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_363-41_0_4_load_91 | 93 | 0.0009153 | 0.0002294 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_363-41_0_4_load_92 | 94 | 0.00094627 | 0.00023716 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_363-41_0_4_load_85 | 95 | 0.012773 | 0.0032012 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_363-41_0_4_load_86 | 96 | 0.0037372 | 0.00093663 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_363-41_0_4_load_97 | 97 | 0.0032739 | 0.00082052 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 84 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_363-41_0_4_line_0 |  | 0 | 1 | 1.7606e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_363-41_0_4_line_1 |  | 0 | 2 | 0.0014862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_363-41_0_4_line_2 |  | 1 | 3 | 1.6181e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_363-41_0_4_line_3 |  | 2 | 4 | 0.0077061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_363-41_0_4_line_4 |  | 3 | 5 | 1.9065e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_363-41_0_4_line_5 |  | 4 | 6 | 0.017275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_363-41_0_4_line_6 |  | 5 | 7 | 1.7996e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_363-41_0_4_line_7 |  | 6 | 8 | 9.1903e-07 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_363-41_0_4_line_8 |  | 7 | 9 | 1.8249e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_363-41_0_4_line_9 |  | 8 | 10 | 2.0588e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_363-41_0_4_line_10 |  | 9 | 97 | 0.024787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_363-41_0_4_line_11 |  | 10 | 11 | 2.1187e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_363-41_0_4_line_12 |  | 11 | 12 | 2.0772e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_363-41_0_4_line_13 |  | 12 | 13 | 2.146e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_363-41_0_4_line_14 |  | 13 | 96 | 0.0012552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_363-41_0_4_line_15 |  | 14 | 15 | 0.0013826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_363-41_0_4_line_16 |  | 14 | 16 | 1.0052e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_363-41_0_4_line_17 |  | 15 | 17 | 0.021708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_363-41_0_4_line_18 |  | 16 | 18 | 9.609e-06 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_363-41_0_4_line_19 |  | 17 | 19 | 0.0039764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_363-41_0_4_line_20 |  | 18 | 20 | 1.0224e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_363-41_0_4_line_21 |  | 19 | 21 | 0.017478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_363-41_0_4_line_22 |  | 20 | 22 | 1.2209e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_363-41_0_4_line_23 |  | 21 | 23 | 0.043078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_363-41_0_4_line_24 |  | 22 | 24 | 1.2295e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_363-41_0_4_line_25 |  | 23 | 83 | 0.012424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_363-41_0_4_line_26 |  | 23 | 82 | 0.05361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_363-41_0_4_line_27 |  | 24 | 95 | 0.010392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_363-41_0_4_line_28 |  | 25 | 26 | 0.0016792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_363-41_0_4_line_29 |  | 25 | 27 | 0.038911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_363-41_0_4_line_30 |  | 26 | 28 | 0.0031775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_363-41_0_4_line_31 |  | 27 | 29 | 0.059679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_363-41_0_4_line_32 |  | 28 | 30 | 0.0063354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_363-41_0_4_line_33 |  | 29 | 31 | 0.054094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_363-41_0_4_line_34 |  | 30 | 32 | 0.023511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_363-41_0_4_line_35 |  | 30 | 33 | 0.026684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_363-41_0_4_line_36 |  | 32 | 34 | 3.7349e-07 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_363-41_0_4_line_37 |  | 33 | 35 | 0.00073419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_363-41_0_4_line_38 |  | 35 | 36 | 0.0060884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_363-41_0_4_line_39 |  | 36 | 37 | 0.028127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_363-41_0_4_line_40 |  | 37 | 38 | 0.0040563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_363-41_0_4_line_41 |  | 37 | 39 | 0.02171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_363-41_0_4_line_42 |  | 38 | 40 | 0.0022157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_363-41_0_4_line_43 |  | 39 | 41 | 0.012659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_363-41_0_4_line_44 |  | 40 | 93 | 0.0037473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_363-41_0_4_line_45 |  | 41 | 91 | 0.001874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_363-41_0_4_line_46 |  | 41 | 58 | 0.023112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_363-41_0_4_line_47 |  | 42 | 43 | 1.7273e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_363-41_0_4_line_48 |  | 42 | 44 | 0.021389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_363-41_0_4_line_49 |  | 43 | 45 | 0.0018138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_363-41_0_4_line_50 |  | 44 | 46 | 0.003303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_363-41_0_4_line_51 |  | 44 | 47 | 0.024274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_363-41_0_4_line_52 |  | 45 | 48 | 0.00037285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
53 | LV_363-41_0_4_line_53 |  | 46 | 49 | 0.01853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_363-41_0_4_line_54 |  | 47 | 50 | 0.0054837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_363-41_0_4_line_55 |  | 48 | 51 | 0.024311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
56 | LV_363-41_0_4_line_56 |  | 49 | 55 | 0.047432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_363-41_0_4_line_57 |  | 50 | 56 | 0.0054753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_363-41_0_4_line_58 |  | 51 | 57 | 2.4868e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
59 | LV_363-41_0_4_line_59 |  | 52 | 53 | 0.025477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_363-41_0_4_line_60 |  | 52 | 54 | 0.028366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_363-41_0_4_line_61 |  | 53 | 58 | 0.014075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_363-41_0_4_line_62 |  | 54 | 59 | 0.0057281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_363-41_0_4_line_63 |  | 55 | 60 | 0.015213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_363-41_0_4_line_64 |  | 56 | 61 | 0.0054802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_363-41_0_4_line_65 |  | 57 | 62 | 2.6858e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
66 | LV_363-41_0_4_line_66 |  | 59 | 90 | 0.013142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_363-41_0_4_line_67 |  | 61 | 94 | 0.0054831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_363-41_0_4_line_68 |  | 62 | 63 | 2.6953e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
69 | LV_363-41_0_4_line_69 |  | 63 | 64 | 2.4191e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
70 | LV_363-41_0_4_line_70 |  | 64 | 65 | 2.9416e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
71 | LV_363-41_0_4_line_71 |  | 65 | 87 | 0.0020179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
72 | LV_363-41_0_4_line_72 |  | 66 | 67 | 0.0015498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
73 | LV_363-41_0_4_line_73 |  | 66 | 68 | 4.3053e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
74 | LV_363-41_0_4_line_74 |  | 67 | 69 | 0.023554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
75 | LV_363-41_0_4_line_75 |  | 68 | 70 | 4.3943e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
76 | LV_363-41_0_4_line_76 |  | 69 | 71 | 0.0085742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
77 | LV_363-41_0_4_line_77 |  | 70 | 72 | 4.2416e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
78 | LV_363-41_0_4_line_78 |  | 71 | 73 | 0.0018008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
79 | LV_363-41_0_4_line_79 |  | 72 | 74 | 4.3895e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
80 | LV_363-41_0_4_line_80 |  | 73 | 75 | 2.5433e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
81 | LV_363-41_0_4_line_81 |  | 74 | 76 | 4.5015e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
82 | LV_363-41_0_4_line_82 |  | 75 | 88 | 2.6012e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
83 | LV_363-41_0_4_line_83 |  | 76 | 97 | 0.0016894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
84 | LV_363-41_0_4_line_84 |  | 77 | 78 | 0.050483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_363-41_0_4_line_85 |  | 77 | 79 | 0.019225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_363-41_0_4_line_86 |  | 78 | 80 | 0.033216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_363-41_0_4_line_87 |  | 79 | 81 | 0.01283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_363-41_0_4_line_88 |  | 81 | 82 | 0.030183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_363-41_0_4_line_89 |  | 84 | 85 | 0.02305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
90 | LV_363-41_0_4_line_90 |  | 84 | 86 | 2.4395e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
91 | LV_363-41_0_4_line_91 |  | 85 | 87 | 0.0014478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
92 | LV_363-41_0_4_line_92 |  | 86 | 88 | 2.8913e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
93 | LV_363-41_0_4_line_93 |  | 89 | 90 | 0.022588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_363-41_0_4_line_94 |  | 91 | 92 | 0.009462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_363-41_0_4_line_95 |  | 93 | 94 | 0.002224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_363-41_0_4_line_96 |  | 95 | 96 | 0.014944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_363-41_0_4_trafo_58 | 0.63 MVA 20/0.4 kV | 98 | 84 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2604343.9798 | 1200340.0091 | 2604343.9946 | 1200340.0188
1 | 2604343.9798 | 1200340.0091 | 2604342.7356 | 1200339.1963
2 | 2604343.9946 | 1200340.0188 | 2604344.0081 | 1200340.0276
3 | 2604336.2843 | 1200334.9815 | 2604342.7356 | 1200339.1963
4 | 2604344.0081 | 1200340.0276 | 2604344.0241 | 1200340.038
5 | 2604321.8222 | 1200325.533 | 2604336.2843 | 1200334.9815
6 | 2604344.0241 | 1200340.038 | 2604344.0391 | 1200340.0479
7 | 2604321.8214 | 1200325.5325 | 2604321.8222 | 1200325.533
8 | 2604344.0391 | 1200340.0479 | 2604344.0544 | 1200340.0579
9 | 2604321.8042 | 1200325.5213 | 2604321.8214 | 1200325.5325
10 | 2604364.8056 | 1200353.6151 | 2604344.0544 | 1200340.0579
11 | 2604321.7865 | 1200325.5097 | 2604321.8042 | 1200325.5213
12 | 2604321.7691 | 1200325.4983 | 2604321.7865 | 1200325.5097
13 | 2604321.7511 | 1200325.4866 | 2604321.7691 | 1200325.4983
14 | 2604321.7511 | 1200325.4866 | 2604320.7003 | 1200324.8001
15 | 2604299.4442 | 1200310.913 | 2604298.2868 | 1200310.1568
16 | 2604299.4442 | 1200310.913 | 2604299.4527 | 1200310.9185
17 | 2604280.1138 | 1200298.284 | 2604298.2868 | 1200310.1568
18 | 2604299.4527 | 1200310.9185 | 2604299.4607 | 1200310.9238
19 | 2604276.7849 | 1200296.1092 | 2604280.1138 | 1200298.284
20 | 2604299.4607 | 1200310.9238 | 2604299.4693 | 1200310.9294
21 | 2604262.1529 | 1200286.5497 | 2604276.7849 | 1200296.1092
22 | 2604299.4693 | 1200310.9294 | 2604299.4795 | 1200310.936
23 | 2604262.1529 | 1200286.5497 | 2604237.4037 | 1200321.8513
24 | 2604299.4795 | 1200310.936 | 2604299.4898 | 1200310.9428
25 | 2604237.4037 | 1200321.8513 | 2604247.8886 | 1200328.5623
26 | 2604237.4037 | 1200321.8513 | 2604230.5916 | 1200331.5185 | 2604224.9073 | 1200339.5855 | 2604229.925 | 1200337.7769 | 2604231.6916 | 1200336.9444 | 2604233.3439 | 1200336.3897 | 2604234.8664 | 1200336.2017 | 2604236.4345 | 1200336.1917 | 2604237.9264 | 1200336.3595 | 2604239.4485 | 1200336.7719 | 2604240.7879 | 1200337.3398 | 2604241.8684 | 1200337.9965 | 2604242.9944 | 1200338.8088 | 2604253.6696 | 1200345.4976
27 | 2604308.19 | 1200316.6268 | 2604299.4898 | 1200310.9428
28 | 2604506.8404 | 1200301.3748 | 2604506.1384 | 1200302.9002
29 | 2604523.108 | 1200266.0275 | 2604506.8404 | 1200301.3748
30 | 2604506.1384 | 1200302.9002 | 2604504.8099 | 1200305.7867
31 | 2604523.108 | 1200266.0275 | 2604512.4562 | 1200248.6435 | 2604505.7888 | 1200237.0879 | 2604488.4479 | 1200217.7829
32 | 2604502.0568 | 1200311.4918 | 2604503.734 | 1200308.1246 | 2604504.8099 | 1200305.7867
33 | 2604451.9311 | 1200177.8898 | 2604458.6235 | 1200184.5805 | 2604488.4479 | 1200217.7829
34 | 2604502.0568 | 1200311.4918 | 2604522.5988 | 1200322.9286
35 | 2604502.0568 | 1200311.4918 | 2604495.0432 | 1200325.5497 | 2604489.9427 | 1200335.2664
36 | 2604522.5992 | 1200322.9288 | 2604522.5988 | 1200322.9286
37 | 2604489.9427 | 1200335.2664 | 2604489.6014 | 1200335.9165
38 | 2604489.6014 | 1200335.9165 | 2604486.7717 | 1200341.3073
39 | 2604473.699 | 1200366.2113 | 2604486.7717 | 1200341.3073
40 | 2604473.699 | 1200366.2113 | 2604471.7785 | 1200369.7842
41 | 2604473.699 | 1200366.2113 | 2604482.8222 | 1200371.343 | 2604492.6612 | 1200376.7835
42 | 2604470.7294 | 1200371.7357 | 2604471.7785 | 1200369.7842
43 | 2604503.7394 | 1200382.9092 | 2604492.6612 | 1200376.7835
44 | 2604470.7294 | 1200371.7357 | 2604468.9552 | 1200375.0364
45 | 2604503.7394 | 1200382.9092 | 2604505.3677 | 1200383.8442
46 | 2604503.7394 | 1200382.9092 | 2604493.1804 | 1200403.4681
47 | 2604428.1242 | 1200405.9534 | 2604428.1387 | 1200405.9629
48 | 2604446.0293 | 1200417.6853 | 2604428.1387 | 1200405.9629
49 | 2604428.1242 | 1200405.9534 | 2604426.6071 | 1200404.9594
50 | 2604446.0293 | 1200417.6853 | 2604444.4667 | 1200420.5969
51 | 2604446.0293 | 1200417.6853 | 2604457.5225 | 1200396.3045
52 | 2604426.2953 | 1200404.755 | 2604426.6071 | 1200404.9594
53 | 2604444.4667 | 1200420.5969 | 2604435.7155 | 1200436.93
54 | 2604460.1189 | 1200391.4744 | 2604457.5225 | 1200396.3045
55 | 2604426.2953 | 1200404.755 | 2604405.9609 | 1200391.4314
56 | 2604411.0998 | 1200477.3697 | 2604417.1953 | 1200469.1586 | 2604423.7641 | 1200459.2358 | 2604435.7155 | 1200436.93
57 | 2604462.7113 | 1200386.6518 | 2604460.1189 | 1200391.4744
58 | 2604405.9401 | 1200391.4177 | 2604405.9609 | 1200391.4314
59 | 2604478.7984 | 1200439.3766 | 2604487.4042 | 1200423.4633 | 2604487.1638 | 1200416.0814
60 | 2604465.2915 | 1200464.3357 | 2604478.7984 | 1200439.3766
61 | 2604487.1638 | 1200416.0814 | 2604487.1363 | 1200415.2365 | 2604493.1804 | 1200403.4681
62 | 2604465.2915 | 1200464.3357 | 2604460.2849 | 1200461.5527
63 | 2604398.9349 | 1200468.1893 | 2604411.0998 | 1200477.3697
64 | 2604465.3061 | 1200381.8248 | 2604462.7113 | 1200386.6518
65 | 2604405.9176 | 1200391.403 | 2604405.9401 | 1200391.4177
66 | 2604453.9512 | 1200473.0679 | 2604460.2849 | 1200461.5527
67 | 2604467.9022 | 1200376.9952 | 2604465.3061 | 1200381.8248
68 | 2604405.895 | 1200391.3883 | 2604405.9176 | 1200391.403
69 | 2604405.8748 | 1200391.375 | 2604405.895 | 1200391.3883
70 | 2604405.8502 | 1200391.3589 | 2604405.8748 | 1200391.375
71 | 2604405.8502 | 1200391.3589 | 2604404.1623 | 1200390.2529
72 | 2604367.7002 | 1200355.5062 | 2604366.4028 | 1200354.6585
73 | 2604366.3667 | 1200354.635 | 2604366.4028 | 1200354.6585
74 | 2604374.9059 | 1200371.0833 | 2604362.8001 | 1200363.1512 | 2604367.7002 | 1200355.5062 | 2604367.7002 | 1200355.5062
75 | 2604366.3299 | 1200354.611 | 2604366.3667 | 1200354.635
76 | 2604374.9059 | 1200371.0833 | 2604382.0777 | 1200375.7825
77 | 2604366.2944 | 1200354.5878 | 2604366.3299 | 1200354.611
78 | 2604383.584 | 1200376.7694 | 2604382.0777 | 1200375.7825
79 | 2604366.2577 | 1200354.5638 | 2604366.2944 | 1200354.5878
80 | 2604383.584 | 1200376.7694 | 2604383.6052 | 1200376.7833
81 | 2604366.22 | 1200354.5391 | 2604366.2577 | 1200354.5638
82 | 2604383.6052 | 1200376.7833 | 2604383.627 | 1200376.7976
83 | 2604366.22 | 1200354.5391 | 2604364.8056 | 1200353.6151
84 | 2604341.3312 | 1200413.6976 | 2604335.6389 | 1200407.2777 | 2604324.26 | 1200394.9407 | 2604316.2359 | 1200385.53 | 2604311.9229 | 1200381.2023 | 2604306.794 | 1200376.9815
85 | 2604291.0305 | 1200366.424 | 2604291.6469 | 1200366.6468 | 2604300.6185 | 1200371.0778 | 2604303.7295 | 1200374.4596 | 2604306.794 | 1200376.9815
86 | 2604341.3312 | 1200413.6976 | 2604355.4447 | 1200429.615 | 2604363.3277 | 1200438.5867
87 | 2604291.0305 | 1200366.424 | 2604282.2102 | 1200363.394 | 2604279.2414 | 1200361.5324
88 | 2604253.6696 | 1200345.4976 | 2604279.2414 | 1200361.5324
89 | 2604383.6716 | 1200376.8268 | 2604402.9514 | 1200389.4595
90 | 2604383.6512 | 1200376.8134 | 2604383.6716 | 1200376.8268
91 | 2604402.9514 | 1200389.4595 | 2604404.1623 | 1200390.2529
92 | 2604383.627 | 1200376.7976 | 2604383.6512 | 1200376.8134
93 | 2604443.0651 | 1200492.8598 | 2604453.9512 | 1200473.0679
94 | 2604509.9791 | 1200375.5766 | 2604505.3677 | 1200383.8442
95 | 2604467.9022 | 1200376.9952 | 2604468.9552 | 1200375.0364
96 | 2604308.19 | 1200316.6268 | 2604320.7003 | 1200324.8001

## bus_geodata
| x | y | coords
0 | 2604343.9798 | 1200340.0091
1 | 2604343.9946 | 1200340.0188
2 | 2604342.7356 | 1200339.1963
3 | 2604344.0081 | 1200340.0276
4 | 2604336.2843 | 1200334.9815
5 | 2604344.0241 | 1200340.038
6 | 2604321.8222 | 1200325.533
7 | 2604344.0391 | 1200340.0479
8 | 2604321.8214 | 1200325.5325
9 | 2604344.0544 | 1200340.0579
10 | 2604321.8042 | 1200325.5213
11 | 2604321.7865 | 1200325.5097
12 | 2604321.7691 | 1200325.4983
13 | 2604321.7511 | 1200325.4866
14 | 2604299.4442 | 1200310.913
15 | 2604298.2868 | 1200310.1568
16 | 2604299.4527 | 1200310.9185
17 | 2604280.1139 | 1200298.284
18 | 2604299.4607 | 1200310.9238
19 | 2604276.7849 | 1200296.1092
20 | 2604299.4693 | 1200310.9294
21 | 2604262.1529 | 1200286.5497
22 | 2604299.4795 | 1200310.936
23 | 2604237.4037 | 1200321.8513
24 | 2604299.4898 | 1200310.9428
25 | 2604506.8404 | 1200301.3748
26 | 2604506.1384 | 1200302.9002
27 | 2604523.108 | 1200266.0275
28 | 2604504.8099 | 1200305.7867
29 | 2604488.4479 | 1200217.7829
30 | 2604502.0568 | 1200311.4918
31 | 2604451.9311 | 1200177.8898
32 | 2604522.5988 | 1200322.9286
33 | 2604489.9427 | 1200335.2664
34 | 2604522.5992 | 1200322.9288
35 | 2604489.6014 | 1200335.9165
36 | 2604486.7717 | 1200341.3073
37 | 2604473.699 | 1200366.2113
38 | 2604471.7785 | 1200369.7842
39 | 2604492.6612 | 1200376.7835
40 | 2604470.7294 | 1200371.7357
41 | 2604503.7394 | 1200382.9092
42 | 2604428.1387 | 1200405.9629
43 | 2604428.1242 | 1200405.9534
44 | 2604446.0293 | 1200417.6853
45 | 2604426.6071 | 1200404.9594
46 | 2604444.4667 | 1200420.5969
47 | 2604457.5225 | 1200396.3045
48 | 2604426.2953 | 1200404.755
49 | 2604435.7155 | 1200436.93
50 | 2604460.1189 | 1200391.4744
51 | 2604405.9609 | 1200391.4314
52 | 2604478.7984 | 1200439.3766
53 | 2604487.1638 | 1200416.0814
54 | 2604465.2915 | 1200464.3357
55 | 2604411.0998 | 1200477.3697
56 | 2604462.7113 | 1200386.6518
57 | 2604405.9401 | 1200391.4177
58 | 2604493.1804 | 1200403.4681
59 | 2604460.2849 | 1200461.5527
60 | 2604398.9349 | 1200468.1893
61 | 2604465.3061 | 1200381.8248
62 | 2604405.9176 | 1200391.403
63 | 2604405.895 | 1200391.3883
64 | 2604405.8748 | 1200391.375
65 | 2604405.8502 | 1200391.3589
66 | 2604366.4028 | 1200354.6585
67 | 2604367.7002 | 1200355.5062
68 | 2604366.3667 | 1200354.635
69 | 2604374.9059 | 1200371.0833
70 | 2604366.3299 | 1200354.611
71 | 2604382.0777 | 1200375.7825
72 | 2604366.2944 | 1200354.5878
73 | 2604383.584 | 1200376.7694
74 | 2604366.2577 | 1200354.5638
75 | 2604383.6052 | 1200376.7833
76 | 2604366.22 | 1200354.5391
77 | 2604306.794 | 1200376.9815
78 | 2604341.3312 | 1200413.6976
79 | 2604291.0305 | 1200366.424
80 | 2604363.3277 | 1200438.5867
81 | 2604279.2414 | 1200361.5324
82 | 2604253.6696 | 1200345.4976
83 | 2604247.8886 | 1200328.5623
84 | 2604383.6716 | 1200376.8268
85 | 2604402.9514 | 1200389.4595
86 | 2604383.6512 | 1200376.8134
87 | 2604404.1623 | 1200390.2529
88 | 2604383.627 | 1200376.7976
89 | 2604443.0651 | 1200492.8598
90 | 2604453.9512 | 1200473.0679
91 | 2604505.3677 | 1200383.8442
92 | 2604509.9791 | 1200375.5766
93 | 2604468.9552 | 1200375.0364
94 | 2604467.9022 | 1200376.9952
95 | 2604308.19 | 1200316.6268
96 | 2604320.7003 | 1200324.8001
97 | 2604364.8056 | 1200353.6151
98 | 2604446.0293 | 1200417.6853

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1