## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_363-5_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_363-5_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_363-5_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_363-5_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_363-5_0_6_node_86 | 0.4 | n |  | TRUE
5 | bus_LV_363-5_0_6_node_85 | 0.4 | n |  | TRUE
6 | bus_LV_363-5_0_6_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_363-5_0_6_node_39 | 0.4 | n |  | TRUE
8 | bus_LV_363-5_0_6_node_103 | 0.4 | n |  | TRUE
9 | bus_LV_363-5_0_6_node_84 | 0.4 | n |  | TRUE
10 | bus_LV_363-5_0_6_node_18 | 0.4 | n |  | TRUE
11 | bus_LV_363-5_0_6_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_363-5_0_6_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_363-5_0_6_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_363-5_0_6_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_363-5_0_6_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_363-5_0_6_node_17 | 0.4 | n |  | TRUE
17 | bus_LV_363-5_0_6_node_29 | 0.4 | n |  | TRUE
18 | bus_LV_363-5_0_6_node_35 | 0.4 | n |  | TRUE
19 | bus_LV_363-5_0_6_node_27 | 0.4 | n |  | TRUE
20 | bus_LV_363-5_0_6_node_26 | 0.4 | n |  | TRUE
21 | bus_LV_363-5_0_6_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_363-5_0_6_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_363-5_0_6_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_363-5_0_6_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_363-5_0_6_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_363-5_0_6_node_77 | 0.4 | n |  | TRUE
27 | bus_LV_363-5_0_6_node_78 | 0.4 | n |  | TRUE
28 | bus_LV_363-5_0_6_node_68 | 0.4 | n |  | TRUE
29 | bus_LV_363-5_0_6_node_40 | 0.4 | n |  | TRUE
30 | bus_LV_363-5_0_6_node_80 | 0.4 | n |  | TRUE
31 | bus_LV_363-5_0_6_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_363-5_0_6_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_363-5_0_6_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_363-5_0_6_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_363-5_0_6_node_41 | 0.4 | n |  | TRUE
36 | bus_LV_363-5_0_6_node_50 | 0.4 | n |  | TRUE
37 | bus_LV_363-5_0_6_node_52 | 0.4 | n |  | TRUE
38 | bus_LV_363-5_0_6_node_49 | 0.4 | n |  | TRUE
39 | bus_LV_363-5_0_6_node_24 | 0.4 | n |  | TRUE
40 | bus_LV_363-5_0_6_node_25 | 0.4 | n |  | TRUE
41 | bus_LV_363-5_0_6_node_28 | 0.4 | n |  | TRUE
42 | bus_LV_363-5_0_6_node_30 | 0.4 | n |  | TRUE
43 | bus_LV_363-5_0_6_node_70 | 0.4 | n |  | TRUE
44 | bus_LV_363-5_0_6_node_32 | 0.4 | n |  | TRUE
45 | bus_LV_363-5_0_6_node_43 | 0.4 | n |  | TRUE
46 | bus_LV_363-5_0_6_node_67 | 0.4 | n |  | TRUE
47 | bus_LV_363-5_0_6_node_34 | 0.4 | n |  | TRUE
48 | bus_LV_363-5_0_6_node_31 | 0.4 | n |  | TRUE
49 | bus_LV_363-5_0_6_node_33 | 0.4 | n |  | TRUE
50 | bus_LV_363-5_0_6_node_36 | 0.4 | n |  | TRUE
51 | bus_LV_363-5_0_6_node_37 | 0.4 | n |  | TRUE
52 | bus_LV_363-5_0_6_node_38 | 0.4 | n |  | TRUE
53 | bus_LV_363-5_0_6_node_71 | 0.4 | n |  | TRUE
54 | bus_LV_363-5_0_6_node_75 | 0.4 | n |  | TRUE
55 | bus_LV_363-5_0_6_node_69 | 0.4 | n |  | TRUE
56 | bus_LV_363-5_0_6_node_73 | 0.4 | n |  | TRUE
57 | bus_LV_363-5_0_6_node_83 | 0.4 | n |  | TRUE
58 | bus_LV_363-5_0_6_node_81 | 0.4 | n |  | TRUE
59 | bus_LV_363-5_0_6_node_82 | 0.4 | n |  | TRUE
60 | bus_LV_363-5_0_6_node_44 | 0.4 | n |  | TRUE
61 | bus_LV_363-5_0_6_node_45 | 0.4 | n |  | TRUE
62 | bus_LV_363-5_0_6_node_46 | 0.4 | n |  | TRUE
63 | bus_LV_363-5_0_6_node_47 | 0.4 | n |  | TRUE
64 | bus_LV_363-5_0_6_node_48 | 0.4 | n |  | TRUE
65 | bus_LV_363-5_0_6_node_72 | 0.4 | n |  | TRUE
66 | bus_LV_363-5_0_6_node_66 | 0.4 | n |  | TRUE
67 | bus_LV_363-5_0_6_node_54 | 0.4 | n |  | TRUE
68 | bus_LV_363-5_0_6_node_55 | 0.4 | n |  | TRUE
69 | bus_LV_363-5_0_6_node_56 | 0.4 | n |  | TRUE
70 | bus_LV_363-5_0_6_node_57 | 0.4 | n |  | TRUE
71 | bus_LV_363-5_0_6_node_58 | 0.4 | n |  | TRUE
72 | bus_LV_363-5_0_6_node_59 | 0.4 | n |  | TRUE
73 | bus_LV_363-5_0_6_node_79 | 0.4 | n |  | TRUE
74 | bus_LV_363-5_0_6_node_95 | 0.4 | n |  | TRUE
75 | bus_LV_363-5_0_6_node_64 | 0.4 | n |  | TRUE
76 | bus_LV_363-5_0_6_node_96 | 0.4 | n |  | TRUE
77 | bus_LV_363-5_0_6_node_60 | 0.4 | n |  | TRUE
78 | bus_LV_363-5_0_6_node_61 | 0.4 | n |  | TRUE
79 | bus_LV_363-5_0_6_node_62 | 0.4 | n |  | TRUE
80 | bus_LV_363-5_0_6_node_63 | 0.4 | n |  | TRUE
81 | bus_LV_363-5_0_6_node_74 | 0.4 | n |  | TRUE
82 | bus_LV_363-5_0_6_node_65 | 0.4 | n |  | TRUE
83 | bus_LV_363-5_0_6_node_99 | 0.4 | n |  | TRUE
84 | bus_LV_363-5_0_6_node_92 | 0.4 | n |  | TRUE
85 | bus_LV_363-5_0_6_node_98 | 0.4 | n |  | TRUE
86 | bus_LV_363-5_0_6_node_105 | 0.4 | n |  | TRUE
87 | bus_LV_363-5_0_6_node_87 | 0.4 | n |  | TRUE
88 | bus_LV_363-5_0_6_node_88 | 0.4 | n |  | TRUE
89 | bus_LV_363-5_0_6_node_97 | 0.4 | n |  | TRUE
90 | bus_LV_363-5_0_6_node_93 | 0.4 | n |  | TRUE
91 | bus_LV_363-5_0_6_node_89 | 0.4 | n |  | TRUE
92 | bus_LV_363-5_0_6_node_90 | 0.4 | n |  | TRUE
93 | bus_LV_363-5_0_6_node_91 | 0.4 | n |  | TRUE
94 | bus_LV_363-5_0_6_node_94 | 0.4 | n |  | TRUE
95 | bus_LV_363-5_0_6_node_100 | 0.4 | n |  | TRUE
96 | bus_LV_363-5_0_6_node_102 | 0.4 | n |  | TRUE
97 | bus_LV_363-5_0_6_node_101 | 0.4 | n |  | TRUE
98 | bus_MV_599_0_node_138 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_363-5_0_6_load_0 | 0 | 0.0086753 | 0.0021742 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_363-5_0_6_load_1 | 1 | 0.018343 | 0.0045971 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_363-5_0_6_load_2 | 2 | 0.0029809 | 0.00074708 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_363-5_0_6_load_3 | 3 | 0.0015973 | 0.00040033 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_363-5_0_6_load_86 | 4 | 0.011099 | 0.0027816 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_363-5_0_6_load_85 | 5 | 0.010588 | 0.0026537 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_363-5_0_6_load_103 | 8 | 0.010223 | 0.0025621 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_363-5_0_6_load_84 | 9 | 0.0017428 | 0.00043679 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_363-5_0_6_load_6 | 11 | 0.011191 | 0.0028048 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_363-5_0_6_load_10 | 14 | 0.012566 | 0.0031493 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_363-5_0_6_load_11 | 15 | 0.010602 | 0.0026571 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_363-5_0_6_load_17 | 16 | 0.0098877 | 0.0024781 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_363-5_0_6_load_29 | 17 | 0.011128 | 0.002789 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_363-5_0_6_load_35 | 18 | 0.032976 | 0.0082646 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_363-5_0_6_load_27 | 19 | 0.012522 | 0.0031384 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_363-5_0_6_load_12 | 21 | 0.01276 | 0.003198 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_363-5_0_6_load_13 | 22 | 0.0065867 | 0.0016508 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_363-5_0_6_load_15 | 24 | 0.0071022 | 0.00178 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_363-5_0_6_load_16 | 25 | 0.031162 | 0.00781 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_363-5_0_6_load_78 | 27 | 0.0040532 | 0.0010158 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_363-5_0_6_load_80 | 30 | 0.0047202 | 0.001183 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_363-5_0_6_load_19 | 31 | 0.0042664 | 0.0010693 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_363-5_0_6_load_23 | 34 | 0.0042095 | 0.001055 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_363-5_0_6_load_41 | 35 | 0.023042 | 0.0057748 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_363-5_0_6_load_52 | 37 | 0.0051847 | 0.0012994 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_363-5_0_6_load_49 | 38 | 0.0039722 | 0.00099554 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_363-5_0_6_load_24 | 39 | 0.013722 | 0.003439 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_363-5_0_6_load_28 | 41 | 0.011191 | 0.0028046 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_363-5_0_6_load_70 | 43 | 0.011401 | 0.0028574 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_363-5_0_6_load_43 | 45 | 0.010892 | 0.0027297 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_363-5_0_6_load_34 | 47 | 0.006863 | 0.00172 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_363-5_0_6_load_31 | 48 | 0.0086532 | 0.0021687 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_363-5_0_6_load_33 | 49 | 0.027754 | 0.0069559 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_363-5_0_6_load_38 | 52 | 0.010019 | 0.0025111 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_363-5_0_6_load_71 | 53 | 0.0076073 | 0.0019066 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_363-5_0_6_load_75 | 54 | 0.0066382 | 0.0016637 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_363-5_0_6_load_69 | 55 | 0.003182 | 0.00079747 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_363-5_0_6_load_83 | 57 | 0.018 | 0.0045113 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_363-5_0_6_load_44 | 60 | 0.0031834 | 0.00079783 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_363-5_0_6_load_45 | 61 | 0.0027333 | 0.00068504 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_363-5_0_6_load_46 | 62 | 0.00325 | 0.00081453 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_363-5_0_6_load_47 | 63 | 0.0029664 | 0.00074346 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_363-5_0_6_load_48 | 64 | 0.0038627 | 0.00096809 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_363-5_0_6_load_72 | 65 | 0.0019474 | 0.00048805 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_363-5_0_6_load_66 | 66 | 0.00359 | 0.00089974 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_363-5_0_6_load_54 | 67 | 0.0028792 | 0.0007216 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_363-5_0_6_load_55 | 68 | 0.0025078 | 0.0006285 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_363-5_0_6_load_57 | 70 | 0.0016412 | 0.00041131 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_363-5_0_6_load_58 | 71 | 0.0035118 | 0.00088014 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_363-5_0_6_load_59 | 72 | 0.0016335 | 0.0004094 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_363-5_0_6_load_79 | 73 | 0.003781 | 0.00094762 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_363-5_0_6_load_95 | 74 | 0.0083968 | 0.0021044 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_363-5_0_6_load_64 | 75 | 0.0028068 | 0.00070344 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_363-5_0_6_load_96 | 76 | 0.0038841 | 0.00097344 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_363-5_0_6_load_60 | 77 | 0.0034662 | 0.00086872 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_363-5_0_6_load_61 | 78 | 0.0038592 | 0.00096721 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_363-5_0_6_load_62 | 79 | 0.0022654 | 0.00056775 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_363-5_0_6_load_63 | 80 | 0.0031801 | 0.00079701 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_363-5_0_6_load_74 | 81 | 0.0026771 | 0.00067095 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_363-5_0_6_load_65 | 82 | 0.0030879 | 0.0007739 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_363-5_0_6_load_98 | 85 | 0.0088131 | 0.0022088 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_363-5_0_6_load_105 | 86 | 0.0090085 | 0.0022577 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_363-5_0_6_load_88 | 88 | 0.0043679 | 0.0010947 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_363-5_0_6_load_97 | 89 | 0.0092339 | 0.0023142 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_363-5_0_6_load_93 | 90 | 0.011155 | 0.0027958 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_363-5_0_6_load_89 | 91 | 0.00986 | 0.0024711 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_363-5_0_6_load_90 | 92 | 0.0042185 | 0.0010572 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_363-5_0_6_load_94 | 94 | 0.0038583 | 0.00096698 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_363-5_0_6_load_100 | 95 | 0.0028685 | 0.00071892 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_363-5_0_6_load_102 | 96 | 0.0082822 | 0.0020757 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_363-5_0_6_load_101 | 97 | 0.021728 | 0.0054456 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 44 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_363-5_0_6_line_0 |  | 0 | 1 | 0.037033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_363-5_0_6_line_1 |  | 0 | 2 | 0.013289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_363-5_0_6_line_2 |  | 2 | 3 | 0.01077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_363-5_0_6_line_3 |  | 3 | 4 | 0.019608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_363-5_0_6_line_4 |  | 4 | 5 | 0.0008976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_363-5_0_6_line_5 |  | 5 | 87 | 0.021306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_363-5_0_6_line_6 |  | 6 | 7 | 0.038727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_363-5_0_6_line_7 |  | 6 | 8 | 0.029328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_363-5_0_6_line_8 |  | 7 | 9 | 0.030733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_363-5_0_6_line_9 |  | 7 | 10 | 0.019091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_363-5_0_6_line_10 |  | 9 | 57 | 0.018822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_363-5_0_6_line_11 |  | 10 | 29 | 0.08016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_363-5_0_6_line_12 |  | 10 | 16 | 0.016482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_363-5_0_6_line_13 |  | 11 | 12 | 0.0047183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_363-5_0_6_line_14 |  | 11 | 13 | 0.019653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_363-5_0_6_line_15 |  | 12 | 14 | 0.012628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_363-5_0_6_line_16 |  | 13 | 15 | 0.02218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_363-5_0_6_line_17 |  | 14 | 16 | 0.016698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_363-5_0_6_line_18 |  | 15 | 17 | 0.016333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_363-5_0_6_line_19 |  | 17 | 20 | 0.031148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_363-5_0_6_line_20 |  | 18 | 19 | 0.013988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_363-5_0_6_line_21 |  | 19 | 40 | 0.051537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_363-5_0_6_line_22 |  | 20 | 42 | 0.006335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_363-5_0_6_line_23 |  | 21 | 22 | 0.062397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_363-5_0_6_line_24 |  | 21 | 23 | 0.0064161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_363-5_0_6_line_25 |  | 22 | 24 | 0.013459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_363-5_0_6_line_26 |  | 23 | 25 | 0.0038466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_363-5_0_6_line_27 |  | 24 | 26 | 0.018235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_363-5_0_6_line_28 |  | 26 | 27 | 0.0013041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_363-5_0_6_line_29 |  | 26 | 28 | 0.013965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_363-5_0_6_line_30 |  | 27 | 37 | 0.033417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_363-5_0_6_line_31 |  | 28 | 66 | 0.012814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_363-5_0_6_line_32 |  | 28 | 63 | 0.021423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_363-5_0_6_line_33 |  | 29 | 30 | 0.024355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_363-5_0_6_line_34 |  | 30 | 58 | 0.038567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_363-5_0_6_line_35 |  | 31 | 32 | 0.0058094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_363-5_0_6_line_36 |  | 32 | 33 | 0.026994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_363-5_0_6_line_37 |  | 32 | 34 | 0.012642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_363-5_0_6_line_38 |  | 33 | 35 | 0.048126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_363-5_0_6_line_39 |  | 34 | 36 | 0.046499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_363-5_0_6_line_40 |  | 36 | 37 | 0.0029365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_363-5_0_6_line_41 |  | 36 | 38 | 0.049841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_363-5_0_6_line_42 |  | 39 | 40 | 0.014434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_363-5_0_6_line_43 |  | 40 | 41 | 0.035281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_363-5_0_6_line_44 |  | 41 | 43 | 0.016669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_363-5_0_6_line_45 |  | 42 | 44 | 0.010968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_363-5_0_6_line_46 |  | 42 | 45 | 0.021021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_363-5_0_6_line_47 |  | 43 | 46 | 0.032899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_363-5_0_6_line_48 |  | 44 | 47 | 0.028577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
49 | LV_363-5_0_6_line_49 |  | 44 | 48 | 0.02065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_363-5_0_6_line_50 |  | 46 | 55 | 0.014346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_363-5_0_6_line_51 |  | 46 | 82 | 0.0083283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_363-5_0_6_line_52 |  | 47 | 50 | 0.032029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
53 | LV_363-5_0_6_line_53 |  | 48 | 49 | 0.0067158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_363-5_0_6_line_54 |  | 50 | 51 | 0.023543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
55 | LV_363-5_0_6_line_55 |  | 50 | 52 | 0.020047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_363-5_0_6_line_56 |  | 51 | 53 | 0.017665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
57 | LV_363-5_0_6_line_57 |  | 51 | 54 | 0.01622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
58 | LV_363-5_0_6_line_58 |  | 53 | 55 | 0.0056343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
59 | LV_363-5_0_6_line_59 |  | 54 | 56 | 0.019835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
60 | LV_363-5_0_6_line_60 |  | 56 | 81 | 0.011574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
61 | LV_363-5_0_6_line_61 |  | 56 | 80 | 0.012841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_363-5_0_6_line_62 |  | 58 | 59 | 0.034074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_363-5_0_6_line_63 |  | 59 | 86 | 0.011715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_363-5_0_6_line_64 |  | 60 | 61 | 0.016186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_363-5_0_6_line_65 |  | 60 | 62 | 0.0069775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_363-5_0_6_line_66 |  | 61 | 63 | 0.013373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_363-5_0_6_line_67 |  | 62 | 64 | 0.0058904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_363-5_0_6_line_68 |  | 64 | 65 | 0.018826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_363-5_0_6_line_69 |  | 66 | 82 | 0.012076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_363-5_0_6_line_70 |  | 67 | 68 | 0.015925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_363-5_0_6_line_71 |  | 67 | 69 | 0.0020518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_363-5_0_6_line_72 |  | 68 | 70 | 0.0038451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_363-5_0_6_line_73 |  | 69 | 71 | 0.011697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_363-5_0_6_line_74 |  | 69 | 72 | 0.013818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_363-5_0_6_line_75 |  | 71 | 73 | 0.0051824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_363-5_0_6_line_76 |  | 72 | 74 | 0.035242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_363-5_0_6_line_77 |  | 73 | 75 | 0.014389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_363-5_0_6_line_78 |  | 74 | 76 | 0.020293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_363-5_0_6_line_79 |  | 75 | 79 | 0.0025222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_363-5_0_6_line_80 |  | 77 | 78 | 0.0045548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_363-5_0_6_line_81 |  | 77 | 79 | 0.0085263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_363-5_0_6_line_82 |  | 78 | 80 | 0.015903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_363-5_0_6_line_83 |  | 81 | 83 | 0.024738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_363-5_0_6_line_84 |  | 83 | 84 | 0.016548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_363-5_0_6_line_85 |  | 83 | 85 | 0.020709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_363-5_0_6_line_86 |  | 84 | 95 | 0.010999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_363-5_0_6_line_87 |  | 84 | 92 | 0.026686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_363-5_0_6_line_88 |  | 87 | 88 | 0.019015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_363-5_0_6_line_89 |  | 88 | 89 | 0.023616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_363-5_0_6_line_90 |  | 89 | 90 | 0.010403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_363-5_0_6_line_91 |  | 90 | 93 | 0.012983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_363-5_0_6_line_92 |  | 91 | 92 | 0.0057381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_363-5_0_6_line_93 |  | 91 | 93 | 0.021167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_363-5_0_6_line_94 |  | 93 | 94 | 0.010238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_363-5_0_6_line_95 |  | 94 | 96 | 0.01389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_363-5_0_6_line_96 |  | 95 | 97 | 0.011699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_363-5_0_6_trafo_32 | 0.63 MVA 20/0.4 kV | 98 | 44 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2603481.8656 | 1200874.3389 | 2603453.4236 | 1200898.0561
1 | 2603481.8656 | 1200874.3389 | 2603492.0716 | 1200865.8283
2 | 2603500.3432 | 1200858.9308 | 2603492.0716 | 1200865.8283
3 | 2603515.402 | 1200846.3735 | 2603500.3432 | 1200858.9308
4 | 2603515.402 | 1200846.3735 | 2603516.0914 | 1200845.7986
5 | 2603532.455 | 1200832.1534 | 2603516.0914 | 1200845.7986
6 | 2603407.0449 | 1201108.7864 | 2603403.6138 | 1201106.0608 | 2603396.9724 | 1201100.3874 | 2603392.3702 | 1201095.6045 | 2603386.8404 | 1201089.3758 | 2603380.0253 | 1201081.1343
7 | 2603380.0253 | 1201081.1343 | 2603402.7427 | 1201062.5861
8 | 2603407.0449 | 1201108.7864 | 2603388.3932 | 1201133.2126
9 | 2603407.0449 | 1201108.7864 | 2603410.56 | 1201111.0118 | 2603414.3416 | 1201113.0261 | 2603419.4624 | 1201115.9083 | 2603423.8377 | 1201117.9119
10 | 2603376.9704 | 1201148.172 | 2603388.3932 | 1201133.2126
11 | 2603423.8377 | 1201117.9119 | 2603426.8207 | 1201118.9141 | 2603430.367 | 1201119.8277 | 2603435.679 | 1201120.8201 | 2603442.6384 | 1201129.3286 | 2603458.0056 | 1201142.3109 | 2603467.1244 | 1201154.5672 | 2603474.8128 | 1201165.9332 | 2603479.9926 | 1201171.8171
12 | 2603423.8377 | 1201117.9119 | 2603434.3283 | 1201113.571 | 2603438.2411 | 1201110.2553
13 | 2603460.6147 | 1201091.2961 | 2603464.2149 | 1201088.2462
14 | 2603479.2103 | 1201075.5426 | 2603464.2149 | 1201088.2462
15 | 2603460.6147 | 1201091.2961 | 2603450.9804 | 1201099.4601
16 | 2603479.2103 | 1201075.5426 | 2603496.1337 | 1201061.2063
17 | 2603438.2411 | 1201110.2553 | 2603450.9804 | 1201099.4601
18 | 2603508.5965 | 1201050.6487 | 2603496.1337 | 1201061.2063
19 | 2603532.3628 | 1201030.5156 | 2603508.5965 | 1201050.6487
20 | 2603524.1518 | 1201099.0309 | 2603523.486 | 1201099.7366 | 2603515.1449 | 1201109.731
21 | 2603565.3502 | 1201069.4113 | 2603540.3933 | 1201081.8145 | 2603524.1518 | 1201099.0309
22 | 2603532.3628 | 1201030.5156 | 2603537.2059 | 1201026.4162
23 | 2603584.2238 | 1201111.9675 | 2603603.431 | 1201104.8861 | 2603616.2384 | 1201095.9445 | 2603630.1006 | 1201079.3438 | 2603633.6292 | 1201076.2717
24 | 2603580.2174 | 1201116.979 | 2603584.2238 | 1201111.9675 | 2603584.2238 | 1201111.9675
25 | 2603633.6292 | 1201076.2717 | 2603642.9246 | 1201068.1787 | 2603643.8926 | 1201067.5876
26 | 2603580.2174 | 1201116.979 | 2603577.8136 | 1201119.982
27 | 2603659.4547 | 1201058.0832 | 2603643.8926 | 1201067.5876
28 | 2603659.4547 | 1201058.0832 | 2603660.2176 | 1201059.1408
29 | 2603659.4547 | 1201058.0832 | 2603651.4317 | 1201046.6389
30 | 2603660.2176 | 1201059.1408 | 2603679.7681 | 1201086.2426
31 | 2603651.4317 | 1201046.6389 | 2603644.0597 | 1201036.158
32 | 2603651.4317 | 1201046.6389 | 2603669.2862 | 1201034.7995
33 | 2603479.9926 | 1201171.8171 | 2603474.7918 | 1201175.9497 | 2603461.6578 | 1201187.8333
34 | 2603462.2715 | 1201216.331 | 2603449.7977 | 1201201.4826 | 2603449.3349 | 1201198.9365 | 2603457.4905 | 1201191.6039 | 2603461.6578 | 1201187.8333
35 | 2603637.9716 | 1201128.675 | 2603632.6545 | 1201131.0153
36 | 2603637.9716 | 1201128.675 | 2603631.4713 | 1201154.8741
37 | 2603637.9716 | 1201128.675 | 2603647.2731 | 1201120.1139
38 | 2603631.4713 | 1201154.8741 | 2603679.0541 | 1201162.0862
39 | 2603681.486 | 1201088.6241 | 2603647.2731 | 1201120.1139
40 | 2603681.486 | 1201088.6241 | 2603679.7681 | 1201086.2426
41 | 2603681.486 | 1201088.6241 | 2603686.7245 | 1201097.8766 | 2603718.5848 | 1201075.0244
42 | 2603565.3502 | 1201069.4113 | 2603558.5965 | 1201060.6026 | 2603556.4056 | 1201058.0899
43 | 2603565.3502 | 1201069.4113 | 2603579.8523 | 1201064.7284 | 2603587.7115 | 1201057.3179 | 2603593.0891 | 1201050.3507 | 2603593.4188 | 1201050.062
44 | 2603593.4188 | 1201050.062 | 2603599.6611 | 1201044.5959 | 2603606.0303 | 1201039.1633
45 | 2603545.5901 | 1201019.3173 | 2603537.2059 | 1201026.4162
46 | 2603537.2059 | 1201026.4162 | 2603523.7498 | 1201010.2665
47 | 2603632.3208 | 1201019.4684 | 2603616.7494 | 1201030.0204 | 2603606.0303 | 1201039.1633
48 | 2603545.5901 | 1201019.3173 | 2603555.5811 | 1201010.8519 | 2603567.9477 | 1201001.5383
49 | 2603545.5901 | 1201019.3173 | 2603531.0677 | 1201004.6367
50 | 2603632.3208 | 1201019.4684 | 2603624.0698 | 1201007.7324
51 | 2603632.3208 | 1201019.4684 | 2603637.1122 | 1201026.2805
52 | 2603593.5327 | 1200982.2698 | 2603567.9477 | 1201001.5383
53 | 2603526.3448 | 1200999.8623 | 2603531.0677 | 1201004.6367
54 | 2603610.6697 | 1200988.6723 | 2603599.9595 | 1200977.4266 | 2603593.5327 | 1200982.2698
55 | 2603574.8055 | 1200974.9771 | 2603593.5327 | 1200982.2698
56 | 2603610.6697 | 1200988.6723 | 2603620.8293 | 1201003.1232
57 | 2603610.6697 | 1200988.6723 | 2603623.7178 | 1200979.0378
58 | 2603624.0698 | 1201007.7324 | 2603620.8293 | 1201003.1232
59 | 2603639.6741 | 1200967.2558 | 2603623.7178 | 1200979.0378
60 | 2603639.6741 | 1200967.2558 | 2603632.5545 | 1200958.1311
61 | 2603639.6741 | 1200967.2558 | 2603650.4041 | 1200960.2015
62 | 2603462.2715 | 1201216.331 | 2603462.8018 | 1201220.5669 | 2603463.5839 | 1201223.8358 | 2603464.495 | 1201227.8051 | 2603464.6598 | 1201232.4522 | 2603463.9358 | 1201233.9859 | 2603463.1053 | 1201235.7308 | 2603454.4604 | 1201246.8764
63 | 2603454.4604 | 1201246.8764 | 2603450.3525 | 1201243.361 | 2603446.3478 | 1201248.2347
64 | 2603692.07 | 1201016.466 | 2603678.6494 | 1201025.5147
65 | 2603692.07 | 1201016.466 | 2603697.8553 | 1201012.5653
66 | 2603678.6494 | 1201025.5147 | 2603674.0099 | 1201028.6428 | 2603669.5385 | 1201034.6322 | 2603669.2862 | 1201034.7995
67 | 2603702.7393 | 1201009.2723 | 2603697.8553 | 1201012.5653
68 | 2603702.7393 | 1201009.2723 | 2603718.349 | 1200998.7476
69 | 2603637.1122 | 1201026.2805 | 2603644.0597 | 1201036.158
70 | 2603704.5695 | 1200924.5836 | 2603717.8495 | 1200915.7951
71 | 2603702.8585 | 1200925.716 | 2603704.5695 | 1200924.5836
72 | 2603717.8495 | 1200915.7951 | 2603721.0561 | 1200913.6731
73 | 2603702.8585 | 1200925.716 | 2603693.0846 | 1200932.1417
74 | 2603702.8585 | 1200925.716 | 2603697.5208 | 1200912.9707
75 | 2603688.7542 | 1200934.9886 | 2603693.0846 | 1200932.1417
76 | 2603697.5208 | 1200912.9707 | 2603683.9072 | 1200880.4643
77 | 2603688.7542 | 1200934.9886 | 2603676.7308 | 1200942.8933
78 | 2603676.0681 | 1200861.7462 | 2603683.9072 | 1200880.4643
79 | 2603676.7308 | 1200942.8933 | 2603674.6233 | 1200944.2788
80 | 2603667.4988 | 1200948.9628 | 2603663.6929 | 1200951.4649
81 | 2603667.4988 | 1200948.9628 | 2603674.6233 | 1200944.2788
82 | 2603650.4041 | 1200960.2015 | 2603663.6929 | 1200951.4649
83 | 2603617.3365 | 1200938.6271 | 2603632.5545 | 1200958.1311
84 | 2603617.3365 | 1200938.6271 | 2603607.1449 | 1200925.5696
85 | 2603617.3365 | 1200938.6271 | 2603601.785 | 1200952.3026
86 | 2603607.1449 | 1200925.5696 | 2603616.067 | 1200919.1374
87 | 2603607.1449 | 1200925.5696 | 2603590.727 | 1200904.5316
88 | 2603532.455 | 1200832.1534 | 2603544.4166 | 1200846.9347
89 | 2603544.4166 | 1200846.9347 | 2603559.2725 | 1200865.2926
90 | 2603565.8166 | 1200873.3793 | 2603559.2725 | 1200865.2926
91 | 2603573.9838 | 1200883.4718 | 2603565.8166 | 1200873.3793
92 | 2603587.1919 | 1200900.0118 | 2603587.5375 | 1200900.4445 | 2603590.727 | 1200904.5316
93 | 2603573.9838 | 1200883.4718 | 2603587.1919 | 1200900.0118
94 | 2603573.9838 | 1200883.4718 | 2603582.2137 | 1200877.3819
95 | 2603593.3787 | 1200869.12 | 2603582.2137 | 1200877.3819
96 | 2603625.5573 | 1200912.2956 | 2603616.067 | 1200919.1374

## bus_geodata
| x | y | coords
0 | 2603481.8656 | 1200874.3389
1 | 2603453.4236 | 1200898.0561
2 | 2603492.0716 | 1200865.8283
3 | 2603500.3432 | 1200858.9308
4 | 2603515.402 | 1200846.3735
5 | 2603516.0914 | 1200845.7986
6 | 2603380.0253 | 1201081.1343
7 | 2603407.0449 | 1201108.7864
8 | 2603402.7427 | 1201062.5861
9 | 2603388.3932 | 1201133.2126
10 | 2603423.8377 | 1201117.9119
11 | 2603464.2149 | 1201088.2462
12 | 2603460.6147 | 1201091.2961
13 | 2603479.2103 | 1201075.5426
14 | 2603450.9804 | 1201099.4601
15 | 2603496.1337 | 1201061.2063
16 | 2603438.2411 | 1201110.2553
17 | 2603508.5965 | 1201050.6487
18 | 2603515.1449 | 1201109.731
19 | 2603524.1518 | 1201099.0309
20 | 2603532.3628 | 1201030.5156
21 | 2603584.2238 | 1201111.9675
22 | 2603633.6292 | 1201076.2717
23 | 2603580.2174 | 1201116.979
24 | 2603643.8926 | 1201067.5876
25 | 2603577.8136 | 1201119.982
26 | 2603659.4547 | 1201058.0832
27 | 2603660.2176 | 1201059.1408
28 | 2603651.4317 | 1201046.6389
29 | 2603479.9926 | 1201171.8171
30 | 2603461.6578 | 1201187.8333
31 | 2603632.6545 | 1201131.0153
32 | 2603637.9716 | 1201128.675
33 | 2603631.4713 | 1201154.8741
34 | 2603647.2731 | 1201120.1139
35 | 2603679.0541 | 1201162.0862
36 | 2603681.486 | 1201088.6241
37 | 2603679.7681 | 1201086.2426
38 | 2603718.5848 | 1201075.0244
39 | 2603556.4056 | 1201058.0899
40 | 2603565.3502 | 1201069.4113
41 | 2603593.4188 | 1201050.062
42 | 2603537.2059 | 1201026.4162
43 | 2603606.0303 | 1201039.1633
44 | 2603545.5901 | 1201019.3173
45 | 2603523.7498 | 1201010.2665
46 | 2603632.3208 | 1201019.4684
47 | 2603567.9477 | 1201001.5383
48 | 2603531.0677 | 1201004.6367
49 | 2603526.3448 | 1200999.8623
50 | 2603593.5327 | 1200982.2698
51 | 2603610.6697 | 1200988.6723
52 | 2603574.8055 | 1200974.9771
53 | 2603620.8293 | 1201003.1232
54 | 2603623.7178 | 1200979.0378
55 | 2603624.0698 | 1201007.7324
56 | 2603639.6741 | 1200967.2558
57 | 2603376.9704 | 1201148.172
58 | 2603462.2715 | 1201216.331
59 | 2603454.4604 | 1201246.8764
60 | 2603692.07 | 1201016.466
61 | 2603678.6494 | 1201025.5147
62 | 2603697.8553 | 1201012.5653
63 | 2603669.2862 | 1201034.7995
64 | 2603702.7393 | 1201009.2723
65 | 2603718.349 | 1200998.7476
66 | 2603644.0597 | 1201036.158
67 | 2603704.5695 | 1200924.5836
68 | 2603717.8495 | 1200915.7951
69 | 2603702.8585 | 1200925.716
70 | 2603721.0561 | 1200913.6731
71 | 2603693.0846 | 1200932.1417
72 | 2603697.5208 | 1200912.9707
73 | 2603688.7542 | 1200934.9886
74 | 2603683.9072 | 1200880.4643
75 | 2603676.7308 | 1200942.8933
76 | 2603676.0681 | 1200861.7462
77 | 2603667.4988 | 1200948.9628
78 | 2603663.6928 | 1200951.4649
79 | 2603674.6233 | 1200944.2788
80 | 2603650.4041 | 1200960.2015
81 | 2603632.5545 | 1200958.1311
82 | 2603637.1122 | 1201026.2805
83 | 2603617.3365 | 1200938.6271
84 | 2603607.1449 | 1200925.5696
85 | 2603601.785 | 1200952.3026
86 | 2603446.3478 | 1201248.2347
87 | 2603532.455 | 1200832.1534
88 | 2603544.4166 | 1200846.9347
89 | 2603559.2725 | 1200865.2926
90 | 2603565.8166 | 1200873.3793
91 | 2603587.1919 | 1200900.0118
92 | 2603590.727 | 1200904.5316
93 | 2603573.9839 | 1200883.4718
94 | 2603582.2137 | 1200877.3819
95 | 2603616.067 | 1200919.1374
96 | 2603593.3787 | 1200869.12
97 | 2603625.5573 | 1200912.2956
98 | 2603537.2059 | 1201026.4162

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1