## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_371-106_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_371-106_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_371-106_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_371-106_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_371-106_0_4_node_24 | 0.4 | n |  | TRUE
5 | bus_LV_371-106_0_4_node_26 | 0.4 | n |  | TRUE
6 | bus_LV_371-106_0_4_node_27 | 0.4 | n |  | TRUE
7 | bus_LV_371-106_0_4_node_22 | 0.4 | n |  | TRUE
8 | bus_LV_371-106_0_4_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_371-106_0_4_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_371-106_0_4_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_371-106_0_4_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_371-106_0_4_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_371-106_0_4_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_371-106_0_4_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_371-106_0_4_node_14 | 0.4 | n |  | TRUE
16 | bus_LV_371-106_0_4_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_371-106_0_4_node_19 | 0.4 | n |  | TRUE
18 | bus_LV_371-106_0_4_node_37 | 0.4 | n |  | TRUE
19 | bus_LV_371-106_0_4_node_60 | 0.4 | n |  | TRUE
20 | bus_LV_371-106_0_4_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_371-106_0_4_node_20 | 0.4 | n |  | TRUE
22 | bus_LV_371-106_0_4_node_90 | 0.4 | n |  | TRUE
23 | bus_LV_371-106_0_4_node_61 | 0.4 | n |  | TRUE
24 | bus_LV_371-106_0_4_node_40 | 0.4 | n |  | TRUE
25 | bus_LV_371-106_0_4_node_35 | 0.4 | n |  | TRUE
26 | bus_LV_371-106_0_4_node_13 | 0.4 | n |  | TRUE
27 | bus_LV_371-106_0_4_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_371-106_0_4_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_371-106_0_4_node_58 | 0.4 | n |  | TRUE
30 | bus_LV_371-106_0_4_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_371-106_0_4_node_42 | 0.4 | n |  | TRUE
32 | bus_LV_371-106_0_4_node_43 | 0.4 | n |  | TRUE
33 | bus_LV_371-106_0_4_node_33 | 0.4 | n |  | TRUE
34 | bus_LV_371-106_0_4_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_371-106_0_4_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_371-106_0_4_node_28 | 0.4 | n |  | TRUE
37 | bus_LV_371-106_0_4_node_36 | 0.4 | n |  | TRUE
38 | bus_LV_371-106_0_4_node_34 | 0.4 | n |  | TRUE
39 | bus_LV_371-106_0_4_node_29 | 0.4 | n |  | TRUE
40 | bus_LV_371-106_0_4_node_100 | 0.4 | n |  | TRUE
41 | bus_LV_371-106_0_4_node_30 | 0.4 | n |  | TRUE
42 | bus_LV_371-106_0_4_node_31 | 0.4 | n |  | TRUE
43 | bus_LV_371-106_0_4_node_32 | 0.4 | n |  | TRUE
44 | bus_LV_371-106_0_4_node_53 | 0.4 | n |  | TRUE
45 | bus_LV_371-106_0_4_node_46 | 0.4 | n |  | TRUE
46 | bus_LV_371-106_0_4_node_54 | 0.4 | n |  | TRUE
47 | bus_LV_371-106_0_4_node_44 | 0.4 | n |  | TRUE
48 | bus_LV_371-106_0_4_node_38 | 0.4 | n |  | TRUE
49 | bus_LV_371-106_0_4_node_92 | 0.4 | n |  | TRUE
50 | bus_LV_371-106_0_4_node_71 | 0.4 | n |  | TRUE
51 | bus_LV_371-106_0_4_node_39 | 0.4 | n |  | TRUE
52 | bus_LV_371-106_0_4_node_91 | 0.4 | n |  | TRUE
53 | bus_LV_371-106_0_4_node_41 | 0.4 | n |  | TRUE
54 | bus_LV_371-106_0_4_node_45 | 0.4 | n |  | TRUE
55 | bus_LV_371-106_0_4_node_47 | 0.4 | n |  | TRUE
56 | bus_LV_371-106_0_4_node_48 | 0.4 | n |  | TRUE
57 | bus_LV_371-106_0_4_node_55 | 0.4 | n |  | TRUE
58 | bus_LV_371-106_0_4_node_49 | 0.4 | n |  | TRUE
59 | bus_LV_371-106_0_4_node_50 | 0.4 | n |  | TRUE
60 | bus_LV_371-106_0_4_node_52 | 0.4 | n |  | TRUE
61 | bus_LV_371-106_0_4_node_57 | 0.4 | n |  | TRUE
62 | bus_LV_371-106_0_4_node_59 | 0.4 | n |  | TRUE
63 | bus_LV_371-106_0_4_node_63 | 0.4 | n |  | TRUE
64 | bus_LV_371-106_0_4_node_64 | 0.4 | n |  | TRUE
65 | bus_LV_371-106_0_4_node_65 | 0.4 | n |  | TRUE
66 | bus_LV_371-106_0_4_node_66 | 0.4 | n |  | TRUE
67 | bus_LV_371-106_0_4_node_67 | 0.4 | n |  | TRUE
68 | bus_LV_371-106_0_4_node_72 | 0.4 | n |  | TRUE
69 | bus_LV_371-106_0_4_node_76 | 0.4 | n |  | TRUE
70 | bus_LV_371-106_0_4_node_74 | 0.4 | n |  | TRUE
71 | bus_LV_371-106_0_4_node_70 | 0.4 | n |  | TRUE
72 | bus_LV_371-106_0_4_node_107 | 0.4 | n |  | TRUE
73 | bus_LV_371-106_0_4_node_75 | 0.4 | n |  | TRUE
74 | bus_LV_371-106_0_4_node_68 | 0.4 | n |  | TRUE
75 | bus_LV_371-106_0_4_node_69 | 0.4 | n |  | TRUE
76 | bus_LV_371-106_0_4_node_73 | 0.4 | n |  | TRUE
77 | bus_LV_371-106_0_4_node_84 | 0.4 | n |  | TRUE
78 | bus_LV_371-106_0_4_node_97 | 0.4 | n |  | TRUE
79 | bus_LV_371-106_0_4_node_82 | 0.4 | n |  | TRUE
80 | bus_LV_371-106_0_4_node_77 | 0.4 | n |  | TRUE
81 | bus_LV_371-106_0_4_node_95 | 0.4 | n |  | TRUE
82 | bus_LV_371-106_0_4_node_108 | 0.4 | n |  | TRUE
83 | bus_LV_371-106_0_4_node_79 | 0.4 | n |  | TRUE
84 | bus_LV_371-106_0_4_node_78 | 0.4 | n |  | TRUE
85 | bus_LV_371-106_0_4_node_80 | 0.4 | n |  | TRUE
86 | bus_LV_371-106_0_4_node_113 | 0.4 | n |  | TRUE
87 | bus_LV_371-106_0_4_node_111 | 0.4 | n |  | TRUE
88 | bus_LV_371-106_0_4_node_114 | 0.4 | n |  | TRUE
89 | bus_LV_371-106_0_4_node_81 | 0.4 | n |  | TRUE
90 | bus_LV_371-106_0_4_node_83 | 0.4 | n |  | TRUE
91 | bus_LV_371-106_0_4_node_85 | 0.4 | n |  | TRUE
92 | bus_LV_371-106_0_4_node_101 | 0.4 | n |  | TRUE
93 | bus_LV_371-106_0_4_node_96 | 0.4 | n |  | TRUE
94 | bus_LV_371-106_0_4_node_102 | 0.4 | n |  | TRUE
95 | bus_LV_371-106_0_4_node_86 | 0.4 | n |  | TRUE
96 | bus_LV_371-106_0_4_node_87 | 0.4 | n |  | TRUE
97 | bus_LV_371-106_0_4_node_88 | 0.4 | n |  | TRUE
98 | bus_LV_371-106_0_4_node_89 | 0.4 | n |  | TRUE
99 | bus_LV_371-106_0_4_node_98 | 0.4 | n |  | TRUE
100 | bus_LV_371-106_0_4_node_99 | 0.4 | n |  | TRUE
101 | bus_LV_371-106_0_4_node_93 | 0.4 | n |  | TRUE
102 | bus_LV_371-106_0_4_node_94 | 0.4 | n |  | TRUE
103 | bus_LV_371-106_0_4_node_103 | 0.4 | n |  | TRUE
104 | bus_LV_371-106_0_4_node_104 | 0.4 | n |  | TRUE
105 | bus_LV_371-106_0_4_node_106 | 0.4 | n |  | TRUE
106 | bus_LV_371-106_0_4_node_109 | 0.4 | n |  | TRUE
107 | bus_LV_371-106_0_4_node_110 | 0.4 | n |  | TRUE
108 | bus_MV_309_0_node_37 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_371-106_0_4_load_0 | 0 | 0.00088261 | 0.0002212 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_371-106_0_4_load_3 | 3 | 0.00094353 | 0.00023647 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_371-106_0_4_load_27 | 6 | 0.0050762 | 0.0012722 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_371-106_0_4_load_22 | 7 | 0.0045308 | 0.0011355 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_371-106_0_4_load_4 | 8 | 0.0079934 | 0.0020033 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_371-106_0_4_load_5 | 9 | 0.0027364 | 0.0006858 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_371-106_0_4_load_8 | 12 | 0.0045454 | 0.0011392 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_371-106_0_4_load_9 | 13 | 0.0059206 | 0.0014838 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_371-106_0_4_load_10 | 14 | 0.0060841 | 0.0015248 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_371-106_0_4_load_14 | 15 | 0.0067038 | 0.0016801 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_371-106_0_4_load_11 | 16 | 0.0056773 | 0.0014229 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_371-106_0_4_load_19 | 17 | 0.0052061 | 0.0013048 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_371-106_0_4_load_60 | 19 | 0.0047682 | 0.001195 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_371-106_0_4_load_12 | 20 | 0.0054757 | 0.0013723 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_371-106_0_4_load_20 | 21 | 0.0035264 | 0.00088379 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_371-106_0_4_load_90 | 22 | 0.0086045 | 0.0021565 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_371-106_0_4_load_61 | 23 | 0.0047524 | 0.0011911 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_371-106_0_4_load_40 | 24 | 0.0045529 | 0.0011411 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_371-106_0_4_load_13 | 26 | 0.0043977 | 0.0011022 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_371-106_0_4_load_15 | 27 | 0.0030817 | 0.00077235 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_371-106_0_4_load_16 | 28 | 0.0043067 | 0.0010794 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_371-106_0_4_load_58 | 29 | 0.0036031 | 0.00090302 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_371-106_0_4_load_21 | 30 | 0.0034015 | 0.00085251 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_371-106_0_4_load_43 | 32 | 0.0065128 | 0.0016323 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_371-106_0_4_load_33 | 33 | 0.0041094 | 0.0010299 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_371-106_0_4_load_23 | 34 | 0.004641 | 0.0011631 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_371-106_0_4_load_25 | 35 | 0.0041926 | 0.0010508 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_371-106_0_4_load_28 | 36 | 0.0029561 | 0.00074086 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_371-106_0_4_load_36 | 37 | 0.0063771 | 0.0015982 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_371-106_0_4_load_34 | 38 | 0.0046862 | 0.0011745 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_371-106_0_4_load_29 | 39 | 0.014065 | 0.0035249 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_371-106_0_4_load_100 | 40 | 0.011509 | 0.0028845 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_371-106_0_4_load_31 | 42 | 0.0044151 | 0.0011065 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_371-106_0_4_load_32 | 43 | 0.0030299 | 0.00075937 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_371-106_0_4_load_53 | 44 | 0.016283 | 0.0040809 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_371-106_0_4_load_46 | 45 | 0.0029424 | 0.00073743 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_371-106_0_4_load_54 | 46 | 0.0057966 | 0.0014528 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_371-106_0_4_load_44 | 47 | 0.0035393 | 0.00088703 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_371-106_0_4_load_38 | 48 | 0.0040039 | 0.0010035 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_371-106_0_4_load_92 | 49 | 0.0093928 | 0.002354 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_371-106_0_4_load_71 | 50 | 0.0040631 | 0.0010183 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_371-106_0_4_load_39 | 51 | 0.011638 | 0.0029168 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_371-106_0_4_load_91 | 52 | 0.0040311 | 0.0010103 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_371-106_0_4_load_41 | 53 | 0.013482 | 0.0033788 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_371-106_0_4_load_45 | 54 | 0.0032738 | 0.0008205 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_371-106_0_4_load_55 | 57 | 0.0037385 | 0.00093697 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_371-106_0_4_load_49 | 58 | 0.0035663 | 0.00089379 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_371-106_0_4_load_50 | 59 | 0.0062518 | 0.0015669 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_371-106_0_4_load_52 | 60 | 0.0052979 | 0.0013278 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_371-106_0_4_load_57 | 61 | 0.0058738 | 0.0014721 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_371-106_0_4_load_63 | 63 | 0.0035392 | 0.00088702 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_371-106_0_4_load_64 | 64 | 0.0016248 | 0.00040721 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_371-106_0_4_load_65 | 65 | 0.0030768 | 0.00077112 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_371-106_0_4_load_66 | 66 | 0.0023907 | 0.00059917 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_371-106_0_4_load_72 | 68 | 0.0031583 | 0.00079154 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_371-106_0_4_load_76 | 69 | 0.0040816 | 0.001023 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_371-106_0_4_load_74 | 70 | 0.00023347 | 5.8513e-05 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_371-106_0_4_load_107 | 72 | 0.0035999 | 0.00090221 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_371-106_0_4_load_68 | 74 | 0.0029754 | 0.00074572 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_371-106_0_4_load_69 | 75 | 0.0039649 | 0.00099369 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_371-106_0_4_load_73 | 76 | 0.0017212 | 0.00043136 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_371-106_0_4_load_97 | 78 | 0.0025936 | 0.00065002 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_371-106_0_4_load_82 | 79 | 0.0025651 | 0.00064288 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_371-106_0_4_load_95 | 81 | 0.00032743 | 8.2061e-05 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_371-106_0_4_load_108 | 82 | 0.0031832 | 0.00079779 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_371-106_0_4_load_79 | 83 | 0.0047998 | 0.0012029 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_371-106_0_4_load_111 | 87 | 0.00056003 | 0.00014036 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_371-106_0_4_load_114 | 88 | 0.0018925 | 0.00047431 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_371-106_0_4_load_81 | 89 | 0.0032336 | 0.00081042 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_371-106_0_4_load_83 | 90 | 0.004334 | 0.0010862 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_371-106_0_4_load_85 | 91 | 0.0015397 | 0.00038588 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_371-106_0_4_load_101 | 92 | 0.0022745 | 0.00057003 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_371-106_0_4_load_96 | 93 | 0.0026659 | 0.00066813 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_371-106_0_4_load_102 | 94 | 0.013279 | 0.0033279 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_371-106_0_4_load_86 | 95 | 0.0036433 | 0.0009131 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_371-106_0_4_load_87 | 96 | 0.0035887 | 0.00089941 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_371-106_0_4_load_88 | 97 | 0.0035485 | 0.00088934 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_371-106_0_4_load_89 | 98 | 0.0032428 | 0.00081272 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_371-106_0_4_load_98 | 99 | 0.0019507 | 0.00048889 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_371-106_0_4_load_99 | 100 | 0.0019174 | 0.00048055 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_371-106_0_4_load_93 | 101 | 0.0038492 | 0.00096471 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_371-106_0_4_load_94 | 102 | 0.0027372 | 0.00068601 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_371-106_0_4_load_103 | 103 | 0.0050529 | 0.0012664 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_371-106_0_4_load_104 | 104 | 0.0033784 | 0.00084672 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_371-106_0_4_load_109 | 106 | 0.0017822 | 0.00044667 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_371-106_0_4_load_110 | 107 | 0.002981 | 0.00074712 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 14 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_371-106_0_4_line_0 |  | 0 | 1 | 0.035246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_371-106_0_4_line_1 |  | 0 | 2 | 0.027363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_371-106_0_4_line_2 |  | 1 | 3 | 0.050047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_371-106_0_4_line_3 |  | 2 | 4 | 0.084366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_371-106_0_4_line_4 |  | 4 | 5 | 0.019805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_371-106_0_4_line_5 |  | 4 | 6 | 0.022271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_371-106_0_4_line_6 |  | 4 | 7 | 0.020618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_371-106_0_4_line_7 |  | 5 | 37 | 0.024192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_371-106_0_4_line_8 |  | 5 | 38 | 0.021391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_371-106_0_4_line_9 |  | 8 | 9 | 0.022592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_371-106_0_4_line_10 |  | 8 | 10 | 0.026767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_371-106_0_4_line_11 |  | 9 | 11 | 0.005377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_371-106_0_4_line_12 |  | 10 | 12 | 0.025487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_371-106_0_4_line_13 |  | 10 | 13 | 0.0080448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_371-106_0_4_line_14 |  | 10 | 14 | 0.023359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_371-106_0_4_line_15 |  | 11 | 15 | 0.013978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_371-106_0_4_line_16 |  | 11 | 16 | 0.021829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_371-106_0_4_line_17 |  | 12 | 17 | 0.01818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_371-106_0_4_line_18 |  | 14 | 18 | 0.020177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_371-106_0_4_line_19 |  | 15 | 19 | 0.026772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_371-106_0_4_line_20 |  | 16 | 20 | 0.0048955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_371-106_0_4_line_21 |  | 17 | 21 | 0.0043587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_371-106_0_4_line_22 |  | 18 | 24 | 0.016596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_371-106_0_4_line_23 |  | 18 | 25 | 0.031966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_371-106_0_4_line_24 |  | 19 | 29 | 0.021553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_371-106_0_4_line_25 |  | 20 | 26 | 0.016536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_371-106_0_4_line_26 |  | 21 | 30 | 0.015057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_371-106_0_4_line_27 |  | 22 | 23 | 0.037065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_371-106_0_4_line_28 |  | 23 | 62 | 0.02939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_371-106_0_4_line_29 |  | 24 | 51 | 0.0071452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_371-106_0_4_line_30 |  | 25 | 48 | 0.013025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_371-106_0_4_line_31 |  | 25 | 38 | 0.017538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_371-106_0_4_line_32 |  | 26 | 27 | 0.0019328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_371-106_0_4_line_33 |  | 27 | 28 | 0.016735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_371-106_0_4_line_34 |  | 29 | 61 | 0.038938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_371-106_0_4_line_35 |  | 30 | 31 | 0.01199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_371-106_0_4_line_36 |  | 31 | 32 | 0.016791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_371-106_0_4_line_37 |  | 31 | 33 | 0.01638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_371-106_0_4_line_38 |  | 33 | 41 | 0.012724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_371-106_0_4_line_39 |  | 34 | 35 | 0.021394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_371-106_0_4_line_40 |  | 35 | 36 | 0.023429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_371-106_0_4_line_41 |  | 36 | 39 | 0.0014391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_371-106_0_4_line_42 |  | 37 | 40 | 0.020466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_371-106_0_4_line_43 |  | 39 | 41 | 0.032829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_371-106_0_4_line_44 |  | 40 | 50 | 0.0019374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_371-106_0_4_line_45 |  | 41 | 42 | 0.019538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_371-106_0_4_line_46 |  | 41 | 43 | 0.016003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_371-106_0_4_line_47 |  | 42 | 44 | 0.00036856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_371-106_0_4_line_48 |  | 43 | 45 | 0.0097835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_371-106_0_4_line_49 |  | 44 | 46 | 0.022469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_371-106_0_4_line_50 |  | 45 | 47 | 0.010759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_371-106_0_4_line_51 |  | 46 | 60 | 0.0059265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_371-106_0_4_line_52 |  | 47 | 54 | 0.0064642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_371-106_0_4_line_53 |  | 48 | 49 | 0.0056839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_371-106_0_4_line_54 |  | 49 | 52 | 0.020985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_371-106_0_4_line_55 |  | 50 | 75 | 0.022909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_371-106_0_4_line_56 |  | 51 | 53 | 0.0088719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_371-106_0_4_line_57 |  | 52 | 101 | 0.0047167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_371-106_0_4_line_58 |  | 54 | 55 | 0.016143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_371-106_0_4_line_59 |  | 55 | 56 | 0.004937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_371-106_0_4_line_60 |  | 56 | 57 | 0.015867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_371-106_0_4_line_61 |  | 58 | 59 | 0.014293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_371-106_0_4_line_62 |  | 59 | 60 | 0.00033441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_371-106_0_4_line_63 |  | 61 | 62 | 0.034058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_371-106_0_4_line_64 |  | 63 | 64 | 0.030449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_371-106_0_4_line_65 |  | 63 | 65 | 0.0049205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_371-106_0_4_line_66 |  | 64 | 66 | 0.0087515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_371-106_0_4_line_67 |  | 65 | 67 | 0.013581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_371-106_0_4_line_68 |  | 66 | 68 | 0.011354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_371-106_0_4_line_69 |  | 67 | 69 | 0.028128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_371-106_0_4_line_70 |  | 67 | 70 | 0.03463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_371-106_0_4_line_71 |  | 68 | 71 | 0.0015603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_371-106_0_4_line_72 |  | 69 | 72 | 0.015176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_371-106_0_4_line_73 |  | 70 | 73 | 0.021676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_371-106_0_4_line_74 |  | 71 | 74 | 0.020499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_371-106_0_4_line_75 |  | 72 | 82 | 0.012751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_371-106_0_4_line_76 |  | 73 | 80 | 0.009239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_371-106_0_4_line_77 |  | 74 | 75 | 0.001183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_371-106_0_4_line_78 |  | 76 | 77 | 0.0064116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_371-106_0_4_line_79 |  | 77 | 78 | 0.016848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_371-106_0_4_line_80 |  | 77 | 79 | 0.018021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_371-106_0_4_line_81 |  | 78 | 93 | 0.0040956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_371-106_0_4_line_82 |  | 79 | 89 | 0.022091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_371-106_0_4_line_83 |  | 80 | 81 | 0.018334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_371-106_0_4_line_84 |  | 81 | 83 | 0.048734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_371-106_0_4_line_85 |  | 82 | 106 | 0.018997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_371-106_0_4_line_86 |  | 83 | 84 | 0.006718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_371-106_0_4_line_87 |  | 84 | 85 | 0.038496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_371-106_0_4_line_88 |  | 85 | 86 | 0.055256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_371-106_0_4_line_89 |  | 85 | 87 | 0.027301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_371-106_0_4_line_90 |  | 86 | 88 | 0.030138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_371-106_0_4_line_91 |  | 89 | 90 | 0.00033406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_371-106_0_4_line_92 |  | 90 | 91 | 0.01843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_371-106_0_4_line_93 |  | 91 | 92 | 0.0040944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_371-106_0_4_line_94 |  | 92 | 94 | 0.014896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_371-106_0_4_line_95 |  | 93 | 102 | 0.013162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_371-106_0_4_line_96 |  | 94 | 100 | 9.617e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_371-106_0_4_line_97 |  | 95 | 96 | 0.019298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_371-106_0_4_line_98 |  | 95 | 97 | 0.00017778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_371-106_0_4_line_99 |  | 97 | 98 | 0.023455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_371-106_0_4_line_100 |  | 98 | 99 | 0.0014556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_371-106_0_4_line_101 |  | 99 | 100 | 0.0099152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_371-106_0_4_line_102 |  | 101 | 102 | 0.0018236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_371-106_0_4_line_103 |  | 103 | 104 | 0.030195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_371-106_0_4_line_104 |  | 104 | 105 | 0.0018348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_371-106_0_4_line_105 |  | 105 | 106 | 0.015504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_371-106_0_4_line_106 |  | 105 | 107 | 0.014311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_371-106_0_4_trafo_10 | 0.63 MVA 20/0.4 kV | 108 | 14 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2586174.8135 | 1220205.4364 | 2586189.9201 | 1220202.6885 | 2586205.8911 | 1220202.9625 | 2586209.8091 | 1220202.9269
1 | 2586237.1711 | 1220202.6784 | 2586209.8091 | 1220202.9269
2 | 2586174.8135 | 1220205.4364 | 2586175.3099 | 1220193.8508 | 2586176.9795 | 1220187.5877 | 2586178.8885 | 1220183.0918 | 2586182.2822 | 1220177.6029 | 2586187.0404 | 1220171.6106 | 2586195.6135 | 1220161.8294
3 | 2586321.5368 | 1220202.5495 | 2586237.1711 | 1220202.6784
4 | 2586321.5368 | 1220202.5495 | 2586335.6597 | 1220204.1845 | 2586341.2679 | 1220204.8275
5 | 2586321.5368 | 1220202.5495 | 2586322.0591 | 1220195.4775 | 2586322.9005 | 1220185.292 | 2586324.3082 | 1220180.5359
6 | 2586321.5368 | 1220202.5495 | 2586325.8207 | 1220211.2557 | 2586325.5982 | 1220222.1686
7 | 2586341.2679 | 1220204.8275 | 2586355.7137 | 1220185.4216
8 | 2586341.2679 | 1220204.8275 | 2586361.2427 | 1220207.4829 | 2586362.4511 | 1220207.7652
9 | 2586456.0693 | 1220262.9886 | 2586457.3356 | 1220269.4647 | 2586460.42 | 1220281.2311 | 2586461.7985 | 1220284.8038
10 | 2586450.7816 | 1220236.7498 | 2586453.0137 | 1220247.3619 | 2586456.0693 | 1220262.9886
11 | 2586464.1946 | 1220289.6051 | 2586462.4044 | 1220286.374 | 2586461.7985 | 1220284.8038
12 | 2586450.7816 | 1220236.7498 | 2586444.8745 | 1220251.3161 | 2586438.5501 | 1220258.7609
13 | 2586450.7816 | 1220236.7498 | 2586458.551 | 1220238.8368
14 | 2586450.7816 | 1220236.7498 | 2586428.9659 | 1220228.3996
15 | 2586464.1946 | 1220289.6051 | 2586476.803 | 1220283.5706
16 | 2586464.1946 | 1220289.6051 | 2586474.1709 | 1220302.7232 | 2586478.1838 | 1220306.2594
17 | 2586438.5501 | 1220258.7609 | 2586426.7801 | 1220272.6162
18 | 2586410.2391 | 1220220.8891 | 2586425.8066 | 1220227.1904 | 2586428.9659 | 1220228.3996
19 | 2586498.5276 | 1220270.9048 | 2586493.8447 | 1220270.1039 | 2586488.76 | 1220272.7615 | 2586483.8492 | 1220278.4426 | 2586479.1091 | 1220282.4669 | 2586476.803 | 1220283.5706
20 | 2586478.1838 | 1220306.2594 | 2586481.8567 | 1220309.496
21 | 2586423.9581 | 1220275.9382 | 2586426.7801 | 1220272.6162
22 | 2586410.2391 | 1220220.8891 | 2586401.5618 | 1220235.0355
23 | 2586410.2391 | 1220220.8891 | 2586394.9477 | 1220215.888 | 2586379.5293 | 1220211.7544
24 | 2586498.5276 | 1220270.9048 | 2586498.5276 | 1220270.9048 | 2586515.7622 | 1220279.7928 | 2586517.7354 | 1220280.6757
25 | 2586494.263 | 1220320.4284 | 2586481.8567 | 1220309.496
26 | 2586423.9581 | 1220275.9382 | 2586418.6343 | 1220282.2052 | 2586413.6515 | 1220286.8823
27 | 2586535.845 | 1220254.4987 | 2586533.1009 | 1220254.4054 | 2586515.0847 | 1220252.1674 | 2586499.2231 | 1220249.051
28 | 2586565.1218 | 1220253.0652 | 2586554.845 | 1220254.5338 | 2586544.7476 | 1220254.8014 | 2586535.845 | 1220254.4987
29 | 2586397.8259 | 1220241.1262 | 2586401.5618 | 1220235.0355
30 | 2586379.5293 | 1220211.7544 | 2586387.5831 | 1220201.5182
31 | 2586379.5293 | 1220211.7544 | 2586362.4511 | 1220207.7652
32 | 2586494.263 | 1220320.4284 | 2586495.7131 | 1220321.7063
33 | 2586508.2689 | 1220332.7706 | 2586495.7131 | 1220321.7063
34 | 2586550.8047 | 1220282.1167 | 2586548.2894 | 1220284.3103 | 2586540.6426 | 1220291.2873 | 2586532.1284 | 1220287.1154 | 2586517.7354 | 1220280.6757
35 | 2586404.9091 | 1220295.0885 | 2586413.6515 | 1220286.8823
36 | 2586404.9091 | 1220295.0885 | 2586391.1304 | 1220285.4921
37 | 2586404.9091 | 1220295.0885 | 2586393.2104 | 1220306.5533
38 | 2586384.1228 | 1220315.4591 | 2586393.2104 | 1220306.5533
39 | 2586331.8866 | 1220256.7124 | 2586342.5273 | 1220273.8199 | 2586343.3586 | 1220274.7494
40 | 2586343.3586 | 1220274.7494 | 2586358.9778 | 1220292.2127
41 | 2586358.9778 | 1220292.2127 | 2586359.9372 | 1220293.2853
42 | 2586367.9347 | 1220169.0045 | 2586355.7137 | 1220185.4216
43 | 2586384.1228 | 1220315.4591 | 2586362.0757 | 1220295.6763 | 2586359.9372 | 1220293.2853
44 | 2586367.9347 | 1220169.0045 | 2586369.0916 | 1220167.4504
45 | 2586384.1228 | 1220315.4591 | 2586398.9308 | 1220328.2055
46 | 2586384.1228 | 1220315.4591 | 2586373.9916 | 1220327.8471
47 | 2586399.2101 | 1220328.4459 | 2586398.9308 | 1220328.2055
48 | 2586373.9916 | 1220327.8471 | 2586367.7979 | 1220335.4204
49 | 2586399.2101 | 1220328.4459 | 2586416.239 | 1220343.1039
50 | 2586360.9863 | 1220343.7493 | 2586367.7979 | 1220335.4204
51 | 2586420.7307 | 1220346.9702 | 2586416.239 | 1220343.1039
52 | 2586360.9863 | 1220343.7493 | 2586356.894 | 1220348.7532
53 | 2586387.5831 | 1220201.5182 | 2586391.0977 | 1220197.0513
54 | 2586404.0736 | 1220180.5593 | 2586391.0977 | 1220197.0513
55 | 2586369.0916 | 1220167.4504 | 2586382.771 | 1220149.0741
56 | 2586393.1871 | 1220248.6887 | 2586397.8259 | 1220241.1262
57 | 2586404.0736 | 1220180.5593 | 2586406.9902 | 1220176.8524
58 | 2586346.6741 | 1220361.2496 | 2586356.894 | 1220348.7532
59 | 2586346.6741 | 1220361.2496 | 2586348.081 | 1220365.9824
60 | 2586348.081 | 1220365.9824 | 2586352.6997 | 1220381.1623
61 | 2586431.7361 | 1220356.6031 | 2586429.1174 | 1220354.1893 | 2586420.9842 | 1220347.1884
62 | 2586420.9842 | 1220347.1884 | 2586420.7307 | 1220346.9702
63 | 2586565.1218 | 1220253.0652 | 2586564.9977 | 1220258.5687 | 2586563.2129 | 1220267.7669 | 2586558.4507 | 1220275.4488 | 2586550.8047 | 1220282.1167
64 | 2586427.6523 | 1220090.498 | 2586408.9938 | 1220114.5607
65 | 2586427.6523 | 1220090.498 | 2586430.6675 | 1220086.6095
66 | 2586408.9938 | 1220114.5607 | 2586403.6311 | 1220121.4766
67 | 2586438.3109 | 1220075.441 | 2586436.2033 | 1220079.4704 | 2586430.6675 | 1220086.6095
68 | 2586396.6737 | 1220130.4491 | 2586403.6311 | 1220121.4766
69 | 2586438.3109 | 1220075.441 | 2586462.1138 | 1220090.4287
70 | 2586438.3109 | 1220075.441 | 2586407.0453 | 1220060.552
71 | 2586395.7176 | 1220131.6822 | 2586396.6737 | 1220130.4491
72 | 2586474.9559 | 1220098.5149 | 2586462.1138 | 1220090.4287
73 | 2586387.4752 | 1220051.2326 | 2586407.0453 | 1220060.552
74 | 2586395.7176 | 1220131.6822 | 2586383.4774 | 1220148.1251
75 | 2586474.9559 | 1220098.5149 | 2586485.4653 | 1220105.7362
76 | 2586387.4752 | 1220051.2326 | 2586378.3518 | 1220049.6193
77 | 2586383.4774 | 1220148.1251 | 2586382.771 | 1220149.0741
78 | 2586429.2073 | 1220148.6151 | 2586423.4856 | 1220145.7221
79 | 2586429.2073 | 1220148.6151 | 2586418.7892 | 1220161.8563
80 | 2586429.2073 | 1220148.6151 | 2586445.0891 | 1220157.1311
81 | 2586416.2567 | 1220165.075 | 2586418.7892 | 1220161.8563
82 | 2586464.5577 | 1220167.5706 | 2586445.0891 | 1220157.1311
83 | 2586378.3518 | 1220049.6193 | 2586370.1105 | 1220065.9962
84 | 2586347.5461 | 1220109.1435 | 2586350.9062 | 1220104.1584 | 2586370.1105 | 1220065.9962
85 | 2586501.1223 | 1220116.4946 | 2586485.4653 | 1220105.7362
86 | 2586343.7912 | 1220114.7142 | 2586347.5461 | 1220109.1435
87 | 2586348.0503 | 1220076.4601 | 2586343.7912 | 1220114.7142
88 | 2586348.0503 | 1220076.4601 | 2586313.607 | 1220070.6919 | 2586316.5877 | 1220053.8642 | 2586313.301 | 1220053.2159
89 | 2586348.0503 | 1220076.4601 | 2586351.9051 | 1220049.4329
90 | 2586313.301 | 1220053.2159 | 2586309.8483 | 1220069.3554 | 2586301.824 | 1220080.3914
91 | 2586464.5577 | 1220167.5706 | 2586464.8521 | 1220167.7284
92 | 2586464.8521 | 1220167.7284 | 2586469.589 | 1220170.2685 | 2586481.2949 | 1220176.0493
93 | 2586484.966 | 1220177.8623 | 2586481.2949 | 1220176.0493
94 | 2586484.966 | 1220177.8623 | 2586491.2134 | 1220180.9474 | 2586498.5503 | 1220183.9523
95 | 2586416.2567 | 1220165.075 | 2586408.1178 | 1220175.4193
96 | 2586498.5503 | 1220183.9523 | 2586498.6393 | 1220183.9888
97 | 2586531.0316 | 1220197.2552 | 2586548.8898 | 1220204.5691
98 | 2586530.8671 | 1220197.1878 | 2586531.0316 | 1220197.2552
99 | 2586509.1618 | 1220188.2983 | 2586530.8671 | 1220197.1878
100 | 2586509.1618 | 1220188.2983 | 2586507.8148 | 1220187.7466
101 | 2586507.8148 | 1220187.7466 | 2586498.6393 | 1220183.9888
102 | 2586406.9902 | 1220176.8524 | 2586408.1178 | 1220175.4193
103 | 2586542.4496 | 1220139.7945 | 2586515.5357 | 1220126.1065
104 | 2586513.9003 | 1220125.2748 | 2586515.5357 | 1220126.1065
105 | 2586513.9003 | 1220125.2748 | 2586501.1223 | 1220116.4946
106 | 2586513.9003 | 1220125.2748 | 2586521.2596 | 1220113.0006

## bus_geodata
| x | y | coords
0 | 2586209.8091 | 1220202.9269
1 | 2586174.8135 | 1220205.4364
2 | 2586237.1711 | 1220202.6784
3 | 2586195.6135 | 1220161.8294
4 | 2586321.5368 | 1220202.5495
5 | 2586341.2679 | 1220204.8275
6 | 2586324.3082 | 1220180.5359
7 | 2586325.5982 | 1220222.1686
8 | 2586456.0693 | 1220262.9886
9 | 2586461.7985 | 1220284.8038
10 | 2586450.7816 | 1220236.7498
11 | 2586464.1946 | 1220289.6051
12 | 2586438.5501 | 1220258.7609
13 | 2586458.551 | 1220238.8368
14 | 2586428.9659 | 1220228.3996
15 | 2586476.803 | 1220283.5706
16 | 2586478.1838 | 1220306.2594
17 | 2586426.7801 | 1220272.6162
18 | 2586410.2391 | 1220220.8891
19 | 2586498.5276 | 1220270.9048
20 | 2586481.8567 | 1220309.496
21 | 2586423.9581 | 1220275.9382
22 | 2586499.2231 | 1220249.051
23 | 2586535.845 | 1220254.4987
24 | 2586401.5618 | 1220235.0355
25 | 2586379.5293 | 1220211.7544
26 | 2586494.263 | 1220320.4284
27 | 2586495.7131 | 1220321.7063
28 | 2586508.2689 | 1220332.7706
29 | 2586517.7354 | 1220280.6757
30 | 2586413.6515 | 1220286.8823
31 | 2586404.9091 | 1220295.0885
32 | 2586391.1304 | 1220285.4921
33 | 2586393.2104 | 1220306.5533
34 | 2586331.8866 | 1220256.7124
35 | 2586343.3586 | 1220274.7494
36 | 2586358.9778 | 1220292.2127
37 | 2586355.7137 | 1220185.4217
38 | 2586362.4511 | 1220207.7652
39 | 2586359.9372 | 1220293.2853
40 | 2586367.9347 | 1220169.0045
41 | 2586384.1228 | 1220315.4591
42 | 2586398.9308 | 1220328.2055
43 | 2586373.9916 | 1220327.8471
44 | 2586399.2101 | 1220328.4459
45 | 2586367.7979 | 1220335.4204
46 | 2586416.239 | 1220343.1039
47 | 2586360.9863 | 1220343.7493
48 | 2586387.5831 | 1220201.5182
49 | 2586391.0977 | 1220197.0513
50 | 2586369.0916 | 1220167.4504
51 | 2586397.8259 | 1220241.1262
52 | 2586404.0736 | 1220180.5593
53 | 2586393.1871 | 1220248.6887
54 | 2586356.894 | 1220348.7532
55 | 2586346.6741 | 1220361.2496
56 | 2586348.081 | 1220365.9824
57 | 2586352.6997 | 1220381.1623
58 | 2586431.7361 | 1220356.6031
59 | 2586420.9842 | 1220347.1884
60 | 2586420.7307 | 1220346.9702
61 | 2586550.8047 | 1220282.1167
62 | 2586565.1218 | 1220253.0652
63 | 2586427.6523 | 1220090.498
64 | 2586408.9938 | 1220114.5607
65 | 2586430.6675 | 1220086.6095
66 | 2586403.6311 | 1220121.4766
67 | 2586438.3109 | 1220075.441
68 | 2586396.6737 | 1220130.4491
69 | 2586462.1138 | 1220090.4287
70 | 2586407.0453 | 1220060.552
71 | 2586395.7176 | 1220131.6822
72 | 2586474.9559 | 1220098.5149
73 | 2586387.4752 | 1220051.2326
74 | 2586383.4774 | 1220148.1251
75 | 2586382.771 | 1220149.0741
76 | 2586423.4856 | 1220145.7221
77 | 2586429.2073 | 1220148.6151
78 | 2586418.7892 | 1220161.8563
79 | 2586445.0891 | 1220157.1311
80 | 2586378.3518 | 1220049.6193
81 | 2586370.1105 | 1220065.9962
82 | 2586485.4653 | 1220105.7362
83 | 2586347.5461 | 1220109.1435
84 | 2586343.7912 | 1220114.7142
85 | 2586348.0503 | 1220076.4601
86 | 2586313.301 | 1220053.2159
87 | 2586351.9051 | 1220049.4329
88 | 2586301.824 | 1220080.3914
89 | 2586464.5577 | 1220167.5706
90 | 2586464.8521 | 1220167.7284
91 | 2586481.2949 | 1220176.0493
92 | 2586484.966 | 1220177.8623
93 | 2586416.2567 | 1220165.075
94 | 2586498.5503 | 1220183.9523
95 | 2586531.0316 | 1220197.2552
96 | 2586548.8898 | 1220204.5691
97 | 2586530.8671 | 1220197.1878
98 | 2586509.1618 | 1220188.2983
99 | 2586507.8148 | 1220187.7466
100 | 2586498.6393 | 1220183.9888
101 | 2586406.9902 | 1220176.8524
102 | 2586408.1178 | 1220175.4193
103 | 2586542.4496 | 1220139.7945
104 | 2586515.5357 | 1220126.1065
105 | 2586513.9003 | 1220125.2748
106 | 2586501.1223 | 1220116.4946
107 | 2586521.2596 | 1220113.0006
108 | 2586410.2391 | 1220220.8891

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1