## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_371-108_0_7_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_371-108_0_7_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_371-108_0_7_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_371-108_0_7_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_371-108_0_7_node_12 | 0.4 | n |  | TRUE
5 | bus_LV_371-108_0_7_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_371-108_0_7_node_61 | 0.4 | n |  | TRUE
7 | bus_LV_371-108_0_7_node_80 | 0.4 | n |  | TRUE
8 | bus_LV_371-108_0_7_node_13 | 0.4 | n |  | TRUE
9 | bus_LV_371-108_0_7_node_11 | 0.4 | n |  | TRUE
10 | bus_LV_371-108_0_7_node_97 | 0.4 | n |  | TRUE
11 | bus_LV_371-108_0_7_node_60 | 0.4 | n |  | TRUE
12 | bus_LV_371-108_0_7_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_371-108_0_7_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_371-108_0_7_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_371-108_0_7_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_371-108_0_7_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_371-108_0_7_node_26 | 0.4 | n |  | TRUE
18 | bus_LV_371-108_0_7_node_92 | 0.4 | n |  | TRUE
19 | bus_LV_371-108_0_7_node_21 | 0.4 | n |  | TRUE
20 | bus_LV_371-108_0_7_node_20 | 0.4 | n |  | TRUE
21 | bus_LV_371-108_0_7_node_27 | 0.4 | n |  | TRUE
22 | bus_LV_371-108_0_7_node_93 | 0.4 | n |  | TRUE
23 | bus_LV_371-108_0_7_node_23 | 0.4 | n |  | TRUE
24 | bus_LV_371-108_0_7_node_79 | 0.4 | n |  | TRUE
25 | bus_LV_371-108_0_7_node_90 | 0.4 | n |  | TRUE
26 | bus_LV_371-108_0_7_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_371-108_0_7_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_371-108_0_7_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_371-108_0_7_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_371-108_0_7_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_371-108_0_7_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_371-108_0_7_node_39 | 0.4 | n |  | TRUE
33 | bus_LV_371-108_0_7_node_37 | 0.4 | n |  | TRUE
34 | bus_LV_371-108_0_7_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_371-108_0_7_node_24 | 0.4 | n |  | TRUE
36 | bus_LV_371-108_0_7_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_371-108_0_7_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_371-108_0_7_node_52 | 0.4 | n |  | TRUE
39 | bus_LV_371-108_0_7_node_66 | 0.4 | n |  | TRUE
40 | bus_LV_371-108_0_7_node_31 | 0.4 | n |  | TRUE
41 | bus_LV_371-108_0_7_node_54 | 0.4 | n |  | TRUE
42 | bus_LV_371-108_0_7_node_50 | 0.4 | n |  | TRUE
43 | bus_LV_371-108_0_7_node_65 | 0.4 | n |  | TRUE
44 | bus_LV_371-108_0_7_node_28 | 0.4 | n |  | TRUE
45 | bus_LV_371-108_0_7_node_29 | 0.4 | n |  | TRUE
46 | bus_LV_371-108_0_7_node_30 | 0.4 | n |  | TRUE
47 | bus_LV_371-108_0_7_node_78 | 0.4 | n |  | TRUE
48 | bus_LV_371-108_0_7_node_34 | 0.4 | n |  | TRUE
49 | bus_LV_371-108_0_7_node_33 | 0.4 | n |  | TRUE
50 | bus_LV_371-108_0_7_node_36 | 0.4 | n |  | TRUE
51 | bus_LV_371-108_0_7_node_38 | 0.4 | n |  | TRUE
52 | bus_LV_371-108_0_7_node_40 | 0.4 | n |  | TRUE
53 | bus_LV_371-108_0_7_node_41 | 0.4 | n |  | TRUE
54 | bus_LV_371-108_0_7_node_42 | 0.4 | n |  | TRUE
55 | bus_LV_371-108_0_7_node_43 | 0.4 | n |  | TRUE
56 | bus_LV_371-108_0_7_node_91 | 0.4 | n |  | TRUE
57 | bus_LV_371-108_0_7_node_44 | 0.4 | n |  | TRUE
58 | bus_LV_371-108_0_7_node_45 | 0.4 | n |  | TRUE
59 | bus_LV_371-108_0_7_node_46 | 0.4 | n |  | TRUE
60 | bus_LV_371-108_0_7_node_47 | 0.4 | n |  | TRUE
61 | bus_LV_371-108_0_7_node_48 | 0.4 | n |  | TRUE
62 | bus_LV_371-108_0_7_node_49 | 0.4 | n |  | TRUE
63 | bus_LV_371-108_0_7_node_76 | 0.4 | n |  | TRUE
64 | bus_LV_371-108_0_7_node_63 | 0.4 | n |  | TRUE
65 | bus_LV_371-108_0_7_node_69 | 0.4 | n |  | TRUE
66 | bus_LV_371-108_0_7_node_74 | 0.4 | n |  | TRUE
67 | bus_LV_371-108_0_7_node_64 | 0.4 | n |  | TRUE
68 | bus_LV_371-108_0_7_node_70 | 0.4 | n |  | TRUE
69 | bus_LV_371-108_0_7_node_51 | 0.4 | n |  | TRUE
70 | bus_LV_371-108_0_7_node_53 | 0.4 | n |  | TRUE
71 | bus_LV_371-108_0_7_node_58 | 0.4 | n |  | TRUE
72 | bus_LV_371-108_0_7_node_55 | 0.4 | n |  | TRUE
73 | bus_LV_371-108_0_7_node_57 | 0.4 | n |  | TRUE
74 | bus_LV_371-108_0_7_node_59 | 0.4 | n |  | TRUE
75 | bus_LV_371-108_0_7_node_62 | 0.4 | n |  | TRUE
76 | bus_LV_371-108_0_7_node_67 | 0.4 | n |  | TRUE
77 | bus_LV_371-108_0_7_node_68 | 0.4 | n |  | TRUE
78 | bus_LV_371-108_0_7_node_84 | 0.4 | n |  | TRUE
79 | bus_LV_371-108_0_7_node_85 | 0.4 | n |  | TRUE
80 | bus_LV_371-108_0_7_node_71 | 0.4 | n |  | TRUE
81 | bus_LV_371-108_0_7_node_72 | 0.4 | n |  | TRUE
82 | bus_LV_371-108_0_7_node_73 | 0.4 | n |  | TRUE
83 | bus_LV_371-108_0_7_node_82 | 0.4 | n |  | TRUE
84 | bus_LV_371-108_0_7_node_77 | 0.4 | n |  | TRUE
85 | bus_LV_371-108_0_7_node_75 | 0.4 | n |  | TRUE
86 | bus_LV_371-108_0_7_node_83 | 0.4 | n |  | TRUE
87 | bus_LV_371-108_0_7_node_81 | 0.4 | n |  | TRUE
88 | bus_LV_371-108_0_7_node_88 | 0.4 | n |  | TRUE
89 | bus_LV_371-108_0_7_node_89 | 0.4 | n |  | TRUE
90 | bus_LV_371-108_0_7_node_87 | 0.4 | n |  | TRUE
91 | bus_LV_371-108_0_7_node_96 | 0.4 | n |  | TRUE
92 | bus_LV_371-108_0_7_node_86 | 0.4 | n |  | TRUE
93 | bus_LV_371-108_0_7_node_94 | 0.4 | n |  | TRUE
94 | bus_LV_371-108_0_7_node_95 | 0.4 | n |  | TRUE
95 | bus_MV_348_0_node_101 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_371-108_0_7_load_0 | 0 | 0.023621 | 0.0059199 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_371-108_0_7_load_1 | 1 | 0.0023382 | 0.000586 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_371-108_0_7_load_4 | 3 | 0.0093859 | 0.0023523 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_371-108_0_7_load_80 | 7 | 0.0071452 | 0.0017908 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_371-108_0_7_load_11 | 9 | 0.041074 | 0.010294 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_371-108_0_7_load_97 | 10 | 0.0057006 | 0.0014287 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_371-108_0_7_load_6 | 12 | 0.05352 | 0.013413 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_371-108_0_7_load_26 | 17 | 0.0015882 | 0.00039804 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_371-108_0_7_load_92 | 18 | 0.0046773 | 0.0011723 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_371-108_0_7_load_21 | 19 | 0.0055436 | 0.0013894 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_371-108_0_7_load_27 | 21 | 0.0026732 | 0.00066997 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_371-108_0_7_load_93 | 22 | 0.003757 | 0.0009416 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_371-108_0_7_load_79 | 24 | 0.01974 | 0.0049474 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_371-108_0_7_load_90 | 25 | 0.033584 | 0.0084168 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_371-108_0_7_load_14 | 26 | 0.015133 | 0.0037926 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_371-108_0_7_load_15 | 27 | 0.0082957 | 0.0020791 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_371-108_0_7_load_16 | 28 | 0.0058713 | 0.0014715 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_371-108_0_7_load_17 | 29 | 0.0062645 | 0.00157 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_371-108_0_7_load_18 | 30 | 0.005968 | 0.0014957 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_371-108_0_7_load_19 | 31 | 0.0043271 | 0.0010845 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_371-108_0_7_load_39 | 32 | 0.0053924 | 0.0013515 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_371-108_0_7_load_37 | 33 | 0.0056578 | 0.001418 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_371-108_0_7_load_22 | 34 | 0.0046627 | 0.0011686 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_371-108_0_7_load_32 | 37 | 0.0044633 | 0.0011186 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_371-108_0_7_load_66 | 39 | 0.0056144 | 0.0014071 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_371-108_0_7_load_31 | 40 | 0.023486 | 0.0058862 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_371-108_0_7_load_54 | 41 | 0.0034112 | 0.00085492 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_371-108_0_7_load_50 | 42 | 0.014329 | 0.0035912 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_371-108_0_7_load_65 | 43 | 0.002329 | 0.00058369 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_371-108_0_7_load_28 | 44 | 0.0045061 | 0.0011293 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_371-108_0_7_load_30 | 46 | 0.0042698 | 0.0010701 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_371-108_0_7_load_78 | 47 | 0.0043629 | 0.0010934 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_371-108_0_7_load_34 | 48 | 0.0090585 | 0.0022703 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_371-108_0_7_load_33 | 49 | 0.0046983 | 0.0011775 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_371-108_0_7_load_36 | 50 | 0.0042653 | 0.001069 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_371-108_0_7_load_38 | 51 | 0.0073109 | 0.0018323 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_371-108_0_7_load_40 | 52 | 0.0052251 | 0.0013095 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_371-108_0_7_load_41 | 53 | 0.0076922 | 0.0019279 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_371-108_0_7_load_42 | 54 | 0.0015911 | 0.00039878 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_371-108_0_7_load_43 | 55 | 0.0069134 | 0.0017327 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_371-108_0_7_load_91 | 56 | 0.005429 | 0.0013606 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_371-108_0_7_load_44 | 57 | 0.0058797 | 0.0014736 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_371-108_0_7_load_45 | 58 | 0.005185 | 0.0012995 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_371-108_0_7_load_47 | 60 | 0.0037698 | 0.00094481 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_371-108_0_7_load_48 | 61 | 0.0038311 | 0.00096017 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_371-108_0_7_load_49 | 62 | 0.0044181 | 0.0011073 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_371-108_0_7_load_76 | 63 | 0.0030424 | 0.0007625 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_371-108_0_7_load_63 | 64 | 0.0045002 | 0.0011278 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_371-108_0_7_load_69 | 65 | 0.0032495 | 0.00081441 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_371-108_0_7_load_74 | 66 | 0.00067166 | 0.00016833 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_371-108_0_7_load_64 | 67 | 0.0073458 | 0.001841 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_371-108_0_7_load_70 | 68 | 0.0021396 | 0.00053624 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_371-108_0_7_load_51 | 69 | 0.013469 | 0.0033757 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_371-108_0_7_load_55 | 72 | 0.0066562 | 0.0016682 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_371-108_0_7_load_59 | 74 | 0.015341 | 0.0038449 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_371-108_0_7_load_62 | 75 | 0.0043561 | 0.0010917 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_371-108_0_7_load_67 | 76 | 0.0023306 | 0.00058409 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_371-108_0_7_load_68 | 77 | 0.0036095 | 0.00090463 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_371-108_0_7_load_84 | 78 | 0.0024629 | 0.00061727 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_371-108_0_7_load_85 | 79 | 0.0032271 | 0.00080878 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_371-108_0_7_load_72 | 81 | 0.004154 | 0.0010411 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_371-108_0_7_load_73 | 82 | 0.0028579 | 0.00071625 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_371-108_0_7_load_77 | 84 | 0.0041462 | 0.0010391 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_371-108_0_7_load_75 | 85 | 0.004228 | 0.0010596 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_371-108_0_7_load_81 | 87 | 0.0027509 | 0.00068944 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_371-108_0_7_load_88 | 88 | 0.0054174 | 0.0013577 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_371-108_0_7_load_87 | 90 | 0.0016196 | 0.00040592 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_371-108_0_7_load_96 | 91 | 0.004636 | 0.0011619 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_371-108_0_7_load_86 | 92 | 0.0030326 | 0.00076005 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_371-108_0_7_load_94 | 93 | 0.0038879 | 0.00097441 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_371-108_0_7_load_95 | 94 | 0.010044 | 0.0025174 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 20 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_371-108_0_7_line_0 |  | 0 | 1 | 0.045032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_371-108_0_7_line_1 |  | 1 | 2 | 0.017499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_371-108_0_7_line_2 |  | 1 | 3 | 0.019372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_371-108_0_7_line_3 |  | 2 | 4 | 0.009385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_371-108_0_7_line_4 |  | 4 | 8 | 0.035603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_371-108_0_7_line_5 |  | 4 | 9 | 0.030342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_371-108_0_7_line_6 |  | 5 | 6 | 0.048653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_371-108_0_7_line_7 |  | 5 | 7 | 0.0494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_371-108_0_7_line_8 |  | 6 | 10 | 0.029794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_371-108_0_7_line_9 |  | 6 | 11 | 0.01798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_371-108_0_7_line_10 |  | 8 | 23 | 0.013063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_371-108_0_7_line_11 |  | 8 | 24 | 0.013482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_371-108_0_7_line_12 |  | 9 | 13 | 0.076563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_371-108_0_7_line_13 |  | 11 | 75 | 0.028563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_371-108_0_7_line_14 |  | 11 | 74 | 0.0098614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_371-108_0_7_line_15 |  | 11 | 73 | 0.021056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_371-108_0_7_line_16 |  | 12 | 13 | 0.077321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_371-108_0_7_line_17 |  | 14 | 15 | 0.002157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_371-108_0_7_line_18 |  | 14 | 16 | 0.084693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_371-108_0_7_line_19 |  | 15 | 17 | 0.010902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_371-108_0_7_line_20 |  | 16 | 18 | 0.0168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_371-108_0_7_line_21 |  | 17 | 21 | 0.014855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_371-108_0_7_line_22 |  | 18 | 22 | 0.010158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_371-108_0_7_line_23 |  | 19 | 20 | 0.033703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_371-108_0_7_line_24 |  | 20 | 34 | 0.040705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_371-108_0_7_line_25 |  | 20 | 35 | 0.044234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_371-108_0_7_line_26 |  | 20 | 36 | 0.043403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_371-108_0_7_line_27 |  | 20 | 31 | 0.020309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_371-108_0_7_line_28 |  | 21 | 44 | 0.034744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_371-108_0_7_line_29 |  | 22 | 93 | 0.0095635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_371-108_0_7_line_30 |  | 23 | 25 | 0.031594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_371-108_0_7_line_31 |  | 25 | 35 | 0.027852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_371-108_0_7_line_32 |  | 26 | 27 | 0.017124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_371-108_0_7_line_33 |  | 26 | 28 | 0.0037837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_371-108_0_7_line_34 |  | 27 | 29 | 0.020342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_371-108_0_7_line_35 |  | 28 | 30 | 0.01153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_371-108_0_7_line_36 |  | 29 | 31 | 0.0094644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_371-108_0_7_line_37 |  | 30 | 32 | 0.0021208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_371-108_0_7_line_38 |  | 32 | 33 | 0.012801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_371-108_0_7_line_39 |  | 33 | 50 | 0.011343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_371-108_0_7_line_40 |  | 34 | 37 | 0.0098543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_371-108_0_7_line_41 |  | 36 | 38 | 0.021946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_371-108_0_7_line_42 |  | 36 | 39 | 0.011691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_371-108_0_7_line_43 |  | 37 | 40 | 0.0025529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_371-108_0_7_line_44 |  | 38 | 41 | 0.0185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_371-108_0_7_line_45 |  | 38 | 42 | 0.017471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_371-108_0_7_line_46 |  | 39 | 43 | 0.030398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_371-108_0_7_line_47 |  | 40 | 49 | 0.0067942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_371-108_0_7_line_48 |  | 41 | 72 | 0.017534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_371-108_0_7_line_49 |  | 42 | 69 | 0.00012997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_371-108_0_7_line_50 |  | 43 | 76 | 0.012462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_371-108_0_7_line_51 |  | 44 | 45 | 0.051281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_371-108_0_7_line_52 |  | 45 | 46 | 0.037731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_371-108_0_7_line_53 |  | 46 | 47 | 0.023267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_371-108_0_7_line_54 |  | 47 | 48 | 0.014438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_371-108_0_7_line_55 |  | 48 | 49 | 0.015846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_371-108_0_7_line_56 |  | 50 | 51 | 0.0001953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_371-108_0_7_line_57 |  | 51 | 52 | 0.011888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_371-108_0_7_line_58 |  | 52 | 53 | 0.026118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_371-108_0_7_line_59 |  | 53 | 54 | 0.012681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_371-108_0_7_line_60 |  | 54 | 55 | 0.011238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_371-108_0_7_line_61 |  | 55 | 56 | 0.017713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_371-108_0_7_line_62 |  | 57 | 58 | 9.3931e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_371-108_0_7_line_63 |  | 57 | 59 | 0.027828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_371-108_0_7_line_64 |  | 58 | 60 | 0.0023349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_371-108_0_7_line_65 |  | 59 | 61 | 0.0078757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_371-108_0_7_line_66 |  | 59 | 62 | 0.014433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_371-108_0_7_line_67 |  | 60 | 63 | 0.02413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_371-108_0_7_line_68 |  | 61 | 64 | 0.023175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_371-108_0_7_line_69 |  | 62 | 65 | 0.016619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_371-108_0_7_line_70 |  | 63 | 66 | 0.0026066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_371-108_0_7_line_71 |  | 64 | 67 | 0.017093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_371-108_0_7_line_72 |  | 65 | 68 | 0.02225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_371-108_0_7_line_73 |  | 66 | 85 | 0.0064588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_371-108_0_7_line_74 |  | 67 | 73 | 0.013086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_371-108_0_7_line_75 |  | 68 | 80 | 0.010665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_371-108_0_7_line_76 |  | 69 | 70 | 0.019945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_371-108_0_7_line_77 |  | 70 | 71 | 0.030857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_371-108_0_7_line_78 |  | 71 | 74 | 0.033111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_371-108_0_7_line_79 |  | 76 | 77 | 0.016456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_371-108_0_7_line_80 |  | 78 | 79 | 0.00051294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_371-108_0_7_line_81 |  | 79 | 92 | 0.0069659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_371-108_0_7_line_82 |  | 80 | 81 | 0.026808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_371-108_0_7_line_83 |  | 80 | 82 | 0.0055653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_371-108_0_7_line_84 |  | 82 | 83 | 0.025764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_371-108_0_7_line_85 |  | 83 | 86 | 0.022505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_371-108_0_7_line_86 |  | 83 | 87 | 0.024102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_371-108_0_7_line_87 |  | 84 | 85 | 0.016634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_371-108_0_7_line_88 |  | 86 | 88 | 0.014579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_371-108_0_7_line_89 |  | 86 | 89 | 0.006916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_371-108_0_7_line_90 |  | 86 | 90 | 0.021739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_371-108_0_7_line_91 |  | 89 | 91 | 0.019503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_371-108_0_7_line_92 |  | 90 | 92 | 0.015542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_371-108_0_7_line_93 |  | 93 | 94 | 0.012225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_371-108_0_7_trafo_20 | 0.63 MVA 20/0.4 kV | 95 | 20 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2585695.3481 | 1221518.0446 | 2585666.7031 | 1221552.7912
1 | 2585695.3481 | 1221518.0446 | 2585702.006 | 1221523.5539 | 2585708.854 | 1221529.2184
2 | 2585695.3481 | 1221518.0446 | 2585679.7427 | 1221506.566
3 | 2585716.2635 | 1221535.0039 | 2585710.7387 | 1221530.6925 | 2585708.854 | 1221529.2184
4 | 2585743.0957 | 1221558.4861 | 2585729.7716 | 1221547.1228 | 2585716.2635 | 1221535.0039
5 | 2585716.2635 | 1221535.0039 | 2585736.2246 | 1221512.1521
6 | 2585689.8438 | 1221625.7425 | 2585678.5738 | 1221613.7628 | 2585666.9152 | 1221604.2521 | 2585653.3198 | 1221593.6567
7 | 2585653.3198 | 1221593.6567 | 2585626.4617 | 1221622.0716 | 2585633.5617 | 1221629.5342
8 | 2585689.8438 | 1221625.7425 | 2585667.9113 | 1221645.9739
9 | 2585702.519 | 1221638.5192 | 2585697.7051 | 1221633.3279 | 2585689.8438 | 1221625.7425
10 | 2585743.0957 | 1221558.4861 | 2585752.7426 | 1221567.3236
11 | 2585743.0957 | 1221558.4861 | 2585740.1578 | 1221566.9092 | 2585739.8313 | 1221571.4588
12 | 2585766.6275 | 1221455.5255 | 2585743.2733 | 1221481.052 | 2585753.8279 | 1221491.9996 | 2585736.2246 | 1221512.1521
13 | 2585702.519 | 1221638.5192 | 2585683.0002 | 1221659.423
14 | 2585702.519 | 1221638.5192 | 2585704.5092 | 1221636.6133 | 2585700.9879 | 1221632.7085 | 2585702.4263 | 1221631.5488
15 | 2585715.6203 | 1221655.0305 | 2585702.519 | 1221638.5192
16 | 2585766.6275 | 1221455.5255 | 2585808.3243 | 1221490.5456 | 2585824.5397 | 1221506.6713
17 | 2585874.8888 | 1221568.5094 | 2585876.084 | 1221570.3075
18 | 2585874.8888 | 1221568.5094 | 2585877.8343 | 1221566.3789 | 2585882.4912 | 1221563.0103 | 2585888.6927 | 1221558.5262 | 2585900.6168 | 1221574.5738 | 2585919.461 | 1221594.8406 | 2585934.4557 | 1221581.6196
19 | 2585876.084 | 1221570.3075 | 2585882.81 | 1221578.8869
20 | 2585934.4557 | 1221581.6196 | 2585931.9178 | 1221573.3653 | 2585931.1836 | 1221565.2341
21 | 2585882.81 | 1221578.8869 | 2585890.9429 | 1221589.2609 | 2585892.0097 | 1221590.5494
22 | 2585931.1836 | 1221565.2341 | 2585930.2701 | 1221555.1172
23 | 2585801.7112 | 1221611.1758 | 2585817.6849 | 1221601.4874 | 2585831.6193 | 1221595.8798
24 | 2585801.7112 | 1221611.1758 | 2585812.9594 | 1221610.982 | 2585816.9279 | 1221611.584 | 2585824.2622 | 1221614.5793 | 2585827.793 | 1221616.105 | 2585840.3548 | 1221621.5037
25 | 2585799.7348 | 1221577.7612 | 2585787.1125 | 1221593.3005 | 2585795.1372 | 1221599.4625 | 2585798.6958 | 1221603.1228 | 2585800.8477 | 1221605.33 | 2585801.7112 | 1221611.1758
26 | 2585776.8048 | 1221615.5492 | 2585777.9498 | 1221609.1094 | 2585782.4799 | 1221597.2361 | 2585794.0346 | 1221607.7811 | 2585796.4813 | 1221609.5985 | 2585801.7112 | 1221611.1758
27 | 2585801.7112 | 1221611.1758 | 2585814.317 | 1221627.0991
28 | 2585892.0097 | 1221590.5494 | 2585899.9268 | 1221600.1124 | 2585910.3123 | 1221610.3269 | 2585915.9429 | 1221615.6701
29 | 2585930.2701 | 1221555.1172 | 2585929.4101 | 1221545.5924
30 | 2585752.7426 | 1221567.3236 | 2585767.6222 | 1221556.8484 | 2585777.9128 | 1221555.8675 | 2585780.0726 | 1221558.0343
31 | 2585799.7348 | 1221577.7612 | 2585780.0726 | 1221558.0343
32 | 2585845.4777 | 1221662.1865 | 2585834.0763 | 1221649.4102
33 | 2585845.4777 | 1221662.1865 | 2585847.997 | 1221665.0096
34 | 2585834.0763 | 1221649.4102 | 2585820.5324 | 1221634.2332
35 | 2585855.6737 | 1221673.612 | 2585847.997 | 1221665.0096
36 | 2585814.317 | 1221627.0991 | 2585815.4591 | 1221628.5418 | 2585819.1858 | 1221632.7242 | 2585820.5324 | 1221634.2332
37 | 2585857.0858 | 1221675.1944 | 2585855.6737 | 1221673.612
38 | 2585865.339 | 1221684.9731 | 2585861.4491 | 1221680.0838 | 2585857.0858 | 1221675.1944
39 | 2585872.4009 | 1221693.8493 | 2585865.339 | 1221684.9731
40 | 2585840.3548 | 1221621.5037 | 2585849.4084 | 1221625.3947
41 | 2585759.1249 | 1221628.5548 | 2585770.5033 | 1221619.4222 | 2585776.8048 | 1221615.5492
42 | 2585776.8048 | 1221615.5492 | 2585775.9193 | 1221619.5425 | 2585775.1731 | 1221624.6584 | 2585775.1397 | 1221627.0886
43 | 2585849.4084 | 1221625.3947 | 2585851.7538 | 1221626.4027
44 | 2585759.1249 | 1221628.5548 | 2585761.071 | 1221630.34 | 2585749.319 | 1221640.9887
45 | 2585759.1249 | 1221628.5548 | 2585757.9375 | 1221629.9918 | 2585747.168 | 1221630.4958 | 2585743.5313 | 1221627.3247
46 | 2585783.0379 | 1221655.9417 | 2585778.6198 | 1221648.0303 | 2585777.1807 | 1221642.5528 | 2585775.9244 | 1221637.4084 | 2585775.0827 | 1221631.2291 | 2585775.1397 | 1221627.0886
47 | 2585857.996 | 1221629.0854 | 2585851.7538 | 1221626.4027
48 | 2585736.307 | 1221645.7937 | 2585740.1819 | 1221649.268 | 2585749.319 | 1221640.9887
49 | 2585743.4333 | 1221627.2393 | 2585743.5313 | 1221627.3247
50 | 2585783.0379 | 1221655.9417 | 2585784.6836 | 1221658.8887 | 2585789.2429 | 1221666.7486
51 | 2585945.5207 | 1221654.3687 | 2585943.8438 | 1221647.7244 | 2585944.651 | 1221645.8548 | 2585944.7605 | 1221644.0535 | 2585943.9218 | 1221642.2211 | 2585915.9429 | 1221615.6701
52 | 2585945.5207 | 1221654.3687 | 2585908.8376 | 1221645.539
53 | 2585908.8376 | 1221645.539 | 2585891.5526 | 1221641.3785 | 2585886.3349 | 1221639.6768
54 | 2585872.6081 | 1221635.1999 | 2585886.3349 | 1221639.6768
55 | 2585857.996 | 1221629.0854 | 2585871.0115 | 1221634.6791 | 2585872.6081 | 1221635.1999
56 | 2585872.5225 | 1221694.0021 | 2585872.4009 | 1221693.8493
57 | 2585872.5225 | 1221694.0021 | 2585879.9237 | 1221703.3049
58 | 2585896.1849 | 1221723.7438 | 2585879.9237 | 1221703.3049
59 | 2585896.1849 | 1221723.7438 | 2585904.0799 | 1221733.6671
60 | 2585904.0799 | 1221733.6671 | 2585907.2859 | 1221737.6968 | 2585911.327 | 1221742.2507
61 | 2585923.0837 | 1221755.4994 | 2585911.327 | 1221742.2507
62 | 2585739.131 | 1221718.2858 | 2585739.1967 | 1221718.2187
63 | 2585758.6481 | 1221698.3186 | 2585739.1967 | 1221718.2187
64 | 2585737.4989 | 1221719.9556 | 2585739.131 | 1221718.2858
65 | 2585758.6481 | 1221698.3186 | 2585752.6549 | 1221693.209
66 | 2585758.6481 | 1221698.3186 | 2585769.283 | 1221708.0764 | 2585769.283 | 1221708.0764
67 | 2585737.4989 | 1221719.9556 | 2585731.3187 | 1221726.2784 | 2585741.418 | 1221737.7567
68 | 2585735.3494 | 1221677.7999 | 2585745.6055 | 1221687.1991 | 2585752.6549 | 1221693.209
69 | 2585769.283 | 1221708.0764 | 2585780.1668 | 1221720.4797 | 2585780.2382 | 1221720.5727
70 | 2585743.1398 | 1221739.7136 | 2585741.418 | 1221737.7567
71 | 2585735.3494 | 1221677.7999 | 2585730.8201 | 1221673.6491 | 2585723.8959 | 1221665.1675
72 | 2585793.7787 | 1221738.2281 | 2585780.2382 | 1221720.5727
73 | 2585743.1398 | 1221739.7136 | 2585747.4062 | 1221744.5626
74 | 2585715.6203 | 1221655.0305 | 2585723.8959 | 1221665.1675
75 | 2585800.2692 | 1221746.6911 | 2585793.7787 | 1221738.2281
76 | 2585728.401 | 1221614.1315 | 2585743.4333 | 1221627.2393
77 | 2585705.6345 | 1221606.3375 | 2585709.8926 | 1221601.2243 | 2585712.2635 | 1221599.8844 | 2585728.401 | 1221614.1315
78 | 2585705.6345 | 1221606.3375 | 2585693.2988 | 1221621.0314 | 2585702.4263 | 1221631.5488
79 | 2585789.2429 | 1221666.7486 | 2585797.5001 | 1221680.9832
80 | 2585828.5544 | 1221745.4603 | 2585828.7317 | 1221745.9417
81 | 2585828.7317 | 1221745.9417 | 2585829.4283 | 1221747.833 | 2585830.7334 | 1221752.6082
82 | 2585800.2692 | 1221746.6911 | 2585780.7457 | 1221765.0625
83 | 2585800.2692 | 1221746.6911 | 2585803.6227 | 1221751.1325
84 | 2585819.1472 | 1221771.6936 | 2585803.6227 | 1221751.1325
85 | 2585819.1472 | 1221771.6936 | 2585832.911 | 1221789.5266
86 | 2585819.1472 | 1221771.6936 | 2585801.5305 | 1221788.1428
87 | 2585747.4062 | 1221744.5626 | 2585758.394 | 1221757.0507
88 | 2585832.911 | 1221789.5266 | 2585847.5178 | 1221788.8579
89 | 2585832.911 | 1221789.5266 | 2585837.0353 | 1221795.0866
90 | 2585832.911 | 1221789.5266 | 2585833.7827 | 1221782.954 | 2585833.9967 | 1221774.1484 | 2585833.5719 | 1221767.862
91 | 2585827.3574 | 1221811.0635 | 2585834.8044 | 1221804.2194 | 2585836.6138 | 1221796.4662 | 2585837.0353 | 1221795.0866
92 | 2585833.5719 | 1221767.862 | 2585833.3912 | 1221765.1891 | 2585831.3413 | 1221754.8324 | 2585830.7334 | 1221752.6082
93 | 2585928.3109 | 1221533.4174 | 2585929.4101 | 1221545.5924

## bus_geodata
| x | y | coords
0 | 2585666.7031 | 1221552.7912
1 | 2585695.3481 | 1221518.0446
2 | 2585708.854 | 1221529.2184
3 | 2585679.7427 | 1221506.566
4 | 2585716.2635 | 1221535.0039
5 | 2585653.3198 | 1221593.6567
6 | 2585689.8438 | 1221625.7425
7 | 2585633.5617 | 1221629.5342
8 | 2585743.0957 | 1221558.4861
9 | 2585736.2246 | 1221512.1521
10 | 2585667.9113 | 1221645.9739
11 | 2585702.519 | 1221638.5192
12 | 2585824.5397 | 1221506.6713
13 | 2585766.6275 | 1221455.5255
14 | 2585874.8888 | 1221568.5094
15 | 2585876.084 | 1221570.3075
16 | 2585934.4557 | 1221581.6196
17 | 2585882.81 | 1221578.8869
18 | 2585931.1836 | 1221565.2341
19 | 2585831.6193 | 1221595.8798
20 | 2585801.7112 | 1221611.1758
21 | 2585892.0097 | 1221590.5494
22 | 2585930.2701 | 1221555.1172
23 | 2585752.7426 | 1221567.3236
24 | 2585739.8313 | 1221571.4588
25 | 2585780.0726 | 1221558.0343
26 | 2585845.4777 | 1221662.1865
27 | 2585834.0763 | 1221649.4102
28 | 2585847.997 | 1221665.0096
29 | 2585820.5324 | 1221634.2332
30 | 2585855.6737 | 1221673.612
31 | 2585814.317 | 1221627.0991
32 | 2585857.0858 | 1221675.1944
33 | 2585865.339 | 1221684.9731
34 | 2585840.3548 | 1221621.5037
35 | 2585799.7348 | 1221577.7612
36 | 2585776.8048 | 1221615.5492
37 | 2585849.4084 | 1221625.3947
38 | 2585759.1249 | 1221628.5548
39 | 2585775.1397 | 1221627.0886
40 | 2585851.7538 | 1221626.4027
41 | 2585749.319 | 1221640.9887
42 | 2585743.5313 | 1221627.3247
43 | 2585783.0379 | 1221655.9417
44 | 2585915.9429 | 1221615.6701
45 | 2585945.5207 | 1221654.3687
46 | 2585908.8376 | 1221645.539
47 | 2585886.3349 | 1221639.6768
48 | 2585872.6081 | 1221635.1999
49 | 2585857.996 | 1221629.0854
50 | 2585872.4009 | 1221693.8493
51 | 2585872.5225 | 1221694.0021
52 | 2585879.9237 | 1221703.3049
53 | 2585896.1849 | 1221723.7438
54 | 2585904.0799 | 1221733.6671
55 | 2585911.327 | 1221742.2507
56 | 2585923.0837 | 1221755.4994
57 | 2585739.1967 | 1221718.2187
58 | 2585739.131 | 1221718.2858
59 | 2585758.6481 | 1221698.3186
60 | 2585737.4989 | 1221719.9556
61 | 2585752.6549 | 1221693.209
62 | 2585769.283 | 1221708.0764
63 | 2585741.418 | 1221737.7567
64 | 2585735.3494 | 1221677.7999
65 | 2585780.2382 | 1221720.5727
66 | 2585743.1398 | 1221739.7136
67 | 2585723.8959 | 1221665.1675
68 | 2585793.7787 | 1221738.2281
69 | 2585743.4333 | 1221627.2393
70 | 2585728.401 | 1221614.1315
71 | 2585705.6345 | 1221606.3375
72 | 2585736.307 | 1221645.7937
73 | 2585715.6203 | 1221655.0305
74 | 2585702.4263 | 1221631.5488
75 | 2585683.0002 | 1221659.423
76 | 2585789.2429 | 1221666.7486
77 | 2585797.5001 | 1221680.9832
78 | 2585828.5544 | 1221745.4603
79 | 2585828.7317 | 1221745.9417
80 | 2585800.2692 | 1221746.6911
81 | 2585780.7457 | 1221765.0625
82 | 2585803.6227 | 1221751.1325
83 | 2585819.1472 | 1221771.6936
84 | 2585758.394 | 1221757.0507
85 | 2585747.4062 | 1221744.5626
86 | 2585832.911 | 1221789.5266
87 | 2585801.5305 | 1221788.1428
88 | 2585847.5178 | 1221788.8579
89 | 2585837.0353 | 1221795.0866
90 | 2585833.5719 | 1221767.862
91 | 2585827.3574 | 1221811.0635
92 | 2585830.7334 | 1221752.6082
93 | 2585929.4101 | 1221545.5924
94 | 2585928.3109 | 1221533.4174
95 | 2585794.0346 | 1221607.7811

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1