## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_371-134_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_371-134_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_371-134_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_371-134_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_371-134_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_371-134_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_371-134_0_6_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_371-134_0_6_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_371-134_0_6_node_16 | 0.4 | n |  | TRUE
9 | bus_LV_371-134_0_6_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_371-134_0_6_node_15 | 0.4 | n |  | TRUE
11 | bus_LV_371-134_0_6_node_83 | 0.4 | n |  | TRUE
12 | bus_LV_371-134_0_6_node_77 | 0.4 | n |  | TRUE
13 | bus_LV_371-134_0_6_node_76 | 0.4 | n |  | TRUE
14 | bus_LV_371-134_0_6_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_371-134_0_6_node_35 | 0.4 | n |  | TRUE
16 | bus_LV_371-134_0_6_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_371-134_0_6_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_371-134_0_6_node_40 | 0.4 | n |  | TRUE
19 | bus_LV_371-134_0_6_node_46 | 0.4 | n |  | TRUE
20 | bus_LV_371-134_0_6_node_49 | 0.4 | n |  | TRUE
21 | bus_LV_371-134_0_6_node_82 | 0.4 | n |  | TRUE
22 | bus_LV_371-134_0_6_node_74 | 0.4 | n |  | TRUE
23 | bus_LV_371-134_0_6_node_50 | 0.4 | n |  | TRUE
24 | bus_LV_371-134_0_6_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_371-134_0_6_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_371-134_0_6_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_371-134_0_6_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_371-134_0_6_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_371-134_0_6_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_371-134_0_6_node_90 | 0.4 | n |  | TRUE
31 | bus_LV_371-134_0_6_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_371-134_0_6_node_89 | 0.4 | n |  | TRUE
33 | bus_LV_371-134_0_6_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_371-134_0_6_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_371-134_0_6_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_371-134_0_6_node_27 | 0.4 | n |  | TRUE
37 | bus_LV_371-134_0_6_node_86 | 0.4 | n |  | TRUE
38 | bus_LV_371-134_0_6_node_95 | 0.4 | n |  | TRUE
39 | bus_LV_371-134_0_6_node_88 | 0.4 | n |  | TRUE
40 | bus_LV_371-134_0_6_node_84 | 0.4 | n |  | TRUE
41 | bus_LV_371-134_0_6_node_96 | 0.4 | n |  | TRUE
42 | bus_LV_371-134_0_6_node_28 | 0.4 | n |  | TRUE
43 | bus_LV_371-134_0_6_node_29 | 0.4 | n |  | TRUE
44 | bus_LV_371-134_0_6_node_30 | 0.4 | n |  | TRUE
45 | bus_LV_371-134_0_6_node_31 | 0.4 | n |  | TRUE
46 | bus_LV_371-134_0_6_node_32 | 0.4 | n |  | TRUE
47 | bus_LV_371-134_0_6_node_33 | 0.4 | n |  | TRUE
48 | bus_LV_371-134_0_6_node_52 | 0.4 | n |  | TRUE
49 | bus_LV_371-134_0_6_node_38 | 0.4 | n |  | TRUE
50 | bus_LV_371-134_0_6_node_45 | 0.4 | n |  | TRUE
51 | bus_LV_371-134_0_6_node_97 | 0.4 | n |  | TRUE
52 | bus_LV_371-134_0_6_node_73 | 0.4 | n |  | TRUE
53 | bus_LV_371-134_0_6_node_100 | 0.4 | n |  | TRUE
54 | bus_LV_371-134_0_6_node_99 | 0.4 | n |  | TRUE
55 | bus_LV_371-134_0_6_node_39 | 0.4 | n |  | TRUE
56 | bus_LV_371-134_0_6_node_56 | 0.4 | n |  | TRUE
57 | bus_LV_371-134_0_6_node_48 | 0.4 | n |  | TRUE
58 | bus_LV_371-134_0_6_node_41 | 0.4 | n |  | TRUE
59 | bus_LV_371-134_0_6_node_42 | 0.4 | n |  | TRUE
60 | bus_LV_371-134_0_6_node_43 | 0.4 | n |  | TRUE
61 | bus_LV_371-134_0_6_node_44 | 0.4 | n |  | TRUE
62 | bus_LV_371-134_0_6_node_57 | 0.4 | n |  | TRUE
63 | bus_LV_371-134_0_6_node_51 | 0.4 | n |  | TRUE
64 | bus_LV_371-134_0_6_node_53 | 0.4 | n |  | TRUE
65 | bus_LV_371-134_0_6_node_54 | 0.4 | n |  | TRUE
66 | bus_LV_371-134_0_6_node_55 | 0.4 | n |  | TRUE
67 | bus_LV_371-134_0_6_node_75 | 0.4 | n |  | TRUE
68 | bus_LV_371-134_0_6_node_66 | 0.4 | n |  | TRUE
69 | bus_LV_371-134_0_6_node_58 | 0.4 | n |  | TRUE
70 | bus_LV_371-134_0_6_node_59 | 0.4 | n |  | TRUE
71 | bus_LV_371-134_0_6_node_60 | 0.4 | n |  | TRUE
72 | bus_LV_371-134_0_6_node_61 | 0.4 | n |  | TRUE
73 | bus_LV_371-134_0_6_node_62 | 0.4 | n |  | TRUE
74 | bus_LV_371-134_0_6_node_63 | 0.4 | n |  | TRUE
75 | bus_LV_371-134_0_6_node_67 | 0.4 | n |  | TRUE
76 | bus_LV_371-134_0_6_node_64 | 0.4 | n |  | TRUE
77 | bus_LV_371-134_0_6_node_72 | 0.4 | n |  | TRUE
78 | bus_LV_371-134_0_6_node_65 | 0.4 | n |  | TRUE
79 | bus_LV_371-134_0_6_node_70 | 0.4 | n |  | TRUE
80 | bus_LV_371-134_0_6_node_68 | 0.4 | n |  | TRUE
81 | bus_LV_371-134_0_6_node_69 | 0.4 | n |  | TRUE
82 | bus_LV_371-134_0_6_node_71 | 0.4 | n |  | TRUE
83 | bus_LV_371-134_0_6_node_78 | 0.4 | n |  | TRUE
84 | bus_LV_371-134_0_6_node_79 | 0.4 | n |  | TRUE
85 | bus_LV_371-134_0_6_node_80 | 0.4 | n |  | TRUE
86 | bus_LV_371-134_0_6_node_81 | 0.4 | n |  | TRUE
87 | bus_LV_371-134_0_6_node_85 | 0.4 | n |  | TRUE
88 | bus_LV_371-134_0_6_node_87 | 0.4 | n |  | TRUE
89 | bus_LV_371-134_0_6_node_93 | 0.4 | n |  | TRUE
90 | bus_LV_371-134_0_6_node_98 | 0.4 | n |  | TRUE
91 | bus_LV_371-134_0_6_node_91 | 0.4 | n |  | TRUE
92 | bus_LV_371-134_0_6_node_92 | 0.4 | n |  | TRUE
93 | bus_LV_371-134_0_6_node_94 | 0.4 | n |  | TRUE
94 | bus_MV_309_0_node_78 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_371-134_0_6_load_0 | 0 | 0.0043734 | 0.0010961 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_371-134_0_6_load_1 | 1 | 0.0032818 | 0.0008225 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_371-134_0_6_load_4 | 4 | 0.013772 | 0.0034517 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_371-134_0_6_load_5 | 5 | 0.0048096 | 0.0012054 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_371-134_0_6_load_16 | 8 | 0.021288 | 0.0053352 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_371-134_0_6_load_83 | 11 | 0.0095247 | 0.0023871 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_371-134_0_6_load_77 | 12 | 0.012274 | 0.0030762 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_371-134_0_6_load_76 | 13 | 0.0082917 | 0.0020781 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_371-134_0_6_load_40 | 18 | 0.013047 | 0.0032698 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_371-134_0_6_load_46 | 19 | 0.021623 | 0.0054191 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_371-134_0_6_load_49 | 20 | 0.0064011 | 0.0016043 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_371-134_0_6_load_82 | 21 | 0.011312 | 0.0028351 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_371-134_0_6_load_74 | 22 | 0.0059852 | 0.0015 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_371-134_0_6_load_50 | 23 | 0.0021446 | 0.00053748 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_371-134_0_6_load_17 | 24 | 0.0029787 | 0.00074653 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_371-134_0_6_load_18 | 25 | 0.0025926 | 0.00064977 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_371-134_0_6_load_19 | 26 | 0.012305 | 0.003084 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_371-134_0_6_load_20 | 27 | 0.0019036 | 0.0004771 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_371-134_0_6_load_21 | 28 | 0.0046432 | 0.0011637 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_371-134_0_6_load_23 | 29 | 0.008084 | 0.002026 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_371-134_0_6_load_90 | 30 | 0.002562 | 0.0006421 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_371-134_0_6_load_22 | 31 | 0.0041211 | 0.0010328 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_371-134_0_6_load_89 | 32 | 0.0021693 | 0.00054367 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_371-134_0_6_load_24 | 33 | 0.0071817 | 0.0017999 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_371-134_0_6_load_25 | 34 | 0.0033702 | 0.00084466 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_371-134_0_6_load_26 | 35 | 0.001901 | 0.00047644 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_371-134_0_6_load_95 | 38 | 0.0032328 | 0.00081023 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_371-134_0_6_load_88 | 39 | 0.003295 | 0.0008258 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_371-134_0_6_load_84 | 40 | 0.001634 | 0.00040951 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_371-134_0_6_load_96 | 41 | 0.015158 | 0.0037989 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_371-134_0_6_load_28 | 42 | 0.00196 | 0.00049121 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_371-134_0_6_load_29 | 43 | 0.0026488 | 0.00066386 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_371-134_0_6_load_31 | 45 | 0.0054443 | 0.0013645 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_371-134_0_6_load_32 | 46 | 0.0021758 | 0.0005453 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_371-134_0_6_load_33 | 47 | 0.0022608 | 0.00056662 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_371-134_0_6_load_52 | 48 | 0.0095279 | 0.0023879 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_371-134_0_6_load_38 | 49 | 0.0019548 | 0.00048992 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_371-134_0_6_load_97 | 51 | 0.0030247 | 0.00075807 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_371-134_0_6_load_73 | 52 | 0.0079789 | 0.0019997 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_371-134_0_6_load_100 | 53 | 0.0038771 | 0.00097168 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_371-134_0_6_load_99 | 54 | 0.00458 | 0.0011478 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_371-134_0_6_load_39 | 55 | 0.001384 | 0.00034687 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_371-134_0_6_load_41 | 58 | 0.010633 | 0.0026649 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_371-134_0_6_load_42 | 59 | 0.0029914 | 0.00074973 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_371-134_0_6_load_43 | 60 | 0.0062351 | 0.0015627 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_371-134_0_6_load_44 | 61 | 0.0022571 | 0.00056567 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_371-134_0_6_load_57 | 62 | 0.0035335 | 0.00088558 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_371-134_0_6_load_51 | 63 | 0.011328 | 0.0028391 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_371-134_0_6_load_53 | 64 | 0.0045338 | 0.0011363 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_371-134_0_6_load_54 | 65 | 0.0031973 | 0.00080133 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_371-134_0_6_load_55 | 66 | 0.0031134 | 0.0007803 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_371-134_0_6_load_75 | 67 | 0.0063727 | 0.0015971 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_371-134_0_6_load_66 | 68 | 0.002704 | 0.00067769 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_371-134_0_6_load_58 | 69 | 0.0056936 | 0.0014269 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_371-134_0_6_load_59 | 70 | 0.010191 | 0.0025541 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_371-134_0_6_load_60 | 71 | 0.0060327 | 0.0015119 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_371-134_0_6_load_61 | 72 | 0.0037528 | 0.00094055 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_371-134_0_6_load_62 | 73 | 0.0052484 | 0.0013154 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_371-134_0_6_load_63 | 74 | 0.005195 | 0.001302 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_371-134_0_6_load_67 | 75 | 0.0028728 | 0.00072 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_371-134_0_6_load_64 | 76 | 0.010885 | 0.0027281 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_371-134_0_6_load_72 | 77 | 0.0055095 | 0.0013808 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_371-134_0_6_load_65 | 78 | 0.0052887 | 0.0013255 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_371-134_0_6_load_70 | 79 | 0.0049089 | 0.0012303 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_371-134_0_6_load_68 | 80 | 0.0055279 | 0.0013854 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_371-134_0_6_load_69 | 81 | 0.0047757 | 0.0011969 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_371-134_0_6_load_71 | 82 | 0.0063089 | 0.0015812 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_371-134_0_6_load_78 | 83 | 0.0068058 | 0.0017057 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_371-134_0_6_load_79 | 84 | 0.0071564 | 0.0017936 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_371-134_0_6_load_80 | 85 | 0.0081277 | 0.002037 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_371-134_0_6_load_81 | 86 | 0.017197 | 0.00431 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_371-134_0_6_load_85 | 87 | 0.0028829 | 0.00072252 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_371-134_0_6_load_87 | 88 | 0.0018833 | 0.00047201 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_371-134_0_6_load_93 | 89 | 0.0040117 | 0.0010054 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_371-134_0_6_load_98 | 90 | 0.0027682 | 0.00069378 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_371-134_0_6_load_91 | 91 | 0.0031831 | 0.00079776 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_371-134_0_6_load_92 | 92 | 0.0029616 | 0.00074225 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_371-134_0_6_load_94 | 93 | 0.017801 | 0.0044614 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 76 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_371-134_0_6_line_0 |  | 0 | 1 | 0.010358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_371-134_0_6_line_1 |  | 0 | 2 | 0.022372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_371-134_0_6_line_2 |  | 1 | 3 | 0.044264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_371-134_0_6_line_3 |  | 2 | 4 | 0.018287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_371-134_0_6_line_4 |  | 2 | 5 | 0.017272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_371-134_0_6_line_5 |  | 3 | 6 | 0.044442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_371-134_0_6_line_6 |  | 5 | 7 | 0.026761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_371-134_0_6_line_7 |  | 6 | 12 | 0.0032539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_371-134_0_6_line_8 |  | 6 | 13 | 0.011655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_371-134_0_6_line_9 |  | 7 | 8 | 0.0079868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_371-134_0_6_line_10 |  | 9 | 10 | 0.014265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_371-134_0_6_line_11 |  | 9 | 11 | 0.0053982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_371-134_0_6_line_12 |  | 10 | 20 | 0.024011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_371-134_0_6_line_13 |  | 10 | 17 | 0.024311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_371-134_0_6_line_14 |  | 11 | 21 | 0.022855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_371-134_0_6_line_15 |  | 13 | 14 | 0.031007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_371-134_0_6_line_16 |  | 14 | 15 | 0.02897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_371-134_0_6_line_17 |  | 15 | 22 | 0.02996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_371-134_0_6_line_18 |  | 16 | 17 | 0.01837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_371-134_0_6_line_19 |  | 16 | 18 | 0.0091707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_371-134_0_6_line_20 |  | 17 | 19 | 0.0015501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_371-134_0_6_line_21 |  | 20 | 23 | 0.014588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_371-134_0_6_line_22 |  | 21 | 86 | 0.013903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_371-134_0_6_line_23 |  | 22 | 52 | 0.008745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_371-134_0_6_line_24 |  | 23 | 50 | 0.026861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_371-134_0_6_line_25 |  | 24 | 25 | 3.2625e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_371-134_0_6_line_26 |  | 24 | 26 | 0.0084529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_371-134_0_6_line_27 |  | 25 | 27 | 0.0066729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_371-134_0_6_line_28 |  | 26 | 28 | 0.0036051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_371-134_0_6_line_29 |  | 27 | 29 | 0.00257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_371-134_0_6_line_30 |  | 28 | 30 | 0.0034609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_371-134_0_6_line_31 |  | 29 | 31 | 0.0016603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_371-134_0_6_line_32 |  | 30 | 32 | 0.012453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_371-134_0_6_line_33 |  | 31 | 33 | 0.010407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_371-134_0_6_line_34 |  | 32 | 47 | 0.0080392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_371-134_0_6_line_35 |  | 33 | 34 | 0.0010821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_371-134_0_6_line_36 |  | 34 | 35 | 0.010994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_371-134_0_6_line_37 |  | 35 | 36 | 0.013363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_371-134_0_6_line_38 |  | 36 | 37 | 0.004222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_371-134_0_6_line_39 |  | 36 | 38 | 0.011716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_371-134_0_6_line_40 |  | 37 | 39 | 0.013009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_371-134_0_6_line_41 |  | 37 | 40 | 0.0088669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_371-134_0_6_line_42 |  | 38 | 41 | 0.0074456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_371-134_0_6_line_43 |  | 39 | 90 | 0.0033157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_371-134_0_6_line_44 |  | 40 | 87 | 0.0024923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_371-134_0_6_line_45 |  | 41 | 51 | 0.01739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_371-134_0_6_line_46 |  | 42 | 43 | 0.0089357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_371-134_0_6_line_47 |  | 42 | 44 | 0.015843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_371-134_0_6_line_48 |  | 43 | 45 | 0.021279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_371-134_0_6_line_49 |  | 44 | 46 | 0.02005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_371-134_0_6_line_50 |  | 44 | 47 | 0.012213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_371-134_0_6_line_51 |  | 45 | 48 | 0.0024627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
52 | LV_371-134_0_6_line_52 |  | 46 | 49 | 0.012884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_371-134_0_6_line_53 |  | 48 | 50 | 0.019712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_371-134_0_6_line_54 |  | 50 | 63 | 0.021219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_371-134_0_6_line_55 |  | 50 | 60 | 0.021646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_371-134_0_6_line_56 |  | 52 | 82 | 0.00050883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_371-134_0_6_line_57 |  | 53 | 54 | 0.011415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_371-134_0_6_line_58 |  | 54 | 90 | 0.0087539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_371-134_0_6_line_59 |  | 55 | 56 | 0.0062244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_371-134_0_6_line_60 |  | 56 | 57 | 0.021169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_371-134_0_6_line_61 |  | 57 | 62 | 0.021857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_371-134_0_6_line_62 |  | 58 | 59 | 0.0063972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_371-134_0_6_line_63 |  | 58 | 60 | 0.0043585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_371-134_0_6_line_64 |  | 59 | 61 | 0.0097819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_371-134_0_6_line_65 |  | 61 | 62 | 0.010308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_371-134_0_6_line_66 |  | 63 | 64 | 0.002938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
67 | LV_371-134_0_6_line_67 |  | 64 | 65 | 0.0080833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
68 | LV_371-134_0_6_line_68 |  | 65 | 66 | 0.00045695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
69 | LV_371-134_0_6_line_69 |  | 66 | 67 | 0.011958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
70 | LV_371-134_0_6_line_70 |  | 67 | 68 | 0.0034608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
71 | LV_371-134_0_6_line_71 |  | 68 | 78 | 0.0084836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
72 | LV_371-134_0_6_line_72 |  | 69 | 70 | 0.013865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_371-134_0_6_line_73 |  | 69 | 71 | 0.0012292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_371-134_0_6_line_74 |  | 70 | 72 | 0.0058871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_371-134_0_6_line_75 |  | 71 | 73 | 0.010709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_371-134_0_6_line_76 |  | 72 | 74 | 0.014075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
77 | LV_371-134_0_6_line_77 |  | 73 | 75 | 0.002449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_371-134_0_6_line_78 |  | 74 | 76 | 0.00086783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
79 | LV_371-134_0_6_line_79 |  | 75 | 77 | 0.001659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_371-134_0_6_line_80 |  | 76 | 78 | 0.012558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
81 | LV_371-134_0_6_line_81 |  | 77 | 79 | 0.0052334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_371-134_0_6_line_82 |  | 79 | 80 | 0.0047298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_371-134_0_6_line_83 |  | 80 | 81 | 0.0044656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_371-134_0_6_line_84 |  | 81 | 82 | 0.01209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_371-134_0_6_line_85 |  | 83 | 84 | 0.015819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_371-134_0_6_line_86 |  | 84 | 85 | 0.01862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_371-134_0_6_line_87 |  | 85 | 86 | 0.022592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_371-134_0_6_line_88 |  | 87 | 88 | 0.011685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_371-134_0_6_line_89 |  | 88 | 89 | 0.0061638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_371-134_0_6_line_90 |  | 89 | 91 | 0.0022938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_371-134_0_6_line_91 |  | 91 | 92 | 0.00086039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_371-134_0_6_line_92 |  | 92 | 93 | 0.013893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_371-134_0_6_trafo_64 | 0.63 MVA 20/0.4 kV | 94 | 76 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2585602.4974 | 1221373.8768 | 2585602.4777 | 1221363.5186
1 | 2585602.1027 | 1221396.2445 | 2585602.5032 | 1221376.8879 | 2585602.4974 | 1221373.8768
2 | 2585602.3933 | 1221319.2548 | 2585602.4777 | 1221363.5186
3 | 2585602.1027 | 1221396.2445 | 2585610.4047 | 1221400.827 | 2585618.1464 | 1221405.0207
4 | 2585602.1027 | 1221396.2445 | 2585602.0641 | 1221413.5165
5 | 2585623.7803 | 1221286.4172 | 2585616.8703 | 1221295.9506 | 2585613.1593 | 1221301.485 | 2585610.121 | 1221306.0062 | 2585611.4883 | 1221306.8144 | 2585613.9723 | 1221308.287 | 2585607.7556 | 1221312.7603 | 2585602.3933 | 1221319.2548
6 | 2585603.6583 | 1221440.1217 | 2585602.4628 | 1221435.1217 | 2585602.0301 | 1221428.7413 | 2585602.0641 | 1221413.5165
7 | 2585623.7803 | 1221286.4172 | 2585626.0973 | 1221288.7018
8 | 2585623.7803 | 1221286.4172 | 2585616.4906 | 1221277.3232
9 | 2585603.6583 | 1221440.1217 | 2585605.5204 | 1221444.7643 | 2585607.0593 | 1221447.3217
10 | 2585721.2459 | 1221386.8283 | 2585724.8201 | 1221390.6108 | 2585728.4208 | 1221389.6126 | 2585732.9259 | 1221392.5034
11 | 2585721.2459 | 1221386.8283 | 2585717.5447 | 1221382.8986
12 | 2585732.9259 | 1221392.5034 | 2585746.1354 | 1221372.4531
13 | 2585732.9259 | 1221392.5034 | 2585736.8155 | 1221394.9844 | 2585733.747 | 1221399.5945 | 2585743.7914 | 1221409.6205
14 | 2585717.5447 | 1221382.8986 | 2585701.8751 | 1221366.2614
15 | 2585597.097 | 1221253.1295 | 2585616.4906 | 1221277.3232
16 | 2585597.097 | 1221253.1295 | 2585603.7209 | 1221247.599 | 2585611.764 | 1221239.2747 | 2585613.738 | 1221236.8462 | 2585616.4872 | 1221231.9256
17 | 2585616.4872 | 1221231.9256 | 2585641.0921 | 1221249.0198
18 | 2585730.8291 | 1221422.6371 | 2585733.5608 | 1221419.8955 | 2585737.594 | 1221415.839 | 2585743.7914 | 1221409.6205
19 | 2585730.8291 | 1221422.6371 | 2585737.2955 | 1221429.1399
20 | 2585743.7914 | 1221409.6205 | 2585744.8878 | 1221410.7162
21 | 2585746.1354 | 1221372.4531 | 2585754.1611 | 1221360.2711
22 | 2585692.3431 | 1221356.1408 | 2585701.8751 | 1221366.2614
23 | 2585641.0921 | 1221249.0198 | 2585648.274 | 1221254.0094
24 | 2585768.9386 | 1221337.8407 | 2585754.1611 | 1221360.2711
25 | 2585767.5936 | 1221253.4344 | 2585767.5669 | 1221253.4156
26 | 2585767.5936 | 1221253.4344 | 2585774.5028 | 1221258.3042
27 | 2585767.5669 | 1221253.4156 | 2585762.1126 | 1221249.5713
28 | 2585774.5028 | 1221258.3042 | 2585777.4495 | 1221260.3811
29 | 2585762.1126 | 1221249.5713 | 2585760.012 | 1221248.0907
30 | 2585780.2784 | 1221262.375 | 2585777.4495 | 1221260.3811
31 | 2585758.6549 | 1221247.1342 | 2585760.012 | 1221248.0907
32 | 2585790.4572 | 1221269.5493 | 2585780.2784 | 1221262.375
33 | 2585758.6549 | 1221247.1342 | 2585750.1481 | 1221241.1384
34 | 2585797.0282 | 1221274.1807 | 2585790.4572 | 1221269.5493
35 | 2585750.1481 | 1221241.1384 | 2585749.2636 | 1221240.515
36 | 2585749.2636 | 1221240.515 | 2585740.2772 | 1221234.1811
37 | 2585729.3548 | 1221226.4827 | 2585740.2772 | 1221234.1811
38 | 2585729.3548 | 1221226.4827 | 2585725.8975 | 1221224.0452
39 | 2585729.3548 | 1221226.4827 | 2585735.8576 | 1221216.7373
40 | 2585725.8975 | 1221224.0452 | 2585715.0835 | 1221216.8138
41 | 2585725.8975 | 1221224.0452 | 2585720.8562 | 1221231.3395
42 | 2585735.8576 | 1221216.7373 | 2585739.9902 | 1221210.5439
43 | 2585715.0835 | 1221216.8138 | 2585712.3272 | 1221214.9707
44 | 2585720.8562 | 1221231.3395 | 2585719.4393 | 1221233.3898
45 | 2585749.6427 | 1221196.0783 | 2585739.9902 | 1221210.5439
46 | 2585793.1847 | 1221301.7796 | 2585798.1705 | 1221294.3643
47 | 2585807.0106 | 1221281.2166 | 2585798.1705 | 1221294.3643
48 | 2585781.3114 | 1221319.4387 | 2585793.1847 | 1221301.7796
49 | 2585807.0106 | 1221281.2166 | 2585823.7506 | 1221292.2522
50 | 2585807.0106 | 1221281.2166 | 2585797.0282 | 1221274.1807
51 | 2585781.3114 | 1221319.4387 | 2585779.9373 | 1221321.4824
52 | 2585823.7506 | 1221292.2522 | 2585834.5077 | 1221299.3437
53 | 2585768.9386 | 1221337.8407 | 2585779.9373 | 1221321.4824
54 | 2585768.9386 | 1221337.8407 | 2585751.5121 | 1221325.7337
55 | 2585768.9386 | 1221337.8407 | 2585786.9746 | 1221349.8097
56 | 2585648.6919 | 1221254.2997 | 2585648.274 | 1221254.0094
57 | 2585705.0504 | 1221210.1046 | 2585695.5615 | 1221203.7593
58 | 2585705.0504 | 1221210.1046 | 2585712.3272 | 1221214.9707
59 | 2585839.7469 | 1221359.3389 | 2585843.297 | 1221354.2262
60 | 2585839.7469 | 1221359.3389 | 2585831.0776 | 1221378.6597
61 | 2585831.0776 | 1221378.6597 | 2585823.8907 | 1221374.0409 | 2585812.6853 | 1221366.8502
62 | 2585795.9365 | 1221355.7569 | 2585790.6062 | 1221352.2197
63 | 2585786.9746 | 1221349.8097 | 2585790.6062 | 1221352.2197
64 | 2585804.087 | 1221361.1657 | 2585795.9365 | 1221355.7569
65 | 2585812.6853 | 1221366.8502 | 2585811.705 | 1221366.2211 | 2585804.087 | 1221361.1657
66 | 2585749.0992 | 1221324.0574 | 2585751.5121 | 1221325.7337
67 | 2585749.0992 | 1221324.0574 | 2585742.4608 | 1221319.4453
68 | 2585742.4608 | 1221319.4453 | 2585742.0855 | 1221319.1846
69 | 2585742.0855 | 1221319.1846 | 2585732.2647 | 1221312.3616
70 | 2585732.2647 | 1221312.3616 | 2585729.4225 | 1221310.387
71 | 2585722.4553 | 1221305.5466 | 2585729.4225 | 1221310.387
72 | 2585683.6487 | 1221278.5858 | 2585695.0357 | 1221286.4969
73 | 2585683.6487 | 1221278.5858 | 2585682.6392 | 1221277.8845
74 | 2585695.0357 | 1221286.4969 | 2585699.8705 | 1221289.8559
75 | 2585682.6392 | 1221277.8845 | 2585673.8443 | 1221271.7743
76 | 2585699.8705 | 1221289.8559 | 2585711.4296 | 1221297.8865
77 | 2585671.8331 | 1221270.377 | 2585673.8443 | 1221271.7743
78 | 2585712.1423 | 1221298.3817 | 2585711.4296 | 1221297.8865
79 | 2585670.4706 | 1221269.4304 | 2585671.8331 | 1221270.377
80 | 2585712.1423 | 1221298.3817 | 2585722.4553 | 1221305.5466
81 | 2585670.4706 | 1221269.4304 | 2585666.1726 | 1221266.4444
82 | 2585662.2883 | 1221263.7458 | 2585666.1726 | 1221266.4444
83 | 2585662.2883 | 1221263.7458 | 2585658.6208 | 1221261.1978
84 | 2585648.6919 | 1221254.2997 | 2585658.6208 | 1221261.1978
85 | 2585652.9811 | 1221314.8821 | 2585658.239 | 1221319.9308 | 2585664.0873 | 1221326.1403
86 | 2585676.8537 | 1221339.695 | 2585664.0873 | 1221326.1403
87 | 2585676.8537 | 1221339.695 | 2585692.3431 | 1221356.1408
88 | 2585712.796 | 1221243.0023 | 2585719.4393 | 1221233.3898
89 | 2585712.796 | 1221243.0023 | 2585709.2916 | 1221248.073
90 | 2585707.9874 | 1221249.96 | 2585709.2916 | 1221248.073
91 | 2585707.9874 | 1221249.96 | 2585707.4983 | 1221250.6678
92 | 2585699.5992 | 1221262.0973 | 2585707.4983 | 1221250.6678

## bus_geodata
| x | y | coords
0 | 2585602.4974 | 1221373.8768
1 | 2585602.4777 | 1221363.5186
2 | 2585602.1027 | 1221396.2445
3 | 2585602.3933 | 1221319.2548
4 | 2585618.1464 | 1221405.0207
5 | 2585602.0641 | 1221413.5165
6 | 2585623.7803 | 1221286.4172
7 | 2585603.6583 | 1221440.1217
8 | 2585607.0593 | 1221447.3217
9 | 2585721.2459 | 1221386.8283
10 | 2585732.9259 | 1221392.5034
11 | 2585717.5447 | 1221382.8986
12 | 2585626.0973 | 1221288.7018
13 | 2585616.4906 | 1221277.3232
14 | 2585597.097 | 1221253.1295
15 | 2585616.4872 | 1221231.9256
16 | 2585730.8291 | 1221422.6371
17 | 2585743.7914 | 1221409.6205
18 | 2585737.2955 | 1221429.1399
19 | 2585744.8878 | 1221410.7162
20 | 2585746.1354 | 1221372.4531
21 | 2585701.8751 | 1221366.2614
22 | 2585641.0921 | 1221249.0198
23 | 2585754.1611 | 1221360.2711
24 | 2585767.5936 | 1221253.4344
25 | 2585767.5669 | 1221253.4156
26 | 2585774.5028 | 1221258.3042
27 | 2585762.1126 | 1221249.5713
28 | 2585777.4495 | 1221260.3811
29 | 2585760.012 | 1221248.0907
30 | 2585780.2784 | 1221262.375
31 | 2585758.6549 | 1221247.1342
32 | 2585790.4572 | 1221269.5493
33 | 2585750.1481 | 1221241.1384
34 | 2585749.2636 | 1221240.515
35 | 2585740.2772 | 1221234.1811
36 | 2585729.3548 | 1221226.4827
37 | 2585725.8975 | 1221224.0452
38 | 2585735.8576 | 1221216.7373
39 | 2585715.0835 | 1221216.8138
40 | 2585720.8562 | 1221231.3395
41 | 2585739.9902 | 1221210.5439
42 | 2585798.1705 | 1221294.3643
43 | 2585793.1847 | 1221301.7796
44 | 2585807.0106 | 1221281.2166
45 | 2585781.3114 | 1221319.4387
46 | 2585823.7506 | 1221292.2522
47 | 2585797.0282 | 1221274.1807
48 | 2585779.9373 | 1221321.4824
49 | 2585834.5077 | 1221299.3437
50 | 2585768.9386 | 1221337.8407
51 | 2585749.6427 | 1221196.0783
52 | 2585648.274 | 1221254.0094
53 | 2585695.5615 | 1221203.7593
54 | 2585705.0504 | 1221210.1046
55 | 2585843.297 | 1221354.2262
56 | 2585839.7469 | 1221359.3389
57 | 2585831.0776 | 1221378.6597
58 | 2585790.6062 | 1221352.2197
59 | 2585795.9365 | 1221355.7569
60 | 2585786.9746 | 1221349.8097
61 | 2585804.087 | 1221361.1657
62 | 2585812.6853 | 1221366.8502
63 | 2585751.5121 | 1221325.7337
64 | 2585749.0992 | 1221324.0574
65 | 2585742.4608 | 1221319.4453
66 | 2585742.0855 | 1221319.1846
67 | 2585732.2647 | 1221312.3616
68 | 2585729.4225 | 1221310.387
69 | 2585683.6487 | 1221278.5858
70 | 2585695.0357 | 1221286.4969
71 | 2585682.6392 | 1221277.8845
72 | 2585699.8705 | 1221289.8559
73 | 2585673.8443 | 1221271.7743
74 | 2585711.4296 | 1221297.8865
75 | 2585671.8331 | 1221270.377
76 | 2585712.1423 | 1221298.3817
77 | 2585670.4706 | 1221269.4304
78 | 2585722.4553 | 1221305.5466
79 | 2585666.1726 | 1221266.4444
80 | 2585662.2883 | 1221263.7458
81 | 2585658.6208 | 1221261.1978
82 | 2585648.6919 | 1221254.2997
83 | 2585652.9811 | 1221314.8821
84 | 2585664.0873 | 1221326.1403
85 | 2585676.8537 | 1221339.695
86 | 2585692.3431 | 1221356.1408
87 | 2585719.4393 | 1221233.3898
88 | 2585712.796 | 1221243.0023
89 | 2585709.2916 | 1221248.073
90 | 2585712.3272 | 1221214.9707
91 | 2585707.9874 | 1221249.96
92 | 2585707.4983 | 1221250.6678
93 | 2585699.5992 | 1221262.0973
94 | 2585768.9386 | 1221337.8407

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1