## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_371-145_0_8_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_371-145_0_8_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_371-145_0_8_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_371-145_0_8_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_371-145_0_8_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_371-145_0_8_node_72 | 0.4 | n |  | TRUE
6 | bus_LV_371-145_0_8_node_45 | 0.4 | n |  | TRUE
7 | bus_LV_371-145_0_8_node_73 | 0.4 | n |  | TRUE
8 | bus_LV_371-145_0_8_node_42 | 0.4 | n |  | TRUE
9 | bus_LV_371-145_0_8_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_371-145_0_8_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_371-145_0_8_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_371-145_0_8_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_371-145_0_8_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_371-145_0_8_node_51 | 0.4 | n |  | TRUE
15 | bus_LV_371-145_0_8_node_24 | 0.4 | n |  | TRUE
16 | bus_LV_371-145_0_8_node_52 | 0.4 | n |  | TRUE
17 | bus_LV_371-145_0_8_node_29 | 0.4 | n |  | TRUE
18 | bus_LV_371-145_0_8_node_69 | 0.4 | n |  | TRUE
19 | bus_LV_371-145_0_8_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_371-145_0_8_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_371-145_0_8_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_371-145_0_8_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_371-145_0_8_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_371-145_0_8_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_371-145_0_8_node_22 | 0.4 | n |  | TRUE
26 | bus_LV_371-145_0_8_node_77 | 0.4 | n |  | TRUE
27 | bus_LV_371-145_0_8_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_371-145_0_8_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_371-145_0_8_node_15 | 0.4 | n |  | TRUE
30 | bus_LV_371-145_0_8_node_75 | 0.4 | n |  | TRUE
31 | bus_LV_371-145_0_8_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_371-145_0_8_node_76 | 0.4 | n |  | TRUE
33 | bus_LV_371-145_0_8_node_70 | 0.4 | n |  | TRUE
34 | bus_LV_371-145_0_8_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_371-145_0_8_node_34 | 0.4 | n |  | TRUE
36 | bus_LV_371-145_0_8_node_31 | 0.4 | n |  | TRUE
37 | bus_LV_371-145_0_8_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_371-145_0_8_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_371-145_0_8_node_65 | 0.4 | n |  | TRUE
40 | bus_LV_371-145_0_8_node_50 | 0.4 | n |  | TRUE
41 | bus_LV_371-145_0_8_node_30 | 0.4 | n |  | TRUE
42 | bus_LV_371-145_0_8_node_37 | 0.4 | n |  | TRUE
43 | bus_LV_371-145_0_8_node_16 | 0.4 | n |  | TRUE
44 | bus_LV_371-145_0_8_node_18 | 0.4 | n |  | TRUE
45 | bus_LV_371-145_0_8_node_32 | 0.4 | n |  | TRUE
46 | bus_LV_371-145_0_8_node_68 | 0.4 | n |  | TRUE
47 | bus_LV_371-145_0_8_node_66 | 0.4 | n |  | TRUE
48 | bus_LV_371-145_0_8_node_48 | 0.4 | n |  | TRUE
49 | bus_LV_371-145_0_8_node_35 | 0.4 | n |  | TRUE
50 | bus_LV_371-145_0_8_node_33 | 0.4 | n |  | TRUE
51 | bus_LV_371-145_0_8_node_38 | 0.4 | n |  | TRUE
52 | bus_LV_371-145_0_8_node_39 | 0.4 | n |  | TRUE
53 | bus_LV_371-145_0_8_node_36 | 0.4 | n |  | TRUE
54 | bus_LV_371-145_0_8_node_40 | 0.4 | n |  | TRUE
55 | bus_LV_371-145_0_8_node_41 | 0.4 | n |  | TRUE
56 | bus_LV_371-145_0_8_node_43 | 0.4 | n |  | TRUE
57 | bus_LV_371-145_0_8_node_44 | 0.4 | n |  | TRUE
58 | bus_LV_371-145_0_8_node_60 | 0.4 | n |  | TRUE
59 | bus_LV_371-145_0_8_node_64 | 0.4 | n |  | TRUE
60 | bus_LV_371-145_0_8_node_74 | 0.4 | n |  | TRUE
61 | bus_LV_371-145_0_8_node_58 | 0.4 | n |  | TRUE
62 | bus_LV_371-145_0_8_node_56 | 0.4 | n |  | TRUE
63 | bus_LV_371-145_0_8_node_46 | 0.4 | n |  | TRUE
64 | bus_LV_371-145_0_8_node_47 | 0.4 | n |  | TRUE
65 | bus_LV_371-145_0_8_node_49 | 0.4 | n |  | TRUE
66 | bus_LV_371-145_0_8_node_71 | 0.4 | n |  | TRUE
67 | bus_LV_371-145_0_8_node_53 | 0.4 | n |  | TRUE
68 | bus_LV_371-145_0_8_node_54 | 0.4 | n |  | TRUE
69 | bus_LV_371-145_0_8_node_55 | 0.4 | n |  | TRUE
70 | bus_LV_371-145_0_8_node_57 | 0.4 | n |  | TRUE
71 | bus_LV_371-145_0_8_node_59 | 0.4 | n |  | TRUE
72 | bus_LV_371-145_0_8_node_61 | 0.4 | n |  | TRUE
73 | bus_LV_371-145_0_8_node_67 | 0.4 | n |  | TRUE
74 | bus_MV_348_0_node_58 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_371-145_0_8_load_0 | 0 | 0.0033035 | 0.00082793 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_371-145_0_8_load_1 | 1 | 0.003459 | 0.00086692 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_371-145_0_8_load_3 | 3 | 0.0022308 | 0.00055908 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_371-145_0_8_load_4 | 4 | 0.0095739 | 0.0023995 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_371-145_0_8_load_72 | 5 | 0.0025219 | 0.00063204 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_371-145_0_8_load_45 | 6 | 0.0066504 | 0.0016668 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_371-145_0_8_load_73 | 7 | 0.0045897 | 0.0011503 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_371-145_0_8_load_5 | 9 | 0.013156 | 0.0032973 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_371-145_0_8_load_6 | 10 | 0.011185 | 0.0028033 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_371-145_0_8_load_7 | 11 | 0.0039899 | 0.00099997 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_371-145_0_8_load_8 | 12 | 0.0045513 | 0.0011407 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_371-145_0_8_load_9 | 13 | 0.0044169 | 0.001107 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_371-145_0_8_load_51 | 14 | 0.0067732 | 0.0016975 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_371-145_0_8_load_52 | 16 | 0.0060533 | 0.0015171 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_371-145_0_8_load_69 | 18 | 0.005571 | 0.0013962 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_371-145_0_8_load_14 | 19 | 0.0058012 | 0.0014539 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_371-145_0_8_load_10 | 20 | 0.025729 | 0.0064483 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_371-145_0_8_load_11 | 21 | 0.0058288 | 0.0014608 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_371-145_0_8_load_12 | 22 | 0.0054397 | 0.0013633 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_371-145_0_8_load_77 | 26 | 0.021078 | 0.0052826 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_371-145_0_8_load_19 | 28 | 0.0037725 | 0.00094548 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_371-145_0_8_load_15 | 29 | 0.020209 | 0.0050647 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_371-145_0_8_load_75 | 30 | 0.0034235 | 0.000858 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_371-145_0_8_load_76 | 32 | 0.0065551 | 0.0016429 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_371-145_0_8_load_70 | 33 | 0.0029205 | 0.00073194 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_371-145_0_8_load_34 | 35 | 0.0033115 | 0.00082993 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_371-145_0_8_load_31 | 36 | 0.0034435 | 0.00086301 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_371-145_0_8_load_65 | 39 | 0.0014851 | 0.00037219 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_371-145_0_8_load_50 | 40 | 0.026619 | 0.0066714 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_371-145_0_8_load_37 | 42 | 0.0034179 | 0.0008566 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_371-145_0_8_load_16 | 43 | 0.010266 | 0.002573 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_371-145_0_8_load_18 | 44 | 0.016274 | 0.0040786 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_371-145_0_8_load_32 | 45 | 0.012575 | 0.0031517 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_371-145_0_8_load_68 | 46 | 0.0047822 | 0.0011985 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_371-145_0_8_load_66 | 47 | 0.013058 | 0.0032727 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_371-145_0_8_load_48 | 48 | 0.026215 | 0.0065702 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_371-145_0_8_load_35 | 49 | 0.003449 | 0.00086441 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_371-145_0_8_load_38 | 51 | 0.014909 | 0.0037366 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_371-145_0_8_load_36 | 53 | 0.0026437 | 0.00066257 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_371-145_0_8_load_40 | 54 | 0.0058733 | 0.001472 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_371-145_0_8_load_44 | 57 | 0.0025488 | 0.0006388 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_371-145_0_8_load_64 | 59 | 0.0027628 | 0.00069243 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_371-145_0_8_load_74 | 60 | 0.0029267 | 0.00073351 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_371-145_0_8_load_58 | 61 | 0.0028492 | 0.00071408 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_371-145_0_8_load_56 | 62 | 0.0030024 | 0.00075247 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_371-145_0_8_load_46 | 63 | 0.083768 | 0.020994 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_371-145_0_8_load_47 | 64 | 0.064502 | 0.016166 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_371-145_0_8_load_49 | 65 | 0.022312 | 0.005592 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_371-145_0_8_load_71 | 66 | 0.019675 | 0.0049311 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_371-145_0_8_load_53 | 67 | 0.0020959 | 0.00052528 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_371-145_0_8_load_54 | 68 | 0.0028391 | 0.00071155 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_371-145_0_8_load_55 | 69 | 0.0039038 | 0.00097839 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_371-145_0_8_load_57 | 70 | 0.0079299 | 0.0019874 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_371-145_0_8_load_61 | 72 | 0.0025903 | 0.00064919 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_371-145_0_8_load_67 | 73 | 0.0050233 | 0.0012589 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 38 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_371-145_0_8_line_0 |  | 0 | 1 | 0.011005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_371-145_0_8_line_1 |  | 0 | 2 | 0.0083516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_371-145_0_8_line_2 |  | 2 | 3 | 0.091822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_371-145_0_8_line_3 |  | 2 | 4 | 0.018229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_371-145_0_8_line_4 |  | 3 | 5 | 0.0081599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_371-145_0_8_line_5 |  | 4 | 6 | 0.051286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_371-145_0_8_line_6 |  | 5 | 7 | 0.018322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_371-145_0_8_line_7 |  | 6 | 8 | 0.046948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_371-145_0_8_line_8 |  | 7 | 52 | 0.19398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_371-145_0_8_line_9 |  | 8 | 57 | 0.024933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_371-145_0_8_line_10 |  | 8 | 54 | 0.033911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_371-145_0_8_line_11 |  | 9 | 10 | 0.028065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_371-145_0_8_line_12 |  | 9 | 11 | 0.00024483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_371-145_0_8_line_13 |  | 10 | 12 | 0.00060675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_371-145_0_8_line_14 |  | 11 | 13 | 0.0014496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_371-145_0_8_line_15 |  | 12 | 14 | 1.7788e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_371-145_0_8_line_16 |  | 13 | 15 | 0.037582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_371-145_0_8_line_17 |  | 14 | 16 | 0.011717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_371-145_0_8_line_18 |  | 15 | 17 | 0.043182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_371-145_0_8_line_19 |  | 15 | 18 | 0.011795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_371-145_0_8_line_20 |  | 15 | 19 | 0.010456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_371-145_0_8_line_21 |  | 16 | 31 | 0.018775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_371-145_0_8_line_22 |  | 17 | 26 | 0.022719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_371-145_0_8_line_23 |  | 18 | 46 | 0.01554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_371-145_0_8_line_24 |  | 19 | 22 | 0.010621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_371-145_0_8_line_25 |  | 20 | 21 | 0.020727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_371-145_0_8_line_26 |  | 20 | 22 | 0.018978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_371-145_0_8_line_27 |  | 21 | 23 | 0.0038304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_371-145_0_8_line_28 |  | 23 | 24 | 0.014976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_371-145_0_8_line_29 |  | 23 | 25 | 0.006509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_371-145_0_8_line_30 |  | 24 | 30 | 0.004832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_371-145_0_8_line_31 |  | 25 | 33 | 0.015677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_371-145_0_8_line_32 |  | 27 | 28 | 0.016699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_371-145_0_8_line_33 |  | 27 | 29 | 0.031961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_371-145_0_8_line_34 |  | 29 | 43 | 0.0067983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_371-145_0_8_line_35 |  | 30 | 41 | 0.016298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_371-145_0_8_line_36 |  | 31 | 32 | 0.053995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_371-145_0_8_line_37 |  | 33 | 44 | 0.019393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_371-145_0_8_line_38 |  | 34 | 35 | 0.014551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_371-145_0_8_line_39 |  | 34 | 36 | 0.008441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_371-145_0_8_line_40 |  | 35 | 41 | 0.015907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_371-145_0_8_line_41 |  | 36 | 45 | 0.028346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_371-145_0_8_line_42 |  | 37 | 38 | 0.027993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_371-145_0_8_line_43 |  | 37 | 39 | 0.06635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_371-145_0_8_line_44 |  | 38 | 40 | 0.090079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_371-145_0_8_line_45 |  | 39 | 47 | 0.010261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_371-145_0_8_line_46 |  | 40 | 48 | 0.015251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_371-145_0_8_line_47 |  | 41 | 42 | 0.0086432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_371-145_0_8_line_48 |  | 42 | 49 | 0.00050438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
49 | LV_371-145_0_8_line_49 |  | 43 | 44 | 0.013628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_371-145_0_8_line_50 |  | 46 | 73 | 0.017736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
51 | LV_371-145_0_8_line_51 |  | 47 | 73 | 0.0048928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
52 | LV_371-145_0_8_line_52 |  | 48 | 63 | 0.0070332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
53 | LV_371-145_0_8_line_53 |  | 49 | 53 | 0.012076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
54 | LV_371-145_0_8_line_54 |  | 50 | 51 | 0.020482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
55 | LV_371-145_0_8_line_55 |  | 50 | 52 | 0.03686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
56 | LV_371-145_0_8_line_56 |  | 51 | 53 | 0.01575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
57 | LV_371-145_0_8_line_57 |  | 54 | 55 | 0.091926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
58 | LV_371-145_0_8_line_58 |  | 55 | 56 | 0.052692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_371-145_0_8_line_59 |  | 56 | 58 | 0.08925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_371-145_0_8_line_60 |  | 56 | 59 | 0.095441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_371-145_0_8_line_61 |  | 57 | 60 | 0.0050995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_371-145_0_8_line_62 |  | 58 | 61 | 0.049004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_371-145_0_8_line_63 |  | 59 | 62 | 0.017714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_371-145_0_8_line_64 |  | 61 | 71 | 0.04703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_371-145_0_8_line_65 |  | 62 | 68 | 0.016116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_371-145_0_8_line_66 |  | 63 | 64 | 0.01959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_371-145_0_8_line_67 |  | 64 | 65 | 0.01422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_371-145_0_8_line_68 |  | 65 | 66 | 0.0090168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_371-145_0_8_line_69 |  | 67 | 68 | 0.014287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_371-145_0_8_line_70 |  | 67 | 69 | 0.017052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_371-145_0_8_line_71 |  | 69 | 70 | 0.01641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_371-145_0_8_line_72 |  | 71 | 72 | 0.0198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_371-145_0_8_trafo_28 | 0.63 MVA 20/0.4 kV | 74 | 38 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2586239.4832 | 1222048.7261 | 2586244.191 | 1222058.6739
1 | 2586235.9107 | 1222041.1772 | 2586239.4832 | 1222048.7261
2 | 2586235.9107 | 1222041.1772 | 2586226.1618 | 1222020.4434 | 2586222.4214 | 1222013.4147 | 2586217.3974 | 1222005.6107 | 2586211.6382 | 1221998.0309 | 2586205.6226 | 1221991.0631 | 2586198.0129 | 1221983.5542 | 2586189.0824 | 1221975.5927 | 2586181.1979 | 1221968.9843
3 | 2586235.9107 | 1222041.1772 | 2586229.8792 | 1222043.6815 | 2586227.0589 | 1222044.1551 | 2586224.373 | 1222043.7611 | 2586222.043 | 1222043.0661 | 2586219.2236 | 1222040.6824
4 | 2586174.9441 | 1221963.7427 | 2586181.1979 | 1221968.9843
5 | 2586186.054 | 1222001.675 | 2586211.4462 | 1222029.5496 | 2586219.2236 | 1222040.6824
6 | 2586174.9441 | 1221963.7427 | 2586160.9022 | 1221951.9733
7 | 2586154.4384 | 1221966.9686 | 2586186.054 | 1222001.675
8 | 2586005.7048 | 1221835.8535 | 2586044.0224 | 1221864.4796 | 2586070.9627 | 1221883.4827 | 2586101.2046 | 1221903.501 | 2586122.2443 | 1221919.5721 | 2586160.9022 | 1221951.9733
9 | 2586154.4384 | 1221966.9686 | 2586136.9499 | 1221984.7401
10 | 2586154.4384 | 1221966.9686 | 2586131.9866 | 1221941.5542
11 | 2586142.1097 | 1221757.0516 | 2586158.241 | 1221734.086
12 | 2586141.9689 | 1221757.252 | 2586142.1097 | 1221757.0516
13 | 2586158.241 | 1221734.086 | 2586158.5897 | 1221733.5895
14 | 2586141.1357 | 1221758.4382 | 2586141.9689 | 1221757.252
15 | 2586158.5897 | 1221733.5895 | 2586158.5999 | 1221733.5749
16 | 2586119.534 | 1221789.1918 | 2586141.1357 | 1221758.4382
17 | 2586158.5999 | 1221733.5749 | 2586165.3345 | 1221723.9871
18 | 2586119.534 | 1221789.1918 | 2586116.11 | 1221794.2472 | 2586139.8259 | 1221809.6227 | 2586135.118 | 1221817.0714
19 | 2586119.534 | 1221789.1918 | 2586129.4954 | 1221795.5087
20 | 2586119.534 | 1221789.1918 | 2586113.6086 | 1221785.2367 | 2586110.9687 | 1221783.2047
21 | 2586176.1259 | 1221708.6238 | 2586165.3345 | 1221723.9871
22 | 2586135.118 | 1221817.0714 | 2586132.2459 | 1221821.3918 | 2586127.6444 | 1221828.9069 | 2586123.1326 | 1221836.3674
23 | 2586142.6189 | 1221803.8309 | 2586129.4954 | 1221795.5087
24 | 2586110.9687 | 1221783.2047 | 2586104.6954 | 1221778.3759 | 2586102.6817 | 1221776.571
25 | 2586088.861 | 1221763.5675 | 2586073.892 | 1221749.2303
26 | 2586088.861 | 1221763.5675 | 2586098.8808 | 1221773.1643 | 2586102.6817 | 1221776.571
27 | 2586071.1258 | 1221746.5808 | 2586073.892 | 1221749.2303
28 | 2586060.8056 | 1221757.4336 | 2586066.6618 | 1221751.2718 | 2586071.1258 | 1221746.5808
29 | 2586069.5273 | 1221740.9369 | 2586069.3006 | 1221741.3265 | 2586069.0076 | 1221742.5057 | 2586069.0637 | 1221743.7952 | 2586069.4914 | 1221745.0171 | 2586071.1258 | 1221746.5808
30 | 2586060.8056 | 1221757.4336 | 2586064.0632 | 1221761.0025
31 | 2586069.5273 | 1221740.9369 | 2586069.9201 | 1221740.2689 | 2586080.0483 | 1221729.3372
32 | 2586129.1849 | 1221677.2043 | 2586130.065 | 1221677.3356 | 2586130.8852 | 1221677.7562 | 2586143.1846 | 1221686.1438
33 | 2586129.1849 | 1221677.2043 | 2586128.3359 | 1221677.4398 | 2586127.5939 | 1221678.0196 | 2586107.1108 | 1221700.1277
34 | 2586102.4904 | 1221705.1146 | 2586107.1108 | 1221700.1277
35 | 2586075.2304 | 1221772.8642 | 2586072.5317 | 1221770.2801 | 2586064.0632 | 1221761.0025
36 | 2586176.1259 | 1221708.6238 | 2586179.4839 | 1221710.9284 | 2586220.6686 | 1221739.1423
37 | 2586093.2282 | 1221715.1117 | 2586080.0483 | 1221729.3372
38 | 2586097.8585 | 1221793.245 | 2586086.9171 | 1221783.6529
39 | 2586097.8585 | 1221793.245 | 2586096.6109 | 1221794.9045 | 2586093.0113 | 1221800.1537
40 | 2586075.2304 | 1221772.8642 | 2586083.4403 | 1221780.6049 | 2586086.9171 | 1221783.6529
41 | 2586093.0113 | 1221800.1537 | 2586076.9801 | 1221823.5314
42 | 2586228.6091 | 1221853.2297 | 2586225.4822 | 1221858.9069 | 2586221.3659 | 1221866.3652 | 2586229.5823 | 1221870.5263 | 2586232.9539 | 1221872.2417
43 | 2586228.6091 | 1221853.2297 | 2586214.6368 | 1221846.2137 | 2586176.2845 | 1221825.1798 | 2586170.3949 | 1221821.4449
44 | 2586232.9539 | 1221872.2417 | 2586225.5579 | 1221884.8773 | 2586214.3667 | 1221902.8027 | 2586210.8256 | 1221909.7371 | 2586208.9668 | 1221915.9895 | 2586208.3273 | 1221921.4942 | 2586208.5887 | 1221926.263 | 2586209.6886 | 1221932.8087 | 2586211.8609 | 1221937.3619 | 2586215.1199 | 1221942.8575 | 2586221.7563 | 1221952.3806
45 | 2586170.3949 | 1221821.4449 | 2586161.729 | 1221815.9495
46 | 2586230.6812 | 1221964.7478 | 2586222.1897 | 1221953.0024 | 2586221.7563 | 1221952.3806
47 | 2586075.2304 | 1221772.8642 | 2586071.2351 | 1221776.887 | 2586069.1344 | 1221778.9914
48 | 2586069.1344 | 1221778.9914 | 2586068.7781 | 1221779.3484
49 | 2586102.4904 | 1221705.1146 | 2586093.2282 | 1221715.1117
50 | 2586157.597 | 1221813.3292 | 2586142.6189 | 1221803.8309
51 | 2586157.597 | 1221813.3292 | 2586161.729 | 1221815.9495
52 | 2586230.6812 | 1221964.7478 | 2586234.8019 | 1221970.4475
53 | 2586060.2462 | 1221787.8952 | 2586068.7781 | 1221779.3484
54 | 2586031.7281 | 1221810.0882 | 2586035.4932 | 1221808.1894 | 2586037.469 | 1221806.5504 | 2586047.4538 | 1221798.2554 | 2586048.0143 | 1221797.8077
55 | 2586005.7048 | 1221835.8535 | 2586019.8721 | 1221819.3327 | 2586025.2749 | 1221813.9501 | 2586031.7281 | 1221810.0882
56 | 2586060.2462 | 1221787.8952 | 2586059.5214 | 1221788.6214 | 2586057.1139 | 1221790.5393 | 2586048.0143 | 1221797.8077
57 | 2586053.6416 | 1221948.8614 | 2586062.7977 | 1221939.779 | 2586075.1431 | 1221929.1105 | 2586080.7939 | 1221925.962 | 2586086.4621 | 1221923.7919 | 2586093.8491 | 1221923.5744 | 2586102.3415 | 1221925.7891 | 2586120.691 | 1221933.1614 | 2586126.4168 | 1221936.1275 | 2586130.5822 | 1221939.9644 | 2586131.9866 | 1221941.5542
58 | 2586033.8802 | 1221969.8758 | 2586029.7508 | 1221965.2606 | 2586021.595 | 1221954.6515 | 2586037.2864 | 1221954.1141 | 2586042.0104 | 1221953.6138 | 2586046.4072 | 1221952.6473 | 2586053.6416 | 1221948.8614
59 | 2586033.8802 | 1221969.8758 | 2586042.8033 | 1221987.476 | 2586044.2918 | 1222004.3934 | 2586052.8922 | 1222026.675 | 2586058.2073 | 1222038.8362 | 2586068.6096 | 1222050.1627
60 | 2586033.8802 | 1221969.8758 | 2586078.3067 | 1222010.0055 | 2586104.8656 | 1222033.6713
61 | 2586133.373 | 1221988.3748 | 2586136.9499 | 1221984.7401
62 | 2586068.6096 | 1222050.1627 | 2586089.8137 | 1222068.5679 | 2586105.4662 | 1222082.4564
63 | 2586104.8656 | 1222033.6713 | 2586118.0907 | 1222045.4557
64 | 2586141.9906 | 1222112.0485 | 2586116.7188 | 1222092.4408 | 2586105.4662 | 1222082.4564
65 | 2586118.0907 | 1222045.4557 | 2586130.1232 | 1222056.1775
66 | 2586246.2796 | 1221986.3235 | 2586234.8019 | 1221970.4475
67 | 2586254.6108 | 1221997.8471 | 2586246.2796 | 1221986.3235
68 | 2586254.6108 | 1221997.8471 | 2586259.8936 | 1222005.1543
69 | 2586141.4401 | 1222064.8367 | 2586135.2872 | 1222060.779 | 2586130.1232 | 1222056.1775
70 | 2586141.4401 | 1222064.8367 | 2586155.675 | 1222074.2245
71 | 2586168.577 | 1222084.3341 | 2586159.2077 | 1222076.5543 | 2586155.675 | 1222074.2245
72 | 2586141.9906 | 1222112.0485 | 2586153.5572 | 1222095.9566

## bus_geodata
| x | y | coords
0 | 2586239.4832 | 1222048.7261
1 | 2586244.191 | 1222058.6739
2 | 2586235.9107 | 1222041.1772
3 | 2586181.1979 | 1221968.9843
4 | 2586219.2236 | 1222040.6824
5 | 2586174.9441 | 1221963.7427
6 | 2586186.0541 | 1222001.675
7 | 2586160.9022 | 1221951.9733
8 | 2586154.4384 | 1221966.9686
9 | 2586142.1097 | 1221757.0516
10 | 2586158.241 | 1221734.086
11 | 2586141.9689 | 1221757.252
12 | 2586158.5897 | 1221733.5895
13 | 2586141.1357 | 1221758.4382
14 | 2586158.5999 | 1221733.5749
15 | 2586119.534 | 1221789.1918
16 | 2586165.3346 | 1221723.9871
17 | 2586135.118 | 1221817.0714
18 | 2586129.4954 | 1221795.5087
19 | 2586110.9687 | 1221783.2047
20 | 2586088.861 | 1221763.5675
21 | 2586073.892 | 1221749.2303
22 | 2586102.6817 | 1221776.571
23 | 2586071.1258 | 1221746.5808
24 | 2586060.8056 | 1221757.4336
25 | 2586069.5273 | 1221740.9369
26 | 2586123.1326 | 1221836.3674
27 | 2586129.1849 | 1221677.2043
28 | 2586143.1846 | 1221686.1438
29 | 2586107.1108 | 1221700.1277
30 | 2586064.0632 | 1221761.0025
31 | 2586176.1259 | 1221708.6238
32 | 2586220.6686 | 1221739.1423
33 | 2586080.0483 | 1221729.3372
34 | 2586097.8585 | 1221793.245
35 | 2586086.9171 | 1221783.6529
36 | 2586093.0113 | 1221800.1537
37 | 2586228.6091 | 1221853.2297
38 | 2586232.9539 | 1221872.2417
39 | 2586170.3949 | 1221821.4449
40 | 2586221.7563 | 1221952.3806
41 | 2586075.2304 | 1221772.8642
42 | 2586069.1344 | 1221778.9914
43 | 2586102.4904 | 1221705.1146
44 | 2586093.2282 | 1221715.1117
45 | 2586076.9801 | 1221823.5314
46 | 2586142.6189 | 1221803.8309
47 | 2586161.729 | 1221815.9495
48 | 2586230.6812 | 1221964.7478
49 | 2586068.7781 | 1221779.3484
50 | 2586031.7281 | 1221810.0882
51 | 2586048.0143 | 1221797.8077
52 | 2586005.7048 | 1221835.8535
53 | 2586060.2462 | 1221787.8952
54 | 2586131.9866 | 1221941.5542
55 | 2586053.6416 | 1221948.8614
56 | 2586033.8802 | 1221969.8758
57 | 2586136.9499 | 1221984.7401
58 | 2586068.6096 | 1222050.1627
59 | 2586104.8656 | 1222033.6713
60 | 2586133.373 | 1221988.3748
61 | 2586105.4662 | 1222082.4564
62 | 2586118.0907 | 1222045.4557
63 | 2586234.8019 | 1221970.4475
64 | 2586246.2796 | 1221986.3235
65 | 2586254.6108 | 1221997.8471
66 | 2586259.8936 | 1222005.1543
67 | 2586141.4401 | 1222064.8367
68 | 2586130.1232 | 1222056.1775
69 | 2586155.675 | 1222074.2245
70 | 2586168.577 | 1222084.3341
71 | 2586141.9906 | 1222112.0485
72 | 2586153.5572 | 1222095.9566
73 | 2586157.5969 | 1221813.3292
74 | 2586238.1496 | 1221865.7925

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1