## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_371-40_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_371-40_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_371-40_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_371-40_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_371-40_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_371-40_0_5_node_84 | 0.4 | n |  | TRUE
6 | bus_LV_371-40_0_5_node_97 | 0.4 | n |  | TRUE
7 | bus_LV_371-40_0_5_node_83 | 0.4 | n |  | TRUE
8 | bus_LV_371-40_0_5_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_371-40_0_5_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_371-40_0_5_node_98 | 0.4 | n |  | TRUE
11 | bus_LV_371-40_0_5_node_101 | 0.4 | n |  | TRUE
12 | bus_LV_371-40_0_5_node_99 | 0.4 | n |  | TRUE
13 | bus_LV_371-40_0_5_node_80 | 0.4 | n |  | TRUE
14 | bus_LV_371-40_0_5_node_78 | 0.4 | n |  | TRUE
15 | bus_LV_371-40_0_5_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_371-40_0_5_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_371-40_0_5_node_95 | 0.4 | n |  | TRUE
18 | bus_LV_371-40_0_5_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_371-40_0_5_node_96 | 0.4 | n |  | TRUE
20 | bus_LV_371-40_0_5_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_371-40_0_5_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_371-40_0_5_node_62 | 0.4 | n |  | TRUE
23 | bus_LV_371-40_0_5_node_25 | 0.4 | n |  | TRUE
24 | bus_LV_371-40_0_5_node_63 | 0.4 | n |  | TRUE
25 | bus_LV_371-40_0_5_node_23 | 0.4 | n |  | TRUE
26 | bus_LV_371-40_0_5_node_13 | 0.4 | n |  | TRUE
27 | bus_LV_371-40_0_5_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_371-40_0_5_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_371-40_0_5_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_371-40_0_5_node_16 | 0.4 | n |  | TRUE
31 | bus_LV_371-40_0_5_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_371-40_0_5_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_371-40_0_5_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_371-40_0_5_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_371-40_0_5_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_371-40_0_5_node_28 | 0.4 | n |  | TRUE
37 | bus_LV_371-40_0_5_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_371-40_0_5_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_371-40_0_5_node_31 | 0.4 | n |  | TRUE
40 | bus_LV_371-40_0_5_node_32 | 0.4 | n |  | TRUE
41 | bus_LV_371-40_0_5_node_33 | 0.4 | n |  | TRUE
42 | bus_LV_371-40_0_5_node_35 | 0.4 | n |  | TRUE
43 | bus_LV_371-40_0_5_node_36 | 0.4 | n |  | TRUE
44 | bus_LV_371-40_0_5_node_38 | 0.4 | n |  | TRUE
45 | bus_LV_371-40_0_5_node_44 | 0.4 | n |  | TRUE
46 | bus_LV_371-40_0_5_node_40 | 0.4 | n |  | TRUE
47 | bus_LV_371-40_0_5_node_41 | 0.4 | n |  | TRUE
48 | bus_LV_371-40_0_5_node_45 | 0.4 | n |  | TRUE
49 | bus_LV_371-40_0_5_node_54 | 0.4 | n |  | TRUE
50 | bus_LV_371-40_0_5_node_92 | 0.4 | n |  | TRUE
51 | bus_LV_371-40_0_5_node_88 | 0.4 | n |  | TRUE
52 | bus_LV_371-40_0_5_node_55 | 0.4 | n |  | TRUE
53 | bus_LV_371-40_0_5_node_93 | 0.4 | n |  | TRUE
54 | bus_LV_371-40_0_5_node_53 | 0.4 | n |  | TRUE
55 | bus_LV_371-40_0_5_node_39 | 0.4 | n |  | TRUE
56 | bus_LV_371-40_0_5_node_42 | 0.4 | n |  | TRUE
57 | bus_LV_371-40_0_5_node_43 | 0.4 | n |  | TRUE
58 | bus_LV_371-40_0_5_node_46 | 0.4 | n |  | TRUE
59 | bus_LV_371-40_0_5_node_72 | 0.4 | n |  | TRUE
60 | bus_LV_371-40_0_5_node_47 | 0.4 | n |  | TRUE
61 | bus_LV_371-40_0_5_node_48 | 0.4 | n |  | TRUE
62 | bus_LV_371-40_0_5_node_49 | 0.4 | n |  | TRUE
63 | bus_LV_371-40_0_5_node_71 | 0.4 | n |  | TRUE
64 | bus_LV_371-40_0_5_node_91 | 0.4 | n |  | TRUE
65 | bus_LV_371-40_0_5_node_50 | 0.4 | n |  | TRUE
66 | bus_LV_371-40_0_5_node_51 | 0.4 | n |  | TRUE
67 | bus_LV_371-40_0_5_node_52 | 0.4 | n |  | TRUE
68 | bus_LV_371-40_0_5_node_87 | 0.4 | n |  | TRUE
69 | bus_LV_371-40_0_5_node_76 | 0.4 | n |  | TRUE
70 | bus_LV_371-40_0_5_node_56 | 0.4 | n |  | TRUE
71 | bus_LV_371-40_0_5_node_57 | 0.4 | n |  | TRUE
72 | bus_LV_371-40_0_5_node_74 | 0.4 | n |  | TRUE
73 | bus_LV_371-40_0_5_node_73 | 0.4 | n |  | TRUE
74 | bus_LV_371-40_0_5_node_58 | 0.4 | n |  | TRUE
75 | bus_LV_371-40_0_5_node_59 | 0.4 | n |  | TRUE
76 | bus_LV_371-40_0_5_node_60 | 0.4 | n |  | TRUE
77 | bus_LV_371-40_0_5_node_61 | 0.4 | n |  | TRUE
78 | bus_LV_371-40_0_5_node_64 | 0.4 | n |  | TRUE
79 | bus_LV_371-40_0_5_node_65 | 0.4 | n |  | TRUE
80 | bus_LV_371-40_0_5_node_66 | 0.4 | n |  | TRUE
81 | bus_LV_371-40_0_5_node_67 | 0.4 | n |  | TRUE
82 | bus_LV_371-40_0_5_node_70 | 0.4 | n |  | TRUE
83 | bus_LV_371-40_0_5_node_85 | 0.4 | n |  | TRUE
84 | bus_LV_371-40_0_5_node_69 | 0.4 | n |  | TRUE
85 | bus_LV_371-40_0_5_node_89 | 0.4 | n |  | TRUE
86 | bus_LV_371-40_0_5_node_82 | 0.4 | n |  | TRUE
87 | bus_LV_371-40_0_5_node_86 | 0.4 | n |  | TRUE
88 | bus_LV_371-40_0_5_node_90 | 0.4 | n |  | TRUE
89 | bus_LV_371-40_0_5_node_77 | 0.4 | n |  | TRUE
90 | bus_LV_371-40_0_5_node_79 | 0.4 | n |  | TRUE
91 | bus_LV_371-40_0_5_node_81 | 0.4 | n |  | TRUE
92 | bus_LV_371-40_0_5_node_100 | 0.4 | n |  | TRUE
93 | bus_MV_609_0_node_28 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_371-40_0_5_load_0 | 0 | 0.0039245 | 0.00098356 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_371-40_0_5_load_1 | 1 | 0.0019431 | 0.00048698 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_371-40_0_5_load_2 | 2 | 0.0043122 | 0.0010807 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_371-40_0_5_load_3 | 3 | 0.0017972 | 0.00045042 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_371-40_0_5_load_4 | 4 | 0.006056 | 0.0015178 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_371-40_0_5_load_84 | 5 | 0.0087335 | 0.0021888 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_371-40_0_5_load_97 | 6 | 0.0047058 | 0.0011794 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_371-40_0_5_load_83 | 7 | 0.022234 | 0.0055723 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_371-40_0_5_load_5 | 8 | 0.0022418 | 0.00056185 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_371-40_0_5_load_6 | 9 | 0.0026791 | 0.00067145 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_371-40_0_5_load_98 | 10 | 0.0036144 | 0.00090585 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_371-40_0_5_load_101 | 11 | 0.001589 | 0.00039823 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_371-40_0_5_load_99 | 12 | 0.0056533 | 0.0014169 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_371-40_0_5_load_80 | 13 | 0.0042725 | 0.0010708 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_371-40_0_5_load_78 | 14 | 0.0077911 | 0.0019526 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_371-40_0_5_load_7 | 15 | 0.0052812 | 0.0013236 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_371-40_0_5_load_96 | 19 | 0.0012113 | 0.00030359 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_371-40_0_5_load_11 | 20 | 0.006614 | 0.0016576 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_371-40_0_5_load_12 | 21 | 0.0066058 | 0.0016556 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_371-40_0_5_load_62 | 22 | 0.013222 | 0.0033138 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_371-40_0_5_load_13 | 26 | 0.0011812 | 0.00029604 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_371-40_0_5_load_18 | 28 | 0.0022904 | 0.00057403 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_371-40_0_5_load_19 | 29 | 0.0053185 | 0.0013329 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_371-40_0_5_load_21 | 32 | 0.013559 | 0.0033981 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_371-40_0_5_load_22 | 33 | 0.0039085 | 0.00097956 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_371-40_0_5_load_27 | 35 | 0.0043884 | 0.0010998 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_371-40_0_5_load_28 | 36 | 0.0005077 | 0.00012724 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_371-40_0_5_load_29 | 37 | 0.0039498 | 0.00098991 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_371-40_0_5_load_31 | 39 | 0.0059265 | 0.0014853 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_371-40_0_5_load_32 | 40 | 0.0063844 | 0.0016001 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_371-40_0_5_load_33 | 41 | 0.0061826 | 0.0015495 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_371-40_0_5_load_35 | 42 | 0.0058346 | 0.0014623 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_371-40_0_5_load_36 | 43 | 0.0051851 | 0.0012995 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_371-40_0_5_load_44 | 45 | 0.0048205 | 0.0012081 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_371-40_0_5_load_40 | 46 | 0.0059385 | 0.0014883 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_371-40_0_5_load_41 | 47 | 0.0047056 | 0.0011793 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_371-40_0_5_load_45 | 48 | 0.0058425 | 0.0014643 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_371-40_0_5_load_92 | 50 | 0.013806 | 0.0034601 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_371-40_0_5_load_88 | 51 | 0.003198 | 0.00080149 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_371-40_0_5_load_93 | 53 | 0.0082208 | 0.0020603 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_371-40_0_5_load_39 | 55 | 0.0028768 | 0.00072099 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_371-40_0_5_load_42 | 56 | 0.0085275 | 0.0021372 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_371-40_0_5_load_43 | 57 | 0.02809 | 0.00704 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_371-40_0_5_load_72 | 59 | 0.0054637 | 0.0013693 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_371-40_0_5_load_48 | 61 | 0.0075298 | 0.0018872 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_371-40_0_5_load_49 | 62 | 0.007498 | 0.0018792 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_371-40_0_5_load_71 | 63 | 0.017247 | 0.0043224 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_371-40_0_5_load_91 | 64 | 0.0034647 | 0.00086834 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_371-40_0_5_load_50 | 65 | 0.0077068 | 0.0019315 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_371-40_0_5_load_87 | 68 | 0.0076305 | 0.0019124 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_371-40_0_5_load_73 | 73 | 0.020012 | 0.0050154 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_371-40_0_5_load_58 | 74 | 0.038904 | 0.0097502 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_371-40_0_5_load_59 | 75 | 0.03087 | 0.0077367 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_371-40_0_5_load_60 | 76 | 0.009986 | 0.0025027 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_371-40_0_5_load_61 | 77 | 0.0067102 | 0.0016817 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_371-40_0_5_load_65 | 79 | 0.026972 | 0.0067598 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_371-40_0_5_load_66 | 80 | 0.013087 | 0.0032799 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_371-40_0_5_load_70 | 82 | 0.0018372 | 0.00046043 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_371-40_0_5_load_85 | 83 | 0.0055775 | 0.0013979 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_371-40_0_5_load_89 | 85 | 0.0065065 | 0.0016307 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_371-40_0_5_load_82 | 86 | 0.0055614 | 0.0013938 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_371-40_0_5_load_86 | 87 | 0.00751 | 0.0018822 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_371-40_0_5_load_90 | 88 | 0.0023129 | 0.00057968 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_371-40_0_5_load_77 | 89 | 0.023759 | 0.0059546 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_371-40_0_5_load_79 | 90 | 0.0045417 | 0.0011383 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_371-40_0_5_load_81 | 91 | 0.0061317 | 0.0015368 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_371-40_0_5_load_100 | 92 | 0.0082748 | 0.0020739 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 64 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_371-40_0_5_line_0 |  | 0 | 1 | 0.019382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_371-40_0_5_line_1 |  | 0 | 2 | 0.0064016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_371-40_0_5_line_2 |  | 1 | 3 | 0.006624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_371-40_0_5_line_3 |  | 2 | 4 | 0.013204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_371-40_0_5_line_4 |  | 3 | 8 | 0.011758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_371-40_0_5_line_5 |  | 4 | 9 | 0.035665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_371-40_0_5_line_6 |  | 5 | 6 | 0.10403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_371-40_0_5_line_7 |  | 5 | 7 | 0.0010607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_371-40_0_5_line_8 |  | 6 | 11 | 0.16851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_371-40_0_5_line_9 |  | 6 | 8 | 0.012998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_371-40_0_5_line_10 |  | 7 | 81 | 0.062981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_371-40_0_5_line_11 |  | 9 | 10 | 0.0023055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_371-40_0_5_line_12 |  | 10 | 12 | 0.062769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_371-40_0_5_line_13 |  | 12 | 92 | 0.0128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_371-40_0_5_line_14 |  | 13 | 14 | 0.005264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_371-40_0_5_line_15 |  | 14 | 89 | 0.0038478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_371-40_0_5_line_16 |  | 15 | 16 | 0.064585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_371-40_0_5_line_17 |  | 15 | 17 | 0.059909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_371-40_0_5_line_18 |  | 16 | 18 | 0.010435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_371-40_0_5_line_19 |  | 17 | 19 | 0.051202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_371-40_0_5_line_20 |  | 18 | 20 | 0.009071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_371-40_0_5_line_21 |  | 18 | 21 | 0.023028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_371-40_0_5_line_22 |  | 19 | 30 | 0.0084977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_371-40_0_5_line_23 |  | 20 | 22 | 0.027175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_371-40_0_5_line_24 |  | 21 | 23 | 0.036482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_371-40_0_5_line_25 |  | 22 | 24 | 0.0076693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_371-40_0_5_line_26 |  | 23 | 25 | 0.008711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_371-40_0_5_line_27 |  | 24 | 78 | 0.027302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_371-40_0_5_line_28 |  | 24 | 79 | 0.050429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_371-40_0_5_line_29 |  | 25 | 32 | 0.010545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_371-40_0_5_line_30 |  | 26 | 27 | 0.0084552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_371-40_0_5_line_31 |  | 27 | 28 | 0.015044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_371-40_0_5_line_32 |  | 27 | 29 | 0.011308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_371-40_0_5_line_33 |  | 29 | 31 | 0.021517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_371-40_0_5_line_34 |  | 30 | 31 | 0.010436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_371-40_0_5_line_35 |  | 32 | 33 | 0.010722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_371-40_0_5_line_36 |  | 33 | 34 | 0.01796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_371-40_0_5_line_37 |  | 34 | 35 | 0.031711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_371-40_0_5_line_38 |  | 34 | 36 | 0.0041869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_371-40_0_5_line_39 |  | 35 | 37 | 0.0064868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_371-40_0_5_line_40 |  | 37 | 38 | 0.014581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_371-40_0_5_line_41 |  | 38 | 39 | 0.019734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_371-40_0_5_line_42 |  | 38 | 40 | 0.044656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_371-40_0_5_line_43 |  | 38 | 41 | 0.022839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_371-40_0_5_line_44 |  | 40 | 42 | 0.00089347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_371-40_0_5_line_45 |  | 41 | 43 | 0.024579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_371-40_0_5_line_46 |  | 42 | 44 | 0.020834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_371-40_0_5_line_47 |  | 43 | 45 | 0.0063839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_371-40_0_5_line_48 |  | 44 | 46 | 0.01618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_371-40_0_5_line_49 |  | 44 | 47 | 0.034039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
50 | LV_371-40_0_5_line_50 |  | 45 | 48 | 0.020547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
51 | LV_371-40_0_5_line_51 |  | 47 | 57 | 0.010098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
52 | LV_371-40_0_5_line_52 |  | 48 | 64 | 0.0084226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
53 | LV_371-40_0_5_line_53 |  | 49 | 50 | 0.021287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_371-40_0_5_line_54 |  | 49 | 51 | 0.0043398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_371-40_0_5_line_55 |  | 51 | 76 | 0.021325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_371-40_0_5_line_56 |  | 52 | 53 | 0.038195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_371-40_0_5_line_57 |  | 52 | 54 | 0.002503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_371-40_0_5_line_58 |  | 54 | 62 | 0.026176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_371-40_0_5_line_59 |  | 55 | 56 | 0.004798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_371-40_0_5_line_60 |  | 56 | 58 | 0.029406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_371-40_0_5_line_61 |  | 57 | 59 | 0.01204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
62 | LV_371-40_0_5_line_62 |  | 58 | 60 | 0.034297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
63 | LV_371-40_0_5_line_63 |  | 58 | 61 | 0.030514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
64 | LV_371-40_0_5_line_64 |  | 58 | 62 | 0.019948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_371-40_0_5_line_65 |  | 59 | 63 | 0.031508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
66 | LV_371-40_0_5_line_66 |  | 60 | 65 | 0.013769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_371-40_0_5_line_67 |  | 60 | 66 | 0.021981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
68 | LV_371-40_0_5_line_68 |  | 61 | 67 | 0.013002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
69 | LV_371-40_0_5_line_69 |  | 63 | 84 | 0.01825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
70 | LV_371-40_0_5_line_70 |  | 66 | 68 | 0.011819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_371-40_0_5_line_71 |  | 66 | 69 | 0.024658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
72 | LV_371-40_0_5_line_72 |  | 67 | 70 | 0.02864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
73 | LV_371-40_0_5_line_73 |  | 67 | 71 | 0.033246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_371-40_0_5_line_74 |  | 69 | 72 | 0.005206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_371-40_0_5_line_75 |  | 69 | 73 | 0.035569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
76 | LV_371-40_0_5_line_76 |  | 70 | 74 | 0.018681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_371-40_0_5_line_77 |  | 70 | 75 | 0.016161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_371-40_0_5_line_78 |  | 71 | 76 | 0.017894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_371-40_0_5_line_79 |  | 71 | 77 | 0.022655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_371-40_0_5_line_80 |  | 72 | 87 | 0.041756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_371-40_0_5_line_81 |  | 73 | 84 | 0.028349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
82 | LV_371-40_0_5_line_82 |  | 78 | 80 | 0.02214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_371-40_0_5_line_83 |  | 78 | 81 | 0.095354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
84 | LV_371-40_0_5_line_84 |  | 79 | 82 | 0.0059492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_371-40_0_5_line_85 |  | 80 | 83 | 0.003463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_371-40_0_5_line_86 |  | 82 | 85 | 0.021755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_371-40_0_5_line_87 |  | 83 | 86 | 0.027367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_371-40_0_5_line_88 |  | 85 | 88 | 0.0063513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_371-40_0_5_line_89 |  | 86 | 91 | 0.0013605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_371-40_0_5_line_90 |  | 89 | 90 | 0.0085537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_371-40_0_5_line_91 |  | 90 | 91 | 0.01971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_371-40_0_5_trafo_91 | 0.63 MVA 20/0.4 kV | 93 | 64 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2586246.8648 | 1219955.8149 | 2586244.828 | 1219955.396 | 2586227.8806 | 1219951.9068
1 | 2586246.8648 | 1219955.8149 | 2586253.1352 | 1219957.1043
2 | 2586221.3927 | 1219950.5711 | 2586227.8806 | 1219951.9068
3 | 2586266.0686 | 1219959.764 | 2586253.1352 | 1219957.1043
4 | 2586209.8759 | 1219948.2 | 2586221.3927 | 1219950.5711
5 | 2586301.0022 | 1219966.9521 | 2586266.2113 | 1219959.7934 | 2586266.0686 | 1219959.764
6 | 2586166.3798 | 1219846.4606 | 2586197.1051 | 1219945.8541
7 | 2586166.3798 | 1219846.4606 | 2586165.6845 | 1219845.6595
8 | 2586197.1051 | 1219945.8541 | 2586120.9788 | 1220096.1883
9 | 2586197.1051 | 1219945.8541 | 2586199.4956 | 1219946.0628 | 2586209.8759 | 1219948.2
10 | 2586124.3995 | 1219798.0976 | 2586165.6845 | 1219845.6595
11 | 2586301.0022 | 1219966.9521 | 2586303.2604 | 1219967.4168
12 | 2586303.2604 | 1219967.4168 | 2586313.2818 | 1219969.4788 | 2586316.7974 | 1219970.6603 | 2586320.3301 | 1219972.6533 | 2586322.8183 | 1219975.7715 | 2586324.7384 | 1219979.3136 | 2586325.7015 | 1219982.3909 | 2586325.8703 | 1219986.4929 | 2586320.4232 | 1220015.4087
13 | 2586318.0536 | 1220027.9872 | 2586320.4232 | 1220015.4087
14 | 2586268.3846 | 1219791.2247 | 2586264.2248 | 1219787.9989
15 | 2586261.1842 | 1219785.641 | 2586264.2248 | 1219787.9989
16 | 2586258.6336 | 1219692.6795 | 2586313.3205 | 1219727.0393
17 | 2586313.3205 | 1219727.0393 | 2586359.9942 | 1219764.5976
18 | 2586249.3429 | 1219687.8761 | 2586258.6336 | 1219692.6795
19 | 2586359.9942 | 1219764.5976 | 2586350.8569 | 1219796.626 | 2586348.6343 | 1219814.3833
20 | 2586249.3429 | 1219687.8761 | 2586242.5796 | 1219693.9211
21 | 2586249.3429 | 1219687.8761 | 2586253.3182 | 1219684.3537 | 2586266.5802 | 1219672.6065
22 | 2586347.5789 | 1219822.8153 | 2586348.6343 | 1219814.3833
23 | 2586222.3156 | 1219712.0276 | 2586228.8158 | 1219706.2233 | 2586242.5796 | 1219693.9211
24 | 2586293.8889 | 1219648.4168 | 2586266.5802 | 1219672.6065
25 | 2586216.595 | 1219717.1357 | 2586222.3156 | 1219712.0276
26 | 2586298.3255 | 1219640.9133 | 2586293.8889 | 1219648.4168
27 | 2586195.9153 | 1219735.0275 | 2586202.5788 | 1219729.2643 | 2586216.595 | 1219717.1357
28 | 2586216.595 | 1219717.1357 | 2586262.6525 | 1219737.6735
29 | 2586298.3255 | 1219640.9133 | 2586289.7676 | 1219634.7518
30 | 2586344.7573 | 1219865.9577 | 2586352.2307 | 1219869.9122
31 | 2586344.7573 | 1219865.9577 | 2586345.6612 | 1219879.5301 | 2586345.7573 | 1219880.9683
32 | 2586344.7573 | 1219865.9577 | 2586345.2827 | 1219854.6621
33 | 2586346.2826 | 1219833.1687 | 2586345.2827 | 1219854.6621
34 | 2586347.5789 | 1219822.8153 | 2586346.2826 | 1219833.1687
35 | 2586289.7676 | 1219634.7518 | 2586295.6208 | 1219625.7689
36 | 2586298.6402 | 1219609.6947 | 2586295.5809 | 1219615.6051 | 2586297.0814 | 1219618.1253 | 2586297.8424 | 1219622.3593 | 2586295.6208 | 1219625.7689
37 | 2586298.6402 | 1219609.6947 | 2586274.795 | 1219597.8097 | 2586270.2592 | 1219595.5489
38 | 2586298.6402 | 1219609.6947 | 2586300.3322 | 1219606.4222 | 2586300.8311 | 1219606.4856
39 | 2586270.2592 | 1219595.5489 | 2586264.4535 | 1219592.6553
40 | 2586251.4056 | 1219586.1462 | 2586257.2776 | 1219589.0787 | 2586264.4535 | 1219592.6553
41 | 2586251.4056 | 1219586.1462 | 2586260.1452 | 1219568.4527
42 | 2586251.4056 | 1219586.1462 | 2586211.0783 | 1219566.9669
43 | 2586251.4056 | 1219586.1462 | 2586237.5573 | 1219604.3078
44 | 2586210.2715 | 1219566.5832 | 2586211.0783 | 1219566.9669
45 | 2586237.5573 | 1219604.3078 | 2586222.6541 | 1219623.8529
46 | 2586191.7443 | 1219557.0794 | 2586199.9725 | 1219561.6851 | 2586210.2715 | 1219566.5832
47 | 2586222.6541 | 1219623.8529 | 2586218.7833 | 1219628.9294
48 | 2586191.7443 | 1219557.0794 | 2586193.6463 | 1219552.7392 | 2586198.2458 | 1219542.263
49 | 2586191.7443 | 1219557.0794 | 2586189.3251 | 1219560.865 | 2586174.3258 | 1219584.2801 | 2586173.2942 | 1219585.6803
50 | 2586206.0376 | 1219645.0364 | 2586210.2015 | 1219640.1842 | 2586218.7833 | 1219628.9294
51 | 2586167.3047 | 1219593.8101 | 2586173.2942 | 1219585.6803
52 | 2586206.0376 | 1219645.0364 | 2586200.5526 | 1219651.4282
53 | 2586079.9304 | 1219453.1482 | 2586099.2895 | 1219461.9999
54 | 2586079.9304 | 1219453.1482 | 2586077.8502 | 1219456.957
55 | 2586077.8502 | 1219456.957 | 2586067.6285 | 1219475.6726
56 | 2586148.0672 | 1219481.5491 | 2586171.2492 | 1219491.812 | 2586165.8133 | 1219503.5203
57 | 2586148.0672 | 1219481.5491 | 2586147.0103 | 1219483.8196
58 | 2586147.0103 | 1219483.8196 | 2586135.9728 | 1219507.5544
59 | 2586154.1463 | 1219538.7254 | 2586158.458 | 1219540.8302
60 | 2586127.7672 | 1219525.7332 | 2586131.862 | 1219527.847 | 2586154.1463 | 1219538.7254
61 | 2586167.3047 | 1219593.8101 | 2586160.1632 | 1219603.5035
62 | 2586127.7672 | 1219525.7332 | 2586125.5505 | 1219531.7307 | 2586112.7095 | 1219556.5195
63 | 2586127.7672 | 1219525.7332 | 2586100.3983 | 1219512.2407
64 | 2586127.7672 | 1219525.7332 | 2586130.1894 | 1219519.9909 | 2586135.9728 | 1219507.5544
65 | 2586139.4718 | 1219627.1399 | 2586151.5819 | 1219615.151 | 2586160.1632 | 1219603.5035
66 | 2586112.7095 | 1219556.5195 | 2586122.6566 | 1219566.0683
67 | 2586100.1184 | 1219574.5594 | 2586112.7095 | 1219556.5195
68 | 2586088.7362 | 1219506.4914 | 2586100.3983 | 1219512.2407
69 | 2586126.5024 | 1219639.9796 | 2586139.4718 | 1219627.1399
70 | 2586100.1184 | 1219574.5594 | 2586108.6359 | 1219582.7775
71 | 2586100.1184 | 1219574.5594 | 2586083.4304 | 1219592.7535
72 | 2586074.5374 | 1219531.3836 | 2586088.7362 | 1219506.4914
73 | 2586059.0477 | 1219491.3748 | 2586065.217 | 1219494.8178 | 2586088.7362 | 1219506.4914
74 | 2586083.4304 | 1219592.7535 | 2586079.3483 | 1219595.9983
75 | 2586083.4304 | 1219592.7535 | 2586107.4001 | 1219619.0325
76 | 2586074.5374 | 1219531.3836 | 2586090.5692 | 1219540.629 | 2586090.4612 | 1219540.7658
77 | 2586074.5374 | 1219531.3836 | 2586064.3359 | 1219543.9172
78 | 2586059.0477 | 1219491.3748 | 2586061.5636 | 1219486.7774 | 2586067.6285 | 1219475.6726
79 | 2586059.0477 | 1219491.3748 | 2586056.0768 | 1219496.0845 | 2586047.4115 | 1219510.8103
80 | 2586079.3483 | 1219595.9983 | 2586070.5351 | 1219584.6792 | 2586064.5115 | 1219575.4214 | 2586069.2658 | 1219564.4261 | 2586072.1945 | 1219561.1173
81 | 2586126.5024 | 1219639.9796 | 2586121.8011 | 1219634.821 | 2586107.4001 | 1219619.0325
82 | 2586195.9153 | 1219735.0275 | 2586213.4109 | 1219748.5947
83 | 2586124.3995 | 1219798.0976 | 2586158.6084 | 1219767.7446 | 2586195.9153 | 1219735.0275
84 | 2586262.6525 | 1219737.6735 | 2586268.086 | 1219740.0964
85 | 2586213.4109 | 1219748.5947 | 2586216.1474 | 1219750.7168
86 | 2586287.9553 | 1219748.9564 | 2586268.086 | 1219740.0964
87 | 2586237.7742 | 1219767.4875 | 2586216.1474 | 1219750.7168
88 | 2586293.756 | 1219751.5431 | 2586287.9553 | 1219748.9564
89 | 2586238.8493 | 1219768.3212 | 2586237.7742 | 1219767.4875
90 | 2586261.1842 | 1219785.641 | 2586254.4247 | 1219780.3993
91 | 2586254.4247 | 1219780.3993 | 2586238.8493 | 1219768.3212

## bus_geodata
| x | y | coords
0 | 2586246.8648 | 1219955.8149
1 | 2586227.8806 | 1219951.9068
2 | 2586253.1352 | 1219957.1043
3 | 2586221.3927 | 1219950.5711
4 | 2586266.0686 | 1219959.764
5 | 2586166.3798 | 1219846.4606
6 | 2586197.1051 | 1219945.8541
7 | 2586165.6845 | 1219845.6595
8 | 2586209.8759 | 1219948.2
9 | 2586301.0022 | 1219966.9521
10 | 2586303.2604 | 1219967.4168
11 | 2586120.9788 | 1220096.1883
12 | 2586320.4232 | 1220015.4087
13 | 2586268.3846 | 1219791.2247
14 | 2586264.2248 | 1219787.9989
15 | 2586313.3205 | 1219727.0393
16 | 2586258.6336 | 1219692.6795
17 | 2586359.9942 | 1219764.5976
18 | 2586249.3429 | 1219687.8761
19 | 2586348.6343 | 1219814.3833
20 | 2586242.5796 | 1219693.9211
21 | 2586266.5802 | 1219672.6065
22 | 2586222.3156 | 1219712.0276
23 | 2586293.8889 | 1219648.4168
24 | 2586216.595 | 1219717.1357
25 | 2586298.3255 | 1219640.9133
26 | 2586352.2307 | 1219869.9122
27 | 2586344.7573 | 1219865.9577
28 | 2586345.7573 | 1219880.9683
29 | 2586345.2827 | 1219854.6621
30 | 2586347.5789 | 1219822.8153
31 | 2586346.2826 | 1219833.1687
32 | 2586289.7676 | 1219634.7518
33 | 2586295.6208 | 1219625.7689
34 | 2586298.6402 | 1219609.6947
35 | 2586270.2592 | 1219595.5489
36 | 2586300.8311 | 1219606.4856
37 | 2586264.4535 | 1219592.6553
38 | 2586251.4056 | 1219586.1462
39 | 2586260.1452 | 1219568.4527
40 | 2586211.0783 | 1219566.9669
41 | 2586237.5573 | 1219604.3078
42 | 2586210.2715 | 1219566.5832
43 | 2586222.6541 | 1219623.8529
44 | 2586191.7443 | 1219557.0794
45 | 2586218.7833 | 1219628.9294
46 | 2586198.2458 | 1219542.263
47 | 2586173.2942 | 1219585.6803
48 | 2586206.0376 | 1219645.0364
49 | 2586079.9304 | 1219453.1482
50 | 2586099.2895 | 1219461.9999
51 | 2586077.8502 | 1219456.957
52 | 2586148.0672 | 1219481.5491
53 | 2586165.8133 | 1219503.5203
54 | 2586147.0103 | 1219483.8196
55 | 2586158.458 | 1219540.8302
56 | 2586154.1463 | 1219538.7254
57 | 2586167.3047 | 1219593.8101
58 | 2586127.7672 | 1219525.7332
59 | 2586160.1632 | 1219603.5035
60 | 2586112.7095 | 1219556.5195
61 | 2586100.3983 | 1219512.2407
62 | 2586135.9728 | 1219507.5544
63 | 2586139.4718 | 1219627.1399
64 | 2586200.5526 | 1219651.4282
65 | 2586122.6566 | 1219566.0683
66 | 2586100.1184 | 1219574.5594
67 | 2586088.7362 | 1219506.4914
68 | 2586108.6359 | 1219582.7775
69 | 2586083.4304 | 1219592.7535
70 | 2586074.5374 | 1219531.3836
71 | 2586059.0477 | 1219491.3748
72 | 2586079.3483 | 1219595.9983
73 | 2586107.4001 | 1219619.0325
74 | 2586090.4612 | 1219540.7658
75 | 2586064.3359 | 1219543.9172
76 | 2586067.6285 | 1219475.6726
77 | 2586047.4115 | 1219510.8103
78 | 2586195.9153 | 1219735.0275
79 | 2586262.6525 | 1219737.6735
80 | 2586213.4109 | 1219748.5947
81 | 2586124.3995 | 1219798.0976
82 | 2586268.086 | 1219740.0964
83 | 2586216.1474 | 1219750.7168
84 | 2586126.5024 | 1219639.9796
85 | 2586287.9553 | 1219748.9564
86 | 2586237.7742 | 1219767.4875
87 | 2586072.1945 | 1219561.1173
88 | 2586293.756 | 1219751.5431
89 | 2586261.1842 | 1219785.641
90 | 2586254.4247 | 1219780.3993
91 | 2586238.8493 | 1219768.3212
92 | 2586318.0536 | 1220027.9872
93 | 2586251.4056 | 1219586.1462

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1