## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_371-50_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_371-50_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_371-50_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_371-50_0_5_node_6 | 0.4 | n |  | TRUE
4 | bus_LV_371-50_0_5_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_371-50_0_5_node_10 | 0.4 | n |  | TRUE
6 | bus_LV_371-50_0_5_node_25 | 0.4 | n |  | TRUE
7 | bus_LV_371-50_0_5_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_371-50_0_5_node_57 | 0.4 | n |  | TRUE
9 | bus_LV_371-50_0_5_node_15 | 0.4 | n |  | TRUE
10 | bus_LV_371-50_0_5_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_371-50_0_5_node_24 | 0.4 | n |  | TRUE
12 | bus_LV_371-50_0_5_node_14 | 0.4 | n |  | TRUE
13 | bus_LV_371-50_0_5_node_13 | 0.4 | n |  | TRUE
14 | bus_LV_371-50_0_5_node_16 | 0.4 | n |  | TRUE
15 | bus_LV_371-50_0_5_node_64 | 0.4 | n |  | TRUE
16 | bus_LV_371-50_0_5_node_18 | 0.4 | n |  | TRUE
17 | bus_LV_371-50_0_5_node_54 | 0.4 | n |  | TRUE
18 | bus_LV_371-50_0_5_node_100 | 0.4 | n |  | TRUE
19 | bus_LV_371-50_0_5_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_371-50_0_5_node_90 | 0.4 | n |  | TRUE
21 | bus_LV_371-50_0_5_node_9 | 0.4 | n |  | TRUE
22 | bus_LV_371-50_0_5_node_21 | 0.4 | n |  | TRUE
23 | bus_LV_371-50_0_5_node_22 | 0.4 | n |  | TRUE
24 | bus_LV_371-50_0_5_node_49 | 0.4 | n |  | TRUE
25 | bus_LV_371-50_0_5_node_83 | 0.4 | n |  | TRUE
26 | bus_LV_371-50_0_5_node_58 | 0.4 | n |  | TRUE
27 | bus_LV_371-50_0_5_node_7 | 0.4 | n |  | TRUE
28 | bus_LV_371-50_0_5_node_12 | 0.4 | n |  | TRUE
29 | bus_LV_371-50_0_5_node_26 | 0.4 | n |  | TRUE
30 | bus_LV_371-50_0_5_node_33 | 0.4 | n |  | TRUE
31 | bus_LV_371-50_0_5_node_27 | 0.4 | n |  | TRUE
32 | bus_LV_371-50_0_5_node_91 | 0.4 | n |  | TRUE
33 | bus_LV_371-50_0_5_node_52 | 0.4 | n |  | TRUE
34 | bus_LV_371-50_0_5_node_99 | 0.4 | n |  | TRUE
35 | bus_LV_371-50_0_5_node_103 | 0.4 | n |  | TRUE
36 | bus_LV_371-50_0_5_node_104 | 0.4 | n |  | TRUE
37 | bus_LV_371-50_0_5_node_34 | 0.4 | n |  | TRUE
38 | bus_LV_371-50_0_5_node_35 | 0.4 | n |  | TRUE
39 | bus_LV_371-50_0_5_node_47 | 0.4 | n |  | TRUE
40 | bus_LV_371-50_0_5_node_84 | 0.4 | n |  | TRUE
41 | bus_LV_371-50_0_5_node_106 | 0.4 | n |  | TRUE
42 | bus_LV_371-50_0_5_node_107 | 0.4 | n |  | TRUE
43 | bus_LV_371-50_0_5_node_28 | 0.4 | n |  | TRUE
44 | bus_LV_371-50_0_5_node_59 | 0.4 | n |  | TRUE
45 | bus_LV_371-50_0_5_node_60 | 0.4 | n |  | TRUE
46 | bus_LV_371-50_0_5_node_29 | 0.4 | n |  | TRUE
47 | bus_LV_371-50_0_5_node_30 | 0.4 | n |  | TRUE
48 | bus_LV_371-50_0_5_node_32 | 0.4 | n |  | TRUE
49 | bus_LV_371-50_0_5_node_98 | 0.4 | n |  | TRUE
50 | bus_LV_371-50_0_5_node_112 | 0.4 | n |  | TRUE
51 | bus_LV_371-50_0_5_node_36 | 0.4 | n |  | TRUE
52 | bus_LV_371-50_0_5_node_102 | 0.4 | n |  | TRUE
53 | bus_LV_371-50_0_5_node_101 | 0.4 | n |  | TRUE
54 | bus_LV_371-50_0_5_node_37 | 0.4 | n |  | TRUE
55 | bus_LV_371-50_0_5_node_38 | 0.4 | n |  | TRUE
56 | bus_LV_371-50_0_5_node_39 | 0.4 | n |  | TRUE
57 | bus_LV_371-50_0_5_node_40 | 0.4 | n |  | TRUE
58 | bus_LV_371-50_0_5_node_41 | 0.4 | n |  | TRUE
59 | bus_LV_371-50_0_5_node_62 | 0.4 | n |  | TRUE
60 | bus_LV_371-50_0_5_node_68 | 0.4 | n |  | TRUE
61 | bus_LV_371-50_0_5_node_45 | 0.4 | n |  | TRUE
62 | bus_LV_371-50_0_5_node_105 | 0.4 | n |  | TRUE
63 | bus_LV_371-50_0_5_node_66 | 0.4 | n |  | TRUE
64 | bus_LV_371-50_0_5_node_42 | 0.4 | n |  | TRUE
65 | bus_LV_371-50_0_5_node_43 | 0.4 | n |  | TRUE
66 | bus_LV_371-50_0_5_node_44 | 0.4 | n |  | TRUE
67 | bus_LV_371-50_0_5_node_46 | 0.4 | n |  | TRUE
68 | bus_LV_371-50_0_5_node_97 | 0.4 | n |  | TRUE
69 | bus_LV_371-50_0_5_node_56 | 0.4 | n |  | TRUE
70 | bus_LV_371-50_0_5_node_48 | 0.4 | n |  | TRUE
71 | bus_LV_371-50_0_5_node_50 | 0.4 | n |  | TRUE
72 | bus_LV_371-50_0_5_node_63 | 0.4 | n |  | TRUE
73 | bus_LV_371-50_0_5_node_109 | 0.4 | n |  | TRUE
74 | bus_LV_371-50_0_5_node_51 | 0.4 | n |  | TRUE
75 | bus_LV_371-50_0_5_node_53 | 0.4 | n |  | TRUE
76 | bus_LV_371-50_0_5_node_55 | 0.4 | n |  | TRUE
77 | bus_LV_371-50_0_5_node_85 | 0.4 | n |  | TRUE
78 | bus_LV_371-50_0_5_node_61 | 0.4 | n |  | TRUE
79 | bus_LV_371-50_0_5_node_80 | 0.4 | n |  | TRUE
80 | bus_LV_371-50_0_5_node_81 | 0.4 | n |  | TRUE
81 | bus_LV_371-50_0_5_node_110 | 0.4 | n |  | TRUE
82 | bus_LV_371-50_0_5_node_79 | 0.4 | n |  | TRUE
83 | bus_LV_371-50_0_5_node_92 | 0.4 | n |  | TRUE
84 | bus_LV_371-50_0_5_node_65 | 0.4 | n |  | TRUE
85 | bus_LV_371-50_0_5_node_67 | 0.4 | n |  | TRUE
86 | bus_LV_371-50_0_5_node_69 | 0.4 | n |  | TRUE
87 | bus_LV_371-50_0_5_node_70 | 0.4 | n |  | TRUE
88 | bus_LV_371-50_0_5_node_95 | 0.4 | n |  | TRUE
89 | bus_LV_371-50_0_5_node_78 | 0.4 | n |  | TRUE
90 | bus_LV_371-50_0_5_node_94 | 0.4 | n |  | TRUE
91 | bus_LV_371-50_0_5_node_71 | 0.4 | n |  | TRUE
92 | bus_LV_371-50_0_5_node_72 | 0.4 | n |  | TRUE
93 | bus_LV_371-50_0_5_node_73 | 0.4 | n |  | TRUE
94 | bus_LV_371-50_0_5_node_74 | 0.4 | n |  | TRUE
95 | bus_LV_371-50_0_5_node_111 | 0.4 | n |  | TRUE
96 | bus_LV_371-50_0_5_node_93 | 0.4 | n |  | TRUE
97 | bus_LV_371-50_0_5_node_75 | 0.4 | n |  | TRUE
98 | bus_LV_371-50_0_5_node_76 | 0.4 | n |  | TRUE
99 | bus_LV_371-50_0_5_node_77 | 0.4 | n |  | TRUE
100 | bus_LV_371-50_0_5_node_82 | 0.4 | n |  | TRUE
101 | bus_LV_371-50_0_5_node_96 | 0.4 | n |  | TRUE
102 | bus_LV_371-50_0_5_node_87 | 0.4 | n |  | TRUE
103 | bus_LV_371-50_0_5_node_86 | 0.4 | n |  | TRUE
104 | bus_LV_371-50_0_5_node_88 | 0.4 | n |  | TRUE
105 | bus_LV_371-50_0_5_node_89 | 0.4 | n |  | TRUE
106 | bus_LV_371-50_0_5_node_108 | 0.4 | n |  | TRUE
107 | bus_MV_348_0_node_50 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_371-50_0_5_load_0 | 0 | 0.0049844 | 0.0012492 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_371-50_0_5_load_1 | 1 | 0.0066224 | 0.0016597 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_371-50_0_5_load_6 | 3 | 0.0097015 | 0.0024314 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_371-50_0_5_load_10 | 5 | 0.0046322 | 0.0011609 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_371-50_0_5_load_25 | 6 | 0.0050298 | 0.0012606 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_371-50_0_5_load_5 | 7 | 0.0046032 | 0.0011537 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_371-50_0_5_load_57 | 8 | 0.014652 | 0.0036721 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_371-50_0_5_load_8 | 10 | 0.00456 | 0.0011429 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_371-50_0_5_load_24 | 11 | 0.0049913 | 0.0012509 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_371-50_0_5_load_13 | 13 | 0.0049716 | 0.001246 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_371-50_0_5_load_64 | 15 | 0.006156 | 0.0015428 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_371-50_0_5_load_54 | 17 | 0.0058499 | 0.0014661 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_371-50_0_5_load_100 | 18 | 0.0056008 | 0.0014037 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_371-50_0_5_load_90 | 20 | 0.013133 | 0.0032915 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_371-50_0_5_load_49 | 24 | 0.0033397 | 0.00083702 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_371-50_0_5_load_83 | 25 | 0.0061665 | 0.0015455 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_371-50_0_5_load_58 | 26 | 0.014592 | 0.0036571 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_371-50_0_5_load_7 | 27 | 0.010654 | 0.0026702 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_371-50_0_5_load_12 | 28 | 0.013585 | 0.0034046 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_371-50_0_5_load_26 | 29 | 0.012205 | 0.0030588 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_371-50_0_5_load_33 | 30 | 0.0032672 | 0.00081883 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_371-50_0_5_load_27 | 31 | 0.0094393 | 0.0023657 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_371-50_0_5_load_91 | 32 | 0.0054199 | 0.0013584 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_371-50_0_5_load_52 | 33 | 0.0057038 | 0.0014295 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_371-50_0_5_load_99 | 34 | 0.0058112 | 0.0014564 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_371-50_0_5_load_103 | 35 | 0.0049559 | 0.0012421 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_371-50_0_5_load_34 | 37 | 0.0070157 | 0.0017583 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_371-50_0_5_load_35 | 38 | 0.012204 | 0.0030585 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_371-50_0_5_load_47 | 39 | 0.010636 | 0.0026657 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_371-50_0_5_load_84 | 40 | 0.0061913 | 0.0015517 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_371-50_0_5_load_106 | 41 | 0.005868 | 0.0014707 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_371-50_0_5_load_107 | 42 | 0.0028021 | 0.00070228 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_371-50_0_5_load_59 | 44 | 0.0088837 | 0.0022265 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_371-50_0_5_load_60 | 45 | 0.0088222 | 0.002211 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_371-50_0_5_load_29 | 46 | 0.013349 | 0.0033457 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_371-50_0_5_load_30 | 47 | 0.015083 | 0.0037801 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_371-50_0_5_load_32 | 48 | 0.012568 | 0.0031499 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_371-50_0_5_load_98 | 49 | 0.01336 | 0.0033482 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_371-50_0_5_load_112 | 50 | 0.015025 | 0.0037655 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_371-50_0_5_load_36 | 51 | 0.0043416 | 0.0010881 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_371-50_0_5_load_102 | 52 | 0.014441 | 0.0036192 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_371-50_0_5_load_101 | 53 | 0.0050101 | 0.0012556 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_371-50_0_5_load_37 | 54 | 0.0036349 | 0.000911 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_371-50_0_5_load_38 | 55 | 0.0037138 | 0.00093076 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_371-50_0_5_load_39 | 56 | 0.0048634 | 0.0012189 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_371-50_0_5_load_40 | 57 | 0.0052146 | 0.0013069 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_371-50_0_5_load_41 | 58 | 0.0046951 | 0.0011767 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_371-50_0_5_load_62 | 59 | 0.0036516 | 0.00091518 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_371-50_0_5_load_45 | 61 | 0.0047217 | 0.0011834 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_371-50_0_5_load_105 | 62 | 0.0064131 | 0.0016073 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_371-50_0_5_load_66 | 63 | 0.0071464 | 0.0017911 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_371-50_0_5_load_42 | 64 | 0.006197 | 0.0015531 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_371-50_0_5_load_43 | 65 | 0.0036838 | 0.00092324 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_371-50_0_5_load_44 | 66 | 0.0023748 | 0.00059518 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_371-50_0_5_load_46 | 67 | 0.0077369 | 0.0019391 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_371-50_0_5_load_97 | 68 | 0.0037176 | 0.00093172 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_371-50_0_5_load_56 | 69 | 0.0053433 | 0.0013392 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_371-50_0_5_load_48 | 70 | 0.0037343 | 0.0009359 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_371-50_0_5_load_50 | 71 | 0.0036659 | 0.00091876 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_371-50_0_5_load_63 | 72 | 0.0039197 | 0.00098238 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_371-50_0_5_load_51 | 74 | 0.013203 | 0.003309 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_371-50_0_5_load_55 | 76 | 0.003791 | 0.00095013 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_371-50_0_5_load_85 | 77 | 0.0037526 | 0.00094048 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_371-50_0_5_load_61 | 78 | 0.0086873 | 0.0021772 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_371-50_0_5_load_80 | 79 | 0.0051638 | 0.0012942 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_371-50_0_5_load_81 | 80 | 0.0048374 | 0.0012124 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_371-50_0_5_load_79 | 82 | 0.0049396 | 0.001238 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_371-50_0_5_load_92 | 83 | 0.0053597 | 0.0013433 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_371-50_0_5_load_65 | 84 | 0.0048271 | 0.0012098 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_371-50_0_5_load_69 | 86 | 0.0049492 | 0.0012404 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_371-50_0_5_load_70 | 87 | 0.0049189 | 0.0012328 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_371-50_0_5_load_78 | 89 | 0.0047159 | 0.0011819 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_371-50_0_5_load_94 | 90 | 0.0046597 | 0.0011678 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_371-50_0_5_load_71 | 91 | 0.0053646 | 0.0013445 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_371-50_0_5_load_72 | 92 | 0.005325 | 0.0013346 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_371-50_0_5_load_73 | 93 | 0.0051493 | 0.0012905 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_371-50_0_5_load_74 | 94 | 0.0053278 | 0.0013353 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_371-50_0_5_load_111 | 95 | 0.005346 | 0.0013398 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_371-50_0_5_load_93 | 96 | 0.0053275 | 0.0013352 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_371-50_0_5_load_75 | 97 | 0.0044457 | 0.0011142 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_371-50_0_5_load_76 | 98 | 0.0030606 | 0.00076707 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_371-50_0_5_load_77 | 99 | 0.013012 | 0.003261 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_371-50_0_5_load_96 | 101 | 0.0088475 | 0.0022174 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_371-50_0_5_load_87 | 102 | 0.0020734 | 0.00051964 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_371-50_0_5_load_86 | 103 | 0.0046954 | 0.0011768 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_371-50_0_5_load_88 | 104 | 0.0047135 | 0.0011813 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_371-50_0_5_load_89 | 105 | 0.0046496 | 0.0011653 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_371-50_0_5_load_108 | 106 | 0.0040365 | 0.0010117 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 78 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_371-50_0_5_line_0 |  | 0 | 1 | 0.00048928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_371-50_0_5_line_1 |  | 0 | 2 | 0.024728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_371-50_0_5_line_2 |  | 2 | 3 | 0.013671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_371-50_0_5_line_3 |  | 3 | 9 | 0.020181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_371-50_0_5_line_4 |  | 4 | 5 | 0.020848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_371-50_0_5_line_5 |  | 4 | 6 | 0.019126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_371-50_0_5_line_6 |  | 5 | 10 | 0.015599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_371-50_0_5_line_7 |  | 6 | 11 | 0.036163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_371-50_0_5_line_8 |  | 7 | 8 | 0.0054871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_371-50_0_5_line_9 |  | 8 | 26 | 0.018277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_371-50_0_5_line_10 |  | 9 | 14 | 0.034151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_371-50_0_5_line_11 |  | 9 | 15 | 0.011013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_371-50_0_5_line_12 |  | 10 | 27 | 0.02103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_371-50_0_5_line_13 |  | 11 | 12 | 0.016059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_371-50_0_5_line_14 |  | 12 | 13 | 0.043744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_371-50_0_5_line_15 |  | 14 | 16 | 0.034834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_371-50_0_5_line_16 |  | 14 | 17 | 0.011517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_371-50_0_5_line_17 |  | 15 | 32 | 0.010042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_371-50_0_5_line_18 |  | 16 | 18 | 0.0087207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_371-50_0_5_line_19 |  | 17 | 33 | 0.0090396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_371-50_0_5_line_20 |  | 18 | 34 | 4.5303e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_371-50_0_5_line_21 |  | 19 | 20 | 0.016945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_371-50_0_5_line_22 |  | 19 | 21 | 0.02566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_371-50_0_5_line_23 |  | 20 | 30 | 0.019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_371-50_0_5_line_24 |  | 21 | 28 | 0.016156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_371-50_0_5_line_25 |  | 21 | 27 | 0.017341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_371-50_0_5_line_26 |  | 22 | 23 | 0.018617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_371-50_0_5_line_27 |  | 22 | 24 | 0.026194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_371-50_0_5_line_28 |  | 23 | 25 | 0.024576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_371-50_0_5_line_29 |  | 24 | 39 | 0.025897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_371-50_0_5_line_30 |  | 25 | 40 | 3.7164e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_371-50_0_5_line_31 |  | 26 | 43 | 0.015244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_371-50_0_5_line_32 |  | 28 | 29 | 0.024313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_371-50_0_5_line_33 |  | 29 | 31 | 0.0066577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_371-50_0_5_line_34 |  | 31 | 43 | 0.018321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_371-50_0_5_line_35 |  | 32 | 83 | 0.016918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_371-50_0_5_line_36 |  | 33 | 74 | 0.024052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_371-50_0_5_line_37 |  | 35 | 36 | 0.022843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_371-50_0_5_line_38 |  | 36 | 87 | 0.016129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_371-50_0_5_line_39 |  | 37 | 38 | 0.022205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_371-50_0_5_line_40 |  | 38 | 51 | 0.0099231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_371-50_0_5_line_41 |  | 39 | 70 | 0.027592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_371-50_0_5_line_42 |  | 40 | 77 | 0.00018913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_371-50_0_5_line_43 |  | 41 | 42 | 0.010354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_371-50_0_5_line_44 |  | 42 | 106 | 0.01038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_371-50_0_5_line_45 |  | 43 | 44 | 0.012183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_371-50_0_5_line_46 |  | 44 | 45 | 0.014997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_371-50_0_5_line_47 |  | 45 | 78 | 0.0055859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_371-50_0_5_line_48 |  | 46 | 47 | 0.00021029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_371-50_0_5_line_49 |  | 47 | 48 | 0.02211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_371-50_0_5_line_50 |  | 48 | 49 | 0.0015633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_371-50_0_5_line_51 |  | 49 | 50 | 0.02069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_371-50_0_5_line_52 |  | 50 | 101 | 0.010008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_371-50_0_5_line_53 |  | 51 | 52 | 0.012236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_371-50_0_5_line_54 |  | 52 | 53 | 0.008165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_371-50_0_5_line_55 |  | 53 | 88 | 0.016149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_371-50_0_5_line_56 |  | 54 | 55 | 0.001946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
57 | LV_371-50_0_5_line_57 |  | 54 | 56 | 0.0090867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
58 | LV_371-50_0_5_line_58 |  | 55 | 57 | 0.012131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
59 | LV_371-50_0_5_line_59 |  | 56 | 58 | 0.00053706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
60 | LV_371-50_0_5_line_60 |  | 57 | 59 | 0.0020217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
61 | LV_371-50_0_5_line_61 |  | 58 | 60 | 0.01528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
62 | LV_371-50_0_5_line_62 |  | 59 | 61 | 0.014058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
63 | LV_371-50_0_5_line_63 |  | 60 | 62 | 0.0021612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_371-50_0_5_line_64 |  | 60 | 63 | 0.030649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
65 | LV_371-50_0_5_line_65 |  | 61 | 65 | 0.0026518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
66 | LV_371-50_0_5_line_66 |  | 62 | 89 | 0.0022516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_371-50_0_5_line_67 |  | 63 | 84 | 0.0027502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
68 | LV_371-50_0_5_line_68 |  | 64 | 65 | 0.011785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
69 | LV_371-50_0_5_line_69 |  | 64 | 66 | 0.0046992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
70 | LV_371-50_0_5_line_70 |  | 66 | 67 | 0.017123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
71 | LV_371-50_0_5_line_71 |  | 67 | 68 | 0.020158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
72 | LV_371-50_0_5_line_72 |  | 68 | 69 | 0.010037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_371-50_0_5_line_73 |  | 69 | 75 | 0.013255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_371-50_0_5_line_74 |  | 70 | 71 | 0.0098874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_371-50_0_5_line_75 |  | 71 | 72 | 0.010797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_371-50_0_5_line_76 |  | 72 | 73 | 0.014862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_371-50_0_5_line_77 |  | 73 | 81 | 0.013162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_371-50_0_5_line_78 |  | 73 | 82 | 0.015873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_371-50_0_5_line_79 |  | 74 | 75 | 0.019756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_371-50_0_5_line_80 |  | 76 | 77 | 7.8751e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_371-50_0_5_line_81 |  | 78 | 79 | 0.015336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
82 | LV_371-50_0_5_line_82 |  | 79 | 80 | 0.0095308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
83 | LV_371-50_0_5_line_83 |  | 80 | 100 | 0.0061421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
84 | LV_371-50_0_5_line_84 |  | 81 | 106 | 0.020425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_371-50_0_5_line_85 |  | 82 | 99 | 0.015132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_371-50_0_5_line_86 |  | 83 | 96 | 0.0099802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_371-50_0_5_line_87 |  | 84 | 85 | 0.013169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
88 | LV_371-50_0_5_line_88 |  | 85 | 86 | 0.018109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
89 | LV_371-50_0_5_line_89 |  | 85 | 87 | 0.032436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_371-50_0_5_line_90 |  | 86 | 88 | 0.003537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
91 | LV_371-50_0_5_line_91 |  | 88 | 90 | 0.01598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
92 | LV_371-50_0_5_line_92 |  | 89 | 98 | 0.026239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_371-50_0_5_line_93 |  | 90 | 105 | 0.0095319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
94 | LV_371-50_0_5_line_94 |  | 91 | 92 | 0.010053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_371-50_0_5_line_95 |  | 91 | 93 | 0.0081591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_371-50_0_5_line_96 |  | 92 | 94 | 0.010479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_371-50_0_5_line_97 |  | 94 | 95 | 0.01005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_371-50_0_5_line_98 |  | 95 | 96 | 0.010051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_371-50_0_5_line_99 |  | 97 | 98 | 0.0035142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_371-50_0_5_line_100 |  | 97 | 99 | 0.0018639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_371-50_0_5_line_101 |  | 100 | 101 | 0.017345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_371-50_0_5_line_102 |  | 100 | 102 | 0.0032408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
103 | LV_371-50_0_5_line_103 |  | 102 | 103 | 0.0092073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
104 | LV_371-50_0_5_line_104 |  | 103 | 104 | 0.0095592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
105 | LV_371-50_0_5_line_105 |  | 104 | 105 | 0.018501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_371-50_0_5_trafo_61 | 0.63 MVA 20/0.4 kV | 107 | 78 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2586569.8888 | 1221945.1484 | 2586570.197 | 1221944.7684
1 | 2586585.7729 | 1221925.5624 | 2586570.197 | 1221944.7684
2 | 2586585.7729 | 1221925.5624 | 2586594.5555 | 1221915.0856
3 | 2586607.5201 | 1221899.6203 | 2586594.5555 | 1221915.0856
4 | 2586543.4629 | 1221977.7331 | 2586559.8797 | 1221990.5831
5 | 2586543.4629 | 1221977.7331 | 2586528.4069 | 1221965.939
6 | 2586559.8797 | 1221990.5831 | 2586572.1632 | 1222000.1979
7 | 2586528.4069 | 1221965.939 | 2586499.9386 | 1221943.6384
8 | 2586617.633 | 1221951.7063 | 2586613.3912 | 1221948.2256
9 | 2586617.633 | 1221951.7063 | 2586631.7617 | 1221963.3001
10 | 2586607.5201 | 1221899.6203 | 2586629.4336 | 1221873.3778
11 | 2586607.5201 | 1221899.6203 | 2586615.952 | 1221906.7054
12 | 2586588.723 | 1222013.1598 | 2586572.1632 | 1222000.1979
13 | 2586487.297 | 1221933.7356 | 2586499.9386 | 1221943.6384
14 | 2586487.297 | 1221933.7356 | 2586491.3086 | 1221926.8002 | 2586513.6014 | 1221898.8758
15 | 2586651.7329 | 1221846.5675 | 2586629.4336 | 1221873.3778
16 | 2586629.4336 | 1221873.3778 | 2586638.3248 | 1221880.6984
17 | 2586623.6398 | 1221913.1652 | 2586615.952 | 1221906.7054
18 | 2586651.7329 | 1221846.5675 | 2586657.3119 | 1221839.8647
19 | 2586638.3248 | 1221880.6984 | 2586645.3034 | 1221886.4442
20 | 2586657.3119 | 1221839.8647 | 2586657.3408 | 1221839.8299
21 | 2586587.6286 | 1222044.8718 | 2586600.9571 | 1222055.3361
22 | 2586602.3784 | 1222023.8484 | 2586587.6286 | 1222044.8718
23 | 2586600.9571 | 1222055.3361 | 2586615.9016 | 1222067.0692
24 | 2586602.3784 | 1222023.8484 | 2586612.5407 | 1222011.2891
25 | 2586602.3784 | 1222023.8484 | 2586588.723 | 1222013.1598
26 | 2586722.1903 | 1221861.1508 | 2586736.5219 | 1221873.0811
27 | 2586736.5219 | 1221873.0811 | 2586756.6045 | 1221889.898
28 | 2586722.1903 | 1221861.1508 | 2586706.7162 | 1221880.2433
29 | 2586776.4596 | 1221906.5243 | 2586756.6045 | 1221889.898
30 | 2586706.6928 | 1221880.2721 | 2586706.7162 | 1221880.2433
31 | 2586643.5462 | 1221972.9703 | 2586631.7617 | 1221963.3001
32 | 2586627.8343 | 1221992.3882 | 2586612.5407 | 1222011.2891
33 | 2586632.0221 | 1221987.2126 | 2586627.8343 | 1221992.3882
34 | 2586643.5462 | 1221972.9703 | 2586632.0221 | 1221987.2126
35 | 2586623.6398 | 1221913.1652 | 2586636.592 | 1221924.0485
36 | 2586663.8712 | 1221901.7322 | 2586645.3034 | 1221886.4442
37 | 2586794.8528 | 1222068.6306 | 2586781.8302 | 1222087.3975
38 | 2586794.8528 | 1222068.6306 | 2586782.3012 | 1222058.5013
39 | 2586704.9921 | 1222111.9075 | 2586717.5671 | 1222093.6063
40 | 2586723.1867 | 1222085.4278 | 2586717.5671 | 1222093.6063
41 | 2586776.4596 | 1221906.5243 | 2586797.6138 | 1221924.2386
42 | 2586706.5737 | 1221880.4191 | 2586706.6928 | 1221880.2721
43 | 2586801.8807 | 1221910.3207 | 2586809.7812 | 1221917.0133
44 | 2586817.7013 | 1221923.7224 | 2586809.7812 | 1221917.0133
45 | 2586643.5462 | 1221972.9703 | 2586652.9639 | 1221980.6987
46 | 2586652.9639 | 1221980.6987 | 2586664.557 | 1221990.2123
47 | 2586664.557 | 1221990.2123 | 2586668.8751 | 1221993.7558
48 | 2586649.899 | 1222071.125 | 2586650.0246 | 1222070.9563
49 | 2586650.0246 | 1222070.9563 | 2586663.2264 | 1222053.2201
50 | 2586663.2264 | 1222053.2201 | 2586664.1598 | 1222051.9661
51 | 2586676.5137 | 1222035.3692 | 2586664.1598 | 1222051.9661
52 | 2586676.5137 | 1222035.3692 | 2586682.4894 | 1222027.3411
53 | 2586723.1867 | 1222085.4278 | 2586730.1162 | 1222075.3428
54 | 2586734.7402 | 1222068.6133 | 2586730.1162 | 1222075.3428
55 | 2586743.8855 | 1222055.3035 | 2586734.7402 | 1222068.6133
56 | 2586762.5987 | 1221982.6878 | 2586764.104 | 1221983.9211
57 | 2586771.1326 | 1221989.6802 | 2586764.104 | 1221983.9211
58 | 2586762.5987 | 1221982.6878 | 2586753.2157 | 1221974.9996
59 | 2586771.548 | 1221990.0206 | 2586771.1326 | 1221989.6802
60 | 2586751.6519 | 1221973.7182 | 2586753.2157 | 1221974.9996
61 | 2586783.3676 | 1221999.7052 | 2586771.548 | 1221990.0206
62 | 2586751.6519 | 1221973.7182 | 2586740.7781 | 1221964.8085
63 | 2586783.3676 | 1221999.7052 | 2586784.7055 | 1221998.008
64 | 2586783.3676 | 1221999.7052 | 2586766.0527 | 1222024.9951
65 | 2586738.7269 | 1221963.1278 | 2586740.7781 | 1221964.8085
66 | 2586786.0994 | 1221996.2397 | 2586784.7055 | 1221998.008
67 | 2586764.499 | 1222027.2644 | 2586766.0527 | 1222024.9951
68 | 2586738.7269 | 1221963.1278 | 2586729.6111 | 1221955.6585
69 | 2586725.9763 | 1221952.6803 | 2586729.6111 | 1221955.6585
70 | 2586725.9763 | 1221952.6803 | 2586712.7312 | 1221941.8276
71 | 2586712.7312 | 1221941.8276 | 2586697.1391 | 1221929.0518
72 | 2586689.3751 | 1221922.6903 | 2586697.1391 | 1221929.0518
73 | 2586679.1224 | 1221914.2894 | 2586689.3751 | 1221922.6903
74 | 2586797.6138 | 1221924.2386 | 2586805.1944 | 1221930.5865
75 | 2586813.4723 | 1221937.5182 | 2586805.1944 | 1221930.5865
76 | 2586824.8669 | 1221947.0599 | 2586813.4723 | 1221937.5182
77 | 2586824.8669 | 1221947.0599 | 2586833.286 | 1221936.9242
78 | 2586824.8669 | 1221947.0599 | 2586815.0403 | 1221959.5257
79 | 2586679.1224 | 1221914.2894 | 2586663.8712 | 1221901.7322
80 | 2586706.5241 | 1221880.4802 | 2586706.5737 | 1221880.4191
81 | 2586680.7305 | 1222003.4847 | 2586668.8751 | 1221993.7558
82 | 2586680.7305 | 1222003.4847 | 2586688.0981 | 1222009.5307
83 | 2586692.8462 | 1222013.4271 | 2586688.0981 | 1222009.5307
84 | 2586833.286 | 1221936.9242 | 2586817.7013 | 1221923.7224
85 | 2586815.0403 | 1221959.5257 | 2586805.6725 | 1221971.4095
86 | 2586636.592 | 1221924.0485 | 2586644.2329 | 1221930.4689
87 | 2586757.0593 | 1222038.1307 | 2586764.499 | 1222027.2644
88 | 2586757.0593 | 1222038.1307 | 2586753.0128 | 1222043.1538 | 2586746.01 | 1222052.4755
89 | 2586757.0593 | 1222038.1307 | 2586782.3012 | 1222058.5013
90 | 2586743.8855 | 1222055.3035 | 2586746.01 | 1222052.4755
91 | 2586743.8855 | 1222055.3035 | 2586731.5317 | 1222045.1675
92 | 2586802.3431 | 1221975.6332 | 2586786.0994 | 1221996.2397
93 | 2586724.1628 | 1222039.1215 | 2586731.5317 | 1222045.1675
94 | 2586676.1935 | 1221955.4478 | 2586668.2327 | 1221949.3086
95 | 2586682.6546 | 1221960.4304 | 2586676.1935 | 1221955.4478
96 | 2586659.6227 | 1221943.4005 | 2586660.5922 | 1221944.2152 | 2586664.0399 | 1221946.0752 | 2586668.2327 | 1221949.3086
97 | 2586651.9282 | 1221936.935 | 2586659.6227 | 1221943.4005
98 | 2586644.2329 | 1221930.4689 | 2586651.9282 | 1221936.935
99 | 2586804.5186 | 1221972.8733 | 2586802.3431 | 1221975.6332
100 | 2586804.5186 | 1221972.8733 | 2586805.6725 | 1221971.4095
101 | 2586692.8462 | 1222013.4271 | 2586682.4894 | 1222027.3411
102 | 2586692.8462 | 1222013.4271 | 2586695.3516 | 1222015.4828
103 | 2586702.4697 | 1222021.3229 | 2586695.3516 | 1222015.4828
104 | 2586702.4697 | 1222021.3229 | 2586709.8598 | 1222027.3863
105 | 2586724.1628 | 1222039.1215 | 2586709.8598 | 1222027.3863

## bus_geodata
| x | y | coords
0 | 2586570.197 | 1221944.7684
1 | 2586569.8888 | 1221945.1484
2 | 2586585.7729 | 1221925.5624
3 | 2586594.5555 | 1221915.0856
4 | 2586543.4629 | 1221977.7331
5 | 2586559.8797 | 1221990.5831
6 | 2586528.4069 | 1221965.939
7 | 2586613.3912 | 1221948.2256
8 | 2586617.633 | 1221951.7063
9 | 2586607.5201 | 1221899.6203
10 | 2586572.1632 | 1222000.1979
11 | 2586499.9386 | 1221943.6384
12 | 2586487.297 | 1221933.7356
13 | 2586513.6014 | 1221898.8758
14 | 2586629.4336 | 1221873.3778
15 | 2586615.952 | 1221906.7054
16 | 2586651.7329 | 1221846.5675
17 | 2586638.3248 | 1221880.6984
18 | 2586657.3119 | 1221839.8647
19 | 2586587.6286 | 1222044.8718
20 | 2586600.9571 | 1222055.3361
21 | 2586602.3784 | 1222023.8484
22 | 2586736.5219 | 1221873.0811
23 | 2586722.1903 | 1221861.1508
24 | 2586756.6045 | 1221889.898
25 | 2586706.7162 | 1221880.2433
26 | 2586631.7617 | 1221963.3001
27 | 2586588.723 | 1222013.1598
28 | 2586612.5407 | 1222011.2891
29 | 2586627.8343 | 1221992.3882
30 | 2586615.9016 | 1222067.0692
31 | 2586632.0221 | 1221987.2126
32 | 2586623.6398 | 1221913.1652
33 | 2586645.3033 | 1221886.4443
34 | 2586657.3408 | 1221839.8299
35 | 2586781.8302 | 1222087.3975
36 | 2586794.8528 | 1222068.6306
37 | 2586704.9921 | 1222111.9075
38 | 2586717.5671 | 1222093.6063
39 | 2586776.4596 | 1221906.5243
40 | 2586706.6928 | 1221880.2721
41 | 2586801.8807 | 1221910.3207
42 | 2586809.7812 | 1221917.0133
43 | 2586643.5462 | 1221972.9703
44 | 2586652.9639 | 1221980.6987
45 | 2586664.557 | 1221990.2123
46 | 2586649.899 | 1222071.125
47 | 2586650.0246 | 1222070.9563
48 | 2586663.2264 | 1222053.2201
49 | 2586664.1598 | 1222051.9661
50 | 2586676.5137 | 1222035.3692
51 | 2586723.1867 | 1222085.4278
52 | 2586730.1162 | 1222075.3428
53 | 2586734.7402 | 1222068.6133
54 | 2586764.104 | 1221983.9211
55 | 2586762.5987 | 1221982.6878
56 | 2586771.1326 | 1221989.6802
57 | 2586753.2157 | 1221974.9996
58 | 2586771.548 | 1221990.0206
59 | 2586751.6519 | 1221973.7182
60 | 2586783.3676 | 1221999.7052
61 | 2586740.7781 | 1221964.8085
62 | 2586784.7055 | 1221998.008
63 | 2586766.0527 | 1222024.9951
64 | 2586729.6111 | 1221955.6585
65 | 2586738.7269 | 1221963.1278
66 | 2586725.9763 | 1221952.6803
67 | 2586712.7312 | 1221941.8276
68 | 2586697.1391 | 1221929.0518
69 | 2586689.3751 | 1221922.6903
70 | 2586797.6138 | 1221924.2386
71 | 2586805.1944 | 1221930.5865
72 | 2586813.4723 | 1221937.5182
73 | 2586824.8669 | 1221947.0599
74 | 2586663.8712 | 1221901.7322
75 | 2586679.1224 | 1221914.2894
76 | 2586706.5241 | 1221880.4802
77 | 2586706.5737 | 1221880.4191
78 | 2586668.8751 | 1221993.7558
79 | 2586680.7305 | 1222003.4847
80 | 2586688.0981 | 1222009.5307
81 | 2586833.286 | 1221936.9242
82 | 2586815.0403 | 1221959.5257
83 | 2586636.592 | 1221924.0485
84 | 2586764.499 | 1222027.2644
85 | 2586757.0593 | 1222038.1307
86 | 2586746.01 | 1222052.4755
87 | 2586782.3012 | 1222058.5013
88 | 2586743.8855 | 1222055.3035
89 | 2586786.0994 | 1221996.2397
90 | 2586731.5317 | 1222045.1675
91 | 2586676.1935 | 1221955.4478
92 | 2586668.2327 | 1221949.3086
93 | 2586682.6546 | 1221960.4304
94 | 2586659.6227 | 1221943.4005
95 | 2586651.9281 | 1221936.935
96 | 2586644.2329 | 1221930.4689
97 | 2586804.5186 | 1221972.8733
98 | 2586802.3431 | 1221975.6332
99 | 2586805.6725 | 1221971.4095
100 | 2586692.8462 | 1222013.4271
101 | 2586682.4894 | 1222027.3411
102 | 2586695.3516 | 1222015.4828
103 | 2586702.4697 | 1222021.3229
104 | 2586709.8598 | 1222027.3863
105 | 2586724.1628 | 1222039.1215
106 | 2586817.7013 | 1221923.7224
107 | 2586692.8462 | 1222013.4271

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1