## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_371-53_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_371-53_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_371-53_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_371-53_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_371-53_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_371-53_0_6_node_9 | 0.4 | n |  | TRUE
6 | bus_LV_371-53_0_6_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_371-53_0_6_node_14 | 0.4 | n |  | TRUE
8 | bus_LV_371-53_0_6_node_31 | 0.4 | n |  | TRUE
9 | bus_LV_371-53_0_6_node_33 | 0.4 | n |  | TRUE
10 | bus_LV_371-53_0_6_node_12 | 0.4 | n |  | TRUE
11 | bus_LV_371-53_0_6_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_371-53_0_6_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_371-53_0_6_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_371-53_0_6_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_371-53_0_6_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_371-53_0_6_node_18 | 0.4 | n |  | TRUE
17 | bus_LV_371-53_0_6_node_27 | 0.4 | n |  | TRUE
18 | bus_LV_371-53_0_6_node_20 | 0.4 | n |  | TRUE
19 | bus_LV_371-53_0_6_node_30 | 0.4 | n |  | TRUE
20 | bus_LV_371-53_0_6_node_32 | 0.4 | n |  | TRUE
21 | bus_LV_371-53_0_6_node_29 | 0.4 | n |  | TRUE
22 | bus_LV_371-53_0_6_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_371-53_0_6_node_25 | 0.4 | n |  | TRUE
24 | bus_LV_371-53_0_6_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_371-53_0_6_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_371-53_0_6_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_371-53_0_6_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_371-53_0_6_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_371-53_0_6_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_371-53_0_6_node_39 | 0.4 | n |  | TRUE
31 | bus_LV_371-53_0_6_node_112 | 0.4 | n |  | TRUE
32 | bus_LV_371-53_0_6_node_40 | 0.4 | n |  | TRUE
33 | bus_LV_371-53_0_6_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_371-53_0_6_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_371-53_0_6_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_371-53_0_6_node_42 | 0.4 | n |  | TRUE
37 | bus_LV_371-53_0_6_node_38 | 0.4 | n |  | TRUE
38 | bus_LV_371-53_0_6_node_43 | 0.4 | n |  | TRUE
39 | bus_LV_371-53_0_6_node_44 | 0.4 | n |  | TRUE
40 | bus_LV_371-53_0_6_node_34 | 0.4 | n |  | TRUE
41 | bus_LV_371-53_0_6_node_47 | 0.4 | n |  | TRUE
42 | bus_LV_371-53_0_6_node_45 | 0.4 | n |  | TRUE
43 | bus_LV_371-53_0_6_node_35 | 0.4 | n |  | TRUE
44 | bus_LV_371-53_0_6_node_36 | 0.4 | n |  | TRUE
45 | bus_LV_371-53_0_6_node_37 | 0.4 | n |  | TRUE
46 | bus_LV_371-53_0_6_node_41 | 0.4 | n |  | TRUE
47 | bus_LV_371-53_0_6_node_110 | 0.4 | n |  | TRUE
48 | bus_LV_371-53_0_6_node_49 | 0.4 | n |  | TRUE
49 | bus_LV_371-53_0_6_node_53 | 0.4 | n |  | TRUE
50 | bus_LV_371-53_0_6_node_46 | 0.4 | n |  | TRUE
51 | bus_LV_371-53_0_6_node_48 | 0.4 | n |  | TRUE
52 | bus_LV_371-53_0_6_node_50 | 0.4 | n |  | TRUE
53 | bus_LV_371-53_0_6_node_51 | 0.4 | n |  | TRUE
54 | bus_LV_371-53_0_6_node_52 | 0.4 | n |  | TRUE
55 | bus_LV_371-53_0_6_node_55 | 0.4 | n |  | TRUE
56 | bus_LV_371-53_0_6_node_57 | 0.4 | n |  | TRUE
57 | bus_LV_371-53_0_6_node_74 | 0.4 | n |  | TRUE
58 | bus_LV_371-53_0_6_node_54 | 0.4 | n |  | TRUE
59 | bus_LV_371-53_0_6_node_58 | 0.4 | n |  | TRUE
60 | bus_LV_371-53_0_6_node_73 | 0.4 | n |  | TRUE
61 | bus_LV_371-53_0_6_node_56 | 0.4 | n |  | TRUE
62 | bus_LV_371-53_0_6_node_101 | 0.4 | n |  | TRUE
63 | bus_LV_371-53_0_6_node_99 | 0.4 | n |  | TRUE
64 | bus_LV_371-53_0_6_node_59 | 0.4 | n |  | TRUE
65 | bus_LV_371-53_0_6_node_68 | 0.4 | n |  | TRUE
66 | bus_LV_371-53_0_6_node_71 | 0.4 | n |  | TRUE
67 | bus_LV_371-53_0_6_node_66 | 0.4 | n |  | TRUE
68 | bus_LV_371-53_0_6_node_60 | 0.4 | n |  | TRUE
69 | bus_LV_371-53_0_6_node_61 | 0.4 | n |  | TRUE
70 | bus_LV_371-53_0_6_node_62 | 0.4 | n |  | TRUE
71 | bus_LV_371-53_0_6_node_63 | 0.4 | n |  | TRUE
72 | bus_LV_371-53_0_6_node_64 | 0.4 | n |  | TRUE
73 | bus_LV_371-53_0_6_node_80 | 0.4 | n |  | TRUE
74 | bus_LV_371-53_0_6_node_65 | 0.4 | n |  | TRUE
75 | bus_LV_371-53_0_6_node_82 | 0.4 | n |  | TRUE
76 | bus_LV_371-53_0_6_node_78 | 0.4 | n |  | TRUE
77 | bus_LV_371-53_0_6_node_88 | 0.4 | n |  | TRUE
78 | bus_LV_371-53_0_6_node_83 | 0.4 | n |  | TRUE
79 | bus_LV_371-53_0_6_node_84 | 0.4 | n |  | TRUE
80 | bus_LV_371-53_0_6_node_89 | 0.4 | n |  | TRUE
81 | bus_LV_371-53_0_6_node_67 | 0.4 | n |  | TRUE
82 | bus_LV_371-53_0_6_node_69 | 0.4 | n |  | TRUE
83 | bus_LV_371-53_0_6_node_72 | 0.4 | n |  | TRUE
84 | bus_LV_371-53_0_6_node_98 | 0.4 | n |  | TRUE
85 | bus_LV_371-53_0_6_node_97 | 0.4 | n |  | TRUE
86 | bus_LV_371-53_0_6_node_75 | 0.4 | n |  | TRUE
87 | bus_LV_371-53_0_6_node_76 | 0.4 | n |  | TRUE
88 | bus_LV_371-53_0_6_node_77 | 0.4 | n |  | TRUE
89 | bus_LV_371-53_0_6_node_79 | 0.4 | n |  | TRUE
90 | bus_LV_371-53_0_6_node_87 | 0.4 | n |  | TRUE
91 | bus_LV_371-53_0_6_node_86 | 0.4 | n |  | TRUE
92 | bus_LV_371-53_0_6_node_85 | 0.4 | n |  | TRUE
93 | bus_LV_371-53_0_6_node_90 | 0.4 | n |  | TRUE
94 | bus_LV_371-53_0_6_node_91 | 0.4 | n |  | TRUE
95 | bus_LV_371-53_0_6_node_92 | 0.4 | n |  | TRUE
96 | bus_LV_371-53_0_6_node_93 | 0.4 | n |  | TRUE
97 | bus_LV_371-53_0_6_node_94 | 0.4 | n |  | TRUE
98 | bus_LV_371-53_0_6_node_95 | 0.4 | n |  | TRUE
99 | bus_LV_371-53_0_6_node_96 | 0.4 | n |  | TRUE
100 | bus_LV_371-53_0_6_node_100 | 0.4 | n |  | TRUE
101 | bus_LV_371-53_0_6_node_102 | 0.4 | n |  | TRUE
102 | bus_LV_371-53_0_6_node_103 | 0.4 | n |  | TRUE
103 | bus_LV_371-53_0_6_node_109 | 0.4 | n |  | TRUE
104 | bus_LV_371-53_0_6_node_108 | 0.4 | n |  | TRUE
105 | bus_LV_371-53_0_6_node_104 | 0.4 | n |  | TRUE
106 | bus_LV_371-53_0_6_node_105 | 0.4 | n |  | TRUE
107 | bus_LV_371-53_0_6_node_106 | 0.4 | n |  | TRUE
108 | bus_LV_371-53_0_6_node_107 | 0.4 | n |  | TRUE
109 | bus_MV_466_0_node_32 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_371-53_0_6_load_0 | 0 | 0.012519 | 0.0031376 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_371-53_0_6_load_1 | 1 | 0.018074 | 0.0045298 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_371-53_0_6_load_6 | 6 | 0.0097576 | 0.0024455 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_371-53_0_6_load_14 | 7 | 0.013369 | 0.0033506 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_371-53_0_6_load_33 | 9 | 0.0091593 | 0.0022955 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_371-53_0_6_load_12 | 10 | 0.006217 | 0.0015581 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_371-53_0_6_load_5 | 11 | 0.010092 | 0.0025294 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_371-53_0_6_load_7 | 12 | 0.018314 | 0.0045898 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_371-53_0_6_load_18 | 16 | 0.0083521 | 0.0020932 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_371-53_0_6_load_27 | 17 | 0.0099184 | 0.0024858 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_371-53_0_6_load_20 | 18 | 0.006505 | 0.0016303 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_371-53_0_6_load_30 | 19 | 0.017213 | 0.0043139 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_371-53_0_6_load_32 | 20 | 0.019013 | 0.0047652 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_371-53_0_6_load_29 | 21 | 0.0081864 | 0.0020517 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_371-53_0_6_load_25 | 23 | 0.013597 | 0.0034077 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_371-53_0_6_load_19 | 24 | 0.016344 | 0.0040961 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_371-53_0_6_load_13 | 25 | 0.0065252 | 0.0016354 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_371-53_0_6_load_16 | 26 | 0.0066178 | 0.0016586 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_371-53_0_6_load_22 | 28 | 0.002671 | 0.00066941 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_371-53_0_6_load_23 | 29 | 0.0033623 | 0.00084266 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_371-53_0_6_load_39 | 30 | 0.00993 | 0.0024887 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_371-53_0_6_load_112 | 31 | 0.0038907 | 0.00097509 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_371-53_0_6_load_40 | 32 | 0.0038171 | 0.00095666 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_371-53_0_6_load_24 | 33 | 0.0099255 | 0.0024876 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_371-53_0_6_load_26 | 34 | 0.013327 | 0.00334 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_371-53_0_6_load_28 | 35 | 0.0083339 | 0.0020887 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_371-53_0_6_load_42 | 36 | 0.0099644 | 0.0024973 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_371-53_0_6_load_43 | 38 | 0.0019038 | 0.00047714 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_371-53_0_6_load_34 | 40 | 0.0032997 | 0.00082699 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_371-53_0_6_load_47 | 41 | 0.0059162 | 0.0014827 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_371-53_0_6_load_45 | 42 | 0.0024712 | 0.00061935 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_371-53_0_6_load_35 | 43 | 0.0091121 | 0.0022837 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_371-53_0_6_load_36 | 44 | 0.0080909 | 0.0020278 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_371-53_0_6_load_41 | 46 | 0.0032532 | 0.00081533 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_371-53_0_6_load_110 | 47 | 0.0027411 | 0.00068698 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_371-53_0_6_load_49 | 48 | 0.0032266 | 0.00080866 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_371-53_0_6_load_53 | 49 | 0.0049933 | 0.0012514 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_371-53_0_6_load_46 | 50 | 0.0022446 | 0.00056254 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_371-53_0_6_load_50 | 52 | 0.011621 | 0.0029124 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_371-53_0_6_load_51 | 53 | 0.00379 | 0.00094986 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_371-53_0_6_load_52 | 54 | 0.0028919 | 0.00072477 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_371-53_0_6_load_55 | 55 | 0.0099654 | 0.0024976 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_371-53_0_6_load_57 | 56 | 0.0054818 | 0.0013739 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_371-53_0_6_load_74 | 57 | 0.0047687 | 0.0011952 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_371-53_0_6_load_58 | 59 | 0.0089543 | 0.0022442 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_371-53_0_6_load_73 | 60 | 0.00747 | 0.0018722 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_371-53_0_6_load_56 | 61 | 0.0029395 | 0.00073671 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_371-53_0_6_load_101 | 62 | 0.0031601 | 0.000792 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_371-53_0_6_load_99 | 63 | 0.0026532 | 0.00066495 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_371-53_0_6_load_59 | 64 | 0.001921 | 0.00048144 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_371-53_0_6_load_71 | 66 | 0.0032987 | 0.00082672 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_371-53_0_6_load_66 | 67 | 0.015856 | 0.0039738 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_371-53_0_6_load_60 | 68 | 0.011528 | 0.0028892 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_371-53_0_6_load_61 | 69 | 0.0064579 | 0.0016185 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_371-53_0_6_load_64 | 72 | 0.0032486 | 0.00081418 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_371-53_0_6_load_80 | 73 | 0.0045455 | 0.0011392 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_371-53_0_6_load_65 | 74 | 0.0028238 | 0.0007077 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_371-53_0_6_load_78 | 76 | 0.0041028 | 0.0010283 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_371-53_0_6_load_83 | 78 | 0.0035565 | 0.00089133 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_371-53_0_6_load_84 | 79 | 0.0032534 | 0.00081538 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_371-53_0_6_load_89 | 80 | 0.0048227 | 0.0012087 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_371-53_0_6_load_67 | 81 | 0.0087863 | 0.0022021 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_371-53_0_6_load_69 | 82 | 0.0095834 | 0.0024018 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_371-53_0_6_load_72 | 83 | 0.01005 | 0.0025189 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_371-53_0_6_load_98 | 84 | 0.0027994 | 0.0007016 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_371-53_0_6_load_97 | 85 | 0.001105 | 0.00027695 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_371-53_0_6_load_75 | 86 | 0.01816 | 0.0045513 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_371-53_0_6_load_79 | 89 | 0.0036001 | 0.00090226 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_371-53_0_6_load_87 | 90 | 0.037824 | 0.0094796 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_371-53_0_6_load_86 | 91 | 0.0056501 | 0.0014161 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_371-53_0_6_load_85 | 92 | 0.0031091 | 0.00077921 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_371-53_0_6_load_90 | 93 | 0.0033439 | 0.00083806 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_371-53_0_6_load_91 | 94 | 0.0039911 | 0.0010003 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_371-53_0_6_load_92 | 95 | 0.0035692 | 0.00089452 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_371-53_0_6_load_94 | 97 | 0.0063865 | 0.0016006 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_371-53_0_6_load_95 | 98 | 0.0023767 | 0.00059565 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_371-53_0_6_load_96 | 99 | 0.0036351 | 0.00091105 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_371-53_0_6_load_100 | 100 | 0.0018099 | 0.0004536 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_371-53_0_6_load_102 | 101 | 0.0031601 | 0.00079199 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_371-53_0_6_load_103 | 102 | 0.0031604 | 0.00079206 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_371-53_0_6_load_109 | 103 | 0.002873 | 0.00072005 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_371-53_0_6_load_108 | 104 | 0.0031591 | 0.00079174 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_371-53_0_6_load_104 | 105 | 0.0035067 | 0.00087886 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_371-53_0_6_load_105 | 106 | 0.0032283 | 0.00080908 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_371-53_0_6_load_106 | 107 | 0.0045595 | 0.0011427 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_371-53_0_6_load_107 | 108 | 0.002602 | 0.00065213 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 102 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_371-53_0_6_line_0 |  | 0 | 1 | 0.0012926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_371-53_0_6_line_1 |  | 0 | 2 | 0.026994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_371-53_0_6_line_2 |  | 1 | 3 | 0.030295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_371-53_0_6_line_3 |  | 2 | 4 | 0.015642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_371-53_0_6_line_4 |  | 3 | 5 | 0.034793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_371-53_0_6_line_5 |  | 3 | 6 | 0.025596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_371-53_0_6_line_6 |  | 4 | 7 | 0.03038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_371-53_0_6_line_7 |  | 5 | 8 | 0.003703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_371-53_0_6_line_8 |  | 5 | 9 | 0.028513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_371-53_0_6_line_9 |  | 7 | 10 | 0.030335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_371-53_0_6_line_10 |  | 8 | 20 | 0.027566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
11 | LV_371-53_0_6_line_11 |  | 8 | 21 | 0.024378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
12 | LV_371-53_0_6_line_12 |  | 10 | 25 | 0.029882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_371-53_0_6_line_13 |  | 11 | 12 | 0.017675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_371-53_0_6_line_14 |  | 12 | 13 | 0.0085166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_371-53_0_6_line_15 |  | 13 | 14 | 0.027458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
16 | LV_371-53_0_6_line_16 |  | 13 | 15 | 0.032436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
17 | LV_371-53_0_6_line_17 |  | 14 | 16 | 0.023016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_371-53_0_6_line_18 |  | 14 | 17 | 0.015422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_371-53_0_6_line_19 |  | 15 | 18 | 0.019117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_371-53_0_6_line_20 |  | 15 | 19 | 0.042537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
21 | LV_371-53_0_6_line_21 |  | 16 | 22 | 0.027752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_371-53_0_6_line_22 |  | 17 | 23 | 0.025924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_371-53_0_6_line_23 |  | 18 | 24 | 0.0099329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_371-53_0_6_line_24 |  | 19 | 21 | 0.025536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
25 | LV_371-53_0_6_line_25 |  | 20 | 38 | 0.027019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
26 | LV_371-53_0_6_line_26 |  | 22 | 26 | 0.0025222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_371-53_0_6_line_27 |  | 23 | 33 | 0.0017426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_371-53_0_6_line_28 |  | 24 | 27 | 0.030684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_371-53_0_6_line_29 |  | 27 | 28 | 0.013278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_371-53_0_6_line_30 |  | 27 | 29 | 0.0092884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_371-53_0_6_line_31 |  | 28 | 30 | 0.0085121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_371-53_0_6_line_32 |  | 29 | 31 | 0.022292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_371-53_0_6_line_33 |  | 30 | 32 | 0.010764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_371-53_0_6_line_34 |  | 32 | 46 | 0.019478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_371-53_0_6_line_35 |  | 33 | 34 | 0.024327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_371-53_0_6_line_36 |  | 34 | 35 | 0.0067128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_371-53_0_6_line_37 |  | 35 | 36 | 0.032914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_371-53_0_6_line_38 |  | 36 | 37 | 0.019517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_371-53_0_6_line_39 |  | 37 | 45 | 0.050195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_371-53_0_6_line_40 |  | 38 | 39 | 0.0054295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
41 | LV_371-53_0_6_line_41 |  | 39 | 48 | 0.028513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
42 | LV_371-53_0_6_line_42 |  | 40 | 41 | 0.062011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_371-53_0_6_line_43 |  | 41 | 42 | 0.021194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_371-53_0_6_line_44 |  | 42 | 50 | 0.015487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_371-53_0_6_line_45 |  | 43 | 44 | 0.046076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_371-53_0_6_line_46 |  | 43 | 45 | 0.026078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_371-53_0_6_line_47 |  | 46 | 47 | 0.017309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_371-53_0_6_line_48 |  | 48 | 49 | 0.028495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
49 | LV_371-53_0_6_line_49 |  | 49 | 58 | 0.0043897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
50 | LV_371-53_0_6_line_50 |  | 50 | 51 | 0.037348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_371-53_0_6_line_51 |  | 51 | 52 | 0.024669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
52 | LV_371-53_0_6_line_52 |  | 51 | 53 | 0.04193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
53 | LV_371-53_0_6_line_53 |  | 51 | 54 | 0.015757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_371-53_0_6_line_54 |  | 52 | 55 | 0.0042524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
55 | LV_371-53_0_6_line_55 |  | 53 | 56 | 0.00072398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
56 | LV_371-53_0_6_line_56 |  | 54 | 57 | 0.0079324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_371-53_0_6_line_57 |  | 55 | 58 | 0.031391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
58 | LV_371-53_0_6_line_58 |  | 56 | 59 | 0.021992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
59 | LV_371-53_0_6_line_59 |  | 57 | 60 | 0.015507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_371-53_0_6_line_60 |  | 58 | 61 | 0.015492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
61 | LV_371-53_0_6_line_61 |  | 59 | 64 | 0.0020209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
62 | LV_371-53_0_6_line_62 |  | 61 | 62 | 0.0091368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
63 | LV_371-53_0_6_line_63 |  | 62 | 63 | 0.010735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
64 | LV_371-53_0_6_line_64 |  | 63 | 100 | 0.0003114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
65 | LV_371-53_0_6_line_65 |  | 64 | 65 | 0.01797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
66 | LV_371-53_0_6_line_66 |  | 65 | 66 | 0.017247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
67 | LV_371-53_0_6_line_67 |  | 65 | 67 | 0.035205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_371-53_0_6_line_68 |  | 66 | 78 | 0.023162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
69 | LV_371-53_0_6_line_69 |  | 67 | 81 | 0.0093697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_371-53_0_6_line_70 |  | 68 | 69 | 0.033208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_371-53_0_6_line_71 |  | 68 | 70 | 0.021412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_371-53_0_6_line_72 |  | 69 | 71 | 0.011914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_371-53_0_6_line_73 |  | 70 | 72 | 0.036055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_371-53_0_6_line_74 |  | 70 | 73 | 0.072179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_371-53_0_6_line_75 |  | 71 | 74 | 0.022291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_371-53_0_6_line_76 |  | 72 | 75 | 0.024732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_371-53_0_6_line_77 |  | 73 | 76 | 0.023911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_371-53_0_6_line_78 |  | 74 | 77 | 0.026269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_371-53_0_6_line_79 |  | 75 | 78 | 0.009398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_371-53_0_6_line_80 |  | 75 | 79 | 0.020208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_371-53_0_6_line_81 |  | 76 | 87 | 0.014856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_371-53_0_6_line_82 |  | 77 | 80 | 0.035492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_371-53_0_6_line_83 |  | 79 | 92 | 0.02549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_371-53_0_6_line_84 |  | 80 | 93 | 0.0075012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_371-53_0_6_line_85 |  | 81 | 82 | 0.028234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_371-53_0_6_line_86 |  | 82 | 83 | 0.0091646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_371-53_0_6_line_87 |  | 84 | 85 | 0.0093219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_371-53_0_6_line_88 |  | 85 | 99 | 0.003638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_371-53_0_6_line_89 |  | 86 | 87 | 0.039425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_371-53_0_6_line_90 |  | 86 | 88 | 0.020824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_371-53_0_6_line_91 |  | 88 | 89 | 0.011675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_371-53_0_6_line_92 |  | 90 | 91 | 0.0027004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_371-53_0_6_line_93 |  | 91 | 92 | 0.027263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_371-53_0_6_line_94 |  | 93 | 94 | 0.020001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_371-53_0_6_line_95 |  | 94 | 95 | 0.0069943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_371-53_0_6_line_96 |  | 95 | 96 | 0.016014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_371-53_0_6_line_97 |  | 96 | 97 | 0.014778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_371-53_0_6_line_98 |  | 96 | 98 | 0.0035048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_371-53_0_6_line_99 |  | 98 | 99 | 0.022003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_371-53_0_6_line_100 |  | 100 | 101 | 0.013373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
101 | LV_371-53_0_6_line_101 |  | 101 | 102 | 0.023682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
102 | LV_371-53_0_6_line_102 |  | 102 | 103 | 0.0079738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_371-53_0_6_line_103 |  | 103 | 104 | 0.015943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_371-53_0_6_line_104 |  | 104 | 108 | 0.0093575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_371-53_0_6_line_105 |  | 105 | 106 | 0.0055809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_371-53_0_6_line_106 |  | 105 | 107 | 0.018236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_371-53_0_6_line_107 |  | 106 | 108 | 0.01454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_371-53_0_6_trafo_103 | 0.63 MVA 20/0.4 kV | 109 | 102 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2587881.8502 | 1221350.6799 | 2587882.1 | 1221351.9481
1 | 2587876.6334 | 1221324.1953 | 2587881.8502 | 1221350.6799
2 | 2587887.9548 | 1221381.672 | 2587882.1 | 1221351.9481
3 | 2587891.7351 | 1221320.0842 | 2587882.3885 | 1221323.1384 | 2587876.6334 | 1221324.1953
4 | 2587887.9548 | 1221381.672 | 2587893.2288 | 1221416.0588
5 | 2587887.9548 | 1221381.672 | 2587913.5234 | 1221380.4958
6 | 2587891.7351 | 1221320.0842 | 2587910.912 | 1221316.7986 | 2587921.7602 | 1221315.5166
7 | 2587893.2288 | 1221416.0588 | 2587893.2667 | 1221419.7609
8 | 2587893.2288 | 1221416.0588 | 2587869.8036 | 1221422.5995 | 2587865.9741 | 1221424.3046
9 | 2587952.0026 | 1221313.3838 | 2587931.9717 | 1221314.3097 | 2587921.7602 | 1221315.5166
10 | 2587893.2667 | 1221419.7609 | 2587893.5217 | 1221447.3252
11 | 2587893.2667 | 1221419.7609 | 2587917.6352 | 1221419.0721
12 | 2587952.0026 | 1221313.3838 | 2587980.7794 | 1221312.0535 | 2587981.8542 | 1221312.0649
13 | 2587959.541 | 1221382.2368 | 2587977.1366 | 1221383.9119
14 | 2587985.6149 | 1221384.719 | 2587977.1366 | 1221383.9119
15 | 2587985.6149 | 1221384.719 | 2588012.9666 | 1221387.9098
16 | 2587985.6149 | 1221384.719 | 2587985.6808 | 1221417.1487
17 | 2588012.9666 | 1221387.9098 | 2588017.7939 | 1221365.4053
18 | 2588012.9666 | 1221387.9098 | 2588027.8215 | 1221392.0542
19 | 2587985.6808 | 1221417.1487 | 2587985.7197 | 1221436.2658
20 | 2587985.6808 | 1221417.1487 | 2587943.1609 | 1221418.3506
21 | 2588023.6144 | 1221338.2706 | 2588017.7939 | 1221365.4053
22 | 2588052.7916 | 1221399.0207 | 2588027.8215 | 1221392.0542
23 | 2587985.7197 | 1221436.2658 | 2587985.7398 | 1221446.1987
24 | 2587917.6352 | 1221419.0721 | 2587943.1609 | 1221418.3506
25 | 2587893.5217 | 1221447.3252 | 2587893.7717 | 1221474.343
26 | 2588023.6144 | 1221338.2706 | 2588024.1429 | 1221335.8044
27 | 2588054.4701 | 1221399.489 | 2588052.7916 | 1221399.0207
28 | 2587985.8022 | 1221476.883 | 2587985.7398 | 1221446.1987
29 | 2587985.8022 | 1221476.883 | 2587999.08 | 1221476.8486
30 | 2587985.8022 | 1221476.883 | 2587976.5183 | 1221477.1746
31 | 2588007.5921 | 1221476.8265 | 2587999.08 | 1221476.8486
32 | 2587976.5183 | 1221477.1746 | 2587954.2369 | 1221477.8745
33 | 2588007.5921 | 1221476.8265 | 2588018.3565 | 1221476.7986
34 | 2588037.8349 | 1221476.7482 | 2588018.3565 | 1221476.7986
35 | 2588054.4701 | 1221399.489 | 2588063.2099 | 1221401.9274 | 2588078.1137 | 1221405.1768
36 | 2588078.1137 | 1221405.1768 | 2588084.6724 | 1221406.6067
37 | 2588084.6724 | 1221406.6067 | 2588107.8236 | 1221411.6542 | 2588117.0094 | 1221412.4383
38 | 2588136.4555 | 1221414.0981 | 2588117.0094 | 1221412.4383
39 | 2588136.4555 | 1221414.0981 | 2588148.0821 | 1221394.3523 | 2588157.5049 | 1221368.7297
40 | 2587893.822 | 1221479.7722 | 2587893.7717 | 1221474.343
41 | 2587893.822 | 1221479.7722 | 2587893.4882 | 1221508.2828
42 | 2587793.5352 | 1221552.1133 | 2587809.687 | 1221492.2428
43 | 2587811.4462 | 1221563.4438 | 2587793.5352 | 1221552.1133
44 | 2587811.4462 | 1221563.4438 | 2587824.5343 | 1221571.7233
45 | 2588131.7746 | 1221364.4844 | 2588122.8206 | 1221363.0071 | 2588095.6932 | 1221358.1922 | 2588086.5852 | 1221355.6749
46 | 2588157.5049 | 1221368.7297 | 2588131.7746 | 1221364.4844
47 | 2588055.1441 | 1221476.7033 | 2588037.8349 | 1221476.7482
48 | 2587893.4882 | 1221508.2828 | 2587893.4282 | 1221513.4147 | 2587889.0948 | 1221536.3719
49 | 2587888.2806 | 1221540.6854 | 2587889.0948 | 1221536.3719
50 | 2587856.0954 | 1221591.692 | 2587850.5738 | 1221588.2013 | 2587828.5104 | 1221574.2386 | 2587824.5343 | 1221571.7233
51 | 2587856.0954 | 1221591.692 | 2587869.2597 | 1221570.8294
52 | 2587856.0954 | 1221591.692 | 2587866.4406 | 1221598.6748 | 2587887.3133 | 1221612.7847 | 2587890.8382 | 1221615.1663
53 | 2587856.0954 | 1221591.692 | 2587847.5037 | 1221604.9004
54 | 2587871.5289 | 1221567.2332 | 2587869.2597 | 1221570.8294
55 | 2587891.4381 | 1221615.5716 | 2587890.8382 | 1221615.1663
56 | 2587847.5037 | 1221604.9004 | 2587843.1784 | 1221611.5498
57 | 2587888.2806 | 1221540.6854 | 2587871.5289 | 1221567.2332
58 | 2587891.4381 | 1221615.5716 | 2587909.6608 | 1221627.8839
59 | 2587834.7229 | 1221624.549 | 2587843.1784 | 1221611.5498
60 | 2587888.2806 | 1221540.6854 | 2587903.7639 | 1221540.1674
61 | 2587909.6608 | 1221627.8839 | 2587911.3354 | 1221629.0154
62 | 2587903.7639 | 1221540.1674 | 2587912.8956 | 1221539.8619
63 | 2587923.6251 | 1221539.5029 | 2587912.8956 | 1221539.8619
64 | 2587923.6251 | 1221539.5029 | 2587923.9363 | 1221539.4925
65 | 2587926.2253 | 1221639.0759 | 2587911.3354 | 1221629.0154
66 | 2587926.2253 | 1221639.0759 | 2587932.0971 | 1221643.2997 | 2587940.2338 | 1221649.1371
67 | 2587926.2253 | 1221639.0759 | 2587907.1129 | 1221668.6414
68 | 2587959.0538 | 1221662.6392 | 2587940.2338 | 1221649.1371
69 | 2587907.1129 | 1221668.6414 | 2587902.0262 | 1221676.5101
70 | 2588034.1081 | 1221678.6965 | 2588048.8638 | 1221659.7054 | 2588053.0604 | 1221651.5649
71 | 2588020.9707 | 1221695.6048 | 2588034.1081 | 1221678.6965
72 | 2588058.5196 | 1221640.975 | 2588053.0604 | 1221651.5649
73 | 2588020.9707 | 1221695.6048 | 2588012.7019 | 1221691.3079 | 2587988.9809 | 1221678.9741
74 | 2588020.9707 | 1221695.6048 | 2587996.5459 | 1221763.5258
75 | 2588058.5196 | 1221640.975 | 2588068.737 | 1221621.1636
76 | 2587967.0376 | 1221667.5647 | 2587988.9809 | 1221678.9741
77 | 2587996.5459 | 1221763.5258 | 2587996.6288 | 1221787.4371
78 | 2588080.7781 | 1221597.8163 | 2588068.737 | 1221621.1636
79 | 2587967.0376 | 1221667.5647 | 2587962.3221 | 1221664.9839 | 2587959.0538 | 1221662.6392
80 | 2587967.0376 | 1221667.5647 | 2587956.3095 | 1221684.6898
81 | 2587996.6803 | 1221802.2935 | 2587996.6288 | 1221787.4371
82 | 2588080.7781 | 1221597.8163 | 2588045.2986 | 1221598.7702
83 | 2587956.3095 | 1221684.6898 | 2587942.7768 | 1221706.2914
84 | 2588037.8001 | 1221598.9718 | 2588045.2986 | 1221598.7702
85 | 2587902.0262 | 1221676.5101 | 2587886.6982 | 1221700.2215
86 | 2587881.7228 | 1221707.9181 | 2587886.6982 | 1221700.2215
87 | 2587957.5866 | 1221605.5557 | 2587965.845 | 1221601.2318
88 | 2587969.3009 | 1221600.4633 | 2587967.2576 | 1221600.4921 | 2587965.845 | 1221601.2318
89 | 2587996.6803 | 1221802.2935 | 2587958.8848 | 1221813.2656 | 2587958.8186 | 1221813.2851
90 | 2587938.8426 | 1221819.1654 | 2587958.8186 | 1221813.2851
91 | 2587938.8426 | 1221819.1654 | 2587929.5037 | 1221821.9083 | 2587927.5784 | 1221822.1605
92 | 2587926.8695 | 1221731.6837 | 2587928.3031 | 1221729.3953
93 | 2587942.7768 | 1221706.2914 | 2587928.3031 | 1221729.3953
94 | 2588037.8001 | 1221598.9718 | 2588017.8066 | 1221599.5093
95 | 2588010.8148 | 1221599.6973 | 2588017.8066 | 1221599.5093
96 | 2587994.8058 | 1221600.1026 | 2587996.7096 | 1221600.0765 | 2588010.8148 | 1221599.6973
97 | 2587994.8058 | 1221600.1026 | 2587994.7448 | 1221614.8779
98 | 2587994.8058 | 1221600.1026 | 2587991.3014 | 1221600.1522
99 | 2587991.3014 | 1221600.1522 | 2587969.3009 | 1221600.4633
100 | 2587923.9363 | 1221539.4925 | 2587937.3021 | 1221539.0453
101 | 2587960.9704 | 1221538.2535 | 2587937.3021 | 1221539.0453
102 | 2587968.9397 | 1221537.9869 | 2587960.9704 | 1221538.2535
103 | 2587968.9397 | 1221537.9869 | 2587984.8734 | 1221537.4538
104 | 2587994.2257 | 1221537.1409 | 2587984.8734 | 1221537.4538
105 | 2588014.3356 | 1221536.4681 | 2588008.7578 | 1221536.6547
106 | 2588014.3356 | 1221536.4681 | 2588032.5612 | 1221535.8583
107 | 2587994.2257 | 1221537.1409 | 2588008.7578 | 1221536.6547

## bus_geodata
| x | y | coords
0 | 2587881.8502 | 1221350.6799
1 | 2587882.1 | 1221351.9481
2 | 2587876.6334 | 1221324.1953
3 | 2587887.9548 | 1221381.672
4 | 2587891.7351 | 1221320.0842
5 | 2587893.2288 | 1221416.0588
6 | 2587913.5234 | 1221380.4958
7 | 2587921.7602 | 1221315.5166
8 | 2587893.2667 | 1221419.7609
9 | 2587865.9741 | 1221424.3046
10 | 2587952.0026 | 1221313.3838
11 | 2587959.541 | 1221382.2368
12 | 2587977.1366 | 1221383.9119
13 | 2587985.6149 | 1221384.719
14 | 2588012.9666 | 1221387.9098
15 | 2587985.6808 | 1221417.1487
16 | 2588017.7939 | 1221365.4053
17 | 2588027.8215 | 1221392.0542
18 | 2587985.7197 | 1221436.2658
19 | 2587943.1609 | 1221418.3506
20 | 2587893.5217 | 1221447.3252
21 | 2587917.6352 | 1221419.0721
22 | 2588023.6144 | 1221338.2706
23 | 2588052.7916 | 1221399.0207
24 | 2587985.7398 | 1221446.1987
25 | 2587981.8542 | 1221312.0649
26 | 2588024.1429 | 1221335.8044
27 | 2587985.8022 | 1221476.883
28 | 2587999.08 | 1221476.8486
29 | 2587976.5183 | 1221477.1746
30 | 2588007.5921 | 1221476.8265
31 | 2587954.2369 | 1221477.8745
32 | 2588018.3565 | 1221476.7986
33 | 2588054.4701 | 1221399.489
34 | 2588078.1137 | 1221405.1768
35 | 2588084.6724 | 1221406.6067
36 | 2588117.0094 | 1221412.4383
37 | 2588136.4555 | 1221414.0981
38 | 2587893.7717 | 1221474.343
39 | 2587893.822 | 1221479.7722
40 | 2587809.687 | 1221492.2428
41 | 2587793.5352 | 1221552.1133
42 | 2587811.4462 | 1221563.4438
43 | 2588131.7746 | 1221364.4844
44 | 2588086.5852 | 1221355.6749
45 | 2588157.5049 | 1221368.7298
46 | 2588037.8349 | 1221476.7482
47 | 2588055.1441 | 1221476.7033
48 | 2587893.4882 | 1221508.2828
49 | 2587889.0948 | 1221536.3719
50 | 2587824.5343 | 1221571.7233
51 | 2587856.0954 | 1221591.692
52 | 2587869.2597 | 1221570.8294
53 | 2587890.8382 | 1221615.1663
54 | 2587847.5037 | 1221604.9004
55 | 2587871.5289 | 1221567.2332
56 | 2587891.4381 | 1221615.5716
57 | 2587843.1784 | 1221611.5498
58 | 2587888.2806 | 1221540.6854
59 | 2587909.6608 | 1221627.8839
60 | 2587834.7229 | 1221624.549
61 | 2587903.7639 | 1221540.1674
62 | 2587912.8956 | 1221539.8619
63 | 2587923.6251 | 1221539.5029
64 | 2587911.3354 | 1221629.0154
65 | 2587926.2253 | 1221639.0759
66 | 2587940.2338 | 1221649.1371
67 | 2587907.1129 | 1221668.6414
68 | 2588034.1081 | 1221678.6965
69 | 2588053.0604 | 1221651.5649
70 | 2588020.9707 | 1221695.6048
71 | 2588058.5196 | 1221640.975
72 | 2587988.9809 | 1221678.9741
73 | 2587996.5459 | 1221763.5258
74 | 2588068.737 | 1221621.1636
75 | 2587967.0376 | 1221667.5647
76 | 2587996.6288 | 1221787.4371
77 | 2588080.7781 | 1221597.8163
78 | 2587959.0538 | 1221662.6392
79 | 2587956.3095 | 1221684.6898
80 | 2588045.2986 | 1221598.7702
81 | 2587902.0262 | 1221676.5101
82 | 2587886.6982 | 1221700.2215
83 | 2587881.7228 | 1221707.9181
84 | 2587957.5866 | 1221605.5557
85 | 2587965.845 | 1221601.2318
86 | 2587958.8186 | 1221813.2851
87 | 2587996.6803 | 1221802.2935
88 | 2587938.8426 | 1221819.1654
89 | 2587927.5784 | 1221822.1605
90 | 2587926.8695 | 1221731.6837
91 | 2587928.3031 | 1221729.3953
92 | 2587942.7768 | 1221706.2914
93 | 2588037.8001 | 1221598.9718
94 | 2588017.8066 | 1221599.5093
95 | 2588010.8148 | 1221599.6973
96 | 2587994.8058 | 1221600.1026
97 | 2587994.7448 | 1221614.8779
98 | 2587991.3014 | 1221600.1522
99 | 2587969.3009 | 1221600.4633
100 | 2587923.9363 | 1221539.4925
101 | 2587937.3021 | 1221539.0453
102 | 2587960.9704 | 1221538.2535
103 | 2587968.9397 | 1221537.9869
104 | 2587984.8734 | 1221537.4538
105 | 2588014.3356 | 1221536.4681
106 | 2588008.7578 | 1221536.6547
107 | 2588032.5612 | 1221535.8583
108 | 2587994.2257 | 1221537.1409
109 | 2587888.2806 | 1221540.6854

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1