## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_371-59_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_371-59_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_371-59_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_371-59_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_371-59_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_371-59_0_4_node_56 | 0.4 | n |  | TRUE
6 | bus_LV_371-59_0_4_node_12 | 0.4 | n |  | TRUE
7 | bus_LV_371-59_0_4_node_55 | 0.4 | n |  | TRUE
8 | bus_LV_371-59_0_4_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_371-59_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_371-59_0_4_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_371-59_0_4_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_371-59_0_4_node_32 | 0.4 | n |  | TRUE
13 | bus_LV_371-59_0_4_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_371-59_0_4_node_45 | 0.4 | n |  | TRUE
15 | bus_LV_371-59_0_4_node_65 | 0.4 | n |  | TRUE
16 | bus_LV_371-59_0_4_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_371-59_0_4_node_17 | 0.4 | n |  | TRUE
18 | bus_LV_371-59_0_4_node_52 | 0.4 | n |  | TRUE
19 | bus_LV_371-59_0_4_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_371-59_0_4_node_66 | 0.4 | n |  | TRUE
21 | bus_LV_371-59_0_4_node_67 | 0.4 | n |  | TRUE
22 | bus_LV_371-59_0_4_node_33 | 0.4 | n |  | TRUE
23 | bus_LV_371-59_0_4_node_61 | 0.4 | n |  | TRUE
24 | bus_LV_371-59_0_4_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_371-59_0_4_node_53 | 0.4 | n |  | TRUE
26 | bus_LV_371-59_0_4_node_69 | 0.4 | n |  | TRUE
27 | bus_LV_371-59_0_4_node_70 | 0.4 | n |  | TRUE
28 | bus_LV_371-59_0_4_node_68 | 0.4 | n |  | TRUE
29 | bus_LV_371-59_0_4_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_371-59_0_4_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_371-59_0_4_node_13 | 0.4 | n |  | TRUE
32 | bus_LV_371-59_0_4_node_14 | 0.4 | n |  | TRUE
33 | bus_LV_371-59_0_4_node_16 | 0.4 | n |  | TRUE
34 | bus_LV_371-59_0_4_node_48 | 0.4 | n |  | TRUE
35 | bus_LV_371-59_0_4_node_49 | 0.4 | n |  | TRUE
36 | bus_LV_371-59_0_4_node_47 | 0.4 | n |  | TRUE
37 | bus_LV_371-59_0_4_node_20 | 0.4 | n |  | TRUE
38 | bus_LV_371-59_0_4_node_22 | 0.4 | n |  | TRUE
39 | bus_LV_371-59_0_4_node_24 | 0.4 | n |  | TRUE
40 | bus_LV_371-59_0_4_node_21 | 0.4 | n |  | TRUE
41 | bus_LV_371-59_0_4_node_23 | 0.4 | n |  | TRUE
42 | bus_LV_371-59_0_4_node_25 | 0.4 | n |  | TRUE
43 | bus_LV_371-59_0_4_node_26 | 0.4 | n |  | TRUE
44 | bus_LV_371-59_0_4_node_58 | 0.4 | n |  | TRUE
45 | bus_LV_371-59_0_4_node_28 | 0.4 | n |  | TRUE
46 | bus_LV_371-59_0_4_node_36 | 0.4 | n |  | TRUE
47 | bus_LV_371-59_0_4_node_62 | 0.4 | n |  | TRUE
48 | bus_LV_371-59_0_4_node_59 | 0.4 | n |  | TRUE
49 | bus_LV_371-59_0_4_node_57 | 0.4 | n |  | TRUE
50 | bus_LV_371-59_0_4_node_39 | 0.4 | n |  | TRUE
51 | bus_LV_371-59_0_4_node_51 | 0.4 | n |  | TRUE
52 | bus_LV_371-59_0_4_node_50 | 0.4 | n |  | TRUE
53 | bus_LV_371-59_0_4_node_40 | 0.4 | n |  | TRUE
54 | bus_LV_371-59_0_4_node_41 | 0.4 | n |  | TRUE
55 | bus_LV_371-59_0_4_node_42 | 0.4 | n |  | TRUE
56 | bus_LV_371-59_0_4_node_30 | 0.4 | n |  | TRUE
57 | bus_LV_371-59_0_4_node_60 | 0.4 | n |  | TRUE
58 | bus_LV_371-59_0_4_node_27 | 0.4 | n |  | TRUE
59 | bus_LV_371-59_0_4_node_37 | 0.4 | n |  | TRUE
60 | bus_LV_371-59_0_4_node_63 | 0.4 | n |  | TRUE
61 | bus_LV_371-59_0_4_node_29 | 0.4 | n |  | TRUE
62 | bus_LV_371-59_0_4_node_34 | 0.4 | n |  | TRUE
63 | bus_LV_371-59_0_4_node_35 | 0.4 | n |  | TRUE
64 | bus_LV_371-59_0_4_node_38 | 0.4 | n |  | TRUE
65 | bus_LV_371-59_0_4_node_64 | 0.4 | n |  | TRUE
66 | bus_LV_371-59_0_4_node_46 | 0.4 | n |  | TRUE
67 | bus_LV_371-59_0_4_node_72 | 0.4 | n |  | TRUE
68 | bus_LV_371-59_0_4_node_71 | 0.4 | n |  | TRUE
69 | bus_LV_371-59_0_4_node_54 | 0.4 | n |  | TRUE
70 | bus_MV_309_0_node_115 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_371-59_0_4_load_0 | 0 | 0.0025441 | 0.00063761 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_371-59_0_4_load_1 | 1 | 0.00062688 | 0.00015711 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_371-59_0_4_load_2 | 2 | 0.011035 | 0.0027656 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_371-59_0_4_load_3 | 3 | 0.0011021 | 0.00027622 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_371-59_0_4_load_56 | 5 | 0.00080858 | 0.00020265 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_371-59_0_4_load_12 | 6 | 0.013197 | 0.0033074 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_371-59_0_4_load_55 | 7 | 0.012016 | 0.0030115 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_371-59_0_4_load_5 | 8 | 0.0049307 | 0.0012357 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_371-59_0_4_load_7 | 10 | 0.013297 | 0.0033324 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_371-59_0_4_load_32 | 12 | 0.021932 | 0.0054967 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_371-59_0_4_load_45 | 14 | 0.016027 | 0.0040167 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_371-59_0_4_load_65 | 15 | 0.018273 | 0.0045796 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_371-59_0_4_load_52 | 18 | 0.0035118 | 0.00088015 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_371-59_0_4_load_67 | 21 | 0.02268 | 0.0056842 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_371-59_0_4_load_33 | 22 | 0.016599 | 0.00416 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_371-59_0_4_load_15 | 24 | 0.0020516 | 0.00051418 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_371-59_0_4_load_70 | 27 | 0.018168 | 0.0045534 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_371-59_0_4_load_68 | 28 | 0.01168 | 0.0029272 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_371-59_0_4_load_18 | 29 | 0.0141 | 0.0035339 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_371-59_0_4_load_19 | 30 | 0.014693 | 0.0036824 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_371-59_0_4_load_13 | 31 | 0.011264 | 0.002823 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_371-59_0_4_load_14 | 32 | 0.0033581 | 0.00084163 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_371-59_0_4_load_16 | 33 | 0.0027308 | 0.00068441 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_371-59_0_4_load_47 | 36 | 0.0068703 | 0.0017219 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_371-59_0_4_load_20 | 37 | 0.006765 | 0.0016955 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_371-59_0_4_load_24 | 39 | 0.012863 | 0.0032238 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_371-59_0_4_load_21 | 40 | 0.0097993 | 0.0024559 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_371-59_0_4_load_26 | 43 | 0.0098416 | 0.0024665 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_371-59_0_4_load_28 | 45 | 0.0067396 | 0.0016891 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_371-59_0_4_load_36 | 46 | 0.013254 | 0.0033218 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_371-59_0_4_load_59 | 48 | 0.013129 | 0.0032904 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_371-59_0_4_load_57 | 49 | 0.0014937 | 0.00037435 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_371-59_0_4_load_51 | 51 | 0.0060089 | 0.001506 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_371-59_0_4_load_50 | 52 | 0.0062405 | 0.001564 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_371-59_0_4_load_30 | 56 | 0.01157 | 0.0028998 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_371-59_0_4_load_60 | 57 | 0.026921 | 0.006747 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_371-59_0_4_load_27 | 58 | 0.011218 | 0.0028115 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_371-59_0_4_load_37 | 59 | 0.010348 | 0.0025935 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_371-59_0_4_load_63 | 60 | 0.0038703 | 0.00097 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_371-59_0_4_load_34 | 62 | 0.016905 | 0.0042367 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_371-59_0_4_load_35 | 63 | 0.01647 | 0.0041277 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_371-59_0_4_load_38 | 64 | 0.012586 | 0.0031544 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_371-59_0_4_load_64 | 65 | 0.0056197 | 0.0014084 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_371-59_0_4_load_46 | 66 | 0.0063518 | 0.0015919 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_371-59_0_4_load_72 | 67 | 0.016791 | 0.0042082 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_371-59_0_4_load_71 | 68 | 0.018421 | 0.0046167 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 63 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_371-59_0_4_line_0 |  | 0 | 1 | 0.0091044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_371-59_0_4_line_1 |  | 0 | 2 | 0.0012295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_371-59_0_4_line_2 |  | 1 | 3 | 0.0070324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_371-59_0_4_line_3 |  | 2 | 4 | 0.016101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_371-59_0_4_line_4 |  | 3 | 5 | 0.0074773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_371-59_0_4_line_5 |  | 4 | 6 | 0.014403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_371-59_0_4_line_6 |  | 5 | 7 | 0.00933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_371-59_0_4_line_7 |  | 7 | 49 | 0.0037472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_371-59_0_4_line_8 |  | 8 | 9 | 0.0093313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_371-59_0_4_line_9 |  | 9 | 10 | 0.016651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_371-59_0_4_line_10 |  | 9 | 11 | 0.066562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_371-59_0_4_line_11 |  | 10 | 12 | 0.0085235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_371-59_0_4_line_12 |  | 11 | 13 | 0.11896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_371-59_0_4_line_13 |  | 11 | 14 | 0.0083764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_371-59_0_4_line_14 |  | 12 | 22 | 0.013184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_371-59_0_4_line_15 |  | 13 | 15 | 0.11327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_371-59_0_4_line_16 |  | 16 | 17 | 0.034467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_371-59_0_4_line_17 |  | 16 | 18 | 0.014923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_371-59_0_4_line_18 |  | 17 | 23 | 0.018729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_371-59_0_4_line_19 |  | 17 | 24 | 0.0022446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_371-59_0_4_line_20 |  | 18 | 25 | 0.067209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_371-59_0_4_line_21 |  | 19 | 20 | 0.012792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_371-59_0_4_line_22 |  | 19 | 21 | 0.012488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_371-59_0_4_line_23 |  | 20 | 26 | 0.023865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_371-59_0_4_line_24 |  | 20 | 27 | 0.00973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_371-59_0_4_line_25 |  | 22 | 62 | 0.020642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_371-59_0_4_line_26 |  | 23 | 28 | 0.012543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_371-59_0_4_line_27 |  | 24 | 31 | 0.0026346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_371-59_0_4_line_28 |  | 25 | 69 | 0.053239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_371-59_0_4_line_29 |  | 26 | 68 | 0.008816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_371-59_0_4_line_30 |  | 26 | 35 | 0.022802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_371-59_0_4_line_31 |  | 29 | 30 | 0.017758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_371-59_0_4_line_32 |  | 30 | 37 | 0.016922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_371-59_0_4_line_33 |  | 31 | 32 | 0.0092719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_371-59_0_4_line_34 |  | 32 | 33 | 0.011804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_371-59_0_4_line_35 |  | 33 | 34 | 0.009911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_371-59_0_4_line_36 |  | 34 | 35 | 0.004183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_371-59_0_4_line_37 |  | 34 | 36 | 0.001444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_371-59_0_4_line_38 |  | 35 | 67 | 0.00881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_371-59_0_4_line_39 |  | 36 | 66 | 0.024034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_371-59_0_4_line_40 |  | 37 | 38 | 0.016143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_371-59_0_4_line_41 |  | 38 | 39 | 0.016308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_371-59_0_4_line_42 |  | 38 | 40 | 0.014701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_371-59_0_4_line_43 |  | 39 | 44 | 0.012335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_371-59_0_4_line_44 |  | 40 | 41 | 0.032843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_371-59_0_4_line_45 |  | 41 | 42 | 0.010625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_371-59_0_4_line_46 |  | 41 | 43 | 0.014117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_371-59_0_4_line_47 |  | 42 | 45 | 0.013014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_371-59_0_4_line_48 |  | 42 | 46 | 0.019462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_371-59_0_4_line_49 |  | 43 | 47 | 0.012289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_371-59_0_4_line_50 |  | 44 | 48 | 0.027789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_371-59_0_4_line_51 |  | 44 | 49 | 0.011967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_371-59_0_4_line_52 |  | 45 | 58 | 0.025713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_371-59_0_4_line_53 |  | 46 | 59 | 0.014462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_371-59_0_4_line_54 |  | 47 | 60 | 0.005562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_371-59_0_4_line_55 |  | 50 | 51 | 0.025648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_371-59_0_4_line_56 |  | 50 | 52 | 0.0088992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_371-59_0_4_line_57 |  | 51 | 65 | 0.015404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_371-59_0_4_line_58 |  | 52 | 53 | 0.016643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_371-59_0_4_line_59 |  | 53 | 54 | 0.051669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_371-59_0_4_line_60 |  | 54 | 55 | 0.048996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_371-59_0_4_line_61 |  | 54 | 56 | 0.0079306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_371-59_0_4_line_62 |  | 55 | 57 | 0.020213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_371-59_0_4_line_63 |  | 56 | 61 | 0.039105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_371-59_0_4_line_64 |  | 58 | 61 | 0.040833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
65 | LV_371-59_0_4_line_65 |  | 59 | 64 | 0.016743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
66 | LV_371-59_0_4_line_66 |  | 62 | 63 | 0.020207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_371-59_0_4_line_67 |  | 63 | 64 | 0.016525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
68 | LV_371-59_0_4_line_68 |  | 65 | 69 | 0.0033118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_371-59_0_4_trafo_35 | 0.63 MVA 20/0.4 kV | 70 | 63 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16
0 | 2586174.2435 | 1220711.0428 | 2586175.8214 | 1220711.5147 | 2586183.0628 | 1220713.2967
1 | 2586174.2435 | 1220711.0428 | 2586173.0656 | 1220710.6904
2 | 2586183.0628 | 1220713.2967 | 2586189.8915 | 1220714.9771
3 | 2586157.6397 | 1220706.0763 | 2586173.0656 | 1220710.6904
4 | 2586189.8915 | 1220714.9771 | 2586197.1522 | 1220716.7638
5 | 2586157.6397 | 1220706.0763 | 2586163.641 | 1220692.9832
6 | 2586206.212 | 1220718.9932 | 2586197.1522 | 1220716.7638
7 | 2586206.212 | 1220718.9932 | 2586209.8506 | 1220719.8886
8 | 2586115.9473 | 1220687.3298 | 2586122.2598 | 1220690.8837 | 2586124.1348 | 1220691.8005
9 | 2586115.9473 | 1220687.3298 | 2586125.1548 | 1220673.4557
10 | 2586098.4722 | 1220640.4548 | 2586089.7906 | 1220645.7005 | 2586087.0325 | 1220650.3207 | 2586086.8247 | 1220652.2779 | 2586086.3573 | 1220656.7594 | 2586090.6213 | 1220669.9125 | 2586115.9473 | 1220687.3298
11 | 2586125.1548 | 1220673.4557 | 2586128.599 | 1220665.6591
12 | 2586027.9461 | 1220674.2292 | 2586013.8851 | 1220656.6189 | 2586039.9262 | 1220649.0642 | 2586048.5589 | 1220645.6419 | 2586048.5136 | 1220642.5291 | 2586049.4018 | 1220639.5475 | 2586051.1482 | 1220636.9752 | 2586053.5788 | 1220635.0351 | 2586056.4893 | 1220633.9053 | 2586059.5992 | 1220633.6979 | 2586062.6278 | 1220634.4245 | 2586064.846 | 1220635.6645 | 2586066.686 | 1220637.4056 | 2586068.0414 | 1220639.5481 | 2586078.4002 | 1220641.0357 | 2586082.3692 | 1220641.6156 | 2586098.4722 | 1220640.4548
13 | 2586098.4722 | 1220640.4548 | 2586106.6469 | 1220638.6279
14 | 2586128.599 | 1220665.6591 | 2586131.4182 | 1220659.2773 | 2586133.748 | 1220656.4035 | 2586136.1359 | 1220655.6375
15 | 2586027.9461 | 1220674.2292 | 2586062.5657 | 1220698.2393 | 2586074.8317 | 1220707.5046 | 2586120.4404 | 1220739.9607
16 | 2586107.2713 | 1220543.1002 | 2586134.9722 | 1220563.7139
17 | 2586107.2713 | 1220543.1002 | 2586116.0749 | 1220531.0503
18 | 2586134.9722 | 1220563.7139 | 2586123.6124 | 1220578.6269
19 | 2586134.9722 | 1220563.7139 | 2586136.7683 | 1220565.06
20 | 2586155.7225 | 1220476.7818 | 2586116.0749 | 1220531.0503
21 | 2586107.5871 | 1220600.0212 | 2586120.0435 | 1220603.0827
22 | 2586107.5871 | 1220600.0212 | 2586097.8278 | 1220592.1952
23 | 2586120.0435 | 1220603.0827 | 2586127.2178 | 1220595.6171 | 2586137.2222 | 1220594.7598 | 2586140.3214 | 1220596.4313
24 | 2586120.0435 | 1220603.0827 | 2586123.0542 | 1220612.3365
25 | 2586155.7918 | 1220649.3321 | 2586136.1359 | 1220655.6375
26 | 2586123.6124 | 1220578.6269 | 2586113.694 | 1220570.9123
27 | 2586136.7683 | 1220565.06 | 2586138.8765 | 1220566.6401
28 | 2586155.7225 | 1220476.7818 | 2586161.9805 | 1220482.8818 | 2586194.5143 | 1220513.3568
29 | 2586140.3214 | 1220596.4313 | 2586142.6627 | 1220604.9307
30 | 2586140.3214 | 1220596.4313 | 2586146.5129 | 1220590.38 | 2586156.9303 | 1220587.6874 | 2586160.1798 | 1220588.8027
31 | 2586192.61 | 1220682.458 | 2586175.4678 | 1220677.8235
32 | 2586208.736 | 1220687.455 | 2586205.3328 | 1220685.8978 | 2586192.61 | 1220682.458
33 | 2586138.8765 | 1220566.6401 | 2586146.2958 | 1220572.2008
34 | 2586155.6406 | 1220579.4065 | 2586153.7816 | 1220577.8113 | 2586146.2958 | 1220572.2008
35 | 2586163.162 | 1220585.8607 | 2586155.6406 | 1220579.4065
36 | 2586160.1798 | 1220588.8027 | 2586163.162 | 1220585.8607
37 | 2586163.162 | 1220585.8607 | 2586164.2618 | 1220586.7963
38 | 2586160.1798 | 1220588.8027 | 2586163.1428 | 1220597.1005
39 | 2586164.2618 | 1220586.7963 | 2586182.5686 | 1220602.3693
40 | 2586223.4149 | 1220694.1715 | 2586208.736 | 1220687.455
41 | 2586223.4149 | 1220694.1715 | 2586222.3082 | 1220710.442
42 | 2586223.4149 | 1220694.1715 | 2586224.4144 | 1220679.5043
43 | 2586221.4711 | 1220722.7481 | 2586222.3082 | 1220710.442
44 | 2586232.2054 | 1220647.6798 | 2586224.728 | 1220674.9018 | 2586224.4144 | 1220679.5043
45 | 2586235.0188 | 1220637.434 | 2586232.2054 | 1220647.6798
46 | 2586232.2054 | 1220647.6798 | 2586242.2323 | 1220650.0134 | 2586245.9756 | 1220650.7854
47 | 2586235.0188 | 1220637.434 | 2586237.2368 | 1220638.6407 | 2586243.344 | 1220641.9729 | 2586246.8054 | 1220642.6773
48 | 2586235.0188 | 1220637.434 | 2586219.4775 | 1220625.719 | 2586219.4775 | 1220625.719
49 | 2586258.0118 | 1220653.2675 | 2586245.9756 | 1220650.7854
50 | 2586221.4711 | 1220722.7481 | 2586248.9969 | 1220726.5635
51 | 2586221.4711 | 1220722.7481 | 2586209.8506 | 1220719.8886
52 | 2586246.8054 | 1220642.6773 | 2586252.2014 | 1220643.7755 | 2586263.4893 | 1220640.3029 | 2586269.959 | 1220645.6554
53 | 2586219.4775 | 1220625.719 | 2586205.9676 | 1220630.8809
54 | 2586258.0118 | 1220653.2675 | 2586256.7499 | 1220658.6847
55 | 2586225.4955 | 1220545.1029 | 2586209.8972 | 1220528.5964 | 2586207.8101 | 1220526.5288
56 | 2586225.4955 | 1220545.1029 | 2586230.0807 | 1220552.73
57 | 2586207.8101 | 1220526.5288 | 2586196.867 | 1220515.6876
58 | 2586238.1027 | 1220567.3086 | 2586231.6491 | 1220555.339 | 2586230.0807 | 1220552.73
59 | 2586238.1027 | 1220567.3086 | 2586241.5655 | 1220578.5849 | 2586241.2358 | 1220580.32 | 2586240.9367 | 1220582.1995 | 2586241.0302 | 1220583.2888 | 2586241.7261 | 1220585.6664 | 2586243.7052 | 1220588.519 | 2586245.8862 | 1220590.0926 | 2586249.2872 | 1220591.1075 | 2586251.2065 | 1220591.0919 | 2586255.7847 | 1220595.9063 | 2586258.7353 | 1220598.9456 | 2586266.4431 | 1220605.5093
60 | 2586266.4431 | 1220605.5093 | 2586262.9675 | 1220595.267 | 2586266.5561 | 1220592.0791 | 2586268.8447 | 1220584.4916 | 2586274.1287 | 1220579.5988 | 2586281.8494 | 1220575.3673 | 2586291.0084 | 1220573.0448
61 | 2586266.4431 | 1220605.5093 | 2586270.4286 | 1220609.9248 | 2586271.7559 | 1220611.3973
62 | 2586291.0084 | 1220573.0448 | 2586295.2726 | 1220586.4537 | 2586298.1979 | 1220591.6833 | 2586298.3215 | 1220591.769
63 | 2586300.482 | 1220637.8046 | 2586291.6969 | 1220631.1767 | 2586288.3364 | 1220628.016 | 2586281.6458 | 1220621.7167 | 2586275.2888 | 1220615.3167 | 2586271.7559 | 1220611.3973
64 | 2586300.482 | 1220637.8046 | 2586281.936 | 1220655.2688 | 2586273.2717 | 1220648.396 | 2586269.959 | 1220645.6554
65 | 2586190.3274 | 1220636.8568 | 2586205.9676 | 1220630.8809
66 | 2586155.7918 | 1220649.3321 | 2586167.5424 | 1220645.5627 | 2586174.8905 | 1220642.755
67 | 2586174.8905 | 1220642.755 | 2586190.3274 | 1220636.8568
68 | 2586194.5143 | 1220513.3568 | 2586196.867 | 1220515.6876

## bus_geodata
| x | y | coords
0 | 2586174.2435 | 1220711.0428
1 | 2586183.0628 | 1220713.2967
2 | 2586173.0656 | 1220710.6904
3 | 2586189.8915 | 1220714.9771
4 | 2586157.6397 | 1220706.0763
5 | 2586197.1522 | 1220716.7638
6 | 2586163.641 | 1220692.9832
7 | 2586206.212 | 1220718.9932
8 | 2586124.1348 | 1220691.8005
9 | 2586115.9473 | 1220687.3298
10 | 2586125.1548 | 1220673.4557
11 | 2586098.4722 | 1220640.4548
12 | 2586128.599 | 1220665.6591
13 | 2586027.9461 | 1220674.2292
14 | 2586106.6469 | 1220638.6279
15 | 2586120.4404 | 1220739.9607
16 | 2586107.2713 | 1220543.1002
17 | 2586134.9722 | 1220563.7139
18 | 2586116.0749 | 1220531.0503
19 | 2586107.5871 | 1220600.0212
20 | 2586120.0435 | 1220603.0827
21 | 2586097.8278 | 1220592.1952
22 | 2586136.1359 | 1220655.6375
23 | 2586123.6124 | 1220578.6269
24 | 2586136.7683 | 1220565.06
25 | 2586155.7225 | 1220476.7818
26 | 2586140.3214 | 1220596.4313
27 | 2586123.0542 | 1220612.3365
28 | 2586113.694 | 1220570.9123
29 | 2586175.4678 | 1220677.8235
30 | 2586192.61 | 1220682.458
31 | 2586138.8765 | 1220566.6401
32 | 2586146.2958 | 1220572.2008
33 | 2586155.6406 | 1220579.4065
34 | 2586163.162 | 1220585.8607
35 | 2586160.1798 | 1220588.8027
36 | 2586164.2618 | 1220586.7963
37 | 2586208.736 | 1220687.455
38 | 2586223.4149 | 1220694.1715
39 | 2586222.3082 | 1220710.442
40 | 2586224.4144 | 1220679.5043
41 | 2586232.2054 | 1220647.6798
42 | 2586235.0188 | 1220637.434
43 | 2586245.9756 | 1220650.7854
44 | 2586221.4711 | 1220722.7481
45 | 2586246.8054 | 1220642.6773
46 | 2586219.4775 | 1220625.719
47 | 2586258.0118 | 1220653.2675
48 | 2586248.9969 | 1220726.5635
49 | 2586209.8506 | 1220719.8886
50 | 2586225.4955 | 1220545.1029
51 | 2586207.8101 | 1220526.5288
52 | 2586230.0807 | 1220552.73
53 | 2586238.1027 | 1220567.3086
54 | 2586266.4431 | 1220605.5093
55 | 2586291.0084 | 1220573.0448
56 | 2586271.7559 | 1220611.3973
57 | 2586298.3215 | 1220591.769
58 | 2586269.959 | 1220645.6554
59 | 2586205.9676 | 1220630.8809
60 | 2586256.7499 | 1220658.6847
61 | 2586300.482 | 1220637.8046
62 | 2586155.7918 | 1220649.3321
63 | 2586174.8905 | 1220642.755
64 | 2586190.3274 | 1220636.8568
65 | 2586196.867 | 1220515.6876
66 | 2586182.5686 | 1220602.3693
67 | 2586163.1428 | 1220597.1005
68 | 2586142.6627 | 1220604.9307
69 | 2586194.5143 | 1220513.3568
70 | 2586235.0188 | 1220637.434

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1