## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_371-60_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_371-60_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_371-60_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_371-60_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_371-60_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_371-60_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_371-60_0_4_node_9 | 0.4 | n |  | TRUE
7 | bus_LV_371-60_0_4_node_10 | 0.4 | n |  | TRUE
8 | bus_LV_371-60_0_4_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_371-60_0_4_node_40 | 0.4 | n |  | TRUE
10 | bus_LV_371-60_0_4_node_37 | 0.4 | n |  | TRUE
11 | bus_LV_371-60_0_4_node_17 | 0.4 | n |  | TRUE
12 | bus_LV_371-60_0_4_node_55 | 0.4 | n |  | TRUE
13 | bus_LV_371-60_0_4_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_371-60_0_4_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_371-60_0_4_node_54 | 0.4 | n |  | TRUE
16 | bus_LV_371-60_0_4_node_35 | 0.4 | n |  | TRUE
17 | bus_LV_371-60_0_4_node_20 | 0.4 | n |  | TRUE
18 | bus_LV_371-60_0_4_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_371-60_0_4_node_56 | 0.4 | n |  | TRUE
20 | bus_LV_371-60_0_4_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_371-60_0_4_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_371-60_0_4_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_371-60_0_4_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_371-60_0_4_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_371-60_0_4_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_371-60_0_4_node_65 | 0.4 | n |  | TRUE
27 | bus_LV_371-60_0_4_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_371-60_0_4_node_34 | 0.4 | n |  | TRUE
29 | bus_LV_371-60_0_4_node_32 | 0.4 | n |  | TRUE
30 | bus_LV_371-60_0_4_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_371-60_0_4_node_60 | 0.4 | n |  | TRUE
32 | bus_LV_371-60_0_4_node_39 | 0.4 | n |  | TRUE
33 | bus_LV_371-60_0_4_node_30 | 0.4 | n |  | TRUE
34 | bus_LV_371-60_0_4_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_371-60_0_4_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_371-60_0_4_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_371-60_0_4_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_371-60_0_4_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_371-60_0_4_node_29 | 0.4 | n |  | TRUE
40 | bus_LV_371-60_0_4_node_31 | 0.4 | n |  | TRUE
41 | bus_LV_371-60_0_4_node_59 | 0.4 | n |  | TRUE
42 | bus_LV_371-60_0_4_node_36 | 0.4 | n |  | TRUE
43 | bus_LV_371-60_0_4_node_38 | 0.4 | n |  | TRUE
44 | bus_LV_371-60_0_4_node_52 | 0.4 | n |  | TRUE
45 | bus_LV_371-60_0_4_node_53 | 0.4 | n |  | TRUE
46 | bus_LV_371-60_0_4_node_41 | 0.4 | n |  | TRUE
47 | bus_LV_371-60_0_4_node_42 | 0.4 | n |  | TRUE
48 | bus_LV_371-60_0_4_node_43 | 0.4 | n |  | TRUE
49 | bus_LV_371-60_0_4_node_44 | 0.4 | n |  | TRUE
50 | bus_LV_371-60_0_4_node_45 | 0.4 | n |  | TRUE
51 | bus_LV_371-60_0_4_node_46 | 0.4 | n |  | TRUE
52 | bus_LV_371-60_0_4_node_47 | 0.4 | n |  | TRUE
53 | bus_LV_371-60_0_4_node_48 | 0.4 | n |  | TRUE
54 | bus_LV_371-60_0_4_node_49 | 0.4 | n |  | TRUE
55 | bus_LV_371-60_0_4_node_63 | 0.4 | n |  | TRUE
56 | bus_LV_371-60_0_4_node_50 | 0.4 | n |  | TRUE
57 | bus_LV_371-60_0_4_node_64 | 0.4 | n |  | TRUE
58 | bus_LV_371-60_0_4_node_51 | 0.4 | n |  | TRUE
59 | bus_LV_371-60_0_4_node_57 | 0.4 | n |  | TRUE
60 | bus_LV_371-60_0_4_node_58 | 0.4 | n |  | TRUE
61 | bus_MV_309_0_node_118 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_371-60_0_4_load_0 | 0 | 0.0095526 | 0.0023941 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_371-60_0_4_load_1 | 1 | 0.0033135 | 0.00083043 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_371-60_0_4_load_2 | 2 | 0.019534 | 0.0048958 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_371-60_0_4_load_3 | 3 | 0.0050455 | 0.0012645 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_371-60_0_4_load_5 | 5 | 0.00046668 | 0.00011696 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_371-60_0_4_load_7 | 8 | 0.010928 | 0.0027388 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_371-60_0_4_load_40 | 9 | 0.010967 | 0.0027487 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_371-60_0_4_load_37 | 10 | 0.014142 | 0.0035444 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_371-60_0_4_load_55 | 12 | 0.0027545 | 0.00069035 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_371-60_0_4_load_6 | 13 | 0.024192 | 0.006063 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_371-60_0_4_load_8 | 14 | 0.079303 | 0.019875 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_371-60_0_4_load_54 | 15 | 0.006874 | 0.0017228 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_371-60_0_4_load_35 | 16 | 0.010317 | 0.0025856 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_371-60_0_4_load_20 | 17 | 0.0027548 | 0.00069043 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_371-60_0_4_load_56 | 19 | 0.0034455 | 0.00086352 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_371-60_0_4_load_11 | 20 | 0.010078 | 0.0025257 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_371-60_0_4_load_14 | 22 | 0.0071024 | 0.00178 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_371-60_0_4_load_18 | 23 | 0.0034572 | 0.00086645 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_371-60_0_4_load_19 | 24 | 0.011315 | 0.0028358 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_371-60_0_4_load_65 | 26 | 0.02643 | 0.0066241 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_371-60_0_4_load_32 | 29 | 0.0083297 | 0.0020876 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_371-60_0_4_load_21 | 30 | 0.017881 | 0.0044814 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_371-60_0_4_load_60 | 31 | 0.0025353 | 0.00063542 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_371-60_0_4_load_30 | 33 | 0.0082988 | 0.0020799 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_371-60_0_4_load_24 | 34 | 0.0029535 | 0.00074023 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_371-60_0_4_load_25 | 35 | 0.0072076 | 0.0018064 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_371-60_0_4_load_26 | 36 | 0.0035465 | 0.00088884 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_371-60_0_4_load_27 | 37 | 0.0087056 | 0.0021818 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_371-60_0_4_load_28 | 38 | 0.01106 | 0.0027718 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_371-60_0_4_load_29 | 39 | 0.010998 | 0.0027562 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_371-60_0_4_load_31 | 40 | 0.010474 | 0.002625 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_371-60_0_4_load_59 | 41 | 0.0063122 | 0.001582 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_371-60_0_4_load_36 | 42 | 0.010686 | 0.0026781 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_371-60_0_4_load_38 | 43 | 0.0046015 | 0.0011532 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_371-60_0_4_load_52 | 44 | 0.0060889 | 0.001526 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_371-60_0_4_load_53 | 45 | 0.033079 | 0.0082905 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_371-60_0_4_load_41 | 46 | 0.011546 | 0.0028937 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_371-60_0_4_load_42 | 47 | 0.020327 | 0.0050945 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_371-60_0_4_load_44 | 49 | 0.013781 | 0.0034539 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_371-60_0_4_load_45 | 50 | 0.0082695 | 0.0020725 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_371-60_0_4_load_46 | 51 | 0.023208 | 0.0058164 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_371-60_0_4_load_47 | 52 | 0.0003086 | 7.7342e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_371-60_0_4_load_48 | 53 | 0.0076666 | 0.0019214 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_371-60_0_4_load_49 | 54 | 0.017392 | 0.0043588 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_371-60_0_4_load_63 | 55 | 0.0081219 | 0.0020355 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_371-60_0_4_load_50 | 56 | 0.0023126 | 0.00057959 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_371-60_0_4_load_64 | 57 | 0.0056499 | 0.001416 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_371-60_0_4_load_51 | 58 | 0.0045813 | 0.0011482 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_371-60_0_4_load_57 | 59 | 0.0032462 | 0.00081358 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_371-60_0_4_load_58 | 60 | 0.0040237 | 0.0010084 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 9 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_371-60_0_4_line_0 |  | 0 | 1 | 0.026655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_371-60_0_4_line_1 |  | 0 | 2 | 0.033871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_371-60_0_4_line_2 |  | 1 | 3 | 0.037394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_371-60_0_4_line_3 |  | 2 | 4 | 0.083967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_371-60_0_4_line_4 |  | 3 | 5 | 0.0089124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_371-60_0_4_line_5 |  | 4 | 6 | 0.018176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_371-60_0_4_line_6 |  | 4 | 7 | 0.10838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_371-60_0_4_line_7 |  | 4 | 8 | 0.032307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_371-60_0_4_line_8 |  | 6 | 9 | 0.027655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_371-60_0_4_line_9 |  | 6 | 10 | 0.0095773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_371-60_0_4_line_10 |  | 7 | 11 | 0.023098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_371-60_0_4_line_11 |  | 7 | 12 | 0.022507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_371-60_0_4_line_12 |  | 8 | 13 | 0.0073944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_371-60_0_4_line_13 |  | 9 | 15 | 0.010307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_371-60_0_4_line_14 |  | 10 | 16 | 0.019511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_371-60_0_4_line_15 |  | 11 | 17 | 0.006925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_371-60_0_4_line_16 |  | 11 | 18 | 0.06721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_371-60_0_4_line_17 |  | 12 | 19 | 0.017237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_371-60_0_4_line_18 |  | 13 | 14 | 0.019716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_371-60_0_4_line_19 |  | 15 | 45 | 0.0032356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_371-60_0_4_line_20 |  | 16 | 42 | 0.01327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_371-60_0_4_line_21 |  | 18 | 23 | 0.0094729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_371-60_0_4_line_22 |  | 18 | 20 | 0.03352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_371-60_0_4_line_23 |  | 19 | 59 | 0.00094846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_371-60_0_4_line_24 |  | 20 | 21 | 0.057773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_371-60_0_4_line_25 |  | 21 | 22 | 0.01031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_371-60_0_4_line_26 |  | 22 | 24 | 0.062056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_371-60_0_4_line_27 |  | 23 | 30 | 0.022779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_371-60_0_4_line_28 |  | 25 | 26 | 0.010788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_371-60_0_4_line_29 |  | 25 | 27 | 0.062097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_371-60_0_4_line_30 |  | 27 | 28 | 0.096031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_371-60_0_4_line_31 |  | 27 | 29 | 0.065852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_371-60_0_4_line_32 |  | 28 | 31 | 0.014536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_371-60_0_4_line_33 |  | 28 | 32 | 0.027871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_371-60_0_4_line_34 |  | 29 | 33 | 0.013303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_371-60_0_4_line_35 |  | 30 | 34 | 0.024925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_371-60_0_4_line_36 |  | 32 | 41 | 0.01482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_371-60_0_4_line_37 |  | 33 | 38 | 0.029292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_371-60_0_4_line_38 |  | 34 | 35 | 0.014385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_371-60_0_4_line_39 |  | 35 | 36 | 0.0018249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_371-60_0_4_line_40 |  | 37 | 38 | 0.0031769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_371-60_0_4_line_41 |  | 37 | 39 | 0.021156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_371-60_0_4_line_42 |  | 39 | 40 | 0.00043277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_371-60_0_4_line_43 |  | 41 | 44 | 0.0015297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_371-60_0_4_line_44 |  | 42 | 43 | 0.019452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_371-60_0_4_line_45 |  | 44 | 58 | 0.024908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_371-60_0_4_line_46 |  | 45 | 54 | 0.010645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_371-60_0_4_line_47 |  | 46 | 47 | 0.022379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_371-60_0_4_line_48 |  | 46 | 48 | 0.013615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_371-60_0_4_line_49 |  | 47 | 49 | 0.014834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_371-60_0_4_line_50 |  | 48 | 50 | 0.013186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_371-60_0_4_line_51 |  | 48 | 51 | 0.026922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
52 | LV_371-60_0_4_line_52 |  | 49 | 52 | 0.0087126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_371-60_0_4_line_53 |  | 50 | 53 | 0.022084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_371-60_0_4_line_54 |  | 51 | 54 | 0.016118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
55 | LV_371-60_0_4_line_55 |  | 52 | 55 | 0.0054158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_371-60_0_4_line_56 |  | 53 | 56 | 0.009533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_371-60_0_4_line_57 |  | 55 | 57 | 0.003487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_371-60_0_4_line_58 |  | 56 | 58 | 0.0012382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_371-60_0_4_line_59 |  | 59 | 60 | 0.015848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_371-60_0_4_trafo_40 | 0.63 MVA 20/0.4 kV | 61 | 9 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2586383.5051 | 1220854.6716 | 2586407.9289 | 1220865.3461
1 | 2586391.4412 | 1220821.747 | 2586390.3598 | 1220826.9509 | 2586385.3766 | 1220847.1073 | 2586383.5051 | 1220854.6716 | 2586383.5051 | 1220854.6716
2 | 2586442.193 | 1220880.3214 | 2586407.9289 | 1220865.3461
3 | 2586396.3889 | 1220740.3648 | 2586396.6457 | 1220753.0938 | 2586402.9275 | 1220766.476 | 2586391.4412 | 1220821.747
4 | 2586450.3595 | 1220883.8906 | 2586442.193 | 1220880.3214
5 | 2586396.3889 | 1220740.3648 | 2586389.0921 | 1220734.267 | 2586383.1148 | 1220727.9549
6 | 2586396.3889 | 1220740.3648 | 2586403.3917 | 1220744.0175 | 2586408.8207 | 1220746.1174 | 2586428.526 | 1220754.4992 | 2586470.6453 | 1220771.457 | 2586478.3083 | 1220775.2306 | 2586485.4888 | 1220780.2949 | 2586493.2815 | 1220787.7259
7 | 2586396.3889 | 1220740.3648 | 2586384.0654 | 1220752.0221 | 2586371.9552 | 1220757.4642 | 2586370.6449 | 1220759.062
8 | 2586383.1148 | 1220727.9549 | 2586366.2043 | 1220734.1752 | 2586356.5794 | 1220733.7082
9 | 2586383.1148 | 1220727.9549 | 2586377.7541 | 1220720.0184
10 | 2586495.2271 | 1220769.3441 | 2586492.2012 | 1220773.0977 | 2586494.4516 | 1220775.2382 | 2586489.8902 | 1220780.9297 | 2586492.9179 | 1220784.6249 | 2586493.2815 | 1220787.7259
11 | 2586493.2815 | 1220787.7259 | 2586496.0565 | 1220790.3655 | 2586499.0586 | 1220792.8156 | 2586510.5083 | 1220802.1961
12 | 2586367.3895 | 1220765.4675 | 2586368.082 | 1220762.187 | 2586370.6449 | 1220759.062
13 | 2586356.5794 | 1220733.7082 | 2586346.2846 | 1220733.2087
14 | 2586366.9128 | 1220703.7975 | 2586369.2911 | 1220707.4749 | 2586375.1297 | 1220716.1331 | 2586377.7541 | 1220720.0184
15 | 2586495.2271 | 1220769.3441 | 2586500.4946 | 1220773.8569
16 | 2586453.5353 | 1220717.0426 | 2586457.999 | 1220724.9925 | 2586466.0521 | 1220736.7586 | 2586476.3562 | 1220750.9322 | 2586491.0618 | 1220765.7849 | 2586495.2271 | 1220769.3441
17 | 2586510.5083 | 1220802.1961 | 2586512.9292 | 1220804.1794 | 2586523.5391 | 1220813.4778
18 | 2586367.3895 | 1220765.4675 | 2586363.3172 | 1220784.7586
19 | 2586346.2846 | 1220733.2087 | 2586343.0529 | 1220733.0519
20 | 2586366.9128 | 1220703.7975 | 2586363.2461 | 1220698.1278 | 2586359.4496 | 1220692.8296
21 | 2586453.5353 | 1220717.0426 | 2586462.0258 | 1220721.2433
22 | 2586453.5353 | 1220717.0426 | 2586450.4556 | 1220713.8811 | 2586441.8064 | 1220686.0889
23 | 2586524.2524 | 1220814.1029 | 2586523.5391 | 1220813.4778
24 | 2586424.639 | 1220630.9257 | 2586441.8064 | 1220686.0889
25 | 2586424.639 | 1220630.9257 | 2586433.2746 | 1220636.5585
26 | 2586433.2746 | 1220636.5585 | 2586472.3143 | 1220662.0234 | 2586485.2207 | 1220670.5082
27 | 2586483.7993 | 1220727.7497 | 2586464.9427 | 1220722.6864 | 2586462.0258 | 1220721.2433
28 | 2586339.6348 | 1220565.428 | 2586343.9136 | 1220575.3349
29 | 2586291.0084 | 1220573.0448 | 2586288.5911 | 1220564.4232 | 2586299.7445 | 1220561.7625 | 2586311.4465 | 1220560.0789 | 2586325.5233 | 1220558.5566 | 2586339.6348 | 1220565.428
30 | 2586291.0084 | 1220573.0448 | 2586281.8494 | 1220575.3673 | 2586274.1287 | 1220579.5988 | 2586268.8447 | 1220584.4916 | 2586266.5561 | 1220592.0791 | 2586262.9675 | 1220595.267 | 2586266.4431 | 1220605.5093 | 2586270.4286 | 1220609.9248 | 2586275.2888 | 1220615.3167 | 2586281.6458 | 1220621.7167 | 2586288.3364 | 1220628.016 | 2586291.6969 | 1220631.1767 | 2586300.482 | 1220637.8046
31 | 2586291.0084 | 1220573.0448 | 2586295.2726 | 1220586.4537 | 2586298.1979 | 1220591.6833 | 2586302.6887 | 1220594.7969 | 2586308.017 | 1220595.9519 | 2586312.0203 | 1220598.244 | 2586314.9085 | 1220603.8517 | 2586316.0792 | 1220611.4422 | 2586315.038 | 1220620.4943 | 2586314.8846 | 1220623.0183 | 2586315.2262 | 1220626.3862 | 2586315.9832 | 1220627.3755
32 | 2586300.482 | 1220637.8046 | 2586289.8994 | 1220647.7699
33 | 2586322.8018 | 1220654.5738 | 2586301.3334 | 1220638.5586 | 2586300.482 | 1220637.8046
34 | 2586315.9832 | 1220627.3755 | 2586316.7632 | 1220628.3949 | 2586326.4112 | 1220635.5631
35 | 2586483.7993 | 1220727.7497 | 2586507.8713 | 1220734.2135
36 | 2586322.8018 | 1220654.5738 | 2586313.714 | 1220666.2803
37 | 2586350.0444 | 1220652.8632 | 2586346.15 | 1220650.2285 | 2586326.4112 | 1220635.5631
38 | 2586521.7638 | 1220737.9439 | 2586507.8713 | 1220734.2135
39 | 2586521.7638 | 1220737.9439 | 2586523.5262 | 1220738.4171
40 | 2586352.6757 | 1220654.6433 | 2586350.0444 | 1220652.8632
41 | 2586352.6757 | 1220654.6433 | 2586363.2154 | 1220661.7736 | 2586367.6914 | 1220668.9185
42 | 2586367.9211 | 1220669.2852 | 2586367.6914 | 1220668.9185
43 | 2586312.776 | 1220667.4887 | 2586313.714 | 1220666.2803
44 | 2586359.4496 | 1220692.8296 | 2586355.2929 | 1220687.0287 | 2586347.6856 | 1220677.3433
45 | 2586296.2518 | 1220686.0574 | 2586300.1052 | 1220681.4974 | 2586307.2129 | 1220674.6548 | 2586312.776 | 1220667.4887
46 | 2586332.4207 | 1220732.5361 | 2586343.0529 | 1220733.0519
47 | 2586275.8365 | 1220729.6979 | 2586268.8015 | 1220729.3086 | 2586253.6134 | 1220727.2034
48 | 2586289.431 | 1220730.4503 | 2586275.8365 | 1220729.6979
49 | 2586238.9197 | 1220725.1667 | 2586253.6134 | 1220727.2034
50 | 2586289.431 | 1220730.4503 | 2586289.7266 | 1220717.2679
51 | 2586289.431 | 1220730.4503 | 2586316.3215 | 1220731.755
52 | 2586230.2896 | 1220723.9704 | 2586238.9197 | 1220725.1667
53 | 2586291.2063 | 1220695.3699 | 2586290.1232 | 1220698.497 | 2586289.8917 | 1220709.9041 | 2586289.7266 | 1220717.2679
54 | 2586316.3215 | 1220731.755 | 2586332.4207 | 1220732.5361
55 | 2586230.2896 | 1220723.9704 | 2586224.9251 | 1220723.2269
56 | 2586291.2063 | 1220695.3699 | 2586293.1677 | 1220689.7071 | 2586295.4526 | 1220687.0031
57 | 2586221.4711 | 1220722.7481 | 2586224.9251 | 1220723.2269
58 | 2586296.2518 | 1220686.0574 | 2586295.4526 | 1220687.0031
59 | 2586536.1708 | 1220824.548 | 2586524.2524 | 1220814.1029

## bus_geodata
| x | y | coords
0 | 2586383.5051 | 1220854.6716
1 | 2586407.9289 | 1220865.3461
2 | 2586391.4412 | 1220821.747
3 | 2586442.193 | 1220880.3214
4 | 2586396.3889 | 1220740.3648
5 | 2586450.3595 | 1220883.8906
6 | 2586383.1148 | 1220727.9549
7 | 2586493.2815 | 1220787.7259
8 | 2586370.6449 | 1220759.062
9 | 2586356.5794 | 1220733.7082
10 | 2586377.7541 | 1220720.0184
11 | 2586495.2271 | 1220769.3441
12 | 2586510.5083 | 1220802.1961
13 | 2586367.3895 | 1220765.4675
14 | 2586363.3172 | 1220784.7586
15 | 2586346.2846 | 1220733.2087
16 | 2586366.9128 | 1220703.7975
17 | 2586500.4946 | 1220773.8569
18 | 2586453.5353 | 1220717.0426
19 | 2586523.5391 | 1220813.4778
20 | 2586441.8064 | 1220686.0889
21 | 2586424.639 | 1220630.9257
22 | 2586433.2746 | 1220636.5585
23 | 2586462.0258 | 1220721.2433
24 | 2586485.2207 | 1220670.5082
25 | 2586339.6348 | 1220565.428
26 | 2586343.9136 | 1220575.3349
27 | 2586291.0084 | 1220573.0448
28 | 2586300.482 | 1220637.8046
29 | 2586315.9832 | 1220627.3755
30 | 2586483.7993 | 1220727.7497
31 | 2586289.8994 | 1220647.7699
32 | 2586322.8018 | 1220654.5738
33 | 2586326.4112 | 1220635.5631
34 | 2586507.8713 | 1220734.2135
35 | 2586521.7638 | 1220737.9439
36 | 2586523.5262 | 1220738.4171
37 | 2586352.6757 | 1220654.6433
38 | 2586350.0444 | 1220652.8632
39 | 2586367.6914 | 1220668.9185
40 | 2586367.9211 | 1220669.2852
41 | 2586313.714 | 1220666.2803
42 | 2586359.4496 | 1220692.8296
43 | 2586347.6856 | 1220677.3433
44 | 2586312.776 | 1220667.4887
45 | 2586343.0529 | 1220733.0519
46 | 2586275.8365 | 1220729.6979
47 | 2586253.6134 | 1220727.2034
48 | 2586289.431 | 1220730.4503
49 | 2586238.9197 | 1220725.1667
50 | 2586289.7266 | 1220717.2679
51 | 2586316.3215 | 1220731.755
52 | 2586230.2896 | 1220723.9704
53 | 2586291.2063 | 1220695.3699
54 | 2586332.4207 | 1220732.5361
55 | 2586224.9251 | 1220723.2269
56 | 2586295.4526 | 1220687.0031
57 | 2586221.4711 | 1220722.7481
58 | 2586296.2518 | 1220686.0574
59 | 2586524.2524 | 1220814.1029
60 | 2586536.1708 | 1220824.548
61 | 2586383.1148 | 1220727.9549

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1