## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_371-65_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_371-65_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_371-65_0_5_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_371-65_0_5_node_6 | 0.4 | n |  | TRUE
4 | bus_LV_371-65_0_5_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_371-65_0_5_node_97 | 0.4 | n |  | TRUE
6 | bus_LV_371-65_0_5_node_18 | 0.4 | n |  | TRUE
7 | bus_LV_371-65_0_5_node_17 | 0.4 | n |  | TRUE
8 | bus_LV_371-65_0_5_node_52 | 0.4 | n |  | TRUE
9 | bus_LV_371-65_0_5_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_371-65_0_5_node_63 | 0.4 | n |  | TRUE
11 | bus_LV_371-65_0_5_node_64 | 0.4 | n |  | TRUE
12 | bus_LV_371-65_0_5_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_371-65_0_5_node_60 | 0.4 | n |  | TRUE
14 | bus_LV_371-65_0_5_node_47 | 0.4 | n |  | TRUE
15 | bus_LV_371-65_0_5_node_89 | 0.4 | n |  | TRUE
16 | bus_LV_371-65_0_5_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_371-65_0_5_node_54 | 0.4 | n |  | TRUE
18 | bus_LV_371-65_0_5_node_62 | 0.4 | n |  | TRUE
19 | bus_LV_371-65_0_5_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_371-65_0_5_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_371-65_0_5_node_25 | 0.4 | n |  | TRUE
22 | bus_LV_371-65_0_5_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_371-65_0_5_node_32 | 0.4 | n |  | TRUE
24 | bus_LV_371-65_0_5_node_87 | 0.4 | n |  | TRUE
25 | bus_LV_371-65_0_5_node_75 | 0.4 | n |  | TRUE
26 | bus_LV_371-65_0_5_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_371-65_0_5_node_58 | 0.4 | n |  | TRUE
28 | bus_LV_371-65_0_5_node_55 | 0.4 | n |  | TRUE
29 | bus_LV_371-65_0_5_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_371-65_0_5_node_80 | 0.4 | n |  | TRUE
31 | bus_LV_371-65_0_5_node_79 | 0.4 | n |  | TRUE
32 | bus_LV_371-65_0_5_node_48 | 0.4 | n |  | TRUE
33 | bus_LV_371-65_0_5_node_40 | 0.4 | n |  | TRUE
34 | bus_LV_371-65_0_5_node_19 | 0.4 | n |  | TRUE
35 | bus_LV_371-65_0_5_node_21 | 0.4 | n |  | TRUE
36 | bus_LV_371-65_0_5_node_36 | 0.4 | n |  | TRUE
37 | bus_LV_371-65_0_5_node_20 | 0.4 | n |  | TRUE
38 | bus_LV_371-65_0_5_node_26 | 0.4 | n |  | TRUE
39 | bus_LV_371-65_0_5_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_371-65_0_5_node_91 | 0.4 | n |  | TRUE
41 | bus_LV_371-65_0_5_node_90 | 0.4 | n |  | TRUE
42 | bus_LV_371-65_0_5_node_51 | 0.4 | n |  | TRUE
43 | bus_LV_371-65_0_5_node_94 | 0.4 | n |  | TRUE
44 | bus_LV_371-65_0_5_node_61 | 0.4 | n |  | TRUE
45 | bus_LV_371-65_0_5_node_45 | 0.4 | n |  | TRUE
46 | bus_LV_371-65_0_5_node_88 | 0.4 | n |  | TRUE
47 | bus_LV_371-65_0_5_node_53 | 0.4 | n |  | TRUE
48 | bus_LV_371-65_0_5_node_70 | 0.4 | n |  | TRUE
49 | bus_LV_371-65_0_5_node_65 | 0.4 | n |  | TRUE
50 | bus_LV_371-65_0_5_node_23 | 0.4 | n |  | TRUE
51 | bus_LV_371-65_0_5_node_31 | 0.4 | n |  | TRUE
52 | bus_LV_371-65_0_5_node_85 | 0.4 | n |  | TRUE
53 | bus_LV_371-65_0_5_node_77 | 0.4 | n |  | TRUE
54 | bus_LV_371-65_0_5_node_78 | 0.4 | n |  | TRUE
55 | bus_LV_371-65_0_5_node_76 | 0.4 | n |  | TRUE
56 | bus_LV_371-65_0_5_node_56 | 0.4 | n |  | TRUE
57 | bus_LV_371-65_0_5_node_81 | 0.4 | n |  | TRUE
58 | bus_LV_371-65_0_5_node_49 | 0.4 | n |  | TRUE
59 | bus_LV_371-65_0_5_node_41 | 0.4 | n |  | TRUE
60 | bus_LV_371-65_0_5_node_37 | 0.4 | n |  | TRUE
61 | bus_LV_371-65_0_5_node_24 | 0.4 | n |  | TRUE
62 | bus_LV_371-65_0_5_node_34 | 0.4 | n |  | TRUE
63 | bus_LV_371-65_0_5_node_92 | 0.4 | n |  | TRUE
64 | bus_LV_371-65_0_5_node_22 | 0.4 | n |  | TRUE
65 | bus_LV_371-65_0_5_node_27 | 0.4 | n |  | TRUE
66 | bus_LV_371-65_0_5_node_28 | 0.4 | n |  | TRUE
67 | bus_LV_371-65_0_5_node_29 | 0.4 | n |  | TRUE
68 | bus_LV_371-65_0_5_node_30 | 0.4 | n |  | TRUE
69 | bus_LV_371-65_0_5_node_35 | 0.4 | n |  | TRUE
70 | bus_LV_371-65_0_5_node_39 | 0.4 | n |  | TRUE
71 | bus_LV_371-65_0_5_node_38 | 0.4 | n |  | TRUE
72 | bus_LV_371-65_0_5_node_42 | 0.4 | n |  | TRUE
73 | bus_LV_371-65_0_5_node_46 | 0.4 | n |  | TRUE
74 | bus_LV_371-65_0_5_node_44 | 0.4 | n |  | TRUE
75 | bus_LV_371-65_0_5_node_43 | 0.4 | n |  | TRUE
76 | bus_LV_371-65_0_5_node_50 | 0.4 | n |  | TRUE
77 | bus_LV_371-65_0_5_node_59 | 0.4 | n |  | TRUE
78 | bus_LV_371-65_0_5_node_67 | 0.4 | n |  | TRUE
79 | bus_LV_371-65_0_5_node_57 | 0.4 | n |  | TRUE
80 | bus_LV_371-65_0_5_node_66 | 0.4 | n |  | TRUE
81 | bus_LV_371-65_0_5_node_69 | 0.4 | n |  | TRUE
82 | bus_LV_371-65_0_5_node_68 | 0.4 | n |  | TRUE
83 | bus_LV_371-65_0_5_node_95 | 0.4 | n |  | TRUE
84 | bus_LV_371-65_0_5_node_73 | 0.4 | n |  | TRUE
85 | bus_LV_371-65_0_5_node_72 | 0.4 | n |  | TRUE
86 | bus_LV_371-65_0_5_node_71 | 0.4 | n |  | TRUE
87 | bus_LV_371-65_0_5_node_74 | 0.4 | n |  | TRUE
88 | bus_LV_371-65_0_5_node_82 | 0.4 | n |  | TRUE
89 | bus_LV_371-65_0_5_node_83 | 0.4 | n |  | TRUE
90 | bus_LV_371-65_0_5_node_84 | 0.4 | n |  | TRUE
91 | bus_LV_371-65_0_5_node_86 | 0.4 | n |  | TRUE
92 | bus_LV_371-65_0_5_node_96 | 0.4 | n |  | TRUE
93 | bus_MV_348_0_node_68 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_371-65_0_5_load_0 | 0 | 0.0053273 | 0.0013351 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_371-65_0_5_load_1 | 1 | 0.019794 | 0.0049609 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_371-65_0_5_load_97 | 5 | 0.010398 | 0.0026061 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_371-65_0_5_load_52 | 8 | 0.003124 | 0.00078296 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_371-65_0_5_load_63 | 10 | 0.0095388 | 0.0023907 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_371-65_0_5_load_64 | 11 | 0.0039912 | 0.0010003 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_371-65_0_5_load_60 | 13 | 0.008816 | 0.0022095 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_371-65_0_5_load_47 | 14 | 0.0081327 | 0.0020382 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_371-65_0_5_load_89 | 15 | 0.012776 | 0.0032019 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_371-65_0_5_load_54 | 17 | 0.0095046 | 0.0023821 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_371-65_0_5_load_62 | 18 | 0.0060647 | 0.00152 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_371-65_0_5_load_25 | 21 | 0.009172 | 0.0022987 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_371-65_0_5_load_32 | 23 | 0.021755 | 0.0054522 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_371-65_0_5_load_87 | 24 | 0.0053863 | 0.0013499 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_371-65_0_5_load_75 | 25 | 0.0056037 | 0.0014044 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_371-65_0_5_load_58 | 27 | 0.019248 | 0.004824 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_371-65_0_5_load_55 | 28 | 0.018475 | 0.0046302 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_371-65_0_5_load_80 | 30 | 0.0035163 | 0.00088126 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_371-65_0_5_load_79 | 31 | 0.0060661 | 0.0015203 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_371-65_0_5_load_48 | 32 | 0.012338 | 0.0030921 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_371-65_0_5_load_40 | 33 | 0.0082653 | 0.0020715 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_371-65_0_5_load_36 | 36 | 0.0069786 | 0.001749 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_371-65_0_5_load_26 | 38 | 0.0021653 | 0.00054269 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_371-65_0_5_load_33 | 39 | 0.013138 | 0.0032926 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_371-65_0_5_load_90 | 41 | 0.0031319 | 0.00078493 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_371-65_0_5_load_51 | 42 | 0.0052152 | 0.001307 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_371-65_0_5_load_94 | 43 | 0.0043202 | 0.0010827 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_371-65_0_5_load_61 | 44 | 0.0078209 | 0.0019601 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_371-65_0_5_load_45 | 45 | 0.0042814 | 0.001073 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_371-65_0_5_load_88 | 46 | 0.0022131 | 0.00055466 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_371-65_0_5_load_53 | 47 | 0.0039048 | 0.00097863 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_371-65_0_5_load_70 | 48 | 0.0030281 | 0.00075892 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_371-65_0_5_load_23 | 50 | 0.0026467 | 0.00066333 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_371-65_0_5_load_31 | 51 | 0.0028326 | 0.00070991 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_371-65_0_5_load_85 | 52 | 0.0044051 | 0.001104 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_371-65_0_5_load_77 | 53 | 0.0055496 | 0.0013909 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_371-65_0_5_load_78 | 54 | 0.010719 | 0.0026864 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_371-65_0_5_load_76 | 55 | 0.0080286 | 0.0020122 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_371-65_0_5_load_56 | 56 | 0.014374 | 0.0036024 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_371-65_0_5_load_81 | 57 | 0.00702 | 0.0017594 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_371-65_0_5_load_49 | 58 | 0.022492 | 0.0056371 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_371-65_0_5_load_41 | 59 | 0.0081379 | 0.0020396 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_371-65_0_5_load_37 | 60 | 0.016018 | 0.0040146 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_371-65_0_5_load_34 | 62 | 0.001642 | 0.00041152 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_371-65_0_5_load_92 | 63 | 0.0027898 | 0.00069919 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_371-65_0_5_load_22 | 64 | 0.016305 | 0.0040865 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_371-65_0_5_load_27 | 65 | 0.0061987 | 0.0015535 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_371-65_0_5_load_28 | 66 | 0.0028959 | 0.00072578 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_371-65_0_5_load_29 | 67 | 0.014649 | 0.0036715 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_371-65_0_5_load_30 | 68 | 0.0065525 | 0.0016422 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_371-65_0_5_load_35 | 69 | 0.0019107 | 0.00047886 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_371-65_0_5_load_39 | 70 | 0.0069336 | 0.0017377 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_371-65_0_5_load_38 | 71 | 0.0022878 | 0.00057339 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_371-65_0_5_load_42 | 72 | 0.0056673 | 0.0014204 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_371-65_0_5_load_46 | 73 | 0.010112 | 0.0025342 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_371-65_0_5_load_44 | 74 | 0.0040376 | 0.0010119 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_371-65_0_5_load_43 | 75 | 0.010327 | 0.0025882 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_371-65_0_5_load_50 | 76 | 0.009149 | 0.0022929 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_371-65_0_5_load_59 | 77 | 0.0047517 | 0.0011909 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_371-65_0_5_load_67 | 78 | 0.0052374 | 0.0013126 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_371-65_0_5_load_57 | 79 | 0.0020782 | 0.00052083 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_371-65_0_5_load_66 | 80 | 0.0074565 | 0.0018688 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_371-65_0_5_load_69 | 81 | 0.0026949 | 0.00067542 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_371-65_0_5_load_68 | 82 | 0.0091696 | 0.0022981 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_371-65_0_5_load_95 | 83 | 0.0023167 | 0.00058061 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_371-65_0_5_load_73 | 84 | 0.002847 | 0.00071353 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_371-65_0_5_load_71 | 86 | 0.042085 | 0.010548 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_371-65_0_5_load_74 | 87 | 0.015129 | 0.0037916 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_371-65_0_5_load_82 | 88 | 0.0030212 | 0.00075718 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_371-65_0_5_load_83 | 89 | 0.0044497 | 0.0011152 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_371-65_0_5_load_84 | 90 | 0.0057633 | 0.0014444 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_371-65_0_5_load_86 | 91 | 0.0062875 | 0.0015758 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_371-65_0_5_load_96 | 92 | 0.0053508 | 0.001341 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 28 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_371-65_0_5_line_0 |  | 0 | 1 | 0.015316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_371-65_0_5_line_1 |  | 1 | 2 | 0.012535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_371-65_0_5_line_2 |  | 2 | 3 | 0.036434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_371-65_0_5_line_3 |  | 3 | 7 | 0.011565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_371-65_0_5_line_4 |  | 3 | 8 | 0.010568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_371-65_0_5_line_5 |  | 4 | 5 | 0.005276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_371-65_0_5_line_6 |  | 4 | 6 | 0.007968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_371-65_0_5_line_7 |  | 6 | 33 | 0.013599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_371-65_0_5_line_8 |  | 7 | 32 | 0.029186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_371-65_0_5_line_9 |  | 8 | 42 | 0.013716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_371-65_0_5_line_10 |  | 9 | 10 | 0.011094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_371-65_0_5_line_11 |  | 9 | 11 | 0.0074648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_371-65_0_5_line_12 |  | 9 | 12 | 0.010508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_371-65_0_5_line_13 |  | 9 | 13 | 0.015797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_371-65_0_5_line_14 |  | 10 | 27 | 0.023382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_371-65_0_5_line_15 |  | 11 | 43 | 0.01517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_371-65_0_5_line_16 |  | 12 | 14 | 0.0028336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_371-65_0_5_line_17 |  | 12 | 15 | 0.012667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_371-65_0_5_line_18 |  | 13 | 44 | 0.015466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_371-65_0_5_line_19 |  | 14 | 45 | 0.0074659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_371-65_0_5_line_20 |  | 15 | 46 | 0.014104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_371-65_0_5_line_21 |  | 16 | 17 | 0.015279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_371-65_0_5_line_22 |  | 16 | 18 | 0.014274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_371-65_0_5_line_23 |  | 17 | 47 | 0.0035227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_371-65_0_5_line_24 |  | 18 | 44 | 0.015085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_371-65_0_5_line_25 |  | 19 | 20 | 0.007435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_371-65_0_5_line_26 |  | 19 | 21 | 0.012059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_371-65_0_5_line_27 |  | 19 | 22 | 0.012109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_371-65_0_5_line_28 |  | 19 | 23 | 0.0139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_371-65_0_5_line_29 |  | 20 | 24 | 0.026101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_371-65_0_5_line_30 |  | 21 | 50 | 0.023327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_371-65_0_5_line_31 |  | 22 | 25 | 0.0124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_371-65_0_5_line_32 |  | 23 | 51 | 0.01143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_371-65_0_5_line_33 |  | 24 | 52 | 0.0094507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_371-65_0_5_line_34 |  | 25 | 55 | 0.00012827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_371-65_0_5_line_35 |  | 26 | 27 | 0.029662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_371-65_0_5_line_36 |  | 26 | 28 | 0.014442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_371-65_0_5_line_37 |  | 28 | 56 | 0.030439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_371-65_0_5_line_38 |  | 29 | 30 | 0.019712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_371-65_0_5_line_39 |  | 29 | 31 | 0.013665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_371-65_0_5_line_40 |  | 30 | 57 | 0.020774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_371-65_0_5_line_41 |  | 31 | 54 | 0.013694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_371-65_0_5_line_42 |  | 32 | 58 | 0.017384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_371-65_0_5_line_43 |  | 33 | 59 | 0.015065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_371-65_0_5_line_44 |  | 34 | 35 | 0.015648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_371-65_0_5_line_45 |  | 34 | 36 | 0.043291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_371-65_0_5_line_46 |  | 35 | 40 | 0.063031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_371-65_0_5_line_47 |  | 35 | 41 | 0.11745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_371-65_0_5_line_48 |  | 36 | 60 | 0.03139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_371-65_0_5_line_49 |  | 37 | 38 | 0.024669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_371-65_0_5_line_50 |  | 37 | 39 | 0.043599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_371-65_0_5_line_51 |  | 38 | 61 | 0.01327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_371-65_0_5_line_52 |  | 39 | 62 | 0.013912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_371-65_0_5_line_53 |  | 40 | 63 | 0.067197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_371-65_0_5_line_54 |  | 43 | 83 | 0.00098891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_371-65_0_5_line_55 |  | 45 | 75 | 0.009646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_371-65_0_5_line_56 |  | 46 | 91 | 0.0038705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
57 | LV_371-65_0_5_line_57 |  | 48 | 49 | 0.022911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_371-65_0_5_line_58 |  | 49 | 81 | 0.02496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
59 | LV_371-65_0_5_line_59 |  | 49 | 82 | 0.024674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
60 | LV_371-65_0_5_line_60 |  | 49 | 79 | 0.026793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
61 | LV_371-65_0_5_line_61 |  | 50 | 64 | 0.0080992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_371-65_0_5_line_62 |  | 51 | 67 | 0.011194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_371-65_0_5_line_63 |  | 52 | 89 | 0.011492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
64 | LV_371-65_0_5_line_64 |  | 53 | 54 | 0.013487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_371-65_0_5_line_65 |  | 55 | 80 | 0.024295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
66 | LV_371-65_0_5_line_66 |  | 57 | 88 | 0.016461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_371-65_0_5_line_67 |  | 58 | 76 | 0.013942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_371-65_0_5_line_68 |  | 59 | 72 | 3.6814e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_371-65_0_5_line_69 |  | 60 | 71 | 0.02484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_371-65_0_5_line_70 |  | 61 | 64 | 0.015426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_371-65_0_5_line_71 |  | 62 | 69 | 0.007086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_371-65_0_5_line_72 |  | 65 | 66 | 0.013208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_371-65_0_5_line_73 |  | 65 | 67 | 0.030867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_371-65_0_5_line_74 |  | 66 | 68 | 0.002732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_371-65_0_5_line_75 |  | 69 | 70 | 0.0057573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_371-65_0_5_line_76 |  | 70 | 71 | 0.0028979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_371-65_0_5_line_77 |  | 72 | 73 | 0.015882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_371-65_0_5_line_78 |  | 73 | 74 | 0.0055107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_371-65_0_5_line_79 |  | 74 | 75 | 0.011049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_371-65_0_5_line_80 |  | 76 | 77 | 0.017086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
81 | LV_371-65_0_5_line_81 |  | 77 | 78 | 0.0078067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
82 | LV_371-65_0_5_line_82 |  | 78 | 82 | 0.029636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
83 | LV_371-65_0_5_line_83 |  | 79 | 80 | 0.0058731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
84 | LV_371-65_0_5_line_84 |  | 81 | 84 | 0.00036185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_371-65_0_5_line_85 |  | 83 | 92 | 0.011245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_371-65_0_5_line_86 |  | 84 | 85 | 0.023227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_371-65_0_5_line_87 |  | 85 | 87 | 0.020456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_371-65_0_5_line_88 |  | 85 | 86 | 0.02644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_371-65_0_5_line_89 |  | 87 | 88 | 0.013683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_371-65_0_5_line_90 |  | 89 | 90 | 0.0024854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
91 | LV_371-65_0_5_line_91 |  | 90 | 91 | 0.013027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_371-65_0_5_trafo_55 | 0.63 MVA 20/0.4 kV | 93 | 28 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2587036.6603 | 1222344.8672 | 2587023.4308 | 1222337.1501
1 | 2587012.6029 | 1222330.834 | 2587023.4308 | 1222337.1501
2 | 2586983.2065 | 1222313.4663 | 2586988.0689 | 1222313.9003 | 2586987.8942 | 1222317.2471 | 2586992.3283 | 1222319.4942 | 2587012.6029 | 1222330.834
3 | 2586983.1052 | 1222301.9043 | 2586983.2065 | 1222313.4663
4 | 2586983.2065 | 1222313.4663 | 2586982.5989 | 1222316.5584 | 2586980.9546 | 1222320.6644 | 2586979.6587 | 1222323.3632
5 | 2586961.4127 | 1222404.3115 | 2586965.1738 | 1222400.601
6 | 2586961.4127 | 1222404.3115 | 2586955.7218 | 1222409.9051
7 | 2586955.7218 | 1222409.9051 | 2586945.383 | 1222401.0706
8 | 2586983.1052 | 1222301.9043 | 2586977.6501 | 1222300.9713 | 2586971.7909 | 1222299.0609 | 2586966.7192 | 1222296.6151 | 2586956.3942 | 1222290.7824
9 | 2586973.1183 | 1222335.4175 | 2586979.0522 | 1222324.6264 | 2586979.6587 | 1222323.3632
10 | 2586901.503 | 1222348.0779 | 2586892.8918 | 1222341.0838
11 | 2586901.503 | 1222348.0779 | 2586905.6571 | 1222341.8757
12 | 2586894.9153 | 1222356.2639 | 2586898.2281 | 1222352.1541 | 2586901.503 | 1222348.0779
13 | 2586901.503 | 1222348.0779 | 2586913.7387 | 1222358.0695
14 | 2586892.8918 | 1222341.0838 | 2586886.7328 | 1222336.0814 | 2586882.3419 | 1222329.3872 | 2586876.5294 | 1222324.7397
15 | 2586905.6571 | 1222341.8757 | 2586914.0992 | 1222329.2717
16 | 2586894.9153 | 1222356.2639 | 2586897.033 | 1222358.1466
17 | 2586894.9153 | 1222356.2639 | 2586884.8522 | 1222348.5709
18 | 2586913.7387 | 1222358.0695 | 2586925.7183 | 1222367.852
19 | 2586902.6125 | 1222363.1073 | 2586897.033 | 1222358.1466
20 | 2586873.6473 | 1222340.0051 | 2586884.8522 | 1222348.5709
21 | 2586948.6132 | 1222377.9133 | 2586952.4022 | 1222373.091 | 2586956.8094 | 1222365.0761
22 | 2586948.6132 | 1222377.9133 | 2586945.3597 | 1222381.4114 | 2586944.5792 | 1222381.7022 | 2586943.7528 | 1222381.7929 | 2586942.9334 | 1222381.6502 | 2586942.1818 | 1222381.2961 | 2586937.4027 | 1222377.3935
23 | 2586958.5068 | 1222361.9894 | 2586956.8094 | 1222365.0761
24 | 2586925.7183 | 1222367.852 | 2586937.4027 | 1222377.3935
25 | 2586816.4012 | 1222293.5352 | 2586822.6067 | 1222297.6571
26 | 2586816.4012 | 1222293.5352 | 2586809.4015 | 1222303.3545
27 | 2586816.4012 | 1222293.5352 | 2586821.4345 | 1222288.9658 | 2586825.3703 | 1222285.3994
28 | 2586816.4012 | 1222293.5352 | 2586805.9951 | 1222286.4654 | 2586804.9351 | 1222285.6788
29 | 2586822.6067 | 1222297.6571 | 2586824.8708 | 1222299.4753 | 2586828.9963 | 1222302.7236 | 2586836.8416 | 1222311.0221 | 2586841.9055 | 1222315.1395
30 | 2586795.8608 | 1222322.3496 | 2586809.4015 | 1222303.3545
31 | 2586825.3703 | 1222285.3994 | 2586832.4688 | 1222275.2323
32 | 2586804.9351 | 1222285.6788 | 2586795.7568 | 1222278.8669
33 | 2586849.2382 | 1222321.1017 | 2586841.9055 | 1222315.1395
34 | 2586832.5422 | 1222275.1271 | 2586832.4688 | 1222275.2323
35 | 2586853.1754 | 1222306.4609 | 2586858.812 | 1222310.573 | 2586876.5294 | 1222324.7397
36 | 2586853.1754 | 1222306.4609 | 2586855.467 | 1222303.5763 | 2586862.4835 | 1222295.4212
37 | 2586862.4835 | 1222295.4212 | 2586863.546 | 1222294.1863 | 2586877.1616 | 1222277.98 | 2586871.7808 | 1222272.5521
38 | 2586767.9234 | 1222246.2938 | 2586779.3347 | 1222230.2206
39 | 2586767.9234 | 1222246.2938 | 2586779.5578 | 1222253.4611
40 | 2586791.3604 | 1222213.2819 | 2586779.3347 | 1222230.2206
41 | 2586791.0511 | 1222260.905 | 2586782.2547 | 1222255.1224 | 2586779.5578 | 1222253.4611
42 | 2586956.3942 | 1222290.7824 | 2586943.2928 | 1222283.3813 | 2586941.3665 | 1222282.0595
43 | 2586934.0934 | 1222391.0966 | 2586943.5492 | 1222399.5036 | 2586945.383 | 1222401.0706
44 | 2586916.7317 | 1222464.5228 | 2586922.3356 | 1222467.6567 | 2586920.3112 | 1222471.3411 | 2586917.9017 | 1222475.749
45 | 2586916.7317 | 1222464.5228 | 2586902.2668 | 1222456.6725 | 2586893.8071 | 1222451.6328 | 2586886.1743 | 1222446.7357 | 2586879.6317 | 1222442.2771
46 | 2586917.9017 | 1222475.749 | 2586916.278 | 1222475.4302 | 2586911.8765 | 1222474.1503 | 2586907.1834 | 1222474.7721 | 2586892.5496 | 1222472.8256 | 2586890.5567 | 1222477.0103 | 2586888.549 | 1222488.2101 | 2586887.4991 | 1222493.5266 | 2586885.6293 | 1222498.5003 | 2586880.5916 | 1222507.8614
47 | 2586917.9017 | 1222475.749 | 2586916.9048 | 1222474.2281 | 2586898.0057 | 1222464.0196 | 2586888.4375 | 1222458.4375 | 2586881.3366 | 1222453.9729 | 2586871.9333 | 1222447.5233 | 2586836.924 | 1222419.6071 | 2586823.3341 | 1222409.7094 | 2586821.9069 | 1222408.788
48 | 2586854.8794 | 1222422.9852 | 2586876.9382 | 1222440.4414 | 2586879.6317 | 1222442.2771
49 | 2586773.4679 | 1222368.5301 | 2586774.466 | 1222367.1938 | 2586771.2077 | 1222365.0665 | 2586784.5935 | 1222351.4286
50 | 2586773.4679 | 1222368.5301 | 2586804.5666 | 1222387.2493 | 2586810.8363 | 1222390.9897
51 | 2586782.2051 | 1222341.506 | 2586779.0607 | 1222346.2491 | 2586784.5935 | 1222351.4286
52 | 2586822.5612 | 1222398.466 | 2586816.6717 | 1222394.471 | 2586810.8363 | 1222390.9897
53 | 2586880.5916 | 1222507.8614 | 2586864.1035 | 1222500.7494 | 2586842.5779 | 1222482.62 | 2586832.6077 | 1222477.0612 | 2586823.6356 | 1222473.4208
54 | 2586914.6495 | 1222328.45 | 2586914.0992 | 1222329.2717
55 | 2586902.6125 | 1222363.1073 | 2586909.8213 | 1222369.5166
56 | 2586873.6473 | 1222340.0051 | 2586870.5724 | 1222337.6544
57 | 2586865.2202 | 1222228.4444 | 2586878.3435 | 1222209.6645
58 | 2586865.2202 | 1222228.4444 | 2586844.8845 | 1222213.971
59 | 2586865.2202 | 1222228.4444 | 2586884.952 | 1222243.2595
60 | 2586849.8122 | 1222250.3914 | 2586865.2202 | 1222228.4444
61 | 2586791.1595 | 1222328.9446 | 2586795.8608 | 1222322.3496
62 | 2586795.7568 | 1222278.8669 | 2586789.7759 | 1222274.428 | 2586786.6284 | 1222272.3978
63 | 2586858.2485 | 1222328.2331 | 2586854.2408 | 1222325.1694 | 2586849.2382 | 1222321.1017
64 | 2586791.0511 | 1222260.905 | 2586796.5644 | 1222264.5293 | 2586802.2167 | 1222268.468
65 | 2586832.5422 | 1222275.1271 | 2586846.4501 | 1222255.207
66 | 2586791.3604 | 1222213.2819 | 2586800.8893 | 1222199.8599
67 | 2586941.3665 | 1222282.0595 | 2586929.8704 | 1222274.1711
68 | 2586934.0659 | 1222391.0722 | 2586934.0934 | 1222391.0966
69 | 2586854.8794 | 1222422.9852 | 2586841.6483 | 1222412.5147 | 2586835.3179 | 1222407.6775
70 | 2586782.2051 | 1222341.506 | 2586791.1595 | 1222328.9446
71 | 2586822.5612 | 1222398.466 | 2586828.4254 | 1222402.4438
72 | 2586760.5636 | 1222255.8669 | 2586749.2953 | 1222248.976
73 | 2586760.5636 | 1222255.8669 | 2586768.9575 | 1222261 | 2586786.6284 | 1222272.3978
74 | 2586746.9646 | 1222247.5508 | 2586749.2953 | 1222248.976
75 | 2586833.0153 | 1222405.9181 | 2586828.8094 | 1222402.7043 | 2586828.4254 | 1222402.4438
76 | 2586833.0153 | 1222405.9181 | 2586835.3179 | 1222407.6775
77 | 2586934.0659 | 1222391.0722 | 2586922.1971 | 1222380.5197
78 | 2586918.0787 | 1222376.8581 | 2586922.1971 | 1222380.5197
79 | 2586918.0787 | 1222376.8581 | 2586909.8213 | 1222369.5166
80 | 2586915.7821 | 1222264.5039 | 2586929.8704 | 1222274.1711
81 | 2586915.7821 | 1222264.5039 | 2586909.3451 | 1222260.0869
82 | 2586884.952 | 1222243.2595 | 2586886.3321 | 1222244.2957 | 2586909.3451 | 1222260.0869
83 | 2586849.8122 | 1222250.3914 | 2586846.4501 | 1222255.207
84 | 2586844.5897 | 1222213.7612 | 2586844.8845 | 1222213.971
85 | 2586920.9074 | 1222319.107 | 2586914.6495 | 1222328.45
86 | 2586825.6661 | 1222200.2938 | 2586834.0297 | 1222206.2453 | 2586844.5897 | 1222213.7612
87 | 2586825.6661 | 1222200.2938 | 2586808.8107 | 1222188.7024
88 | 2586825.6661 | 1222200.2938 | 2586841.3588 | 1222179.0149
89 | 2586800.8893 | 1222199.8599 | 2586808.8107 | 1222188.7024
90 | 2586858.2485 | 1222328.2331 | 2586860.223 | 1222329.7426
91 | 2586870.5724 | 1222337.6544 | 2586860.223 | 1222329.7426

## bus_geodata
| x | y | coords
0 | 2587036.6603 | 1222344.8672
1 | 2587023.4308 | 1222337.1501
2 | 2587012.6029 | 1222330.834
3 | 2586983.2065 | 1222313.4663
4 | 2586961.4127 | 1222404.3115
5 | 2586965.1738 | 1222400.601
6 | 2586955.7218 | 1222409.9051
7 | 2586983.1052 | 1222301.9043
8 | 2586979.6587 | 1222323.3632
9 | 2586901.503 | 1222348.0779
10 | 2586892.8918 | 1222341.0838
11 | 2586905.6571 | 1222341.8757
12 | 2586894.9153 | 1222356.2639
13 | 2586913.7387 | 1222358.0695
14 | 2586897.033 | 1222358.1466
15 | 2586884.8522 | 1222348.5709
16 | 2586948.6132 | 1222377.9133
17 | 2586956.8094 | 1222365.0761
18 | 2586937.4027 | 1222377.3935
19 | 2586816.4012 | 1222293.5352
20 | 2586822.6067 | 1222297.6571
21 | 2586809.4015 | 1222303.3545
22 | 2586825.3703 | 1222285.3994
23 | 2586804.9351 | 1222285.6788
24 | 2586841.9055 | 1222315.1395
25 | 2586832.4688 | 1222275.2323
26 | 2586853.1754 | 1222306.4609
27 | 2586876.5294 | 1222324.7397
28 | 2586862.4835 | 1222295.4212
29 | 2586767.9234 | 1222246.2938
30 | 2586779.3347 | 1222230.2206
31 | 2586779.5578 | 1222253.4611
32 | 2586956.3942 | 1222290.7824
33 | 2586945.383 | 1222401.0706
34 | 2586916.7317 | 1222464.5228
35 | 2586917.9017 | 1222475.749
36 | 2586879.6317 | 1222442.2771
37 | 2586773.4679 | 1222368.5301
38 | 2586784.5935 | 1222351.4286
39 | 2586810.8363 | 1222390.9897
40 | 2586880.5916 | 1222507.8614
41 | 2586821.9069 | 1222408.788
42 | 2586973.1183 | 1222335.4175
43 | 2586914.0992 | 1222329.2717
44 | 2586925.7183 | 1222367.852
45 | 2586902.6125 | 1222363.1073
46 | 2586873.6473 | 1222340.0051
47 | 2586958.5068 | 1222361.9894
48 | 2586878.3435 | 1222209.6645
49 | 2586865.2202 | 1222228.4444
50 | 2586795.8608 | 1222322.3496
51 | 2586795.7568 | 1222278.8669
52 | 2586849.2382 | 1222321.1017
53 | 2586802.2167 | 1222268.468
54 | 2586791.0511 | 1222260.905
55 | 2586832.5422 | 1222275.1271
56 | 2586871.7808 | 1222272.5521
57 | 2586791.3604 | 1222213.2819
58 | 2586941.3665 | 1222282.0595
59 | 2586934.0934 | 1222391.0966
60 | 2586854.8794 | 1222422.9852
61 | 2586782.2051 | 1222341.506
62 | 2586822.5612 | 1222398.466
63 | 2586823.6356 | 1222473.4208
64 | 2586791.1595 | 1222328.9446
65 | 2586760.5636 | 1222255.8669
66 | 2586749.2953 | 1222248.976
67 | 2586786.6284 | 1222272.3978
68 | 2586746.9646 | 1222247.5508
69 | 2586828.4254 | 1222402.4438
70 | 2586833.0153 | 1222405.9181
71 | 2586835.3179 | 1222407.6775
72 | 2586934.0659 | 1222391.0722
73 | 2586922.1971 | 1222380.5197
74 | 2586918.0787 | 1222376.8581
75 | 2586909.8213 | 1222369.5166
76 | 2586929.8704 | 1222274.1711
77 | 2586915.7821 | 1222264.5039
78 | 2586909.3451 | 1222260.0869
79 | 2586849.8122 | 1222250.3914
80 | 2586846.4501 | 1222255.207
81 | 2586844.8845 | 1222213.971
82 | 2586884.952 | 1222243.2595
83 | 2586914.6495 | 1222328.45
84 | 2586844.5897 | 1222213.7612
85 | 2586825.6661 | 1222200.2938
86 | 2586841.3588 | 1222179.0149
87 | 2586808.8107 | 1222188.7024
88 | 2586800.8894 | 1222199.8599
89 | 2586858.2485 | 1222328.2331
90 | 2586860.223 | 1222329.7426
91 | 2586870.5724 | 1222337.6544
92 | 2586920.9074 | 1222319.107
93 | 2586853.1754 | 1222306.4609

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1