## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_371-71_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_371-71_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_371-71_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_371-71_0_4_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_371-71_0_4_node_8 | 0.4 | n |  | TRUE
5 | bus_LV_371-71_0_4_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_371-71_0_4_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_371-71_0_4_node_109 | 0.4 | n |  | TRUE
8 | bus_LV_371-71_0_4_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_371-71_0_4_node_108 | 0.4 | n |  | TRUE
10 | bus_LV_371-71_0_4_node_92 | 0.4 | n |  | TRUE
11 | bus_LV_371-71_0_4_node_94 | 0.4 | n |  | TRUE
12 | bus_LV_371-71_0_4_node_113 | 0.4 | n |  | TRUE
13 | bus_LV_371-71_0_4_node_100 | 0.4 | n |  | TRUE
14 | bus_LV_371-71_0_4_node_98 | 0.4 | n |  | TRUE
15 | bus_LV_371-71_0_4_node_91 | 0.4 | n |  | TRUE
16 | bus_LV_371-71_0_4_node_93 | 0.4 | n |  | TRUE
17 | bus_LV_371-71_0_4_node_112 | 0.4 | n |  | TRUE
18 | bus_LV_371-71_0_4_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_371-71_0_4_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_371-71_0_4_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_371-71_0_4_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_371-71_0_4_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_371-71_0_4_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_371-71_0_4_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_371-71_0_4_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_371-71_0_4_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_371-71_0_4_node_79 | 0.4 | n |  | TRUE
28 | bus_LV_371-71_0_4_node_80 | 0.4 | n |  | TRUE
29 | bus_LV_371-71_0_4_node_83 | 0.4 | n |  | TRUE
30 | bus_LV_371-71_0_4_node_118 | 0.4 | n |  | TRUE
31 | bus_LV_371-71_0_4_node_106 | 0.4 | n |  | TRUE
32 | bus_LV_371-71_0_4_node_18 | 0.4 | n |  | TRUE
33 | bus_LV_371-71_0_4_node_78 | 0.4 | n |  | TRUE
34 | bus_LV_371-71_0_4_node_59 | 0.4 | n |  | TRUE
35 | bus_LV_371-71_0_4_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_371-71_0_4_node_104 | 0.4 | n |  | TRUE
37 | bus_LV_371-71_0_4_node_19 | 0.4 | n |  | TRUE
38 | bus_LV_371-71_0_4_node_20 | 0.4 | n |  | TRUE
39 | bus_LV_371-71_0_4_node_21 | 0.4 | n |  | TRUE
40 | bus_LV_371-71_0_4_node_22 | 0.4 | n |  | TRUE
41 | bus_LV_371-71_0_4_node_110 | 0.4 | n |  | TRUE
42 | bus_LV_371-71_0_4_node_84 | 0.4 | n |  | TRUE
43 | bus_LV_371-71_0_4_node_111 | 0.4 | n |  | TRUE
44 | bus_LV_371-71_0_4_node_66 | 0.4 | n |  | TRUE
45 | bus_LV_371-71_0_4_node_24 | 0.4 | n |  | TRUE
46 | bus_LV_371-71_0_4_node_25 | 0.4 | n |  | TRUE
47 | bus_LV_371-71_0_4_node_26 | 0.4 | n |  | TRUE
48 | bus_LV_371-71_0_4_node_27 | 0.4 | n |  | TRUE
49 | bus_LV_371-71_0_4_node_28 | 0.4 | n |  | TRUE
50 | bus_LV_371-71_0_4_node_29 | 0.4 | n |  | TRUE
51 | bus_LV_371-71_0_4_node_31 | 0.4 | n |  | TRUE
52 | bus_LV_371-71_0_4_node_49 | 0.4 | n |  | TRUE
53 | bus_LV_371-71_0_4_node_32 | 0.4 | n |  | TRUE
54 | bus_LV_371-71_0_4_node_47 | 0.4 | n |  | TRUE
55 | bus_LV_371-71_0_4_node_58 | 0.4 | n |  | TRUE
56 | bus_LV_371-71_0_4_node_57 | 0.4 | n |  | TRUE
57 | bus_LV_371-71_0_4_node_33 | 0.4 | n |  | TRUE
58 | bus_LV_371-71_0_4_node_55 | 0.4 | n |  | TRUE
59 | bus_LV_371-71_0_4_node_56 | 0.4 | n |  | TRUE
60 | bus_LV_371-71_0_4_node_34 | 0.4 | n |  | TRUE
61 | bus_LV_371-71_0_4_node_35 | 0.4 | n |  | TRUE
62 | bus_LV_371-71_0_4_node_36 | 0.4 | n |  | TRUE
63 | bus_LV_371-71_0_4_node_37 | 0.4 | n |  | TRUE
64 | bus_LV_371-71_0_4_node_38 | 0.4 | n |  | TRUE
65 | bus_LV_371-71_0_4_node_39 | 0.4 | n |  | TRUE
66 | bus_LV_371-71_0_4_node_40 | 0.4 | n |  | TRUE
67 | bus_LV_371-71_0_4_node_41 | 0.4 | n |  | TRUE
68 | bus_LV_371-71_0_4_node_54 | 0.4 | n |  | TRUE
69 | bus_LV_371-71_0_4_node_53 | 0.4 | n |  | TRUE
70 | bus_LV_371-71_0_4_node_60 | 0.4 | n |  | TRUE
71 | bus_LV_371-71_0_4_node_52 | 0.4 | n |  | TRUE
72 | bus_LV_371-71_0_4_node_42 | 0.4 | n |  | TRUE
73 | bus_LV_371-71_0_4_node_43 | 0.4 | n |  | TRUE
74 | bus_LV_371-71_0_4_node_44 | 0.4 | n |  | TRUE
75 | bus_LV_371-71_0_4_node_45 | 0.4 | n |  | TRUE
76 | bus_LV_371-71_0_4_node_46 | 0.4 | n |  | TRUE
77 | bus_LV_371-71_0_4_node_48 | 0.4 | n |  | TRUE
78 | bus_LV_371-71_0_4_node_50 | 0.4 | n |  | TRUE
79 | bus_LV_371-71_0_4_node_68 | 0.4 | n |  | TRUE
80 | bus_LV_371-71_0_4_node_51 | 0.4 | n |  | TRUE
81 | bus_LV_371-71_0_4_node_69 | 0.4 | n |  | TRUE
82 | bus_LV_371-71_0_4_node_61 | 0.4 | n |  | TRUE
83 | bus_LV_371-71_0_4_node_62 | 0.4 | n |  | TRUE
84 | bus_LV_371-71_0_4_node_63 | 0.4 | n |  | TRUE
85 | bus_LV_371-71_0_4_node_64 | 0.4 | n |  | TRUE
86 | bus_LV_371-71_0_4_node_65 | 0.4 | n |  | TRUE
87 | bus_LV_371-71_0_4_node_67 | 0.4 | n |  | TRUE
88 | bus_LV_371-71_0_4_node_76 | 0.4 | n |  | TRUE
89 | bus_LV_371-71_0_4_node_74 | 0.4 | n |  | TRUE
90 | bus_LV_371-71_0_4_node_70 | 0.4 | n |  | TRUE
91 | bus_LV_371-71_0_4_node_71 | 0.4 | n |  | TRUE
92 | bus_LV_371-71_0_4_node_72 | 0.4 | n |  | TRUE
93 | bus_LV_371-71_0_4_node_73 | 0.4 | n |  | TRUE
94 | bus_LV_371-71_0_4_node_75 | 0.4 | n |  | TRUE
95 | bus_LV_371-71_0_4_node_81 | 0.4 | n |  | TRUE
96 | bus_LV_371-71_0_4_node_82 | 0.4 | n |  | TRUE
97 | bus_LV_371-71_0_4_node_115 | 0.4 | n |  | TRUE
98 | bus_LV_371-71_0_4_node_114 | 0.4 | n |  | TRUE
99 | bus_LV_371-71_0_4_node_85 | 0.4 | n |  | TRUE
100 | bus_LV_371-71_0_4_node_86 | 0.4 | n |  | TRUE
101 | bus_LV_371-71_0_4_node_87 | 0.4 | n |  | TRUE
102 | bus_LV_371-71_0_4_node_88 | 0.4 | n |  | TRUE
103 | bus_LV_371-71_0_4_node_89 | 0.4 | n |  | TRUE
104 | bus_LV_371-71_0_4_node_90 | 0.4 | n |  | TRUE
105 | bus_LV_371-71_0_4_node_95 | 0.4 | n |  | TRUE
106 | bus_LV_371-71_0_4_node_96 | 0.4 | n |  | TRUE
107 | bus_LV_371-71_0_4_node_97 | 0.4 | n |  | TRUE
108 | bus_LV_371-71_0_4_node_99 | 0.4 | n |  | TRUE
109 | bus_LV_371-71_0_4_node_101 | 0.4 | n |  | TRUE
110 | bus_LV_371-71_0_4_node_107 | 0.4 | n |  | TRUE
111 | bus_LV_371-71_0_4_node_105 | 0.4 | n |  | TRUE
112 | bus_LV_371-71_0_4_node_102 | 0.4 | n |  | TRUE
113 | bus_LV_371-71_0_4_node_103 | 0.4 | n |  | TRUE
114 | bus_LV_371-71_0_4_node_117 | 0.4 | n |  | TRUE
115 | bus_LV_371-71_0_4_node_116 | 0.4 | n |  | TRUE
116 | bus_MV_610_0_node_134 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_371-71_0_4_load_0 | 0 | 0.026163 | 0.0065569 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_371-71_0_4_load_1 | 1 | 0.010446 | 0.0026181 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_371-71_0_4_load_8 | 4 | 0.005323 | 0.0013341 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_371-71_0_4_load_109 | 7 | 0.0016615 | 0.00041641 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_371-71_0_4_load_92 | 10 | 0.0034485 | 0.00086428 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_371-71_0_4_load_100 | 13 | 0.0029114 | 0.00072967 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_371-71_0_4_load_98 | 14 | 0.0043915 | 0.0011006 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_371-71_0_4_load_93 | 16 | 0.013532 | 0.0033914 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_371-71_0_4_load_112 | 17 | 0.0073337 | 0.001838 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_371-71_0_4_load_9 | 18 | 0.0069452 | 0.0017406 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_371-71_0_4_load_10 | 19 | 0.029842 | 0.0074791 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_371-71_0_4_load_11 | 20 | 0.012145 | 0.0030437 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_371-71_0_4_load_13 | 21 | 0.0017737 | 0.00044454 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_371-71_0_4_load_15 | 23 | 0.0028615 | 0.00071715 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_371-71_0_4_load_17 | 25 | 0.011593 | 0.0029054 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_371-71_0_4_load_79 | 27 | 0.0032461 | 0.00081355 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_371-71_0_4_load_80 | 28 | 0.0029561 | 0.00074088 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_371-71_0_4_load_83 | 29 | 0.0041864 | 0.0010492 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_371-71_0_4_load_118 | 30 | 0.0052034 | 0.0013041 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_371-71_0_4_load_106 | 31 | 0.0029343 | 0.00073541 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_371-71_0_4_load_18 | 32 | 0.0031316 | 0.00078485 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_371-71_0_4_load_78 | 33 | 0.0049325 | 0.0012362 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_371-71_0_4_load_59 | 34 | 0.0052343 | 0.0013119 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_371-71_0_4_load_23 | 35 | 0.0050623 | 0.0012687 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_371-71_0_4_load_104 | 36 | 0.0030606 | 0.00076705 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_371-71_0_4_load_20 | 38 | 0.0024664 | 0.00061813 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_371-71_0_4_load_21 | 39 | 0.0040765 | 0.0010217 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_371-71_0_4_load_22 | 40 | 0.0024019 | 0.00060198 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_371-71_0_4_load_110 | 41 | 0.0024912 | 0.00062435 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_371-71_0_4_load_84 | 42 | 0.003507 | 0.00087895 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_371-71_0_4_load_111 | 43 | 0.0023078 | 0.00057839 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_371-71_0_4_load_24 | 45 | 0.003157 | 0.00079123 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_371-71_0_4_load_25 | 46 | 0.0050487 | 0.0012653 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_371-71_0_4_load_26 | 47 | 0.0037497 | 0.00093978 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_371-71_0_4_load_28 | 49 | 0.003862 | 0.0009679 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_371-71_0_4_load_29 | 50 | 0.0041686 | 0.0010448 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_371-71_0_4_load_31 | 51 | 0.0041653 | 0.0010439 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_371-71_0_4_load_49 | 52 | 0.0061331 | 0.0015371 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_371-71_0_4_load_32 | 53 | 0.0016628 | 0.00041673 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_371-71_0_4_load_58 | 55 | 0.0014027 | 0.00035156 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_371-71_0_4_load_33 | 57 | 0.001427 | 0.00035764 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_371-71_0_4_load_55 | 58 | 0.0031255 | 0.00078332 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_371-71_0_4_load_34 | 60 | 0.0019002 | 0.00047624 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_371-71_0_4_load_35 | 61 | 0.0023535 | 0.00058984 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_371-71_0_4_load_36 | 62 | 0.0032967 | 0.00082622 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_371-71_0_4_load_38 | 64 | 0.002065 | 0.00051753 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_371-71_0_4_load_39 | 65 | 0.0022871 | 0.00057321 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_371-71_0_4_load_40 | 66 | 0.002192 | 0.00054936 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_371-71_0_4_load_41 | 67 | 0.0019259 | 0.00048266 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_371-71_0_4_load_54 | 68 | 0.0022414 | 0.00056174 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_371-71_0_4_load_53 | 69 | 0.010393 | 0.0026046 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_371-71_0_4_load_60 | 70 | 0.0018668 | 0.00046787 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_371-71_0_4_load_52 | 71 | 0.007817 | 0.0019591 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_371-71_0_4_load_42 | 72 | 0.0016884 | 0.00042314 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_371-71_0_4_load_43 | 73 | 0.0030646 | 0.00076807 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_371-71_0_4_load_44 | 74 | 0.0034754 | 0.00087101 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_371-71_0_4_load_45 | 75 | 0.0043717 | 0.0010957 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_371-71_0_4_load_48 | 77 | 0.003478 | 0.00087167 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_371-71_0_4_load_68 | 79 | 0.0026534 | 0.000665 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_371-71_0_4_load_51 | 80 | 0.0017956 | 0.00045002 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_371-71_0_4_load_69 | 81 | 0.0023034 | 0.00057729 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_371-71_0_4_load_61 | 82 | 0.003195 | 0.00080075 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_371-71_0_4_load_62 | 83 | 0.007636 | 0.0019138 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_371-71_0_4_load_63 | 84 | 0.0026444 | 0.00066276 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_371-71_0_4_load_64 | 85 | 0.0026942 | 0.00067522 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_371-71_0_4_load_65 | 86 | 0.0025219 | 0.00063205 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_371-71_0_4_load_67 | 87 | 0.0034825 | 0.00087281 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_371-71_0_4_load_76 | 88 | 0.0027517 | 0.00068963 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_371-71_0_4_load_74 | 89 | 0.0031047 | 0.00077811 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_371-71_0_4_load_70 | 90 | 0.003173 | 0.00079522 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_371-71_0_4_load_71 | 91 | 0.0015334 | 0.0003843 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_371-71_0_4_load_72 | 92 | 0.0035056 | 0.0008786 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_371-71_0_4_load_73 | 93 | 0.0019717 | 0.00049414 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_371-71_0_4_load_75 | 94 | 0.0053949 | 0.0013521 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_371-71_0_4_load_81 | 95 | 0.0074371 | 0.0018639 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_371-71_0_4_load_82 | 96 | 0.002669 | 0.00066892 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_371-71_0_4_load_115 | 97 | 0.0028704 | 0.00071938 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_371-71_0_4_load_114 | 98 | 0.0021869 | 0.00054808 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_371-71_0_4_load_85 | 99 | 0.0026883 | 0.00067374 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_371-71_0_4_load_87 | 101 | 0.002244 | 0.00056239 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_371-71_0_4_load_89 | 103 | 0.0027048 | 0.0006779 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_371-71_0_4_load_90 | 104 | 0.0030052 | 0.00075317 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_371-71_0_4_load_95 | 105 | 0.00085431 | 0.00021411 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_371-71_0_4_load_96 | 106 | 0.0043972 | 0.001102 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_371-71_0_4_load_97 | 107 | 0.00058181 | 0.00014581 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_371-71_0_4_load_99 | 108 | 0.0034212 | 0.00085744 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_371-71_0_4_load_101 | 109 | 0.0024349 | 0.00061025 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_371-71_0_4_load_107 | 110 | 0.0030581 | 0.00076643 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_371-71_0_4_load_105 | 111 | 0.0030591 | 0.00076668 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_371-71_0_4_load_102 | 112 | 0.0035116 | 0.00088009 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_371-71_0_4_load_103 | 113 | 0.0036823 | 0.00092288 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_371-71_0_4_load_117 | 114 | 0.0023379 | 0.00058592 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_371-71_0_4_load_116 | 115 | 0.0019134 | 0.00047954 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 26 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_371-71_0_4_line_0 |  | 0 | 1 | 0.022411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_371-71_0_4_line_1 |  | 0 | 2 | 0.033025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_371-71_0_4_line_2 |  | 2 | 3 | 0.042769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_371-71_0_4_line_3 |  | 3 | 4 | 0.047292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_371-71_0_4_line_4 |  | 3 | 5 | 0.040276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_371-71_0_4_line_5 |  | 4 | 12 | 0.0062771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_371-71_0_4_line_6 |  | 5 | 9 | 0.011812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_371-71_0_4_line_7 |  | 6 | 7 | 0.018625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_371-71_0_4_line_8 |  | 6 | 8 | 0.007176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_371-71_0_4_line_9 |  | 7 | 9 | 0.027224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_371-71_0_4_line_10 |  | 8 | 10 | 0.042386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_371-71_0_4_line_11 |  | 8 | 11 | 0.11088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_371-71_0_4_line_12 |  | 10 | 15 | 0.091251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_371-71_0_4_line_13 |  | 11 | 16 | 0.044171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_371-71_0_4_line_14 |  | 12 | 17 | 0.019979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_371-71_0_4_line_15 |  | 13 | 14 | 0.019891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_371-71_0_4_line_16 |  | 14 | 106 | 0.011591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_371-71_0_4_line_17 |  | 15 | 104 | 0.053105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_371-71_0_4_line_18 |  | 17 | 82 | 0.012312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_371-71_0_4_line_19 |  | 18 | 19 | 0.0027769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_371-71_0_4_line_20 |  | 18 | 20 | 0.024726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_371-71_0_4_line_21 |  | 20 | 21 | 0.013503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_371-71_0_4_line_22 |  | 21 | 25 | 0.012772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_371-71_0_4_line_23 |  | 22 | 23 | 0.016769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_371-71_0_4_line_24 |  | 22 | 24 | 0.017447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_371-71_0_4_line_25 |  | 23 | 29 | 0.01967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_371-71_0_4_line_26 |  | 24 | 30 | 0.013586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_371-71_0_4_line_27 |  | 24 | 31 | 0.0098955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_371-71_0_4_line_28 |  | 25 | 32 | 0.0075661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_371-71_0_4_line_29 |  | 26 | 27 | 0.021344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_371-71_0_4_line_30 |  | 26 | 28 | 0.011293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_371-71_0_4_line_31 |  | 27 | 33 | 0.016442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_371-71_0_4_line_32 |  | 28 | 34 | 0.031084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_371-71_0_4_line_33 |  | 29 | 35 | 0.023322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_371-71_0_4_line_34 |  | 31 | 36 | 0.010374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_371-71_0_4_line_35 |  | 32 | 37 | 0.01036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_371-71_0_4_line_36 |  | 33 | 87 | 0.013247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_371-71_0_4_line_37 |  | 34 | 80 | 0.036687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_371-71_0_4_line_38 |  | 35 | 42 | 0.013935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_371-71_0_4_line_39 |  | 35 | 39 | 0.024285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_371-71_0_4_line_40 |  | 36 | 112 | 0.00071652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_371-71_0_4_line_41 |  | 37 | 38 | 0.010283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_371-71_0_4_line_42 |  | 37 | 39 | 0.011844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_371-71_0_4_line_43 |  | 38 | 40 | 0.0057154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_371-71_0_4_line_44 |  | 40 | 41 | 0.0072711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_371-71_0_4_line_45 |  | 41 | 43 | 0.0044376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_371-71_0_4_line_46 |  | 42 | 44 | 0.010774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_371-71_0_4_line_47 |  | 43 | 114 | 0.0027589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_371-71_0_4_line_48 |  | 44 | 88 | 0.010198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_371-71_0_4_line_49 |  | 44 | 85 | 0.027568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_371-71_0_4_line_50 |  | 45 | 46 | 0.0052501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_371-71_0_4_line_51 |  | 45 | 47 | 0.004118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_371-71_0_4_line_52 |  | 46 | 48 | 0.013484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_371-71_0_4_line_53 |  | 47 | 49 | 0.037431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_371-71_0_4_line_54 |  | 48 | 50 | 0.00071056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_371-71_0_4_line_55 |  | 49 | 51 | 0.020452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_371-71_0_4_line_56 |  | 50 | 52 | 0.011486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_371-71_0_4_line_57 |  | 51 | 53 | 0.022828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_371-71_0_4_line_58 |  | 52 | 54 | 0.025137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_371-71_0_4_line_59 |  | 53 | 57 | 0.0068559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_371-71_0_4_line_60 |  | 54 | 78 | 0.010004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_371-71_0_4_line_61 |  | 54 | 75 | 0.037142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_371-71_0_4_line_62 |  | 55 | 56 | 0.044287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_371-71_0_4_line_63 |  | 56 | 59 | 0.025667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_371-71_0_4_line_64 |  | 57 | 58 | 0.00068654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_371-71_0_4_line_65 |  | 58 | 59 | 0.034802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_371-71_0_4_line_66 |  | 60 | 61 | 0.020817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_371-71_0_4_line_67 |  | 60 | 62 | 0.016143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_371-71_0_4_line_68 |  | 61 | 63 | 0.025293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_371-71_0_4_line_69 |  | 62 | 64 | 0.016254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_371-71_0_4_line_70 |  | 63 | 65 | 0.0063087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_371-71_0_4_line_71 |  | 63 | 66 | 0.016831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_371-71_0_4_line_72 |  | 64 | 67 | 0.014695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_371-71_0_4_line_73 |  | 65 | 68 | 0.010413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_371-71_0_4_line_74 |  | 66 | 69 | 0.0010875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_371-71_0_4_line_75 |  | 68 | 70 | 0.015732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_371-71_0_4_line_76 |  | 69 | 71 | 0.023003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_371-71_0_4_line_77 |  | 70 | 82 | 0.0046969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_371-71_0_4_line_78 |  | 71 | 78 | 0.033095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_371-71_0_4_line_79 |  | 72 | 73 | 0.0044251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_371-71_0_4_line_80 |  | 72 | 74 | 0.014554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_371-71_0_4_line_81 |  | 73 | 75 | 0.013095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_371-71_0_4_line_82 |  | 74 | 76 | 0.032693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_371-71_0_4_line_83 |  | 76 | 77 | 0.049883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_371-71_0_4_line_84 |  | 77 | 79 | 0.00031676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_371-71_0_4_line_85 |  | 78 | 80 | 0.010118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
86 | LV_371-71_0_4_line_86 |  | 79 | 81 | 0.0087923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_371-71_0_4_line_87 |  | 81 | 90 | 0.0048193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_371-71_0_4_line_88 |  | 83 | 84 | 0.0075221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
89 | LV_371-71_0_4_line_89 |  | 83 | 85 | 0.0040508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
90 | LV_371-71_0_4_line_90 |  | 84 | 86 | 0.0093505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
91 | LV_371-71_0_4_line_91 |  | 86 | 87 | 0.0094781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
92 | LV_371-71_0_4_line_92 |  | 88 | 89 | 0.012532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_371-71_0_4_line_93 |  | 89 | 92 | 0.018763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_371-71_0_4_line_94 |  | 91 | 92 | 0.01344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_371-71_0_4_line_95 |  | 91 | 93 | 0.0072547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_371-71_0_4_line_96 |  | 93 | 94 | 0.022555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_371-71_0_4_line_97 |  | 95 | 96 | 0.021739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_371-71_0_4_line_98 |  | 96 | 97 | 0.020266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_371-71_0_4_line_99 |  | 97 | 98 | 0.021122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_371-71_0_4_line_100 |  | 98 | 115 | 0.016025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_371-71_0_4_line_101 |  | 99 | 100 | 0.021908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_371-71_0_4_line_102 |  | 99 | 101 | 0.010752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_371-71_0_4_line_103 |  | 100 | 102 | 0.028587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_371-71_0_4_line_104 |  | 102 | 103 | 0.010773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_371-71_0_4_line_105 |  | 103 | 104 | 0.012276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_371-71_0_4_line_106 |  | 105 | 106 | 0.013612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_371-71_0_4_line_107 |  | 105 | 107 | 0.00023414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_371-71_0_4_line_108 |  | 107 | 108 | 0.0021659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_371-71_0_4_line_109 |  | 108 | 109 | 0.01507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_371-71_0_4_line_110 |  | 109 | 110 | 0.0059122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_371-71_0_4_line_111 |  | 110 | 111 | 0.0077077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_371-71_0_4_line_112 |  | 111 | 113 | 0.0016963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_371-71_0_4_line_113 |  | 112 | 113 | 0.014753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_371-71_0_4_line_114 |  | 114 | 115 | 0.0073278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_371-71_0_4_trafo_14 | 0.63 MVA 20/0.4 kV | 116 | 26 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2585310.3486 | 1221802.8755 | 2585329.4679 | 1221814.5672
1 | 2585279.8969 | 1221791.5547 | 2585297.1833 | 1221794.8247 | 2585310.3486 | 1221802.8755
2 | 2585244.8833 | 1221793.7987 | 2585253.8113 | 1221787.9953 | 2585262.8093 | 1221782.8255 | 2585266.0605 | 1221781.7501 | 2585270.2932 | 1221781.9063 | 2585274.0823 | 1221783.5979 | 2585277.7088 | 1221787.0353 | 2585279.8969 | 1221791.5547
3 | 2585244.8833 | 1221793.7987 | 2585220.4218 | 1221753.3245
4 | 2585244.8833 | 1221793.7987 | 2585247.6171 | 1221798.1833 | 2585261.8292 | 1221821.7727 | 2585254.744 | 1221824.4363
5 | 2585217.175 | 1221747.9523 | 2585220.4218 | 1221753.3245
6 | 2585250.1292 | 1221835.3097 | 2585251.2007 | 1221833.0502 | 2585254.744 | 1221824.4363
7 | 2585285.4288 | 1221862.7155 | 2585272.8644 | 1221858.0552 | 2585269.4279 | 1221854.1199
8 | 2585285.4288 | 1221862.7155 | 2585289.0015 | 1221868.9436
9 | 2585250.1292 | 1221835.3097 | 2585255.902 | 1221838.6306 | 2585269.4279 | 1221854.1199
10 | 2585289.0015 | 1221868.9436 | 2585260.518 | 1221900.3327
11 | 2585289.0015 | 1221868.9436 | 2585312.5517 | 1221920.7152 | 2585318.3395 | 1221930.1396 | 2585323.0637 | 1221935.8645 | 2585319.5624 | 1221952.2605 | 2585311.9217 | 1221969.3894
12 | 2585219.6582 | 1221976.8789 | 2585218.5983 | 1221956.3919 | 2585227.3629 | 1221936.8698 | 2585260.518 | 1221900.3327
13 | 2585311.9217 | 1221969.3894 | 2585307.6066 | 1221960.4616 | 2585305.39 | 1221956.6649 | 2585292.9502 | 1221929.5207
14 | 2585217.175 | 1221747.9523 | 2585206.8542 | 1221730.8458
15 | 2585188.5222 | 1221798.8872 | 2585173.648 | 1221785.6805
16 | 2585164.8372 | 1221778.1515 | 2585170.6917 | 1221783.0556 | 2585173.648 | 1221785.6805
17 | 2585219.6582 | 1221976.8789 | 2585190.8658 | 1221958.1844 | 2585177.6655 | 1221944.8319
18 | 2585200.4939 | 1221720.3039 | 2585206.8542 | 1221730.8458
19 | 2585060.391 | 1221757.6858 | 2585062.1468 | 1221759.8372 | 2585062.1468 | 1221759.8372
20 | 2585060.391 | 1221757.6858 | 2585056.8589 | 1221753.3579 | 2585044.4937 | 1221738.7482
21 | 2585035.6331 | 1221728.5594 | 2585042.4273 | 1221736.3067 | 2585044.4937 | 1221738.7482
22 | 2585035.6331 | 1221728.5594 | 2585027.2121 | 1221718.9571
23 | 2585083.2059 | 1221722.0956 | 2585071.3339 | 1221710.2523
24 | 2585083.2059 | 1221722.0956 | 2585085.0301 | 1221723.5918 | 2585097.9215 | 1221731.4306
25 | 2585071.3339 | 1221710.2523 | 2585057.4081 | 1221696.3604
26 | 2585100.2782 | 1221718.5283 | 2585097.7106 | 1221723.0151 | 2585097.9215 | 1221731.4306
27 | 2585097.9215 | 1221731.4306 | 2585107.0012 | 1221735.365
28 | 2585022.2234 | 1221713.2686 | 2585027.2121 | 1221718.9571
29 | 2585103.3057 | 1221694.8625 | 2585087.929 | 1221680.0595
30 | 2585103.3057 | 1221694.8625 | 2585108.8702 | 1221685.0354
31 | 2585076.0841 | 1221668.6567 | 2585087.929 | 1221680.0595
32 | 2585108.8702 | 1221685.0354 | 2585124.1865 | 1221657.9863
33 | 2585040.8966 | 1221679.8889 | 2585057.4081 | 1221696.3604
34 | 2585107.0012 | 1221735.365 | 2585112.2574 | 1221737.6426 | 2585116.2065 | 1221740.0886
35 | 2585015.3924 | 1221705.4794 | 2585022.2234 | 1221713.2686
36 | 2585066.5406 | 1221659.4693 | 2585076.0841 | 1221668.6567
37 | 2585124.1865 | 1221657.9863 | 2585140.595 | 1221629.0084 | 2585142.8446 | 1221626.4775
38 | 2585040.8966 | 1221679.8889 | 2585031.5622 | 1221669.5421
39 | 2585040.8966 | 1221679.8889 | 2585023.7534 | 1221697.0901
40 | 2585116.8157 | 1221740.4659 | 2585116.2065 | 1221740.0886
41 | 2585015.3924 | 1221705.4794 | 2585008.45 | 1221697.8934
42 | 2585015.3924 | 1221705.4794 | 2585023.7534 | 1221697.0901
43 | 2585008.45 | 1221697.8934 | 2585004.5914 | 1221693.6771
44 | 2584999.6825 | 1221688.3132 | 2585004.5914 | 1221693.6771
45 | 2584996.6866 | 1221685.0395 | 2584999.6825 | 1221688.3132
46 | 2585024.3453 | 1221661.5424 | 2585031.5622 | 1221669.5421
47 | 2584996.6866 | 1221685.0395 | 2584994.824 | 1221683.0043
48 | 2585024.3453 | 1221661.5424 | 2585016.9137 | 1221654.5581
49 | 2585024.3453 | 1221661.5424 | 2585043.546 | 1221641.7601 | 2585043.546 | 1221641.7601
50 | 2585198.4367 | 1221601.2695 | 2585193.1868 | 1221601.3107
51 | 2585202.5391 | 1221600.9993 | 2585200.4703 | 1221601.2535 | 2585198.4367 | 1221601.2695
52 | 2585179.7027 | 1221601.4167 | 2585193.1868 | 1221601.3107
53 | 2585202.5391 | 1221600.9993 | 2585221.1561 | 1221598.7115 | 2585239.8207 | 1221598.1194
54 | 2585178.9922 | 1221601.4128 | 2585179.7027 | 1221601.4167
55 | 2585260.1926 | 1221599.5777 | 2585243.9778 | 1221597.9875 | 2585239.8207 | 1221598.1194
56 | 2585167.5206 | 1221601.5157 | 2585168.4311 | 1221601.356 | 2585178.9922 | 1221601.4128
57 | 2585260.1926 | 1221599.5777 | 2585282.9115 | 1221601.8058
58 | 2585145.4836 | 1221612.4199 | 2585152.5156 | 1221606.6211 | 2585160.0078 | 1221602.8335 | 2585167.5206 | 1221601.5157
59 | 2585282.9115 | 1221601.8058 | 2585289.7346 | 1221602.4749
60 | 2585150.9962 | 1221620.7776 | 2585145.4836 | 1221612.4199
61 | 2585145.4836 | 1221612.4199 | 2585129.1825 | 1221590.9706 | 2585121.7227 | 1221584.0121
62 | 2585317.9054 | 1221577.8809 | 2585298.7399 | 1221572.6143 | 2585274.9666 | 1221567.0722
63 | 2585317.9054 | 1221577.8809 | 2585325.1723 | 1221602.4994
64 | 2585289.7346 | 1221602.4749 | 2585290.4179 | 1221602.5419
65 | 2585325.1723 | 1221602.4994 | 2585308.7906 | 1221603.3516 | 2585299.5365 | 1221603.2079 | 2585290.9638 | 1221602.5955 | 2585290.4179 | 1221602.5419
66 | 2585219.6206 | 1221658.9504 | 2585203.2271 | 1221671.7801
67 | 2585232.3331 | 1221649.0016 | 2585219.6206 | 1221658.9504
68 | 2585183.3084 | 1221687.3685 | 2585203.2271 | 1221671.7801
69 | 2585232.3331 | 1221649.0016 | 2585232.3331 | 1221649.0016 | 2585248.2851 | 1221645.882
70 | 2585183.3084 | 1221687.3685 | 2585186.2213 | 1221692.9645
71 | 2585183.3084 | 1221687.3685 | 2585175.9608 | 1221672.2261
72 | 2585248.2851 | 1221645.882 | 2585249.8384 | 1221645.5782 | 2585258.886 | 1221645.0332 | 2585262.9045 | 1221645.5209
73 | 2585186.2213 | 1221692.9645 | 2585191.0294 | 1221702.2014
74 | 2585175.9608 | 1221672.2261 | 2585175.4861 | 1221671.2477
75 | 2585191.0294 | 1221702.2014 | 2585198.293 | 1221716.1556
76 | 2585165.4442 | 1221650.5528 | 2585175.4861 | 1221671.2477
77 | 2585200.4939 | 1221720.3039 | 2585200.1903 | 1221719.8007 | 2585198.293 | 1221716.1556
78 | 2585150.9962 | 1221620.7776 | 2585165.4442 | 1221650.5528
79 | 2585112.1472 | 1221575.0802 | 2585108.9114 | 1221572.0618
80 | 2585098.5628 | 1221561.832 | 2585106.1227 | 1221569.4605 | 2585108.9114 | 1221572.0618
81 | 2585121.7227 | 1221584.0121 | 2585112.1472 | 1221575.0802
82 | 2585078.3685 | 1221536.2667 | 2585090.3739 | 1221553.5687 | 2585098.5628 | 1221561.832
83 | 2585078.3685 | 1221536.2667 | 2585055.009 | 1221558.4163 | 2585042.555 | 1221570.9817
84 | 2585042.555 | 1221570.9817 | 2585042.332 | 1221571.2067
85 | 2585150.9962 | 1221620.7776 | 2585145.4282 | 1221623.5709 | 2585142.8446 | 1221626.4775
86 | 2585042.332 | 1221571.2067 | 2585036.1428 | 1221577.4515
87 | 2585032.7502 | 1221580.8744 | 2585036.1428 | 1221577.4515
88 | 2585047.5571 | 1221641.1941 | 2585047.5571 | 1221641.1941 | 2585052.9762 | 1221646.411
89 | 2585047.5571 | 1221641.1941 | 2585043.546 | 1221641.7601
90 | 2585052.9762 | 1221646.411 | 2585059.7124 | 1221652.8959
91 | 2585066.5406 | 1221659.4693 | 2585059.7124 | 1221652.8959
92 | 2585016.9137 | 1221654.5581 | 2585007.7819 | 1221645.9758
93 | 2584994.1096 | 1221633.1263 | 2585007.7819 | 1221645.9758
94 | 2584984.3161 | 1221623.9222 | 2584994.1096 | 1221633.1263
95 | 2584984.3161 | 1221623.9222 | 2584979.0296 | 1221618.9538
96 | 2584962.648 | 1221603.4495 | 2584974.3469 | 1221614.5529 | 2584979.0296 | 1221618.9538
97 | 2584936.7583 | 1221618.9638 | 2584937.9926 | 1221620.9045 | 2584951.1161 | 1221635.2446
98 | 2584964.7982 | 1221650.195 | 2584951.1161 | 1221635.2446
99 | 2584979.0583 | 1221665.777 | 2584964.7982 | 1221650.195
100 | 2584979.0583 | 1221665.777 | 2584989.8768 | 1221677.5985
101 | 2585148.2156 | 1221903.0926 | 2585135.7699 | 1221888.3153 | 2585133.734 | 1221886.718
102 | 2585125.2747 | 1221880.0813 | 2585133.734 | 1221886.718
103 | 2585148.2156 | 1221903.0926 | 2585161.4614 | 1221928.4408
104 | 2585161.4614 | 1221928.4408 | 2585169.0351 | 1221936.1019
105 | 2585177.6655 | 1221944.8319 | 2585169.0351 | 1221936.1019
106 | 2585154.4024 | 1221769.4107 | 2585164.8372 | 1221778.1515
107 | 2585154.4024 | 1221769.4107 | 2585154.2229 | 1221769.2603
108 | 2585152.5626 | 1221767.8695 | 2585154.2229 | 1221769.2603
109 | 2585141.0098 | 1221758.1921 | 2585152.5626 | 1221767.8695
110 | 2585141.0098 | 1221758.1921 | 2585136.4776 | 1221754.3957
111 | 2585130.5689 | 1221749.4462 | 2585136.4776 | 1221754.3957
112 | 2585129.2686 | 1221748.357 | 2585130.5689 | 1221749.4462
113 | 2585116.8157 | 1221740.4659 | 2585128.4537 | 1221747.6743 | 2585129.2686 | 1221748.357
114 | 2584989.8768 | 1221677.5985 | 2584994.824 | 1221683.0043

## bus_geodata
| x | y | coords
0 | 2585310.3486 | 1221802.8755
1 | 2585329.4679 | 1221814.5672
2 | 2585279.8969 | 1221791.5547
3 | 2585244.8833 | 1221793.7987
4 | 2585220.4218 | 1221753.3245
5 | 2585254.744 | 1221824.4363
6 | 2585285.4288 | 1221862.7155
7 | 2585269.4279 | 1221854.1199
8 | 2585289.0015 | 1221868.9436
9 | 2585250.1292 | 1221835.3097
10 | 2585260.518 | 1221900.3327
11 | 2585311.9217 | 1221969.3894
12 | 2585217.175 | 1221747.9523
13 | 2585188.5222 | 1221798.8872
14 | 2585173.648 | 1221785.6805
15 | 2585219.6582 | 1221976.8789
16 | 2585292.9502 | 1221929.5207
17 | 2585206.8542 | 1221730.8458
18 | 2585060.391 | 1221757.6858
19 | 2585062.1468 | 1221759.8372
20 | 2585044.4937 | 1221738.7482
21 | 2585035.6331 | 1221728.5594
22 | 2585083.2059 | 1221722.0956
23 | 2585071.3339 | 1221710.2523
24 | 2585097.9215 | 1221731.4306
25 | 2585027.2121 | 1221718.9571
26 | 2585103.3057 | 1221694.8625
27 | 2585087.929 | 1221680.0595
28 | 2585108.8702 | 1221685.0354
29 | 2585057.4081 | 1221696.3604
30 | 2585100.2782 | 1221718.5283
31 | 2585107.0012 | 1221735.365
32 | 2585022.2234 | 1221713.2686
33 | 2585076.0841 | 1221668.6567
34 | 2585124.1865 | 1221657.9863
35 | 2585040.8966 | 1221679.8889
36 | 2585116.2065 | 1221740.0886
37 | 2585015.3924 | 1221705.4794
38 | 2585008.45 | 1221697.8934
39 | 2585023.7534 | 1221697.0901
40 | 2585004.5914 | 1221693.6771
41 | 2584999.6825 | 1221688.3132
42 | 2585031.5622 | 1221669.5421
43 | 2584996.6866 | 1221685.0395
44 | 2585024.3453 | 1221661.5424
45 | 2585198.4367 | 1221601.2695
46 | 2585193.1868 | 1221601.3107
47 | 2585202.5391 | 1221600.9993
48 | 2585179.7027 | 1221601.4167
49 | 2585239.8207 | 1221598.1194
50 | 2585178.9922 | 1221601.4128
51 | 2585260.1926 | 1221599.5777
52 | 2585167.5206 | 1221601.5157
53 | 2585282.9115 | 1221601.8058
54 | 2585145.4836 | 1221612.4199
55 | 2585274.9666 | 1221567.0722
56 | 2585317.9054 | 1221577.8809
57 | 2585289.7346 | 1221602.4749
58 | 2585290.4179 | 1221602.5419
59 | 2585325.1723 | 1221602.4994
60 | 2585219.6206 | 1221658.9504
61 | 2585203.2271 | 1221671.7801
62 | 2585232.3331 | 1221649.0016
63 | 2585183.3084 | 1221687.3685
64 | 2585248.2851 | 1221645.882
65 | 2585186.2213 | 1221692.9645
66 | 2585175.9608 | 1221672.2261
67 | 2585262.9045 | 1221645.5209
68 | 2585191.0294 | 1221702.2014
69 | 2585175.4861 | 1221671.2477
70 | 2585198.293 | 1221716.1556
71 | 2585165.4442 | 1221650.5528
72 | 2585108.9114 | 1221572.0618
73 | 2585112.1472 | 1221575.0802
74 | 2585098.5628 | 1221561.832
75 | 2585121.7227 | 1221584.0121
76 | 2585078.3685 | 1221536.2667
77 | 2585042.555 | 1221570.9817
78 | 2585150.9962 | 1221620.7776
79 | 2585042.332 | 1221571.2067
80 | 2585142.8446 | 1221626.4775
81 | 2585036.1428 | 1221577.4515
82 | 2585200.4939 | 1221720.3039
83 | 2585047.5571 | 1221641.1941
84 | 2585052.9762 | 1221646.411
85 | 2585043.546 | 1221641.7601
86 | 2585059.7124 | 1221652.8959
87 | 2585066.5406 | 1221659.4693
88 | 2585016.9137 | 1221654.558
89 | 2585007.7819 | 1221645.9758
90 | 2585032.7502 | 1221580.8744
91 | 2584984.3161 | 1221623.9222
92 | 2584994.1096 | 1221633.1263
93 | 2584979.0296 | 1221618.9538
94 | 2584962.648 | 1221603.4495
95 | 2584936.7583 | 1221618.9638
96 | 2584951.1161 | 1221635.2446
97 | 2584964.7982 | 1221650.195
98 | 2584979.0583 | 1221665.777
99 | 2585133.734 | 1221886.718
100 | 2585148.2156 | 1221903.0926
101 | 2585125.2747 | 1221880.0813
102 | 2585161.4614 | 1221928.4408
103 | 2585169.0351 | 1221936.1019
104 | 2585177.6655 | 1221944.8319
105 | 2585154.4024 | 1221769.4107
106 | 2585164.8372 | 1221778.1515
107 | 2585154.2229 | 1221769.2603
108 | 2585152.5626 | 1221767.8695
109 | 2585141.0098 | 1221758.1921
110 | 2585136.4776 | 1221754.3957
111 | 2585130.5689 | 1221749.4462
112 | 2585116.8157 | 1221740.4659
113 | 2585129.2686 | 1221748.357
114 | 2584994.824 | 1221683.0043
115 | 2584989.8768 | 1221677.5985
116 | 2585083.2059 | 1221722.0956

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1