## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_371-79_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_371-79_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_371-79_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_371-79_0_5_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_371-79_0_5_node_8 | 0.4 | n |  | TRUE
5 | bus_LV_371-79_0_5_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_371-79_0_5_node_9 | 0.4 | n |  | TRUE
7 | bus_LV_371-79_0_5_node_13 | 0.4 | n |  | TRUE
8 | bus_LV_371-79_0_5_node_11 | 0.4 | n |  | TRUE
9 | bus_LV_371-79_0_5_node_36 | 0.4 | n |  | TRUE
10 | bus_LV_371-79_0_5_node_80 | 0.4 | n |  | TRUE
11 | bus_LV_371-79_0_5_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_371-79_0_5_node_96 | 0.4 | n |  | TRUE
13 | bus_LV_371-79_0_5_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_371-79_0_5_node_95 | 0.4 | n |  | TRUE
15 | bus_LV_371-79_0_5_node_16 | 0.4 | n |  | TRUE
16 | bus_LV_371-79_0_5_node_72 | 0.4 | n |  | TRUE
17 | bus_LV_371-79_0_5_node_79 | 0.4 | n |  | TRUE
18 | bus_LV_371-79_0_5_node_74 | 0.4 | n |  | TRUE
19 | bus_LV_371-79_0_5_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_371-79_0_5_node_65 | 0.4 | n |  | TRUE
21 | bus_LV_371-79_0_5_node_71 | 0.4 | n |  | TRUE
22 | bus_LV_371-79_0_5_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_371-79_0_5_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_371-79_0_5_node_70 | 0.4 | n |  | TRUE
25 | bus_LV_371-79_0_5_node_69 | 0.4 | n |  | TRUE
26 | bus_LV_371-79_0_5_node_81 | 0.4 | n |  | TRUE
27 | bus_LV_371-79_0_5_node_49 | 0.4 | n |  | TRUE
28 | bus_LV_371-79_0_5_node_94 | 0.4 | n |  | TRUE
29 | bus_LV_371-79_0_5_node_73 | 0.4 | n |  | TRUE
30 | bus_LV_371-79_0_5_node_78 | 0.4 | n |  | TRUE
31 | bus_LV_371-79_0_5_node_37 | 0.4 | n |  | TRUE
32 | bus_LV_371-79_0_5_node_38 | 0.4 | n |  | TRUE
33 | bus_LV_371-79_0_5_node_39 | 0.4 | n |  | TRUE
34 | bus_LV_371-79_0_5_node_51 | 0.4 | n |  | TRUE
35 | bus_LV_371-79_0_5_node_76 | 0.4 | n |  | TRUE
36 | bus_LV_371-79_0_5_node_77 | 0.4 | n |  | TRUE
37 | bus_LV_371-79_0_5_node_50 | 0.4 | n |  | TRUE
38 | bus_LV_371-79_0_5_node_46 | 0.4 | n |  | TRUE
39 | bus_LV_371-79_0_5_node_48 | 0.4 | n |  | TRUE
40 | bus_LV_371-79_0_5_node_45 | 0.4 | n |  | TRUE
41 | bus_LV_371-79_0_5_node_47 | 0.4 | n |  | TRUE
42 | bus_LV_371-79_0_5_node_53 | 0.4 | n |  | TRUE
43 | bus_LV_371-79_0_5_node_66 | 0.4 | n |  | TRUE
44 | bus_LV_371-79_0_5_node_19 | 0.4 | n |  | TRUE
45 | bus_LV_371-79_0_5_node_97 | 0.4 | n |  | TRUE
46 | bus_LV_371-79_0_5_node_20 | 0.4 | n |  | TRUE
47 | bus_LV_371-79_0_5_node_21 | 0.4 | n |  | TRUE
48 | bus_LV_371-79_0_5_node_22 | 0.4 | n |  | TRUE
49 | bus_LV_371-79_0_5_node_23 | 0.4 | n |  | TRUE
50 | bus_LV_371-79_0_5_node_24 | 0.4 | n |  | TRUE
51 | bus_LV_371-79_0_5_node_25 | 0.4 | n |  | TRUE
52 | bus_LV_371-79_0_5_node_68 | 0.4 | n |  | TRUE
53 | bus_LV_371-79_0_5_node_57 | 0.4 | n |  | TRUE
54 | bus_LV_371-79_0_5_node_100 | 0.4 | n |  | TRUE
55 | bus_LV_371-79_0_5_node_67 | 0.4 | n |  | TRUE
56 | bus_LV_371-79_0_5_node_63 | 0.4 | n |  | TRUE
57 | bus_LV_371-79_0_5_node_26 | 0.4 | n |  | TRUE
58 | bus_LV_371-79_0_5_node_27 | 0.4 | n |  | TRUE
59 | bus_LV_371-79_0_5_node_28 | 0.4 | n |  | TRUE
60 | bus_LV_371-79_0_5_node_29 | 0.4 | n |  | TRUE
61 | bus_LV_371-79_0_5_node_30 | 0.4 | n |  | TRUE
62 | bus_LV_371-79_0_5_node_60 | 0.4 | n |  | TRUE
63 | bus_LV_371-79_0_5_node_58 | 0.4 | n |  | TRUE
64 | bus_LV_371-79_0_5_node_43 | 0.4 | n |  | TRUE
65 | bus_LV_371-79_0_5_node_59 | 0.4 | n |  | TRUE
66 | bus_LV_371-79_0_5_node_31 | 0.4 | n |  | TRUE
67 | bus_LV_371-79_0_5_node_32 | 0.4 | n |  | TRUE
68 | bus_LV_371-79_0_5_node_33 | 0.4 | n |  | TRUE
69 | bus_LV_371-79_0_5_node_34 | 0.4 | n |  | TRUE
70 | bus_LV_371-79_0_5_node_35 | 0.4 | n |  | TRUE
71 | bus_LV_371-79_0_5_node_55 | 0.4 | n |  | TRUE
72 | bus_LV_371-79_0_5_node_61 | 0.4 | n |  | TRUE
73 | bus_LV_371-79_0_5_node_54 | 0.4 | n |  | TRUE
74 | bus_LV_371-79_0_5_node_40 | 0.4 | n |  | TRUE
75 | bus_LV_371-79_0_5_node_41 | 0.4 | n |  | TRUE
76 | bus_LV_371-79_0_5_node_42 | 0.4 | n |  | TRUE
77 | bus_LV_371-79_0_5_node_44 | 0.4 | n |  | TRUE
78 | bus_LV_371-79_0_5_node_98 | 0.4 | n |  | TRUE
79 | bus_LV_371-79_0_5_node_99 | 0.4 | n |  | TRUE
80 | bus_LV_371-79_0_5_node_75 | 0.4 | n |  | TRUE
81 | bus_LV_371-79_0_5_node_62 | 0.4 | n |  | TRUE
82 | bus_LV_371-79_0_5_node_64 | 0.4 | n |  | TRUE
83 | bus_LV_371-79_0_5_node_82 | 0.4 | n |  | TRUE
84 | bus_LV_371-79_0_5_node_83 | 0.4 | n |  | TRUE
85 | bus_LV_371-79_0_5_node_84 | 0.4 | n |  | TRUE
86 | bus_LV_371-79_0_5_node_85 | 0.4 | n |  | TRUE
87 | bus_LV_371-79_0_5_node_86 | 0.4 | n |  | TRUE
88 | bus_LV_371-79_0_5_node_87 | 0.4 | n |  | TRUE
89 | bus_LV_371-79_0_5_node_88 | 0.4 | n |  | TRUE
90 | bus_LV_371-79_0_5_node_89 | 0.4 | n |  | TRUE
91 | bus_LV_371-79_0_5_node_90 | 0.4 | n |  | TRUE
92 | bus_LV_371-79_0_5_node_91 | 0.4 | n |  | TRUE
93 | bus_LV_371-79_0_5_node_92 | 0.4 | n |  | TRUE
94 | bus_LV_371-79_0_5_node_93 | 0.4 | n |  | TRUE
95 | bus_MV_610_0_node_131 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_371-79_0_5_load_0 | 0 | 0.0012064 | 0.00030236 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_371-79_0_5_load_1 | 1 | 0.0011327 | 0.00028389 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_371-79_0_5_load_4 | 5 | 0.01093 | 0.0027393 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_371-79_0_5_load_36 | 9 | 0.0023812 | 0.00059679 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_371-79_0_5_load_80 | 10 | 0.0033654 | 0.00084345 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_371-79_0_5_load_96 | 12 | 0.0024507 | 0.00061421 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_371-79_0_5_load_95 | 14 | 0.0028738 | 0.00072025 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_371-79_0_5_load_72 | 16 | 0.010241 | 0.0025667 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_371-79_0_5_load_79 | 17 | 0.0025944 | 0.00065023 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_371-79_0_5_load_74 | 18 | 0.0042574 | 0.001067 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_371-79_0_5_load_71 | 21 | 0.036729 | 0.0092051 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_371-79_0_5_load_18 | 22 | 0.010834 | 0.0027153 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_371-79_0_5_load_70 | 24 | 0.0018921 | 0.00047421 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_371-79_0_5_load_69 | 25 | 0.0022344 | 0.00056 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_371-79_0_5_load_81 | 26 | 0.0037199 | 0.0009323 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_371-79_0_5_load_94 | 28 | 0.0028543 | 0.00071536 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_371-79_0_5_load_73 | 29 | 0.0058701 | 0.0014712 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_371-79_0_5_load_78 | 30 | 0.0027322 | 0.00068476 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_371-79_0_5_load_37 | 31 | 0.0047784 | 0.0011976 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_371-79_0_5_load_38 | 32 | 0.01611 | 0.0040376 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_371-79_0_5_load_76 | 35 | 0.0025036 | 0.00062745 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_371-79_0_5_load_77 | 36 | 0.0040339 | 0.001011 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_371-79_0_5_load_48 | 39 | 0.0024658 | 0.00061799 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_371-79_0_5_load_45 | 40 | 0.0030439 | 0.00076286 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_371-79_0_5_load_53 | 42 | 0.0048118 | 0.0012059 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_371-79_0_5_load_66 | 43 | 0.001881 | 0.00047142 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_371-79_0_5_load_19 | 44 | 0.005918 | 0.0014832 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_371-79_0_5_load_97 | 45 | 0.027443 | 0.0068778 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_371-79_0_5_load_20 | 46 | 0.0068437 | 0.0017152 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_371-79_0_5_load_21 | 47 | 0.0086658 | 0.0021719 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_371-79_0_5_load_22 | 48 | 0.011981 | 0.0030027 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_371-79_0_5_load_23 | 49 | 0.0047152 | 0.0011817 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_371-79_0_5_load_24 | 50 | 0.0098634 | 0.002472 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_371-79_0_5_load_25 | 51 | 0.0083542 | 0.0020938 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_371-79_0_5_load_68 | 52 | 0.010162 | 0.0025468 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_371-79_0_5_load_100 | 54 | 0.010147 | 0.0025431 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_371-79_0_5_load_67 | 55 | 0.0024354 | 0.00061036 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_371-79_0_5_load_63 | 56 | 0.0075223 | 0.0018853 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_371-79_0_5_load_26 | 57 | 0.0020613 | 0.00051661 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_371-79_0_5_load_27 | 58 | 0.0028087 | 0.00070392 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_371-79_0_5_load_28 | 59 | 0.0047795 | 0.0011979 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_371-79_0_5_load_29 | 60 | 0.0038374 | 0.00096173 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_371-79_0_5_load_60 | 62 | 0.0039831 | 0.00099826 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_371-79_0_5_load_58 | 63 | 0.0091425 | 0.0022913 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_371-79_0_5_load_43 | 64 | 0.0023785 | 0.0005961 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_371-79_0_5_load_31 | 66 | 0.0019268 | 0.00048291 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_371-79_0_5_load_32 | 67 | 0.001549 | 0.00038821 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_371-79_0_5_load_33 | 68 | 0.0022265 | 0.00055802 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_371-79_0_5_load_34 | 69 | 0.0088643 | 0.0022216 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_371-79_0_5_load_35 | 70 | 0.0028141 | 0.00070528 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_371-79_0_5_load_54 | 73 | 0.003944 | 0.00098846 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_371-79_0_5_load_40 | 74 | 0.0071904 | 0.0018021 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_371-79_0_5_load_41 | 75 | 0.0055801 | 0.0013985 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_371-79_0_5_load_42 | 76 | 0.0054463 | 0.001365 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_371-79_0_5_load_44 | 77 | 0.0099205 | 0.0024863 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_371-79_0_5_load_98 | 78 | 0.010563 | 0.0026474 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_371-79_0_5_load_99 | 79 | 0.010442 | 0.002617 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_371-79_0_5_load_75 | 80 | 0.021449 | 0.0053756 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_371-79_0_5_load_62 | 81 | 0.0052452 | 0.0013146 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_371-79_0_5_load_64 | 82 | 0.0052589 | 0.001318 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_371-79_0_5_load_82 | 83 | 0.0039519 | 0.00099043 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_371-79_0_5_load_83 | 84 | 0.0037859 | 0.00094883 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_371-79_0_5_load_84 | 85 | 0.0037495 | 0.00093972 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_371-79_0_5_load_85 | 86 | 0.002938 | 0.00073633 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_371-79_0_5_load_86 | 87 | 0.0015088 | 0.00037814 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_371-79_0_5_load_87 | 88 | 0.0037492 | 0.00093965 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_371-79_0_5_load_88 | 89 | 0.0025338 | 0.00063503 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_371-79_0_5_load_89 | 90 | 0.0082917 | 0.0020781 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_371-79_0_5_load_90 | 91 | 0.013392 | 0.0033563 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_371-79_0_5_load_91 | 92 | 0.081571 | 0.020444 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_371-79_0_5_load_92 | 93 | 0.0068185 | 0.0017089 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_371-79_0_5_load_93 | 94 | 0.0019177 | 0.00048062 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 15 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_371-79_0_5_line_0 |  | 0 | 1 | 0.011117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_371-79_0_5_line_1 |  | 1 | 2 | 0.041839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_371-79_0_5_line_2 |  | 2 | 3 | 0.044527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_371-79_0_5_line_3 |  | 2 | 4 | 0.10334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_371-79_0_5_line_4 |  | 3 | 5 | 0.030302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_371-79_0_5_line_5 |  | 4 | 6 | 0.045596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_371-79_0_5_line_6 |  | 4 | 7 | 0.086497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_371-79_0_5_line_7 |  | 4 | 8 | 0.086674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_371-79_0_5_line_8 |  | 4 | 9 | 0.042187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_371-79_0_5_line_9 |  | 6 | 10 | 0.018678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_371-79_0_5_line_10 |  | 7 | 18 | 0.012892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_371-79_0_5_line_11 |  | 8 | 15 | 0.061326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_371-79_0_5_line_12 |  | 8 | 16 | 0.037405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_371-79_0_5_line_13 |  | 10 | 26 | 0.026161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_371-79_0_5_line_14 |  | 11 | 12 | 0.033515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_371-79_0_5_line_15 |  | 11 | 13 | 0.037572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_371-79_0_5_line_16 |  | 11 | 14 | 0.018753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_371-79_0_5_line_17 |  | 12 | 27 | 0.096415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_371-79_0_5_line_18 |  | 13 | 17 | 0.038195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_371-79_0_5_line_19 |  | 14 | 28 | 0.014706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_371-79_0_5_line_20 |  | 15 | 22 | 0.041464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_371-79_0_5_line_21 |  | 16 | 29 | 0.0010633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_371-79_0_5_line_22 |  | 17 | 30 | 0.024147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_371-79_0_5_line_23 |  | 19 | 20 | 0.019635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_371-79_0_5_line_24 |  | 19 | 21 | 0.027543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_371-79_0_5_line_25 |  | 20 | 43 | 0.0067529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_371-79_0_5_line_26 |  | 20 | 42 | 0.015492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_371-79_0_5_line_27 |  | 22 | 44 | 0.040662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_371-79_0_5_line_28 |  | 23 | 24 | 0.02919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_371-79_0_5_line_29 |  | 23 | 25 | 0.031388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_371-79_0_5_line_30 |  | 24 | 45 | 0.0062594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_371-79_0_5_line_31 |  | 25 | 43 | 0.010492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_371-79_0_5_line_32 |  | 26 | 83 | 0.025717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_371-79_0_5_line_33 |  | 27 | 33 | 0.12379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_371-79_0_5_line_34 |  | 28 | 94 | 0.034842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_371-79_0_5_line_35 |  | 29 | 55 | 0.01373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_371-79_0_5_line_36 |  | 30 | 37 | 0.013797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_371-79_0_5_line_37 |  | 31 | 32 | 0.058547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_371-79_0_5_line_38 |  | 32 | 33 | 0.036469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_371-79_0_5_line_39 |  | 34 | 35 | 0.033839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_371-79_0_5_line_40 |  | 34 | 36 | 0.06144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_371-79_0_5_line_41 |  | 35 | 80 | 0.024071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_371-79_0_5_line_42 |  | 36 | 37 | 0.029366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_371-79_0_5_line_43 |  | 38 | 39 | 0.028461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_371-79_0_5_line_44 |  | 38 | 40 | 0.0384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_371-79_0_5_line_45 |  | 39 | 60 | 0.016408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_371-79_0_5_line_46 |  | 40 | 41 | 0.010453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_371-79_0_5_line_47 |  | 41 | 42 | 0.010571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_371-79_0_5_line_48 |  | 44 | 46 | 0.0038141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_371-79_0_5_line_49 |  | 47 | 48 | 0.0070984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
50 | LV_371-79_0_5_line_50 |  | 47 | 49 | 0.025321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
51 | LV_371-79_0_5_line_51 |  | 48 | 50 | 0.0076159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
52 | LV_371-79_0_5_line_52 |  | 49 | 51 | 0.03393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
53 | LV_371-79_0_5_line_53 |  | 50 | 52 | 0.0088899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
54 | LV_371-79_0_5_line_54 |  | 51 | 53 | 0.013205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
55 | LV_371-79_0_5_line_55 |  | 52 | 54 | 0.009373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
56 | LV_371-79_0_5_line_56 |  | 53 | 55 | 0.039022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
57 | LV_371-79_0_5_line_57 |  | 53 | 56 | 0.025596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_371-79_0_5_line_58 |  | 54 | 79 | 0.012834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
59 | LV_371-79_0_5_line_59 |  | 56 | 81 | 0.031201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_371-79_0_5_line_60 |  | 57 | 58 | 0.0060395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
61 | LV_371-79_0_5_line_61 |  | 57 | 59 | 0.023133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
62 | LV_371-79_0_5_line_62 |  | 58 | 60 | 0.011284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
63 | LV_371-79_0_5_line_63 |  | 59 | 61 | 0.012003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
64 | LV_371-79_0_5_line_64 |  | 61 | 62 | 0.027371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
65 | LV_371-79_0_5_line_65 |  | 61 | 63 | 0.025133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
66 | LV_371-79_0_5_line_66 |  | 62 | 64 | 0.019221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
67 | LV_371-79_0_5_line_67 |  | 63 | 65 | 0.089964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
68 | LV_371-79_0_5_line_68 |  | 64 | 75 | 0.0089647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
69 | LV_371-79_0_5_line_69 |  | 65 | 72 | 0.19263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
70 | LV_371-79_0_5_line_70 |  | 66 | 67 | 0.021947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_371-79_0_5_line_71 |  | 66 | 68 | 0.026876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_371-79_0_5_line_72 |  | 67 | 69 | 0.012252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_371-79_0_5_line_73 |  | 68 | 70 | 0.021128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_371-79_0_5_line_74 |  | 69 | 71 | 0.0039817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_371-79_0_5_line_75 |  | 70 | 72 | 0.10381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_371-79_0_5_line_76 |  | 71 | 73 | 0.02846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_371-79_0_5_line_77 |  | 74 | 75 | 0.013348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
78 | LV_371-79_0_5_line_78 |  | 74 | 76 | 0.0034979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
79 | LV_371-79_0_5_line_79 |  | 76 | 77 | 0.014565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
80 | LV_371-79_0_5_line_80 |  | 77 | 78 | 0.013787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
81 | LV_371-79_0_5_line_81 |  | 78 | 79 | 0.013155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
82 | LV_371-79_0_5_line_82 |  | 81 | 82 | 0.028819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_371-79_0_5_line_83 |  | 83 | 84 | 0.023921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
84 | LV_371-79_0_5_line_84 |  | 84 | 85 | 0.014693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
85 | LV_371-79_0_5_line_85 |  | 85 | 86 | 0.012274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
86 | LV_371-79_0_5_line_86 |  | 86 | 87 | 0.0072463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
87 | LV_371-79_0_5_line_87 |  | 87 | 88 | 0.017585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
88 | LV_371-79_0_5_line_88 |  | 88 | 89 | 0.02827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
89 | LV_371-79_0_5_line_89 |  | 89 | 90 | 0.019571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
90 | LV_371-79_0_5_line_90 |  | 90 | 91 | 0.015395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
91 | LV_371-79_0_5_line_91 |  | 91 | 92 | 0.012877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
92 | LV_371-79_0_5_line_92 |  | 92 | 93 | 0.017236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
93 | LV_371-79_0_5_line_93 |  | 93 | 94 | 0.00049285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_371-79_0_5_trafo_16 | 0.63 MVA 20/0.4 kV | 95 | 15 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17
0 | 2584435.9404 | 1220346.9992 | 2584424.8238 | 1220347.0603
1 | 2584435.9404 | 1220346.9992 | 2584419.8222 | 1220356.9918 | 2584401.6054 | 1220370.9589
2 | 2584401.6054 | 1220370.9589 | 2584381.0323 | 1220331.4458
3 | 2584401.6054 | 1220370.9589 | 2584419.8217 | 1220411.5677 | 2584427.458 | 1220427.6013 | 2584431.4513 | 1220434.3948 | 2584442.295 | 1220441.1035 | 2584447.2982 | 1220442.5023 | 2584450.9913 | 1220444.805 | 2584449.2595 | 1220446.9108 | 2584448.1584 | 1220449.404 | 2584447.7482 | 1220452.0955 | 2584448.0588 | 1220454.7962
4 | 2584381.0323 | 1220331.4458 | 2584405.5526 | 1220313.6423
5 | 2584448.0588 | 1220454.7962 | 2584447.7482 | 1220452.0955 | 2584448.1584 | 1220449.404 | 2584449.2595 | 1220446.9108 | 2584450.9913 | 1220444.805 | 2584453.2252 | 1220443.2093 | 2584455.8097 | 1220442.2687 | 2584458.5479 | 1220442.0391 | 2584461.2424 | 1220442.5435 | 2584463.7188 | 1220443.7377 | 2584465.7795 | 1220445.5555 | 2584472.5191 | 1220437.9223 | 2584477.6336 | 1220444.1236
6 | 2584381.266 | 1220463.1657 | 2584414.746 | 1220457.6188 | 2584442.295 | 1220441.1035 | 2584447.2982 | 1220442.5023 | 2584450.9913 | 1220444.805 | 2584449.2595 | 1220446.9108 | 2584448.1584 | 1220449.404 | 2584447.7482 | 1220452.0955 | 2584448.0588 | 1220454.7962
7 | 2584448.0588 | 1220454.7962 | 2584449.364 | 1220457.7946 | 2584451.5401 | 1220460.2236 | 2584454.3817 | 1220461.8504 | 2584457.585 | 1220462.509 | 2584460.8386 | 1220462.1225 | 2584463.8013 | 1220460.7473 | 2584472.1802 | 1220467.796 | 2584484.3716 | 1220479.2818 | 2584486.5232 | 1220481.0772 | 2584502.5418 | 1220493.9761 | 2584513.7844 | 1220505.3421
8 | 2584448.0588 | 1220454.7962 | 2584425.7625 | 1220460.8027 | 2584407.2455 | 1220465.469
9 | 2584477.6336 | 1220444.1236 | 2584481.6481 | 1220441.6895 | 2584494.381 | 1220435.9108
10 | 2584381.266 | 1220463.1657 | 2584372.1015 | 1220454.0988
11 | 2584513.7844 | 1220505.3421 | 2584524.4667 | 1220514.2416 | 2584535.818 | 1220523.6729 | 2584562.2613 | 1220542.8484
12 | 2584513.7844 | 1220505.3421 | 2584492.0518 | 1220535.7857
13 | 2584494.381 | 1220435.9108 | 2584518.0887 | 1220425.1513 | 2584518.2033 | 1220425.0978
14 | 2584750.0312 | 1220300.4665 | 2584779.5163 | 1220316.4009
15 | 2584750.0312 | 1220300.4665 | 2584745.1691 | 1220297.9331 | 2584747.8006 | 1220294.5689 | 2584758.6282 | 1220277.3755 | 2584759.3988 | 1220276.095 | 2584758.8447 | 1220270.1152
16 | 2584750.0312 | 1220300.4665 | 2584737.032 | 1220311.0617 | 2584735.2831 | 1220311.9958
17 | 2584863.4099 | 1220363.6677 | 2584855.0253 | 1220357.2077 | 2584779.5163 | 1220316.4009
18 | 2584758.8447 | 1220270.1152 | 2584768.9545 | 1220274.703 | 2584774.2981 | 1220281.5599 | 2584781.2235 | 1220286.9563 | 2584789.375 | 1220292.0641
19 | 2584735.2831 | 1220311.9958 | 2584722.3115 | 1220318.9245
20 | 2584562.2613 | 1220542.8484 | 2584557.4372 | 1220548.9867 | 2584549.6944 | 1220558.8348 | 2584537.5183 | 1220576.103
21 | 2584492.0518 | 1220535.7857 | 2584491.434 | 1220536.6511
22 | 2584789.375 | 1220292.0641 | 2584809.8371 | 1220304.8859
23 | 2584665.0482 | 1220597.7575 | 2584653.7558 | 1220613.8405
24 | 2584665.0482 | 1220597.7575 | 2584682.1614 | 1220576.1765
25 | 2584653.7558 | 1220613.8405 | 2584648.4127 | 1220609.7109
26 | 2584653.7558 | 1220613.8405 | 2584665.902 | 1220623.4573
27 | 2584532.566 | 1220610.9932 | 2584524.7592 | 1220594.1981 | 2584537.5183 | 1220576.103
28 | 2584615.2764 | 1220584.1009 | 2584610.4446 | 1220590.2392 | 2584599.9401 | 1220605.8311 | 2584598.1478 | 1220607.6845
29 | 2584615.2764 | 1220584.1009 | 2584640.1112 | 1220603.295
30 | 2584593.7965 | 1220612.1841 | 2584598.1478 | 1220607.6845
31 | 2584640.1112 | 1220603.295 | 2584648.4127 | 1220609.7109
32 | 2584518.2033 | 1220425.0978 | 2584541.5117 | 1220414.2323
33 | 2584779.2219 | 1220452.6904 | 2584795.4915 | 1220427.6675 | 2584819.9295 | 1220398.6992 | 2584825.2553 | 1220392.771 | 2584855.7662 | 1220368.0565 | 2584863.4099 | 1220363.6677
34 | 2584722.3115 | 1220318.9245 | 2584691.5787 | 1220335.3403
35 | 2584491.434 | 1220536.6511 | 2584483.4566 | 1220547.8261
36 | 2584821.5285 | 1220312.2119 | 2584809.8371 | 1220304.8859
37 | 2584746.2231 | 1220437.29 | 2584735.1492 | 1220431.1692 | 2584698.6228 | 1220458.9563
38 | 2584779.2219 | 1220452.6904 | 2584764.0332 | 1220446.6371 | 2584755.2899 | 1220442.3015 | 2584746.2231 | 1220437.29
39 | 2584905.8527 | 1220278.5214 | 2584876.2774 | 1220262.8878 | 2584875.9251 | 1220262.7313
40 | 2584905.8527 | 1220278.5214 | 2584852.9283 | 1220299.6687 | 2584848.7989 | 1220301.3183
41 | 2584853.928 | 1220252.9563 | 2584875.9251 | 1220262.7313
42 | 2584821.5285 | 1220312.2119 | 2584848.7989 | 1220301.3183
43 | 2584712.5562 | 1220660.2597 | 2584696.2071 | 1220683.5153 | 2584696.1954 | 1220683.5463
44 | 2584712.5562 | 1220660.2597 | 2584707.965 | 1220656.7584 | 2584682.385 | 1220636.5072
45 | 2584696.1954 | 1220683.5463 | 2584695.0618 | 1220686.5423 | 2584687.0171 | 1220697.0136 | 2584687.0171 | 1220697.0136
46 | 2584674.1898 | 1220630.0191 | 2584682.385 | 1220636.5072
47 | 2584674.1898 | 1220630.0191 | 2584665.902 | 1220623.4573
48 | 2584534.1737 | 1220614.4519 | 2584532.566 | 1220610.9932
49 | 2584526.1013 | 1220640.5678 | 2584523.4578 | 1220636.1479 | 2584522.3434 | 1220634.5498
50 | 2584507.3167 | 1220614.2672 | 2584509.5758 | 1220616.2394 | 2584522.3434 | 1220634.5498
51 | 2584526.1013 | 1220640.5678 | 2584530.0106 | 1220647.1038
52 | 2584507.3167 | 1220614.2672 | 2584482.1643 | 1220592.3084 | 2584481.761 | 1220591.9475
53 | 2584535.9633 | 1220653.7066 | 2584530.0106 | 1220647.1038 | 2584530.0106 | 1220647.1038
54 | 2584471.9214 | 1220583.1411 | 2584481.761 | 1220591.9475
55 | 2584543.0469 | 1220659.7781 | 2584538.2201 | 1220656.2099 | 2584535.9633 | 1220653.7066
56 | 2584471.9214 | 1220583.1411 | 2584470.1652 | 1220575.9415 | 2584471.2615 | 1220568.7234 | 2584475.9681 | 1220558.3161 | 2584483.4566 | 1220547.8261
57 | 2584471.9214 | 1220583.1411 | 2584449.7381 | 1220570.3721
58 | 2584553.4707 | 1220667.26 | 2584550.3436 | 1220665.1723 | 2584543.0469 | 1220659.7781
59 | 2584422.6967 | 1220554.8067 | 2584449.7381 | 1220570.3721
60 | 2584671.3242 | 1220698.177 | 2584674.5634 | 1220695.1892 | 2584676.0257 | 1220694.4627 | 2584676.0257 | 1220694.4627
61 | 2584657.5871 | 1220716.6712 | 2584660.921 | 1220711.8786 | 2584669.7472 | 1220701.4497 | 2584671.3242 | 1220698.177 | 2584671.3242 | 1220698.177
62 | 2584676.0257 | 1220694.4627 | 2584687.0171 | 1220697.0136
63 | 2584650.7328 | 1220726.5245 | 2584657.5871 | 1220716.6712
64 | 2584650.7328 | 1220726.5245 | 2584627.2849 | 1220712.4056
65 | 2584650.7328 | 1220726.5245 | 2584665.2684 | 1220738.4048 | 2584669.6565 | 1220743.009
66 | 2584610.819 | 1220702.4908 | 2584627.2849 | 1220712.4056
67 | 2584719.917 | 1220816.8645 | 2584712.7139 | 1220803.5976 | 2584701.0034 | 1220781.0704 | 2584689.0398 | 1220763.3467 | 2584669.6565 | 1220743.009
68 | 2584603.139 | 1220697.8664 | 2584610.819 | 1220702.4908
69 | 2584663.7936 | 1220857.2885 | 2584671.8146 | 1220858.2572 | 2584707.1602 | 1220876.7543 | 2584721.5617 | 1220883.8545 | 2584751.7691 | 1220892.6818 | 2584755.4871 | 1220892.9946 | 2584757.3829 | 1220892.7229 | 2584759.4347 | 1220891.1723 | 2584761.257 | 1220888.8774 | 2584762.4512 | 1220887.1622 | 2584763.2652 | 1220885.1256 | 2584763.5854 | 1220882.7679 | 2584762.5238 | 1220880.0246 | 2584761.1912 | 1220878.038 | 2584752.9034 | 1220867.6978 | 2584740.5811 | 1220851.976 | 2584729.6806 | 1220834.6163 | 2584719.917 | 1220816.8645
70 | 2584523.318 | 1220756.3328 | 2584541.5772 | 1220768.5104
71 | 2584563.9367 | 1220783.4226 | 2584541.5772 | 1220768.5104
72 | 2584523.318 | 1220756.3328 | 2584513.1251 | 1220749.5349
73 | 2584581.5144 | 1220795.1457 | 2584563.9367 | 1220783.4226
74 | 2584509.8126 | 1220747.3256 | 2584513.1251 | 1220749.5349
75 | 2584663.7936 | 1220857.2885 | 2584647.6934 | 1220838.7306 | 2584608.2624 | 1220812.9847 | 2584581.5144 | 1220795.1457
76 | 2584509.8126 | 1220747.3256 | 2584484.875 | 1220733.6102
77 | 2584603.139 | 1220697.8664 | 2584591.7043 | 1220690.9811
78 | 2584588.7078 | 1220689.1767 | 2584591.7043 | 1220690.9811
79 | 2584588.7078 | 1220689.1767 | 2584576.2304 | 1220681.6636
80 | 2584576.2304 | 1220681.6636 | 2584564.4191 | 1220674.5515
81 | 2584564.4191 | 1220674.5515 | 2584564.1443 | 1220674.3861 | 2584553.4707 | 1220667.26
82 | 2584422.6967 | 1220554.8067 | 2584397.72 | 1220540.4298
83 | 2584541.5117 | 1220414.2323 | 2584554.8314 | 1220408.0232 | 2584563.0353 | 1220403.8035
84 | 2584563.0353 | 1220403.8035 | 2584573.0149 | 1220398.6704 | 2584576.076 | 1220397.0354
85 | 2584586.9021 | 1220391.2527 | 2584576.076 | 1220397.0354
86 | 2584593.2937 | 1220387.8387 | 2584586.9021 | 1220391.2527
87 | 2584593.2937 | 1220387.8387 | 2584608.8046 | 1220379.5536
88 | 2584608.8046 | 1220379.5536 | 2584633.7401 | 1220366.2344
89 | 2584633.7401 | 1220366.2344 | 2584651.0032 | 1220357.0135
90 | 2584651.0032 | 1220357.0135 | 2584664.5827 | 1220349.76
91 | 2584664.5827 | 1220349.76 | 2584675.9406 | 1220343.6933
92 | 2584675.9406 | 1220343.6933 | 2584691.144 | 1220335.5725
93 | 2584691.5787 | 1220335.3403 | 2584691.144 | 1220335.5725

## bus_geodata
| x | y | coords
0 | 2584424.8238 | 1220347.0603
1 | 2584435.9404 | 1220346.9992
2 | 2584401.6054 | 1220370.9589
3 | 2584381.0323 | 1220331.4458
4 | 2584448.0588 | 1220454.7962
5 | 2584405.5526 | 1220313.6423
6 | 2584477.6336 | 1220444.1236
7 | 2584381.266 | 1220463.1657
8 | 2584513.7844 | 1220505.3421
9 | 2584407.2455 | 1220465.469
10 | 2584494.381 | 1220435.9108
11 | 2584750.0312 | 1220300.4665
12 | 2584779.5163 | 1220316.4009
13 | 2584758.8447 | 1220270.1152
14 | 2584735.2831 | 1220311.9958
15 | 2584562.2613 | 1220542.8484
16 | 2584492.0518 | 1220535.7857
17 | 2584789.375 | 1220292.0641
18 | 2584372.1015 | 1220454.0988
19 | 2584665.0482 | 1220597.7575
20 | 2584653.7558 | 1220613.8405
21 | 2584682.1614 | 1220576.1765
22 | 2584537.5183 | 1220576.103
23 | 2584615.2764 | 1220584.1009
24 | 2584598.1478 | 1220607.6845
25 | 2584640.1112 | 1220603.295
26 | 2584518.2033 | 1220425.0978
27 | 2584863.4099 | 1220363.6677
28 | 2584722.3115 | 1220318.9245
29 | 2584491.434 | 1220536.6511
30 | 2584809.8371 | 1220304.8859
31 | 2584698.6228 | 1220458.9563
32 | 2584746.2231 | 1220437.29
33 | 2584779.2219 | 1220452.6904
34 | 2584905.8527 | 1220278.5214
35 | 2584875.9251 | 1220262.7313
36 | 2584848.7989 | 1220301.3183
37 | 2584821.5285 | 1220312.2119
38 | 2584712.5562 | 1220660.2597
39 | 2584696.1954 | 1220683.5463
40 | 2584682.385 | 1220636.5072
41 | 2584674.1898 | 1220630.0191
42 | 2584665.902 | 1220623.4573
43 | 2584648.4127 | 1220609.7109
44 | 2584532.566 | 1220610.9932
45 | 2584593.7965 | 1220612.1841
46 | 2584534.1737 | 1220614.4519
47 | 2584522.3434 | 1220634.5498
48 | 2584526.1013 | 1220640.5678
49 | 2584507.3167 | 1220614.2672
50 | 2584530.0106 | 1220647.1038
51 | 2584481.761 | 1220591.9475
52 | 2584535.9633 | 1220653.7066
53 | 2584471.9214 | 1220583.1411
54 | 2584543.0469 | 1220659.7781
55 | 2584483.4566 | 1220547.8261
56 | 2584449.7381 | 1220570.3721
57 | 2584671.3242 | 1220698.177
58 | 2584676.0257 | 1220694.4627
59 | 2584657.5871 | 1220716.6712
60 | 2584687.0171 | 1220697.0136
61 | 2584650.7328 | 1220726.5245
62 | 2584627.2849 | 1220712.4056
63 | 2584669.6565 | 1220743.009
64 | 2584610.819 | 1220702.4908
65 | 2584719.917 | 1220816.8645
66 | 2584541.5772 | 1220768.5104
67 | 2584523.318 | 1220756.3328
68 | 2584563.9367 | 1220783.4226
69 | 2584513.1251 | 1220749.5349
70 | 2584581.5144 | 1220795.1457
71 | 2584509.8126 | 1220747.3256
72 | 2584663.7936 | 1220857.2885
73 | 2584484.875 | 1220733.6102
74 | 2584591.7043 | 1220690.9811
75 | 2584603.139 | 1220697.8664
76 | 2584588.7078 | 1220689.1767
77 | 2584576.2304 | 1220681.6636
78 | 2584564.4191 | 1220674.5515
79 | 2584553.4707 | 1220667.26
80 | 2584853.928 | 1220252.9563
81 | 2584422.6967 | 1220554.8067
82 | 2584397.72 | 1220540.4298
83 | 2584541.5117 | 1220414.2323
84 | 2584563.0353 | 1220403.8035
85 | 2584576.076 | 1220397.0354
86 | 2584586.9021 | 1220391.2527
87 | 2584593.2937 | 1220387.8387
88 | 2584608.8046 | 1220379.5536
89 | 2584633.7401 | 1220366.2344
90 | 2584651.0032 | 1220357.0135
91 | 2584664.5827 | 1220349.76
92 | 2584675.9406 | 1220343.6933
93 | 2584691.144 | 1220335.5725
94 | 2584691.5787 | 1220335.3403
95 | 2584568.4798 | 1220547.7683

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1