## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_371-80_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_371-80_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_371-80_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_371-80_0_3_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_371-80_0_3_node_16 | 0.4 | n |  | TRUE
5 | bus_LV_371-80_0_3_node_15 | 0.4 | n |  | TRUE
6 | bus_LV_371-80_0_3_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_371-80_0_3_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_371-80_0_3_node_24 | 0.4 | n |  | TRUE
9 | bus_LV_371-80_0_3_node_22 | 0.4 | n |  | TRUE
10 | bus_LV_371-80_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_371-80_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_371-80_0_3_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_371-80_0_3_node_18 | 0.4 | n |  | TRUE
14 | bus_LV_371-80_0_3_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_371-80_0_3_node_21 | 0.4 | n |  | TRUE
16 | bus_LV_371-80_0_3_node_101 | 0.4 | n |  | TRUE
17 | bus_LV_371-80_0_3_node_17 | 0.4 | n |  | TRUE
18 | bus_LV_371-80_0_3_node_23 | 0.4 | n |  | TRUE
19 | bus_LV_371-80_0_3_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_371-80_0_3_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_371-80_0_3_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_371-80_0_3_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_371-80_0_3_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_371-80_0_3_node_42 | 0.4 | n |  | TRUE
25 | bus_LV_371-80_0_3_node_43 | 0.4 | n |  | TRUE
26 | bus_LV_371-80_0_3_node_41 | 0.4 | n |  | TRUE
27 | bus_LV_371-80_0_3_node_49 | 0.4 | n |  | TRUE
28 | bus_LV_371-80_0_3_node_46 | 0.4 | n |  | TRUE
29 | bus_LV_371-80_0_3_node_29 | 0.4 | n |  | TRUE
30 | bus_LV_371-80_0_3_node_25 | 0.4 | n |  | TRUE
31 | bus_LV_371-80_0_3_node_26 | 0.4 | n |  | TRUE
32 | bus_LV_371-80_0_3_node_27 | 0.4 | n |  | TRUE
33 | bus_LV_371-80_0_3_node_28 | 0.4 | n |  | TRUE
34 | bus_LV_371-80_0_3_node_30 | 0.4 | n |  | TRUE
35 | bus_LV_371-80_0_3_node_44 | 0.4 | n |  | TRUE
36 | bus_LV_371-80_0_3_node_83 | 0.4 | n |  | TRUE
37 | bus_LV_371-80_0_3_node_45 | 0.4 | n |  | TRUE
38 | bus_LV_371-80_0_3_node_34 | 0.4 | n |  | TRUE
39 | bus_LV_371-80_0_3_node_31 | 0.4 | n |  | TRUE
40 | bus_LV_371-80_0_3_node_32 | 0.4 | n |  | TRUE
41 | bus_LV_371-80_0_3_node_33 | 0.4 | n |  | TRUE
42 | bus_LV_371-80_0_3_node_35 | 0.4 | n |  | TRUE
43 | bus_LV_371-80_0_3_node_36 | 0.4 | n |  | TRUE
44 | bus_LV_371-80_0_3_node_85 | 0.4 | n |  | TRUE
45 | bus_LV_371-80_0_3_node_37 | 0.4 | n |  | TRUE
46 | bus_LV_371-80_0_3_node_102 | 0.4 | n |  | TRUE
47 | bus_LV_371-80_0_3_node_38 | 0.4 | n |  | TRUE
48 | bus_LV_371-80_0_3_node_65 | 0.4 | n |  | TRUE
49 | bus_LV_371-80_0_3_node_66 | 0.4 | n |  | TRUE
50 | bus_LV_371-80_0_3_node_39 | 0.4 | n |  | TRUE
51 | bus_LV_371-80_0_3_node_40 | 0.4 | n |  | TRUE
52 | bus_LV_371-80_0_3_node_62 | 0.4 | n |  | TRUE
53 | bus_LV_371-80_0_3_node_60 | 0.4 | n |  | TRUE
54 | bus_LV_371-80_0_3_node_47 | 0.4 | n |  | TRUE
55 | bus_LV_371-80_0_3_node_48 | 0.4 | n |  | TRUE
56 | bus_LV_371-80_0_3_node_52 | 0.4 | n |  | TRUE
57 | bus_LV_371-80_0_3_node_51 | 0.4 | n |  | TRUE
58 | bus_LV_371-80_0_3_node_53 | 0.4 | n |  | TRUE
59 | bus_LV_371-80_0_3_node_57 | 0.4 | n |  | TRUE
60 | bus_LV_371-80_0_3_node_50 | 0.4 | n |  | TRUE
61 | bus_LV_371-80_0_3_node_54 | 0.4 | n |  | TRUE
62 | bus_LV_371-80_0_3_node_58 | 0.4 | n |  | TRUE
63 | bus_LV_371-80_0_3_node_55 | 0.4 | n |  | TRUE
64 | bus_LV_371-80_0_3_node_56 | 0.4 | n |  | TRUE
65 | bus_LV_371-80_0_3_node_79 | 0.4 | n |  | TRUE
66 | bus_LV_371-80_0_3_node_80 | 0.4 | n |  | TRUE
67 | bus_LV_371-80_0_3_node_78 | 0.4 | n |  | TRUE
68 | bus_LV_371-80_0_3_node_81 | 0.4 | n |  | TRUE
69 | bus_LV_371-80_0_3_node_59 | 0.4 | n |  | TRUE
70 | bus_LV_371-80_0_3_node_61 | 0.4 | n |  | TRUE
71 | bus_LV_371-80_0_3_node_63 | 0.4 | n |  | TRUE
72 | bus_LV_371-80_0_3_node_64 | 0.4 | n |  | TRUE
73 | bus_LV_371-80_0_3_node_72 | 0.4 | n |  | TRUE
74 | bus_LV_371-80_0_3_node_70 | 0.4 | n |  | TRUE
75 | bus_LV_371-80_0_3_node_67 | 0.4 | n |  | TRUE
76 | bus_LV_371-80_0_3_node_68 | 0.4 | n |  | TRUE
77 | bus_LV_371-80_0_3_node_77 | 0.4 | n |  | TRUE
78 | bus_LV_371-80_0_3_node_73 | 0.4 | n |  | TRUE
79 | bus_LV_371-80_0_3_node_74 | 0.4 | n |  | TRUE
80 | bus_LV_371-80_0_3_node_71 | 0.4 | n |  | TRUE
81 | bus_LV_371-80_0_3_node_69 | 0.4 | n |  | TRUE
82 | bus_LV_371-80_0_3_node_76 | 0.4 | n |  | TRUE
83 | bus_LV_371-80_0_3_node_84 | 0.4 | n |  | TRUE
84 | bus_LV_371-80_0_3_node_87 | 0.4 | n |  | TRUE
85 | bus_LV_371-80_0_3_node_82 | 0.4 | n |  | TRUE
86 | bus_LV_371-80_0_3_node_90 | 0.4 | n |  | TRUE
87 | bus_LV_371-80_0_3_node_91 | 0.4 | n |  | TRUE
88 | bus_LV_371-80_0_3_node_98 | 0.4 | n |  | TRUE
89 | bus_LV_371-80_0_3_node_93 | 0.4 | n |  | TRUE
90 | bus_LV_371-80_0_3_node_89 | 0.4 | n |  | TRUE
91 | bus_LV_371-80_0_3_node_88 | 0.4 | n |  | TRUE
92 | bus_LV_371-80_0_3_node_86 | 0.4 | n |  | TRUE
93 | bus_LV_371-80_0_3_node_99 | 0.4 | n |  | TRUE
94 | bus_LV_371-80_0_3_node_92 | 0.4 | n |  | TRUE
95 | bus_LV_371-80_0_3_node_94 | 0.4 | n |  | TRUE
96 | bus_LV_371-80_0_3_node_95 | 0.4 | n |  | TRUE
97 | bus_LV_371-80_0_3_node_97 | 0.4 | n |  | TRUE
98 | bus_LV_371-80_0_3_node_100 | 0.4 | n |  | TRUE
99 | bus_MV_465_1_node_164 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_371-80_0_3_load_0 | 0 | 0.034912 | 0.0087497 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_371-80_0_3_load_16 | 4 | 0.012299 | 0.0030824 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_371-80_0_3_load_15 | 5 | 0.00063299 | 0.00015864 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_371-80_0_3_load_24 | 8 | 0.017038 | 0.0042702 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_371-80_0_3_load_22 | 9 | 0.014782 | 0.0037048 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_371-80_0_3_load_18 | 13 | 0.002367 | 0.00059322 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_371-80_0_3_load_21 | 15 | 0.003737 | 0.00093658 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_371-80_0_3_load_101 | 16 | 0.00031487 | 7.8915e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_371-80_0_3_load_13 | 19 | 0.0086309 | 0.0021631 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_371-80_0_3_load_10 | 20 | 0.016789 | 0.0042076 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_371-80_0_3_load_11 | 21 | 0.0051477 | 0.0012901 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_371-80_0_3_load_14 | 23 | 0.0055635 | 0.0013943 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_371-80_0_3_load_43 | 25 | 0.0026327 | 0.00065982 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_371-80_0_3_load_41 | 26 | 0.0046874 | 0.0011748 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_371-80_0_3_load_49 | 27 | 0.020848 | 0.005225 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_371-80_0_3_load_46 | 28 | 0.0065314 | 0.0016369 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_371-80_0_3_load_25 | 30 | 0.0064882 | 0.0016261 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_371-80_0_3_load_26 | 31 | 0.0073097 | 0.001832 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_371-80_0_3_load_27 | 32 | 0.0030893 | 0.00077425 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_371-80_0_3_load_28 | 33 | 0.0060683 | 0.0015209 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_371-80_0_3_load_30 | 34 | 0.001601 | 0.00040125 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_371-80_0_3_load_44 | 35 | 0.0031891 | 0.00079927 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_371-80_0_3_load_31 | 39 | 0.0046061 | 0.0011544 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_371-80_0_3_load_32 | 40 | 0.0034443 | 0.00086322 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_371-80_0_3_load_35 | 42 | 0.0055841 | 0.0013995 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_371-80_0_3_load_36 | 43 | 0.0033011 | 0.00082733 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_371-80_0_3_load_37 | 45 | 0.0033415 | 0.00083747 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_371-80_0_3_load_102 | 46 | 0.0069356 | 0.0017382 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_371-80_0_3_load_38 | 47 | 0.0043056 | 0.0010791 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_371-80_0_3_load_65 | 48 | 0.0049426 | 0.0012387 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_371-80_0_3_load_39 | 50 | 0.0070834 | 0.0017753 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_371-80_0_3_load_40 | 51 | 0.0034518 | 0.00086511 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_371-80_0_3_load_62 | 52 | 0.0018499 | 0.00046363 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_371-80_0_3_load_60 | 53 | 0.0035136 | 0.0008806 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_371-80_0_3_load_48 | 55 | 0.0022269 | 0.00055811 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_371-80_0_3_load_52 | 56 | 0.0031426 | 0.00078762 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_371-80_0_3_load_51 | 57 | 0.0024858 | 0.00062299 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_371-80_0_3_load_53 | 58 | 0.0024752 | 0.00062034 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_371-80_0_3_load_57 | 59 | 0.0026962 | 0.00067573 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_371-80_0_3_load_50 | 60 | 0.0056379 | 0.001413 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_371-80_0_3_load_58 | 62 | 0.0067606 | 0.0016944 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_371-80_0_3_load_55 | 63 | 0.0024938 | 0.00062501 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_371-80_0_3_load_56 | 64 | 0.0026039 | 0.00065259 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_371-80_0_3_load_79 | 65 | 0.0022261 | 0.0005579 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_371-80_0_3_load_80 | 66 | 0.0027771 | 0.00069601 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_371-80_0_3_load_78 | 67 | 0.0028631 | 0.00071756 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_371-80_0_3_load_81 | 68 | 0.0030637 | 0.00076784 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_371-80_0_3_load_59 | 69 | 0.0098429 | 0.0024669 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_371-80_0_3_load_63 | 71 | 0.0042628 | 0.0010684 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_371-80_0_3_load_64 | 72 | 0.0026896 | 0.00067408 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_371-80_0_3_load_72 | 73 | 0.0012172 | 0.00030505 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_371-80_0_3_load_70 | 74 | 0.002667 | 0.0006684 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_371-80_0_3_load_67 | 75 | 0.0031937 | 0.00080041 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_371-80_0_3_load_68 | 76 | 0.0031086 | 0.0007791 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_371-80_0_3_load_77 | 77 | 0.0038324 | 0.00096049 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_371-80_0_3_load_74 | 79 | 0.003534 | 0.0008857 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_371-80_0_3_load_71 | 80 | 0.002541 | 0.00063682 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_371-80_0_3_load_69 | 81 | 0.0034658 | 0.00086861 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_371-80_0_3_load_84 | 83 | 0.0031301 | 0.00078447 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_371-80_0_3_load_87 | 84 | 0.003564 | 0.00089322 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_371-80_0_3_load_90 | 86 | 0.0030331 | 0.00076018 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_371-80_0_3_load_91 | 87 | 0.0024651 | 0.00061782 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_371-80_0_3_load_98 | 88 | 0.0029177 | 0.00073125 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_371-80_0_3_load_89 | 90 | 0.0016059 | 0.00040249 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_371-80_0_3_load_88 | 91 | 0.0035413 | 0.00088754 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_371-80_0_3_load_86 | 92 | 0.0024623 | 0.00061712 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_371-80_0_3_load_99 | 93 | 0.0031425 | 0.00078758 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_371-80_0_3_load_92 | 94 | 0.0036578 | 0.00091674 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_371-80_0_3_load_94 | 95 | 0.0026113 | 0.00065446 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_371-80_0_3_load_95 | 96 | 0.0010826 | 0.00027133 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_371-80_0_3_load_97 | 97 | 0.0036472 | 0.00091407 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_371-80_0_3_load_100 | 98 | 0.0029735 | 0.00074523 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 46 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_371-80_0_3_line_0 |  | 0 | 1 | 0.025935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_371-80_0_3_line_1 |  | 1 | 2 | 0.020225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_371-80_0_3_line_2 |  | 2 | 5 | 0.0073415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_371-80_0_3_line_3 |  | 2 | 3 | 0.037428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_371-80_0_3_line_4 |  | 3 | 4 | 0.017453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_371-80_0_3_line_5 |  | 4 | 6 | 0.052642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_371-80_0_3_line_6 |  | 5 | 10 | 0.0064105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_371-80_0_3_line_7 |  | 6 | 7 | 0.027503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_371-80_0_3_line_8 |  | 7 | 8 | 0.036621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_371-80_0_3_line_9 |  | 7 | 9 | 0.022215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_371-80_0_3_line_10 |  | 8 | 19 | 0.0013279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_371-80_0_3_line_11 |  | 9 | 17 | 0.011665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_371-80_0_3_line_12 |  | 10 | 11 | 0.025379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_371-80_0_3_line_13 |  | 11 | 12 | 0.074041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_371-80_0_3_line_14 |  | 11 | 13 | 0.046597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_371-80_0_3_line_15 |  | 12 | 14 | 0.025176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_371-80_0_3_line_16 |  | 12 | 15 | 0.02574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_371-80_0_3_line_17 |  | 14 | 16 | 0.062391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_371-80_0_3_line_18 |  | 17 | 18 | 0.016366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_371-80_0_3_line_19 |  | 18 | 27 | 0.036691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_371-80_0_3_line_20 |  | 19 | 21 | 0.037961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_371-80_0_3_line_21 |  | 20 | 21 | 0.01113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_371-80_0_3_line_22 |  | 20 | 22 | 0.0075081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_371-80_0_3_line_23 |  | 22 | 23 | 0.020477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_371-80_0_3_line_24 |  | 23 | 24 | 0.047271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_371-80_0_3_line_25 |  | 24 | 25 | 0.023006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_371-80_0_3_line_26 |  | 24 | 26 | 0.021752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_371-80_0_3_line_27 |  | 25 | 52 | 0.013624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_371-80_0_3_line_28 |  | 26 | 51 | 0.010316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_371-80_0_3_line_29 |  | 28 | 29 | 0.010172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_371-80_0_3_line_30 |  | 29 | 35 | 0.011012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_371-80_0_3_line_31 |  | 29 | 32 | 0.014373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_371-80_0_3_line_32 |  | 30 | 31 | 0.02404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_371-80_0_3_line_33 |  | 30 | 32 | 0.0016021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_371-80_0_3_line_34 |  | 31 | 33 | 0.0034527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_371-80_0_3_line_35 |  | 33 | 34 | 0.013101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_371-80_0_3_line_36 |  | 34 | 36 | 0.0013763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_371-80_0_3_line_37 |  | 35 | 37 | 0.01105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_371-80_0_3_line_38 |  | 36 | 38 | 0.005729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_371-80_0_3_line_39 |  | 37 | 54 | 0.026853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_371-80_0_3_line_40 |  | 37 | 55 | 0.011787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_371-80_0_3_line_41 |  | 38 | 44 | 0.00737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_371-80_0_3_line_42 |  | 38 | 40 | 0.0059717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_371-80_0_3_line_43 |  | 39 | 40 | 0.015755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_371-80_0_3_line_44 |  | 39 | 41 | 0.013086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_371-80_0_3_line_45 |  | 41 | 42 | 0.011743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_371-80_0_3_line_46 |  | 41 | 43 | 0.014206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_371-80_0_3_line_47 |  | 42 | 45 | 0.0028803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_371-80_0_3_line_48 |  | 44 | 46 | 0.006073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_371-80_0_3_line_49 |  | 45 | 47 | 0.015174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_371-80_0_3_line_50 |  | 47 | 50 | 0.00089527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_371-80_0_3_line_51 |  | 48 | 49 | 0.0022397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_371-80_0_3_line_52 |  | 49 | 75 | 0.013933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_371-80_0_3_line_53 |  | 49 | 76 | 0.014272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_371-80_0_3_line_54 |  | 50 | 51 | 0.016357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_371-80_0_3_line_55 |  | 52 | 53 | 0.00034105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_371-80_0_3_line_56 |  | 53 | 69 | 0.020033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_371-80_0_3_line_57 |  | 54 | 56 | 0.0078196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_371-80_0_3_line_58 |  | 54 | 57 | 0.0095566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_371-80_0_3_line_59 |  | 55 | 58 | 0.021472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_371-80_0_3_line_60 |  | 56 | 59 | 0.0029023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_371-80_0_3_line_61 |  | 57 | 60 | 0.023636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_371-80_0_3_line_62 |  | 58 | 61 | 0.0012811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_371-80_0_3_line_63 |  | 59 | 62 | 0.015256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_371-80_0_3_line_64 |  | 61 | 63 | 0.015005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_371-80_0_3_line_65 |  | 61 | 64 | 0.021654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_371-80_0_3_line_66 |  | 63 | 65 | 0.018293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_371-80_0_3_line_67 |  | 64 | 66 | 0.018089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_371-80_0_3_line_68 |  | 65 | 67 | 0.018078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_371-80_0_3_line_69 |  | 66 | 68 | 0.0049456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_371-80_0_3_line_70 |  | 67 | 77 | 0.016396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_371-80_0_3_line_71 |  | 68 | 85 | 0.01332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_371-80_0_3_line_72 |  | 70 | 71 | 0.028413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_371-80_0_3_line_73 |  | 70 | 72 | 0.017773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_371-80_0_3_line_74 |  | 71 | 73 | 0.013059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_371-80_0_3_line_75 |  | 73 | 74 | 0.0087539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_371-80_0_3_line_76 |  | 74 | 81 | 0.0062577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_371-80_0_3_line_77 |  | 75 | 77 | 0.017461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_371-80_0_3_line_78 |  | 76 | 78 | 0.0085609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_371-80_0_3_line_79 |  | 78 | 79 | 0.017073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_371-80_0_3_line_80 |  | 78 | 80 | 0.016552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_371-80_0_3_line_81 |  | 79 | 82 | 0.020052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_371-80_0_3_line_82 |  | 80 | 81 | 0.015952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_371-80_0_3_line_83 |  | 82 | 83 | 0.020979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_371-80_0_3_line_84 |  | 83 | 84 | 0.009885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_371-80_0_3_line_85 |  | 84 | 92 | 0.017565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_371-80_0_3_line_86 |  | 85 | 86 | 0.031587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_371-80_0_3_line_87 |  | 85 | 87 | 0.022205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_371-80_0_3_line_88 |  | 86 | 88 | 0.002885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_371-80_0_3_line_89 |  | 87 | 89 | 0.0061884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_371-80_0_3_line_90 |  | 88 | 93 | 0.0035422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_371-80_0_3_line_91 |  | 89 | 94 | 0.016515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_371-80_0_3_line_92 |  | 90 | 91 | 0.013416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_371-80_0_3_line_93 |  | 91 | 92 | 0.0034808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_371-80_0_3_line_94 |  | 93 | 98 | 0.014963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_371-80_0_3_line_95 |  | 95 | 96 | 4.836e-07 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_371-80_0_3_line_96 |  | 96 | 97 | 0.01309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_371-80_0_3_line_97 |  | 97 | 98 | 0.0073876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_371-80_0_3_trafo_102 | 0.63 MVA 20/0.4 kV | 99 | 46 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2585400.8589 | 1220019.787 | 2585411.9865 | 1220021.7496 | 2585425.4138 | 1220015.9261
1 | 2585388.8729 | 1220008.121 | 2585394.3524 | 1220011.8541 | 2585398.0412 | 1220012.4675 | 2585397.8456 | 1220019.2608 | 2585400.8589 | 1220019.787
2 | 2585388.8729 | 1220008.121 | 2585387.7329 | 1220007.3567 | 2585385.0653 | 1220005.54 | 2585382.3395 | 1220005.2457
3 | 2585388.8729 | 1220008.121 | 2585394.5224 | 1219997.7233 | 2585401.7758 | 1219973.169
4 | 2585401.7758 | 1219973.169 | 2585404.9061 | 1219955.9989
5 | 2585410.8003 | 1219903.7068 | 2585407.8676 | 1219932.8864 | 2585406.1476 | 1219949.1889 | 2585404.9061 | 1219955.9989
6 | 2585377.0804 | 1220007.2718 | 2585379.0244 | 1220004.8879 | 2585382.3395 | 1220005.2457
7 | 2585410.8003 | 1219903.7068 | 2585416.6971 | 1219904.326 | 2585419.6474 | 1219900.8056 | 2585424.6538 | 1219900.2929 | 2585429.4855 | 1219902.8158 | 2585433.5778 | 1219897.7695
8 | 2585433.5778 | 1219897.7695 | 2585463.159 | 1219919.3584
9 | 2585433.5778 | 1219897.7695 | 2585437.3221 | 1219893.1577 | 2585432.8347 | 1219885.631 | 2585431.211 | 1219879.4648 | 2585431.2082 | 1219878.3294
10 | 2585464.2317 | 1219920.1413 | 2585463.159 | 1219919.3584
11 | 2585427.6879 | 1219869.1787 | 2585431.9048 | 1219871.5808 | 2585431.2012 | 1219875.4737 | 2585431.2082 | 1219878.3294
12 | 2585357.8287 | 1220006.0075 | 2585364.5247 | 1219998.4978 | 2585377.0804 | 1220007.2718
13 | 2585315.1315 | 1219970.5706 | 2585320.5711 | 1219964.3091 | 2585364.5247 | 1219998.4978 | 2585357.8287 | 1220006.0075
14 | 2585357.8287 | 1220006.0075 | 2585341.6253 | 1220022.4126 | 2585323.0209 | 1220031.286 | 2585320.3077 | 1220032.3842
15 | 2585307.82 | 1219953.2454 | 2585320.5711 | 1219964.3091 | 2585315.1315 | 1219970.5706
16 | 2585315.1315 | 1219970.5706 | 2585299.1513 | 1219990.7497
17 | 2585307.82 | 1219953.2454 | 2585311.7217 | 1219947.8882 | 2585323.1804 | 1219933.4293 | 2585346.796 | 1219904.4541
18 | 2585427.6879 | 1219869.1787 | 2585433.7764 | 1219858.2352 | 2585435.2116 | 1219855.6524 | 2585435.741 | 1219854.9396
19 | 2585435.741 | 1219854.9396 | 2585454.1314 | 1219869.8696 | 2585462.7948 | 1219860.0983
20 | 2585464.2317 | 1219920.1413 | 2585494.8952 | 1219942.52
21 | 2585503.8856 | 1219949.0814 | 2585494.8952 | 1219942.52
22 | 2585509.9208 | 1219953.5477 | 2585504.6761 | 1219949.6583 | 2585503.8856 | 1219949.0814
23 | 2585509.9208 | 1219953.5477 | 2585530.3977 | 1219953.6489
24 | 2585577.6677 | 1219953.8825 | 2585530.3977 | 1219953.6489
25 | 2585577.6677 | 1219953.8825 | 2585597.7587 | 1219942.6735
26 | 2585577.6677 | 1219953.8825 | 2585569.712 | 1219933.6375
27 | 2585597.7587 | 1219942.6735 | 2585609.6566 | 1219936.0355
28 | 2585569.712 | 1219933.6375 | 2585565.939 | 1219924.0364
29 | 2585484.6897 | 1219803.5565 | 2585476.7877 | 1219809.9615
30 | 2585484.6897 | 1219803.5565 | 2585493.8549 | 1219797.4521
31 | 2585484.6897 | 1219803.5565 | 2585492.9129 | 1219815.3447
32 | 2585493.8296 | 1219816.6587 | 2585507.5835 | 1219836.3753
33 | 2585493.8296 | 1219816.6587 | 2585492.9129 | 1219815.3447
34 | 2585507.5835 | 1219836.3753 | 2585509.5588 | 1219839.207
35 | 2585509.5588 | 1219839.207 | 2585517.0541 | 1219849.9517
36 | 2585517.8415 | 1219851.0805 | 2585517.0541 | 1219849.9517
37 | 2585503.0516 | 1219791.3267 | 2585493.8549 | 1219797.4521
38 | 2585521.0853 | 1219855.8086 | 2585517.8415 | 1219851.0805
39 | 2585503.0516 | 1219791.3267 | 2585488.5119 | 1219768.7271
40 | 2585503.0516 | 1219791.3267 | 2585512.8593 | 1219784.7885
41 | 2585515.5482 | 1219856.5114 | 2585517.1314 | 1219858.542 | 2585518.7144 | 1219857.4375 | 2585521.0853 | 1219855.8086
42 | 2585521.0853 | 1219855.8086 | 2585524.6826 | 1219860.5751
43 | 2585534.1732 | 1219873.1504 | 2585524.6826 | 1219860.5751
44 | 2585542.0562 | 1219883.5956 | 2585534.1732 | 1219873.1504
45 | 2585542.0562 | 1219883.5956 | 2585548.2512 | 1219893.5717
46 | 2585542.0562 | 1219883.5956 | 2585553.9865 | 1219875.8829
47 | 2585548.2512 | 1219893.5717 | 2585549.7707 | 1219896.0186
48 | 2585515.5482 | 1219856.5114 | 2585514.7756 | 1219857.0469 | 2585510.5186 | 1219859.9368
49 | 2585557.7757 | 1219908.9094 | 2585549.7707 | 1219896.0186
50 | 2585558.248 | 1219909.6699 | 2585557.7757 | 1219908.9094
51 | 2585587.1447 | 1219854.4467 | 2585585.2638 | 1219855.6626
52 | 2585587.1447 | 1219854.4467 | 2585579.3675 | 1219842.8863
53 | 2585587.1447 | 1219854.4467 | 2585598.7914 | 1219846.1974
54 | 2585558.248 | 1219909.6699 | 2585563.8185 | 1219918.6404 | 2585565.939 | 1219924.0364
55 | 2585609.9545 | 1219935.8694 | 2585609.6566 | 1219936.0355
56 | 2585627.9525 | 1219927.1124 | 2585616.3554 | 1219932.2982 | 2585609.9545 | 1219935.8694
57 | 2585488.5119 | 1219768.7271 | 2585484.3754 | 1219762.0911
58 | 2585488.5119 | 1219768.7271 | 2585483.3682 | 1219768.9732 | 2585479.6612 | 1219771.3565
59 | 2585530.7255 | 1219772.8782 | 2585512.8593 | 1219784.7885
60 | 2585484.3754 | 1219762.0911 | 2585482.8401 | 1219759.6281
61 | 2585459.7797 | 1219784.139 | 2585479.6612 | 1219771.3565
62 | 2585531.7914 | 1219772.1676 | 2585530.7255 | 1219772.8782
63 | 2585474.77 | 1219746.6814 | 2585482.8401 | 1219759.6281
64 | 2585531.7914 | 1219772.1676 | 2585540.1668 | 1219784.6171
65 | 2585531.7914 | 1219772.1676 | 2585538.2815 | 1219767.1489 | 2585549.4941 | 1219759.7208
66 | 2585540.1668 | 1219784.6171 | 2585550.3779 | 1219799.7952
67 | 2585564.5738 | 1219749.7308 | 2585549.4941 | 1219759.7208
68 | 2585560.4689 | 1219814.7948 | 2585550.3779 | 1219799.7952
69 | 2585564.5738 | 1219749.7308 | 2585568.6967 | 1219746.9994
70 | 2585569.6208 | 1219828.3986 | 2585560.4689 | 1219814.7948
71 | 2585579.8012 | 1219739.6429 | 2585568.6967 | 1219746.9994
72 | 2585656.5772 | 1219914.3125 | 2585640.3576 | 1219890.9846
73 | 2585656.5772 | 1219914.3125 | 2585673.6704 | 1219909.4454
74 | 2585632.9027 | 1219880.2625 | 2585640.3576 | 1219890.9846
75 | 2585632.9027 | 1219880.2625 | 2585627.9054 | 1219873.0751
76 | 2585624.3331 | 1219867.9372 | 2585627.9054 | 1219873.0751
77 | 2585569.6208 | 1219828.3986 | 2585579.3675 | 1219842.8863
78 | 2585605.7774 | 1219841.2493 | 2585598.7914 | 1219846.1974
79 | 2585605.7774 | 1219841.2493 | 2585619.8996 | 1219831.6542
80 | 2585605.7774 | 1219841.2493 | 2585615.2265 | 1219854.8395
81 | 2585636.4859 | 1219820.385 | 2585619.8996 | 1219831.6542
82 | 2585624.3331 | 1219867.9372 | 2585615.2265 | 1219854.8395
83 | 2585636.4859 | 1219820.385 | 2585624.4319 | 1219803.2152
84 | 2585618.7521 | 1219795.1249 | 2585624.4319 | 1219803.2152
85 | 2585608.6598 | 1219780.7493 | 2585618.7521 | 1219795.1249
86 | 2585579.8012 | 1219739.6429 | 2585577.4563 | 1219736.3578 | 2585561.0472 | 1219714.2266
87 | 2585579.8012 | 1219739.6429 | 2585598.6599 | 1219727.9204
88 | 2585561.0472 | 1219714.2266 | 2585559.329 | 1219711.9091
89 | 2585603.9157 | 1219724.6534 | 2585598.6599 | 1219727.9204
90 | 2585559.329 | 1219711.9091 | 2585557.2193 | 1219709.0637
91 | 2585603.9157 | 1219724.6534 | 2585613.0643 | 1219738.4026
92 | 2585598.951 | 1219766.9199 | 2585606.6598 | 1219777.9004
93 | 2585608.6598 | 1219780.7493 | 2585606.6598 | 1219777.9004
94 | 2585548.3074 | 1219697.0441 | 2585557.2193 | 1219709.0637
95 | 2585536.111 | 1219680.5946 | 2585536.1113 | 1219680.595
96 | 2585543.9074 | 1219691.1097 | 2585536.1113 | 1219680.595
97 | 2585543.9074 | 1219691.1097 | 2585548.3074 | 1219697.0441

## bus_geodata
| x | y | coords
0 | 2585425.4138 | 1220015.9261
1 | 2585400.8589 | 1220019.787
2 | 2585388.8729 | 1220008.121
3 | 2585401.7758 | 1219973.169
4 | 2585404.9061 | 1219955.9989
5 | 2585382.3395 | 1220005.2457
6 | 2585410.8003 | 1219903.7068
7 | 2585433.5778 | 1219897.7695
8 | 2585463.159 | 1219919.3584
9 | 2585431.2082 | 1219878.3294
10 | 2585377.0804 | 1220007.2718
11 | 2585357.8287 | 1220006.0075
12 | 2585315.1315 | 1219970.5706
13 | 2585320.3077 | 1220032.3842
14 | 2585307.82 | 1219953.2454
15 | 2585299.1513 | 1219990.7497
16 | 2585346.796 | 1219904.4541
17 | 2585427.6879 | 1219869.1787
18 | 2585435.741 | 1219854.9396
19 | 2585464.2317 | 1219920.1413
20 | 2585503.8856 | 1219949.0814
21 | 2585494.8952 | 1219942.52
22 | 2585509.9208 | 1219953.5477
23 | 2585530.3977 | 1219953.6489
24 | 2585577.6677 | 1219953.8825
25 | 2585597.7587 | 1219942.6735
26 | 2585569.712 | 1219933.6375
27 | 2585462.7948 | 1219860.0983
28 | 2585476.7877 | 1219809.9615
29 | 2585484.6897 | 1219803.5565
30 | 2585493.8296 | 1219816.6587
31 | 2585507.5835 | 1219836.3753
32 | 2585492.9129 | 1219815.3447
33 | 2585509.5588 | 1219839.207
34 | 2585517.0541 | 1219849.9517
35 | 2585493.8549 | 1219797.4521
36 | 2585517.8415 | 1219851.0805
37 | 2585503.0516 | 1219791.3267
38 | 2585521.0853 | 1219855.8086
39 | 2585534.1732 | 1219873.1504
40 | 2585524.6826 | 1219860.5751
41 | 2585542.0562 | 1219883.5956
42 | 2585548.2512 | 1219893.5717
43 | 2585553.9865 | 1219875.8829
44 | 2585515.5482 | 1219856.5114
45 | 2585549.7707 | 1219896.0186
46 | 2585510.5186 | 1219859.9368
47 | 2585557.7757 | 1219908.9094
48 | 2585585.2638 | 1219855.6626
49 | 2585587.1447 | 1219854.4467
50 | 2585558.248 | 1219909.6699
51 | 2585565.939 | 1219924.0364
52 | 2585609.6566 | 1219936.0355
53 | 2585609.9545 | 1219935.8694
54 | 2585488.5119 | 1219768.7271
55 | 2585512.8592 | 1219784.7885
56 | 2585484.3754 | 1219762.0911
57 | 2585479.6612 | 1219771.3565
58 | 2585530.7255 | 1219772.8782
59 | 2585482.8401 | 1219759.6281
60 | 2585459.7797 | 1219784.139
61 | 2585531.7914 | 1219772.1676
62 | 2585474.77 | 1219746.6814
63 | 2585540.1668 | 1219784.6171
64 | 2585549.4941 | 1219759.7208
65 | 2585550.3779 | 1219799.7952
66 | 2585564.5738 | 1219749.7308
67 | 2585560.4689 | 1219814.7948
68 | 2585568.6967 | 1219746.9994
69 | 2585627.9525 | 1219927.1124
70 | 2585656.5772 | 1219914.3125
71 | 2585640.3576 | 1219890.9846
72 | 2585673.6704 | 1219909.4454
73 | 2585632.9027 | 1219880.2625
74 | 2585627.9054 | 1219873.0751
75 | 2585579.3675 | 1219842.8863
76 | 2585598.7914 | 1219846.1974
77 | 2585569.6208 | 1219828.3986
78 | 2585605.7774 | 1219841.2493
79 | 2585619.8996 | 1219831.6542
80 | 2585615.2265 | 1219854.8395
81 | 2585624.3331 | 1219867.9372
82 | 2585636.4859 | 1219820.385
83 | 2585624.4319 | 1219803.2152
84 | 2585618.7521 | 1219795.1249
85 | 2585579.8012 | 1219739.6429
86 | 2585561.0472 | 1219714.2266
87 | 2585598.6599 | 1219727.9204
88 | 2585559.329 | 1219711.9091
89 | 2585603.9157 | 1219724.6534
90 | 2585598.951 | 1219766.9199
91 | 2585606.6598 | 1219777.9004
92 | 2585608.6598 | 1219780.7493
93 | 2585557.2193 | 1219709.0637
94 | 2585613.0643 | 1219738.4026
95 | 2585536.111 | 1219680.5946
96 | 2585536.1113 | 1219680.595
97 | 2585543.9074 | 1219691.1097
98 | 2585548.3074 | 1219697.0441
99 | 2585515.5482 | 1219856.5114

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1