## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_371-81_0_7_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_371-81_0_7_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_371-81_0_7_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_371-81_0_7_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_371-81_0_7_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_371-81_0_7_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_371-81_0_7_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_371-81_0_7_node_111 | 0.4 | n |  | TRUE
8 | bus_LV_371-81_0_7_node_113 | 0.4 | n |  | TRUE
9 | bus_LV_371-81_0_7_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_371-81_0_7_node_20 | 0.4 | n |  | TRUE
11 | bus_LV_371-81_0_7_node_110 | 0.4 | n |  | TRUE
12 | bus_LV_371-81_0_7_node_19 | 0.4 | n |  | TRUE
13 | bus_LV_371-81_0_7_node_25 | 0.4 | n |  | TRUE
14 | bus_LV_371-81_0_7_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_371-81_0_7_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_371-81_0_7_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_371-81_0_7_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_371-81_0_7_node_27 | 0.4 | n |  | TRUE
19 | bus_LV_371-81_0_7_node_24 | 0.4 | n |  | TRUE
20 | bus_LV_371-81_0_7_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_371-81_0_7_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_371-81_0_7_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_371-81_0_7_node_30 | 0.4 | n |  | TRUE
24 | bus_LV_371-81_0_7_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_371-81_0_7_node_31 | 0.4 | n |  | TRUE
26 | bus_LV_371-81_0_7_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_371-81_0_7_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_371-81_0_7_node_34 | 0.4 | n |  | TRUE
29 | bus_LV_371-81_0_7_node_38 | 0.4 | n |  | TRUE
30 | bus_LV_371-81_0_7_node_36 | 0.4 | n |  | TRUE
31 | bus_LV_371-81_0_7_node_33 | 0.4 | n |  | TRUE
32 | bus_LV_371-81_0_7_node_37 | 0.4 | n |  | TRUE
33 | bus_LV_371-81_0_7_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_371-81_0_7_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_371-81_0_7_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_371-81_0_7_node_28 | 0.4 | n |  | TRUE
37 | bus_LV_371-81_0_7_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_371-81_0_7_node_112 | 0.4 | n |  | TRUE
39 | bus_LV_371-81_0_7_node_73 | 0.4 | n |  | TRUE
40 | bus_LV_371-81_0_7_node_35 | 0.4 | n |  | TRUE
41 | bus_LV_371-81_0_7_node_39 | 0.4 | n |  | TRUE
42 | bus_LV_371-81_0_7_node_96 | 0.4 | n |  | TRUE
43 | bus_LV_371-81_0_7_node_87 | 0.4 | n |  | TRUE
44 | bus_LV_371-81_0_7_node_117 | 0.4 | n |  | TRUE
45 | bus_LV_371-81_0_7_node_95 | 0.4 | n |  | TRUE
46 | bus_LV_371-81_0_7_node_86 | 0.4 | n |  | TRUE
47 | bus_LV_371-81_0_7_node_40 | 0.4 | n |  | TRUE
48 | bus_LV_371-81_0_7_node_41 | 0.4 | n |  | TRUE
49 | bus_LV_371-81_0_7_node_42 | 0.4 | n |  | TRUE
50 | bus_LV_371-81_0_7_node_43 | 0.4 | n |  | TRUE
51 | bus_LV_371-81_0_7_node_44 | 0.4 | n |  | TRUE
52 | bus_LV_371-81_0_7_node_45 | 0.4 | n |  | TRUE
53 | bus_LV_371-81_0_7_node_46 | 0.4 | n |  | TRUE
54 | bus_LV_371-81_0_7_node_58 | 0.4 | n |  | TRUE
55 | bus_LV_371-81_0_7_node_47 | 0.4 | n |  | TRUE
56 | bus_LV_371-81_0_7_node_48 | 0.4 | n |  | TRUE
57 | bus_LV_371-81_0_7_node_54 | 0.4 | n |  | TRUE
58 | bus_LV_371-81_0_7_node_57 | 0.4 | n |  | TRUE
59 | bus_LV_371-81_0_7_node_51 | 0.4 | n |  | TRUE
60 | bus_LV_371-81_0_7_node_83 | 0.4 | n |  | TRUE
61 | bus_LV_371-81_0_7_node_115 | 0.4 | n |  | TRUE
62 | bus_LV_371-81_0_7_node_91 | 0.4 | n |  | TRUE
63 | bus_LV_371-81_0_7_node_92 | 0.4 | n |  | TRUE
64 | bus_LV_371-81_0_7_node_82 | 0.4 | n |  | TRUE
65 | bus_LV_371-81_0_7_node_98 | 0.4 | n |  | TRUE
66 | bus_LV_371-81_0_7_node_89 | 0.4 | n |  | TRUE
67 | bus_LV_371-81_0_7_node_49 | 0.4 | n |  | TRUE
68 | bus_LV_371-81_0_7_node_50 | 0.4 | n |  | TRUE
69 | bus_LV_371-81_0_7_node_52 | 0.4 | n |  | TRUE
70 | bus_LV_371-81_0_7_node_53 | 0.4 | n |  | TRUE
71 | bus_LV_371-81_0_7_node_55 | 0.4 | n |  | TRUE
72 | bus_LV_371-81_0_7_node_56 | 0.4 | n |  | TRUE
73 | bus_LV_371-81_0_7_node_94 | 0.4 | n |  | TRUE
74 | bus_LV_371-81_0_7_node_97 | 0.4 | n |  | TRUE
75 | bus_LV_371-81_0_7_node_93 | 0.4 | n |  | TRUE
76 | bus_LV_371-81_0_7_node_59 | 0.4 | n |  | TRUE
77 | bus_LV_371-81_0_7_node_60 | 0.4 | n |  | TRUE
78 | bus_LV_371-81_0_7_node_61 | 0.4 | n |  | TRUE
79 | bus_LV_371-81_0_7_node_62 | 0.4 | n |  | TRUE
80 | bus_LV_371-81_0_7_node_76 | 0.4 | n |  | TRUE
81 | bus_LV_371-81_0_7_node_77 | 0.4 | n |  | TRUE
82 | bus_LV_371-81_0_7_node_78 | 0.4 | n |  | TRUE
83 | bus_LV_371-81_0_7_node_66 | 0.4 | n |  | TRUE
84 | bus_LV_371-81_0_7_node_63 | 0.4 | n |  | TRUE
85 | bus_LV_371-81_0_7_node_64 | 0.4 | n |  | TRUE
86 | bus_LV_371-81_0_7_node_65 | 0.4 | n |  | TRUE
87 | bus_LV_371-81_0_7_node_67 | 0.4 | n |  | TRUE
88 | bus_LV_371-81_0_7_node_79 | 0.4 | n |  | TRUE
89 | bus_LV_371-81_0_7_node_75 | 0.4 | n |  | TRUE
90 | bus_LV_371-81_0_7_node_99 | 0.4 | n |  | TRUE
91 | bus_LV_371-81_0_7_node_74 | 0.4 | n |  | TRUE
92 | bus_LV_371-81_0_7_node_68 | 0.4 | n |  | TRUE
93 | bus_LV_371-81_0_7_node_69 | 0.4 | n |  | TRUE
94 | bus_LV_371-81_0_7_node_70 | 0.4 | n |  | TRUE
95 | bus_LV_371-81_0_7_node_71 | 0.4 | n |  | TRUE
96 | bus_LV_371-81_0_7_node_72 | 0.4 | n |  | TRUE
97 | bus_LV_371-81_0_7_node_107 | 0.4 | n |  | TRUE
98 | bus_LV_371-81_0_7_node_116 | 0.4 | n |  | TRUE
99 | bus_LV_371-81_0_7_node_108 | 0.4 | n |  | TRUE
100 | bus_LV_371-81_0_7_node_104 | 0.4 | n |  | TRUE
101 | bus_LV_371-81_0_7_node_100 | 0.4 | n |  | TRUE
102 | bus_LV_371-81_0_7_node_80 | 0.4 | n |  | TRUE
103 | bus_LV_371-81_0_7_node_81 | 0.4 | n |  | TRUE
104 | bus_LV_371-81_0_7_node_84 | 0.4 | n |  | TRUE
105 | bus_LV_371-81_0_7_node_102 | 0.4 | n |  | TRUE
106 | bus_LV_371-81_0_7_node_101 | 0.4 | n |  | TRUE
107 | bus_LV_371-81_0_7_node_85 | 0.4 | n |  | TRUE
108 | bus_LV_371-81_0_7_node_88 | 0.4 | n |  | TRUE
109 | bus_LV_371-81_0_7_node_90 | 0.4 | n |  | TRUE
110 | bus_LV_371-81_0_7_node_105 | 0.4 | n |  | TRUE
111 | bus_LV_371-81_0_7_node_106 | 0.4 | n |  | TRUE
112 | bus_LV_371-81_0_7_node_114 | 0.4 | n |  | TRUE
113 | bus_LV_371-81_0_7_node_109 | 0.4 | n |  | TRUE
114 | bus_MV_309_0_node_165 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_371-81_0_7_load_0 | 0 | 0.010519 | 0.0026363 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_371-81_0_7_load_1 | 1 | 0.0045819 | 0.0011483 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_371-81_0_7_load_5 | 5 | 0.0061354 | 0.0015377 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_371-81_0_7_load_6 | 6 | 0.0047867 | 0.0011997 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_371-81_0_7_load_111 | 7 | 0.011762 | 0.0029478 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_371-81_0_7_load_113 | 8 | 0.0034475 | 0.00086402 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_371-81_0_7_load_7 | 9 | 0.005856 | 0.0014677 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_371-81_0_7_load_110 | 11 | 0.006343 | 0.0015897 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_371-81_0_7_load_25 | 13 | 0.0064046 | 0.0016052 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_371-81_0_7_load_8 | 14 | 0.0084698 | 0.0021227 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_371-81_0_7_load_9 | 15 | 0.018996 | 0.0047608 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_371-81_0_7_load_11 | 17 | 0.0012532 | 0.00031407 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_371-81_0_7_load_27 | 18 | 0.0048191 | 0.0012078 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_371-81_0_7_load_14 | 20 | 0.0014601 | 0.00036593 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_371-81_0_7_load_15 | 21 | 0.0026459 | 0.00066313 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_371-81_0_7_load_30 | 23 | 0.00081775 | 0.00020495 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_371-81_0_7_load_18 | 24 | 0.00076106 | 0.00019074 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_371-81_0_7_load_31 | 25 | 0.00091242 | 0.00022867 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_371-81_0_7_load_17 | 26 | 0.0071949 | 0.0018032 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_371-81_0_7_load_21 | 27 | 0.0031146 | 0.0007806 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_371-81_0_7_load_36 | 30 | 0.0038052 | 0.00095367 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_371-81_0_7_load_33 | 31 | 0.0015697 | 0.0003934 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_371-81_0_7_load_37 | 32 | 0.00074524 | 0.00018678 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_371-81_0_7_load_22 | 33 | 0.0061586 | 0.0015435 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_371-81_0_7_load_23 | 34 | 0.0034972 | 0.00087649 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_371-81_0_7_load_26 | 35 | 0.0066025 | 0.0016547 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_371-81_0_7_load_28 | 36 | 0.0034689 | 0.00086938 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_371-81_0_7_load_29 | 37 | 0.0045302 | 0.0011354 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_371-81_0_7_load_112 | 38 | 0.005303 | 0.0013291 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_371-81_0_7_load_35 | 40 | 0.0073575 | 0.001844 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_371-81_0_7_load_87 | 43 | 0.0058942 | 0.0014772 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_371-81_0_7_load_117 | 44 | 0.010093 | 0.0025295 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_371-81_0_7_load_86 | 46 | 0.018258 | 0.0045759 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_371-81_0_7_load_40 | 47 | 0.0058972 | 0.001478 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_371-81_0_7_load_42 | 49 | 0.0050366 | 0.0012623 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_371-81_0_7_load_43 | 50 | 0.013432 | 0.0033663 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_371-81_0_7_load_44 | 51 | 0.0037447 | 0.00093851 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_371-81_0_7_load_45 | 52 | 0.01118 | 0.002802 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_371-81_0_7_load_58 | 54 | 0.001994 | 0.00049974 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_371-81_0_7_load_83 | 60 | 0.015596 | 0.0039087 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_371-81_0_7_load_115 | 61 | 0.010412 | 0.0026096 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_371-81_0_7_load_92 | 63 | 0.0051512 | 0.001291 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_371-81_0_7_load_89 | 66 | 0.0050166 | 0.0012573 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_371-81_0_7_load_49 | 67 | 0.0025567 | 0.00064078 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_371-81_0_7_load_52 | 69 | 0.0022765 | 0.00057055 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_371-81_0_7_load_53 | 70 | 0.0046797 | 0.0011729 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_371-81_0_7_load_55 | 71 | 0.0068183 | 0.0017088 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_371-81_0_7_load_56 | 72 | 0.0044489 | 0.001115 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_371-81_0_7_load_94 | 73 | 0.0076015 | 0.0019051 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_371-81_0_7_load_97 | 74 | 0.0076223 | 0.0019103 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_371-81_0_7_load_93 | 75 | 0.0050987 | 0.0012778 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_371-81_0_7_load_59 | 76 | 0.010198 | 0.0025559 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_371-81_0_7_load_60 | 77 | 0.0044368 | 0.001112 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_371-81_0_7_load_61 | 78 | 0.010071 | 0.0025241 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_371-81_0_7_load_62 | 79 | 0.0098722 | 0.0024742 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_371-81_0_7_load_77 | 81 | 0.0027472 | 0.00068851 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_371-81_0_7_load_66 | 83 | 0.0065229 | 0.0016348 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_371-81_0_7_load_63 | 84 | 0.0089886 | 0.0022528 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_371-81_0_7_load_64 | 85 | 0.0031453 | 0.0007883 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_371-81_0_7_load_65 | 86 | 0.0056766 | 0.0014227 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_371-81_0_7_load_79 | 88 | 0.0057652 | 0.0014449 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_371-81_0_7_load_75 | 89 | 0.004597 | 0.0011521 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_371-81_0_7_load_99 | 90 | 0.0044751 | 0.0011216 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_371-81_0_7_load_74 | 91 | 0.0040951 | 0.0010263 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_371-81_0_7_load_68 | 92 | 0.0041947 | 0.0010513 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_371-81_0_7_load_69 | 93 | 0.003872 | 0.00097042 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_371-81_0_7_load_72 | 96 | 0.0071511 | 0.0017922 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_371-81_0_7_load_107 | 97 | 0.0066756 | 0.0016731 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_371-81_0_7_load_116 | 98 | 0.0076804 | 0.0019249 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_371-81_0_7_load_108 | 99 | 0.0048535 | 0.0012164 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_371-81_0_7_load_104 | 100 | 0.013157 | 0.0032975 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_371-81_0_7_load_100 | 101 | 0.0032191 | 0.00080679 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_371-81_0_7_load_80 | 102 | 0.0074537 | 0.0018681 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_371-81_0_7_load_81 | 103 | 0.01463 | 0.0036667 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_371-81_0_7_load_84 | 104 | 0.0081009 | 0.0020303 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_371-81_0_7_load_102 | 105 | 0.018655 | 0.0046754 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_371-81_0_7_load_101 | 106 | 0.013036 | 0.0032671 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_371-81_0_7_load_85 | 107 | 0.017723 | 0.0044419 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_371-81_0_7_load_88 | 108 | 0.0083595 | 0.0020951 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_371-81_0_7_load_90 | 109 | 0.0053112 | 0.0013311 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_371-81_0_7_load_105 | 110 | 0.010725 | 0.002688 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_371-81_0_7_load_106 | 111 | 0.0085804 | 0.0021504 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_371-81_0_7_load_114 | 112 | 0.019275 | 0.0048309 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_371-81_0_7_load_109 | 113 | 0.0055581 | 0.001393 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 48 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_371-81_0_7_line_0 |  | 0 | 1 | 0.0052059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_371-81_0_7_line_1 |  | 0 | 2 | 0.018692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_371-81_0_7_line_2 |  | 1 | 3 | 0.0098421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_371-81_0_7_line_3 |  | 2 | 4 | 0.022112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_371-81_0_7_line_4 |  | 2 | 5 | 0.013146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_371-81_0_7_line_5 |  | 3 | 6 | 0.012959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_371-81_0_7_line_6 |  | 4 | 7 | 0.024411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_371-81_0_7_line_7 |  | 5 | 8 | 0.012323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_371-81_0_7_line_8 |  | 6 | 9 | 0.0039193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_371-81_0_7_line_9 |  | 7 | 11 | 0.0075836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_371-81_0_7_line_10 |  | 8 | 13 | 0.0030569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_371-81_0_7_line_11 |  | 9 | 14 | 0.020039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_371-81_0_7_line_12 |  | 10 | 11 | 0.013795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_371-81_0_7_line_13 |  | 10 | 12 | 0.011507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_371-81_0_7_line_14 |  | 12 | 27 | 0.025889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_371-81_0_7_line_15 |  | 12 | 26 | 0.024606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_371-81_0_7_line_16 |  | 13 | 34 | 0.0062026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_371-81_0_7_line_17 |  | 14 | 15 | 0.0032256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_371-81_0_7_line_18 |  | 15 | 16 | 0.017171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_371-81_0_7_line_19 |  | 16 | 17 | 0.035248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_371-81_0_7_line_20 |  | 18 | 19 | 0.019918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_371-81_0_7_line_21 |  | 19 | 35 | 0.019324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_371-81_0_7_line_22 |  | 19 | 33 | 0.012683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_371-81_0_7_line_23 |  | 20 | 21 | 0.016743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_371-81_0_7_line_24 |  | 21 | 22 | 0.026767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_371-81_0_7_line_25 |  | 22 | 23 | 0.037885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_371-81_0_7_line_26 |  | 22 | 24 | 0.0081901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_371-81_0_7_line_27 |  | 23 | 25 | 0.022666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_371-81_0_7_line_28 |  | 24 | 26 | 0.0097267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_371-81_0_7_line_29 |  | 27 | 28 | 0.056491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_371-81_0_7_line_30 |  | 27 | 29 | 0.057659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_371-81_0_7_line_31 |  | 28 | 30 | 0.023878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_371-81_0_7_line_32 |  | 28 | 31 | 0.0088325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_371-81_0_7_line_33 |  | 29 | 32 | 0.017278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_371-81_0_7_line_34 |  | 31 | 40 | 0.030186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_371-81_0_7_line_35 |  | 33 | 34 | 0.01139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_371-81_0_7_line_36 |  | 35 | 36 | 0.013314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_371-81_0_7_line_37 |  | 36 | 37 | 0.01084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_371-81_0_7_line_38 |  | 37 | 38 | 0.011143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_371-81_0_7_line_39 |  | 38 | 39 | 0.010029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_371-81_0_7_line_40 |  | 39 | 96 | 0.0027739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_371-81_0_7_line_41 |  | 41 | 42 | 0.052356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_371-81_0_7_line_42 |  | 41 | 43 | 0.032694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_371-81_0_7_line_43 |  | 42 | 44 | 0.016463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_371-81_0_7_line_44 |  | 42 | 45 | 0.001202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_371-81_0_7_line_45 |  | 43 | 46 | 0.043492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_371-81_0_7_line_46 |  | 45 | 74 | 0.026473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_371-81_0_7_line_47 |  | 45 | 70 | 0.0091164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_371-81_0_7_line_48 |  | 46 | 107 | 0.063043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_371-81_0_7_line_49 |  | 47 | 48 | 0.014863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_371-81_0_7_line_50 |  | 47 | 49 | 0.010608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_371-81_0_7_line_51 |  | 48 | 50 | 0.019599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
52 | LV_371-81_0_7_line_52 |  | 48 | 51 | 0.030913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_371-81_0_7_line_53 |  | 48 | 52 | 0.041711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_371-81_0_7_line_54 |  | 50 | 53 | 0.019365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
55 | LV_371-81_0_7_line_55 |  | 52 | 54 | 0.0032361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_371-81_0_7_line_56 |  | 53 | 55 | 0.002686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
57 | LV_371-81_0_7_line_57 |  | 53 | 56 | 0.025077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
58 | LV_371-81_0_7_line_58 |  | 55 | 58 | 0.004077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
59 | LV_371-81_0_7_line_59 |  | 55 | 60 | 0.058747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
60 | LV_371-81_0_7_line_60 |  | 56 | 61 | 0.009957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_371-81_0_7_line_61 |  | 56 | 62 | 0.00444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
62 | LV_371-81_0_7_line_62 |  | 57 | 58 | 0.019645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
63 | LV_371-81_0_7_line_63 |  | 57 | 59 | 0.005342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
64 | LV_371-81_0_7_line_64 |  | 58 | 63 | 0.015039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_371-81_0_7_line_65 |  | 59 | 71 | 0.015267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_371-81_0_7_line_66 |  | 59 | 67 | 0.0099976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
67 | LV_371-81_0_7_line_67 |  | 60 | 64 | 0.025108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
68 | LV_371-81_0_7_line_68 |  | 62 | 65 | 0.025709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
69 | LV_371-81_0_7_line_69 |  | 62 | 66 | 0.013037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_371-81_0_7_line_70 |  | 63 | 75 | 0.016074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_371-81_0_7_line_71 |  | 64 | 104 | 0.039868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
72 | LV_371-81_0_7_line_72 |  | 64 | 102 | 0.019074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_371-81_0_7_line_73 |  | 65 | 100 | 0.017758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
74 | LV_371-81_0_7_line_74 |  | 65 | 82 | 0.002557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
75 | LV_371-81_0_7_line_75 |  | 66 | 108 | 0.0094853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_371-81_0_7_line_76 |  | 67 | 68 | 0.012776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
77 | LV_371-81_0_7_line_77 |  | 68 | 69 | 0.0096875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_371-81_0_7_line_78 |  | 68 | 70 | 0.014273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
79 | LV_371-81_0_7_line_79 |  | 69 | 72 | 0.025796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_371-81_0_7_line_80 |  | 71 | 73 | 0.016387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_371-81_0_7_line_81 |  | 76 | 77 | 0.032117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
82 | LV_371-81_0_7_line_82 |  | 76 | 78 | 0.018703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_371-81_0_7_line_83 |  | 77 | 79 | 0.0062185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
84 | LV_371-81_0_7_line_84 |  | 79 | 80 | 0.023209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
85 | LV_371-81_0_7_line_85 |  | 80 | 81 | 0.014005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
86 | LV_371-81_0_7_line_86 |  | 80 | 82 | 0.023341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
87 | LV_371-81_0_7_line_87 |  | 80 | 83 | 0.015244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
88 | LV_371-81_0_7_line_88 |  | 81 | 97 | 0.015654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
89 | LV_371-81_0_7_line_89 |  | 82 | 98 | 0.034067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_371-81_0_7_line_90 |  | 83 | 85 | 0.0084465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
91 | LV_371-81_0_7_line_91 |  | 84 | 85 | 0.0013879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
92 | LV_371-81_0_7_line_92 |  | 84 | 86 | 0.0076666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
93 | LV_371-81_0_7_line_93 |  | 86 | 87 | 0.011225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
94 | LV_371-81_0_7_line_94 |  | 87 | 88 | 0.021274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
95 | LV_371-81_0_7_line_95 |  | 87 | 89 | 0.033067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
96 | LV_371-81_0_7_line_96 |  | 88 | 90 | 0.010861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
97 | LV_371-81_0_7_line_97 |  | 89 | 91 | 0.017153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
98 | LV_371-81_0_7_line_98 |  | 90 | 101 | 0.0088534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_371-81_0_7_line_99 |  | 91 | 95 | 0.010746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
100 | LV_371-81_0_7_line_100 |  | 92 | 93 | 0.0098701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
101 | LV_371-81_0_7_line_101 |  | 92 | 94 | 0.014753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
102 | LV_371-81_0_7_line_102 |  | 93 | 95 | 0.0034773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
103 | LV_371-81_0_7_line_103 |  | 94 | 96 | 0.036148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
104 | LV_371-81_0_7_line_104 |  | 97 | 99 | 0.0079493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
105 | LV_371-81_0_7_line_105 |  | 99 | 113 | 0.0030008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
106 | LV_371-81_0_7_line_106 |  | 100 | 110 | 0.024102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
107 | LV_371-81_0_7_line_107 |  | 102 | 103 | 0.00094864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_371-81_0_7_line_108 |  | 104 | 105 | 0.0015783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
109 | LV_371-81_0_7_line_109 |  | 105 | 106 | 0.045453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
110 | LV_371-81_0_7_line_110 |  | 108 | 109 | 0.011791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_371-81_0_7_line_111 |  | 110 | 111 | 0.021124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
112 | LV_371-81_0_7_line_112 |  | 111 | 112 | 0.018012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_371-81_0_7_trafo_41 | 0.63 MVA 20/0.4 kV | 114 | 48 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2586029.623 | 1220227.7011 | 2586025.3613 | 1220224.7112
1 | 2586035.7721 | 1220245.3524 | 2586029.623 | 1220227.7011
2 | 2586017.3043 | 1220219.0586 | 2586025.3613 | 1220224.7112
3 | 2586035.7721 | 1220245.3524 | 2586056.9695 | 1220238.8542
4 | 2586035.7721 | 1220245.3524 | 2586023.2449 | 1220249.3378
5 | 2586017.3043 | 1220219.0586 | 2586013.7098 | 1220216.5434 | 2586007.0828 | 1220211.1072
6 | 2586056.9695 | 1220238.8542 | 2586063.1616 | 1220242.6085 | 2586073.0458 | 1220248.4441 | 2586078.4066 | 1220250.3548
7 | 2586023.2449 | 1220249.3378 | 2586011.5023 | 1220253.0736
8 | 2586007.0828 | 1220211.1072 | 2586004.0526 | 1220208.6215
9 | 2586083.5076 | 1220245.0509 | 2586081.3007 | 1220248.6582 | 2586078.4066 | 1220250.3548
10 | 2586011.5023 | 1220253.0736 | 2586008.5893 | 1220254.0003
11 | 2586004.0526 | 1220208.6215 | 2585988.5596 | 1220195.9123
12 | 2586083.0883 | 1220231.2662 | 2586083.4939 | 1220239.2254 | 2586083.5076 | 1220245.0509
13 | 2586094.165 | 1220228.0383 | 2586083.0883 | 1220231.2662
14 | 2586119.0248 | 1220220.5645 | 2586094.165 | 1220228.0383
15 | 2586094.165 | 1220228.0383 | 2586092.4726 | 1220221.3495 | 2586086.759 | 1220211.335 | 2586082.7704 | 1220206.6189
16 | 2586002.6785 | 1220255.8808 | 2586008.5893 | 1220254.0003
17 | 2585986.0657 | 1220193.8665 | 2585988.5596 | 1220195.9123
18 | 2585972.7902 | 1220182.9764 | 2585986.0657 | 1220193.8665
19 | 2585972.7902 | 1220182.9764 | 2585994.7727 | 1220155.4226
20 | 2585979.9464 | 1220263.7727 | 2585976.9914 | 1220258.9992 | 2585973.2833 | 1220253.3825 | 2585968.3679 | 1220247.6212
21 | 2585979.9464 | 1220263.7727 | 2585988.6847 | 1220281.0085
22 | 2585979.9464 | 1220263.7727 | 2585990.1793 | 1220259.8573 | 2585991.8247 | 1220259.3338
23 | 2586050.079 | 1220176.4967 | 2586036.8672 | 1220166.212
24 | 2586071.2005 | 1220192.9387 | 2586050.079 | 1220176.4967
25 | 2586071.2005 | 1220192.9387 | 2586089.3839 | 1220159.7024
26 | 2586071.2005 | 1220192.9387 | 2586076.4893 | 1220199.1922
27 | 2586089.3839 | 1220159.7024 | 2586100.2628 | 1220139.8175
28 | 2586076.4893 | 1220199.1922 | 2586082.7704 | 1220206.6189
29 | 2586119.0248 | 1220220.5645 | 2586123.1919 | 1220211.6941 | 2586145.0094 | 1220181.559 | 2586137.4242 | 1220175.7734
30 | 2586174.8135 | 1220205.4364 | 2586155.8493 | 1220209.9722 | 2586119.0248 | 1220220.5645
31 | 2586137.4242 | 1220175.7734 | 2586151.5514 | 1220156.4959
32 | 2586137.4242 | 1220175.7734 | 2586130.2175 | 1220170.6668
33 | 2586174.8135 | 1220205.4364 | 2586175.3099 | 1220193.8508 | 2586176.7735 | 1220188.3605
34 | 2586136.6833 | 1220147.7701 | 2586123.8818 | 1220166.1774 | 2586130.2175 | 1220170.6668
35 | 2585991.8247 | 1220259.3338 | 2586002.6785 | 1220255.8808
36 | 2585994.7053 | 1220292.8837 | 2585988.6847 | 1220281.0085
37 | 2585999.6069 | 1220302.5517 | 2585994.7053 | 1220292.8837
38 | 2586004.6456 | 1220312.4902 | 2585999.6069 | 1220302.5517
39 | 2586009.3069 | 1220321.3698 | 2586006.0682 | 1220315.2961 | 2586004.6456 | 1220312.4902
40 | 2586009.3069 | 1220321.3698 | 2586010.8299 | 1220323.6881
41 | 2586237.1711 | 1220202.6784 | 2586229.6065 | 1220215.5034 | 2586222.7976 | 1220227.0481 | 2586209.4992 | 1220247.1462
42 | 2586237.1711 | 1220202.6784 | 2586247.4278 | 1220225.1898 | 2586250.5547 | 1220232.5059
43 | 2586203.7661 | 1220231.9619 | 2586204.3925 | 1220237.0412 | 2586206.0942 | 1220241.2841 | 2586209.4992 | 1220247.1462
44 | 2586209.4992 | 1220247.1462 | 2586208.8339 | 1220248.1483
45 | 2586250.5547 | 1220232.5059 | 2586260.9374 | 1220256.7988 | 2586266.9822 | 1220272.7658
46 | 2586185.9889 | 1220234.6605 | 2586208.8339 | 1220248.1483
47 | 2586208.8339 | 1220248.1483 | 2586203.3863 | 1220255.4581
48 | 2586250.134 | 1220325.4845 | 2586250.5123 | 1220324.9845 | 2586274.8594 | 1220296.1225 | 2586269.5329 | 1220279.5031 | 2586266.9822 | 1220272.7658
49 | 2586130.9012 | 1220293.0451 | 2586117.8819 | 1220285.8746
50 | 2586108.59 | 1220280.757 | 2586117.8819 | 1220285.8746
51 | 2586130.9012 | 1220293.0451 | 2586147.9211 | 1220302.7636
52 | 2586130.9012 | 1220293.0451 | 2586140.1162 | 1220275.6135 | 2586142.9583 | 1220274.3839 | 2586150.0875 | 1220276.6019 | 2586150.6825 | 1220276.817
53 | 2586130.9012 | 1220293.0451 | 2586118.5482 | 1220311.7071 | 2586100.3428 | 1220305.2073
54 | 2586164.7377 | 1220312.366 | 2586147.9211 | 1220302.7636
55 | 2586097.2951 | 1220304.1192 | 2586100.3428 | 1220305.2073
56 | 2586164.7377 | 1220312.366 | 2586166.4247 | 1220310.272
57 | 2586164.7377 | 1220312.366 | 2586150.8271 | 1220333.255
58 | 2586166.4247 | 1220310.272 | 2586168.67 | 1220306.8647
59 | 2586166.4247 | 1220310.272 | 2586202.498 | 1220335.6246 | 2586207.4281 | 1220338.3036 | 2586213.0781 | 1220340.7029 | 2586215.8945 | 1220341.419
60 | 2586142.3706 | 1220327.9606 | 2586150.8271 | 1220333.255
61 | 2586150.8271 | 1220333.255 | 2586148.3624 | 1220336.9518
62 | 2586179.3743 | 1220290.3747 | 2586168.67 | 1220306.8647
63 | 2586179.3743 | 1220290.3747 | 2586182.4139 | 1220285.9762
64 | 2586168.67 | 1220306.8647 | 2586181.1946 | 1220315.1901
65 | 2586182.4139 | 1220285.9762 | 2586195.1994 | 1220294.3194
66 | 2586182.4139 | 1220285.9762 | 2586187.8765 | 1220277.603
67 | 2586236.5273 | 1220353.2 | 2586234.5169 | 1220353.2158 | 2586228.9045 | 1220350.6829 | 2586224.7555 | 1220344.5668 | 2586221.8382 | 1220342.8726 | 2586219.3778 | 1220341.8444 | 2586215.8945 | 1220341.419
68 | 2586134.2485 | 1220358.4639 | 2586148.3624 | 1220336.9518
69 | 2586148.3624 | 1220336.9518 | 2586159.2537 | 1220344.117
70 | 2586181.1946 | 1220315.1901 | 2586191.42 | 1220321.987 | 2586194.6991 | 1220323.8982
71 | 2586236.5273 | 1220353.2 | 2586231.0278 | 1220360.0723 | 2586213.9309 | 1220386.0102
72 | 2586236.5273 | 1220353.2 | 2586239.7284 | 1220352.9813 | 2586242.1728 | 1220353.6093 | 2586250.8196 | 1220359.2814 | 2586253.0093 | 1220361.333 | 2586253.0093 | 1220361.333
73 | 2586134.2485 | 1220358.4639 | 2586118.5226 | 1220350.2161
74 | 2586134.2485 | 1220358.4639 | 2586132.9487 | 1220360.6682
75 | 2586167.2352 | 1220349.2409 | 2586163.3997 | 1220346.8445 | 2586159.2537 | 1220344.117
76 | 2586194.8572 | 1220266.9028 | 2586187.8765 | 1220277.603
77 | 2586194.8572 | 1220266.9028 | 2586186.3396 | 1220262.2879
78 | 2586194.8572 | 1220266.9028 | 2586203.3863 | 1220255.4581
79 | 2586163.6587 | 1220249.9992 | 2586186.3396 | 1220262.2879
80 | 2586195.1994 | 1220294.3194 | 2586208.9232 | 1220303.2748
81 | 2586069.0497 | 1220346.5241 | 2586089.85 | 1220361.1362 | 2586095.5191 | 1220364.7008
82 | 2586053.7459 | 1220335.7732 | 2586069.0497 | 1220346.5241
83 | 2586100.7835 | 1220368.0108 | 2586095.5191 | 1220364.7008
84 | 2586120.4314 | 1220380.3644 | 2586100.7835 | 1220368.0108
85 | 2586120.4314 | 1220380.3644 | 2586128.1401 | 1220383.8817 | 2586132.9414 | 1220386.6284
86 | 2586120.4314 | 1220380.3644 | 2586131.9447 | 1220362.794 | 2586132.9487 | 1220360.6682
87 | 2586120.4314 | 1220380.3644 | 2586111.8973 | 1220392.996
88 | 2586146.5289 | 1220394.4013 | 2586132.9414 | 1220386.6284
89 | 2586132.9487 | 1220360.6682 | 2586162.5386 | 1220377.6977
90 | 2586111.8973 | 1220392.996 | 2586107.1688 | 1220399.9949
91 | 2586106.3918 | 1220401.1449 | 2586107.1688 | 1220399.9949
92 | 2586106.3918 | 1220401.1449 | 2586102.0999 | 1220407.4975
93 | 2586094.7964 | 1220415.9896 | 2586100.5855 | 1220409.739 | 2586102.0999 | 1220407.4975
94 | 2586094.7964 | 1220415.9896 | 2586109.6206 | 1220431.2479
95 | 2586094.7964 | 1220415.9896 | 2586071.0419 | 1220392.9866
96 | 2586109.6206 | 1220431.2479 | 2586117.1892 | 1220439.0382
97 | 2586058.4952 | 1220381.2908 | 2586069.7947 | 1220391.7788 | 2586071.0419 | 1220392.9866
98 | 2586117.1892 | 1220439.0382 | 2586118.311 | 1220440.1928 | 2586123.4896 | 1220445.2575
99 | 2586050.6192 | 1220373.9804 | 2586058.4952 | 1220381.2908
100 | 2586041.6942 | 1220364.0559 | 2586048.294 | 1220371.3948
101 | 2586031.8611 | 1220353.057 | 2586038.9963 | 1220361.0559 | 2586041.6942 | 1220364.0559
102 | 2586050.6192 | 1220373.9804 | 2586048.294 | 1220371.3948
103 | 2586031.8611 | 1220353.057 | 2586027.9276 | 1220348.3191 | 2586017.591 | 1220333.9797 | 2586010.8299 | 1220323.6881
104 | 2586146.5289 | 1220394.4013 | 2586147.398 | 1220394.8985 | 2586150.0265 | 1220396.3933 | 2586148.0784 | 1220399.7998
105 | 2586146.5887 | 1220402.4048 | 2586148.0784 | 1220399.7998
106 | 2586118.5226 | 1220350.2161 | 2586097.1776 | 1220339.0214
107 | 2586253.6301 | 1220362.0504 | 2586253.0093 | 1220361.333
108 | 2586213.0692 | 1220387.3325 | 2586213.4207 | 1220386.7842 | 2586213.9309 | 1220386.0102
109 | 2586188.5375 | 1220425.597 | 2586213.0692 | 1220387.3325
110 | 2586175.7147 | 1220357.3885 | 2586168.3458 | 1220349.9348 | 2586167.2352 | 1220349.2409
111 | 2586078.4702 | 1220329.2099 | 2586097.1776 | 1220339.0214
112 | 2586062.5189 | 1220320.844 | 2586078.4702 | 1220329.2099

## bus_geodata
| x | y | coords
0 | 2586029.623 | 1220227.7011
1 | 2586025.3613 | 1220224.7112
2 | 2586035.7721 | 1220245.3524
3 | 2586017.3043 | 1220219.0586
4 | 2586056.9695 | 1220238.8542
5 | 2586023.2449 | 1220249.3378
6 | 2586007.0828 | 1220211.1072
7 | 2586078.4066 | 1220250.3548
8 | 2586011.5023 | 1220253.0736
9 | 2586004.0526 | 1220208.6215
10 | 2586083.0883 | 1220231.2662
11 | 2586083.5076 | 1220245.0509
12 | 2586094.165 | 1220228.0383
13 | 2586008.5893 | 1220254.0003
14 | 2585988.5596 | 1220195.9123
15 | 2585986.0657 | 1220193.8665
16 | 2585972.7902 | 1220182.9764
17 | 2585994.7727 | 1220155.4226
18 | 2585968.3679 | 1220247.6212
19 | 2585979.9464 | 1220263.7727
20 | 2586036.8672 | 1220166.212
21 | 2586050.079 | 1220176.4967
22 | 2586071.2005 | 1220192.9387
23 | 2586089.3839 | 1220159.7024
24 | 2586076.4893 | 1220199.1922
25 | 2586100.2628 | 1220139.8175
26 | 2586082.7704 | 1220206.6189
27 | 2586119.0248 | 1220220.5645
28 | 2586137.4242 | 1220175.7734
29 | 2586174.8135 | 1220205.4364
30 | 2586151.5514 | 1220156.4959
31 | 2586130.2175 | 1220170.6668
32 | 2586176.7735 | 1220188.3605
33 | 2585991.8247 | 1220259.3338
34 | 2586002.6785 | 1220255.8808
35 | 2585988.6847 | 1220281.0085
36 | 2585994.7053 | 1220292.8837
37 | 2585999.6069 | 1220302.5517
38 | 2586004.6456 | 1220312.4902
39 | 2586009.3069 | 1220321.3698
40 | 2586136.6833 | 1220147.7701
41 | 2586237.1711 | 1220202.6784
42 | 2586209.4992 | 1220247.1462
43 | 2586250.5547 | 1220232.5059
44 | 2586203.7661 | 1220231.9619
45 | 2586208.8339 | 1220248.1483
46 | 2586266.9822 | 1220272.7658
47 | 2586117.8819 | 1220285.8746
48 | 2586130.9012 | 1220293.0451
49 | 2586108.59 | 1220280.757
50 | 2586147.9211 | 1220302.7636
51 | 2586150.6825 | 1220276.817
52 | 2586100.3428 | 1220305.2073
53 | 2586164.7377 | 1220312.366
54 | 2586097.2951 | 1220304.1192
55 | 2586166.4247 | 1220310.272
56 | 2586150.8271 | 1220333.255
57 | 2586179.3743 | 1220290.3747
58 | 2586168.67 | 1220306.8647
59 | 2586182.4139 | 1220285.9762
60 | 2586215.8945 | 1220341.419
61 | 2586142.3706 | 1220327.9606
62 | 2586148.3624 | 1220336.9518
63 | 2586181.1946 | 1220315.1901
64 | 2586236.5273 | 1220353.2
65 | 2586134.2485 | 1220358.4639
66 | 2586159.2537 | 1220344.117
67 | 2586187.8765 | 1220277.603
68 | 2586194.8572 | 1220266.9028
69 | 2586186.3396 | 1220262.2879
70 | 2586203.3863 | 1220255.4581
71 | 2586195.1994 | 1220294.3194
72 | 2586163.6587 | 1220249.9992
73 | 2586208.9232 | 1220303.2748
74 | 2586185.9889 | 1220234.6605
75 | 2586194.6991 | 1220323.8982
76 | 2586069.0497 | 1220346.5241
77 | 2586095.5191 | 1220364.7008
78 | 2586053.7459 | 1220335.7732
79 | 2586100.7835 | 1220368.0108
80 | 2586120.4314 | 1220380.3644
81 | 2586132.9414 | 1220386.6284
82 | 2586132.9487 | 1220360.6682
83 | 2586111.8973 | 1220392.996
84 | 2586106.3918 | 1220401.1449
85 | 2586107.1688 | 1220399.9949
86 | 2586102.0999 | 1220407.4975
87 | 2586094.7964 | 1220415.9896
88 | 2586109.6206 | 1220431.2479
89 | 2586071.0419 | 1220392.9866
90 | 2586117.1892 | 1220439.0382
91 | 2586058.4952 | 1220381.2908
92 | 2586041.6942 | 1220364.0559
93 | 2586048.294 | 1220371.3948
94 | 2586031.8611 | 1220353.057
95 | 2586050.6192 | 1220373.9804
96 | 2586010.8299 | 1220323.6881
97 | 2586146.5289 | 1220394.4013
98 | 2586162.5386 | 1220377.6977
99 | 2586148.0784 | 1220399.7998
100 | 2586118.5226 | 1220350.2161
101 | 2586123.4896 | 1220445.2575
102 | 2586253.0093 | 1220361.333
103 | 2586253.6301 | 1220362.0504
104 | 2586213.9309 | 1220386.0102
105 | 2586213.0692 | 1220387.3325
106 | 2586188.5375 | 1220425.597
107 | 2586250.134 | 1220325.4845
108 | 2586167.2352 | 1220349.2409
109 | 2586175.7147 | 1220357.3885
110 | 2586097.1776 | 1220339.0214
111 | 2586078.4702 | 1220329.2099
112 | 2586062.5189 | 1220320.844
113 | 2586146.5887 | 1220402.4048
114 | 2586108.59 | 1220280.757

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1