## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_371-87_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_371-87_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_371-87_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_371-87_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_371-87_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_371-87_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_371-87_0_4_node_33 | 0.4 | n |  | TRUE
7 | bus_LV_371-87_0_4_node_17 | 0.4 | n |  | TRUE
8 | bus_LV_371-87_0_4_node_25 | 0.4 | n |  | TRUE
9 | bus_LV_371-87_0_4_node_31 | 0.4 | n |  | TRUE
10 | bus_LV_371-87_0_4_node_15 | 0.4 | n |  | TRUE
11 | bus_LV_371-87_0_4_node_26 | 0.4 | n |  | TRUE
12 | bus_LV_371-87_0_4_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_371-87_0_4_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_371-87_0_4_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_371-87_0_4_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_371-87_0_4_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_371-87_0_4_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_371-87_0_4_node_24 | 0.4 | n |  | TRUE
19 | bus_LV_371-87_0_4_node_21 | 0.4 | n |  | TRUE
20 | bus_LV_371-87_0_4_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_371-87_0_4_node_64 | 0.4 | n |  | TRUE
22 | bus_LV_371-87_0_4_node_22 | 0.4 | n |  | TRUE
23 | bus_LV_371-87_0_4_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_371-87_0_4_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_371-87_0_4_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_371-87_0_4_node_29 | 0.4 | n |  | TRUE
27 | bus_LV_371-87_0_4_node_82 | 0.4 | n |  | TRUE
28 | bus_LV_371-87_0_4_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_371-87_0_4_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_371-87_0_4_node_41 | 0.4 | n |  | TRUE
31 | bus_LV_371-87_0_4_node_39 | 0.4 | n |  | TRUE
32 | bus_LV_371-87_0_4_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_371-87_0_4_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_371-87_0_4_node_65 | 0.4 | n |  | TRUE
35 | bus_LV_371-87_0_4_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_371-87_0_4_node_66 | 0.4 | n |  | TRUE
37 | bus_LV_371-87_0_4_node_77 | 0.4 | n |  | TRUE
38 | bus_LV_371-87_0_4_node_76 | 0.4 | n |  | TRUE
39 | bus_LV_371-87_0_4_node_30 | 0.4 | n |  | TRUE
40 | bus_LV_371-87_0_4_node_32 | 0.4 | n |  | TRUE
41 | bus_LV_371-87_0_4_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_371-87_0_4_node_62 | 0.4 | n |  | TRUE
43 | bus_LV_371-87_0_4_node_68 | 0.4 | n |  | TRUE
44 | bus_LV_371-87_0_4_node_60 | 0.4 | n |  | TRUE
45 | bus_LV_371-87_0_4_node_35 | 0.4 | n |  | TRUE
46 | bus_LV_371-87_0_4_node_46 | 0.4 | n |  | TRUE
47 | bus_LV_371-87_0_4_node_51 | 0.4 | n |  | TRUE
48 | bus_LV_371-87_0_4_node_44 | 0.4 | n |  | TRUE
49 | bus_LV_371-87_0_4_node_42 | 0.4 | n |  | TRUE
50 | bus_LV_371-87_0_4_node_50 | 0.4 | n |  | TRUE
51 | bus_LV_371-87_0_4_node_79 | 0.4 | n |  | TRUE
52 | bus_LV_371-87_0_4_node_40 | 0.4 | n |  | TRUE
53 | bus_LV_371-87_0_4_node_38 | 0.4 | n |  | TRUE
54 | bus_LV_371-87_0_4_node_48 | 0.4 | n |  | TRUE
55 | bus_LV_371-87_0_4_node_80 | 0.4 | n |  | TRUE
56 | bus_LV_371-87_0_4_node_43 | 0.4 | n |  | TRUE
57 | bus_LV_371-87_0_4_node_45 | 0.4 | n |  | TRUE
58 | bus_LV_371-87_0_4_node_49 | 0.4 | n |  | TRUE
59 | bus_LV_371-87_0_4_node_47 | 0.4 | n |  | TRUE
60 | bus_LV_371-87_0_4_node_52 | 0.4 | n |  | TRUE
61 | bus_LV_371-87_0_4_node_53 | 0.4 | n |  | TRUE
62 | bus_LV_371-87_0_4_node_54 | 0.4 | n |  | TRUE
63 | bus_LV_371-87_0_4_node_55 | 0.4 | n |  | TRUE
64 | bus_LV_371-87_0_4_node_56 | 0.4 | n |  | TRUE
65 | bus_LV_371-87_0_4_node_57 | 0.4 | n |  | TRUE
66 | bus_LV_371-87_0_4_node_61 | 0.4 | n |  | TRUE
67 | bus_LV_371-87_0_4_node_63 | 0.4 | n |  | TRUE
68 | bus_LV_371-87_0_4_node_78 | 0.4 | n |  | TRUE
69 | bus_LV_371-87_0_4_node_59 | 0.4 | n |  | TRUE
70 | bus_LV_371-87_0_4_node_72 | 0.4 | n |  | TRUE
71 | bus_LV_371-87_0_4_node_58 | 0.4 | n |  | TRUE
72 | bus_LV_371-87_0_4_node_67 | 0.4 | n |  | TRUE
73 | bus_LV_371-87_0_4_node_74 | 0.4 | n |  | TRUE
74 | bus_LV_371-87_0_4_node_75 | 0.4 | n |  | TRUE
75 | bus_LV_371-87_0_4_node_69 | 0.4 | n |  | TRUE
76 | bus_LV_371-87_0_4_node_70 | 0.4 | n |  | TRUE
77 | bus_LV_371-87_0_4_node_71 | 0.4 | n |  | TRUE
78 | bus_LV_371-87_0_4_node_73 | 0.4 | n |  | TRUE
79 | bus_LV_371-87_0_4_node_83 | 0.4 | n |  | TRUE
80 | bus_MV_610_0_node_79 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_371-87_0_4_load_0 | 0 | 0.0053651 | 0.0013446 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_371-87_0_4_load_1 | 1 | 0.007077 | 0.0017737 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_371-87_0_4_load_3 | 3 | 0.0066144 | 0.0016577 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_371-87_0_4_load_4 | 4 | 0.0050501 | 0.0012657 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_371-87_0_4_load_5 | 5 | 0.0047433 | 0.0011888 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_371-87_0_4_load_33 | 6 | 0.0038467 | 0.00096408 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_371-87_0_4_load_17 | 7 | 0.0051849 | 0.0012995 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_371-87_0_4_load_25 | 8 | 0.007489 | 0.0018769 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_371-87_0_4_load_31 | 9 | 0.0045503 | 0.0011404 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_371-87_0_4_load_15 | 10 | 0.0059359 | 0.0014877 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_371-87_0_4_load_26 | 11 | 0.0079265 | 0.0019866 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_371-87_0_4_load_6 | 12 | 0.0036692 | 0.0009196 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_371-87_0_4_load_7 | 13 | 0.0048416 | 0.0012134 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_371-87_0_4_load_8 | 14 | 0.0033834 | 0.00084795 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_371-87_0_4_load_9 | 15 | 0.005217 | 0.0013075 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_371-87_0_4_load_12 | 17 | 0.0033906 | 0.00084976 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_371-87_0_4_load_24 | 18 | 0.0044917 | 0.0011257 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_371-87_0_4_load_21 | 19 | 0.0049937 | 0.0012515 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_371-87_0_4_load_11 | 20 | 0.004495 | 0.0011265 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_371-87_0_4_load_64 | 21 | 0.017075 | 0.0042795 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_371-87_0_4_load_22 | 22 | 0.0055183 | 0.001383 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_371-87_0_4_load_14 | 23 | 0.0047097 | 0.0011804 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_371-87_0_4_load_16 | 24 | 0.0056494 | 0.0014159 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_371-87_0_4_load_18 | 25 | 0.0056631 | 0.0014193 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_371-87_0_4_load_29 | 26 | 0.0074074 | 0.0018565 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_371-87_0_4_load_82 | 27 | 0.0036749 | 0.00092101 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_371-87_0_4_load_19 | 28 | 0.0056445 | 0.0014146 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_371-87_0_4_load_20 | 29 | 0.0037593 | 0.00094217 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_371-87_0_4_load_41 | 30 | 0.0062013 | 0.0015542 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_371-87_0_4_load_39 | 31 | 0.0038671 | 0.00096919 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_371-87_0_4_load_65 | 34 | 0.012421 | 0.003113 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_371-87_0_4_load_28 | 35 | 0.0085199 | 0.0021353 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_371-87_0_4_load_66 | 36 | 0.0089586 | 0.0022452 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_371-87_0_4_load_77 | 37 | 0.017624 | 0.0044171 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_371-87_0_4_load_76 | 38 | 0.025544 | 0.006402 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_371-87_0_4_load_30 | 39 | 0.0026564 | 0.00066575 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_371-87_0_4_load_32 | 40 | 0.0083115 | 0.0020831 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_371-87_0_4_load_34 | 41 | 0.0025158 | 0.00063052 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_371-87_0_4_load_68 | 43 | 0.0023737 | 0.0005949 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_371-87_0_4_load_60 | 44 | 0.0086585 | 0.00217 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_371-87_0_4_load_35 | 45 | 0.0032931 | 0.00082533 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_371-87_0_4_load_46 | 46 | 0.0037268 | 0.00093403 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_371-87_0_4_load_51 | 47 | 0.0040343 | 0.0010111 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_371-87_0_4_load_44 | 48 | 0.0021352 | 0.00053512 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_371-87_0_4_load_50 | 50 | 0.0059295 | 0.0014861 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_371-87_0_4_load_79 | 51 | 0.0018076 | 0.00045302 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_371-87_0_4_load_40 | 52 | 0.012754 | 0.0031964 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_371-87_0_4_load_38 | 53 | 0.0031971 | 0.00080126 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_371-87_0_4_load_48 | 54 | 0.0026063 | 0.0006532 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_371-87_0_4_load_80 | 55 | 0.0023745 | 0.0005951 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_371-87_0_4_load_43 | 56 | 0.0028497 | 0.00071419 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_371-87_0_4_load_45 | 57 | 0.0032713 | 0.00081986 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_371-87_0_4_load_49 | 58 | 0.0022447 | 0.00056257 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_371-87_0_4_load_47 | 59 | 0.0037985 | 0.000952 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_371-87_0_4_load_52 | 60 | 0.0030042 | 0.00075293 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_371-87_0_4_load_53 | 61 | 0.002462 | 0.00061704 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_371-87_0_4_load_55 | 63 | 0.0026482 | 0.0006637 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_371-87_0_4_load_56 | 64 | 0.0070239 | 0.0017604 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_371-87_0_4_load_57 | 65 | 0.0039777 | 0.00099691 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_371-87_0_4_load_61 | 66 | 0.0024526 | 0.00061468 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_371-87_0_4_load_63 | 67 | 0.002711 | 0.00067944 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_371-87_0_4_load_78 | 68 | 0.0043205 | 0.0010828 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_371-87_0_4_load_59 | 69 | 0.0024369 | 0.00061074 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_371-87_0_4_load_72 | 70 | 0.019749 | 0.0049495 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_371-87_0_4_load_58 | 71 | 0.0026591 | 0.00066645 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_371-87_0_4_load_67 | 72 | 0.011965 | 0.0029986 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_371-87_0_4_load_75 | 74 | 0.0032308 | 0.00080973 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_371-87_0_4_load_69 | 75 | 0.018098 | 0.0045357 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_371-87_0_4_load_70 | 76 | 0.01822 | 0.0045662 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_371-87_0_4_load_71 | 77 | 0.0026546 | 0.0006653 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_371-87_0_4_load_73 | 78 | 0.0031611 | 0.00079224 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_371-87_0_4_load_83 | 79 | 0.0041012 | 0.0010279 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 35 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_371-87_0_4_line_0 |  | 0 | 1 | 0.025606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
1 | LV_371-87_0_4_line_1 |  | 0 | 2 | 0.022201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_371-87_0_4_line_2 |  | 1 | 3 | 0.0016241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_371-87_0_4_line_3 |  | 2 | 4 | 0.014982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_371-87_0_4_line_4 |  | 2 | 5 | 0.015829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_371-87_0_4_line_5 |  | 3 | 6 | 0.027519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_371-87_0_4_line_6 |  | 4 | 7 | 0.0013203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_371-87_0_4_line_7 |  | 5 | 8 | 0.038597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_371-87_0_4_line_8 |  | 6 | 9 | 0.0054344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_371-87_0_4_line_9 |  | 7 | 10 | 0.01558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_371-87_0_4_line_10 |  | 8 | 11 | 0.015245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_371-87_0_4_line_11 |  | 9 | 39 | 0.01328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_371-87_0_4_line_12 |  | 10 | 23 | 0.0047602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_371-87_0_4_line_13 |  | 11 | 33 | 0.031475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_371-87_0_4_line_14 |  | 12 | 13 | 0.017665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_371-87_0_4_line_15 |  | 12 | 14 | 0.0085235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_371-87_0_4_line_16 |  | 13 | 15 | 0.00448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_371-87_0_4_line_17 |  | 14 | 16 | 0.0029712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_371-87_0_4_line_18 |  | 15 | 17 | 0.015801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_371-87_0_4_line_19 |  | 16 | 18 | 0.027765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_371-87_0_4_line_20 |  | 16 | 19 | 0.019076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_371-87_0_4_line_21 |  | 17 | 20 | 0.019724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_371-87_0_4_line_22 |  | 18 | 21 | 0.015715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_371-87_0_4_line_23 |  | 19 | 22 | 0.018575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_371-87_0_4_line_24 |  | 22 | 32 | 0.041667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_371-87_0_4_line_25 |  | 23 | 24 | 0.0062542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_371-87_0_4_line_26 |  | 24 | 25 | 0.009677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_371-87_0_4_line_27 |  | 25 | 26 | 0.0018256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_371-87_0_4_line_28 |  | 26 | 27 | 0.0096698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_371-87_0_4_line_29 |  | 28 | 29 | 0.069113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_371-87_0_4_line_30 |  | 29 | 30 | 0.065407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_371-87_0_4_line_31 |  | 30 | 31 | 0.008321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_371-87_0_4_line_32 |  | 31 | 53 | 0.0047104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_371-87_0_4_line_33 |  | 32 | 33 | 0.012155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_371-87_0_4_line_34 |  | 32 | 34 | 0.01577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_371-87_0_4_line_35 |  | 33 | 35 | 0.0070407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_371-87_0_4_line_36 |  | 34 | 36 | 0.018358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_371-87_0_4_line_37 |  | 35 | 37 | 0.040265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_371-87_0_4_line_38 |  | 36 | 72 | 0.015009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_371-87_0_4_line_39 |  | 37 | 38 | 0.091193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_371-87_0_4_line_40 |  | 39 | 40 | 0.018681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_371-87_0_4_line_41 |  | 40 | 41 | 0.0014948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_371-87_0_4_line_42 |  | 41 | 42 | 0.032208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_371-87_0_4_line_43 |  | 42 | 43 | 0.019699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_371-87_0_4_line_44 |  | 42 | 44 | 0.003399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_371-87_0_4_line_45 |  | 43 | 55 | 0.00074234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_371-87_0_4_line_46 |  | 44 | 71 | 0.02605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_371-87_0_4_line_47 |  | 45 | 46 | 0.059272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_371-87_0_4_line_48 |  | 46 | 47 | 0.028612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_371-87_0_4_line_49 |  | 46 | 48 | 0.0045448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_371-87_0_4_line_50 |  | 47 | 58 | 0.0067269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_371-87_0_4_line_51 |  | 48 | 56 | 0.018714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_371-87_0_4_line_52 |  | 49 | 50 | 0.010314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_371-87_0_4_line_53 |  | 49 | 51 | 0.010481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_371-87_0_4_line_54 |  | 49 | 52 | 0.013048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_371-87_0_4_line_55 |  | 50 | 54 | 0.0027726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_371-87_0_4_line_56 |  | 51 | 55 | 0.024838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_371-87_0_4_line_57 |  | 52 | 53 | 0.018863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_371-87_0_4_line_58 |  | 54 | 59 | 0.018479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_371-87_0_4_line_59 |  | 56 | 57 | 2.6611e-06 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_371-87_0_4_line_60 |  | 58 | 59 | 0.0010556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_371-87_0_4_line_61 |  | 60 | 61 | 0.01067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_371-87_0_4_line_62 |  | 60 | 62 | 0.0075577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_371-87_0_4_line_63 |  | 61 | 63 | 0.0086734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_371-87_0_4_line_64 |  | 62 | 64 | 0.012103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_371-87_0_4_line_65 |  | 62 | 65 | 0.010625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_371-87_0_4_line_66 |  | 63 | 66 | 0.0094064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_371-87_0_4_line_67 |  | 64 | 67 | 0.004802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_371-87_0_4_line_68 |  | 65 | 68 | 0.023752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_371-87_0_4_line_69 |  | 66 | 69 | 0.0099038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_371-87_0_4_line_70 |  | 68 | 70 | 0.014766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_371-87_0_4_line_71 |  | 69 | 71 | 0.0013954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_371-87_0_4_line_72 |  | 70 | 76 | 0.0093887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_371-87_0_4_line_73 |  | 72 | 73 | 0.04314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_371-87_0_4_line_74 |  | 73 | 74 | 0.053107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_371-87_0_4_line_75 |  | 75 | 76 | 0.009831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_371-87_0_4_line_76 |  | 75 | 77 | 0.0092943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_371-87_0_4_line_77 |  | 77 | 78 | 0.017853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_371-87_0_4_line_78 |  | 78 | 79 | 0.010084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_371-87_0_4_trafo_28 | 0.63 MVA 20/0.4 kV | 80 | 35 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2584655.5177 | 1220875.0202 | 2584658.0969 | 1220880.8613 | 2584673.364 | 1220892.5388
1 | 2584663.7936 | 1220857.2885 | 2584660.1779 | 1220858.3874 | 2584657.3247 | 1220860.974 | 2584655.5969 | 1220864.6028 | 2584654.7936 | 1220867.8512 | 2584655.5177 | 1220875.0202
2 | 2584674.654 | 1220893.5255 | 2584673.364 | 1220892.5388
3 | 2584663.7936 | 1220857.2885 | 2584653.9758 | 1220845.972
4 | 2584663.7936 | 1220857.2885 | 2584671.8146 | 1220858.2572 | 2584678.6808 | 1220861.8504
5 | 2584695.7533 | 1220911.1113 | 2584689.6185 | 1220904.9715 | 2584674.654 | 1220893.5255
6 | 2584653.1106 | 1220844.9747 | 2584653.9758 | 1220845.972
7 | 2584712.9488 | 1220879.6082 | 2584707.1602 | 1220876.7543 | 2584678.6808 | 1220861.8504
8 | 2584695.7533 | 1220911.1113 | 2584699.5944 | 1220914.9556
9 | 2584653.1106 | 1220844.9747 | 2584647.6934 | 1220838.7306 | 2584641.5698 | 1220834.7322
10 | 2584726.9771 | 1220885.437 | 2584721.5617 | 1220883.8545 | 2584712.9488 | 1220879.6082
11 | 2584708.9808 | 1220924.3498 | 2584699.5944 | 1220914.9556
12 | 2584637.584 | 1220832.1298 | 2584641.5698 | 1220834.7322
13 | 2584757.3829 | 1220892.7229 | 2584755.4871 | 1220892.9946 | 2584751.7691 | 1220892.6818 | 2584726.9771 | 1220885.437
14 | 2584714.4324 | 1220806.7627 | 2584712.7139 | 1220803.5976 | 2584706.2273 | 1220791.1195
15 | 2584714.4324 | 1220806.7627 | 2584718.4993 | 1220814.2533
16 | 2584704.161 | 1220787.1446 | 2584706.2273 | 1220791.1195
17 | 2584719.917 | 1220816.8645 | 2584718.4993 | 1220814.2533
18 | 2584704.161 | 1220787.1446 | 2584701.0034 | 1220781.0704 | 2584695.9931 | 1220773.6478
19 | 2584719.917 | 1220816.8645 | 2584742.6972 | 1220800.9917
20 | 2584719.917 | 1220816.8645 | 2584729.1103 | 1220833.5793
21 | 2584684.0061 | 1220758.0652 | 2584689.0398 | 1220763.3467 | 2584695.9931 | 1220773.6478
22 | 2584752.932 | 1220808.1188 | 2584745.9892 | 1220798.6979 | 2584742.6972 | 1220800.9917
23 | 2584738.9291 | 1220849.3452 | 2584729.6806 | 1220834.6163 | 2584729.1103 | 1220833.5793
24 | 2584763.5854 | 1220882.7679 | 2584762.5238 | 1220880.0246 | 2584761.1912 | 1220878.038 | 2584752.9034 | 1220867.6978 | 2584740.5811 | 1220851.976 | 2584738.9291 | 1220849.3452
25 | 2584632.3473 | 1220828.7105 | 2584637.584 | 1220832.1298
26 | 2584632.3473 | 1220828.7105 | 2584624.2445 | 1220823.42
27 | 2584624.2445 | 1220823.42 | 2584622.7159 | 1220822.4219
28 | 2584614.6192 | 1220817.1353 | 2584622.7159 | 1220822.4219
29 | 2584619.884 | 1220938.4245 | 2584583.7504 | 1220879.5091
30 | 2584675.1093 | 1220973.4708 | 2584619.884 | 1220938.4245
31 | 2584675.1093 | 1220973.4708 | 2584681.2812 | 1220979.0517
32 | 2584684.7751 | 1220982.2109 | 2584681.2812 | 1220979.0517
33 | 2584757.3829 | 1220892.7229 | 2584759.4347 | 1220891.1723 | 2584761.257 | 1220888.8774 | 2584762.4512 | 1220887.1622 | 2584763.2652 | 1220885.1256 | 2584763.5854 | 1220882.7679
34 | 2584763.5854 | 1220882.7679 | 2584776.5371 | 1220873.771
35 | 2584757.3829 | 1220892.7229 | 2584762.0965 | 1220896.7131 | 2584762.8512 | 1220897.1356
36 | 2584776.5371 | 1220873.771 | 2584791.6143 | 1220863.2977
37 | 2584795.7841 | 1220919.7021 | 2584786.551 | 1220910.4026 | 2584762.8512 | 1220897.1356
38 | 2584802.4547 | 1220852.9335 | 2584792.3078 | 1220862.8159 | 2584791.6143 | 1220863.2977
39 | 2584869.8679 | 1220971.8139 | 2584857.7427 | 1220965.6966 | 2584836.708 | 1220954.2438 | 2584808.8355 | 1220932.8473 | 2584795.7841 | 1220919.7021
40 | 2584708.9808 | 1220924.3498 | 2584713.0743 | 1220928.4467 | 2584722.0383 | 1220937.7089
41 | 2584723.0779 | 1220938.783 | 2584722.0383 | 1220937.7089
42 | 2584745.4767 | 1220961.9269 | 2584723.0779 | 1220938.783
43 | 2584745.4767 | 1220961.9269 | 2584732.3937 | 1220976.6538
44 | 2584745.4767 | 1220961.9269 | 2584747.8409 | 1220964.369
45 | 2584732.3937 | 1220976.6538 | 2584731.9007 | 1220977.2088
46 | 2584766.1234 | 1220982.9153 | 2584763.7923 | 1220980.8463 | 2584747.8409 | 1220964.369
47 | 2584758.8721 | 1221049.1715 | 2584711.3552 | 1221084.6019
48 | 2584758.8721 | 1221049.1715 | 2584737.636 | 1221029.9968
49 | 2584762.2453 | 1221052.2173 | 2584758.8721 | 1221049.1715
50 | 2584737.636 | 1221029.9968 | 2584732.6432 | 1221025.4886
51 | 2584776.1351 | 1221064.7589 | 2584762.2453 | 1221052.2173
52 | 2584708.4438 | 1221003.6132 | 2584716.0951 | 1221010.5299
53 | 2584708.4438 | 1221003.6132 | 2584715.4044 | 1220995.7779
54 | 2584708.4438 | 1221003.6132 | 2584698.7661 | 1220994.8622
55 | 2584718.1519 | 1221012.3892 | 2584716.0951 | 1221010.5299
56 | 2584715.4044 | 1220995.7779 | 2584731.9007 | 1220977.2088
57 | 2584684.7751 | 1220982.2109 | 2584698.7661 | 1220994.8622
58 | 2584731.8598 | 1221024.7811 | 2584718.1519 | 1221012.3892
59 | 2584776.1351 | 1221064.7589 | 2584776.1371 | 1221064.7606
60 | 2584731.8598 | 1221024.7811 | 2584731.9769 | 1221024.887 | 2584732.6432 | 1221025.4886
61 | 2584796.0758 | 1221009.5003 | 2584788.0959 | 1221002.4175
62 | 2584801.0891 | 1221015.1369 | 2584797.2769 | 1221010.5663 | 2584796.0758 | 1221009.5003
63 | 2584788.0959 | 1221002.4175 | 2584781.6091 | 1220996.66
64 | 2584801.0891 | 1221015.1369 | 2584808.8423 | 1221024.4299
65 | 2584801.0891 | 1221015.1369 | 2584808.5383 | 1221007.5606
66 | 2584781.6091 | 1220996.66 | 2584774.5741 | 1220990.4159
67 | 2584811.9186 | 1221028.1171 | 2584808.8423 | 1221024.4299
68 | 2584826.2924 | 1220992.6593 | 2584826.2924 | 1220992.6593 | 2584822.4256 | 1220993.4363 | 2584808.5383 | 1221007.5606
69 | 2584767.1671 | 1220983.8416 | 2584774.5741 | 1220990.4159
70 | 2584826.2924 | 1220992.6593 | 2584815.4828 | 1220982.6
71 | 2584766.1234 | 1220982.9153 | 2584767.1671 | 1220983.8416
72 | 2584815.4828 | 1220982.6 | 2584813.0918 | 1220980.3749 | 2584808.6073 | 1220976.2065
73 | 2584832.8851 | 1220847.8476 | 2584826.4805 | 1220841.149 | 2584823.9684 | 1220843.6569 | 2584818.1419 | 1220837.6128 | 2584815.1984 | 1220840.522 | 2584802.4547 | 1220852.9335
74 | 2584832.8851 | 1220847.8476 | 2584834.1627 | 1220846.0878 | 2584833.4 | 1220841.5204 | 2584829.451 | 1220836.9167 | 2584829.5019 | 1220827.1999 | 2584826.8211 | 1220823.0933 | 2584818.4224 | 1220813.8539 | 2584815.1423 | 1220803.8565 | 2584816.8573 | 1220801.8931
75 | 2584801.4066 | 1220969.5134 | 2584808.6073 | 1220976.2065
76 | 2584801.4066 | 1220969.5134 | 2584794.599 | 1220963.1856
77 | 2584794.599 | 1220963.1856 | 2584781.5225 | 1220951.0308
78 | 2584774.1361 | 1220944.1651 | 2584781.5225 | 1220951.0308

## bus_geodata
| x | y | coords
0 | 2584655.5177 | 1220875.0202
1 | 2584673.364 | 1220892.5388
2 | 2584663.7936 | 1220857.2885
3 | 2584674.654 | 1220893.5255
4 | 2584653.9758 | 1220845.972
5 | 2584678.6808 | 1220861.8504
6 | 2584695.7533 | 1220911.1113
7 | 2584653.1106 | 1220844.9747
8 | 2584712.9488 | 1220879.6082
9 | 2584699.5944 | 1220914.9556
10 | 2584641.5698 | 1220834.7322
11 | 2584726.9771 | 1220885.437
12 | 2584714.4324 | 1220806.7627
13 | 2584706.2273 | 1220791.1195
14 | 2584718.4993 | 1220814.2533
15 | 2584704.161 | 1220787.1446
16 | 2584719.917 | 1220816.8645
17 | 2584695.9931 | 1220773.6478
18 | 2584742.6972 | 1220800.9917
19 | 2584729.1103 | 1220833.5793
20 | 2584684.0061 | 1220758.0652
21 | 2584752.932 | 1220808.1188
22 | 2584738.9291 | 1220849.3452
23 | 2584637.584 | 1220832.1298
24 | 2584632.3473 | 1220828.7105
25 | 2584624.2445 | 1220823.42
26 | 2584622.7159 | 1220822.4219
27 | 2584614.6192 | 1220817.1353
28 | 2584583.7504 | 1220879.5091
29 | 2584619.884 | 1220938.4245
30 | 2584675.1093 | 1220973.4708
31 | 2584681.2812 | 1220979.0517
32 | 2584763.5854 | 1220882.7679
33 | 2584757.3829 | 1220892.7229
34 | 2584776.5371 | 1220873.771
35 | 2584762.8512 | 1220897.1356
36 | 2584791.6142 | 1220863.2977
37 | 2584795.7841 | 1220919.7021
38 | 2584869.8679 | 1220971.8139
39 | 2584708.9808 | 1220924.3498
40 | 2584722.0383 | 1220937.7089
41 | 2584723.0779 | 1220938.783
42 | 2584745.4767 | 1220961.9269
43 | 2584732.3937 | 1220976.6538
44 | 2584747.8409 | 1220964.369
45 | 2584711.3552 | 1221084.6019
46 | 2584758.8721 | 1221049.1715
47 | 2584737.636 | 1221029.9968
48 | 2584762.2453 | 1221052.2173
49 | 2584708.4438 | 1221003.6132
50 | 2584716.0951 | 1221010.5299
51 | 2584715.4044 | 1220995.7779
52 | 2584698.7661 | 1220994.8622
53 | 2584684.7751 | 1220982.2109
54 | 2584718.1519 | 1221012.3892
55 | 2584731.9007 | 1220977.2088
56 | 2584776.1351 | 1221064.7589
57 | 2584776.1371 | 1221064.7606
58 | 2584732.6432 | 1221025.4886
59 | 2584731.8598 | 1221024.7811
60 | 2584796.0758 | 1221009.5003
61 | 2584788.0959 | 1221002.4175
62 | 2584801.0891 | 1221015.1369
63 | 2584781.6091 | 1220996.66
64 | 2584808.8423 | 1221024.4299
65 | 2584808.5383 | 1221007.5606
66 | 2584774.5741 | 1220990.4159
67 | 2584811.9186 | 1221028.1171
68 | 2584826.2924 | 1220992.6593
69 | 2584767.1671 | 1220983.8416
70 | 2584815.4828 | 1220982.6
71 | 2584766.1234 | 1220982.9153
72 | 2584802.4547 | 1220852.9335
73 | 2584832.8851 | 1220847.8476
74 | 2584816.8573 | 1220801.8931
75 | 2584801.4066 | 1220969.5134
76 | 2584808.6073 | 1220976.2065
77 | 2584794.599 | 1220963.1856
78 | 2584781.5225 | 1220951.0308
79 | 2584774.1361 | 1220944.1651
80 | 2584757.3829 | 1220892.7229

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1