## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_387-12_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_387-12_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_387-12_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_387-12_0_5_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_387-12_0_5_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_387-12_0_5_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_387-12_0_5_node_32 | 0.4 | n |  | TRUE
7 | bus_LV_387-12_0_5_node_47 | 0.4 | n |  | TRUE
8 | bus_LV_387-12_0_5_node_45 | 0.4 | n |  | TRUE
9 | bus_LV_387-12_0_5_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_387-12_0_5_node_29 | 0.4 | n |  | TRUE
11 | bus_LV_387-12_0_5_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_387-12_0_5_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_387-12_0_5_node_13 | 0.4 | n |  | TRUE
14 | bus_LV_387-12_0_5_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_387-12_0_5_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_387-12_0_5_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_387-12_0_5_node_38 | 0.4 | n |  | TRUE
18 | bus_LV_387-12_0_5_node_48 | 0.4 | n |  | TRUE
19 | bus_LV_387-12_0_5_node_51 | 0.4 | n |  | TRUE
20 | bus_LV_387-12_0_5_node_37 | 0.4 | n |  | TRUE
21 | bus_LV_387-12_0_5_node_46 | 0.4 | n |  | TRUE
22 | bus_LV_387-12_0_5_node_43 | 0.4 | n |  | TRUE
23 | bus_LV_387-12_0_5_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_387-12_0_5_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_387-12_0_5_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_387-12_0_5_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_387-12_0_5_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_387-12_0_5_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_387-12_0_5_node_71 | 0.4 | n |  | TRUE
30 | bus_LV_387-12_0_5_node_89 | 0.4 | n |  | TRUE
31 | bus_LV_387-12_0_5_node_86 | 0.4 | n |  | TRUE
32 | bus_LV_387-12_0_5_node_35 | 0.4 | n |  | TRUE
33 | bus_LV_387-12_0_5_node_91 | 0.4 | n |  | TRUE
34 | bus_LV_387-12_0_5_node_50 | 0.4 | n |  | TRUE
35 | bus_LV_387-12_0_5_node_97 | 0.4 | n |  | TRUE
36 | bus_LV_387-12_0_5_node_87 | 0.4 | n |  | TRUE
37 | bus_LV_387-12_0_5_node_40 | 0.4 | n |  | TRUE
38 | bus_LV_387-12_0_5_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_387-12_0_5_node_20 | 0.4 | n |  | TRUE
40 | bus_LV_387-12_0_5_node_21 | 0.4 | n |  | TRUE
41 | bus_LV_387-12_0_5_node_22 | 0.4 | n |  | TRUE
42 | bus_LV_387-12_0_5_node_23 | 0.4 | n |  | TRUE
43 | bus_LV_387-12_0_5_node_64 | 0.4 | n |  | TRUE
44 | bus_LV_387-12_0_5_node_65 | 0.4 | n |  | TRUE
45 | bus_LV_387-12_0_5_node_62 | 0.4 | n |  | TRUE
46 | bus_LV_387-12_0_5_node_63 | 0.4 | n |  | TRUE
47 | bus_LV_387-12_0_5_node_24 | 0.4 | n |  | TRUE
48 | bus_LV_387-12_0_5_node_25 | 0.4 | n |  | TRUE
49 | bus_LV_387-12_0_5_node_26 | 0.4 | n |  | TRUE
50 | bus_LV_387-12_0_5_node_28 | 0.4 | n |  | TRUE
51 | bus_LV_387-12_0_5_node_33 | 0.4 | n |  | TRUE
52 | bus_LV_387-12_0_5_node_31 | 0.4 | n |  | TRUE
53 | bus_LV_387-12_0_5_node_41 | 0.4 | n |  | TRUE
54 | bus_LV_387-12_0_5_node_34 | 0.4 | n |  | TRUE
55 | bus_LV_387-12_0_5_node_42 | 0.4 | n |  | TRUE
56 | bus_LV_387-12_0_5_node_36 | 0.4 | n |  | TRUE
57 | bus_LV_387-12_0_5_node_100 | 0.4 | n |  | TRUE
58 | bus_LV_387-12_0_5_node_39 | 0.4 | n |  | TRUE
59 | bus_LV_387-12_0_5_node_44 | 0.4 | n |  | TRUE
60 | bus_LV_387-12_0_5_node_49 | 0.4 | n |  | TRUE
61 | bus_LV_387-12_0_5_node_52 | 0.4 | n |  | TRUE
62 | bus_LV_387-12_0_5_node_70 | 0.4 | n |  | TRUE
63 | bus_LV_387-12_0_5_node_53 | 0.4 | n |  | TRUE
64 | bus_LV_387-12_0_5_node_69 | 0.4 | n |  | TRUE
65 | bus_LV_387-12_0_5_node_54 | 0.4 | n |  | TRUE
66 | bus_LV_387-12_0_5_node_55 | 0.4 | n |  | TRUE
67 | bus_LV_387-12_0_5_node_57 | 0.4 | n |  | TRUE
68 | bus_LV_387-12_0_5_node_58 | 0.4 | n |  | TRUE
69 | bus_LV_387-12_0_5_node_59 | 0.4 | n |  | TRUE
70 | bus_LV_387-12_0_5_node_61 | 0.4 | n |  | TRUE
71 | bus_LV_387-12_0_5_node_105 | 0.4 | n |  | TRUE
72 | bus_LV_387-12_0_5_node_67 | 0.4 | n |  | TRUE
73 | bus_LV_387-12_0_5_node_66 | 0.4 | n |  | TRUE
74 | bus_LV_387-12_0_5_node_68 | 0.4 | n |  | TRUE
75 | bus_LV_387-12_0_5_node_90 | 0.4 | n |  | TRUE
76 | bus_LV_387-12_0_5_node_72 | 0.4 | n |  | TRUE
77 | bus_LV_387-12_0_5_node_73 | 0.4 | n |  | TRUE
78 | bus_LV_387-12_0_5_node_74 | 0.4 | n |  | TRUE
79 | bus_LV_387-12_0_5_node_75 | 0.4 | n |  | TRUE
80 | bus_LV_387-12_0_5_node_76 | 0.4 | n |  | TRUE
81 | bus_LV_387-12_0_5_node_77 | 0.4 | n |  | TRUE
82 | bus_LV_387-12_0_5_node_78 | 0.4 | n |  | TRUE
83 | bus_LV_387-12_0_5_node_82 | 0.4 | n |  | TRUE
84 | bus_LV_387-12_0_5_node_79 | 0.4 | n |  | TRUE
85 | bus_LV_387-12_0_5_node_101 | 0.4 | n |  | TRUE
86 | bus_LV_387-12_0_5_node_94 | 0.4 | n |  | TRUE
87 | bus_LV_387-12_0_5_node_80 | 0.4 | n |  | TRUE
88 | bus_LV_387-12_0_5_node_102 | 0.4 | n |  | TRUE
89 | bus_LV_387-12_0_5_node_81 | 0.4 | n |  | TRUE
90 | bus_LV_387-12_0_5_node_83 | 0.4 | n |  | TRUE
91 | bus_LV_387-12_0_5_node_84 | 0.4 | n |  | TRUE
92 | bus_LV_387-12_0_5_node_95 | 0.4 | n |  | TRUE
93 | bus_LV_387-12_0_5_node_85 | 0.4 | n |  | TRUE
94 | bus_LV_387-12_0_5_node_88 | 0.4 | n |  | TRUE
95 | bus_LV_387-12_0_5_node_92 | 0.4 | n |  | TRUE
96 | bus_LV_387-12_0_5_node_93 | 0.4 | n |  | TRUE
97 | bus_LV_387-12_0_5_node_103 | 0.4 | n |  | TRUE
98 | bus_LV_387-12_0_5_node_104 | 0.4 | n |  | TRUE
99 | bus_MV_310_0_node_111 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_387-12_0_5_load_0 | 0 | 0.0020516 | 0.00051419 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_387-12_0_5_load_4 | 3 | 0.023771 | 0.0059576 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_387-12_0_5_load_6 | 5 | 0.042882 | 0.010747 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_387-12_0_5_load_32 | 6 | 0.0023105 | 0.00057908 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_387-12_0_5_load_47 | 7 | 0.0090536 | 0.002269 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_387-12_0_5_load_45 | 8 | 0.0076757 | 0.0019237 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_387-12_0_5_load_7 | 9 | 0.0065064 | 0.0016307 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_387-12_0_5_load_8 | 11 | 0.016323 | 0.004091 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_387-12_0_5_load_13 | 13 | 0.011892 | 0.0029804 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_387-12_0_5_load_9 | 14 | 0.029079 | 0.0072878 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_387-12_0_5_load_10 | 15 | 0.004857 | 0.0012173 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_387-12_0_5_load_38 | 17 | 0.0071215 | 0.0017848 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_387-12_0_5_load_48 | 18 | 0.0085659 | 0.0021468 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_387-12_0_5_load_51 | 19 | 0.0020927 | 0.00052449 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_387-12_0_5_load_37 | 20 | 0.0040326 | 0.0010107 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_387-12_0_5_load_43 | 22 | 0.0047546 | 0.0011916 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_387-12_0_5_load_14 | 23 | 0.0057319 | 0.0014366 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_387-12_0_5_load_15 | 24 | 0.0056503 | 0.0014161 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_387-12_0_5_load_17 | 26 | 0.0059446 | 0.0014899 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_387-12_0_5_load_19 | 28 | 0.0075797 | 0.0018997 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_387-12_0_5_load_89 | 30 | 0.0031198 | 0.00078189 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_387-12_0_5_load_86 | 31 | 0.0047807 | 0.0011982 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_387-12_0_5_load_91 | 33 | 0.0055954 | 0.0014024 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_387-12_0_5_load_97 | 35 | 0.0025027 | 0.00062724 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_387-12_0_5_load_87 | 36 | 0.0079614 | 0.0019953 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_387-12_0_5_load_40 | 37 | 0.0032147 | 0.00080568 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_387-12_0_5_load_20 | 39 | 0.0042542 | 0.0010662 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_387-12_0_5_load_21 | 40 | 0.0058768 | 0.0014729 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_387-12_0_5_load_22 | 41 | 0.0042418 | 0.0010631 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_387-12_0_5_load_64 | 43 | 0.0022802 | 0.00057147 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_387-12_0_5_load_65 | 44 | 0.0015576 | 0.00039037 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_387-12_0_5_load_62 | 45 | 0.0018453 | 0.00046248 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_387-12_0_5_load_24 | 47 | 0.0023982 | 0.00060104 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_387-12_0_5_load_25 | 48 | 0.0058799 | 0.0014736 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_387-12_0_5_load_28 | 50 | 0.00098504 | 0.00024688 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_387-12_0_5_load_33 | 51 | 0.0052427 | 0.0013139 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_387-12_0_5_load_31 | 52 | 0.0039566 | 0.00099162 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_387-12_0_5_load_41 | 53 | 0.010839 | 0.0027165 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_387-12_0_5_load_42 | 55 | 0.0014214 | 0.00035623 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_387-12_0_5_load_36 | 56 | 0.0048161 | 0.001207 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_387-12_0_5_load_100 | 57 | 0.002133 | 0.00053457 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_387-12_0_5_load_39 | 58 | 0.0058505 | 0.0014663 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_387-12_0_5_load_44 | 59 | 0.0090793 | 0.0022755 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_387-12_0_5_load_49 | 60 | 0.024167 | 0.0060569 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_387-12_0_5_load_52 | 61 | 0.017887 | 0.0044829 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_387-12_0_5_load_70 | 62 | 0.017544 | 0.0043969 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_387-12_0_5_load_53 | 63 | 0.0045511 | 0.0011406 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_387-12_0_5_load_54 | 65 | 0.0172 | 0.0043107 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_387-12_0_5_load_55 | 66 | 0.014124 | 0.0035399 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_387-12_0_5_load_57 | 67 | 0.0096535 | 0.0024194 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_387-12_0_5_load_58 | 68 | 0.015036 | 0.0037683 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_387-12_0_5_load_61 | 70 | 0.002869 | 0.00071905 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_387-12_0_5_load_105 | 71 | 0.0093963 | 0.0023549 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_387-12_0_5_load_67 | 72 | 0.0021634 | 0.00054219 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_387-12_0_5_load_66 | 73 | 0.0024259 | 0.00060799 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_387-12_0_5_load_68 | 74 | 0.0062827 | 0.0015746 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_387-12_0_5_load_90 | 75 | 0.013232 | 0.0033162 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_387-12_0_5_load_72 | 76 | 0.0051305 | 0.0012858 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_387-12_0_5_load_73 | 77 | 0.0059035 | 0.0014796 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_387-12_0_5_load_75 | 79 | 0.0011689 | 0.00029296 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_387-12_0_5_load_77 | 81 | 0.0012433 | 0.00031159 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_387-12_0_5_load_78 | 82 | 0.0024512 | 0.00061434 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_387-12_0_5_load_82 | 83 | 0.006896 | 0.0017283 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_387-12_0_5_load_79 | 84 | 0.0049729 | 0.0012463 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_387-12_0_5_load_101 | 85 | 0.0012614 | 0.00031615 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_387-12_0_5_load_94 | 86 | 0.0058536 | 0.0014671 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_387-12_0_5_load_80 | 87 | 0.0018649 | 0.00046739 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_387-12_0_5_load_102 | 88 | 0.001183 | 0.00029649 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_387-12_0_5_load_81 | 89 | 0.00648 | 0.0016241 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_387-12_0_5_load_83 | 90 | 0.0020416 | 0.00051167 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_387-12_0_5_load_84 | 91 | 0.0015785 | 0.00039562 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_387-12_0_5_load_95 | 92 | 0.0015493 | 0.00038829 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_387-12_0_5_load_85 | 93 | 0.002108 | 0.00052831 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_387-12_0_5_load_88 | 94 | 0.0015504 | 0.00038855 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_387-12_0_5_load_92 | 95 | 0.0014178 | 0.00035534 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_387-12_0_5_load_93 | 96 | 0.0011451 | 0.00028699 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_387-12_0_5_load_103 | 97 | 0.0013501 | 0.00033838 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_387-12_0_5_load_104 | 98 | 0.0023361 | 0.00058549 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 34 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_387-12_0_5_line_0 |  | 0 | 1 | 0.019023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_387-12_0_5_line_1 |  | 0 | 2 | 0.031117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_387-12_0_5_line_2 |  | 1 | 3 | 0.054199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_387-12_0_5_line_3 |  | 2 | 4 | 0.015617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_387-12_0_5_line_4 |  | 3 | 5 | 0.01981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_387-12_0_5_line_5 |  | 4 | 6 | 0.019221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_387-12_0_5_line_6 |  | 5 | 9 | 0.0055098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_387-12_0_5_line_7 |  | 6 | 10 | 0.032942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_387-12_0_5_line_8 |  | 7 | 8 | 0.012991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_387-12_0_5_line_9 |  | 8 | 59 | 0.0088548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_387-12_0_5_line_10 |  | 9 | 11 | 0.0078998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_387-12_0_5_line_11 |  | 10 | 50 | 0.0071978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_387-12_0_5_line_12 |  | 11 | 12 | 0.015616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_387-12_0_5_line_13 |  | 12 | 13 | 0.015322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_387-12_0_5_line_14 |  | 12 | 14 | 0.023876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_387-12_0_5_line_15 |  | 13 | 19 | 0.011958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_387-12_0_5_line_16 |  | 14 | 15 | 0.0040041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_387-12_0_5_line_17 |  | 15 | 16 | 0.016954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_387-12_0_5_line_18 |  | 16 | 17 | 0.018716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_387-12_0_5_line_19 |  | 16 | 18 | 0.013893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_387-12_0_5_line_20 |  | 17 | 20 | 0.014398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_387-12_0_5_line_21 |  | 18 | 21 | 0.030484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_387-12_0_5_line_22 |  | 19 | 22 | 0.0048402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_387-12_0_5_line_23 |  | 20 | 58 | 0.022231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_387-12_0_5_line_24 |  | 21 | 60 | 0.017602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_387-12_0_5_line_25 |  | 21 | 59 | 0.018519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_387-12_0_5_line_26 |  | 22 | 55 | 0.0026475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_387-12_0_5_line_27 |  | 23 | 24 | 0.025912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_387-12_0_5_line_28 |  | 23 | 25 | 0.021548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_387-12_0_5_line_29 |  | 24 | 26 | 7.6689e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_387-12_0_5_line_30 |  | 25 | 27 | 0.03283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_387-12_0_5_line_31 |  | 25 | 28 | 0.0093474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_387-12_0_5_line_32 |  | 26 | 29 | 0.0063225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_387-12_0_5_line_33 |  | 27 | 30 | 0.011273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_387-12_0_5_line_34 |  | 27 | 31 | 0.0067814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_387-12_0_5_line_35 |  | 28 | 32 | 0.014098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_387-12_0_5_line_36 |  | 29 | 33 | 0.026104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_387-12_0_5_line_37 |  | 29 | 34 | 0.035942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_387-12_0_5_line_38 |  | 30 | 35 | 0.012176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_387-12_0_5_line_39 |  | 31 | 36 | 0.023529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_387-12_0_5_line_40 |  | 32 | 37 | 0.012842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_387-12_0_5_line_41 |  | 32 | 38 | 0.013051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_387-12_0_5_line_42 |  | 33 | 75 | 0.006474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_387-12_0_5_line_43 |  | 34 | 62 | 0.012659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_387-12_0_5_line_44 |  | 36 | 94 | 0.0013843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_387-12_0_5_line_45 |  | 37 | 58 | 0.0057903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_387-12_0_5_line_46 |  | 38 | 51 | 0.014848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_387-12_0_5_line_47 |  | 39 | 40 | 0.01488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_387-12_0_5_line_48 |  | 39 | 41 | 0.00073586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_387-12_0_5_line_49 |  | 40 | 42 | 0.019278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_387-12_0_5_line_50 |  | 42 | 43 | 0.0079103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_387-12_0_5_line_51 |  | 42 | 44 | 0.00083762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_387-12_0_5_line_52 |  | 43 | 45 | 0.0059639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_387-12_0_5_line_53 |  | 44 | 46 | 0.051166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_387-12_0_5_line_54 |  | 45 | 69 | 0.019018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_387-12_0_5_line_55 |  | 46 | 71 | 0.10022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_387-12_0_5_line_56 |  | 47 | 48 | 0.026532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_387-12_0_5_line_57 |  | 47 | 49 | 0.051428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_387-12_0_5_line_58 |  | 49 | 50 | 0.01203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_387-12_0_5_line_59 |  | 51 | 54 | 0.011374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_387-12_0_5_line_60 |  | 52 | 53 | 0.021118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_387-12_0_5_line_61 |  | 53 | 55 | 0.014958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_387-12_0_5_line_62 |  | 54 | 56 | 0.023406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_387-12_0_5_line_63 |  | 56 | 57 | 0.0080063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_387-12_0_5_line_64 |  | 60 | 61 | 0.012751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_387-12_0_5_line_65 |  | 61 | 63 | 0.0090794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_387-12_0_5_line_66 |  | 62 | 64 | 0.018003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_387-12_0_5_line_67 |  | 63 | 65 | 0.01106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_387-12_0_5_line_68 |  | 64 | 72 | 0.024726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_387-12_0_5_line_69 |  | 64 | 70 | 0.015416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_387-12_0_5_line_70 |  | 65 | 66 | 0.0045136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_387-12_0_5_line_71 |  | 67 | 68 | 0.014617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_387-12_0_5_line_72 |  | 67 | 69 | 0.016284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_387-12_0_5_line_73 |  | 69 | 70 | 0.010189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_387-12_0_5_line_74 |  | 72 | 73 | 0.013435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_387-12_0_5_line_75 |  | 73 | 74 | 0.024588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_387-12_0_5_line_76 |  | 75 | 82 | 0.014996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_387-12_0_5_line_77 |  | 76 | 77 | 0.011388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_387-12_0_5_line_78 |  | 76 | 78 | 0.030056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_387-12_0_5_line_79 |  | 77 | 79 | 0.0043625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_387-12_0_5_line_80 |  | 78 | 80 | 0.003653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_387-12_0_5_line_81 |  | 78 | 81 | 0.02021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_387-12_0_5_line_82 |  | 79 | 82 | 0.0082875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_387-12_0_5_line_83 |  | 80 | 83 | 0.026446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_387-12_0_5_line_84 |  | 80 | 84 | 0.018616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_387-12_0_5_line_85 |  | 81 | 85 | 0.0060223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_387-12_0_5_line_86 |  | 83 | 86 | 0.015973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_387-12_0_5_line_87 |  | 84 | 87 | 0.00035129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_387-12_0_5_line_88 |  | 85 | 88 | 0.0057712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_387-12_0_5_line_89 |  | 86 | 92 | 0.0057697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_387-12_0_5_line_90 |  | 87 | 89 | 0.028389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_387-12_0_5_line_91 |  | 88 | 97 | 0.0059098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_387-12_0_5_line_92 |  | 89 | 90 | 0.049249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_387-12_0_5_line_93 |  | 90 | 91 | 0.026383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_387-12_0_5_line_94 |  | 91 | 93 | 0.015799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_387-12_0_5_line_95 |  | 94 | 95 | 8.2131e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_387-12_0_5_line_96 |  | 95 | 96 | 0.0018939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_387-12_0_5_line_97 |  | 97 | 98 | 0.028638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_387-12_0_5_trafo_50 | 0.63 MVA 20/0.4 kV | 99 | 34 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2594529.2521 | 1225686.09 | 2594536.6342 | 1225685.4494 | 2594545.1522 | 1225683.5737 | 2594547.9402 | 1225682.8094
1 | 2594577.9495 | 1225674.5825 | 2594547.9402 | 1225682.8094
2 | 2594529.2521 | 1225686.09 | 2594530.6315 | 1225694.1045 | 2594535.4666 | 1225701.3709 | 2594563.4535 | 1225726.087
3 | 2594593.2197 | 1225671.1108 | 2594589.7185 | 1225671.8701 | 2594577.9495 | 1225674.5825
4 | 2594577.2615 | 1225740.192 | 2594574.4213 | 1225736.2663 | 2594564.5666 | 1225727.0701 | 2594563.4535 | 1225726.087
5 | 2594593.2197 | 1225671.1108 | 2594611.9962 | 1225666.9996
6 | 2594577.2615 | 1225740.192 | 2594580.4911 | 1225744.656
7 | 2594644.3401 | 1225664.8047 | 2594640.7767 | 1225663.8741 | 2594638.6235 | 1225663.2979 | 2594636.2735 | 1225663.0221 | 2594632.999 | 1225663.0696 | 2594626.2613 | 1225663.8762 | 2594611.9962 | 1225666.9996
8 | 2594518.4058 | 1225740.592 | 2594520.455 | 1225746.2112 | 2594523.9615 | 1225752.2808
9 | 2594528.5308 | 1225759.8564 | 2594527.6446 | 1225758.6562 | 2594523.9615 | 1225752.2808
10 | 2594580.4911 | 1225744.656 | 2594585.1217 | 1225751.0564
11 | 2594644.3401 | 1225664.8047 | 2594644.312 | 1225667.2061 | 2594644.9508 | 1225669.518 | 2594646.2034 | 1225671.5625
12 | 2594594.2753 | 1225763.7085 | 2594585.1217 | 1225751.0564
13 | 2594594.2753 | 1225763.7085 | 2594602.9984 | 1225776.3051
14 | 2594594.2753 | 1225763.7085 | 2594591.7845 | 1225766.946 | 2594583.2704 | 1225781.0733 | 2594581.5015 | 1225783.8557
15 | 2594602.9984 | 1225776.3051 | 2594609.806 | 1225786.1357
16 | 2594581.5015 | 1225783.8557 | 2594579.3532 | 1225787.2347
17 | 2594568.4015 | 1225800.1649 | 2594578.8503 | 1225788.0259 | 2594579.3532 | 1225787.2347
18 | 2594568.4015 | 1225800.1649 | 2594582.546 | 1225812.4219
19 | 2594568.4015 | 1225800.1649 | 2594567.165 | 1225799.0431 | 2594558.0849 | 1225790.8605
20 | 2594593.4273 | 1225821.8512 | 2594582.546 | 1225812.4219
21 | 2594532.7699 | 1225776.3173 | 2594538.9094 | 1225776.2671 | 2594544.6116 | 1225778.7188 | 2594558.0849 | 1225790.8605
22 | 2594612.5616 | 1225790.1148 | 2594609.806 | 1225786.1357
23 | 2594593.4273 | 1225821.8512 | 2594603.6069 | 1225830.6725 | 2594609.7234 | 1225836.9456
24 | 2594532.7699 | 1225776.3173 | 2594522.0665 | 1225775.449 | 2594515.3674 | 1225773.956
25 | 2594532.7699 | 1225776.3173 | 2594534.346 | 1225767.7331 | 2594528.5308 | 1225759.8564
26 | 2594612.5616 | 1225790.1148 | 2594614.0688 | 1225792.2914
27 | 2594586.8775 | 1225865.2686 | 2594585.4925 | 1225864.5312 | 2594581.3742 | 1225861.7556 | 2594566.9294 | 1225848.8398
28 | 2594607.6206 | 1225868.024 | 2594605.029 | 1225868.6823 | 2594602.475 | 1225868.996 | 2594598.1622 | 1225868.9888 | 2594594.2429 | 1225868.3698 | 2594590.1411 | 1225867.0062 | 2594586.8775 | 1225865.2686
29 | 2594566.8723 | 1225848.7887 | 2594566.9294 | 1225848.8398
30 | 2594607.6206 | 1225868.024 | 2594598.9228 | 1225880.128 | 2594593.7083 | 1225888.66 | 2594589.4396 | 1225895.3679
31 | 2594607.6206 | 1225868.024 | 2594610.1966 | 1225866.8432 | 2594613.1659 | 1225864.7503 | 2594615.2257 | 1225862.7361
32 | 2594562.1591 | 1225844.5744 | 2594566.8723 | 1225848.7887
33 | 2594589.4396 | 1225895.3679 | 2594591.6222 | 1225903.2038 | 2594593.915 | 1225905.347
34 | 2594589.4396 | 1225895.3679 | 2594584.7521 | 1225900.2682
35 | 2594622.3015 | 1225850.567 | 2594620.2359 | 1225854.5379 | 2594617.0652 | 1225860.1885 | 2594615.2257 | 1225862.7361
36 | 2594562.1591 | 1225844.5744 | 2594551.5673 | 1225857.5585 | 2594545.5498 | 1225864.7124
37 | 2594562.1591 | 1225844.5744 | 2594556.7035 | 1225838.298 | 2594547.3758 | 1225825.01 | 2594539.7957 | 1225816.4565
38 | 2594602.8098 | 1225913.6617 | 2594593.915 | 1225905.347
39 | 2594584.7521 | 1225900.2682 | 2594575.2189 | 1225910.2342 | 2594569.1871 | 1225917.8792
40 | 2594622.3015 | 1225850.567 | 2594620.2916 | 1225849.1569 | 2594618.1975 | 1225846.913 | 2594615.511 | 1225843.3023 | 2594613.7657 | 1225841.0915 | 2594613.7657 | 1225841.0915
41 | 2594635.2933 | 1225850.9553 | 2594627.138 | 1225851.3519 | 2594624.2803 | 1225851.1321 | 2594622.3015 | 1225850.567
42 | 2594541.3824 | 1225869.6667 | 2594545.5498 | 1225864.7124
43 | 2594539.7957 | 1225816.4565 | 2594531.579 | 1225816.0417 | 2594527.304 | 1225814.8727
44 | 2594569.1871 | 1225917.8792 | 2594568.3297 | 1225918.9659
45 | 2594613.7657 | 1225841.0915 | 2594609.7234 | 1225836.9456
46 | 2594635.2933 | 1225850.9553 | 2594635.9775 | 1225853.1448 | 2594637.0559 | 1225855.4452 | 2594638.4371 | 1225857.3562 | 2594640.235 | 1225858.9666 | 2594643.5039 | 1225861.2427 | 2594644.5883 | 1225861.8821
47 | 2594443.3274 | 1225827.0268 | 2594436.8367 | 1225840.4169
48 | 2594436.8367 | 1225840.4169 | 2594436.5157 | 1225841.0791
49 | 2594451.7362 | 1225809.6796 | 2594443.3274 | 1225827.0268
50 | 2594451.7362 | 1225809.6796 | 2594459.5805 | 1225810.6994
51 | 2594451.7362 | 1225809.6796 | 2594450.9491 | 1225809.3932
52 | 2594465.4946 | 1225811.4683 | 2594459.5805 | 1225810.6994
53 | 2594402.6112 | 1225792.6385 | 2594426.1914 | 1225800.3872 | 2594450.9491 | 1225809.3932
54 | 2594484.2528 | 1225809.4377 | 2594469.6492 | 1225812.0085 | 2594465.4946 | 1225811.4683
55 | 2594402.6112 | 1225792.6385 | 2594378.994 | 1225841.3451 | 2594379.0888 | 1225845.3918 | 2594405.5503 | 1225878.1413
56 | 2594667.0172 | 1225723.7854 | 2594667.814 | 1225730.3661 | 2594668.9522 | 1225748.3979 | 2594668.9655 | 1225750.2332
57 | 2594657.1278 | 1225673.5759 | 2594660.4177 | 1225682.2002 | 2594661.6033 | 1225685.6122 | 2594662.4324 | 1225688.8022 | 2594663.6364 | 1225695.8608 | 2594667.0172 | 1225723.7854
58 | 2594657.1278 | 1225673.5759 | 2594654.8849 | 1225674.4674 | 2594652.4899 | 1225674.6919 | 2594650.1246 | 1225674.2605 | 2594647.9709 | 1225673.1841 | 2594646.2034 | 1225671.5625
59 | 2594654.3865 | 1225867.6588 | 2594644.5883 | 1225861.8821
60 | 2594622.5844 | 1225804.5883 | 2594634.6073 | 1225821.95
61 | 2594622.5844 | 1225804.5883 | 2594614.0688 | 1225792.2914
62 | 2594654.3865 | 1225867.6588 | 2594650.1011 | 1225881.115 | 2594649.8306 | 1225883.7279 | 2594649.9852 | 1225887.0186 | 2594650.4881 | 1225889.842 | 2594650.6107 | 1225890.3214
63 | 2594652.595 | 1225898.078 | 2594650.6107 | 1225890.3214
64 | 2594515.3674 | 1225773.956 | 2594510.6414 | 1225772.9027 | 2594504.8543 | 1225768.8279 | 2594504.2041 | 1225768.3098
65 | 2594497.103 | 1225762.652 | 2594504.2041 | 1225768.3098
66 | 2594509.7005 | 1225812.271 | 2594516.628 | 1225811.9533 | 2594527.304 | 1225814.8727
67 | 2594488.4529 | 1225755.7601 | 2594497.103 | 1225762.652
68 | 2594509.7005 | 1225812.271 | 2594496.3994 | 1225833.1142
69 | 2594509.7005 | 1225812.271 | 2594494.3789 | 1225810.5651
70 | 2594488.4529 | 1225755.7601 | 2594484.9228 | 1225752.9475
71 | 2594475.6674 | 1225795.6017 | 2594467.1185 | 1225783.7451
72 | 2594484.2528 | 1225809.4377 | 2594475.9176 | 1225795.9487 | 2594475.6674 | 1225795.6017
73 | 2594484.2528 | 1225809.4377 | 2594494.3789 | 1225810.5651
74 | 2594489.172 | 1225844.4398 | 2594496.3994 | 1225833.1142
75 | 2594475.9449 | 1225865.167 | 2594489.172 | 1225844.4398
76 | 2594541.3824 | 1225869.6667 | 2594531.729 | 1225881.143
77 | 2594516.2553 | 1225899.5387 | 2594523.5861 | 1225890.8236
78 | 2594501.5071 | 1225925.6785 | 2594514.7863 | 1225901.2851 | 2594516.2553 | 1225899.5387
79 | 2594523.5861 | 1225890.8236 | 2594526.3943 | 1225887.4852
80 | 2594499.2131 | 1225928.5267 | 2594501.5071 | 1225925.6785
81 | 2594501.5071 | 1225925.6785 | 2594517.3846 | 1225938.1825
82 | 2594526.3943 | 1225887.4852 | 2594531.729 | 1225881.143
83 | 2594499.2131 | 1225928.5267 | 2594500.8962 | 1225936.9968 | 2594505.1038 | 1225954.303
84 | 2594499.2131 | 1225928.5267 | 2594494.9771 | 1225929.5313 | 2594488.0938 | 1225928.3815 | 2594481.7418 | 1225924.8174
85 | 2594522.1158 | 1225941.9086 | 2594517.3846 | 1225938.1825
86 | 2594514.7089 | 1225967.0649 | 2594505.1038 | 1225954.303 | 2594505.1038 | 1225954.303
87 | 2594481.7418 | 1225924.8174 | 2594481.4354 | 1225924.6455
88 | 2594522.1158 | 1225941.9086 | 2594526.6498 | 1225945.4792
89 | 2594514.7089 | 1225967.0649 | 2594518.1785 | 1225971.6748
90 | 2594455.2826 | 1225914.0415 | 2594467.9296 | 1225917.5275 | 2594475.8692 | 1225921.5223 | 2594481.4354 | 1225924.6455
91 | 2594526.6498 | 1225945.4792 | 2594531.2927 | 1225949.1356
92 | 2594436.296 | 1225929.142 | 2594449.9148 | 1225927.4058 | 2594449.2007 | 1225925.6833 | 2594440.3509 | 1225912.9286 | 2594440.6361 | 1225910.0044 | 2594455.2826 | 1225914.0415
93 | 2594436.296 | 1225929.142 | 2594436.296 | 1225929.142 | 2594434.0624 | 1225931.5788 | 2594434.3695 | 1225935.7254 | 2594446.8294 | 1225949.9625
94 | 2594442.8273 | 1225958.7198 | 2594448.3215 | 1225957.8029 | 2594450.8576 | 1225954.5653 | 2594446.8294 | 1225949.9625
95 | 2594568.2788 | 1225919.0304 | 2594568.3297 | 1225918.9659
96 | 2594568.2788 | 1225919.0304 | 2594567.1057 | 1225920.5172
97 | 2594553.7911 | 1225966.8539 | 2594531.2927 | 1225949.1356

## bus_geodata
| x | y | coords
0 | 2594547.9402 | 1225682.8094
1 | 2594529.2521 | 1225686.09
2 | 2594577.9495 | 1225674.5825
3 | 2594563.4535 | 1225726.087
4 | 2594593.2197 | 1225671.1108
5 | 2594577.2615 | 1225740.192
6 | 2594611.9962 | 1225666.9996
7 | 2594518.4058 | 1225740.592
8 | 2594523.9615 | 1225752.2808
9 | 2594580.4911 | 1225744.656
10 | 2594644.3401 | 1225664.8047
11 | 2594585.1217 | 1225751.0564
12 | 2594594.2753 | 1225763.7085
13 | 2594602.9984 | 1225776.3051
14 | 2594581.5015 | 1225783.8556
15 | 2594579.3532 | 1225787.2347
16 | 2594568.4015 | 1225800.1649
17 | 2594582.546 | 1225812.4219
18 | 2594558.0849 | 1225790.8605
19 | 2594609.806 | 1225786.1357
20 | 2594593.4273 | 1225821.8512
21 | 2594532.7699 | 1225776.3173
22 | 2594612.5616 | 1225790.1148
23 | 2594586.8775 | 1225865.2686
24 | 2594566.9294 | 1225848.8398
25 | 2594607.6206 | 1225868.024
26 | 2594566.8723 | 1225848.7887
27 | 2594589.4396 | 1225895.3679
28 | 2594615.2257 | 1225862.7361
29 | 2594562.1591 | 1225844.5744
30 | 2594593.915 | 1225905.347
31 | 2594584.7521 | 1225900.2682
32 | 2594622.3015 | 1225850.567
33 | 2594545.5498 | 1225864.7124
34 | 2594539.7957 | 1225816.4565
35 | 2594602.8098 | 1225913.6617
36 | 2594569.1871 | 1225917.8792
37 | 2594613.7657 | 1225841.0915
38 | 2594635.2933 | 1225850.9553
39 | 2594436.8367 | 1225840.4169
40 | 2594443.3274 | 1225827.0268
41 | 2594436.5157 | 1225841.079
42 | 2594451.7362 | 1225809.6796
43 | 2594459.5805 | 1225810.6994
44 | 2594450.9491 | 1225809.3932
45 | 2594465.4946 | 1225811.4683
46 | 2594402.6112 | 1225792.6385
47 | 2594667.0172 | 1225723.7854
48 | 2594668.9655 | 1225750.2332
49 | 2594657.1278 | 1225673.5759
50 | 2594646.2034 | 1225671.5625
51 | 2594644.5883 | 1225861.8821
52 | 2594634.6073 | 1225821.95
53 | 2594622.5844 | 1225804.5883
54 | 2594654.3865 | 1225867.6588
55 | 2594614.0688 | 1225792.2914
56 | 2594650.6107 | 1225890.3214
57 | 2594652.595 | 1225898.078
58 | 2594609.7234 | 1225836.9456
59 | 2594528.5308 | 1225759.8564
60 | 2594515.3674 | 1225773.956
61 | 2594504.2041 | 1225768.3098
62 | 2594527.304 | 1225814.8727
63 | 2594497.103 | 1225762.652
64 | 2594509.7005 | 1225812.271
65 | 2594488.4529 | 1225755.7601
66 | 2594484.9228 | 1225752.9475
67 | 2594475.6674 | 1225795.6017
68 | 2594467.1185 | 1225783.7451
69 | 2594484.2528 | 1225809.4377
70 | 2594494.3789 | 1225810.5651
71 | 2594405.5503 | 1225878.1413
72 | 2594496.3994 | 1225833.1142
73 | 2594489.172 | 1225844.4398
74 | 2594475.9449 | 1225865.167
75 | 2594541.3824 | 1225869.6667
76 | 2594516.2553 | 1225899.5387
77 | 2594523.5861 | 1225890.8236
78 | 2594501.5071 | 1225925.6785
79 | 2594526.3943 | 1225887.4852
80 | 2594499.2131 | 1225928.5267
81 | 2594517.3846 | 1225938.1825
82 | 2594531.729 | 1225881.143
83 | 2594505.1038 | 1225954.303
84 | 2594481.7418 | 1225924.8174
85 | 2594522.1158 | 1225941.9086
86 | 2594514.7089 | 1225967.0649
87 | 2594481.4354 | 1225924.6455
88 | 2594526.6498 | 1225945.4792
89 | 2594455.2826 | 1225914.0415
90 | 2594436.296 | 1225929.142
91 | 2594446.8294 | 1225949.9625
92 | 2594518.1785 | 1225971.6748
93 | 2594442.8273 | 1225958.7198
94 | 2594568.3297 | 1225918.9659
95 | 2594568.2788 | 1225919.0304
96 | 2594567.1057 | 1225920.5172
97 | 2594531.2927 | 1225949.1356
98 | 2594553.7911 | 1225966.8539
99 | 2594509.7005 | 1225812.271

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1