## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_387-8_1_2_node_128 | 0.4 | n |  | TRUE
1 | bus_LV_387-8_1_2_node_119 | 0.4 | n |  | TRUE
2 | bus_LV_387-8_1_2_node_127 | 0.4 | n |  | TRUE
3 | bus_LV_387-8_1_2_node_129 | 0.4 | n |  | TRUE
4 | bus_LV_387-8_1_2_node_130 | 0.4 | n |  | TRUE
5 | bus_LV_387-8_1_2_node_131 | 0.4 | n |  | TRUE
6 | bus_LV_387-8_1_2_node_132 | 0.4 | n |  | TRUE
7 | bus_LV_387-8_1_2_node_140 | 0.4 | n |  | TRUE
8 | bus_LV_387-8_1_2_node_139 | 0.4 | n |  | TRUE
9 | bus_LV_387-8_1_2_node_133 | 0.4 | n |  | TRUE
10 | bus_LV_387-8_1_2_node_134 | 0.4 | n |  | TRUE
11 | bus_LV_387-8_1_2_node_135 | 0.4 | n |  | TRUE
12 | bus_LV_387-8_1_2_node_136 | 0.4 | n |  | TRUE
13 | bus_LV_387-8_1_2_node_137 | 0.4 | n |  | TRUE
14 | bus_LV_387-8_1_2_node_138 | 0.4 | n |  | TRUE
15 | bus_LV_387-8_1_2_node_141 | 0.4 | n |  | TRUE
16 | bus_LV_387-8_1_2_node_142 | 0.4 | n |  | TRUE
17 | bus_LV_387-8_1_2_node_143 | 0.4 | n |  | TRUE
18 | bus_LV_387-8_1_2_node_144 | 0.4 | n |  | TRUE
19 | bus_LV_387-8_1_2_node_63 | 0.4 | n |  | TRUE
20 | bus_LV_387-8_1_2_node_50 | 0.4 | n |  | TRUE
21 | bus_LV_387-8_1_2_node_52 | 0.4 | n |  | TRUE
22 | bus_LV_387-8_1_2_node_51 | 0.4 | n |  | TRUE
23 | bus_LV_387-8_1_2_node_53 | 0.4 | n |  | TRUE
24 | bus_LV_387-8_1_2_node_54 | 0.4 | n |  | TRUE
25 | bus_LV_387-8_1_2_node_55 | 0.4 | n |  | TRUE
26 | bus_LV_387-8_1_2_node_60 | 0.4 | n |  | TRUE
27 | bus_LV_387-8_1_2_node_59 | 0.4 | n |  | TRUE
28 | bus_LV_387-8_1_2_node_56 | 0.4 | n |  | TRUE
29 | bus_LV_387-8_1_2_node_57 | 0.4 | n |  | TRUE
30 | bus_LV_387-8_1_2_node_58 | 0.4 | n |  | TRUE
31 | bus_LV_387-8_1_2_node_68 | 0.4 | n |  | TRUE
32 | bus_LV_387-8_1_2_node_61 | 0.4 | n |  | TRUE
33 | bus_LV_387-8_1_2_node_62 | 0.4 | n |  | TRUE
34 | bus_LV_387-8_1_2_node_64 | 0.4 | n |  | TRUE
35 | bus_LV_387-8_1_2_node_65 | 0.4 | n |  | TRUE
36 | bus_LV_387-8_1_2_node_66 | 0.4 | n |  | TRUE
37 | bus_LV_387-8_1_2_node_67 | 0.4 | n |  | TRUE
38 | bus_LV_387-8_1_2_node_69 | 0.4 | n |  | TRUE
39 | bus_LV_387-8_1_2_node_70 | 0.4 | n |  | TRUE
40 | bus_LV_387-8_1_2_node_71 | 0.4 | n |  | TRUE
41 | bus_LV_387-8_1_2_node_72 | 0.4 | n |  | TRUE
42 | bus_LV_387-8_1_2_node_73 | 0.4 | n |  | TRUE
43 | bus_LV_387-8_1_2_node_123 | 0.4 | n |  | TRUE
44 | bus_LV_387-8_1_2_node_74 | 0.4 | n |  | TRUE
45 | bus_LV_387-8_1_2_node_75 | 0.4 | n |  | TRUE
46 | bus_LV_387-8_1_2_node_76 | 0.4 | n |  | TRUE
47 | bus_LV_387-8_1_2_node_77 | 0.4 | n |  | TRUE
48 | bus_LV_387-8_1_2_node_78 | 0.4 | n |  | TRUE
49 | bus_LV_387-8_1_2_node_79 | 0.4 | n |  | TRUE
50 | bus_LV_387-8_1_2_node_82 | 0.4 | n |  | TRUE
51 | bus_LV_387-8_1_2_node_80 | 0.4 | n |  | TRUE
52 | bus_LV_387-8_1_2_node_81 | 0.4 | n |  | TRUE
53 | bus_LV_387-8_1_2_node_93 | 0.4 | n |  | TRUE
54 | bus_LV_387-8_1_2_node_94 | 0.4 | n |  | TRUE
55 | bus_LV_387-8_1_2_node_118 | 0.4 | n |  | TRUE
56 | bus_LV_387-8_1_2_node_116 | 0.4 | n |  | TRUE
57 | bus_LV_387-8_1_2_node_120 | 0.4 | n |  | TRUE
58 | bus_LV_387-8_1_2_node_121 | 0.4 | n |  | TRUE
59 | bus_LV_387-8_1_2_node_122 | 0.4 | n |  | TRUE
60 | bus_LV_387-8_1_2_node_124 | 0.4 | n |  | TRUE
61 | bus_LV_387-8_1_2_node_126 | 0.4 | n |  | TRUE
62 | bus_LV_387-8_1_2_node_125 | 0.4 | n |  | TRUE
63 | bus_MV_310_0_node_76 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_387-8_1_2_load_128 | 0 | 0.0020067 | 0.00050292 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_387-8_1_2_load_127 | 2 | 0.0022563 | 0.00056549 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_387-8_1_2_load_129 | 3 | 0.0094544 | 0.0023695 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_387-8_1_2_load_130 | 4 | 0.0016121 | 0.00040403 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_387-8_1_2_load_131 | 5 | 0.013551 | 0.0033962 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_387-8_1_2_load_140 | 7 | 0.0030696 | 0.00076932 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_387-8_1_2_load_139 | 8 | 0.0016988 | 0.00042575 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_387-8_1_2_load_133 | 9 | 0.012095 | 0.0030314 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_387-8_1_2_load_134 | 10 | 0.01169 | 0.0029297 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_387-8_1_2_load_136 | 12 | 0.009969 | 0.0024985 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_387-8_1_2_load_137 | 13 | 0.0045536 | 0.0011412 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_387-8_1_2_load_138 | 14 | 0.011093 | 0.0027802 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_387-8_1_2_load_141 | 15 | 0.0032036 | 0.0008029 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_387-8_1_2_load_142 | 16 | 0.011626 | 0.0029137 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_387-8_1_2_load_143 | 17 | 0.008337 | 0.0020895 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_387-8_1_2_load_144 | 18 | 0.0078842 | 0.001976 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_387-8_1_2_load_52 | 21 | 0.0010798 | 0.00027062 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_387-8_1_2_load_51 | 22 | 0.0010798 | 0.00027062 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_387-8_1_2_load_60 | 26 | 0.0057135 | 0.0014319 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_387-8_1_2_load_59 | 27 | 0.0028469 | 0.00071351 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_387-8_1_2_load_56 | 28 | 0.0024983 | 0.00062614 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_387-8_1_2_load_57 | 29 | 0.003304 | 0.00082806 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_387-8_1_2_load_58 | 30 | 0.0033031 | 0.00082784 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_387-8_1_2_load_68 | 31 | 0.0028606 | 0.00071693 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_387-8_1_2_load_61 | 32 | 0.0096475 | 0.0024179 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_387-8_1_2_load_62 | 33 | 0.0059887 | 0.0015009 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_387-8_1_2_load_64 | 34 | 0.0057265 | 0.0014352 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_387-8_1_2_load_65 | 35 | 0.0038907 | 0.0009751 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_387-8_1_2_load_66 | 36 | 0.0040246 | 0.0010087 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_387-8_1_2_load_69 | 38 | 0.0024871 | 0.00062333 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_387-8_1_2_load_70 | 39 | 0.0018117 | 0.00045406 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_387-8_1_2_load_71 | 40 | 0.0020979 | 0.00052579 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_387-8_1_2_load_72 | 41 | 0.0018809 | 0.0004714 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_387-8_1_2_load_73 | 42 | 0.0018253 | 0.00045745 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_387-8_1_2_load_123 | 43 | 0.0019033 | 0.00047702 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_387-8_1_2_load_74 | 44 | 0.0029701 | 0.00074439 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_387-8_1_2_load_75 | 45 | 0.0018944 | 0.00047478 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_387-8_1_2_load_77 | 47 | 0.0025463 | 0.00063816 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_387-8_1_2_load_78 | 48 | 0.0034305 | 0.00085977 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_387-8_1_2_load_79 | 49 | 0.0041788 | 0.0010473 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_387-8_1_2_load_82 | 50 | 0.0018165 | 0.00045525 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_387-8_1_2_load_80 | 51 | 0.0030348 | 0.00076059 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_387-8_1_2_load_81 | 52 | 0.0025661 | 0.00064313 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_387-8_1_2_load_93 | 53 | 0.0021353 | 0.00053517 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_387-8_1_2_load_94 | 54 | 0.0017367 | 0.00043526 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_387-8_1_2_load_118 | 55 | 0.0021293 | 0.00053364 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_387-8_1_2_load_120 | 57 | 0.0013404 | 0.00033593 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_387-8_1_2_load_121 | 58 | 0.0020195 | 0.00050615 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_387-8_1_2_load_122 | 59 | 0.0018438 | 0.0004621 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_387-8_1_2_load_124 | 60 | 0.0019953 | 0.00050007 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_387-8_1_2_load_126 | 61 | 0.002023 | 0.00050701 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_387-8_1_2_load_125 | 62 | 0.0017489 | 0.00043831 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 36 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_387-8_1_2_line_0 |  | 0 | 1 | 0.03165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_387-8_1_2_line_1 |  | 0 | 2 | 0.0080267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_387-8_1_2_line_2 |  | 1 | 56 | 0.049613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_387-8_1_2_line_3 |  | 2 | 62 | 0.0054117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_387-8_1_2_line_4 |  | 3 | 4 | 0.03654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_387-8_1_2_line_5 |  | 3 | 5 | 0.025165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_387-8_1_2_line_6 |  | 4 | 6 | 0.012852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_387-8_1_2_line_7 |  | 6 | 7 | 0.021324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_387-8_1_2_line_8 |  | 6 | 8 | 0.014741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_387-8_1_2_line_9 |  | 7 | 15 | 0.020242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_387-8_1_2_line_10 |  | 9 | 10 | 0.036737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_387-8_1_2_line_11 |  | 9 | 11 | 0.043949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_387-8_1_2_line_12 |  | 10 | 12 | 0.059759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_387-8_1_2_line_13 |  | 11 | 13 | 0.012378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_387-8_1_2_line_14 |  | 12 | 14 | 0.0073565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_387-8_1_2_line_15 |  | 13 | 15 | 0.017301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_387-8_1_2_line_16 |  | 14 | 16 | 0.0080822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_387-8_1_2_line_17 |  | 16 | 17 | 0.043274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_387-8_1_2_line_18 |  | 17 | 18 | 0.011146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_387-8_1_2_line_19 |  | 18 | 19 | 0.0201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_387-8_1_2_line_20 |  | 19 | 24 | 0.028941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_387-8_1_2_line_21 |  | 20 | 21 | 0.032509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_387-8_1_2_line_22 |  | 20 | 22 | 0.010453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_387-8_1_2_line_23 |  | 21 | 23 | 0.029165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_387-8_1_2_line_24 |  | 23 | 24 | 0.028891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_387-8_1_2_line_25 |  | 23 | 25 | 0.030687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_387-8_1_2_line_26 |  | 24 | 26 | 0.018885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_387-8_1_2_line_27 |  | 25 | 27 | 0.032868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_387-8_1_2_line_28 |  | 25 | 28 | 0.015294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_387-8_1_2_line_29 |  | 26 | 32 | 0.0049185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_387-8_1_2_line_30 |  | 27 | 31 | 0.02074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_387-8_1_2_line_31 |  | 28 | 29 | 0.017036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_387-8_1_2_line_32 |  | 29 | 30 | 0.0081645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_387-8_1_2_line_33 |  | 31 | 37 | 0.0083462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_387-8_1_2_line_34 |  | 32 | 33 | 0.0099404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_387-8_1_2_line_35 |  | 33 | 34 | 0.014925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_387-8_1_2_line_36 |  | 34 | 35 | 0.014689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_387-8_1_2_line_37 |  | 35 | 36 | 0.014979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_387-8_1_2_line_38 |  | 37 | 38 | 0.0077171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_387-8_1_2_line_39 |  | 38 | 39 | 0.0088782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_387-8_1_2_line_40 |  | 39 | 40 | 0.016463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_387-8_1_2_line_41 |  | 40 | 41 | 0.012104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_387-8_1_2_line_42 |  | 41 | 42 | 0.0059739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_387-8_1_2_line_43 |  | 42 | 43 | 0.007882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_387-8_1_2_line_44 |  | 43 | 58 | 0.010778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_387-8_1_2_line_45 |  | 44 | 45 | 0.014445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_387-8_1_2_line_46 |  | 44 | 46 | 0.0087778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_387-8_1_2_line_47 |  | 45 | 47 | 0.012431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_387-8_1_2_line_48 |  | 46 | 48 | 0.015987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_387-8_1_2_line_49 |  | 46 | 49 | 0.014483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_387-8_1_2_line_50 |  | 47 | 50 | 0.016688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_387-8_1_2_line_51 |  | 48 | 51 | 0.025361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_387-8_1_2_line_52 |  | 50 | 53 | 0.0051266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_387-8_1_2_line_53 |  | 51 | 52 | 0.0027752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_387-8_1_2_line_54 |  | 53 | 54 | 0.016609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_387-8_1_2_line_55 |  | 54 | 55 | 0.011547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_387-8_1_2_line_56 |  | 55 | 56 | 0.053141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_387-8_1_2_line_57 |  | 57 | 58 | 0.0043823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_387-8_1_2_line_58 |  | 57 | 59 | 0.0034951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_387-8_1_2_line_59 |  | 59 | 60 | 0.010512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_387-8_1_2_line_60 |  | 60 | 61 | 0.0078699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_387-8_1_2_line_61 |  | 61 | 62 | 0.0052542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_387-8_1_2_trafo_66 | 0.63 MVA 20/0.4 kV | 63 | 36 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2594976.2241 | 1225619.9403 | 2594994.82 | 1225594.3292
1 | 2594999.5361 | 1225587.834 | 2594994.82 | 1225594.3292
2 | 2594929.9405 | 1225601.7917 | 2594952.1049 | 1225611.3004 | 2594976.2241 | 1225619.9403
3 | 2594999.5361 | 1225587.834 | 2595002.7157 | 1225583.4549
4 | 2595098.447 | 1225613.1438 | 2595093.0488 | 1225623.3766 | 2595084.4911 | 1225646.835
5 | 2595112.837 | 1225592.5198 | 2595099.421 | 1225611.2976 | 2595098.447 | 1225613.1438
6 | 2595080.0867 | 1225658.9083 | 2595084.4911 | 1225646.835
7 | 2595080.0867 | 1225658.9083 | 2595100.1796 | 1225666.0499
8 | 2595080.0867 | 1225658.9083 | 2595066.2522 | 1225653.8195
9 | 2595119.253 | 1225672.8292 | 2595100.1796 | 1225666.0499
10 | 2595160.9017 | 1225639.7708 | 2595172.0615 | 1225604.7694
11 | 2595147.5513 | 1225681.6431 | 2595160.9017 | 1225639.7708
12 | 2595177.3583 | 1225546.0482 | 2595177.5109 | 1225557.8126 | 2595178.5864 | 1225584.305 | 2595172.0615 | 1225604.7694
13 | 2595147.5513 | 1225681.6431 | 2595136.9753 | 1225679.1282 | 2595135.5551 | 1225678.6234
14 | 2595177.3583 | 1225546.0482 | 2595177.2629 | 1225538.6923
15 | 2595119.253 | 1225672.8292 | 2595135.5551 | 1225678.6234
16 | 2595177.1587 | 1225530.6108 | 2595177.1953 | 1225533.4764 | 2595177.2629 | 1225538.6923
17 | 2595174.1832 | 1225487.6643 | 2595175.9039 | 1225493.3095 | 2595176.7495 | 1225498.5007 | 2595177.1587 | 1225530.6108
18 | 2595170.9334 | 1225477.0024 | 2595174.1832 | 1225487.6643
19 | 2595165.0729 | 1225457.7754 | 2595170.9334 | 1225477.0024
20 | 2595140.3945 | 1225442.5425 | 2595165.0729 | 1225457.7754
21 | 2595063.2643 | 1225395.0459 | 2595091.287 | 1225411.5246
22 | 2595063.2643 | 1225395.0459 | 2595067.3945 | 1225385.4433
23 | 2595116.4277 | 1225426.3085 | 2595091.287 | 1225411.5246
24 | 2595140.3945 | 1225442.5425 | 2595116.4277 | 1225426.3085
25 | 2595098.8021 | 1225451.4601 | 2595106.8352 | 1225440.1579 | 2595116.4277 | 1225426.3085
26 | 2595140.3945 | 1225442.5425 | 2595129.2356 | 1225457.7782
27 | 2595098.8021 | 1225451.4601 | 2595079.4048 | 1225477.9947
28 | 2595098.8021 | 1225451.4601 | 2595085.7091 | 1225443.5549
29 | 2595126.3294 | 1225461.7462 | 2595129.2356 | 1225457.7782
30 | 2595079.4048 | 1225477.9947 | 2595067.1653 | 1225494.7378
31 | 2595085.7091 | 1225443.5549 | 2595075.1552 | 1225437.1827 | 2595070.508 | 1225436.4306 | 2595070.508 | 1225436.4306
32 | 2595064.585 | 1225442.05 | 2595070.508 | 1225436.4306
33 | 2595062.2398 | 1225501.4756 | 2595067.1653 | 1225494.7378
34 | 2595126.3294 | 1225461.7462 | 2595120.4558 | 1225469.7657
35 | 2595120.4558 | 1225469.7657 | 2595111.637 | 1225481.8063
36 | 2595111.637 | 1225481.8063 | 2595102.9576 | 1225493.6566
37 | 2595102.9576 | 1225493.6566 | 2595094.1071 | 1225505.7407
38 | 2595062.2398 | 1225501.4756 | 2595057.7056 | 1225507.7203
39 | 2595052.4893 | 1225514.9045 | 2595057.7056 | 1225507.7203
40 | 2595052.4893 | 1225514.9045 | 2595042.8163 | 1225528.2265
41 | 2595042.8163 | 1225528.2265 | 2595035.7048 | 1225538.0209
42 | 2595032.1948 | 1225542.8549 | 2595035.7048 | 1225538.0209
43 | 2595032.1948 | 1225542.8549 | 2595027.5638 | 1225549.233
44 | 2595027.5638 | 1225549.233 | 2595021.2314 | 1225557.9542
45 | 2595003.8576 | 1225494.8665 | 2594995.6437 | 1225506.7484
46 | 2595008.8491 | 1225487.6461 | 2595003.8576 | 1225494.8665
47 | 2594995.6437 | 1225506.7484 | 2594988.5748 | 1225516.974
48 | 2595008.8491 | 1225487.6461 | 2595018.0194 | 1225474.5513
49 | 2595008.8491 | 1225487.6461 | 2595000.3469 | 1225481.95 | 2594996.7217 | 1225479.7337
50 | 2594979.085 | 1225530.7015 | 2594988.5748 | 1225516.974
51 | 2595018.0194 | 1225474.5513 | 2595032.5671 | 1225453.7775
52 | 2594979.085 | 1225530.7015 | 2594976.1698 | 1225534.9185
53 | 2595032.5671 | 1225453.7775 | 2595034.1591 | 1225451.5043
54 | 2594966.7251 | 1225548.5809 | 2594976.1698 | 1225534.9185
55 | 2594966.7251 | 1225548.5809 | 2594960.159 | 1225558.079
56 | 2594929.9405 | 1225601.7917 | 2594960.159 | 1225558.079
57 | 2595021.2314 | 1225557.9542 | 2595018.6566 | 1225561.5004
58 | 2595016.603 | 1225564.3286 | 2595018.6566 | 1225561.5004
59 | 2595016.603 | 1225564.3286 | 2595010.4267 | 1225572.835
60 | 2595010.4267 | 1225572.835 | 2595005.8028 | 1225579.2032
61 | 2595005.8028 | 1225579.2032 | 2595002.7157 | 1225583.4549

## bus_geodata
| x | y | coords
0 | 2594994.82 | 1225594.3292
1 | 2594976.2241 | 1225619.9403
2 | 2594999.5361 | 1225587.834
3 | 2595098.447 | 1225613.1438
4 | 2595084.4911 | 1225646.835
5 | 2595112.837 | 1225592.5198
6 | 2595080.0867 | 1225658.9083
7 | 2595100.1796 | 1225666.0499
8 | 2595066.2522 | 1225653.8195
9 | 2595160.9017 | 1225639.7708
10 | 2595172.0615 | 1225604.7694
11 | 2595147.5513 | 1225681.6431
12 | 2595177.3583 | 1225546.0482
13 | 2595135.5551 | 1225678.6234
14 | 2595177.2629 | 1225538.6923
15 | 2595119.253 | 1225672.8292
16 | 2595177.1587 | 1225530.6108
17 | 2595174.1832 | 1225487.6643
18 | 2595170.9334 | 1225477.0024
19 | 2595165.0729 | 1225457.7754
20 | 2595063.2643 | 1225395.0459
21 | 2595091.287 | 1225411.5246
22 | 2595067.3945 | 1225385.4433
23 | 2595116.4277 | 1225426.3085
24 | 2595140.3945 | 1225442.5425
25 | 2595098.8021 | 1225451.4601
26 | 2595129.2356 | 1225457.7782
27 | 2595079.4048 | 1225477.9947
28 | 2595085.7091 | 1225443.5549
29 | 2595070.508 | 1225436.4306
30 | 2595064.585 | 1225442.05
31 | 2595067.1653 | 1225494.7378
32 | 2595126.3294 | 1225461.7462
33 | 2595120.4558 | 1225469.7657
34 | 2595111.637 | 1225481.8063
35 | 2595102.9576 | 1225493.6566
36 | 2595094.1071 | 1225505.7407
37 | 2595062.2398 | 1225501.4756
38 | 2595057.7056 | 1225507.7203
39 | 2595052.4893 | 1225514.9045
40 | 2595042.8163 | 1225528.2265
41 | 2595035.7048 | 1225538.0209
42 | 2595032.1948 | 1225542.8549
43 | 2595027.5638 | 1225549.233
44 | 2595003.8576 | 1225494.8665
45 | 2594995.6437 | 1225506.7484
46 | 2595008.8491 | 1225487.6461
47 | 2594988.5748 | 1225516.974
48 | 2595018.0194 | 1225474.5513
49 | 2594996.7217 | 1225479.7337
50 | 2594979.085 | 1225530.7015
51 | 2595032.5671 | 1225453.7775
52 | 2595034.1591 | 1225451.5043
53 | 2594976.1698 | 1225534.9185
54 | 2594966.7251 | 1225548.5809
55 | 2594960.159 | 1225558.079
56 | 2594929.9405 | 1225601.7917
57 | 2595018.6566 | 1225561.5004
58 | 2595021.2314 | 1225557.9542
59 | 2595016.603 | 1225564.3286
60 | 2595010.4267 | 1225572.835
61 | 2595005.8028 | 1225579.2032
62 | 2595002.7157 | 1225583.4549
63 | 2595062.2398 | 1225501.4756

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1