## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4001-12_0_8_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4001-12_0_8_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4001-12_0_8_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_4001-12_0_8_node_7 | 0.4 | n |  | TRUE
4 | bus_LV_4001-12_0_8_node_8 | 0.4 | n |  | TRUE
5 | bus_LV_4001-12_0_8_node_13 | 0.4 | n |  | TRUE
6 | bus_LV_4001-12_0_8_node_119 | 0.4 | n |  | TRUE
7 | bus_LV_4001-12_0_8_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_4001-12_0_8_node_10 | 0.4 | n |  | TRUE
9 | bus_LV_4001-12_0_8_node_35 | 0.4 | n |  | TRUE
10 | bus_LV_4001-12_0_8_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_4001-12_0_8_node_64 | 0.4 | n |  | TRUE
12 | bus_LV_4001-12_0_8_node_99 | 0.4 | n |  | TRUE
13 | bus_LV_4001-12_0_8_node_85 | 0.4 | n |  | TRUE
14 | bus_LV_4001-12_0_8_node_39 | 0.4 | n |  | TRUE
15 | bus_LV_4001-12_0_8_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_4001-12_0_8_node_47 | 0.4 | n |  | TRUE
17 | bus_LV_4001-12_0_8_node_48 | 0.4 | n |  | TRUE
18 | bus_LV_4001-12_0_8_node_45 | 0.4 | n |  | TRUE
19 | bus_LV_4001-12_0_8_node_36 | 0.4 | n |  | TRUE
20 | bus_LV_4001-12_0_8_node_104 | 0.4 | n |  | TRUE
21 | bus_LV_4001-12_0_8_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_4001-12_0_8_node_110 | 0.4 | n |  | TRUE
23 | bus_LV_4001-12_0_8_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_4001-12_0_8_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_4001-12_0_8_node_40 | 0.4 | n |  | TRUE
26 | bus_LV_4001-12_0_8_node_37 | 0.4 | n |  | TRUE
27 | bus_LV_4001-12_0_8_node_106 | 0.4 | n |  | TRUE
28 | bus_LV_4001-12_0_8_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_4001-12_0_8_node_102 | 0.4 | n |  | TRUE
30 | bus_LV_4001-12_0_8_node_15 | 0.4 | n |  | TRUE
31 | bus_LV_4001-12_0_8_node_112 | 0.4 | n |  | TRUE
32 | bus_LV_4001-12_0_8_node_109 | 0.4 | n |  | TRUE
33 | bus_LV_4001-12_0_8_node_111 | 0.4 | n |  | TRUE
34 | bus_LV_4001-12_0_8_node_113 | 0.4 | n |  | TRUE
35 | bus_LV_4001-12_0_8_node_114 | 0.4 | n |  | TRUE
36 | bus_LV_4001-12_0_8_node_117 | 0.4 | n |  | TRUE
37 | bus_LV_4001-12_0_8_node_118 | 0.4 | n |  | TRUE
38 | bus_LV_4001-12_0_8_node_50 | 0.4 | n |  | TRUE
39 | bus_LV_4001-12_0_8_node_49 | 0.4 | n |  | TRUE
40 | bus_LV_4001-12_0_8_node_46 | 0.4 | n |  | TRUE
41 | bus_LV_4001-12_0_8_node_65 | 0.4 | n |  | TRUE
42 | bus_LV_4001-12_0_8_node_79 | 0.4 | n |  | TRUE
43 | bus_LV_4001-12_0_8_node_103 | 0.4 | n |  | TRUE
44 | bus_LV_4001-12_0_8_node_16 | 0.4 | n |  | TRUE
45 | bus_LV_4001-12_0_8_node_101 | 0.4 | n |  | TRUE
46 | bus_LV_4001-12_0_8_node_19 | 0.4 | n |  | TRUE
47 | bus_LV_4001-12_0_8_node_20 | 0.4 | n |  | TRUE
48 | bus_LV_4001-12_0_8_node_21 | 0.4 | n |  | TRUE
49 | bus_LV_4001-12_0_8_node_23 | 0.4 | n |  | TRUE
50 | bus_LV_4001-12_0_8_node_24 | 0.4 | n |  | TRUE
51 | bus_LV_4001-12_0_8_node_29 | 0.4 | n |  | TRUE
52 | bus_LV_4001-12_0_8_node_28 | 0.4 | n |  | TRUE
53 | bus_LV_4001-12_0_8_node_84 | 0.4 | n |  | TRUE
54 | bus_LV_4001-12_0_8_node_25 | 0.4 | n |  | TRUE
55 | bus_LV_4001-12_0_8_node_34 | 0.4 | n |  | TRUE
56 | bus_LV_4001-12_0_8_node_41 | 0.4 | n |  | TRUE
57 | bus_LV_4001-12_0_8_node_63 | 0.4 | n |  | TRUE
58 | bus_LV_4001-12_0_8_node_95 | 0.4 | n |  | TRUE
59 | bus_LV_4001-12_0_8_node_100 | 0.4 | n |  | TRUE
60 | bus_LV_4001-12_0_8_node_62 | 0.4 | n |  | TRUE
61 | bus_LV_4001-12_0_8_node_82 | 0.4 | n |  | TRUE
62 | bus_LV_4001-12_0_8_node_120 | 0.4 | n |  | TRUE
63 | bus_LV_4001-12_0_8_node_32 | 0.4 | n |  | TRUE
64 | bus_LV_4001-12_0_8_node_42 | 0.4 | n |  | TRUE
65 | bus_LV_4001-12_0_8_node_43 | 0.4 | n |  | TRUE
66 | bus_LV_4001-12_0_8_node_94 | 0.4 | n |  | TRUE
67 | bus_LV_4001-12_0_8_node_31 | 0.4 | n |  | TRUE
68 | bus_LV_4001-12_0_8_node_33 | 0.4 | n |  | TRUE
69 | bus_LV_4001-12_0_8_node_115 | 0.4 | n |  | TRUE
70 | bus_LV_4001-12_0_8_node_44 | 0.4 | n |  | TRUE
71 | bus_LV_4001-12_0_8_node_105 | 0.4 | n |  | TRUE
72 | bus_LV_4001-12_0_8_node_108 | 0.4 | n |  | TRUE
73 | bus_LV_4001-12_0_8_node_107 | 0.4 | n |  | TRUE
74 | bus_LV_4001-12_0_8_node_77 | 0.4 | n |  | TRUE
75 | bus_LV_4001-12_0_8_node_51 | 0.4 | n |  | TRUE
76 | bus_LV_4001-12_0_8_node_52 | 0.4 | n |  | TRUE
77 | bus_LV_4001-12_0_8_node_53 | 0.4 | n |  | TRUE
78 | bus_LV_4001-12_0_8_node_54 | 0.4 | n |  | TRUE
79 | bus_LV_4001-12_0_8_node_56 | 0.4 | n |  | TRUE
80 | bus_LV_4001-12_0_8_node_67 | 0.4 | n |  | TRUE
81 | bus_LV_4001-12_0_8_node_72 | 0.4 | n |  | TRUE
82 | bus_LV_4001-12_0_8_node_93 | 0.4 | n |  | TRUE
83 | bus_LV_4001-12_0_8_node_91 | 0.4 | n |  | TRUE
84 | bus_LV_4001-12_0_8_node_57 | 0.4 | n |  | TRUE
85 | bus_LV_4001-12_0_8_node_58 | 0.4 | n |  | TRUE
86 | bus_LV_4001-12_0_8_node_59 | 0.4 | n |  | TRUE
87 | bus_LV_4001-12_0_8_node_60 | 0.4 | n |  | TRUE
88 | bus_LV_4001-12_0_8_node_61 | 0.4 | n |  | TRUE
89 | bus_LV_4001-12_0_8_node_88 | 0.4 | n |  | TRUE
90 | bus_LV_4001-12_0_8_node_69 | 0.4 | n |  | TRUE
91 | bus_LV_4001-12_0_8_node_75 | 0.4 | n |  | TRUE
92 | bus_LV_4001-12_0_8_node_89 | 0.4 | n |  | TRUE
93 | bus_LV_4001-12_0_8_node_68 | 0.4 | n |  | TRUE
94 | bus_LV_4001-12_0_8_node_71 | 0.4 | n |  | TRUE
95 | bus_LV_4001-12_0_8_node_70 | 0.4 | n |  | TRUE
96 | bus_LV_4001-12_0_8_node_73 | 0.4 | n |  | TRUE
97 | bus_LV_4001-12_0_8_node_74 | 0.4 | n |  | TRUE
98 | bus_LV_4001-12_0_8_node_86 | 0.4 | n |  | TRUE
99 | bus_LV_4001-12_0_8_node_90 | 0.4 | n |  | TRUE
100 | bus_LV_4001-12_0_8_node_87 | 0.4 | n |  | TRUE
101 | bus_LV_4001-12_0_8_node_76 | 0.4 | n |  | TRUE
102 | bus_LV_4001-12_0_8_node_78 | 0.4 | n |  | TRUE
103 | bus_LV_4001-12_0_8_node_96 | 0.4 | n |  | TRUE
104 | bus_LV_4001-12_0_8_node_97 | 0.4 | n |  | TRUE
105 | bus_LV_4001-12_0_8_node_98 | 0.4 | n |  | TRUE
106 | bus_LV_4001-12_0_8_node_80 | 0.4 | n |  | TRUE
107 | bus_LV_4001-12_0_8_node_81 | 0.4 | n |  | TRUE
108 | bus_LV_4001-12_0_8_node_83 | 0.4 | n |  | TRUE
109 | bus_LV_4001-12_0_8_node_92 | 0.4 | n |  | TRUE
110 | bus_MV_301_1_node_146 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4001-12_0_8_load_0 | 0 | 0.041856 | 0.01049 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4001-12_0_8_load_119 | 6 | 0.0084339 | 0.0021137 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4001-12_0_8_load_35 | 9 | 0.011346 | 0.0028436 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4001-12_0_8_load_99 | 12 | 0.0041468 | 0.0010393 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4001-12_0_8_load_85 | 13 | 0.0042837 | 0.0010736 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4001-12_0_8_load_39 | 14 | 0.017757 | 0.0044502 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4001-12_0_8_load_47 | 16 | 0.0013864 | 0.00034747 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4001-12_0_8_load_48 | 17 | 0.0024867 | 0.00062323 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4001-12_0_8_load_45 | 18 | 0.0030426 | 0.00076254 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4001-12_0_8_load_104 | 20 | 0.0044385 | 0.0011124 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4001-12_0_8_load_18 | 23 | 0.089187 | 0.022352 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4001-12_0_8_load_14 | 24 | 0.010806 | 0.0027081 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4001-12_0_8_load_40 | 25 | 0.018932 | 0.0047448 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4001-12_0_8_load_102 | 29 | 0.0026105 | 0.00065426 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4001-12_0_8_load_112 | 31 | 0.0060177 | 0.0015082 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4001-12_0_8_load_109 | 32 | 0.0052917 | 0.0013262 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4001-12_0_8_load_113 | 34 | 0.0040371 | 0.0010118 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4001-12_0_8_load_114 | 35 | 0.0049475 | 0.00124 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4001-12_0_8_load_117 | 36 | 0.010282 | 0.002577 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4001-12_0_8_load_118 | 37 | 0.011033 | 0.0027651 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4001-12_0_8_load_50 | 38 | 0.0089254 | 0.0022369 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4001-12_0_8_load_49 | 39 | 0.003408 | 0.00085413 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4001-12_0_8_load_65 | 41 | 0.0018876 | 0.00047308 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4001-12_0_8_load_79 | 42 | 0.0012149 | 0.00030449 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4001-12_0_8_load_103 | 43 | 0.0044284 | 0.0011099 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4001-12_0_8_load_16 | 44 | 0.075859 | 0.019012 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4001-12_0_8_load_101 | 45 | 0.038175 | 0.0095677 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4001-12_0_8_load_19 | 46 | 0.0031466 | 0.00078861 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4001-12_0_8_load_84 | 53 | 0.0066489 | 0.0016664 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4001-12_0_8_load_41 | 56 | 0.0030833 | 0.00077274 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4001-12_0_8_load_95 | 58 | 0.0024061 | 0.00060303 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4001-12_0_8_load_100 | 59 | 0.0018839 | 0.00047215 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4001-12_0_8_load_62 | 60 | 0.0019179 | 0.00048067 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4001-12_0_8_load_82 | 61 | 0.0052884 | 0.0013254 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4001-12_0_8_load_120 | 62 | 0.0053923 | 0.0013514 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4001-12_0_8_load_42 | 64 | 0.0036138 | 0.00090571 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4001-12_0_8_load_94 | 66 | 0.00292 | 0.00073182 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4001-12_0_8_load_31 | 67 | 0.028666 | 0.0071844 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4001-12_0_8_load_115 | 69 | 0.0054411 | 0.0013637 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4001-12_0_8_load_105 | 71 | 0.0028735 | 0.00072016 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4001-12_0_8_load_108 | 72 | 0.0041342 | 0.0010361 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4001-12_0_8_load_107 | 73 | 0.0059839 | 0.0014997 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4001-12_0_8_load_51 | 75 | 0.0008121 | 0.00020353 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4001-12_0_8_load_52 | 76 | 0.0015574 | 0.00039032 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4001-12_0_8_load_54 | 78 | 0.0018665 | 0.00046779 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4001-12_0_8_load_56 | 79 | 0.001585 | 0.00039724 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4001-12_0_8_load_67 | 80 | 0.0026422 | 0.0006622 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4001-12_0_8_load_93 | 82 | 0.0036441 | 0.00091329 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4001-12_0_8_load_91 | 83 | 0.0022022 | 0.00055192 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4001-12_0_8_load_57 | 84 | 0.0013485 | 0.00033797 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4001-12_0_8_load_58 | 85 | 0.00094114 | 0.00023587 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4001-12_0_8_load_59 | 86 | 0.00097337 | 0.00024395 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4001-12_0_8_load_61 | 88 | 0.00099555 | 0.00024951 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4001-12_0_8_load_88 | 89 | 0.0022321 | 0.00055941 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4001-12_0_8_load_69 | 90 | 0.0012812 | 0.00032109 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4001-12_0_8_load_75 | 91 | 0.0022326 | 0.00055955 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4001-12_0_8_load_89 | 92 | 0.0024864 | 0.00062315 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4001-12_0_8_load_68 | 93 | 0.0014863 | 0.00037249 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4001-12_0_8_load_71 | 94 | 0.0011194 | 0.00028056 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4001-12_0_8_load_70 | 95 | 0.00082439 | 0.00020661 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4001-12_0_8_load_73 | 96 | 0.0026712 | 0.00066946 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4001-12_0_8_load_74 | 97 | 0.0057854 | 0.00145 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4001-12_0_8_load_86 | 98 | 0.0023159 | 0.00058042 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4001-12_0_8_load_90 | 99 | 0.0023115 | 0.00057933 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4001-12_0_8_load_87 | 100 | 0.0054147 | 0.0013571 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4001-12_0_8_load_76 | 101 | 0.0028901 | 0.00072434 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4001-12_0_8_load_78 | 102 | 0.0091173 | 0.002285 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4001-12_0_8_load_97 | 104 | 0.0073493 | 0.0018419 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4001-12_0_8_load_98 | 105 | 0.0025824 | 0.00064721 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4001-12_0_8_load_80 | 106 | 0.0037766 | 0.0009465 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4001-12_0_8_load_81 | 107 | 0.0023003 | 0.00057651 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4001-12_0_8_load_83 | 108 | 0.003463 | 0.00086791 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4001-12_0_8_load_92 | 109 | 0.0022479 | 0.00056337 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 1 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4001-12_0_8_line_0 |  | 0 | 1 | 0.026337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4001-12_0_8_line_1 |  | 1 | 2 | 0.050262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_4001-12_0_8_line_2 |  | 1 | 3 | 0.12321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_4001-12_0_8_line_3 |  | 1 | 4 | 0.26648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4001-12_0_8_line_4 |  | 2 | 5 | 0.062982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_4001-12_0_8_line_5 |  | 2 | 6 | 0.030249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_4001-12_0_8_line_6 |  | 3 | 13 | 0.045843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_4001-12_0_8_line_7 |  | 4 | 14 | 0.033381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4001-12_0_8_line_8 |  | 5 | 23 | 0.065207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4001-12_0_8_line_9 |  | 5 | 24 | 0.013116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_4001-12_0_8_line_10 |  | 6 | 21 | 0.036919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_4001-12_0_8_line_11 |  | 7 | 8 | 0.11342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4001-12_0_8_line_12 |  | 7 | 9 | 0.040638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4001-12_0_8_line_13 |  | 8 | 19 | 0.04677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4001-12_0_8_line_14 |  | 8 | 20 | 0.024152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4001-12_0_8_line_15 |  | 10 | 11 | 0.017591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_4001-12_0_8_line_16 |  | 10 | 12 | 0.031017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_4001-12_0_8_line_17 |  | 11 | 38 | 0.023399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_4001-12_0_8_line_18 |  | 12 | 13 | 0.0093958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_4001-12_0_8_line_19 |  | 15 | 16 | 0.013338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4001-12_0_8_line_20 |  | 15 | 17 | 0.021563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_4001-12_0_8_line_21 |  | 15 | 18 | 0.041343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_4001-12_0_8_line_22 |  | 16 | 41 | 0.018207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4001-12_0_8_line_23 |  | 17 | 42 | 0.011656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_4001-12_0_8_line_24 |  | 18 | 40 | 0.011151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_4001-12_0_8_line_25 |  | 19 | 25 | 0.037239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4001-12_0_8_line_26 |  | 20 | 43 | 0.037257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4001-12_0_8_line_27 |  | 21 | 22 | 0.15668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4001-12_0_8_line_28 |  | 22 | 31 | 0.019306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4001-12_0_8_line_29 |  | 22 | 32 | 0.047397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4001-12_0_8_line_30 |  | 24 | 30 | 0.030328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_4001-12_0_8_line_31 |  | 26 | 27 | 0.042089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4001-12_0_8_line_32 |  | 26 | 28 | 0.044709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4001-12_0_8_line_33 |  | 27 | 71 | 0.026726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4001-12_0_8_line_34 |  | 28 | 29 | 0.041152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4001-12_0_8_line_35 |  | 28 | 30 | 0.037928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4001-12_0_8_line_36 |  | 29 | 43 | 0.026756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4001-12_0_8_line_37 |  | 30 | 44 | 0.03641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4001-12_0_8_line_38 |  | 32 | 33 | 0.041667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4001-12_0_8_line_39 |  | 33 | 34 | 0.010001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4001-12_0_8_line_40 |  | 33 | 35 | 0.026761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4001-12_0_8_line_41 |  | 34 | 69 | 0.027834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4001-12_0_8_line_42 |  | 36 | 37 | 0.035034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4001-12_0_8_line_43 |  | 37 | 49 | 0.020767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4001-12_0_8_line_44 |  | 38 | 40 | 0.031067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_4001-12_0_8_line_45 |  | 39 | 40 | 0.020746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4001-12_0_8_line_46 |  | 42 | 74 | 0.025166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_4001-12_0_8_line_47 |  | 44 | 45 | 0.02168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4001-12_0_8_line_48 |  | 46 | 47 | 0.021608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4001-12_0_8_line_49 |  | 46 | 48 | 0.051684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4001-12_0_8_line_50 |  | 47 | 49 | 0.063641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4001-12_0_8_line_51 |  | 47 | 50 | 0.027355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4001-12_0_8_line_52 |  | 48 | 51 | 0.030168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4001-12_0_8_line_53 |  | 49 | 52 | 0.014181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4001-12_0_8_line_54 |  | 50 | 53 | 0.021634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4001-12_0_8_line_55 |  | 51 | 59 | 0.052181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4001-12_0_8_line_56 |  | 52 | 57 | 0.014549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4001-12_0_8_line_57 |  | 52 | 58 | 0.020713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4001-12_0_8_line_58 |  | 53 | 61 | 0.002783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4001-12_0_8_line_59 |  | 54 | 55 | 0.00881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4001-12_0_8_line_60 |  | 54 | 56 | 0.061803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4001-12_0_8_line_61 |  | 55 | 62 | 0.045737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4001-12_0_8_line_62 |  | 55 | 63 | 0.070613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4001-12_0_8_line_63 |  | 57 | 60 | 0.016341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4001-12_0_8_line_64 |  | 58 | 66 | 0.006856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4001-12_0_8_line_65 |  | 61 | 106 | 0.022887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4001-12_0_8_line_66 |  | 63 | 68 | 0.029177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4001-12_0_8_line_67 |  | 63 | 67 | 0.027499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4001-12_0_8_line_68 |  | 64 | 65 | 0.021349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4001-12_0_8_line_69 |  | 65 | 70 | 0.025726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4001-12_0_8_line_70 |  | 65 | 68 | 0.003617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4001-12_0_8_line_71 |  | 66 | 100 | 0.023805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4001-12_0_8_line_72 |  | 68 | 69 | 0.020221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4001-12_0_8_line_73 |  | 70 | 72 | 0.015288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4001-12_0_8_line_74 |  | 70 | 73 | 0.017138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4001-12_0_8_line_75 |  | 74 | 91 | 0.011962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4001-12_0_8_line_76 |  | 74 | 87 | 0.003497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
77 | LV_4001-12_0_8_line_77 |  | 75 | 76 | 0.010418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4001-12_0_8_line_78 |  | 75 | 77 | 0.017622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4001-12_0_8_line_79 |  | 76 | 78 | 0.00071787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4001-12_0_8_line_80 |  | 77 | 79 | 0.028089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4001-12_0_8_line_81 |  | 78 | 80 | 0.02627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4001-12_0_8_line_82 |  | 80 | 81 | 0.015283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4001-12_0_8_line_83 |  | 81 | 96 | 0.0079708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
84 | LV_4001-12_0_8_line_84 |  | 81 | 97 | 0.015579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
85 | LV_4001-12_0_8_line_85 |  | 82 | 83 | 0.0037969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4001-12_0_8_line_86 |  | 83 | 109 | 0.025936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4001-12_0_8_line_87 |  | 84 | 85 | 0.00020873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4001-12_0_8_line_88 |  | 84 | 86 | 0.022887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4001-12_0_8_line_89 |  | 85 | 87 | 0.016459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4001-12_0_8_line_90 |  | 86 | 88 | 0.00014855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4001-12_0_8_line_91 |  | 87 | 89 | 0.01003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
92 | LV_4001-12_0_8_line_92 |  | 88 | 90 | 3.9854e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4001-12_0_8_line_93 |  | 89 | 92 | 0.018194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
94 | LV_4001-12_0_8_line_94 |  | 90 | 93 | 0.016853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4001-12_0_8_line_95 |  | 91 | 101 | 0.018256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_4001-12_0_8_line_96 |  | 92 | 99 | 0.017194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
97 | LV_4001-12_0_8_line_97 |  | 93 | 95 | 0.015901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_4001-12_0_8_line_98 |  | 94 | 95 | 0.0054285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_4001-12_0_8_line_99 |  | 96 | 98 | 0.019657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
100 | LV_4001-12_0_8_line_100 |  | 97 | 99 | 0.00065816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
101 | LV_4001-12_0_8_line_101 |  | 98 | 100 | 0.006409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_4001-12_0_8_line_102 |  | 101 | 102 | 0.011714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_4001-12_0_8_line_103 |  | 102 | 103 | 0.0049617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_4001-12_0_8_line_104 |  | 103 | 104 | 0.025091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_4001-12_0_8_line_105 |  | 103 | 105 | 0.014473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_4001-12_0_8_line_106 |  | 106 | 107 | 0.0016679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_4001-12_0_8_line_107 |  | 107 | 108 | 0.018412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_4001-12_0_8_line_108 |  | 108 | 109 | 0.0025181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4001-12_0_8_trafo_1 | 0.63 MVA 20/0.4 kV | 110 | 1 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2646566.1356 | 1249741.8651 | 2646591.8764 | 1249747.4384
1 | 2646610.084 | 1249717.605 | 2646597.2643 | 1249725.3317 | 2646579.3591 | 1249733.6523 | 2646571.1431 | 1249737.7572 | 2646566.1356 | 1249741.8651
2 | 2646468.0396 | 1249728.876 | 2646483.3287 | 1249742.2159 | 2646492.5031 | 1249731.4138 | 2646494.7757 | 1249729.4637 | 2646498.4868 | 1249726.046 | 2646502.039 | 1249731.3219 | 2646507.2741 | 1249736.6887 | 2646513.1867 | 1249734.6115 | 2646524.3504 | 1249739.6913 | 2646545.4681 | 1249749.1301 | 2646554.4129 | 1249749.3226 | 2646554.9582 | 1249751.028 | 2646566.1356 | 1249741.8651
3 | 2646566.1356 | 1249741.8651 | 2646554.9582 | 1249751.028 | 2646550.2096 | 1249760.6306 | 2646547.226 | 1249769.4687 | 2646537.137 | 1249763.0963 | 2646532.3299 | 1249769.5741 | 2646531.3411 | 1249772.4238 | 2646534.6528 | 1249774.6847 | 2646532.4311 | 1249781.6831 | 2646553.0869 | 1249870.1049 | 2646561.8864 | 1249895.4911 | 2646602.9257 | 1249862.758 | 2646609.4223 | 1249863.2093 | 2646629.2856 | 1249869.8477
4 | 2646610.084 | 1249717.605 | 2646616.8242 | 1249713.9666 | 2646621.1464 | 1249712.5218 | 2646628.9129 | 1249709.9145 | 2646643.5686 | 1249703.9256 | 2646670.0946 | 1249700.5431
5 | 2646610.084 | 1249717.605 | 2646604.7968 | 1249709.2689 | 2646594.6379 | 1249698.3262 | 2646591.3652 | 1249693.9729
6 | 2646468.0396 | 1249728.876 | 2646452.443 | 1249715.2557 | 2646444.8817 | 1249705.1897 | 2646444.3161 | 1249698.3585 | 2646442.7525 | 1249692.8851
7 | 2646629.2856 | 1249869.8477 | 2646635.863 | 1249864.8071 | 2646638.0299 | 1249858.0751 | 2646638.084 | 1249851.1931 | 2646636.1504 | 1249845.5519 | 2646632.9185 | 1249844.6815 | 2646632.7214 | 1249842.8632
8 | 2646670.0946 | 1249700.5431 | 2646664.4566 | 1249727.1945 | 2646662.1412 | 1249738.4061 | 2646657.4739 | 1249764.5093
9 | 2646670.0946 | 1249700.5431 | 2646673.399 | 1249700.8471 | 2646683.178 | 1249700.2412
10 | 2646571.7847 | 1249662.8116 | 2646580.823 | 1249679.9497 | 2646591.3652 | 1249693.9729
11 | 2646621.6838 | 1249802.5869 | 2646622.9507 | 1249797.9715 | 2646665.6359 | 1249806.5908 | 2646728.7455 | 1249822.4984
12 | 2646621.6838 | 1249802.5869 | 2646619.5797 | 1249810.9427 | 2646619.6623 | 1249814.8349 | 2646623.0514 | 1249818.7642 | 2646628.2564 | 1249820.2505 | 2646645.7795 | 1249820.5928
13 | 2646728.7455 | 1249822.4984 | 2646729.6398 | 1249836.4259 | 2646731.7407 | 1249856.2559 | 2646732.034 | 1249862.1511 | 2646725.0647 | 1249862.2963
14 | 2646728.7455 | 1249822.4984 | 2646727.985 | 1249812.6635 | 2646730.7829 | 1249798.6522
15 | 2646413.074 | 1249648.4136 | 2646429.4818 | 1249654.8797
16 | 2646429.4818 | 1249654.8797 | 2646431.3664 | 1249662.9554 | 2646438.7388 | 1249678.835 | 2646440.1717 | 1249683.8507
17 | 2646413.074 | 1249648.4136 | 2646411.8004 | 1249651.9727 | 2646405.2508 | 1249670.4655
18 | 2646442.7525 | 1249692.8851 | 2646440.1717 | 1249683.8507
19 | 2646368.1402 | 1249744.6494 | 2646360.3887 | 1249755.5037
20 | 2646368.1402 | 1249744.6494 | 2646350.3546 | 1249732.4582
21 | 2646368.1402 | 1249744.6494 | 2646376.7114 | 1249734.6985 | 2646389.4668 | 1249709.5375
22 | 2646349.8078 | 1249770.32 | 2646360.3887 | 1249755.5037
23 | 2646340.7399 | 1249725.8679 | 2646350.3546 | 1249732.4582
24 | 2646394.5088 | 1249699.5918 | 2646389.4668 | 1249709.5375
25 | 2646725.0647 | 1249862.2963 | 2646713.7606 | 1249862.6186 | 2646687.8403 | 1249863.3557
26 | 2646738.0785 | 1249762.117 | 2646730.7829 | 1249798.6522
27 | 2646520.858 | 1249594.0434 | 2646520.5346 | 1249600.6119 | 2646524.4837 | 1249603.4337 | 2646533.3156 | 1249604.5593 | 2646558.5387 | 1249612.3514 | 2646517.7206 | 1249626.3295 | 2646536.2249 | 1249637.8935 | 2646547.7966 | 1249641.042 | 2646561.4878 | 1249649.2439 | 2646571.7847 | 1249662.8116
28 | 2646520.858 | 1249594.0434 | 2646521.8097 | 1249574.7607
29 | 2646520.858 | 1249594.0434 | 2646473.9725 | 1249587.0961
30 | 2646713.4534 | 1249698.4941 | 2646710.3349 | 1249698.5585 | 2646683.178 | 1249700.2412
31 | 2646774.1792 | 1249633.9179 | 2646775.6143 | 1249648.1833 | 2646776.966 | 1249675.9016
32 | 2646751.3762 | 1249695.5242 | 2646778.3445 | 1249693.5132 | 2646777.7618 | 1249686.0369 | 2646776.966 | 1249675.9016
33 | 2646774.1792 | 1249633.9179 | 2646747.6331 | 1249637.0127
34 | 2646751.3762 | 1249695.5242 | 2646743.3178 | 1249735.8795
35 | 2646751.3762 | 1249695.5242 | 2646724.8748 | 1249697.6946 | 2646724.1873 | 1249697.7559 | 2646713.4534 | 1249698.4941
36 | 2646743.3178 | 1249735.8795 | 2646738.0785 | 1249762.117
37 | 2646713.4534 | 1249698.4941 | 2646709.0069 | 1249720.5073 | 2646709.5151 | 1249730.7404 | 2646708.8409 | 1249734.385
38 | 2646432.7558 | 1249580.9887 | 2646473.9725 | 1249587.0961
39 | 2646432.7558 | 1249580.9887 | 2646432.5029 | 1249576.6505 | 2646432.2944 | 1249570.9989
40 | 2646432.7558 | 1249580.9887 | 2646406.3963 | 1249576.37
41 | 2646432.2944 | 1249570.9989 | 2646431.2681 | 1249543.1842
42 | 2646347.7795 | 1249613.0656 | 2646315.5971 | 1249599.2201
43 | 2646296.868 | 1249592.4121 | 2646297.6151 | 1249591.484 | 2646315.5971 | 1249599.2201
44 | 2646394.5088 | 1249699.5918 | 2646395.9197 | 1249696.812 | 2646405.2508 | 1249670.4655
45 | 2646394.5088 | 1249699.5918 | 2646413.7828 | 1249707.2678
46 | 2646319.9825 | 1249711.6397 | 2646340.7399 | 1249725.8679
47 | 2646708.8409 | 1249734.385 | 2646706.6132 | 1249746.4282 | 2646704.8986 | 1249755.7031
48 | 2646252.9872 | 1249585.8098 | 2646249.8748 | 1249587.0086 | 2646234.0232 | 1249586.6292 | 2646231.6158 | 1249586.417
49 | 2646181.4702 | 1249576.7799 | 2646191.2299 | 1249581.9149 | 2646205.2404 | 1249584.0921 | 2646231.6158 | 1249586.417
50 | 2646252.9872 | 1249585.8098 | 2646253.2117 | 1249592.8385 | 2646263.7233 | 1249589.6406 | 2646264.8172 | 1249592.6511 | 2646266.5642 | 1249595.1665 | 2646269.4899 | 1249597.5687 | 2646273.0197 | 1249598.9861 | 2646276.4676 | 1249599.2798 | 2646279.8627 | 1249598.617 | 2646281.5823 | 1249597.8743 | 2646283.2515 | 1249596.8089 | 2646285.7398 | 1249594.3155 | 2646287.425 | 1249591.2154 | 2646290.8492 | 1249594.5444 | 2646294.1006 | 1249596.8157 | 2646296.868 | 1249592.4121
51 | 2646232.9294 | 1249593.2919 | 2646242.2957 | 1249593.6762 | 2646253.2117 | 1249592.8385 | 2646252.9872 | 1249585.8098
52 | 2646155.2396 | 1249591.6413 | 2646165.4708 | 1249585.6725 | 2646174.3613 | 1249580.2713 | 2646181.4702 | 1249576.7799
53 | 2646296.868 | 1249592.4121 | 2646294.1006 | 1249596.8157 | 2646302.163 | 1249600.7702
54 | 2646232.9294 | 1249593.2919 | 2646223.0998 | 1249612.5637
55 | 2646155.2396 | 1249591.6413 | 2646118.0647 | 1249614.9012 | 2646112.8546 | 1249621.3992
56 | 2646315.3185 | 1249607.0661 | 2646302.163 | 1249600.7702
57 | 2646302.163 | 1249600.7702 | 2646299.8864 | 1249605.1665 | 2646292.9593 | 1249619.3245
58 | 2646223.0998 | 1249612.5637 | 2646221.8353 | 1249615.0429
59 | 2646323.273 | 1249509.8515 | 2646330.825 | 1249514.4246
60 | 2646323.273 | 1249509.8515 | 2646323.0289 | 1249539.1582 | 2646317.6441 | 1249548.0777 | 2646304.5954 | 1249547.4421 | 2646295.6734 | 1249546.1702
61 | 2646347.8938 | 1249545.5123 | 2646330.432 | 1249542.4849 | 2646330.825 | 1249514.4246
62 | 2646401.3016 | 1249521.4024 | 2646330.825 | 1249514.4246
63 | 2646315.3185 | 1249607.0661 | 2646330.2554 | 1249613.693
64 | 2646289.9462 | 1249625.4829 | 2646292.9593 | 1249619.3245
65 | 2646211.4366 | 1249635.4306 | 2646221.8353 | 1249615.0429
66 | 2646430.5224 | 1249522.9766 | 2646401.3016 | 1249521.4024
67 | 2646401.3016 | 1249521.4024 | 2646396.8848 | 1249548.5448
68 | 2646430.3922 | 1249519.362 | 2646429.6842 | 1249498.0248
69 | 2646456.1747 | 1249520.3756 | 2646430.3922 | 1249519.362
70 | 2646430.3922 | 1249519.362 | 2646430.5224 | 1249522.9766
71 | 2646289.9462 | 1249625.4829 | 2646279.4843 | 1249646.8655
72 | 2646430.5224 | 1249522.9766 | 2646431.2681 | 1249543.1842
73 | 2646456.1747 | 1249520.3756 | 2646471.4506 | 1249520.9886
74 | 2646456.1747 | 1249520.3756 | 2646455.8193 | 1249503.2418
75 | 2646319.9825 | 1249711.6397 | 2646325.3131 | 1249700.9309
76 | 2646319.9825 | 1249711.6397 | 2646317.0913 | 1249709.6603
77 | 2646240.2124 | 1249724.1841 | 2646245.0198 | 1249714.9413
78 | 2646232.0811 | 1249739.8175 | 2646240.2124 | 1249724.1841
79 | 2646245.0198 | 1249714.9413 | 2646245.351 | 1249714.3044
80 | 2646232.0811 | 1249739.8175 | 2646251.1688 | 1249760.4243
81 | 2646257.4732 | 1249690.998 | 2646245.351 | 1249714.3044
82 | 2646264.5254 | 1249677.4394 | 2646257.4732 | 1249690.998
83 | 2646264.5254 | 1249677.4394 | 2646268.0285 | 1249670.2796
84 | 2646264.5254 | 1249677.4394 | 2646277.8078 | 1249685.581
85 | 2646189.3851 | 1249678.6648 | 2646187.6599 | 1249682.0471
86 | 2646189.3851 | 1249678.6648 | 2646201.1692 | 1249655.5609
87 | 2646307.9258 | 1249723.582 | 2646308.0406 | 1249723.4077
88 | 2646307.9258 | 1249723.582 | 2646295.3409 | 1249742.6978
89 | 2646317.0913 | 1249709.6603 | 2646308.0406 | 1249723.4077
90 | 2646295.2592 | 1249742.8219 | 2646295.3409 | 1249742.6978
91 | 2646317.0913 | 1249709.6603 | 2646308.5403 | 1249704.4188
92 | 2646295.2373 | 1249742.8552 | 2646295.2592 | 1249742.8219
93 | 2646308.5403 | 1249704.4188 | 2646293.0285 | 1249694.9107
94 | 2646296.0476 | 1249755.4602 | 2646290.1823 | 1249750.5334 | 2646295.2373 | 1249742.8552
95 | 2646325.3131 | 1249700.9309 | 2646329.0792 | 1249693.3651 | 2646332.4638 | 1249690.1672 | 2646336.4556 | 1249689.4534 | 2646336.9362 | 1249688.4713
96 | 2646278.3689 | 1249685.925 | 2646293.0285 | 1249694.9107
97 | 2646296.0476 | 1249755.4602 | 2646296.0476 | 1249755.4602 | 2646287.5642 | 1249768.9097
98 | 2646284.6681 | 1249773.5011 | 2646287.5642 | 1249768.9097
99 | 2646268.0285 | 1249670.2796 | 2646276.6677 | 1249652.6224
100 | 2646277.8078 | 1249685.581 | 2646278.3689 | 1249685.925
101 | 2646276.6677 | 1249652.6224 | 2646279.4843 | 1249646.8655
102 | 2646342.0851 | 1249677.9493 | 2646336.9362 | 1249688.4713
103 | 2646344.266 | 1249673.4925 | 2646342.0851 | 1249677.9493
104 | 2646344.266 | 1249673.4925 | 2646355.2926 | 1249650.9546
105 | 2646344.266 | 1249673.4925 | 2646358.6025 | 1249675.4726
106 | 2646211.4366 | 1249635.4306 | 2646210.6788 | 1249636.9163
107 | 2646210.6788 | 1249636.9163 | 2646202.3133 | 1249653.3177
108 | 2646201.1692 | 1249655.5609 | 2646202.3133 | 1249653.3177

## bus_geodata
| x | y | coords
0 | 2646591.8764 | 1249747.4384
1 | 2646566.1356 | 1249741.8651
2 | 2646610.084 | 1249717.605
3 | 2646468.0396 | 1249728.876
4 | 2646629.2856 | 1249869.8477
5 | 2646670.0946 | 1249700.5431
6 | 2646591.3652 | 1249693.9729
7 | 2646621.6838 | 1249802.5869
8 | 2646728.7455 | 1249822.4984
9 | 2646645.7795 | 1249820.5928
10 | 2646429.4818 | 1249654.8797
11 | 2646413.074 | 1249648.4136
12 | 2646440.1717 | 1249683.8507
13 | 2646442.7525 | 1249692.8851
14 | 2646632.7214 | 1249842.8632
15 | 2646368.1402 | 1249744.6494
16 | 2646360.3887 | 1249755.5037
17 | 2646350.3546 | 1249732.4582
18 | 2646389.4668 | 1249709.5375
19 | 2646725.0647 | 1249862.2963
20 | 2646730.7829 | 1249798.6522
21 | 2646571.7847 | 1249662.8116
22 | 2646520.858 | 1249594.0434
23 | 2646657.4739 | 1249764.5093
24 | 2646683.178 | 1249700.2412
25 | 2646687.8403 | 1249863.3557
26 | 2646776.966 | 1249675.9016
27 | 2646774.1792 | 1249633.9179
28 | 2646751.3762 | 1249695.5242
29 | 2646743.3178 | 1249735.8795
30 | 2646713.4534 | 1249698.4941
31 | 2646521.8097 | 1249574.7607
32 | 2646473.9725 | 1249587.0961
33 | 2646432.7558 | 1249580.9887
34 | 2646432.2944 | 1249570.9989
35 | 2646406.3963 | 1249576.37
36 | 2646347.7795 | 1249613.0656
37 | 2646315.5971 | 1249599.2201
38 | 2646405.2508 | 1249670.4655
39 | 2646413.7828 | 1249707.2678
40 | 2646394.5088 | 1249699.5918
41 | 2646349.8078 | 1249770.32
42 | 2646340.7399 | 1249725.8679
43 | 2646738.0785 | 1249762.117
44 | 2646708.8409 | 1249734.385
45 | 2646704.8986 | 1249755.7031
46 | 2646231.6158 | 1249586.417
47 | 2646252.9872 | 1249585.8098
48 | 2646181.4702 | 1249576.7799
49 | 2646296.868 | 1249592.4121
50 | 2646232.9294 | 1249593.2919
51 | 2646155.2396 | 1249591.6413
52 | 2646302.163 | 1249600.7702
53 | 2646223.0998 | 1249612.5637
54 | 2646323.273 | 1249509.8515
55 | 2646330.825 | 1249514.4246
56 | 2646295.6734 | 1249546.1702
57 | 2646315.3185 | 1249607.0661
58 | 2646292.9593 | 1249619.3245
59 | 2646112.8546 | 1249621.3992
60 | 2646330.2554 | 1249613.693
61 | 2646221.8353 | 1249615.0429
62 | 2646347.8938 | 1249545.5123
63 | 2646401.3016 | 1249521.4024
64 | 2646429.6842 | 1249498.0248
65 | 2646430.3922 | 1249519.362
66 | 2646289.9462 | 1249625.4829
67 | 2646396.8848 | 1249548.5448
68 | 2646430.5224 | 1249522.9766
69 | 2646431.2681 | 1249543.1842
70 | 2646456.1747 | 1249520.3756
71 | 2646747.6331 | 1249637.0127
72 | 2646471.4506 | 1249520.9886
73 | 2646455.8193 | 1249503.2418
74 | 2646319.9825 | 1249711.6397
75 | 2646240.2124 | 1249724.1841
76 | 2646245.0198 | 1249714.9413
77 | 2646232.0811 | 1249739.8175
78 | 2646245.351 | 1249714.3044
79 | 2646251.1688 | 1249760.4243
80 | 2646257.4732 | 1249690.998
81 | 2646264.5254 | 1249677.4394
82 | 2646187.6599 | 1249682.0471
83 | 2646189.3851 | 1249678.6648
84 | 2646307.9258 | 1249723.582
85 | 2646308.0406 | 1249723.4077
86 | 2646295.3409 | 1249742.6978
87 | 2646317.0913 | 1249709.6603
88 | 2646295.2592 | 1249742.8219
89 | 2646308.5403 | 1249704.4188
90 | 2646295.2373 | 1249742.8552
91 | 2646325.3131 | 1249700.9309
92 | 2646293.0285 | 1249694.9107
93 | 2646296.0476 | 1249755.4602
94 | 2646284.6681 | 1249773.5011
95 | 2646287.5642 | 1249768.9097
96 | 2646268.0285 | 1249670.2796
97 | 2646277.8078 | 1249685.581
98 | 2646276.6677 | 1249652.6224
99 | 2646278.3689 | 1249685.925
100 | 2646279.4843 | 1249646.8655
101 | 2646336.9362 | 1249688.4713
102 | 2646342.0851 | 1249677.9493
103 | 2646344.266 | 1249673.4925
104 | 2646355.2926 | 1249650.9546
105 | 2646358.6025 | 1249675.4726
106 | 2646211.4366 | 1249635.4306
107 | 2646210.6788 | 1249636.9163
108 | 2646202.3133 | 1249653.3177
109 | 2646201.1692 | 1249655.5609
110 | 2646554.9582 | 1249751.028

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1