## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4001-21_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4001-21_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4001-21_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4001-21_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4001-21_0_5_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_4001-21_0_5_node_10 | 0.4 | n |  | TRUE
6 | bus_LV_4001-21_0_5_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_4001-21_0_5_node_39 | 0.4 | n |  | TRUE
8 | bus_LV_4001-21_0_5_node_32 | 0.4 | n |  | TRUE
9 | bus_LV_4001-21_0_5_node_60 | 0.4 | n |  | TRUE
10 | bus_LV_4001-21_0_5_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_4001-21_0_5_node_17 | 0.4 | n |  | TRUE
12 | bus_LV_4001-21_0_5_node_14 | 0.4 | n |  | TRUE
13 | bus_LV_4001-21_0_5_node_47 | 0.4 | n |  | TRUE
14 | bus_LV_4001-21_0_5_node_59 | 0.4 | n |  | TRUE
15 | bus_LV_4001-21_0_5_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_4001-21_0_5_node_51 | 0.4 | n |  | TRUE
17 | bus_LV_4001-21_0_5_node_46 | 0.4 | n |  | TRUE
18 | bus_LV_4001-21_0_5_node_6 | 0.4 | n |  | TRUE
19 | bus_LV_4001-21_0_5_node_7 | 0.4 | n |  | TRUE
20 | bus_LV_4001-21_0_5_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_4001-21_0_5_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_4001-21_0_5_node_38 | 0.4 | n |  | TRUE
23 | bus_LV_4001-21_0_5_node_40 | 0.4 | n |  | TRUE
24 | bus_LV_4001-21_0_5_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_4001-21_0_5_node_30 | 0.4 | n |  | TRUE
26 | bus_LV_4001-21_0_5_node_57 | 0.4 | n |  | TRUE
27 | bus_LV_4001-21_0_5_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_4001-21_0_5_node_31 | 0.4 | n |  | TRUE
29 | bus_LV_4001-21_0_5_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_4001-21_0_5_node_27 | 0.4 | n |  | TRUE
31 | bus_LV_4001-21_0_5_node_58 | 0.4 | n |  | TRUE
32 | bus_LV_4001-21_0_5_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_4001-21_0_5_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_4001-21_0_5_node_29 | 0.4 | n |  | TRUE
35 | bus_LV_4001-21_0_5_node_49 | 0.4 | n |  | TRUE
36 | bus_LV_4001-21_0_5_node_50 | 0.4 | n |  | TRUE
37 | bus_LV_4001-21_0_5_node_37 | 0.4 | n |  | TRUE
38 | bus_LV_4001-21_0_5_node_16 | 0.4 | n |  | TRUE
39 | bus_LV_4001-21_0_5_node_15 | 0.4 | n |  | TRUE
40 | bus_LV_4001-21_0_5_node_11 | 0.4 | n |  | TRUE
41 | bus_LV_4001-21_0_5_node_61 | 0.4 | n |  | TRUE
42 | bus_LV_4001-21_0_5_node_34 | 0.4 | n |  | TRUE
43 | bus_LV_4001-21_0_5_node_56 | 0.4 | n |  | TRUE
44 | bus_LV_4001-21_0_5_node_35 | 0.4 | n |  | TRUE
45 | bus_LV_4001-21_0_5_node_55 | 0.4 | n |  | TRUE
46 | bus_LV_4001-21_0_5_node_48 | 0.4 | n |  | TRUE
47 | bus_LV_4001-21_0_5_node_52 | 0.4 | n |  | TRUE
48 | bus_LV_4001-21_0_5_node_33 | 0.4 | n |  | TRUE
49 | bus_LV_4001-21_0_5_node_36 | 0.4 | n |  | TRUE
50 | bus_LV_4001-21_0_5_node_54 | 0.4 | n |  | TRUE
51 | bus_LV_4001-21_0_5_node_45 | 0.4 | n |  | TRUE
52 | bus_LV_4001-21_0_5_node_41 | 0.4 | n |  | TRUE
53 | bus_LV_4001-21_0_5_node_42 | 0.4 | n |  | TRUE
54 | bus_LV_4001-21_0_5_node_43 | 0.4 | n |  | TRUE
55 | bus_LV_4001-21_0_5_node_44 | 0.4 | n |  | TRUE
56 | bus_LV_4001-21_0_5_node_53 | 0.4 | n |  | TRUE
57 | bus_MV_522_0_node_32 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4001-21_0_5_load_0 | 0 | 0.064292 | 0.016113 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4001-21_0_5_load_1 | 1 | 0.015787 | 0.0039567 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4001-21_0_5_load_3 | 3 | 0.016211 | 0.0040629 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4001-21_0_5_load_4 | 6 | 0.0056698 | 0.001421 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4001-21_0_5_load_39 | 7 | 0.0070245 | 0.0017605 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4001-21_0_5_load_32 | 8 | 0.008076 | 0.002024 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4001-21_0_5_load_60 | 9 | 0.013163 | 0.0032989 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4001-21_0_5_load_59 | 14 | 0.013753 | 0.0034467 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4001-21_0_5_load_51 | 16 | 0.0084566 | 0.0021194 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4001-21_0_5_load_46 | 17 | 0.0037909 | 0.0009501 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4001-21_0_5_load_6 | 18 | 0.021154 | 0.0053016 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4001-21_0_5_load_7 | 19 | 0.022397 | 0.0056132 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4001-21_0_5_load_38 | 22 | 0.010844 | 0.0027177 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4001-21_0_5_load_40 | 23 | 0.011612 | 0.0029103 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4001-21_0_5_load_57 | 26 | 0.0024452 | 0.00061284 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4001-21_0_5_load_58 | 31 | 0.014435 | 0.0036178 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4001-21_0_5_load_49 | 35 | 0.019306 | 0.0048385 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4001-21_0_5_load_50 | 36 | 0.02091 | 0.0052406 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4001-21_0_5_load_16 | 38 | 0.017686 | 0.0044326 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4001-21_0_5_load_11 | 40 | 0.0010773 | 0.00027 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4001-21_0_5_load_61 | 41 | 0.012846 | 0.0032196 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4001-21_0_5_load_34 | 42 | 0.027148 | 0.0068039 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4001-21_0_5_load_56 | 43 | 0.0073499 | 0.0018421 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4001-21_0_5_load_55 | 45 | 0.038052 | 0.0095366 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4001-21_0_5_load_48 | 46 | 0.0020572 | 0.00051558 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4001-21_0_5_load_52 | 47 | 0.0097508 | 0.0024438 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4001-21_0_5_load_33 | 48 | 0.014241 | 0.0035691 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4001-21_0_5_load_36 | 49 | 0.015987 | 0.0040067 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4001-21_0_5_load_54 | 50 | 0.0021799 | 0.00054634 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4001-21_0_5_load_45 | 51 | 0.003069 | 0.00076916 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4001-21_0_5_load_41 | 52 | 0.005429 | 0.0013606 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4001-21_0_5_load_42 | 53 | 0.0070008 | 0.0017546 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4001-21_0_5_load_43 | 54 | 0.0099755 | 0.0025001 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4001-21_0_5_load_44 | 55 | 0.025011 | 0.0062684 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4001-21_0_5_load_53 | 56 | 0.0023156 | 0.00058033 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 7 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4001-21_0_5_line_0 |  | 0 | 1 | 0.0040524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4001-21_0_5_line_1 |  | 0 | 2 | 0.0084181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4001-21_0_5_line_2 |  | 1 | 3 | 0.017896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4001-21_0_5_line_3 |  | 2 | 4 | 0.011266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4001-21_0_5_line_4 |  | 3 | 5 | 0.04188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4001-21_0_5_line_5 |  | 4 | 9 | 0.016749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4001-21_0_5_line_6 |  | 5 | 10 | 0.020338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4001-21_0_5_line_7 |  | 6 | 7 | 0.012836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_4001-21_0_5_line_8 |  | 6 | 8 | 0.016965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_4001-21_0_5_line_9 |  | 7 | 9 | 0.0008886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_4001-21_0_5_line_10 |  | 8 | 11 | 0.015406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_4001-21_0_5_line_11 |  | 10 | 18 | 0.044777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4001-21_0_5_line_12 |  | 11 | 28 | 0.004002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_4001-21_0_5_line_13 |  | 11 | 38 | 0.016466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4001-21_0_5_line_14 |  | 12 | 13 | 0.04057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4001-21_0_5_line_15 |  | 12 | 14 | 0.005948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4001-21_0_5_line_16 |  | 12 | 15 | 0.036552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4001-21_0_5_line_17 |  | 13 | 16 | 0.017684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4001-21_0_5_line_18 |  | 13 | 17 | 0.019012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4001-21_0_5_line_19 |  | 15 | 39 | 0.053183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4001-21_0_5_line_20 |  | 15 | 40 | 0.019567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4001-21_0_5_line_21 |  | 16 | 32 | 0.020155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4001-21_0_5_line_22 |  | 17 | 55 | 0.0097527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_4001-21_0_5_line_23 |  | 18 | 19 | 0.014927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4001-21_0_5_line_24 |  | 20 | 21 | 0.018039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_4001-21_0_5_line_25 |  | 20 | 22 | 0.01668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_4001-21_0_5_line_26 |  | 21 | 23 | 0.014047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_4001-21_0_5_line_27 |  | 22 | 25 | 0.012681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_4001-21_0_5_line_28 |  | 23 | 27 | 0.0092678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_4001-21_0_5_line_29 |  | 24 | 25 | 0.074891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4001-21_0_5_line_30 |  | 24 | 26 | 0.064895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4001-21_0_5_line_31 |  | 25 | 37 | 0.015922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_4001-21_0_5_line_32 |  | 27 | 28 | 0.002208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_4001-21_0_5_line_33 |  | 28 | 42 | 0.018503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4001-21_0_5_line_34 |  | 29 | 30 | 0.048711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4001-21_0_5_line_35 |  | 29 | 31 | 0.028813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4001-21_0_5_line_36 |  | 30 | 36 | 0.01854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4001-21_0_5_line_37 |  | 31 | 34 | 0.02328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4001-21_0_5_line_38 |  | 32 | 33 | 0.027433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4001-21_0_5_line_39 |  | 33 | 34 | 0.053255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4001-21_0_5_line_40 |  | 33 | 35 | 0.037576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4001-21_0_5_line_41 |  | 35 | 46 | 0.021835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4001-21_0_5_line_42 |  | 36 | 47 | 0.0069051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4001-21_0_5_line_43 |  | 37 | 43 | 0.024966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4001-21_0_5_line_44 |  | 37 | 44 | 0.016985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_4001-21_0_5_line_45 |  | 39 | 41 | 0.055611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4001-21_0_5_line_46 |  | 42 | 48 | 3e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4001-21_0_5_line_47 |  | 43 | 45 | 0.027027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4001-21_0_5_line_48 |  | 44 | 49 | 0.010078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_4001-21_0_5_line_49 |  | 47 | 56 | 0.012877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4001-21_0_5_line_50 |  | 49 | 50 | 0.0051568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_4001-21_0_5_line_51 |  | 50 | 51 | 0.005588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_4001-21_0_5_line_52 |  | 51 | 54 | 0.015777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_4001-21_0_5_line_53 |  | 52 | 53 | 0.017092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_4001-21_0_5_line_54 |  | 52 | 54 | 0.0062701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_4001-21_0_5_line_55 |  | 53 | 55 | 0.015806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4001-21_0_5_trafo_39 | 0.63 MVA 20/0.4 kV | 57 | 7 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2645752.9437 | 1249396.5076 | 2645754.8717 | 1249392.9432
1 | 2645748.9388 | 1249403.912 | 2645752.9437 | 1249396.5076
2 | 2645763.3856 | 1249377.2025 | 2645754.8717 | 1249392.9432
3 | 2645748.9388 | 1249403.912 | 2645741.4145 | 1249412.3152
4 | 2645783.3666 | 1249340.4015 | 2645777.0824 | 1249352.4611 | 2645770.1935 | 1249364.6161 | 2645763.3856 | 1249377.2025
5 | 2645741.4145 | 1249412.3152 | 2645731.492 | 1249407.6466 | 2645726.4118 | 1249404.8833
6 | 2645783.3666 | 1249340.4015 | 2645765.0973 | 1249331.3544
7 | 2645714.2961 | 1249398.4412 | 2645717.0189 | 1249399.7742 | 2645725.6312 | 1249404.4587
8 | 2645714.2961 | 1249398.4412 | 2645706.2246 | 1249394.5876 | 2645700.6848 | 1249390.4198 | 2645699.9859 | 1249389.5855
9 | 2645726.4118 | 1249404.8833 | 2645725.6312 | 1249404.4587
10 | 2645692.1251 | 1249376.4445 | 2645696.7572 | 1249385.7309 | 2645699.9859 | 1249389.5855
11 | 2645765.0973 | 1249331.3544 | 2645762.4929 | 1249334.2363 | 2645742.1644 | 1249369.7184
12 | 2645692.1251 | 1249376.4445 | 2645688.79 | 1249374.2173
13 | 2645692.1251 | 1249376.4445 | 2645701.177 | 1249362.69
14 | 2645754.1348 | 1249470.23 | 2645762.5218 | 1249442.9653 | 2645764.9969 | 1249440.2047 | 2645773.0541 | 1249438.0654
15 | 2645773.0541 | 1249438.0654 | 2645778.6718 | 1249440.0202
16 | 2645773.0541 | 1249438.0654 | 2645782.0797 | 1249422.9694 | 2645785.9407 | 1249417.6956 | 2645793.2813 | 1249407.6677
17 | 2645754.1348 | 1249470.23 | 2645766.2928 | 1249478.6962 | 2645768.842 | 1249480.011
18 | 2645754.1348 | 1249470.23 | 2645744.0687 | 1249463.6369 | 2645743.7415 | 1249458.0973 | 2645743.6539 | 1249456.6706
19 | 2645793.2813 | 1249407.6677 | 2645785.9407 | 1249417.6956 | 2645797.2787 | 1249423.8428 | 2645800.3462 | 1249425.5121 | 2645823.2413 | 1249433.85
20 | 2645793.2813 | 1249407.6677 | 2645798.6263 | 1249410.6554 | 2645803.2422 | 1249413.2262 | 2645804.2495 | 1249413.7899 | 2645810.9051 | 1249415.9763
21 | 2645786.7547 | 1249489.2501 | 2645768.842 | 1249480.011
22 | 2645736.7571 | 1249451.9323 | 2645743.4866 | 1249453.9481 | 2645743.6539 | 1249456.6706
23 | 2645742.1644 | 1249369.7184 | 2645734.7439 | 1249382.6705
24 | 2645666.78 | 1249361.6727 | 2645672.8012 | 1249365.1103 | 2645674.2772 | 1249360.6965 | 2645671.4178 | 1249358.4729 | 2645673.1564 | 1249356.2404
25 | 2645666.78 | 1249361.6727 | 2645657.7378 | 1249375.6887
26 | 2645673.1564 | 1249356.2404 | 2645683.996 | 1249365.1739
27 | 2645650.8632 | 1249386.3446 | 2645657.7378 | 1249375.6887
28 | 2645686.8656 | 1249373.124 | 2645686.7883 | 1249367.4751 | 2645683.996 | 1249365.1739
29 | 2645607.8874 | 1249386.4586 | 2645608.8611 | 1249385.5099 | 2645620.0283 | 1249376.5897 | 2645621.5804 | 1249375.0562 | 2645625.398 | 1249382.2682 | 2645626.3974 | 1249381.909 | 2645627.6587 | 1249380.8735 | 2645627.1434 | 1249379.1573 | 2645626.1516 | 1249370.6884 | 2645626.5161 | 1249366.4884 | 2645631.7808 | 1249369.1307 | 2645635.9813 | 1249373.6883 | 2645645.3068 | 1249382.3659 | 2645646.004 | 1249383.005 | 2645650.8632 | 1249386.3446
30 | 2645607.8874 | 1249386.4586 | 2645612.3046 | 1249391.318 | 2645618.5511 | 1249397.8483 | 2645622.0603 | 1249402.9453 | 2645620.1082 | 1249409.3791 | 2645599.3579 | 1249429.3886 | 2645593.777 | 1249434.4789
31 | 2645650.8632 | 1249386.3446 | 2645653.3885 | 1249388.8213 | 2645662.2612 | 1249397.4621
32 | 2645688.79 | 1249374.2173 | 2645686.8656 | 1249373.124
33 | 2645688.79 | 1249374.2173 | 2645685.9491 | 1249378.4094 | 2645685.109 | 1249379.6482 | 2645678.9412 | 1249389.8745
34 | 2645682.2139 | 1249486.8981 | 2645678.5291 | 1249485.9691 | 2645677.9133 | 1249500.2407 | 2645681.4944 | 1249501.8805 | 2645696.8973 | 1249509.5709 | 2645705.2126 | 1249514.1047
35 | 2645705.2126 | 1249514.1047 | 2645731.4845 | 1249525.9355
36 | 2645682.2139 | 1249486.8981 | 2645686.8369 | 1249468.9439
37 | 2645753.2181 | 1249534.2217 | 2645738.6481 | 1249529.1614 | 2645731.4845 | 1249525.9355
38 | 2645788.6202 | 1249513.592 | 2645790.9764 | 1249510.5748 | 2645784.6892 | 1249500.564 | 2645784.2726 | 1249495.8465 | 2645786.7547 | 1249489.2501
39 | 2645753.2181 | 1249534.2217 | 2645762.5022 | 1249537.451 | 2645772.619 | 1249540.3866 | 2645778.9212 | 1249528.8941 | 2645783.907 | 1249514.8454 | 2645788.6202 | 1249513.592
40 | 2645788.6202 | 1249513.592 | 2645787.8758 | 1249511.2514 | 2645781.6053 | 1249502.9752 | 2645757.7777 | 1249496.3311
41 | 2645736.5853 | 1249491.0763 | 2645756.5482 | 1249495.9882 | 2645757.7777 | 1249496.3311
42 | 2645689.9677 | 1249462.7893 | 2645686.8369 | 1249468.9439
43 | 2645662.2612 | 1249397.4621 | 2645649.9988 | 1249403.494 | 2645645.1936 | 1249413.7215
44 | 2645662.2612 | 1249397.4621 | 2645674.8648 | 1249408.889
45 | 2645823.2413 | 1249433.85 | 2645825.4999 | 1249438.5929 | 2645825.1454 | 1249455.1458 | 2645825.113 | 1249469.1105 | 2645805.3819 | 1249466.5675
46 | 2645678.9412 | 1249389.8745 | 2645678.9257 | 1249389.9002
47 | 2645633.8159 | 1249438.2373 | 2645642.868 | 1249418.6715 | 2645645.1936 | 1249413.7215
48 | 2645674.8648 | 1249408.889 | 2645682.8003 | 1249415.1009
49 | 2645695.8062 | 1249451.3122 | 2645689.9677 | 1249462.7893
50 | 2645682.8003 | 1249415.1009 | 2645686.8609 | 1249418.2797
51 | 2645691.2611 | 1249421.7241 | 2645686.8609 | 1249418.2797
52 | 2645703.9249 | 1249431.1289 | 2645695.5929 | 1249425.1151 | 2645691.2611 | 1249421.7241
53 | 2645709.009 | 1249434.7985 | 2645711.195 | 1249436.3762 | 2645722.922 | 1249444.7269
54 | 2645709.009 | 1249434.7985 | 2645703.9249 | 1249431.1289
55 | 2645736.7571 | 1249451.9323 | 2645730.3423 | 1249450.0108 | 2645722.922 | 1249444.7269

## bus_geodata
| x | y | coords
0 | 2645752.9437 | 1249396.5076
1 | 2645754.8717 | 1249392.9432
2 | 2645748.9388 | 1249403.912
3 | 2645763.3856 | 1249377.2025
4 | 2645741.4145 | 1249412.3152
5 | 2645783.3666 | 1249340.4015
6 | 2645714.2961 | 1249398.4412
7 | 2645725.6312 | 1249404.4587
8 | 2645699.9859 | 1249389.5855
9 | 2645726.4118 | 1249404.8833
10 | 2645765.0973 | 1249331.3544
11 | 2645692.1251 | 1249376.4445
12 | 2645773.0541 | 1249438.0654
13 | 2645754.1348 | 1249470.2301
14 | 2645778.6718 | 1249440.0202
15 | 2645793.2813 | 1249407.6677
16 | 2645768.842 | 1249480.011
17 | 2645743.6539 | 1249456.6706
18 | 2645742.1644 | 1249369.7184
19 | 2645734.7439 | 1249382.6705
20 | 2645666.78 | 1249361.6727
21 | 2645673.1564 | 1249356.2404
22 | 2645657.7378 | 1249375.6887
23 | 2645683.996 | 1249365.1739
24 | 2645607.8874 | 1249386.4586
25 | 2645650.8632 | 1249386.3446
26 | 2645593.777 | 1249434.4789
27 | 2645686.8656 | 1249373.124
28 | 2645688.79 | 1249374.2173
29 | 2645705.2126 | 1249514.1047
30 | 2645682.2139 | 1249486.8981
31 | 2645731.4845 | 1249525.9355
32 | 2645786.7547 | 1249489.2501
33 | 2645788.6202 | 1249513.592
34 | 2645753.2181 | 1249534.2217
35 | 2645757.7777 | 1249496.3311
36 | 2645686.8369 | 1249468.9439
37 | 2645662.2612 | 1249397.4621
38 | 2645701.177 | 1249362.69
39 | 2645823.2413 | 1249433.85
40 | 2645810.9051 | 1249415.9763
41 | 2645805.3819 | 1249466.5675
42 | 2645678.9412 | 1249389.8745
43 | 2645645.1936 | 1249413.7215
44 | 2645674.8648 | 1249408.889
45 | 2645633.8159 | 1249438.2373
46 | 2645736.5853 | 1249491.0763
47 | 2645689.9677 | 1249462.7893
48 | 2645678.9257 | 1249389.9002
49 | 2645682.8003 | 1249415.1009
50 | 2645686.8609 | 1249418.2797
51 | 2645691.2611 | 1249421.7241
52 | 2645709.009 | 1249434.7985
53 | 2645722.922 | 1249444.7269
54 | 2645703.9249 | 1249431.1289
55 | 2645736.7571 | 1249451.9323
56 | 2645695.8062 | 1249451.3122
57 | 2645714.2961 | 1249398.4412

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1