## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4001-26_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4001-26_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4001-26_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4001-26_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4001-26_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4001-26_0_4_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_4001-26_0_4_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_4001-26_0_4_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_4001-26_0_4_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_4001-26_0_4_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_4001-26_0_4_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_4001-26_0_4_node_12 | 0.4 | n |  | TRUE
12 | bus_LV_4001-26_0_4_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_4001-26_0_4_node_18 | 0.4 | n |  | TRUE
14 | bus_LV_4001-26_0_4_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_4001-26_0_4_node_24 | 0.4 | n |  | TRUE
16 | bus_LV_4001-26_0_4_node_22 | 0.4 | n |  | TRUE
17 | bus_LV_4001-26_0_4_node_17 | 0.4 | n |  | TRUE
18 | bus_LV_4001-26_0_4_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_4001-26_0_4_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_4001-26_0_4_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_4001-26_0_4_node_28 | 0.4 | n |  | TRUE
22 | bus_LV_4001-26_0_4_node_25 | 0.4 | n |  | TRUE
23 | bus_LV_4001-26_0_4_node_31 | 0.4 | n |  | TRUE
24 | bus_LV_4001-26_0_4_node_26 | 0.4 | n |  | TRUE
25 | bus_LV_4001-26_0_4_node_30 | 0.4 | n |  | TRUE
26 | bus_LV_4001-26_0_4_node_29 | 0.4 | n |  | TRUE
27 | bus_LV_4001-26_0_4_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_4001-26_0_4_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_4001-26_0_4_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_4001-26_0_4_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_4001-26_0_4_node_78 | 0.4 | n |  | TRUE
32 | bus_LV_4001-26_0_4_node_64 | 0.4 | n |  | TRUE
33 | bus_LV_4001-26_0_4_node_66 | 0.4 | n |  | TRUE
34 | bus_LV_4001-26_0_4_node_62 | 0.4 | n |  | TRUE
35 | bus_LV_4001-26_0_4_node_80 | 0.4 | n |  | TRUE
36 | bus_LV_4001-26_0_4_node_79 | 0.4 | n |  | TRUE
37 | bus_LV_4001-26_0_4_node_81 | 0.4 | n |  | TRUE
38 | bus_LV_4001-26_0_4_node_41 | 0.4 | n |  | TRUE
39 | bus_LV_4001-26_0_4_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_4001-26_0_4_node_40 | 0.4 | n |  | TRUE
41 | bus_LV_4001-26_0_4_node_32 | 0.4 | n |  | TRUE
42 | bus_LV_4001-26_0_4_node_42 | 0.4 | n |  | TRUE
43 | bus_LV_4001-26_0_4_node_33 | 0.4 | n |  | TRUE
44 | bus_LV_4001-26_0_4_node_34 | 0.4 | n |  | TRUE
45 | bus_LV_4001-26_0_4_node_35 | 0.4 | n |  | TRUE
46 | bus_LV_4001-26_0_4_node_36 | 0.4 | n |  | TRUE
47 | bus_LV_4001-26_0_4_node_37 | 0.4 | n |  | TRUE
48 | bus_LV_4001-26_0_4_node_38 | 0.4 | n |  | TRUE
49 | bus_LV_4001-26_0_4_node_39 | 0.4 | n |  | TRUE
50 | bus_LV_4001-26_0_4_node_43 | 0.4 | n |  | TRUE
51 | bus_LV_4001-26_0_4_node_44 | 0.4 | n |  | TRUE
52 | bus_LV_4001-26_0_4_node_46 | 0.4 | n |  | TRUE
53 | bus_LV_4001-26_0_4_node_45 | 0.4 | n |  | TRUE
54 | bus_LV_4001-26_0_4_node_67 | 0.4 | n |  | TRUE
55 | bus_LV_4001-26_0_4_node_72 | 0.4 | n |  | TRUE
56 | bus_LV_4001-26_0_4_node_68 | 0.4 | n |  | TRUE
57 | bus_LV_4001-26_0_4_node_47 | 0.4 | n |  | TRUE
58 | bus_LV_4001-26_0_4_node_49 | 0.4 | n |  | TRUE
59 | bus_LV_4001-26_0_4_node_51 | 0.4 | n |  | TRUE
60 | bus_LV_4001-26_0_4_node_52 | 0.4 | n |  | TRUE
61 | bus_LV_4001-26_0_4_node_50 | 0.4 | n |  | TRUE
62 | bus_LV_4001-26_0_4_node_116 | 0.4 | n |  | TRUE
63 | bus_LV_4001-26_0_4_node_54 | 0.4 | n |  | TRUE
64 | bus_LV_4001-26_0_4_node_53 | 0.4 | n |  | TRUE
65 | bus_LV_4001-26_0_4_node_55 | 0.4 | n |  | TRUE
66 | bus_LV_4001-26_0_4_node_101 | 0.4 | n |  | TRUE
67 | bus_LV_4001-26_0_4_node_112 | 0.4 | n |  | TRUE
68 | bus_LV_4001-26_0_4_node_56 | 0.4 | n |  | TRUE
69 | bus_LV_4001-26_0_4_node_103 | 0.4 | n |  | TRUE
70 | bus_LV_4001-26_0_4_node_70 | 0.4 | n |  | TRUE
71 | bus_LV_4001-26_0_4_node_111 | 0.4 | n |  | TRUE
72 | bus_LV_4001-26_0_4_node_57 | 0.4 | n |  | TRUE
73 | bus_LV_4001-26_0_4_node_58 | 0.4 | n |  | TRUE
74 | bus_LV_4001-26_0_4_node_59 | 0.4 | n |  | TRUE
75 | bus_LV_4001-26_0_4_node_60 | 0.4 | n |  | TRUE
76 | bus_LV_4001-26_0_4_node_61 | 0.4 | n |  | TRUE
77 | bus_LV_4001-26_0_4_node_76 | 0.4 | n |  | TRUE
78 | bus_LV_4001-26_0_4_node_85 | 0.4 | n |  | TRUE
79 | bus_LV_4001-26_0_4_node_74 | 0.4 | n |  | TRUE
80 | bus_LV_4001-26_0_4_node_86 | 0.4 | n |  | TRUE
81 | bus_LV_4001-26_0_4_node_63 | 0.4 | n |  | TRUE
82 | bus_LV_4001-26_0_4_node_65 | 0.4 | n |  | TRUE
83 | bus_LV_4001-26_0_4_node_107 | 0.4 | n |  | TRUE
84 | bus_LV_4001-26_0_4_node_109 | 0.4 | n |  | TRUE
85 | bus_LV_4001-26_0_4_node_106 | 0.4 | n |  | TRUE
86 | bus_LV_4001-26_0_4_node_99 | 0.4 | n |  | TRUE
87 | bus_LV_4001-26_0_4_node_69 | 0.4 | n |  | TRUE
88 | bus_LV_4001-26_0_4_node_108 | 0.4 | n |  | TRUE
89 | bus_LV_4001-26_0_4_node_96 | 0.4 | n |  | TRUE
90 | bus_LV_4001-26_0_4_node_73 | 0.4 | n |  | TRUE
91 | bus_LV_4001-26_0_4_node_75 | 0.4 | n |  | TRUE
92 | bus_LV_4001-26_0_4_node_87 | 0.4 | n |  | TRUE
93 | bus_LV_4001-26_0_4_node_71 | 0.4 | n |  | TRUE
94 | bus_LV_4001-26_0_4_node_97 | 0.4 | n |  | TRUE
95 | bus_LV_4001-26_0_4_node_93 | 0.4 | n |  | TRUE
96 | bus_LV_4001-26_0_4_node_100 | 0.4 | n |  | TRUE
97 | bus_LV_4001-26_0_4_node_77 | 0.4 | n |  | TRUE
98 | bus_LV_4001-26_0_4_node_83 | 0.4 | n |  | TRUE
99 | bus_LV_4001-26_0_4_node_82 | 0.4 | n |  | TRUE
100 | bus_LV_4001-26_0_4_node_84 | 0.4 | n |  | TRUE
101 | bus_LV_4001-26_0_4_node_115 | 0.4 | n |  | TRUE
102 | bus_LV_4001-26_0_4_node_92 | 0.4 | n |  | TRUE
103 | bus_LV_4001-26_0_4_node_88 | 0.4 | n |  | TRUE
104 | bus_LV_4001-26_0_4_node_89 | 0.4 | n |  | TRUE
105 | bus_LV_4001-26_0_4_node_90 | 0.4 | n |  | TRUE
106 | bus_LV_4001-26_0_4_node_91 | 0.4 | n |  | TRUE
107 | bus_LV_4001-26_0_4_node_110 | 0.4 | n |  | TRUE
108 | bus_LV_4001-26_0_4_node_94 | 0.4 | n |  | TRUE
109 | bus_LV_4001-26_0_4_node_95 | 0.4 | n |  | TRUE
110 | bus_LV_4001-26_0_4_node_98 | 0.4 | n |  | TRUE
111 | bus_LV_4001-26_0_4_node_105 | 0.4 | n |  | TRUE
112 | bus_LV_4001-26_0_4_node_104 | 0.4 | n |  | TRUE
113 | bus_LV_4001-26_0_4_node_114 | 0.4 | n |  | TRUE
114 | bus_LV_4001-26_0_4_node_113 | 0.4 | n |  | TRUE
115 | bus_MV_522_0_node_48 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4001-26_0_4_load_0 | 0 | 0.030637 | 0.0076782 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4001-26_0_4_load_2 | 2 | 0.036587 | 0.0091694 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4001-26_0_4_load_3 | 3 | 0.0014733 | 0.00036925 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4001-26_0_4_load_6 | 5 | 0.0080461 | 0.0020166 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4001-26_0_4_load_7 | 6 | 0.0097238 | 0.002437 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4001-26_0_4_load_9 | 8 | 0.0023012 | 0.00057675 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4001-26_0_4_load_10 | 9 | 0.0019936 | 0.00049963 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4001-26_0_4_load_5 | 10 | 0.0011796 | 0.00029565 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4001-26_0_4_load_12 | 11 | 0.0016603 | 0.00041611 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4001-26_0_4_load_13 | 14 | 0.0056046 | 0.0014046 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4001-26_0_4_load_22 | 16 | 0.0035834 | 0.00089809 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4001-26_0_4_load_14 | 18 | 0.005907 | 0.0014804 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4001-26_0_4_load_15 | 19 | 0.0047251 | 0.0011842 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4001-26_0_4_load_16 | 20 | 0.0019478 | 0.00048817 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4001-26_0_4_load_28 | 21 | 0.012716 | 0.0031868 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4001-26_0_4_load_25 | 22 | 0.0021988 | 0.00055108 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4001-26_0_4_load_31 | 23 | 0.009877 | 0.0024754 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4001-26_0_4_load_26 | 24 | 0.0022358 | 0.00056033 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4001-26_0_4_load_30 | 25 | 0.0024897 | 0.00062398 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4001-26_0_4_load_29 | 26 | 0.0091362 | 0.0022898 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4001-26_0_4_load_20 | 27 | 0.0092243 | 0.0023118 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4001-26_0_4_load_19 | 28 | 0.0075241 | 0.0018857 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4001-26_0_4_load_21 | 29 | 0.0021587 | 0.00054102 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4001-26_0_4_load_23 | 30 | 0.0029512 | 0.00073963 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4001-26_0_4_load_78 | 31 | 0.002953 | 0.0007401 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4001-26_0_4_load_64 | 32 | 0.0016691 | 0.00041831 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4001-26_0_4_load_66 | 33 | 0.0014236 | 0.00035679 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4001-26_0_4_load_62 | 34 | 0.008046 | 0.0020165 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4001-26_0_4_load_80 | 35 | 0.010236 | 0.0025653 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4001-26_0_4_load_79 | 36 | 0.0066826 | 0.0016748 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4001-26_0_4_load_81 | 37 | 0.0062893 | 0.0015763 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4001-26_0_4_load_41 | 38 | 0.0031436 | 0.00078786 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4001-26_0_4_load_27 | 39 | 0.0020269 | 0.00050799 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4001-26_0_4_load_40 | 40 | 0.00071532 | 0.00017928 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4001-26_0_4_load_32 | 41 | 0.0053963 | 0.0013525 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4001-26_0_4_load_42 | 42 | 0.00048363 | 0.00012121 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4001-26_0_4_load_33 | 43 | 0.0039543 | 0.00099103 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4001-26_0_4_load_34 | 44 | 0.0033432 | 0.00083788 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4001-26_0_4_load_35 | 45 | 0.0021538 | 0.00053978 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4001-26_0_4_load_36 | 46 | 0.0039543 | 0.00099103 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4001-26_0_4_load_37 | 47 | 0.00196 | 0.00049123 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4001-26_0_4_load_38 | 48 | 0.0039523 | 0.00099054 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4001-26_0_4_load_39 | 49 | 0.0016553 | 0.00041485 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4001-26_0_4_load_43 | 50 | 0.00057753 | 0.00014474 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4001-26_0_4_load_45 | 53 | 0.0029468 | 0.00073853 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4001-26_0_4_load_67 | 54 | 0.00092578 | 0.00023202 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4001-26_0_4_load_72 | 55 | 0.0010624 | 0.00026627 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4001-26_0_4_load_68 | 56 | 0.010334 | 0.00259 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4001-26_0_4_load_47 | 57 | 0.0010917 | 0.0002736 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4001-26_0_4_load_116 | 62 | 0.0084398 | 0.0021152 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4001-26_0_4_load_53 | 64 | 0.0043917 | 0.0011007 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4001-26_0_4_load_55 | 65 | 0.018864 | 0.0047277 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4001-26_0_4_load_112 | 67 | 0.00093503 | 0.00023434 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4001-26_0_4_load_56 | 68 | 0.0054342 | 0.0013619 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4001-26_0_4_load_103 | 69 | 0.0018708 | 0.00046886 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4001-26_0_4_load_70 | 70 | 0.0057316 | 0.0014365 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4001-26_0_4_load_111 | 71 | 0.0023365 | 0.00058559 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4001-26_0_4_load_57 | 72 | 0.0034368 | 0.00086134 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4001-26_0_4_load_58 | 73 | 0.0067921 | 0.0017023 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4001-26_0_4_load_60 | 75 | 0.0025823 | 0.00064718 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4001-26_0_4_load_76 | 77 | 0.0020914 | 0.00052415 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4001-26_0_4_load_85 | 78 | 0.005976 | 0.0014977 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4001-26_0_4_load_74 | 79 | 0.0021164 | 0.00053042 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4001-26_0_4_load_86 | 80 | 0.0056986 | 0.0014282 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4001-26_0_4_load_63 | 81 | 0.0022019 | 0.00055185 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4001-26_0_4_load_65 | 82 | 0.0019346 | 0.00048485 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4001-26_0_4_load_107 | 83 | 0.0018654 | 0.00046752 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4001-26_0_4_load_109 | 84 | 0.0022688 | 0.00056862 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4001-26_0_4_load_106 | 85 | 0.003809 | 0.00095462 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4001-26_0_4_load_99 | 86 | 0.002158 | 0.00054085 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4001-26_0_4_load_69 | 87 | 0.0036356 | 0.00091116 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4001-26_0_4_load_108 | 88 | 0.0013181 | 0.00033036 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4001-26_0_4_load_73 | 90 | 0.0131 | 0.0032832 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4001-26_0_4_load_75 | 91 | 0.0086414 | 0.0021657 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4001-26_0_4_load_87 | 92 | 0.0084615 | 0.0021206 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4001-26_0_4_load_71 | 93 | 0.0031671 | 0.00079376 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4001-26_0_4_load_93 | 95 | 0.004157 | 0.0010418 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4001-26_0_4_load_100 | 96 | 0.0036341 | 0.0009108 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4001-26_0_4_load_83 | 98 | 0.0019021 | 0.00047671 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4001-26_0_4_load_82 | 99 | 0.0056326 | 0.0014117 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4001-26_0_4_load_84 | 100 | 0.0019581 | 0.00049076 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4001-26_0_4_load_115 | 101 | 0.0019289 | 0.00048344 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_4001-26_0_4_load_88 | 103 | 0.0017205 | 0.00043119 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_4001-26_0_4_load_89 | 104 | 0.0017009 | 0.00042628 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_4001-26_0_4_load_91 | 106 | 0.002132 | 0.00053433 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_4001-26_0_4_load_110 | 107 | 0.0019672 | 0.00049304 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_4001-26_0_4_load_94 | 108 | 0.00097031 | 0.00024318 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_4001-26_0_4_load_95 | 109 | 0.0055034 | 0.0013793 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_4001-26_0_4_load_98 | 110 | 0.0013426 | 0.00033648 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_4001-26_0_4_load_105 | 111 | 0.0014234 | 0.00035673 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_4001-26_0_4_load_104 | 112 | 0.0025844 | 0.00064772 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_4001-26_0_4_load_114 | 113 | 0.0013619 | 0.00034133 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_4001-26_0_4_load_113 | 114 | 0.0050144 | 0.0012567 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 29 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4001-26_0_4_line_0 |  | 0 | 1 | 0.019042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4001-26_0_4_line_1 |  | 0 | 2 | 0.0089061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4001-26_0_4_line_2 |  | 1 | 3 | 0.033593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4001-26_0_4_line_3 |  | 1 | 4 | 0.031163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4001-26_0_4_line_4 |  | 4 | 5 | 0.022407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4001-26_0_4_line_5 |  | 4 | 6 | 0.031551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4001-26_0_4_line_6 |  | 5 | 10 | 0.018002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4001-26_0_4_line_7 |  | 6 | 7 | 0.026705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4001-26_0_4_line_8 |  | 7 | 8 | 0.017997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4001-26_0_4_line_9 |  | 7 | 9 | 0.0076304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4001-26_0_4_line_10 |  | 8 | 11 | 0.017706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4001-26_0_4_line_11 |  | 9 | 12 | 0.0079743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4001-26_0_4_line_12 |  | 11 | 14 | 0.024815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4001-26_0_4_line_13 |  | 12 | 13 | 0.023408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4001-26_0_4_line_14 |  | 13 | 15 | 0.023672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4001-26_0_4_line_15 |  | 13 | 16 | 0.011133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_4001-26_0_4_line_16 |  | 13 | 17 | 0.005066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4001-26_0_4_line_17 |  | 15 | 25 | 0.028116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4001-26_0_4_line_18 |  | 15 | 26 | 0.030507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4001-26_0_4_line_19 |  | 16 | 27 | 0.017864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_4001-26_0_4_line_20 |  | 17 | 21 | 0.011753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4001-26_0_4_line_21 |  | 17 | 22 | 0.016303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4001-26_0_4_line_22 |  | 17 | 19 | 0.04108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4001-26_0_4_line_23 |  | 18 | 19 | 0.0021482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4001-26_0_4_line_24 |  | 18 | 20 | 0.018018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4001-26_0_4_line_25 |  | 21 | 23 | 0.029651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4001-26_0_4_line_26 |  | 22 | 24 | 0.06854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4001-26_0_4_line_27 |  | 23 | 41 | 0.0095409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4001-26_0_4_line_28 |  | 24 | 39 | 0.026456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4001-26_0_4_line_29 |  | 25 | 38 | 0.019652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4001-26_0_4_line_30 |  | 27 | 28 | 0.0024587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_4001-26_0_4_line_31 |  | 28 | 29 | 0.024259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_4001-26_0_4_line_32 |  | 29 | 30 | 0.017114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_4001-26_0_4_line_33 |  | 30 | 31 | 0.016636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_4001-26_0_4_line_34 |  | 31 | 36 | 0.00032481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4001-26_0_4_line_35 |  | 31 | 37 | 0.049523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_4001-26_0_4_line_36 |  | 32 | 33 | 0.016857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_4001-26_0_4_line_37 |  | 32 | 34 | 0.01849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4001-26_0_4_line_38 |  | 33 | 35 | 0.01491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_4001-26_0_4_line_39 |  | 34 | 81 | 0.0016602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4001-26_0_4_line_40 |  | 35 | 37 | 0.022469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_4001-26_0_4_line_41 |  | 37 | 99 | 0.028915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4001-26_0_4_line_42 |  | 38 | 42 | 0.021001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4001-26_0_4_line_43 |  | 39 | 40 | 0.029097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4001-26_0_4_line_44 |  | 41 | 43 | 0.018935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4001-26_0_4_line_45 |  | 42 | 50 | 0.017622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4001-26_0_4_line_46 |  | 43 | 44 | 0.0026043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4001-26_0_4_line_47 |  | 44 | 45 | 0.022659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4001-26_0_4_line_48 |  | 45 | 46 | 0.0077714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4001-26_0_4_line_49 |  | 46 | 47 | 0.020328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4001-26_0_4_line_50 |  | 47 | 48 | 0.011492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4001-26_0_4_line_51 |  | 48 | 49 | 0.013499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4001-26_0_4_line_52 |  | 50 | 51 | 0.014704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4001-26_0_4_line_53 |  | 51 | 52 | 0.026706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4001-26_0_4_line_54 |  | 52 | 55 | 0.025807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4001-26_0_4_line_55 |  | 53 | 54 | 0.0050601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4001-26_0_4_line_56 |  | 54 | 56 | 0.011731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4001-26_0_4_line_57 |  | 55 | 56 | 0.031968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4001-26_0_4_line_58 |  | 57 | 58 | 0.018905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4001-26_0_4_line_59 |  | 58 | 59 | 0.022981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4001-26_0_4_line_60 |  | 58 | 60 | 0.031243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4001-26_0_4_line_61 |  | 59 | 63 | 0.004267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4001-26_0_4_line_62 |  | 59 | 64 | 0.021617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4001-26_0_4_line_63 |  | 60 | 65 | 0.019872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4001-26_0_4_line_64 |  | 60 | 61 | 0.032713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4001-26_0_4_line_65 |  | 61 | 62 | 0.007109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4001-26_0_4_line_66 |  | 63 | 66 | 0.021824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4001-26_0_4_line_67 |  | 63 | 67 | 0.0094283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4001-26_0_4_line_68 |  | 65 | 68 | 0.014073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4001-26_0_4_line_69 |  | 66 | 69 | 0.023594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4001-26_0_4_line_70 |  | 66 | 70 | 0.03039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4001-26_0_4_line_71 |  | 67 | 71 | 0.019946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4001-26_0_4_line_72 |  | 69 | 94 | 0.022644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4001-26_0_4_line_73 |  | 70 | 93 | 0.031884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4001-26_0_4_line_74 |  | 70 | 87 | 0.019839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4001-26_0_4_line_75 |  | 71 | 114 | 0.022229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4001-26_0_4_line_76 |  | 72 | 73 | 0.024426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4001-26_0_4_line_77 |  | 72 | 74 | 0.024636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4001-26_0_4_line_78 |  | 73 | 75 | 0.025167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4001-26_0_4_line_79 |  | 74 | 76 | 0.007755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4001-26_0_4_line_80 |  | 75 | 77 | 0.022044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4001-26_0_4_line_81 |  | 76 | 78 | 0.032528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4001-26_0_4_line_82 |  | 77 | 79 | 0.016306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4001-26_0_4_line_83 |  | 78 | 80 | 0.0066246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4001-26_0_4_line_84 |  | 79 | 90 | 0.0059235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4001-26_0_4_line_85 |  | 80 | 92 | 0.0099395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4001-26_0_4_line_86 |  | 81 | 82 | 0.029968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4001-26_0_4_line_87 |  | 82 | 86 | 0.046447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4001-26_0_4_line_88 |  | 83 | 84 | 0.011813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4001-26_0_4_line_89 |  | 83 | 85 | 0.008711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4001-26_0_4_line_90 |  | 84 | 107 | 0.027272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4001-26_0_4_line_91 |  | 85 | 88 | 0.0041667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4001-26_0_4_line_92 |  | 86 | 88 | 0.014274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4001-26_0_4_line_93 |  | 86 | 89 | 0.0062349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4001-26_0_4_line_94 |  | 89 | 110 | 0.017742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4001-26_0_4_line_95 |  | 89 | 108 | 0.010137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_4001-26_0_4_line_96 |  | 90 | 91 | 0.020813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_4001-26_0_4_line_97 |  | 91 | 97 | 0.017858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_4001-26_0_4_line_98 |  | 93 | 95 | 0.0080753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_4001-26_0_4_line_99 |  | 94 | 111 | 0.019676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_4001-26_0_4_line_100 |  | 94 | 109 | 0.0023946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_4001-26_0_4_line_101 |  | 95 | 96 | 0.037917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_4001-26_0_4_line_102 |  | 97 | 98 | 0.029339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_4001-26_0_4_line_103 |  | 97 | 99 | 0.0016825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_4001-26_0_4_line_104 |  | 98 | 100 | 0.029724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_4001-26_0_4_line_105 |  | 101 | 102 | 0.011826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_4001-26_0_4_line_106 |  | 102 | 105 | 0.015879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_4001-26_0_4_line_107 |  | 103 | 104 | 0.007313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_4001-26_0_4_line_108 |  | 103 | 105 | 0.010614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_4001-26_0_4_line_109 |  | 104 | 106 | 0.016997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_4001-26_0_4_line_110 |  | 106 | 107 | 0.022266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_4001-26_0_4_line_111 |  | 108 | 109 | 0.019359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_4001-26_0_4_line_112 |  | 110 | 112 | 0.016519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_4001-26_0_4_line_113 |  | 111 | 113 | 0.0065198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4001-26_0_4_trafo_21 | 0.63 MVA 20/0.4 kV | 115 | 29 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2645355.0648 | 1248744.1219 | 2645369.4267 | 1248731.6187
1 | 2645376.1438 | 1248725.7708 | 2645369.4267 | 1248731.6187
2 | 2645355.0648 | 1248744.1219 | 2645386.5202 | 1248756.1594
3 | 2645334.7489 | 1248721.9407 | 2645347.6138 | 1248737.9831 | 2645350.9394 | 1248743.4789 | 2645355.0648 | 1248744.1219
4 | 2645334.7489 | 1248721.9407 | 2645352.5767 | 1248708.3675
5 | 2645334.7489 | 1248721.9407 | 2645312.5921 | 1248699.4791
6 | 2645366.8998 | 1248697.4625 | 2645352.5767 | 1248708.3675
7 | 2645293.8379 | 1248680.4671 | 2645312.5921 | 1248699.4791
8 | 2645293.8379 | 1248680.4671 | 2645307.8303 | 1248669.1487
9 | 2645293.8379 | 1248680.4671 | 2645288.3595 | 1248675.1556
10 | 2645321.601 | 1248666.6299 | 2645316.4406 | 1248662.3275 | 2645314.7397 | 1248663.5598 | 2645307.8303 | 1248669.1487
11 | 2645283.4511 | 1248674.0946 | 2645284.6485 | 1248671.5576 | 2645288.3595 | 1248675.1556
12 | 2645341.6228 | 1248669.269 | 2645337.5268 | 1248673.6628 | 2645332.4742 | 1248674.7917 | 2645328.5807 | 1248672.4492 | 2645321.601 | 1248666.6299
13 | 2645283.4511 | 1248674.0946 | 2645265.9767 | 1248658.4619
14 | 2645248.2007 | 1248642.7713 | 2645257.6144 | 1248650.9931 | 2645265.9767 | 1248658.4619
15 | 2645265.9767 | 1248658.4619 | 2645273.3882 | 1248650.1547
16 | 2645265.9767 | 1248658.4619 | 2645262.7753 | 1248662.3957
17 | 2645248.2007 | 1248642.7713 | 2645227.0253 | 1248624.2752 | 2645227.0253 | 1248624.2752
18 | 2645248.2007 | 1248642.7713 | 2645250.4417 | 1248640.0088 | 2645252.6519 | 1248637.3461 | 2645256.1843 | 1248636.5391 | 2645257.7187 | 1248633.3709 | 2645259.607 | 1248628.3598 | 2645266.8867 | 1248620.126
19 | 2645285.281 | 1248636.8246 | 2645273.3882 | 1248650.1547
20 | 2645262.7753 | 1248662.3957 | 2645259.9743 | 1248665.3096 | 2645254.08 | 1248668.8781 | 2645253.2741 | 1248669.0326
21 | 2645262.7753 | 1248662.3957 | 2645255.0627 | 1248653.8978 | 2645251.5408 | 1248650.5967
22 | 2645262.7753 | 1248662.3957 | 2645278.9849 | 1248676.5511 | 2645293.4052 | 1248689.7665
23 | 2645293.4052 | 1248689.7665 | 2645294.9889 | 1248691.2178
24 | 2645308.032 | 1248703.6358 | 2645304.5546 | 1248699.9842 | 2645294.9889 | 1248691.2178
25 | 2645225.3775 | 1248662.8886 | 2645236.4682 | 1248668.2656 | 2645244.5442 | 1248670.7066 | 2645253.2741 | 1248669.0326
26 | 2645251.5408 | 1248650.5967 | 2645229.4816 | 1248629.92 | 2645201.5543 | 1248609.6046 | 2645198.1923 | 1248607.8968
27 | 2645225.3775 | 1248662.8886 | 2645216.7924 | 1248658.7264
28 | 2645174.6057 | 1248595.915 | 2645198.1923 | 1248607.8968
29 | 2645227.0253 | 1248624.2752 | 2645210.8896 | 1248613.0567
30 | 2645285.281 | 1248636.8246 | 2645286.9178 | 1248634.99
31 | 2645293.378 | 1248617.4211 | 2645298.4903 | 1248622.0189 | 2645286.9178 | 1248634.99
32 | 2645293.378 | 1248617.4211 | 2645280.6532 | 1248605.9768
33 | 2645268.2837 | 1248594.852 | 2645280.6532 | 1248605.9768
34 | 2645268.0422 | 1248594.6348 | 2645268.2837 | 1248594.852
35 | 2645268.2837 | 1248594.852 | 2645301.5056 | 1248558.1261
36 | 2645329.8472 | 1248582.2497 | 2645331.4923 | 1248583.9565 | 2645341.3578 | 1248594.5646
37 | 2645353.8125 | 1248608.2262 | 2645351.2795 | 1248605.2331 | 2645341.3578 | 1248594.5646
38 | 2645329.8472 | 1248582.2497 | 2645319.5002 | 1248571.5145
39 | 2645353.8125 | 1248608.2262 | 2645354.885 | 1248609.4935
40 | 2645301.5056 | 1248558.1261 | 2645301.7634 | 1248558.3012 | 2645317.6627 | 1248569.6079 | 2645319.5002 | 1248571.5145
41 | 2645301.5056 | 1248558.1261 | 2645277.584 | 1248541.8839
42 | 2645192.8647 | 1248602.3633 | 2645203.3049 | 1248607.7834 | 2645210.8896 | 1248613.0567
43 | 2645147.7665 | 1248584.7561 | 2645167.6454 | 1248592.3793 | 2645174.6057 | 1248595.915
44 | 2645199.4048 | 1248651.2324 | 2645215.5915 | 1248658.1442 | 2645216.7924 | 1248658.7264
45 | 2645177.2245 | 1248594.2435 | 2645192.8647 | 1248602.3633
46 | 2645199.4048 | 1248651.2324 | 2645197.0097 | 1248650.2098
47 | 2645175.9698 | 1248641.8181 | 2645186.163 | 1248645.5782 | 2645197.0097 | 1248650.2098
48 | 2645168.6786 | 1248639.1285 | 2645175.9698 | 1248641.8181
49 | 2645168.6786 | 1248639.1285 | 2645151.97 | 1248632.965 | 2645149.5877 | 1248632.1455
50 | 2645138.7211 | 1248628.4072 | 2645149.5877 | 1248632.1455
51 | 2645138.7211 | 1248628.4072 | 2645125.9568 | 1248624.0161
52 | 2645164.1102 | 1248587.5936 | 2645173.5056 | 1248592.3128 | 2645177.2245 | 1248594.2435
53 | 2645139.4505 | 1248577.3991 | 2645149.3459 | 1248580.9101 | 2645153.1687 | 1248582.6404 | 2645164.1102 | 1248587.5936
54 | 2645139.4505 | 1248577.3991 | 2645148.596 | 1248553.2668
55 | 2645180.2019 | 1248558.808 | 2645180.4241 | 1248553.7528
56 | 2645171.5367 | 1248546.9697 | 2645180.4759 | 1248552.5725 | 2645180.4241 | 1248553.7528
57 | 2645148.596 | 1248553.2668 | 2645153.0592 | 1248541.4897 | 2645169.5037 | 1248545.6955 | 2645171.5367 | 1248546.9697
58 | 2645495.1001 | 1248672.7017 | 2645498.7268 | 1248671.4175 | 2645513.4871 | 1248668.4418
59 | 2645473.3701 | 1248680.3625 | 2645495.1001 | 1248672.7017
60 | 2645495.1001 | 1248672.7017 | 2645504.3079 | 1248689.995 | 2645509.7865 | 1248700.2773
61 | 2645473.3701 | 1248680.3625 | 2645469.4234 | 1248682.0111
62 | 2645473.3701 | 1248680.3625 | 2645473.088 | 1248658.7476
63 | 2645509.7865 | 1248700.2773 | 2645492.1453 | 1248709.4259
64 | 2645540.5403 | 1248702.3924 | 2645533.8514 | 1248704.1979 | 2645520.6618 | 1248702.9625 | 2645518.5845 | 1248701.1009 | 2645514.2927 | 1248698.5329 | 2645509.7865 | 1248700.2773
65 | 2645540.5403 | 1248702.3924 | 2645533.9387 | 1248699.7066
66 | 2645449.2429 | 1248690.4622 | 2645469.4234 | 1248682.0111
67 | 2645469.4234 | 1248682.0111 | 2645469.8711 | 1248672.5934
68 | 2645492.1453 | 1248709.4259 | 2645492.1453 | 1248709.4259 | 2645487.7559 | 1248700.8643 | 2645483.8199 | 1248702.944
69 | 2645449.2429 | 1248690.4622 | 2645439.7333 | 1248668.8697
70 | 2645449.2429 | 1248690.4622 | 2645422.0869 | 1248704.1042
71 | 2645470.8182 | 1248652.67 | 2645469.8711 | 1248672.5934
72 | 2645430.6067 | 1248648.1466 | 2645439.7333 | 1248668.8697
73 | 2645422.0869 | 1248704.1042 | 2645428.4286 | 1248713.6294 | 2645439.7716 | 1248730.6339
74 | 2645411.0921 | 1248687.5902 | 2645422.0869 | 1248704.1042
75 | 2645470.8182 | 1248652.67 | 2645471.2241 | 1248644.1328 | 2645484.9055 | 1248643.9956
76 | 2645155.9413 | 1248486.0092 | 2645166.7078 | 1248489.4587 | 2645177.6515 | 1248493.1556 | 2645179.0892 | 1248493.7836
77 | 2645132.2227 | 1248479.3784 | 2645148.6139 | 1248483.6616 | 2645155.9413 | 1248486.0092
78 | 2645202.2304 | 1248503.6746 | 2645189.5428 | 1248498.3497 | 2645179.0892 | 1248493.7836
79 | 2645131.8957 | 1248471.7375 | 2645132.7104 | 1248475.8242 | 2645132.2227 | 1248479.3784
80 | 2645202.2304 | 1248503.6746 | 2645222.5566 | 1248512.2054
81 | 2645131.8957 | 1248471.7375 | 2645142.6429 | 1248472.4975 | 2645148.8484 | 1248474.6907 | 2645154.4467 | 1248460.5887
82 | 2645222.5566 | 1248512.2054 | 2645223.0007 | 1248512.3918 | 2645237.1956 | 1248519.3853
83 | 2645154.4467 | 1248460.5887 | 2645156.891 | 1248454.4316
84 | 2645242.4761 | 1248522.0676 | 2645240.5365 | 1248521.0312 | 2645237.1956 | 1248519.3853
85 | 2645160.5584 | 1248445.1934 | 2645156.891 | 1248454.4316
86 | 2645373.9025 | 1248632.6301 | 2645371.4996 | 1248629.126 | 2645354.885 | 1248609.4935
87 | 2645415.9718 | 1248612.9443 | 2645373.9025 | 1248632.6301
88 | 2645400.3897 | 1248577.2351 | 2645405.2119 | 1248588.0186
89 | 2645408.7679 | 1248595.9707 | 2645405.2119 | 1248588.0186
90 | 2645387.0522 | 1248553.4682 | 2645398.8428 | 1248573.7758 | 2645400.3897 | 1248577.2351
91 | 2645408.7679 | 1248595.9707 | 2645410.4688 | 1248599.7744
92 | 2645415.9718 | 1248612.9443 | 2645411.56 | 1248602.2144 | 2645410.4688 | 1248599.7744
93 | 2645418.3428 | 1248618.7107 | 2645415.9718 | 1248612.9443
94 | 2645418.3428 | 1248618.7107 | 2645434.5696 | 1248611.5352
95 | 2645418.3428 | 1248618.7107 | 2645422.1969 | 1248628.0862
96 | 2645242.4761 | 1248522.0676 | 2645260.8331 | 1248531.876
97 | 2645276.192 | 1248540.9388 | 2645270.3025 | 1248536.9356 | 2645260.8331 | 1248531.876
98 | 2645444.2527 | 1248737.3518 | 2645439.7716 | 1248730.6339
99 | 2645430.6067 | 1248648.1466 | 2645440.7117 | 1248638.0616 | 2645445.8283 | 1248636.3381
100 | 2645430.6067 | 1248648.1466 | 2645429.643 | 1248645.9544
101 | 2645480.1014 | 1248749.7047 | 2645444.2527 | 1248737.3518
102 | 2645276.192 | 1248540.9388 | 2645291.8289 | 1248516.1142
103 | 2645276.192 | 1248540.9388 | 2645277.584 | 1248541.8839
104 | 2645291.8289 | 1248516.1142 | 2645295.959 | 1248509.5575 | 2645294.2395 | 1248496.4245 | 2645286.6903 | 1248492.0406
105 | 2645347.4155 | 1248494.3737 | 2645339.66 | 1248503.3204
106 | 2645360.6455 | 1248503.2141 | 2645347.4155 | 1248494.3737
107 | 2645363.0583 | 1248513.5506 | 2645366.8563 | 1248519.8
108 | 2645360.6455 | 1248503.2141 | 2645363.0583 | 1248513.5506
109 | 2645366.8563 | 1248519.8 | 2645375.6833 | 1248534.3247
110 | 2645387.0522 | 1248553.4682 | 2645381.3808 | 1248543.6998 | 2645375.6833 | 1248534.3247
111 | 2645422.1969 | 1248628.0862 | 2645428.0907 | 1248642.4235 | 2645429.643 | 1248645.9544
112 | 2645434.5696 | 1248611.5352 | 2645449.6776 | 1248604.8544
113 | 2645452.007 | 1248634.2567 | 2645445.8283 | 1248636.3381

## bus_geodata
| x | y | coords
0 | 2645369.4267 | 1248731.6187
1 | 2645355.0648 | 1248744.1219
2 | 2645376.1438 | 1248725.7708
3 | 2645386.5202 | 1248756.1594
4 | 2645334.7489 | 1248721.9407
5 | 2645352.5767 | 1248708.3675
6 | 2645312.592 | 1248699.4791
7 | 2645293.8379 | 1248680.4671
8 | 2645307.8303 | 1248669.1487
9 | 2645288.3595 | 1248675.1556
10 | 2645366.8998 | 1248697.4625
11 | 2645321.601 | 1248666.6299
12 | 2645283.4511 | 1248674.0946
13 | 2645265.9767 | 1248658.4619
14 | 2645341.6228 | 1248669.269
15 | 2645248.2007 | 1248642.7713
16 | 2645273.3882 | 1248650.1547
17 | 2645262.7753 | 1248662.3957
18 | 2645294.9889 | 1248691.2178
19 | 2645293.4052 | 1248689.7665
20 | 2645308.032 | 1248703.6358
21 | 2645253.2741 | 1248669.0326
22 | 2645251.5408 | 1248650.5967
23 | 2645225.3775 | 1248662.8886
24 | 2645198.1923 | 1248607.8968
25 | 2645227.0253 | 1248624.2752
26 | 2645266.8867 | 1248620.126
27 | 2645285.281 | 1248636.8246
28 | 2645286.9178 | 1248634.99
29 | 2645293.378 | 1248617.4211
30 | 2645280.6532 | 1248605.9768
31 | 2645268.2837 | 1248594.852
32 | 2645341.3578 | 1248594.5646
33 | 2645329.8472 | 1248582.2497
34 | 2645353.8125 | 1248608.2262
35 | 2645319.5002 | 1248571.5145
36 | 2645268.0422 | 1248594.6348
37 | 2645301.5056 | 1248558.1261
38 | 2645210.8896 | 1248613.0567
39 | 2645174.6057 | 1248595.915
40 | 2645147.7665 | 1248584.7561
41 | 2645216.7924 | 1248658.7264
42 | 2645192.8647 | 1248602.3633
43 | 2645199.4048 | 1248651.2324
44 | 2645197.0097 | 1248650.2098
45 | 2645175.9698 | 1248641.8181
46 | 2645168.6786 | 1248639.1285
47 | 2645149.5877 | 1248632.1455
48 | 2645138.7211 | 1248628.4072
49 | 2645125.9568 | 1248624.0161
50 | 2645177.2245 | 1248594.2435
51 | 2645164.1102 | 1248587.5936
52 | 2645139.4505 | 1248577.3991
53 | 2645180.2019 | 1248558.808
54 | 2645180.4241 | 1248553.7528
55 | 2645148.596 | 1248553.2668
56 | 2645171.5367 | 1248546.9697
57 | 2645513.4871 | 1248668.4418
58 | 2645495.1001 | 1248672.7017
59 | 2645473.3701 | 1248680.3625
60 | 2645509.7865 | 1248700.2773
61 | 2645540.5403 | 1248702.3924
62 | 2645533.9387 | 1248699.7066
63 | 2645469.4234 | 1248682.0111
64 | 2645473.088 | 1248658.7476
65 | 2645492.1453 | 1248709.4259
66 | 2645449.2429 | 1248690.4622
67 | 2645469.8711 | 1248672.5934
68 | 2645483.8199 | 1248702.944
69 | 2645439.7333 | 1248668.8697
70 | 2645422.0869 | 1248704.1042
71 | 2645470.8182 | 1248652.67
72 | 2645155.9413 | 1248486.0092
73 | 2645179.0892 | 1248493.7836
74 | 2645132.2227 | 1248479.3784
75 | 2645202.2304 | 1248503.6746
76 | 2645131.8957 | 1248471.7375
77 | 2645222.5566 | 1248512.2054
78 | 2645154.4467 | 1248460.5887
79 | 2645237.1956 | 1248519.3853
80 | 2645156.891 | 1248454.4316
81 | 2645354.885 | 1248609.4935
82 | 2645373.9025 | 1248632.6301
83 | 2645405.2119 | 1248588.0186
84 | 2645400.3897 | 1248577.2351
85 | 2645408.7679 | 1248595.9707
86 | 2645415.9718 | 1248612.9443
87 | 2645411.0921 | 1248687.5902
88 | 2645410.4688 | 1248599.7744
89 | 2645418.3428 | 1248618.7107
90 | 2645242.4761 | 1248522.0676
91 | 2645260.8331 | 1248531.876
92 | 2645160.5584 | 1248445.1934
93 | 2645439.7716 | 1248730.6339
94 | 2645430.6067 | 1248648.1466
95 | 2645444.2527 | 1248737.3518
96 | 2645480.1014 | 1248749.7047
97 | 2645276.192 | 1248540.9388
98 | 2645291.8289 | 1248516.1142
99 | 2645277.584 | 1248541.8839
100 | 2645286.6903 | 1248492.0406
101 | 2645339.66 | 1248503.3204
102 | 2645347.4155 | 1248494.3737
103 | 2645363.0583 | 1248513.5506
104 | 2645366.8563 | 1248519.8
105 | 2645360.6455 | 1248503.2141
106 | 2645375.6833 | 1248534.3247
107 | 2645387.0522 | 1248553.4682
108 | 2645422.1969 | 1248628.0862
109 | 2645429.643 | 1248645.9544
110 | 2645434.5696 | 1248611.5352
111 | 2645445.8283 | 1248636.3381
112 | 2645449.6776 | 1248604.8544
113 | 2645452.007 | 1248634.2567
114 | 2645484.9055 | 1248643.9956
115 | 2645268.0422 | 1248594.6348

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1