## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4001-2_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4001-2_0_4_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_4001-2_0_4_node_22 | 0.4 | n |  | TRUE
3 | bus_LV_4001-2_0_4_node_23 | 0.4 | n |  | TRUE
4 | bus_LV_4001-2_0_4_node_58 | 0.4 | n |  | TRUE
5 | bus_LV_4001-2_0_4_node_57 | 0.4 | n |  | TRUE
6 | bus_LV_4001-2_0_4_node_90 | 0.4 | n |  | TRUE
7 | bus_LV_4001-2_0_4_node_91 | 0.4 | n |  | TRUE
8 | bus_LV_4001-2_0_4_node_98 | 0.4 | n |  | TRUE
9 | bus_LV_4001-2_0_4_node_96 | 0.4 | n |  | TRUE
10 | bus_LV_4001-2_0_4_node_181 | 0.4 | n |  | TRUE
11 | bus_LV_4001-2_0_4_node_182 | 0.4 | n |  | TRUE
12 | bus_LV_4001-2_0_4_node_183 | 0.4 | n |  | TRUE
13 | bus_LV_4001-2_0_4_node_56 | 0.4 | n |  | TRUE
14 | bus_LV_4001-2_0_4_node_55 | 0.4 | n |  | TRUE
15 | bus_LV_4001-2_0_4_node_46 | 0.4 | n |  | TRUE
16 | bus_LV_4001-2_0_4_node_32 | 0.4 | n |  | TRUE
17 | bus_LV_4001-2_0_4_node_33 | 0.4 | n |  | TRUE
18 | bus_LV_4001-2_0_4_node_34 | 0.4 | n |  | TRUE
19 | bus_LV_4001-2_0_4_node_35 | 0.4 | n |  | TRUE
20 | bus_LV_4001-2_0_4_node_37 | 0.4 | n |  | TRUE
21 | bus_LV_4001-2_0_4_node_38 | 0.4 | n |  | TRUE
22 | bus_LV_4001-2_0_4_node_92 | 0.4 | n |  | TRUE
23 | bus_LV_4001-2_0_4_node_47 | 0.4 | n |  | TRUE
24 | bus_LV_4001-2_0_4_node_150 | 0.4 | n |  | TRUE
25 | bus_LV_4001-2_0_4_node_44 | 0.4 | n |  | TRUE
26 | bus_LV_4001-2_0_4_node_54 | 0.4 | n |  | TRUE
27 | bus_LV_4001-2_0_4_node_48 | 0.4 | n |  | TRUE
28 | bus_LV_4001-2_0_4_node_151 | 0.4 | n |  | TRUE
29 | bus_LV_4001-2_0_4_node_40 | 0.4 | n |  | TRUE
30 | bus_LV_4001-2_0_4_node_41 | 0.4 | n |  | TRUE
31 | bus_LV_4001-2_0_4_node_42 | 0.4 | n |  | TRUE
32 | bus_LV_4001-2_0_4_node_43 | 0.4 | n |  | TRUE
33 | bus_LV_4001-2_0_4_node_45 | 0.4 | n |  | TRUE
34 | bus_LV_4001-2_0_4_node_49 | 0.4 | n |  | TRUE
35 | bus_LV_4001-2_0_4_node_50 | 0.4 | n |  | TRUE
36 | bus_LV_4001-2_0_4_node_51 | 0.4 | n |  | TRUE
37 | bus_LV_4001-2_0_4_node_149 | 0.4 | n |  | TRUE
38 | bus_LV_4001-2_0_4_node_52 | 0.4 | n |  | TRUE
39 | bus_LV_4001-2_0_4_node_53 | 0.4 | n |  | TRUE
40 | bus_LV_4001-2_0_4_node_119 | 0.4 | n |  | TRUE
41 | bus_LV_4001-2_0_4_node_128 | 0.4 | n |  | TRUE
42 | bus_LV_4001-2_0_4_node_120 | 0.4 | n |  | TRUE
43 | bus_LV_4001-2_0_4_node_129 | 0.4 | n |  | TRUE
44 | bus_LV_4001-2_0_4_node_97 | 0.4 | n |  | TRUE
45 | bus_LV_4001-2_0_4_node_99 | 0.4 | n |  | TRUE
46 | bus_LV_4001-2_0_4_node_118 | 0.4 | n |  | TRUE
47 | bus_LV_4001-2_0_4_node_116 | 0.4 | n |  | TRUE
48 | bus_LV_4001-2_0_4_node_100 | 0.4 | n |  | TRUE
49 | bus_LV_4001-2_0_4_node_101 | 0.4 | n |  | TRUE
50 | bus_LV_4001-2_0_4_node_102 | 0.4 | n |  | TRUE
51 | bus_LV_4001-2_0_4_node_103 | 0.4 | n |  | TRUE
52 | bus_LV_4001-2_0_4_node_104 | 0.4 | n |  | TRUE
53 | bus_LV_4001-2_0_4_node_105 | 0.4 | n |  | TRUE
54 | bus_LV_4001-2_0_4_node_117 | 0.4 | n |  | TRUE
55 | bus_LV_4001-2_0_4_node_121 | 0.4 | n |  | TRUE
56 | bus_LV_4001-2_0_4_node_108 | 0.4 | n |  | TRUE
57 | bus_LV_4001-2_0_4_node_115 | 0.4 | n |  | TRUE
58 | bus_LV_4001-2_0_4_node_122 | 0.4 | n |  | TRUE
59 | bus_LV_4001-2_0_4_node_110 | 0.4 | n |  | TRUE
60 | bus_LV_4001-2_0_4_node_106 | 0.4 | n |  | TRUE
61 | bus_LV_4001-2_0_4_node_107 | 0.4 | n |  | TRUE
62 | bus_LV_4001-2_0_4_node_109 | 0.4 | n |  | TRUE
63 | bus_LV_4001-2_0_4_node_157 | 0.4 | n |  | TRUE
64 | bus_LV_4001-2_0_4_node_114 | 0.4 | n |  | TRUE
65 | bus_LV_4001-2_0_4_node_127 | 0.4 | n |  | TRUE
66 | bus_LV_4001-2_0_4_node_112 | 0.4 | n |  | TRUE
67 | bus_LV_4001-2_0_4_node_111 | 0.4 | n |  | TRUE
68 | bus_LV_4001-2_0_4_node_113 | 0.4 | n |  | TRUE
69 | bus_LV_4001-2_0_4_node_123 | 0.4 | n |  | TRUE
70 | bus_LV_4001-2_0_4_node_124 | 0.4 | n |  | TRUE
71 | bus_LV_4001-2_0_4_node_125 | 0.4 | n |  | TRUE
72 | bus_LV_4001-2_0_4_node_126 | 0.4 | n |  | TRUE
73 | bus_LV_4001-2_0_4_node_158 | 0.4 | n |  | TRUE
74 | bus_LV_4001-2_0_4_node_166 | 0.4 | n |  | TRUE
75 | bus_LV_4001-2_0_4_node_148 | 0.4 | n |  | TRUE
76 | bus_LV_4001-2_0_4_node_154 | 0.4 | n |  | TRUE
77 | bus_LV_4001-2_0_4_node_185 | 0.4 | n |  | TRUE
78 | bus_LV_4001-2_0_4_node_152 | 0.4 | n |  | TRUE
79 | bus_LV_4001-2_0_4_node_156 | 0.4 | n |  | TRUE
80 | bus_LV_4001-2_0_4_node_155 | 0.4 | n |  | TRUE
81 | bus_LV_4001-2_0_4_node_160 | 0.4 | n |  | TRUE
82 | bus_LV_4001-2_0_4_node_159 | 0.4 | n |  | TRUE
83 | bus_LV_4001-2_0_4_node_162 | 0.4 | n |  | TRUE
84 | bus_LV_4001-2_0_4_node_164 | 0.4 | n |  | TRUE
85 | bus_LV_4001-2_0_4_node_161 | 0.4 | n |  | TRUE
86 | bus_LV_4001-2_0_4_node_165 | 0.4 | n |  | TRUE
87 | bus_MV_522_0_node_186 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4001-2_0_4_load_0 | 0 | 0.035772 | 0.0089654 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4001-2_0_4_load_23 | 3 | 0.0016836 | 0.00042196 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4001-2_0_4_load_58 | 4 | 0.0055368 | 0.0013877 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4001-2_0_4_load_57 | 5 | 0.00266 | 0.00066665 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4001-2_0_4_load_91 | 7 | 0.014828 | 0.0037162 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4001-2_0_4_load_98 | 8 | 0.0014695 | 0.00036829 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4001-2_0_4_load_96 | 9 | 0.0019559 | 0.0004902 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4001-2_0_4_load_181 | 10 | 0.0013431 | 0.00033662 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4001-2_0_4_load_182 | 11 | 0.0029786 | 0.00074651 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4001-2_0_4_load_183 | 12 | 0.0056975 | 0.0014279 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4001-2_0_4_load_46 | 15 | 0.0016844 | 0.00042216 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4001-2_0_4_load_32 | 16 | 0.0022966 | 0.00057559 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4001-2_0_4_load_37 | 20 | 0.0036922 | 0.00092534 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4001-2_0_4_load_38 | 21 | 0.0018968 | 0.00047539 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4001-2_0_4_load_92 | 22 | 0.0034827 | 0.00087283 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4001-2_0_4_load_47 | 23 | 0.0049045 | 0.0012292 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4001-2_0_4_load_150 | 24 | 0.0025046 | 0.00062771 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4001-2_0_4_load_44 | 25 | 0.0016519 | 0.000414 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4001-2_0_4_load_54 | 26 | 0.0023086 | 0.00057858 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4001-2_0_4_load_40 | 29 | 0.010993 | 0.0027552 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4001-2_0_4_load_41 | 30 | 0.0018234 | 0.00045698 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4001-2_0_4_load_42 | 31 | 0.0016515 | 0.00041392 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4001-2_0_4_load_43 | 32 | 0.0017824 | 0.00044672 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4001-2_0_4_load_45 | 33 | 0.0018226 | 0.00045678 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4001-2_0_4_load_49 | 34 | 0.001333 | 0.00033409 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4001-2_0_4_load_50 | 35 | 0.0024355 | 0.0006104 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4001-2_0_4_load_149 | 37 | 0.0017874 | 0.00044796 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4001-2_0_4_load_52 | 38 | 0.0010211 | 0.00025591 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4001-2_0_4_load_53 | 39 | 0.0029545 | 0.00074046 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4001-2_0_4_load_119 | 40 | 0.0010211 | 0.00025591 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4001-2_0_4_load_128 | 41 | 0.0016529 | 0.00041424 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4001-2_0_4_load_120 | 42 | 0.0010205 | 0.00025577 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4001-2_0_4_load_129 | 43 | 0.0022755 | 0.0005703 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4001-2_0_4_load_97 | 44 | 0.0018242 | 0.00045719 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4001-2_0_4_load_99 | 45 | 0.0031718 | 0.00079493 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4001-2_0_4_load_118 | 46 | 0.0061278 | 0.0015358 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4001-2_0_4_load_116 | 47 | 0.0010215 | 0.00025602 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4001-2_0_4_load_100 | 48 | 0.0010211 | 0.00025591 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4001-2_0_4_load_101 | 49 | 0.0010211 | 0.00025591 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4001-2_0_4_load_103 | 51 | 0.0010205 | 0.00025577 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4001-2_0_4_load_104 | 52 | 0.0010211 | 0.0002559 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4001-2_0_4_load_105 | 53 | 0.0014997 | 0.00037586 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4001-2_0_4_load_117 | 54 | 0.0034707 | 0.00086984 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4001-2_0_4_load_121 | 55 | 0.0010215 | 0.00025602 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4001-2_0_4_load_115 | 57 | 0.0034707 | 0.00086984 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4001-2_0_4_load_122 | 58 | 0.0010215 | 0.00025602 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4001-2_0_4_load_110 | 59 | 0.0027089 | 0.0006789 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4001-2_0_4_load_106 | 60 | 0.00074463 | 0.00018662 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4001-2_0_4_load_107 | 61 | 0.0019712 | 0.00049402 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4001-2_0_4_load_109 | 62 | 0.0024796 | 0.00062144 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4001-2_0_4_load_157 | 63 | 0.0017522 | 0.00043913 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4001-2_0_4_load_114 | 64 | 0.0014283 | 0.00035796 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4001-2_0_4_load_112 | 66 | 0.001831 | 0.00045888 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4001-2_0_4_load_111 | 67 | 0.0022367 | 0.00056057 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4001-2_0_4_load_113 | 68 | 0.0026722 | 0.00066972 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4001-2_0_4_load_123 | 69 | 0.0031093 | 0.00077927 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4001-2_0_4_load_124 | 70 | 0.001711 | 0.00042881 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4001-2_0_4_load_125 | 71 | 0.0038004 | 0.00095247 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4001-2_0_4_load_126 | 72 | 0.0027511 | 0.0006895 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4001-2_0_4_load_185 | 77 | 0.00078253 | 0.00019612 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4001-2_0_4_load_152 | 78 | 0.001928 | 0.00048321 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4001-2_0_4_load_156 | 79 | 0.0049097 | 0.0012305 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4001-2_0_4_load_155 | 80 | 0.0031536 | 0.00079037 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4001-2_0_4_load_160 | 81 | 0.0015952 | 0.0003998 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4001-2_0_4_load_159 | 82 | 0.0011834 | 0.00029659 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4001-2_0_4_load_164 | 84 | 0.0053337 | 0.0013368 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4001-2_0_4_load_161 | 85 | 0.0014969 | 0.00037517 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4001-2_0_4_load_165 | 86 | 0.0019378 | 0.00048566 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 50 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4001-2_0_4_line_0 |  | 0 | 1 | 0.045156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4001-2_0_4_line_1 |  | 1 | 2 | 0.008764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4001-2_0_4_line_2 |  | 1 | 3 | 0.029006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4001-2_0_4_line_3 |  | 2 | 4 | 0.019232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4001-2_0_4_line_4 |  | 2 | 5 | 0.0085803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4001-2_0_4_line_5 |  | 3 | 6 | 0.013658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4001-2_0_4_line_6 |  | 5 | 14 | 0.031052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4001-2_0_4_line_7 |  | 6 | 15 | 0.021287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4001-2_0_4_line_8 |  | 6 | 7 | 0.025138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4001-2_0_4_line_9 |  | 8 | 9 | 0.014166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4001-2_0_4_line_10 |  | 9 | 44 | 0.0121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4001-2_0_4_line_11 |  | 10 | 11 | 0.034263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4001-2_0_4_line_12 |  | 11 | 73 | 0.0089798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4001-2_0_4_line_13 |  | 12 | 13 | 0.0044341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4001-2_0_4_line_14 |  | 13 | 14 | 0.019316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4001-2_0_4_line_15 |  | 14 | 26 | 0.049861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4001-2_0_4_line_16 |  | 15 | 33 | 0.020535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4001-2_0_4_line_17 |  | 16 | 17 | 0.051147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_4001-2_0_4_line_18 |  | 16 | 18 | 0.036513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_4001-2_0_4_line_19 |  | 17 | 19 | 0.032761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4001-2_0_4_line_20 |  | 18 | 20 | 0.016666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_4001-2_0_4_line_21 |  | 18 | 21 | 0.048596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4001-2_0_4_line_22 |  | 19 | 22 | 0.012918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4001-2_0_4_line_23 |  | 20 | 23 | 0.024128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_4001-2_0_4_line_24 |  | 21 | 24 | 0.03351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4001-2_0_4_line_25 |  | 22 | 25 | 0.024335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4001-2_0_4_line_26 |  | 23 | 27 | 0.032357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_4001-2_0_4_line_27 |  | 24 | 28 | 0.058406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4001-2_0_4_line_28 |  | 25 | 31 | 0.0099192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4001-2_0_4_line_29 |  | 27 | 34 | 0.023105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_4001-2_0_4_line_30 |  | 27 | 35 | 0.050451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4001-2_0_4_line_31 |  | 28 | 78 | 0.0082533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4001-2_0_4_line_32 |  | 29 | 30 | 0.0090836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4001-2_0_4_line_33 |  | 29 | 31 | 0.008842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4001-2_0_4_line_34 |  | 30 | 32 | 0.008094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4001-2_0_4_line_35 |  | 32 | 33 | 0.0033094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4001-2_0_4_line_36 |  | 34 | 36 | 0.02002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_4001-2_0_4_line_37 |  | 35 | 37 | 0.034823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4001-2_0_4_line_38 |  | 36 | 38 | 0.012843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_4001-2_0_4_line_39 |  | 36 | 39 | 0.024986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4001-2_0_4_line_40 |  | 38 | 40 | 4.1889e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_4001-2_0_4_line_41 |  | 39 | 41 | 0.0054337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4001-2_0_4_line_42 |  | 40 | 42 | 4.872e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_4001-2_0_4_line_43 |  | 41 | 43 | 0.034741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4001-2_0_4_line_44 |  | 42 | 58 | 0.022738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_4001-2_0_4_line_45 |  | 44 | 45 | 0.00023361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4001-2_0_4_line_46 |  | 45 | 46 | 0.030137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4001-2_0_4_line_47 |  | 46 | 47 | 0.019662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4001-2_0_4_line_48 |  | 47 | 57 | 0.00047561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4001-2_0_4_line_49 |  | 48 | 49 | 0.00015654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4001-2_0_4_line_50 |  | 48 | 50 | 0.008614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4001-2_0_4_line_51 |  | 49 | 51 | 0.00016332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4001-2_0_4_line_52 |  | 50 | 52 | 0.01168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
53 | LV_4001-2_0_4_line_53 |  | 50 | 53 | 0.032562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4001-2_0_4_line_54 |  | 51 | 54 | 0.018793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4001-2_0_4_line_55 |  | 52 | 55 | 0.00046589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
56 | LV_4001-2_0_4_line_56 |  | 53 | 56 | 0.0026084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4001-2_0_4_line_57 |  | 54 | 57 | 0.00048309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4001-2_0_4_line_58 |  | 55 | 58 | 0.00047566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
59 | LV_4001-2_0_4_line_59 |  | 56 | 59 | 0.032272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4001-2_0_4_line_60 |  | 56 | 60 | 0.056659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4001-2_0_4_line_61 |  | 59 | 64 | 0.016071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4001-2_0_4_line_62 |  | 60 | 61 | 0.0058942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4001-2_0_4_line_63 |  | 61 | 62 | 0.021192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4001-2_0_4_line_64 |  | 62 | 63 | 0.032331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4001-2_0_4_line_65 |  | 63 | 65 | 0.0097385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4001-2_0_4_line_66 |  | 64 | 66 | 0.022136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4001-2_0_4_line_67 |  | 65 | 73 | 0.016603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4001-2_0_4_line_68 |  | 65 | 71 | 0.057832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4001-2_0_4_line_69 |  | 66 | 67 | 0.016621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4001-2_0_4_line_70 |  | 67 | 68 | 0.020177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4001-2_0_4_line_71 |  | 69 | 70 | 0.024832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4001-2_0_4_line_72 |  | 69 | 71 | 0.0042998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4001-2_0_4_line_73 |  | 70 | 72 | 0.0088295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4001-2_0_4_line_74 |  | 73 | 74 | 0.05021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4001-2_0_4_line_75 |  | 74 | 86 | 0.017431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4001-2_0_4_line_76 |  | 75 | 76 | 0.1013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4001-2_0_4_line_77 |  | 75 | 77 | 0.0040133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4001-2_0_4_line_78 |  | 76 | 79 | 0.019106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4001-2_0_4_line_79 |  | 76 | 80 | 0.040894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4001-2_0_4_line_80 |  | 79 | 83 | 0.0048193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4001-2_0_4_line_81 |  | 81 | 82 | 0.020858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4001-2_0_4_line_82 |  | 82 | 85 | 0.018919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4001-2_0_4_line_83 |  | 83 | 84 | 0.08951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4001-2_0_4_line_84 |  | 83 | 85 | 0.026658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4001-2_0_4_line_85 |  | 84 | 86 | 0.00032136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4001-2_0_4_trafo_102 | 0.63 MVA 20/0.4 kV | 87 | 50 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2645303.9119 | 1249628.8927 | 2645343.7613 | 1249650.1307
1 | 2645307.3407 | 1249620.8246 | 2645303.9119 | 1249628.8927
2 | 2645303.9119 | 1249628.8927 | 2645291.465 | 1249655.0922
3 | 2645307.3407 | 1249620.8246 | 2645324.3925 | 1249629.7191
4 | 2645307.3407 | 1249620.8246 | 2645310.6278 | 1249612.8989
5 | 2645285.664 | 1249667.4571 | 2645288.5119 | 1249661.3081 | 2645291.465 | 1249655.0922
6 | 2645322.5238 | 1249584.2159 | 2645310.6278 | 1249612.8989
7 | 2645285.664 | 1249667.4571 | 2645267.0276 | 1249657.1701
8 | 2645285.664 | 1249667.4571 | 2645288.1751 | 1249668.8328 | 2645307.6866 | 1249679.5775
9 | 2645347.4685 | 1249797.435 | 2645353.3291 | 1249800.0523 | 2645360.5329 | 1249802.9025
10 | 2645347.4685 | 1249797.435 | 2645336.4199 | 1249792.5008
11 | 2645365.2062 | 1249874.2025 | 2645347.1949 | 1249894.3357 | 2645343.7056 | 1249900.6892
12 | 2645341.1401 | 1249909.1549 | 2645341.9352 | 1249903.913 | 2645343.7056 | 1249900.6892
13 | 2645341.8834 | 1249584.9532 | 2645342.2611 | 1249588.8698 | 2645342.7431 | 1249589.0003
14 | 2645322.5238 | 1249584.2159 | 2645341.8834 | 1249584.9532
15 | 2645322.5238 | 1249584.2159 | 2645273.7293 | 1249585.2329 | 2645272.6789 | 1249585.3448
16 | 2645248.9073 | 1249647.5128 | 2645259.7645 | 1249653.161 | 2645267.0276 | 1249657.1701
17 | 2645147.6299 | 1249607.3979 | 2645146.5041 | 1249612.4705 | 2645137.8958 | 1249610.7038 | 2645128.7713 | 1249646.7299
18 | 2645119.8065 | 1249682.1254 | 2645128.7713 | 1249646.7299
19 | 2645147.6299 | 1249607.3979 | 2645158.7895 | 1249610.2403 | 2645179.0109 | 1249616.7542
20 | 2645119.8065 | 1249682.1254 | 2645134.0171 | 1249688.7936 | 2645134.8705 | 1249689.2519
21 | 2645119.8065 | 1249682.1254 | 2645117.878 | 1249690.5053 | 2645107.5937 | 1249727.4297 | 2645107.211 | 1249729.0527
22 | 2645179.0109 | 1249616.7542 | 2645191.283 | 1249620.7884
23 | 2645134.8705 | 1249689.2519 | 2645156.1275 | 1249700.6669
24 | 2645099.5206 | 1249761.6687 | 2645107.211 | 1249729.0527
25 | 2645213.767 | 1249630.0625 | 2645195.2852 | 1249622.104 | 2645191.283 | 1249620.7884
26 | 2645184.6342 | 1249715.975 | 2645156.1275 | 1249700.6669
27 | 2645086.7274 | 1249818.6548 | 2645095.6265 | 1249778.1841 | 2645099.5206 | 1249761.6687
28 | 2645222.8065 | 1249634.1459 | 2645214.4213 | 1249630.3443 | 2645213.767 | 1249630.0625
29 | 2645184.6342 | 1249715.975 | 2645204.9317 | 1249727.013
30 | 2645184.6342 | 1249715.975 | 2645174.6658 | 1249736.1682 | 2645170.9315 | 1249743.7338 | 2645165.9857 | 1249753.7584 | 2645158.5015 | 1249750.1323
31 | 2645086.7274 | 1249818.6548 | 2645086.6614 | 1249826.9078
32 | 2645238.791 | 1249642.25 | 2645230.7326 | 1249638.0578
33 | 2645222.8065 | 1249634.1459 | 2645225.9702 | 1249635.5803 | 2645230.7326 | 1249638.0578
34 | 2645238.791 | 1249642.25 | 2645245.9715 | 1249645.9855
35 | 2645248.9073 | 1249647.5128 | 2645245.9715 | 1249645.9855
36 | 2645222.5196 | 1249736.5776 | 2645204.9317 | 1249727.013
37 | 2645148.9269 | 1249770.173 | 2645145.3027 | 1249760.3165 | 2645143.5733 | 1249751.4641 | 2645156.3624 | 1249751.4503 | 2645158.5015 | 1249750.1323
38 | 2645222.5196 | 1249736.5776 | 2645233.9622 | 1249742.4089
39 | 2645222.5196 | 1249736.5776 | 2645210.2789 | 1249758.36
40 | 2645233.9622 | 1249742.4089 | 2645233.9995 | 1249742.4279
41 | 2645210.2789 | 1249758.36 | 2645207.6169 | 1249763.0971
42 | 2645233.9995 | 1249742.4279 | 2645234.0429 | 1249742.4501
43 | 2645190.5972 | 1249793.3837 | 2645207.6169 | 1249763.0971
44 | 2645234.0429 | 1249742.4501 | 2645243.539 | 1249747.2895 | 2645254.615 | 1249752.1099
45 | 2645336.2065 | 1249792.4055 | 2645336.4199 | 1249792.5008
46 | 2645308.6885 | 1249780.1162 | 2645336.2065 | 1249792.4055
47 | 2645308.6885 | 1249780.1162 | 2645307.7346 | 1249779.6902 | 2645295.435 | 1249772.9584 | 2645291.5077 | 1249770.571
48 | 2645291.1013 | 1249770.3239 | 2645291.5077 | 1249770.571
49 | 2645273.9257 | 1249760.9321 | 2645274.0663 | 1249761.0009
50 | 2645266.188 | 1249757.1467 | 2645273.9257 | 1249760.9321
51 | 2645274.0663 | 1249761.0009 | 2645274.213 | 1249761.0726
52 | 2645266.188 | 1249757.1467 | 2645255.4783 | 1249752.4857
53 | 2645266.188 | 1249757.1467 | 2645264.8158 | 1249761.8505 | 2645262.0753 | 1249767.778 | 2645260.2064 | 1249774.257 | 2645260.9483 | 1249778.9436 | 2645265.8628 | 1249783.9178 | 2645267.8473 | 1249785.676
54 | 2645274.213 | 1249761.0726 | 2645282.7653 | 1249765.2565 | 2645290.6885 | 1249770.073
55 | 2645255.0511 | 1249752.2997 | 2645255.4783 | 1249752.4857
56 | 2645269.7996 | 1249787.4058 | 2645267.8473 | 1249785.676
57 | 2645290.6885 | 1249770.073 | 2645291.1013 | 1249770.3239
58 | 2645254.615 | 1249752.1099 | 2645255.0511 | 1249752.2997
59 | 2645269.7996 | 1249787.4058 | 2645269.39 | 1249792.6061 | 2645272.7291 | 1249797.257 | 2645277.3365 | 1249801.9175 | 2645278.4281 | 1249806.2732 | 2645277.5601 | 1249809.213 | 2645275.7128 | 1249811.8674 | 2645272.5985 | 1249814.3564
60 | 2645269.7996 | 1249787.4058 | 2645277.6808 | 1249794.404 | 2645285.5282 | 1249803.8369 | 2645286.2952 | 1249805.2215 | 2645289.1248 | 1249810.3465 | 2645293.4886 | 1249819.2191 | 2645297.0808 | 1249827.3076 | 2645300.7672 | 1249834.0382
61 | 2645272.5985 | 1249814.3564 | 2645272.5985 | 1249814.3564 | 2645268.2342 | 1249815.4461 | 2645264.0185 | 1249814.8579 | 2645257.7988 | 1249811.0047
62 | 2645303.6681 | 1249839.1682 | 2645302.5235 | 1249837.2447 | 2645300.7672 | 1249834.0382
63 | 2645314.7593 | 1249857.22 | 2645311.2369 | 1249851.8878 | 2645303.6681 | 1249839.1682
64 | 2645314.7593 | 1249857.22 | 2645326.2302 | 1249874.5843 | 2645332.1193 | 1249884.4846
65 | 2645336.1352 | 1249893.3282 | 2645333.6316 | 1249887.0271 | 2645332.1193 | 1249884.4846
66 | 2645257.7988 | 1249811.0047 | 2645248.9004 | 1249805.4918 | 2645240.0775 | 1249801.2105 | 2645238.3265 | 1249800.5782
67 | 2645336.1352 | 1249893.3282 | 2645338.2266 | 1249899.2148 | 2645341.1401 | 1249909.1549
68 | 2645336.1352 | 1249893.3282 | 2645334.3725 | 1249897.7511 | 2645331.4447 | 1249910.415 | 2645326.8389 | 1249919.3859 | 2645322.1157 | 1249921.996 | 2645317.7703 | 1249923.5638 | 2645313.8271 | 1249920.9208 | 2645303.175 | 1249910.0415
69 | 2645224.0336 | 1249802.3557 | 2645225.32 | 1249799.9861 | 2645227.8618 | 1249798.3154 | 2645230.5363 | 1249798.0579 | 2645233.3467 | 1249798.7798 | 2645238.3265 | 1249800.5782
70 | 2645237.998 | 1249815.5043 | 2645225.9643 | 1249807.5517 | 2645224.1577 | 1249804.8805 | 2645224.0336 | 1249802.3557
71 | 2645300.1669 | 1249906.9693 | 2645294.8077 | 1249901.4958 | 2645282.1629 | 1249889.8782
72 | 2645300.1669 | 1249906.9693 | 2645303.175 | 1249910.0415
73 | 2645275.6609 | 1249883.9044 | 2645282.1629 | 1249889.8782
74 | 2645327.1601 | 1249957.3473 | 2645328.716 | 1249950.3433 | 2645330.795 | 1249943.0432 | 2645333.2079 | 1249934.5448 | 2645338.0101 | 1249917.6478 | 2645341.1401 | 1249909.1549
75 | 2645327.1601 | 1249957.3473 | 2645322.1139 | 1249955.7965 | 2645315.0727 | 1249953.519 | 2645311.6329 | 1249952.1807 | 2645310.6544 | 1249951.7727
76 | 2645211.1439 | 1249902.6806 | 2645207.9691 | 1249906.181 | 2645197.5954 | 1249907.2804 | 2645186.0207 | 1249904.5015 | 2645174.4937 | 1249901.4116 | 2645165.2393 | 1249899.2842 | 2645157.2166 | 1249897.9889 | 2645145.5291 | 1249899.1118 | 2645142.1301 | 1249903.3221 | 2645140.1447 | 1249908.2659 | 2645141.7117 | 1249916.6279 | 2645142.0032 | 1249921.967 | 2645149.7554 | 1249925.0615
77 | 2645149.7554 | 1249925.0615 | 2645145.7431 | 1249925.1468
78 | 2645211.1439 | 1249902.6806 | 2645229.708 | 1249907.1996
79 | 2645211.1439 | 1249902.6806 | 2645188.6816 | 1249895.1377 | 2645176.0012 | 1249885.8793 | 2645174.7754 | 1249885.017
80 | 2645234.3906 | 1249908.3394 | 2645229.708 | 1249907.1996
81 | 2645244.7532 | 1249952.7214 | 2645246.6391 | 1249960.3123 | 2645250.7506 | 1249972.6831
82 | 2645244.7532 | 1249952.7214 | 2645242.413 | 1249943.3019 | 2645240.3525 | 1249934.3221
83 | 2645234.3906 | 1249908.3394 | 2645249.3623 | 1249911.1332 | 2645262.7764 | 1249915.2384 | 2645271.5182 | 1249921.2202 | 2645288.1438 | 1249934.8118 | 2645298.1114 | 1249944.3611 | 2645304.0549 | 1249949.0207 | 2645310.3578 | 1249951.649
84 | 2645234.3906 | 1249908.3394 | 2645240.3525 | 1249934.3221
85 | 2645310.3578 | 1249951.649 | 2645310.6544 | 1249951.7727

## bus_geodata
| x | y | coords
0 | 2645343.7613 | 1249650.1307
1 | 2645303.9119 | 1249628.8927
2 | 2645307.3407 | 1249620.8246
3 | 2645291.465 | 1249655.0922
4 | 2645324.3925 | 1249629.7191
5 | 2645310.6278 | 1249612.8989
6 | 2645285.664 | 1249667.4571
7 | 2645307.6866 | 1249679.5775
8 | 2645360.5329 | 1249802.9025
9 | 2645347.4685 | 1249797.435
10 | 2645365.2062 | 1249874.2025
11 | 2645343.7056 | 1249900.6892
12 | 2645342.7431 | 1249589.0003
13 | 2645341.8834 | 1249584.9532
14 | 2645322.5238 | 1249584.2159
15 | 2645267.0276 | 1249657.1701
16 | 2645128.7713 | 1249646.7299
17 | 2645147.6299 | 1249607.3979
18 | 2645119.8065 | 1249682.1254
19 | 2645179.0109 | 1249616.7542
20 | 2645134.8705 | 1249689.2519
21 | 2645107.211 | 1249729.0527
22 | 2645191.283 | 1249620.7884
23 | 2645156.1275 | 1249700.6669
24 | 2645099.5206 | 1249761.6687
25 | 2645213.767 | 1249630.0625
26 | 2645272.6789 | 1249585.3448
27 | 2645184.6342 | 1249715.975
28 | 2645086.7274 | 1249818.6548
29 | 2645230.7326 | 1249638.0578
30 | 2645238.791 | 1249642.25
31 | 2645222.8065 | 1249634.1459
32 | 2645245.9715 | 1249645.9855
33 | 2645248.9073 | 1249647.5128
34 | 2645204.9317 | 1249727.013
35 | 2645158.5015 | 1249750.1323
36 | 2645222.5196 | 1249736.5776
37 | 2645148.9269 | 1249770.173
38 | 2645233.9622 | 1249742.4089
39 | 2645210.2789 | 1249758.36
40 | 2645233.9995 | 1249742.4279
41 | 2645207.6169 | 1249763.0971
42 | 2645234.0429 | 1249742.4501
43 | 2645190.5972 | 1249793.3837
44 | 2645336.4199 | 1249792.5008
45 | 2645336.2065 | 1249792.4055
46 | 2645308.6885 | 1249780.1162
47 | 2645291.5077 | 1249770.571
48 | 2645273.9257 | 1249760.9321
49 | 2645274.0663 | 1249761.0009
50 | 2645266.188 | 1249757.1467
51 | 2645274.213 | 1249761.0726
52 | 2645255.4783 | 1249752.4857
53 | 2645267.8473 | 1249785.676
54 | 2645290.6885 | 1249770.073
55 | 2645255.0511 | 1249752.2997
56 | 2645269.7996 | 1249787.4058
57 | 2645291.1013 | 1249770.3239
58 | 2645254.615 | 1249752.1099
59 | 2645272.5985 | 1249814.3564
60 | 2645300.7672 | 1249834.0382
61 | 2645303.6681 | 1249839.1682
62 | 2645314.7593 | 1249857.22
63 | 2645332.1193 | 1249884.4846
64 | 2645257.7988 | 1249811.0047
65 | 2645336.1352 | 1249893.3282
66 | 2645238.3265 | 1249800.5782
67 | 2645224.0336 | 1249802.3557
68 | 2645237.998 | 1249815.5043
69 | 2645300.1669 | 1249906.9693
70 | 2645282.1629 | 1249889.8782
71 | 2645303.175 | 1249910.0415
72 | 2645275.6609 | 1249883.9044
73 | 2645341.1401 | 1249909.1549
74 | 2645327.1601 | 1249957.3473
75 | 2645149.7554 | 1249925.0615
76 | 2645211.1439 | 1249902.6806
77 | 2645145.7431 | 1249925.1468
78 | 2645086.6614 | 1249826.9078
79 | 2645229.708 | 1249907.1996
80 | 2645174.7754 | 1249885.017
81 | 2645250.7506 | 1249972.6831
82 | 2645244.7532 | 1249952.7214
83 | 2645234.3906 | 1249908.3394
84 | 2645310.3578 | 1249951.649
85 | 2645240.3525 | 1249934.3221
86 | 2645310.6544 | 1249951.7727
87 | 2645269.7996 | 1249787.4058

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1