## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4001-30_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4001-30_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4001-30_0_6_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_4001-30_0_6_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_4001-30_0_6_node_13 | 0.4 | n |  | TRUE
5 | bus_LV_4001-30_0_6_node_16 | 0.4 | n |  | TRUE
6 | bus_LV_4001-30_0_6_node_26 | 0.4 | n |  | TRUE
7 | bus_LV_4001-30_0_6_node_11 | 0.4 | n |  | TRUE
8 | bus_LV_4001-30_0_6_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_4001-30_0_6_node_61 | 0.4 | n |  | TRUE
10 | bus_LV_4001-30_0_6_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_4001-30_0_6_node_25 | 0.4 | n |  | TRUE
12 | bus_LV_4001-30_0_6_node_33 | 0.4 | n |  | TRUE
13 | bus_LV_4001-30_0_6_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_4001-30_0_6_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_4001-30_0_6_node_67 | 0.4 | n |  | TRUE
16 | bus_LV_4001-30_0_6_node_17 | 0.4 | n |  | TRUE
17 | bus_LV_4001-30_0_6_node_21 | 0.4 | n |  | TRUE
18 | bus_LV_4001-30_0_6_node_18 | 0.4 | n |  | TRUE
19 | bus_LV_4001-30_0_6_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_4001-30_0_6_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_4001-30_0_6_node_65 | 0.4 | n |  | TRUE
22 | bus_LV_4001-30_0_6_node_40 | 0.4 | n |  | TRUE
23 | bus_LV_4001-30_0_6_node_24 | 0.4 | n |  | TRUE
24 | bus_LV_4001-30_0_6_node_22 | 0.4 | n |  | TRUE
25 | bus_LV_4001-30_0_6_node_23 | 0.4 | n |  | TRUE
26 | bus_LV_4001-30_0_6_node_60 | 0.4 | n |  | TRUE
27 | bus_LV_4001-30_0_6_node_35 | 0.4 | n |  | TRUE
28 | bus_LV_4001-30_0_6_node_34 | 0.4 | n |  | TRUE
29 | bus_LV_4001-30_0_6_node_41 | 0.4 | n |  | TRUE
30 | bus_LV_4001-30_0_6_node_30 | 0.4 | n |  | TRUE
31 | bus_LV_4001-30_0_6_node_39 | 0.4 | n |  | TRUE
32 | bus_LV_4001-30_0_6_node_55 | 0.4 | n |  | TRUE
33 | bus_LV_4001-30_0_6_node_52 | 0.4 | n |  | TRUE
34 | bus_LV_4001-30_0_6_node_19 | 0.4 | n |  | TRUE
35 | bus_LV_4001-30_0_6_node_20 | 0.4 | n |  | TRUE
36 | bus_LV_4001-30_0_6_node_63 | 0.4 | n |  | TRUE
37 | bus_LV_4001-30_0_6_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_4001-30_0_6_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_4001-30_0_6_node_29 | 0.4 | n |  | TRUE
40 | bus_LV_4001-30_0_6_node_32 | 0.4 | n |  | TRUE
41 | bus_LV_4001-30_0_6_node_43 | 0.4 | n |  | TRUE
42 | bus_LV_4001-30_0_6_node_31 | 0.4 | n |  | TRUE
43 | bus_LV_4001-30_0_6_node_48 | 0.4 | n |  | TRUE
44 | bus_LV_4001-30_0_6_node_46 | 0.4 | n |  | TRUE
45 | bus_LV_4001-30_0_6_node_36 | 0.4 | n |  | TRUE
46 | bus_LV_4001-30_0_6_node_44 | 0.4 | n |  | TRUE
47 | bus_LV_4001-30_0_6_node_54 | 0.4 | n |  | TRUE
48 | bus_LV_4001-30_0_6_node_47 | 0.4 | n |  | TRUE
49 | bus_LV_4001-30_0_6_node_37 | 0.4 | n |  | TRUE
50 | bus_LV_4001-30_0_6_node_38 | 0.4 | n |  | TRUE
51 | bus_LV_4001-30_0_6_node_50 | 0.4 | n |  | TRUE
52 | bus_LV_4001-30_0_6_node_49 | 0.4 | n |  | TRUE
53 | bus_LV_4001-30_0_6_node_45 | 0.4 | n |  | TRUE
54 | bus_LV_4001-30_0_6_node_62 | 0.4 | n |  | TRUE
55 | bus_LV_4001-30_0_6_node_59 | 0.4 | n |  | TRUE
56 | bus_LV_4001-30_0_6_node_51 | 0.4 | n |  | TRUE
57 | bus_LV_4001-30_0_6_node_53 | 0.4 | n |  | TRUE
58 | bus_LV_4001-30_0_6_node_56 | 0.4 | n |  | TRUE
59 | bus_LV_4001-30_0_6_node_57 | 0.4 | n |  | TRUE
60 | bus_LV_4001-30_0_6_node_58 | 0.4 | n |  | TRUE
61 | bus_LV_4001-30_0_6_node_64 | 0.4 | n |  | TRUE
62 | bus_LV_4001-30_0_6_node_66 | 0.4 | n |  | TRUE
63 | bus_MV_301_1_node_154 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4001-30_0_6_load_0 | 0 | 0.021605 | 0.0054148 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4001-30_0_6_load_16 | 5 | 0.029546 | 0.0074048 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4001-30_0_6_load_26 | 6 | 0.0055052 | 0.0013797 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4001-30_0_6_load_25 | 11 | 0.0025907 | 0.00064929 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4001-30_0_6_load_33 | 12 | 0.04157 | 0.010418 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4001-30_0_6_load_67 | 15 | 0.020182 | 0.005058 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4001-30_0_6_load_17 | 16 | 0.0042486 | 0.0010648 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4001-30_0_6_load_21 | 17 | 0.0032028 | 0.0008027 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4001-30_0_6_load_18 | 18 | 0.0047311 | 0.0011857 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4001-30_0_6_load_65 | 21 | 0.0041027 | 0.0010282 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4001-30_0_6_load_40 | 22 | 0.0084857 | 0.0021267 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4001-30_0_6_load_24 | 23 | 0.012821 | 0.0032133 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4001-30_0_6_load_22 | 24 | 0.05533 | 0.013867 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4001-30_0_6_load_60 | 26 | 0.001622 | 0.00040652 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4001-30_0_6_load_35 | 27 | 0.0048068 | 0.0012047 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4001-30_0_6_load_39 | 31 | 0.0062513 | 0.0015667 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4001-30_0_6_load_55 | 32 | 0.0098001 | 0.0024561 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4001-30_0_6_load_19 | 34 | 0.032873 | 0.0082387 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4001-30_0_6_load_20 | 35 | 0.013521 | 0.0033888 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4001-30_0_6_load_63 | 36 | 0.0062876 | 0.0015758 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4001-30_0_6_load_27 | 37 | 0.012365 | 0.0030989 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4001-30_0_6_load_28 | 38 | 0.00055516 | 0.00013914 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4001-30_0_6_load_32 | 40 | 0.0066365 | 0.0016633 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4001-30_0_6_load_43 | 41 | 0.012417 | 0.003112 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4001-30_0_6_load_48 | 43 | 0.0044905 | 0.0011254 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4001-30_0_6_load_46 | 44 | 0.060029 | 0.015045 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4001-30_0_6_load_44 | 46 | 0.00062607 | 0.00015691 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4001-30_0_6_load_47 | 48 | 0.035372 | 0.008865 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4001-30_0_6_load_37 | 49 | 0.0040878 | 0.0010245 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4001-30_0_6_load_38 | 50 | 0.0087612 | 0.0021958 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4001-30_0_6_load_50 | 51 | 0.0061205 | 0.0015339 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4001-30_0_6_load_49 | 52 | 0.0032909 | 0.00082478 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4001-30_0_6_load_45 | 53 | 0.0038047 | 0.00095355 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4001-30_0_6_load_53 | 57 | 0.047078 | 0.011799 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4001-30_0_6_load_56 | 58 | 0.012198 | 0.003057 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4001-30_0_6_load_57 | 59 | 0.022133 | 0.0055471 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4001-30_0_6_load_64 | 61 | 0.0031588 | 0.00079167 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4001-30_0_6_load_66 | 62 | 0.0107 | 0.0026817 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 28 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4001-30_0_6_line_0 |  | 0 | 1 | 0.10102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4001-30_0_6_line_1 |  | 1 | 2 | 0.004658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4001-30_0_6_line_2 |  | 1 | 3 | 0.16601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4001-30_0_6_line_3 |  | 2 | 4 | 0.093939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4001-30_0_6_line_4 |  | 2 | 5 | 0.05068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4001-30_0_6_line_5 |  | 3 | 6 | 0.010653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4001-30_0_6_line_6 |  | 3 | 7 | 0.2728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4001-30_0_6_line_7 |  | 4 | 18 | 0.054873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4001-30_0_6_line_8 |  | 4 | 14 | 0.09057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4001-30_0_6_line_9 |  | 6 | 23 | 0.011694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
10 | LV_4001-30_0_6_line_10 |  | 7 | 17 | 0.072929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4001-30_0_6_line_11 |  | 8 | 9 | 0.007996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
12 | LV_4001-30_0_6_line_12 |  | 8 | 10 | 0.03139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
13 | LV_4001-30_0_6_line_13 |  | 8 | 11 | 0.021851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
14 | LV_4001-30_0_6_line_14 |  | 9 | 26 | 0.047244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
15 | LV_4001-30_0_6_line_15 |  | 10 | 12 | 0.015177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
16 | LV_4001-30_0_6_line_16 |  | 11 | 25 | 0.0095768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
17 | LV_4001-30_0_6_line_17 |  | 12 | 28 | 0.0042932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
18 | LV_4001-30_0_6_line_18 |  | 13 | 14 | 0.10159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4001-30_0_6_line_19 |  | 13 | 15 | 0.064721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4001-30_0_6_line_20 |  | 14 | 16 | 0.017161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4001-30_0_6_line_21 |  | 17 | 34 | 0.041634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4001-30_0_6_line_22 |  | 19 | 20 | 0.046576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4001-30_0_6_line_23 |  | 19 | 21 | 0.066957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4001-30_0_6_line_24 |  | 20 | 22 | 0.067783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4001-30_0_6_line_25 |  | 21 | 36 | 0.00025519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4001-30_0_6_line_26 |  | 22 | 31 | 0.0079981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4001-30_0_6_line_27 |  | 23 | 25 | 0.029013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
28 | LV_4001-30_0_6_line_28 |  | 24 | 25 | 0.058865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4001-30_0_6_line_29 |  | 26 | 60 | 0.044365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
30 | LV_4001-30_0_6_line_30 |  | 27 | 28 | 0.025333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4001-30_0_6_line_31 |  | 29 | 30 | 0.013087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4001-30_0_6_line_32 |  | 29 | 31 | 0.036993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4001-30_0_6_line_33 |  | 30 | 41 | 0.044044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
34 | LV_4001-30_0_6_line_34 |  | 30 | 38 | 0.046633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
35 | LV_4001-30_0_6_line_35 |  | 32 | 33 | 0.010636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4001-30_0_6_line_36 |  | 33 | 56 | 0.021408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4001-30_0_6_line_37 |  | 34 | 35 | 0.0064391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4001-30_0_6_line_38 |  | 36 | 61 | 0.00015331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4001-30_0_6_line_39 |  | 37 | 38 | 0.031588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
40 | LV_4001-30_0_6_line_40 |  | 37 | 39 | 0.01876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
41 | LV_4001-30_0_6_line_41 |  | 39 | 40 | 0.015762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
42 | LV_4001-30_0_6_line_42 |  | 40 | 45 | 0.025741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
43 | LV_4001-30_0_6_line_43 |  | 41 | 46 | 0.0092051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
44 | LV_4001-30_0_6_line_44 |  | 42 | 43 | 0.022042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
45 | LV_4001-30_0_6_line_45 |  | 42 | 44 | 0.011217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4001-30_0_6_line_46 |  | 43 | 47 | 0.019746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
47 | LV_4001-30_0_6_line_47 |  | 44 | 48 | 0.049042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4001-30_0_6_line_48 |  | 45 | 49 | 0.028777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
49 | LV_4001-30_0_6_line_49 |  | 45 | 50 | 0.010076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
50 | LV_4001-30_0_6_line_50 |  | 46 | 53 | 0.042761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
51 | LV_4001-30_0_6_line_51 |  | 47 | 49 | 0.006483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
52 | LV_4001-30_0_6_line_52 |  | 50 | 51 | 0.020931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_4001-30_0_6_line_53 |  | 51 | 52 | 0.013686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4001-30_0_6_line_54 |  | 52 | 56 | 0.0013114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4001-30_0_6_line_55 |  | 53 | 54 | 0.0079747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
56 | LV_4001-30_0_6_line_56 |  | 54 | 55 | 0.073061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
57 | LV_4001-30_0_6_line_57 |  | 55 | 59 | 0.025294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
58 | LV_4001-30_0_6_line_58 |  | 56 | 57 | 0.03908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4001-30_0_6_line_59 |  | 57 | 58 | 0.0011323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4001-30_0_6_line_60 |  | 59 | 60 | 8.0611e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
61 | LV_4001-30_0_6_line_61 |  | 61 | 62 | 0.031797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4001-30_0_6_trafo_34 | 0.63 MVA 20/0.4 kV | 63 | 28 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17
0 | 2647334.5332 | 1250171.5157 | 2647350.4609 | 1250121.5312 | 2647353.9924 | 1250115.1106 | 2647360.4695 | 1250114.1728 | 2647393.3627 | 1250125.1753
1 | 2647334.5332 | 1250171.5157 | 2647330.7146 | 1250174.1982
2 | 2647334.5332 | 1250171.5157 | 2647326.634 | 1250169.0288 | 2647313.0194 | 1250163.8055 | 2647336.8289 | 1250086.343 | 2647339.6446 | 1250086.3543 | 2647342.3092 | 1250085.4528 | 2647344.5348 | 1250083.736 | 2647346.0935 | 1250081.4024 | 2647346.8014 | 1250078.773 | 2647346.6495 | 1250076.0588 | 2647345.643 | 1250073.5269 | 2647343.9008 | 1250071.4337 | 2647341.5795 | 1250070.0031 | 2647346.0959 | 1250056.5189 | 2647349.9475 | 1250044.9974 | 2647339.6636 | 1250041.4463
3 | 2647310.533 | 1250229.4079 | 2647309.4897 | 1250221.0939 | 2647295.8391 | 1250216.6043 | 2647311.65 | 1250167.9752 | 2647327.4998 | 1250173.1051 | 2647330.7146 | 1250174.1982
4 | 2647330.7146 | 1250174.1982 | 2647378.6791 | 1250190.5655
5 | 2647339.6636 | 1250041.4463 | 2647329.7253 | 1250037.6089
6 | 2647339.6636 | 1250041.4463 | 2647349.9475 | 1250044.9974 | 2647346.0959 | 1250056.5189 | 2647341.5795 | 1250070.0031 | 2647338.2858 | 1250069.332 | 2647334.9817 | 1250069.9727 | 2647332.1812 | 1250071.8294 | 2647330.3094 | 1250074.6163 | 2647319.3245 | 1250070.9373 | 2647313.5154 | 1250069.5122 | 2647279.4301 | 1250056.3315 | 2647228.5065 | 1250036.0009 | 2647232.2746 | 1250025.446 | 2647237.3633 | 1250011.1769 | 2647243.6204 | 1249992.3918 | 2647251.0398 | 1249970.8029 | 2647246.2648 | 1249958.0229 | 2647256.8735 | 1249929.388
7 | 2647310.533 | 1250229.4079 | 2647346.0514 | 1250240.7212 | 2647348.007 | 1250250.121 | 2647345.1577 | 1250257.592
8 | 2647310.533 | 1250229.4079 | 2647309.4897 | 1250221.0939 | 2647295.8391 | 1250216.6043 | 2647292.2056 | 1250227.3159 | 2647280.5676 | 1250262.9584 | 2647298.5992 | 1250268.9951
9 | 2647318.8164 | 1250033.3967 | 2647329.7253 | 1250037.6089
10 | 2647256.8735 | 1249929.388 | 2647267.0661 | 1249907.4988 | 2647312.9638 | 1249924.026
11 | 2647362.4378 | 1250007.6719 | 2647359.901 | 1250015.2568
12 | 2647359.901 | 1250015.2568 | 2647355.6474 | 1250027.9647 | 2647372.7471 | 1250033.5495
13 | 2647359.901 | 1250015.2568 | 2647348.5462 | 1250011.5636 | 2647339.546 | 1250008.9011 | 2647339.035 | 1250008.7808
14 | 2647362.4378 | 1250007.6719 | 2647377.4348 | 1249962.8711
15 | 2647372.7471 | 1250033.5495 | 2647387.192 | 1250038.2065
16 | 2647329.7127 | 1250006.5877 | 2647339.035 | 1250008.7808
17 | 2647391.2781 | 1250039.5238 | 2647387.192 | 1250038.2065
18 | 2647249.2153 | 1250231.8875 | 2647240.5732 | 1250260.1155 | 2647240.5792 | 1250262.1948 | 2647241.1405 | 1250262.8108 | 2647241.9966 | 1250263.3735 | 2647252.9678 | 1250266.8411 | 2647256.3329 | 1250268.9471 | 2647257.7714 | 1250269.3699 | 2647262.1163 | 1250270.7277 | 2647265.3318 | 1250270.7756 | 2647266.988 | 1250271.3558 | 2647277.071 | 1250274.4939 | 2647278.9473 | 1250268.2935 | 2647280.5676 | 1250262.9584 | 2647298.5992 | 1250268.9951
19 | 2647249.2153 | 1250231.8875 | 2647267.9244 | 1250169.9292
20 | 2647298.5992 | 1250268.9951 | 2647314.9772 | 1250274.1209
21 | 2647312.9638 | 1249924.026 | 2647322.6738 | 1249927.5224 | 2647312.0086 | 1249956.9642
22 | 2647616.9829 | 1249947.7915 | 2647640.3761 | 1249956.5408 | 2647647.6184 | 1249976.8906
23 | 2647647.6184 | 1249976.8906 | 2647628.095 | 1249970.4183 | 2647624.0158 | 1249973.5543 | 2647610.2436 | 1250012.4298
24 | 2647616.9829 | 1249947.7915 | 2647605.4218 | 1249943.4736 | 2647585.4225 | 1249935.1296 | 2647564.9067 | 1249921.5225 | 2647557.7386 | 1249915.8295
25 | 2647610.1584 | 1250012.6704 | 2647610.2436 | 1250012.4298
26 | 2647551.4755 | 1249910.8554 | 2647557.7386 | 1249915.8295
27 | 2647329.7127 | 1250006.5877 | 2647325.0135 | 1250015.534 | 2647318.8164 | 1250033.3967 | 2647318.8164 | 1250033.3967
28 | 2647329.7127 | 1250006.5877 | 2647301.9986 | 1250000.9851 | 2647291.2429 | 1250029.6223
29 | 2647391.5177 | 1249920.8009 | 2647377.4348 | 1249962.8711
30 | 2647391.2781 | 1250039.5238 | 2647383.356 | 1250063.5862
31 | 2647510.3778 | 1249882.8482 | 2647522.5074 | 1249887.8488
32 | 2647522.5074 | 1249887.8488 | 2647551.4755 | 1249910.8554
33 | 2647510.3778 | 1249882.8482 | 2647507.0902 | 1249879.5308 | 2647498.7734 | 1249872.5928 | 2647474.8024 | 1249857.0986
34 | 2647510.3778 | 1249882.8482 | 2647512.4657 | 1249889.8475 | 2647512.3267 | 1249895.8949 | 2647502.0028 | 1249927.5327
35 | 2647452.6248 | 1250078.9521 | 2647442.0168 | 1250078.1778
36 | 2647452.6248 | 1250078.9521 | 2647459.2499 | 1250058.5913
37 | 2647312.0086 | 1249956.9642 | 2647309.8155 | 1249963.0184
38 | 2647610.1072 | 1250012.8149 | 2647610.1584 | 1250012.6704
39 | 2647502.0028 | 1249927.5327 | 2647492.2037 | 1249957.5621
40 | 2647486.384 | 1249975.3966 | 2647492.2037 | 1249957.5621
41 | 2647486.384 | 1249975.3966 | 2647481.4961 | 1249990.3815
42 | 2647473.5135 | 1250014.8536 | 2647481.4961 | 1249990.3815
43 | 2647474.8024 | 1249857.0986 | 2647467.0716 | 1249852.1017
44 | 2647519.4629 | 1249986.0465 | 2647512.8833 | 1250007.0832
45 | 2647519.4629 | 1249986.0465 | 2647530.1406 | 1249989.4824
46 | 2647506.9889 | 1250025.9291 | 2647512.8833 | 1250007.0832
47 | 2647547.5721 | 1250020.4951 | 2647554.2789 | 1249999.4123 | 2647553.0914 | 1249996.8677 | 2647530.1406 | 1249989.4824
48 | 2647473.5135 | 1250014.8536 | 2647500.834 | 1250023.8927
49 | 2647473.5135 | 1250014.8536 | 2647470.388 | 1250024.433
50 | 2647467.0716 | 1249852.1017 | 2647458.5391 | 1249846.5865 | 2647429.7891 | 1249831.2142
51 | 2647506.9889 | 1250025.9291 | 2647500.834 | 1250023.8927
52 | 2647463.8957 | 1250044.3317 | 2647470.388 | 1250024.433
53 | 2647459.6559 | 1250057.3444 | 2647462.4309 | 1250048.8213 | 2647463.8957 | 1250044.3317
54 | 2647459.2499 | 1250058.5913 | 2647459.6559 | 1250057.3444
55 | 2647422.7565 | 1249827.454 | 2647429.7891 | 1249831.2142
56 | 2647399.569 | 1249896.7378 | 2647418.5645 | 1249839.9734 | 2647422.7565 | 1249827.454
57 | 2647399.569 | 1249896.7378 | 2647393.1187 | 1249916.0104 | 2647391.5432 | 1249920.7244
58 | 2647459.2499 | 1250058.5913 | 2647496.657 | 1250069.9018
59 | 2647497.7408 | 1250070.2295 | 2647496.657 | 1250069.9018
60 | 2647391.5432 | 1249920.7244 | 2647391.5177 | 1249920.8009
61 | 2647599.4892 | 1250042.787 | 2647610.1072 | 1250012.8149

## bus_geodata
| x | y | coords
0 | 2647393.3627 | 1250125.1753
1 | 2647334.5332 | 1250171.5157
2 | 2647330.7146 | 1250174.1982
3 | 2647339.6636 | 1250041.4463
4 | 2647310.533 | 1250229.4079
5 | 2647378.6791 | 1250190.5655
6 | 2647329.7253 | 1250037.6089
7 | 2647256.8735 | 1249929.388
8 | 2647359.901 | 1250015.2568
9 | 2647362.4378 | 1250007.6719
10 | 2647372.7471 | 1250033.5495
11 | 2647339.035 | 1250008.7808
12 | 2647387.192 | 1250038.2065
13 | 2647249.2153 | 1250231.8875
14 | 2647298.5992 | 1250268.9951
15 | 2647267.9244 | 1250169.9292
16 | 2647314.9772 | 1250274.1209
17 | 2647312.9638 | 1249924.026
18 | 2647345.1577 | 1250257.592
19 | 2647647.6184 | 1249976.8906
20 | 2647616.9829 | 1249947.7915
21 | 2647610.2436 | 1250012.4298
22 | 2647557.7386 | 1249915.8295
23 | 2647318.8164 | 1250033.3967
24 | 2647291.2429 | 1250029.6223
25 | 2647329.7127 | 1250006.5877
26 | 2647377.4348 | 1249962.8711
27 | 2647383.356 | 1250063.5862
28 | 2647391.2781 | 1250039.5238
29 | 2647522.5074 | 1249887.8488
30 | 2647510.3778 | 1249882.8482
31 | 2647551.4755 | 1249910.8554
32 | 2647442.0168 | 1250078.1778
33 | 2647452.6248 | 1250078.9521
34 | 2647312.0086 | 1249956.9642
35 | 2647309.8155 | 1249963.0184
36 | 2647610.1584 | 1250012.6704
37 | 2647492.2037 | 1249957.5621
38 | 2647502.0028 | 1249927.5327
39 | 2647486.384 | 1249975.3966
40 | 2647481.4961 | 1249990.3815
41 | 2647474.8024 | 1249857.0986
42 | 2647519.4629 | 1249986.0465
43 | 2647512.8833 | 1250007.0832
44 | 2647530.1406 | 1249989.4824
45 | 2647473.5135 | 1250014.8536
46 | 2647467.0716 | 1249852.1017
47 | 2647506.9889 | 1250025.9291
48 | 2647547.5721 | 1250020.4951
49 | 2647500.834 | 1250023.8927
50 | 2647470.388 | 1250024.433
51 | 2647463.8957 | 1250044.3317
52 | 2647459.6559 | 1250057.3444
53 | 2647429.7891 | 1249831.2142
54 | 2647422.7565 | 1249827.454
55 | 2647399.569 | 1249896.7378
56 | 2647459.2499 | 1250058.5913
57 | 2647496.657 | 1250069.9018
58 | 2647497.7408 | 1250070.2295
59 | 2647391.5432 | 1249920.7244
60 | 2647391.5177 | 1249920.8009
61 | 2647610.1072 | 1250012.8149
62 | 2647599.4892 | 1250042.787
63 | 2647372.7471 | 1250033.5495

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1