## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4001-35_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4001-35_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4001-35_0_6_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_4001-35_0_6_node_31 | 0.4 | n |  | TRUE
4 | bus_LV_4001-35_0_6_node_32 | 0.4 | n |  | TRUE
5 | bus_LV_4001-35_0_6_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_4001-35_0_6_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_4001-35_0_6_node_56 | 0.4 | n |  | TRUE
8 | bus_LV_4001-35_0_6_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_4001-35_0_6_node_38 | 0.4 | n |  | TRUE
10 | bus_LV_4001-35_0_6_node_130 | 0.4 | n |  | TRUE
11 | bus_LV_4001-35_0_6_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_4001-35_0_6_node_16 | 0.4 | n |  | TRUE
13 | bus_LV_4001-35_0_6_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_4001-35_0_6_node_84 | 0.4 | n |  | TRUE
15 | bus_LV_4001-35_0_6_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_4001-35_0_6_node_76 | 0.4 | n |  | TRUE
17 | bus_LV_4001-35_0_6_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_4001-35_0_6_node_71 | 0.4 | n |  | TRUE
19 | bus_LV_4001-35_0_6_node_72 | 0.4 | n |  | TRUE
20 | bus_LV_4001-35_0_6_node_68 | 0.4 | n |  | TRUE
21 | bus_LV_4001-35_0_6_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_4001-35_0_6_node_67 | 0.4 | n |  | TRUE
23 | bus_LV_4001-35_0_6_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_4001-35_0_6_node_66 | 0.4 | n |  | TRUE
25 | bus_LV_4001-35_0_6_node_74 | 0.4 | n |  | TRUE
26 | bus_LV_4001-35_0_6_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_4001-35_0_6_node_49 | 0.4 | n |  | TRUE
28 | bus_LV_4001-35_0_6_node_63 | 0.4 | n |  | TRUE
29 | bus_LV_4001-35_0_6_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_4001-35_0_6_node_129 | 0.4 | n |  | TRUE
31 | bus_LV_4001-35_0_6_node_131 | 0.4 | n |  | TRUE
32 | bus_LV_4001-35_0_6_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_4001-35_0_6_node_91 | 0.4 | n |  | TRUE
34 | bus_LV_4001-35_0_6_node_88 | 0.4 | n |  | TRUE
35 | bus_LV_4001-35_0_6_node_22 | 0.4 | n |  | TRUE
36 | bus_LV_4001-35_0_6_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_4001-35_0_6_node_128 | 0.4 | n |  | TRUE
38 | bus_LV_4001-35_0_6_node_23 | 0.4 | n |  | TRUE
39 | bus_LV_4001-35_0_6_node_69 | 0.4 | n |  | TRUE
40 | bus_LV_4001-35_0_6_node_70 | 0.4 | n |  | TRUE
41 | bus_LV_4001-35_0_6_node_24 | 0.4 | n |  | TRUE
42 | bus_LV_4001-35_0_6_node_92 | 0.4 | n |  | TRUE
43 | bus_LV_4001-35_0_6_node_119 | 0.4 | n |  | TRUE
44 | bus_LV_4001-35_0_6_node_120 | 0.4 | n |  | TRUE
45 | bus_LV_4001-35_0_6_node_27 | 0.4 | n |  | TRUE
46 | bus_LV_4001-35_0_6_node_99 | 0.4 | n |  | TRUE
47 | bus_LV_4001-35_0_6_node_96 | 0.4 | n |  | TRUE
48 | bus_LV_4001-35_0_6_node_28 | 0.4 | n |  | TRUE
49 | bus_LV_4001-35_0_6_node_111 | 0.4 | n |  | TRUE
50 | bus_LV_4001-35_0_6_node_110 | 0.4 | n |  | TRUE
51 | bus_LV_4001-35_0_6_node_30 | 0.4 | n |  | TRUE
52 | bus_LV_4001-35_0_6_node_33 | 0.4 | n |  | TRUE
53 | bus_LV_4001-35_0_6_node_34 | 0.4 | n |  | TRUE
54 | bus_LV_4001-35_0_6_node_35 | 0.4 | n |  | TRUE
55 | bus_LV_4001-35_0_6_node_52 | 0.4 | n |  | TRUE
56 | bus_LV_4001-35_0_6_node_36 | 0.4 | n |  | TRUE
57 | bus_LV_4001-35_0_6_node_54 | 0.4 | n |  | TRUE
58 | bus_LV_4001-35_0_6_node_40 | 0.4 | n |  | TRUE
59 | bus_LV_4001-35_0_6_node_75 | 0.4 | n |  | TRUE
60 | bus_LV_4001-35_0_6_node_94 | 0.4 | n |  | TRUE
61 | bus_LV_4001-35_0_6_node_47 | 0.4 | n |  | TRUE
62 | bus_LV_4001-35_0_6_node_73 | 0.4 | n |  | TRUE
63 | bus_LV_4001-35_0_6_node_48 | 0.4 | n |  | TRUE
64 | bus_LV_4001-35_0_6_node_77 | 0.4 | n |  | TRUE
65 | bus_LV_4001-35_0_6_node_83 | 0.4 | n |  | TRUE
66 | bus_LV_4001-35_0_6_node_65 | 0.4 | n |  | TRUE
67 | bus_LV_4001-35_0_6_node_50 | 0.4 | n |  | TRUE
68 | bus_LV_4001-35_0_6_node_64 | 0.4 | n |  | TRUE
69 | bus_LV_4001-35_0_6_node_80 | 0.4 | n |  | TRUE
70 | bus_LV_4001-35_0_6_node_81 | 0.4 | n |  | TRUE
71 | bus_LV_4001-35_0_6_node_109 | 0.4 | n |  | TRUE
72 | bus_LV_4001-35_0_6_node_108 | 0.4 | n |  | TRUE
73 | bus_LV_4001-35_0_6_node_87 | 0.4 | n |  | TRUE
74 | bus_LV_4001-35_0_6_node_82 | 0.4 | n |  | TRUE
75 | bus_LV_4001-35_0_6_node_45 | 0.4 | n |  | TRUE
76 | bus_LV_4001-35_0_6_node_106 | 0.4 | n |  | TRUE
77 | bus_LV_4001-35_0_6_node_95 | 0.4 | n |  | TRUE
78 | bus_LV_4001-35_0_6_node_118 | 0.4 | n |  | TRUE
79 | bus_LV_4001-35_0_6_node_102 | 0.4 | n |  | TRUE
80 | bus_LV_4001-35_0_6_node_124 | 0.4 | n |  | TRUE
81 | bus_LV_4001-35_0_6_node_122 | 0.4 | n |  | TRUE
82 | bus_LV_4001-35_0_6_node_42 | 0.4 | n |  | TRUE
83 | bus_LV_4001-35_0_6_node_39 | 0.4 | n |  | TRUE
84 | bus_LV_4001-35_0_6_node_37 | 0.4 | n |  | TRUE
85 | bus_LV_4001-35_0_6_node_41 | 0.4 | n |  | TRUE
86 | bus_LV_4001-35_0_6_node_53 | 0.4 | n |  | TRUE
87 | bus_LV_4001-35_0_6_node_44 | 0.4 | n |  | TRUE
88 | bus_LV_4001-35_0_6_node_61 | 0.4 | n |  | TRUE
89 | bus_LV_4001-35_0_6_node_116 | 0.4 | n |  | TRUE
90 | bus_LV_4001-35_0_6_node_58 | 0.4 | n |  | TRUE
91 | bus_LV_4001-35_0_6_node_51 | 0.4 | n |  | TRUE
92 | bus_LV_4001-35_0_6_node_105 | 0.4 | n |  | TRUE
93 | bus_LV_4001-35_0_6_node_104 | 0.4 | n |  | TRUE
94 | bus_LV_4001-35_0_6_node_55 | 0.4 | n |  | TRUE
95 | bus_LV_4001-35_0_6_node_57 | 0.4 | n |  | TRUE
96 | bus_LV_4001-35_0_6_node_60 | 0.4 | n |  | TRUE
97 | bus_LV_4001-35_0_6_node_117 | 0.4 | n |  | TRUE
98 | bus_LV_4001-35_0_6_node_121 | 0.4 | n |  | TRUE
99 | bus_LV_4001-35_0_6_node_59 | 0.4 | n |  | TRUE
100 | bus_LV_4001-35_0_6_node_126 | 0.4 | n |  | TRUE
101 | bus_LV_4001-35_0_6_node_103 | 0.4 | n |  | TRUE
102 | bus_LV_4001-35_0_6_node_62 | 0.4 | n |  | TRUE
103 | bus_LV_4001-35_0_6_node_78 | 0.4 | n |  | TRUE
104 | bus_LV_4001-35_0_6_node_79 | 0.4 | n |  | TRUE
105 | bus_LV_4001-35_0_6_node_86 | 0.4 | n |  | TRUE
106 | bus_LV_4001-35_0_6_node_85 | 0.4 | n |  | TRUE
107 | bus_LV_4001-35_0_6_node_89 | 0.4 | n |  | TRUE
108 | bus_LV_4001-35_0_6_node_90 | 0.4 | n |  | TRUE
109 | bus_LV_4001-35_0_6_node_93 | 0.4 | n |  | TRUE
110 | bus_LV_4001-35_0_6_node_115 | 0.4 | n |  | TRUE
111 | bus_LV_4001-35_0_6_node_114 | 0.4 | n |  | TRUE
112 | bus_LV_4001-35_0_6_node_101 | 0.4 | n |  | TRUE
113 | bus_LV_4001-35_0_6_node_97 | 0.4 | n |  | TRUE
114 | bus_LV_4001-35_0_6_node_98 | 0.4 | n |  | TRUE
115 | bus_LV_4001-35_0_6_node_100 | 0.4 | n |  | TRUE
116 | bus_LV_4001-35_0_6_node_113 | 0.4 | n |  | TRUE
117 | bus_LV_4001-35_0_6_node_107 | 0.4 | n |  | TRUE
118 | bus_LV_4001-35_0_6_node_112 | 0.4 | n |  | TRUE
119 | bus_LV_4001-35_0_6_node_127 | 0.4 | n |  | TRUE
120 | bus_LV_4001-35_0_6_node_125 | 0.4 | n |  | TRUE
121 | bus_LV_4001-35_0_6_node_123 | 0.4 | n |  | TRUE
122 | bus_MV_522_0_node_57 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4001-35_0_6_load_0 | 0 | 0.034529 | 0.0086538 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4001-35_0_6_load_31 | 3 | 0.0014914 | 0.00037379 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4001-35_0_6_load_32 | 4 | 0.002215 | 0.00055513 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4001-35_0_6_load_56 | 7 | 0.046134 | 0.011562 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4001-35_0_6_load_130 | 10 | 0.014553 | 0.0036473 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4001-35_0_6_load_84 | 14 | 0.0012912 | 0.00032361 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4001-35_0_6_load_76 | 16 | 0.00036967 | 9.2647e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4001-35_0_6_load_71 | 18 | 0.00020048 | 5.0246e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4001-35_0_6_load_72 | 19 | 0.0009795 | 0.00024549 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4001-35_0_6_load_68 | 20 | 0.0011922 | 0.00029879 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4001-35_0_6_load_67 | 22 | 0.0070019 | 0.0017548 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4001-35_0_6_load_66 | 24 | 0.0022172 | 0.00055569 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4001-35_0_6_load_74 | 25 | 0.00020043 | 5.0233e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4001-35_0_6_load_63 | 28 | 0.038317 | 0.0096032 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4001-35_0_6_load_129 | 30 | 0.0069264 | 0.0017359 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4001-35_0_6_load_131 | 31 | 0.0057834 | 0.0014494 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4001-35_0_6_load_91 | 33 | 0.0045711 | 0.0011456 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4001-35_0_6_load_128 | 37 | 0.0021056 | 0.00052772 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4001-35_0_6_load_70 | 40 | 0.0019372 | 0.00048551 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4001-35_0_6_load_92 | 42 | 0.012065 | 0.0030237 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4001-35_0_6_load_119 | 43 | 0.015353 | 0.0038479 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4001-35_0_6_load_120 | 44 | 0.0081125 | 0.0020332 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4001-35_0_6_load_99 | 46 | 0.0035818 | 0.00089767 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4001-35_0_6_load_96 | 47 | 0.0047228 | 0.0011836 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4001-35_0_6_load_111 | 49 | 0.0054865 | 0.001375 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4001-35_0_6_load_110 | 50 | 0.0035675 | 0.0008941 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4001-35_0_6_load_33 | 52 | 0.0030478 | 0.00076384 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4001-35_0_6_load_34 | 53 | 0.0025735 | 0.00064497 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4001-35_0_6_load_35 | 54 | 0.0037615 | 0.00094273 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4001-35_0_6_load_36 | 56 | 0.0094682 | 0.002373 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4001-35_0_6_load_54 | 57 | 0.03354 | 0.008406 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4001-35_0_6_load_75 | 59 | 0.0012544 | 0.00031439 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4001-35_0_6_load_94 | 60 | 0.0018313 | 0.00045897 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4001-35_0_6_load_73 | 62 | 0.0021177 | 0.00053074 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4001-35_0_6_load_77 | 64 | 0.0010784 | 0.00027027 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4001-35_0_6_load_83 | 65 | 0.001363 | 0.00034159 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4001-35_0_6_load_65 | 66 | 0.027949 | 0.0070047 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4001-35_0_6_load_80 | 69 | 0.0083035 | 0.0020811 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4001-35_0_6_load_81 | 70 | 0.0025444 | 0.00063769 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4001-35_0_6_load_109 | 71 | 0.0092875 | 0.0023277 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4001-35_0_6_load_108 | 72 | 0.012457 | 0.003122 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4001-35_0_6_load_87 | 73 | 0.0061595 | 0.0015437 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4001-35_0_6_load_82 | 74 | 0.0060924 | 0.0015269 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4001-35_0_6_load_106 | 76 | 0.0064592 | 0.0016188 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4001-35_0_6_load_95 | 77 | 0.0059509 | 0.0014914 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4001-35_0_6_load_118 | 78 | 0.0062298 | 0.0015613 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4001-35_0_6_load_102 | 79 | 0.0057024 | 0.0014292 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4001-35_0_6_load_124 | 80 | 0.0015602 | 0.00039103 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4001-35_0_6_load_37 | 84 | 0.0034566 | 0.0008663 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4001-35_0_6_load_41 | 85 | 0.011822 | 0.0029628 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4001-35_0_6_load_53 | 86 | 0.0083133 | 0.0020835 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4001-35_0_6_load_61 | 88 | 0.010469 | 0.0026237 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4001-35_0_6_load_116 | 89 | 0.0045449 | 0.0011391 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4001-35_0_6_load_58 | 90 | 0.022322 | 0.0055943 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4001-35_0_6_load_105 | 92 | 0.0022911 | 0.00057421 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4001-35_0_6_load_55 | 94 | 0.029878 | 0.0074882 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4001-35_0_6_load_57 | 95 | 0.0028205 | 0.00070688 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4001-35_0_6_load_117 | 97 | 0.0030115 | 0.00075476 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4001-35_0_6_load_121 | 98 | 0.0025971 | 0.0006509 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4001-35_0_6_load_103 | 101 | 0.01763 | 0.0044185 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4001-35_0_6_load_62 | 102 | 0.0093806 | 0.002351 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4001-35_0_6_load_78 | 103 | 0.0013277 | 0.00033274 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4001-35_0_6_load_86 | 105 | 0.0056813 | 0.0014239 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4001-35_0_6_load_85 | 106 | 0.001403 | 0.00035162 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4001-35_0_6_load_90 | 108 | 0.0037464 | 0.00093895 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4001-35_0_6_load_115 | 110 | 0.008069 | 0.0020223 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4001-35_0_6_load_114 | 111 | 0.0034176 | 0.00085653 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4001-35_0_6_load_101 | 112 | 0.010814 | 0.0027103 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4001-35_0_6_load_97 | 113 | 0.0052342 | 0.0013118 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4001-35_0_6_load_113 | 116 | 0.0024427 | 0.00061219 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4001-35_0_6_load_107 | 117 | 0.0074509 | 0.0018674 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4001-35_0_6_load_127 | 119 | 0.0036964 | 0.0009264 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4001-35_0_6_load_125 | 120 | 0.0018358 | 0.00046009 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4001-35_0_6_load_123 | 121 | 0.0021431 | 0.00053711 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 24 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4001-35_0_6_line_0 |  | 0 | 1 | 0.022664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4001-35_0_6_line_1 |  | 1 | 2 | 0.009212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4001-35_0_6_line_2 |  | 2 | 3 | 0.011468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4001-35_0_6_line_3 |  | 2 | 4 | 0.048591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4001-35_0_6_line_4 |  | 3 | 8 | 0.026283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4001-35_0_6_line_5 |  | 4 | 54 | 0.014108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4001-35_0_6_line_6 |  | 5 | 6 | 0.065468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4001-35_0_6_line_7 |  | 5 | 7 | 0.020468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4001-35_0_6_line_8 |  | 6 | 10 | 0.0032823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4001-35_0_6_line_9 |  | 7 | 55 | 0.017499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4001-35_0_6_line_10 |  | 8 | 9 | 0.006524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4001-35_0_6_line_11 |  | 9 | 56 | 0.020642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4001-35_0_6_line_12 |  | 10 | 11 | 0.063835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4001-35_0_6_line_13 |  | 11 | 12 | 0.067308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4001-35_0_6_line_14 |  | 12 | 29 | 0.032678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4001-35_0_6_line_15 |  | 12 | 30 | 0.088769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4001-35_0_6_line_16 |  | 13 | 14 | 0.023534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4001-35_0_6_line_17 |  | 13 | 15 | 0.006635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4001-35_0_6_line_18 |  | 15 | 16 | 0.012731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4001-35_0_6_line_19 |  | 16 | 23 | 0.012166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4001-35_0_6_line_20 |  | 17 | 18 | 0.032511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_4001-35_0_6_line_21 |  | 17 | 19 | 0.011509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4001-35_0_6_line_22 |  | 17 | 20 | 0.040949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_4001-35_0_6_line_23 |  | 18 | 25 | 0.01673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_4001-35_0_6_line_24 |  | 19 | 59 | 0.004685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4001-35_0_6_line_25 |  | 20 | 38 | 0.04209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_4001-35_0_6_line_26 |  | 21 | 22 | 0.038527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4001-35_0_6_line_27 |  | 21 | 23 | 0.025048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_4001-35_0_6_line_28 |  | 21 | 24 | 0.03215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_4001-35_0_6_line_29 |  | 23 | 25 | 0.013893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_4001-35_0_6_line_30 |  | 24 | 63 | 0.028225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_4001-35_0_6_line_31 |  | 26 | 27 | 0.020884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_4001-35_0_6_line_32 |  | 26 | 28 | 0.019708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_4001-35_0_6_line_33 |  | 27 | 66 | 0.0021302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4001-35_0_6_line_34 |  | 27 | 67 | 0.031174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_4001-35_0_6_line_35 |  | 28 | 68 | 0.015608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_4001-35_0_6_line_36 |  | 29 | 31 | 0.010879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4001-35_0_6_line_37 |  | 32 | 33 | 0.030905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4001-35_0_6_line_38 |  | 32 | 34 | 0.005491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4001-35_0_6_line_39 |  | 33 | 44 | 0.026325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4001-35_0_6_line_40 |  | 34 | 73 | 0.019698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_4001-35_0_6_line_41 |  | 34 | 41 | 0.002963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_4001-35_0_6_line_42 |  | 35 | 36 | 0.018515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4001-35_0_6_line_43 |  | 35 | 37 | 0.02396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4001-35_0_6_line_44 |  | 36 | 43 | 0.014737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4001-35_0_6_line_45 |  | 36 | 44 | 0.0239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4001-35_0_6_line_46 |  | 37 | 74 | 0.0080813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4001-35_0_6_line_47 |  | 38 | 39 | 0.005618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_4001-35_0_6_line_48 |  | 38 | 40 | 0.018027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4001-35_0_6_line_49 |  | 39 | 41 | 0.003175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_4001-35_0_6_line_50 |  | 39 | 62 | 0.015447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4001-35_0_6_line_51 |  | 41 | 42 | 0.027116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4001-35_0_6_line_52 |  | 42 | 75 | 0.037924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4001-35_0_6_line_53 |  | 45 | 46 | 0.020875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4001-35_0_6_line_54 |  | 45 | 47 | 0.030816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4001-35_0_6_line_55 |  | 46 | 76 | 0.0052326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4001-35_0_6_line_56 |  | 47 | 77 | 0.015136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4001-35_0_6_line_57 |  | 48 | 49 | 0.039763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4001-35_0_6_line_58 |  | 48 | 50 | 0.019081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4001-35_0_6_line_59 |  | 49 | 78 | 0.0025227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4001-35_0_6_line_60 |  | 50 | 79 | 0.03171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4001-35_0_6_line_61 |  | 51 | 52 | 0.0099275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4001-35_0_6_line_62 |  | 51 | 53 | 0.012975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4001-35_0_6_line_63 |  | 52 | 82 | 0.011474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4001-35_0_6_line_64 |  | 53 | 54 | 0.0097104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4001-35_0_6_line_65 |  | 55 | 94 | 0.01298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4001-35_0_6_line_66 |  | 55 | 58 | 0.024991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4001-35_0_6_line_67 |  | 57 | 58 | 0.027221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4001-35_0_6_line_68 |  | 58 | 86 | 0.019136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4001-35_0_6_line_69 |  | 59 | 103 | 0.025949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4001-35_0_6_line_70 |  | 60 | 61 | 0.021329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4001-35_0_6_line_71 |  | 61 | 75 | 0.037044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4001-35_0_6_line_72 |  | 63 | 68 | 0.011257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
73 | LV_4001-35_0_6_line_73 |  | 64 | 65 | 0.028316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4001-35_0_6_line_74 |  | 65 | 105 | 0.029629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4001-35_0_6_line_75 |  | 67 | 90 | 0.0019206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
76 | LV_4001-35_0_6_line_76 |  | 69 | 70 | 0.010617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4001-35_0_6_line_77 |  | 70 | 74 | 0.0025605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4001-35_0_6_line_78 |  | 71 | 72 | 0.015262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4001-35_0_6_line_79 |  | 72 | 117 | 0.017389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4001-35_0_6_line_80 |  | 73 | 107 | 0.021489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
81 | LV_4001-35_0_6_line_81 |  | 75 | 89 | 0.016295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4001-35_0_6_line_82 |  | 76 | 117 | 0.013654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4001-35_0_6_line_83 |  | 77 | 113 | 0.013234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4001-35_0_6_line_84 |  | 78 | 120 | 0.022678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4001-35_0_6_line_85 |  | 79 | 114 | 0.01941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4001-35_0_6_line_86 |  | 80 | 81 | 0.014085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4001-35_0_6_line_87 |  | 81 | 121 | 0.030208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4001-35_0_6_line_88 |  | 81 | 98 | 0.029231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4001-35_0_6_line_89 |  | 82 | 83 | 0.050976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4001-35_0_6_line_90 |  | 83 | 85 | 0.024529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4001-35_0_6_line_91 |  | 83 | 84 | 0.018213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4001-35_0_6_line_92 |  | 85 | 87 | 0.032629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4001-35_0_6_line_93 |  | 86 | 95 | 0.0049827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
94 | LV_4001-35_0_6_line_94 |  | 87 | 88 | 0.014998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4001-35_0_6_line_95 |  | 88 | 96 | 0.020122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_4001-35_0_6_line_96 |  | 89 | 97 | 0.026052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_4001-35_0_6_line_97 |  | 90 | 99 | 0.02073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
98 | LV_4001-35_0_6_line_98 |  | 91 | 92 | 0.0043884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_4001-35_0_6_line_99 |  | 91 | 93 | 0.012352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_4001-35_0_6_line_100 |  | 92 | 100 | 0.021644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_4001-35_0_6_line_101 |  | 93 | 101 | 0.010337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_4001-35_0_6_line_102 |  | 95 | 102 | 0.021161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
103 | LV_4001-35_0_6_line_103 |  | 96 | 99 | 0.013733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
104 | LV_4001-35_0_6_line_104 |  | 96 | 102 | 0.012175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
105 | LV_4001-35_0_6_line_105 |  | 100 | 116 | 0.0062154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_4001-35_0_6_line_106 |  | 100 | 118 | 0.022346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_4001-35_0_6_line_107 |  | 103 | 104 | 0.0071568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_4001-35_0_6_line_108 |  | 104 | 106 | 0.013334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_4001-35_0_6_line_109 |  | 104 | 105 | 0.015909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_4001-35_0_6_line_110 |  | 107 | 108 | 0.013612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
111 | LV_4001-35_0_6_line_111 |  | 108 | 109 | 0.013293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_4001-35_0_6_line_112 |  | 109 | 110 | 0.027949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_4001-35_0_6_line_113 |  | 109 | 111 | 0.014925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_4001-35_0_6_line_114 |  | 111 | 112 | 0.0017144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_4001-35_0_6_line_115 |  | 112 | 114 | 0.029607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_4001-35_0_6_line_116 |  | 113 | 114 | 0.015709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_4001-35_0_6_line_117 |  | 114 | 115 | 0.036695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_4001-35_0_6_line_118 |  | 115 | 116 | 0.004003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_4001-35_0_6_line_119 |  | 118 | 119 | 0.004384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_4001-35_0_6_line_120 |  | 120 | 121 | 0.0058442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4001-35_0_6_trafo_66 | 0.63 MVA 20/0.4 kV | 122 | 24 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2646094.7567 | 1248972.2871 | 2646097.0996 | 1248973.9509 | 2646102.8229 | 1248975.8967 | 2646116.5353 | 1248976.8473
1 | 2646094.7567 | 1248972.2871 | 2646096.0289 | 1248970.8405 | 2646101.5927 | 1248966.1139
2 | 2646101.5927 | 1248966.1139 | 2646099.8943 | 1248954.7723
3 | 2646101.5927 | 1248966.1139 | 2646104.2034 | 1248969.2585 | 2646108.8548 | 1248970.2064 | 2646119.9934 | 1248968.0693 | 2646147.6332 | 1248961.4773
4 | 2646094.2387 | 1248929.1763 | 2646097.8387 | 1248941.0456 | 2646099.8943 | 1248954.7723
5 | 2646161.3564 | 1248958.2043 | 2646147.6332 | 1248961.4773
6 | 2645995.2281 | 1248862.8522 | 2646002.6156 | 1248862.487 | 2646003.9344 | 1248872.5484 | 2646008.2783 | 1248871.2813 | 2646011.4934 | 1248871.4841 | 2646014.5279 | 1248872.5751 | 2646017.1257 | 1248874.4743 | 2646019.0841 | 1248877.0356 | 2646020.1067 | 1248879.5341 | 2646020.5087 | 1248882.2168 | 2646020.2537 | 1248884.9167 | 2646018.9672 | 1248888.1978 | 2646016.7261 | 1248890.9378 | 2646021.0342 | 1248899.1434 | 2646024.4655 | 1248896.7795 | 2646026.0814 | 1248895.8025
7 | 2646026.0814 | 1248895.8025 | 2646031.0607 | 1248894.3846 | 2646045.7628 | 1248890.1842
8 | 2645995.2281 | 1248862.8522 | 2645993.3001 | 1248860.1959
9 | 2646062.388 | 1248884.7324 | 2646048.4886 | 1248889.4054 | 2646045.7628 | 1248890.1842
10 | 2646100.608 | 1248927.6804 | 2646094.2387 | 1248929.1763
11 | 2646100.608 | 1248927.6804 | 2646120.4981 | 1248922.1587
12 | 2645936.9616 | 1248833.3031 | 2645974.9477 | 1248845.2165 | 2645989.117 | 1248854.4325 | 2645993.3001 | 1248860.1959
13 | 2645936.9616 | 1248833.3031 | 2645938.9436 | 1248827.9482 | 2645953.8131 | 1248832.5665 | 2645956.1005 | 1248821.9103 | 2645956.3121 | 1248820.9113 | 2645957.0756 | 1248813.9792 | 2645957.2058 | 1248812.7683 | 2645957.8454 | 1248810.1271 | 2645960.6624 | 1248801.2874 | 2645964.0788 | 1248793.0528 | 2645965.0407 | 1248790.7253 | 2645965.2563 | 1248788.2475
14 | 2645965.2563 | 1248788.2475 | 2645965.0407 | 1248790.7253 | 2645935.9806 | 1248782.5392
15 | 2645965.2563 | 1248788.2475 | 2645965.7712 | 1248782.2141 | 2645966.7713 | 1248773.983 | 2645969.1797 | 1248766.2298 | 2645970.9759 | 1248756.615 | 2645967.2329 | 1248752.4277 | 2645975.4063 | 1248723.7606 | 2645955.0589 | 1248718.1895
16 | 2646020.2102 | 1248775.7207 | 2646001.5443 | 1248770.8949 | 2645997.4423 | 1248769.7658
17 | 2646021.778 | 1248769.2729 | 2646020.2102 | 1248775.7207
18 | 2646021.778 | 1248769.2729 | 2646024.7352 | 1248756.8905
19 | 2646027.5612 | 1248745.0571 | 2646024.7352 | 1248756.8905
20 | 2646042.2337 | 1248683.6519 | 2646034.678 | 1248715.2727
21 | 2646042.2337 | 1248683.6519 | 2646031.1471 | 1248680.5628
22 | 2646042.2337 | 1248683.6519 | 2646043.5058 | 1248678.336 | 2646044.294 | 1248675.0399 | 2646044.2917 | 1248642.9464
23 | 2646034.678 | 1248715.2727 | 2646030.79 | 1248731.5443
24 | 2646031.1471 | 1248680.5628 | 2646026.634 | 1248679.3052
25 | 2646044.2887 | 1248600.8567 | 2646044.2917 | 1248642.9464
26 | 2646041.349 | 1248732.4222 | 2646049.884 | 1248704.8922 | 2646051.8992 | 1248695.399
27 | 2646027.5612 | 1248745.0571 | 2646032.1081 | 1248745.8596 | 2646032.6989 | 1248743.6849 | 2646035.5177 | 1248731.7099 | 2646041.349 | 1248732.4222
28 | 2646041.349 | 1248732.4222 | 2646045.4302 | 1248732.9209 | 2646053.8828 | 1248738.3457 | 2646057.1084 | 1248745.9537 | 2646064.4241 | 1248752.3715
29 | 2646027.5612 | 1248745.0571 | 2646030.79 | 1248731.5443
30 | 2646086.3845 | 1248770.0639 | 2646074.8828 | 1248761.5466 | 2646064.4241 | 1248752.3715
31 | 2646119.3766 | 1248800.8076 | 2646101.8977 | 1248812.3128
32 | 2646101.8977 | 1248812.3128 | 2646091.5411 | 1248795.5453
33 | 2646119.3766 | 1248800.8076 | 2646120.9343 | 1248799.3545
34 | 2646119.3766 | 1248800.8076 | 2646124.4811 | 1248803.7048 | 2646120.248 | 1248812.0664 | 2646126.6433 | 1248826.6592
35 | 2646085.2554 | 1248781.2626 | 2646091.3535 | 1248795.2416 | 2646091.5411 | 1248795.5453
36 | 2645939.127 | 1248772.1232 | 2645935.9806 | 1248782.5392
37 | 2646044.827 | 1248594.7345 | 2646014.9185 | 1248586.9491
38 | 2646044.827 | 1248594.7345 | 2646050.2725 | 1248595.5551
39 | 2645989.721 | 1248579.3449 | 2646009.3859 | 1248585.5089 | 2646014.9185 | 1248586.9491
40 | 2646050.2725 | 1248595.5551 | 2646052.7753 | 1248576.0168
41 | 2646050.0759 | 1248598.5111 | 2646050.2725 | 1248595.5551
42 | 2645968.2624 | 1248568.9902 | 2645967.1667 | 1248572.0171 | 2645977.2766 | 1248577.021 | 2645975.6924 | 1248580.7112
43 | 2645975.6924 | 1248580.7112 | 2645975.0107 | 1248582.9407 | 2645973.485 | 1248589.8002 | 2645973.7029 | 1248598.7079 | 2645972.4129 | 1248604.2508
44 | 2645973.3459 | 1248555.1536 | 2645968.2624 | 1248568.9902
45 | 2645968.2624 | 1248568.9902 | 2645984.5805 | 1248577.7336 | 2645989.721 | 1248579.3449
46 | 2645970.5812 | 1248612.1217 | 2645972.4129 | 1248604.2508
47 | 2646049.8625 | 1248601.6782 | 2646044.2887 | 1248600.8567
48 | 2646044.2887 | 1248600.8567 | 2646026.794 | 1248596.5091
49 | 2646050.0759 | 1248598.5111 | 2646049.8625 | 1248601.6782
50 | 2646049.8625 | 1248601.6782 | 2646050.1471 | 1248617.1229
51 | 2646050.0759 | 1248598.5111 | 2646077.1363 | 1248600.2511
52 | 2646114.9826 | 1248602.6847 | 2646077.1363 | 1248600.2511
53 | 2645996.0034 | 1248450.4589 | 2645987.9901 | 1248469.7344
54 | 2645996.0034 | 1248450.4589 | 2646023.4682 | 1248464.4343
55 | 2645985.9814 | 1248474.5661 | 2645987.9901 | 1248469.7344
56 | 2646036.9583 | 1248471.2987 | 2646023.4682 | 1248464.4343
57 | 2646079.8213 | 1248413.6735 | 2646119.3828 | 1248417.6708
58 | 2646079.8213 | 1248413.6735 | 2646075.4588 | 1248432.2489
59 | 2646119.3828 | 1248417.6708 | 2646121.8927 | 1248417.9244
60 | 2646068.2087 | 1248463.1188 | 2646075.4588 | 1248432.2489
61 | 2646183.423 | 1248952.9415 | 2646193.0799 | 1248950.639
62 | 2646183.423 | 1248952.9415 | 2646170.8019 | 1248955.9516
63 | 2646204.241 | 1248947.978 | 2646193.0799 | 1248950.639
64 | 2646161.3564 | 1248958.2043 | 2646170.8019 | 1248955.9516
65 | 2646066.4224 | 1248897.072 | 2646062.388 | 1248884.7324
66 | 2646086.4894 | 1248877.9928 | 2646074.251 | 1248880.744 | 2646062.388 | 1248884.7324
67 | 2646086.4894 | 1248877.9928 | 2646075.9523 | 1248852.8936
68 | 2646086.4894 | 1248877.9928 | 2646097.6612 | 1248875.5001 | 2646105.0032 | 1248873.2147
69 | 2646026.634 | 1248679.3052 | 2646001.6369 | 1248672.3401
70 | 2646116.2165 | 1248637.2397 | 2646094.9271 | 1248635.9465
71 | 2646114.9826 | 1248602.6847 | 2646117.5417 | 1248602.7824 | 2646116.2165 | 1248637.2397
72 | 2646086.3845 | 1248770.0639 | 2646085.2554 | 1248781.2626
73 | 2645986.7961 | 1248715.2042 | 2645984.4727 | 1248725.0206 | 2645982.6539 | 1248732.6895 | 2645984.4547 | 1248735.1273 | 2645991.5841 | 1248736.7698
74 | 2645986.7961 | 1248715.2042 | 2645987.2597 | 1248713.2454 | 2645989.109 | 1248696.782 | 2645991.4179 | 1248685.9772
75 | 2646126.6433 | 1248826.6592 | 2646127.4132 | 1248828.4188
76 | 2645970.0008 | 1248614.6156 | 2645967.5945 | 1248624.9559
77 | 2645970.5812 | 1248612.1217 | 2645970.0008 | 1248614.6156
78 | 2645968.3203 | 1248517.3698 | 2645972.5883 | 1248506.7819 | 2645974.0647 | 1248503.2306
79 | 2645974.0647 | 1248503.2306 | 2645980.7401 | 1248487.1735
80 | 2646055.5056 | 1248554.7016 | 2646052.7753 | 1248576.0168
81 | 2646114.9826 | 1248602.6847 | 2646116.4426 | 1248586.4551
82 | 2645985.9814 | 1248474.5661 | 2645980.7401 | 1248487.1735
83 | 2646036.9583 | 1248471.2987 | 2646038.2068 | 1248471.934 | 2646049.2166 | 1248476.271
84 | 2646144.4557 | 1248420.2041 | 2646121.8927 | 1248417.9244
85 | 2646063.8328 | 1248482.0286 | 2646066.1605 | 1248472.0622 | 2646067.4899 | 1248466.1797 | 2646068.2087 | 1248463.1188
86 | 2646180.3256 | 1248423.8284 | 2646183.0492 | 1248410.0095
87 | 2646180.3256 | 1248423.8284 | 2646150.2703 | 1248420.7916
88 | 2646180.3256 | 1248423.8284 | 2646180.6881 | 1248436.4285 | 2646177.319 | 1248452.7092
89 | 2646204.241 | 1248947.978 | 2646192.2062 | 1248898.4398
90 | 2646192.2062 | 1248898.4398 | 2646190.2099 | 1248892.9984 | 2646188.6498 | 1248888.7501 | 2646183.7537 | 1248875.4134
91 | 2646192.2062 | 1248898.4398 | 2646175.0204 | 1248904.4702
92 | 2646172.509 | 1248844.7837 | 2646183.7537 | 1248875.4134
93 | 2646105.0032 | 1248873.2147 | 2646109.7608 | 1248871.7338
94 | 2646172.509 | 1248844.7837 | 2646159.0182 | 1248851.3356
95 | 2646140.9181 | 1248860.1261 | 2646159.0182 | 1248851.3356
96 | 2646118.7766 | 1248560.5081 | 2646116.4426 | 1248586.4551
97 | 2646135.7239 | 1248847.4105 | 2646127.4132 | 1248828.4188
98 | 2646135.75 | 1248494.7181 | 2646131.398 | 1248494.1534
99 | 2646135.75 | 1248494.7181 | 2646134.6273 | 1248507.0176
100 | 2646110.0153 | 1248490.8599 | 2646118.4299 | 1248492.4708 | 2646131.398 | 1248494.1534
101 | 2646134.6273 | 1248507.0176 | 2646144.7875 | 1248508.9195
102 | 2646109.7608 | 1248871.7338 | 2646129.9659 | 1248865.4445 | 2646129.9659 | 1248865.4445
103 | 2646140.9181 | 1248860.1261 | 2646137.4229 | 1248851.2818 | 2646135.7239 | 1248847.4105
104 | 2646140.9181 | 1248860.1261 | 2646129.9659 | 1248865.4445
105 | 2646110.0153 | 1248490.8599 | 2646103.9111 | 1248489.6898
106 | 2646110.0153 | 1248490.8599 | 2646108.0224 | 1248513.1149
107 | 2645994.7426 | 1248670.4191 | 2646001.6369 | 1248672.3401
108 | 2645994.7426 | 1248670.4191 | 2645996.891 | 1248657.2602
109 | 2645994.7426 | 1248670.4191 | 2645991.4179 | 1248685.9772
110 | 2646055.5056 | 1248554.7016 | 2646057.2374 | 1248541.2007
111 | 2646058.7864 | 1248527.998 | 2646057.6357 | 1248538.0959 | 2646057.2374 | 1248541.2007
112 | 2646086.6246 | 1248531.2831 | 2646058.7864 | 1248527.998
113 | 2646058.7864 | 1248527.998 | 2646060.4741 | 1248513.1685
114 | 2646060.668 | 1248511.465 | 2646060.4741 | 1248513.1685
115 | 2646063.8328 | 1248482.0286 | 2646062.717 | 1248493.4609 | 2646060.668 | 1248511.465
116 | 2646063.8328 | 1248482.0286 | 2646049.2166 | 1248476.271
117 | 2646063.8328 | 1248482.0286 | 2646099.9796 | 1248488.9362
118 | 2646099.9796 | 1248488.9362 | 2646103.9111 | 1248489.6898
119 | 2646107.6335 | 1248517.4815 | 2646108.0224 | 1248513.1149
120 | 2646144.4557 | 1248420.2041 | 2646150.2703 | 1248420.7916

## bus_geodata
| x | y | coords
0 | 2646116.5353 | 1248976.8473
1 | 2646094.7567 | 1248972.2871
2 | 2646101.5927 | 1248966.1139
3 | 2646099.8943 | 1248954.7723
4 | 2646147.6332 | 1248961.4773
5 | 2646026.0814 | 1248895.8025
6 | 2645995.2281 | 1248862.8522
7 | 2646045.7628 | 1248890.1842
8 | 2646094.2387 | 1248929.1763
9 | 2646100.608 | 1248927.6804
10 | 2645993.3001 | 1248860.1959
11 | 2645936.9616 | 1248833.3031
12 | 2645965.2563 | 1248788.2475
13 | 2646020.2102 | 1248775.7207
14 | 2645997.4423 | 1248769.7658
15 | 2646021.778 | 1248769.2729
16 | 2646024.7352 | 1248756.8905
17 | 2646042.2337 | 1248683.6519
18 | 2646034.678 | 1248715.2727
19 | 2646031.1471 | 1248680.5628
20 | 2646044.2917 | 1248642.9464
21 | 2646041.349 | 1248732.4222
22 | 2646051.8992 | 1248695.399
23 | 2646027.5612 | 1248745.0571
24 | 2646064.4241 | 1248752.3715
25 | 2646030.79 | 1248731.5443
26 | 2646101.8977 | 1248812.3128
27 | 2646119.3766 | 1248800.8076
28 | 2646091.5411 | 1248795.5453
29 | 2645935.9806 | 1248782.5392
30 | 2645955.0589 | 1248718.1895
31 | 2645939.127 | 1248772.1232
32 | 2646044.827 | 1248594.7345
33 | 2646014.9185 | 1248586.9491
34 | 2646050.2725 | 1248595.5551
35 | 2645975.6924 | 1248580.7112
36 | 2645968.2624 | 1248568.9902
37 | 2645972.4129 | 1248604.2508
38 | 2646044.2887 | 1248600.8567
39 | 2646049.8625 | 1248601.6782
40 | 2646026.794 | 1248596.5091
41 | 2646050.0759 | 1248598.5111
42 | 2646077.1363 | 1248600.2511
43 | 2645973.3459 | 1248555.1536
44 | 2645989.721 | 1248579.3449
45 | 2645996.0034 | 1248450.4589
46 | 2645987.9901 | 1248469.7344
47 | 2646023.4682 | 1248464.4343
48 | 2646079.8213 | 1248413.6735
49 | 2646119.3828 | 1248417.6708
50 | 2646075.4588 | 1248432.2489
51 | 2646183.423 | 1248952.9414
52 | 2646193.0799 | 1248950.639
53 | 2646170.8019 | 1248955.9516
54 | 2646161.3564 | 1248958.2043
55 | 2646062.388 | 1248884.7324
56 | 2646120.4981 | 1248922.1587
57 | 2646075.9523 | 1248852.8936
58 | 2646086.4894 | 1248877.9928
59 | 2646026.634 | 1248679.3052
60 | 2646094.9271 | 1248635.9465
61 | 2646116.2165 | 1248637.2397
62 | 2646050.1471 | 1248617.1229
63 | 2646086.3845 | 1248770.0639
64 | 2645991.5841 | 1248736.7698
65 | 2645986.7961 | 1248715.2042
66 | 2646120.9343 | 1248799.3545
67 | 2646126.6433 | 1248826.6592
68 | 2646085.2554 | 1248781.2626
69 | 2645967.5945 | 1248624.9559
70 | 2645970.0008 | 1248614.6156
71 | 2645968.3203 | 1248517.3698
72 | 2645974.0647 | 1248503.2306
73 | 2646052.7753 | 1248576.0168
74 | 2645970.5812 | 1248612.1217
75 | 2646114.9826 | 1248602.6847
76 | 2645985.9814 | 1248474.5661
77 | 2646036.9583 | 1248471.2987
78 | 2646121.8927 | 1248417.9244
79 | 2646068.2087 | 1248463.1188
80 | 2646183.0492 | 1248410.0095
81 | 2646180.3256 | 1248423.8284
82 | 2646204.241 | 1248947.978
83 | 2646192.2062 | 1248898.4398
84 | 2646175.0204 | 1248904.4702
85 | 2646183.7537 | 1248875.4134
86 | 2646105.0032 | 1248873.2147
87 | 2646172.509 | 1248844.7837
88 | 2646159.0182 | 1248851.3356
89 | 2646116.4426 | 1248586.4551
90 | 2646127.4132 | 1248828.4188
91 | 2646135.75 | 1248494.7181
92 | 2646131.398 | 1248494.1534
93 | 2646134.6273 | 1248507.0176
94 | 2646066.4224 | 1248897.072
95 | 2646109.7608 | 1248871.7338
96 | 2646140.9181 | 1248860.1261
97 | 2646118.7766 | 1248560.5081
98 | 2646177.319 | 1248452.7092
99 | 2646135.7239 | 1248847.4105
100 | 2646110.0153 | 1248490.8599
101 | 2646144.7875 | 1248508.9195
102 | 2646129.9659 | 1248865.4445
103 | 2646001.6369 | 1248672.3401
104 | 2645994.7426 | 1248670.4191
105 | 2645991.4179 | 1248685.9772
106 | 2645996.891 | 1248657.2602
107 | 2646055.5056 | 1248554.7016
108 | 2646057.2374 | 1248541.2007
109 | 2646058.7864 | 1248527.998
110 | 2646086.6246 | 1248531.2831
111 | 2646060.4741 | 1248513.1685
112 | 2646060.668 | 1248511.465
113 | 2646049.2166 | 1248476.271
114 | 2646063.8328 | 1248482.0286
115 | 2646099.9796 | 1248488.9362
116 | 2646103.9111 | 1248489.6898
117 | 2645980.7401 | 1248487.1735
118 | 2646108.0224 | 1248513.1149
119 | 2646107.6335 | 1248517.4815
120 | 2646144.4557 | 1248420.2041
121 | 2646150.2703 | 1248420.7916
122 | 2646086.3845 | 1248770.0639

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1