## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4001-37_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4001-37_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4001-37_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4001-37_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4001-37_0_5_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_4001-37_0_5_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_4001-37_0_5_node_107 | 0.4 | n |  | TRUE
7 | bus_LV_4001-37_0_5_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_4001-37_0_5_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_4001-37_0_5_node_104 | 0.4 | n |  | TRUE
10 | bus_LV_4001-37_0_5_node_22 | 0.4 | n |  | TRUE
11 | bus_LV_4001-37_0_5_node_106 | 0.4 | n |  | TRUE
12 | bus_LV_4001-37_0_5_node_12 | 0.4 | n |  | TRUE
13 | bus_LV_4001-37_0_5_node_14 | 0.4 | n |  | TRUE
14 | bus_LV_4001-37_0_5_node_28 | 0.4 | n |  | TRUE
15 | bus_LV_4001-37_0_5_node_108 | 0.4 | n |  | TRUE
16 | bus_LV_4001-37_0_5_node_37 | 0.4 | n |  | TRUE
17 | bus_LV_4001-37_0_5_node_8 | 0.4 | n |  | TRUE
18 | bus_LV_4001-37_0_5_node_19 | 0.4 | n |  | TRUE
19 | bus_LV_4001-37_0_5_node_36 | 0.4 | n |  | TRUE
20 | bus_LV_4001-37_0_5_node_9 | 0.4 | n |  | TRUE
21 | bus_LV_4001-37_0_5_node_35 | 0.4 | n |  | TRUE
22 | bus_LV_4001-37_0_5_node_102 | 0.4 | n |  | TRUE
23 | bus_LV_4001-37_0_5_node_27 | 0.4 | n |  | TRUE
24 | bus_LV_4001-37_0_5_node_105 | 0.4 | n |  | TRUE
25 | bus_LV_4001-37_0_5_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_4001-37_0_5_node_103 | 0.4 | n |  | TRUE
27 | bus_LV_4001-37_0_5_node_25 | 0.4 | n |  | TRUE
28 | bus_LV_4001-37_0_5_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_4001-37_0_5_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_4001-37_0_5_node_79 | 0.4 | n |  | TRUE
31 | bus_LV_4001-37_0_5_node_70 | 0.4 | n |  | TRUE
32 | bus_LV_4001-37_0_5_node_81 | 0.4 | n |  | TRUE
33 | bus_LV_4001-37_0_5_node_18 | 0.4 | n |  | TRUE
34 | bus_LV_4001-37_0_5_node_59 | 0.4 | n |  | TRUE
35 | bus_LV_4001-37_0_5_node_55 | 0.4 | n |  | TRUE
36 | bus_LV_4001-37_0_5_node_97 | 0.4 | n |  | TRUE
37 | bus_LV_4001-37_0_5_node_20 | 0.4 | n |  | TRUE
38 | bus_LV_4001-37_0_5_node_46 | 0.4 | n |  | TRUE
39 | bus_LV_4001-37_0_5_node_43 | 0.4 | n |  | TRUE
40 | bus_LV_4001-37_0_5_node_21 | 0.4 | n |  | TRUE
41 | bus_LV_4001-37_0_5_node_39 | 0.4 | n |  | TRUE
42 | bus_LV_4001-37_0_5_node_96 | 0.4 | n |  | TRUE
43 | bus_LV_4001-37_0_5_node_100 | 0.4 | n |  | TRUE
44 | bus_LV_4001-37_0_5_node_23 | 0.4 | n |  | TRUE
45 | bus_LV_4001-37_0_5_node_101 | 0.4 | n |  | TRUE
46 | bus_LV_4001-37_0_5_node_24 | 0.4 | n |  | TRUE
47 | bus_LV_4001-37_0_5_node_98 | 0.4 | n |  | TRUE
48 | bus_LV_4001-37_0_5_node_26 | 0.4 | n |  | TRUE
49 | bus_LV_4001-37_0_5_node_52 | 0.4 | n |  | TRUE
50 | bus_LV_4001-37_0_5_node_61 | 0.4 | n |  | TRUE
51 | bus_LV_4001-37_0_5_node_60 | 0.4 | n |  | TRUE
52 | bus_LV_4001-37_0_5_node_99 | 0.4 | n |  | TRUE
53 | bus_LV_4001-37_0_5_node_51 | 0.4 | n |  | TRUE
54 | bus_LV_4001-37_0_5_node_109 | 0.4 | n |  | TRUE
55 | bus_LV_4001-37_0_5_node_29 | 0.4 | n |  | TRUE
56 | bus_LV_4001-37_0_5_node_31 | 0.4 | n |  | TRUE
57 | bus_LV_4001-37_0_5_node_32 | 0.4 | n |  | TRUE
58 | bus_LV_4001-37_0_5_node_89 | 0.4 | n |  | TRUE
59 | bus_LV_4001-37_0_5_node_86 | 0.4 | n |  | TRUE
60 | bus_LV_4001-37_0_5_node_82 | 0.4 | n |  | TRUE
61 | bus_LV_4001-37_0_5_node_33 | 0.4 | n |  | TRUE
62 | bus_LV_4001-37_0_5_node_34 | 0.4 | n |  | TRUE
63 | bus_LV_4001-37_0_5_node_62 | 0.4 | n |  | TRUE
64 | bus_LV_4001-37_0_5_node_64 | 0.4 | n |  | TRUE
65 | bus_LV_4001-37_0_5_node_95 | 0.4 | n |  | TRUE
66 | bus_LV_4001-37_0_5_node_83 | 0.4 | n |  | TRUE
67 | bus_LV_4001-37_0_5_node_80 | 0.4 | n |  | TRUE
68 | bus_LV_4001-37_0_5_node_68 | 0.4 | n |  | TRUE
69 | bus_LV_4001-37_0_5_node_88 | 0.4 | n |  | TRUE
70 | bus_LV_4001-37_0_5_node_85 | 0.4 | n |  | TRUE
71 | bus_LV_4001-37_0_5_node_94 | 0.4 | n |  | TRUE
72 | bus_LV_4001-37_0_5_node_71 | 0.4 | n |  | TRUE
73 | bus_LV_4001-37_0_5_node_91 | 0.4 | n |  | TRUE
74 | bus_LV_4001-37_0_5_node_93 | 0.4 | n |  | TRUE
75 | bus_LV_4001-37_0_5_node_72 | 0.4 | n |  | TRUE
76 | bus_LV_4001-37_0_5_node_87 | 0.4 | n |  | TRUE
77 | bus_LV_4001-37_0_5_node_67 | 0.4 | n |  | TRUE
78 | bus_LV_4001-37_0_5_node_66 | 0.4 | n |  | TRUE
79 | bus_LV_4001-37_0_5_node_69 | 0.4 | n |  | TRUE
80 | bus_LV_4001-37_0_5_node_65 | 0.4 | n |  | TRUE
81 | bus_LV_4001-37_0_5_node_78 | 0.4 | n |  | TRUE
82 | bus_LV_4001-37_0_5_node_53 | 0.4 | n |  | TRUE
83 | bus_LV_4001-37_0_5_node_40 | 0.4 | n |  | TRUE
84 | bus_LV_4001-37_0_5_node_42 | 0.4 | n |  | TRUE
85 | bus_LV_4001-37_0_5_node_38 | 0.4 | n |  | TRUE
86 | bus_LV_4001-37_0_5_node_41 | 0.4 | n |  | TRUE
87 | bus_LV_4001-37_0_5_node_50 | 0.4 | n |  | TRUE
88 | bus_LV_4001-37_0_5_node_49 | 0.4 | n |  | TRUE
89 | bus_LV_4001-37_0_5_node_74 | 0.4 | n |  | TRUE
90 | bus_LV_4001-37_0_5_node_90 | 0.4 | n |  | TRUE
91 | bus_LV_4001-37_0_5_node_76 | 0.4 | n |  | TRUE
92 | bus_LV_4001-37_0_5_node_77 | 0.4 | n |  | TRUE
93 | bus_LV_4001-37_0_5_node_84 | 0.4 | n |  | TRUE
94 | bus_LV_4001-37_0_5_node_63 | 0.4 | n |  | TRUE
95 | bus_LV_4001-37_0_5_node_58 | 0.4 | n |  | TRUE
96 | bus_LV_4001-37_0_5_node_48 | 0.4 | n |  | TRUE
97 | bus_LV_4001-37_0_5_node_75 | 0.4 | n |  | TRUE
98 | bus_LV_4001-37_0_5_node_44 | 0.4 | n |  | TRUE
99 | bus_LV_4001-37_0_5_node_45 | 0.4 | n |  | TRUE
100 | bus_LV_4001-37_0_5_node_57 | 0.4 | n |  | TRUE
101 | bus_LV_4001-37_0_5_node_56 | 0.4 | n |  | TRUE
102 | bus_LV_4001-37_0_5_node_47 | 0.4 | n |  | TRUE
103 | bus_LV_4001-37_0_5_node_54 | 0.4 | n |  | TRUE
104 | bus_LV_4001-37_0_5_node_92 | 0.4 | n |  | TRUE
105 | bus_MV_301_1_node_164 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4001-37_0_5_load_0 | 0 | 0.064846 | 0.016252 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4001-37_0_5_load_107 | 6 | 0.034394 | 0.00862 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4001-37_0_5_load_104 | 9 | 0.0086904 | 0.002178 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4001-37_0_5_load_106 | 11 | 0.0071804 | 0.0017996 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4001-37_0_5_load_108 | 15 | 0.026638 | 0.006676 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4001-37_0_5_load_37 | 16 | 0.024563 | 0.0061561 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4001-37_0_5_load_36 | 19 | 0.010376 | 0.0026005 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4001-37_0_5_load_102 | 22 | 0.0053256 | 0.0013347 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4001-37_0_5_load_105 | 24 | 0.0056359 | 0.0014125 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4001-37_0_5_load_103 | 26 | 0.0056428 | 0.0014142 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4001-37_0_5_load_79 | 30 | 0.015003 | 0.00376 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4001-37_0_5_load_81 | 32 | 0.018961 | 0.004752 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4001-37_0_5_load_59 | 34 | 0.017631 | 0.0044187 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4001-37_0_5_load_55 | 35 | 0.011482 | 0.0028776 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4001-37_0_5_load_97 | 36 | 0.00056271 | 0.00014103 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4001-37_0_5_load_46 | 38 | 0.0043593 | 0.0010926 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4001-37_0_5_load_43 | 39 | 0.0042161 | 0.0010566 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4001-37_0_5_load_96 | 42 | 0.002169 | 0.00054361 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4001-37_0_5_load_100 | 43 | 0.0086947 | 0.0021791 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4001-37_0_5_load_101 | 45 | 0.010129 | 0.0025385 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4001-37_0_5_load_98 | 47 | 0.0051043 | 0.0012793 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4001-37_0_5_load_52 | 49 | 0.0048784 | 0.0012226 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4001-37_0_5_load_61 | 50 | 0.0024379 | 0.00061099 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4001-37_0_5_load_60 | 51 | 0.0011649 | 0.00029196 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4001-37_0_5_load_99 | 52 | 0.0051808 | 0.0012984 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4001-37_0_5_load_109 | 54 | 0.026641 | 0.0066769 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4001-37_0_5_load_89 | 58 | 0.0040236 | 0.0010084 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4001-37_0_5_load_86 | 59 | 0.002447 | 0.00061328 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4001-37_0_5_load_82 | 60 | 0.0032913 | 0.00082487 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4001-37_0_5_load_62 | 63 | 0.0023627 | 0.00059214 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4001-37_0_5_load_64 | 64 | 0.001499 | 0.00037569 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4001-37_0_5_load_95 | 65 | 0.048654 | 0.012194 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4001-37_0_5_load_88 | 69 | 0.002242 | 0.00056189 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4001-37_0_5_load_85 | 70 | 0.0046239 | 0.0011589 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4001-37_0_5_load_94 | 71 | 0.00037656 | 9.4376e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4001-37_0_5_load_93 | 74 | 0.0016389 | 0.00041075 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4001-37_0_5_load_87 | 76 | 0.002535 | 0.00063533 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4001-37_0_5_load_78 | 81 | 0.0032903 | 0.00082462 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4001-37_0_5_load_53 | 82 | 0.0048068 | 0.0012047 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4001-37_0_5_load_40 | 83 | 0.0049226 | 0.0012337 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4001-37_0_5_load_38 | 85 | 0.011272 | 0.0028249 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4001-37_0_5_load_50 | 87 | 0.014775 | 0.0037029 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4001-37_0_5_load_49 | 88 | 0.0047074 | 0.0011798 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4001-37_0_5_load_74 | 89 | 0.031946 | 0.0080065 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4001-37_0_5_load_76 | 91 | 0.0049861 | 0.0012496 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4001-37_0_5_load_77 | 92 | 0.00063806 | 0.00015991 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4001-37_0_5_load_84 | 93 | 0.0023818 | 0.00059694 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4001-37_0_5_load_63 | 94 | 0.002281 | 0.00057167 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4001-37_0_5_load_48 | 96 | 0.0066817 | 0.0016746 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4001-37_0_5_load_75 | 97 | 0.065782 | 0.016486 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4001-37_0_5_load_44 | 98 | 0.0048326 | 0.0012112 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4001-37_0_5_load_57 | 100 | 0.0042536 | 0.0010661 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4001-37_0_5_load_56 | 101 | 0.0048331 | 0.0012113 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4001-37_0_5_load_47 | 102 | 0.0053468 | 0.00134 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4001-37_0_5_load_54 | 103 | 0.0045316 | 0.0011357 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4001-37_0_5_load_92 | 104 | 0.00048263 | 0.00012096 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 26 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4001-37_0_5_line_0 |  | 0 | 1 | 0.0051223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
1 | LV_4001-37_0_5_line_1 |  | 0 | 2 | 0.024127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4001-37_0_5_line_2 |  | 1 | 3 | 0.019177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
3 | LV_4001-37_0_5_line_3 |  | 2 | 4 | 0.013004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4001-37_0_5_line_4 |  | 2 | 5 | 0.023713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4001-37_0_5_line_5 |  | 3 | 6 | 0.002982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4001-37_0_5_line_6 |  | 3 | 7 | 0.055586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
7 | LV_4001-37_0_5_line_7 |  | 4 | 14 | 0.021643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4001-37_0_5_line_8 |  | 4 | 15 | 0.005202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4001-37_0_5_line_9 |  | 5 | 16 | 0.029285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4001-37_0_5_line_10 |  | 7 | 11 | 0.004686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4001-37_0_5_line_11 |  | 7 | 12 | 0.04414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
12 | LV_4001-37_0_5_line_12 |  | 7 | 13 | 0.050432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4001-37_0_5_line_13 |  | 8 | 9 | 0.011546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4001-37_0_5_line_14 |  | 8 | 10 | 0.021659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4001-37_0_5_line_15 |  | 10 | 43 | 0.011229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4001-37_0_5_line_16 |  | 10 | 44 | 0.035204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4001-37_0_5_line_17 |  | 12 | 22 | 0.002538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4001-37_0_5_line_18 |  | 12 | 23 | 0.050588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
19 | LV_4001-37_0_5_line_19 |  | 13 | 24 | 0.002053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4001-37_0_5_line_20 |  | 14 | 54 | 0.005257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4001-37_0_5_line_21 |  | 16 | 21 | 0.019796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4001-37_0_5_line_22 |  | 17 | 18 | 0.25537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4001-37_0_5_line_23 |  | 17 | 19 | 0.02964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4001-37_0_5_line_24 |  | 18 | 36 | 0.04291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4001-37_0_5_line_25 |  | 19 | 20 | 0.022397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4001-37_0_5_line_26 |  | 20 | 21 | 0.004642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4001-37_0_5_line_27 |  | 23 | 52 | 0.00197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4001-37_0_5_line_28 |  | 23 | 53 | 0.024718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
29 | LV_4001-37_0_5_line_29 |  | 23 | 46 | 0.048701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4001-37_0_5_line_30 |  | 25 | 26 | 0.001827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
31 | LV_4001-37_0_5_line_31 |  | 25 | 27 | 0.022977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
32 | LV_4001-37_0_5_line_32 |  | 27 | 48 | 0.034238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
33 | LV_4001-37_0_5_line_33 |  | 27 | 49 | 0.0059025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
34 | LV_4001-37_0_5_line_34 |  | 28 | 29 | 0.054896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
35 | LV_4001-37_0_5_line_35 |  | 28 | 30 | 0.028729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
36 | LV_4001-37_0_5_line_36 |  | 29 | 31 | 0.072684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
37 | LV_4001-37_0_5_line_37 |  | 29 | 32 | 0.031833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4001-37_0_5_line_38 |  | 30 | 67 | 0.022709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
39 | LV_4001-37_0_5_line_39 |  | 31 | 71 | 0.017724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
40 | LV_4001-37_0_5_line_40 |  | 33 | 34 | 0.021385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
41 | LV_4001-37_0_5_line_41 |  | 33 | 35 | 0.0087094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
42 | LV_4001-37_0_5_line_42 |  | 34 | 51 | 0.0069527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
43 | LV_4001-37_0_5_line_43 |  | 35 | 82 | 0.024447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
44 | LV_4001-37_0_5_line_44 |  | 37 | 38 | 0.015924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4001-37_0_5_line_45 |  | 37 | 39 | 0.015504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4001-37_0_5_line_46 |  | 38 | 53 | 0.0071897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4001-37_0_5_line_47 |  | 40 | 41 | 0.10313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4001-37_0_5_line_48 |  | 40 | 42 | 0.071459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4001-37_0_5_line_49 |  | 41 | 83 | 0.022601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4001-37_0_5_line_50 |  | 41 | 84 | 0.24904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4001-37_0_5_line_51 |  | 41 | 85 | 0.011739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4001-37_0_5_line_52 |  | 44 | 45 | 0.006842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4001-37_0_5_line_53 |  | 44 | 46 | 0.048398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4001-37_0_5_line_54 |  | 46 | 47 | 0.002141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4001-37_0_5_line_55 |  | 48 | 50 | 0.00081337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4001-37_0_5_line_56 |  | 48 | 51 | 0.015006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
57 | LV_4001-37_0_5_line_57 |  | 49 | 53 | 0.021038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
58 | LV_4001-37_0_5_line_58 |  | 55 | 56 | 0.013317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4001-37_0_5_line_59 |  | 55 | 57 | 0.033354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4001-37_0_5_line_60 |  | 55 | 58 | 0.01745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4001-37_0_5_line_61 |  | 56 | 59 | 0.0030428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4001-37_0_5_line_62 |  | 57 | 60 | 0.016654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4001-37_0_5_line_63 |  | 58 | 90 | 0.026145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4001-37_0_5_line_64 |  | 59 | 93 | 0.013608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4001-37_0_5_line_65 |  | 61 | 62 | 0.064981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4001-37_0_5_line_66 |  | 61 | 63 | 0.071049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4001-37_0_5_line_67 |  | 62 | 64 | 0.069107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4001-37_0_5_line_68 |  | 63 | 94 | 0.007484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4001-37_0_5_line_69 |  | 64 | 80 | 0.075015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4001-37_0_5_line_70 |  | 65 | 66 | 0.014764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4001-37_0_5_line_71 |  | 66 | 90 | 0.033709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4001-37_0_5_line_72 |  | 67 | 95 | 0.027605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
73 | LV_4001-37_0_5_line_73 |  | 68 | 69 | 0.015696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4001-37_0_5_line_74 |  | 68 | 70 | 0.0091176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4001-37_0_5_line_75 |  | 69 | 104 | 0.00056521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4001-37_0_5_line_76 |  | 70 | 93 | 0.014102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4001-37_0_5_line_77 |  | 71 | 77 | 0.018686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
78 | LV_4001-37_0_5_line_78 |  | 72 | 73 | 0.024285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4001-37_0_5_line_79 |  | 72 | 74 | 0.024669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
80 | LV_4001-37_0_5_line_80 |  | 73 | 104 | 0.02559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4001-37_0_5_line_81 |  | 74 | 77 | 0.0074806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
82 | LV_4001-37_0_5_line_82 |  | 75 | 76 | 0.013685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4001-37_0_5_line_83 |  | 75 | 77 | 0.039688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4001-37_0_5_line_84 |  | 76 | 78 | 0.031525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4001-37_0_5_line_85 |  | 78 | 79 | 0.044043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4001-37_0_5_line_86 |  | 78 | 80 | 0.08411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4001-37_0_5_line_87 |  | 79 | 81 | 0.0059857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4001-37_0_5_line_88 |  | 81 | 92 | 0.0087541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4001-37_0_5_line_89 |  | 82 | 103 | 0.0030229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
90 | LV_4001-37_0_5_line_90 |  | 84 | 89 | 0.03771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4001-37_0_5_line_91 |  | 84 | 86 | 0.095868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4001-37_0_5_line_92 |  | 86 | 87 | 0.0094638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
93 | LV_4001-37_0_5_line_93 |  | 86 | 88 | 0.023859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4001-37_0_5_line_94 |  | 87 | 95 | 0.012777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
95 | LV_4001-37_0_5_line_95 |  | 88 | 96 | 0.030052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_4001-37_0_5_line_96 |  | 89 | 97 | 0.036862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_4001-37_0_5_line_97 |  | 91 | 92 | 0.017716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_4001-37_0_5_line_98 |  | 95 | 99 | 0.034583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
99 | LV_4001-37_0_5_line_99 |  | 96 | 102 | 0.03004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_4001-37_0_5_line_100 |  | 98 | 99 | 0.018153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_4001-37_0_5_line_101 |  | 99 | 100 | 0.018747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
102 | LV_4001-37_0_5_line_102 |  | 100 | 101 | 0.003219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
103 | LV_4001-37_0_5_line_103 |  | 101 | 103 | 0.016417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4001-37_0_5_trafo_103 | 0.63 MVA 20/0.4 kV | 105 | 26 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16
0 | 2646701.0325 | 1249137.0952 | 2646696.2304 | 1249138.878
1 | 2646673.6123 | 1249147.2752 | 2646696.2304 | 1249138.878
2 | 2646701.0325 | 1249137.0952 | 2646719.0552 | 1249130.3993
3 | 2646673.6123 | 1249147.2752 | 2646668.5195 | 1249135.3048
4 | 2646677.4051 | 1249168.0635 | 2646678.3115 | 1249163.2229 | 2646675.685 | 1249158.2989 | 2646671.9228 | 1249148.9742 | 2646671.5673 | 1249148.093 | 2646673.6123 | 1249147.2752
5 | 2646717.9671 | 1249127.6222 | 2646719.0552 | 1249130.3993
6 | 2646720.7264 | 1249092.6981 | 2646722.7259 | 1249091.9245 | 2646730.2756 | 1249109.2623 | 2646733.1159 | 1249115.7891 | 2646736.5024 | 1249123.9101 | 2646719.0552 | 1249130.3993
7 | 2646668.5195 | 1249135.3048 | 2646660.0462 | 1249115.3803
8 | 2646673.4482 | 1249133.598 | 2646668.5195 | 1249135.3048
9 | 2646677.4051 | 1249168.0635 | 2646649.7677 | 1249158.379
10 | 2646719.6298 | 1249088.142 | 2646720.7264 | 1249092.6981
11 | 2646720.7264 | 1249092.6981 | 2646722.7259 | 1249091.9245 | 2646737.4717 | 1249086.2034 | 2646734.0729 | 1249077.7265 | 2646749.9772 | 1249071.5921
12 | 2646720.7264 | 1249092.6981 | 2646722.7259 | 1249091.9245 | 2646737.4717 | 1249086.2034 | 2646744.6549 | 1249103.0936 | 2646757.9435 | 1249098.3285
13 | 2646680.0087 | 1249083.8383 | 2646669.3571 | 1249088.3687
14 | 2646671.293 | 1249064.0119 | 2646674.7991 | 1249072.3007 | 2646680.0087 | 1249083.8383
15 | 2646671.293 | 1249064.0119 | 2646660.8256 | 1249068.1546
16 | 2646671.293 | 1249064.0119 | 2646674.7991 | 1249072.3007 | 2646697.525 | 1249063.796 | 2646699.3425 | 1249063.121
17 | 2646749.0823 | 1249069.2168 | 2646749.9772 | 1249071.5921
18 | 2646749.9772 | 1249071.5921 | 2646767.6765 | 1249064.7715 | 2646763.3835 | 1249051.9179 | 2646780.3162 | 1249045.6138
19 | 2646757.2111 | 1249096.4103 | 2646757.9435 | 1249098.3285
20 | 2646664.9761 | 1249113.5178 | 2646660.0462 | 1249115.3803
21 | 2646634.6499 | 1249147.5912 | 2646636.0304 | 1249151.5825 | 2646639.8173 | 1249154.8923 | 2646649.7677 | 1249158.379
22 | 2646647.0099 | 1249092.8849 | 2646647.577 | 1249086.0736 | 2646644.0266 | 1249077.64 | 2646637.252 | 1249061.5537 | 2646624.9618 | 1249036.3401 | 2646623.4754 | 1249031.414 | 2646618.6649 | 1249016.1548 | 2646613.3943 | 1248996.9782 | 2646608.8482 | 1248982.6551 | 2646605.1094 | 1248972.2521 | 2646594.6465 | 1248935.4562 | 2646590.944 | 1248921.3954 | 2646617.4977 | 1248900.5233 | 2646624.7312 | 1248894.7652 | 2646643.1171 | 1248890.9404 | 2646648.2146 | 1248889.8798 | 2646653.6776 | 1248885.5532
23 | 2646647.0099 | 1249092.8849 | 2646647.0292 | 1249096.1984 | 2646644.8567 | 1249103.6085 | 2646639.1951 | 1249121.3303
24 | 2646680.4265 | 1248910.9029 | 2646670.2072 | 1248910.3555 | 2646669.0323 | 1248908.0558 | 2646668.125 | 1248902.4449 | 2646666.1342 | 1248894.446 | 2646662.8313 | 1248891.0289 | 2646656.4241 | 1248889.6331 | 2646653.6776 | 1248885.5532
25 | 2646633.81 | 1249143.026 | 2646636.0165 | 1249131.2799 | 2646639.1951 | 1249121.3303
26 | 2646633.81 | 1249143.026 | 2646634.6499 | 1249147.5912
27 | 2646779.5831 | 1249043.7845 | 2646780.3162 | 1249045.6138
28 | 2646803.814 | 1249037.8828 | 2646799.7988 | 1249038.6294 | 2646796.4756 | 1249039.7039 | 2646794.0456 | 1249040.4964 | 2646780.3162 | 1249045.6138
29 | 2646741.8753 | 1249045.7664 | 2646759.1421 | 1249040.1765 | 2646763.3835 | 1249051.9179 | 2646780.3162 | 1249045.6138
30 | 2646789.0809 | 1249069.7103 | 2646789.8152 | 1249071.3838
31 | 2646811.5307 | 1249063.6944 | 2646805.0266 | 1249066.0002 | 2646789.8152 | 1249071.3838
32 | 2646811.5307 | 1249063.6944 | 2646812.686 | 1249067.5061 | 2646821.4575 | 1249096.4615
33 | 2646811.5307 | 1249063.6944 | 2646809.84 | 1249058.0392
34 | 2646888.7568 | 1249101.9189 | 2646888.5569 | 1249103.3294 | 2646887.9966 | 1249107.3388 | 2646905.6334 | 1249100.796 | 2646934.3338 | 1249090.1492
35 | 2646888.7568 | 1249101.9189 | 2646892.4159 | 1249073.4244
36 | 2646934.3338 | 1249090.1492 | 2646961.0429 | 1249080.2316 | 2646963.5362 | 1249084.7878 | 2646944.4751 | 1249091.9306 | 2646957.7052 | 1249105.0664
37 | 2646934.3338 | 1249090.1492 | 2646932.3892 | 1249086.8649 | 2646930.1466 | 1249083.0668 | 2646927.1865 | 1249081.1977 | 2646923.2732 | 1249070.971 | 2646922.3366 | 1249061.8643
38 | 2646895.495 | 1249050.9267 | 2646894.5178 | 1249057.0564 | 2646892.4159 | 1249073.4244
39 | 2646957.7052 | 1249105.0664 | 2646944.301 | 1249116.6618
40 | 2646859.9877 | 1249088.7828 | 2646838.737 | 1249086.3911
41 | 2646859.9877 | 1249088.7828 | 2646861.4764 | 1249080.2015
42 | 2646836.0061 | 1249092.785 | 2646836.0061 | 1249092.785 | 2646838.737 | 1249086.3911
43 | 2646865.8507 | 1249056.1494 | 2646863.0176 | 1249071.3171 | 2646861.4764 | 1249080.2015
44 | 2646798.6458 | 1249015.3824 | 2646801.3938 | 1249029.7805 | 2646801.7563 | 1249030.9939
45 | 2646798.6458 | 1249015.3824 | 2646814.0709 | 1249013.8155
46 | 2646803.814 | 1249037.8828 | 2646801.7563 | 1249030.9939
47 | 2646736.012 | 1248895.9082 | 2646742.2147 | 1248876.2994 | 2646748.5177 | 1248869.8336 | 2646761.5185 | 1248868.1127 | 2646767.5523 | 1248867.0595 | 2646774.0155 | 1248867.0883 | 2646786.66 | 1248869.3895 | 2646780.5439 | 1248903.8312
48 | 2646736.012 | 1248895.9082 | 2646737.9533 | 1248906.3527 | 2646728.5926 | 1248966.4639
49 | 2646780.5439 | 1248903.8312 | 2646778.2483 | 1248915.343 | 2646778.6409 | 1248919.1821 | 2646781.1649 | 1248921.7815 | 2646784.5058 | 1248922.2971
50 | 2646780.5439 | 1248903.8312 | 2646786.66 | 1248869.3895 | 2646790.6908 | 1248869.5437 | 2646794.7424 | 1248868.0301 | 2646797.3655 | 1248865.7382 | 2646799.9087 | 1248851.5709 | 2646838.8212 | 1248857.8267 | 2646837.7994 | 1248862.922 | 2646838.9976 | 1248880.4211 | 2646842.7753 | 1248881.0735 | 2646888.5003 | 1248888.9956 | 2646892.7529 | 1248889.752 | 2646890.6296 | 1248901.4097 | 2646882.3751 | 1248948.3984 | 2646880.322 | 1248959.7676
51 | 2646780.5439 | 1248903.8312 | 2646778.2483 | 1248915.343
52 | 2646696.2041 | 1249057.0366 | 2646699.3425 | 1249063.121
53 | 2646699.3425 | 1249063.121 | 2646724.4312 | 1249053.7344 | 2646723.4428 | 1249051.7253 | 2646741.8753 | 1249045.7664
54 | 2646741.2572 | 1249043.7157 | 2646741.8753 | 1249045.7664
55 | 2646821.4575 | 1249096.4615 | 2646821.6935 | 1249097.2399
56 | 2646821.4575 | 1249096.4615 | 2646836.0061 | 1249092.785
57 | 2646803.814 | 1249037.8828 | 2646809.84 | 1249058.0392
58 | 2646851.6642 | 1249173.2295 | 2646864.004 | 1249168.1347
59 | 2646820.8263 | 1249185.9391 | 2646824.4548 | 1249184.4445 | 2646851.6642 | 1249173.2295
60 | 2646851.6642 | 1249173.2295 | 2646845.2493 | 1249157.0013
61 | 2646864.004 | 1249168.1347 | 2646866.8171 | 1249166.9749
62 | 2646820.8263 | 1249185.9391 | 2646805.4303 | 1249192.2881
63 | 2646835.638 | 1249132.6867 | 2646845.2493 | 1249157.0013
64 | 2646879.3977 | 1249161.7882 | 2646866.8171 | 1249166.9749
65 | 2646985.4397 | 1249330.6271 | 2646944.6543 | 1249314.3487 | 2646929.4165 | 1249306.912 | 2646925.7111 | 1249304.7813
66 | 2646925.7111 | 1249304.7813 | 2646928.2736 | 1249299.6425 | 2646953.045 | 1249252.0731 | 2646956.9217 | 1249248.7794 | 2646960.077 | 1249242.9977
67 | 2646985.4397 | 1249330.6271 | 2647005.3695 | 1249295.7169 | 2647021.7432 | 1249271.8924
68 | 2646960.077 | 1249242.9977 | 2646963.6621 | 1249236.4283
69 | 2647064.2313 | 1249210.0703 | 2647021.7432 | 1249271.8924
70 | 2646805.1447 | 1249146.6777 | 2646791.3299 | 1249151.8858
71 | 2646835.638 | 1249132.6867 | 2646827.9364 | 1249135.5723 | 2646820.5021 | 1249140.9506 | 2646805.1447 | 1249146.6777
72 | 2646899.8257 | 1249023.6648 | 2646895.495 | 1249050.9267
73 | 2646900.8643 | 1249152.9379 | 2646894.9959 | 1249138.3798
74 | 2646900.8643 | 1249152.9379 | 2646892.4349 | 1249156.4132
75 | 2646894.7845 | 1249137.8556 | 2646894.9959 | 1249138.3798
76 | 2646879.3977 | 1249161.7882 | 2646892.4349 | 1249156.4132
77 | 2646930.1689 | 1249128.8868 | 2646944.301 | 1249116.6618
78 | 2646885.2173 | 1249114.1214 | 2646908.0192 | 1249105.5848
79 | 2646908.0192 | 1249105.5848 | 2646925.0151 | 1249123.4649
80 | 2646885.2173 | 1249114.1214 | 2646894.7845 | 1249137.8556
81 | 2646930.1689 | 1249128.8868 | 2646925.0151 | 1249123.4649
82 | 2646958.2761 | 1249156.9059 | 2646967.9308 | 1249166.6045
83 | 2646930.1689 | 1249128.8868 | 2646938.77 | 1249137.3161 | 2646947.7815 | 1249146.3713 | 2646954.658 | 1249153.2748 | 2646958.2761 | 1249156.9059
84 | 2646990.1716 | 1249188.9467 | 2646967.9308 | 1249166.6045
85 | 2646990.1716 | 1249188.9467 | 2646949.2978 | 1249205.6455
86 | 2646990.1716 | 1249188.9467 | 2647000.1597 | 1249185.2678 | 2647006.8038 | 1249187.1995 | 2647039.5589 | 1249186.9812 | 2647064.2313 | 1249210.0703
87 | 2646949.2978 | 1249205.6455 | 2646943.7566 | 1249207.9088
88 | 2646943.7566 | 1249207.9088 | 2646935.6524 | 1249211.219
89 | 2646865.8507 | 1249056.1494 | 2646866.4057 | 1249053.1778
90 | 2646880.322 | 1248959.7676 | 2646843.133 | 1248953.5234
91 | 2646880.322 | 1248959.7676 | 2646885.9322 | 1248960.7125 | 2646889.1171 | 1248944.6602 | 2646905.3178 | 1248947.9016 | 2646900.76 | 1248978.097 | 2646901.0586 | 1248985.2042 | 2646905.6183 | 1248987.2305 | 2646903.3141 | 1249001.6998
92 | 2646903.3141 | 1249001.6998 | 2646901.8297 | 1249011.0464
93 | 2646903.3141 | 1249001.6998 | 2646879.4985 | 1249003.1401
94 | 2646899.8257 | 1249023.6648 | 2646901.8297 | 1249011.0464
95 | 2646856.9087 | 1248990.2181 | 2646864.4816 | 1248989.2734 | 2646874.3741 | 1249003.45 | 2646879.4985 | 1249003.1401
96 | 2646811.8356 | 1248942.8376 | 2646826.7906 | 1248945.1016 | 2646827.4396 | 1248950.8884 | 2646843.133 | 1248953.5234
97 | 2646919.2519 | 1249217.9179 | 2646935.6524 | 1249211.219
98 | 2646869.9389 | 1249015.2896 | 2646889.128 | 1249016.7978 | 2646888.6972 | 1249020.6748 | 2646899.8257 | 1249023.6648
99 | 2646834.4388 | 1249006.2911 | 2646839.9941 | 1249005.6466 | 2646850.5673 | 1248991.0091 | 2646856.9087 | 1248990.2181
100 | 2646869.9389 | 1249015.2896 | 2646868.9566 | 1249010.6009 | 2646855.6049 | 1249011.1324
101 | 2646869.9389 | 1249015.2896 | 2646871.1467 | 1249021.0475 | 2646869.695 | 1249033.8287
102 | 2646869.695 | 1249033.8287 | 2646869.3316 | 1249037.0271
103 | 2646866.4057 | 1249053.1778 | 2646869.1909 | 1249038.2659 | 2646869.3316 | 1249037.0271

## bus_geodata
| x | y | coords
0 | 2646696.2304 | 1249138.878
1 | 2646701.0325 | 1249137.0952
2 | 2646673.6123 | 1249147.2752
3 | 2646719.0552 | 1249130.3993
4 | 2646668.5195 | 1249135.3048
5 | 2646677.4051 | 1249168.0635
6 | 2646717.9671 | 1249127.6222
7 | 2646720.7264 | 1249092.6981
8 | 2646680.0087 | 1249083.8383
9 | 2646669.3571 | 1249088.3687
10 | 2646671.293 | 1249064.0119
11 | 2646719.6298 | 1249088.142
12 | 2646749.9772 | 1249071.5921
13 | 2646757.9435 | 1249098.3285
14 | 2646660.0462 | 1249115.3803
15 | 2646673.4482 | 1249133.598
16 | 2646649.7677 | 1249158.379
17 | 2646647.0099 | 1249092.8849
18 | 2646653.6776 | 1248885.5532
19 | 2646639.1951 | 1249121.3303
20 | 2646633.81 | 1249143.026
21 | 2646634.6499 | 1249147.5912
22 | 2646749.0823 | 1249069.2168
23 | 2646780.3162 | 1249045.6138
24 | 2646757.2111 | 1249096.4103
25 | 2646789.8152 | 1249071.3838
26 | 2646789.0809 | 1249069.7103
27 | 2646811.5307 | 1249063.6944
28 | 2646888.7568 | 1249101.9189
29 | 2646934.3338 | 1249090.1492
30 | 2646892.4159 | 1249073.4244
31 | 2646957.7052 | 1249105.0664
32 | 2646922.3366 | 1249061.8643
33 | 2646859.9877 | 1249088.7828
34 | 2646838.737 | 1249086.3911
35 | 2646861.4764 | 1249080.2015
36 | 2646680.4265 | 1248910.9029
37 | 2646798.6458 | 1249015.3824
38 | 2646801.7563 | 1249030.9939
39 | 2646814.0709 | 1249013.8155
40 | 2646736.012 | 1248895.9082
41 | 2646780.5439 | 1248903.8312
42 | 2646728.5926 | 1248966.4639
43 | 2646660.8256 | 1249068.1546
44 | 2646699.3425 | 1249063.121
45 | 2646696.2041 | 1249057.0366
46 | 2646741.8753 | 1249045.7664
47 | 2646741.2572 | 1249043.7158
48 | 2646821.4575 | 1249096.4615
49 | 2646809.84 | 1249058.0392
50 | 2646821.6935 | 1249097.2399
51 | 2646836.0061 | 1249092.785
52 | 2646779.5831 | 1249043.7845
53 | 2646803.814 | 1249037.8828
54 | 2646664.9761 | 1249113.5178
55 | 2646851.6642 | 1249173.2295
56 | 2646864.004 | 1249168.1347
57 | 2646820.8263 | 1249185.9391
58 | 2646845.2493 | 1249157.0013
59 | 2646866.8171 | 1249166.9749
60 | 2646805.4303 | 1249192.2881
61 | 2646925.7111 | 1249304.7813
62 | 2646985.4397 | 1249330.6271
63 | 2646960.077 | 1249242.9977
64 | 2647021.7432 | 1249271.8924
65 | 2646791.3299 | 1249151.8858
66 | 2646805.1447 | 1249146.6777
67 | 2646895.495 | 1249050.9267
68 | 2646900.8643 | 1249152.9379
69 | 2646894.9959 | 1249138.3798
70 | 2646892.4349 | 1249156.4132
71 | 2646944.301 | 1249116.6618
72 | 2646908.0192 | 1249105.5848
73 | 2646885.2173 | 1249114.1214
74 | 2646925.0151 | 1249123.4649
75 | 2646958.2761 | 1249156.9059
76 | 2646967.9308 | 1249166.6045
77 | 2646930.1689 | 1249128.8868
78 | 2646990.1716 | 1249188.9467
79 | 2646949.2978 | 1249205.6455
80 | 2647064.2313 | 1249210.0703
81 | 2646943.7566 | 1249207.9088
82 | 2646865.8507 | 1249056.1494
83 | 2646784.5058 | 1248922.2971
84 | 2646880.322 | 1248959.7676
85 | 2646778.2483 | 1248915.343
86 | 2646903.3141 | 1249001.6998
87 | 2646901.8297 | 1249011.0464
88 | 2646879.4985 | 1249003.1401
89 | 2646843.133 | 1248953.5234
90 | 2646835.638 | 1249132.6867
91 | 2646919.2519 | 1249217.9179
92 | 2646935.6524 | 1249211.219
93 | 2646879.3977 | 1249161.7882
94 | 2646963.6621 | 1249236.4283
95 | 2646899.8257 | 1249023.6648
96 | 2646856.9087 | 1248990.2181
97 | 2646811.8356 | 1248942.8376
98 | 2646855.6049 | 1249011.1324
99 | 2646869.9389 | 1249015.2896
100 | 2646869.695 | 1249033.8287
101 | 2646869.3316 | 1249037.0271
102 | 2646834.4388 | 1249006.2911
103 | 2646866.4057 | 1249053.1778
104 | 2646894.7845 | 1249137.8556
105 | 2646789.8152 | 1249071.3838

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1