## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4001-50_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4001-50_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4001-50_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4001-50_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4001-50_0_6_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_4001-50_0_6_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_4001-50_0_6_node_9 | 0.4 | n |  | TRUE
7 | bus_LV_4001-50_0_6_node_14 | 0.4 | n |  | TRUE
8 | bus_LV_4001-50_0_6_node_65 | 0.4 | n |  | TRUE
9 | bus_LV_4001-50_0_6_node_69 | 0.4 | n |  | TRUE
10 | bus_LV_4001-50_0_6_node_70 | 0.4 | n |  | TRUE
11 | bus_LV_4001-50_0_6_node_67 | 0.4 | n |  | TRUE
12 | bus_LV_4001-50_0_6_node_54 | 0.4 | n |  | TRUE
13 | bus_LV_4001-50_0_6_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_4001-50_0_6_node_15 | 0.4 | n |  | TRUE
15 | bus_LV_4001-50_0_6_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_4001-50_0_6_node_40 | 0.4 | n |  | TRUE
17 | bus_LV_4001-50_0_6_node_92 | 0.4 | n |  | TRUE
18 | bus_LV_4001-50_0_6_node_91 | 0.4 | n |  | TRUE
19 | bus_LV_4001-50_0_6_node_6 | 0.4 | n |  | TRUE
20 | bus_LV_4001-50_0_6_node_52 | 0.4 | n |  | TRUE
21 | bus_LV_4001-50_0_6_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_4001-50_0_6_node_45 | 0.4 | n |  | TRUE
23 | bus_LV_4001-50_0_6_node_47 | 0.4 | n |  | TRUE
24 | bus_LV_4001-50_0_6_node_43 | 0.4 | n |  | TRUE
25 | bus_LV_4001-50_0_6_node_66 | 0.4 | n |  | TRUE
26 | bus_LV_4001-50_0_6_node_61 | 0.4 | n |  | TRUE
27 | bus_LV_4001-50_0_6_node_89 | 0.4 | n |  | TRUE
28 | bus_LV_4001-50_0_6_node_87 | 0.4 | n |  | TRUE
29 | bus_LV_4001-50_0_6_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_4001-50_0_6_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_4001-50_0_6_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_4001-50_0_6_node_19 | 0.4 | n |  | TRUE
33 | bus_LV_4001-50_0_6_node_20 | 0.4 | n |  | TRUE
34 | bus_LV_4001-50_0_6_node_21 | 0.4 | n |  | TRUE
35 | bus_LV_4001-50_0_6_node_37 | 0.4 | n |  | TRUE
36 | bus_LV_4001-50_0_6_node_36 | 0.4 | n |  | TRUE
37 | bus_LV_4001-50_0_6_node_38 | 0.4 | n |  | TRUE
38 | bus_LV_4001-50_0_6_node_34 | 0.4 | n |  | TRUE
39 | bus_LV_4001-50_0_6_node_22 | 0.4 | n |  | TRUE
40 | bus_LV_4001-50_0_6_node_23 | 0.4 | n |  | TRUE
41 | bus_LV_4001-50_0_6_node_24 | 0.4 | n |  | TRUE
42 | bus_LV_4001-50_0_6_node_25 | 0.4 | n |  | TRUE
43 | bus_LV_4001-50_0_6_node_26 | 0.4 | n |  | TRUE
44 | bus_LV_4001-50_0_6_node_73 | 0.4 | n |  | TRUE
45 | bus_LV_4001-50_0_6_node_90 | 0.4 | n |  | TRUE
46 | bus_LV_4001-50_0_6_node_74 | 0.4 | n |  | TRUE
47 | bus_LV_4001-50_0_6_node_27 | 0.4 | n |  | TRUE
48 | bus_LV_4001-50_0_6_node_28 | 0.4 | n |  | TRUE
49 | bus_LV_4001-50_0_6_node_29 | 0.4 | n |  | TRUE
50 | bus_LV_4001-50_0_6_node_30 | 0.4 | n |  | TRUE
51 | bus_LV_4001-50_0_6_node_31 | 0.4 | n |  | TRUE
52 | bus_LV_4001-50_0_6_node_53 | 0.4 | n |  | TRUE
53 | bus_LV_4001-50_0_6_node_62 | 0.4 | n |  | TRUE
54 | bus_LV_4001-50_0_6_node_63 | 0.4 | n |  | TRUE
55 | bus_LV_4001-50_0_6_node_39 | 0.4 | n |  | TRUE
56 | bus_LV_4001-50_0_6_node_41 | 0.4 | n |  | TRUE
57 | bus_LV_4001-50_0_6_node_32 | 0.4 | n |  | TRUE
58 | bus_LV_4001-50_0_6_node_33 | 0.4 | n |  | TRUE
59 | bus_LV_4001-50_0_6_node_93 | 0.4 | n |  | TRUE
60 | bus_LV_4001-50_0_6_node_77 | 0.4 | n |  | TRUE
61 | bus_LV_4001-50_0_6_node_81 | 0.4 | n |  | TRUE
62 | bus_LV_4001-50_0_6_node_57 | 0.4 | n |  | TRUE
63 | bus_LV_4001-50_0_6_node_42 | 0.4 | n |  | TRUE
64 | bus_LV_4001-50_0_6_node_44 | 0.4 | n |  | TRUE
65 | bus_LV_4001-50_0_6_node_46 | 0.4 | n |  | TRUE
66 | bus_LV_4001-50_0_6_node_80 | 0.4 | n |  | TRUE
67 | bus_LV_4001-50_0_6_node_48 | 0.4 | n |  | TRUE
68 | bus_LV_4001-50_0_6_node_49 | 0.4 | n |  | TRUE
69 | bus_LV_4001-50_0_6_node_75 | 0.4 | n |  | TRUE
70 | bus_LV_4001-50_0_6_node_79 | 0.4 | n |  | TRUE
71 | bus_LV_4001-50_0_6_node_76 | 0.4 | n |  | TRUE
72 | bus_LV_4001-50_0_6_node_78 | 0.4 | n |  | TRUE
73 | bus_LV_4001-50_0_6_node_55 | 0.4 | n |  | TRUE
74 | bus_LV_4001-50_0_6_node_59 | 0.4 | n |  | TRUE
75 | bus_LV_4001-50_0_6_node_64 | 0.4 | n |  | TRUE
76 | bus_LV_4001-50_0_6_node_58 | 0.4 | n |  | TRUE
77 | bus_LV_4001-50_0_6_node_60 | 0.4 | n |  | TRUE
78 | bus_LV_4001-50_0_6_node_88 | 0.4 | n |  | TRUE
79 | bus_LV_4001-50_0_6_node_86 | 0.4 | n |  | TRUE
80 | bus_LV_4001-50_0_6_node_84 | 0.4 | n |  | TRUE
81 | bus_LV_4001-50_0_6_node_82 | 0.4 | n |  | TRUE
82 | bus_LV_4001-50_0_6_node_83 | 0.4 | n |  | TRUE
83 | bus_LV_4001-50_0_6_node_85 | 0.4 | n |  | TRUE
84 | bus_MV_522_0_node_88 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4001-50_0_6_load_0 | 0 | 0.0059185 | 0.0014833 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4001-50_0_6_load_1 | 1 | 0.005246 | 0.0013148 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4001-50_0_6_load_2 | 2 | 0.0058647 | 0.0014698 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4001-50_0_6_load_3 | 3 | 0.0037465 | 0.00093896 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4001-50_0_6_load_67 | 11 | 0.004105 | 0.0010288 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4001-50_0_6_load_7 | 13 | 0.0080215 | 0.0020104 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4001-50_0_6_load_15 | 14 | 0.0095085 | 0.0023831 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4001-50_0_6_load_12 | 15 | 0.010999 | 0.0027565 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4001-50_0_6_load_40 | 16 | 0.012082 | 0.003028 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4001-50_0_6_load_92 | 17 | 0.0092624 | 0.0023214 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4001-50_0_6_load_91 | 18 | 0.0046558 | 0.0011669 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4001-50_0_6_load_6 | 19 | 0.0067942 | 0.0017028 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4001-50_0_6_load_52 | 20 | 0.0041856 | 0.001049 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4001-50_0_6_load_13 | 21 | 0.0034929 | 0.00087541 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4001-50_0_6_load_47 | 23 | 0.0097618 | 0.0024465 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4001-50_0_6_load_43 | 24 | 0.011825 | 0.0029636 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4001-50_0_6_load_66 | 25 | 0.013273 | 0.0033264 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4001-50_0_6_load_61 | 26 | 0.0037324 | 0.00093544 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4001-50_0_6_load_89 | 27 | 0.004758 | 0.0011925 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4001-50_0_6_load_16 | 29 | 0.012114 | 0.003036 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4001-50_0_6_load_17 | 30 | 0.004465 | 0.001119 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4001-50_0_6_load_19 | 32 | 0.015921 | 0.0039901 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4001-50_0_6_load_21 | 34 | 0.0033825 | 0.00084774 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4001-50_0_6_load_37 | 35 | 0.020323 | 0.0050934 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4001-50_0_6_load_36 | 36 | 0.0033072 | 0.00082886 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4001-50_0_6_load_34 | 38 | 0.0025642 | 0.00064264 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4001-50_0_6_load_22 | 39 | 0.0064464 | 0.0016156 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4001-50_0_6_load_23 | 40 | 0.0074829 | 0.0018754 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4001-50_0_6_load_26 | 43 | 0.0038139 | 0.00095586 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4001-50_0_6_load_73 | 44 | 0.040227 | 0.010082 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4001-50_0_6_load_90 | 45 | 0.0051626 | 0.0012939 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4001-50_0_6_load_74 | 46 | 0.0041339 | 0.0010361 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4001-50_0_6_load_27 | 47 | 0.010005 | 0.0025076 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4001-50_0_6_load_28 | 48 | 0.0033078 | 0.00082902 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4001-50_0_6_load_29 | 49 | 0.0086427 | 0.0021661 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4001-50_0_6_load_31 | 51 | 0.046973 | 0.011773 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4001-50_0_6_load_53 | 52 | 0.0064108 | 0.0016067 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4001-50_0_6_load_62 | 53 | 0.0052643 | 0.0013194 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4001-50_0_6_load_63 | 54 | 0.0020235 | 0.00050714 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4001-50_0_6_load_39 | 55 | 0.0043733 | 0.0010961 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4001-50_0_6_load_32 | 57 | 0.0058908 | 0.0014764 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4001-50_0_6_load_33 | 58 | 0.0045245 | 0.001134 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4001-50_0_6_load_93 | 59 | 0.0072624 | 0.0018201 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4001-50_0_6_load_81 | 61 | 0.0091155 | 0.0022845 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4001-50_0_6_load_42 | 63 | 0.010062 | 0.0025217 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4001-50_0_6_load_44 | 64 | 0.0052673 | 0.0013201 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4001-50_0_6_load_46 | 65 | 0.015285 | 0.0038309 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4001-50_0_6_load_80 | 66 | 0.0064293 | 0.0016113 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4001-50_0_6_load_48 | 67 | 0.0050671 | 0.0012699 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4001-50_0_6_load_49 | 68 | 0.0079323 | 0.001988 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4001-50_0_6_load_75 | 69 | 0.0047796 | 0.0011979 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4001-50_0_6_load_79 | 70 | 0.0043499 | 0.0010902 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4001-50_0_6_load_76 | 71 | 0.021777 | 0.0054579 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4001-50_0_6_load_78 | 72 | 0.0068291 | 0.0017115 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4001-50_0_6_load_59 | 74 | 0.028458 | 0.0071322 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4001-50_0_6_load_64 | 75 | 0.0043761 | 0.0010968 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4001-50_0_6_load_58 | 76 | 0.0076067 | 0.0019064 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4001-50_0_6_load_88 | 78 | 0.0080763 | 0.0020241 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4001-50_0_6_load_86 | 79 | 0.004218 | 0.0010571 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4001-50_0_6_load_84 | 80 | 0.0034121 | 0.00085516 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4001-50_0_6_load_82 | 81 | 0.0045796 | 0.0011478 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4001-50_0_6_load_83 | 82 | 0.0048021 | 0.0012035 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4001-50_0_6_load_85 | 83 | 0.0064417 | 0.0016144 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 49 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4001-50_0_6_line_0 |  | 0 | 1 | 0.0028976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4001-50_0_6_line_1 |  | 0 | 2 | 0.010557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4001-50_0_6_line_2 |  | 1 | 3 | 0.00036638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4001-50_0_6_line_3 |  | 3 | 4 | 0.0092634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4001-50_0_6_line_4 |  | 4 | 9 | 0.015087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4001-50_0_6_line_5 |  | 4 | 10 | 0.007561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4001-50_0_6_line_6 |  | 4 | 11 | 0.010566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4001-50_0_6_line_7 |  | 5 | 6 | 0.015965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_4001-50_0_6_line_8 |  | 5 | 7 | 0.005627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_4001-50_0_6_line_9 |  | 5 | 8 | 0.024356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4001-50_0_6_line_10 |  | 6 | 12 | 0.014014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_4001-50_0_6_line_11 |  | 6 | 13 | 0.012983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4001-50_0_6_line_12 |  | 7 | 14 | 0.01045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_4001-50_0_6_line_13 |  | 7 | 15 | 0.014871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4001-50_0_6_line_14 |  | 8 | 16 | 0.016688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4001-50_0_6_line_15 |  | 9 | 17 | 0.011795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4001-50_0_6_line_16 |  | 10 | 18 | 0.0074724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4001-50_0_6_line_17 |  | 12 | 20 | 0.0084173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_4001-50_0_6_line_18 |  | 13 | 19 | 0.02664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4001-50_0_6_line_19 |  | 14 | 27 | 0.014225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_4001-50_0_6_line_20 |  | 15 | 21 | 0.0061489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4001-50_0_6_line_21 |  | 17 | 78 | 0.0001294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4001-50_0_6_line_22 |  | 18 | 45 | 0.004434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4001-50_0_6_line_23 |  | 20 | 52 | 0.0018092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_4001-50_0_6_line_24 |  | 22 | 23 | 0.011796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4001-50_0_6_line_25 |  | 22 | 24 | 0.0027197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4001-50_0_6_line_26 |  | 23 | 67 | 0.01266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4001-50_0_6_line_27 |  | 24 | 63 | 0.0062025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4001-50_0_6_line_28 |  | 25 | 26 | 0.015385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4001-50_0_6_line_29 |  | 26 | 77 | 0.01328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4001-50_0_6_line_30 |  | 27 | 28 | 0.012058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4001-50_0_6_line_31 |  | 28 | 78 | 0.0081767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4001-50_0_6_line_32 |  | 28 | 83 | 0.012606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4001-50_0_6_line_33 |  | 29 | 30 | 0.0041709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4001-50_0_6_line_34 |  | 29 | 31 | 0.016516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4001-50_0_6_line_35 |  | 30 | 32 | 0.0039202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4001-50_0_6_line_36 |  | 31 | 33 | 0.004435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4001-50_0_6_line_37 |  | 31 | 34 | 0.032757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4001-50_0_6_line_38 |  | 33 | 35 | 0.018805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4001-50_0_6_line_39 |  | 34 | 36 | 0.0086507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4001-50_0_6_line_40 |  | 35 | 37 | 0.024535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4001-50_0_6_line_41 |  | 36 | 38 | 0.0016956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4001-50_0_6_line_42 |  | 37 | 55 | 0.028745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4001-50_0_6_line_43 |  | 37 | 56 | 0.028201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4001-50_0_6_line_44 |  | 37 | 51 | 0.022011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_4001-50_0_6_line_45 |  | 38 | 57 | 0.00071069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4001-50_0_6_line_46 |  | 39 | 40 | 0.0056507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4001-50_0_6_line_47 |  | 39 | 41 | 0.007792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4001-50_0_6_line_48 |  | 41 | 42 | 0.032599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4001-50_0_6_line_49 |  | 41 | 43 | 0.0010681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4001-50_0_6_line_50 |  | 42 | 44 | 0.0031869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4001-50_0_6_line_51 |  | 43 | 45 | 0.0054679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4001-50_0_6_line_52 |  | 44 | 46 | 0.0047367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4001-50_0_6_line_53 |  | 47 | 48 | 0.013157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_4001-50_0_6_line_54 |  | 47 | 49 | 0.017429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_4001-50_0_6_line_55 |  | 48 | 50 | 0.0017899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_4001-50_0_6_line_56 |  | 49 | 51 | 0.0003503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_4001-50_0_6_line_57 |  | 50 | 52 | 0.015993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_4001-50_0_6_line_58 |  | 50 | 53 | 0.022228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4001-50_0_6_line_59 |  | 53 | 54 | 0.011384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4001-50_0_6_line_60 |  | 54 | 75 | 0.0070703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4001-50_0_6_line_61 |  | 56 | 59 | 0.023271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4001-50_0_6_line_62 |  | 56 | 60 | 0.01194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4001-50_0_6_line_63 |  | 57 | 58 | 0.0072795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4001-50_0_6_line_64 |  | 60 | 61 | 0.010267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4001-50_0_6_line_65 |  | 60 | 62 | 0.0057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4001-50_0_6_line_66 |  | 61 | 66 | 0.0037273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4001-50_0_6_line_67 |  | 62 | 71 | 0.014757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4001-50_0_6_line_68 |  | 63 | 64 | 0.020438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4001-50_0_6_line_69 |  | 64 | 65 | 0.01313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4001-50_0_6_line_70 |  | 65 | 66 | 0.0054688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4001-50_0_6_line_71 |  | 67 | 68 | 0.0069392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4001-50_0_6_line_72 |  | 68 | 69 | 0.0091866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4001-50_0_6_line_73 |  | 69 | 70 | 0.0079103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4001-50_0_6_line_74 |  | 70 | 72 | 0.0075806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4001-50_0_6_line_75 |  | 73 | 74 | 0.0079751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4001-50_0_6_line_76 |  | 73 | 75 | 0.012845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4001-50_0_6_line_77 |  | 74 | 76 | 0.013876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4001-50_0_6_line_78 |  | 76 | 77 | 0.0042542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4001-50_0_6_line_79 |  | 79 | 80 | 0.0061417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4001-50_0_6_line_80 |  | 80 | 81 | 0.0064544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4001-50_0_6_line_81 |  | 81 | 82 | 0.00713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4001-50_0_6_line_82 |  | 82 | 83 | 0.0053465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4001-50_0_6_trafo_29 | 0.63 MVA 20/0.4 kV | 84 | 49 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2645549.1948 | 1249258.7733 | 2645552.0924 | 1249258.7695
1 | 2645549.1948 | 1249258.7733 | 2645543.817 | 1249258.7804 | 2645538.66 | 1249258.298
2 | 2645552.4588 | 1249258.769 | 2645552.0924 | 1249258.7695
3 | 2645561.6348 | 1249259.8513 | 2645554.931 | 1249258.7658 | 2645552.4588 | 1249258.769
4 | 2645561.6348 | 1249259.8513 | 2645566.2811 | 1249274.2078
5 | 2645562.2741 | 1249252.3178 | 2645561.6348 | 1249259.8513
6 | 2645561.6348 | 1249259.8513 | 2645566.2324 | 1249269.3644
7 | 2645506.0836 | 1249259.4247 | 2645521.8907 | 1249256.8775
8 | 2645524.5404 | 1249261.8457 | 2645521.8907 | 1249256.8775
9 | 2645521.8907 | 1249256.8775 | 2645521.115 | 1249255.6374 | 2645519.916 | 1249251.5032 | 2645519.7579 | 1249245.5424 | 2645525.2813 | 1249234.1883
10 | 2645506.0836 | 1249259.4247 | 2645492.1766 | 1249257.3944
11 | 2645506.0836 | 1249259.4247 | 2645501.4913 | 1249263.5922 | 2645498.721 | 1249268.4298 | 2645498.5804 | 1249269.6285
12 | 2645524.5404 | 1249261.8457 | 2645535.021 | 1249261.726
13 | 2645524.5404 | 1249261.8457 | 2645523.5225 | 1249266.5855 | 2645524.0138 | 1249276.5966
14 | 2645525.2813 | 1249234.1883 | 2645530.168 | 1249224.1301 | 2645532.2447 | 1249219.0308
15 | 2645566.2811 | 1249274.2078 | 2645562.3666 | 1249275.6453 | 2645555.1734 | 1249278.1741
16 | 2645562.2741 | 1249252.3178 | 2645563.4209 | 1249244.934
17 | 2645492.1766 | 1249257.3944 | 2645496.1661 | 1249249.9826
18 | 2645494.054 | 1249295.8576 | 2645496.0272 | 1249285.932 | 2645497.4445 | 1249279.3162 | 2645498.5804 | 1249269.6285
19 | 2645535.021 | 1249261.726 | 2645539.8536 | 1249261.6631 | 2645542.8588 | 1249263.5985 | 2645544.7646 | 1249269.0947
20 | 2645524.0138 | 1249276.5966 | 2645524.1688 | 1249279.7549 | 2645524.5949 | 1249282.7111
21 | 2645555.1734 | 1249278.1741 | 2645555.0513 | 1249278.217
22 | 2645564.3989 | 1249240.6249 | 2645563.823 | 1249242.3452 | 2645563.4209 | 1249244.934
23 | 2645496.1661 | 1249249.9826 | 2645497.0236 | 1249248.3895
24 | 2645514.5177 | 1249123.6313 | 2645507.7443 | 1249119.7879 | 2645504.0627 | 1249118.2045
25 | 2645514.5177 | 1249123.6313 | 2645515.2527 | 1249126.2499 | 2645515.2527 | 1249126.2499
26 | 2645504.0627 | 1249118.2045 | 2645496.0045 | 1249114.7389 | 2645492.4225 | 1249113.2264
27 | 2645521.0033 | 1249128.574 | 2645515.2527 | 1249126.2499
28 | 2645420.89 | 1249221.6933 | 2645421.6994 | 1249222.3753 | 2645432.69 | 1249231.5656
29 | 2645443.2594 | 1249239.5742 | 2645438.4067 | 1249236.346 | 2645432.69 | 1249231.5656
30 | 2645547.3242 | 1249280.8778 | 2645546.3751 | 1249276.6566 | 2645544.7646 | 1249269.0947
31 | 2645547.3242 | 1249280.8778 | 2645547.6341 | 1249280.8246 | 2645555.0513 | 1249278.217
32 | 2645547.3242 | 1249280.8778 | 2645547.9737 | 1249283.7959 | 2645551.1053 | 1249292.8879
33 | 2645481.3675 | 1249192.6065 | 2645483.304 | 1249188.9123
34 | 2645490.972 | 1249174.2848 | 2645483.304 | 1249188.9123
35 | 2645479.5473 | 1249196.0786 | 2645481.3675 | 1249192.6065
36 | 2645494.6604 | 1249176.737 | 2645492.5254 | 1249175.5309 | 2645490.972 | 1249174.2848
37 | 2645490.972 | 1249174.2848 | 2645479.7307 | 1249165.2815 | 2645465.4004 | 1249159.3454 | 2645462.7834 | 1249158.2344
38 | 2645494.6604 | 1249176.737 | 2645506.215 | 1249183.2855 | 2645511.6194 | 1249184.4278
39 | 2645462.7834 | 1249158.2344 | 2645454.8206 | 1249154.8537
40 | 2645534.6492 | 1249192.1764 | 2645527.2592 | 1249188.0057 | 2645522.9118 | 1249186.816 | 2645519.972 | 1249186.193 | 2645511.6194 | 1249184.4278
41 | 2645454.8206 | 1249154.8537 | 2645453.2598 | 1249154.1911
42 | 2645534.6492 | 1249192.1764 | 2645538.3111 | 1249191.1927 | 2645561.6414 | 1249200.0445
43 | 2645541.9586 | 1249166.5263 | 2645536.5571 | 1249172.8113 | 2645533.8946 | 1249179.3397 | 2645534.0382 | 1249187.1794 | 2645534.6492 | 1249192.1764
44 | 2645534.6492 | 1249192.1764 | 2645526.4098 | 1249195.382 | 2645519.3415 | 1249206.4946
45 | 2645453.2598 | 1249154.1911 | 2645452.6057 | 1249153.9133
46 | 2645570.1865 | 1249221.6165 | 2645567.9472 | 1249226.3995 | 2645567.8805 | 1249226.7629
47 | 2645566.4736 | 1249234.4269 | 2645567.8805 | 1249226.7629
48 | 2645566.4736 | 1249234.4269 | 2645577.5967 | 1249218.5016 | 2645589.8587 | 1249213.5481
49 | 2645566.4736 | 1249234.4269 | 2645566.1346 | 1249235.4398
50 | 2645589.8587 | 1249213.5481 | 2645592.9181 | 1249212.6556
51 | 2645564.3989 | 1249240.6249 | 2645566.1346 | 1249235.4398
52 | 2645592.9181 | 1249212.6556 | 2645597.4653 | 1249211.3291
53 | 2645502.7386 | 1249232.5976 | 2645509.7997 | 1249221.4962
54 | 2645519.1535 | 1249206.7902 | 2645509.7997 | 1249221.4962
55 | 2645501.778 | 1249234.1079 | 2645502.7386 | 1249232.5976
56 | 2645519.1535 | 1249206.7902 | 2645519.3415 | 1249206.4946
57 | 2645501.778 | 1249234.1079 | 2645498.3836 | 1249241.5536 | 2645499.5909 | 1249243.6198 | 2645497.0236 | 1249248.3895
58 | 2645501.778 | 1249234.1079 | 2645486.7915 | 1249227.1216 | 2645481.6632 | 1249224.6501
59 | 2645481.6632 | 1249224.6501 | 2645480.9541 | 1249224.3083 | 2645475.958 | 1249233.6532
60 | 2645475.958 | 1249233.6532 | 2645472.6245 | 1249239.8883
61 | 2645541.9586 | 1249166.5263 | 2645533.6241 | 1249163.4381 | 2645520.6484 | 1249157.1009
62 | 2645551.4001 | 1249159.1828 | 2645541.9586 | 1249166.5263
63 | 2645452.6057 | 1249153.9133 | 2645445.9051 | 1249151.0685
64 | 2645551.4001 | 1249159.1828 | 2645548.8798 | 1249156.028 | 2645545.0046 | 1249151.3617 | 2645544.8814 | 1249151.2545
65 | 2645555.9193 | 1249155.6929 | 2645551.4001 | 1249159.1828
66 | 2645542.0708 | 1249148.8064 | 2645544.8814 | 1249151.2545
67 | 2645555.9193 | 1249155.6929 | 2645563.6134 | 1249149.7591 | 2645567.3263 | 1249146.3497
68 | 2645521.0033 | 1249128.574 | 2645537.5477 | 1249135.2603 | 2645539.8432 | 1249136.4665
69 | 2645539.8432 | 1249136.4665 | 2645543.6464 | 1249138.4649 | 2645537.9469 | 1249145.2145
70 | 2645542.0708 | 1249148.8064 | 2645537.9469 | 1249145.2145 | 2645537.9469 | 1249145.2145
71 | 2645492.4225 | 1249113.2264 | 2645486.0299 | 1249110.527
72 | 2645477.5669 | 1249106.9534 | 2645486.0299 | 1249110.527
73 | 2645470.2796 | 1249103.8762 | 2645477.5669 | 1249106.9534
74 | 2645463.2961 | 1249100.9273 | 2645470.2796 | 1249103.8762
75 | 2645466.5683 | 1249251.2162 | 2645459.1382 | 1249248.3187
76 | 2645466.5683 | 1249251.2162 | 2645472.6245 | 1249239.8883
77 | 2645446.9819 | 1249241.6336 | 2645458.8901 | 1249248.222 | 2645459.1382 | 1249248.3187
78 | 2645443.2594 | 1249239.5742 | 2645446.9819 | 1249241.6336
79 | 2645560.9083 | 1249315.9243 | 2645558.2686 | 1249310.3788
80 | 2645555.4946 | 1249304.551 | 2645558.2686 | 1249310.3788
81 | 2645555.4946 | 1249304.551 | 2645554.1479 | 1249301.722 | 2645552.8463 | 1249297.943
82 | 2645551.1053 | 1249292.8879 | 2645552.8463 | 1249297.943

## bus_geodata
| x | y | coords
0 | 2645549.1948 | 1249258.7733
1 | 2645552.0924 | 1249258.7695
2 | 2645538.66 | 1249258.298
3 | 2645552.4588 | 1249258.769
4 | 2645561.6348 | 1249259.8513
5 | 2645521.8907 | 1249256.8775
6 | 2645506.0836 | 1249259.4247
7 | 2645524.5404 | 1249261.8457
8 | 2645525.2813 | 1249234.1883
9 | 2645566.2811 | 1249274.2078
10 | 2645562.2741 | 1249252.3178
11 | 2645566.2324 | 1249269.3644
12 | 2645492.1766 | 1249257.3944
13 | 2645498.5804 | 1249269.6285
14 | 2645535.021 | 1249261.726
15 | 2645524.0138 | 1249276.5966
16 | 2645532.2447 | 1249219.0308
17 | 2645555.1734 | 1249278.1741
18 | 2645563.4209 | 1249244.934
19 | 2645494.054 | 1249295.8576
20 | 2645496.1661 | 1249249.9826
21 | 2645524.5949 | 1249282.7111
22 | 2645514.5177 | 1249123.6313
23 | 2645504.0627 | 1249118.2045
24 | 2645515.2527 | 1249126.2499
25 | 2645420.89 | 1249221.6933
26 | 2645432.69 | 1249231.5656
27 | 2645544.7646 | 1249269.0947
28 | 2645547.3242 | 1249280.8778
29 | 2645483.304 | 1249188.9123
30 | 2645481.3675 | 1249192.6065
31 | 2645490.972 | 1249174.2848
32 | 2645479.5473 | 1249196.0786
33 | 2645494.6604 | 1249176.737
34 | 2645462.7834 | 1249158.2344
35 | 2645511.6194 | 1249184.4278
36 | 2645454.8206 | 1249154.8537
37 | 2645534.6492 | 1249192.1764
38 | 2645453.2598 | 1249154.1911
39 | 2645567.8805 | 1249226.7629
40 | 2645570.1865 | 1249221.6165
41 | 2645566.4736 | 1249234.4269
42 | 2645589.8587 | 1249213.5481
43 | 2645566.1346 | 1249235.4398
44 | 2645592.9181 | 1249212.6556
45 | 2645564.3989 | 1249240.6249
46 | 2645597.4653 | 1249211.3291
47 | 2645509.7997 | 1249221.4962
48 | 2645502.7386 | 1249232.5976
49 | 2645519.1535 | 1249206.7902
50 | 2645501.778 | 1249234.1079
51 | 2645519.3415 | 1249206.4946
52 | 2645497.0236 | 1249248.3895
53 | 2645481.6632 | 1249224.6501
54 | 2645475.958 | 1249233.6532
55 | 2645561.6414 | 1249200.0445
56 | 2645541.9586 | 1249166.5263
57 | 2645452.6057 | 1249153.9133
58 | 2645445.9051 | 1249151.0686
59 | 2645520.6484 | 1249157.1009
60 | 2645551.4001 | 1249159.1828
61 | 2645544.8814 | 1249151.2545
62 | 2645555.9193 | 1249155.6929
63 | 2645521.0033 | 1249128.574
64 | 2645539.8432 | 1249136.4665
65 | 2645537.9469 | 1249145.2145
66 | 2645542.0708 | 1249148.8064
67 | 2645492.4225 | 1249113.2264
68 | 2645486.0299 | 1249110.527
69 | 2645477.5669 | 1249106.9534
70 | 2645470.2796 | 1249103.8762
71 | 2645567.3263 | 1249146.3497
72 | 2645463.2961 | 1249100.9273
73 | 2645466.5683 | 1249251.2162
74 | 2645459.1382 | 1249248.3187
75 | 2645472.6245 | 1249239.8883
76 | 2645446.9819 | 1249241.6336
77 | 2645443.2594 | 1249239.5742
78 | 2645555.0513 | 1249278.217
79 | 2645560.9083 | 1249315.9243
80 | 2645558.2686 | 1249310.3788
81 | 2645555.4946 | 1249304.551
82 | 2645552.8463 | 1249297.943
83 | 2645551.1053 | 1249292.8879
84 | 2645534.6492 | 1249192.1764

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1