## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4001-51_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4001-51_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4001-51_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4001-51_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4001-51_0_6_node_44 | 0.4 | n |  | TRUE
5 | bus_LV_4001-51_0_6_node_52 | 0.4 | n |  | TRUE
6 | bus_LV_4001-51_0_6_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_4001-51_0_6_node_18 | 0.4 | n |  | TRUE
8 | bus_LV_4001-51_0_6_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_4001-51_0_6_node_43 | 0.4 | n |  | TRUE
10 | bus_LV_4001-51_0_6_node_22 | 0.4 | n |  | TRUE
11 | bus_LV_4001-51_0_6_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_4001-51_0_6_node_19 | 0.4 | n |  | TRUE
13 | bus_LV_4001-51_0_6_node_38 | 0.4 | n |  | TRUE
14 | bus_LV_4001-51_0_6_node_45 | 0.4 | n |  | TRUE
15 | bus_LV_4001-51_0_6_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_4001-51_0_6_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_4001-51_0_6_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_4001-51_0_6_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_4001-51_0_6_node_79 | 0.4 | n |  | TRUE
20 | bus_LV_4001-51_0_6_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_4001-51_0_6_node_21 | 0.4 | n |  | TRUE
22 | bus_LV_4001-51_0_6_node_26 | 0.4 | n |  | TRUE
23 | bus_LV_4001-51_0_6_node_11 | 0.4 | n |  | TRUE
24 | bus_LV_4001-51_0_6_node_81 | 0.4 | n |  | TRUE
25 | bus_LV_4001-51_0_6_node_25 | 0.4 | n |  | TRUE
26 | bus_LV_4001-51_0_6_node_13 | 0.4 | n |  | TRUE
27 | bus_LV_4001-51_0_6_node_60 | 0.4 | n |  | TRUE
28 | bus_LV_4001-51_0_6_node_57 | 0.4 | n |  | TRUE
29 | bus_LV_4001-51_0_6_node_14 | 0.4 | n |  | TRUE
30 | bus_LV_4001-51_0_6_node_55 | 0.4 | n |  | TRUE
31 | bus_LV_4001-51_0_6_node_64 | 0.4 | n |  | TRUE
32 | bus_LV_4001-51_0_6_node_17 | 0.4 | n |  | TRUE
33 | bus_LV_4001-51_0_6_node_20 | 0.4 | n |  | TRUE
34 | bus_LV_4001-51_0_6_node_80 | 0.4 | n |  | TRUE
35 | bus_LV_4001-51_0_6_node_47 | 0.4 | n |  | TRUE
36 | bus_LV_4001-51_0_6_node_46 | 0.4 | n |  | TRUE
37 | bus_LV_4001-51_0_6_node_78 | 0.4 | n |  | TRUE
38 | bus_LV_4001-51_0_6_node_40 | 0.4 | n |  | TRUE
39 | bus_LV_4001-51_0_6_node_76 | 0.4 | n |  | TRUE
40 | bus_LV_4001-51_0_6_node_51 | 0.4 | n |  | TRUE
41 | bus_LV_4001-51_0_6_node_24 | 0.4 | n |  | TRUE
42 | bus_LV_4001-51_0_6_node_42 | 0.4 | n |  | TRUE
43 | bus_LV_4001-51_0_6_node_41 | 0.4 | n |  | TRUE
44 | bus_LV_4001-51_0_6_node_50 | 0.4 | n |  | TRUE
45 | bus_LV_4001-51_0_6_node_39 | 0.4 | n |  | TRUE
46 | bus_LV_4001-51_0_6_node_23 | 0.4 | n |  | TRUE
47 | bus_LV_4001-51_0_6_node_31 | 0.4 | n |  | TRUE
48 | bus_LV_4001-51_0_6_node_35 | 0.4 | n |  | TRUE
49 | bus_LV_4001-51_0_6_node_61 | 0.4 | n |  | TRUE
50 | bus_LV_4001-51_0_6_node_58 | 0.4 | n |  | TRUE
51 | bus_LV_4001-51_0_6_node_53 | 0.4 | n |  | TRUE
52 | bus_LV_4001-51_0_6_node_34 | 0.4 | n |  | TRUE
53 | bus_LV_4001-51_0_6_node_56 | 0.4 | n |  | TRUE
54 | bus_LV_4001-51_0_6_node_59 | 0.4 | n |  | TRUE
55 | bus_LV_4001-51_0_6_node_77 | 0.4 | n |  | TRUE
56 | bus_LV_4001-51_0_6_node_32 | 0.4 | n |  | TRUE
57 | bus_LV_4001-51_0_6_node_71 | 0.4 | n |  | TRUE
58 | bus_LV_4001-51_0_6_node_82 | 0.4 | n |  | TRUE
59 | bus_LV_4001-51_0_6_node_28 | 0.4 | n |  | TRUE
60 | bus_LV_4001-51_0_6_node_30 | 0.4 | n |  | TRUE
61 | bus_LV_4001-51_0_6_node_27 | 0.4 | n |  | TRUE
62 | bus_LV_4001-51_0_6_node_36 | 0.4 | n |  | TRUE
63 | bus_LV_4001-51_0_6_node_29 | 0.4 | n |  | TRUE
64 | bus_LV_4001-51_0_6_node_72 | 0.4 | n |  | TRUE
65 | bus_LV_4001-51_0_6_node_69 | 0.4 | n |  | TRUE
66 | bus_LV_4001-51_0_6_node_75 | 0.4 | n |  | TRUE
67 | bus_LV_4001-51_0_6_node_37 | 0.4 | n |  | TRUE
68 | bus_LV_4001-51_0_6_node_48 | 0.4 | n |  | TRUE
69 | bus_LV_4001-51_0_6_node_49 | 0.4 | n |  | TRUE
70 | bus_LV_4001-51_0_6_node_54 | 0.4 | n |  | TRUE
71 | bus_LV_4001-51_0_6_node_62 | 0.4 | n |  | TRUE
72 | bus_LV_4001-51_0_6_node_63 | 0.4 | n |  | TRUE
73 | bus_LV_4001-51_0_6_node_65 | 0.4 | n |  | TRUE
74 | bus_LV_4001-51_0_6_node_66 | 0.4 | n |  | TRUE
75 | bus_LV_4001-51_0_6_node_67 | 0.4 | n |  | TRUE
76 | bus_LV_4001-51_0_6_node_68 | 0.4 | n |  | TRUE
77 | bus_LV_4001-51_0_6_node_70 | 0.4 | n |  | TRUE
78 | bus_LV_4001-51_0_6_node_73 | 0.4 | n |  | TRUE
79 | bus_LV_4001-51_0_6_node_74 | 0.4 | n |  | TRUE
80 | bus_MV_301_1_node_165 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4001-51_0_6_load_0 | 0 | 0.015985 | 0.0040062 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4001-51_0_6_load_1 | 1 | 0.0337 | 0.008446 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4001-51_0_6_load_52 | 5 | 0.0075783 | 0.0018993 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4001-51_0_6_load_43 | 9 | 0.0069934 | 0.0017527 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4001-51_0_6_load_22 | 10 | 0.01768 | 0.004431 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4001-51_0_6_load_45 | 14 | 0.014184 | 0.0035548 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4001-51_0_6_load_79 | 19 | 0.03345 | 0.0083835 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4001-51_0_6_load_26 | 22 | 0.025077 | 0.0062848 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4001-51_0_6_load_81 | 24 | 0.061106 | 0.015315 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4001-51_0_6_load_25 | 25 | 0.015535 | 0.0038934 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4001-51_0_6_load_60 | 27 | 0.0011586 | 0.00029037 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4001-51_0_6_load_57 | 28 | 0.0018415 | 0.00046151 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4001-51_0_6_load_55 | 30 | 0.004388 | 0.0010997 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4001-51_0_6_load_64 | 31 | 0.0087821 | 0.002201 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4001-51_0_6_load_80 | 34 | 0.049391 | 0.012379 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4001-51_0_6_load_46 | 36 | 0.0090191 | 0.0022604 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4001-51_0_6_load_78 | 37 | 0.048361 | 0.01212 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4001-51_0_6_load_76 | 39 | 0.0098036 | 0.002457 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4001-51_0_6_load_51 | 40 | 0.0054082 | 0.0013554 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4001-51_0_6_load_42 | 42 | 0.0011178 | 0.00028013 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4001-51_0_6_load_41 | 43 | 0.0052151 | 0.001307 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4001-51_0_6_load_50 | 44 | 0.0029038 | 0.00072777 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4001-51_0_6_load_35 | 48 | 0.0018219 | 0.00045661 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4001-51_0_6_load_58 | 50 | 0.0014131 | 0.00035415 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4001-51_0_6_load_53 | 51 | 0.0012288 | 0.00030797 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4001-51_0_6_load_34 | 52 | 0.0018603 | 0.00046622 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4001-51_0_6_load_56 | 53 | 0.0047211 | 0.0011832 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4001-51_0_6_load_59 | 54 | 0.0067157 | 0.0016831 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4001-51_0_6_load_77 | 55 | 0.0021228 | 0.00053201 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4001-51_0_6_load_82 | 58 | 0.0014178 | 0.00035535 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4001-51_0_6_load_30 | 60 | 0.0010572 | 0.00026496 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4001-51_0_6_load_27 | 61 | 0.0028964 | 0.0007259 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4001-51_0_6_load_72 | 64 | 0.00077451 | 0.00019411 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4001-51_0_6_load_69 | 65 | 0.0042154 | 0.0010565 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4001-51_0_6_load_75 | 66 | 0.011147 | 0.0027937 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4001-51_0_6_load_37 | 67 | 0.018023 | 0.0045169 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4001-51_0_6_load_48 | 68 | 0.0096908 | 0.0024288 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4001-51_0_6_load_49 | 69 | 0.017542 | 0.0043964 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4001-51_0_6_load_54 | 70 | 0.001666 | 0.00041753 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4001-51_0_6_load_62 | 71 | 0.0011814 | 0.00029607 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4001-51_0_6_load_65 | 73 | 0.0032386 | 0.00081168 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4001-51_0_6_load_66 | 74 | 0.0023357 | 0.00058539 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4001-51_0_6_load_67 | 75 | 0.004299 | 0.0010774 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4001-51_0_6_load_68 | 76 | 0.0042298 | 0.0010601 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4001-51_0_6_load_70 | 77 | 0.0096245 | 0.0024121 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4001-51_0_6_load_73 | 78 | 0.0013142 | 0.00032936 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4001-51_0_6_load_74 | 79 | 0.0045586 | 0.0011425 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 32 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4001-51_0_6_line_0 |  | 0 | 1 | 0.012314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4001-51_0_6_line_1 |  | 0 | 2 | 0.02011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4001-51_0_6_line_2 |  | 2 | 3 | 0.016578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4001-51_0_6_line_3 |  | 3 | 4 | 0.005813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4001-51_0_6_line_4 |  | 3 | 5 | 0.042783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4001-51_0_6_line_5 |  | 4 | 39 | 0.030122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4001-51_0_6_line_6 |  | 5 | 40 | 0.026577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4001-51_0_6_line_7 |  | 6 | 7 | 0.14441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4001-51_0_6_line_8 |  | 6 | 8 | 0.04979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4001-51_0_6_line_9 |  | 6 | 9 | 0.034867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_4001-51_0_6_line_10 |  | 7 | 34 | 0.005716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4001-51_0_6_line_11 |  | 7 | 23 | 0.13252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4001-51_0_6_line_12 |  | 8 | 10 | 0.031084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4001-51_0_6_line_13 |  | 9 | 32 | 0.025089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_4001-51_0_6_line_14 |  | 10 | 15 | 0.0057091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4001-51_0_6_line_15 |  | 11 | 12 | 0.029902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4001-51_0_6_line_16 |  | 11 | 13 | 0.024635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_4001-51_0_6_line_17 |  | 11 | 14 | 0.023304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_4001-51_0_6_line_18 |  | 12 | 35 | 0.024033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4001-51_0_6_line_19 |  | 12 | 36 | 0.019184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4001-51_0_6_line_20 |  | 12 | 29 | 0.044043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4001-51_0_6_line_21 |  | 13 | 44 | 0.019283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_4001-51_0_6_line_22 |  | 14 | 21 | 0.022557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_4001-51_0_6_line_23 |  | 15 | 16 | 0.030285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4001-51_0_6_line_24 |  | 16 | 25 | 0.024821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4001-51_0_6_line_25 |  | 17 | 18 | 0.068222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4001-51_0_6_line_26 |  | 17 | 19 | 0.008446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4001-51_0_6_line_27 |  | 18 | 31 | 0.0072576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_4001-51_0_6_line_28 |  | 18 | 20 | 0.037929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_4001-51_0_6_line_29 |  | 20 | 21 | 0.072956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_4001-51_0_6_line_30 |  | 20 | 22 | 0.032274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4001-51_0_6_line_31 |  | 23 | 24 | 0.018711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4001-51_0_6_line_32 |  | 26 | 27 | 0.021744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4001-51_0_6_line_33 |  | 26 | 28 | 0.056602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4001-51_0_6_line_34 |  | 27 | 49 | 0.03269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4001-51_0_6_line_35 |  | 28 | 50 | 0.032783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_4001-51_0_6_line_36 |  | 29 | 30 | 0.024654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4001-51_0_6_line_37 |  | 30 | 53 | 0.013114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4001-51_0_6_line_38 |  | 31 | 54 | 0.033022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_4001-51_0_6_line_39 |  | 32 | 33 | 0.05819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_4001-51_0_6_line_40 |  | 33 | 37 | 0.009986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4001-51_0_6_line_41 |  | 33 | 38 | 0.056472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_4001-51_0_6_line_42 |  | 35 | 51 | 0.02708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4001-51_0_6_line_43 |  | 35 | 52 | 0.013984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4001-51_0_6_line_44 |  | 38 | 44 | 0.01566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_4001-51_0_6_line_45 |  | 38 | 45 | 0.023394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4001-51_0_6_line_46 |  | 39 | 45 | 0.029896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4001-51_0_6_line_47 |  | 40 | 42 | 0.011259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4001-51_0_6_line_48 |  | 41 | 42 | 0.026388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4001-51_0_6_line_49 |  | 41 | 43 | 0.035054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4001-51_0_6_line_50 |  | 45 | 66 | 0.011985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4001-51_0_6_line_51 |  | 46 | 47 | 0.031163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4001-51_0_6_line_52 |  | 46 | 48 | 0.0476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4001-51_0_6_line_53 |  | 47 | 55 | 0.023797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4001-51_0_6_line_54 |  | 48 | 62 | 0.0031345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4001-51_0_6_line_55 |  | 49 | 71 | 0.020217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4001-51_0_6_line_56 |  | 49 | 72 | 0.046625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4001-51_0_6_line_57 |  | 50 | 54 | 0.045267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_4001-51_0_6_line_58 |  | 51 | 70 | 0.023074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4001-51_0_6_line_59 |  | 52 | 63 | 0.01408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4001-51_0_6_line_60 |  | 56 | 57 | 0.073001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4001-51_0_6_line_61 |  | 56 | 58 | 0.03669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4001-51_0_6_line_62 |  | 57 | 64 | 0.032027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4001-51_0_6_line_63 |  | 57 | 65 | 0.0501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4001-51_0_6_line_64 |  | 59 | 60 | 0.040103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4001-51_0_6_line_65 |  | 59 | 61 | 0.026877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4001-51_0_6_line_66 |  | 61 | 63 | 0.015412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4001-51_0_6_line_67 |  | 62 | 67 | 0.031171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4001-51_0_6_line_68 |  | 64 | 78 | 0.0011974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4001-51_0_6_line_69 |  | 65 | 72 | 0.012389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4001-51_0_6_line_70 |  | 66 | 69 | 0.016125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4001-51_0_6_line_71 |  | 67 | 68 | 0.035841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4001-51_0_6_line_72 |  | 68 | 69 | 0.00051348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4001-51_0_6_line_73 |  | 71 | 73 | 0.027629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4001-51_0_6_line_74 |  | 72 | 74 | 0.024554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4001-51_0_6_line_75 |  | 74 | 75 | 0.016248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4001-51_0_6_line_76 |  | 75 | 76 | 0.025389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4001-51_0_6_line_77 |  | 76 | 77 | 0.0093924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4001-51_0_6_line_78 |  | 78 | 79 | 0.0041859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4001-51_0_6_trafo_17 | 0.63 MVA 20/0.4 kV | 80 | 32 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2646531.5442 | 1247698.1967 | 2646543.8577 | 1247698.2934
1 | 2646557.9947 | 1247707.4882 | 2646554.0258 | 1247698.3732 | 2646543.8577 | 1247698.2934
2 | 2646553.894 | 1247720.9317 | 2646560.7504 | 1247712.402 | 2646557.9947 | 1247707.4882
3 | 2646557.5141 | 1247725.4075 | 2646556.2778 | 1247723.2075 | 2646553.894 | 1247720.9317
4 | 2646553.894 | 1247720.9317 | 2646548.5043 | 1247727.3382 | 2646532.0589 | 1247742.3192 | 2646521.7541 | 1247748.7843
5 | 2646557.5141 | 1247725.4075 | 2646559.2267 | 1247739.0968 | 2646558.5429 | 1247755.4087
6 | 2646496.8573 | 1247757.8791 | 2646500.0587 | 1247756.9782 | 2646511.2715 | 1247753.4081 | 2646519.9992 | 1247749.8853 | 2646521.7541 | 1247748.7843
7 | 2646624.0554 | 1247673.6731 | 2646634.1665 | 1247675.7762 | 2646646.9629 | 1247679.2458 | 2646649.8261 | 1247681.0584 | 2646651.9378 | 1247678.5511 | 2646659.3267 | 1247682.9899 | 2646665.8504 | 1247689.8903 | 2646706.6405 | 1247689.8334 | 2646731.1226 | 1247689.159 | 2646730.6714 | 1247704.2545 | 2646730.1931 | 1247719.9057
8 | 2646592.9543 | 1247661.2983 | 2646592.6358 | 1247675.8834 | 2646598.3968 | 1247674.1385 | 2646601.1511 | 1247673.4597 | 2646601.5468 | 1247676.9318 | 2646610.273 | 1247674.5766 | 2646624.0554 | 1247673.6731
9 | 2646624.0554 | 1247673.6731 | 2646623.2763 | 1247708.5311
10 | 2646724.4621 | 1247719.7604 | 2646730.1931 | 1247719.9057
11 | 2646726.5955 | 1247631.1178 | 2646726.5561 | 1247640.913 | 2646720.8839 | 1247640.9683 | 2646720.5758 | 1247654.1859 | 2646707.7527 | 1247654.096 | 2646707.2456 | 1247670.5475 | 2646706.6405 | 1247689.8334 | 2646731.1226 | 1247689.159 | 2646730.6714 | 1247704.2545 | 2646730.1931 | 1247719.9057
12 | 2646592.9543 | 1247661.2983 | 2646592.7774 | 1247630.2143
13 | 2646622.7157 | 1247733.6139 | 2646623.2763 | 1247708.5311
14 | 2646592.7449 | 1247624.5054 | 2646592.7774 | 1247630.2143
15 | 2646583.663 | 1247841.3238 | 2646582.8257 | 1247860.43 | 2646572.427 | 1247863.2614
16 | 2646583.663 | 1247841.3238 | 2646584.1314 | 1247830.7315 | 2646570.1018 | 1247830.4656
17 | 2646583.663 | 1247841.3238 | 2646606.9452 | 1247842.343
18 | 2646572.427 | 1247863.2614 | 2646570.4912 | 1247871.2627 | 2646570.8472 | 1247874.9791 | 2646561.7799 | 1247877.5319 | 2646559.2366 | 1247878.2679
19 | 2646572.427 | 1247863.2614 | 2646569.379 | 1247858.0673 | 2646556.223 | 1247857.6879
20 | 2646572.427 | 1247863.2614 | 2646570.4912 | 1247871.2627 | 2646570.8472 | 1247874.9791 | 2646601.7203 | 1247866.2712
21 | 2646570.1018 | 1247830.4656 | 2646570.3869 | 1247820.1165 | 2646568.9811 | 1247818.3376 | 2646569.2183 | 1247811.679
22 | 2646629.4806 | 1247843.3294 | 2646606.9452 | 1247842.343
23 | 2646592.7449 | 1247624.5054 | 2646605.2823 | 1247624.4371 | 2646623.0292 | 1247624.5766
24 | 2646623.0292 | 1247624.5766 | 2646647.8496 | 1247624.4795
25 | 2646692.4165 | 1247836.0194 | 2646691.5091 | 1247820.8132 | 2646689.797 | 1247807.1128 | 2646692.3338 | 1247807.1995 | 2646726.9359 | 1247808.3504 | 2646728.9394 | 1247808.0771
26 | 2646729.3231 | 1247799.6411 | 2646728.9394 | 1247808.0771
27 | 2646692.4165 | 1247836.0194 | 2646699.6509 | 1247835.4397
28 | 2646668.8377 | 1247819.8676 | 2646669.8652 | 1247819.8201 | 2646686.3831 | 1247820.5838 | 2646691.5091 | 1247820.8132 | 2646692.4165 | 1247836.0194
29 | 2646629.4806 | 1247843.3294 | 2646628.8346 | 1247853.4534 | 2646630.4273 | 1247853.5548 | 2646653.1576 | 1247846.0396 | 2646657.4887 | 1247844.606 | 2646667.9484 | 1247841.7085 | 2646668.8377 | 1247819.8676
30 | 2646668.8377 | 1247819.8676 | 2646670.1443 | 1247787.6199
31 | 2646709.1013 | 1247632.4588 | 2646709.1114 | 1247631.1802 | 2646726.5955 | 1247631.1178
32 | 2646767.1951 | 1247962.6488 | 2646757.1148 | 1247956.7098 | 2646748.5664 | 1247951.4363
33 | 2646767.1951 | 1247962.6488 | 2646763.1281 | 1247906.1931
34 | 2646717.2301 | 1247949.4353 | 2646727.2688 | 1247946.2788 | 2646744.9926 | 1247949.2315 | 2646748.5664 | 1247951.4363
35 | 2646763.1281 | 1247906.1931 | 2646761.4978 | 1247883.562 | 2646758.7382 | 1247873.8532
36 | 2646601.7203 | 1247866.2712 | 2646610.0912 | 1247889.461
37 | 2646614.5437 | 1247901.7957 | 2646610.0912 | 1247889.461
38 | 2646699.6509 | 1247835.4397 | 2646711.2405 | 1247834.511 | 2646724.6551 | 1247836.1622 | 2646731.967 | 1247839.0991
39 | 2646598.7592 | 1247768.3267 | 2646599.2148 | 1247751.6858 | 2646599.7153 | 1247733.1551 | 2646622.7157 | 1247733.6139
40 | 2646588.7472 | 1247768.059 | 2646598.7592 | 1247768.3267
41 | 2646598.7592 | 1247768.3267 | 2646598.3242 | 1247784.2896 | 2646597.986 | 1247796.5729 | 2646569.7756 | 1247796.0289
42 | 2646559.2366 | 1247878.2679 | 2646568.7923 | 1247903.6057
43 | 2646559.2366 | 1247878.2679 | 2646545.8055 | 1247882.1627
44 | 2646569.7756 | 1247796.0289 | 2646569.2183 | 1247811.679
45 | 2646557.7916 | 1247785.2943 | 2646557.819 | 1247789.4973 | 2646557.1111 | 1247795.985 | 2646569.7756 | 1247796.0289
46 | 2646557.7916 | 1247785.2943 | 2646558.2324 | 1247762.816 | 2646558.5429 | 1247755.4087
47 | 2646486.0187 | 1247760.9289 | 2646496.8573 | 1247757.8791
48 | 2646460.6175 | 1247768.0767 | 2646486.0187 | 1247760.9289
49 | 2646460.6175 | 1247768.0767 | 2646460.8502 | 1247766.3329 | 2646460.7305 | 1247733.0384
50 | 2646557.7916 | 1247785.2943 | 2646545.815 | 1247784.8476
51 | 2646457.2174 | 1247839.6202 | 2646456.3315 | 1247870.7675
52 | 2646457.2174 | 1247839.6202 | 2646470.8508 | 1247837.4477 | 2646503.7057 | 1247829.5349
53 | 2646478.8898 | 1247862.9945 | 2646456.3315 | 1247870.7675
54 | 2646506.7531 | 1247828.801 | 2646503.7057 | 1247829.5349
55 | 2646717.2301 | 1247949.4353 | 2646711.329 | 1247930.0982
56 | 2646673.5261 | 1247965.8912 | 2646700.1356 | 1247954.8043 | 2646717.2301 | 1247949.4353
57 | 2646758.7382 | 1247873.8532 | 2646757.133 | 1247868.2062 | 2646749.2816 | 1247853.5011 | 2646735.3 | 1247840.4378 | 2646731.967 | 1247839.0991
58 | 2646568.7923 | 1247903.6057 | 2646576.9344 | 1247925.195
59 | 2646532.2826 | 1247886.084 | 2646545.8055 | 1247882.1627
60 | 2646547.695 | 1248016.1143 | 2646578.0084 | 1248004.5333 | 2646580.031 | 1248003.7264 | 2646615.6372 | 1247989.4186
61 | 2646535.3926 | 1247981.539 | 2646547.695 | 1248016.1143
62 | 2646615.6372 | 1247989.4186 | 2646604.1184 | 1247959.5348
63 | 2646615.6372 | 1247989.4186 | 2646656.0693 | 1247973.17 | 2646662.0915 | 1247970.6589
64 | 2646509.7783 | 1247933.1836 | 2646491.5488 | 1247897.439
65 | 2646491.5488 | 1247897.439 | 2646513.5639 | 1247891.5186 | 2646517.4816 | 1247890.3812
66 | 2646532.2826 | 1247886.084 | 2646517.4816 | 1247890.3812
67 | 2646506.7531 | 1247828.801 | 2646507.3191 | 1247797.6349
68 | 2646603.6877 | 1247958.4175 | 2646604.1184 | 1247959.5348
69 | 2646673.5261 | 1247965.8912 | 2646662.0915 | 1247970.6589
70 | 2646529.701 | 1247784.2466 | 2646545.815 | 1247784.8476
71 | 2646507.3191 | 1247797.6349 | 2646507.5772 | 1247783.4215 | 2646529.1878 | 1247784.2275
72 | 2646529.1878 | 1247784.2275 | 2646529.701 | 1247784.2466
73 | 2646703.2646 | 1247903.6724 | 2646711.329 | 1247930.0982
74 | 2646673.5261 | 1247965.8912 | 2646670.7919 | 1247941.4902
75 | 2646670.7919 | 1247941.4902 | 2646669.6169 | 1247931.0038 | 2646668.1204 | 1247925.5084
76 | 2646661.4494 | 1247901.0119 | 2646668.1204 | 1247925.5084
77 | 2646658.9815 | 1247891.9495 | 2646661.4494 | 1247901.0119
78 | 2646602.1822 | 1247954.5118 | 2646603.6877 | 1247958.4175

## bus_geodata
| x | y | coords
0 | 2646543.8577 | 1247698.2934
1 | 2646531.5442 | 1247698.1967
2 | 2646557.9947 | 1247707.4882
3 | 2646553.894 | 1247720.9317
4 | 2646557.5141 | 1247725.4075
5 | 2646521.7541 | 1247748.7843
6 | 2646624.0554 | 1247673.6731
7 | 2646730.1931 | 1247719.9057
8 | 2646592.9543 | 1247661.2983
9 | 2646623.2763 | 1247708.5311
10 | 2646592.7774 | 1247630.2143
11 | 2646583.663 | 1247841.3238
12 | 2646572.427 | 1247863.2614
13 | 2646570.1018 | 1247830.4656
14 | 2646606.9452 | 1247842.343
15 | 2646592.7449 | 1247624.5054
16 | 2646623.0292 | 1247624.5766
17 | 2646728.9394 | 1247808.0771
18 | 2646692.4165 | 1247836.0194
19 | 2646729.3231 | 1247799.6411
20 | 2646668.8377 | 1247819.8676
21 | 2646629.4806 | 1247843.3294
22 | 2646670.1443 | 1247787.6199
23 | 2646726.5955 | 1247631.1178
24 | 2646709.1013 | 1247632.4588
25 | 2646647.8496 | 1247624.4795
26 | 2646767.1951 | 1247962.6488
27 | 2646748.5664 | 1247951.4363
28 | 2646763.1281 | 1247906.1931
29 | 2646601.7203 | 1247866.2712
30 | 2646610.0912 | 1247889.461
31 | 2646699.6509 | 1247835.4397
32 | 2646622.7157 | 1247733.6139
33 | 2646598.7592 | 1247768.3267
34 | 2646724.4621 | 1247719.7604
35 | 2646559.2366 | 1247878.2679
36 | 2646556.223 | 1247857.6879
37 | 2646588.7472 | 1247768.059
38 | 2646569.7756 | 1247796.0289
39 | 2646558.5429 | 1247755.4087
40 | 2646496.8573 | 1247757.8791
41 | 2646460.6175 | 1247768.0767
42 | 2646486.0187 | 1247760.9289
43 | 2646460.7305 | 1247733.0384
44 | 2646569.2183 | 1247811.679
45 | 2646557.7916 | 1247785.2943
46 | 2646457.2174 | 1247839.6202
47 | 2646456.3315 | 1247870.7675
48 | 2646503.7057 | 1247829.5349
49 | 2646717.2301 | 1247949.4353
50 | 2646758.7382 | 1247873.8532
51 | 2646568.7923 | 1247903.6057
52 | 2646545.8055 | 1247882.1627
53 | 2646614.5437 | 1247901.7957
54 | 2646731.967 | 1247839.0991
55 | 2646478.8898 | 1247862.9945
56 | 2646547.695 | 1248016.1143
57 | 2646615.6372 | 1247989.4186
58 | 2646535.3926 | 1247981.539
59 | 2646491.5488 | 1247897.439
60 | 2646509.7783 | 1247933.1836
61 | 2646517.4816 | 1247890.3812
62 | 2646506.7531 | 1247828.801
63 | 2646532.2826 | 1247886.084
64 | 2646604.1184 | 1247959.5348
65 | 2646662.0915 | 1247970.6589
66 | 2646545.815 | 1247784.8476
67 | 2646507.3191 | 1247797.6349
68 | 2646529.1878 | 1247784.2275
69 | 2646529.701 | 1247784.2466
70 | 2646576.9344 | 1247925.195
71 | 2646711.329 | 1247930.0982
72 | 2646673.5261 | 1247965.8912
73 | 2646703.2646 | 1247903.6724
74 | 2646670.7919 | 1247941.4902
75 | 2646668.1204 | 1247925.5084
76 | 2646661.4494 | 1247901.0119
77 | 2646658.9815 | 1247891.9495
78 | 2646603.6877 | 1247958.4175
79 | 2646602.1822 | 1247954.5118
80 | 2646599.7153 | 1247733.1551

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1