## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4001-52_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4001-52_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4001-52_0_6_node_12 | 0.4 | n |  | TRUE
3 | bus_LV_4001-52_0_6_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_4001-52_0_6_node_11 | 0.4 | n |  | TRUE
5 | bus_LV_4001-52_0_6_node_38 | 0.4 | n |  | TRUE
6 | bus_LV_4001-52_0_6_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_4001-52_0_6_node_43 | 0.4 | n |  | TRUE
8 | bus_LV_4001-52_0_6_node_33 | 0.4 | n |  | TRUE
9 | bus_LV_4001-52_0_6_node_42 | 0.4 | n |  | TRUE
10 | bus_LV_4001-52_0_6_node_29 | 0.4 | n |  | TRUE
11 | bus_LV_4001-52_0_6_node_27 | 0.4 | n |  | TRUE
12 | bus_LV_4001-52_0_6_node_36 | 0.4 | n |  | TRUE
13 | bus_LV_4001-52_0_6_node_65 | 0.4 | n |  | TRUE
14 | bus_LV_4001-52_0_6_node_67 | 0.4 | n |  | TRUE
15 | bus_LV_4001-52_0_6_node_31 | 0.4 | n |  | TRUE
16 | bus_LV_4001-52_0_6_node_41 | 0.4 | n |  | TRUE
17 | bus_LV_4001-52_0_6_node_6 | 0.4 | n |  | TRUE
18 | bus_LV_4001-52_0_6_node_7 | 0.4 | n |  | TRUE
19 | bus_LV_4001-52_0_6_node_9 | 0.4 | n |  | TRUE
20 | bus_LV_4001-52_0_6_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_4001-52_0_6_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_4001-52_0_6_node_10 | 0.4 | n |  | TRUE
23 | bus_LV_4001-52_0_6_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_4001-52_0_6_node_114 | 0.4 | n |  | TRUE
25 | bus_LV_4001-52_0_6_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_4001-52_0_6_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_4001-52_0_6_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_4001-52_0_6_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_4001-52_0_6_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_4001-52_0_6_node_115 | 0.4 | n |  | TRUE
31 | bus_LV_4001-52_0_6_node_116 | 0.4 | n |  | TRUE
32 | bus_LV_4001-52_0_6_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_4001-52_0_6_node_55 | 0.4 | n |  | TRUE
34 | bus_LV_4001-52_0_6_node_47 | 0.4 | n |  | TRUE
35 | bus_LV_4001-52_0_6_node_24 | 0.4 | n |  | TRUE
36 | bus_LV_4001-52_0_6_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_4001-52_0_6_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_4001-52_0_6_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_4001-52_0_6_node_30 | 0.4 | n |  | TRUE
40 | bus_LV_4001-52_0_6_node_32 | 0.4 | n |  | TRUE
41 | bus_LV_4001-52_0_6_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_4001-52_0_6_node_35 | 0.4 | n |  | TRUE
43 | bus_LV_4001-52_0_6_node_73 | 0.4 | n |  | TRUE
44 | bus_LV_4001-52_0_6_node_74 | 0.4 | n |  | TRUE
45 | bus_LV_4001-52_0_6_node_37 | 0.4 | n |  | TRUE
46 | bus_LV_4001-52_0_6_node_39 | 0.4 | n |  | TRUE
47 | bus_LV_4001-52_0_6_node_40 | 0.4 | n |  | TRUE
48 | bus_LV_4001-52_0_6_node_100 | 0.4 | n |  | TRUE
49 | bus_LV_4001-52_0_6_node_101 | 0.4 | n |  | TRUE
50 | bus_LV_4001-52_0_6_node_66 | 0.4 | n |  | TRUE
51 | bus_LV_4001-52_0_6_node_64 | 0.4 | n |  | TRUE
52 | bus_LV_4001-52_0_6_node_68 | 0.4 | n |  | TRUE
53 | bus_LV_4001-52_0_6_node_44 | 0.4 | n |  | TRUE
54 | bus_LV_4001-52_0_6_node_45 | 0.4 | n |  | TRUE
55 | bus_LV_4001-52_0_6_node_46 | 0.4 | n |  | TRUE
56 | bus_LV_4001-52_0_6_node_48 | 0.4 | n |  | TRUE
57 | bus_LV_4001-52_0_6_node_49 | 0.4 | n |  | TRUE
58 | bus_LV_4001-52_0_6_node_111 | 0.4 | n |  | TRUE
59 | bus_LV_4001-52_0_6_node_50 | 0.4 | n |  | TRUE
60 | bus_LV_4001-52_0_6_node_109 | 0.4 | n |  | TRUE
61 | bus_LV_4001-52_0_6_node_51 | 0.4 | n |  | TRUE
62 | bus_LV_4001-52_0_6_node_52 | 0.4 | n |  | TRUE
63 | bus_LV_4001-52_0_6_node_54 | 0.4 | n |  | TRUE
64 | bus_LV_4001-52_0_6_node_56 | 0.4 | n |  | TRUE
65 | bus_LV_4001-52_0_6_node_53 | 0.4 | n |  | TRUE
66 | bus_LV_4001-52_0_6_node_79 | 0.4 | n |  | TRUE
67 | bus_LV_4001-52_0_6_node_108 | 0.4 | n |  | TRUE
68 | bus_LV_4001-52_0_6_node_57 | 0.4 | n |  | TRUE
69 | bus_LV_4001-52_0_6_node_78 | 0.4 | n |  | TRUE
70 | bus_LV_4001-52_0_6_node_89 | 0.4 | n |  | TRUE
71 | bus_LV_4001-52_0_6_node_123 | 0.4 | n |  | TRUE
72 | bus_LV_4001-52_0_6_node_58 | 0.4 | n |  | TRUE
73 | bus_LV_4001-52_0_6_node_59 | 0.4 | n |  | TRUE
74 | bus_LV_4001-52_0_6_node_60 | 0.4 | n |  | TRUE
75 | bus_LV_4001-52_0_6_node_61 | 0.4 | n |  | TRUE
76 | bus_LV_4001-52_0_6_node_62 | 0.4 | n |  | TRUE
77 | bus_LV_4001-52_0_6_node_63 | 0.4 | n |  | TRUE
78 | bus_LV_4001-52_0_6_node_71 | 0.4 | n |  | TRUE
79 | bus_LV_4001-52_0_6_node_122 | 0.4 | n |  | TRUE
80 | bus_LV_4001-52_0_6_node_69 | 0.4 | n |  | TRUE
81 | bus_LV_4001-52_0_6_node_72 | 0.4 | n |  | TRUE
82 | bus_LV_4001-52_0_6_node_117 | 0.4 | n |  | TRUE
83 | bus_LV_4001-52_0_6_node_118 | 0.4 | n |  | TRUE
84 | bus_LV_4001-52_0_6_node_75 | 0.4 | n |  | TRUE
85 | bus_LV_4001-52_0_6_node_76 | 0.4 | n |  | TRUE
86 | bus_LV_4001-52_0_6_node_77 | 0.4 | n |  | TRUE
87 | bus_LV_4001-52_0_6_node_80 | 0.4 | n |  | TRUE
88 | bus_LV_4001-52_0_6_node_81 | 0.4 | n |  | TRUE
89 | bus_LV_4001-52_0_6_node_82 | 0.4 | n |  | TRUE
90 | bus_LV_4001-52_0_6_node_83 | 0.4 | n |  | TRUE
91 | bus_LV_4001-52_0_6_node_88 | 0.4 | n |  | TRUE
92 | bus_LV_4001-52_0_6_node_86 | 0.4 | n |  | TRUE
93 | bus_LV_4001-52_0_6_node_84 | 0.4 | n |  | TRUE
94 | bus_LV_4001-52_0_6_node_85 | 0.4 | n |  | TRUE
95 | bus_LV_4001-52_0_6_node_87 | 0.4 | n |  | TRUE
96 | bus_LV_4001-52_0_6_node_90 | 0.4 | n |  | TRUE
97 | bus_LV_4001-52_0_6_node_91 | 0.4 | n |  | TRUE
98 | bus_LV_4001-52_0_6_node_92 | 0.4 | n |  | TRUE
99 | bus_LV_4001-52_0_6_node_93 | 0.4 | n |  | TRUE
100 | bus_LV_4001-52_0_6_node_98 | 0.4 | n |  | TRUE
101 | bus_LV_4001-52_0_6_node_94 | 0.4 | n |  | TRUE
102 | bus_LV_4001-52_0_6_node_96 | 0.4 | n |  | TRUE
103 | bus_LV_4001-52_0_6_node_124 | 0.4 | n |  | TRUE
104 | bus_LV_4001-52_0_6_node_95 | 0.4 | n |  | TRUE
105 | bus_LV_4001-52_0_6_node_97 | 0.4 | n |  | TRUE
106 | bus_LV_4001-52_0_6_node_99 | 0.4 | n |  | TRUE
107 | bus_LV_4001-52_0_6_node_102 | 0.4 | n |  | TRUE
108 | bus_LV_4001-52_0_6_node_121 | 0.4 | n |  | TRUE
109 | bus_LV_4001-52_0_6_node_107 | 0.4 | n |  | TRUE
110 | bus_LV_4001-52_0_6_node_103 | 0.4 | n |  | TRUE
111 | bus_LV_4001-52_0_6_node_104 | 0.4 | n |  | TRUE
112 | bus_LV_4001-52_0_6_node_105 | 0.4 | n |  | TRUE
113 | bus_LV_4001-52_0_6_node_106 | 0.4 | n |  | TRUE
114 | bus_LV_4001-52_0_6_node_110 | 0.4 | n |  | TRUE
115 | bus_LV_4001-52_0_6_node_112 | 0.4 | n |  | TRUE
116 | bus_LV_4001-52_0_6_node_113 | 0.4 | n |  | TRUE
117 | bus_LV_4001-52_0_6_node_119 | 0.4 | n |  | TRUE
118 | bus_LV_4001-52_0_6_node_120 | 0.4 | n |  | TRUE
119 | bus_MV_522_0_node_89 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4001-52_0_6_load_0 | 0 | 0.040725 | 0.010207 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4001-52_0_6_load_11 | 4 | 0.010177 | 0.0025506 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4001-52_0_6_load_38 | 5 | 0.0033743 | 0.00084568 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4001-52_0_6_load_33 | 8 | 0.0058479 | 0.0014656 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4001-52_0_6_load_42 | 9 | 0.004618 | 0.0011574 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4001-52_0_6_load_29 | 10 | 0.0033393 | 0.00083691 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4001-52_0_6_load_27 | 11 | 0.0013989 | 0.00035059 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4001-52_0_6_load_36 | 12 | 0.0044965 | 0.0011269 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4001-52_0_6_load_67 | 14 | 0.0023597 | 0.00059141 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4001-52_0_6_load_31 | 15 | 0.0019193 | 0.00048103 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4001-52_0_6_load_41 | 16 | 0.0019148 | 0.0004799 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4001-52_0_6_load_6 | 17 | 0.0086414 | 0.0021657 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4001-52_0_6_load_7 | 18 | 0.0017661 | 0.00044264 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4001-52_0_6_load_18 | 20 | 0.0063252 | 0.0015853 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4001-52_0_6_load_17 | 21 | 0.0034306 | 0.00085979 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4001-52_0_6_load_10 | 22 | 0.0086483 | 0.0021675 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4001-52_0_6_load_14 | 23 | 0.0011165 | 0.00027981 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4001-52_0_6_load_16 | 26 | 0.0020832 | 0.00052209 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4001-52_0_6_load_19 | 29 | 0.0012458 | 0.00031222 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4001-52_0_6_load_115 | 30 | 0.0098659 | 0.0024726 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4001-52_0_6_load_116 | 31 | 0.0062313 | 0.0015617 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4001-52_0_6_load_20 | 32 | 0.0052191 | 0.001308 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4001-52_0_6_load_55 | 33 | 0.0022388 | 0.00056111 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4001-52_0_6_load_47 | 34 | 0.0014946 | 0.00037458 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4001-52_0_6_load_24 | 35 | 0.0016944 | 0.00042465 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4001-52_0_6_load_25 | 36 | 0.0016674 | 0.00041789 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4001-52_0_6_load_26 | 37 | 0.0018919 | 0.00047415 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4001-52_0_6_load_28 | 38 | 0.0009463 | 0.00023717 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4001-52_0_6_load_30 | 39 | 0.0021909 | 0.00054909 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4001-52_0_6_load_34 | 41 | 0.0071963 | 0.0018036 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4001-52_0_6_load_35 | 42 | 0.0039442 | 0.00098851 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4001-52_0_6_load_73 | 43 | 0.0073094 | 0.0018319 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4001-52_0_6_load_74 | 44 | 0.0015804 | 0.00039608 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4001-52_0_6_load_37 | 45 | 0.0032798 | 0.000822 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4001-52_0_6_load_39 | 46 | 0.0034806 | 0.00087233 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4001-52_0_6_load_100 | 48 | 0.0034445 | 0.00086328 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4001-52_0_6_load_66 | 50 | 0.0038493 | 0.00096473 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4001-52_0_6_load_64 | 51 | 0.0065389 | 0.0016388 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4001-52_0_6_load_68 | 52 | 0.0065675 | 0.001646 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4001-52_0_6_load_44 | 53 | 0.0018158 | 0.00045509 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4001-52_0_6_load_48 | 56 | 0.001499 | 0.00037568 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4001-52_0_6_load_49 | 57 | 0.0023297 | 0.00058387 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4001-52_0_6_load_111 | 58 | 0.0016164 | 0.00040512 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4001-52_0_6_load_50 | 59 | 0.0011015 | 0.00027605 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4001-52_0_6_load_109 | 60 | 0.0018801 | 0.0004712 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4001-52_0_6_load_52 | 62 | 0.0020929 | 0.00052452 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4001-52_0_6_load_54 | 63 | 0.0033239 | 0.00083306 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4001-52_0_6_load_53 | 65 | 0.0021188 | 0.00053102 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4001-52_0_6_load_79 | 66 | 0.0029618 | 0.00074229 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4001-52_0_6_load_108 | 67 | 0.0015681 | 0.00039301 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4001-52_0_6_load_57 | 68 | 0.0016449 | 0.00041225 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4001-52_0_6_load_78 | 69 | 0.0040579 | 0.001017 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4001-52_0_6_load_89 | 70 | 0.001099 | 0.00027543 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4001-52_0_6_load_123 | 71 | 0.0014511 | 0.00036368 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4001-52_0_6_load_58 | 72 | 0.0056578 | 0.001418 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4001-52_0_6_load_61 | 75 | 0.0030387 | 0.00076156 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4001-52_0_6_load_62 | 76 | 0.0097799 | 0.0024511 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4001-52_0_6_load_122 | 79 | 0.0092713 | 0.0023236 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4001-52_0_6_load_69 | 80 | 0.039148 | 0.0098114 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4001-52_0_6_load_72 | 81 | 0.0028624 | 0.00071739 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4001-52_0_6_load_117 | 82 | 0.0060395 | 0.0015136 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4001-52_0_6_load_118 | 83 | 0.0044666 | 0.0011194 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4001-52_0_6_load_75 | 84 | 0.0061386 | 0.0015385 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4001-52_0_6_load_76 | 85 | 0.0044654 | 0.0011191 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4001-52_0_6_load_77 | 86 | 0.0066461 | 0.0016657 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4001-52_0_6_load_80 | 87 | 0.00055746 | 0.00013971 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4001-52_0_6_load_81 | 88 | 0.0010084 | 0.00025273 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4001-52_0_6_load_82 | 89 | 0.0026684 | 0.00066876 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4001-52_0_6_load_83 | 90 | 0.0012056 | 0.00030214 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4001-52_0_6_load_88 | 91 | 0.0025461 | 0.00063811 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4001-52_0_6_load_84 | 93 | 0.0010642 | 0.00026672 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4001-52_0_6_load_85 | 94 | 0.0030447 | 0.00076308 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4001-52_0_6_load_87 | 95 | 0.0009414 | 0.00023594 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4001-52_0_6_load_91 | 97 | 0.0012039 | 0.00030173 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4001-52_0_6_load_92 | 98 | 0.0021447 | 0.00053752 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4001-52_0_6_load_124 | 103 | 0.0025306 | 0.00063424 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4001-52_0_6_load_95 | 104 | 0.0017031 | 0.00042685 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4001-52_0_6_load_99 | 106 | 0.0028244 | 0.00070787 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4001-52_0_6_load_102 | 107 | 0.0035816 | 0.00089763 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4001-52_0_6_load_121 | 108 | 0.0039552 | 0.00099128 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4001-52_0_6_load_107 | 109 | 0.0035242 | 0.00088324 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4001-52_0_6_load_103 | 110 | 0.0010185 | 0.00025526 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_4001-52_0_6_load_104 | 111 | 0.00428 | 0.0010727 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_4001-52_0_6_load_105 | 112 | 0.0048085 | 0.0012051 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_4001-52_0_6_load_106 | 113 | 0.0088598 | 0.0022205 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_4001-52_0_6_load_110 | 114 | 0.0040814 | 0.0010229 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_4001-52_0_6_load_112 | 115 | 0.0064569 | 0.0016183 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_4001-52_0_6_load_113 | 116 | 0.0043212 | 0.001083 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_4001-52_0_6_load_119 | 117 | 0.0067906 | 0.0017019 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_4001-52_0_6_load_120 | 118 | 0.0061176 | 0.0015332 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 42 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4001-52_0_6_line_0 |  | 0 | 1 | 0.069592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
1 | LV_4001-52_0_6_line_1 |  | 0 | 2 | 0.051347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_4001-52_0_6_line_2 |  | 1 | 3 | 0.03117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
3 | LV_4001-52_0_6_line_3 |  | 2 | 4 | 0.018171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4001-52_0_6_line_4 |  | 3 | 5 | 0.017586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
5 | LV_4001-52_0_6_line_5 |  | 5 | 12 | 0.025247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
6 | LV_4001-52_0_6_line_6 |  | 6 | 7 | 0.02249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
7 | LV_4001-52_0_6_line_7 |  | 6 | 8 | 0.02022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
8 | LV_4001-52_0_6_line_8 |  | 6 | 9 | 0.022743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4001-52_0_6_line_9 |  | 7 | 13 | 0.02035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
10 | LV_4001-52_0_6_line_10 |  | 7 | 14 | 0.013561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
11 | LV_4001-52_0_6_line_11 |  | 8 | 15 | 0.020983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
12 | LV_4001-52_0_6_line_12 |  | 9 | 16 | 0.0010056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4001-52_0_6_line_13 |  | 10 | 11 | 0.019188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4001-52_0_6_line_14 |  | 11 | 36 | 0.0072237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4001-52_0_6_line_15 |  | 12 | 45 | 0.0002483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
16 | LV_4001-52_0_6_line_16 |  | 13 | 50 | 0.019903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
17 | LV_4001-52_0_6_line_17 |  | 13 | 51 | 0.012451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
18 | LV_4001-52_0_6_line_18 |  | 14 | 52 | 0.013682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_4001-52_0_6_line_19 |  | 15 | 39 | 0.0013068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
20 | LV_4001-52_0_6_line_20 |  | 16 | 38 | 0.018495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4001-52_0_6_line_21 |  | 17 | 18 | 0.021971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4001-52_0_6_line_22 |  | 18 | 19 | 0.014738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4001-52_0_6_line_23 |  | 19 | 20 | 0.0083604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
24 | LV_4001-52_0_6_line_24 |  | 19 | 21 | 0.020989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
25 | LV_4001-52_0_6_line_25 |  | 20 | 24 | 0.018391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
26 | LV_4001-52_0_6_line_26 |  | 21 | 25 | 0.011092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
27 | LV_4001-52_0_6_line_27 |  | 22 | 23 | 0.018687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4001-52_0_6_line_28 |  | 23 | 25 | 0.016955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4001-52_0_6_line_29 |  | 24 | 30 | 0.025953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
30 | LV_4001-52_0_6_line_30 |  | 24 | 31 | 0.0065055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
31 | LV_4001-52_0_6_line_31 |  | 25 | 26 | 0.017883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
32 | LV_4001-52_0_6_line_32 |  | 26 | 27 | 0.017625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
33 | LV_4001-52_0_6_line_33 |  | 27 | 28 | 0.030692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
34 | LV_4001-52_0_6_line_34 |  | 27 | 29 | 0.016448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4001-52_0_6_line_35 |  | 28 | 33 | 0.031377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
36 | LV_4001-52_0_6_line_36 |  | 29 | 32 | 0.019123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4001-52_0_6_line_37 |  | 30 | 118 | 0.028338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
38 | LV_4001-52_0_6_line_38 |  | 31 | 78 | 0.02199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
39 | LV_4001-52_0_6_line_39 |  | 33 | 34 | 0.025072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
40 | LV_4001-52_0_6_line_40 |  | 34 | 54 | 0.014342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
41 | LV_4001-52_0_6_line_41 |  | 35 | 36 | 0.013046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4001-52_0_6_line_42 |  | 35 | 37 | 0.013074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4001-52_0_6_line_43 |  | 37 | 38 | 0.0077072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4001-52_0_6_line_44 |  | 39 | 40 | 0.0091238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
45 | LV_4001-52_0_6_line_45 |  | 40 | 41 | 0.012794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4001-52_0_6_line_46 |  | 40 | 42 | 0.022728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
47 | LV_4001-52_0_6_line_47 |  | 42 | 43 | 0.0011775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4001-52_0_6_line_48 |  | 43 | 44 | 0.021864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4001-52_0_6_line_49 |  | 44 | 84 | 0.0010061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4001-52_0_6_line_50 |  | 45 | 46 | 0.029454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
51 | LV_4001-52_0_6_line_51 |  | 46 | 47 | 0.016313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
52 | LV_4001-52_0_6_line_52 |  | 47 | 48 | 0.024659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
53 | LV_4001-52_0_6_line_53 |  | 48 | 49 | 0.017247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
54 | LV_4001-52_0_6_line_54 |  | 49 | 107 | 0.036136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
55 | LV_4001-52_0_6_line_55 |  | 49 | 106 | 0.026744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
56 | LV_4001-52_0_6_line_56 |  | 50 | 80 | 0.01085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
57 | LV_4001-52_0_6_line_57 |  | 51 | 75 | 0.019429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
58 | LV_4001-52_0_6_line_58 |  | 53 | 54 | 0.019582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
59 | LV_4001-52_0_6_line_59 |  | 53 | 55 | 0.011578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
60 | LV_4001-52_0_6_line_60 |  | 54 | 56 | 0.032411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_4001-52_0_6_line_61 |  | 55 | 57 | 0.0037846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
62 | LV_4001-52_0_6_line_62 |  | 56 | 58 | 0.015987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4001-52_0_6_line_63 |  | 57 | 59 | 0.014301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
64 | LV_4001-52_0_6_line_64 |  | 58 | 60 | 0.00016618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4001-52_0_6_line_65 |  | 59 | 61 | 0.016411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
66 | LV_4001-52_0_6_line_66 |  | 60 | 114 | 0.023115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4001-52_0_6_line_67 |  | 61 | 62 | 0.034798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4001-52_0_6_line_68 |  | 61 | 63 | 0.031919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
69 | LV_4001-52_0_6_line_69 |  | 62 | 64 | 0.0022777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4001-52_0_6_line_70 |  | 63 | 67 | 0.024611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
71 | LV_4001-52_0_6_line_71 |  | 64 | 68 | 0.015061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4001-52_0_6_line_72 |  | 65 | 66 | 0.017228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4001-52_0_6_line_73 |  | 66 | 69 | 0.0080001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4001-52_0_6_line_74 |  | 67 | 70 | 0.018451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
75 | LV_4001-52_0_6_line_75 |  | 68 | 71 | 0.016058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4001-52_0_6_line_76 |  | 69 | 86 | 0.022219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4001-52_0_6_line_77 |  | 70 | 92 | 0.0039709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
78 | LV_4001-52_0_6_line_78 |  | 72 | 73 | 0.018223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
79 | LV_4001-52_0_6_line_79 |  | 72 | 74 | 0.01683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
80 | LV_4001-52_0_6_line_80 |  | 73 | 75 | 0.011367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
81 | LV_4001-52_0_6_line_81 |  | 73 | 76 | 0.021853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
82 | LV_4001-52_0_6_line_82 |  | 74 | 77 | 0.006005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
83 | LV_4001-52_0_6_line_83 |  | 76 | 78 | 0.032465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
84 | LV_4001-52_0_6_line_84 |  | 77 | 79 | 0.022785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4001-52_0_6_line_85 |  | 81 | 82 | 0.00076918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4001-52_0_6_line_86 |  | 82 | 83 | 0.016219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4001-52_0_6_line_87 |  | 83 | 117 | 0.0082356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4001-52_0_6_line_88 |  | 84 | 85 | 0.021537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4001-52_0_6_line_89 |  | 85 | 86 | 0.0012337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4001-52_0_6_line_90 |  | 87 | 88 | 0.014088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
91 | LV_4001-52_0_6_line_91 |  | 87 | 89 | 0.0149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
92 | LV_4001-52_0_6_line_92 |  | 88 | 90 | 0.0017708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
93 | LV_4001-52_0_6_line_93 |  | 90 | 91 | 0.0058307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
94 | LV_4001-52_0_6_line_94 |  | 91 | 92 | 0.023127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
95 | LV_4001-52_0_6_line_95 |  | 92 | 93 | 0.01591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
96 | LV_4001-52_0_6_line_96 |  | 93 | 94 | 0.0098964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
97 | LV_4001-52_0_6_line_97 |  | 94 | 95 | 0.0098083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
98 | LV_4001-52_0_6_line_98 |  | 95 | 96 | 0.03097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
99 | LV_4001-52_0_6_line_99 |  | 96 | 97 | 0.019096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
100 | LV_4001-52_0_6_line_100 |  | 96 | 98 | 0.0073239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
101 | LV_4001-52_0_6_line_101 |  | 97 | 99 | 0.0078489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
102 | LV_4001-52_0_6_line_102 |  | 98 | 100 | 0.0047491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
103 | LV_4001-52_0_6_line_103 |  | 99 | 101 | 0.077152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
104 | LV_4001-52_0_6_line_104 |  | 100 | 102 | 0.012615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
105 | LV_4001-52_0_6_line_105 |  | 101 | 103 | 0.03669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
106 | LV_4001-52_0_6_line_106 |  | 102 | 104 | 0.021456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
107 | LV_4001-52_0_6_line_107 |  | 104 | 105 | 0.012789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
108 | LV_4001-52_0_6_line_108 |  | 105 | 106 | 0.0087896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
109 | LV_4001-52_0_6_line_109 |  | 107 | 108 | 0.0001686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
110 | LV_4001-52_0_6_line_110 |  | 108 | 109 | 0.026168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
111 | LV_4001-52_0_6_line_111 |  | 109 | 111 | 0.018468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
112 | LV_4001-52_0_6_line_112 |  | 110 | 111 | 0.0056614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
113 | LV_4001-52_0_6_line_113 |  | 110 | 112 | 0.015535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
114 | LV_4001-52_0_6_line_114 |  | 111 | 113 | 0.017531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
115 | LV_4001-52_0_6_line_115 |  | 114 | 115 | 0.0040166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_4001-52_0_6_line_116 |  | 115 | 116 | 0.014798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_4001-52_0_6_line_117 |  | 116 | 117 | 0.012894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4001-52_0_6_trafo_35 | 0.63 MVA 20/0.4 kV | 119 | 42 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2646217.6874 | 1248048.1895 | 2646217.4007 | 1248038.4585 | 2646215.1464 | 1248013.7688 | 2646210.3528 | 1247979.0335
1 | 2646210.3528 | 1247979.0335 | 2646171.5508 | 1248012.662
2 | 2646241.3554 | 1248056.8019 | 2646239.5687 | 1248047.693 | 2646233.4502 | 1248047.8899 | 2646221.9166 | 1248048.1557 | 2646217.6874 | 1248048.1895
3 | 2646171.5508 | 1248012.662 | 2646157.5036 | 1248001.1355
4 | 2646241.3554 | 1248056.8019 | 2646251.1283 | 1248056.6891 | 2646251.8668 | 1248053.0146 | 2646255.9097 | 1248053.4368
5 | 2646281.0202 | 1248056.059 | 2646255.9097 | 1248053.4368
6 | 2646251.3641 | 1247907.3686 | 2646254.1436 | 1247885.0531
7 | 2646251.3641 | 1247907.3686 | 2646258.3352 | 1247907.2784 | 2646271.5837 | 1247907.2851
8 | 2646251.3641 | 1247907.3686 | 2646248.9636 | 1247929.9845
9 | 2646255.7815 | 1247864.8301 | 2646256.0445 | 1247869.8355 | 2646254.1436 | 1247885.0531
10 | 2646254.1436 | 1247885.0531 | 2646240.9556 | 1247881.8923
11 | 2646292.5642 | 1247907.0578 | 2646279.6543 | 1247907.2891 | 2646271.5837 | 1247907.2851
12 | 2646248.9636 | 1247929.9845 | 2646248.8574 | 1247930.9845
13 | 2646240.5384 | 1248009.2771 | 2646242.5778 | 1247990.1981
14 | 2646243.3396 | 1247983.0147 | 2646242.6097 | 1247989.9001 | 2646242.5778 | 1247990.1981
15 | 2646281.2671 | 1248056.0848 | 2646281.0202 | 1248056.059
16 | 2646255.7815 | 1247864.8301 | 2646275.684 | 1247864.8055
17 | 2646255.7815 | 1247864.8301 | 2646256.0581 | 1247852.3821
18 | 2646229.0064 | 1247883.6452 | 2646231.2578 | 1247880.6273 | 2646234.1003 | 1247880.2492 | 2646240.9556 | 1247881.8923
19 | 2646293.8708 | 1247907.0344 | 2646292.5642 | 1247907.0578
20 | 2646248.8574 | 1247930.9845 | 2646247.0849 | 1247947.6845 | 2646246.9056 | 1247949.376
21 | 2646355.994 | 1247759.3638 | 2646359.4654 | 1247781.0585
22 | 2646361.794 | 1247795.6111 | 2646359.4654 | 1247781.0585
23 | 2646361.794 | 1247795.6111 | 2646353.7056 | 1247797.7261
24 | 2646361.794 | 1247795.6111 | 2646376.6109 | 1247791.791 | 2646382.0484 | 1247790.1225
25 | 2646335.913 | 1247802.3801 | 2646347.8622 | 1247799.2491 | 2646352.0092 | 1247798.1697 | 2646353.7056 | 1247797.7261
26 | 2646392.6523 | 1247786.8686 | 2646382.0484 | 1247790.1225
27 | 2646392.704 | 1247769.9136 | 2646392.761 | 1247751.2266
28 | 2646392.6523 | 1247786.8686 | 2646392.704 | 1247769.9136
29 | 2646335.913 | 1247802.3801 | 2646326.4999 | 1247778.1947
30 | 2646335.913 | 1247802.3801 | 2646329.5856 | 1247803.8918
31 | 2646392.6523 | 1247786.8686 | 2646409.9444 | 1247782.3114
32 | 2646426.9871 | 1247777.82 | 2646409.9444 | 1247782.3114
33 | 2646426.9871 | 1247777.82 | 2646456.4202 | 1247768.8332
34 | 2646426.9871 | 1247777.82 | 2646426.8741 | 1247761.3725
35 | 2646456.4202 | 1247768.8332 | 2646456.7735 | 1247800.2084
36 | 2646426.8741 | 1247761.3725 | 2646426.7427 | 1247742.2495
37 | 2646316.2216 | 1247751.7863 | 2646326.4999 | 1247778.1947
38 | 2646308.198 | 1247809.0015 | 2646329.5856 | 1247803.8918
39 | 2646456.7735 | 1247800.2084 | 2646457.0559 | 1247825.2792
40 | 2646457.2174 | 1247839.6202 | 2646457.0559 | 1247825.2792
41 | 2646243.3396 | 1247983.0147 | 2646244.7148 | 1247970.0418
42 | 2646246.0931 | 1247957.0402 | 2646244.7148 | 1247970.0418
43 | 2646246.0931 | 1247957.0402 | 2646246.9056 | 1247949.376
44 | 2646302.9931 | 1247906.8709 | 2646293.8708 | 1247907.0344
45 | 2646302.9931 | 1247906.8709 | 2646305.6916 | 1247894.365
46 | 2646302.9931 | 1247906.8709 | 2646306.5355 | 1247906.8096 | 2646313.0831 | 1247906.7941 | 2646325.7208 | 1247906.7627
47 | 2646326.8983 | 1247906.7598 | 2646325.7208 | 1247906.7627
48 | 2646326.8983 | 1247906.7598 | 2646348.7619 | 1247906.7055
49 | 2646349.768 | 1247906.7031 | 2646348.7619 | 1247906.7055
50 | 2646281.2671 | 1248056.0848 | 2646294.6731 | 1248057.4848 | 2646310.5064 | 1248059.6108
51 | 2646326.6741 | 1248061.7818 | 2646310.5064 | 1248059.6108
52 | 2646326.6741 | 1248061.7818 | 2646345.7177 | 1248063.9653 | 2646351.1729 | 1248064.5907
53 | 2646368.3074 | 1248066.5547 | 2646351.1729 | 1248064.5907
54 | 2646368.3074 | 1248066.5547 | 2646372.1241 | 1248030.6209
55 | 2646368.3074 | 1248066.5547 | 2646394.8777 | 1248069.6009
56 | 2646286.5336 | 1247864.7921 | 2646275.684 | 1247864.8055
57 | 2646255.8673 | 1247832.9647 | 2646256.2819 | 1247842.3078 | 2646256.0581 | 1247852.3821
58 | 2646457.2174 | 1247839.6202 | 2646456.6607 | 1247859.1939
59 | 2646456.3315 | 1247870.7675 | 2646456.6607 | 1247859.1939
60 | 2646457.2174 | 1247839.6202 | 2646425.154 | 1247844.3548
61 | 2646456.3315 | 1247870.7675 | 2646456.2231 | 1247874.5505
62 | 2646409.338 | 1247846.6903 | 2646425.154 | 1247844.3548
63 | 2646455.8137 | 1247888.8454 | 2646456.2231 | 1247874.5505
64 | 2646409.338 | 1247846.6903 | 2646409.1736 | 1247846.7145
65 | 2646455.3439 | 1247905.2495 | 2646455.8137 | 1247888.8454
66 | 2646409.1736 | 1247846.7145 | 2646403.5888 | 1247847.5392 | 2646386.2655 | 1247849.795
67 | 2646455.3439 | 1247905.2495 | 2646469.7868 | 1247902.8721 | 2646475.1646 | 1247901.8024 | 2646489.3479 | 1247898.0251
68 | 2646455.3439 | 1247905.2495 | 2646454.8832 | 1247937.1652
69 | 2646491.5488 | 1247897.439 | 2646489.3479 | 1247898.0251
70 | 2646454.8832 | 1247937.1652 | 2646454.528 | 1247961.7738
71 | 2646491.5488 | 1247897.439 | 2646498.3912 | 1247910.8556
72 | 2646419.983 | 1247906.1799 | 2646402.7563 | 1247906.3654
73 | 2646394.7567 | 1247906.4515 | 2646402.7563 | 1247906.3654
74 | 2646454.528 | 1247961.7738 | 2646454.2617 | 1247980.2231
75 | 2646505.6867 | 1247925.1606 | 2646498.3912 | 1247910.8556
76 | 2646372.5387 | 1247906.6466 | 2646377.8726 | 1247906.6333 | 2646394.7567 | 1247906.4515
77 | 2646454.2043 | 1247984.1935 | 2646454.2617 | 1247980.2231
78 | 2646255.3634 | 1247821.609 | 2646251.2067 | 1247803.866
79 | 2646247.3677 | 1247787.4794 | 2646251.2067 | 1247803.866
80 | 2646255.3634 | 1247821.609 | 2646255.8673 | 1247832.9647
81 | 2646255.3634 | 1247821.609 | 2646276.6119 | 1247816.5048
82 | 2646246.001 | 1247781.6315 | 2646247.3677 | 1247787.4794
83 | 2646308.198 | 1247809.0015 | 2646291.1821 | 1247813.0048 | 2646276.6119 | 1247816.5048
84 | 2646246.001 | 1247781.6315 | 2646268.2974 | 1247776.9391
85 | 2646330.573 | 1247857.0473 | 2646329.8103 | 1247857.1466
86 | 2646330.573 | 1247857.0473 | 2646346.6561 | 1247854.9529
87 | 2646354.8228 | 1247853.8895 | 2646346.6561 | 1247854.9529
88 | 2646349.768 | 1247906.7031 | 2646371.305 | 1247906.6496
89 | 2646372.5387 | 1247906.6466 | 2646371.305 | 1247906.6496
90 | 2646495.5061 | 1247966.7962 | 2646482.5227 | 1247972.2651
91 | 2646495.5061 | 1247966.7962 | 2646509.2377 | 1247961.0121
92 | 2646480.8908 | 1247972.9525 | 2646482.5227 | 1247972.2651
93 | 2646480.8908 | 1247972.9525 | 2646475.5174 | 1247975.216
94 | 2646454.2043 | 1247984.1935 | 2646475.5174 | 1247975.216
95 | 2646454.2043 | 1247984.1935 | 2646454.1087 | 1247990.6193 | 2646453.8677 | 1248000.1002
96 | 2646453.8677 | 1248000.1002 | 2646453.6163 | 1248009.9934
97 | 2646453.3671 | 1248019.7986 | 2646453.6163 | 1248009.9934
98 | 2646452.5803 | 1248050.7588 | 2646453.3671 | 1248019.7986
99 | 2646452.5803 | 1248050.7588 | 2646471.6511 | 1248051.7437
100 | 2646452.5803 | 1248050.7588 | 2646448.9708 | 1248057.1314
101 | 2646479.1797 | 1248050.5002 | 2646475.9285 | 1248051.9647 | 2646471.6511 | 1248051.7437
102 | 2646446.6303 | 1248061.2637 | 2646448.9708 | 1248057.1314
103 | 2646547.695 | 1248016.1143 | 2646524.4942 | 1248024.9827 | 2646501.26 | 1248034.2624 | 2646489.1645 | 1248043.5849 | 2646481.5897 | 1248049.4073 | 2646479.1797 | 1248050.5002
104 | 2646437.6122 | 1248070.1102 | 2646446.6303 | 1248061.2637
105 | 2646535.3926 | 1247981.539 | 2646547.695 | 1248016.1143
106 | 2646437.6122 | 1248070.1102 | 2646419.2889 | 1248072.3905 | 2646416.3172 | 1248072.0512
107 | 2646403.6104 | 1248070.6 | 2646416.3172 | 1248072.0512
108 | 2646403.6104 | 1248070.6 | 2646396.2012 | 1248069.7526 | 2646394.8777 | 1248069.6009
109 | 2646372.1419 | 1248030.4533 | 2646372.1241 | 1248030.6209
110 | 2646372.1419 | 1248030.4533 | 2646372.8562 | 1248023.7282 | 2646374.8451 | 1248004.4257
111 | 2646376.7379 | 1247986.0555 | 2646374.8451 | 1248004.4257
112 | 2646376.7379 | 1247986.0555 | 2646382.3798 | 1247986.5243
113 | 2646397.8618 | 1247987.8107 | 2646382.3798 | 1247986.5243
114 | 2646376.7379 | 1247986.0555 | 2646359.2792 | 1247983.9732
115 | 2646386.2655 | 1247849.795 | 2646382.2825 | 1247850.3137
116 | 2646367.6085 | 1247852.2245 | 2646382.2825 | 1247850.3137
117 | 2646367.6085 | 1247852.2245 | 2646354.8228 | 1247853.8895

## bus_geodata
| x | y | coords
0 | 2646210.3528 | 1247979.0335
1 | 2646217.6874 | 1248048.1895
2 | 2646171.5508 | 1248012.662
3 | 2646241.3554 | 1248056.8019
4 | 2646157.5036 | 1248001.1355
5 | 2646255.9097 | 1248053.4368
6 | 2646251.3641 | 1247907.3686
7 | 2646254.1436 | 1247885.0531
8 | 2646271.5837 | 1247907.2851
9 | 2646248.9636 | 1247929.9845
10 | 2646240.5384 | 1248009.2771
11 | 2646242.5778 | 1247990.1981
12 | 2646281.0202 | 1248056.059
13 | 2646255.7815 | 1247864.8301
14 | 2646240.9556 | 1247881.8923
15 | 2646292.5642 | 1247907.0578
16 | 2646248.8574 | 1247930.9845
17 | 2646355.994 | 1247759.3638
18 | 2646359.4654 | 1247781.0585
19 | 2646361.794 | 1247795.6111
20 | 2646353.7056 | 1247797.7261
21 | 2646382.0484 | 1247790.1225
22 | 2646392.761 | 1247751.2266
23 | 2646392.704 | 1247769.9136
24 | 2646335.913 | 1247802.3801
25 | 2646392.6523 | 1247786.8686
26 | 2646409.9444 | 1247782.3114
27 | 2646426.9871 | 1247777.82
28 | 2646456.4202 | 1247768.8332
29 | 2646426.8741 | 1247761.3725
30 | 2646326.4999 | 1247778.1947
31 | 2646329.5856 | 1247803.8918
32 | 2646426.7427 | 1247742.2495
33 | 2646456.7735 | 1247800.2084
34 | 2646457.0559 | 1247825.2792
35 | 2646244.7148 | 1247970.0418
36 | 2646243.3396 | 1247983.0147
37 | 2646246.0931 | 1247957.0402
38 | 2646246.9056 | 1247949.376
39 | 2646293.8708 | 1247907.0344
40 | 2646302.9931 | 1247906.8709
41 | 2646305.6916 | 1247894.365
42 | 2646325.7208 | 1247906.7627
43 | 2646326.8983 | 1247906.7598
44 | 2646348.7619 | 1247906.7055
45 | 2646281.2671 | 1248056.0848
46 | 2646310.5064 | 1248059.6108
47 | 2646326.6741 | 1248061.7818
48 | 2646351.1729 | 1248064.5907
49 | 2646368.3074 | 1248066.5547
50 | 2646275.684 | 1247864.8055
51 | 2646256.0581 | 1247852.3821
52 | 2646229.0064 | 1247883.6452
53 | 2646456.6607 | 1247859.1939
54 | 2646457.2174 | 1247839.6202
55 | 2646456.3315 | 1247870.7675
56 | 2646425.154 | 1247844.3548
57 | 2646456.2231 | 1247874.5505
58 | 2646409.338 | 1247846.6903
59 | 2646455.8137 | 1247888.8454
60 | 2646409.1736 | 1247846.7145
61 | 2646455.3439 | 1247905.2495
62 | 2646489.3479 | 1247898.0251
63 | 2646454.8832 | 1247937.1652
64 | 2646491.5488 | 1247897.439
65 | 2646419.983 | 1247906.1799
66 | 2646402.7563 | 1247906.3654
67 | 2646454.528 | 1247961.7738
68 | 2646498.3912 | 1247910.8556
69 | 2646394.7567 | 1247906.4515
70 | 2646454.2617 | 1247980.2231
71 | 2646505.6867 | 1247925.1606
72 | 2646251.2067 | 1247803.866
73 | 2646255.3634 | 1247821.609
74 | 2646247.3677 | 1247787.4794
75 | 2646255.8673 | 1247832.9647
76 | 2646276.6119 | 1247816.5048
77 | 2646246.001 | 1247781.6315
78 | 2646308.198 | 1247809.0015
79 | 2646268.2974 | 1247776.9391
80 | 2646286.5336 | 1247864.7921
81 | 2646329.8103 | 1247857.1466
82 | 2646330.573 | 1247857.0473
83 | 2646346.6561 | 1247854.9529
84 | 2646349.768 | 1247906.7031
85 | 2646371.305 | 1247906.6496
86 | 2646372.5387 | 1247906.6466
87 | 2646495.5061 | 1247966.7962
88 | 2646482.5227 | 1247972.2651
89 | 2646509.2377 | 1247961.0121
90 | 2646480.8908 | 1247972.9525
91 | 2646475.5174 | 1247975.216
92 | 2646454.2043 | 1247984.1935
93 | 2646453.8677 | 1248000.1002
94 | 2646453.6163 | 1248009.9934
95 | 2646453.3671 | 1248019.7986
96 | 2646452.5803 | 1248050.7588
97 | 2646471.6511 | 1248051.7437
98 | 2646448.9708 | 1248057.1314
99 | 2646479.1797 | 1248050.5002
100 | 2646446.6303 | 1248061.2637
101 | 2646547.695 | 1248016.1143
102 | 2646437.6122 | 1248070.1102
103 | 2646535.3926 | 1247981.539
104 | 2646416.3172 | 1248072.0512
105 | 2646403.6104 | 1248070.6
106 | 2646394.8777 | 1248069.6009
107 | 2646372.1241 | 1248030.6209
108 | 2646372.1419 | 1248030.4533
109 | 2646374.8451 | 1248004.4257
110 | 2646382.3798 | 1247986.5243
111 | 2646376.7379 | 1247986.0555
112 | 2646397.8618 | 1247987.8107
113 | 2646359.2792 | 1247983.9732
114 | 2646386.2655 | 1247849.795
115 | 2646382.2825 | 1247850.3137
116 | 2646367.6085 | 1247852.2245
117 | 2646354.8228 | 1247853.8895
118 | 2646316.2216 | 1247751.7863
119 | 2646302.9931 | 1247906.8709

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1