## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4001-55_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4001-55_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4001-55_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4001-55_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4001-55_0_6_node_9 | 0.4 | n |  | TRUE
5 | bus_LV_4001-55_0_6_node_33 | 0.4 | n |  | TRUE
6 | bus_LV_4001-55_0_6_node_10 | 0.4 | n |  | TRUE
7 | bus_LV_4001-55_0_6_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_4001-55_0_6_node_30 | 0.4 | n |  | TRUE
9 | bus_LV_4001-55_0_6_node_4 | 0.4 | n |  | TRUE
10 | bus_LV_4001-55_0_6_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_4001-55_0_6_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_4001-55_0_6_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_4001-55_0_6_node_98 | 0.4 | n |  | TRUE
14 | bus_LV_4001-55_0_6_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_4001-55_0_6_node_99 | 0.4 | n |  | TRUE
16 | bus_LV_4001-55_0_6_node_96 | 0.4 | n |  | TRUE
17 | bus_LV_4001-55_0_6_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_4001-55_0_6_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_4001-55_0_6_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_4001-55_0_6_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_4001-55_0_6_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_4001-55_0_6_node_34 | 0.4 | n |  | TRUE
23 | bus_LV_4001-55_0_6_node_67 | 0.4 | n |  | TRUE
24 | bus_LV_4001-55_0_6_node_37 | 0.4 | n |  | TRUE
25 | bus_LV_4001-55_0_6_node_105 | 0.4 | n |  | TRUE
26 | bus_LV_4001-55_0_6_node_68 | 0.4 | n |  | TRUE
27 | bus_LV_4001-55_0_6_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_4001-55_0_6_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_4001-55_0_6_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_4001-55_0_6_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_4001-55_0_6_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_4001-55_0_6_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_4001-55_0_6_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_4001-55_0_6_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_4001-55_0_6_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_4001-55_0_6_node_38 | 0.4 | n |  | TRUE
37 | bus_LV_4001-55_0_6_node_39 | 0.4 | n |  | TRUE
38 | bus_LV_4001-55_0_6_node_35 | 0.4 | n |  | TRUE
39 | bus_LV_4001-55_0_6_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_4001-55_0_6_node_26 | 0.4 | n |  | TRUE
41 | bus_LV_4001-55_0_6_node_62 | 0.4 | n |  | TRUE
42 | bus_LV_4001-55_0_6_node_61 | 0.4 | n |  | TRUE
43 | bus_LV_4001-55_0_6_node_84 | 0.4 | n |  | TRUE
44 | bus_LV_4001-55_0_6_node_155 | 0.4 | n |  | TRUE
45 | bus_LV_4001-55_0_6_node_154 | 0.4 | n |  | TRUE
46 | bus_LV_4001-55_0_6_node_156 | 0.4 | n |  | TRUE
47 | bus_LV_4001-55_0_6_node_36 | 0.4 | n |  | TRUE
48 | bus_LV_4001-55_0_6_node_28 | 0.4 | n |  | TRUE
49 | bus_LV_4001-55_0_6_node_31 | 0.4 | n |  | TRUE
50 | bus_LV_4001-55_0_6_node_95 | 0.4 | n |  | TRUE
51 | bus_LV_4001-55_0_6_node_66 | 0.4 | n |  | TRUE
52 | bus_LV_4001-55_0_6_node_89 | 0.4 | n |  | TRUE
53 | bus_LV_4001-55_0_6_node_102 | 0.4 | n |  | TRUE
54 | bus_LV_4001-55_0_6_node_64 | 0.4 | n |  | TRUE
55 | bus_LV_4001-55_0_6_node_104 | 0.4 | n |  | TRUE
56 | bus_LV_4001-55_0_6_node_103 | 0.4 | n |  | TRUE
57 | bus_LV_4001-55_0_6_node_82 | 0.4 | n |  | TRUE
58 | bus_LV_4001-55_0_6_node_93 | 0.4 | n |  | TRUE
59 | bus_LV_4001-55_0_6_node_97 | 0.4 | n |  | TRUE
60 | bus_LV_4001-55_0_6_node_83 | 0.4 | n |  | TRUE
61 | bus_LV_4001-55_0_6_node_110 | 0.4 | n |  | TRUE
62 | bus_LV_4001-55_0_6_node_108 | 0.4 | n |  | TRUE
63 | bus_LV_4001-55_0_6_node_152 | 0.4 | n |  | TRUE
64 | bus_LV_4001-55_0_6_node_79 | 0.4 | n |  | TRUE
65 | bus_LV_4001-55_0_6_node_149 | 0.4 | n |  | TRUE
66 | bus_LV_4001-55_0_6_node_125 | 0.4 | n |  | TRUE
67 | bus_LV_4001-55_0_6_node_60 | 0.4 | n |  | TRUE
68 | bus_LV_4001-55_0_6_node_153 | 0.4 | n |  | TRUE
69 | bus_LV_4001-55_0_6_node_157 | 0.4 | n |  | TRUE
70 | bus_LV_4001-55_0_6_node_40 | 0.4 | n |  | TRUE
71 | bus_LV_4001-55_0_6_node_41 | 0.4 | n |  | TRUE
72 | bus_LV_4001-55_0_6_node_42 | 0.4 | n |  | TRUE
73 | bus_LV_4001-55_0_6_node_43 | 0.4 | n |  | TRUE
74 | bus_LV_4001-55_0_6_node_47 | 0.4 | n |  | TRUE
75 | bus_LV_4001-55_0_6_node_49 | 0.4 | n |  | TRUE
76 | bus_LV_4001-55_0_6_node_86 | 0.4 | n |  | TRUE
77 | bus_LV_4001-55_0_6_node_85 | 0.4 | n |  | TRUE
78 | bus_LV_4001-55_0_6_node_44 | 0.4 | n |  | TRUE
79 | bus_LV_4001-55_0_6_node_73 | 0.4 | n |  | TRUE
80 | bus_LV_4001-55_0_6_node_100 | 0.4 | n |  | TRUE
81 | bus_LV_4001-55_0_6_node_45 | 0.4 | n |  | TRUE
82 | bus_LV_4001-55_0_6_node_51 | 0.4 | n |  | TRUE
83 | bus_LV_4001-55_0_6_node_91 | 0.4 | n |  | TRUE
84 | bus_LV_4001-55_0_6_node_46 | 0.4 | n |  | TRUE
85 | bus_LV_4001-55_0_6_node_48 | 0.4 | n |  | TRUE
86 | bus_LV_4001-55_0_6_node_151 | 0.4 | n |  | TRUE
87 | bus_LV_4001-55_0_6_node_150 | 0.4 | n |  | TRUE
88 | bus_LV_4001-55_0_6_node_63 | 0.4 | n |  | TRUE
89 | bus_LV_4001-55_0_6_node_65 | 0.4 | n |  | TRUE
90 | bus_LV_4001-55_0_6_node_112 | 0.4 | n |  | TRUE
91 | bus_LV_4001-55_0_6_node_52 | 0.4 | n |  | TRUE
92 | bus_LV_4001-55_0_6_node_53 | 0.4 | n |  | TRUE
93 | bus_LV_4001-55_0_6_node_146 | 0.4 | n |  | TRUE
94 | bus_LV_4001-55_0_6_node_147 | 0.4 | n |  | TRUE
95 | bus_LV_4001-55_0_6_node_55 | 0.4 | n |  | TRUE
96 | bus_LV_4001-55_0_6_node_57 | 0.4 | n |  | TRUE
97 | bus_LV_4001-55_0_6_node_141 | 0.4 | n |  | TRUE
98 | bus_LV_4001-55_0_6_node_56 | 0.4 | n |  | TRUE
99 | bus_LV_4001-55_0_6_node_128 | 0.4 | n |  | TRUE
100 | bus_LV_4001-55_0_6_node_59 | 0.4 | n |  | TRUE
101 | bus_LV_4001-55_0_6_node_117 | 0.4 | n |  | TRUE
102 | bus_LV_4001-55_0_6_node_78 | 0.4 | n |  | TRUE
103 | bus_LV_4001-55_0_6_node_107 | 0.4 | n |  | TRUE
104 | bus_LV_4001-55_0_6_node_72 | 0.4 | n |  | TRUE
105 | bus_LV_4001-55_0_6_node_80 | 0.4 | n |  | TRUE
106 | bus_LV_4001-55_0_6_node_121 | 0.4 | n |  | TRUE
107 | bus_LV_4001-55_0_6_node_129 | 0.4 | n |  | TRUE
108 | bus_LV_4001-55_0_6_node_81 | 0.4 | n |  | TRUE
109 | bus_LV_4001-55_0_6_node_90 | 0.4 | n |  | TRUE
110 | bus_LV_4001-55_0_6_node_69 | 0.4 | n |  | TRUE
111 | bus_LV_4001-55_0_6_node_111 | 0.4 | n |  | TRUE
112 | bus_LV_4001-55_0_6_node_106 | 0.4 | n |  | TRUE
113 | bus_LV_4001-55_0_6_node_139 | 0.4 | n |  | TRUE
114 | bus_LV_4001-55_0_6_node_116 | 0.4 | n |  | TRUE
115 | bus_LV_4001-55_0_6_node_113 | 0.4 | n |  | TRUE
116 | bus_LV_4001-55_0_6_node_114 | 0.4 | n |  | TRUE
117 | bus_LV_4001-55_0_6_node_75 | 0.4 | n |  | TRUE
118 | bus_LV_4001-55_0_6_node_76 | 0.4 | n |  | TRUE
119 | bus_LV_4001-55_0_6_node_70 | 0.4 | n |  | TRUE
120 | bus_LV_4001-55_0_6_node_71 | 0.4 | n |  | TRUE
121 | bus_LV_4001-55_0_6_node_74 | 0.4 | n |  | TRUE
122 | bus_LV_4001-55_0_6_node_88 | 0.4 | n |  | TRUE
123 | bus_LV_4001-55_0_6_node_87 | 0.4 | n |  | TRUE
124 | bus_LV_4001-55_0_6_node_77 | 0.4 | n |  | TRUE
125 | bus_LV_4001-55_0_6_node_124 | 0.4 | n |  | TRUE
126 | bus_LV_4001-55_0_6_node_118 | 0.4 | n |  | TRUE
127 | bus_LV_4001-55_0_6_node_119 | 0.4 | n |  | TRUE
128 | bus_LV_4001-55_0_6_node_94 | 0.4 | n |  | TRUE
129 | bus_LV_4001-55_0_6_node_92 | 0.4 | n |  | TRUE
130 | bus_LV_4001-55_0_6_node_101 | 0.4 | n |  | TRUE
131 | bus_LV_4001-55_0_6_node_148 | 0.4 | n |  | TRUE
132 | bus_LV_4001-55_0_6_node_115 | 0.4 | n |  | TRUE
133 | bus_LV_4001-55_0_6_node_120 | 0.4 | n |  | TRUE
134 | bus_LV_4001-55_0_6_node_122 | 0.4 | n |  | TRUE
135 | bus_LV_4001-55_0_6_node_123 | 0.4 | n |  | TRUE
136 | bus_LV_4001-55_0_6_node_130 | 0.4 | n |  | TRUE
137 | bus_LV_4001-55_0_6_node_131 | 0.4 | n |  | TRUE
138 | bus_LV_4001-55_0_6_node_127 | 0.4 | n |  | TRUE
139 | bus_LV_4001-55_0_6_node_126 | 0.4 | n |  | TRUE
140 | bus_LV_4001-55_0_6_node_145 | 0.4 | n |  | TRUE
141 | bus_LV_4001-55_0_6_node_132 | 0.4 | n |  | TRUE
142 | bus_LV_4001-55_0_6_node_133 | 0.4 | n |  | TRUE
143 | bus_LV_4001-55_0_6_node_134 | 0.4 | n |  | TRUE
144 | bus_LV_4001-55_0_6_node_137 | 0.4 | n |  | TRUE
145 | bus_LV_4001-55_0_6_node_135 | 0.4 | n |  | TRUE
146 | bus_LV_4001-55_0_6_node_136 | 0.4 | n |  | TRUE
147 | bus_LV_4001-55_0_6_node_138 | 0.4 | n |  | TRUE
148 | bus_LV_4001-55_0_6_node_140 | 0.4 | n |  | TRUE
149 | bus_LV_4001-55_0_6_node_142 | 0.4 | n |  | TRUE
150 | bus_LV_4001-55_0_6_node_143 | 0.4 | n |  | TRUE
151 | bus_MV_612_0_node_5 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4001-55_0_6_load_0 | 0 | 0.0017531 | 0.00043936 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4001-55_0_6_load_2 | 2 | 0.0024388 | 0.00061122 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4001-55_0_6_load_3 | 3 | 0.0023787 | 0.00059616 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4001-55_0_6_load_10 | 6 | 0.001622 | 0.00040652 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4001-55_0_6_load_8 | 7 | 0.0017532 | 0.0004394 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4001-55_0_6_load_4 | 9 | 0.0017535 | 0.00043947 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4001-55_0_6_load_5 | 10 | 0.001755 | 0.00043984 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4001-55_0_6_load_11 | 12 | 0.001969 | 0.00049348 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4001-55_0_6_load_7 | 14 | 0.0017535 | 0.00043947 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4001-55_0_6_load_99 | 15 | 0.0036427 | 0.00091295 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4001-55_0_6_load_96 | 16 | 0.00082061 | 0.00020566 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4001-55_0_6_load_12 | 17 | 0.0012606 | 0.00031593 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4001-55_0_6_load_13 | 18 | 0.0035771 | 0.00089652 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4001-55_0_6_load_14 | 19 | 0.0013241 | 0.00033185 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4001-55_0_6_load_15 | 20 | 0.0015464 | 0.00038756 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4001-55_0_6_load_16 | 21 | 0.0016906 | 0.0004237 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4001-55_0_6_load_67 | 23 | 0.0015338 | 0.00038441 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4001-55_0_6_load_105 | 25 | 0.0013266 | 0.00033247 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4001-55_0_6_load_68 | 26 | 0.0021405 | 0.00053646 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4001-55_0_6_load_17 | 27 | 0.002452 | 0.00061453 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4001-55_0_6_load_18 | 28 | 0.0023825 | 0.0005971 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4001-55_0_6_load_20 | 30 | 0.0019352 | 0.00048501 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4001-55_0_6_load_22 | 31 | 0.0043574 | 0.0010921 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4001-55_0_6_load_24 | 32 | 0.0037809 | 0.00094759 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4001-55_0_6_load_23 | 35 | 0.0015737 | 0.00039442 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4001-55_0_6_load_35 | 38 | 0.0042072 | 0.0010544 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4001-55_0_6_load_25 | 39 | 0.0035879 | 0.0008992 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4001-55_0_6_load_26 | 40 | 0.001244 | 0.00031177 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4001-55_0_6_load_62 | 41 | 0.003298 | 0.00082656 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4001-55_0_6_load_61 | 42 | 0.0042348 | 0.0010613 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4001-55_0_6_load_155 | 44 | 0.030774 | 0.0077126 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4001-55_0_6_load_156 | 46 | 0.020177 | 0.0050567 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4001-55_0_6_load_36 | 47 | 0.0053405 | 0.0013385 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4001-55_0_6_load_28 | 48 | 0.0021002 | 0.00052637 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4001-55_0_6_load_95 | 50 | 0.0028583 | 0.00071637 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4001-55_0_6_load_66 | 51 | 0.0018803 | 0.00047126 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4001-55_0_6_load_89 | 52 | 0.0014468 | 0.0003626 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4001-55_0_6_load_102 | 53 | 0.002517 | 0.00063081 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4001-55_0_6_load_64 | 54 | 0.0013649 | 0.00034206 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4001-55_0_6_load_104 | 55 | 0.0053912 | 0.0013512 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4001-55_0_6_load_97 | 59 | 0.0017961 | 0.00045014 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4001-55_0_6_load_110 | 61 | 0.0023354 | 0.0005853 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4001-55_0_6_load_108 | 62 | 0.0057548 | 0.0014423 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4001-55_0_6_load_152 | 63 | 0.015221 | 0.0038148 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4001-55_0_6_load_125 | 66 | 0.0028034 | 0.0007026 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4001-55_0_6_load_153 | 68 | 0.022035 | 0.0055224 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4001-55_0_6_load_157 | 69 | 0.04422 | 0.011083 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4001-55_0_6_load_40 | 70 | 0.0065935 | 0.0016525 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4001-55_0_6_load_41 | 71 | 0.037919 | 0.0095034 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4001-55_0_6_load_86 | 76 | 0.0044222 | 0.0011083 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4001-55_0_6_load_85 | 77 | 0.014929 | 0.0037415 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4001-55_0_6_load_100 | 80 | 0.0050802 | 0.0012732 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4001-55_0_6_load_91 | 83 | 0.0084399 | 0.0021152 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4001-55_0_6_load_151 | 86 | 0.021328 | 0.0053453 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4001-55_0_6_load_150 | 87 | 0.0083793 | 0.0021 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4001-55_0_6_load_63 | 88 | 0.0010658 | 0.00026712 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4001-55_0_6_load_65 | 89 | 0.0019535 | 0.00048958 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4001-55_0_6_load_112 | 90 | 0.017236 | 0.0043198 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4001-55_0_6_load_146 | 93 | 0.02523 | 0.0063233 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4001-55_0_6_load_147 | 94 | 0.0098665 | 0.0024728 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4001-55_0_6_load_141 | 97 | 0.00032002 | 8.0204e-05 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4001-55_0_6_load_128 | 99 | 0.0038452 | 0.00096369 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4001-55_0_6_load_117 | 101 | 0.00021147 | 5.3e-05 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4001-55_0_6_load_78 | 102 | 0.011627 | 0.0029139 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4001-55_0_6_load_107 | 103 | 0.0057727 | 0.0014468 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4001-55_0_6_load_72 | 104 | 0.0039343 | 0.00098602 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4001-55_0_6_load_129 | 107 | 0.0025666 | 0.00064325 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4001-55_0_6_load_90 | 109 | 0.0050614 | 0.0012685 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4001-55_0_6_load_69 | 110 | 0.00077418 | 0.00019403 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4001-55_0_6_load_111 | 111 | 0.011627 | 0.0029141 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4001-55_0_6_load_106 | 112 | 0.0022496 | 0.00056381 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4001-55_0_6_load_116 | 114 | 0.00038653 | 9.6875e-05 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4001-55_0_6_load_113 | 115 | 0.0090661 | 0.0022722 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4001-55_0_6_load_114 | 116 | 0.018938 | 0.0047464 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4001-55_0_6_load_75 | 117 | 0.0019931 | 0.00049952 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4001-55_0_6_load_76 | 118 | 0.0036486 | 0.00091442 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4001-55_0_6_load_70 | 119 | 0.0011693 | 0.00029306 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4001-55_0_6_load_71 | 120 | 0.001244 | 0.00031177 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4001-55_0_6_load_74 | 121 | 0.0018464 | 0.00046275 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4001-55_0_6_load_88 | 122 | 0.0024049 | 0.00060272 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4001-55_0_6_load_87 | 123 | 0.0016784 | 0.00042064 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4001-55_0_6_load_77 | 124 | 0.0089364 | 0.0022397 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_4001-55_0_6_load_124 | 125 | 0.00032483 | 8.141e-05 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_4001-55_0_6_load_119 | 127 | 0.00087659 | 0.00021969 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_4001-55_0_6_load_92 | 129 | 0.020613 | 0.005166 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_4001-55_0_6_load_101 | 130 | 0.0016439 | 0.00041199 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_4001-55_0_6_load_148 | 131 | 0.0017833 | 0.00044695 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_4001-55_0_6_load_115 | 132 | 0.0012568 | 0.00031499 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_4001-55_0_6_load_122 | 134 | 0.00079262 | 0.00019865 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_4001-55_0_6_load_123 | 135 | 0.00047638 | 0.00011939 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_4001-55_0_6_load_131 | 137 | 0.0042092 | 0.0010549 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_4001-55_0_6_load_127 | 138 | 0.0011632 | 0.00029151 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_4001-55_0_6_load_126 | 139 | 0.0014862 | 0.00037247 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_4001-55_0_6_load_145 | 140 | 0.0012014 | 0.00030109 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_4001-55_0_6_load_132 | 141 | 0.00050237 | 0.00012591 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_4001-55_0_6_load_133 | 142 | 0.00069787 | 0.0001749 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_4001-55_0_6_load_134 | 143 | 0.00038265 | 9.5901e-05 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_4001-55_0_6_load_137 | 144 | 0.00018941 | 4.747e-05 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_4001-55_0_6_load_135 | 145 | 0.0009294 | 0.00023293 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_4001-55_0_6_load_136 | 146 | 0.00074534 | 0.0001868 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_4001-55_0_6_load_138 | 147 | 0.00025476 | 6.385e-05 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_4001-55_0_6_load_140 | 148 | 0.00011253 | 2.8203e-05 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_4001-55_0_6_load_142 | 149 | 0.00048199 | 0.0001208 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_4001-55_0_6_load_143 | 150 | 0.00028855 | 7.2317e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 27 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4001-55_0_6_line_0 |  | 0 | 1 | 0.01371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4001-55_0_6_line_1 |  | 1 | 2 | 0.0046116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4001-55_0_6_line_2 |  | 1 | 3 | 0.017982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4001-55_0_6_line_3 |  | 2 | 4 | 0.013621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4001-55_0_6_line_4 |  | 3 | 5 | 0.0018073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4001-55_0_6_line_5 |  | 4 | 6 | 0.0071373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4001-55_0_6_line_6 |  | 4 | 7 | 0.013794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4001-55_0_6_line_7 |  | 5 | 8 | 0.019668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4001-55_0_6_line_8 |  | 6 | 11 | 0.012806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4001-55_0_6_line_9 |  | 7 | 14 | 0.020313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4001-55_0_6_line_10 |  | 8 | 48 | 0.0033883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4001-55_0_6_line_11 |  | 9 | 10 | 0.018895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4001-55_0_6_line_12 |  | 10 | 11 | 0.013453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4001-55_0_6_line_13 |  | 11 | 12 | 0.00679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4001-55_0_6_line_14 |  | 12 | 13 | 0.013139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4001-55_0_6_line_15 |  | 13 | 15 | 0.018799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4001-55_0_6_line_16 |  | 13 | 16 | 0.012725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4001-55_0_6_line_17 |  | 15 | 131 | 0.023453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4001-55_0_6_line_18 |  | 16 | 59 | 0.018287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4001-55_0_6_line_19 |  | 17 | 18 | 0.0050575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4001-55_0_6_line_20 |  | 17 | 19 | 0.017503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4001-55_0_6_line_21 |  | 18 | 20 | 0.014735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4001-55_0_6_line_22 |  | 19 | 21 | 0.003854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4001-55_0_6_line_23 |  | 20 | 22 | 0.014611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4001-55_0_6_line_24 |  | 21 | 23 | 0.020228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4001-55_0_6_line_25 |  | 22 | 24 | 0.005294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4001-55_0_6_line_26 |  | 22 | 25 | 0.036863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4001-55_0_6_line_27 |  | 23 | 26 | 0.0011415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4001-55_0_6_line_28 |  | 24 | 47 | 0.02608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4001-55_0_6_line_29 |  | 25 | 57 | 0.021778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4001-55_0_6_line_30 |  | 26 | 119 | 0.019204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4001-55_0_6_line_31 |  | 27 | 28 | 0.012828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_4001-55_0_6_line_32 |  | 27 | 29 | 0.012422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_4001-55_0_6_line_33 |  | 28 | 30 | 0.010088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_4001-55_0_6_line_34 |  | 29 | 31 | 0.016934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_4001-55_0_6_line_35 |  | 30 | 32 | 0.016229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_4001-55_0_6_line_36 |  | 31 | 33 | 0.0069334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_4001-55_0_6_line_37 |  | 32 | 35 | 0.0087939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_4001-55_0_6_line_38 |  | 33 | 34 | 0.024125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_4001-55_0_6_line_39 |  | 34 | 36 | 0.045012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4001-55_0_6_line_40 |  | 34 | 37 | 0.057712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_4001-55_0_6_line_41 |  | 34 | 38 | 0.012638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4001-55_0_6_line_42 |  | 35 | 39 | 0.021293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_4001-55_0_6_line_43 |  | 36 | 43 | 0.032842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4001-55_0_6_line_44 |  | 36 | 44 | 0.015793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4001-55_0_6_line_45 |  | 37 | 45 | 0.0079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_4001-55_0_6_line_46 |  | 37 | 46 | 0.006835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4001-55_0_6_line_47 |  | 38 | 47 | 0.023252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4001-55_0_6_line_48 |  | 39 | 40 | 0.0083014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_4001-55_0_6_line_49 |  | 40 | 41 | 0.011108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_4001-55_0_6_line_50 |  | 41 | 42 | 0.010223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_4001-55_0_6_line_51 |  | 42 | 88 | 0.0022802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_4001-55_0_6_line_52 |  | 43 | 63 | 0.032467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4001-55_0_6_line_53 |  | 45 | 69 | 0.013794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4001-55_0_6_line_54 |  | 45 | 65 | 0.043958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
55 | LV_4001-55_0_6_line_55 |  | 49 | 50 | 0.02012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4001-55_0_6_line_56 |  | 49 | 51 | 0.017219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4001-55_0_6_line_57 |  | 49 | 52 | 0.018221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4001-55_0_6_line_58 |  | 50 | 53 | 0.018328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4001-55_0_6_line_59 |  | 51 | 54 | 0.01795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4001-55_0_6_line_60 |  | 53 | 130 | 0.0063533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4001-55_0_6_line_61 |  | 54 | 89 | 0.010965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4001-55_0_6_line_62 |  | 55 | 56 | 0.019201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4001-55_0_6_line_63 |  | 56 | 130 | 0.0083321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4001-55_0_6_line_64 |  | 57 | 58 | 0.049324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4001-55_0_6_line_65 |  | 57 | 59 | 0.030364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4001-55_0_6_line_66 |  | 58 | 128 | 0.004183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4001-55_0_6_line_67 |  | 58 | 129 | 0.028792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4001-55_0_6_line_68 |  | 60 | 61 | 0.11815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4001-55_0_6_line_69 |  | 60 | 62 | 0.036424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4001-55_0_6_line_70 |  | 62 | 128 | 0.025979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4001-55_0_6_line_71 |  | 64 | 65 | 0.055381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4001-55_0_6_line_72 |  | 64 | 66 | 0.032328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4001-55_0_6_line_73 |  | 64 | 67 | 0.008409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4001-55_0_6_line_74 |  | 65 | 68 | 0.024799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4001-55_0_6_line_75 |  | 66 | 125 | 0.0085454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4001-55_0_6_line_76 |  | 67 | 102 | 0.01655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4001-55_0_6_line_77 |  | 67 | 98 | 0.09709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4001-55_0_6_line_78 |  | 70 | 71 | 0.015439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4001-55_0_6_line_79 |  | 70 | 72 | 0.024558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4001-55_0_6_line_80 |  | 71 | 73 | 0.019388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4001-55_0_6_line_81 |  | 72 | 74 | 0.049741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4001-55_0_6_line_82 |  | 72 | 75 | 0.032668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
83 | LV_4001-55_0_6_line_83 |  | 73 | 76 | 0.028509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4001-55_0_6_line_84 |  | 73 | 77 | 0.0080486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4001-55_0_6_line_85 |  | 74 | 86 | 0.025164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4001-55_0_6_line_86 |  | 74 | 81 | 0.020825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4001-55_0_6_line_87 |  | 75 | 88 | 0.017478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
88 | LV_4001-55_0_6_line_88 |  | 75 | 89 | 0.026856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4001-55_0_6_line_89 |  | 76 | 80 | 0.019047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4001-55_0_6_line_90 |  | 77 | 84 | 0.010201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4001-55_0_6_line_91 |  | 78 | 79 | 0.003939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4001-55_0_6_line_92 |  | 78 | 80 | 0.013235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4001-55_0_6_line_93 |  | 79 | 103 | 0.023841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4001-55_0_6_line_94 |  | 79 | 104 | 0.0057041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4001-55_0_6_line_95 |  | 81 | 82 | 0.017734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_4001-55_0_6_line_96 |  | 81 | 83 | 0.057086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_4001-55_0_6_line_97 |  | 82 | 90 | 0.034322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_4001-55_0_6_line_98 |  | 83 | 109 | 0.031613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_4001-55_0_6_line_99 |  | 84 | 85 | 0.045407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_4001-55_0_6_line_100 |  | 85 | 87 | 0.013433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_4001-55_0_6_line_101 |  | 90 | 111 | 0.036483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_4001-55_0_6_line_102 |  | 91 | 92 | 0.024564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_4001-55_0_6_line_103 |  | 91 | 93 | 0.048282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_4001-55_0_6_line_104 |  | 92 | 94 | 0.023545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_4001-55_0_6_line_105 |  | 94 | 98 | 0.019988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_4001-55_0_6_line_106 |  | 95 | 96 | 0.20664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_4001-55_0_6_line_107 |  | 95 | 97 | 0.092647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_4001-55_0_6_line_108 |  | 96 | 99 | 0.025936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_4001-55_0_6_line_109 |  | 97 | 113 | 0.096584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_4001-55_0_6_line_110 |  | 99 | 108 | 0.0099479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_4001-55_0_6_line_111 |  | 100 | 101 | 0.03202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_4001-55_0_6_line_112 |  | 100 | 102 | 0.0067915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_4001-55_0_6_line_113 |  | 101 | 114 | 0.0031165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_4001-55_0_6_line_114 |  | 103 | 112 | 0.0052575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_4001-55_0_6_line_115 |  | 104 | 110 | 0.022719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_4001-55_0_6_line_116 |  | 105 | 106 | 0.018402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_4001-55_0_6_line_117 |  | 105 | 107 | 0.029677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_4001-55_0_6_line_118 |  | 106 | 126 | 0.038134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_4001-55_0_6_line_119 |  | 106 | 127 | 0.011856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_4001-55_0_6_line_120 |  | 107 | 108 | 0.013203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_4001-55_0_6_line_121 |  | 109 | 124 | 0.00071957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_4001-55_0_6_line_122 |  | 113 | 148 | 0.049235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_4001-55_0_6_line_123 |  | 113 | 147 | 0.057134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_4001-55_0_6_line_124 |  | 115 | 116 | 0.0023146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_4001-55_0_6_line_125 |  | 116 | 132 | 0.016891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_4001-55_0_6_line_126 |  | 117 | 118 | 0.024629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_4001-55_0_6_line_127 |  | 118 | 124 | 0.03299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_4001-55_0_6_line_128 |  | 119 | 120 | 0.0068245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_4001-55_0_6_line_129 |  | 120 | 121 | 0.013235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_4001-55_0_6_line_130 |  | 121 | 122 | 0.014643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_4001-55_0_6_line_131 |  | 122 | 123 | 0.0064846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_4001-55_0_6_line_132 |  | 125 | 139 | 0.025308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_4001-55_0_6_line_133 |  | 126 | 132 | 0.014461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_4001-55_0_6_line_134 |  | 127 | 133 | 0.026035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_4001-55_0_6_line_135 |  | 133 | 134 | 0.018946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_4001-55_0_6_line_136 |  | 133 | 135 | 0.011792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_4001-55_0_6_line_137 |  | 135 | 136 | 0.021272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_4001-55_0_6_line_138 |  | 136 | 137 | 0.034816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_4001-55_0_6_line_139 |  | 136 | 138 | 0.0084323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_4001-55_0_6_line_140 |  | 137 | 140 | 0.015256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_4001-55_0_6_line_141 |  | 138 | 139 | 0.017449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_4001-55_0_6_line_142 |  | 141 | 142 | 0.01394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_4001-55_0_6_line_143 |  | 142 | 143 | 0.019387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_4001-55_0_6_line_144 |  | 143 | 144 | 0.041104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_4001-55_0_6_line_145 |  | 144 | 145 | 0.025113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_4001-55_0_6_line_146 |  | 145 | 146 | 0.01168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
147 | LV_4001-55_0_6_line_147 |  | 146 | 147 | 0.018986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
148 | LV_4001-55_0_6_line_148 |  | 148 | 149 | 0.02171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
149 | LV_4001-55_0_6_line_149 |  | 149 | 150 | 0.0041701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4001-55_0_6_trafo_17 | 0.63 MVA 20/0.4 kV | 151 | 27 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2648655.7753 | 1250178.1449 | 2648660.7305 | 1250165.3617
1 | 2648655.7753 | 1250178.1449 | 2648660.0417 | 1250179.8954
2 | 2648655.7753 | 1250178.1449 | 2648639.1348 | 1250171.3301
3 | 2648672.6436 | 1250185.0658 | 2648660.0417 | 1250179.8954
4 | 2648637.4623 | 1250170.6452 | 2648639.1348 | 1250171.3301
5 | 2648672.6436 | 1250185.0658 | 2648679.2486 | 1250187.7702
6 | 2648672.6436 | 1250185.0658 | 2648677.8698 | 1250172.3003
7 | 2648619.217 | 1250163.1683 | 2648637.4623 | 1250170.6452
8 | 2648691.0994 | 1250192.6224 | 2648679.2486 | 1250187.7702
9 | 2648685.566 | 1250153.5017 | 2648677.8698 | 1250172.3003
10 | 2648619.217 | 1250163.1683 | 2648616.0819 | 1250161.8832
11 | 2648702.66 | 1250162.4101 | 2648695.9072 | 1250180.0578
12 | 2648691.0994 | 1250192.6224 | 2648695.9072 | 1250180.0578
13 | 2648691.0994 | 1250192.6224 | 2648697.3901 | 1250195.1781
14 | 2648709.5632 | 1250200.1236 | 2648697.3901 | 1250195.1781
15 | 2648709.5632 | 1250200.1236 | 2648716.6881 | 1250182.7267
16 | 2648709.5632 | 1250200.1236 | 2648721.3328 | 1250204.9624
17 | 2648725.5767 | 1250161.0237 | 2648716.6881 | 1250182.7267
18 | 2648721.3328 | 1250204.9624 | 2648738.2459 | 1250211.9158
19 | 2648720.2628 | 1250267.6267 | 2648715.5965 | 1250265.6765
20 | 2648699.4472 | 1250258.9271 | 2648715.5965 | 1250265.6765
21 | 2648720.2628 | 1250267.6267 | 2648733.8586 | 1250273.3088
22 | 2648695.8913 | 1250257.441 | 2648699.4472 | 1250258.9271
23 | 2648747.3398 | 1250278.9431 | 2648733.8586 | 1250273.3088
24 | 2648695.8913 | 1250257.441 | 2648677.228 | 1250249.6409
25 | 2648751.7926 | 1250281.8261 | 2648747.3398 | 1250278.9431
26 | 2648747.3398 | 1250278.9431 | 2648759.2768 | 1250244.0664
27 | 2648676.1748 | 1250249.2008 | 2648677.228 | 1250249.6409
28 | 2648751.7926 | 1250281.8261 | 2648742.085 | 1250306.0316
29 | 2648766.329 | 1250223.4615 | 2648759.2768 | 1250244.0664
30 | 2648676.1748 | 1250249.2008 | 2648658.4559 | 1250241.7954
31 | 2648659.6275 | 1250314.8622 | 2648671.7189 | 1250319.1452
32 | 2648683.4282 | 1250323.2928 | 2648671.7189 | 1250319.1452
33 | 2648659.6275 | 1250314.8622 | 2648650.1181 | 1250311.4938
34 | 2648683.4282 | 1250323.2928 | 2648699.3908 | 1250328.946
35 | 2648634.8358 | 1250306.032 | 2648641.1714 | 1250308.3248 | 2648650.1181 | 1250311.4938
36 | 2648705.9265 | 1250331.2607 | 2648699.3908 | 1250328.946
37 | 2648626.5668 | 1250303.0395 | 2648634.8358 | 1250306.032
38 | 2648705.9265 | 1250331.2607 | 2648728.7257 | 1250339.3423
39 | 2648728.7257 | 1250339.3423 | 2648739.0678 | 1250343.9193 | 2648746.1762 | 1250352.4947 | 2648750.4275 | 1250356.0098 | 2648761.0242 | 1250358.0872 | 2648767.2138 | 1250357.2264
40 | 2648724.8175 | 1250378.5591 | 2648728.9552 | 1250366.5183 | 2648738.1306 | 1250361.4902 | 2648746.1762 | 1250352.4947 | 2648739.0678 | 1250343.9193 | 2648728.7257 | 1250339.3423
41 | 2648728.7257 | 1250339.3423 | 2648733.43 | 1250327.6123
42 | 2648626.5668 | 1250303.0395 | 2648606.5444 | 1250295.7936
43 | 2648767.2138 | 1250357.2264 | 2648783.0562 | 1250361.2261 | 2648787.0088 | 1250351.4964 | 2648787.8504 | 1250345.5548
44 | 2648770.1346 | 1250341.7065 | 2648767.2138 | 1250357.2264
45 | 2648724.8175 | 1250378.5591 | 2648723.0775 | 1250383.6149 | 2648720.7735 | 1250384.7301
46 | 2648721.4317 | 1250372.6161 | 2648724.8175 | 1250378.5591
47 | 2648733.43 | 1250327.6123 | 2648742.085 | 1250306.0316
48 | 2648598.7385 | 1250292.9687 | 2648606.5444 | 1250295.7936
49 | 2648588.2934 | 1250289.1887 | 2648598.7385 | 1250292.9687
50 | 2648578.6808 | 1250285.71 | 2648588.2934 | 1250289.1887
51 | 2648578.6808 | 1250285.71 | 2648576.5366 | 1250284.934
52 | 2648814.6465 | 1250327.5186 | 2648807.7144 | 1250334.1994 | 2648797.7359 | 1250340.4883 | 2648787.8504 | 1250345.5548
53 | 2648714.8659 | 1250397.2012 | 2648720.7735 | 1250384.7301
54 | 2648720.7735 | 1250384.7301 | 2648729.6066 | 1250389.2057 | 2648750.2323 | 1250393.5115 | 2648763.0897 | 1250396.0522
55 | 2648578.3309 | 1250208.3084 | 2648559.8177 | 1250200.431
56 | 2648578.3309 | 1250208.3084 | 2648574.0305 | 1250224.982
57 | 2648578.3309 | 1250208.3084 | 2648595.1428 | 1250215.3347
58 | 2648542.9529 | 1250193.255 | 2648559.8177 | 1250200.431
59 | 2648569.5477 | 1250242.3629 | 2648574.0305 | 1250224.982
60 | 2648537.1068 | 1250190.7674 | 2648542.9529 | 1250193.255
61 | 2648569.5477 | 1250242.3629 | 2648566.8093 | 1250252.98
62 | 2648529.4399 | 1250187.5051 | 2648511.7995 | 1250179.923
63 | 2648529.4399 | 1250187.5051 | 2648537.1068 | 1250190.7674
64 | 2648783.3934 | 1250177.1703 | 2648766.329 | 1250223.4615
65 | 2648766.329 | 1250223.4615 | 2648738.2459 | 1250211.9158
66 | 2648783.3934 | 1250177.1703 | 2648784.845 | 1250173.2463
67 | 2648783.3934 | 1250177.1703 | 2648756.7053 | 1250166.3665
68 | 2648844.5136 | 1250191.5165 | 2648878.0247 | 1250199.6759 | 2648916.2269 | 1250209.2751 | 2648932.8394 | 1250205.9766 | 2648952.538 | 1250187.0258
69 | 2648844.5136 | 1250191.5165 | 2648809.6856 | 1250180.8523
70 | 2648784.845 | 1250173.2463 | 2648809.6856 | 1250180.8523
71 | 2648763.0897 | 1250396.0522 | 2648777.3969 | 1250398.5382 | 2648768.9681 | 1250438.5184
72 | 2648768.9681 | 1250438.5184 | 2648771.1429 | 1250437.5022 | 2648774.7563 | 1250436.8871 | 2648784.8087 | 1250437.2033 | 2648800.933 | 1250438.8166
73 | 2648763.1882 | 1250444.6417 | 2648768.9681 | 1250438.5184
74 | 2648763.0897 | 1250396.0522 | 2648762.9935 | 1250401.3217 | 2648757.5128 | 1250411.4502 | 2648752.6367 | 1250417.8256
75 | 2648800.933 | 1250438.8166 | 2648809.4359 | 1250439.6674
76 | 2648763.1882 | 1250444.6417 | 2648769.4019 | 1250450.0186 | 2648771.7184 | 1250458.0231
77 | 2648689.5628 | 1250415.5058 | 2648691.9361 | 1250408.7207 | 2648696.9318 | 1250410.752 | 2648716.278 | 1250422.8636 | 2648735.554 | 1250437.0649 | 2648748.3651 | 1250447.9887 | 2648754.5988 | 1250453.6772 | 2648763.1882 | 1250444.6417
78 | 2648524.51 | 1250298.4396 | 2648524.4176 | 1250298.4172 | 2648511.0361 | 1250305.9263
79 | 2648548.3756 | 1250304.2283 | 2648524.51 | 1250298.4396
80 | 2648494.128 | 1250315.4144 | 2648511.0361 | 1250305.9263
81 | 2648545.2228 | 1250332.4773 | 2648544.0839 | 1250336.0482 | 2648535.4255 | 1250338.7903 | 2648545.1533 | 1250313.3192 | 2648548.3756 | 1250304.2283
82 | 2648548.3756 | 1250304.2283 | 2648551.5824 | 1250295.204 | 2648552.5885 | 1250285.728 | 2648557.9244 | 1250286.8058 | 2648560.1022 | 1250278.9849
83 | 2648494.128 | 1250315.4144 | 2648494.3241 | 1250314.5154 | 2648487.4845 | 1250309.0112 | 2648491.6807 | 1250290.6775 | 2648491.6811 | 1250290.6761
84 | 2648494.128 | 1250315.4144 | 2648492.4489 | 1250323.2859
85 | 2648545.2228 | 1250332.4773 | 2648569.4421 | 1250339.5582
86 | 2648538.2005 | 1250352.0553 | 2648542.0428 | 1250342.8472 | 2648544.0839 | 1250336.0482 | 2648545.2228 | 1250332.4773
87 | 2648560.1022 | 1250278.9849 | 2648565.1902 | 1250280.8279 | 2648576.5366 | 1250284.934
88 | 2648560.1022 | 1250278.9849 | 2648566.8093 | 1250252.98
89 | 2648497.1971 | 1250272.4457 | 2648491.6811 | 1250290.6761
90 | 2648490.3208 | 1250333.262 | 2648492.4489 | 1250323.2859
91 | 2648502.1706 | 1250256.0064 | 2648501.0301 | 1250259.7774
92 | 2648501.0301 | 1250259.7774 | 2648497.1971 | 1250272.4457
93 | 2648502.1706 | 1250256.0064 | 2648480.0091 | 1250247.2165
94 | 2648502.1706 | 1250256.0064 | 2648507.4729 | 1250258.1095
95 | 2648531.7021 | 1250368.5134 | 2648534.1118 | 1250363.7076 | 2648535.1811 | 1250361.2591 | 2648538.2005 | 1250352.0553
96 | 2648538.2005 | 1250352.0553 | 2648544.6234 | 1250354.9654 | 2648547.2596 | 1250362.1475 | 2648551.1816 | 1250364.4033 | 2648587.6865 | 1250374.4413
97 | 2648531.7021 | 1250368.5134 | 2648499.6399 | 1250356.265
98 | 2648618.467 | 1250381.6446 | 2648611.4304 | 1250379.8963 | 2648587.9824 | 1250374.5227 | 2648587.6865 | 1250374.4413
99 | 2648490.3208 | 1250333.262 | 2648487.4893 | 1250340.7217 | 2648479.3795 | 1250337.3087 | 2648466.8481 | 1250329.9457 | 2648453.7557 | 1250324.7241
100 | 2648453.7557 | 1250324.7241 | 2648454.0877 | 1250323.8262 | 2648458.4108 | 1250312.1202
101 | 2648466.1092 | 1250341.8913 | 2648498.0337 | 1250355.6514 | 2648499.6399 | 1250356.265
102 | 2648649.1349 | 1250402.2095 | 2648638.9142 | 1250401.2361 | 2648638.0783 | 1250402.8303 | 2648631.6422 | 1250403.3779 | 2648625.7811 | 1250401.9289
103 | 2648625.7811 | 1250401.9289 | 2648616.7108 | 1250399.6752 | 2648594.3964 | 1250403.3726 | 2648579.0145 | 1250408.8169
104 | 2648649.1349 | 1250402.2095 | 2648658.2532 | 1250405.9646 | 2648660.5518 | 1250404.5936 | 2648670.8546 | 1250408.4689
105 | 2648689.5628 | 1250415.5058 | 2648670.8546 | 1250408.4689
106 | 2648762.5436 | 1250688.1244 | 2648763.6705 | 1250686.0322 | 2648766.5598 | 1250683.4876 | 2648769.4219 | 1250681.5097 | 2648776.3994 | 1250677.5088 | 2648800.8832 | 1250672.429 | 2648833.5517 | 1250669.8406 | 2648841.5286 | 1250668.2274 | 2648833.5877 | 1250610.5005 | 2648831.461 | 1250573.6134 | 2648835.1604 | 1250571.7092 | 2648838.0835 | 1250568.7424 | 2648843.2159 | 1250565.16 | 2648851.5637 | 1250575.3468
107 | 2648762.5436 | 1250688.1244 | 2648750.309 | 1250729.2407 | 2648745.8467 | 1250739.4888 | 2648739.5998 | 1250745.5193 | 2648728.1156 | 1250746.8147 | 2648709.8224 | 1250747.998
108 | 2648851.5637 | 1250575.3468 | 2648860.0324 | 1250562.6301 | 2648863.9862 | 1250552.7331
109 | 2648615.3003 | 1250762.1215 | 2648620.98 | 1250758.0319 | 2648642.2265 | 1250753.6921 | 2648672.1279 | 1250749.7458 | 2648682.8865 | 1250749.4784 | 2648702.9511 | 1250748.4424 | 2648709.8224 | 1250747.998
110 | 2648867.3925 | 1250543.3888 | 2648865.1503 | 1250549.8191 | 2648863.9862 | 1250552.7331
111 | 2648774.5772 | 1250464.1597 | 2648780.1596 | 1250470.0985 | 2648790.3527 | 1250480.823 | 2648795.6289 | 1250488.2048 | 2648795.6289 | 1250488.2048
112 | 2648774.5772 | 1250464.1597 | 2648772.1177 | 1250459.4029 | 2648771.7184 | 1250458.0231
113 | 2648795.6289 | 1250488.2048 | 2648796.6921 | 1250491.1343
114 | 2648475.122 | 1250245.2781 | 2648480.0091 | 1250247.2165
115 | 2648528.5908 | 1250266.486 | 2648507.4729 | 1250258.1095
116 | 2648886.004 | 1250485.2359 | 2648882.4807 | 1250503.2969
117 | 2648882.4807 | 1250503.2969 | 2648875.9889 | 1250517.9312 | 2648871.7023 | 1250530.9089
118 | 2648864.0543 | 1250509.7161 | 2648867.1144 | 1250507.5287 | 2648872.2248 | 1250490.1479 | 2648872.7375 | 1250488.3954 | 2648875.3951 | 1250485.5932 | 2648886.004 | 1250485.2359
119 | 2648886.004 | 1250485.2359 | 2648888.2776 | 1250473.6005
120 | 2648867.3925 | 1250543.3888 | 2648871.158 | 1250532.5569 | 2648871.7023 | 1250530.9089
121 | 2648618.467 | 1250381.6446 | 2648619.1653 | 1250381.8181
122 | 2648615.3003 | 1250762.1215 | 2648608.3689 | 1250753.1586 | 2648592.7813 | 1250718.6072
123 | 2648615.3003 | 1250762.1215 | 2648614.8679 | 1250768.8225 | 2648626.9062 | 1250802.0994 | 2648632.6343 | 1250815.9964
124 | 2648832.4651 | 1250519.0373 | 2648834.5508 | 1250518.0338
125 | 2648849.7715 | 1250510.7103 | 2648834.5508 | 1250518.0338
126 | 2648674.7427 | 1250396.8729 | 2648661.3171 | 1250392.2916 | 2648651.1815 | 1250389.7732
127 | 2648651.1815 | 1250389.7732 | 2648619.1653 | 1250381.8181
128 | 2648658.4559 | 1250241.7954 | 2648652.1593 | 1250239.1638
129 | 2648652.1593 | 1250239.1638 | 2648639.9475 | 1250234.0601
130 | 2648626.4366 | 1250228.4135 | 2648639.9475 | 1250234.0601
131 | 2648620.4535 | 1250225.9129 | 2648626.4366 | 1250228.4135
132 | 2648834.6178 | 1250442.1871 | 2648809.4359 | 1250439.6674
133 | 2648849.7715 | 1250510.7103 | 2648855.1325 | 1250511.4549 | 2648864.0543 | 1250509.7161
134 | 2648893.2707 | 1250448.0483 | 2648888.2776 | 1250473.6005
135 | 2648893.2707 | 1250448.0483 | 2648912.0879 | 1250450.2493
136 | 2648893.2707 | 1250448.0483 | 2648881.5368 | 1250446.8769
137 | 2648860.37 | 1250444.7638 | 2648881.5368 | 1250446.8769
138 | 2648860.37 | 1250444.7638 | 2648868.8163 | 1250410.9882
139 | 2648860.37 | 1250444.7638 | 2648851.9796 | 1250443.9243
140 | 2648884.0714 | 1250411.114 | 2648868.8163 | 1250410.9882
141 | 2648834.6178 | 1250442.1871 | 2648851.9796 | 1250443.9243
142 | 2648626.3714 | 1250918.6576 | 2648636.5876 | 1250909.174 | 2648636.5876 | 1250909.174
143 | 2648636.5876 | 1250909.174 | 2648652.5099 | 1250898.1139
144 | 2648652.5099 | 1250898.1139 | 2648663.1805 | 1250890.7018 | 2648665.947 | 1250876.4481 | 2648658.3523 | 1250865.1755
145 | 2648644.3206 | 1250844.3488 | 2648644.3206 | 1250844.3488 | 2648658.3523 | 1250865.1755
146 | 2648644.3206 | 1250844.3488 | 2648639.8697 | 1250833.5503
147 | 2648639.8697 | 1250833.5503 | 2648632.6343 | 1250815.9964
148 | 2648583.8534 | 1250698.8177 | 2648592.7813 | 1250718.6072
149 | 2648583.8534 | 1250698.8177 | 2648582.1385 | 1250695.0166

## bus_geodata
| x | y | coords
0 | 2648660.7305 | 1250165.3617
1 | 2648655.7753 | 1250178.1449
2 | 2648660.0417 | 1250179.8954
3 | 2648639.1348 | 1250171.3301
4 | 2648672.6436 | 1250185.0658
5 | 2648637.4623 | 1250170.6452
6 | 2648679.2486 | 1250187.7702
7 | 2648677.8698 | 1250172.3003
8 | 2648619.217 | 1250163.1683
9 | 2648702.66 | 1250162.4101
10 | 2648695.9072 | 1250180.0578
11 | 2648691.0994 | 1250192.6224
12 | 2648697.3901 | 1250195.1781
13 | 2648709.5632 | 1250200.1236
14 | 2648685.566 | 1250153.5017
15 | 2648716.6881 | 1250182.7267
16 | 2648721.3328 | 1250204.9624
17 | 2648715.5965 | 1250265.6765
18 | 2648720.2628 | 1250267.6267
19 | 2648699.4472 | 1250258.9271
20 | 2648733.8586 | 1250273.3088
21 | 2648695.8913 | 1250257.441
22 | 2648747.3398 | 1250278.9431
23 | 2648677.228 | 1250249.6409
24 | 2648751.7926 | 1250281.8261
25 | 2648759.2768 | 1250244.0664
26 | 2648676.1748 | 1250249.2008
27 | 2648671.7189 | 1250319.1452
28 | 2648659.6275 | 1250314.8622
29 | 2648683.4282 | 1250323.2928
30 | 2648650.1181 | 1250311.4938
31 | 2648699.3908 | 1250328.946
32 | 2648634.8358 | 1250306.032
33 | 2648705.9265 | 1250331.2607
34 | 2648728.7257 | 1250339.3423
35 | 2648626.5668 | 1250303.0395
36 | 2648767.2138 | 1250357.2264
37 | 2648724.8175 | 1250378.5591
38 | 2648733.43 | 1250327.6123
39 | 2648606.5444 | 1250295.7936
40 | 2648598.7385 | 1250292.9687
41 | 2648588.2934 | 1250289.1887
42 | 2648578.6808 | 1250285.71
43 | 2648787.8504 | 1250345.5548
44 | 2648770.1346 | 1250341.7065
45 | 2648720.7735 | 1250384.7301
46 | 2648721.4317 | 1250372.6161
47 | 2648742.085 | 1250306.0316
48 | 2648616.0819 | 1250161.8832
49 | 2648578.3309 | 1250208.3084
50 | 2648559.8177 | 1250200.431
51 | 2648574.0305 | 1250224.982
52 | 2648595.1428 | 1250215.3347
53 | 2648542.9529 | 1250193.255
54 | 2648569.5477 | 1250242.3629
55 | 2648511.7995 | 1250179.923
56 | 2648529.4399 | 1250187.5051
57 | 2648766.329 | 1250223.4615
58 | 2648783.3934 | 1250177.1703
59 | 2648738.2459 | 1250211.9158
60 | 2648844.5136 | 1250191.5165
61 | 2648952.538 | 1250187.0258
62 | 2648809.6856 | 1250180.8523
63 | 2648814.6465 | 1250327.5186
64 | 2648768.9681 | 1250438.5183
65 | 2648763.0897 | 1250396.0522
66 | 2648800.933 | 1250438.8166
67 | 2648763.1882 | 1250444.6417
68 | 2648752.6367 | 1250417.8256
69 | 2648714.8659 | 1250397.2012
70 | 2648524.51 | 1250298.4396
71 | 2648511.0361 | 1250305.9263
72 | 2648548.3756 | 1250304.2283
73 | 2648494.128 | 1250315.4144
74 | 2648545.2228 | 1250332.4773
75 | 2648560.1022 | 1250278.9849
76 | 2648491.6811 | 1250290.6761
77 | 2648492.4489 | 1250323.2859
78 | 2648501.0301 | 1250259.7774
79 | 2648502.1706 | 1250256.0064
80 | 2648497.1971 | 1250272.4457
81 | 2648538.2005 | 1250352.0553
82 | 2648531.7021 | 1250368.5134
83 | 2648587.6865 | 1250374.4413
84 | 2648490.3208 | 1250333.262
85 | 2648453.7557 | 1250324.7241
86 | 2648569.4421 | 1250339.5582
87 | 2648458.4108 | 1250312.1202
88 | 2648576.5366 | 1250284.934
89 | 2648566.8093 | 1250252.98
90 | 2648499.6399 | 1250356.265
91 | 2648625.7811 | 1250401.9289
92 | 2648649.1349 | 1250402.2095
93 | 2648579.0145 | 1250408.8169
94 | 2648670.8546 | 1250408.4689
95 | 2648762.5436 | 1250688.1244
96 | 2648851.5637 | 1250575.3468
97 | 2648709.8224 | 1250747.998
98 | 2648689.5628 | 1250415.5058
99 | 2648863.9862 | 1250552.7331
100 | 2648774.5772 | 1250464.1597
101 | 2648795.6289 | 1250488.2048
102 | 2648771.7183 | 1250458.0231
103 | 2648480.0091 | 1250247.2165
104 | 2648507.4729 | 1250258.1095
105 | 2648882.4807 | 1250503.2969
106 | 2648886.004 | 1250485.2359
107 | 2648871.7023 | 1250530.9089
108 | 2648867.3925 | 1250543.3888
109 | 2648618.467 | 1250381.6446
110 | 2648528.5908 | 1250266.486
111 | 2648466.1092 | 1250341.8913
112 | 2648475.122 | 1250245.2781
113 | 2648615.3003 | 1250762.1215
114 | 2648796.6921 | 1250491.1343
115 | 2648832.4651 | 1250519.0373
116 | 2648834.5508 | 1250518.0338
117 | 2648674.7427 | 1250396.8729
118 | 2648651.1815 | 1250389.7732
119 | 2648658.4559 | 1250241.7954
120 | 2648652.1593 | 1250239.1638
121 | 2648639.9475 | 1250234.0601
122 | 2648626.4366 | 1250228.4135
123 | 2648620.4535 | 1250225.9129
124 | 2648619.1653 | 1250381.8181
125 | 2648809.4359 | 1250439.6674
126 | 2648864.0543 | 1250509.7161
127 | 2648888.2776 | 1250473.6005
128 | 2648784.845 | 1250173.2463
129 | 2648756.7053 | 1250166.3665
130 | 2648537.1068 | 1250190.7674
131 | 2648725.5767 | 1250161.0237
132 | 2648849.7715 | 1250510.7103
133 | 2648893.2707 | 1250448.0483
134 | 2648912.0879 | 1250450.2493
135 | 2648881.5368 | 1250446.8769
136 | 2648860.37 | 1250444.7638
137 | 2648868.8163 | 1250410.9882
138 | 2648851.9796 | 1250443.9243
139 | 2648834.6178 | 1250442.1871
140 | 2648884.0714 | 1250411.114
141 | 2648626.3714 | 1250918.6576
142 | 2648636.5876 | 1250909.174
143 | 2648652.5099 | 1250898.1139
144 | 2648658.3523 | 1250865.1755
145 | 2648644.3206 | 1250844.3488
146 | 2648639.8697 | 1250833.5503
147 | 2648632.6343 | 1250815.9964
148 | 2648592.7813 | 1250718.6072
149 | 2648583.8534 | 1250698.8177
150 | 2648582.1385 | 1250695.0165
151 | 2648683.4282 | 1250323.2928

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1