## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4001-58_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4001-58_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4001-58_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4001-58_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4001-58_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4001-58_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_4001-58_0_2_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_4001-58_0_2_node_54 | 0.4 | n |  | TRUE
8 | bus_LV_4001-58_0_2_node_102 | 0.4 | n |  | TRUE
9 | bus_LV_4001-58_0_2_node_98 | 0.4 | n |  | TRUE
10 | bus_LV_4001-58_0_2_node_55 | 0.4 | n |  | TRUE
11 | bus_LV_4001-58_0_2_node_56 | 0.4 | n |  | TRUE
12 | bus_LV_4001-58_0_2_node_99 | 0.4 | n |  | TRUE
13 | bus_LV_4001-58_0_2_node_97 | 0.4 | n |  | TRUE
14 | bus_LV_4001-58_0_2_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_4001-58_0_2_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_4001-58_0_2_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_4001-58_0_2_node_85 | 0.4 | n |  | TRUE
18 | bus_LV_4001-58_0_2_node_58 | 0.4 | n |  | TRUE
19 | bus_LV_4001-58_0_2_node_96 | 0.4 | n |  | TRUE
20 | bus_LV_4001-58_0_2_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_4001-58_0_2_node_10 | 0.4 | n |  | TRUE
22 | bus_LV_4001-58_0_2_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_4001-58_0_2_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_4001-58_0_2_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_4001-58_0_2_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_4001-58_0_2_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_4001-58_0_2_node_28 | 0.4 | n |  | TRUE
28 | bus_LV_4001-58_0_2_node_89 | 0.4 | n |  | TRUE
29 | bus_LV_4001-58_0_2_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_4001-58_0_2_node_57 | 0.4 | n |  | TRUE
31 | bus_LV_4001-58_0_2_node_59 | 0.4 | n |  | TRUE
32 | bus_LV_4001-58_0_2_node_29 | 0.4 | n |  | TRUE
33 | bus_LV_4001-58_0_2_node_100 | 0.4 | n |  | TRUE
34 | bus_LV_4001-58_0_2_node_18 | 0.4 | n |  | TRUE
35 | bus_LV_4001-58_0_2_node_17 | 0.4 | n |  | TRUE
36 | bus_LV_4001-58_0_2_node_19 | 0.4 | n |  | TRUE
37 | bus_LV_4001-58_0_2_node_21 | 0.4 | n |  | TRUE
38 | bus_LV_4001-58_0_2_node_26 | 0.4 | n |  | TRUE
39 | bus_LV_4001-58_0_2_node_38 | 0.4 | n |  | TRUE
40 | bus_LV_4001-58_0_2_node_48 | 0.4 | n |  | TRUE
41 | bus_LV_4001-58_0_2_node_47 | 0.4 | n |  | TRUE
42 | bus_LV_4001-58_0_2_node_24 | 0.4 | n |  | TRUE
43 | bus_LV_4001-58_0_2_node_39 | 0.4 | n |  | TRUE
44 | bus_LV_4001-58_0_2_node_22 | 0.4 | n |  | TRUE
45 | bus_LV_4001-58_0_2_node_23 | 0.4 | n |  | TRUE
46 | bus_LV_4001-58_0_2_node_25 | 0.4 | n |  | TRUE
47 | bus_LV_4001-58_0_2_node_27 | 0.4 | n |  | TRUE
48 | bus_LV_4001-58_0_2_node_49 | 0.4 | n |  | TRUE
49 | bus_LV_4001-58_0_2_node_43 | 0.4 | n |  | TRUE
50 | bus_LV_4001-58_0_2_node_92 | 0.4 | n |  | TRUE
51 | bus_LV_4001-58_0_2_node_50 | 0.4 | n |  | TRUE
52 | bus_LV_4001-58_0_2_node_53 | 0.4 | n |  | TRUE
53 | bus_LV_4001-58_0_2_node_52 | 0.4 | n |  | TRUE
54 | bus_LV_4001-58_0_2_node_41 | 0.4 | n |  | TRUE
55 | bus_LV_4001-58_0_2_node_30 | 0.4 | n |  | TRUE
56 | bus_LV_4001-58_0_2_node_51 | 0.4 | n |  | TRUE
57 | bus_LV_4001-58_0_2_node_101 | 0.4 | n |  | TRUE
58 | bus_LV_4001-58_0_2_node_31 | 0.4 | n |  | TRUE
59 | bus_LV_4001-58_0_2_node_32 | 0.4 | n |  | TRUE
60 | bus_LV_4001-58_0_2_node_33 | 0.4 | n |  | TRUE
61 | bus_LV_4001-58_0_2_node_34 | 0.4 | n |  | TRUE
62 | bus_LV_4001-58_0_2_node_35 | 0.4 | n |  | TRUE
63 | bus_LV_4001-58_0_2_node_36 | 0.4 | n |  | TRUE
64 | bus_LV_4001-58_0_2_node_37 | 0.4 | n |  | TRUE
65 | bus_LV_4001-58_0_2_node_93 | 0.4 | n |  | TRUE
66 | bus_LV_4001-58_0_2_node_91 | 0.4 | n |  | TRUE
67 | bus_LV_4001-58_0_2_node_40 | 0.4 | n |  | TRUE
68 | bus_LV_4001-58_0_2_node_42 | 0.4 | n |  | TRUE
69 | bus_LV_4001-58_0_2_node_44 | 0.4 | n |  | TRUE
70 | bus_LV_4001-58_0_2_node_45 | 0.4 | n |  | TRUE
71 | bus_LV_4001-58_0_2_node_69 | 0.4 | n |  | TRUE
72 | bus_LV_4001-58_0_2_node_46 | 0.4 | n |  | TRUE
73 | bus_LV_4001-58_0_2_node_67 | 0.4 | n |  | TRUE
74 | bus_LV_4001-58_0_2_node_75 | 0.4 | n |  | TRUE
75 | bus_LV_4001-58_0_2_node_73 | 0.4 | n |  | TRUE
76 | bus_LV_4001-58_0_2_node_95 | 0.4 | n |  | TRUE
77 | bus_LV_4001-58_0_2_node_60 | 0.4 | n |  | TRUE
78 | bus_LV_4001-58_0_2_node_61 | 0.4 | n |  | TRUE
79 | bus_LV_4001-58_0_2_node_62 | 0.4 | n |  | TRUE
80 | bus_LV_4001-58_0_2_node_63 | 0.4 | n |  | TRUE
81 | bus_LV_4001-58_0_2_node_64 | 0.4 | n |  | TRUE
82 | bus_LV_4001-58_0_2_node_65 | 0.4 | n |  | TRUE
83 | bus_LV_4001-58_0_2_node_80 | 0.4 | n |  | TRUE
84 | bus_LV_4001-58_0_2_node_79 | 0.4 | n |  | TRUE
85 | bus_LV_4001-58_0_2_node_84 | 0.4 | n |  | TRUE
86 | bus_LV_4001-58_0_2_node_81 | 0.4 | n |  | TRUE
87 | bus_LV_4001-58_0_2_node_88 | 0.4 | n |  | TRUE
88 | bus_LV_4001-58_0_2_node_82 | 0.4 | n |  | TRUE
89 | bus_LV_4001-58_0_2_node_66 | 0.4 | n |  | TRUE
90 | bus_LV_4001-58_0_2_node_68 | 0.4 | n |  | TRUE
91 | bus_LV_4001-58_0_2_node_70 | 0.4 | n |  | TRUE
92 | bus_LV_4001-58_0_2_node_78 | 0.4 | n |  | TRUE
93 | bus_LV_4001-58_0_2_node_90 | 0.4 | n |  | TRUE
94 | bus_LV_4001-58_0_2_node_76 | 0.4 | n |  | TRUE
95 | bus_LV_4001-58_0_2_node_72 | 0.4 | n |  | TRUE
96 | bus_LV_4001-58_0_2_node_77 | 0.4 | n |  | TRUE
97 | bus_LV_4001-58_0_2_node_87 | 0.4 | n |  | TRUE
98 | bus_LV_4001-58_0_2_node_83 | 0.4 | n |  | TRUE
99 | bus_LV_4001-58_0_2_node_94 | 0.4 | n |  | TRUE
100 | bus_MV_522_0_node_97 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4001-58_0_2_load_0 | 0 | 0.0019241 | 0.00048222 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4001-58_0_2_load_3 | 3 | 0.00072647 | 0.00018207 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4001-58_0_2_load_4 | 4 | 0.0016763 | 0.00042013 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4001-58_0_2_load_6 | 6 | 0.0040509 | 0.0010152 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4001-58_0_2_load_102 | 8 | 0.0017475 | 0.00043796 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4001-58_0_2_load_55 | 10 | 0.0012701 | 0.00031832 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4001-58_0_2_load_56 | 11 | 0.0017576 | 0.00044051 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4001-58_0_2_load_99 | 12 | 0.0029566 | 0.000741 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4001-58_0_2_load_97 | 13 | 0.0016285 | 0.00040815 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4001-58_0_2_load_7 | 14 | 0.0046786 | 0.0011726 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4001-58_0_2_load_85 | 17 | 0.0028569 | 0.00071601 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4001-58_0_2_load_96 | 19 | 0.0012365 | 0.00030991 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4001-58_0_2_load_10 | 21 | 0.0012203 | 0.00030584 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4001-58_0_2_load_16 | 25 | 0.0031881 | 0.00079902 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4001-58_0_2_load_28 | 27 | 0.010671 | 0.0026744 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4001-58_0_2_load_89 | 28 | 0.0064943 | 0.0016276 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4001-58_0_2_load_57 | 30 | 0.0089771 | 0.0022499 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4001-58_0_2_load_59 | 31 | 0.0054633 | 0.0013692 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4001-58_0_2_load_29 | 32 | 0.010666 | 0.0026731 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4001-58_0_2_load_100 | 33 | 0.0017145 | 0.0004297 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4001-58_0_2_load_17 | 35 | 0.01078 | 0.0027016 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4001-58_0_2_load_19 | 36 | 0.010253 | 0.0025696 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4001-58_0_2_load_38 | 39 | 0.0018585 | 0.0004658 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4001-58_0_2_load_47 | 41 | 0.0028158 | 0.00070572 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4001-58_0_2_load_39 | 43 | 0.0011306 | 0.00028336 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4001-58_0_2_load_22 | 44 | 0.0018295 | 0.00045852 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4001-58_0_2_load_23 | 45 | 0.0019764 | 0.00049534 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4001-58_0_2_load_25 | 46 | 0.0019309 | 0.00048394 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4001-58_0_2_load_92 | 50 | 0.0094277 | 0.0023628 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4001-58_0_2_load_50 | 51 | 0.0027856 | 0.00069814 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4001-58_0_2_load_53 | 52 | 0.0023754 | 0.00059533 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4001-58_0_2_load_52 | 53 | 0.0041988 | 0.0010523 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4001-58_0_2_load_41 | 54 | 0.0044077 | 0.0011047 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4001-58_0_2_load_101 | 57 | 0.021329 | 0.0053457 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4001-58_0_2_load_31 | 58 | 0.003944 | 0.00098847 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4001-58_0_2_load_34 | 61 | 0.0018112 | 0.00045392 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4001-58_0_2_load_36 | 63 | 0.0020977 | 0.00052573 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4001-58_0_2_load_37 | 64 | 0.0027963 | 0.00070081 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4001-58_0_2_load_93 | 65 | 0.0023585 | 0.0005911 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4001-58_0_2_load_91 | 66 | 0.0022324 | 0.0005595 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4001-58_0_2_load_40 | 67 | 0.0045186 | 0.0011325 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4001-58_0_2_load_69 | 71 | 0.015504 | 0.0038858 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4001-58_0_2_load_46 | 72 | 0.0021281 | 0.00053335 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4001-58_0_2_load_95 | 76 | 0.0010941 | 0.00027422 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4001-58_0_2_load_60 | 77 | 0.0026885 | 0.0006738 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4001-58_0_2_load_61 | 78 | 0.0026884 | 0.00067377 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4001-58_0_2_load_63 | 80 | 0.0026893 | 0.00067401 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4001-58_0_2_load_65 | 82 | 0.0056057 | 0.0014049 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4001-58_0_2_load_80 | 83 | 0.0034189 | 0.00085686 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4001-58_0_2_load_79 | 84 | 0.0026305 | 0.00065926 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4001-58_0_2_load_84 | 85 | 0.0022735 | 0.0005698 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4001-58_0_2_load_81 | 86 | 0.0049281 | 0.0012351 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4001-58_0_2_load_88 | 87 | 0.0026907 | 0.00067435 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4001-58_0_2_load_82 | 88 | 0.0033552 | 0.00084088 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4001-58_0_2_load_66 | 89 | 0.0038469 | 0.00096411 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4001-58_0_2_load_90 | 93 | 0.0044533 | 0.0011161 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4001-58_0_2_load_76 | 94 | 0.0010235 | 0.0002565 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4001-58_0_2_load_72 | 95 | 0.00071732 | 0.00017978 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4001-58_0_2_load_77 | 96 | 0.0039158 | 0.00098139 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4001-58_0_2_load_87 | 97 | 0.0016331 | 0.00040928 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4001-58_0_2_load_94 | 99 | 0.00095548 | 0.00023947 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 53 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4001-58_0_2_line_0 |  | 0 | 1 | 0.012297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4001-58_0_2_line_1 |  | 0 | 2 | 0.0022465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4001-58_0_2_line_2 |  | 1 | 3 | 0.011404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4001-58_0_2_line_3 |  | 1 | 4 | 0.011433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4001-58_0_2_line_4 |  | 2 | 5 | 0.004889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4001-58_0_2_line_5 |  | 2 | 6 | 0.011081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4001-58_0_2_line_6 |  | 3 | 7 | 0.017235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4001-58_0_2_line_7 |  | 5 | 8 | 0.009256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4001-58_0_2_line_8 |  | 5 | 9 | 0.022841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4001-58_0_2_line_9 |  | 7 | 10 | 0.00947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4001-58_0_2_line_10 |  | 7 | 11 | 0.012888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4001-58_0_2_line_11 |  | 9 | 12 | 0.007835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4001-58_0_2_line_12 |  | 9 | 13 | 0.011998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4001-58_0_2_line_13 |  | 10 | 74 | 0.017956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4001-58_0_2_line_14 |  | 13 | 16 | 0.0077268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4001-58_0_2_line_15 |  | 14 | 15 | 0.049281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4001-58_0_2_line_16 |  | 15 | 16 | 0.01143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4001-58_0_2_line_17 |  | 15 | 17 | 0.043358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4001-58_0_2_line_18 |  | 16 | 18 | 0.012792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4001-58_0_2_line_19 |  | 18 | 19 | 0.010651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4001-58_0_2_line_20 |  | 18 | 20 | 0.030975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4001-58_0_2_line_21 |  | 19 | 76 | 0.005569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4001-58_0_2_line_22 |  | 20 | 29 | 0.035854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4001-58_0_2_line_23 |  | 20 | 30 | 0.04036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4001-58_0_2_line_24 |  | 20 | 23 | 0.022743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4001-58_0_2_line_25 |  | 21 | 22 | 0.015272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4001-58_0_2_line_26 |  | 21 | 23 | 0.012332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4001-58_0_2_line_27 |  | 22 | 24 | 0.066986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4001-58_0_2_line_28 |  | 23 | 25 | 0.01229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4001-58_0_2_line_29 |  | 24 | 26 | 0.040851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4001-58_0_2_line_30 |  | 24 | 27 | 0.025675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4001-58_0_2_line_31 |  | 25 | 31 | 0.015155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4001-58_0_2_line_32 |  | 26 | 28 | 0.025668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4001-58_0_2_line_33 |  | 27 | 32 | 0.0044322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4001-58_0_2_line_34 |  | 29 | 33 | 0.0138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4001-58_0_2_line_35 |  | 29 | 34 | 0.024447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4001-58_0_2_line_36 |  | 32 | 55 | 0.0053787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4001-58_0_2_line_37 |  | 34 | 37 | 0.007514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4001-58_0_2_line_38 |  | 34 | 35 | 0.042422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4001-58_0_2_line_39 |  | 35 | 36 | 0.0050636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4001-58_0_2_line_40 |  | 37 | 38 | 0.040228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_4001-58_0_2_line_41 |  | 37 | 39 | 0.01643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4001-58_0_2_line_42 |  | 38 | 40 | 0.006889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_4001-58_0_2_line_43 |  | 38 | 41 | 0.015822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4001-58_0_2_line_44 |  | 38 | 42 | 0.02932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4001-58_0_2_line_45 |  | 39 | 43 | 0.00928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4001-58_0_2_line_46 |  | 40 | 52 | 0.006791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4001-58_0_2_line_47 |  | 40 | 53 | 0.032497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_4001-58_0_2_line_48 |  | 42 | 47 | 0.010294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4001-58_0_2_line_49 |  | 42 | 44 | 0.014179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4001-58_0_2_line_50 |  | 43 | 67 | 0.005721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4001-58_0_2_line_51 |  | 43 | 64 | 0.009785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4001-58_0_2_line_52 |  | 44 | 45 | 0.021884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4001-58_0_2_line_53 |  | 45 | 46 | 0.00075569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4001-58_0_2_line_54 |  | 46 | 48 | 0.031036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4001-58_0_2_line_55 |  | 47 | 49 | 0.022866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4001-58_0_2_line_56 |  | 47 | 50 | 0.028769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4001-58_0_2_line_57 |  | 48 | 51 | 0.039994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4001-58_0_2_line_58 |  | 49 | 54 | 0.020893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4001-58_0_2_line_59 |  | 54 | 68 | 0.021225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4001-58_0_2_line_60 |  | 55 | 56 | 0.02323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4001-58_0_2_line_61 |  | 56 | 57 | 0.016395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4001-58_0_2_line_62 |  | 58 | 59 | 0.00070787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4001-58_0_2_line_63 |  | 58 | 60 | 0.0029826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4001-58_0_2_line_64 |  | 59 | 61 | 0.026917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4001-58_0_2_line_65 |  | 59 | 62 | 0.029143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4001-58_0_2_line_66 |  | 60 | 63 | 0.025143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4001-58_0_2_line_67 |  | 60 | 64 | 0.019177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4001-58_0_2_line_68 |  | 62 | 65 | 0.024936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4001-58_0_2_line_69 |  | 64 | 66 | 0.036816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4001-58_0_2_line_70 |  | 68 | 69 | 0.010119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4001-58_0_2_line_71 |  | 68 | 70 | 0.032661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4001-58_0_2_line_72 |  | 69 | 71 | 0.011482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4001-58_0_2_line_73 |  | 70 | 72 | 0.025854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4001-58_0_2_line_74 |  | 71 | 73 | 0.023996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4001-58_0_2_line_75 |  | 73 | 89 | 0.015164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4001-58_0_2_line_76 |  | 74 | 75 | 0.024771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4001-58_0_2_line_77 |  | 75 | 95 | 0.020625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4001-58_0_2_line_78 |  | 76 | 99 | 0.0056342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4001-58_0_2_line_79 |  | 77 | 78 | 0.01214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4001-58_0_2_line_80 |  | 77 | 79 | 0.0050648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4001-58_0_2_line_81 |  | 78 | 80 | 0.012314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4001-58_0_2_line_82 |  | 79 | 81 | 0.019507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4001-58_0_2_line_83 |  | 79 | 82 | 0.0159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4001-58_0_2_line_84 |  | 81 | 85 | 0.014431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4001-58_0_2_line_85 |  | 81 | 86 | 0.0025122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4001-58_0_2_line_86 |  | 82 | 83 | 0.035581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4001-58_0_2_line_87 |  | 83 | 84 | 0.0039277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4001-58_0_2_line_88 |  | 84 | 92 | 0.016041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4001-58_0_2_line_89 |  | 85 | 87 | 0.0037076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4001-58_0_2_line_90 |  | 86 | 88 | 0.036753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4001-58_0_2_line_91 |  | 88 | 98 | 0.010003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4001-58_0_2_line_92 |  | 89 | 90 | 0.0087772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4001-58_0_2_line_93 |  | 90 | 91 | 0.047512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4001-58_0_2_line_94 |  | 91 | 92 | 0.003665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4001-58_0_2_line_95 |  | 91 | 93 | 0.031143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_4001-58_0_2_line_96 |  | 92 | 94 | 0.0085282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_4001-58_0_2_line_97 |  | 96 | 97 | 0.053815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_4001-58_0_2_line_98 |  | 97 | 98 | 0.018741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4001-58_0_2_trafo_52 | 0.63 MVA 20/0.4 kV | 100 | 53 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2645539.5486 | 1248606.3648 | 2645532.8152 | 1248596.0753
1 | 2645531.5851 | 1248594.1955 | 2645532.8152 | 1248596.0753
2 | 2645539.5486 | 1248606.3648 | 2645541.3921 | 1248609.1809 | 2645543.564 | 1248613.4782 | 2645545.017 | 1248616.3551
3 | 2645545.3857 | 1248596.5252 | 2645539.5486 | 1248606.3648
4 | 2645531.5851 | 1248594.1955 | 2645529.5775 | 1248591.1225 | 2645528.7005 | 1248590.2708
5 | 2645536.9379 | 1248584.4857 | 2645531.5851 | 1248594.1955
6 | 2645552.787 | 1248631.739 | 2645545.017 | 1248616.3551
7 | 2645533.12 | 1248582.1326 | 2645528.7005 | 1248590.2708
8 | 2645512.0192 | 1248574.6656 | 2645513.6497 | 1248575.7122 | 2645528.7005 | 1248590.2708
9 | 2645552.787 | 1248631.739 | 2645554.9068 | 1248635.9359 | 2645558.4317 | 1248639.1469
10 | 2645540.6783 | 1248636.2491 | 2645552.787 | 1248631.739
11 | 2645516.1179 | 1248567.9815 | 2645512.0192 | 1248574.6656
12 | 2645512.0192 | 1248574.6656 | 2645501.9275 | 1248568.1768
13 | 2645572.6717 | 1248650.0262 | 2645563.0802 | 1248643.3814 | 2645558.4317 | 1248639.1469
14 | 2645495.4282 | 1248563.9979 | 2645501.9275 | 1248568.1768
15 | 2645488.8925 | 1248573.3874 | 2645502.5126 | 1248606.125 | 2645489.9157 | 1248611.818
16 | 2645488.8925 | 1248573.3874 | 2645495.4282 | 1248563.9979
17 | 2645488.8925 | 1248573.3874 | 2645449.6541 | 1248591.833
18 | 2645495.4282 | 1248563.9979 | 2645484.6456 | 1248557.0662
19 | 2645484.6456 | 1248557.0662 | 2645490.2317 | 1248547.9971
20 | 2645458.495 | 1248540.4657 | 2645460.3887 | 1248541.6699 | 2645479.7164 | 1248553.8929 | 2645484.6456 | 1248557.0662
21 | 2645493.1523 | 1248543.2554 | 2645490.2317 | 1248547.9971
22 | 2645458.495 | 1248540.4657 | 2645460.3887 | 1248541.6699 | 2645478.0511 | 1248513.075
23 | 2645458.495 | 1248540.4657 | 2645421.525 | 1248556.6565
24 | 2645439.2654 | 1248528.2324 | 2645458.495 | 1248540.4657
25 | 2645415.9779 | 1248513.4109 | 2645428.8617 | 1248521.6109
26 | 2645439.2654 | 1248528.2324 | 2645428.8617 | 1248521.6109
27 | 2645415.9779 | 1248513.4109 | 2645384.026 | 1248493.0861 | 2645379.1355 | 1248491.7478 | 2645374.7213 | 1248491.3249 | 2645377.9577 | 1248471.9811
28 | 2645439.2654 | 1248528.2324 | 2645445.5582 | 1248517.6752
29 | 2645360.6455 | 1248503.2141 | 2645364.0892 | 1248494.2789 | 2645369.5375 | 1248490.8182 | 2645374.7213 | 1248491.3249 | 2645377.9577 | 1248471.9811
30 | 2645377.9577 | 1248471.9811 | 2645392.0677 | 1248473.3899 | 2645398.639 | 1248474.1518 | 2645403.4986 | 1248474.5893
31 | 2645453.3176 | 1248504.6576 | 2645445.5582 | 1248517.6752
32 | 2645360.6455 | 1248503.2141 | 2645363.0583 | 1248513.5506 | 2645370.8764 | 1248526.4151
33 | 2645404.1263 | 1248470.2018 | 2645403.4986 | 1248474.5893 | 2645403.4986 | 1248474.5893
34 | 2645489.6447 | 1248520.6134 | 2645478.0511 | 1248513.075
35 | 2645478.0511 | 1248513.075 | 2645490.9043 | 1248492.2596
36 | 2645404.9246 | 1248464.8826 | 2645404.2486 | 1248469.3471 | 2645404.1263 | 1248470.2018
37 | 2645494.8573 | 1248485.8634 | 2645490.9043 | 1248492.2596
38 | 2645490.9043 | 1248492.2596 | 2645480.5611 | 1248489.0559 | 2645472.8146 | 1248483.9931 | 2645465.9117 | 1248481.1828 | 2645465.9362 | 1248477.9919 | 2645470.5004 | 1248467.2237
39 | 2645469.6229 | 1248462.999 | 2645471.404 | 1248465.0919 | 2645470.5004 | 1248467.2237
40 | 2645494.8573 | 1248485.8634 | 2645515.6236 | 1248451.3773
41 | 2645494.8573 | 1248485.8634 | 2645508.819 | 1248494.5254
42 | 2645515.6236 | 1248451.3773 | 2645513.132 | 1248448.3784 | 2645510.3081 | 1248447.356
43 | 2645515.6236 | 1248451.3773 | 2645528.0181 | 1248461.2118
44 | 2645530.7605 | 1248426.2432 | 2645515.6236 | 1248451.3773
45 | 2645516.7046 | 1248499.4178 | 2645508.819 | 1248494.5254
46 | 2645510.3081 | 1248447.356 | 2645509.8542 | 1248440.5813
47 | 2645510.3081 | 1248447.356 | 2645503.1051 | 1248449.2131 | 2645495.8898 | 1248451.6817 | 2645489.7186 | 1248450.9339 | 2645480.1582 | 1248445.0689
48 | 2645530.7605 | 1248426.2432 | 2645536.1365 | 1248417.4564
49 | 2645530.7605 | 1248426.2432 | 2645542.3997 | 1248434.3404
50 | 2645513.6395 | 1248504.2531 | 2645516.7046 | 1248499.4178
51 | 2645516.7046 | 1248499.4178 | 2645523.5586 | 1248503.6732 | 2645525.0392 | 1248504.5852
52 | 2645560.3642 | 1248446.838 | 2645542.3997 | 1248434.3404
53 | 2645560.9845 | 1248447.2696 | 2645560.3642 | 1248446.838
54 | 2645587.1357 | 1248463.9125 | 2645576.075 | 1248457.7678 | 2645560.9845 | 1248447.2696
55 | 2645536.1365 | 1248417.4564 | 2645548.074 | 1248397.9349
56 | 2645536.1365 | 1248417.4564 | 2645530.7055 | 1248415.7024 | 2645521.0647 | 1248418.3635 | 2645509.5655 | 1248412.172
57 | 2645587.1357 | 1248463.9125 | 2645574.5098 | 1248487.5202 | 2645572.4701 | 1248488.6164 | 2645569.0269 | 1248488.5899 | 2645562.4841 | 1248484.9995
58 | 2645548.074 | 1248397.9349 | 2645558.9774 | 1248380.1124
59 | 2645568.4049 | 1248361.2219 | 2645565.4871 | 1248369.4717 | 2645558.9774 | 1248380.1124
60 | 2645408.4079 | 1248441.9161 | 2645404.9246 | 1248464.8826
61 | 2645408.4079 | 1248441.9161 | 2645424.7338 | 1248443.8757
62 | 2645543.9016 | 1248516.2932 | 2645544.504 | 1248516.6649
63 | 2645541.3625 | 1248514.7284 | 2645541.8585 | 1248515.0324 | 2645543.9016 | 1248516.2932
64 | 2645544.504 | 1248516.6649 | 2645536.3381 | 1248529.8444 | 2645537.8134 | 1248536.3601 | 2645535.4212 | 1248540.4432
65 | 2645544.504 | 1248516.6649 | 2645555.6867 | 1248523.611 | 2645559.4984 | 1248525.7972 | 2645560.0396 | 1248526.1127 | 2645568.8133 | 1248531.1279 | 2645569.55 | 1248531.5561
66 | 2645541.3625 | 1248514.7284 | 2645537.8213 | 1248520.5829 | 2645532.4619 | 1248525.256 | 2645526.736 | 1248534.8701
67 | 2645541.3625 | 1248514.7284 | 2645525.0392 | 1248504.5852
68 | 2645569.55 | 1248531.5561 | 2645556.2917 | 1248552.6755
69 | 2645525.0392 | 1248504.5852 | 2645516.6476 | 1248517.6629 | 2645514.0913 | 1248518.1881 | 2645508.0334 | 1248528.2706 | 2645508.2391 | 1248530.0067 | 2645512.6271 | 1248532.7152
70 | 2645568.4049 | 1248361.2219 | 2645563.9363 | 1248352.1371
71 | 2645568.4049 | 1248361.2219 | 2645579.8887 | 1248374.23 | 2645591.3029 | 1248384.5023
72 | 2645563.9363 | 1248352.1371 | 2645555.2408 | 1248344.6393
73 | 2645591.3029 | 1248384.5023 | 2645579.0149 | 1248407.25
74 | 2645535.9364 | 1248330.4298 | 2645550.4183 | 1248340.481 | 2645555.2408 | 1248344.6393
75 | 2645535.9364 | 1248330.4298 | 2645525.3522 | 1248322.1986 | 2645523.9201 | 1248321.1832
76 | 2645551.518 | 1248662.2609 | 2645555.5465 | 1248661.7693 | 2645572.6717 | 1248650.0262
77 | 2645551.518 | 1248662.2609 | 2645532.6757 | 1248664.5734 | 2645531.0668 | 1248664.8977
78 | 2645496.1072 | 1248538.4583 | 2645493.1523 | 1248543.2554
79 | 2645424.2605 | 1248287.753 | 2645430.5112 | 1248277.3458
80 | 2645421.6527 | 1248292.0948 | 2645424.2605 | 1248287.753
81 | 2645430.5112 | 1248277.3458 | 2645436.8516 | 1248266.7892
82 | 2645421.6527 | 1248292.0948 | 2645411.602 | 1248308.8291
83 | 2645421.6527 | 1248292.0948 | 2645435.2992 | 1248300.2544
84 | 2645411.602 | 1248308.8291 | 2645399.1503 | 1248301.5345
85 | 2645411.602 | 1248308.8291 | 2645410.3083 | 1248310.9826
86 | 2645466.9792 | 1248316.4517 | 2645435.2992 | 1248300.2544
87 | 2645466.9792 | 1248316.4517 | 2645470.3441 | 1248318.4776
88 | 2645484.0865 | 1248326.7519 | 2645470.3441 | 1248318.4776
89 | 2645399.1503 | 1248301.5345 | 2645395.9513 | 1248299.6604
90 | 2645410.3083 | 1248310.9826 | 2645391.382 | 1248342.4881
91 | 2645386.2306 | 1248351.0633 | 2645391.382 | 1248342.4881
92 | 2645516.7601 | 1248316.1064 | 2645523.9201 | 1248321.1832
93 | 2645485.8781 | 1248323.5524 | 2645497.6307 | 1248302.5506 | 2645516.7601 | 1248316.1064
94 | 2645484.0865 | 1248326.7519 | 2645485.8781 | 1248323.5524
95 | 2645485.8781 | 1248323.5524 | 2645512.6985 | 1248339.3818
96 | 2645484.0865 | 1248326.7519 | 2645479.9211 | 1248334.1935
97 | 2645447.507 | 1248389.8694 | 2645402.4954 | 1248360.3737
98 | 2645386.2306 | 1248351.0633 | 2645402.4954 | 1248360.3737

## bus_geodata
| x | y | coords
0 | 2645532.8152 | 1248596.0753
1 | 2645539.5486 | 1248606.3648
2 | 2645531.5851 | 1248594.1955
3 | 2645545.017 | 1248616.3551
4 | 2645545.3857 | 1248596.5252
5 | 2645528.7005 | 1248590.2708
6 | 2645536.9379 | 1248584.4857
7 | 2645552.787 | 1248631.739
8 | 2645533.12 | 1248582.1326
9 | 2645512.0192 | 1248574.6656
10 | 2645558.4317 | 1248639.1469
11 | 2645540.6783 | 1248636.2491
12 | 2645516.1179 | 1248567.9815
13 | 2645501.9275 | 1248568.1768
14 | 2645489.9157 | 1248611.818
15 | 2645488.8925 | 1248573.3874
16 | 2645495.4282 | 1248563.9979
17 | 2645449.6541 | 1248591.833
18 | 2645484.6456 | 1248557.0662
19 | 2645490.2317 | 1248547.9971
20 | 2645458.495 | 1248540.4657
21 | 2645428.8617 | 1248521.6109
22 | 2645415.9779 | 1248513.4109
23 | 2645439.2654 | 1248528.2324
24 | 2645377.9577 | 1248471.9811
25 | 2645445.5582 | 1248517.6752
26 | 2645360.6455 | 1248503.2141
27 | 2645403.4986 | 1248474.5893
28 | 2645370.8764 | 1248526.4151
29 | 2645478.0511 | 1248513.075
30 | 2645421.525 | 1248556.6565
31 | 2645453.3176 | 1248504.6576
32 | 2645404.1263 | 1248470.2018
33 | 2645489.6447 | 1248520.6134
34 | 2645490.9043 | 1248492.2596
35 | 2645470.5004 | 1248467.2237
36 | 2645469.6229 | 1248462.999
37 | 2645494.8573 | 1248485.8634
38 | 2645515.6236 | 1248451.3773
39 | 2645508.819 | 1248494.5254
40 | 2645510.3081 | 1248447.356
41 | 2645528.0181 | 1248461.2118
42 | 2645530.7605 | 1248426.2432
43 | 2645516.7046 | 1248499.4178
44 | 2645542.3997 | 1248434.3404
45 | 2645560.3642 | 1248446.838
46 | 2645560.9845 | 1248447.2696
47 | 2645536.1365 | 1248417.4564
48 | 2645587.1357 | 1248463.9125
49 | 2645548.074 | 1248397.9349
50 | 2645509.5655 | 1248412.172
51 | 2645562.4841 | 1248484.9995
52 | 2645509.8542 | 1248440.5813
53 | 2645480.1582 | 1248445.0689
54 | 2645558.9774 | 1248380.1124
55 | 2645404.9246 | 1248464.8826
56 | 2645408.4079 | 1248441.9161
57 | 2645424.7338 | 1248443.8757
58 | 2645543.9016 | 1248516.2932
59 | 2645544.504 | 1248516.6649
60 | 2645541.3625 | 1248514.7284
61 | 2645535.4212 | 1248540.4432
62 | 2645569.55 | 1248531.5561
63 | 2645526.736 | 1248534.8701
64 | 2645525.0392 | 1248504.5852
65 | 2645556.2917 | 1248552.6755
66 | 2645512.6271 | 1248532.7152
67 | 2645513.6395 | 1248504.2531
68 | 2645568.4049 | 1248361.2219
69 | 2645563.9363 | 1248352.1371
70 | 2645591.3029 | 1248384.5023
71 | 2645555.2408 | 1248344.6393
72 | 2645579.0149 | 1248407.25
73 | 2645535.9364 | 1248330.4298
74 | 2645572.6717 | 1248650.0262
75 | 2645551.518 | 1248662.2609
76 | 2645493.1523 | 1248543.2554
77 | 2645424.2605 | 1248287.753
78 | 2645430.5112 | 1248277.3459
79 | 2645421.6527 | 1248292.0948
80 | 2645436.8516 | 1248266.7892
81 | 2645411.6019 | 1248308.8291
82 | 2645435.2992 | 1248300.2544
83 | 2645466.9793 | 1248316.4517
84 | 2645470.3441 | 1248318.4776
85 | 2645399.1503 | 1248301.5345
86 | 2645410.3083 | 1248310.9826
87 | 2645395.9513 | 1248299.6604
88 | 2645391.382 | 1248342.4881
89 | 2645523.9201 | 1248321.1832
90 | 2645516.7601 | 1248316.1064
91 | 2645485.8781 | 1248323.5524
92 | 2645484.0865 | 1248326.7519
93 | 2645512.6985 | 1248339.3818
94 | 2645479.9211 | 1248334.1935
95 | 2645531.0668 | 1248664.8977
96 | 2645447.507 | 1248389.8694
97 | 2645402.4954 | 1248360.3737
98 | 2645386.2306 | 1248351.0633
99 | 2645496.1072 | 1248538.4583
100 | 2645477.2197 | 1248443.2662

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1