## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4003-10_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4003-10_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4003-10_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4003-10_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4003-10_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4003-10_0_3_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_4003-10_0_3_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_4003-10_0_3_node_9 | 0.4 | n |  | TRUE
8 | bus_LV_4003-10_0_3_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_4003-10_0_3_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_4003-10_0_3_node_53 | 0.4 | n |  | TRUE
11 | bus_LV_4003-10_0_3_node_78 | 0.4 | n |  | TRUE
12 | bus_LV_4003-10_0_3_node_51 | 0.4 | n |  | TRUE
13 | bus_LV_4003-10_0_3_node_77 | 0.4 | n |  | TRUE
14 | bus_LV_4003-10_0_3_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_4003-10_0_3_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_4003-10_0_3_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_4003-10_0_3_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_4003-10_0_3_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_4003-10_0_3_node_79 | 0.4 | n |  | TRUE
20 | bus_LV_4003-10_0_3_node_70 | 0.4 | n |  | TRUE
21 | bus_LV_4003-10_0_3_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_4003-10_0_3_node_84 | 0.4 | n |  | TRUE
23 | bus_LV_4003-10_0_3_node_82 | 0.4 | n |  | TRUE
24 | bus_LV_4003-10_0_3_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_4003-10_0_3_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_4003-10_0_3_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_4003-10_0_3_node_27 | 0.4 | n |  | TRUE
28 | bus_LV_4003-10_0_3_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_4003-10_0_3_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_4003-10_0_3_node_58 | 0.4 | n |  | TRUE
31 | bus_LV_4003-10_0_3_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_4003-10_0_3_node_81 | 0.4 | n |  | TRUE
33 | bus_LV_4003-10_0_3_node_83 | 0.4 | n |  | TRUE
34 | bus_LV_4003-10_0_3_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_4003-10_0_3_node_72 | 0.4 | n |  | TRUE
36 | bus_LV_4003-10_0_3_node_44 | 0.4 | n |  | TRUE
37 | bus_LV_4003-10_0_3_node_33 | 0.4 | n |  | TRUE
38 | bus_LV_4003-10_0_3_node_42 | 0.4 | n |  | TRUE
39 | bus_LV_4003-10_0_3_node_29 | 0.4 | n |  | TRUE
40 | bus_LV_4003-10_0_3_node_31 | 0.4 | n |  | TRUE
41 | bus_LV_4003-10_0_3_node_32 | 0.4 | n |  | TRUE
42 | bus_LV_4003-10_0_3_node_28 | 0.4 | n |  | TRUE
43 | bus_LV_4003-10_0_3_node_43 | 0.4 | n |  | TRUE
44 | bus_LV_4003-10_0_3_node_40 | 0.4 | n |  | TRUE
45 | bus_LV_4003-10_0_3_node_41 | 0.4 | n |  | TRUE
46 | bus_LV_4003-10_0_3_node_45 | 0.4 | n |  | TRUE
47 | bus_LV_4003-10_0_3_node_46 | 0.4 | n |  | TRUE
48 | bus_LV_4003-10_0_3_node_35 | 0.4 | n |  | TRUE
49 | bus_LV_4003-10_0_3_node_36 | 0.4 | n |  | TRUE
50 | bus_LV_4003-10_0_3_node_37 | 0.4 | n |  | TRUE
51 | bus_LV_4003-10_0_3_node_38 | 0.4 | n |  | TRUE
52 | bus_LV_4003-10_0_3_node_39 | 0.4 | n |  | TRUE
53 | bus_LV_4003-10_0_3_node_73 | 0.4 | n |  | TRUE
54 | bus_LV_4003-10_0_3_node_74 | 0.4 | n |  | TRUE
55 | bus_LV_4003-10_0_3_node_48 | 0.4 | n |  | TRUE
56 | bus_LV_4003-10_0_3_node_47 | 0.4 | n |  | TRUE
57 | bus_LV_4003-10_0_3_node_49 | 0.4 | n |  | TRUE
58 | bus_LV_4003-10_0_3_node_50 | 0.4 | n |  | TRUE
59 | bus_LV_4003-10_0_3_node_52 | 0.4 | n |  | TRUE
60 | bus_LV_4003-10_0_3_node_54 | 0.4 | n |  | TRUE
61 | bus_LV_4003-10_0_3_node_55 | 0.4 | n |  | TRUE
62 | bus_LV_4003-10_0_3_node_56 | 0.4 | n |  | TRUE
63 | bus_LV_4003-10_0_3_node_57 | 0.4 | n |  | TRUE
64 | bus_LV_4003-10_0_3_node_71 | 0.4 | n |  | TRUE
65 | bus_LV_4003-10_0_3_node_69 | 0.4 | n |  | TRUE
66 | bus_LV_4003-10_0_3_node_59 | 0.4 | n |  | TRUE
67 | bus_LV_4003-10_0_3_node_61 | 0.4 | n |  | TRUE
68 | bus_LV_4003-10_0_3_node_63 | 0.4 | n |  | TRUE
69 | bus_LV_4003-10_0_3_node_64 | 0.4 | n |  | TRUE
70 | bus_LV_4003-10_0_3_node_65 | 0.4 | n |  | TRUE
71 | bus_LV_4003-10_0_3_node_66 | 0.4 | n |  | TRUE
72 | bus_LV_4003-10_0_3_node_75 | 0.4 | n |  | TRUE
73 | bus_MV_612_0_node_15 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4003-10_0_3_load_0 | 0 | 0.0068964 | 0.0017284 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4003-10_0_3_load_1 | 1 | 0.002656 | 0.00066566 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4003-10_0_3_load_2 | 2 | 0.0072591 | 0.0018193 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4003-10_0_3_load_3 | 3 | 0.0031974 | 0.00080133 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4003-10_0_3_load_8 | 6 | 0.0031117 | 0.00077987 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4003-10_0_3_load_9 | 7 | 0.0036353 | 0.0009111 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4003-10_0_3_load_7 | 8 | 0.0028426 | 0.00071243 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4003-10_0_3_load_5 | 9 | 0.0060927 | 0.001527 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4003-10_0_3_load_53 | 10 | 0.0063008 | 0.0015791 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4003-10_0_3_load_77 | 13 | 0.0011459 | 0.0002872 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4003-10_0_3_load_10 | 14 | 0.0060057 | 0.0015052 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4003-10_0_3_load_11 | 15 | 0.0027153 | 0.00068051 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4003-10_0_3_load_12 | 16 | 0.0030601 | 0.00076694 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4003-10_0_3_load_79 | 19 | 0.00062611 | 0.00015692 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4003-10_0_3_load_70 | 20 | 0.0022829 | 0.00057214 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4003-10_0_3_load_84 | 22 | 0.0014488 | 0.00036311 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4003-10_0_3_load_82 | 23 | 0.0027061 | 0.0006782 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4003-10_0_3_load_18 | 24 | 0.012658 | 0.0031725 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4003-10_0_3_load_19 | 25 | 0.028777 | 0.0072123 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4003-10_0_3_load_15 | 26 | 0.017839 | 0.0044709 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4003-10_0_3_load_22 | 29 | 0.012348 | 0.0030948 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4003-10_0_3_load_58 | 30 | 0.013306 | 0.0033347 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4003-10_0_3_load_83 | 33 | 0.0030685 | 0.00076904 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4003-10_0_3_load_72 | 35 | 0.014675 | 0.0036778 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4003-10_0_3_load_44 | 36 | 0.008064 | 0.002021 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4003-10_0_3_load_42 | 38 | 0.0035445 | 0.00088835 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4003-10_0_3_load_31 | 40 | 0.0071971 | 0.0018038 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4003-10_0_3_load_28 | 42 | 0.0073871 | 0.0018514 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4003-10_0_3_load_43 | 43 | 0.017555 | 0.0043996 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4003-10_0_3_load_41 | 45 | 0.0024613 | 0.00061687 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4003-10_0_3_load_45 | 46 | 0.0037493 | 0.00093967 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4003-10_0_3_load_46 | 47 | 0.0039262 | 0.000984 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4003-10_0_3_load_35 | 48 | 0.0062638 | 0.0015698 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4003-10_0_3_load_36 | 49 | 0.0098195 | 0.002461 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4003-10_0_3_load_37 | 50 | 0.0011122 | 0.00027875 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4003-10_0_3_load_38 | 51 | 0.0018167 | 0.00045531 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4003-10_0_3_load_39 | 52 | 0.001391 | 0.00034863 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4003-10_0_3_load_73 | 53 | 0.0019978 | 0.0005007 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4003-10_0_3_load_74 | 54 | 0.0016416 | 0.00041143 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4003-10_0_3_load_48 | 55 | 0.0027688 | 0.00069393 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4003-10_0_3_load_47 | 56 | 0.0043387 | 0.0010874 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4003-10_0_3_load_49 | 57 | 0.0020252 | 0.00050757 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4003-10_0_3_load_50 | 58 | 0.0027272 | 0.0006835 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4003-10_0_3_load_52 | 59 | 0.0016306 | 0.00040868 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4003-10_0_3_load_54 | 60 | 0.0064383 | 0.0016136 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4003-10_0_3_load_55 | 61 | 0.0016391 | 0.00041081 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4003-10_0_3_load_56 | 62 | 0.002712 | 0.00067968 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4003-10_0_3_load_57 | 63 | 0.0025949 | 0.00065034 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4003-10_0_3_load_71 | 64 | 0.0023264 | 0.00058305 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4003-10_0_3_load_69 | 65 | 0.0020321 | 0.00050929 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4003-10_0_3_load_59 | 66 | 0.016473 | 0.0041285 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4003-10_0_3_load_61 | 67 | 0.00062991 | 0.00015787 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4003-10_0_3_load_63 | 68 | 0.0014769 | 0.00037015 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4003-10_0_3_load_64 | 69 | 0.0040107 | 0.0010052 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4003-10_0_3_load_65 | 70 | 0.0025821 | 0.00064714 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4003-10_0_3_load_66 | 71 | 0.0014553 | 0.00036473 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4003-10_0_3_load_75 | 72 | 0.0018306 | 0.00045878 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 20 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4003-10_0_3_line_0 |  | 0 | 1 | 0.0024135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4003-10_0_3_line_1 |  | 0 | 2 | 0.038528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4003-10_0_3_line_2 |  | 1 | 3 | 0.025319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4003-10_0_3_line_3 |  | 2 | 4 | 0.0033297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4003-10_0_3_line_4 |  | 3 | 5 | 0.016983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4003-10_0_3_line_5 |  | 4 | 6 | 0.03101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4003-10_0_3_line_6 |  | 4 | 7 | 0.033635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4003-10_0_3_line_7 |  | 5 | 8 | 0.01694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4003-10_0_3_line_8 |  | 5 | 9 | 0.024926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4003-10_0_3_line_9 |  | 6 | 10 | 0.02904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4003-10_0_3_line_10 |  | 7 | 11 | 0.054071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4003-10_0_3_line_11 |  | 10 | 12 | 0.014157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4003-10_0_3_line_12 |  | 11 | 13 | 0.0030119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4003-10_0_3_line_13 |  | 12 | 60 | 0.023187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4003-10_0_3_line_14 |  | 12 | 57 | 0.012925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4003-10_0_3_line_15 |  | 13 | 17 | 0.021988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4003-10_0_3_line_16 |  | 14 | 15 | 0.010875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4003-10_0_3_line_17 |  | 14 | 16 | 0.0037445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4003-10_0_3_line_18 |  | 15 | 17 | 0.040704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4003-10_0_3_line_19 |  | 16 | 18 | 0.040784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4003-10_0_3_line_20 |  | 17 | 19 | 0.017301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4003-10_0_3_line_21 |  | 18 | 20 | 0.054548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_4003-10_0_3_line_22 |  | 18 | 21 | 0.059763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4003-10_0_3_line_23 |  | 19 | 22 | 0.033729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4003-10_0_3_line_24 |  | 20 | 23 | 0.01663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4003-10_0_3_line_25 |  | 21 | 24 | 0.03364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4003-10_0_3_line_26 |  | 21 | 25 | 0.025853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4003-10_0_3_line_27 |  | 21 | 26 | 0.048396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4003-10_0_3_line_28 |  | 22 | 30 | 0.04816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4003-10_0_3_line_29 |  | 23 | 34 | 0.031886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4003-10_0_3_line_30 |  | 24 | 27 | 0.022198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4003-10_0_3_line_31 |  | 27 | 28 | 0.017768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4003-10_0_3_line_32 |  | 28 | 29 | 0.0084683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4003-10_0_3_line_33 |  | 30 | 66 | 0.021599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4003-10_0_3_line_34 |  | 31 | 32 | 0.012089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4003-10_0_3_line_35 |  | 31 | 33 | 0.030009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4003-10_0_3_line_36 |  | 32 | 35 | 0.029062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4003-10_0_3_line_37 |  | 32 | 36 | 0.022672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4003-10_0_3_line_38 |  | 33 | 34 | 0.012762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4003-10_0_3_line_39 |  | 35 | 37 | 0.040599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4003-10_0_3_line_40 |  | 36 | 51 | 0.022326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4003-10_0_3_line_41 |  | 37 | 38 | 0.0020215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4003-10_0_3_line_42 |  | 38 | 44 | 0.015449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4003-10_0_3_line_43 |  | 39 | 40 | 0.035805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4003-10_0_3_line_44 |  | 39 | 41 | 0.049697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4003-10_0_3_line_45 |  | 39 | 42 | 0.021092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4003-10_0_3_line_46 |  | 40 | 44 | 0.030466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4003-10_0_3_line_47 |  | 41 | 43 | 0.03496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4003-10_0_3_line_48 |  | 44 | 45 | 0.0094623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4003-10_0_3_line_49 |  | 45 | 55 | 0.0085688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4003-10_0_3_line_50 |  | 46 | 47 | 0.002575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4003-10_0_3_line_51 |  | 47 | 56 | 0.017478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4003-10_0_3_line_52 |  | 48 | 49 | 9.8054e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4003-10_0_3_line_53 |  | 48 | 50 | 0.0022549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4003-10_0_3_line_54 |  | 49 | 51 | 0.023447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4003-10_0_3_line_55 |  | 50 | 52 | 0.019877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4003-10_0_3_line_56 |  | 52 | 53 | 0.019032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4003-10_0_3_line_57 |  | 53 | 54 | 0.016372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4003-10_0_3_line_58 |  | 54 | 72 | 0.0039692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4003-10_0_3_line_59 |  | 55 | 56 | 0.016883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4003-10_0_3_line_60 |  | 57 | 58 | 0.01177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4003-10_0_3_line_61 |  | 58 | 59 | 0.0026012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4003-10_0_3_line_62 |  | 59 | 61 | 0.008822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4003-10_0_3_line_63 |  | 61 | 62 | 0.014549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4003-10_0_3_line_64 |  | 62 | 63 | 0.0025366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4003-10_0_3_line_65 |  | 63 | 64 | 0.019677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4003-10_0_3_line_66 |  | 64 | 65 | 0.0019581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4003-10_0_3_line_67 |  | 65 | 71 | 0.017833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4003-10_0_3_line_68 |  | 66 | 67 | 0.018432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4003-10_0_3_line_69 |  | 68 | 69 | 0.0015353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4003-10_0_3_line_70 |  | 68 | 70 | 0.023992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4003-10_0_3_line_71 |  | 69 | 71 | 0.014677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4003-10_0_3_trafo_70 | 0.63 MVA 20/0.4 kV | 73 | 20 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2648235.4361 | 1249073.6111 | 2648234.895 | 1249075.9631
1 | 2648235.4361 | 1249073.6111 | 2648238.0283 | 1249062.3434 | 2648239.6788 | 1249035.4282
2 | 2648234.895 | 1249075.9631 | 2648229.2184 | 1249100.638
3 | 2648239.8826 | 1249032.1047 | 2648239.6788 | 1249035.4282
4 | 2648225.4107 | 1249117.189 | 2648229.2184 | 1249100.638
5 | 2648239.8826 | 1249032.1047 | 2648254.3335 | 1249032.2112 | 2648265.6254 | 1249034.5269 | 2648269.8108 | 1249037.3199
6 | 2648239.8826 | 1249032.1047 | 2648237.5832 | 1249003.8336 | 2648237.0363 | 1248998.5912
7 | 2648225.4107 | 1249117.189 | 2648224.4324 | 1249121.4284 | 2648223.3919 | 1249133.9742
8 | 2648225.4107 | 1249117.189 | 2648200.6533 | 1249114.2932
9 | 2648269.8108 | 1249037.3199 | 2648272.0688 | 1249038.8267 | 2648278.6828 | 1249045.3516 | 2648289.6274 | 1249058.4047
10 | 2648246.0826 | 1248947.5536 | 2648239.5415 | 1248958.0297 | 2648234.2141 | 1248971.54 | 2648237.0363 | 1248998.5912
11 | 2648298.7235 | 1249069.2531 | 2648289.6274 | 1249058.4047
12 | 2648246.0826 | 1248947.5536 | 2648248.492 | 1248949.3609
13 | 2648298.7235 | 1249069.2531 | 2648314.6841 | 1249086.0727
14 | 2648298.7235 | 1249069.2531 | 2648294.2409 | 1249081.3758
15 | 2648265.0157 | 1248963.8075 | 2648255.3436 | 1248954.5003 | 2648248.492 | 1248949.3609
16 | 2648299.1262 | 1249002.4839 | 2648292.1861 | 1248994.1111
17 | 2648301.5158 | 1249005.3668 | 2648299.1262 | 1249002.4839
18 | 2648265.0157 | 1248963.8075 | 2648272.8436 | 1248972.4103 | 2648289.5084 | 1248990.8806 | 2648292.1861 | 1248994.1111
19 | 2648327.6888 | 1249036.6447 | 2648310.2649 | 1249015.9221 | 2648301.5158 | 1249005.3668
20 | 2648265.0157 | 1248963.8075 | 2648275.7698 | 1248950.2548
21 | 2648327.6888 | 1249036.6447 | 2648363.543 | 1249077.7534
22 | 2648327.6888 | 1249036.6447 | 2648347.1222 | 1249013.7098 | 2648370.3085 | 1249032.4114
23 | 2648306.3213 | 1248941.1791 | 2648302.3886 | 1248940.9851 | 2648280.6016 | 1248944.1655 | 2648275.7698 | 1248950.2548
24 | 2648374.4738 | 1249090.2861 | 2648363.543 | 1249077.7534
25 | 2648370.3085 | 1249032.4114 | 2648402.0091 | 1249043.6693
26 | 2648370.3085 | 1249032.4114 | 2648376.6583 | 1249037.0663 | 2648390.6713 | 1249048.332
27 | 2648370.3085 | 1249032.4114 | 2648401.1204 | 1248995.0917
28 | 2648306.3213 | 1248941.1791 | 2648297.2333 | 1248893.8841
29 | 2648399.0594 | 1249110.2986 | 2648385.6543 | 1249101.4166 | 2648378.9456 | 1249095.4133 | 2648374.4738 | 1249090.2861
30 | 2648422.9267 | 1249051.0978 | 2648402.0091 | 1249043.6693
31 | 2648422.9267 | 1249051.0978 | 2648434.6969 | 1249054.9298 | 2648437.2876 | 1249050.2033
32 | 2648437.2876 | 1249050.2033 | 2648439.7674 | 1249042.1063
33 | 2648297.2333 | 1248893.8841 | 2648280.0744 | 1248900.4316 | 2648276.8411 | 1248900.4894
34 | 2648411.2259 | 1249140.4738 | 2648409.6019 | 1249147.9545 | 2648411.199 | 1249152.0926
35 | 2648411.2259 | 1249140.4738 | 2648404.535 | 1249138.7736 | 2648404.4105 | 1249133.6803 | 2648400.5529 | 1249127.1221 | 2648392.1312 | 1249121.016
36 | 2648411.199 | 1249152.0926 | 2648415.8498 | 1249156.7448 | 2648430.6335 | 1249166.9168 | 2648433.7902 | 1249170.1779
37 | 2648411.199 | 1249152.0926 | 2648405.5068 | 1249155.693 | 2648400.7902 | 1249160.947 | 2648395.998 | 1249168.4184
38 | 2648399.0594 | 1249110.2986 | 2648392.1312 | 1249121.016
39 | 2648443.4772 | 1249207.5047 | 2648444.3964 | 1249198.5061 | 2648443.659 | 1249185.2578 | 2648439.4534 | 1249176.0283 | 2648433.7902 | 1249170.1779
40 | 2648384.9097 | 1249187.7887 | 2648393.7313 | 1249171.9524 | 2648395.998 | 1249168.4184
41 | 2648443.4772 | 1249207.5047 | 2648442.9673 | 1249209.4608
42 | 2648437.7932 | 1249223.9694 | 2648441.2791 | 1249215.9369 | 2648442.9673 | 1249209.4608
43 | 2648500.3975 | 1249245.5511 | 2648466.2816 | 1249234.6829
44 | 2648500.3975 | 1249245.5511 | 2648500.949 | 1249241.8197 | 2648505.6718 | 1249196.1385
45 | 2648500.3975 | 1249245.5511 | 2648492.4738 | 1249265.0978
46 | 2648437.7932 | 1249223.9694 | 2648443.4367 | 1249226.3171 | 2648453.8654 | 1249230.7274 | 2648466.2816 | 1249234.6829
47 | 2648505.6718 | 1249196.1385 | 2648471.2941 | 1249189.7866
48 | 2648437.7932 | 1249223.9694 | 2648433.3065 | 1249232.3004
49 | 2648429.2436 | 1249239.8447 | 2648433.3065 | 1249232.3004
50 | 2648415.8656 | 1249274.1953 | 2648416.7223 | 1249271.767
51 | 2648416.7223 | 1249271.767 | 2648422.5379 | 1249255.2846
52 | 2648373.4518 | 1249208.3575 | 2648373.4996 | 1249208.2718
53 | 2648372.3545 | 1249210.3274 | 2648373.4518 | 1249208.3575
54 | 2648373.4996 | 1249208.2718 | 2648384.9097 | 1249187.7887
55 | 2648372.3545 | 1249210.3274 | 2648367.1267 | 1249219.7121 | 2648362.8377 | 1249227.7767
56 | 2648353.9012 | 1249244.5797 | 2648362.8377 | 1249227.7767
57 | 2648353.9012 | 1249244.5797 | 2648346.2133 | 1249259.0349
58 | 2648346.2133 | 1249259.0349 | 2648344.3495 | 1249262.5393
59 | 2648429.2436 | 1249239.8447 | 2648425.5956 | 1249246.6185 | 2648422.5379 | 1249255.2846
60 | 2648294.2409 | 1249081.3758 | 2648290.1588 | 1249092.4156
61 | 2648290.1588 | 1249092.4156 | 2648289.2567 | 1249094.8553
62 | 2648286.1971 | 1249103.1298 | 2648289.2567 | 1249094.8553
63 | 2648286.1971 | 1249103.1298 | 2648281.1511 | 1249116.7762
64 | 2648280.2714 | 1249119.1554 | 2648281.1511 | 1249116.7762
65 | 2648280.2714 | 1249119.1554 | 2648273.4472 | 1249137.6108
66 | 2648272.7681 | 1249139.4474 | 2648273.4472 | 1249137.6108
67 | 2648266.5833 | 1249156.1738 | 2648272.7681 | 1249139.4474
68 | 2648258.7565 | 1248897.4751 | 2648272.3791 | 1248900.5691 | 2648276.8411 | 1248900.4894
69 | 2648260.9607 | 1249171.3797 | 2648261.4931 | 1249169.9397
70 | 2648260.9607 | 1249171.3797 | 2648252.64 | 1249193.8822
71 | 2648261.4931 | 1249169.9397 | 2648266.5833 | 1249156.1738

## bus_geodata
| x | y | coords
0 | 2648235.4361 | 1249073.6111
1 | 2648234.895 | 1249075.9631
2 | 2648239.6788 | 1249035.4282
3 | 2648229.2184 | 1249100.638
4 | 2648239.8826 | 1249032.1047
5 | 2648225.4107 | 1249117.189
6 | 2648269.8108 | 1249037.3199
7 | 2648237.0363 | 1248998.5912
8 | 2648223.3919 | 1249133.9742
9 | 2648200.6533 | 1249114.2932
10 | 2648289.6274 | 1249058.4047
11 | 2648246.0826 | 1248947.5536
12 | 2648298.7235 | 1249069.2531
13 | 2648248.492 | 1248949.3609
14 | 2648299.1262 | 1249002.4839
15 | 2648292.1861 | 1248994.1111
16 | 2648301.5158 | 1249005.3668
17 | 2648265.0157 | 1248963.8075
18 | 2648327.6888 | 1249036.6447
19 | 2648275.7698 | 1248950.2548
20 | 2648363.543 | 1249077.7534
21 | 2648370.3085 | 1249032.4114
22 | 2648306.3213 | 1248941.1791
23 | 2648374.4738 | 1249090.2861
24 | 2648402.0091 | 1249043.6693
25 | 2648390.6713 | 1249048.332
26 | 2648401.1204 | 1248995.0917
27 | 2648422.9267 | 1249051.0978
28 | 2648437.2876 | 1249050.2033
29 | 2648439.7674 | 1249042.1063
30 | 2648297.2333 | 1248893.8841
31 | 2648411.2259 | 1249140.4738
32 | 2648411.199 | 1249152.0926
33 | 2648392.1312 | 1249121.016
34 | 2648399.0594 | 1249110.2986
35 | 2648433.7902 | 1249170.1779
36 | 2648395.998 | 1249168.4184
37 | 2648443.4772 | 1249207.5047
38 | 2648442.9673 | 1249209.4608
39 | 2648500.3975 | 1249245.5511
40 | 2648466.2816 | 1249234.6829
41 | 2648505.6718 | 1249196.1385
42 | 2648492.4738 | 1249265.0978
43 | 2648471.2941 | 1249189.7866
44 | 2648437.7932 | 1249223.9694
45 | 2648433.3065 | 1249232.3004
46 | 2648415.8656 | 1249274.1953
47 | 2648416.7223 | 1249271.767
48 | 2648373.4519 | 1249208.3575
49 | 2648373.4996 | 1249208.2718
50 | 2648372.3545 | 1249210.3274
51 | 2648384.9097 | 1249187.7887
52 | 2648362.8377 | 1249227.7767
53 | 2648353.9012 | 1249244.5797
54 | 2648346.2133 | 1249259.0349
55 | 2648429.2436 | 1249239.8447
56 | 2648422.5379 | 1249255.2846
57 | 2648294.2409 | 1249081.3758
58 | 2648290.1588 | 1249092.4156
59 | 2648289.2567 | 1249094.8553
60 | 2648314.6841 | 1249086.0727
61 | 2648286.1971 | 1249103.1298
62 | 2648281.1511 | 1249116.7762
63 | 2648280.2714 | 1249119.1554
64 | 2648273.4472 | 1249137.6108
65 | 2648272.7681 | 1249139.4474
66 | 2648276.8411 | 1248900.4894
67 | 2648258.7565 | 1248897.4751
68 | 2648260.9607 | 1249171.3797
69 | 2648261.4931 | 1249169.9396
70 | 2648252.64 | 1249193.8822
71 | 2648266.5833 | 1249156.1738
72 | 2648344.3495 | 1249262.5393
73 | 2648399.0594 | 1249110.2986

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1