## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4003-2_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4003-2_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4003-2_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4003-2_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4003-2_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4003-2_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_4003-2_0_6_node_78 | 0.4 | n |  | TRUE
7 | bus_LV_4003-2_0_6_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_4003-2_0_6_node_85 | 0.4 | n |  | TRUE
9 | bus_LV_4003-2_0_6_node_72 | 0.4 | n |  | TRUE
10 | bus_LV_4003-2_0_6_node_73 | 0.4 | n |  | TRUE
11 | bus_LV_4003-2_0_6_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_4003-2_0_6_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_4003-2_0_6_node_48 | 0.4 | n |  | TRUE
14 | bus_LV_4003-2_0_6_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_4003-2_0_6_node_49 | 0.4 | n |  | TRUE
16 | bus_LV_4003-2_0_6_node_50 | 0.4 | n |  | TRUE
17 | bus_LV_4003-2_0_6_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_4003-2_0_6_node_42 | 0.4 | n |  | TRUE
19 | bus_LV_4003-2_0_6_node_47 | 0.4 | n |  | TRUE
20 | bus_LV_4003-2_0_6_node_96 | 0.4 | n |  | TRUE
21 | bus_LV_4003-2_0_6_node_105 | 0.4 | n |  | TRUE
22 | bus_LV_4003-2_0_6_node_79 | 0.4 | n |  | TRUE
23 | bus_LV_4003-2_0_6_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_4003-2_0_6_node_97 | 0.4 | n |  | TRUE
25 | bus_LV_4003-2_0_6_node_52 | 0.4 | n |  | TRUE
26 | bus_LV_4003-2_0_6_node_75 | 0.4 | n |  | TRUE
27 | bus_LV_4003-2_0_6_node_99 | 0.4 | n |  | TRUE
28 | bus_LV_4003-2_0_6_node_36 | 0.4 | n |  | TRUE
29 | bus_LV_4003-2_0_6_node_104 | 0.4 | n |  | TRUE
30 | bus_LV_4003-2_0_6_node_34 | 0.4 | n |  | TRUE
31 | bus_LV_4003-2_0_6_node_41 | 0.4 | n |  | TRUE
32 | bus_LV_4003-2_0_6_node_45 | 0.4 | n |  | TRUE
33 | bus_LV_4003-2_0_6_node_14 | 0.4 | n |  | TRUE
34 | bus_LV_4003-2_0_6_node_15 | 0.4 | n |  | TRUE
35 | bus_LV_4003-2_0_6_node_17 | 0.4 | n |  | TRUE
36 | bus_LV_4003-2_0_6_node_16 | 0.4 | n |  | TRUE
37 | bus_LV_4003-2_0_6_node_18 | 0.4 | n |  | TRUE
38 | bus_LV_4003-2_0_6_node_19 | 0.4 | n |  | TRUE
39 | bus_LV_4003-2_0_6_node_22 | 0.4 | n |  | TRUE
40 | bus_LV_4003-2_0_6_node_39 | 0.4 | n |  | TRUE
41 | bus_LV_4003-2_0_6_node_37 | 0.4 | n |  | TRUE
42 | bus_LV_4003-2_0_6_node_98 | 0.4 | n |  | TRUE
43 | bus_LV_4003-2_0_6_node_20 | 0.4 | n |  | TRUE
44 | bus_LV_4003-2_0_6_node_38 | 0.4 | n |  | TRUE
45 | bus_LV_4003-2_0_6_node_21 | 0.4 | n |  | TRUE
46 | bus_LV_4003-2_0_6_node_23 | 0.4 | n |  | TRUE
47 | bus_LV_4003-2_0_6_node_24 | 0.4 | n |  | TRUE
48 | bus_LV_4003-2_0_6_node_25 | 0.4 | n |  | TRUE
49 | bus_LV_4003-2_0_6_node_26 | 0.4 | n |  | TRUE
50 | bus_LV_4003-2_0_6_node_28 | 0.4 | n |  | TRUE
51 | bus_LV_4003-2_0_6_node_100 | 0.4 | n |  | TRUE
52 | bus_LV_4003-2_0_6_node_27 | 0.4 | n |  | TRUE
53 | bus_LV_4003-2_0_6_node_33 | 0.4 | n |  | TRUE
54 | bus_LV_4003-2_0_6_node_101 | 0.4 | n |  | TRUE
55 | bus_LV_4003-2_0_6_node_32 | 0.4 | n |  | TRUE
56 | bus_LV_4003-2_0_6_node_29 | 0.4 | n |  | TRUE
57 | bus_LV_4003-2_0_6_node_30 | 0.4 | n |  | TRUE
58 | bus_LV_4003-2_0_6_node_35 | 0.4 | n |  | TRUE
59 | bus_LV_4003-2_0_6_node_43 | 0.4 | n |  | TRUE
60 | bus_LV_4003-2_0_6_node_44 | 0.4 | n |  | TRUE
61 | bus_LV_4003-2_0_6_node_40 | 0.4 | n |  | TRUE
62 | bus_LV_4003-2_0_6_node_46 | 0.4 | n |  | TRUE
63 | bus_LV_4003-2_0_6_node_51 | 0.4 | n |  | TRUE
64 | bus_LV_4003-2_0_6_node_53 | 0.4 | n |  | TRUE
65 | bus_LV_4003-2_0_6_node_54 | 0.4 | n |  | TRUE
66 | bus_LV_4003-2_0_6_node_102 | 0.4 | n |  | TRUE
67 | bus_LV_4003-2_0_6_node_56 | 0.4 | n |  | TRUE
68 | bus_LV_4003-2_0_6_node_61 | 0.4 | n |  | TRUE
69 | bus_LV_4003-2_0_6_node_55 | 0.4 | n |  | TRUE
70 | bus_LV_4003-2_0_6_node_70 | 0.4 | n |  | TRUE
71 | bus_LV_4003-2_0_6_node_89 | 0.4 | n |  | TRUE
72 | bus_LV_4003-2_0_6_node_82 | 0.4 | n |  | TRUE
73 | bus_LV_4003-2_0_6_node_95 | 0.4 | n |  | TRUE
74 | bus_LV_4003-2_0_6_node_84 | 0.4 | n |  | TRUE
75 | bus_LV_4003-2_0_6_node_93 | 0.4 | n |  | TRUE
76 | bus_LV_4003-2_0_6_node_74 | 0.4 | n |  | TRUE
77 | bus_LV_4003-2_0_6_node_103 | 0.4 | n |  | TRUE
78 | bus_LV_4003-2_0_6_node_59 | 0.4 | n |  | TRUE
79 | bus_LV_4003-2_0_6_node_68 | 0.4 | n |  | TRUE
80 | bus_LV_4003-2_0_6_node_94 | 0.4 | n |  | TRUE
81 | bus_LV_4003-2_0_6_node_81 | 0.4 | n |  | TRUE
82 | bus_LV_4003-2_0_6_node_57 | 0.4 | n |  | TRUE
83 | bus_LV_4003-2_0_6_node_58 | 0.4 | n |  | TRUE
84 | bus_LV_4003-2_0_6_node_60 | 0.4 | n |  | TRUE
85 | bus_LV_4003-2_0_6_node_62 | 0.4 | n |  | TRUE
86 | bus_LV_4003-2_0_6_node_63 | 0.4 | n |  | TRUE
87 | bus_LV_4003-2_0_6_node_64 | 0.4 | n |  | TRUE
88 | bus_LV_4003-2_0_6_node_65 | 0.4 | n |  | TRUE
89 | bus_LV_4003-2_0_6_node_66 | 0.4 | n |  | TRUE
90 | bus_LV_4003-2_0_6_node_67 | 0.4 | n |  | TRUE
91 | bus_LV_4003-2_0_6_node_76 | 0.4 | n |  | TRUE
92 | bus_LV_4003-2_0_6_node_77 | 0.4 | n |  | TRUE
93 | bus_LV_4003-2_0_6_node_69 | 0.4 | n |  | TRUE
94 | bus_LV_4003-2_0_6_node_71 | 0.4 | n |  | TRUE
95 | bus_LV_4003-2_0_6_node_83 | 0.4 | n |  | TRUE
96 | bus_LV_4003-2_0_6_node_87 | 0.4 | n |  | TRUE
97 | bus_LV_4003-2_0_6_node_86 | 0.4 | n |  | TRUE
98 | bus_LV_4003-2_0_6_node_91 | 0.4 | n |  | TRUE
99 | bus_LV_4003-2_0_6_node_80 | 0.4 | n |  | TRUE
100 | bus_LV_4003-2_0_6_node_92 | 0.4 | n |  | TRUE
101 | bus_MV_301_1_node_152 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4003-2_0_6_load_0 | 0 | 0.0010609 | 0.00026589 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4003-2_0_6_load_1 | 1 | 0.0030233 | 0.00075771 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4003-2_0_6_load_2 | 2 | 0.0030233 | 0.00075771 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4003-2_0_6_load_3 | 3 | 0.0010071 | 0.00025241 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4003-2_0_6_load_4 | 4 | 0.0003469 | 8.6941e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4003-2_0_6_load_5 | 5 | 0.00038774 | 9.7177e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4003-2_0_6_load_6 | 7 | 0.0023964 | 0.00060061 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4003-2_0_6_load_85 | 8 | 0.0019658 | 0.00049268 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4003-2_0_6_load_72 | 9 | 0.002395 | 0.00060025 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4003-2_0_6_load_73 | 10 | 0.0044946 | 0.0011265 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4003-2_0_6_load_7 | 11 | 0.0055534 | 0.0013918 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4003-2_0_6_load_48 | 13 | 0.093013 | 0.023311 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4003-2_0_6_load_12 | 14 | 0.031726 | 0.0079512 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4003-2_0_6_load_49 | 15 | 0.0024434 | 0.00061236 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4003-2_0_6_load_47 | 19 | 0.00081265 | 0.00020367 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4003-2_0_6_load_105 | 21 | 0.014382 | 0.0036045 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4003-2_0_6_load_13 | 23 | 0.0011507 | 0.0002884 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4003-2_0_6_load_97 | 24 | 0.017286 | 0.0043322 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4003-2_0_6_load_75 | 26 | 0.0098318 | 0.0024641 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4003-2_0_6_load_99 | 27 | 0.0019851 | 0.00049751 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4003-2_0_6_load_104 | 29 | 0.0057307 | 0.0014362 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4003-2_0_6_load_41 | 31 | 0.0021344 | 0.00053494 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4003-2_0_6_load_45 | 32 | 0.0020953 | 0.00052512 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4003-2_0_6_load_14 | 33 | 0.0014146 | 0.00035454 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4003-2_0_6_load_15 | 34 | 0.00095985 | 0.00024056 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4003-2_0_6_load_39 | 40 | 0.0015626 | 0.00039164 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4003-2_0_6_load_37 | 41 | 0.00032029 | 8.0272e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4003-2_0_6_load_98 | 42 | 0.00084168 | 0.00021095 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4003-2_0_6_load_20 | 43 | 0.0002049 | 5.1353e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4003-2_0_6_load_23 | 46 | 0.00092474 | 0.00023176 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4003-2_0_6_load_24 | 47 | 0.0095044 | 0.002382 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4003-2_0_6_load_100 | 51 | 0.00081874 | 0.00020519 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4003-2_0_6_load_33 | 53 | 0.00076601 | 0.00019198 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4003-2_0_6_load_101 | 54 | 0.00023708 | 5.9417e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4003-2_0_6_load_32 | 55 | 0.0012137 | 0.00030417 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4003-2_0_6_load_29 | 56 | 0.00012225 | 3.064e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4003-2_0_6_load_30 | 57 | 0.00030667 | 7.6859e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4003-2_0_6_load_35 | 58 | 0.003254 | 0.00081554 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4003-2_0_6_load_43 | 59 | 0.0010064 | 0.00025224 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4003-2_0_6_load_40 | 61 | 0.0011823 | 0.00029631 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4003-2_0_6_load_46 | 62 | 0.00052074 | 0.00013051 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4003-2_0_6_load_51 | 63 | 0.051201 | 0.012832 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4003-2_0_6_load_102 | 66 | 0.010226 | 0.0025628 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4003-2_0_6_load_61 | 68 | 0.0036743 | 0.00092088 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4003-2_0_6_load_70 | 70 | 0.0022014 | 0.00055172 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4003-2_0_6_load_82 | 72 | 0.0048135 | 0.0012064 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4003-2_0_6_load_95 | 73 | 0.0016759 | 0.00042001 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4003-2_0_6_load_84 | 74 | 0.00188 | 0.00047117 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4003-2_0_6_load_103 | 77 | 0.001047 | 0.0002624 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4003-2_0_6_load_59 | 78 | 0.0037756 | 0.00094626 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4003-2_0_6_load_68 | 79 | 0.0039353 | 0.00098628 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4003-2_0_6_load_94 | 80 | 0.0011244 | 0.00028181 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4003-2_0_6_load_81 | 81 | 0.0024731 | 0.00061983 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4003-2_0_6_load_57 | 82 | 0.0069384 | 0.0017389 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4003-2_0_6_load_58 | 83 | 0.004326 | 0.0010842 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4003-2_0_6_load_60 | 84 | 0.0071165 | 0.0017836 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4003-2_0_6_load_62 | 85 | 0.005093 | 0.0012764 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4003-2_0_6_load_63 | 86 | 0.0065156 | 0.001633 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4003-2_0_6_load_64 | 87 | 0.0055545 | 0.0013921 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4003-2_0_6_load_65 | 88 | 0.003008 | 0.00075388 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4003-2_0_6_load_66 | 89 | 0.0098318 | 0.0024641 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4003-2_0_6_load_67 | 90 | 0.0030083 | 0.00075395 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4003-2_0_6_load_76 | 91 | 0.003567 | 0.00089398 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4003-2_0_6_load_77 | 92 | 0.003186 | 0.00079849 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4003-2_0_6_load_69 | 93 | 0.0041682 | 0.0010447 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4003-2_0_6_load_71 | 94 | 0.0028274 | 0.00070861 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4003-2_0_6_load_83 | 95 | 0.004185 | 0.0010489 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4003-2_0_6_load_87 | 96 | 0.001561 | 0.00039121 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4003-2_0_6_load_86 | 97 | 0.0022728 | 0.00056962 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4003-2_0_6_load_91 | 98 | 0.0015182 | 0.0003805 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4003-2_0_6_load_80 | 99 | 0.0022717 | 0.00056934 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4003-2_0_6_load_92 | 100 | 0.00089316 | 0.00022385 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 16 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4003-2_0_6_line_0 |  | 0 | 1 | 0.014923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4003-2_0_6_line_1 |  | 0 | 2 | 0.0024972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4003-2_0_6_line_2 |  | 1 | 3 | 0.015746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4003-2_0_6_line_3 |  | 2 | 4 | 0.031253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4003-2_0_6_line_4 |  | 3 | 5 | 0.00089137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4003-2_0_6_line_5 |  | 4 | 6 | 0.010737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4003-2_0_6_line_6 |  | 5 | 7 | 0.017202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4003-2_0_6_line_7 |  | 6 | 8 | 0.019155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4003-2_0_6_line_8 |  | 7 | 9 | 0.01664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4003-2_0_6_line_9 |  | 8 | 97 | 0.0078966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4003-2_0_6_line_10 |  | 9 | 10 | 0.00075655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4003-2_0_6_line_11 |  | 10 | 94 | 0.015329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4003-2_0_6_line_12 |  | 11 | 12 | 0.015982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4003-2_0_6_line_13 |  | 11 | 13 | 0.10406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4003-2_0_6_line_14 |  | 12 | 14 | 0.0034969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4003-2_0_6_line_15 |  | 13 | 15 | 0.01909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4003-2_0_6_line_16 |  | 13 | 16 | 0.034772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_4003-2_0_6_line_17 |  | 15 | 63 | 0.025123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4003-2_0_6_line_18 |  | 16 | 64 | 0.11268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_4003-2_0_6_line_19 |  | 17 | 18 | 0.018573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4003-2_0_6_line_20 |  | 17 | 19 | 0.079016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4003-2_0_6_line_21 |  | 18 | 31 | 0.019869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4003-2_0_6_line_22 |  | 19 | 32 | 0.0082947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4003-2_0_6_line_23 |  | 20 | 21 | 0.077617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4003-2_0_6_line_24 |  | 20 | 22 | 0.067902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4003-2_0_6_line_25 |  | 22 | 74 | 0.037842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4003-2_0_6_line_26 |  | 22 | 75 | 0.035905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4003-2_0_6_line_27 |  | 23 | 24 | 0.092992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4003-2_0_6_line_28 |  | 23 | 25 | 0.10151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4003-2_0_6_line_29 |  | 25 | 26 | 0.12618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_4003-2_0_6_line_30 |  | 25 | 27 | 0.19886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_4003-2_0_6_line_31 |  | 26 | 76 | 0.020499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_4003-2_0_6_line_32 |  | 27 | 42 | 0.01035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_4003-2_0_6_line_33 |  | 28 | 29 | 0.03251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4003-2_0_6_line_34 |  | 28 | 30 | 0.21939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4003-2_0_6_line_35 |  | 30 | 58 | 0.038507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4003-2_0_6_line_36 |  | 30 | 53 | 0.034253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4003-2_0_6_line_37 |  | 32 | 60 | 0.045275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4003-2_0_6_line_38 |  | 33 | 34 | 0.0052538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4003-2_0_6_line_39 |  | 34 | 35 | 0.029012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4003-2_0_6_line_40 |  | 35 | 38 | 0.023067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_4003-2_0_6_line_41 |  | 35 | 39 | 0.02651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_4003-2_0_6_line_42 |  | 36 | 37 | 0.018913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4003-2_0_6_line_43 |  | 36 | 38 | 0.010793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4003-2_0_6_line_44 |  | 37 | 40 | 0.043584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4003-2_0_6_line_45 |  | 37 | 41 | 0.0071052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4003-2_0_6_line_46 |  | 38 | 42 | 0.027384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_4003-2_0_6_line_47 |  | 39 | 43 | 0.024121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_4003-2_0_6_line_48 |  | 41 | 44 | 0.011199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4003-2_0_6_line_49 |  | 43 | 45 | 0.027701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
50 | LV_4003-2_0_6_line_50 |  | 44 | 61 | 0.043568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4003-2_0_6_line_51 |  | 45 | 46 | 0.012526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
52 | LV_4003-2_0_6_line_52 |  | 45 | 47 | 0.010929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4003-2_0_6_line_53 |  | 46 | 48 | 0.013854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
54 | LV_4003-2_0_6_line_54 |  | 48 | 49 | 0.011387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4003-2_0_6_line_55 |  | 48 | 50 | 0.14268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
56 | LV_4003-2_0_6_line_56 |  | 49 | 51 | 0.028074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4003-2_0_6_line_57 |  | 50 | 54 | 0.086397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4003-2_0_6_line_58 |  | 50 | 52 | 0.06033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4003-2_0_6_line_59 |  | 51 | 55 | 0.0035552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4003-2_0_6_line_60 |  | 52 | 53 | 0.076161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4003-2_0_6_line_61 |  | 55 | 57 | 0.019597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4003-2_0_6_line_62 |  | 56 | 57 | 0.0027184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4003-2_0_6_line_63 |  | 58 | 59 | 0.022543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4003-2_0_6_line_64 |  | 59 | 60 | 0.012438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4003-2_0_6_line_65 |  | 60 | 62 | 0.028989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4003-2_0_6_line_66 |  | 64 | 65 | 0.087523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
67 | LV_4003-2_0_6_line_67 |  | 64 | 66 | 0.040853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4003-2_0_6_line_68 |  | 65 | 67 | 0.057968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4003-2_0_6_line_69 |  | 65 | 68 | 0.019163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
70 | LV_4003-2_0_6_line_70 |  | 66 | 77 | 0.021059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4003-2_0_6_line_71 |  | 67 | 72 | 0.016395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4003-2_0_6_line_72 |  | 67 | 73 | 0.035065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4003-2_0_6_line_73 |  | 68 | 78 | 0.011477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
74 | LV_4003-2_0_6_line_74 |  | 69 | 70 | 0.014328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4003-2_0_6_line_75 |  | 69 | 71 | 0.041992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4003-2_0_6_line_76 |  | 70 | 79 | 0.030314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4003-2_0_6_line_77 |  | 71 | 80 | 0.02029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4003-2_0_6_line_78 |  | 72 | 81 | 0.021359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4003-2_0_6_line_79 |  | 74 | 95 | 0.0086435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4003-2_0_6_line_80 |  | 75 | 98 | 0.039507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4003-2_0_6_line_81 |  | 76 | 91 | 0.017226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4003-2_0_6_line_82 |  | 76 | 92 | 0.017114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4003-2_0_6_line_83 |  | 76 | 90 | 0.042734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
84 | LV_4003-2_0_6_line_84 |  | 78 | 82 | 0.021581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
85 | LV_4003-2_0_6_line_85 |  | 79 | 93 | 0.001851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4003-2_0_6_line_86 |  | 81 | 99 | 0.055109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4003-2_0_6_line_87 |  | 82 | 83 | 0.0062623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
88 | LV_4003-2_0_6_line_88 |  | 83 | 84 | 0.023725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
89 | LV_4003-2_0_6_line_89 |  | 84 | 85 | 0.0081735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
90 | LV_4003-2_0_6_line_90 |  | 85 | 86 | 0.021773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
91 | LV_4003-2_0_6_line_91 |  | 86 | 87 | 0.0063013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
92 | LV_4003-2_0_6_line_92 |  | 87 | 88 | 0.024322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
93 | LV_4003-2_0_6_line_93 |  | 88 | 89 | 0.0060014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
94 | LV_4003-2_0_6_line_94 |  | 89 | 90 | 0.013115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
95 | LV_4003-2_0_6_line_95 |  | 91 | 95 | 0.0152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_4003-2_0_6_line_96 |  | 92 | 96 | 0.012672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_4003-2_0_6_line_97 |  | 93 | 94 | 0.021082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_4003-2_0_6_line_98 |  | 96 | 97 | 0.0051606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_4003-2_0_6_line_99 |  | 98 | 100 | 0.035543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4003-2_0_6_trafo_50 | 0.63 MVA 20/0.4 kV | 101 | 16 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22
0 | 2647646.9441 | 1249281.6736 | 2647632.9271 | 1249276.5529
1 | 2647646.9441 | 1249281.6736 | 2647649.2897 | 1249282.5305
2 | 2647618.1367 | 1249271.1497 | 2647632.9271 | 1249276.5529
3 | 2647649.2897 | 1249282.5305 | 2647659.6627 | 1249286.32 | 2647678.4979 | 1249293.6453
4 | 2647617.2995 | 1249270.8438 | 2647618.1367 | 1249271.1497
5 | 2647688.505 | 1249297.5372 | 2647678.4979 | 1249293.6453
6 | 2647601.1424 | 1249264.9413 | 2647617.2995 | 1249270.8438
7 | 2647688.505 | 1249297.5372 | 2647682.6175 | 1249315.7653
8 | 2647601.1424 | 1249264.9413 | 2647585.5129 | 1249259.2315
9 | 2647682.6175 | 1249315.7653 | 2647680.1905 | 1249323.2796
10 | 2647584.8023 | 1249258.9719 | 2647585.5129 | 1249259.2315
11 | 2647570.4036 | 1249253.7118 | 2647584.8023 | 1249258.9719
12 | 2647400.117 | 1249519.4647 | 2647405.0889 | 1249511.4101 | 2647408.3118 | 1249507.7445 | 2647409.5019 | 1249506.6221
13 | 2647407.475 | 1249402.5792 | 2647409.5019 | 1249506.6221
14 | 2647400.117 | 1249519.4647 | 2647398.2813 | 1249522.4409
15 | 2647407.475 | 1249402.5792 | 2647388.8223 | 1249398.5169
16 | 2647441.8789 | 1249406.789 | 2647436.0884 | 1249406.7427 | 2647430.0362 | 1249406.3718 | 2647420.9302 | 1249405.5096 | 2647407.475 | 1249402.5792
17 | 2647364.2749 | 1249393.1708 | 2647388.8223 | 1249398.5169
18 | 2647417.4374 | 1249320.1907 | 2647422.0552 | 1249317.7259 | 2647427.2474 | 1249317.0781 | 2647432.3415 | 1249318.3085 | 2647435.0019 | 1249319.842 | 2647437.273 | 1249321.9171 | 2647439.7411 | 1249325.795 | 2647440.4282 | 1249328.6246 | 2647440.9002 | 1249331.9084 | 2647440.4602 | 1249335.007 | 2647439.3646 | 1249337.9335 | 2647437.6675 | 1249340.5551 | 2647435.8194 | 1249343.1754 | 2647441.5369 | 1249350.4705 | 2647445.1887 | 1249356.437 | 2647447.5527 | 1249365.7734 | 2647447.6545 | 1249371.9228 | 2647446.9326 | 1249377.2095 | 2647445.7608 | 1249383.0596 | 2647444.521 | 1249388.9203 | 2647443.4085 | 1249394.9155 | 2647442.4562 | 1249400.7007 | 2647441.8789 | 1249406.789
19 | 2647842.5097 | 1249782.661 | 2647827.9113 | 1249771.1244
20 | 2647842.5097 | 1249782.661 | 2647829.2574 | 1249796.0966 | 2647798.3808 | 1249817.4955 | 2647784.2821 | 1249817.9489 | 2647775.8162 | 1249817.6391
21 | 2647827.9113 | 1249771.1244 | 2647812.327 | 1249758.7999
22 | 2647767.527 | 1249817.3358 | 2647767.527 | 1249817.3358 | 2647775.8162 | 1249817.6391
23 | 2647749.5923 | 1249431.7526 | 2647674.4281 | 1249411.5455
24 | 2647744.0258 | 1249382.33 | 2647765.7325 | 1249389.8098 | 2647757.5398 | 1249410.5356 | 2647751.2281 | 1249427.3851 | 2647749.5923 | 1249431.7526
25 | 2647744.0258 | 1249382.33 | 2647708.263 | 1249369.9601
26 | 2647744.0258 | 1249382.33 | 2647756.4078 | 1249348.618
27 | 2647663.8891 | 1249609.2859 | 2647575.5675 | 1249580.1862
28 | 2647628.3261 | 1249493.4639 | 2647575.5675 | 1249580.1862
29 | 2647628.3261 | 1249493.4639 | 2647630.5038 | 1249483.6525 | 2647647.1204 | 1249411.4372 | 2647654.3468 | 1249409.4272 | 2647662.7137 | 1249382.9543 | 2647664.3852 | 1249376.3984
30 | 2647628.3261 | 1249493.4639 | 2647527.8494 | 1249665.0741
31 | 2647669.4495 | 1249356.535 | 2647664.3852 | 1249376.3984
32 | 2647527.8494 | 1249665.0741 | 2647524.8502 | 1249674.9797
33 | 2647861.0343 | 1249835.2795 | 2647858.7822 | 1249802.8504
34 | 2647684.7811 | 1249879.6344 | 2647734.1773 | 1249890.8838 | 2647765.971 | 1249892.3852 | 2647773.4153 | 1249892.3229 | 2647774.477 | 1249872.0622 | 2647785.6273 | 1249860.8555 | 2647858.7822 | 1249802.8504
35 | 2647684.7811 | 1249879.6344 | 2647686.1104 | 1249868.3041 | 2647703.6838 | 1249850.7001 | 2647705.3247 | 1249849.1983
36 | 2647684.7811 | 1249879.6344 | 2647665.2333 | 1249872.4057 | 2647653.3905 | 1249866.1115
37 | 2647731.2819 | 1249825.7497 | 2647750.9765 | 1249808.2075 | 2647767.527 | 1249817.3358
38 | 2647525.25 | 1249741.1547 | 2647527.2781 | 1249736.3081
39 | 2647538.4776 | 1249709.5449 | 2647527.2781 | 1249736.3081
40 | 2647538.4776 | 1249709.5449 | 2647517.8401 | 1249701.5964 | 2647516.9148 | 1249701.1887
41 | 2647563.2771 | 1249719.1058 | 2647561.5385 | 1249718.4358 | 2647538.4776 | 1249709.5449
42 | 2647507.022 | 1249696.8065 | 2647489.6814 | 1249689.1403
43 | 2647507.022 | 1249696.8065 | 2647516.9148 | 1249701.1887
44 | 2647489.6814 | 1249689.1403 | 2647502.0958 | 1249647.3558
45 | 2647489.6814 | 1249689.1403 | 2647483.1837 | 1249686.2655
46 | 2647516.9148 | 1249701.1887 | 2647524.8502 | 1249674.9797
47 | 2647563.2771 | 1249719.1058 | 2647566.2345 | 1249732.5386 | 2647575.8919 | 1249736.306
48 | 2647472.9426 | 1249681.7346 | 2647483.1837 | 1249686.2655
49 | 2647601.4278 | 1249733.8773 | 2647586.5173 | 1249740.451 | 2647575.8919 | 1249736.306
50 | 2647472.9426 | 1249681.7346 | 2647485.7559 | 1249640.0868
51 | 2647601.4278 | 1249733.8773 | 2647607.9605 | 1249736.4093 | 2647613.0957 | 1249738.4335
52 | 2647601.4278 | 1249733.8773 | 2647591.2363 | 1249729.9313
53 | 2647625.9848 | 1249743.5143 | 2647613.0957 | 1249738.4335
54 | 2647625.9848 | 1249743.5143 | 2647621.7777 | 1249754.0988
55 | 2647606.1945 | 1249860.4235 | 2647608.2187 | 1249856.5371 | 2647613.3711 | 1249854.2102 | 2647615.7979 | 1249847.2027 | 2647618.3384 | 1249840.1406 | 2647620.1454 | 1249835.1183 | 2647624.9948 | 1249821.637 | 2647644.5269 | 1249773.5502 | 2647645.7415 | 1249766.1439 | 2647643.3712 | 1249759.5426 | 2647647.4333 | 1249751.9812 | 2647640.6225 | 1249749.2913 | 2647625.9848 | 1249743.5143
56 | 2647621.7777 | 1249754.0988 | 2647616.7196 | 1249766.2998 | 2647610.9112 | 1249779.9846
57 | 2647606.1945 | 1249860.4235 | 2647602.4793 | 1249858.648 | 2647587.5374 | 1249851.3009 | 2647571.422 | 1249842.4879 | 2647554.8831 | 1249831.8815 | 2647532.5709 | 1249815.6122
58 | 2647606.1945 | 1249860.4235 | 2647608.2187 | 1249856.5371 | 2647613.3711 | 1249854.2102 | 2647615.7979 | 1249847.2027 | 2647618.3384 | 1249840.1406 | 2647597.8906 | 1249838.7311 | 2647583.0657 | 1249837.4891
59 | 2647609.5221 | 1249783.2572 | 2647610.9112 | 1249779.9846
60 | 2647583.0657 | 1249837.4891 | 2647596.931 | 1249844.4717 | 2647610.6821 | 1249850.6195 | 2647628.1925 | 1249856.8088 | 2647637.475 | 1249859.1071 | 2647645.5002 | 1249861.9179 | 2647653.3905 | 1249866.1115
61 | 2647601.9431 | 1249801.3271 | 2647602.5912 | 1249799.5867 | 2647609.5221 | 1249783.2572
62 | 2647601.7476 | 1249804.0385 | 2647601.9431 | 1249801.3271 | 2647601.9431 | 1249801.3271
63 | 2647721.9948 | 1249834.0234 | 2647718.6287 | 1249837.0222 | 2647705.3247 | 1249849.1983
64 | 2647731.2819 | 1249825.7497 | 2647721.9948 | 1249834.0234
65 | 2647724.4107 | 1249797.7532 | 2647729.95 | 1249813.9532 | 2647731.2819 | 1249825.7497
66 | 2647417.4374 | 1249320.1907 | 2647422.0552 | 1249317.7259 | 2647427.2474 | 1249317.0781 | 2647432.3415 | 1249318.3085 | 2647435.0019 | 1249319.842 | 2647437.273 | 1249321.9171 | 2647439.7411 | 1249325.795 | 2647440.4282 | 1249328.6246 | 2647445.7787 | 1249327.0552 | 2647450.6941 | 1249323.2587 | 2647454.9874 | 1249317.9339 | 2647464.2371 | 1249301.8192 | 2647477.5193 | 1249285.6145
67 | 2647417.4374 | 1249320.1907 | 2647406.8688 | 1249305.8298 | 2647398.747 | 1249300.8282 | 2647386.5117 | 1249295.1617
68 | 2647477.5193 | 1249285.6145 | 2647485.7428 | 1249271.3151 | 2647479.7452 | 1249267.8759 | 2647471.508 | 1249263.1513 | 2647484.3121 | 1249241.6058
69 | 2647477.5193 | 1249285.6145 | 2647495.4275 | 1249292.4358
70 | 2647386.5117 | 1249295.1617 | 2647381.3779 | 1249292.784 | 2647367.413 | 1249286.289
71 | 2647484.3121 | 1249241.6058 | 2647469.663 | 1249234.2443
72 | 2647484.3121 | 1249241.6058 | 2647499.9717 | 1249210.2313
73 | 2647506.1531 | 1249296.5212 | 2647495.4275 | 1249292.4358
74 | 2647506.931 | 1249230.5239 | 2647520.3891 | 1249235.4404
75 | 2647506.931 | 1249230.5239 | 2647525.971 | 1249193.0733
76 | 2647548.8628 | 1249245.8425 | 2647520.3891 | 1249235.4404
77 | 2647525.971 | 1249193.0733 | 2647544.9971 | 1249200.1218
78 | 2647450.5782 | 1249224.6537 | 2647469.663 | 1249234.2443
79 | 2647708.263 | 1249369.9601 | 2647700.0943 | 1249367.1346
80 | 2647756.4078 | 1249348.618 | 2647719.7106 | 1249333.9856
81 | 2647669.4495 | 1249356.535 | 2647685.7292 | 1249362.1659
82 | 2647669.4495 | 1249356.535 | 2647674.7096 | 1249340.2491
83 | 2647669.4495 | 1249356.535 | 2647629.131 | 1249342.3719
84 | 2647526.3209 | 1249304.2031 | 2647506.1531 | 1249296.5212
85 | 2647548.8628 | 1249245.8425 | 2647550.6014 | 1249246.4776
86 | 2647401.3366 | 1249199.9086 | 2647450.5782 | 1249224.6537
87 | 2647526.3209 | 1249304.2031 | 2647532.1731 | 1249306.4322
88 | 2647532.1731 | 1249306.4322 | 2647554.3445 | 1249314.8773
89 | 2647561.9827 | 1249317.7866 | 2647554.3445 | 1249314.8773
90 | 2647561.9827 | 1249317.7866 | 2647582.33 | 1249325.537
91 | 2647588.2187 | 1249327.7799 | 2647582.33 | 1249325.537
92 | 2647611.0947 | 1249336.0362 | 2647595.6587 | 1249330.6139 | 2647588.2187 | 1249327.7799
93 | 2647611.0947 | 1249336.0362 | 2647616.7569 | 1249338.0252
94 | 2647629.131 | 1249342.3719 | 2647616.7569 | 1249338.0252
95 | 2647685.7292 | 1249362.1659 | 2647700.0943 | 1249367.1346
96 | 2647678.6044 | 1249328.1904 | 2647674.7096 | 1249340.2491
97 | 2647570.4036 | 1249253.7118 | 2647550.6014 | 1249246.4776
98 | 2647678.6044 | 1249328.1904 | 2647680.1905 | 1249323.2796
99 | 2647719.7106 | 1249333.9856 | 2647711.4701 | 1249330.6998 | 2647709.3977 | 1249326.458 | 2647716.3014 | 1249305.6218

## bus_geodata
| x | y | coords
0 | 2647646.9441 | 1249281.6736
1 | 2647632.927 | 1249276.5529
2 | 2647649.2897 | 1249282.5305
3 | 2647618.1367 | 1249271.1497
4 | 2647678.4979 | 1249293.6453
5 | 2647617.2995 | 1249270.8438
6 | 2647688.505 | 1249297.5372
7 | 2647601.1424 | 1249264.9413
8 | 2647682.6175 | 1249315.7653
9 | 2647585.5129 | 1249259.2315
10 | 2647584.8023 | 1249258.9719
11 | 2647409.5019 | 1249506.6221
12 | 2647400.117 | 1249519.4647
13 | 2647407.475 | 1249402.5792
14 | 2647398.2813 | 1249522.4409
15 | 2647388.8223 | 1249398.5169
16 | 2647441.8789 | 1249406.789
17 | 2647842.5097 | 1249782.661
18 | 2647827.9113 | 1249771.1244
19 | 2647775.8162 | 1249817.6391
20 | 2647749.5923 | 1249431.7526
21 | 2647674.4281 | 1249411.5455
22 | 2647744.0258 | 1249382.33
23 | 2647575.5675 | 1249580.1862
24 | 2647663.8891 | 1249609.2859
25 | 2647628.3261 | 1249493.4639
26 | 2647664.3852 | 1249376.3984
27 | 2647527.8494 | 1249665.0741
28 | 2647858.7822 | 1249802.8504
29 | 2647861.0343 | 1249835.2795
30 | 2647684.7811 | 1249879.6344
31 | 2647812.327 | 1249758.7999
32 | 2647767.527 | 1249817.3358
33 | 2647525.25 | 1249741.1547
34 | 2647527.2781 | 1249736.3081
35 | 2647538.4776 | 1249709.5449
36 | 2647507.022 | 1249696.8065
37 | 2647489.6814 | 1249689.1403
38 | 2647516.9148 | 1249701.1887
39 | 2647563.2771 | 1249719.1058
40 | 2647502.0958 | 1249647.3558
41 | 2647483.1837 | 1249686.2655
42 | 2647524.8502 | 1249674.9797
43 | 2647575.8919 | 1249736.306
44 | 2647472.9426 | 1249681.7346
45 | 2647601.4278 | 1249733.8773
46 | 2647613.0957 | 1249738.4335
47 | 2647591.2363 | 1249729.9313
48 | 2647625.9848 | 1249743.5143
49 | 2647621.7777 | 1249754.0988
50 | 2647606.1945 | 1249860.4235
51 | 2647610.9112 | 1249779.9846
52 | 2647583.0657 | 1249837.4891
53 | 2647653.3905 | 1249866.1115
54 | 2647532.5709 | 1249815.6122
55 | 2647609.5221 | 1249783.2572
56 | 2647601.7476 | 1249804.0385
57 | 2647601.9431 | 1249801.3271
58 | 2647705.3247 | 1249849.1983
59 | 2647721.9948 | 1249834.0234
60 | 2647731.2819 | 1249825.7497
61 | 2647485.7559 | 1249640.0868
62 | 2647724.4107 | 1249797.7532
63 | 2647364.2749 | 1249393.1708
64 | 2647417.4374 | 1249320.1907
65 | 2647477.5193 | 1249285.6145
66 | 2647386.5117 | 1249295.1617
67 | 2647484.3121 | 1249241.6058
68 | 2647495.4275 | 1249292.4358
69 | 2647506.931 | 1249230.5239
70 | 2647520.3891 | 1249235.4404
71 | 2647525.971 | 1249193.0733
72 | 2647469.663 | 1249234.2443
73 | 2647499.9717 | 1249210.2313
74 | 2647708.263 | 1249369.9601
75 | 2647756.4078 | 1249348.618
76 | 2647669.4495 | 1249356.535
77 | 2647367.413 | 1249286.289
78 | 2647506.1531 | 1249296.5212
79 | 2647548.8628 | 1249245.8425
80 | 2647544.9971 | 1249200.1218
81 | 2647450.5782 | 1249224.6537
82 | 2647526.3209 | 1249304.2031
83 | 2647532.1731 | 1249306.4322
84 | 2647554.3445 | 1249314.8773
85 | 2647561.9827 | 1249317.7866
86 | 2647582.33 | 1249325.537
87 | 2647588.2187 | 1249327.7799
88 | 2647611.0947 | 1249336.0362
89 | 2647616.7569 | 1249338.0252
90 | 2647629.131 | 1249342.3719
91 | 2647685.7292 | 1249362.1659
92 | 2647674.7096 | 1249340.2491
93 | 2647550.6014 | 1249246.4776
94 | 2647570.4036 | 1249253.7118
95 | 2647700.0943 | 1249367.1346
96 | 2647678.6044 | 1249328.1904
97 | 2647680.1905 | 1249323.2796
98 | 2647719.7106 | 1249333.9856
99 | 2647401.3366 | 1249199.9086
100 | 2647716.3014 | 1249305.6218
101 | 2647435.8194 | 1249343.1754

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1