## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4003-3_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4003-3_0_5_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_4003-3_0_5_node_4 | 0.4 | n |  | TRUE
3 | bus_LV_4003-3_0_5_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_4003-3_0_5_node_118 | 0.4 | n |  | TRUE
5 | bus_LV_4003-3_0_5_node_116 | 0.4 | n |  | TRUE
6 | bus_LV_4003-3_0_5_node_3 | 0.4 | n |  | TRUE
7 | bus_LV_4003-3_0_5_node_65 | 0.4 | n |  | TRUE
8 | bus_LV_4003-3_0_5_node_159 | 0.4 | n |  | TRUE
9 | bus_LV_4003-3_0_5_node_161 | 0.4 | n |  | TRUE
10 | bus_LV_4003-3_0_5_node_158 | 0.4 | n |  | TRUE
11 | bus_LV_4003-3_0_5_node_160 | 0.4 | n |  | TRUE
12 | bus_LV_4003-3_0_5_node_67 | 0.4 | n |  | TRUE
13 | bus_LV_4003-3_0_5_node_64 | 0.4 | n |  | TRUE
14 | bus_LV_4003-3_0_5_node_6 | 0.4 | n |  | TRUE
15 | bus_LV_4003-3_0_5_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_4003-3_0_5_node_162 | 0.4 | n |  | TRUE
17 | bus_LV_4003-3_0_5_node_8 | 0.4 | n |  | TRUE
18 | bus_LV_4003-3_0_5_node_35 | 0.4 | n |  | TRUE
19 | bus_LV_4003-3_0_5_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_4003-3_0_5_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_4003-3_0_5_node_9 | 0.4 | n |  | TRUE
22 | bus_LV_4003-3_0_5_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_4003-3_0_5_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_4003-3_0_5_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_4003-3_0_5_node_107 | 0.4 | n |  | TRUE
26 | bus_LV_4003-3_0_5_node_108 | 0.4 | n |  | TRUE
27 | bus_LV_4003-3_0_5_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_4003-3_0_5_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_4003-3_0_5_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_4003-3_0_5_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_4003-3_0_5_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_4003-3_0_5_node_100 | 0.4 | n |  | TRUE
33 | bus_LV_4003-3_0_5_node_101 | 0.4 | n |  | TRUE
34 | bus_LV_4003-3_0_5_node_21 | 0.4 | n |  | TRUE
35 | bus_LV_4003-3_0_5_node_22 | 0.4 | n |  | TRUE
36 | bus_LV_4003-3_0_5_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_4003-3_0_5_node_24 | 0.4 | n |  | TRUE
38 | bus_LV_4003-3_0_5_node_25 | 0.4 | n |  | TRUE
39 | bus_LV_4003-3_0_5_node_132 | 0.4 | n |  | TRUE
40 | bus_LV_4003-3_0_5_node_30 | 0.4 | n |  | TRUE
41 | bus_LV_4003-3_0_5_node_33 | 0.4 | n |  | TRUE
42 | bus_LV_4003-3_0_5_node_131 | 0.4 | n |  | TRUE
43 | bus_LV_4003-3_0_5_node_28 | 0.4 | n |  | TRUE
44 | bus_LV_4003-3_0_5_node_31 | 0.4 | n |  | TRUE
45 | bus_LV_4003-3_0_5_node_26 | 0.4 | n |  | TRUE
46 | bus_LV_4003-3_0_5_node_27 | 0.4 | n |  | TRUE
47 | bus_LV_4003-3_0_5_node_29 | 0.4 | n |  | TRUE
48 | bus_LV_4003-3_0_5_node_32 | 0.4 | n |  | TRUE
49 | bus_LV_4003-3_0_5_node_34 | 0.4 | n |  | TRUE
50 | bus_LV_4003-3_0_5_node_50 | 0.4 | n |  | TRUE
51 | bus_LV_4003-3_0_5_node_62 | 0.4 | n |  | TRUE
52 | bus_LV_4003-3_0_5_node_134 | 0.4 | n |  | TRUE
53 | bus_LV_4003-3_0_5_node_48 | 0.4 | n |  | TRUE
54 | bus_LV_4003-3_0_5_node_61 | 0.4 | n |  | TRUE
55 | bus_LV_4003-3_0_5_node_36 | 0.4 | n |  | TRUE
56 | bus_LV_4003-3_0_5_node_37 | 0.4 | n |  | TRUE
57 | bus_LV_4003-3_0_5_node_38 | 0.4 | n |  | TRUE
58 | bus_LV_4003-3_0_5_node_39 | 0.4 | n |  | TRUE
59 | bus_LV_4003-3_0_5_node_40 | 0.4 | n |  | TRUE
60 | bus_LV_4003-3_0_5_node_51 | 0.4 | n |  | TRUE
61 | bus_LV_4003-3_0_5_node_151 | 0.4 | n |  | TRUE
62 | bus_LV_4003-3_0_5_node_52 | 0.4 | n |  | TRUE
63 | bus_LV_4003-3_0_5_node_153 | 0.4 | n |  | TRUE
64 | bus_LV_4003-3_0_5_node_41 | 0.4 | n |  | TRUE
65 | bus_LV_4003-3_0_5_node_42 | 0.4 | n |  | TRUE
66 | bus_LV_4003-3_0_5_node_43 | 0.4 | n |  | TRUE
67 | bus_LV_4003-3_0_5_node_44 | 0.4 | n |  | TRUE
68 | bus_LV_4003-3_0_5_node_45 | 0.4 | n |  | TRUE
69 | bus_LV_4003-3_0_5_node_136 | 0.4 | n |  | TRUE
70 | bus_LV_4003-3_0_5_node_103 | 0.4 | n |  | TRUE
71 | bus_LV_4003-3_0_5_node_57 | 0.4 | n |  | TRUE
72 | bus_LV_4003-3_0_5_node_99 | 0.4 | n |  | TRUE
73 | bus_LV_4003-3_0_5_node_109 | 0.4 | n |  | TRUE
74 | bus_LV_4003-3_0_5_node_102 | 0.4 | n |  | TRUE
75 | bus_LV_4003-3_0_5_node_60 | 0.4 | n |  | TRUE
76 | bus_LV_4003-3_0_5_node_55 | 0.4 | n |  | TRUE
77 | bus_LV_4003-3_0_5_node_46 | 0.4 | n |  | TRUE
78 | bus_LV_4003-3_0_5_node_47 | 0.4 | n |  | TRUE
79 | bus_LV_4003-3_0_5_node_49 | 0.4 | n |  | TRUE
80 | bus_LV_4003-3_0_5_node_133 | 0.4 | n |  | TRUE
81 | bus_LV_4003-3_0_5_node_53 | 0.4 | n |  | TRUE
82 | bus_LV_4003-3_0_5_node_80 | 0.4 | n |  | TRUE
83 | bus_LV_4003-3_0_5_node_77 | 0.4 | n |  | TRUE
84 | bus_LV_4003-3_0_5_node_78 | 0.4 | n |  | TRUE
85 | bus_LV_4003-3_0_5_node_54 | 0.4 | n |  | TRUE
86 | bus_LV_4003-3_0_5_node_56 | 0.4 | n |  | TRUE
87 | bus_LV_4003-3_0_5_node_58 | 0.4 | n |  | TRUE
88 | bus_LV_4003-3_0_5_node_59 | 0.4 | n |  | TRUE
89 | bus_LV_4003-3_0_5_node_119 | 0.4 | n |  | TRUE
90 | bus_LV_4003-3_0_5_node_125 | 0.4 | n |  | TRUE
91 | bus_LV_4003-3_0_5_node_117 | 0.4 | n |  | TRUE
92 | bus_LV_4003-3_0_5_node_126 | 0.4 | n |  | TRUE
93 | bus_LV_4003-3_0_5_node_63 | 0.4 | n |  | TRUE
94 | bus_LV_4003-3_0_5_node_66 | 0.4 | n |  | TRUE
95 | bus_LV_4003-3_0_5_node_68 | 0.4 | n |  | TRUE
96 | bus_LV_4003-3_0_5_node_69 | 0.4 | n |  | TRUE
97 | bus_LV_4003-3_0_5_node_127 | 0.4 | n |  | TRUE
98 | bus_LV_4003-3_0_5_node_73 | 0.4 | n |  | TRUE
99 | bus_LV_4003-3_0_5_node_71 | 0.4 | n |  | TRUE
100 | bus_LV_4003-3_0_5_node_129 | 0.4 | n |  | TRUE
101 | bus_LV_4003-3_0_5_node_72 | 0.4 | n |  | TRUE
102 | bus_LV_4003-3_0_5_node_70 | 0.4 | n |  | TRUE
103 | bus_LV_4003-3_0_5_node_74 | 0.4 | n |  | TRUE
104 | bus_LV_4003-3_0_5_node_75 | 0.4 | n |  | TRUE
105 | bus_LV_4003-3_0_5_node_76 | 0.4 | n |  | TRUE
106 | bus_LV_4003-3_0_5_node_128 | 0.4 | n |  | TRUE
107 | bus_LV_4003-3_0_5_node_163 | 0.4 | n |  | TRUE
108 | bus_LV_4003-3_0_5_node_79 | 0.4 | n |  | TRUE
109 | bus_LV_4003-3_0_5_node_81 | 0.4 | n |  | TRUE
110 | bus_LV_4003-3_0_5_node_147 | 0.4 | n |  | TRUE
111 | bus_LV_4003-3_0_5_node_148 | 0.4 | n |  | TRUE
112 | bus_LV_4003-3_0_5_node_83 | 0.4 | n |  | TRUE
113 | bus_LV_4003-3_0_5_node_84 | 0.4 | n |  | TRUE
114 | bus_LV_4003-3_0_5_node_85 | 0.4 | n |  | TRUE
115 | bus_LV_4003-3_0_5_node_87 | 0.4 | n |  | TRUE
116 | bus_LV_4003-3_0_5_node_86 | 0.4 | n |  | TRUE
117 | bus_LV_4003-3_0_5_node_88 | 0.4 | n |  | TRUE
118 | bus_LV_4003-3_0_5_node_98 | 0.4 | n |  | TRUE
119 | bus_LV_4003-3_0_5_node_92 | 0.4 | n |  | TRUE
120 | bus_LV_4003-3_0_5_node_96 | 0.4 | n |  | TRUE
121 | bus_LV_4003-3_0_5_node_97 | 0.4 | n |  | TRUE
122 | bus_LV_4003-3_0_5_node_90 | 0.4 | n |  | TRUE
123 | bus_LV_4003-3_0_5_node_104 | 0.4 | n |  | TRUE
124 | bus_LV_4003-3_0_5_node_89 | 0.4 | n |  | TRUE
125 | bus_LV_4003-3_0_5_node_91 | 0.4 | n |  | TRUE
126 | bus_LV_4003-3_0_5_node_93 | 0.4 | n |  | TRUE
127 | bus_LV_4003-3_0_5_node_94 | 0.4 | n |  | TRUE
128 | bus_LV_4003-3_0_5_node_95 | 0.4 | n |  | TRUE
129 | bus_LV_4003-3_0_5_node_105 | 0.4 | n |  | TRUE
130 | bus_LV_4003-3_0_5_node_106 | 0.4 | n |  | TRUE
131 | bus_LV_4003-3_0_5_node_110 | 0.4 | n |  | TRUE
132 | bus_LV_4003-3_0_5_node_111 | 0.4 | n |  | TRUE
133 | bus_LV_4003-3_0_5_node_112 | 0.4 | n |  | TRUE
134 | bus_LV_4003-3_0_5_node_113 | 0.4 | n |  | TRUE
135 | bus_LV_4003-3_0_5_node_165 | 0.4 | n |  | TRUE
136 | bus_LV_4003-3_0_5_node_114 | 0.4 | n |  | TRUE
137 | bus_LV_4003-3_0_5_node_145 | 0.4 | n |  | TRUE
138 | bus_LV_4003-3_0_5_node_123 | 0.4 | n |  | TRUE
139 | bus_LV_4003-3_0_5_node_146 | 0.4 | n |  | TRUE
140 | bus_LV_4003-3_0_5_node_144 | 0.4 | n |  | TRUE
141 | bus_LV_4003-3_0_5_node_124 | 0.4 | n |  | TRUE
142 | bus_LV_4003-3_0_5_node_122 | 0.4 | n |  | TRUE
143 | bus_LV_4003-3_0_5_node_115 | 0.4 | n |  | TRUE
144 | bus_LV_4003-3_0_5_node_120 | 0.4 | n |  | TRUE
145 | bus_LV_4003-3_0_5_node_121 | 0.4 | n |  | TRUE
146 | bus_LV_4003-3_0_5_node_135 | 0.4 | n |  | TRUE
147 | bus_LV_4003-3_0_5_node_137 | 0.4 | n |  | TRUE
148 | bus_LV_4003-3_0_5_node_138 | 0.4 | n |  | TRUE
149 | bus_LV_4003-3_0_5_node_140 | 0.4 | n |  | TRUE
150 | bus_LV_4003-3_0_5_node_142 | 0.4 | n |  | TRUE
151 | bus_LV_4003-3_0_5_node_141 | 0.4 | n |  | TRUE
152 | bus_LV_4003-3_0_5_node_156 | 0.4 | n |  | TRUE
153 | bus_LV_4003-3_0_5_node_143 | 0.4 | n |  | TRUE
154 | bus_LV_4003-3_0_5_node_152 | 0.4 | n |  | TRUE
155 | bus_LV_4003-3_0_5_node_157 | 0.4 | n |  | TRUE
156 | bus_LV_4003-3_0_5_node_154 | 0.4 | n |  | TRUE
157 | bus_LV_4003-3_0_5_node_149 | 0.4 | n |  | TRUE
158 | bus_LV_4003-3_0_5_node_150 | 0.4 | n |  | TRUE
159 | bus_LV_4003-3_0_5_node_155 | 0.4 | n |  | TRUE
160 | bus_MV_612_0_node_91 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4003-3_0_5_load_0 | 0 | 0.017151 | 0.0042985 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4003-3_0_5_load_4 | 2 | 0.0052051 | 0.0013045 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4003-3_0_5_load_5 | 3 | 0.0008804 | 0.00022065 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4003-3_0_5_load_118 | 4 | 0.0012179 | 0.00030524 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4003-3_0_5_load_116 | 5 | 0.0013505 | 0.00033847 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4003-3_0_5_load_159 | 8 | 0.0010104 | 0.00025324 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4003-3_0_5_load_158 | 10 | 0.0011964 | 0.00029986 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4003-3_0_5_load_160 | 11 | 0.00078804 | 0.0001975 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4003-3_0_5_load_64 | 13 | 0.0045899 | 0.0011503 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4003-3_0_5_load_6 | 14 | 0.0010647 | 0.00026683 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4003-3_0_5_load_7 | 15 | 0.0030441 | 0.00076292 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4003-3_0_5_load_162 | 16 | 0.0061758 | 0.0015478 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4003-3_0_5_load_35 | 18 | 0.0017822 | 0.00044667 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4003-3_0_5_load_9 | 21 | 0.010729 | 0.002689 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4003-3_0_5_load_11 | 22 | 0.0012304 | 0.00030836 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4003-3_0_5_load_14 | 24 | 0.0004657 | 0.00011672 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4003-3_0_5_load_108 | 26 | 0.00096683 | 0.00024231 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4003-3_0_5_load_19 | 27 | 0.0027483 | 0.00068879 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4003-3_0_5_load_16 | 28 | 0.0053448 | 0.0013395 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4003-3_0_5_load_17 | 29 | 0.0011638 | 0.00029167 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4003-3_0_5_load_18 | 30 | 0.0026456 | 0.00066305 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4003-3_0_5_load_20 | 31 | 0.0012983 | 0.00032538 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4003-3_0_5_load_100 | 32 | 0.0026782 | 0.00067122 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4003-3_0_5_load_101 | 33 | 0.0016101 | 0.00040354 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4003-3_0_5_load_21 | 34 | 0.011568 | 0.0028993 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4003-3_0_5_load_22 | 35 | 0.0019068 | 0.00047789 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4003-3_0_5_load_23 | 36 | 0.0016217 | 0.00040643 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4003-3_0_5_load_24 | 37 | 0.0019062 | 0.00047773 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4003-3_0_5_load_132 | 39 | 0.0079353 | 0.0019888 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4003-3_0_5_load_33 | 41 | 0.0015656 | 0.00039237 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4003-3_0_5_load_131 | 42 | 0.001861 | 0.00046642 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4003-3_0_5_load_28 | 43 | 0.0030344 | 0.00076049 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4003-3_0_5_load_31 | 44 | 0.0033345 | 0.0008357 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4003-3_0_5_load_26 | 45 | 0.0022224 | 0.00055699 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4003-3_0_5_load_27 | 46 | 0.0022827 | 0.00057209 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4003-3_0_5_load_29 | 47 | 0.0028172 | 0.00070605 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4003-3_0_5_load_32 | 48 | 0.0019035 | 0.00047707 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4003-3_0_5_load_62 | 51 | 0.0028468 | 0.00071347 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4003-3_0_5_load_134 | 52 | 0.0017676 | 0.000443 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4003-3_0_5_load_48 | 53 | 0.001904 | 0.00047718 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4003-3_0_5_load_61 | 54 | 0.0020083 | 0.00050332 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4003-3_0_5_load_36 | 55 | 0.0017158 | 0.00043001 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4003-3_0_5_load_37 | 56 | 0.0014326 | 0.00035905 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4003-3_0_5_load_38 | 57 | 0.0011816 | 0.00029613 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4003-3_0_5_load_39 | 58 | 0.0015864 | 0.00039759 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4003-3_0_5_load_40 | 59 | 0.0014445 | 0.00036202 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4003-3_0_5_load_51 | 60 | 0.0010335 | 0.00025903 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4003-3_0_5_load_151 | 61 | 0.0019522 | 0.00048927 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4003-3_0_5_load_52 | 62 | 0.0012498 | 0.00031322 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4003-3_0_5_load_41 | 64 | 0.0032202 | 0.00080705 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4003-3_0_5_load_42 | 65 | 0.0015974 | 0.00040034 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4003-3_0_5_load_43 | 66 | 0.0035394 | 0.00088705 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4003-3_0_5_load_45 | 68 | 0.0018872 | 0.00047297 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4003-3_0_5_load_99 | 72 | 0.0031123 | 0.00078003 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4003-3_0_5_load_109 | 73 | 0.001307 | 0.00032756 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4003-3_0_5_load_102 | 74 | 0.001618 | 0.00040551 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4003-3_0_5_load_60 | 75 | 0.0015133 | 0.00037926 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4003-3_0_5_load_55 | 76 | 0.00075291 | 0.0001887 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4003-3_0_5_load_46 | 77 | 0.0028455 | 0.00071314 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4003-3_0_5_load_47 | 78 | 0.0019036 | 0.00047708 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4003-3_0_5_load_133 | 80 | 0.0013844 | 0.00034696 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4003-3_0_5_load_80 | 82 | 0.0013262 | 0.00033238 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4003-3_0_5_load_77 | 83 | 0.0009745 | 0.00024423 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4003-3_0_5_load_78 | 84 | 0.0015554 | 0.00038983 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4003-3_0_5_load_54 | 85 | 0.0037577 | 0.00094177 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4003-3_0_5_load_58 | 87 | 0.0012848 | 0.000322 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4003-3_0_5_load_59 | 88 | 0.0010451 | 0.00026192 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4003-3_0_5_load_119 | 89 | 0.00072332 | 0.00018128 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4003-3_0_5_load_125 | 90 | 0.00063082 | 0.0001581 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4003-3_0_5_load_126 | 92 | 0.0087936 | 0.0022039 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4003-3_0_5_load_63 | 93 | 0.0037675 | 0.00094422 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4003-3_0_5_load_68 | 95 | 0.0029786 | 0.00074652 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4003-3_0_5_load_69 | 96 | 0.0012361 | 0.00030979 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4003-3_0_5_load_127 | 97 | 0.0048887 | 0.0012252 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4003-3_0_5_load_73 | 98 | 0.0048688 | 0.0012202 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4003-3_0_5_load_71 | 99 | 0.0010865 | 0.00027231 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4003-3_0_5_load_129 | 100 | 0.0037476 | 0.00093924 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4003-3_0_5_load_72 | 101 | 0.0031695 | 0.00079435 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4003-3_0_5_load_70 | 102 | 0.0032027 | 0.00080268 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4003-3_0_5_load_75 | 104 | 0.0030094 | 0.00075423 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4003-3_0_5_load_128 | 106 | 0.0033293 | 0.00083441 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4003-3_0_5_load_163 | 107 | 0.0029661 | 0.00074337 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_4003-3_0_5_load_79 | 108 | 0.0035803 | 0.00089732 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_4003-3_0_5_load_81 | 109 | 0.0014788 | 0.00037063 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_4003-3_0_5_load_147 | 110 | 0.00073607 | 0.00018448 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_4003-3_0_5_load_148 | 111 | 0.0015174 | 0.00038029 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_4003-3_0_5_load_83 | 112 | 0.0024193 | 0.00060634 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_4003-3_0_5_load_84 | 113 | 0.0011555 | 0.00028959 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_4003-3_0_5_load_86 | 116 | 0.0011254 | 0.00028205 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_4003-3_0_5_load_98 | 118 | 0.0018095 | 0.0004535 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_4003-3_0_5_load_92 | 119 | 0.0020366 | 0.00051041 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_4003-3_0_5_load_96 | 120 | 0.0011235 | 0.00028157 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_4003-3_0_5_load_97 | 121 | 0.0048343 | 0.0012116 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_4003-3_0_5_load_90 | 122 | 0.00089167 | 0.00022347 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_4003-3_0_5_load_104 | 123 | 0.0012346 | 0.00030943 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_4003-3_0_5_load_89 | 124 | 0.0011095 | 0.00027808 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_4003-3_0_5_load_91 | 125 | 0.0015562 | 0.00039001 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_4003-3_0_5_load_93 | 126 | 0.0012972 | 0.00032511 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_4003-3_0_5_load_94 | 127 | 0.0037734 | 0.00094571 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_4003-3_0_5_load_95 | 128 | 0.0025951 | 0.0006504 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_4003-3_0_5_load_110 | 131 | 0.0013995 | 0.00035075 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_4003-3_0_5_load_111 | 132 | 0.0014585 | 0.00036553 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_4003-3_0_5_load_112 | 133 | 0.0034179 | 0.0008566 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_4003-3_0_5_load_113 | 134 | 0.0014229 | 0.00035662 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_4003-3_0_5_load_165 | 135 | 0.0029228 | 0.00073253 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_4003-3_0_5_load_114 | 136 | 0.0012375 | 0.00031014 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_4003-3_0_5_load_146 | 139 | 0.0015806 | 0.00039615 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_4003-3_0_5_load_144 | 140 | 0.0020324 | 0.00050936 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_4003-3_0_5_load_124 | 141 | 0.0028174 | 0.00070611 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_4003-3_0_5_load_122 | 142 | 0.0019718 | 0.00049418 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_4003-3_0_5_load_115 | 143 | 0.0016019 | 0.00040147 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_4003-3_0_5_load_120 | 144 | 0.00079489 | 0.00019922 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_4003-3_0_5_load_121 | 145 | 0.0012143 | 0.00030433 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_4003-3_0_5_load_135 | 146 | 0.0033029 | 0.00082779 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_4003-3_0_5_load_137 | 147 | 0.0051171 | 0.0012825 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_4003-3_0_5_load_138 | 148 | 0.0037536 | 0.00094075 | 0 | 0 |  | 1 | TRUE | wye
116 | LV_4003-3_0_5_load_140 | 149 | 0.0015103 | 0.00037852 | 0 | 0 |  | 1 | TRUE | wye
117 | LV_4003-3_0_5_load_142 | 150 | 0.0026341 | 0.00066017 | 0 | 0 |  | 1 | TRUE | wye
118 | LV_4003-3_0_5_load_141 | 151 | 0.0049458 | 0.0012395 | 0 | 0 |  | 1 | TRUE | wye
119 | LV_4003-3_0_5_load_143 | 153 | 0.0022466 | 0.00056306 | 0 | 0 |  | 1 | TRUE | wye
120 | LV_4003-3_0_5_load_157 | 155 | 0.0027221 | 0.00068221 | 0 | 0 |  | 1 | TRUE | wye
121 | LV_4003-3_0_5_load_154 | 156 | 0.0037125 | 0.00093044 | 0 | 0 |  | 1 | TRUE | wye
122 | LV_4003-3_0_5_load_149 | 157 | 0.0026304 | 0.00065923 | 0 | 0 |  | 1 | TRUE | wye
123 | LV_4003-3_0_5_load_150 | 158 | 0.0025669 | 0.00064332 | 0 | 0 |  | 1 | TRUE | wye
124 | LV_4003-3_0_5_load_155 | 159 | 0.0021492 | 0.00053864 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 86 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4003-3_0_5_line_0 |  | 0 | 1 | 0.041562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4003-3_0_5_line_1 |  | 1 | 2 | 0.059776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_4003-3_0_5_line_2 |  | 1 | 3 | 0.022387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_4003-3_0_5_line_3 |  | 2 | 9 | 0.094643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_4003-3_0_5_line_4 |  | 3 | 10 | 0.024393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_4003-3_0_5_line_5 |  | 4 | 5 | 0.0014264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4003-3_0_5_line_6 |  | 5 | 143 | 0.020309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4003-3_0_5_line_7 |  | 6 | 7 | 0.056969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_4003-3_0_5_line_8 |  | 6 | 8 | 0.014722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_4003-3_0_5_line_9 |  | 7 | 12 | 0.018731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4003-3_0_5_line_10 |  | 7 | 13 | 0.016389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4003-3_0_5_line_11 |  | 8 | 10 | 0.025489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_4003-3_0_5_line_12 |  | 9 | 11 | 0.017527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_4003-3_0_5_line_13 |  | 11 | 18 | 0.084093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_4003-3_0_5_line_14 |  | 12 | 97 | 0.012259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4003-3_0_5_line_15 |  | 12 | 98 | 0.0032355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4003-3_0_5_line_16 |  | 13 | 94 | 0.041803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4003-3_0_5_line_17 |  | 14 | 15 | 0.027341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4003-3_0_5_line_18 |  | 14 | 16 | 0.13353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4003-3_0_5_line_19 |  | 15 | 17 | 0.068401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4003-3_0_5_line_20 |  | 16 | 18 | 0.10833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4003-3_0_5_line_21 |  | 17 | 19 | 0.011556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4003-3_0_5_line_22 |  | 17 | 20 | 0.095555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4003-3_0_5_line_23 |  | 18 | 47 | 0.0078867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_4003-3_0_5_line_24 |  | 19 | 21 | 0.035063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4003-3_0_5_line_25 |  | 20 | 22 | 0.05677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4003-3_0_5_line_26 |  | 22 | 23 | 0.029701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4003-3_0_5_line_27 |  | 23 | 24 | 0.013999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4003-3_0_5_line_28 |  | 25 | 26 | 0.043608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4003-3_0_5_line_29 |  | 25 | 27 | 0.020806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4003-3_0_5_line_30 |  | 26 | 130 | 0.01793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4003-3_0_5_line_31 |  | 27 | 29 | 0.014476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4003-3_0_5_line_32 |  | 28 | 29 | 0.014119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4003-3_0_5_line_33 |  | 28 | 30 | 0.00237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4003-3_0_5_line_34 |  | 30 | 31 | 0.016863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4003-3_0_5_line_35 |  | 31 | 32 | 0.015302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4003-3_0_5_line_36 |  | 32 | 33 | 0.025395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4003-3_0_5_line_37 |  | 33 | 74 | 0.0018726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4003-3_0_5_line_38 |  | 34 | 35 | 0.0078843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4003-3_0_5_line_39 |  | 34 | 36 | 0.010509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4003-3_0_5_line_40 |  | 35 | 37 | 0.014394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4003-3_0_5_line_41 |  | 36 | 38 | 0.013806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4003-3_0_5_line_42 |  | 37 | 39 | 0.002298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4003-3_0_5_line_43 |  | 38 | 40 | 0.01225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_4003-3_0_5_line_44 |  | 38 | 41 | 0.020786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_4003-3_0_5_line_45 |  | 39 | 42 | 0.025602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4003-3_0_5_line_46 |  | 40 | 43 | 0.02052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_4003-3_0_5_line_47 |  | 41 | 44 | 0.0064329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_4003-3_0_5_line_48 |  | 43 | 45 | 0.00021244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_4003-3_0_5_line_49 |  | 44 | 48 | 0.0078224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_4003-3_0_5_line_50 |  | 45 | 46 | 0.026089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_4003-3_0_5_line_51 |  | 46 | 47 | 0.0044337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_4003-3_0_5_line_52 |  | 48 | 49 | 0.013043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_4003-3_0_5_line_53 |  | 49 | 50 | 0.017453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_4003-3_0_5_line_54 |  | 49 | 51 | 0.0090534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4003-3_0_5_line_55 |  | 50 | 52 | 0.013106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4003-3_0_5_line_56 |  | 50 | 53 | 0.013386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_4003-3_0_5_line_57 |  | 51 | 54 | 0.00357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4003-3_0_5_line_58 |  | 52 | 80 | 0.0024914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4003-3_0_5_line_59 |  | 53 | 77 | 0.014571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_4003-3_0_5_line_60 |  | 54 | 93 | 0.01366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4003-3_0_5_line_61 |  | 55 | 56 | 0.017846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4003-3_0_5_line_62 |  | 55 | 57 | 0.0060246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4003-3_0_5_line_63 |  | 56 | 58 | 0.00099823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4003-3_0_5_line_64 |  | 57 | 59 | 0.016772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4003-3_0_5_line_65 |  | 58 | 60 | 0.022407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4003-3_0_5_line_66 |  | 59 | 61 | 0.0067903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4003-3_0_5_line_67 |  | 60 | 62 | 0.00011287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4003-3_0_5_line_68 |  | 61 | 63 | 0.021685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4003-3_0_5_line_69 |  | 63 | 156 | 0.0053891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4003-3_0_5_line_70 |  | 63 | 159 | 0.032167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4003-3_0_5_line_71 |  | 64 | 65 | 0.030891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
72 | LV_4003-3_0_5_line_72 |  | 64 | 66 | 0.0012163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
73 | LV_4003-3_0_5_line_73 |  | 65 | 67 | 0.01516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
74 | LV_4003-3_0_5_line_74 |  | 66 | 68 | 0.025053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
75 | LV_4003-3_0_5_line_75 |  | 67 | 69 | 0.008941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4003-3_0_5_line_76 |  | 67 | 70 | 0.025921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
77 | LV_4003-3_0_5_line_77 |  | 68 | 71 | 0.03886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
78 | LV_4003-3_0_5_line_78 |  | 69 | 72 | 0.01894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4003-3_0_5_line_79 |  | 70 | 73 | 0.030892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
80 | LV_4003-3_0_5_line_80 |  | 70 | 74 | 0.005629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4003-3_0_5_line_81 |  | 71 | 75 | 0.0087269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4003-3_0_5_line_82 |  | 71 | 76 | 0.013135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
83 | LV_4003-3_0_5_line_83 |  | 73 | 79 | 0.018623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
84 | LV_4003-3_0_5_line_84 |  | 75 | 82 | 0.0090866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4003-3_0_5_line_85 |  | 76 | 85 | 0.0079232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
86 | LV_4003-3_0_5_line_86 |  | 77 | 78 | 0.0032656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
87 | LV_4003-3_0_5_line_87 |  | 78 | 79 | 0.016197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
88 | LV_4003-3_0_5_line_88 |  | 80 | 146 | 0.0072178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4003-3_0_5_line_89 |  | 81 | 82 | 0.0095959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4003-3_0_5_line_90 |  | 81 | 83 | 0.014926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4003-3_0_5_line_91 |  | 83 | 84 | 0.00084922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4003-3_0_5_line_92 |  | 84 | 108 | 0.020474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4003-3_0_5_line_93 |  | 85 | 86 | 0.010086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
94 | LV_4003-3_0_5_line_94 |  | 86 | 87 | 0.029071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4003-3_0_5_line_95 |  | 86 | 88 | 0.012094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_4003-3_0_5_line_96 |  | 87 | 89 | 0.0089198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_4003-3_0_5_line_97 |  | 88 | 90 | 0.012138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_4003-3_0_5_line_98 |  | 89 | 91 | 0.0050216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_4003-3_0_5_line_99 |  | 90 | 92 | 0.0090119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_4003-3_0_5_line_100 |  | 91 | 144 | 0.016836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_4003-3_0_5_line_101 |  | 91 | 143 | 0.015882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_4003-3_0_5_line_102 |  | 94 | 95 | 0.015152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_4003-3_0_5_line_103 |  | 94 | 96 | 0.01322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_4003-3_0_5_line_104 |  | 95 | 99 | 0.0082961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_4003-3_0_5_line_105 |  | 97 | 100 | 0.028546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_4003-3_0_5_line_106 |  | 98 | 101 | 0.026281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_4003-3_0_5_line_107 |  | 99 | 102 | 0.0016605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_4003-3_0_5_line_108 |  | 101 | 103 | 0.01837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_4003-3_0_5_line_109 |  | 103 | 104 | 0.022559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_4003-3_0_5_line_110 |  | 103 | 105 | 0.054659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_4003-3_0_5_line_111 |  | 104 | 106 | 0.01884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_4003-3_0_5_line_112 |  | 105 | 107 | 0.046457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_4003-3_0_5_line_113 |  | 108 | 109 | 0.00082736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_4003-3_0_5_line_114 |  | 110 | 111 | 0.023203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_4003-3_0_5_line_115 |  | 111 | 157 | 0.023842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_4003-3_0_5_line_116 |  | 112 | 113 | 0.023572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_4003-3_0_5_line_117 |  | 112 | 114 | 0.068385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_4003-3_0_5_line_118 |  | 114 | 115 | 0.056774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_4003-3_0_5_line_119 |  | 115 | 118 | 0.02083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_4003-3_0_5_line_120 |  | 116 | 117 | 0.012769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_4003-3_0_5_line_121 |  | 117 | 119 | 0.0047402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_4003-3_0_5_line_122 |  | 117 | 120 | 0.019101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_4003-3_0_5_line_123 |  | 118 | 121 | 0.007503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_4003-3_0_5_line_124 |  | 119 | 122 | 0.020357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_4003-3_0_5_line_125 |  | 120 | 123 | 0.00068954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_4003-3_0_5_line_126 |  | 121 | 128 | 0.016106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_4003-3_0_5_line_127 |  | 122 | 124 | 0.0085822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_4003-3_0_5_line_128 |  | 123 | 129 | 0.016123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_4003-3_0_5_line_129 |  | 124 | 125 | 0.012033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_4003-3_0_5_line_130 |  | 125 | 126 | 0.01054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_4003-3_0_5_line_131 |  | 126 | 127 | 0.01191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_4003-3_0_5_line_132 |  | 127 | 128 | 0.010547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_4003-3_0_5_line_133 |  | 129 | 130 | 0.022898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_4003-3_0_5_line_134 |  | 131 | 132 | 0.01432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_4003-3_0_5_line_135 |  | 131 | 133 | 0.0055932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_4003-3_0_5_line_136 |  | 132 | 134 | 0.018117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_4003-3_0_5_line_137 |  | 132 | 135 | 0.035876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_4003-3_0_5_line_138 |  | 133 | 136 | 0.014748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_4003-3_0_5_line_139 |  | 134 | 137 | 0.014852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_4003-3_0_5_line_140 |  | 136 | 138 | 0.011587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_4003-3_0_5_line_141 |  | 137 | 139 | 0.012162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_4003-3_0_5_line_142 |  | 137 | 140 | 0.0040536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_4003-3_0_5_line_143 |  | 138 | 141 | 0.026869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_4003-3_0_5_line_144 |  | 138 | 142 | 0.0034743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_4003-3_0_5_line_145 |  | 139 | 155 | 0.016755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_4003-3_0_5_line_146 |  | 140 | 153 | 0.021149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
147 | LV_4003-3_0_5_line_147 |  | 142 | 145 | 0.010398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
148 | LV_4003-3_0_5_line_148 |  | 144 | 145 | 0.014035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
149 | LV_4003-3_0_5_line_149 |  | 147 | 148 | 0.016749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
150 | LV_4003-3_0_5_line_150 |  | 148 | 149 | 0.010429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
151 | LV_4003-3_0_5_line_151 |  | 149 | 150 | 0.011851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
152 | LV_4003-3_0_5_line_152 |  | 150 | 153 | 0.010276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
153 | LV_4003-3_0_5_line_153 |  | 151 | 152 | 0.02806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
154 | LV_4003-3_0_5_line_154 |  | 152 | 154 | 0.011701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
155 | LV_4003-3_0_5_line_155 |  | 154 | 159 | 0.018776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
156 | LV_4003-3_0_5_line_156 |  | 154 | 158 | 0.01715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
157 | LV_4003-3_0_5_line_157 |  | 155 | 156 | 0.012468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
158 | LV_4003-3_0_5_line_158 |  | 157 | 158 | 0.025757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4003-3_0_5_trafo_56 | 0.63 MVA 20/0.4 kV | 160 | 86 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2648163.0169 | 1249319.3967 | 2648162.8077 | 1249277.8357
1 | 2648163.0169 | 1249319.3967 | 2648163.3204 | 1249379.1721
2 | 2648163.0169 | 1249319.3967 | 2648174.0963 | 1249309.7023 | 2648174.0289 | 1249302.0378
3 | 2648075.561 | 1249414.6072 | 2648163.3204 | 1249379.1721
4 | 2648174.0289 | 1249302.0378 | 2648173.8142 | 1249277.6462
5 | 2648028.6603 | 1249248.6928 | 2648027.3531 | 1249248.122
6 | 2648008.7412 | 1249239.9935 | 2648027.3531 | 1249248.122
7 | 2648173.4604 | 1249237.4371 | 2648198.7078 | 1249237.5312 | 2648223.7617 | 1249238.213 | 2648230.3816 | 1249237.4997
8 | 2648173.4604 | 1249237.4371 | 2648173.59 | 1249252.1586
9 | 2648226.4837 | 1249219.1778 | 2648230.3816 | 1249237.4997
10 | 2648230.3816 | 1249237.4997 | 2648235.8715 | 1249252.9414
11 | 2648173.8142 | 1249277.6462 | 2648173.59 | 1249252.1586
12 | 2648075.561 | 1249414.6072 | 2648071.3521 | 1249431.6209
13 | 2647987.3465 | 1249427.7785 | 2648071.3521 | 1249431.6209
14 | 2648226.4837 | 1249219.1778 | 2648238.2303 | 1249215.671
15 | 2648226.4837 | 1249219.1778 | 2648225.9755 | 1249215.9825
16 | 2648255.4168 | 1249289.6386 | 2648248.0981 | 1249279.739 | 2648238.3461 | 1249259.9018 | 2648235.8715 | 1249252.9414
17 | 2647896.4577 | 1249618.2875 | 2647887.1768 | 1249627.0717 | 2647897.4678 | 1249637.3745
18 | 2648001.0163 | 1249535.2407 | 2647896.4577 | 1249618.2875
19 | 2647898.6847 | 1249688.4839 | 2647920.7208 | 1249660.6542 | 2647897.4678 | 1249637.3745
20 | 2647987.3465 | 1249427.7785 | 2648001.0163 | 1249535.2407
21 | 2647906.9998 | 1249696.5343 | 2647898.6847 | 1249688.4839
22 | 2647828.2448 | 1249624.0497 | 2647844.3949 | 1249635.143 | 2647861.7308 | 1249652.7059 | 2647898.6847 | 1249688.4839
23 | 2647980.344 | 1249424.1501 | 2647987.3465 | 1249427.7785
24 | 2647906.9998 | 1249696.5343 | 2647890.519 | 1249727.4828
25 | 2647828.2448 | 1249624.0497 | 2647834.0332 | 1249614.0452 | 2647837.4631 | 1249607.2127 | 2647840.0249 | 1249600.3731 | 2647838.9512 | 1249590.2799 | 2647834.2483 | 1249582.7146 | 2647827.3905 | 1249577.4113 | 2647825.0733 | 1249576.3823
26 | 2647796.7702 | 1249567.8135 | 2647815.226 | 1249572.0095 | 2647825.0733 | 1249576.3823
27 | 2647796.7702 | 1249567.8135 | 2647793.1957 | 1249581.3494
28 | 2647823.5472 | 1249410.8898 | 2647809.8237 | 1249405.8869 | 2647782.5775 | 1249395.952
29 | 2647823.5472 | 1249410.8898 | 2647831.1991 | 1249391.5424
30 | 2647765.7325 | 1249389.8098 | 2647782.5775 | 1249395.952
31 | 2647831.1991 | 1249391.5424 | 2647836.5232 | 1249378.081
32 | 2647840.3413 | 1249364.512 | 2647837.7672 | 1249374.9357 | 2647836.5232 | 1249378.081
33 | 2647840.9095 | 1249362.2111 | 2647840.3413 | 1249364.512
34 | 2647840.9095 | 1249362.2111 | 2647844.9523 | 1249345.8395
35 | 2647848.6209 | 1249330.9837 | 2647844.9523 | 1249345.8395
36 | 2647848.6209 | 1249330.9837 | 2647854.7092 | 1249306.3295
37 | 2647854.7092 | 1249306.3295 | 2647855.1581 | 1249304.5115
38 | 2647917.4357 | 1249380.5455 | 2647910.3047 | 1249377.1823
39 | 2647917.4357 | 1249380.5455 | 2647926.9405 | 1249385.0283
40 | 2647897.2855 | 1249371.0421 | 2647910.3047 | 1249377.1823
41 | 2647939.8336 | 1249389.3806 | 2647935.4573 | 1249389.045 | 2647926.9405 | 1249385.0283
42 | 2647895.2071 | 1249370.0619 | 2647897.2855 | 1249371.0421
43 | 2647939.8336 | 1249389.3806 | 2647934.8356 | 1249400.57
44 | 2647939.8336 | 1249389.3806 | 2647942.4623 | 1249387.356 | 2647949.562 | 1249371.3954
45 | 2647887.1296 | 1249351.4897 | 2647883.5635 | 1249359.3725 | 2647886.094 | 1249365.7639 | 2647895.2071 | 1249370.0619
46 | 2647934.8356 | 1249400.57 | 2647953.055 | 1249410.0104
47 | 2647952.1765 | 1249365.5177 | 2647949.562 | 1249371.3954
48 | 2647953.2436 | 1249410.1081 | 2647953.055 | 1249410.0104
49 | 2647952.1765 | 1249365.5177 | 2647955.3557 | 1249358.3705
50 | 2647976.4074 | 1249422.1104 | 2647953.2436 | 1249410.1081
51 | 2647980.344 | 1249424.1501 | 2647976.4074 | 1249422.1104
52 | 2647960.6568 | 1249346.4532 | 2647955.3557 | 1249358.3705
53 | 2647944.7317 | 1249339.2085 | 2647960.6568 | 1249346.4532
54 | 2647960.6568 | 1249346.4532 | 2647968.8966 | 1249350.2042
55 | 2647944.7317 | 1249339.2085 | 2647949.9641 | 1249327.1921
56 | 2647944.7317 | 1249339.2085 | 2647932.5493 | 1249333.6614
57 | 2647972.1458 | 1249351.6833 | 2647968.8966 | 1249350.2042
58 | 2647950.9587 | 1249324.9078 | 2647949.9641 | 1249327.1921
59 | 2647919.2883 | 1249327.6231 | 2647932.5493 | 1249333.6614
60 | 2647984.5781 | 1249357.3429 | 2647972.1458 | 1249351.6833
61 | 2647945.7113 | 1249191.5876 | 2647950.8145 | 1249174.4871
62 | 2647952.5373 | 1249168.7141 | 2647950.8145 | 1249174.4871
63 | 2647945.7113 | 1249191.5876 | 2647945.4259 | 1249192.5442
64 | 2647952.5373 | 1249168.7141 | 2647957.3333 | 1249152.6428
65 | 2647939.0184 | 1249214.0154 | 2647945.4259 | 1249192.5442
66 | 2647959.0156 | 1249146.077 | 2647958.698 | 1249148.0699 | 2647957.3333 | 1249152.6428
67 | 2647939.0184 | 1249214.0154 | 2647938.9861 | 1249214.1235
68 | 2647962.4285 | 1249124.662 | 2647959.0156 | 1249146.077
69 | 2647962.4285 | 1249124.662 | 2647967.6688 | 1249123.4042
70 | 2647962.4285 | 1249124.662 | 2647931.3935 | 1249116.204
71 | 2647905.4408 | 1249291.0741 | 2647876.7842 | 1249279.5401
72 | 2647905.4408 | 1249291.0741 | 2647906.5691 | 1249291.5282
73 | 2647862.7208 | 1249273.8798 | 2647876.7842 | 1249279.5401
74 | 2647927.6657 | 1249292.219 | 2647922.7387 | 1249298.0362 | 2647906.5691 | 1249291.5282
75 | 2647862.7208 | 1249273.8798 | 2647854.5279 | 1249270.2446
76 | 2647856.5076 | 1249299.0467 | 2647862.7208 | 1249273.8798
77 | 2647952.781 | 1249262.5661 | 2647927.6657 | 1249292.219
78 | 2647854.5279 | 1249270.2446 | 2647837.9692 | 1249261.0498
79 | 2647856.5076 | 1249299.0467 | 2647884.6248 | 1249311.844
80 | 2647856.5076 | 1249299.0467 | 2647855.1581 | 1249304.5115
81 | 2647952.781 | 1249262.5661 | 2647944.9122 | 1249258.7925
82 | 2647952.781 | 1249262.5661 | 2647964.8752 | 1249267.691
83 | 2647901.5752 | 1249319.5576 | 2647890.8782 | 1249314.6902 | 2647884.6248 | 1249311.844
84 | 2647944.9122 | 1249258.7925 | 2647936.7191 | 1249254.8634
85 | 2647964.8752 | 1249267.691 | 2647972.1705 | 1249270.7823
86 | 2647919.2883 | 1249327.6231 | 2647916.3163 | 1249326.2698
87 | 2647901.5752 | 1249319.5576 | 2647916.3163 | 1249326.2698
88 | 2647953.8403 | 1249318.2902 | 2647950.9587 | 1249324.9078
89 | 2647928.0667 | 1249250.714 | 2647936.7191 | 1249254.8634
90 | 2647928.0667 | 1249250.714 | 2647914.3489 | 1249244.832
91 | 2647914.3489 | 1249244.832 | 2647913.5684 | 1249244.4973
92 | 2647913.5684 | 1249244.4973 | 2647894.751 | 1249236.4288
93 | 2647981.4567 | 1249274.7173 | 2647972.1705 | 1249270.7823
94 | 2647981.4567 | 1249274.7173 | 2647989.1155 | 1249251.0522 | 2647990.2889 | 1249247.0224
95 | 2647981.4567 | 1249274.7173 | 2647992.3515 | 1249279.9667
96 | 2647990.2889 | 1249247.0224 | 2647992.7828 | 1249238.4583
97 | 2647992.3515 | 1249279.9667 | 2648003.2863 | 1249285.2354
98 | 2647994.1868 | 1249233.637 | 2647992.7828 | 1249238.4583
99 | 2648011.4049 | 1249289.1472 | 2648003.2863 | 1249285.2354
100 | 2647994.1868 | 1249233.637 | 2647998.8917 | 1249217.4717
101 | 2647994.1868 | 1249233.637 | 2648008.7412 | 1249239.9935
102 | 2648255.4168 | 1249289.6386 | 2648243.0274 | 1249298.3617
103 | 2648255.4168 | 1249289.6386 | 2648256.3727 | 1249290.925 | 2648264.333 | 1249299.3859
104 | 2648243.0274 | 1249298.3617 | 2648236.244 | 1249303.1378
105 | 2648238.2303 | 1249215.671 | 2648246.9983 | 1249208.0038 | 2648248.3476 | 1249205.4908 | 2648253.2189 | 1249192.3166
106 | 2648222.1678 | 1249190.0019 | 2648222.1739 | 1249192.08 | 2648225.9755 | 1249215.9825
107 | 2648236.244 | 1249303.1378 | 2648234.8863 | 1249304.0938
108 | 2648222.1137 | 1249171.6324 | 2648222.1678 | 1249190.0019
109 | 2648222.1137 | 1249171.6324 | 2648214.4703 | 1249169.1463 | 2648200.0288 | 1249167.6254
110 | 2648222.1137 | 1249171.6324 | 2648222.0549 | 1249150.0951 | 2648224.4324 | 1249121.4284 | 2648225.4107 | 1249117.189
111 | 2648181.2921 | 1249165.6522 | 2648200.0288 | 1249167.6254
112 | 2648225.4107 | 1249117.189 | 2648179.1327 | 1249111.776
113 | 2647894.751 | 1249236.4288 | 2647893.9906 | 1249236.1027
114 | 2647886.7829 | 1249197.2273 | 2647893.4506 | 1249175.0025
115 | 2647893.4506 | 1249175.0025 | 2647897.0103 | 1249163.1373 | 2647900.4378 | 1249152.2082
116 | 2647726.0162 | 1249276.3013 | 2647718.6023 | 1249298.6774
117 | 2647747.5242 | 1249211.387 | 2647726.0162 | 1249276.3013
118 | 2647747.5242 | 1249211.387 | 2647768.3871 | 1249218.7155 | 2647799.7991 | 1249233.3673
119 | 2647799.7991 | 1249233.3673 | 2647792.4597 | 1249252.8613
120 | 2647756.4078 | 1249348.618 | 2647744.5473 | 1249343.8888
121 | 2647756.4078 | 1249348.618 | 2647758.078 | 1249344.1817
122 | 2647756.4078 | 1249348.618 | 2647749.8223 | 1249366.548
123 | 2647792.4597 | 1249252.8613 | 2647789.816 | 1249259.8832
124 | 2647758.078 | 1249344.1817 | 2647765.2508 | 1249325.1301
125 | 2647749.8223 | 1249366.548 | 2647749.5846 | 1249367.1953
126 | 2647784.1411 | 1249274.9561 | 2647789.816 | 1249259.8832
127 | 2647768.2748 | 1249317.0983 | 2647765.2508 | 1249325.1301
128 | 2647744.0258 | 1249382.33 | 2647749.5846 | 1249367.1953
129 | 2647768.2748 | 1249317.0983 | 2647772.5146 | 1249305.8369
130 | 2647776.2282 | 1249295.9732 | 2647772.5146 | 1249305.8369
131 | 2647776.2282 | 1249295.9732 | 2647780.4247 | 1249284.827
132 | 2647784.1411 | 1249274.9561 | 2647780.4247 | 1249284.827
133 | 2647765.7325 | 1249389.8098 | 2647744.0258 | 1249382.33
134 | 2648015.6172 | 1249160.0211 | 2648016.6006 | 1249156.6441 | 2648014.4558 | 1249146.0567
135 | 2648014.0534 | 1249165.3913 | 2648015.6172 | 1249160.0211
136 | 2648010.8589 | 1249128.3008 | 2648014.4558 | 1249146.0567
137 | 2648014.4558 | 1249146.0567 | 2648047.7587 | 1249132.7135
138 | 2648014.0534 | 1249165.3913 | 2648009.9302 | 1249179.5509
139 | 2648007.9101 | 1249113.7448 | 2648010.8589 | 1249128.3008
140 | 2648006.6907 | 1249190.6758 | 2648009.9302 | 1249179.5509
141 | 2648007.9101 | 1249113.7448 | 2647996.0845 | 1249116.5834
142 | 2648007.9101 | 1249113.7448 | 2648007.0689 | 1249109.7794
143 | 2648032.5187 | 1249198.3456 | 2648006.6907 | 1249190.6758
144 | 2648006.6907 | 1249190.6758 | 2648005.7198 | 1249194.0117
145 | 2647979.7923 | 1249120.4941 | 2647996.0845 | 1249116.5834
146 | 2648002.68 | 1249089.0911 | 2648007.0689 | 1249109.7794
147 | 2648005.7198 | 1249194.0117 | 2648002.8139 | 1249203.9956
148 | 2647998.8917 | 1249217.4717 | 2648002.8139 | 1249203.9956
149 | 2647995.9238 | 1249057.2437 | 2647992.4479 | 1249040.8593 | 2647992.4479 | 1249040.8593
150 | 2647995.9238 | 1249057.2437 | 2647998.088 | 1249067.4454
151 | 2648000.5474 | 1249079.0385 | 2647998.088 | 1249067.4454
152 | 2648000.5474 | 1249079.0385 | 2648002.68 | 1249089.0911
153 | 2647916.7356 | 1249100.0873 | 2647925.0723 | 1249073.294
154 | 2647916.7356 | 1249100.0873 | 2647913.2777 | 1249111.2669
155 | 2647913.2777 | 1249111.2669 | 2647931.3935 | 1249116.204
156 | 2647913.2777 | 1249111.2669 | 2647908.1456 | 1249127.6312
157 | 2647979.7923 | 1249120.4941 | 2647967.6688 | 1249123.4042
158 | 2647900.4378 | 1249152.2082 | 2647908.1456 | 1249127.6312

## bus_geodata
| x | y | coords
0 | 2648162.8077 | 1249277.8357
1 | 2648163.0169 | 1249319.3967
2 | 2648163.3204 | 1249379.1721
3 | 2648174.0289 | 1249302.0378
4 | 2648028.6603 | 1249248.6928
5 | 2648027.3531 | 1249248.122
6 | 2648173.4604 | 1249237.4371
7 | 2648230.3816 | 1249237.4997
8 | 2648173.59 | 1249252.1586
9 | 2648075.561 | 1249414.6072
10 | 2648173.8142 | 1249277.6462
11 | 2648071.3521 | 1249431.6209
12 | 2648226.4837 | 1249219.1778
13 | 2648235.8715 | 1249252.9414
14 | 2647896.4577 | 1249618.2875
15 | 2647897.4678 | 1249637.3745
16 | 2648001.0163 | 1249535.2407
17 | 2647898.6847 | 1249688.4839
18 | 2647987.3465 | 1249427.7785
19 | 2647906.9998 | 1249696.5343
20 | 2647828.2448 | 1249624.0497
21 | 2647890.519 | 1249727.4828
22 | 2647825.0733 | 1249576.3823
23 | 2647796.7702 | 1249567.8135
24 | 2647793.1957 | 1249581.3494
25 | 2647823.5472 | 1249410.8898
26 | 2647782.5775 | 1249395.952
27 | 2647831.1991 | 1249391.5424
28 | 2647840.3413 | 1249364.512
29 | 2647836.5232 | 1249378.081
30 | 2647840.9095 | 1249362.2111
31 | 2647844.9523 | 1249345.8395
32 | 2647848.6209 | 1249330.9837
33 | 2647854.7092 | 1249306.3295
34 | 2647917.4357 | 1249380.5455
35 | 2647910.3047 | 1249377.1823
36 | 2647926.9405 | 1249385.0283
37 | 2647897.2855 | 1249371.0421
38 | 2647939.8336 | 1249389.3806
39 | 2647895.2071 | 1249370.0619
40 | 2647934.8356 | 1249400.57
41 | 2647949.562 | 1249371.3954
42 | 2647887.1296 | 1249351.4897
43 | 2647953.055 | 1249410.0104
44 | 2647952.1765 | 1249365.5177
45 | 2647953.2436 | 1249410.1081
46 | 2647976.4074 | 1249422.1104
47 | 2647980.344 | 1249424.1501
48 | 2647955.3557 | 1249358.3705
49 | 2647960.6568 | 1249346.4532
50 | 2647944.7317 | 1249339.2085
51 | 2647968.8966 | 1249350.2042
52 | 2647949.9641 | 1249327.1921
53 | 2647932.5493 | 1249333.6614
54 | 2647972.1458 | 1249351.6833
55 | 2647950.8145 | 1249174.4871
56 | 2647945.7113 | 1249191.5876
57 | 2647952.5373 | 1249168.7141
58 | 2647945.4259 | 1249192.5442
59 | 2647957.3333 | 1249152.6428
60 | 2647939.0184 | 1249214.0154
61 | 2647959.0156 | 1249146.077
62 | 2647938.9861 | 1249214.1235
63 | 2647962.4285 | 1249124.662
64 | 2647905.4408 | 1249291.0741
65 | 2647876.7842 | 1249279.5401
66 | 2647906.5691 | 1249291.5282
67 | 2647862.7208 | 1249273.8798
68 | 2647927.6657 | 1249292.219
69 | 2647854.5279 | 1249270.2446
70 | 2647856.5076 | 1249299.0467
71 | 2647952.781 | 1249262.5661
72 | 2647837.9692 | 1249261.0498
73 | 2647884.6248 | 1249311.844
74 | 2647855.1581 | 1249304.5115
75 | 2647944.9122 | 1249258.7925
76 | 2647964.8752 | 1249267.691
77 | 2647919.2883 | 1249327.6231
78 | 2647916.3163 | 1249326.2698
79 | 2647901.5752 | 1249319.5576
80 | 2647950.9587 | 1249324.9078
81 | 2647928.0667 | 1249250.714
82 | 2647936.7191 | 1249254.8634
83 | 2647914.3489 | 1249244.832
84 | 2647913.5684 | 1249244.4973
85 | 2647972.1705 | 1249270.7823
86 | 2647981.4567 | 1249274.7173
87 | 2647990.2889 | 1249247.0224
88 | 2647992.3515 | 1249279.9667
89 | 2647992.7828 | 1249238.4583
90 | 2648003.2863 | 1249285.2354
91 | 2647994.1868 | 1249233.637
92 | 2648011.4049 | 1249289.1472
93 | 2647984.5781 | 1249357.3429
94 | 2648255.4168 | 1249289.6386
95 | 2648243.0274 | 1249298.3617
96 | 2648264.333 | 1249299.3859
97 | 2648238.2303 | 1249215.671
98 | 2648225.9755 | 1249215.9825
99 | 2648236.244 | 1249303.1378
100 | 2648253.2189 | 1249192.3166
101 | 2648222.1678 | 1249190.0019
102 | 2648234.8863 | 1249304.0938
103 | 2648222.1137 | 1249171.6324
104 | 2648200.0288 | 1249167.6254
105 | 2648225.4107 | 1249117.189
106 | 2648181.2921 | 1249165.6522
107 | 2648179.1327 | 1249111.776
108 | 2647894.751 | 1249236.4288
109 | 2647893.9906 | 1249236.1027
110 | 2647886.7829 | 1249197.2273
111 | 2647893.4506 | 1249175.0025
112 | 2647726.0162 | 1249276.3013
113 | 2647718.6023 | 1249298.6774
114 | 2647747.5242 | 1249211.387
115 | 2647799.7991 | 1249233.3673
116 | 2647744.5473 | 1249343.8888
117 | 2647756.4078 | 1249348.618
118 | 2647792.4597 | 1249252.8613
119 | 2647758.078 | 1249344.1817
120 | 2647749.8223 | 1249366.548
121 | 2647789.816 | 1249259.8832
122 | 2647765.2508 | 1249325.1301
123 | 2647749.5846 | 1249367.1953
124 | 2647768.2748 | 1249317.0983
125 | 2647772.5146 | 1249305.8369
126 | 2647776.2282 | 1249295.9732
127 | 2647780.4247 | 1249284.827
128 | 2647784.1411 | 1249274.9561
129 | 2647744.0258 | 1249382.33
130 | 2647765.7325 | 1249389.8098
131 | 2648015.6172 | 1249160.0211
132 | 2648014.4558 | 1249146.0567
133 | 2648014.0534 | 1249165.3913
134 | 2648010.8589 | 1249128.3008
135 | 2648047.7587 | 1249132.7135
136 | 2648009.9302 | 1249179.5509
137 | 2648007.9101 | 1249113.7448
138 | 2648006.6907 | 1249190.6758
139 | 2647996.0845 | 1249116.5834
140 | 2648007.0689 | 1249109.7794
141 | 2648032.5187 | 1249198.3456
142 | 2648005.7198 | 1249194.0117
143 | 2648008.7412 | 1249239.9935
144 | 2647998.8917 | 1249217.4717
145 | 2648002.8139 | 1249203.9956
146 | 2647953.8403 | 1249318.2902
147 | 2647992.4479 | 1249040.8593
148 | 2647995.9238 | 1249057.2437
149 | 2647998.088 | 1249067.4454
150 | 2648000.5474 | 1249079.0385
151 | 2647925.0723 | 1249073.294
152 | 2647916.7356 | 1249100.0873
153 | 2648002.68 | 1249089.0911
154 | 2647913.2777 | 1249111.2669
155 | 2647979.7923 | 1249120.4941
156 | 2647967.6688 | 1249123.4042
157 | 2647900.4378 | 1249152.2082
158 | 2647908.1456 | 1249127.6312
159 | 2647931.3935 | 1249116.204
160 | 2647952.781 | 1249262.5661

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1