## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4003-4_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4003-4_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4003-4_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4003-4_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4003-4_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4003-4_0_5_node_8 | 0.4 | n |  | TRUE
6 | bus_LV_4003-4_0_5_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_4003-4_0_5_node_59 | 0.4 | n |  | TRUE
8 | bus_LV_4003-4_0_5_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_4003-4_0_5_node_62 | 0.4 | n |  | TRUE
10 | bus_LV_4003-4_0_5_node_61 | 0.4 | n |  | TRUE
11 | bus_LV_4003-4_0_5_node_14 | 0.4 | n |  | TRUE
12 | bus_LV_4003-4_0_5_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_4003-4_0_5_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_4003-4_0_5_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_4003-4_0_5_node_67 | 0.4 | n |  | TRUE
16 | bus_LV_4003-4_0_5_node_44 | 0.4 | n |  | TRUE
17 | bus_LV_4003-4_0_5_node_6 | 0.4 | n |  | TRUE
18 | bus_LV_4003-4_0_5_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_4003-4_0_5_node_60 | 0.4 | n |  | TRUE
20 | bus_LV_4003-4_0_5_node_64 | 0.4 | n |  | TRUE
21 | bus_LV_4003-4_0_5_node_75 | 0.4 | n |  | TRUE
22 | bus_LV_4003-4_0_5_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_4003-4_0_5_node_26 | 0.4 | n |  | TRUE
24 | bus_LV_4003-4_0_5_node_69 | 0.4 | n |  | TRUE
25 | bus_LV_4003-4_0_5_node_73 | 0.4 | n |  | TRUE
26 | bus_LV_4003-4_0_5_node_31 | 0.4 | n |  | TRUE
27 | bus_LV_4003-4_0_5_node_30 | 0.4 | n |  | TRUE
28 | bus_LV_4003-4_0_5_node_32 | 0.4 | n |  | TRUE
29 | bus_LV_4003-4_0_5_node_85 | 0.4 | n |  | TRUE
30 | bus_LV_4003-4_0_5_node_86 | 0.4 | n |  | TRUE
31 | bus_LV_4003-4_0_5_node_28 | 0.4 | n |  | TRUE
32 | bus_LV_4003-4_0_5_node_50 | 0.4 | n |  | TRUE
33 | bus_LV_4003-4_0_5_node_58 | 0.4 | n |  | TRUE
34 | bus_LV_4003-4_0_5_node_35 | 0.4 | n |  | TRUE
35 | bus_LV_4003-4_0_5_node_76 | 0.4 | n |  | TRUE
36 | bus_LV_4003-4_0_5_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_4003-4_0_5_node_40 | 0.4 | n |  | TRUE
38 | bus_LV_4003-4_0_5_node_19 | 0.4 | n |  | TRUE
39 | bus_LV_4003-4_0_5_node_51 | 0.4 | n |  | TRUE
40 | bus_LV_4003-4_0_5_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_4003-4_0_5_node_84 | 0.4 | n |  | TRUE
42 | bus_LV_4003-4_0_5_node_45 | 0.4 | n |  | TRUE
43 | bus_LV_4003-4_0_5_node_57 | 0.4 | n |  | TRUE
44 | bus_LV_4003-4_0_5_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_4003-4_0_5_node_63 | 0.4 | n |  | TRUE
46 | bus_LV_4003-4_0_5_node_16 | 0.4 | n |  | TRUE
47 | bus_LV_4003-4_0_5_node_17 | 0.4 | n |  | TRUE
48 | bus_LV_4003-4_0_5_node_18 | 0.4 | n |  | TRUE
49 | bus_LV_4003-4_0_5_node_20 | 0.4 | n |  | TRUE
50 | bus_LV_4003-4_0_5_node_21 | 0.4 | n |  | TRUE
51 | bus_LV_4003-4_0_5_node_22 | 0.4 | n |  | TRUE
52 | bus_LV_4003-4_0_5_node_82 | 0.4 | n |  | TRUE
53 | bus_LV_4003-4_0_5_node_42 | 0.4 | n |  | TRUE
54 | bus_LV_4003-4_0_5_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_4003-4_0_5_node_83 | 0.4 | n |  | TRUE
56 | bus_LV_4003-4_0_5_node_38 | 0.4 | n |  | TRUE
57 | bus_LV_4003-4_0_5_node_47 | 0.4 | n |  | TRUE
58 | bus_LV_4003-4_0_5_node_25 | 0.4 | n |  | TRUE
59 | bus_LV_4003-4_0_5_node_37 | 0.4 | n |  | TRUE
60 | bus_LV_4003-4_0_5_node_68 | 0.4 | n |  | TRUE
61 | bus_LV_4003-4_0_5_node_41 | 0.4 | n |  | TRUE
62 | bus_LV_4003-4_0_5_node_52 | 0.4 | n |  | TRUE
63 | bus_LV_4003-4_0_5_node_48 | 0.4 | n |  | TRUE
64 | bus_LV_4003-4_0_5_node_55 | 0.4 | n |  | TRUE
65 | bus_LV_4003-4_0_5_node_49 | 0.4 | n |  | TRUE
66 | bus_LV_4003-4_0_5_node_77 | 0.4 | n |  | TRUE
67 | bus_LV_4003-4_0_5_node_78 | 0.4 | n |  | TRUE
68 | bus_LV_4003-4_0_5_node_72 | 0.4 | n |  | TRUE
69 | bus_LV_4003-4_0_5_node_36 | 0.4 | n |  | TRUE
70 | bus_LV_4003-4_0_5_node_43 | 0.4 | n |  | TRUE
71 | bus_LV_4003-4_0_5_node_74 | 0.4 | n |  | TRUE
72 | bus_LV_4003-4_0_5_node_79 | 0.4 | n |  | TRUE
73 | bus_LV_4003-4_0_5_node_71 | 0.4 | n |  | TRUE
74 | bus_LV_4003-4_0_5_node_80 | 0.4 | n |  | TRUE
75 | bus_LV_4003-4_0_5_node_53 | 0.4 | n |  | TRUE
76 | bus_LV_4003-4_0_5_node_54 | 0.4 | n |  | TRUE
77 | bus_LV_4003-4_0_5_node_56 | 0.4 | n |  | TRUE
78 | bus_LV_4003-4_0_5_node_65 | 0.4 | n |  | TRUE
79 | bus_LV_4003-4_0_5_node_66 | 0.4 | n |  | TRUE
80 | bus_LV_4003-4_0_5_node_70 | 0.4 | n |  | TRUE
81 | bus_MV_612_0_node_96 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4003-4_0_5_load_0 | 0 | 0.060758 | 0.015227 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4003-4_0_5_load_4 | 4 | 0.0042474 | 0.0010645 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4003-4_0_5_load_5 | 6 | 0.0044243 | 0.0011088 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4003-4_0_5_load_59 | 7 | 0.0042702 | 0.0010702 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4003-4_0_5_load_62 | 9 | 0.0035499 | 0.0008897 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4003-4_0_5_load_61 | 10 | 0.0030954 | 0.00077578 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4003-4_0_5_load_14 | 11 | 0.0056262 | 0.0014101 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4003-4_0_5_load_67 | 15 | 0.00030159 | 7.5586e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4003-4_0_5_load_44 | 16 | 0.0011751 | 0.00029451 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4003-4_0_5_load_13 | 18 | 0.0014268 | 0.00035759 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4003-4_0_5_load_60 | 19 | 0.0025161 | 0.0006306 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4003-4_0_5_load_64 | 20 | 0.0065122 | 0.0016321 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4003-4_0_5_load_75 | 21 | 0.025437 | 0.006375 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4003-4_0_5_load_15 | 22 | 0.0071241 | 0.0017855 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4003-4_0_5_load_69 | 24 | 0.032175 | 0.0080637 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4003-4_0_5_load_73 | 25 | 0.023266 | 0.0058311 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4003-4_0_5_load_86 | 30 | 0.012498 | 0.0031323 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4003-4_0_5_load_58 | 33 | 0.0048811 | 0.0012233 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4003-4_0_5_load_76 | 35 | 0.0052512 | 0.0013161 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4003-4_0_5_load_40 | 37 | 0.0023763 | 0.00059555 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4003-4_0_5_load_51 | 39 | 0.01343 | 0.0033659 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4003-4_0_5_load_84 | 41 | 0.0035535 | 0.0008906 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4003-4_0_5_load_45 | 42 | 0.0061655 | 0.0015452 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4003-4_0_5_load_63 | 45 | 0.0010196 | 0.00025553 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4003-4_0_5_load_16 | 46 | 0.0068799 | 0.0017243 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4003-4_0_5_load_17 | 47 | 0.032141 | 0.0080553 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4003-4_0_5_load_21 | 50 | 0.0094274 | 0.0023627 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4003-4_0_5_load_22 | 51 | 0.020081 | 0.0050328 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4003-4_0_5_load_82 | 52 | 0.0069165 | 0.0017334 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4003-4_0_5_load_42 | 53 | 0.0061652 | 0.0015452 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4003-4_0_5_load_83 | 55 | 0.0057076 | 0.0014305 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4003-4_0_5_load_25 | 58 | 0.027886 | 0.006989 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4003-4_0_5_load_68 | 60 | 0.019856 | 0.0049763 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4003-4_0_5_load_52 | 62 | 0.0023061 | 0.00057796 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4003-4_0_5_load_48 | 63 | 0.010273 | 0.0025745 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4003-4_0_5_load_49 | 65 | 0.011482 | 0.0028776 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4003-4_0_5_load_78 | 67 | 0.0065622 | 0.0016446 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4003-4_0_5_load_72 | 68 | 0.0066178 | 0.0016586 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4003-4_0_5_load_36 | 69 | 0.034074 | 0.0085396 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4003-4_0_5_load_43 | 70 | 0.025306 | 0.0063423 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4003-4_0_5_load_74 | 71 | 0.0066934 | 0.0016775 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4003-4_0_5_load_79 | 72 | 0.0066788 | 0.0016739 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4003-4_0_5_load_80 | 74 | 0.0070663 | 0.001771 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4003-4_0_5_load_53 | 75 | 0.025017 | 0.0062699 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4003-4_0_5_load_54 | 76 | 0.0018767 | 0.00047034 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4003-4_0_5_load_56 | 77 | 0.0036265 | 0.0009089 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4003-4_0_5_load_65 | 78 | 0.0013331 | 0.00033412 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4003-4_0_5_load_66 | 79 | 0.00026586 | 6.663e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 36 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4003-4_0_5_line_0 |  | 0 | 1 | 0.0015369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4003-4_0_5_line_1 |  | 0 | 2 | 0.015234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4003-4_0_5_line_2 |  | 1 | 3 | 0.069449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4003-4_0_5_line_3 |  | 2 | 4 | 0.037573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4003-4_0_5_line_4 |  | 3 | 5 | 0.4107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4003-4_0_5_line_5 |  | 3 | 6 | 0.02622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4003-4_0_5_line_6 |  | 4 | 7 | 0.022998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4003-4_0_5_line_7 |  | 5 | 11 | 0.0076043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4003-4_0_5_line_8 |  | 6 | 17 | 0.0029836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4003-4_0_5_line_9 |  | 8 | 9 | 0.074932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4003-4_0_5_line_10 |  | 8 | 10 | 0.028605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4003-4_0_5_line_11 |  | 9 | 21 | 0.023308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4003-4_0_5_line_12 |  | 11 | 22 | 0.040306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4003-4_0_5_line_13 |  | 12 | 13 | 0.045271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_4003-4_0_5_line_14 |  | 12 | 14 | 0.056482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4003-4_0_5_line_15 |  | 12 | 15 | 0.01705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4003-4_0_5_line_16 |  | 13 | 16 | 0.028929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_4003-4_0_5_line_17 |  | 14 | 19 | 0.10785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4003-4_0_5_line_18 |  | 14 | 17 | 0.038298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4003-4_0_5_line_19 |  | 15 | 43 | 0.029023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4003-4_0_5_line_20 |  | 16 | 44 | 0.023283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_4003-4_0_5_line_21 |  | 17 | 18 | 0.02348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4003-4_0_5_line_22 |  | 18 | 20 | 0.022092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4003-4_0_5_line_23 |  | 20 | 45 | 0.0074362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4003-4_0_5_line_24 |  | 21 | 34 | 0.023737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4003-4_0_5_line_25 |  | 22 | 46 | 0.025195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4003-4_0_5_line_26 |  | 23 | 24 | 0.006572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4003-4_0_5_line_27 |  | 23 | 25 | 0.030422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4003-4_0_5_line_28 |  | 24 | 60 | 0.032872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_4003-4_0_5_line_29 |  | 24 | 26 | 0.036718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_4003-4_0_5_line_30 |  | 26 | 27 | 0.055651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_4003-4_0_5_line_31 |  | 27 | 39 | 0.032373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_4003-4_0_5_line_32 |  | 28 | 29 | 0.029924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4003-4_0_5_line_33 |  | 28 | 30 | 0.054769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4003-4_0_5_line_34 |  | 29 | 67 | 0.022121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4003-4_0_5_line_35 |  | 31 | 32 | 0.008156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4003-4_0_5_line_36 |  | 31 | 33 | 0.028437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4003-4_0_5_line_37 |  | 32 | 62 | 0.026908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_4003-4_0_5_line_38 |  | 32 | 63 | 0.021896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_4003-4_0_5_line_39 |  | 33 | 64 | 0.028131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4003-4_0_5_line_40 |  | 34 | 35 | 0.047047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4003-4_0_5_line_41 |  | 35 | 62 | 0.028243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4003-4_0_5_line_42 |  | 36 | 37 | 0.026837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_4003-4_0_5_line_43 |  | 36 | 38 | 0.033479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4003-4_0_5_line_44 |  | 37 | 59 | 0.0051526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_4003-4_0_5_line_45 |  | 38 | 51 | 0.0058264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4003-4_0_5_line_46 |  | 38 | 47 | 0.039804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4003-4_0_5_line_47 |  | 39 | 65 | 0.024364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_4003-4_0_5_line_48 |  | 40 | 41 | 0.020125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4003-4_0_5_line_49 |  | 40 | 42 | 0.047434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4003-4_0_5_line_50 |  | 42 | 61 | 0.0083383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4003-4_0_5_line_51 |  | 43 | 78 | 0.025209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4003-4_0_5_line_52 |  | 44 | 70 | 0.040279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
53 | LV_4003-4_0_5_line_53 |  | 44 | 59 | 0.006561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
54 | LV_4003-4_0_5_line_54 |  | 48 | 49 | 0.027264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
55 | LV_4003-4_0_5_line_55 |  | 48 | 50 | 0.0050692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
56 | LV_4003-4_0_5_line_56 |  | 49 | 52 | 0.018226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4003-4_0_5_line_57 |  | 49 | 53 | 0.032489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
58 | LV_4003-4_0_5_line_58 |  | 50 | 54 | 0.0015349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
59 | LV_4003-4_0_5_line_59 |  | 52 | 55 | 0.00096301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4003-4_0_5_line_60 |  | 53 | 56 | 0.0048575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
61 | LV_4003-4_0_5_line_61 |  | 54 | 57 | 0.030507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
62 | LV_4003-4_0_5_line_62 |  | 54 | 58 | 0.038626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4003-4_0_5_line_63 |  | 56 | 61 | 0.007065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
64 | LV_4003-4_0_5_line_64 |  | 57 | 71 | 0.026877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
65 | LV_4003-4_0_5_line_65 |  | 57 | 72 | 0.018229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4003-4_0_5_line_66 |  | 59 | 69 | 0.039672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4003-4_0_5_line_67 |  | 60 | 80 | 0.029671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
68 | LV_4003-4_0_5_line_68 |  | 61 | 70 | 0.042019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
69 | LV_4003-4_0_5_line_69 |  | 63 | 65 | 0.022457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
70 | LV_4003-4_0_5_line_70 |  | 64 | 75 | 0.021197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4003-4_0_5_line_71 |  | 66 | 67 | 0.017861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4003-4_0_5_line_72 |  | 66 | 68 | 0.028997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4003-4_0_5_line_73 |  | 68 | 80 | 0.0039244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4003-4_0_5_line_74 |  | 71 | 73 | 0.0075325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
75 | LV_4003-4_0_5_line_75 |  | 72 | 74 | 0.00047547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4003-4_0_5_line_76 |  | 73 | 80 | 0.006375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
77 | LV_4003-4_0_5_line_77 |  | 75 | 76 | 0.0059898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4003-4_0_5_line_78 |  | 76 | 77 | 0.027681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4003-4_0_5_line_79 |  | 78 | 79 | 0.017549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4003-4_0_5_trafo_23 | 0.63 MVA 20/0.4 kV | 81 | 36 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20
0 | 2648564.0507 | 1248689.2402 | 2648564.7456 | 1248687.8694
1 | 2648571.6336 | 1248674.281 | 2648564.7456 | 1248687.8694
2 | 2648532.5477 | 1248751.0686 | 2648542.2918 | 1248729.4337 | 2648547.3762 | 1248718.9793 | 2648556.3593 | 1248702.6974 | 2648564.0507 | 1248689.2402
3 | 2648571.6336 | 1248674.281 | 2648582.1434 | 1248655.0875 | 2648588.2998 | 1248640.6553
4 | 2648314.8685 | 1248880.9239 | 2648309.4769 | 1248870.7843 | 2648293.2227 | 1248869.5289 | 2648293.2772 | 1248866.5495 | 2648304.3271 | 1248866.1726 | 2648312.5494 | 1248842.1344 | 2648337.4825 | 1248839.3134 | 2648349.8776 | 1248834.1665 | 2648362.1061 | 1248825.3824 | 2648385.8242 | 1248797.5126 | 2648398.7178 | 1248781.2623 | 2648425.3643 | 1248742.5091 | 2648438.782 | 1248711.1197 | 2648452.2855 | 1248685.8907 | 2648475.0426 | 1248690.7021 | 2648485.4506 | 1248693.1444 | 2648489.6925 | 1248694.2798 | 2648489.5884 | 1248717.1611 | 2648491.8542 | 1248734.6358 | 2648504.3863 | 1248738.6299 | 2648532.5477 | 1248751.0686
5 | 2648532.5477 | 1248751.0686 | 2648556.7976 | 1248761.0402
6 | 2648588.2998 | 1248640.6553 | 2648589.0108 | 1248638.9884 | 2648570.1802 | 1248629.2795
7 | 2648314.8685 | 1248880.9239 | 2648322.4718 | 1248881.0513
8 | 2648559.557 | 1248762.1749 | 2648556.7976 | 1248761.0402
9 | 2648444.8511 | 1248809.3022 | 2648437.7788 | 1248820.0406 | 2648426.1841 | 1248839.0366 | 2648416.7555 | 1248852.6244 | 2648403.484 | 1248871.7513
10 | 2648444.8511 | 1248809.3022 | 2648465.3675 | 1248829.2352
11 | 2648390.1966 | 1248890.9012 | 2648403.484 | 1248871.7513
12 | 2648322.4718 | 1248881.0513 | 2648338.1519 | 1248881.3139 | 2648350.9562 | 1248875.9702 | 2648360.4676 | 1248870.9626
13 | 2648563.9016 | 1248825.4309 | 2648572.9581 | 1248833.3438 | 2648599.7533 | 1248853.021
14 | 2648594.539 | 1248777.9942 | 2648584.6198 | 1248795.1801 | 2648568.9766 | 1248818.8681 | 2648563.9016 | 1248825.4309
15 | 2648563.9016 | 1248825.4309 | 2648553.1277 | 1248838.6451
16 | 2648599.7533 | 1248853.021 | 2648591.6956 | 1248865.1187 | 2648582.8822 | 1248876.498
17 | 2648594.539 | 1248777.9942 | 2648600.2777 | 1248765.0992 | 2648633.5654 | 1248702.1072 | 2648643.5697 | 1248681.9704
18 | 2648594.539 | 1248777.9942 | 2648559.557 | 1248762.1749
19 | 2648534.7877 | 1248861.139 | 2648553.1277 | 1248838.6451
20 | 2648568.6255 | 1248894.9055 | 2648582.8822 | 1248876.498
21 | 2648559.557 | 1248762.1749 | 2648549.4615 | 1248783.3732 | 2648549.4615 | 1248783.3732
22 | 2648549.4615 | 1248783.3732 | 2648529.2183 | 1248774.525
23 | 2648522.4045 | 1248771.5468 | 2648529.2183 | 1248774.525
24 | 2648376.665 | 1248910.403 | 2648390.1966 | 1248890.9012
25 | 2648381.2836 | 1248857.038 | 2648372.1062 | 1248864.8351 | 2648360.4676 | 1248870.9626
26 | 2648502.3276 | 1249029.9432 | 2648503.9602 | 1249025.1311 | 2648504.4173 | 1249023.7117
27 | 2648504.4173 | 1249023.7117 | 2648529.9283 | 1249040.285
28 | 2648502.3276 | 1249029.9432 | 2648529.8888 | 1249047.858
29 | 2648490.9653 | 1249064.8628 | 2648496.5014 | 1249047.1406 | 2648502.3276 | 1249029.9432
30 | 2648437.2876 | 1249050.2033 | 2648446.1073 | 1249052.8994 | 2648453.6021 | 1249055.0954 | 2648490.9653 | 1249064.8628
31 | 2648437.2876 | 1249050.2033 | 2648446.7678 | 1249019.249
32 | 2648569.2972 | 1249114.2926 | 2648553.3244 | 1249139.6235
33 | 2648553.3244 | 1249139.6235 | 2648500.9584 | 1249123.5784
34 | 2648569.2972 | 1249114.2926 | 2648551.1537 | 1249101.6378
35 | 2648467.8332 | 1248955.5555 | 2648475.4964 | 1248958.4089
36 | 2648475.4964 | 1248958.4089 | 2648477.4751 | 1248951.8984 | 2648482.8008 | 1248936.8207 | 2648484.8109 | 1248931.5495
37 | 2648444.9598 | 1248941.9928 | 2648452.8519 | 1248944.5701 | 2648463.8109 | 1248951.5866 | 2648467.8332 | 1248955.5555
38 | 2648467.8332 | 1248955.5555 | 2648464.3812 | 1248956.6391 | 2648461.5301 | 1248971.0478 | 2648460.4788 | 1248974.4806
39 | 2648496.282 | 1248905.9655 | 2648491.5124 | 1248913.9764 | 2648484.8109 | 1248931.5495
40 | 2648376.665 | 1248910.403 | 2648412.0555 | 1248927.9369 | 2648418.9581 | 1248930.9978
41 | 2648444.9598 | 1248941.9928 | 2648437.906 | 1248939.4001 | 2648418.9581 | 1248930.9978
42 | 2648545.0139 | 1248925.3884 | 2648561.4485 | 1248904.1717
43 | 2648545.0139 | 1248925.3884 | 2648535.8817 | 1248938.7226 | 2648528.9936 | 1248954.6326
44 | 2648564.6038 | 1248900.0983 | 2648561.4485 | 1248904.1717
45 | 2648528.9936 | 1248954.6326 | 2648526.6821 | 1248959.9808
46 | 2648528.9936 | 1248954.6326 | 2648562.4311 | 1248976.2264
47 | 2648453.9024 | 1248995.9535 | 2648446.7678 | 1249019.249
48 | 2648669.0453 | 1248896.4517 | 2648656.8926 | 1248912.5184
49 | 2648669.0453 | 1248896.4517 | 2648660.8931 | 1248898.8865 | 2648648.1549 | 1248918.2284 | 2648646.41 | 1248926.5864 | 2648642.3989 | 1248932.599
50 | 2648637.7715 | 1248939.5355 | 2648642.3989 | 1248932.599
51 | 2648534.7877 | 1248861.139 | 2648515.8672 | 1248844.4807
52 | 2648568.6255 | 1248894.9055 | 2648602.4678 | 1248916.7488
53 | 2648564.6038 | 1248900.0983 | 2648568.6255 | 1248894.9055
54 | 2648613.1326 | 1248976.4918 | 2648597.9962 | 1248999.1943
55 | 2648597.9962 | 1248999.1943 | 2648595.1855 | 1249003.4129
56 | 2648613.1326 | 1248976.4918 | 2648628.7016 | 1248985.9684
57 | 2648613.1326 | 1248976.4918 | 2648631.1552 | 1248949.46
58 | 2648594.3344 | 1249004.6902 | 2648595.1855 | 1249003.4129
59 | 2648628.7016 | 1248985.9684 | 2648629.5242 | 1248986.4691
60 | 2648633.8497 | 1248945.4184 | 2648631.1552 | 1248949.46
61 | 2648577.3942 | 1249030.0909 | 2648594.3344 | 1249004.6902
62 | 2648594.3344 | 1249004.6902 | 2648562.0963 | 1248983.4141
63 | 2648633.8497 | 1248945.4184 | 2648637.7715 | 1248939.5355
64 | 2648577.3942 | 1249030.0909 | 2648562.4844 | 1249052.4534
65 | 2648577.3942 | 1249030.0909 | 2648592.6996 | 1249039.9917
66 | 2648564.6038 | 1248900.0983 | 2648597.7983 | 1248921.8234
67 | 2648554.7665 | 1249064.0286 | 2648529.8888 | 1249047.858
68 | 2648637.7715 | 1248939.5355 | 2648602.4678 | 1248916.7488
69 | 2648460.4788 | 1248974.4806 | 2648453.9024 | 1248995.9535
70 | 2648496.282 | 1248905.9655 | 2648480.3967 | 1248891.9313
71 | 2648536.504 | 1249091.4199 | 2648551.1537 | 1249101.6378
72 | 2648536.504 | 1249091.4199 | 2648552.5895 | 1249067.2938
73 | 2648554.7665 | 1249064.0286 | 2648552.5895 | 1249067.2938
74 | 2648558.3059 | 1249058.7206 | 2648562.4844 | 1249052.4534
75 | 2648592.6996 | 1249039.9917 | 2648593.0989 | 1249040.25
76 | 2648554.7665 | 1249064.0286 | 2648558.3059 | 1249058.7206
77 | 2648480.3967 | 1248891.9313 | 2648475.9078 | 1248887.9655
78 | 2648455.1632 | 1248869.6383 | 2648475.9078 | 1248887.9655
79 | 2648515.8672 | 1248844.4807 | 2648504.2458 | 1248834.2489 | 2648502.9377 | 1248835.8473

## bus_geodata
| x | y | coords
0 | 2648564.7456 | 1248687.8694
1 | 2648564.0507 | 1248689.2402
2 | 2648571.6336 | 1248674.281
3 | 2648532.5477 | 1248751.0686
4 | 2648588.2998 | 1248640.6553
5 | 2648314.8685 | 1248880.9239
6 | 2648556.7976 | 1248761.0402
7 | 2648570.1802 | 1248629.2795
8 | 2648444.8511 | 1248809.3022
9 | 2648403.484 | 1248871.7513
10 | 2648465.3675 | 1248829.2352
11 | 2648322.4718 | 1248881.0513
12 | 2648563.9016 | 1248825.431
13 | 2648599.7533 | 1248853.021
14 | 2648594.539 | 1248777.9942
15 | 2648553.1277 | 1248838.6451
16 | 2648582.8822 | 1248876.498
17 | 2648559.557 | 1248762.1749
18 | 2648549.4615 | 1248783.3732
19 | 2648643.5697 | 1248681.9704
20 | 2648529.2183 | 1248774.525
21 | 2648390.1966 | 1248890.9012
22 | 2648360.4676 | 1248870.9626
23 | 2648504.4173 | 1249023.7117
24 | 2648502.3276 | 1249029.9432
25 | 2648529.9283 | 1249040.285
26 | 2648490.9653 | 1249064.8628
27 | 2648437.2876 | 1249050.2033
28 | 2648553.3244 | 1249139.6235
29 | 2648569.2972 | 1249114.2926
30 | 2648500.9584 | 1249123.5784
31 | 2648475.4964 | 1248958.4089
32 | 2648467.8332 | 1248955.5555
33 | 2648484.8109 | 1248931.5495
34 | 2648376.665 | 1248910.403
35 | 2648418.9581 | 1248930.9978
36 | 2648545.0139 | 1248925.3884
37 | 2648561.4485 | 1248904.1717
38 | 2648528.9936 | 1248954.6326
39 | 2648446.7678 | 1249019.249
40 | 2648669.0453 | 1248896.4517
41 | 2648656.8926 | 1248912.5184
42 | 2648642.3989 | 1248932.599
43 | 2648534.7877 | 1248861.139
44 | 2648568.6255 | 1248894.9055
45 | 2648522.4045 | 1248771.5468
46 | 2648381.2836 | 1248857.038
47 | 2648562.4311 | 1248976.2264
48 | 2648597.9962 | 1248999.1943
49 | 2648613.1326 | 1248976.4918
50 | 2648595.1855 | 1249003.4129
51 | 2648526.6821 | 1248959.9808
52 | 2648628.7016 | 1248985.9684
53 | 2648631.1552 | 1248949.46
54 | 2648594.3344 | 1249004.6902
55 | 2648629.5242 | 1248986.4691
56 | 2648633.8497 | 1248945.4184
57 | 2648577.3942 | 1249030.0909
58 | 2648562.0963 | 1248983.4141
59 | 2648564.6038 | 1248900.0983
60 | 2648529.8888 | 1249047.858
61 | 2648637.7715 | 1248939.5355
62 | 2648444.9598 | 1248941.9928
63 | 2648460.4788 | 1248974.4806
64 | 2648496.282 | 1248905.9655
65 | 2648453.9024 | 1248995.9535
66 | 2648536.504 | 1249091.4199
67 | 2648551.1537 | 1249101.6378
68 | 2648552.5895 | 1249067.2938
69 | 2648597.7983 | 1248921.8234
70 | 2648602.4678 | 1248916.7488
71 | 2648562.4844 | 1249052.4534
72 | 2648592.6996 | 1249039.9917
73 | 2648558.3059 | 1249058.7206
74 | 2648593.0989 | 1249040.25
75 | 2648480.3967 | 1248891.9313
76 | 2648475.9078 | 1248887.9655
77 | 2648455.1632 | 1248869.6383
78 | 2648515.8672 | 1248844.4807
79 | 2648502.9377 | 1248835.8473
80 | 2648554.7665 | 1249064.0286
81 | 2648564.6038 | 1248900.0983

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1