## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4005-1_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4005-1_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4005-1_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4005-1_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4005-1_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4005-1_0_6_node_141 | 0.4 | n |  | TRUE
6 | bus_LV_4005-1_0_6_node_168 | 0.4 | n |  | TRUE
7 | bus_LV_4005-1_0_6_node_126 | 0.4 | n |  | TRUE
8 | bus_LV_4005-1_0_6_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_4005-1_0_6_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_4005-1_0_6_node_140 | 0.4 | n |  | TRUE
11 | bus_LV_4005-1_0_6_node_99 | 0.4 | n |  | TRUE
12 | bus_LV_4005-1_0_6_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_4005-1_0_6_node_76 | 0.4 | n |  | TRUE
14 | bus_LV_4005-1_0_6_node_73 | 0.4 | n |  | TRUE
15 | bus_LV_4005-1_0_6_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_4005-1_0_6_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_4005-1_0_6_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_4005-1_0_6_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_4005-1_0_6_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_4005-1_0_6_node_32 | 0.4 | n |  | TRUE
21 | bus_LV_4005-1_0_6_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_4005-1_0_6_node_20 | 0.4 | n |  | TRUE
23 | bus_LV_4005-1_0_6_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_4005-1_0_6_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_4005-1_0_6_node_33 | 0.4 | n |  | TRUE
26 | bus_LV_4005-1_0_6_node_30 | 0.4 | n |  | TRUE
27 | bus_LV_4005-1_0_6_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_4005-1_0_6_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_4005-1_0_6_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_4005-1_0_6_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_4005-1_0_6_node_35 | 0.4 | n |  | TRUE
32 | bus_LV_4005-1_0_6_node_34 | 0.4 | n |  | TRUE
33 | bus_LV_4005-1_0_6_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_4005-1_0_6_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_4005-1_0_6_node_24 | 0.4 | n |  | TRUE
36 | bus_LV_4005-1_0_6_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_4005-1_0_6_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_4005-1_0_6_node_36 | 0.4 | n |  | TRUE
39 | bus_LV_4005-1_0_6_node_37 | 0.4 | n |  | TRUE
40 | bus_LV_4005-1_0_6_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_4005-1_0_6_node_28 | 0.4 | n |  | TRUE
42 | bus_LV_4005-1_0_6_node_29 | 0.4 | n |  | TRUE
43 | bus_LV_4005-1_0_6_node_31 | 0.4 | n |  | TRUE
44 | bus_LV_4005-1_0_6_node_38 | 0.4 | n |  | TRUE
45 | bus_LV_4005-1_0_6_node_39 | 0.4 | n |  | TRUE
46 | bus_LV_4005-1_0_6_node_116 | 0.4 | n |  | TRUE
47 | bus_LV_4005-1_0_6_node_115 | 0.4 | n |  | TRUE
48 | bus_LV_4005-1_0_6_node_40 | 0.4 | n |  | TRUE
49 | bus_LV_4005-1_0_6_node_43 | 0.4 | n |  | TRUE
50 | bus_LV_4005-1_0_6_node_41 | 0.4 | n |  | TRUE
51 | bus_LV_4005-1_0_6_node_42 | 0.4 | n |  | TRUE
52 | bus_LV_4005-1_0_6_node_44 | 0.4 | n |  | TRUE
53 | bus_LV_4005-1_0_6_node_45 | 0.4 | n |  | TRUE
54 | bus_LV_4005-1_0_6_node_47 | 0.4 | n |  | TRUE
55 | bus_LV_4005-1_0_6_node_167 | 0.4 | n |  | TRUE
56 | bus_LV_4005-1_0_6_node_166 | 0.4 | n |  | TRUE
57 | bus_LV_4005-1_0_6_node_48 | 0.4 | n |  | TRUE
58 | bus_LV_4005-1_0_6_node_49 | 0.4 | n |  | TRUE
59 | bus_LV_4005-1_0_6_node_50 | 0.4 | n |  | TRUE
60 | bus_LV_4005-1_0_6_node_51 | 0.4 | n |  | TRUE
61 | bus_LV_4005-1_0_6_node_52 | 0.4 | n |  | TRUE
62 | bus_LV_4005-1_0_6_node_53 | 0.4 | n |  | TRUE
63 | bus_LV_4005-1_0_6_node_105 | 0.4 | n |  | TRUE
64 | bus_LV_4005-1_0_6_node_54 | 0.4 | n |  | TRUE
65 | bus_LV_4005-1_0_6_node_106 | 0.4 | n |  | TRUE
66 | bus_LV_4005-1_0_6_node_55 | 0.4 | n |  | TRUE
67 | bus_LV_4005-1_0_6_node_110 | 0.4 | n |  | TRUE
68 | bus_LV_4005-1_0_6_node_111 | 0.4 | n |  | TRUE
69 | bus_LV_4005-1_0_6_node_56 | 0.4 | n |  | TRUE
70 | bus_LV_4005-1_0_6_node_57 | 0.4 | n |  | TRUE
71 | bus_LV_4005-1_0_6_node_58 | 0.4 | n |  | TRUE
72 | bus_LV_4005-1_0_6_node_59 | 0.4 | n |  | TRUE
73 | bus_LV_4005-1_0_6_node_60 | 0.4 | n |  | TRUE
74 | bus_LV_4005-1_0_6_node_61 | 0.4 | n |  | TRUE
75 | bus_LV_4005-1_0_6_node_62 | 0.4 | n |  | TRUE
76 | bus_LV_4005-1_0_6_node_63 | 0.4 | n |  | TRUE
77 | bus_LV_4005-1_0_6_node_77 | 0.4 | n |  | TRUE
78 | bus_LV_4005-1_0_6_node_70 | 0.4 | n |  | TRUE
79 | bus_LV_4005-1_0_6_node_64 | 0.4 | n |  | TRUE
80 | bus_LV_4005-1_0_6_node_78 | 0.4 | n |  | TRUE
81 | bus_LV_4005-1_0_6_node_68 | 0.4 | n |  | TRUE
82 | bus_LV_4005-1_0_6_node_132 | 0.4 | n |  | TRUE
83 | bus_LV_4005-1_0_6_node_130 | 0.4 | n |  | TRUE
84 | bus_LV_4005-1_0_6_node_65 | 0.4 | n |  | TRUE
85 | bus_LV_4005-1_0_6_node_127 | 0.4 | n |  | TRUE
86 | bus_LV_4005-1_0_6_node_128 | 0.4 | n |  | TRUE
87 | bus_LV_4005-1_0_6_node_66 | 0.4 | n |  | TRUE
88 | bus_LV_4005-1_0_6_node_67 | 0.4 | n |  | TRUE
89 | bus_LV_4005-1_0_6_node_69 | 0.4 | n |  | TRUE
90 | bus_LV_4005-1_0_6_node_92 | 0.4 | n |  | TRUE
91 | bus_LV_4005-1_0_6_node_91 | 0.4 | n |  | TRUE
92 | bus_LV_4005-1_0_6_node_71 | 0.4 | n |  | TRUE
93 | bus_LV_4005-1_0_6_node_72 | 0.4 | n |  | TRUE
94 | bus_LV_4005-1_0_6_node_74 | 0.4 | n |  | TRUE
95 | bus_LV_4005-1_0_6_node_75 | 0.4 | n |  | TRUE
96 | bus_LV_4005-1_0_6_node_79 | 0.4 | n |  | TRUE
97 | bus_LV_4005-1_0_6_node_98 | 0.4 | n |  | TRUE
98 | bus_LV_4005-1_0_6_node_96 | 0.4 | n |  | TRUE
99 | bus_LV_4005-1_0_6_node_80 | 0.4 | n |  | TRUE
100 | bus_LV_4005-1_0_6_node_142 | 0.4 | n |  | TRUE
101 | bus_LV_4005-1_0_6_node_143 | 0.4 | n |  | TRUE
102 | bus_LV_4005-1_0_6_node_81 | 0.4 | n |  | TRUE
103 | bus_LV_4005-1_0_6_node_82 | 0.4 | n |  | TRUE
104 | bus_LV_4005-1_0_6_node_83 | 0.4 | n |  | TRUE
105 | bus_LV_4005-1_0_6_node_84 | 0.4 | n |  | TRUE
106 | bus_LV_4005-1_0_6_node_85 | 0.4 | n |  | TRUE
107 | bus_LV_4005-1_0_6_node_121 | 0.4 | n |  | TRUE
108 | bus_LV_4005-1_0_6_node_89 | 0.4 | n |  | TRUE
109 | bus_LV_4005-1_0_6_node_114 | 0.4 | n |  | TRUE
110 | bus_LV_4005-1_0_6_node_87 | 0.4 | n |  | TRUE
111 | bus_LV_4005-1_0_6_node_86 | 0.4 | n |  | TRUE
112 | bus_LV_4005-1_0_6_node_88 | 0.4 | n |  | TRUE
113 | bus_LV_4005-1_0_6_node_90 | 0.4 | n |  | TRUE
114 | bus_LV_4005-1_0_6_node_107 | 0.4 | n |  | TRUE
115 | bus_LV_4005-1_0_6_node_108 | 0.4 | n |  | TRUE
116 | bus_LV_4005-1_0_6_node_93 | 0.4 | n |  | TRUE
117 | bus_LV_4005-1_0_6_node_94 | 0.4 | n |  | TRUE
118 | bus_LV_4005-1_0_6_node_95 | 0.4 | n |  | TRUE
119 | bus_LV_4005-1_0_6_node_97 | 0.4 | n |  | TRUE
120 | bus_LV_4005-1_0_6_node_100 | 0.4 | n |  | TRUE
121 | bus_LV_4005-1_0_6_node_101 | 0.4 | n |  | TRUE
122 | bus_LV_4005-1_0_6_node_102 | 0.4 | n |  | TRUE
123 | bus_LV_4005-1_0_6_node_103 | 0.4 | n |  | TRUE
124 | bus_LV_4005-1_0_6_node_104 | 0.4 | n |  | TRUE
125 | bus_LV_4005-1_0_6_node_109 | 0.4 | n |  | TRUE
126 | bus_LV_4005-1_0_6_node_119 | 0.4 | n |  | TRUE
127 | bus_LV_4005-1_0_6_node_120 | 0.4 | n |  | TRUE
128 | bus_LV_4005-1_0_6_node_112 | 0.4 | n |  | TRUE
129 | bus_LV_4005-1_0_6_node_113 | 0.4 | n |  | TRUE
130 | bus_LV_4005-1_0_6_node_117 | 0.4 | n |  | TRUE
131 | bus_LV_4005-1_0_6_node_118 | 0.4 | n |  | TRUE
132 | bus_LV_4005-1_0_6_node_122 | 0.4 | n |  | TRUE
133 | bus_LV_4005-1_0_6_node_123 | 0.4 | n |  | TRUE
134 | bus_LV_4005-1_0_6_node_124 | 0.4 | n |  | TRUE
135 | bus_LV_4005-1_0_6_node_125 | 0.4 | n |  | TRUE
136 | bus_LV_4005-1_0_6_node_138 | 0.4 | n |  | TRUE
137 | bus_LV_4005-1_0_6_node_133 | 0.4 | n |  | TRUE
138 | bus_LV_4005-1_0_6_node_129 | 0.4 | n |  | TRUE
139 | bus_LV_4005-1_0_6_node_131 | 0.4 | n |  | TRUE
140 | bus_LV_4005-1_0_6_node_139 | 0.4 | n |  | TRUE
141 | bus_LV_4005-1_0_6_node_165 | 0.4 | n |  | TRUE
142 | bus_LV_4005-1_0_6_node_134 | 0.4 | n |  | TRUE
143 | bus_LV_4005-1_0_6_node_135 | 0.4 | n |  | TRUE
144 | bus_LV_4005-1_0_6_node_137 | 0.4 | n |  | TRUE
145 | bus_LV_4005-1_0_6_node_144 | 0.4 | n |  | TRUE
146 | bus_LV_4005-1_0_6_node_136 | 0.4 | n |  | TRUE
147 | bus_LV_4005-1_0_6_node_156 | 0.4 | n |  | TRUE
148 | bus_LV_4005-1_0_6_node_145 | 0.4 | n |  | TRUE
149 | bus_LV_4005-1_0_6_node_149 | 0.4 | n |  | TRUE
150 | bus_LV_4005-1_0_6_node_147 | 0.4 | n |  | TRUE
151 | bus_LV_4005-1_0_6_node_151 | 0.4 | n |  | TRUE
152 | bus_LV_4005-1_0_6_node_150 | 0.4 | n |  | TRUE
153 | bus_LV_4005-1_0_6_node_146 | 0.4 | n |  | TRUE
154 | bus_LV_4005-1_0_6_node_148 | 0.4 | n |  | TRUE
155 | bus_LV_4005-1_0_6_node_155 | 0.4 | n |  | TRUE
156 | bus_LV_4005-1_0_6_node_152 | 0.4 | n |  | TRUE
157 | bus_LV_4005-1_0_6_node_160 | 0.4 | n |  | TRUE
158 | bus_LV_4005-1_0_6_node_153 | 0.4 | n |  | TRUE
159 | bus_LV_4005-1_0_6_node_154 | 0.4 | n |  | TRUE
160 | bus_LV_4005-1_0_6_node_161 | 0.4 | n |  | TRUE
161 | bus_LV_4005-1_0_6_node_162 | 0.4 | n |  | TRUE
162 | bus_LV_4005-1_0_6_node_159 | 0.4 | n |  | TRUE
163 | bus_LV_4005-1_0_6_node_163 | 0.4 | n |  | TRUE
164 | bus_LV_4005-1_0_6_node_164 | 0.4 | n |  | TRUE
165 | bus_MV_522_0_node_109 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4005-1_0_6_load_0 | 0 | 0.011143 | 0.0027926 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4005-1_0_6_load_1 | 1 | 0.0038042 | 0.00095342 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4005-1_0_6_load_3 | 3 | 0.001138 | 0.00028521 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4005-1_0_6_load_4 | 4 | 0.0022952 | 0.00057522 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4005-1_0_6_load_141 | 5 | 0.0030541 | 0.00076543 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4005-1_0_6_load_168 | 6 | 0.003132 | 0.00078497 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4005-1_0_6_load_126 | 7 | 0.0030161 | 0.00075591 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4005-1_0_6_load_6 | 8 | 0.0028552 | 0.00071557 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4005-1_0_6_load_5 | 9 | 0.0023651 | 0.00059276 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4005-1_0_6_load_140 | 10 | 0.007023 | 0.0017601 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4005-1_0_6_load_99 | 11 | 0.0073679 | 0.0018466 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4005-1_0_6_load_8 | 12 | 0.0033363 | 0.00083616 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4005-1_0_6_load_76 | 13 | 0.001726 | 0.00043258 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4005-1_0_6_load_9 | 15 | 0.0015346 | 0.00038462 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4005-1_0_6_load_10 | 16 | 0.0015346 | 0.00038462 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4005-1_0_6_load_11 | 17 | 0.0015358 | 0.00038492 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4005-1_0_6_load_12 | 18 | 0.0015373 | 0.00038528 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4005-1_0_6_load_13 | 19 | 0.001829 | 0.00045839 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4005-1_0_6_load_32 | 20 | 0.0015332 | 0.00038426 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4005-1_0_6_load_14 | 21 | 0.0018273 | 0.00045797 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4005-1_0_6_load_20 | 22 | 0.0015346 | 0.00038459 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4005-1_0_6_load_15 | 23 | 0.0018308 | 0.00045883 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4005-1_0_6_load_16 | 24 | 0.0018308 | 0.00045883 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4005-1_0_6_load_33 | 25 | 0.0018287 | 0.00045832 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4005-1_0_6_load_30 | 26 | 0.001829 | 0.00045839 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4005-1_0_6_load_17 | 27 | 0.0015332 | 0.00038425 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4005-1_0_6_load_18 | 28 | 0.0015372 | 0.00038526 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4005-1_0_6_load_19 | 29 | 0.003386 | 0.00084862 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4005-1_0_6_load_21 | 30 | 0.0016554 | 0.00041489 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4005-1_0_6_load_35 | 31 | 0.0016557 | 0.00041495 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4005-1_0_6_load_34 | 32 | 0.0016545 | 0.00041466 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4005-1_0_6_load_22 | 33 | 0.0016539 | 0.00041452 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4005-1_0_6_load_23 | 34 | 0.0016554 | 0.00041489 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4005-1_0_6_load_24 | 35 | 0.0016557 | 0.00041495 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4005-1_0_6_load_25 | 36 | 0.0016554 | 0.00041489 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4005-1_0_6_load_26 | 37 | 0.0016576 | 0.00041543 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4005-1_0_6_load_36 | 38 | 0.0025322 | 0.00063462 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4005-1_0_6_load_37 | 39 | 0.0024398 | 0.00061147 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4005-1_0_6_load_27 | 40 | 0.0018308 | 0.00045883 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4005-1_0_6_load_28 | 41 | 0.0018308 | 0.00045883 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4005-1_0_6_load_29 | 42 | 0.0043251 | 0.001084 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4005-1_0_6_load_31 | 43 | 0.0015396 | 0.00038586 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4005-1_0_6_load_38 | 44 | 0.0014186 | 0.00035554 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4005-1_0_6_load_39 | 45 | 0.0016961 | 0.00042508 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4005-1_0_6_load_116 | 46 | 0.0026496 | 0.00066404 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4005-1_0_6_load_115 | 47 | 0.0024902 | 0.0006241 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4005-1_0_6_load_40 | 48 | 0.002213 | 0.00055463 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4005-1_0_6_load_43 | 49 | 0.002011 | 0.00050399 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4005-1_0_6_load_41 | 50 | 0.0017254 | 0.00043243 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4005-1_0_6_load_42 | 51 | 0.0021677 | 0.00054329 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4005-1_0_6_load_44 | 52 | 0.0022424 | 0.00056199 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4005-1_0_6_load_45 | 53 | 0.0030505 | 0.00076452 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4005-1_0_6_load_167 | 55 | 0.0058466 | 0.0014653 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4005-1_0_6_load_166 | 56 | 0.0033736 | 0.00084549 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4005-1_0_6_load_48 | 57 | 0.0016651 | 0.0004173 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4005-1_0_6_load_49 | 58 | 0.002356 | 0.00059047 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4005-1_0_6_load_50 | 59 | 0.0027374 | 0.00068607 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4005-1_0_6_load_51 | 60 | 0.0040174 | 0.0010068 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4005-1_0_6_load_52 | 61 | 0.0026211 | 0.0006569 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4005-1_0_6_load_53 | 62 | 0.0023302 | 0.00058401 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4005-1_0_6_load_105 | 63 | 0.0025022 | 0.0006271 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4005-1_0_6_load_54 | 64 | 0.0050439 | 0.0012641 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4005-1_0_6_load_106 | 65 | 0.0024262 | 0.00060807 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4005-1_0_6_load_55 | 66 | 0.0030857 | 0.00077334 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4005-1_0_6_load_110 | 67 | 0.0022296 | 0.00055878 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4005-1_0_6_load_111 | 68 | 0.0031943 | 0.00080056 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4005-1_0_6_load_56 | 69 | 0.0033293 | 0.0008344 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4005-1_0_6_load_59 | 72 | 0.014288 | 0.003581 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4005-1_0_6_load_60 | 73 | 0.0018925 | 0.00047431 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4005-1_0_6_load_61 | 74 | 0.0023933 | 0.00059982 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4005-1_0_6_load_62 | 75 | 0.0030622 | 0.00076746 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4005-1_0_6_load_63 | 76 | 0.0035463 | 0.00088878 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4005-1_0_6_load_77 | 77 | 0.0059479 | 0.0014907 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4005-1_0_6_load_70 | 78 | 0.0031989 | 0.00080171 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4005-1_0_6_load_64 | 79 | 0.0015038 | 0.00037688 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4005-1_0_6_load_68 | 81 | 0.0025152 | 0.00063038 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4005-1_0_6_load_132 | 82 | 0.0020208 | 0.00050647 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4005-1_0_6_load_130 | 83 | 0.0013379 | 0.00033531 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4005-1_0_6_load_65 | 84 | 0.00090306 | 0.00022633 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4005-1_0_6_load_127 | 85 | 0.0015661 | 0.00039251 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4005-1_0_6_load_128 | 86 | 0.018946 | 0.0047482 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4005-1_0_6_load_66 | 87 | 0.0048493 | 0.0012154 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_4005-1_0_6_load_67 | 88 | 0.0031622 | 0.00079253 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_4005-1_0_6_load_69 | 89 | 0.0024975 | 0.00062594 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_4005-1_0_6_load_92 | 90 | 0.0025481 | 0.00063862 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_4005-1_0_6_load_91 | 91 | 0.0024465 | 0.00061316 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_4005-1_0_6_load_71 | 92 | 0.0059499 | 0.0014912 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_4005-1_0_6_load_72 | 93 | 0.0014105 | 0.00035351 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_4005-1_0_6_load_74 | 94 | 0.0013008 | 0.00032602 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_4005-1_0_6_load_75 | 95 | 0.0070826 | 0.0017751 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_4005-1_0_6_load_79 | 96 | 0.00071068 | 0.00017811 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_4005-1_0_6_load_98 | 97 | 0.001426 | 0.0003574 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_4005-1_0_6_load_96 | 98 | 0.0041454 | 0.0010389 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_4005-1_0_6_load_80 | 99 | 0.001861 | 0.00046641 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_4005-1_0_6_load_142 | 100 | 0.0014999 | 0.0003759 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_4005-1_0_6_load_81 | 102 | 0.0035911 | 0.0009 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_4005-1_0_6_load_82 | 103 | 0.0036083 | 0.00090431 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_4005-1_0_6_load_83 | 104 | 0.0033154 | 0.00083092 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_4005-1_0_6_load_84 | 105 | 0.0044309 | 0.0011105 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_4005-1_0_6_load_85 | 106 | 0.0034101 | 0.00085464 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_4005-1_0_6_load_121 | 107 | 0.0031849 | 0.00079821 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_4005-1_0_6_load_89 | 108 | 0.0065712 | 0.0016469 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_4005-1_0_6_load_114 | 109 | 0.00427 | 0.0010702 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_4005-1_0_6_load_87 | 110 | 0.0025845 | 0.00064775 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_4005-1_0_6_load_86 | 111 | 0.0026338 | 0.00066009 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_4005-1_0_6_load_88 | 112 | 0.0025299 | 0.00063405 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_4005-1_0_6_load_90 | 113 | 0.0025866 | 0.00064826 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_4005-1_0_6_load_107 | 114 | 0.0026612 | 0.00066695 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_4005-1_0_6_load_108 | 115 | 0.0025077 | 0.00062849 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_4005-1_0_6_load_93 | 116 | 0.0025026 | 0.00062721 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_4005-1_0_6_load_94 | 117 | 0.002571 | 0.00064434 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_4005-1_0_6_load_95 | 118 | 0.0039914 | 0.0010003 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_4005-1_0_6_load_97 | 119 | 0.0044631 | 0.0011186 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_4005-1_0_6_load_100 | 120 | 0.0021851 | 0.00054764 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_4005-1_0_6_load_101 | 121 | 0.0021845 | 0.00054749 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_4005-1_0_6_load_102 | 122 | 0.0021851 | 0.00054765 | 0 | 0 |  | 1 | TRUE | wye
116 | LV_4005-1_0_6_load_103 | 123 | 0.0027132 | 0.00067999 | 0 | 0 |  | 1 | TRUE | wye
117 | LV_4005-1_0_6_load_104 | 124 | 0.0021845 | 0.00054749 | 0 | 0 |  | 1 | TRUE | wye
118 | LV_4005-1_0_6_load_109 | 125 | 0.0025872 | 0.00064842 | 0 | 0 |  | 1 | TRUE | wye
119 | LV_4005-1_0_6_load_119 | 126 | 0.0021868 | 0.00054805 | 0 | 0 |  | 1 | TRUE | wye
120 | LV_4005-1_0_6_load_120 | 127 | 0.0021848 | 0.00054756 | 0 | 0 |  | 1 | TRUE | wye
121 | LV_4005-1_0_6_load_112 | 128 | 0.0034636 | 0.00086805 | 0 | 0 |  | 1 | TRUE | wye
122 | LV_4005-1_0_6_load_113 | 129 | 0.0034773 | 0.00087149 | 0 | 0 |  | 1 | TRUE | wye
123 | LV_4005-1_0_6_load_117 | 130 | 0.00602 | 0.0015088 | 0 | 0 |  | 1 | TRUE | wye
124 | LV_4005-1_0_6_load_118 | 131 | 0.0021845 | 0.00054749 | 0 | 0 |  | 1 | TRUE | wye
125 | LV_4005-1_0_6_load_122 | 132 | 0.0021869 | 0.00054809 | 0 | 0 |  | 1 | TRUE | wye
126 | LV_4005-1_0_6_load_123 | 133 | 0.0013352 | 0.00033463 | 0 | 0 |  | 1 | TRUE | wye
127 | LV_4005-1_0_6_load_124 | 134 | 0.0023544 | 0.00059006 | 0 | 0 |  | 1 | TRUE | wye
128 | LV_4005-1_0_6_load_125 | 135 | 0.0030783 | 0.00077151 | 0 | 0 |  | 1 | TRUE | wye
129 | LV_4005-1_0_6_load_138 | 136 | 0.001636 | 0.00041002 | 0 | 0 |  | 1 | TRUE | wye
130 | LV_4005-1_0_6_load_129 | 138 | 0.0015146 | 0.0003796 | 0 | 0 |  | 1 | TRUE | wye
131 | LV_4005-1_0_6_load_139 | 140 | 0.0040985 | 0.0010272 | 0 | 0 |  | 1 | TRUE | wye
132 | LV_4005-1_0_6_load_165 | 141 | 0.0047369 | 0.0011872 | 0 | 0 |  | 1 | TRUE | wye
133 | LV_4005-1_0_6_load_134 | 142 | 0.0015135 | 0.00037931 | 0 | 0 |  | 1 | TRUE | wye
134 | LV_4005-1_0_6_load_135 | 143 | 0.0013386 | 0.00033548 | 0 | 0 |  | 1 | TRUE | wye
135 | LV_4005-1_0_6_load_136 | 146 | 0.0065896 | 0.0016515 | 0 | 0 |  | 1 | TRUE | wye
136 | LV_4005-1_0_6_load_156 | 147 | 0.0048684 | 0.0012201 | 0 | 0 |  | 1 | TRUE | wye
137 | LV_4005-1_0_6_load_147 | 150 | 0.011162 | 0.0027974 | 0 | 0 |  | 1 | TRUE | wye
138 | LV_4005-1_0_6_load_150 | 152 | 0.004457 | 0.001117 | 0 | 0 |  | 1 | TRUE | wye
139 | LV_4005-1_0_6_load_146 | 153 | 0.0030641 | 0.00076793 | 0 | 0 |  | 1 | TRUE | wye
140 | LV_4005-1_0_6_load_148 | 154 | 0.0017237 | 0.000432 | 0 | 0 |  | 1 | TRUE | wye
141 | LV_4005-1_0_6_load_155 | 155 | 0.0022994 | 0.00057629 | 0 | 0 |  | 1 | TRUE | wye
142 | LV_4005-1_0_6_load_152 | 156 | 0.0010269 | 0.00025737 | 0 | 0 |  | 1 | TRUE | wye
143 | LV_4005-1_0_6_load_153 | 158 | 0.0015074 | 0.00037779 | 0 | 0 |  | 1 | TRUE | wye
144 | LV_4005-1_0_6_load_154 | 159 | 0.0032635 | 0.00081792 | 0 | 0 |  | 1 | TRUE | wye
145 | LV_4005-1_0_6_load_161 | 160 | 0.0014274 | 0.00035773 | 0 | 0 |  | 1 | TRUE | wye
146 | LV_4005-1_0_6_load_159 | 162 | 0.0036011 | 0.00090252 | 0 | 0 |  | 1 | TRUE | wye
147 | LV_4005-1_0_6_load_163 | 163 | 0.0021807 | 0.00054654 | 0 | 0 |  | 1 | TRUE | wye
148 | LV_4005-1_0_6_load_164 | 164 | 0.0019437 | 0.00048713 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 64 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4005-1_0_6_line_0 |  | 0 | 1 | 0.012454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4005-1_0_6_line_1 |  | 0 | 2 | 0.0062245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4005-1_0_6_line_2 |  | 2 | 3 | 0.015259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4005-1_0_6_line_3 |  | 2 | 4 | 0.047418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4005-1_0_6_line_4 |  | 3 | 8 | 0.044297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4005-1_0_6_line_5 |  | 5 | 6 | 0.031105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4005-1_0_6_line_6 |  | 5 | 7 | 0.034996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4005-1_0_6_line_7 |  | 6 | 10 | 0.033461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4005-1_0_6_line_8 |  | 6 | 8 | 0.03937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4005-1_0_6_line_9 |  | 7 | 135 | 0.026948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4005-1_0_6_line_10 |  | 8 | 9 | 0.033208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4005-1_0_6_line_11 |  | 10 | 11 | 0.035758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4005-1_0_6_line_12 |  | 11 | 119 | 0.023703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4005-1_0_6_line_13 |  | 12 | 13 | 0.047554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4005-1_0_6_line_14 |  | 13 | 14 | 0.01609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4005-1_0_6_line_15 |  | 14 | 95 | 0.0077735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_4005-1_0_6_line_16 |  | 14 | 92 | 0.029366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_4005-1_0_6_line_17 |  | 15 | 16 | 0.00060103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4005-1_0_6_line_18 |  | 15 | 17 | 0.00060262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4005-1_0_6_line_19 |  | 16 | 18 | 0.00060574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4005-1_0_6_line_20 |  | 17 | 19 | 0.017351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4005-1_0_6_line_21 |  | 18 | 20 | 0.00060262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4005-1_0_6_line_22 |  | 19 | 21 | 0.00049287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4005-1_0_6_line_23 |  | 20 | 22 | 0.00060317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4005-1_0_6_line_24 |  | 21 | 23 | 0.0011963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4005-1_0_6_line_25 |  | 22 | 28 | 0.00060574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4005-1_0_6_line_26 |  | 23 | 24 | 0.001198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4005-1_0_6_line_27 |  | 24 | 25 | 0.0011974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4005-1_0_6_line_28 |  | 25 | 26 | 0.0012064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4005-1_0_6_line_29 |  | 26 | 41 | 0.0011938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4005-1_0_6_line_30 |  | 27 | 28 | 0.00060788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4005-1_0_6_line_31 |  | 27 | 29 | 0.0089142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4005-1_0_6_line_32 |  | 29 | 30 | 0.012672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4005-1_0_6_line_33 |  | 30 | 31 | 0.00054371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4005-1_0_6_line_34 |  | 31 | 32 | 0.00055253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4005-1_0_6_line_35 |  | 32 | 37 | 0.00054801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4005-1_0_6_line_36 |  | 33 | 34 | 0.00054452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4005-1_0_6_line_37 |  | 33 | 35 | 0.00054622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4005-1_0_6_line_38 |  | 34 | 36 | 0.00055402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4005-1_0_6_line_39 |  | 35 | 37 | 0.00055352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4005-1_0_6_line_40 |  | 36 | 38 | 0.025878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4005-1_0_6_line_41 |  | 38 | 39 | 1.6127e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4005-1_0_6_line_42 |  | 39 | 46 | 1.5844e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4005-1_0_6_line_43 |  | 40 | 41 | 0.001198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4005-1_0_6_line_44 |  | 40 | 42 | 0.0041391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4005-1_0_6_line_45 |  | 42 | 43 | 0.031714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4005-1_0_6_line_46 |  | 43 | 44 | 0.0011112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4005-1_0_6_line_47 |  | 44 | 45 | 0.020265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4005-1_0_6_line_48 |  | 45 | 48 | 0.0062207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4005-1_0_6_line_49 |  | 46 | 47 | 1.636e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4005-1_0_6_line_50 |  | 47 | 130 | 0.018785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4005-1_0_6_line_51 |  | 48 | 49 | 0.025039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4005-1_0_6_line_52 |  | 49 | 50 | 0.0021563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4005-1_0_6_line_53 |  | 50 | 51 | 0.0036046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4005-1_0_6_line_54 |  | 51 | 52 | 0.016212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4005-1_0_6_line_55 |  | 53 | 54 | 0.016748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4005-1_0_6_line_56 |  | 54 | 55 | 0.68937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4005-1_0_6_line_57 |  | 55 | 56 | 0.0051283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4005-1_0_6_line_58 |  | 56 | 141 | 0.024965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4005-1_0_6_line_59 |  | 57 | 58 | 0.0026649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_4005-1_0_6_line_60 |  | 57 | 59 | 0.020522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_4005-1_0_6_line_61 |  | 58 | 60 | 0.0014606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_4005-1_0_6_line_62 |  | 59 | 61 | 0.0058887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_4005-1_0_6_line_63 |  | 60 | 62 | 0.00097499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_4005-1_0_6_line_64 |  | 61 | 63 | 1.3378e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
65 | LV_4005-1_0_6_line_65 |  | 62 | 64 | 0.020528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
66 | LV_4005-1_0_6_line_66 |  | 63 | 65 | 2.3294e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
67 | LV_4005-1_0_6_line_67 |  | 64 | 66 | 0.0016616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
68 | LV_4005-1_0_6_line_68 |  | 65 | 117 | 1.2082e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
69 | LV_4005-1_0_6_line_69 |  | 66 | 67 | 0.020238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
70 | LV_4005-1_0_6_line_70 |  | 67 | 68 | 0.013173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
71 | LV_4005-1_0_6_line_71 |  | 68 | 128 | 0.00068494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
72 | LV_4005-1_0_6_line_72 |  | 69 | 70 | 0.010205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4005-1_0_6_line_73 |  | 69 | 71 | 0.024371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4005-1_0_6_line_74 |  | 70 | 72 | 0.050535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
75 | LV_4005-1_0_6_line_75 |  | 70 | 73 | 0.018807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
76 | LV_4005-1_0_6_line_76 |  | 70 | 74 | 0.018796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4005-1_0_6_line_77 |  | 71 | 75 | 0.020889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4005-1_0_6_line_78 |  | 71 | 76 | 0.027653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4005-1_0_6_line_79 |  | 72 | 77 | 0.0030872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
80 | LV_4005-1_0_6_line_80 |  | 73 | 78 | 0.028654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
81 | LV_4005-1_0_6_line_81 |  | 75 | 79 | 6.2119e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4005-1_0_6_line_82 |  | 77 | 80 | 0.025654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
83 | LV_4005-1_0_6_line_83 |  | 78 | 81 | 0.0034409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
84 | LV_4005-1_0_6_line_84 |  | 79 | 84 | 0.023573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4005-1_0_6_line_85 |  | 80 | 99 | 0.012638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4005-1_0_6_line_86 |  | 80 | 96 | 0.002174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
87 | LV_4005-1_0_6_line_87 |  | 81 | 87 | 0.027933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
88 | LV_4005-1_0_6_line_88 |  | 82 | 83 | 0.025034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4005-1_0_6_line_89 |  | 83 | 138 | 0.0088161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4005-1_0_6_line_90 |  | 84 | 85 | 0.010198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4005-1_0_6_line_91 |  | 85 | 86 | 0.00012659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4005-1_0_6_line_92 |  | 86 | 136 | 0.025729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4005-1_0_6_line_93 |  | 87 | 88 | 0.00039253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
94 | LV_4005-1_0_6_line_94 |  | 88 | 89 | 0.030066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
95 | LV_4005-1_0_6_line_95 |  | 89 | 90 | 2.6001e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
96 | LV_4005-1_0_6_line_96 |  | 90 | 91 | 8.552e-06 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
97 | LV_4005-1_0_6_line_97 |  | 91 | 116 | 2.1817e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
98 | LV_4005-1_0_6_line_98 |  | 92 | 93 | 0.0087573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
99 | LV_4005-1_0_6_line_99 |  | 93 | 94 | 0.021381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
100 | LV_4005-1_0_6_line_100 |  | 94 | 96 | 0.022562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
101 | LV_4005-1_0_6_line_101 |  | 95 | 97 | 0.0082588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
102 | LV_4005-1_0_6_line_102 |  | 97 | 98 | 0.042869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
103 | LV_4005-1_0_6_line_103 |  | 98 | 118 | 0.032254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_4005-1_0_6_line_104 |  | 99 | 100 | 0.016952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_4005-1_0_6_line_105 |  | 100 | 101 | 0.06555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_4005-1_0_6_line_106 |  | 101 | 148 | 0.042077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_4005-1_0_6_line_107 |  | 101 | 145 | 0.005827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_4005-1_0_6_line_108 |  | 102 | 103 | 0.00034234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_4005-1_0_6_line_109 |  | 102 | 104 | 0.00032507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_4005-1_0_6_line_110 |  | 103 | 105 | 0.00038174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_4005-1_0_6_line_111 |  | 104 | 106 | 0.010786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_4005-1_0_6_line_112 |  | 105 | 107 | 0.012899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
113 | LV_4005-1_0_6_line_113 |  | 106 | 108 | 0.026092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_4005-1_0_6_line_114 |  | 107 | 109 | 0.0038387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
115 | LV_4005-1_0_6_line_115 |  | 108 | 110 | 0.00068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_4005-1_0_6_line_116 |  | 109 | 129 | 0.00067619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
117 | LV_4005-1_0_6_line_117 |  | 110 | 111 | 0.00019089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_4005-1_0_6_line_118 |  | 111 | 112 | 0.00018871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_4005-1_0_6_line_119 |  | 112 | 113 | 0.00018446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_4005-1_0_6_line_120 |  | 113 | 114 | 0.00019647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_4005-1_0_6_line_121 |  | 114 | 115 | 0.00018938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_4005-1_0_6_line_122 |  | 115 | 125 | 0.00019054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_4005-1_0_6_line_123 |  | 116 | 117 | 1.2256e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
124 | LV_4005-1_0_6_line_124 |  | 118 | 119 | 0.030364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_4005-1_0_6_line_125 |  | 120 | 121 | 0.00015194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_4005-1_0_6_line_126 |  | 120 | 122 | 0.00016262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_4005-1_0_6_line_127 |  | 121 | 123 | 0.025289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_4005-1_0_6_line_128 |  | 122 | 124 | 0.00015194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_4005-1_0_6_line_129 |  | 123 | 125 | 0.00018733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_4005-1_0_6_line_130 |  | 124 | 126 | 0.00016334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_4005-1_0_6_line_131 |  | 126 | 127 | 0.00015959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_4005-1_0_6_line_132 |  | 127 | 132 | 0.00015357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_4005-1_0_6_line_133 |  | 128 | 129 | 0.00071488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
134 | LV_4005-1_0_6_line_134 |  | 130 | 131 | 0.0078055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_4005-1_0_6_line_135 |  | 131 | 132 | 0.00015732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_4005-1_0_6_line_136 |  | 133 | 134 | 0.023206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_4005-1_0_6_line_137 |  | 133 | 135 | 0.048123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_4005-1_0_6_line_138 |  | 136 | 137 | 0.020604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_4005-1_0_6_line_139 |  | 137 | 140 | 0.015065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_4005-1_0_6_line_140 |  | 137 | 139 | 0.034843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_4005-1_0_6_line_141 |  | 138 | 139 | 0.038073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_4005-1_0_6_line_142 |  | 140 | 141 | 0.0025754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_4005-1_0_6_line_143 |  | 142 | 143 | 0.0087006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_4005-1_0_6_line_144 |  | 143 | 144 | 0.030545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_4005-1_0_6_line_145 |  | 144 | 145 | 0.015616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_4005-1_0_6_line_146 |  | 144 | 146 | 0.0045155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
147 | LV_4005-1_0_6_line_147 |  | 145 | 147 | 0.024709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
148 | LV_4005-1_0_6_line_148 |  | 148 | 149 | 0.01147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
149 | LV_4005-1_0_6_line_149 |  | 148 | 150 | 0.031774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
150 | LV_4005-1_0_6_line_150 |  | 149 | 151 | 0.020665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
151 | LV_4005-1_0_6_line_151 |  | 149 | 152 | 0.025973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
152 | LV_4005-1_0_6_line_152 |  | 150 | 153 | 0.031318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
153 | LV_4005-1_0_6_line_153 |  | 151 | 155 | 0.03537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
154 | LV_4005-1_0_6_line_154 |  | 151 | 156 | 0.014528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
155 | LV_4005-1_0_6_line_155 |  | 153 | 154 | 0.028103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
156 | LV_4005-1_0_6_line_156 |  | 155 | 157 | 0.013612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
157 | LV_4005-1_0_6_line_157 |  | 156 | 158 | 0.00068505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
158 | LV_4005-1_0_6_line_158 |  | 157 | 162 | 0.029134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
159 | LV_4005-1_0_6_line_159 |  | 158 | 159 | 0.019627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
160 | LV_4005-1_0_6_line_160 |  | 159 | 160 | 0.0041193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
161 | LV_4005-1_0_6_line_161 |  | 160 | 161 | 0.021868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
162 | LV_4005-1_0_6_line_162 |  | 161 | 163 | 0.020748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
163 | LV_4005-1_0_6_line_163 |  | 163 | 164 | 0.023462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4005-1_0_6_trafo_54 | 0.63 MVA 20/0.4 kV | 165 | 64 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2644234.6396 | 1249599.6957 | 2644231.1122 | 1249587.752
1 | 2644236.4026 | 1249605.6653 | 2644234.6396 | 1249599.6957
2 | 2644236.4026 | 1249605.6653 | 2644238.9209 | 1249614.201 | 2644235.2426 | 1249619.3889
3 | 2644236.4026 | 1249605.6653 | 2644189.055 | 1249608.251
4 | 2644197.786 | 1249636.4244 | 2644216.4568 | 1249635.9481 | 2644228.4525 | 1249628.9662 | 2644235.2426 | 1249619.3889
5 | 2644238.0742 | 1249671.4434 | 2644215.1809 | 1249674.4089 | 2644207.1649 | 1249674.6609
6 | 2644238.0742 | 1249671.4434 | 2644252.9204 | 1249669.5203 | 2644272.3714 | 1249664.7578
7 | 2644207.1649 | 1249674.6609 | 2644173.7202 | 1249675.7122
8 | 2644207.1649 | 1249674.6609 | 2644197.786 | 1249636.4244
9 | 2644298.0172 | 1249656.7089 | 2644286.8956 | 1249661.2016 | 2644272.3714 | 1249664.7578
10 | 2644164.5883 | 1249637.2712 | 2644197.786 | 1249636.4244
11 | 2644173.7202 | 1249675.7122 | 2644147.9883 | 1249676.521 | 2644138.0273 | 1249677.5452
12 | 2644114.4485 | 1249679.9696 | 2644138.0273 | 1249677.5452
13 | 2644033.3888 | 1249657.713 | 2644009.8529 | 1249663.219 | 2644005.1942 | 1249663.2845 | 2643997.3824 | 1249666.0618 | 2643995.0272 | 1249669.0686 | 2643994.6242 | 1249675.6694
14 | 2643993.6436 | 1249691.7291 | 2643994.6242 | 1249675.6694
15 | 2643993.6436 | 1249691.7291 | 2644001.417 | 1249691.753
16 | 2643993.6436 | 1249691.7291 | 2643973.0813 | 1249691.3319 | 2643964.2944 | 1249690.8519
17 | 2644256.4704 | 1249728.9399 | 2644255.8782 | 1249729.0426
18 | 2644257.0642 | 1249728.8369 | 2644256.4704 | 1249728.9399
19 | 2644255.8782 | 1249729.0426 | 2644255.2814 | 1249729.1461
20 | 2644274.1595 | 1249725.8723 | 2644274.1595 | 1249725.8723 | 2644257.0642 | 1249728.8369
21 | 2644255.2814 | 1249729.1461 | 2644254.6877 | 1249729.2491
22 | 2644274.6294 | 1249725.7233 | 2644274.1595 | 1249725.8723
23 | 2644254.6877 | 1249729.2491 | 2644254.0934 | 1249729.3521
24 | 2644275.7697 | 1249725.3619 | 2644274.6294 | 1249725.7233
25 | 2644254.0934 | 1249729.3521 | 2644253.4965 | 1249729.4556
26 | 2644275.7697 | 1249725.3619 | 2644276.9117 | 1249725
27 | 2644278.0532 | 1249724.6382 | 2644276.9117 | 1249725
28 | 2644278.0532 | 1249724.6382 | 2644279.2033 | 1249724.2737
29 | 2644280.3413 | 1249723.913 | 2644279.2033 | 1249724.2737
30 | 2644253.4965 | 1249729.4556 | 2644252.8976 | 1249729.5595
31 | 2644244.1144 | 1249731.0827 | 2644252.8976 | 1249729.5595
32 | 2644244.1144 | 1249731.0827 | 2644231.6285 | 1249733.248
33 | 2644231.6285 | 1249733.248 | 2644231.0928 | 1249733.3409
34 | 2644231.0928 | 1249733.3409 | 2644230.5484 | 1249733.4353
35 | 2644230.5484 | 1249733.4353 | 2644230.0085 | 1249733.529
36 | 2644228.9249 | 1249733.7169 | 2644228.3884 | 1249733.8099
37 | 2644229.4631 | 1249733.6235 | 2644228.9249 | 1249733.7169
38 | 2644228.3884 | 1249733.8099 | 2644227.8425 | 1249733.9046
39 | 2644230.0085 | 1249733.529 | 2644229.4631 | 1249733.6235
40 | 2644227.8425 | 1249733.9046 | 2644219.8832 | 1249735.2849 | 2644202.1893 | 1249737.2239
41 | 2644202.1893 | 1249737.2239 | 2644202.1733 | 1249737.2257
42 | 2644202.1733 | 1249737.2257 | 2644202.1575 | 1249737.2274
43 | 2644281.4833 | 1249723.551 | 2644280.3413 | 1249723.913
44 | 2644281.4833 | 1249723.551 | 2644285.429 | 1249722.3005
45 | 2644315.6604 | 1249712.7188 | 2644285.429 | 1249722.3005
46 | 2644315.6604 | 1249712.7188 | 2644316.7197 | 1249712.3831
47 | 2644316.7197 | 1249712.3831 | 2644325.1571 | 1249709.7089 | 2644335.3365 | 1249704.5447
48 | 2644340.8841 | 1249701.7303 | 2644335.3365 | 1249704.5447
49 | 2644202.1575 | 1249737.2274 | 2644202.1413 | 1249737.2292
50 | 2644183.4678 | 1249739.2756 | 2644202.1413 | 1249737.2292
51 | 2644340.8841 | 1249701.7303 | 2644351.3556 | 1249696.418 | 2644362.4422 | 1249689.0769
52 | 2644364.24 | 1249687.8864 | 2644362.4422 | 1249689.0769
53 | 2644364.24 | 1249687.8864 | 2644367.2455 | 1249685.8963
54 | 2644380.7624 | 1249676.9459 | 2644367.2455 | 1249685.8963
55 | 2643981.0237 | 1250508.3742 | 2643990.9833 | 1250506.9583 | 2643997.6709 | 1250506.8531
56 | 2643791.3363 | 1249845.6166 | 2643981.0237 | 1250508.3742
57 | 2643791.3363 | 1249845.6166 | 2643791.4013 | 1249840.4888
58 | 2643791.7176 | 1249815.5253 | 2643791.4013 | 1249840.4888
59 | 2644030.4079 | 1249750.4085 | 2644033.0725 | 1249750.3702
60 | 2644030.4079 | 1249750.4085 | 2644009.8883 | 1249750.7032
61 | 2644033.0725 | 1249750.3702 | 2644034.5329 | 1249750.3492
62 | 2644004.0002 | 1249750.7878 | 2644009.8883 | 1249750.7032
63 | 2644035.5078 | 1249750.3352 | 2644034.5329 | 1249750.3492
64 | 2644004.0002 | 1249750.7878 | 2644003.9869 | 1249750.788
65 | 2644035.5078 | 1249750.3352 | 2644056.0333 | 1249750.0404
66 | 2644003.9869 | 1249750.788 | 2644003.9636 | 1249750.7883
67 | 2644057.6947 | 1249750.0166 | 2644056.0333 | 1249750.0404
68 | 2644003.9636 | 1249750.7883 | 2644003.9515 | 1249750.7885
69 | 2644057.6947 | 1249750.0166 | 2644077.9306 | 1249749.7259
70 | 2644077.9306 | 1249749.7259 | 2644091.1027 | 1249749.5367
71 | 2644091.7876 | 1249749.5269 | 2644091.1027 | 1249749.5367
72 | 2643896.4959 | 1249766.0261 | 2643895.4247 | 1249776.1751
73 | 2643892.8667 | 1249800.4112 | 2643895.4247 | 1249776.1751
74 | 2643896.4959 | 1249766.0261 | 2643904.131 | 1249716.0709
75 | 2643896.4959 | 1249766.0261 | 2643914.5734 | 1249760.8392
76 | 2643896.4959 | 1249766.0261 | 2643881.1377 | 1249770.4376 | 2643878.3497 | 1249770.8424
77 | 2643892.8667 | 1249800.4112 | 2643871.9936 | 1249801.2318
78 | 2643892.8667 | 1249800.4112 | 2643903.6731 | 1249799.9909 | 2643919.9316 | 1249795.3192
79 | 2643904.5974 | 1249713.0192 | 2643904.131 | 1249716.0709
80 | 2643942.2565 | 1249753.5071 | 2643934.725 | 1249755.0573 | 2643914.5734 | 1249760.8392
81 | 2643871.9316 | 1249801.2343 | 2643871.9936 | 1249801.2318
82 | 2643909.5014 | 1249687.8587 | 2643906.453 | 1249700.8782 | 2643904.5974 | 1249713.0192
83 | 2643945.6268 | 1249752.8135 | 2643942.2565 | 1249753.5071
84 | 2643848.3771 | 1249802.1603 | 2643871.9316 | 1249801.2343
85 | 2643909.5014 | 1249687.8587 | 2643896.8781 | 1249687.2557
86 | 2643909.5014 | 1249687.8587 | 2643911.6721 | 1249687.9773
87 | 2643945.6268 | 1249752.8135 | 2643951.8282 | 1249751.5371 | 2643973.4276 | 1249751.2269
88 | 2643822.9913 | 1249778.8789 | 2643798.9333 | 1249782.3715 | 2643798.2111 | 1249782.4134
89 | 2643789.4098 | 1249782.9245 | 2643798.2111 | 1249782.4134
90 | 2643848.3771 | 1249802.1603 | 2643847.4055 | 1249802.1985 | 2643838.1914 | 1249801.7342
91 | 2643838.0649 | 1249801.7279 | 2643838.1914 | 1249801.7342
92 | 2643838.0649 | 1249801.7279 | 2643812.3685 | 1249800.4332
93 | 2643973.8201 | 1249751.2213 | 2643973.4276 | 1249751.2269
94 | 2643973.8201 | 1249751.2213 | 2644003.8829 | 1249750.7895
95 | 2644003.9089 | 1249750.7891 | 2644003.8829 | 1249750.7895
96 | 2644003.9174 | 1249750.789 | 2644003.9089 | 1249750.7891
97 | 2644003.9392 | 1249750.7887 | 2644003.9174 | 1249750.789
98 | 2643955.5501 | 1249690.3742 | 2643964.2944 | 1249690.8519
99 | 2643955.5501 | 1249690.3742 | 2643934.2009 | 1249689.208
100 | 2643934.2009 | 1249689.208 | 2643911.6721 | 1249687.9773
101 | 2644009.6759 | 1249691.7784 | 2644001.417 | 1249691.753
102 | 2644052.3693 | 1249688.1248 | 2644014.1026 | 1249691.792 | 2644009.6759 | 1249691.7784
103 | 2644052.3693 | 1249688.1248 | 2644053.8344 | 1249687.9844 | 2644063.9765 | 1249686.581 | 2644084.3266 | 1249683.766
104 | 2643896.8781 | 1249687.2557 | 2643879.945 | 1249686.447
105 | 2643814.4699 | 1249683.3197 | 2643879.945 | 1249686.447
106 | 2643814.4699 | 1249683.3197 | 2643811.8585 | 1249641.3277
107 | 2643814.4699 | 1249683.3197 | 2643808.6278 | 1249683.1431
108 | 2644110.5274 | 1249747.5236 | 2644110.1872 | 1249747.5624
109 | 2644110.8503 | 1249747.4866 | 2644110.5274 | 1249747.5236
110 | 2644110.1872 | 1249747.5624 | 2644109.808 | 1249747.6058
111 | 2644121.5666 | 1249746.2615 | 2644110.8503 | 1249747.4866
112 | 2644096.9924 | 1249749.0709 | 2644109.808 | 1249747.6058
113 | 2644147.49 | 1249743.298 | 2644121.5666 | 1249746.2615
114 | 2644096.9924 | 1249749.0709 | 2644093.1785 | 1249749.5069
115 | 2644148.1656 | 1249743.2207 | 2644147.49 | 1249743.298
116 | 2644093.1785 | 1249749.5069 | 2644093.1785 | 1249749.5069 | 2644092.5024 | 1249749.5166
117 | 2644148.3552 | 1249743.199 | 2644148.1656 | 1249743.2207
118 | 2644148.5427 | 1249743.1776 | 2644148.3552 | 1249743.199
119 | 2644148.726 | 1249743.1567 | 2644148.5427 | 1249743.1776
120 | 2644148.9212 | 1249743.1343 | 2644148.726 | 1249743.1567
121 | 2644149.1093 | 1249743.1128 | 2644148.9212 | 1249743.1343
122 | 2644149.2986 | 1249743.0912 | 2644149.1093 | 1249743.1128
123 | 2644003.9515 | 1249750.7885 | 2644003.9392 | 1249750.7887
124 | 2644114.4485 | 1249679.9696 | 2644104.0232 | 1249681.0415 | 2644084.3266 | 1249683.766
125 | 2644174.7661 | 1249740.2292 | 2644174.615 | 1249740.2458
126 | 2644174.9277 | 1249740.2115 | 2644174.7661 | 1249740.2292
127 | 2644174.615 | 1249740.2458 | 2644164.3107 | 1249741.375 | 2644149.4848 | 1249743.0699
128 | 2644175.0788 | 1249740.1949 | 2644174.9277 | 1249740.2115
129 | 2644149.4848 | 1249743.0699 | 2644149.2986 | 1249743.0912
130 | 2644175.2411 | 1249740.1771 | 2644175.0788 | 1249740.1949
131 | 2644175.3998 | 1249740.1598 | 2644175.2411 | 1249740.1771
132 | 2644175.5524 | 1249740.143 | 2644175.3998 | 1249740.1598
133 | 2644092.5024 | 1249749.5166 | 2644091.7876 | 1249749.5269
134 | 2644183.4678 | 1249739.2756 | 2644175.7088 | 1249740.1259
135 | 2644175.7088 | 1249740.1259 | 2644175.5524 | 1249740.143
136 | 2644363.3096 | 1249628.045 | 2644342.2527 | 1249637.7983
137 | 2644298.0172 | 1249656.7089 | 2644324.6751 | 1249645.9402 | 2644342.2527 | 1249637.7983
138 | 2643791.9411 | 1249797.8859 | 2643807.3175 | 1249800.1787 | 2643812.3685 | 1249800.4332
139 | 2643791.9411 | 1249797.8859 | 2643791.7502 | 1249812.9501
140 | 2643791.9411 | 1249797.8859 | 2643771.0068 | 1249794.7515 | 2643757.3878 | 1249792.6719
141 | 2643757.3878 | 1249792.6719 | 2643760.2623 | 1249784.7322 | 2643763.8622 | 1249782.8575 | 2643781.2674 | 1249783.3974 | 2643789.4098 | 1249782.9245
142 | 2643791.7502 | 1249812.9501 | 2643791.7176 | 1249815.5253
143 | 2643789.2061 | 1249726.079 | 2643797.9007 | 1249726.4009
144 | 2643809.9951 | 1249698.3523 | 2643797.9007 | 1249726.4009
145 | 2643808.6278 | 1249683.1431 | 2643807.9718 | 1249693.245 | 2643809.9951 | 1249698.3523
146 | 2643809.9951 | 1249698.3523 | 2643814.1672 | 1249700.0797
147 | 2643808.6278 | 1249683.1431 | 2643783.9302 | 1249682.3916
148 | 2643811.8585 | 1249641.3277 | 2643811.1428 | 1249629.8814
149 | 2643811.8585 | 1249641.3277 | 2643843.5245 | 1249638.7108
150 | 2643809.8608 | 1249609.2581 | 2643811.1428 | 1249629.8814
151 | 2643811.1428 | 1249629.8814 | 2643832.3461 | 1249628.3592 | 2643831.8477 | 1249623.671
152 | 2643874.7366 | 1249636.1314 | 2643843.5245 | 1249638.7108
153 | 2643809.8608 | 1249609.2581 | 2643774.5906 | 1249611.9201
154 | 2643809.8608 | 1249609.2581 | 2643809.492 | 1249594.7347
155 | 2643902.7445 | 1249633.8168 | 2643874.7366 | 1249636.1314
156 | 2643761.017 | 1249612.9445 | 2643774.5906 | 1249611.9201
157 | 2643809.4747 | 1249594.0498 | 2643809.492 | 1249594.7347
158 | 2643761.017 | 1249612.9445 | 2643762.0478 | 1249642.0606
159 | 2643809.4747 | 1249594.0498 | 2643808.9765 | 1249574.4294
160 | 2643808.872 | 1249570.3114 | 2643808.9765 | 1249574.4294
161 | 2643808.317 | 1249548.4503 | 2643808.872 | 1249570.3114
162 | 2643808.317 | 1249548.4503 | 2643787.941 | 1249552.3621
163 | 2643764.8996 | 1249556.7856 | 2643787.941 | 1249552.3621

## bus_geodata
| x | y | coords
0 | 2644234.6396 | 1249599.6957
1 | 2644231.1122 | 1249587.752
2 | 2644236.4026 | 1249605.6653
3 | 2644235.2426 | 1249619.3889
4 | 2644189.055 | 1249608.251
5 | 2644238.0742 | 1249671.4434
6 | 2644207.1649 | 1249674.6609
7 | 2644272.3714 | 1249664.7578
8 | 2644197.786 | 1249636.4244
9 | 2644164.5883 | 1249637.2712
10 | 2644173.7202 | 1249675.7122
11 | 2644138.0273 | 1249677.5452
12 | 2644033.3888 | 1249657.713
13 | 2643994.6242 | 1249675.6694
14 | 2643993.6436 | 1249691.7291
15 | 2644256.4704 | 1249728.9399
16 | 2644255.8782 | 1249729.0426
17 | 2644257.0642 | 1249728.8369
18 | 2644255.2814 | 1249729.1461
19 | 2644274.1595 | 1249725.8723
20 | 2644254.6877 | 1249729.2491
21 | 2644274.6294 | 1249725.7233
22 | 2644254.0934 | 1249729.3521
23 | 2644275.7697 | 1249725.3619
24 | 2644276.9118 | 1249725
25 | 2644278.0532 | 1249724.6382
26 | 2644279.2033 | 1249724.2737
27 | 2644252.8976 | 1249729.5595
28 | 2644253.4965 | 1249729.4556
29 | 2644244.1144 | 1249731.0827
30 | 2644231.6285 | 1249733.248
31 | 2644231.0928 | 1249733.3409
32 | 2644230.5484 | 1249733.4353
33 | 2644228.9249 | 1249733.7169
34 | 2644228.3884 | 1249733.8099
35 | 2644229.4631 | 1249733.6235
36 | 2644227.8425 | 1249733.9046
37 | 2644230.0085 | 1249733.529
38 | 2644202.1893 | 1249737.2239
39 | 2644202.1733 | 1249737.2257
40 | 2644281.4833 | 1249723.551
41 | 2644280.3413 | 1249723.913
42 | 2644285.429 | 1249722.3005
43 | 2644315.6604 | 1249712.7188
44 | 2644316.7197 | 1249712.3831
45 | 2644335.3365 | 1249704.5447
46 | 2644202.1575 | 1249737.2274
47 | 2644202.1413 | 1249737.2292
48 | 2644340.8841 | 1249701.7303
49 | 2644362.4422 | 1249689.0769
50 | 2644364.24 | 1249687.8864
51 | 2644367.2455 | 1249685.8963
52 | 2644380.7624 | 1249676.9459
53 | 2643997.6709 | 1250506.8531
54 | 2643981.0237 | 1250508.3742
55 | 2643791.3363 | 1249845.6166
56 | 2643791.4013 | 1249840.4888
57 | 2644030.4079 | 1249750.4085
58 | 2644033.0725 | 1249750.3702
59 | 2644009.8883 | 1249750.7032
60 | 2644034.5329 | 1249750.3492
61 | 2644004.0002 | 1249750.7878
62 | 2644035.5078 | 1249750.3352
63 | 2644003.9869 | 1249750.788
64 | 2644056.0333 | 1249750.0404
65 | 2644003.9636 | 1249750.7883
66 | 2644057.6947 | 1249750.0166
67 | 2644077.9306 | 1249749.7259
68 | 2644091.1027 | 1249749.5367
69 | 2643895.4247 | 1249776.1751
70 | 2643896.4959 | 1249766.0261
71 | 2643892.8667 | 1249800.4112
72 | 2643904.131 | 1249716.0709
73 | 2643914.5734 | 1249760.8392
74 | 2643878.3497 | 1249770.8424
75 | 2643871.9936 | 1249801.2318
76 | 2643919.9316 | 1249795.3192
77 | 2643904.5974 | 1249713.0192
78 | 2643942.2565 | 1249753.5071
79 | 2643871.9316 | 1249801.2343
80 | 2643909.5014 | 1249687.8587
81 | 2643945.6268 | 1249752.8135
82 | 2643822.9913 | 1249778.8789
83 | 2643798.2111 | 1249782.4134
84 | 2643848.3771 | 1249802.1603
85 | 2643838.1914 | 1249801.7342
86 | 2643838.0649 | 1249801.7279
87 | 2643973.4276 | 1249751.2269
88 | 2643973.8201 | 1249751.2213
89 | 2644003.8829 | 1249750.7895
90 | 2644003.9089 | 1249750.7891
91 | 2644003.9174 | 1249750.789
92 | 2643964.2944 | 1249690.8519
93 | 2643955.5501 | 1249690.3742
94 | 2643934.2009 | 1249689.208
95 | 2644001.417 | 1249691.753
96 | 2643911.6721 | 1249687.9773
97 | 2644009.6759 | 1249691.7784
98 | 2644052.3693 | 1249688.1248
99 | 2643896.8781 | 1249687.2557
100 | 2643879.945 | 1249686.447
101 | 2643814.4699 | 1249683.3197
102 | 2644110.5274 | 1249747.5236
103 | 2644110.1872 | 1249747.5624
104 | 2644110.8503 | 1249747.4866
105 | 2644109.808 | 1249747.6058
106 | 2644121.5666 | 1249746.2615
107 | 2644096.9924 | 1249749.0709
108 | 2644147.49 | 1249743.298
109 | 2644093.1785 | 1249749.5069
110 | 2644148.1656 | 1249743.2207
111 | 2644148.3552 | 1249743.199
112 | 2644148.5427 | 1249743.1776
113 | 2644148.726 | 1249743.1567
114 | 2644148.9212 | 1249743.1343
115 | 2644149.1093 | 1249743.1128
116 | 2644003.9392 | 1249750.7887
117 | 2644003.9515 | 1249750.7885
118 | 2644084.3266 | 1249683.766
119 | 2644114.4485 | 1249679.9696
120 | 2644174.7661 | 1249740.2292
121 | 2644174.615 | 1249740.2458
122 | 2644174.9277 | 1249740.2115
123 | 2644149.4848 | 1249743.0699
124 | 2644175.0788 | 1249740.1949
125 | 2644149.2986 | 1249743.0912
126 | 2644175.2411 | 1249740.1771
127 | 2644175.3998 | 1249740.1598
128 | 2644091.7876 | 1249749.5269
129 | 2644092.5024 | 1249749.5166
130 | 2644183.4678 | 1249739.2756
131 | 2644175.7088 | 1249740.1259
132 | 2644175.5524 | 1249740.143
133 | 2644342.2527 | 1249637.7983
134 | 2644363.3096 | 1249628.045
135 | 2644298.0172 | 1249656.7089
136 | 2643812.3685 | 1249800.4332
137 | 2643791.9411 | 1249797.8859
138 | 2643789.4098 | 1249782.9245
139 | 2643757.3878 | 1249792.6719
140 | 2643791.7502 | 1249812.9501
141 | 2643791.7176 | 1249815.5253
142 | 2643789.2061 | 1249726.079
143 | 2643797.9007 | 1249726.4009
144 | 2643809.9951 | 1249698.3523
145 | 2643808.6278 | 1249683.1431
146 | 2643814.1672 | 1249700.0797
147 | 2643783.9302 | 1249682.3916
148 | 2643811.8585 | 1249641.3277
149 | 2643811.1428 | 1249629.8814
150 | 2643843.5245 | 1249638.7108
151 | 2643809.8608 | 1249609.2581
152 | 2643831.8477 | 1249623.671
153 | 2643874.7366 | 1249636.1314
154 | 2643902.7445 | 1249633.8168
155 | 2643774.5906 | 1249611.9201
156 | 2643809.492 | 1249594.7347
157 | 2643761.017 | 1249612.9445
158 | 2643809.4747 | 1249594.0498
159 | 2643808.9765 | 1249574.4294
160 | 2643808.872 | 1249570.3114
161 | 2643808.317 | 1249548.4503
162 | 2643762.0478 | 1249642.0606
163 | 2643787.941 | 1249552.3621
164 | 2643764.8996 | 1249556.7856
165 | 2643896.4959 | 1249766.0261

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1