## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4006-13_1_7_node_6 | 0.4 | n |  | TRUE
1 | bus_LV_4006-13_1_7_node_7 | 0.4 | n |  | TRUE
2 | bus_LV_4006-13_1_7_node_8 | 0.4 | n |  | TRUE
3 | bus_LV_4006-13_1_7_node_9 | 0.4 | n |  | TRUE
4 | bus_LV_4006-13_1_7_node_10 | 0.4 | n |  | TRUE
5 | bus_LV_4006-13_1_7_node_14 | 0.4 | n |  | TRUE
6 | bus_LV_4006-13_1_7_node_11 | 0.4 | n |  | TRUE
7 | bus_LV_4006-13_1_7_node_17 | 0.4 | n |  | TRUE
8 | bus_LV_4006-13_1_7_node_15 | 0.4 | n |  | TRUE
9 | bus_LV_4006-13_1_7_node_12 | 0.4 | n |  | TRUE
10 | bus_LV_4006-13_1_7_node_13 | 0.4 | n |  | TRUE
11 | bus_LV_4006-13_1_7_node_19 | 0.4 | n |  | TRUE
12 | bus_LV_4006-13_1_7_node_188 | 0.4 | n |  | TRUE
13 | bus_LV_4006-13_1_7_node_18 | 0.4 | n |  | TRUE
14 | bus_LV_4006-13_1_7_node_20 | 0.4 | n |  | TRUE
15 | bus_LV_4006-13_1_7_node_164 | 0.4 | n |  | TRUE
16 | bus_LV_4006-13_1_7_node_165 | 0.4 | n |  | TRUE
17 | bus_LV_4006-13_1_7_node_162 | 0.4 | n |  | TRUE
18 | bus_LV_4006-13_1_7_node_21 | 0.4 | n |  | TRUE
19 | bus_LV_4006-13_1_7_node_22 | 0.4 | n |  | TRUE
20 | bus_LV_4006-13_1_7_node_23 | 0.4 | n |  | TRUE
21 | bus_LV_4006-13_1_7_node_24 | 0.4 | n |  | TRUE
22 | bus_LV_4006-13_1_7_node_25 | 0.4 | n |  | TRUE
23 | bus_LV_4006-13_1_7_node_121 | 0.4 | n |  | TRUE
24 | bus_LV_4006-13_1_7_node_32 | 0.4 | n |  | TRUE
25 | bus_LV_4006-13_1_7_node_37 | 0.4 | n |  | TRUE
26 | bus_LV_4006-13_1_7_node_34 | 0.4 | n |  | TRUE
27 | bus_LV_4006-13_1_7_node_46 | 0.4 | n |  | TRUE
28 | bus_LV_4006-13_1_7_node_30 | 0.4 | n |  | TRUE
29 | bus_LV_4006-13_1_7_node_126 | 0.4 | n |  | TRUE
30 | bus_LV_4006-13_1_7_node_35 | 0.4 | n |  | TRUE
31 | bus_LV_4006-13_1_7_node_26 | 0.4 | n |  | TRUE
32 | bus_LV_4006-13_1_7_node_27 | 0.4 | n |  | TRUE
33 | bus_LV_4006-13_1_7_node_28 | 0.4 | n |  | TRUE
34 | bus_LV_4006-13_1_7_node_195 | 0.4 | n |  | TRUE
35 | bus_LV_4006-13_1_7_node_47 | 0.4 | n |  | TRUE
36 | bus_LV_4006-13_1_7_node_184 | 0.4 | n |  | TRUE
37 | bus_LV_4006-13_1_7_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_4006-13_1_7_node_51 | 0.4 | n |  | TRUE
39 | bus_LV_4006-13_1_7_node_36 | 0.4 | n |  | TRUE
40 | bus_LV_4006-13_1_7_node_45 | 0.4 | n |  | TRUE
41 | bus_LV_4006-13_1_7_node_190 | 0.4 | n |  | TRUE
42 | bus_LV_4006-13_1_7_node_38 | 0.4 | n |  | TRUE
43 | bus_LV_4006-13_1_7_node_39 | 0.4 | n |  | TRUE
44 | bus_LV_4006-13_1_7_node_40 | 0.4 | n |  | TRUE
45 | bus_LV_4006-13_1_7_node_41 | 0.4 | n |  | TRUE
46 | bus_LV_4006-13_1_7_node_42 | 0.4 | n |  | TRUE
47 | bus_LV_4006-13_1_7_node_43 | 0.4 | n |  | TRUE
48 | bus_LV_4006-13_1_7_node_44 | 0.4 | n |  | TRUE
49 | bus_LV_4006-13_1_7_node_161 | 0.4 | n |  | TRUE
50 | bus_LV_4006-13_1_7_node_168 | 0.4 | n |  | TRUE
51 | bus_LV_4006-13_1_7_node_163 | 0.4 | n |  | TRUE
52 | bus_LV_4006-13_1_7_node_159 | 0.4 | n |  | TRUE
53 | bus_LV_4006-13_1_7_node_157 | 0.4 | n |  | TRUE
54 | bus_LV_4006-13_1_7_node_166 | 0.4 | n |  | TRUE
55 | bus_LV_4006-13_1_7_node_49 | 0.4 | n |  | TRUE
56 | bus_LV_4006-13_1_7_node_48 | 0.4 | n |  | TRUE
57 | bus_LV_4006-13_1_7_node_50 | 0.4 | n |  | TRUE
58 | bus_LV_4006-13_1_7_node_53 | 0.4 | n |  | TRUE
59 | bus_LV_4006-13_1_7_node_52 | 0.4 | n |  | TRUE
60 | bus_LV_4006-13_1_7_node_138 | 0.4 | n |  | TRUE
61 | bus_LV_4006-13_1_7_node_136 | 0.4 | n |  | TRUE
62 | bus_LV_4006-13_1_7_node_137 | 0.4 | n |  | TRUE
63 | bus_LV_4006-13_1_7_node_54 | 0.4 | n |  | TRUE
64 | bus_LV_4006-13_1_7_node_55 | 0.4 | n |  | TRUE
65 | bus_LV_4006-13_1_7_node_56 | 0.4 | n |  | TRUE
66 | bus_LV_4006-13_1_7_node_57 | 0.4 | n |  | TRUE
67 | bus_LV_4006-13_1_7_node_58 | 0.4 | n |  | TRUE
68 | bus_LV_4006-13_1_7_node_110 | 0.4 | n |  | TRUE
69 | bus_LV_4006-13_1_7_node_122 | 0.4 | n |  | TRUE
70 | bus_LV_4006-13_1_7_node_128 | 0.4 | n |  | TRUE
71 | bus_LV_4006-13_1_7_node_123 | 0.4 | n |  | TRUE
72 | bus_LV_4006-13_1_7_node_130 | 0.4 | n |  | TRUE
73 | bus_LV_4006-13_1_7_node_117 | 0.4 | n |  | TRUE
74 | bus_LV_4006-13_1_7_node_129 | 0.4 | n |  | TRUE
75 | bus_LV_4006-13_1_7_node_120 | 0.4 | n |  | TRUE
76 | bus_LV_4006-13_1_7_node_116 | 0.4 | n |  | TRUE
77 | bus_LV_4006-13_1_7_node_118 | 0.4 | n |  | TRUE
78 | bus_LV_4006-13_1_7_node_124 | 0.4 | n |  | TRUE
79 | bus_LV_4006-13_1_7_node_141 | 0.4 | n |  | TRUE
80 | bus_LV_4006-13_1_7_node_146 | 0.4 | n |  | TRUE
81 | bus_LV_4006-13_1_7_node_125 | 0.4 | n |  | TRUE
82 | bus_LV_4006-13_1_7_node_191 | 0.4 | n |  | TRUE
83 | bus_LV_4006-13_1_7_node_148 | 0.4 | n |  | TRUE
84 | bus_LV_4006-13_1_7_node_127 | 0.4 | n |  | TRUE
85 | bus_LV_4006-13_1_7_node_194 | 0.4 | n |  | TRUE
86 | bus_LV_4006-13_1_7_node_189 | 0.4 | n |  | TRUE
87 | bus_LV_4006-13_1_7_node_147 | 0.4 | n |  | TRUE
88 | bus_LV_4006-13_1_7_node_187 | 0.4 | n |  | TRUE
89 | bus_LV_4006-13_1_7_node_176 | 0.4 | n |  | TRUE
90 | bus_LV_4006-13_1_7_node_193 | 0.4 | n |  | TRUE
91 | bus_LV_4006-13_1_7_node_156 | 0.4 | n |  | TRUE
92 | bus_LV_4006-13_1_7_node_182 | 0.4 | n |  | TRUE
93 | bus_LV_4006-13_1_7_node_177 | 0.4 | n |  | TRUE
94 | bus_LV_4006-13_1_7_node_155 | 0.4 | n |  | TRUE
95 | bus_LV_4006-13_1_7_node_152 | 0.4 | n |  | TRUE
96 | bus_LV_4006-13_1_7_node_153 | 0.4 | n |  | TRUE
97 | bus_LV_4006-13_1_7_node_154 | 0.4 | n |  | TRUE
98 | bus_LV_4006-13_1_7_node_158 | 0.4 | n |  | TRUE
99 | bus_LV_4006-13_1_7_node_160 | 0.4 | n |  | TRUE
100 | bus_LV_4006-13_1_7_node_167 | 0.4 | n |  | TRUE
101 | bus_LV_4006-13_1_7_node_169 | 0.4 | n |  | TRUE
102 | bus_LV_4006-13_1_7_node_175 | 0.4 | n |  | TRUE
103 | bus_LV_4006-13_1_7_node_179 | 0.4 | n |  | TRUE
104 | bus_LV_4006-13_1_7_node_180 | 0.4 | n |  | TRUE
105 | bus_LV_4006-13_1_7_node_181 | 0.4 | n |  | TRUE
106 | bus_LV_4006-13_1_7_node_183 | 0.4 | n |  | TRUE
107 | bus_MV_418_1_node_209 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4006-13_1_7_load_6 | 0 | 0.0011469 | 0.00028745 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4006-13_1_7_load_10 | 4 | 0.0014238 | 0.00035683 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4006-13_1_7_load_11 | 6 | 0.0083449 | 0.0020914 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4006-13_1_7_load_15 | 8 | 0.0068722 | 0.0017223 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4006-13_1_7_load_12 | 9 | 0.0025808 | 0.00064681 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4006-13_1_7_load_13 | 10 | 0.0030693 | 0.00076924 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4006-13_1_7_load_188 | 12 | 0.0036957 | 0.00092624 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4006-13_1_7_load_18 | 13 | 0.011859 | 0.0029721 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4006-13_1_7_load_20 | 14 | 0.0029529 | 0.00074006 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4006-13_1_7_load_165 | 16 | 0.0027364 | 0.00068582 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4006-13_1_7_load_162 | 17 | 0.0029492 | 0.00073914 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4006-13_1_7_load_21 | 18 | 0.00049886 | 0.00012503 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4006-13_1_7_load_22 | 19 | 0.0014886 | 0.00037309 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4006-13_1_7_load_23 | 20 | 0.00031087 | 7.7912e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4006-13_1_7_load_121 | 23 | 0.00037894 | 9.4971e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4006-13_1_7_load_37 | 25 | 0.0014699 | 0.00036839 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4006-13_1_7_load_34 | 26 | 0.0006259 | 0.00015686 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4006-13_1_7_load_30 | 28 | 0.0076968 | 0.001929 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4006-13_1_7_load_35 | 30 | 0.0025504 | 0.0006392 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4006-13_1_7_load_26 | 31 | 0.0017385 | 0.0004357 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4006-13_1_7_load_27 | 32 | 0.0017663 | 0.00044267 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4006-13_1_7_load_28 | 33 | 0.0016636 | 0.00041694 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4006-13_1_7_load_195 | 34 | 0.0017348 | 0.00043477 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4006-13_1_7_load_47 | 35 | 0.0041792 | 0.0010474 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4006-13_1_7_load_29 | 37 | 0.0042745 | 0.0010713 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4006-13_1_7_load_51 | 38 | 0.0064696 | 0.0016214 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4006-13_1_7_load_36 | 39 | 0.00069459 | 0.00017408 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4006-13_1_7_load_45 | 40 | 0.0010516 | 0.00026356 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4006-13_1_7_load_38 | 42 | 0.0019364 | 0.00048532 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4006-13_1_7_load_41 | 45 | 0.0025512 | 0.00063939 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4006-13_1_7_load_42 | 46 | 0.0037878 | 0.0009493 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4006-13_1_7_load_43 | 47 | 0.0013201 | 0.00033084 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4006-13_1_7_load_44 | 48 | 0.0011251 | 0.00028199 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4006-13_1_7_load_161 | 49 | 0.0027364 | 0.00068581 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4006-13_1_7_load_163 | 51 | 0.0083472 | 0.002092 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4006-13_1_7_load_159 | 52 | 0.0029527 | 0.00074002 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4006-13_1_7_load_157 | 53 | 0.0037369 | 0.00093655 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4006-13_1_7_load_166 | 54 | 0.0011813 | 0.00029607 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4006-13_1_7_load_48 | 56 | 0.0021451 | 0.00053762 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4006-13_1_7_load_52 | 59 | 0.0050818 | 0.0012736 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4006-13_1_7_load_138 | 60 | 0.018098 | 0.0045357 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4006-13_1_7_load_136 | 61 | 0.027944 | 0.0070035 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4006-13_1_7_load_137 | 62 | 0.00037757 | 9.4627e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4006-13_1_7_load_54 | 63 | 0.0042101 | 0.0010551 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4006-13_1_7_load_55 | 64 | 0.06845 | 0.017155 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4006-13_1_7_load_56 | 65 | 0.0021328 | 0.00053452 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4006-13_1_7_load_57 | 66 | 0.067753 | 0.01698 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4006-13_1_7_load_58 | 67 | 0.00035942 | 9.0079e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4006-13_1_7_load_110 | 68 | 0.013185 | 0.0033045 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4006-13_1_7_load_128 | 70 | 0.00054682 | 0.00013705 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4006-13_1_7_load_123 | 71 | 0.0004316 | 0.00010817 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4006-13_1_7_load_130 | 72 | 0.0018634 | 0.00046701 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4006-13_1_7_load_117 | 73 | 0.00077788 | 0.00019496 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4006-13_1_7_load_129 | 74 | 0.002172 | 0.00054435 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4006-13_1_7_load_120 | 75 | 0.0013789 | 0.00034558 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4006-13_1_7_load_116 | 76 | 0.0009652 | 0.0002419 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4006-13_1_7_load_118 | 77 | 0.001359 | 0.0003406 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4006-13_1_7_load_141 | 79 | 0.0021947 | 0.00055004 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4006-13_1_7_load_146 | 80 | 0.0016028 | 0.00040169 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4006-13_1_7_load_191 | 82 | 0.0031574 | 0.00079132 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4006-13_1_7_load_194 | 85 | 0.00088723 | 0.00022236 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4006-13_1_7_load_147 | 87 | 0.0020749 | 0.00052002 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4006-13_1_7_load_187 | 88 | 0.0014253 | 0.00035721 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4006-13_1_7_load_176 | 89 | 0.0009733 | 0.00024393 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4006-13_1_7_load_193 | 90 | 0.0017488 | 0.0004383 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4006-13_1_7_load_156 | 91 | 0.0014666 | 0.00036756 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4006-13_1_7_load_182 | 92 | 0.00088693 | 0.00022229 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4006-13_1_7_load_177 | 93 | 0.001485 | 0.00037217 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4006-13_1_7_load_155 | 94 | 0.00049416 | 0.00012385 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4006-13_1_7_load_152 | 95 | 0.00071947 | 0.00018031 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4006-13_1_7_load_158 | 98 | 0.0015912 | 0.00039879 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4006-13_1_7_load_160 | 99 | 0.0027357 | 0.00068562 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4006-13_1_7_load_167 | 100 | 0.0021726 | 0.0005445 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4006-13_1_7_load_169 | 101 | 0.0019806 | 0.00049638 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4006-13_1_7_load_175 | 102 | 0.0021965 | 0.00055049 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4006-13_1_7_load_179 | 103 | 0.00024603 | 6.166e-05 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4006-13_1_7_load_180 | 104 | 0.0016029 | 0.00040173 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4006-13_1_7_load_183 | 106 | 0.0060582 | 0.0015183 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 36 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4006-13_1_7_line_0 |  | 0 | 1 | 0.087258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4006-13_1_7_line_1 |  | 0 | 2 | 0.040598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4006-13_1_7_line_2 |  | 1 | 3 | 0.066426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4006-13_1_7_line_3 |  | 2 | 4 | 0.058824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4006-13_1_7_line_4 |  | 3 | 5 | 0.088138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4006-13_1_7_line_5 |  | 3 | 6 | 0.06011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4006-13_1_7_line_6 |  | 5 | 7 | 0.041674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4006-13_1_7_line_7 |  | 5 | 8 | 0.049537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4006-13_1_7_line_8 |  | 6 | 9 | 0.014306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4006-13_1_7_line_9 |  | 7 | 11 | 0.034113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4006-13_1_7_line_10 |  | 7 | 12 | 0.024242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4006-13_1_7_line_11 |  | 9 | 10 | 0.0099258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4006-13_1_7_line_12 |  | 11 | 14 | 0.026017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4006-13_1_7_line_13 |  | 11 | 13 | 0.00028177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4006-13_1_7_line_14 |  | 12 | 15 | 0.033694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4006-13_1_7_line_15 |  | 14 | 16 | 0.0085057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4006-13_1_7_line_16 |  | 15 | 51 | 0.00385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4006-13_1_7_line_17 |  | 16 | 17 | 0.0182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4006-13_1_7_line_18 |  | 17 | 99 | 0.0085031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4006-13_1_7_line_19 |  | 18 | 19 | 0.02005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_4006-13_1_7_line_20 |  | 18 | 20 | 0.021435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_4006-13_1_7_line_21 |  | 19 | 21 | 0.0066046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_4006-13_1_7_line_22 |  | 20 | 22 | 0.019728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_4006-13_1_7_line_23 |  | 21 | 23 | 0.012262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4006-13_1_7_line_24 |  | 21 | 24 | 0.042291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_4006-13_1_7_line_25 |  | 22 | 25 | 0.022279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_4006-13_1_7_line_26 |  | 22 | 26 | 0.023391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4006-13_1_7_line_27 |  | 24 | 27 | 0.028308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_4006-13_1_7_line_28 |  | 24 | 28 | 0.023039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4006-13_1_7_line_29 |  | 25 | 29 | 0.023605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_4006-13_1_7_line_30 |  | 26 | 30 | 0.006479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4006-13_1_7_line_31 |  | 27 | 38 | 0.027761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_4006-13_1_7_line_32 |  | 28 | 37 | 0.00064334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4006-13_1_7_line_33 |  | 29 | 41 | 0.018447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_4006-13_1_7_line_34 |  | 30 | 39 | 0.019619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4006-13_1_7_line_35 |  | 31 | 32 | 0.0013731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4006-13_1_7_line_36 |  | 32 | 33 | 0.00070758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4006-13_1_7_line_37 |  | 33 | 35 | 0.022685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4006-13_1_7_line_38 |  | 34 | 35 | 0.046523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4006-13_1_7_line_39 |  | 34 | 36 | 0.025691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4006-13_1_7_line_40 |  | 36 | 41 | 0.027836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_4006-13_1_7_line_41 |  | 36 | 105 | 0.027937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_4006-13_1_7_line_42 |  | 38 | 55 | 0.0027384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_4006-13_1_7_line_43 |  | 39 | 40 | 0.0039444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4006-13_1_7_line_44 |  | 41 | 90 | 0.005746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4006-13_1_7_line_45 |  | 42 | 43 | 0.030705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4006-13_1_7_line_46 |  | 42 | 44 | 0.0031703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4006-13_1_7_line_47 |  | 43 | 45 | 0.024033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4006-13_1_7_line_48 |  | 43 | 46 | 0.021363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4006-13_1_7_line_49 |  | 44 | 47 | 0.018366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4006-13_1_7_line_50 |  | 44 | 48 | 0.010049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4006-13_1_7_line_51 |  | 47 | 49 | 0.018716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4006-13_1_7_line_52 |  | 48 | 50 | 0.015894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4006-13_1_7_line_53 |  | 49 | 52 | 0.0085048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4006-13_1_7_line_54 |  | 50 | 53 | 0.0024462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4006-13_1_7_line_55 |  | 50 | 54 | 0.010048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4006-13_1_7_line_56 |  | 52 | 99 | 0.018033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4006-13_1_7_line_57 |  | 53 | 97 | 0.024847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4006-13_1_7_line_58 |  | 54 | 100 | 0.015106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4006-13_1_7_line_59 |  | 55 | 57 | 0.02534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_4006-13_1_7_line_60 |  | 55 | 56 | 0.028478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4006-13_1_7_line_61 |  | 57 | 58 | 0.00497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_4006-13_1_7_line_62 |  | 57 | 59 | 0.020976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4006-13_1_7_line_63 |  | 58 | 60 | 0.040435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4006-13_1_7_line_64 |  | 58 | 61 | 0.024281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
65 | LV_4006-13_1_7_line_65 |  | 61 | 62 | 0.026144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
66 | LV_4006-13_1_7_line_66 |  | 62 | 70 | 0.0093445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
67 | LV_4006-13_1_7_line_67 |  | 63 | 64 | 0.0059406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
68 | LV_4006-13_1_7_line_68 |  | 63 | 65 | 0.0272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
69 | LV_4006-13_1_7_line_69 |  | 64 | 66 | 0.032562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
70 | LV_4006-13_1_7_line_70 |  | 65 | 67 | 0.026304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
71 | LV_4006-13_1_7_line_71 |  | 66 | 68 | 0.035767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
72 | LV_4006-13_1_7_line_72 |  | 67 | 69 | 0.020378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
73 | LV_4006-13_1_7_line_73 |  | 68 | 70 | 0.0016649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
74 | LV_4006-13_1_7_line_74 |  | 69 | 71 | 0.012329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
75 | LV_4006-13_1_7_line_75 |  | 71 | 72 | 0.025692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
76 | LV_4006-13_1_7_line_76 |  | 72 | 73 | 0.053676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
77 | LV_4006-13_1_7_line_77 |  | 73 | 76 | 0.021812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
78 | LV_4006-13_1_7_line_78 |  | 74 | 75 | 0.001836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4006-13_1_7_line_79 |  | 75 | 77 | 0.014532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
80 | LV_4006-13_1_7_line_80 |  | 76 | 77 | 0.022415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
81 | LV_4006-13_1_7_line_81 |  | 78 | 79 | 0.015884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4006-13_1_7_line_82 |  | 78 | 80 | 0.023197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4006-13_1_7_line_83 |  | 80 | 87 | 0.027681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4006-13_1_7_line_84 |  | 80 | 88 | 0.063575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4006-13_1_7_line_85 |  | 81 | 82 | 0.007202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4006-13_1_7_line_86 |  | 81 | 83 | 0.020427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4006-13_1_7_line_87 |  | 83 | 89 | 0.024878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4006-13_1_7_line_88 |  | 83 | 87 | 0.00855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4006-13_1_7_line_89 |  | 84 | 85 | 0.008603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4006-13_1_7_line_90 |  | 84 | 86 | 0.015037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4006-13_1_7_line_91 |  | 86 | 91 | 0.024501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4006-13_1_7_line_92 |  | 86 | 92 | 0.0020555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4006-13_1_7_line_93 |  | 88 | 93 | 0.043965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4006-13_1_7_line_94 |  | 89 | 94 | 0.017751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4006-13_1_7_line_95 |  | 91 | 96 | 0.020522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_4006-13_1_7_line_96 |  | 92 | 104 | 0.010809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_4006-13_1_7_line_97 |  | 94 | 96 | 0.0031075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_4006-13_1_7_line_98 |  | 95 | 96 | 0.017754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_4006-13_1_7_line_99 |  | 95 | 97 | 0.041355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_4006-13_1_7_line_100 |  | 97 | 98 | 0.021047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_4006-13_1_7_line_101 |  | 100 | 101 | 0.015956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_4006-13_1_7_line_102 |  | 101 | 102 | 0.017028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_4006-13_1_7_line_103 |  | 103 | 104 | 0.01417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_4006-13_1_7_line_104 |  | 103 | 105 | 0.045996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
105 | LV_4006-13_1_7_line_105 |  | 105 | 106 | 0.01171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4006-13_1_7_trafo_184 | 0.63 MVA 20/0.4 kV | 107 | 36 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2650070.0333 | 1245016.0231 | 2650048.5374 | 1244998.9972 | 2650002.5029 | 1244960.7721
1 | 2649971.2688 | 1244934.8367 | 2650002.5029 | 1244960.7721
2 | 2650070.0333 | 1245016.0231 | 2650025.7314 | 1245065.6272
3 | 2649971.2688 | 1244934.8367 | 2649969.0856 | 1244940.1663 | 2649964.2232 | 1244964.8641 | 2649948.9711 | 1244988.217
4 | 2649966.0007 | 1245130.5897 | 2650025.7314 | 1245065.6272
5 | 2650025.7314 | 1245065.6272 | 2649978.7899 | 1245028.0818
6 | 2649966.0007 | 1245130.5897 | 2649937.7338 | 1245161.2834
7 | 2649966.0007 | 1245130.5897 | 2649927.6819 | 1245099.1951
8 | 2649970.9577 | 1245016.3457 | 2649976.2503 | 1245026.0506 | 2649978.7899 | 1245028.0818
9 | 2649937.7338 | 1245161.2834 | 2649912.5948 | 1245138.1454
10 | 2649937.7338 | 1245161.2834 | 2649921.4624 | 1245179.2533
11 | 2649966.2053 | 1245007.6315 | 2649970.9577 | 1245016.3457
12 | 2649912.5948 | 1245138.1454 | 2649895.1224 | 1245157.4222
13 | 2649912.5948 | 1245138.1454 | 2649912.392 | 1245137.9498
14 | 2649898.8469 | 1245204.2295 | 2649921.4624 | 1245179.2533
15 | 2649889.4102 | 1245163.7244 | 2649895.1224 | 1245157.4222
16 | 2649898.8469 | 1245204.2295 | 2649896.2373 | 1245207.0601
17 | 2649889.4102 | 1245163.7244 | 2649877.1876 | 1245177.2093
18 | 2649871.4771 | 1245183.5096 | 2649877.1876 | 1245177.2093
19 | 2649727.8771 | 1245398.2941 | 2649724.3209 | 1245378.5619
20 | 2649720.0581 | 1245357.5577 | 2649722.9698 | 1245371.065 | 2649724.3209 | 1245378.5619
21 | 2649729.0486 | 1245404.794 | 2649727.8771 | 1245398.2941
22 | 2649715.9009 | 1245338.2728 | 2649720.0581 | 1245357.5577
23 | 2649729.0486 | 1245404.794 | 2649737.3692 | 1245404.5191 | 2649741.2376 | 1245405.2518
24 | 2649729.0486 | 1245404.794 | 2649736.5268 | 1245446.4178
25 | 2649715.9009 | 1245338.2728 | 2649713.7152 | 1245317.8074 | 2649713.3149 | 1245316.158
26 | 2649715.9009 | 1245338.2728 | 2649722.2278 | 1245338.8039 | 2649729.2912 | 1245342.51 | 2649736.9549 | 1245347.3527
27 | 2649734.2906 | 1245459.0186 | 2649738.5894 | 1245466.2261 | 2649736.5268 | 1245446.4178
28 | 2649736.5268 | 1245446.4178 | 2649752.7356 | 1245446.954 | 2649759.3824 | 1245448.4847
29 | 2649707.7486 | 1245293.2188 | 2649713.3149 | 1245316.158
30 | 2649736.9549 | 1245347.3527 | 2649742.432 | 1245350.8137
31 | 2649734.2906 | 1245459.0186 | 2649722.7285 | 1245448.5258 | 2649712.4487 | 1245442.7803 | 2649712.1023 | 1245442.6459
32 | 2649760.0094 | 1245448.6291 | 2649759.3824 | 1245448.4847
33 | 2649707.7486 | 1245293.2188 | 2649719.901 | 1245286.4939 | 2649723.9985 | 1245284.4046
34 | 2649742.432 | 1245350.8137 | 2649759.0172 | 1245361.2939
35 | 2649830.5923 | 1245340.6653 | 2649829.4349 | 1245339.9266
36 | 2649828.8385 | 1245339.5459 | 2649829.4349 | 1245339.9266
37 | 2649809.7163 | 1245327.3409 | 2649828.8385 | 1245339.5459
38 | 2649770.0738 | 1245302.9921 | 2649809.7163 | 1245327.3409
39 | 2649770.0738 | 1245302.9921 | 2649767.4978 | 1245306.5506 | 2649749.4378 | 1245295.1694
40 | 2649723.9985 | 1245284.4046 | 2649742.3603 | 1245294.0427 | 2649749.4378 | 1245295.1694
41 | 2649749.4378 | 1245295.1694 | 2649752.8156 | 1245286.0917 | 2649760.2389 | 1245269.4094
42 | 2649709.5494 | 1245441.6553 | 2649712.1023 | 1245442.6459
43 | 2649762.3517 | 1245363.401 | 2649759.0172 | 1245361.2939
44 | 2649725.7368 | 1245278.9266 | 2649723.9985 | 1245284.4046
45 | 2649856.2384 | 1245250.4467 | 2649831.3244 | 1245232.5002
46 | 2649828.7519 | 1245230.6472 | 2649831.3244 | 1245232.5002
47 | 2649856.2384 | 1245250.4467 | 2649864.1302 | 1245256.2725 | 2649875.5288 | 1245264.7801
48 | 2649856.2384 | 1245250.4467 | 2649870.7185 | 1245234.7402
49 | 2649828.7519 | 1245230.6472 | 2649841.0859 | 1245217.0394
50 | 2649828.7519 | 1245230.6472 | 2649820.5859 | 1245224.7901
51 | 2649841.0859 | 1245217.0394 | 2649853.655 | 1245203.1722
52 | 2649807.6708 | 1245215.5268 | 2649820.5859 | 1245224.7901
53 | 2649859.3666 | 1245196.8708 | 2649853.655 | 1245203.1722
54 | 2649807.6708 | 1245215.5268 | 2649805.5335 | 1245214.337
55 | 2649807.6708 | 1245215.5268 | 2649814.4205 | 1245208.0837
56 | 2649859.3666 | 1245196.8708 | 2649871.4771 | 1245183.5096
57 | 2649783.8238 | 1245202.2512 | 2649805.5335 | 1245214.337
58 | 2649814.4205 | 1245208.0837 | 2649824.5678 | 1245196.8938
59 | 2649709.5494 | 1245441.6553 | 2649692.6401 | 1245436.3435 | 2649685.648 | 1245433.1606
60 | 2649709.5494 | 1245441.6553 | 2649694.309 | 1245465.7125
61 | 2649681.1172 | 1245431.0879 | 2649685.648 | 1245433.1606
62 | 2649685.648 | 1245433.1606 | 2649683.4705 | 1245437.8677 | 2649676.839 | 1245452.1974
63 | 2649681.1172 | 1245431.0879 | 2649667.8349 | 1245421.1924 | 2649655.3703 | 1245410.1808 | 2649649.2817 | 1245406.2634
64 | 2649681.1172 | 1245431.0879 | 2649689.993 | 1245414.1287 | 2649692.0372 | 1245409.4129
65 | 2649692.0372 | 1245409.4129 | 2649695.0546 | 1245402.4522 | 2649696.4182 | 1245396.6041 | 2649696.5234 | 1245384.0518
66 | 2649694.8632 | 1245374.8754 | 2649696.5316 | 1245383.0738 | 2649696.5234 | 1245384.0518
67 | 2649676.2935 | 1245301.2898 | 2649677.6985 | 1245307.0618
68 | 2649676.2935 | 1245301.2898 | 2649674.521 | 1245294.0079 | 2649671.4425 | 1245287.2109 | 2649671.2926 | 1245280.7498 | 2649669.9435 | 1245275.1285
69 | 2649677.6985 | 1245307.0618 | 2649684.5714 | 1245335.2973 | 2649685.5752 | 1245338.6523
70 | 2649663.805 | 1245249.551 | 2649669.9435 | 1245275.1285
71 | 2649685.5752 | 1245338.6523 | 2649691.5681 | 1245358.6826 | 2649694.5313 | 1245373.244
72 | 2649659.0493 | 1245229.7355 | 2649663.805 | 1245249.551
73 | 2649694.8632 | 1245374.8754 | 2649694.5313 | 1245373.244
74 | 2649659.0493 | 1245229.7355 | 2649647.6442 | 1245234.4182
75 | 2649623.0991 | 1245239.8416 | 2649629.5762 | 1245240.4962 | 2649634.4474 | 1245239.8365 | 2649647.6442 | 1245234.4182
76 | 2649623.0991 | 1245239.8416 | 2649583.5385 | 1245276.1196
77 | 2649567.776 | 1245261.0549 | 2649580.6024 | 1245272.9753 | 2649583.5385 | 1245276.1196
78 | 2649536.4282 | 1245238.3389 | 2649537.9462 | 1245239.3717
79 | 2649537.9462 | 1245239.3717 | 2649549.9612 | 1245247.5466
80 | 2649567.776 | 1245261.0549 | 2649562.2044 | 1245255.8769 | 2649549.9612 | 1245247.5466
81 | 2649627.4751 | 1245155.6776 | 2649621.2614 | 1245153.3352 | 2649613.7612 | 1245151.2378 | 2649612.4383 | 1245150.6312
82 | 2649627.4751 | 1245155.6776 | 2649634.338 | 1245156.2909 | 2649646.517 | 1245157.249 | 2649650.3125 | 1245158.7729
83 | 2649676.0003 | 1245169.0864 | 2649650.3125 | 1245158.7729
84 | 2649650.3125 | 1245158.7729 | 2649653.1278 | 1245095.2598
85 | 2649671.1377 | 1245184.651 | 2649675.0765 | 1245190.688
86 | 2649683.9347 | 1245172.2721 | 2649679.1217 | 1245182.2051 | 2649675.0765 | 1245190.688
87 | 2649683.9347 | 1245172.2721 | 2649705.933 | 1245179.8835 | 2649707.4996 | 1245180.2071
88 | 2649683.9347 | 1245172.2721 | 2649676.0003 | 1245169.0864
89 | 2649689.0397 | 1245211.352 | 2649696.5138 | 1245215.6508
90 | 2649696.5138 | 1245215.6508 | 2649708.8703 | 1245224.2711
91 | 2649708.8703 | 1245224.2711 | 2649717.1253 | 1245201.2026
92 | 2649708.8703 | 1245224.2711 | 2649710.5064 | 1245225.5155
93 | 2649679.2934 | 1245059.929 | 2649653.1278 | 1245095.2598
94 | 2649724.8835 | 1245183.7978 | 2649707.4996 | 1245180.2071
95 | 2649727.9267 | 1245184.4263 | 2649725.9489 | 1245190.5361 | 2649719.0044 | 1245196.96 | 2649717.1253 | 1245201.2026
96 | 2649710.5064 | 1245225.5155 | 2649719.1095 | 1245232.0588
97 | 2649727.9267 | 1245184.4263 | 2649724.8835 | 1245183.7978
98 | 2649727.9267 | 1245184.4263 | 2649745.3135 | 1245188.0206
99 | 2649783.8238 | 1245202.2512 | 2649780.3344 | 1245200.3096 | 2649766.6118 | 1245193.3232 | 2649754.8909 | 1245190.0005 | 2649745.3135 | 1245188.0206
100 | 2649783.8238 | 1245202.2512 | 2649772.7558 | 1245220.1531
101 | 2649835.286 | 1245185.0744 | 2649824.5678 | 1245196.8938
102 | 2649846.7246 | 1245172.4606 | 2649835.286 | 1245185.0744
103 | 2649728.0778 | 1245242.0595 | 2649727.3915 | 1245238.3579 | 2649719.1095 | 1245232.0588
104 | 2649760.2389 | 1245269.4094 | 2649753.4934 | 1245263.838 | 2649744.0887 | 1245261.8245 | 2649730.0878 | 1245252.9013 | 2649728.0778 | 1245242.0595
105 | 2649765.6 | 1245258.9918 | 2649760.2389 | 1245269.4094

## bus_geodata
| x | y | coords
0 | 2650002.5029 | 1244960.7721
1 | 2650070.0333 | 1245016.0231
2 | 2649971.2688 | 1244934.8367
3 | 2650025.7314 | 1245065.6272
4 | 2649948.9711 | 1244988.217
5 | 2649966.0007 | 1245130.5897
6 | 2649978.7899 | 1245028.0818
7 | 2649937.7338 | 1245161.2834
8 | 2649927.6819 | 1245099.1951
9 | 2649970.9577 | 1245016.3457
10 | 2649966.2053 | 1245007.6315
11 | 2649912.5948 | 1245138.1454
12 | 2649921.4624 | 1245179.2533
13 | 2649912.392 | 1245137.9498
14 | 2649895.1224 | 1245157.4222
15 | 2649898.8469 | 1245204.2295
16 | 2649889.4102 | 1245163.7244
17 | 2649877.1876 | 1245177.2093
18 | 2649724.3209 | 1245378.5619
19 | 2649727.8771 | 1245398.2941
20 | 2649720.0581 | 1245357.5577
21 | 2649729.0486 | 1245404.794
22 | 2649715.9009 | 1245338.2728
23 | 2649741.2376 | 1245405.2518
24 | 2649736.5268 | 1245446.4178
25 | 2649713.3149 | 1245316.158
26 | 2649736.9549 | 1245347.3527
27 | 2649734.2906 | 1245459.0186
28 | 2649759.3824 | 1245448.4847
29 | 2649707.7486 | 1245293.2188
30 | 2649742.4321 | 1245350.8137
31 | 2649830.5923 | 1245340.6653
32 | 2649829.4349 | 1245339.9266
33 | 2649828.8385 | 1245339.5459
34 | 2649770.0738 | 1245302.9921
35 | 2649809.7163 | 1245327.3409
36 | 2649749.4378 | 1245295.1694
37 | 2649760.0094 | 1245448.6291
38 | 2649712.1023 | 1245442.6459
39 | 2649759.0172 | 1245361.2939
40 | 2649762.3517 | 1245363.401
41 | 2649723.9985 | 1245284.4046
42 | 2649831.3244 | 1245232.5002
43 | 2649856.2384 | 1245250.4467
44 | 2649828.7519 | 1245230.6472
45 | 2649875.5288 | 1245264.7801
46 | 2649870.7185 | 1245234.7402
47 | 2649841.0859 | 1245217.0394
48 | 2649820.5859 | 1245224.7901
49 | 2649853.655 | 1245203.1722
50 | 2649807.6708 | 1245215.5268
51 | 2649896.2373 | 1245207.0601
52 | 2649859.3666 | 1245196.8708
53 | 2649805.5335 | 1245214.337
54 | 2649814.4205 | 1245208.0837
55 | 2649709.5494 | 1245441.6553
56 | 2649694.309 | 1245465.7125
57 | 2649685.648 | 1245433.1606
58 | 2649681.1172 | 1245431.0879
59 | 2649676.839 | 1245452.1974
60 | 2649649.2817 | 1245406.2634
61 | 2649692.0372 | 1245409.4129
62 | 2649696.5234 | 1245384.0518
63 | 2649676.2935 | 1245301.2898
64 | 2649677.6985 | 1245307.0618
65 | 2649669.9435 | 1245275.1285
66 | 2649685.5752 | 1245338.6523
67 | 2649663.805 | 1245249.551
68 | 2649694.5313 | 1245373.244
69 | 2649659.0493 | 1245229.7355
70 | 2649694.8632 | 1245374.8754
71 | 2649647.6442 | 1245234.4182
72 | 2649623.0991 | 1245239.8416
73 | 2649583.5385 | 1245276.1196
74 | 2649536.4282 | 1245238.3389
75 | 2649537.9462 | 1245239.3717
76 | 2649567.776 | 1245261.0549
77 | 2649549.9612 | 1245247.5466
78 | 2649627.4751 | 1245155.6776
79 | 2649612.4383 | 1245150.6312
80 | 2649650.3125 | 1245158.7729
81 | 2649675.0765 | 1245190.688
82 | 2649671.1377 | 1245184.651
83 | 2649683.9347 | 1245172.2721
84 | 2649696.5138 | 1245215.6508
85 | 2649689.0397 | 1245211.352
86 | 2649708.8703 | 1245224.2711
87 | 2649676.0003 | 1245169.0864
88 | 2649653.1278 | 1245095.2598
89 | 2649707.4996 | 1245180.2071
90 | 2649725.7368 | 1245278.9266
91 | 2649717.1253 | 1245201.2026
92 | 2649710.5064 | 1245225.5155
93 | 2649679.2934 | 1245059.929
94 | 2649724.8835 | 1245183.7978
95 | 2649745.3135 | 1245188.0206
96 | 2649727.9267 | 1245184.4263
97 | 2649783.8238 | 1245202.2512
98 | 2649772.7558 | 1245220.1531
99 | 2649871.4771 | 1245183.5096
100 | 2649824.5678 | 1245196.8938
101 | 2649835.286 | 1245185.0744
102 | 2649846.7246 | 1245172.4606
103 | 2649728.0778 | 1245242.0595
104 | 2649719.1095 | 1245232.0588
105 | 2649760.2389 | 1245269.4094
106 | 2649765.6 | 1245258.9918
107 | 2649770.0738 | 1245302.9921

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1